## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_6 | O2 | 630958479 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:55

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-19 15:01

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
13579 | 2022-05-19 13:54 | 0 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.9925 | μmol/L | 18.6354 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.668 | 88689.4252 | 295745.1834 | 30.45 | 114.2
13589 | 2022-05-19 13:54 | 0.33292 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.8762 | μmol/L | 18.6354 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.673 | 88713.6455 | 295736.4439 | 30.45 | 114.2
13599 | 2022-05-19 13:55 | 0.66632 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.8394 | μmol/L | 18.6231 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.679 | 88734.3151 | 295748.8066 | 30.45 | 114.2
13609 | 2022-05-19 13:55 | 0.99972 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.5557 | μmol/L | 18.6293 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.689 | 88748.8123 | 295738.5353 | 30.45 | 114.2
13619 | 2022-05-19 13:55 | 1.333 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.5838 | μmol/L | 18.6231 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.69 | 88770.5097 | 295727.1979 | 30.45 | 114.2
13629 | 2022-05-19 13:56 | 1.6662 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.3053 | μmol/L | 18.6231 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.702 | 88792.5752 | 295717.8664 | 30.45 | 114.2
13639 | 2022-05-19 13:56 | 1.9993 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.1992 | μmol/L | 18.6108 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.711 | 88813.5784 | 295704.1675 | 30.45 | 114.2
13649 | 2022-05-19 13:56 | 2.3327 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.176 | μmol/L | 18.6108 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.712 | 88836.528 | 295697.9381 | 30.45 | 114.2
13659 | 2022-05-19 13:57 | 2.6661 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.0602 | μmol/L | 18.6108 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.717 | 88843.8902 | 295688.3797 | 30.45 | 114.2
13669 | 2022-05-19 13:57 | 2.9994 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.8749 | μmol/L | 18.6108 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.725 | 88865.7659 | 295687.3573 | 30.45 | 114.2
13679 | 2022-05-19 13:57 | 3.3326 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.8518 | μmol/L | 18.6108 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.726 | 88884.8687 | 295668.3311 | 30.45 | 114.2
13689 | 2022-05-19 13:58 | 3.6666 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.7873 | μmol/L | 18.6047 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.731 | 88881.4854 | 295659.3618 | 30.45 | 114.2
13699 | 2022-05-19 13:58 | 3.9991 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.7228 | μmol/L | 18.5985 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.736 | 88897.5607 | 295653.5657 | 30.45 | 114.2
13709 | 2022-05-19 13:58 | 4.3325 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.7509 | μmol/L | 18.5924 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.737 | 88898.4708 | 295648.9587 | 30.45 | 114.2
13719 | 2022-05-19 13:59 | 4.6666 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.6122 | μmol/L | 18.5924 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.743 | 88916.5193 | 295642.9404 | 30.45 | 114.2
13729 | 2022-05-19 13:59 | 4.9998 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.6221 | μmol/L | 18.5801 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.747 | 88924.2962 | 295631.0126 | 30.45 | 114.2
13739 | 2022-05-19 13:59 | 5.3329 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.5065 | μmol/L | 18.5801 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.752 | 88924.4805 | 295620.7595 | 30.45 | 114.2
13749 | 2022-05-19 14:00 | 5.6659 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.5808 | μmol/L | 18.574 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.751 | 88937.1997 | 295624.0858 | 30.45 | 114.2
13759 | 2022-05-19 14:00 | 5.9993 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.3449 | μmol/L | 18.5801 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.759 | 88940.3633 | 295614.0905 | 30.45 | 114.2
13769 | 2022-05-19 14:00 | 6.3326 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.401 | μmol/L | 18.5678 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.761 | 88954.6216 | 295599.8639 | 30.45 | 114.2
13779 | 2022-05-19 14:01 | 6.6666 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.3086 | μmol/L | 18.5678 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.765 | 88966.5778 | 295611.2544 | 30.45 | 114.2
13789 | 2022-05-19 14:01 | 6.9999 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.3598 | μmol/L | 18.5617 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.765 | 88971.5335 | 295581.3151 | 30.45 | 114.2
13799 | 2022-05-19 14:01 | 7.3332 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.2675 | μmol/L | 18.5617 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.769 | 88971.8873 | 295572.4269 | 30.45 | 114.2
13809 | 2022-05-19 14:02 | 7.6664 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.2263 | μmol/L | 18.5555 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.773 | 88977.5472 | 295557.5971 | 30.45 | 114.2
13819 | 2022-05-19 14:02 | 7.9997 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.2033 | μmol/L | 18.5555 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.774 | 88984.6236 | 295540.9726 | 30.45 | 114.2
13829 | 2022-05-19 14:02 | 8.3331 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.2313 | μmol/L | 18.5494 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.775 | 88986.2743 | 295541.8993 | 30.45 | 114.2
13839 | 2022-05-19 14:03 | 8.6665 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.0699 | μmol/L | 18.5494 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.782 | 88990.369 | 295539.0621 | 30.45 | 114.2
13849 | 2022-05-19 14:03 | 8.9999 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.0749 | μmol/L | 18.5432 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.784 | 89000.9277 | 295529.6809 | 30.45 | 114.2
13859 | 2022-05-19 14:03 | 9.3331 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.2002 | μmol/L | 18.531 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.783 | 88996.9716 | 295504.8308 | 30.45 | 114.2
13869 | 2022-05-19 14:04 | 9.6663 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.108 | μmol/L | 18.531 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.787 | 89000.7663 | 295499.4691 | 30.45 | 114.2
13879 | 2022-05-19 14:04 | 9.9996 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.1361 | μmol/L | 18.5248 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.788 | 89002.1931 | 295488.8338 | 30.45 | 114.2
13889 | 2022-05-19 14:04 | 10.3331 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.108 | μmol/L | 18.531 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.787 | 89007.1387 | 295492.5089 | 30.45 | 114.2
13899 | 2022-05-19 14:05 | 10.6664 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.072 | μmol/L | 18.5187 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.793 | 89017.1255 | 295478.9099 | 30.45 | 114.2
13909 | 2022-05-19 14:05 | 10.9996 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.0259 | μmol/L | 18.5187 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.795 | 89018.0782 | 295469.7393 | 30.45 | 114.2
13919 | 2022-05-19 14:05 | 11.3328 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.1462 | μmol/L | 18.5125 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.792 | 89007.5242 | 295446.4224 | 30.45 | 114.2
13929 | 2022-05-19 14:06 | 11.6661 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.0259 | μmol/L | 18.5187 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.795 | 89012.1938 | 295445.9227 | 30.45 | 114.2
13939 | 2022-05-19 14:06 | 11.9994 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.0309 | μmol/L | 18.5125 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.797 | 89012.4074 | 295451.4525 | 30.45 | 114.2
13949 | 2022-05-19 14:06 | 12.3325 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.0309 | μmol/L | 18.5125 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.797 | 89012.491 | 295439.218 | 30.45 | 114.2
13959 | 2022-05-19 14:07 | 12.6659 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.9618 | μmol/L | 18.5125 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.8 | 89018.2579 | 295421.9031 | 30.45 | 114.2
13969 | 2022-05-19 14:07 | 12.9999 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.8568 | μmol/L | 18.5002 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.809 | 89029.4066 | 295412.3822 | 30.45 | 114.2
13979 | 2022-05-19 14:07 | 13.3331 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.8618 | μmol/L | 18.4941 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.811 | 89038.9722 | 295409.1784 | 30.45 | 114.2
13989 | 2022-05-19 14:08 | 13.6661 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.7979 | μmol/L | 18.488 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.816 | 89048.8137 | 295402.5323 | 30.45 | 114.2
13999 | 2022-05-19 14:08 | 13.9992 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.7901 | μmol/L | 18.4695 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.823 | 89047.4999 | 295382.5513 | 30.45 | 114.2
14009 | 2022-05-19 14:08 | 14.3332 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.4503 | μmol/L | 18.4634 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.84 | 89130.0314 | 295390.6479 | 30.45 | 114.2
14019 | 2022-05-19 14:09 | 14.6659 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.0652 | μmol/L | 18.4573 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.859 | 89219.6625 | 295373.8724 | 30.45 | 114.2
14029 | 2022-05-19 14:09 | 14.9993 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.6224 | μmol/L | 18.4388 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.885 | 89335.8887 | 295373.8501 | 30.45 | 114.2
14039 | 2022-05-19 14:09 | 15.3326 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.0334 | μmol/L | 18.4327 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.913 | 89432.5705 | 295361.6122 | 30.45 | 114.2
14049 | 2022-05-19 14:10 | 15.666 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.8104 | μmol/L | 18.4265 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.925 | 89494.2578 | 295368.1837 | 30.45 | 114.2
14059 | 2022-05-19 14:10 | 15.9992 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.6002 | μmol/L | 18.4327 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.932 | 89533.8797 | 295353.1573 | 30.45 | 114.2
14069 | 2022-05-19 14:10 | 16.3328 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.2887 | μmol/L | 18.4511 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.939 | 89571.1383 | 295327.4716 | 30.45 | 114.2
14079 | 2022-05-19 14:11 | 16.6661 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.1295 | μmol/L | 18.4511 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.946 | 89608.0983 | 295339.1983 | 30.45 | 114.2
14089 | 2022-05-19 14:11 | 16.9997 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.8569 | μmol/L | 18.4511 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.958 | 89619.0871 | 295318.929 | 30.45 | 114.2
14099 | 2022-05-19 14:11 | 17.3332 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.9581 | μmol/L | 18.4388 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.958 | 89508.9807 | 295320.6296 | 30.45 | 114.2
14109 | 2022-05-19 14:12 | 17.666 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.8498 | μmol/L | 18.4327 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.965 | 89510.275 | 295312.7658 | 30.45 | 114.2
14119 | 2022-05-19 14:12 | 17.9991 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.7188 | μmol/L | 18.4265 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.973 | 89536.7434 | 295290.3497 | 30.45 | 114.2
14129 | 2022-05-19 14:12 | 18.3328 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.6786 | μmol/L | 18.4204 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.977 | 89559.046 | 295291.6055 | 30.45 | 114.2
14139 | 2022-05-19 14:13 | 18.6661 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.656 | μmol/L | 18.4204 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.978 | 89552.4552 | 295277.5197 | 30.45 | 114.2
14149 | 2022-05-19 14:13 | 18.9992 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.7467 | μmol/L | 18.4204 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.974 | 89517.8797 | 295272.2786 | 30.45 | 114.2
14159 | 2022-05-19 14:13 | 19.3326 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.9056 | μmol/L | 18.4204 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.967 | 89500.1565 | 295262.5856 | 30.45 | 114.2
14169 | 2022-05-19 14:14 | 19.6665 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.9004 | μmol/L | 18.4265 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.965 | 89490.9292 | 295266.3234 | 30.45 | 114.2
14179 | 2022-05-19 14:14 | 19.9993 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.8829 | μmol/L | 18.4204 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.968 | 89487.376 | 295261.179 | 30.45 | 114.2
14189 | 2022-05-19 14:14 | 20.3328 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.075 | μmol/L | 18.4081 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.964 | 89472.0153 | 295247.8261 | 30.45 | 114.2
14199 | 2022-05-19 14:15 | 20.6664 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.8375 | μmol/L | 18.4204 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.97 | 89504.2208 | 295237.069 | 30.45 | 114.2
14209 | 2022-05-19 14:15 | 20.9999 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.7292 | μmol/L | 18.4143 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.977 | 89524.753 | 295242.919 | 30.45 | 114.2
14219 | 2022-05-19 14:15 | 21.3327 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.621 | μmol/L | 18.4081 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.984 | 89546.0104 | 295237.1109 | 30.45 | 114.2
14229 | 2022-05-19 14:16 | 21.6663 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.485 | μmol/L | 18.4081 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.99 | 89586.5199 | 295220.723 | 30.45 | 114.2
14239 | 2022-05-19 14:16 | 21.9998 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.0376 | μmol/L | 18.402 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.012 | 89641.6683 | 295220.4271 | 30.45 | 114.2
14249 | 2022-05-19 14:16 | 22.3325 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.8446 | μmol/L | 18.3897 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.025 | 89697.4658 | 295209.9133 | 30.45 | 114.2
14259 | 2022-05-19 14:17 | 22.6663 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.5512 | μmol/L | 18.3897 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.038 | 89769.2414 | 295198.5961 | 30.45 | 114.2
14269 | 2022-05-19 14:17 | 22.9999 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.0779 | μmol/L | 18.3897 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.059 | 89856.3231 | 295200.2188 | 30.45 | 114.2
14279 | 2022-05-19 14:17 | 23.3327 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.7907 | μmol/L | 18.3835 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.074 | 89918.4038 | 295190.8786 | 30.45 | 114.2
14289 | 2022-05-19 14:18 | 23.6662 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.6387 | μmol/L | 18.3774 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.083 | 89953.7308 | 295176.9659 | 30.45 | 114.2
14299 | 2022-05-19 14:18 | 23.9997 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.4366 | μmol/L | 18.3774 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.092 | 89993.8768 | 295183.34 | 30.45 | 114.2
14309 | 2022-05-19 14:18 | 24.3331 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.2176 | μmol/L | 18.3713 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.104 | 90036.1399 | 295175.0136 | 30.45 | 114.2
14319 | 2022-05-19 14:19 | 24.6658 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.0159 | μmol/L | 18.3713 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.113 | 90074.5958 | 295172.6492 | 30.45 | 114.2
14329 | 2022-05-19 14:19 | 24.9995 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.8592 | μmol/L | 18.3713 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.12 | 90102.0989 | 295159.3268 | 30.45 | 114.2
14339 | 2022-05-19 14:19 | 25.333 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.6302 | μmol/L | 18.3774 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.128 | 90127.7551 | 295150.2112 | 30.45 | 114.2
14349 | 2022-05-19 14:20 | 25.6666 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.5908 | μmol/L | 18.3713 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.132 | 90154.8915 | 295138.0964 | 30.45 | 114.2
14359 | 2022-05-19 14:20 | 25.9996 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.412 | μmol/L | 18.3713 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.14 | 90184.1091 | 295137.5709 | 30.45 | 114.2
14369 | 2022-05-19 14:20 | 26.3333 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.1888 | μmol/L | 18.3713 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.15 | 90212.5898 | 295137.767 | 30.45 | 114.2
14379 | 2022-05-19 14:21 | 26.666 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.1218 | μmol/L | 18.3713 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.153 | 90239.3466 | 295111.2217 | 30.45 | 114.2
14389 | 2022-05-19 14:21 | 26.9995 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.0156 | μmol/L | 18.3651 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.16 | 90252.5683 | 295113.8547 | 30.45 | 114.2
14399 | 2022-05-19 14:21 | 27.3328 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.8596 | μmol/L | 18.3651 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.167 | 90265.7767 | 295103.668 | 30.45 | 114.2
14409 | 2022-05-19 14:22 | 27.6662 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.9764 | μmol/L | 18.359 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.164 | 90251.8634 | 295100.3363 | 30.45 | 114.2
14419 | 2022-05-19 14:22 | 27.9997 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.0433 | μmol/L | 18.359 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.161 | 90234.2698 | 295098.756 | 30.45 | 114.2
14429 | 2022-05-19 14:22 | 28.3332 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.1771 | μmol/L | 18.359 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.155 | 90217.8248 | 295084.7312 | 30.45 | 114.2
14439 | 2022-05-19 14:23 | 28.6665 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.294 | μmol/L | 18.3528 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.152 | 90204.6062 | 295073.9301 | 30.45 | 114.2
14449 | 2022-05-19 14:23 | 28.9998 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.244 | μmol/L | 18.359 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.152 | 90190.414 | 295078.1101 | 30.45 | 114.2
14459 | 2022-05-19 14:23 | 29.3326 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.3833 | μmol/L | 18.3528 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.148 | 90181.5559 | 295066.7584 | 30.45 | 114.2
14469 | 2022-05-19 14:24 | 29.6661 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.5897 | μmol/L | 18.3467 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.141 | 90144.3914 | 295054.5252 | 30.45 | 114.2
14479 | 2022-05-19 14:24 | 29.9994 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.7015 | μmol/L | 18.3467 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.136 | 90105.0516 | 295059.3909 | 30.45 | 114.2
14489 | 2022-05-19 14:24 | 30.3329 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.6685 | μmol/L | 18.359 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.133 | 90097.8869 | 295051.0942 | 30.45 | 114.2
14499 | 2022-05-19 14:25 | 30.6661 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.5631 | μmol/L | 18.3774 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.131 | 90051.6999 | 295050.6319 | 30.45 | 114.2
14509 | 2022-05-19 14:25 | 30.9998 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.194 | μmol/L | 18.3467 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.114 | 89994.3818 | 295043.4821 | 30.45 | 114.2
14519 | 2022-05-19 14:25 | 31.3327 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.0201 | μmol/L | 18.3405 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.124 | 90042.0239 | 295027.6144 | 30.45 | 114.2
14529 | 2022-05-19 14:26 | 31.6662 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.9135 | μmol/L | 18.3344 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.131 | 90053.9917 | 295025.9544 | 30.45 | 114.2
14539 | 2022-05-19 14:26 | 31.9996 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.8795 | μmol/L | 18.3221 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.137 | 90077.8766 | 295015.1329 | 30.45 | 114.2
14549 | 2022-05-19 14:26 | 32.3329 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.6111 | μmol/L | 18.3221 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.149 | 90135.388 | 295003.4125 | 30.45 | 114.2
14559 | 2022-05-19 14:27 | 32.6666 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.1431 | μmol/L | 18.3467 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.161 | 90185.5445 | 295007.9049 | 30.45 | 114.2
14569 | 2022-05-19 14:27 | 32.9993 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.1315 | μmol/L | 18.3344 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.166 | 90213.1471 | 294986.9915 | 30.45 | 114.2
14579 | 2022-05-19 14:27 | 33.3327 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.6806 | μmol/L | 18.3405 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.184 | 90291.0203 | 294984.4347 | 30.45 | 114.2
14589 | 2022-05-19 14:28 | 33.6663 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.5471 | μmol/L | 18.3405 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.19 | 90332.4054 | 294969.5362 | 30.45 | 114.2
14599 | 2022-05-19 14:28 | 33.9997 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.4857 | μmol/L | 18.3344 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.195 | 90339.26 | 294965.3915 | 30.45 | 114.2
14609 | 2022-05-19 14:28 | 34.3333 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.2413 | μmol/L | 18.3344 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.206 | 90366.7124 | 294968.5613 | 30.45 | 114.2
14619 | 2022-05-19 14:29 | 34.6658 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.0636 | μmol/L | 18.3344 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.214 | 90418.0063 | 294958.5186 | 30.45 | 114.2
14629 | 2022-05-19 14:29 | 34.9996 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 260.9527 | μmol/L | 18.3344 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.219 | 90427.0758 | 294952.8567 | 30.45 | 114.2
14639 | 2022-05-19 14:29 | 35.3332 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 260.864 | μmol/L | 18.3344 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.223 | 90424.8159 | 294930.0914 | 30.45 | 114.2
14649 | 2022-05-19 14:30 | 35.666 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 260.7364 | μmol/L | 18.3283 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.231 | 90444.2872 | 294939.9603 | 30.45 | 114.2
14659 | 2022-05-19 14:30 | 35.9996 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 260.6478 | μmol/L | 18.3283 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.235 | 90476.5204 | 294930.7774 | 30.45 | 114.2
14669 | 2022-05-19 14:30 | 36.333 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 260.5095 | μmol/L | 18.3344 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.239 | 90491.0541 | 294933.8991 | 30.45 | 114.2
14679 | 2022-05-19 14:31 | 36.6661 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 260.3875 | μmol/L | 18.3221 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.249 | 90516.6675 | 294924.2527 | 30.45 | 114.2
14689 | 2022-05-19 14:31 | 36.9995 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 260.2052 | μmol/L | 18.3283 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.255 | 90550.2265 | 294905.9885 | 30.45 | 114.2
14699 | 2022-05-19 14:31 | 37.3329 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.9622 | μmol/L | 18.3283 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.266 | 90575.4778 | 294897.416 | 30.45 | 114.2
14709 | 2022-05-19 14:32 | 37.6664 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 260.0118 | μmol/L | 18.3221 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.266 | 90574.7122 | 294897.2934 | 30.45 | 114.2
14719 | 2022-05-19 14:32 | 37.9992 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 260.1664 | μmol/L | 18.3221 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.259 | 90545.4793 | 294884.6856 | 30.45 | 114.2
14729 | 2022-05-19 14:32 | 38.3327 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 260.1168 | μmol/L | 18.3283 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.259 | 90555.8776 | 294877.4742 | 30.45 | 114.2
14739 | 2022-05-19 14:33 | 38.6661 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.8519 | μmol/L | 18.3283 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.271 | 90582.561 | 294869.278 | 30.45 | 114.2
14749 | 2022-05-19 14:33 | 38.9997 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.747 | μmol/L | 18.3221 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.278 | 90621.4532 | 294867.3705 | 30.45 | 114.2
14759 | 2022-05-19 14:33 | 39.3331 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.4604 | μmol/L | 18.3221 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.291 | 90694.1135 | 294858.1949 | 30.45 | 114.2
14769 | 2022-05-19 14:34 | 39.6659 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.3117 | μmol/L | 18.316 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.3 | 90746.0876 | 294858.9883 | 30.45 | 114.2
14779 | 2022-05-19 14:34 | 39.9994 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.0697 | μmol/L | 18.316 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.311 | 90762.6325 | 294857.2983 | 30.45 | 114.2
14789 | 2022-05-19 14:34 | 40.3329 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.0806 | μmol/L | 18.3037 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.315 | 90793.1266 | 294859.0358 | 30.45 | 114.2
14799 | 2022-05-19 14:35 | 40.6664 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.064 | μmol/L | 18.2975 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.318 | 90799.8639 | 294852.7451 | 30.45 | 114.2
14809 | 2022-05-19 14:35 | 40.9999 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.8828 | μmol/L | 18.3037 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.324 | 90811.8066 | 294833.8033 | 30.45 | 114.2
14819 | 2022-05-19 14:35 | 41.3327 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.9981 | μmol/L | 18.2975 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.321 | 90808.1922 | 294838.9826 | 30.45 | 114.2
14829 | 2022-05-19 14:36 | 41.666 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.0201 | μmol/L | 18.2975 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.32 | 90785.1984 | 294825.4346 | 30.45 | 114.2
14839 | 2022-05-19 14:36 | 41.9996 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.9541 | μmol/L | 18.2975 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.323 | 90791.0289 | 294814.7694 | 30.45 | 114.2
14849 | 2022-05-19 14:36 | 42.3329 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.7291 | μmol/L | 18.3037 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.331 | 90828.724 | 294798.1235 | 30.45 | 114.2
14859 | 2022-05-19 14:37 | 42.6664 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.4001 | μmol/L | 18.3037 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.346 | 90861.6963 | 294809.9101 | 30.45 | 114.2
14869 | 2022-05-19 14:37 | 42.9996 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.3946 | μmol/L | 18.3098 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.344 | 90887.0363 | 294809.458 | 30.45 | 114.2
14879 | 2022-05-19 14:37 | 43.3332 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.1975 | μmol/L | 18.3098 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.353 | 90916.1283 | 294794.8431 | 30.45 | 114.2
14889 | 2022-05-19 14:38 | 43.6664 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.181 | μmol/L | 18.3037 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.356 | 90933.8033 | 294793.5119 | 30.45 | 114.2
14899 | 2022-05-19 14:38 | 43.9999 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.0114 | μmol/L | 18.2975 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.366 | 90956.0649 | 294782.2909 | 30.45 | 114.2
14909 | 2022-05-19 14:38 | 44.3325 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.8529 | μmol/L | 18.3037 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.371 | 90980.5724 | 294784.8709 | 30.45 | 114.2
14919 | 2022-05-19 14:39 | 44.666 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.1044 | μmol/L | 18.2914 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.364 | 90963.4065 | 294773.6849 | 30.45 | 114.2
14929 | 2022-05-19 14:39 | 44.9997 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.995 | μmol/L | 18.2914 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.369 | 90965.3892 | 294796.2395 | 30.45 | 114.2
14939 | 2022-05-19 14:39 | 45.3332 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.9075 | μmol/L | 18.2914 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.373 | 90978.5931 | 294784.3868 | 30.45 | 114.2
14949 | 2022-05-19 14:40 | 45.6661 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.7982 | μmol/L | 18.2914 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.378 | 91019.5877 | 294767.1205 | 30.45 | 114.2
14959 | 2022-05-19 14:40 | 45.9997 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.5361 | μmol/L | 18.2914 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.39 | 91066.6716 | 294779.1014 | 30.45 | 114.2
14969 | 2022-05-19 14:40 | 46.3334 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.4216 | μmol/L | 18.2975 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.393 | 91079.452 | 294768.8009 | 30.45 | 114.2
14979 | 2022-05-19 14:41 | 46.6659 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.5198 | μmol/L | 18.2853 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.393 | 91098.4924 | 294766.4262 | 30.45 | 114.2
14989 | 2022-05-19 14:41 | 46.9996 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.1927 | μmol/L | 18.2853 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.408 | 91135.4909 | 294765.4619 | 30.45 | 114.2
14999 | 2022-05-19 14:41 | 47.3325 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.1218 | μmol/L | 18.2914 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.409 | 91147.0904 | 294763.5864 | 30.45 | 114.2
15009 | 2022-05-19 14:42 | 47.6662 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.9694 | μmol/L | 18.2914 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.416 | 91167.8392 | 294760.9404 | 30.45 | 114.2
15019 | 2022-05-19 14:42 | 48.0001 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.111 | μmol/L | 18.2791 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.414 | 91181.7451 | 294748.8836 | 30.45 | 114.2
15029 | 2022-05-19 14:42 | 48.3328 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.7736 | μmol/L | 18.2914 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.425 | 91186.5511 | 294748.8574 | 30.45 | 114.2
15039 | 2022-05-19 14:43 | 48.6664 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.8008 | μmol/L | 18.2853 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.426 | 91205.8214 | 294739.7092 | 30.45 | 114.2
15049 | 2022-05-19 14:43 | 48.9994 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.8063 | μmol/L | 18.2791 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.428 | 91202.0747 | 294735.2238 | 30.45 | 114.2
15059 | 2022-05-19 14:43 | 49.333 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.5562 | μmol/L | 18.2914 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.435 | 91220.4772 | 294732.3149 | 30.45 | 114.2
15069 | 2022-05-19 14:44 | 49.6667 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.5128 | μmol/L | 18.2914 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.437 | 91232.7621 | 294728.2656 | 30.45 | 114.2
15079 | 2022-05-19 14:44 | 49.9992 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.4586 | μmol/L | 18.2791 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.444 | 91245.4236 | 294710.8027 | 30.45 | 114.2
15089 | 2022-05-19 14:44 | 50.3328 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.4097 | μmol/L | 18.2853 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.444 | 91261.6423 | 294728.4955 | 30.45 | 114.2
15099 | 2022-05-19 14:45 | 50.6667 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.4369 | μmol/L | 18.2791 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.445 | 91263.2128 | 294715.5617 | 30.45 | 114.2
15109 | 2022-05-19 14:45 | 50.9993 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.3717 | μmol/L | 18.2791 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.448 | 91259.9695 | 294712.0848 | 30.45 | 114.2
15119 | 2022-05-19 14:45 | 51.3328 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.3555 | μmol/L | 18.273 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.451 | 91288.3349 | 294706.6091 | 30.45 | 114.2
15129 | 2022-05-19 14:46 | 51.6665 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.2198 | μmol/L | 18.2791 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.455 | 91294.234 | 294714.3873 | 30.45 | 114.2
15139 | 2022-05-19 14:46 | 51.9993 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.1765 | μmol/L | 18.2791 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.457 | 91302.8133 | 294696.5883 | 30.45 | 114.2
15149 | 2022-05-19 14:46 | 52.3327 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.0952 | μmol/L | 18.273 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.463 | 91331.662 | 294684.7974 | 30.45 | 114.2
15159 | 2022-05-19 14:47 | 52.6662 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.0302 | μmol/L | 18.273 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.466 | 91353.6723 | 294684.5441 | 30.45 | 114.2
15169 | 2022-05-19 14:47 | 52.9996 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.8569 | μmol/L | 18.273 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.474 | 91381.2993 | 294691.2878 | 30.45 | 114.2
15179 | 2022-05-19 14:47 | 53.333 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.7703 | μmol/L | 18.273 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.478 | 91386.4668 | 294694.1073 | 30.45 | 114.2
15189 | 2022-05-19 14:48 | 53.6663 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.8408 | μmol/L | 18.2668 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.477 | 91398.5047 | 294685.4025 | 30.45 | 114.2