## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_2 | O2 | 178552617 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:48

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-19 15:01

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
13583 | 2022-05-19 13:54 | 0 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.0648 | μmol/L | 18.6458 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.451 | 86464.7664 | 294264.0562 | 30.45 | 38.1
13593 | 2022-05-19 13:54 | 0.33136 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 274.78 | μmol/L | 18.6458 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.463 | 86488.1349 | 294249.1986 | 30.45 | 38.1
13603 | 2022-05-19 13:55 | 0.66479 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 274.7607 | μmol/L | 18.6396 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.466 | 86511.1189 | 294234.4528 | 30.45 | 38.1
13613 | 2022-05-19 13:55 | 0.99788 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 274.6985 | μmol/L | 18.6274 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.473 | 86543.2969 | 294231.9199 | 30.45 | 38.1
13623 | 2022-05-19 13:55 | 1.331 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 274.3905 | μmol/L | 18.6274 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.486 | 86569.8697 | 294201.2255 | 30.45 | 38.1
13633 | 2022-05-19 13:56 | 1.6643 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 274.2958 | μmol/L | 18.6274 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.49 | 86586.4526 | 294196.0329 | 30.45 | 38.1
13643 | 2022-05-19 13:56 | 1.9975 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 274.2383 | μmol/L | 18.6091 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.499 | 86615.7047 | 294183.447 | 30.45 | 38.1
13653 | 2022-05-19 13:56 | 2.3315 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 274.1245 | μmol/L | 18.603 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.506 | 86641.5272 | 294195.0543 | 30.45 | 38.1
13663 | 2022-05-19 13:57 | 2.6649 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 274.1009 | μmol/L | 18.603 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.507 | 86651.7291 | 294161.8973 | 30.45 | 38.1
13673 | 2022-05-19 13:57 | 2.998 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 274.0581 | μmol/L | 18.5969 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.511 | 86672.5831 | 294163.9697 | 30.45 | 38.1
13683 | 2022-05-19 13:57 | 3.3313 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 273.8882 | μmol/L | 18.603 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.516 | 86681.4676 | 294134.6257 | 30.45 | 38.1
13693 | 2022-05-19 13:58 | 3.6643 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 273.9018 | μmol/L | 18.5847 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.522 | 86699.195 | 294135.1981 | 30.45 | 38.1
13703 | 2022-05-19 13:58 | 3.9981 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 273.8354 | μmol/L | 18.5786 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.527 | 86716.2651 | 294125.9172 | 30.45 | 38.1
13713 | 2022-05-19 13:58 | 4.3308 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 273.7646 | μmol/L | 18.5786 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.53 | 86716.7886 | 294112.9256 | 30.45 | 38.1
13723 | 2022-05-19 13:59 | 4.6649 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 273.722 | μmol/L | 18.5725 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.534 | 86745.8313 | 294104.444 | 30.45 | 38.1
13733 | 2022-05-19 13:59 | 4.9981 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 273.6984 | μmol/L | 18.5725 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.535 | 86743.2707 | 294101.0812 | 30.45 | 38.1
13743 | 2022-05-19 13:59 | 5.3314 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 273.5804 | μmol/L | 18.5725 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.54 | 86748.9459 | 294085.7944 | 30.45 | 38.1
13753 | 2022-05-19 14:00 | 5.6646 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 273.3167 | μmol/L | 18.5786 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.549 | 86775.6389 | 294076.5565 | 30.45 | 38.1
13763 | 2022-05-19 14:00 | 5.9979 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 272.4749 | μmol/L | 18.5725 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.587 | 86934.9126 | 294070.7454 | 30.45 | 38.1
13773 | 2022-05-19 14:00 | 6.331 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 271.5521 | μmol/L | 18.5542 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.633 | 87157.9399 | 294049.7376 | 30.45 | 38.1
13783 | 2022-05-19 14:01 | 6.6642 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.3358 | μmol/L | 18.5603 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.683 | 87377.4254 | 294043.2676 | 30.45 | 38.1
13793 | 2022-05-19 14:01 | 6.9982 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.4777 | μmol/L | 18.5603 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.72 | 87517.2526 | 294038.527 | 30.45 | 38.1
13803 | 2022-05-19 14:01 | 7.3315 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.2603 | μmol/L | 18.5419 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.736 | 87589.3463 | 294041.0072 | 30.45 | 38.1
13813 | 2022-05-19 14:02 | 7.6648 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.9137 | μmol/L | 18.5419 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.751 | 87647.4787 | 294029.7696 | 30.45 | 38.1
13823 | 2022-05-19 14:02 | 7.9979 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.4802 | μmol/L | 18.5358 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.772 | 87750.1621 | 294008.3465 | 30.45 | 38.1
13833 | 2022-05-19 14:02 | 8.3313 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.1673 | μmol/L | 18.5236 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.79 | 87797.3874 | 294022.4764 | 30.45 | 38.1
13843 | 2022-05-19 14:03 | 8.6647 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.1354 | μmol/L | 18.5053 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.798 | 87850.8999 | 294003.2044 | 30.45 | 38.1
13853 | 2022-05-19 14:03 | 8.9978 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.5829 | μmol/L | 18.5664 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.8 | 87858.0163 | 293987.2301 | 30.45 | 38.1
13863 | 2022-05-19 14:03 | 9.331 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.7118 | μmol/L | 18.5481 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.801 | 87858.2865 | 293983.3485 | 30.45 | 38.1
13873 | 2022-05-19 14:04 | 9.6649 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.9008 | μmol/L | 18.5114 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.806 | 87864.0114 | 293966.7239 | 30.45 | 38.1
13883 | 2022-05-19 14:04 | 9.9975 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.8366 | μmol/L | 18.5053 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.811 | 87883.5976 | 293953.6016 | 30.45 | 38.1
13893 | 2022-05-19 14:04 | 10.3313 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.9657 | μmol/L | 18.487 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.812 | 87889.147 | 293945.5152 | 30.45 | 38.1
13903 | 2022-05-19 14:05 | 10.6644 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.0394 | μmol/L | 18.4809 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.811 | 87887.5176 | 293937.4165 | 30.45 | 38.1
13913 | 2022-05-19 14:05 | 10.9983 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.8097 | μmol/L | 18.4809 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.821 | 87904.7006 | 293926.3268 | 30.45 | 38.1
13923 | 2022-05-19 14:05 | 11.3315 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.4276 | μmol/L | 18.5297 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.82 | 87920.4754 | 293913.9562 | 30.45 | 38.1
13933 | 2022-05-19 14:06 | 11.6648 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.2719 | μmol/L | 18.5236 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.829 | 87955.1283 | 293901.4408 | 30.45 | 38.1
13943 | 2022-05-19 14:06 | 11.9981 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.3605 | μmol/L | 18.4687 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.845 | 88015.8425 | 293904.0382 | 30.45 | 38.1
13953 | 2022-05-19 14:06 | 12.3312 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.8209 | μmol/L | 18.4565 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.873 | 88119.2685 | 293885.6262 | 30.45 | 38.1
13963 | 2022-05-19 14:07 | 12.6643 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.5048 | μmol/L | 18.4809 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.878 | 88122.5857 | 293881.0737 | 30.45 | 38.1
13973 | 2022-05-19 14:07 | 12.9975 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.3031 | μmol/L | 18.4748 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.933 | 88363.5108 | 293874.9216 | 30.45 | 38.1
13983 | 2022-05-19 14:07 | 13.3316 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.5709 | μmol/L | 18.4809 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.919 | 88296.6594 | 293860.6296 | 30.45 | 38.1
13993 | 2022-05-19 14:08 | 13.6645 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.8893 | μmol/L | 18.4809 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.905 | 88244.9231 | 293849.7737 | 30.45 | 38.1
14003 | 2022-05-19 14:08 | 13.9975 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.553 | μmol/L | 18.4748 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.922 | 88294.7528 | 293844.058 | 30.45 | 38.1
14013 | 2022-05-19 14:08 | 14.3315 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.9418 | μmol/L | 18.4443 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.96 | 88471.1786 | 293827.7543 | 30.45 | 38.1
14023 | 2022-05-19 14:09 | 14.6648 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 262.8524 | μmol/L | 18.4626 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.046 | 88850.1448 | 293839.2245 | 30.45 | 38.1
14033 | 2022-05-19 14:09 | 14.9982 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.162 | μmol/L | 18.4687 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.03 | 88760.6328 | 293821.0048 | 30.45 | 38.1
14043 | 2022-05-19 14:09 | 15.3316 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.7618 | μmol/L | 18.4504 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.01 | 88680.742 | 293823.3636 | 30.45 | 38.1
14053 | 2022-05-19 14:10 | 15.6644 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.8471 | μmol/L | 18.4565 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.004 | 88635.7068 | 293820.1856 | 30.45 | 38.1
14063 | 2022-05-19 14:10 | 15.9978 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.7393 | μmol/L | 18.4504 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.011 | 88669.5433 | 293789.6431 | 30.45 | 38.1
14073 | 2022-05-19 14:10 | 16.3311 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.8666 | μmol/L | 18.432 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.012 | 88679.2171 | 293787.6082 | 30.45 | 38.1
14083 | 2022-05-19 14:11 | 16.6644 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.564 | μmol/L | 18.4443 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.021 | 88710.2644 | 293773.7902 | 30.45 | 38.1
14093 | 2022-05-19 14:11 | 16.9977 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.6766 | μmol/L | 18.4443 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.016 | 88680.1694 | 293775.8863 | 30.45 | 38.1
14103 | 2022-05-19 14:11 | 17.3314 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.0502 | μmol/L | 18.4565 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.995 | 88659.4831 | 293748.7398 | 30.45 | 38.1
14113 | 2022-05-19 14:12 | 17.6647 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.163 | μmol/L | 18.4565 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.99 | 88621.1215 | 293752.7688 | 30.45 | 38.1
14123 | 2022-05-19 14:12 | 17.9981 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.3938 | μmol/L | 18.4504 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.982 | 88587.14 | 293735.1037 | 30.45 | 38.1
14133 | 2022-05-19 14:12 | 18.3309 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.793 | μmol/L | 18.432 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.971 | 88554.4789 | 293734.8335 | 30.45 | 38.1
14143 | 2022-05-19 14:13 | 18.6645 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.856 | μmol/L | 18.4381 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.966 | 88524.3278 | 293744.0115 | 30.45 | 38.1
14153 | 2022-05-19 14:13 | 18.998 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.9062 | μmol/L | 18.432 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.966 | 88516.2639 | 293730.3061 | 30.45 | 38.1
14163 | 2022-05-19 14:13 | 19.3315 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.7881 | μmol/L | 18.4381 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.969 | 88511.4813 | 293728.8114 | 30.45 | 38.1
14173 | 2022-05-19 14:14 | 19.6642 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.9466 | μmol/L | 18.4381 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.962 | 88467.1378 | 293709.0263 | 30.45 | 38.1
14183 | 2022-05-19 14:14 | 19.9978 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.9337 | μmol/L | 18.4259 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.967 | 88504.3094 | 293702.7882 | 30.45 | 38.1
14193 | 2022-05-19 14:14 | 20.3313 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.6847 | μmol/L | 18.4259 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.978 | 88539.5335 | 293707.3939 | 30.45 | 38.1
14203 | 2022-05-19 14:15 | 20.6647 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.6315 | μmol/L | 18.4076 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.987 | 88575.7193 | 293704.8468 | 30.45 | 38.1
14213 | 2022-05-19 14:15 | 20.9975 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.21 | μmol/L | 18.4259 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.999 | 88618.7852 | 293684.086 | 30.45 | 38.1
14223 | 2022-05-19 14:15 | 21.331 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.0843 | μmol/L | 18.4137 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.009 | 88646.2286 | 293695.2179 | 30.45 | 38.1
14233 | 2022-05-19 14:16 | 21.6645 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.0441 | μmol/L | 18.4076 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.013 | 88663.4239 | 293665.298 | 30.45 | 38.1
14243 | 2022-05-19 14:16 | 21.9979 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.8088 | μmol/L | 18.4198 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.019 | 88687.1223 | 293656.2316 | 30.45 | 38.1
14253 | 2022-05-19 14:16 | 22.3308 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.8764 | μmol/L | 18.4198 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.016 | 88691.8723 | 293656.4291 | 30.45 | 38.1
14263 | 2022-05-19 14:17 | 22.6642 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.8539 | μmol/L | 18.4198 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.017 | 88691.254 | 293659.2294 | 30.45 | 38.1
14273 | 2022-05-19 14:17 | 22.9982 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.7637 | μmol/L | 18.4198 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.021 | 88698.5832 | 293647.8087 | 30.45 | 38.1
14283 | 2022-05-19 14:17 | 23.3308 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.8363 | μmol/L | 18.4137 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.02 | 88693.8964 | 293651.1511 | 30.45 | 38.1
14293 | 2022-05-19 14:18 | 23.6643 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.801 | μmol/L | 18.4015 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.026 | 88715.3813 | 293652.7515 | 30.45 | 38.1
14303 | 2022-05-19 14:18 | 23.9978 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.0286 | μmol/L | 18.371 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.027 | 88707.4962 | 293645.4915 | 30.45 | 38.1
14313 | 2022-05-19 14:18 | 24.3313 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.6757 | μmol/L | 18.3893 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.036 | 88738.408 | 293639.5975 | 30.45 | 38.1
14323 | 2022-05-19 14:19 | 24.665 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.2883 | μmol/L | 18.3954 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.051 | 88788.9164 | 293618.6916 | 30.45 | 38.1
14333 | 2022-05-19 14:19 | 24.9983 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.0762 | μmol/L | 18.4076 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.056 | 88804.6513 | 293617.6169 | 30.45 | 38.1
14343 | 2022-05-19 14:19 | 25.3316 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.171 | μmol/L | 18.4015 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.054 | 88814.8056 | 293608.0247 | 30.45 | 38.1
14353 | 2022-05-19 14:20 | 25.6642 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.0313 | μmol/L | 18.4076 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.058 | 88827.994 | 293598.6253 | 30.45 | 38.1
14363 | 2022-05-19 14:20 | 25.9977 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 262.9913 | μmol/L | 18.4015 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.062 | 88832.3043 | 293599.7287 | 30.45 | 38.1
14373 | 2022-05-19 14:20 | 26.3311 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.0636 | μmol/L | 18.3954 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.061 | 88830.0859 | 293583.607 | 30.45 | 38.1
14383 | 2022-05-19 14:21 | 26.6646 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.1184 | μmol/L | 18.3832 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.063 | 88835.3794 | 293566.3069 | 30.45 | 38.1
14393 | 2022-05-19 14:21 | 26.9982 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.2281 | μmol/L | 18.3588 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.067 | 88858.8037 | 293567.0781 | 30.45 | 38.1
14403 | 2022-05-19 14:21 | 27.3315 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 262.9313 | μmol/L | 18.3649 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.078 | 88880.5001 | 293572.2323 | 30.45 | 38.1
14413 | 2022-05-19 14:22 | 27.6648 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 262.5676 | μmol/L | 18.371 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.092 | 88962.4234 | 293565.0813 | 30.45 | 38.1
14423 | 2022-05-19 14:22 | 27.9982 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 262.3884 | μmol/L | 18.371 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.1 | 88995.1138 | 293558.8513 | 30.45 | 38.1
14433 | 2022-05-19 14:22 | 28.3309 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 262.1821 | μmol/L | 18.3771 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.107 | 89011.4686 | 293543.4751 | 30.45 | 38.1
14443 | 2022-05-19 14:23 | 28.6645 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 262.2094 | μmol/L | 18.371 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.108 | 89011.3581 | 293532.271 | 30.45 | 38.1
14453 | 2022-05-19 14:23 | 28.998 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 262.12 | μmol/L | 18.371 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.112 | 89028.0731 | 293530.6573 | 30.45 | 38.1
14463 | 2022-05-19 14:23 | 29.3314 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.9859 | μmol/L | 18.371 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.118 | 89045.4669 | 293513.4806 | 30.45 | 38.1
14473 | 2022-05-19 14:24 | 29.6648 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.9909 | μmol/L | 18.3649 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.12 | 89048.3021 | 293525.0633 | 30.45 | 38.1
14483 | 2022-05-19 14:24 | 29.9982 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.8643 | μmol/L | 18.3832 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.119 | 89040.5427 | 293500.9566 | 30.45 | 38.1
14493 | 2022-05-19 14:24 | 30.3315 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.7576 | μmol/L | 18.3771 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.126 | 89056.634 | 293491.8347 | 30.45 | 38.1
14503 | 2022-05-19 14:25 | 30.665 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.6783 | μmol/L | 18.3649 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.134 | 89091.6273 | 293485.9571 | 30.45 | 38.1
14513 | 2022-05-19 14:25 | 30.9976 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.4431 | μmol/L | 18.3527 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.149 | 89121.9217 | 293478.3326 | 30.45 | 38.1
14523 | 2022-05-19 14:25 | 31.3309 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.4704 | μmol/L | 18.3466 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.15 | 89156.8821 | 293492.3602 | 30.45 | 38.1
14533 | 2022-05-19 14:26 | 31.6644 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.3863 | μmol/L | 18.3405 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.156 | 89181.4853 | 293473.7392 | 30.45 | 38.1
14543 | 2022-05-19 14:26 | 31.9977 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.3418 | μmol/L | 18.3405 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.158 | 89195.6833 | 293469.2857 | 30.45 | 38.1
14553 | 2022-05-19 14:26 | 32.3311 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.3245 | μmol/L | 18.3343 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.161 | 89177.7915 | 293460.2691 | 30.45 | 38.1
14563 | 2022-05-19 14:27 | 32.6648 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.3023 | μmol/L | 18.3343 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.162 | 89186.2456 | 293446.3076 | 30.45 | 38.1
14573 | 2022-05-19 14:27 | 32.9982 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.285 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.165 | 89198.8057 | 293443.4938 | 30.45 | 38.1
14583 | 2022-05-19 14:27 | 33.3314 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.1242 | μmol/L | 18.3343 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.17 | 89223.02 | 293456.9602 | 30.45 | 38.1
14593 | 2022-05-19 14:28 | 33.6649 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.0029 | μmol/L | 18.3466 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.171 | 89235.6912 | 293444.9882 | 30.45 | 38.1
14603 | 2022-05-19 14:28 | 33.9975 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 260.8301 | μmol/L | 18.3405 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.181 | 89256.4961 | 293450.6298 | 30.45 | 38.1
14613 | 2022-05-19 14:28 | 34.3311 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 260.8796 | μmol/L | 18.3343 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.181 | 89270.2566 | 293446.7155 | 30.45 | 38.1
14623 | 2022-05-19 14:29 | 34.6644 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 260.6303 | μmol/L | 18.3405 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.19 | 89297.3225 | 293426.6101 | 30.45 | 38.1
14633 | 2022-05-19 14:29 | 34.9978 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 260.6232 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.197 | 89315.5748 | 293432.3117 | 30.45 | 38.1
14643 | 2022-05-19 14:29 | 35.3311 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 260.0982 | μmol/L | 18.3405 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.214 | 89384.3881 | 293422.5252 | 30.45 | 38.1
14653 | 2022-05-19 14:30 | 35.6644 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 259.7492 | μmol/L | 18.3343 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.232 | 89457.8666 | 293422.06 | 30.45 | 38.1
14663 | 2022-05-19 14:30 | 35.9979 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 259.7101 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.236 | 89477.0981 | 293404.9146 | 30.45 | 38.1
14673 | 2022-05-19 14:30 | 36.3314 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 259.462 | μmol/L | 18.3343 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.245 | 89510.7758 | 293385.9796 | 30.45 | 38.1
14683 | 2022-05-19 14:31 | 36.6642 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 259.2685 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.256 | 89546.3448 | 293379.1513 | 30.45 | 38.1
14693 | 2022-05-19 14:31 | 36.9976 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 259.2685 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.256 | 89579.141 | 293384.2393 | 30.45 | 38.1
14703 | 2022-05-19 14:31 | 37.3311 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 259.1141 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.263 | 89593.5508 | 293376.0337 | 30.45 | 38.1
14713 | 2022-05-19 14:32 | 37.6645 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 259.0362 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.271 | 89610.6572 | 293392.4466 | 30.45 | 38.1
14723 | 2022-05-19 14:32 | 37.9978 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 259.009 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.27 | 89613.2961 | 293371.8004 | 30.45 | 38.1
14733 | 2022-05-19 14:32 | 38.3312 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 258.8109 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.279 | 89631.0653 | 293356.4126 | 30.45 | 38.1
14743 | 2022-05-19 14:33 | 38.6647 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 258.6789 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.285 | 89668.2246 | 293346.9786 | 30.45 | 38.1
14753 | 2022-05-19 14:33 | 38.998 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 258.5249 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.292 | 89687.145 | 293341.6625 | 30.45 | 38.1
14763 | 2022-05-19 14:33 | 39.3313 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 258.459 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.295 | 89707.9685 | 293342.1683 | 30.45 | 38.1
14773 | 2022-05-19 14:34 | 39.6649 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 258.2833 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.303 | 89720.4758 | 293341.3717 | 30.45 | 38.1
14783 | 2022-05-19 14:34 | 39.9976 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 258.1465 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.307 | 89732.2473 | 293320.5825 | 30.45 | 38.1
14793 | 2022-05-19 14:34 | 40.331 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 258.2547 | μmol/L | 18.3038 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.311 | 89758.2416 | 293313.525 | 30.45 | 38.1
14803 | 2022-05-19 14:35 | 40.6644 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 258.1669 | μmol/L | 18.3038 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.315 | 89780.3374 | 293308.6013 | 30.45 | 38.1
14813 | 2022-05-19 14:35 | 40.9982 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 258.0185 | μmol/L | 18.2977 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.324 | 89806.2046 | 293298.5102 | 30.45 | 38.1
14823 | 2022-05-19 14:35 | 41.3316 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 257.9477 | μmol/L | 18.3038 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.325 | 89825.1817 | 293313.3703 | 30.45 | 38.1
14833 | 2022-05-19 14:36 | 41.6642 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 257.7556 | μmol/L | 18.2977 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.336 | 89853.0714 | 293303.6202 | 30.45 | 38.1
14843 | 2022-05-19 14:36 | 41.9977 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 257.5316 | μmol/L | 18.3038 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.344 | 89875.3756 | 293285.8037 | 30.45 | 38.1
14853 | 2022-05-19 14:36 | 42.3312 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 257.3953 | μmol/L | 18.3099 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.348 | 89903.5681 | 293290.5437 | 30.45 | 38.1
14863 | 2022-05-19 14:37 | 42.6644 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 257.2423 | μmol/L | 18.3099 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.355 | 89927.6922 | 293284.1421 | 30.45 | 38.1
14873 | 2022-05-19 14:37 | 42.9978 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 257.1382 | μmol/L | 18.3038 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.362 | 89961.7415 | 293266.3042 | 30.45 | 38.1
14883 | 2022-05-19 14:37 | 43.3312 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 257.1048 | μmol/L | 18.2916 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.368 | 89975.2043 | 293266.7557 | 30.45 | 38.1
14893 | 2022-05-19 14:38 | 43.6648 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 257.0291 | μmol/L | 18.3038 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.367 | 89976.3151 | 293264.0918 | 30.45 | 38.1
14903 | 2022-05-19 14:38 | 43.9981 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 257.1382 | μmol/L | 18.3038 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.362 | 89956.4296 | 293273.3291 | 30.45 | 38.1
14913 | 2022-05-19 14:38 | 44.3315 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 257.0945 | μmol/L | 18.3038 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.364 | 89936.9695 | 293272.4173 | 30.45 | 38.1
14923 | 2022-05-19 14:39 | 44.6647 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 257.0458 | μmol/L | 18.3099 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.364 | 89946.8058 | 293263.5683 | 30.45 | 38.1
14933 | 2022-05-19 14:39 | 44.9981 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 256.9418 | μmol/L | 18.3038 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.371 | 89952.8383 | 293254.4806 | 30.45 | 38.1
14943 | 2022-05-19 14:39 | 45.3314 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 256.8764 | μmol/L | 18.3038 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.374 | 89977.3922 | 293248.5413 | 30.45 | 38.1
14953 | 2022-05-19 14:40 | 45.6645 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 256.7289 | μmol/L | 18.2977 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.383 | 90014.8327 | 293263.6621 | 30.45 | 38.1
14963 | 2022-05-19 14:40 | 45.9982 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 256.6251 | μmol/L | 18.2916 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.39 | 90065.329 | 293244.7878 | 30.45 | 38.1
14973 | 2022-05-19 14:40 | 46.3318 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 256.25 | μmol/L | 18.2977 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.405 | 90095.2831 | 293233.6718 | 30.45 | 38.1
14983 | 2022-05-19 14:41 | 46.6644 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 255.9944 | μmol/L | 18.2916 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.419 | 90173.4987 | 293235.281 | 30.45 | 38.1
14993 | 2022-05-19 14:41 | 46.998 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 255.9127 | μmol/L | 18.2855 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.425 | 90193.0713 | 293220.5468 | 30.45 | 38.1
15003 | 2022-05-19 14:41 | 47.331 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 255.674 | μmol/L | 18.2855 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.436 | 90228.5621 | 293222.5281 | 30.45 | 38.1
15013 | 2022-05-19 14:42 | 47.6647 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 255.5223 | μmol/L | 18.2855 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.443 | 90263.3202 | 293213.1018 | 30.45 | 38.1
15023 | 2022-05-19 14:42 | 47.9976 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 255.414 | μmol/L | 18.2855 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.448 | 90292.7621 | 293217.7118 | 30.45 | 38.1
15033 | 2022-05-19 14:42 | 48.3313 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 255.1543 | μmol/L | 18.2855 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.46 | 90314.763 | 293218.1568 | 30.45 | 38.1
15043 | 2022-05-19 14:43 | 48.6652 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 255.0678 | μmol/L | 18.2855 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.464 | 90331.0254 | 293201.2335 | 30.45 | 38.1
15053 | 2022-05-19 14:43 | 48.9978 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 255.0461 | μmol/L | 18.2855 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.465 | 90364.2088 | 293217.6662 | 30.45 | 38.1
15063 | 2022-05-19 14:43 | 49.3314 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 254.8352 | μmol/L | 18.2794 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.477 | 90364.7881 | 293210.856 | 30.45 | 38.1
15073 | 2022-05-19 14:44 | 49.6651 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 254.7437 | μmol/L | 18.2855 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.479 | 90385.1019 | 293211.95 | 30.45 | 38.1
15083 | 2022-05-19 14:44 | 49.9976 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 254.7273 | μmol/L | 18.2794 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.482 | 90422.9582 | 293191.8668 | 30.45 | 38.1
15093 | 2022-05-19 14:44 | 50.3312 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 254.4313 | μmol/L | 18.2977 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.489 | 90451.3768 | 293189.4866 | 30.45 | 38.1
15103 | 2022-05-19 14:45 | 50.6641 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 254.3502 | μmol/L | 18.2916 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.495 | 90476.3464 | 293198.0893 | 30.45 | 38.1
15113 | 2022-05-19 14:45 | 50.9982 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 254.1994 | μmol/L | 18.2916 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.502 | 90495.0628 | 293194.339 | 30.45 | 38.1
15123 | 2022-05-19 14:45 | 51.331 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 254.0755 | μmol/L | 18.2855 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.51 | 90517.5648 | 293184.2785 | 30.45 | 38.1
15133 | 2022-05-19 14:46 | 51.6647 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 253.9412 | μmol/L | 18.2916 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.514 | 90540.5164 | 293186.0809 | 30.45 | 38.1
15143 | 2022-05-19 14:46 | 51.9981 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 253.9197 | μmol/L | 18.2916 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.515 | 90556.7293 | 293178.5034 | 30.45 | 38.1
15153 | 2022-05-19 14:46 | 52.3309 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 253.9301 | μmol/L | 18.2794 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.519 | 90568.177 | 293172.2217 | 30.45 | 38.1
15163 | 2022-05-19 14:47 | 52.6643 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 253.7529 | μmol/L | 18.2855 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.525 | 90575.6591 | 293176.5828 | 30.45 | 38.1
15173 | 2022-05-19 14:47 | 52.9977 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 253.9516 | μmol/L | 18.2794 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.518 | 90578.9513 | 293166.6135 | 30.45 | 38.1
15183 | 2022-05-19 14:47 | 53.3311 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 253.8011 | μmol/L | 18.2794 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.525 | 90579.6581 | 293179.2284 | 30.45 | 38.1
15193 | 2022-05-19 14:48 | 53.6649 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 253.8011 | μmol/L | 18.2794 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.525 | 90584.5371 | 293173.9308 | 30.45 | 38.1