## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_10 | O2 | 200465988 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 10:01

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-19 15:01

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
13575 | 2022-05-19 13:54 | 0 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.1175 | μmol/L | 18.6667 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.376 | 108036.1568 | 267399.5801 | 32.55 | 27.7
13585 | 2022-05-19 13:54 | 0.33292 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.0746 | μmol/L | 18.6606 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.38 | 108044.0235 | 267394.9889 | 32.55 | 27.7
13595 | 2022-05-19 13:54 | 0.66614 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.9498 | μmol/L | 18.6667 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.383 | 108050.2211 | 267379.384 | 32.55 | 27.7
13605 | 2022-05-19 13:55 | 0.99934 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.8591 | μmol/L | 18.6606 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.389 | 108065.5871 | 267363.3417 | 32.55 | 27.7
13615 | 2022-05-19 13:55 | 1.3325 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.7685 | μmol/L | 18.6545 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.395 | 108068.6405 | 267348.18 | 32.55 | 27.7
13625 | 2022-05-19 13:55 | 1.6657 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.6779 | μmol/L | 18.6484 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.401 | 108085.8941 | 267332.7404 | 32.55 | 27.7
13635 | 2022-05-19 13:56 | 1.999 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.6489 | μmol/L | 18.6545 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.4 | 108096.0675 | 267329.0373 | 32.55 | 27.7
13645 | 2022-05-19 13:56 | 2.333 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.5294 | μmol/L | 18.6545 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.405 | 108094.9524 | 267294.0696 | 32.55 | 27.7
13655 | 2022-05-19 13:56 | 2.6661 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.5055 | μmol/L | 18.6545 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.406 | 108102.0336 | 267286.9503 | 32.55 | 27.7
13665 | 2022-05-19 13:57 | 2.9993 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.3095 | μmol/L | 18.6606 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.412 | 108109.4366 | 267274.2031 | 32.55 | 27.7
13675 | 2022-05-19 13:57 | 3.3326 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.3384 | μmol/L | 18.6545 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.413 | 108105.17 | 267260.8887 | 32.55 | 27.7
13685 | 2022-05-19 13:57 | 3.6657 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.2957 | μmol/L | 18.6484 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.417 | 108118.8411 | 267237.0692 | 32.55 | 27.7
13695 | 2022-05-19 13:58 | 3.9997 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.1764 | μmol/L | 18.6484 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.422 | 108123.4065 | 267238.9034 | 32.55 | 27.7
13705 | 2022-05-19 13:58 | 4.333 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.1815 | μmol/L | 18.6423 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.424 | 108130.6834 | 267241.7478 | 32.55 | 27.7
13715 | 2022-05-19 13:58 | 4.666 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.1338 | μmol/L | 18.6423 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.426 | 108139.4747 | 267213.668 | 32.55 | 27.7
13725 | 2022-05-19 13:59 | 4.9992 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.9958 | μmol/L | 18.6362 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.434 | 108148.304 | 267205.7819 | 32.55 | 27.7
13735 | 2022-05-19 13:59 | 5.3324 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.149 | μmol/L | 18.6239 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.432 | 108151.7541 | 267202.9199 | 32.55 | 27.7
13745 | 2022-05-19 13:59 | 5.6665 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.149 | μmol/L | 18.6239 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.432 | 108154.8541 | 267189.0277 | 32.55 | 27.7
13755 | 2022-05-19 14:00 | 5.9992 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.0298 | μmol/L | 18.6239 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.437 | 108160.0795 | 267201.1628 | 32.55 | 27.7
13765 | 2022-05-19 14:00 | 6.3332 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.0349 | μmol/L | 18.6178 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.439 | 108162.9925 | 267176.7927 | 32.55 | 27.7
13775 | 2022-05-19 14:00 | 6.6664 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.9822 | μmol/L | 18.6239 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.439 | 108166.1775 | 267172.6756 | 32.55 | 27.7
13785 | 2022-05-19 14:01 | 6.9995 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.9924 | μmol/L | 18.6117 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.443 | 108175.1544 | 267163.0808 | 32.55 | 27.7
13795 | 2022-05-19 14:01 | 7.3326 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.9448 | μmol/L | 18.6117 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.445 | 108180.0546 | 267164.2359 | 32.55 | 27.7
13805 | 2022-05-19 14:01 | 7.6657 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.8257 | μmol/L | 18.6117 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.45 | 108181.5242 | 267150.057 | 32.55 | 27.7
13815 | 2022-05-19 14:02 | 7.9996 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.8019 | μmol/L | 18.6117 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.451 | 108174.8524 | 267133.4845 | 32.55 | 27.7
13825 | 2022-05-19 14:02 | 8.3329 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.9839 | μmol/L | 18.5934 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.45 | 108183.1625 | 267122.161 | 32.55 | 27.7
13835 | 2022-05-19 14:02 | 8.6664 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.8359 | μmol/L | 18.5995 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.454 | 108187.864 | 267113.2622 | 32.55 | 27.7
13845 | 2022-05-19 14:03 | 8.9998 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.8752 | μmol/L | 18.5811 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.459 | 108193.6533 | 267121.3056 | 32.55 | 27.7
13855 | 2022-05-19 14:03 | 9.3329 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.9228 | μmol/L | 18.5811 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.457 | 108196.6735 | 267108.1594 | 32.55 | 27.7
13865 | 2022-05-19 14:03 | 9.6661 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.8752 | μmol/L | 18.5811 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.459 | 108210.289 | 267115.6741 | 32.55 | 27.7
13875 | 2022-05-19 14:04 | 9.9994 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.8565 | μmol/L | 18.575 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.462 | 108198.9682 | 267093.4817 | 32.55 | 27.7
13885 | 2022-05-19 14:04 | 10.3326 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.8617 | μmol/L | 18.5689 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.464 | 108204.2309 | 267092.874 | 32.55 | 27.7
13895 | 2022-05-19 14:04 | 10.6659 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.7324 | μmol/L | 18.5811 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.465 | 108201.6477 | 267087.7887 | 32.55 | 27.7
13905 | 2022-05-19 14:05 | 10.9991 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.843 | μmol/L | 18.5628 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.467 | 108190.2662 | 267075.0623 | 32.55 | 27.7
13915 | 2022-05-19 14:05 | 11.333 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.8379 | μmol/L | 18.5689 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.465 | 108200.3605 | 267075.0928 | 32.55 | 27.7
13925 | 2022-05-19 14:05 | 11.6665 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.8193 | μmol/L | 18.5628 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.468 | 108199.5078 | 267054.5563 | 32.55 | 27.7
13935 | 2022-05-19 14:06 | 11.999 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.8669 | μmol/L | 18.5628 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.466 | 108204.5827 | 267053.5936 | 32.55 | 27.7
13945 | 2022-05-19 14:06 | 12.3331 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.7717 | μmol/L | 18.5628 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.47 | 108206.3303 | 267067.1629 | 32.55 | 27.7
13955 | 2022-05-19 14:06 | 12.6662 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.7531 | μmol/L | 18.5567 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.473 | 108204.3078 | 267051.3456 | 32.55 | 27.7
13965 | 2022-05-19 14:07 | 12.9995 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.782 | μmol/L | 18.5506 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.474 | 108211.6525 | 267043.5623 | 32.55 | 27.7
13975 | 2022-05-19 14:07 | 13.3325 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.7634 | μmol/L | 18.5444 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.477 | 108207.4731 | 267029.971 | 32.55 | 27.7
13985 | 2022-05-19 14:07 | 13.6659 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.6921 | μmol/L | 18.5444 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.48 | 108206.2774 | 267026.1202 | 32.55 | 27.7
13995 | 2022-05-19 14:08 | 13.9998 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.7738 | μmol/L | 18.5322 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.481 | 108212.7733 | 267027.3246 | 32.55 | 27.7
14005 | 2022-05-19 14:08 | 14.333 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.6208 | μmol/L | 18.5444 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.483 | 108202.2973 | 267010.3112 | 32.55 | 27.7
14015 | 2022-05-19 14:08 | 14.6657 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.7501 | μmol/L | 18.5322 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.482 | 108203.3231 | 266994.6362 | 32.55 | 27.7
14025 | 2022-05-19 14:09 | 14.9991 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.6549 | μmol/L | 18.5322 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.486 | 108206.8797 | 266996.1071 | 32.55 | 27.7
14035 | 2022-05-19 14:09 | 15.3324 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.7791 | μmol/L | 18.5261 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.483 | 108209.1782 | 266996.6387 | 32.55 | 27.7
14045 | 2022-05-19 14:09 | 15.6665 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.7077 | μmol/L | 18.5261 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.486 | 108204.1429 | 266991.7045 | 32.55 | 27.7
14055 | 2022-05-19 14:10 | 15.9997 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.6602 | μmol/L | 18.5261 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.488 | 108214.4702 | 266989.5282 | 32.55 | 27.7
14065 | 2022-05-19 14:10 | 16.3326 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.7367 | μmol/L | 18.52 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.487 | 108216.087 | 266974.6283 | 32.55 | 27.7
14075 | 2022-05-19 14:10 | 16.6661 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.6416 | μmol/L | 18.52 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.491 | 108216.3356 | 266976.2233 | 32.55 | 27.7
14085 | 2022-05-19 14:11 | 16.9996 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.6469 | μmol/L | 18.5139 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.493 | 108210.6715 | 266956.7101 | 32.55 | 27.7
14095 | 2022-05-19 14:11 | 17.3332 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.6759 | μmol/L | 18.5078 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.494 | 108271.4538 | 266984.3036 | 32.55 | 27.7
14105 | 2022-05-19 14:11 | 17.6657 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.6521 | μmol/L | 18.5078 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.495 | 108247.5203 | 266966.1053 | 32.55 | 27.7
14115 | 2022-05-19 14:12 | 17.9991 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.7287 | μmol/L | 18.5016 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.494 | 108259.5986 | 266964.0143 | 32.55 | 27.7
14125 | 2022-05-19 14:12 | 18.3325 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.7101 | μmol/L | 18.4955 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.497 | 108264.7679 | 266947.2468 | 32.55 | 27.7
14135 | 2022-05-19 14:12 | 18.666 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.6098 | μmol/L | 18.5016 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.499 | 108264.3409 | 266948.6943 | 32.55 | 27.7
14145 | 2022-05-19 14:13 | 18.9998 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.6203 | μmol/L | 18.4894 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.503 | 108268.0437 | 266942.92 | 32.55 | 27.7
14155 | 2022-05-19 14:13 | 19.333 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.6494 | μmol/L | 18.4833 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.504 | 108273.7145 | 266955.4309 | 32.55 | 27.7
14165 | 2022-05-19 14:13 | 19.6659 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.7101 | μmol/L | 18.4955 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.497 | 108269.3137 | 266952.1466 | 32.55 | 27.7
14175 | 2022-05-19 14:14 | 19.9993 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.5491 | μmol/L | 18.4894 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.506 | 108276.6659 | 266930.2535 | 32.55 | 27.7
14185 | 2022-05-19 14:14 | 20.333 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.5966 | μmol/L | 18.4894 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.504 | 108274.0112 | 266917.7715 | 32.55 | 27.7
14195 | 2022-05-19 14:14 | 20.6664 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.6071 | μmol/L | 18.4772 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.508 | 108284.1384 | 266921.2727 | 32.55 | 27.7
14205 | 2022-05-19 14:15 | 20.9991 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.6071 | μmol/L | 18.4772 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.508 | 108281.5252 | 266918.523 | 32.55 | 27.7
14215 | 2022-05-19 14:15 | 21.3326 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.5834 | μmol/L | 18.4772 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.509 | 108274.661 | 266916.1229 | 32.55 | 27.7
14225 | 2022-05-19 14:15 | 21.6661 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.5359 | μmol/L | 18.4772 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.511 | 108289.2377 | 266913.6273 | 32.55 | 27.7
14235 | 2022-05-19 14:16 | 21.9996 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.4462 | μmol/L | 18.4711 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.517 | 108301.8109 | 266904.1501 | 32.55 | 27.7
14245 | 2022-05-19 14:16 | 22.3331 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.3987 | μmol/L | 18.4711 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.519 | 108316.1088 | 266902.0482 | 32.55 | 27.7
14255 | 2022-05-19 14:16 | 22.6659 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.28 | μmol/L | 18.4711 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.524 | 108344.9716 | 266899.2269 | 32.55 | 27.7
14265 | 2022-05-19 14:17 | 22.9993 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.1325 | μmol/L | 18.4772 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.528 | 108362.2549 | 266884.4235 | 32.55 | 27.7
14275 | 2022-05-19 14:17 | 23.3325 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.9956 | μmol/L | 18.4711 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.536 | 108368.1585 | 266880.7526 | 32.55 | 27.7
14285 | 2022-05-19 14:17 | 23.6659 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.0957 | μmol/L | 18.465 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.534 | 108377.0467 | 266878.4913 | 32.55 | 27.7
14295 | 2022-05-19 14:18 | 23.9994 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.1247 | μmol/L | 18.4588 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.535 | 108378.8207 | 266874.1697 | 32.55 | 27.7
14305 | 2022-05-19 14:18 | 24.3329 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.1774 | μmol/L | 18.4527 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.535 | 108384.1859 | 266879.5618 | 32.55 | 27.7
14315 | 2022-05-19 14:18 | 24.6663 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.9588 | μmol/L | 18.4588 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.542 | 108392.1286 | 266860.4052 | 32.55 | 27.7
14325 | 2022-05-19 14:19 | 24.9993 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.9221 | μmol/L | 18.4466 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.548 | 108431.8799 | 266874.3382 | 32.55 | 27.7
14335 | 2022-05-19 14:19 | 25.3328 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.6854 | μmol/L | 18.4466 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.558 | 108471.4442 | 266856.9808 | 32.55 | 27.7
14345 | 2022-05-19 14:19 | 25.6663 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.5199 | μmol/L | 18.4466 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.565 | 108533.0013 | 266861.811 | 32.55 | 27.7
14355 | 2022-05-19 14:20 | 25.9991 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.4361 | μmol/L | 18.4344 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.573 | 108567.4265 | 266845.3489 | 32.55 | 27.7
14365 | 2022-05-19 14:20 | 26.333 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.171 | μmol/L | 18.4405 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.582 | 108613.7613 | 266837.3587 | 32.55 | 27.7
14375 | 2022-05-19 14:20 | 26.6664 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.8881 | μmol/L | 18.4405 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.594 | 108636.2566 | 266833.268 | 32.55 | 27.7
14385 | 2022-05-19 14:21 | 26.9998 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.8174 | μmol/L | 18.4405 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.597 | 108661.5571 | 266823.1214 | 32.55 | 27.7
14395 | 2022-05-19 14:21 | 27.3325 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.8934 | μmol/L | 18.4344 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.596 | 108676.0413 | 266818.7118 | 32.55 | 27.7
14405 | 2022-05-19 14:21 | 27.666 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.629 | μmol/L | 18.4405 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.605 | 108696.5703 | 266819.2854 | 32.55 | 27.7
14415 | 2022-05-19 14:22 | 27.9995 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.5221 | μmol/L | 18.4283 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.614 | 108724.4642 | 266819.9102 | 32.55 | 27.7
14425 | 2022-05-19 14:22 | 28.3329 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.5456 | μmol/L | 18.4283 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.613 | 108762.9506 | 266805.2459 | 32.55 | 27.7
14435 | 2022-05-19 14:22 | 28.6663 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.1171 | μmol/L | 18.4344 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.629 | 108811.2788 | 266801.0447 | 32.55 | 27.7
14445 | 2022-05-19 14:23 | 28.9996 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9582 | μmol/L | 18.4283 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.638 | 108858.2951 | 266811.5344 | 32.55 | 27.7
14455 | 2022-05-19 14:23 | 29.3332 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.7056 | μmol/L | 18.4221 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.651 | 108911.9851 | 266800.5004 | 32.55 | 27.7
14465 | 2022-05-19 14:23 | 29.6662 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.5596 | μmol/L | 18.4283 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.655 | 108954.3431 | 266800.5476 | 32.55 | 27.7
14475 | 2022-05-19 14:24 | 29.9997 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.3777 | μmol/L | 18.4221 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.665 | 108990.9338 | 266789.0227 | 32.55 | 27.7
14485 | 2022-05-19 14:24 | 30.3325 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.3021 | μmol/L | 18.4283 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.666 | 108988.3915 | 266799.4052 | 32.55 | 27.7
14495 | 2022-05-19 14:24 | 30.6659 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.4588 | μmol/L | 18.4099 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.666 | 108978.7368 | 266765.6242 | 32.55 | 27.7
14505 | 2022-05-19 14:25 | 30.9994 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.4768 | μmol/L | 18.416 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.663 | 108957.7142 | 266790.7769 | 32.55 | 27.7
14515 | 2022-05-19 14:25 | 31.3328 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.5056 | μmol/L | 18.4099 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.664 | 108940.6292 | 266777.9378 | 32.55 | 27.7
14525 | 2022-05-19 14:25 | 31.6663 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.4822 | μmol/L | 18.4099 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.665 | 108945.6704 | 266773.2723 | 32.55 | 27.7
14535 | 2022-05-19 14:26 | 31.9996 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.5002 | μmol/L | 18.416 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.662 | 108938.3887 | 266763.6696 | 32.55 | 27.7
14545 | 2022-05-19 14:26 | 32.3331 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.6048 | μmol/L | 18.4038 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.662 | 108941.9733 | 266749.4044 | 32.55 | 27.7
14555 | 2022-05-19 14:26 | 32.666 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.4174 | μmol/L | 18.4038 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.67 | 108954.4797 | 266754.9843 | 32.55 | 27.7
14565 | 2022-05-19 14:27 | 32.9995 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.3472 | μmol/L | 18.4038 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.673 | 108981.5851 | 266752.9233 | 32.55 | 27.7
14575 | 2022-05-19 14:27 | 33.3328 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.1313 | μmol/L | 18.4099 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.68 | 109006.5769 | 266748.5742 | 32.55 | 27.7
14585 | 2022-05-19 14:27 | 33.6662 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.1134 | μmol/L | 18.4038 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.683 | 109035.6884 | 266736.5569 | 32.55 | 27.7
14595 | 2022-05-19 14:28 | 33.9996 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.9787 | μmol/L | 18.3977 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.691 | 109060.3549 | 266741.7871 | 32.55 | 27.7
14605 | 2022-05-19 14:28 | 34.333 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.8798 | μmol/L | 18.4038 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.693 | 109088.487 | 266738.4491 | 32.55 | 27.7
14615 | 2022-05-19 14:28 | 34.6657 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.8386 | μmol/L | 18.3977 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.697 | 109098.7464 | 266723.9557 | 32.55 | 27.7
14625 | 2022-05-19 14:29 | 34.9993 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.6286 | μmol/L | 18.3977 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.706 | 109122.4911 | 266711.5664 | 32.55 | 27.7
14635 | 2022-05-19 14:29 | 35.333 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.7562 | μmol/L | 18.3855 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.705 | 109124.8662 | 266704.2436 | 32.55 | 27.7
14645 | 2022-05-19 14:29 | 35.6665 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.6108 | μmol/L | 18.3916 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.709 | 109127.5648 | 266702.1578 | 32.55 | 27.7
14655 | 2022-05-19 14:30 | 35.9997 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.6341 | μmol/L | 18.3916 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.708 | 109132.8475 | 266686.7898 | 32.55 | 27.7
14665 | 2022-05-19 14:30 | 36.3325 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.7617 | μmol/L | 18.3793 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.707 | 109124.8057 | 266691.4769 | 32.55 | 27.7
14675 | 2022-05-19 14:30 | 36.6659 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.5463 | μmol/L | 18.3855 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.714 | 109115.3909 | 266682.8136 | 32.55 | 27.7
14685 | 2022-05-19 14:31 | 36.9994 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.7096 | μmol/L | 18.3855 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.707 | 109121.9718 | 266690.1703 | 32.55 | 27.7
14695 | 2022-05-19 14:31 | 37.3328 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.6451 | μmol/L | 18.3793 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.712 | 109141.7698 | 266686.6389 | 32.55 | 27.7
14705 | 2022-05-19 14:31 | 37.6662 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.2901 | μmol/L | 18.3855 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.725 | 109186.3259 | 266683.5554 | 32.55 | 27.7
14715 | 2022-05-19 14:32 | 37.9996 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.0109 | μmol/L | 18.3855 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.737 | 109241.6275 | 266680.7911 | 32.55 | 27.7
14725 | 2022-05-19 14:32 | 38.3331 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.9644 | μmol/L | 18.3855 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.739 | 109270.2267 | 266674.8672 | 32.55 | 27.7
14735 | 2022-05-19 14:32 | 38.6658 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.0219 | μmol/L | 18.3732 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.741 | 109270.5478 | 266676.8246 | 32.55 | 27.7
14745 | 2022-05-19 14:33 | 38.9992 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.0397 | μmol/L | 18.3793 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.738 | 109252.7886 | 266666.0814 | 32.55 | 27.7
14755 | 2022-05-19 14:33 | 39.3326 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.156 | μmol/L | 18.3793 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.733 | 109214.2934 | 266659.7083 | 32.55 | 27.7
14765 | 2022-05-19 14:33 | 39.6661 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.2723 | μmol/L | 18.3793 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.728 | 109171.6454 | 266654.925 | 32.55 | 27.7
14775 | 2022-05-19 14:34 | 39.9994 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.3655 | μmol/L | 18.3793 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.724 | 109157.1559 | 266644.4976 | 32.55 | 27.7
14785 | 2022-05-19 14:34 | 40.333 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.4463 | μmol/L | 18.3671 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.725 | 109168.0534 | 266663.3451 | 32.55 | 27.7
14795 | 2022-05-19 14:34 | 40.6658 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.0917 | μmol/L | 18.3732 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.738 | 109208.994 | 266655.016 | 32.55 | 27.7
14805 | 2022-05-19 14:35 | 40.9995 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.074 | μmol/L | 18.3671 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.741 | 109247.3684 | 266644.8363 | 32.55 | 27.7
14815 | 2022-05-19 14:35 | 41.3325 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.8825 | μmol/L | 18.3732 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.747 | 109272.9462 | 266635.9049 | 32.55 | 27.7
14825 | 2022-05-19 14:35 | 41.6659 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.3256 | μmol/L | 18.3732 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.771 | 109387.7571 | 266638.6649 | 32.55 | 27.7
14835 | 2022-05-19 14:36 | 41.9994 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.4522 | μmol/L | 18.3671 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.811 | 109609.681 | 266621.8932 | 32.55 | 27.7
14845 | 2022-05-19 14:36 | 42.3327 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.4159 | μmol/L | 18.3671 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.856 | 109853.6414 | 266624.6011 | 32.55 | 27.7
14855 | 2022-05-19 14:36 | 42.6664 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.5732 | μmol/L | 18.361 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.895 | 110055.9195 | 266628.9306 | 32.55 | 27.7
14865 | 2022-05-19 14:37 | 42.9997 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.7966 | μmol/L | 18.361 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.929 | 110227.4144 | 266626.246 | 32.55 | 27.7
14875 | 2022-05-19 14:37 | 43.3331 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.6882 | μmol/L | 18.3549 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.936 | 110283.5882 | 266616.016 | 32.55 | 27.7
14885 | 2022-05-19 14:37 | 43.6665 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.6826 | μmol/L | 18.361 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.934 | 110283.857 | 266611.5118 | 32.55 | 27.7
14895 | 2022-05-19 14:38 | 43.9991 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.5003 | μmol/L | 18.361 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.942 | 110303.3979 | 266610.6725 | 32.55 | 27.7
14905 | 2022-05-19 14:38 | 44.3325 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.6199 | μmol/L | 18.3549 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.939 | 110274.1967 | 266602.1226 | 32.55 | 27.7
14915 | 2022-05-19 14:38 | 44.666 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.7054 | μmol/L | 18.361 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.933 | 110232.4118 | 266603.9827 | 32.55 | 27.7
14925 | 2022-05-19 14:39 | 44.9995 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.0988 | μmol/L | 18.3549 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.918 | 110148.8854 | 266606.7356 | 32.55 | 27.7
14935 | 2022-05-19 14:39 | 45.333 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.4187 | μmol/L | 18.3549 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.904 | 110065.5032 | 266590.0211 | 32.55 | 27.7
14945 | 2022-05-19 14:39 | 45.6664 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.4817 | μmol/L | 18.361 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.899 | 110060.0128 | 266590.5631 | 32.55 | 27.7
14955 | 2022-05-19 14:40 | 45.9992 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.5615 | μmol/L | 18.3488 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.9 | 110063.726 | 266583.7073 | 32.55 | 27.7
14965 | 2022-05-19 14:40 | 46.3329 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.0588 | μmol/L | 18.3488 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.922 | 110163.4574 | 266596.3315 | 32.55 | 27.7
14975 | 2022-05-19 14:40 | 46.6665 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.6596 | μmol/L | 18.3365 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.944 | 110278.5414 | 266596.6748 | 32.55 | 27.7
14985 | 2022-05-19 14:41 | 46.9991 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.3352 | μmol/L | 18.3427 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.956 | 110350.0739 | 266577.3507 | 32.55 | 27.7
14995 | 2022-05-19 14:41 | 47.3328 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.9886 | μmol/L | 18.3488 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.969 | 110403.647 | 266579.2082 | 32.55 | 27.7
15005 | 2022-05-19 14:41 | 47.6665 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.6368 | μmol/L | 18.3365 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.989 | 110489.2883 | 266573.3468 | 32.55 | 27.7
15015 | 2022-05-19 14:42 | 47.9991 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.3422 | μmol/L | 18.3365 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.002 | 110590.1871 | 266571.2096 | 32.55 | 27.7
15025 | 2022-05-19 14:42 | 48.3328 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 267.8898 | μmol/L | 18.3365 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.022 | 110693.8931 | 266571.6451 | 32.55 | 27.7
15035 | 2022-05-19 14:42 | 48.6665 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 267.3481 | μmol/L | 18.3365 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.046 | 110803.3574 | 266571.5407 | 32.55 | 27.7
15045 | 2022-05-19 14:43 | 48.9991 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 267.1511 | μmol/L | 18.3304 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.057 | 110886.1523 | 266573.4075 | 32.55 | 27.7
15055 | 2022-05-19 14:43 | 49.3328 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 266.8528 | μmol/L | 18.3365 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.068 | 110949.4344 | 266571.469 | 32.55 | 27.7
15065 | 2022-05-19 14:43 | 49.6664 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 266.4933 | μmol/L | 18.3365 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.084 | 111026.5235 | 266568.7746 | 32.55 | 27.7
15075 | 2022-05-19 14:44 | 50 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 266.112 | μmol/L | 18.3365 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.101 | 111105.5743 | 266549.6305 | 32.55 | 27.7
15085 | 2022-05-19 14:44 | 50.3326 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 265.9161 | μmol/L | 18.3304 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.112 | 111171.5782 | 266558.6755 | 32.55 | 27.7
15095 | 2022-05-19 14:44 | 50.6665 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 266.0057 | μmol/L | 18.3304 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.108 | 111126.9039 | 266557.9882 | 32.55 | 27.7
15105 | 2022-05-19 14:45 | 50.9991 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 265.9161 | μmol/L | 18.3304 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.112 | 111165.6132 | 266541.5285 | 32.55 | 27.7
15115 | 2022-05-19 14:45 | 51.3325 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 265.5416 | μmol/L | 18.3243 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.131 | 111248.9089 | 266554.6228 | 32.55 | 27.7
15125 | 2022-05-19 14:45 | 51.6661 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 264.9613 | μmol/L | 18.3243 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.157 | 111392.2988 | 266556.0764 | 32.55 | 27.7
15135 | 2022-05-19 14:46 | 51.9998 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 264.6717 | μmol/L | 18.3243 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.17 | 111460.0965 | 266537.5938 | 32.55 | 27.7
15145 | 2022-05-19 14:46 | 52.3327 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 264.5827 | μmol/L | 18.3243 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.174 | 111499.5977 | 266540.9526 | 32.55 | 27.7
15155 | 2022-05-19 14:46 | 52.6661 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 264.5217 | μmol/L | 18.3182 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.179 | 111511.6973 | 266537.0031 | 32.55 | 27.7
15165 | 2022-05-19 14:47 | 52.9993 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 264.2994 | μmol/L | 18.3182 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.189 | 111573.2563 | 266554.1012 | 32.55 | 27.7
15175 | 2022-05-19 14:47 | 53.3328 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 263.8999 | μmol/L | 18.3182 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.207 | 111665.1617 | 266538.901 | 32.55 | 27.7
15185 | 2022-05-19 14:47 | 53.6663 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 263.6397 | μmol/L | 18.3121 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.221 | 111742.9986 | 266535.1512 | 32.55 | 27.7