## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_9 | O2 | 143006660 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 10:00

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-19 16:30

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
15203 | 2022-05-19 15:15 | 0 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.3479 | μmol/L | 18.4736 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.717 | 98525.7491 | 266885.8875 | 26.25 | 74
15213 | 2022-05-19 15:15 | 0.32562 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.2361 | μmol/L | 18.4675 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.724 | 98375.7226 | 266889.2372 | 26.25 | 74
15223 | 2022-05-19 15:15 | 0.6597 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.1657 | μmol/L | 18.4675 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.727 | 98249.8634 | 266881.082 | 26.25 | 74
15233 | 2022-05-19 15:16 | 0.99293 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.9783 | μmol/L | 18.4675 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.735 | 98168.6409 | 266870.4009 | 26.25 | 74
15243 | 2022-05-19 15:16 | 1.3262 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.9549 | μmol/L | 18.4675 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.736 | 98089.249 | 266875.5695 | 26.25 | 74
15253 | 2022-05-19 15:16 | 1.6597 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.8433 | μmol/L | 18.4614 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.743 | 98012.6466 | 266862.0915 | 26.25 | 74
15263 | 2022-05-19 15:17 | 1.993 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.6795 | μmol/L | 18.4614 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.75 | 97957.8247 | 266849.7892 | 26.25 | 74
15273 | 2022-05-19 15:17 | 2.3262 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.6507 | μmol/L | 18.4675 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.749 | 97886.9429 | 266859.8601 | 26.25 | 74
15283 | 2022-05-19 15:17 | 2.6595 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.5572 | μmol/L | 18.4675 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.753 | 97834.3101 | 266848.2452 | 26.25 | 74
15293 | 2022-05-19 15:18 | 2.9924 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.5338 | μmol/L | 18.4675 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.754 | 97775.7357 | 266832.2051 | 26.25 | 74
15303 | 2022-05-19 15:18 | 3.3258 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.3235 | μmol/L | 18.4675 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.763 | 97743.048 | 266809.6827 | 26.25 | 74
15313 | 2022-05-19 15:18 | 3.6592 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.399 | μmol/L | 18.4614 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.762 | 97671.2832 | 266820.0719 | 26.25 | 74
15323 | 2022-05-19 15:19 | 3.9926 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.3523 | μmol/L | 18.4614 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.764 | 97628.861 | 266801.0214 | 26.25 | 74
15333 | 2022-05-19 15:19 | 4.326 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.3111 | μmol/L | 18.4553 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.768 | 97573.4808 | 266798.1515 | 26.25 | 74
15343 | 2022-05-19 15:19 | 4.6596 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.1889 | μmol/L | 18.4614 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.771 | 97528.3638 | 266806.7059 | 26.25 | 74
15353 | 2022-05-19 15:20 | 4.9924 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.1477 | μmol/L | 18.4553 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.775 | 97467.3929 | 266804.3808 | 26.25 | 74
15363 | 2022-05-19 15:20 | 5.326 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.1477 | μmol/L | 18.4553 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.775 | 97445.7431 | 266799.8521 | 26.25 | 74
15373 | 2022-05-19 15:20 | 5.6597 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.0078 | μmol/L | 18.4553 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.781 | 97403.7497 | 266809.143 | 26.25 | 74
15383 | 2022-05-19 15:21 | 5.993 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.9845 | μmol/L | 18.4553 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.782 | 97369.3887 | 266809.7578 | 26.25 | 74
15393 | 2022-05-19 15:21 | 6.3263 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.9899 | μmol/L | 18.4492 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.784 | 97353.2408 | 266807.3222 | 26.25 | 74
15403 | 2022-05-19 15:21 | 6.659 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.0832 | μmol/L | 18.4492 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.78 | 97314.8714 | 266804.0454 | 26.25 | 74
15413 | 2022-05-19 15:22 | 6.9923 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.8268 | μmol/L | 18.4492 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.791 | 97315.1879 | 266779.9327 | 26.25 | 74
15423 | 2022-05-19 15:22 | 7.3259 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.8556 | μmol/L | 18.4431 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.792 | 97274.4333 | 266789.5333 | 26.25 | 74
15433 | 2022-05-19 15:22 | 7.6596 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.8035 | μmol/L | 18.4492 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.792 | 97260.0653 | 266779.9367 | 26.25 | 74
15443 | 2022-05-19 15:23 | 7.9923 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.7569 | μmol/L | 18.4492 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.794 | 97256.1057 | 266770.2548 | 26.25 | 74
15453 | 2022-05-19 15:23 | 8.326 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.646 | μmol/L | 18.4431 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.801 | 97236.505 | 266777.1791 | 26.25 | 74
15463 | 2022-05-19 15:23 | 8.659 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.7802 | μmol/L | 18.4492 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.793 | 97224.9729 | 266769.681 | 26.25 | 74
15473 | 2022-05-19 15:24 | 8.9926 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.6871 | μmol/L | 18.4492 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.797 | 97215.1119 | 266770.3103 | 26.25 | 74
15483 | 2022-05-19 15:24 | 9.3261 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.6748 | μmol/L | 18.437 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.802 | 97174.0165 | 266751.5784 | 26.25 | 74
15493 | 2022-05-19 15:24 | 9.6596 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.6693 | μmol/L | 18.4431 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.8 | 97175.8684 | 266752.5578 | 26.25 | 74
15503 | 2022-05-19 15:25 | 9.9923 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.5297 | μmol/L | 18.4431 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.806 | 97152.1781 | 266749.5622 | 26.25 | 74
15513 | 2022-05-19 15:25 | 10.3257 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.5529 | μmol/L | 18.4431 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.805 | 97132.3506 | 266744.0819 | 26.25 | 74
15523 | 2022-05-19 15:25 | 10.6592 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.5762 | μmol/L | 18.4431 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.804 | 97121.8021 | 266740.0973 | 26.25 | 74
15533 | 2022-05-19 15:26 | 10.9926 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.5064 | μmol/L | 18.4431 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.807 | 97101.0512 | 266740.0983 | 26.25 | 74
15543 | 2022-05-19 15:26 | 11.3258 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.5407 | μmol/L | 18.4309 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.81 | 97092.1557 | 266737.1141 | 26.25 | 74
15553 | 2022-05-19 15:26 | 11.6594 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.5119 | μmol/L | 18.437 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.809 | 97098.1631 | 266738.4963 | 26.25 | 74
15563 | 2022-05-19 15:27 | 11.9929 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.4654 | μmol/L | 18.437 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.811 | 97074.1332 | 266736.0074 | 26.25 | 74
15573 | 2022-05-19 15:27 | 12.3263 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.3259 | μmol/L | 18.437 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.817 | 97078.3418 | 266739.7513 | 26.25 | 74
15583 | 2022-05-19 15:27 | 12.6592 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.3902 | μmol/L | 18.4431 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.812 | 97067.9288 | 266735.8516 | 26.25 | 74
15593 | 2022-05-19 15:28 | 12.9927 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.3259 | μmol/L | 18.437 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.817 | 97050.9806 | 266726.8014 | 26.25 | 74
15603 | 2022-05-19 15:28 | 13.3262 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.4764 | μmol/L | 18.4248 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.815 | 97047.8769 | 266722.3143 | 26.25 | 74
15613 | 2022-05-19 15:28 | 13.6594 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.3779 | μmol/L | 18.4309 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.817 | 97054.1117 | 266723.3524 | 26.25 | 74
15623 | 2022-05-19 15:29 | 13.9929 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.4299 | μmol/L | 18.4248 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.817 | 97064.3819 | 266710.9605 | 26.25 | 74
15633 | 2022-05-19 15:29 | 14.3263 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.2905 | μmol/L | 18.4248 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.823 | 97068.2701 | 266703.8131 | 26.25 | 74
15643 | 2022-05-19 15:29 | 14.6597 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.3027 | μmol/L | 18.437 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.818 | 97066.559 | 266699.6158 | 26.25 | 74
15653 | 2022-05-19 15:30 | 14.9924 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.2905 | μmol/L | 18.4248 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.823 | 97058.0431 | 266714.9784 | 26.25 | 74
15663 | 2022-05-19 15:30 | 15.3258 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.3889 | μmol/L | 18.4187 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.821 | 97063.1476 | 266694.1976 | 26.25 | 74
15673 | 2022-05-19 15:30 | 15.6593 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.3424 | μmol/L | 18.4187 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.823 | 97057.3401 | 266691.6431 | 26.25 | 74
15683 | 2022-05-19 15:31 | 15.9924 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.3192 | μmol/L | 18.4187 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.824 | 97066.0062 | 266710.2664 | 26.25 | 74
15693 | 2022-05-19 15:31 | 16.3259 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.2727 | μmol/L | 18.4187 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.826 | 97076.6038 | 266693.176 | 26.25 | 74
15703 | 2022-05-19 15:31 | 16.6595 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.2208 | μmol/L | 18.4248 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.826 | 97067.5197 | 266688.3828 | 26.25 | 74
15713 | 2022-05-19 15:32 | 16.993 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.1975 | μmol/L | 18.4248 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.827 | 97072.5213 | 266677.8505 | 26.25 | 74
15723 | 2022-05-19 15:32 | 17.3256 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.2727 | μmol/L | 18.4187 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.826 | 97083.7099 | 266682.5258 | 26.25 | 74
15733 | 2022-05-19 15:32 | 17.6589 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.1566 | μmol/L | 18.4187 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.831 | 97087.9508 | 266672.3463 | 26.25 | 74
15743 | 2022-05-19 15:33 | 17.9927 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.2318 | μmol/L | 18.4126 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.83 | 97089.4983 | 266673.799 | 26.25 | 74
15753 | 2022-05-19 15:33 | 18.3262 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.255 | μmol/L | 18.4126 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.829 | 97112.7364 | 266657.8606 | 26.25 | 74
15763 | 2022-05-19 15:33 | 18.6596 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.1621 | μmol/L | 18.4126 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.833 | 97103.7914 | 266662.7341 | 26.25 | 74
15773 | 2022-05-19 15:34 | 18.993 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.1102 | μmol/L | 18.4187 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.833 | 97115.2342 | 266661.2901 | 26.25 | 74
15783 | 2022-05-19 15:34 | 19.3264 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.2838 | μmol/L | 18.4066 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.83 | 97114.4196 | 266646.5213 | 26.25 | 74
15793 | 2022-05-19 15:34 | 19.6592 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.0925 | μmol/L | 18.4126 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.836 | 97134.0231 | 266629.5515 | 26.25 | 74
15803 | 2022-05-19 15:35 | 19.9929 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.1677 | μmol/L | 18.4066 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.835 | 97139.5779 | 266641.4226 | 26.25 | 74
15813 | 2022-05-19 15:35 | 20.3261 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.1157 | μmol/L | 18.4126 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.835 | 97131.5055 | 266639.1735 | 26.25 | 74
15823 | 2022-05-19 15:35 | 20.6597 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.1212 | μmol/L | 18.4066 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.837 | 97143.448 | 266640.4499 | 26.25 | 74
15833 | 2022-05-19 15:36 | 20.9924 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.0406 | μmol/L | 18.4187 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.836 | 97154.2883 | 266621.342 | 26.25 | 74
15843 | 2022-05-19 15:36 | 21.3259 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.1677 | μmol/L | 18.4066 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.835 | 97172.1537 | 266627.8159 | 26.25 | 74
15853 | 2022-05-19 15:36 | 21.6593 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.0516 | μmol/L | 18.4066 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.84 | 97185.2789 | 266612.9435 | 26.25 | 74
15863 | 2022-05-19 15:37 | 21.9929 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.0284 | μmol/L | 18.4066 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.841 | 97175.3402 | 266609.8176 | 26.25 | 74
15873 | 2022-05-19 15:37 | 22.3256 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.2661 | μmol/L | 18.4005 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.833 | 97202.6062 | 266615.289 | 26.25 | 74
15883 | 2022-05-19 15:37 | 22.659 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.0748 | μmol/L | 18.4066 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.839 | 97208.51 | 266606.7906 | 26.25 | 74
15893 | 2022-05-19 15:38 | 22.9926 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.9997 | μmol/L | 18.4126 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.84 | 97233.7402 | 266610.1208 | 26.25 | 74
15903 | 2022-05-19 15:38 | 23.3263 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.15 | μmol/L | 18.4005 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.838 | 97221.8993 | 266600.533 | 26.25 | 74
15913 | 2022-05-19 15:38 | 23.6595 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.0572 | μmol/L | 18.4005 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.842 | 97238.5268 | 266590.2853 | 26.25 | 74
15923 | 2022-05-19 15:39 | 23.9929 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.1036 | μmol/L | 18.4005 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.84 | 97245.5127 | 266592.0568 | 26.25 | 74
15933 | 2022-05-19 15:39 | 24.3263 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.034 | μmol/L | 18.4005 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.843 | 97279.006 | 266595.1872 | 26.25 | 74
15943 | 2022-05-19 15:39 | 24.6591 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.0572 | μmol/L | 18.4005 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.842 | 97292.6418 | 266583.8067 | 26.25 | 74
15953 | 2022-05-19 15:40 | 24.9928 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.0572 | μmol/L | 18.4005 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.842 | 97312.8016 | 266579.6641 | 26.25 | 74
15963 | 2022-05-19 15:40 | 25.3256 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.0395 | μmol/L | 18.3944 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.845 | 97333.209 | 266588.4669 | 26.25 | 74
15973 | 2022-05-19 15:40 | 25.6591 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.0163 | μmol/L | 18.3944 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.846 | 97348.7418 | 266579.9728 | 26.25 | 74
15983 | 2022-05-19 15:41 | 25.9926 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.0627 | μmol/L | 18.3944 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.844 | 97379.3271 | 266577.5042 | 26.25 | 74
15993 | 2022-05-19 15:41 | 26.3261 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.1314 | μmol/L | 18.37 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.85 | 97385.4904 | 266576.4564 | 26.25 | 74
16003 | 2022-05-19 15:41 | 26.6597 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.9931 | μmol/L | 18.3944 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.847 | 97406.022 | 266570.4961 | 26.25 | 74
16013 | 2022-05-19 15:42 | 26.9924 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.0683 | μmol/L | 18.3883 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.846 | 97411.4661 | 266574.9281 | 26.25 | 74
16023 | 2022-05-19 15:42 | 27.326 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.9523 | μmol/L | 18.3883 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.851 | 97446.8582 | 266570.3188 | 26.25 | 74
16033 | 2022-05-19 15:42 | 27.6595 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.9876 | μmol/L | 18.4005 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.845 | 97466.6188 | 266564.7254 | 26.25 | 74
16043 | 2022-05-19 15:43 | 27.9923 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.9987 | μmol/L | 18.3883 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.849 | 97473.8343 | 266555.616 | 26.25 | 74
16053 | 2022-05-19 15:43 | 28.3258 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.0042 | μmol/L | 18.3822 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.851 | 97498.6666 | 266550.7831 | 26.25 | 74
16063 | 2022-05-19 15:43 | 28.6594 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.0506 | μmol/L | 18.3822 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.849 | 97505.4921 | 266544.2651 | 26.25 | 74
16073 | 2022-05-19 15:44 | 28.9923 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.0451 | μmol/L | 18.3883 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.847 | 97539.6463 | 266553.1319 | 26.25 | 74
16083 | 2022-05-19 15:44 | 29.3257 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.1202 | μmol/L | 18.3822 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.846 | 97548.3735 | 266561.0222 | 26.25 | 74
16093 | 2022-05-19 15:44 | 29.6592 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.8772 | μmol/L | 18.3944 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.852 | 97538.1895 | 266551.1305 | 26.25 | 74
16103 | 2022-05-19 15:45 | 29.9929 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.0738 | μmol/L | 18.3822 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.848 | 97551.9494 | 266542.0446 | 26.25 | 74
16113 | 2022-05-19 15:45 | 30.3261 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.0562 | μmol/L | 18.3761 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.851 | 97550.813 | 266560.3794 | 26.25 | 74
16123 | 2022-05-19 15:45 | 30.6594 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.0274 | μmol/L | 18.3822 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.85 | 97563.0326 | 266559.9189 | 26.25 | 74
16133 | 2022-05-19 15:46 | 30.9929 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.0274 | μmol/L | 18.3822 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.85 | 97554.6721 | 266553.1297 | 26.25 | 74
16143 | 2022-05-19 15:46 | 31.3263 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.9346 | μmol/L | 18.3822 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.854 | 97569.7243 | 266555.9941 | 26.25 | 74
16153 | 2022-05-19 15:46 | 31.6591 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.9291 | μmol/L | 18.3883 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.852 | 97558.9008 | 266572.1252 | 26.25 | 74
16163 | 2022-05-19 15:47 | 31.9927 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.9115 | μmol/L | 18.3822 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.855 | 97559.4443 | 266562.8202 | 26.25 | 74
16173 | 2022-05-19 15:47 | 32.3263 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.8883 | μmol/L | 18.3822 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.856 | 97563.8642 | 266550.8281 | 26.25 | 74
16183 | 2022-05-19 15:47 | 32.6592 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.9115 | μmol/L | 18.3822 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.855 | 97558.726 | 266559.0358 | 26.25 | 74
16193 | 2022-05-19 15:48 | 32.9926 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.9578 | μmol/L | 18.3822 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.853 | 97570.3059 | 266573.4434 | 26.25 | 74
16203 | 2022-05-19 15:48 | 33.3261 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.8883 | μmol/L | 18.3822 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.856 | 97560.78 | 266563.9454 | 26.25 | 74
16213 | 2022-05-19 15:48 | 33.6596 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.8883 | μmol/L | 18.3822 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.856 | 97562.6774 | 266561.9625 | 26.25 | 74
16223 | 2022-05-19 15:49 | 33.9923 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.8419 | μmol/L | 18.3822 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.858 | 97571.999 | 266563.8212 | 26.25 | 74
16233 | 2022-05-19 15:49 | 34.3257 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.7492 | μmol/L | 18.3822 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.862 | 97594.2872 | 266551.7084 | 26.25 | 74
16243 | 2022-05-19 15:49 | 34.659 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.6797 | μmol/L | 18.3822 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.865 | 97601.7203 | 266554.7234 | 26.25 | 74
16253 | 2022-05-19 15:50 | 34.9925 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.7085 | μmol/L | 18.3761 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.866 | 97607.2779 | 266543.3285 | 26.25 | 74
16263 | 2022-05-19 15:50 | 35.326 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.7085 | μmol/L | 18.3761 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.866 | 97589.3659 | 266541.9382 | 26.25 | 74
16273 | 2022-05-19 15:50 | 35.6595 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.651 | μmol/L | 18.3883 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.864 | 97604.524 | 266558.0563 | 26.25 | 74
16283 | 2022-05-19 15:51 | 35.993 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.564 | μmol/L | 18.3822 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.87 | 97608.3308 | 266559.1682 | 26.25 | 74
16293 | 2022-05-19 15:51 | 36.3263 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.7548 | μmol/L | 18.3761 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.864 | 97586.5153 | 266546.1482 | 26.25 | 74
16303 | 2022-05-19 15:51 | 36.6591 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.6334 | μmol/L | 18.3822 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.867 | 97569.2841 | 266537.4493 | 26.25 | 74
16313 | 2022-05-19 15:52 | 36.9923 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.7548 | μmol/L | 18.3761 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.864 | 97588.0248 | 266541.1797 | 26.25 | 74
16323 | 2022-05-19 15:52 | 37.3262 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.6103 | μmol/L | 18.3822 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.868 | 97590.9188 | 266551.0558 | 26.25 | 74
16333 | 2022-05-19 15:52 | 37.6598 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.564 | μmol/L | 18.3822 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.87 | 97617.9019 | 266555.4974 | 26.25 | 74
16343 | 2022-05-19 15:53 | 37.9925 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.477 | μmol/L | 18.3761 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.876 | 97666.8761 | 266557.5198 | 26.25 | 74
16353 | 2022-05-19 15:53 | 38.326 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.2282 | μmol/L | 18.37 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.889 | 97698.2797 | 266570.4846 | 26.25 | 74
16363 | 2022-05-19 15:53 | 38.6589 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.2513 | μmol/L | 18.37 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.888 | 97728.6479 | 266559.8828 | 26.25 | 74
16373 | 2022-05-19 15:54 | 38.9923 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.2051 | μmol/L | 18.37 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.89 | 97733.5934 | 266554.9747 | 26.25 | 74
16383 | 2022-05-19 15:54 | 39.3263 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.7783 | μmol/L | 18.3822 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.904 | 97793.4662 | 266568.1971 | 26.25 | 74
16393 | 2022-05-19 15:54 | 39.6593 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.1733 | μmol/L | 18.3639 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.937 | 97952.5981 | 266552.2937 | 26.25 | 74
16403 | 2022-05-19 15:55 | 39.9929 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.4615 | μmol/L | 18.3639 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.968 | 98123.9572 | 266579.1837 | 26.25 | 74
16413 | 2022-05-19 15:55 | 40.3263 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.9405 | μmol/L | 18.3578 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.993 | 98269.5485 | 266562.7739 | 26.25 | 74
16423 | 2022-05-19 15:55 | 40.6596 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.9177 | μmol/L | 18.3578 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.994 | 98266.8073 | 266564.9291 | 26.25 | 74
16433 | 2022-05-19 15:56 | 40.9924 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.558 | μmol/L | 18.3761 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.003 | 98321.805 | 266582.223 | 26.25 | 74
16443 | 2022-05-19 15:56 | 41.326 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.84 | μmol/L | 18.3639 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.039 | 98499.9886 | 266557.3459 | 26.25 | 74
16453 | 2022-05-19 15:56 | 41.6595 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.0961 | μmol/L | 18.3578 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.074 | 98674.4764 | 266564.4042 | 26.25 | 74
16463 | 2022-05-19 15:57 | 41.9929 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.3434 | μmol/L | 18.3639 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.105 | 98825.4515 | 266557.7991 | 26.25 | 74
16473 | 2022-05-19 15:57 | 42.3256 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.7509 | μmol/L | 18.37 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.129 | 98952.6782 | 266564.7183 | 26.25 | 74
16483 | 2022-05-19 15:57 | 42.6597 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.194 | μmol/L | 18.3639 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.156 | 99112.19 | 266565.4737 | 26.25 | 74
16493 | 2022-05-19 15:58 | 42.9929 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.4592 | μmol/L | 18.3578 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.191 | 99220.9161 | 266577.8728 | 26.25 | 74
16503 | 2022-05-19 15:58 | 43.3264 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.7544 | μmol/L | 18.37 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.218 | 99399.2083 | 266562.8119 | 26.25 | 74
16513 | 2022-05-19 15:58 | 43.6597 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.3306 | μmol/L | 18.37 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.237 | 99461.7726 | 266573.4434 | 26.25 | 74
16523 | 2022-05-19 15:59 | 43.9931 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.2415 | μmol/L | 18.37 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.241 | 99477.6126 | 266565.9471 | 26.25 | 74
16533 | 2022-05-19 15:59 | 44.3261 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.2918 | μmol/L | 18.3639 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.241 | 99509.7427 | 266567.236 | 26.25 | 74
16543 | 2022-05-19 15:59 | 44.6593 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.1747 | μmol/L | 18.37 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.244 | 99513.9738 | 266563.2697 | 26.25 | 74
16553 | 2022-05-19 16:00 | 44.9926 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.4701 | μmol/L | 18.3639 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.233 | 99474.5705 | 266570.7715 | 26.25 | 74
16563 | 2022-05-19 16:00 | 45.3262 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.3421 | μmol/L | 18.3578 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.241 | 99509.5699 | 266569.7348 | 26.25 | 74
16573 | 2022-05-19 16:00 | 45.6597 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.3867 | μmol/L | 18.3578 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.239 | 99495.8055 | 266564.6998 | 26.25 | 74
16583 | 2022-05-19 16:01 | 45.9929 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.8969 | μmol/L | 18.3578 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.261 | 99589.2917 | 266550.4651 | 26.25 | 74
16593 | 2022-05-19 16:01 | 46.3257 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.6969 | μmol/L | 18.3578 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.27 | 99661.4246 | 266562.8188 | 26.25 | 74
16603 | 2022-05-19 16:01 | 46.6591 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.0584 | μmol/L | 18.3517 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.256 | 99622.3002 | 266554.1288 | 26.25 | 74
16613 | 2022-05-19 16:02 | 46.9925 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.0584 | μmol/L | 18.3517 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.256 | 99618.6824 | 266549.1816 | 26.25 | 74
16623 | 2022-05-19 16:02 | 47.3261 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.6747 | μmol/L | 18.3578 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.271 | 99707.5521 | 266553.0471 | 26.25 | 74
16633 | 2022-05-19 16:02 | 47.6589 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.3195 | μmol/L | 18.3578 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.287 | 99755.3588 | 266546.0251 | 26.25 | 74
16643 | 2022-05-19 16:03 | 47.9925 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.2366 | μmol/L | 18.3517 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.293 | 99794.7629 | 266556.617 | 26.25 | 74
16653 | 2022-05-19 16:03 | 48.3259 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.1037 | μmol/L | 18.3517 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.299 | 99807.6699 | 266557.4808 | 26.25 | 74
16663 | 2022-05-19 16:03 | 48.6596 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.1701 | μmol/L | 18.3517 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.296 | 99803.5504 | 266549.4594 | 26.25 | 74
16673 | 2022-05-19 16:04 | 48.993 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.12 | μmol/L | 18.3578 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.296 | 99794.7672 | 266560.2195 | 26.25 | 74
16683 | 2022-05-19 16:04 | 49.3257 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.0314 | μmol/L | 18.3578 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.3 | 99809.341 | 266557.057 | 26.25 | 74
16693 | 2022-05-19 16:04 | 49.6594 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 263.6273 | μmol/L | 18.3639 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.316 | 99896.3208 | 266554.9185 | 26.25 | 74
16703 | 2022-05-19 16:05 | 49.9929 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 263.661 | μmol/L | 18.3517 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.319 | 99906.5496 | 266558.1552 | 26.25 | 74
16713 | 2022-05-19 16:05 | 50.3263 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 263.4621 | μmol/L | 18.3517 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.328 | 99954.4876 | 266554.3529 | 26.25 | 74
16723 | 2022-05-19 16:05 | 50.659 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 263.0649 | μmol/L | 18.3517 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.346 | 100046.537 | 266543.0227 | 26.25 | 74
16733 | 2022-05-19 16:06 | 50.9924 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 262.7565 | μmol/L | 18.3517 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.36 | 100146.7031 | 266545.8641 | 26.25 | 74
16743 | 2022-05-19 16:06 | 51.326 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 262.0093 | μmol/L | 18.3517 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.394 | 100318.6786 | 266542.0982 | 26.25 | 74
16753 | 2022-05-19 16:06 | 51.6596 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.8119 | μmol/L | 18.3517 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.403 | 100356.1145 | 266548.5991 | 26.25 | 74
16763 | 2022-05-19 16:07 | 51.993 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.6527 | μmol/L | 18.3578 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.408 | 100379.4842 | 266545.2832 | 26.25 | 74
16773 | 2022-05-19 16:07 | 52.3257 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.752 | μmol/L | 18.3456 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.408 | 100392.6032 | 266534.7996 | 26.25 | 74
16783 | 2022-05-19 16:07 | 52.6593 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.6863 | μmol/L | 18.3456 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.411 | 100446.1695 | 266545.7663 | 26.25 | 74
16793 | 2022-05-19 16:08 | 52.9927 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.5213 | μmol/L | 18.3578 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.414 | 100428.7742 | 266539.4382 | 26.25 | 74
16803 | 2022-05-19 16:08 | 53.326 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.4893 | μmol/L | 18.3456 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.42 | 100472.1113 | 266537.9674 | 26.25 | 74
16813 | 2022-05-19 16:08 | 53.6596 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.1991 | μmol/L | 18.3517 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.431 | 100528.1862 | 266542.5266 | 26.25 | 74
16823 | 2022-05-19 16:09 | 53.9931 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 260.7407 | μmol/L | 18.3517 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.452 | 100617.1677 | 266534.6614 | 26.25 | 74
16833 | 2022-05-19 16:09 | 54.3258 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 260.8774 | μmol/L | 18.3456 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.448 | 100569.3761 | 266540.1583 | 26.25 | 74
16843 | 2022-05-19 16:09 | 54.6593 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.1554 | μmol/L | 18.3517 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.433 | 100498.218 | 266549.0069 | 26.25 | 74
16853 | 2022-05-19 16:10 | 54.9926 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.3639 | μmol/L | 18.3395 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.428 | 100480.7394 | 266536.9859 | 26.25 | 74
16863 | 2022-05-19 16:10 | 55.326 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.4674 | μmol/L | 18.3456 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.421 | 100467.1518 | 266538.0204 | 26.25 | 74
16873 | 2022-05-19 16:10 | 55.6595 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.5929 | μmol/L | 18.3517 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.413 | 100432.1636 | 266531.333 | 26.25 | 74
16883 | 2022-05-19 16:11 | 55.993 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.7141 | μmol/L | 18.3395 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.412 | 100422.4436 | 266529.1816 | 26.25 | 74
16893 | 2022-05-19 16:11 | 56.3259 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.5987 | μmol/L | 18.3456 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.415 | 100435.96 | 266525.9489 | 26.25 | 74
16903 | 2022-05-19 16:11 | 56.6592 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.5768 | μmol/L | 18.3456 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.416 | 100467.1071 | 266534.5616 | 26.25 | 74
16913 | 2022-05-19 16:12 | 56.9927 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.2865 | μmol/L | 18.3517 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.427 | 100498.1199 | 266524.7481 | 26.25 | 74
16923 | 2022-05-19 16:12 | 57.326 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.3959 | μmol/L | 18.3517 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.422 | 100509.0398 | 266516.1351 | 26.25 | 74
16933 | 2022-05-19 16:12 | 57.6595 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.2924 | μmol/L | 18.3456 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.429 | 100552.9823 | 266530.6908 | 26.25 | 74
16943 | 2022-05-19 16:13 | 57.9923 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.1176 | μmol/L | 18.3456 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.437 | 100599.6696 | 266524.9451 | 26.25 | 74
16953 | 2022-05-19 16:13 | 58.3263 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 260.9429 | μmol/L | 18.3456 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.445 | 100649.2146 | 266535.3036 | 26.25 | 74
16963 | 2022-05-19 16:13 | 58.6591 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 260.7901 | μmol/L | 18.3456 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.452 | 100646.0052 | 266522.1743 | 26.25 | 74
16973 | 2022-05-19 16:14 | 58.9927 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.0084 | μmol/L | 18.3456 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.442 | 100640.2218 | 266528.9252 | 26.25 | 74
16983 | 2022-05-19 16:14 | 59.3261 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 260.8934 | μmol/L | 18.3517 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.445 | 100655.3639 | 266526.8504 | 26.25 | 74
16993 | 2022-05-19 16:14 | 59.6596 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 260.2891 | μmol/L | 18.3456 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.475 | 100798.9901 | 266522.4445 | 26.25 | 74
17003 | 2022-05-19 16:15 | 59.993 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 259.8819 | μmol/L | 18.3395 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.496 | 100904.3758 | 266503.8975 | 26.25 | 74
17013 | 2022-05-19 16:15 | 60.3263 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 259.6807 | μmol/L | 18.3456 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.503 | 100955.5735 | 266524.8289 | 26.25 | 74
17023 | 2022-05-19 16:15 | 60.6597 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 259.6866 | μmol/L | 18.3395 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.505 | 100926.3468 | 266515.728 | 26.25 | 74
17033 | 2022-05-19 16:16 | 60.9931 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 259.8543 | μmol/L | 18.3456 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.495 | 100917.7297 | 266526.1016 | 26.25 | 74
17043 | 2022-05-19 16:16 | 61.3256 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 260.0123 | μmol/L | 18.3395 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.49 | 100905.2584 | 266504.796 | 26.25 | 74
17053 | 2022-05-19 16:16 | 61.659 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 259.73 | μmol/L | 18.3395 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.503 | 100977.8784 | 266504.1417 | 26.25 | 74
17063 | 2022-05-19 16:17 | 61.9924 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 259.2039 | μmol/L | 18.3456 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.525 | 101094.4645 | 266516.84 | 26.25 | 74
17073 | 2022-05-19 16:17 | 62.3259 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.8853 | μmol/L | 18.3395 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.542 | 101147.77 | 266512.9859 | 26.25 | 74
17083 | 2022-05-19 16:17 | 62.6592 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.6849 | μmol/L | 18.3456 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.549 | 101197.9666 | 266514.4404 | 26.25 | 74
17093 | 2022-05-19 16:18 | 62.9925 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.8048 | μmol/L | 18.3335 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.548 | 101208.8721 | 266505.3271 | 26.25 | 74
17103 | 2022-05-19 16:18 | 63.3259 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.8853 | μmol/L | 18.3395 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.542 | 101181.9282 | 266504.3493 | 26.25 | 74
17113 | 2022-05-19 16:18 | 63.6595 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.9285 | μmol/L | 18.3395 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.54 | 101144.9208 | 266513.0065 | 26.25 | 74
17123 | 2022-05-19 16:19 | 63.993 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.9069 | μmol/L | 18.3395 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.541 | 101154.9276 | 266503.314 | 26.25 | 74
17133 | 2022-05-19 16:19 | 64.3257 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.8853 | μmol/L | 18.3395 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.542 | 101170.4981 | 266505.2143 | 26.25 | 74
17143 | 2022-05-19 16:19 | 64.659 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.7556 | μmol/L | 18.3395 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.548 | 101197.4116 | 266506.5169 | 26.25 | 74
17153 | 2022-05-19 16:20 | 64.993 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.6417 | μmol/L | 18.3456 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.551 | 101230.1599 | 266512.1212 | 26.25 | 74
17163 | 2022-05-19 16:20 | 65.3264 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.5613 | μmol/L | 18.3395 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.557 | 101226.1467 | 266506.8459 | 26.25 | 74
17173 | 2022-05-19 16:20 | 65.659 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.5122 | μmol/L | 18.3456 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.557 | 101246.644 | 266503.9095 | 26.25 | 74
17183 | 2022-05-19 16:21 | 65.9927 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.5181 | μmol/L | 18.3395 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.559 | 101273.6603 | 266515.1812 | 26.25 | 74
17193 | 2022-05-19 16:21 | 66.3263 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.3887 | μmol/L | 18.3395 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.565 | 101293.2861 | 266501.3694 | 26.25 | 74
17203 | 2022-05-19 16:21 | 66.6591 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.3672 | μmol/L | 18.3395 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.566 | 101309.3903 | 266518.7658 | 26.25 | 74
17213 | 2022-05-19 16:22 | 66.9924 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.1791 | μmol/L | 18.3335 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.577 | 101344.8397 | 266519.7931 | 26.25 | 74
17223 | 2022-05-19 16:22 | 67.326 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 257.995 | μmol/L | 18.3456 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.581 | 101384.778 | 266495.6949 | 26.25 | 74
17233 | 2022-05-19 16:22 | 67.6595 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 257.8718 | μmol/L | 18.3395 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.589 | 101443.359 | 266496.8666 | 26.25 | 74
17243 | 2022-05-19 16:23 | 67.993 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 257.7213 | μmol/L | 18.3395 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.596 | 101468.2884 | 266498.2369 | 26.25 | 74
17253 | 2022-05-19 16:23 | 68.3257 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 257.6724 | μmol/L | 18.3456 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.596 | 101504.2749 | 266503.9167 | 26.25 | 74
17263 | 2022-05-19 16:23 | 68.6594 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 257.5768 | μmol/L | 18.3335 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.605 | 101524.1219 | 266502.1164 | 26.25 | 74
17273 | 2022-05-19 16:24 | 68.9927 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 257.3407 | μmol/L | 18.3335 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.616 | 101607.0133 | 266514.073 | 26.25 | 74
17283 | 2022-05-19 16:24 | 69.3264 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 257.1691 | μmol/L | 18.3335 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.624 | 101664.8452 | 266498.7741 | 26.25 | 74
17293 | 2022-05-19 16:24 | 69.6591 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 256.9489 | μmol/L | 18.3395 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.632 | 101704.4226 | 266515.7702 | 26.25 | 74
17303 | 2022-05-19 16:25 | 69.9927 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 256.799 | μmol/L | 18.3395 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.639 | 101731.1538 | 266506.4993 | 26.25 | 74
17313 | 2022-05-19 16:25 | 70.3263 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 256.515 | μmol/L | 18.3456 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.65 | 101771.2714 | 266496.3656 | 26.25 | 74
17323 | 2022-05-19 16:25 | 70.6593 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 256.1153 | μmol/L | 18.3395 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.671 | 101901.0653 | 266505.3477 | 26.25 | 74
17333 | 2022-05-19 16:26 | 70.9928 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 255.966 | μmol/L | 18.3395 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.678 | 101968.7177 | 266504.2192 | 26.25 | 74
17343 | 2022-05-19 16:26 | 71.326 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 255.6737 | μmol/L | 18.3335 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.694 | 101994.1194 | 266513.6135 | 26.25 | 74
17353 | 2022-05-19 16:26 | 71.6593 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 255.3912 | μmol/L | 18.3395 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.705 | 102053.1167 | 266497.6185 | 26.25 | 74
17363 | 2022-05-19 16:27 | 71.9926 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 255.2637 | μmol/L | 18.3395 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.711 | 102110.0144 | 266494.1971 | 26.25 | 74
17373 | 2022-05-19 16:27 | 72.3257 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 255.0938 | μmol/L | 18.3395 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.719 | 103940.9964 | 266482.2514 | 26.25 | 74
17383 | 2022-05-19 16:27 | 72.659 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 254.9937 | μmol/L | 18.3335 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.726 | 104075.7203 | 266487.298 | 26.25 | 74
17393 | 2022-05-19 16:28 | 72.9926 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 254.824 | μmol/L | 18.3335 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.734 | 104147.9193 | 266502.7783 | 26.25 | 74