## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_5 | O2 | 386281131 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:52

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-19 16:30

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
15199 | 2022-05-19 15:15 | 0 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.1879 | μmol/L | 18.4564 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.094 | 113108.3418 | 265775.1783 | 36.4 | 83.1
15209 | 2022-05-19 15:15 | 0.33144 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.7969 | μmol/L | 18.4564 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.109 | 113149.091 | 265787.0028 | 36.4 | 83.1
15219 | 2022-05-19 15:15 | 0.66473 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.7258 | μmol/L | 18.4503 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.114 | 113167.9182 | 265760.2188 | 36.4 | 83.1
15229 | 2022-05-19 15:16 | 0.99732 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.4656 | μmol/L | 18.4503 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.124 | 113196.8039 | 265776.4406 | 36.4 | 83.1
15239 | 2022-05-19 15:16 | 1.3314 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.2836 | μmol/L | 18.4503 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.131 | 113214.5058 | 265763.5396 | 36.4 | 83.1
15249 | 2022-05-19 15:16 | 1.6648 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.1017 | μmol/L | 18.4503 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.138 | 113243.7771 | 265756.0363 | 36.4 | 83.1
15259 | 2022-05-19 15:17 | 1.9981 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.8752 | μmol/L | 18.4442 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.149 | 113278.5884 | 265761.052 | 36.4 | 83.1
15269 | 2022-05-19 15:17 | 2.3307 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.5829 | μmol/L | 18.4503 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.158 | 113308.1306 | 265753.9249 | 36.4 | 83.1
15279 | 2022-05-19 15:17 | 2.6642 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.4274 | μmol/L | 18.4503 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.164 | 113329.3068 | 265757.9612 | 36.4 | 83.1
15289 | 2022-05-19 15:18 | 2.998 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.1686 | μmol/L | 18.4503 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.174 | 113346.2064 | 265748.6423 | 36.4 | 83.1
15299 | 2022-05-19 15:18 | 3.3315 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.0651 | μmol/L | 18.4503 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.178 | 113366.638 | 265737.9514 | 36.4 | 83.1
15309 | 2022-05-19 15:18 | 3.6641 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.0205 | μmol/L | 18.4442 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.182 | 113378.2647 | 265748.1214 | 36.4 | 83.1
15319 | 2022-05-19 15:19 | 3.9975 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.9688 | μmol/L | 18.4442 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.184 | 113398.6148 | 265737.6286 | 36.4 | 83.1
15329 | 2022-05-19 15:19 | 4.3309 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.7808 | μmol/L | 18.4503 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.189 | 113396.1082 | 265728.101 | 36.4 | 83.1
15339 | 2022-05-19 15:19 | 4.6642 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.7292 | μmol/L | 18.4503 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.191 | 113397.7143 | 265722.108 | 36.4 | 83.1
15349 | 2022-05-19 15:20 | 4.9977 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.6001 | μmol/L | 18.4503 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.196 | 113405.7177 | 265713.0844 | 36.4 | 83.1
15359 | 2022-05-19 15:20 | 5.3312 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.504 | μmol/L | 18.4442 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.202 | 113412.4708 | 265714.0293 | 36.4 | 83.1
15369 | 2022-05-19 15:20 | 5.6644 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.5556 | μmol/L | 18.4442 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.2 | 113417.7085 | 265704.1193 | 36.4 | 83.1
15379 | 2022-05-19 15:21 | 5.9979 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.4595 | μmol/L | 18.438 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.206 | 113428.4241 | 265708.9272 | 36.4 | 83.1
15389 | 2022-05-19 15:21 | 6.3315 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.4595 | μmol/L | 18.438 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.206 | 113451.3935 | 265707.7891 | 36.4 | 83.1
15399 | 2022-05-19 15:21 | 6.664 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.375 | μmol/L | 18.4442 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.207 | 113457.1574 | 265703.0887 | 36.4 | 83.1
15409 | 2022-05-19 15:22 | 6.9983 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.2719 | μmol/L | 18.4442 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.211 | 113473.665 | 265703.4823 | 36.4 | 83.1
15419 | 2022-05-19 15:22 | 7.3309 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.1946 | μmol/L | 18.4442 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.214 | 113485.1832 | 265693.4351 | 36.4 | 83.1
15429 | 2022-05-19 15:22 | 7.6646 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.279 | μmol/L | 18.438 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.213 | 113476.5029 | 265693.5562 | 36.4 | 83.1
15439 | 2022-05-19 15:23 | 7.9982 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.1946 | μmol/L | 18.4442 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.214 | 113478.6754 | 265691.3959 | 36.4 | 83.1
15449 | 2022-05-19 15:23 | 8.3309 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.2533 | μmol/L | 18.438 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.214 | 113477.8145 | 265683.8102 | 36.4 | 83.1
15459 | 2022-05-19 15:23 | 8.6646 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.1244 | μmol/L | 18.438 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.219 | 113488.0757 | 265686.8421 | 36.4 | 83.1
15469 | 2022-05-19 15:24 | 8.9975 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.2089 | μmol/L | 18.4319 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.218 | 113487.6384 | 265687.5338 | 36.4 | 83.1
15479 | 2022-05-19 15:24 | 9.331 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.1316 | μmol/L | 18.4319 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.221 | 113505.4202 | 265678.1197 | 36.4 | 83.1
15489 | 2022-05-19 15:24 | 9.6645 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.0543 | μmol/L | 18.4319 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.224 | 113499.9102 | 265681.7654 | 36.4 | 83.1
15499 | 2022-05-19 15:25 | 9.9979 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.0357 | μmol/L | 18.4258 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.227 | 113505.2039 | 265666.9324 | 36.4 | 83.1
15509 | 2022-05-19 15:25 | 10.3314 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.9771 | μmol/L | 18.4319 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.227 | 113513.3051 | 265667.3916 | 36.4 | 83.1
15519 | 2022-05-19 15:25 | 10.6642 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.9843 | μmol/L | 18.4258 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.229 | 113518.6406 | 265665.0812 | 36.4 | 83.1
15529 | 2022-05-19 15:26 | 10.9977 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.8999 | μmol/L | 18.4319 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.23 | 113530.1513 | 265654.8358 | 36.4 | 83.1
15539 | 2022-05-19 15:26 | 11.331 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.8227 | μmol/L | 18.4319 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.233 | 113534.0946 | 265643.0009 | 36.4 | 83.1
15549 | 2022-05-19 15:26 | 11.6644 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.7013 | μmol/L | 18.4258 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.24 | 113548.502 | 265649.5689 | 36.4 | 83.1
15559 | 2022-05-19 15:27 | 11.998 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.7784 | μmol/L | 18.4258 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.237 | 113546.4649 | 265645.3794 | 36.4 | 83.1
15569 | 2022-05-19 15:27 | 12.3314 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.7856 | μmol/L | 18.4197 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.239 | 113560.4208 | 265639.0725 | 36.4 | 83.1
15579 | 2022-05-19 15:27 | 12.6647 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.7013 | μmol/L | 18.4258 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.24 | 113548.4671 | 265619.725 | 36.4 | 83.1
15589 | 2022-05-19 15:28 | 12.9975 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.6314 | μmol/L | 18.4197 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.245 | 113563.1247 | 265632.8393 | 36.4 | 83.1
15599 | 2022-05-19 15:28 | 13.331 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.7671 | μmol/L | 18.4135 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.242 | 113581.3579 | 265636.5903 | 36.4 | 83.1
15609 | 2022-05-19 15:28 | 13.6644 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.6057 | μmol/L | 18.4197 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.246 | 113590.7474 | 265631.8494 | 36.4 | 83.1
15619 | 2022-05-19 15:29 | 13.9979 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.5471 | μmol/L | 18.4258 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.246 | 113595.9523 | 265635.8795 | 36.4 | 83.1
15629 | 2022-05-19 15:29 | 14.3312 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.5615 | μmol/L | 18.4135 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.25 | 113597.1615 | 265640.9962 | 36.4 | 83.1
15639 | 2022-05-19 15:29 | 14.6645 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.4772 | μmol/L | 18.4197 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.251 | 113607.3427 | 265629.8184 | 36.4 | 83.1
15649 | 2022-05-19 15:30 | 14.9981 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.5871 | μmol/L | 18.4135 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.249 | 113614.3782 | 265614.8163 | 36.4 | 83.1
15659 | 2022-05-19 15:30 | 15.3314 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.5871 | μmol/L | 18.4135 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.249 | 113618.0868 | 265610.0744 | 36.4 | 83.1
15669 | 2022-05-19 15:30 | 15.664 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.5286 | μmol/L | 18.4197 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.249 | 113624.9096 | 265609.6836 | 36.4 | 83.1
15679 | 2022-05-19 15:31 | 15.9977 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.4587 | μmol/L | 18.4135 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.254 | 113639.6011 | 265609.9986 | 36.4 | 83.1
15689 | 2022-05-19 15:31 | 16.3315 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.5101 | μmol/L | 18.4135 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.252 | 113637.4829 | 265602.4571 | 36.4 | 83.1
15699 | 2022-05-19 15:31 | 16.6642 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.4587 | μmol/L | 18.4135 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.254 | 113643.141 | 265601.6787 | 36.4 | 83.1
15709 | 2022-05-19 15:32 | 16.9977 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.4587 | μmol/L | 18.4135 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.254 | 113648.2342 | 265599.4122 | 36.4 | 83.1
15719 | 2022-05-19 15:32 | 17.3313 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.433 | μmol/L | 18.4135 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.255 | 113652.6469 | 265598.1443 | 36.4 | 83.1
15729 | 2022-05-19 15:32 | 17.6645 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.5615 | μmol/L | 18.4135 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.25 | 113650.249 | 265598.991 | 36.4 | 83.1
15739 | 2022-05-19 15:33 | 17.9979 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.5245 | μmol/L | 18.4013 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.256 | 113660.8323 | 265596.5816 | 36.4 | 83.1
15749 | 2022-05-19 15:33 | 18.3314 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.4217 | μmol/L | 18.4013 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.26 | 113661.402 | 265586.1892 | 36.4 | 83.1
15759 | 2022-05-19 15:33 | 18.6643 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.4402 | μmol/L | 18.4074 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.257 | 113664.3596 | 265583.7101 | 36.4 | 83.1
15769 | 2022-05-19 15:34 | 18.9976 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.4731 | μmol/L | 18.4013 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.258 | 113658.1622 | 265586.206 | 36.4 | 83.1
15779 | 2022-05-19 15:34 | 19.3311 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.3704 | μmol/L | 18.4013 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.262 | 113674.0031 | 265577.7239 | 36.4 | 83.1
15789 | 2022-05-19 15:34 | 19.6648 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.3889 | μmol/L | 18.4074 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.259 | 113671.0443 | 265589.2155 | 36.4 | 83.1
15799 | 2022-05-19 15:35 | 19.9977 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.3375 | μmol/L | 18.4074 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.261 | 113683.7644 | 265568.6782 | 36.4 | 83.1
15809 | 2022-05-19 15:35 | 20.3312 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.2605 | μmol/L | 18.4074 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.264 | 113677.5923 | 265569.9605 | 36.4 | 83.1
15819 | 2022-05-19 15:35 | 20.6646 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.3119 | μmol/L | 18.4074 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.262 | 113684.6643 | 265555.0719 | 36.4 | 83.1
15829 | 2022-05-19 15:36 | 20.9981 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.2421 | μmol/L | 18.4013 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.267 | 113688.8548 | 265565.4319 | 36.4 | 83.1
15839 | 2022-05-19 15:36 | 21.3307 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.2605 | μmol/L | 18.4074 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.264 | 113696.3496 | 265564.6264 | 36.4 | 83.1
15849 | 2022-05-19 15:36 | 21.6642 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.1908 | μmol/L | 18.4013 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.269 | 113702.8114 | 265560.0735 | 36.4 | 83.1
15859 | 2022-05-19 15:37 | 21.9977 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.1395 | μmol/L | 18.4013 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.271 | 113707.0067 | 265544.7571 | 36.4 | 83.1
15869 | 2022-05-19 15:37 | 22.3314 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.2164 | μmol/L | 18.4013 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.268 | 113721.8569 | 265550.1311 | 36.4 | 83.1
15879 | 2022-05-19 15:37 | 22.6642 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.3006 | μmol/L | 18.3952 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.267 | 113719.9281 | 265538.5199 | 36.4 | 83.1
15889 | 2022-05-19 15:38 | 22.9978 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.0882 | μmol/L | 18.4013 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.273 | 113725.6659 | 265548.8344 | 36.4 | 83.1
15899 | 2022-05-19 15:38 | 23.3311 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.1467 | μmol/L | 18.3952 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.273 | 113734.9552 | 265538.1246 | 36.4 | 83.1
15909 | 2022-05-19 15:38 | 23.6645 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.2052 | μmol/L | 18.389 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.273 | 113732.8424 | 265528.6758 | 36.4 | 83.1
15919 | 2022-05-19 15:39 | 23.9978 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.1283 | μmol/L | 18.389 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.276 | 113738.9286 | 265547.5115 | 36.4 | 83.1
15929 | 2022-05-19 15:39 | 24.3312 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.0882 | μmol/L | 18.4013 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.273 | 113743.4281 | 265525.6617 | 36.4 | 83.1
15939 | 2022-05-19 15:39 | 24.664 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.0442 | μmol/L | 18.3952 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.277 | 113739.1175 | 265532.0981 | 36.4 | 83.1
15949 | 2022-05-19 15:40 | 24.9975 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.0185 | μmol/L | 18.3952 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.278 | 113747.5727 | 265521.5562 | 36.4 | 83.1
15959 | 2022-05-19 15:40 | 25.331 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.916 | μmol/L | 18.3952 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.282 | 113748.077 | 265512.7387 | 36.4 | 83.1
15969 | 2022-05-19 15:40 | 25.6645 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.1026 | μmol/L | 18.389 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.277 | 113748.7718 | 265524.5396 | 36.4 | 83.1
15979 | 2022-05-19 15:41 | 25.9979 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.8976 | μmol/L | 18.389 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.285 | 113755.9028 | 265509.1781 | 36.4 | 83.1
15989 | 2022-05-19 15:41 | 26.3313 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.077 | μmol/L | 18.389 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.278 | 113763.7352 | 265516.0771 | 36.4 | 83.1
15999 | 2022-05-19 15:41 | 26.6642 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.1355 | μmol/L | 18.3829 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.278 | 113773.5272 | 265517.852 | 36.4 | 83.1
16009 | 2022-05-19 15:42 | 26.9977 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.0402 | μmol/L | 18.3768 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.284 | 113767.7336 | 265515.7013 | 36.4 | 83.1
16019 | 2022-05-19 15:42 | 27.3312 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.9233 | μmol/L | 18.389 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.284 | 113770.3214 | 265496.3447 | 36.4 | 83.1
16029 | 2022-05-19 15:42 | 27.6647 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.0001 | μmol/L | 18.389 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.281 | 113761.0172 | 265492.7587 | 36.4 | 83.1
16039 | 2022-05-19 15:43 | 27.9974 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.9489 | μmol/L | 18.389 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.283 | 113765.508 | 265492.314 | 36.4 | 83.1
16049 | 2022-05-19 15:43 | 28.3308 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.7696 | μmol/L | 18.389 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.29 | 113763.1467 | 265497.2208 | 36.4 | 83.1
16059 | 2022-05-19 15:43 | 28.6644 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.872 | μmol/L | 18.389 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.286 | 113766.7716 | 265488.8485 | 36.4 | 83.1
16069 | 2022-05-19 15:44 | 28.998 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.8536 | μmol/L | 18.3829 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.289 | 113774.8061 | 265499.0948 | 36.4 | 83.1
16079 | 2022-05-19 15:44 | 29.3307 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.9305 | μmol/L | 18.3829 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.286 | 113772.2968 | 265508.2137 | 36.4 | 83.1
16089 | 2022-05-19 15:44 | 29.6644 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.8208 | μmol/L | 18.389 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.288 | 113781.1926 | 265509.077 | 36.4 | 83.1
16099 | 2022-05-19 15:45 | 29.9973 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.8024 | μmol/L | 18.3829 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.291 | 113777.6935 | 265501.9696 | 36.4 | 83.1
16109 | 2022-05-19 15:45 | 30.331 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.8793 | μmol/L | 18.3829 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.288 | 113782.6373 | 265502.0378 | 36.4 | 83.1
16119 | 2022-05-19 15:45 | 30.6647 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.9049 | μmol/L | 18.3829 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.287 | 113793.0487 | 265499.3783 | 36.4 | 83.1
16129 | 2022-05-19 15:46 | 30.9973 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.7952 | μmol/L | 18.389 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.289 | 113792.6813 | 265495.081 | 36.4 | 83.1
16139 | 2022-05-19 15:46 | 31.3309 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.8097 | μmol/L | 18.3768 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.293 | 113793.9233 | 265495.2568 | 36.4 | 83.1
16149 | 2022-05-19 15:46 | 31.6644 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.7 | μmol/L | 18.3829 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.295 | 113802.0287 | 265495.6593 | 36.4 | 83.1
16159 | 2022-05-19 15:47 | 31.9977 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.8353 | μmol/L | 18.3768 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.292 | 113801.2209 | 265495.6603 | 36.4 | 83.1
16169 | 2022-05-19 15:47 | 32.3313 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.8425 | μmol/L | 18.3707 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.294 | 113801.2743 | 265505.0496 | 36.4 | 83.1
16179 | 2022-05-19 15:47 | 32.6648 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.7329 | μmol/L | 18.3768 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.296 | 113807.0294 | 265484.9798 | 36.4 | 83.1
16189 | 2022-05-19 15:48 | 32.9975 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.7841 | μmol/L | 18.3768 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.294 | 113814.4884 | 265500.191 | 36.4 | 83.1
16199 | 2022-05-19 15:48 | 33.3312 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.7329 | μmol/L | 18.3768 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.296 | 113822.1806 | 265502.7832 | 36.4 | 83.1
16209 | 2022-05-19 15:48 | 33.6647 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.6561 | μmol/L | 18.3768 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.299 | 113828.2242 | 265500.966 | 36.4 | 83.1
16219 | 2022-05-19 15:49 | 33.9982 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.7585 | μmol/L | 18.3768 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.295 | 113834.6944 | 265497.5863 | 36.4 | 83.1
16229 | 2022-05-19 15:49 | 34.3309 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.8169 | μmol/L | 18.3707 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.295 | 113837.5599 | 265503.382 | 36.4 | 83.1
16239 | 2022-05-19 15:49 | 34.6645 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.7329 | μmol/L | 18.3768 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.296 | 113852.0202 | 265501.1745 | 36.4 | 83.1
16249 | 2022-05-19 15:50 | 34.9981 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.7073 | μmol/L | 18.3768 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.297 | 113855.4359 | 265510.8912 | 36.4 | 83.1
16259 | 2022-05-19 15:50 | 35.3308 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.6049 | μmol/L | 18.3768 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.301 | 113863.235 | 265500.0508 | 36.4 | 83.1
16269 | 2022-05-19 15:50 | 35.6642 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.6889 | μmol/L | 18.3707 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.3 | 113862.1018 | 265505.5098 | 36.4 | 83.1
16279 | 2022-05-19 15:51 | 35.998 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.6305 | μmol/L | 18.3768 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.3 | 113870.4993 | 265497.0895 | 36.4 | 83.1
16289 | 2022-05-19 15:51 | 36.3307 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.5866 | μmol/L | 18.3707 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.304 | 113879.1466 | 265505.3195 | 36.4 | 83.1
16299 | 2022-05-19 15:51 | 36.6643 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.6889 | μmol/L | 18.3707 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.3 | 113887.017 | 265495.8348 | 36.4 | 83.1
16309 | 2022-05-19 15:52 | 36.9979 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.5939 | μmol/L | 18.3646 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.306 | 113890.3988 | 265493.7964 | 36.4 | 83.1
16319 | 2022-05-19 15:52 | 37.3309 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.561 | μmol/L | 18.3707 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.305 | 113896.3842 | 265504.8612 | 36.4 | 83.1
16329 | 2022-05-19 15:52 | 37.6644 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.5683 | μmol/L | 18.3646 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.307 | 113903.5761 | 265496.9877 | 36.4 | 83.1
16339 | 2022-05-19 15:53 | 37.9979 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.4771 | μmol/L | 18.3768 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.306 | 113906.3214 | 265513.7255 | 36.4 | 83.1
16349 | 2022-05-19 15:53 | 38.3313 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.6195 | μmol/L | 18.3646 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.305 | 113914.9546 | 265490.3967 | 36.4 | 83.1
16359 | 2022-05-19 15:53 | 38.6643 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.561 | μmol/L | 18.3707 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.305 | 113914.4136 | 265502.038 | 36.4 | 83.1
16369 | 2022-05-19 15:54 | 38.9981 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.561 | μmol/L | 18.3707 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.305 | 113930.1006 | 265515.5929 | 36.4 | 83.1
16379 | 2022-05-19 15:54 | 39.3308 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.5939 | μmol/L | 18.3646 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.306 | 113931.4726 | 265517.8944 | 36.4 | 83.1
16389 | 2022-05-19 15:54 | 39.6644 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.4076 | μmol/L | 18.3707 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.311 | 113941.3056 | 265503.5512 | 36.4 | 83.1
16399 | 2022-05-19 15:55 | 39.9979 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.3565 | μmol/L | 18.3707 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.313 | 113946.8581 | 265509.7205 | 36.4 | 83.1
16409 | 2022-05-19 15:55 | 40.3313 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.3054 | μmol/L | 18.3707 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.315 | 113948.9025 | 265498.9308 | 36.4 | 83.1
16419 | 2022-05-19 15:55 | 40.6641 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.3638 | μmol/L | 18.3646 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.315 | 113958.5524 | 265500.3789 | 36.4 | 83.1
16429 | 2022-05-19 15:56 | 40.9974 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.331 | μmol/L | 18.3707 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.314 | 113958.7655 | 265511.8811 | 36.4 | 83.1
16439 | 2022-05-19 15:56 | 41.3308 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.3638 | μmol/L | 18.3646 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.315 | 113972.8189 | 265519.6301 | 36.4 | 83.1
16449 | 2022-05-19 15:56 | 41.6643 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.3382 | μmol/L | 18.3646 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.316 | 113971.3419 | 265520.6421 | 36.4 | 83.1
16459 | 2022-05-19 15:57 | 41.9981 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.2288 | μmol/L | 18.3707 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.318 | 113979.2064 | 265518.7193 | 36.4 | 83.1
16469 | 2022-05-19 15:57 | 42.3307 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.331 | μmol/L | 18.3707 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.314 | 113977.4356 | 265501.614 | 36.4 | 83.1
16479 | 2022-05-19 15:57 | 42.664 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.3638 | μmol/L | 18.3646 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.315 | 113988.6493 | 265520.8195 | 36.4 | 83.1
16489 | 2022-05-19 15:58 | 42.9981 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.3127 | μmol/L | 18.3646 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.317 | 113985.4575 | 265508.7711 | 36.4 | 83.1
16499 | 2022-05-19 15:58 | 43.3314 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.2616 | μmol/L | 18.3646 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.319 | 114004.9362 | 265514.4338 | 36.4 | 83.1
16509 | 2022-05-19 15:58 | 43.664 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.3711 | μmol/L | 18.3584 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.317 | 114010.7523 | 265513.034 | 36.4 | 83.1
16519 | 2022-05-19 15:59 | 43.998 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.3455 | μmol/L | 18.3584 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.318 | 114022.5336 | 265509.2497 | 36.4 | 83.1
16529 | 2022-05-19 15:59 | 44.331 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.2616 | μmol/L | 18.3646 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.319 | 114017.5366 | 265507.2212 | 36.4 | 83.1
16539 | 2022-05-19 15:59 | 44.6645 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.3455 | μmol/L | 18.3584 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.318 | 114011.2478 | 265511.0516 | 36.4 | 83.1
16549 | 2022-05-19 16:00 | 44.9979 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.185 | μmol/L | 18.3646 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.322 | 114038.3227 | 265515.7258 | 36.4 | 83.1
16559 | 2022-05-19 16:00 | 45.3313 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.2689 | μmol/L | 18.3584 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.321 | 114036.5863 | 265508.389 | 36.4 | 83.1
16569 | 2022-05-19 16:00 | 45.6642 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.2944 | μmol/L | 18.3584 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.32 | 114038.9965 | 265505.6203 | 36.4 | 83.1
16579 | 2022-05-19 16:01 | 45.9977 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.1339 | μmol/L | 18.3646 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.324 | 114046.229 | 265523.0107 | 36.4 | 83.1
16589 | 2022-05-19 16:01 | 46.3312 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.1923 | μmol/L | 18.3584 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.324 | 114052.4587 | 265502.3544 | 36.4 | 83.1
16599 | 2022-05-19 16:01 | 46.6645 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.2689 | μmol/L | 18.3584 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.321 | 114057.1551 | 265503.2346 | 36.4 | 83.1
16609 | 2022-05-19 16:02 | 46.998 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.0573 | μmol/L | 18.3646 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.327 | 114060.3138 | 265521.8715 | 36.4 | 83.1
16619 | 2022-05-19 16:02 | 47.3312 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.0829 | μmol/L | 18.3646 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.326 | 114065.4416 | 265512.2168 | 36.4 | 83.1
16629 | 2022-05-19 16:02 | 47.6648 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.0829 | μmol/L | 18.3646 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.326 | 114070.6622 | 265511.3602 | 36.4 | 83.1
16639 | 2022-05-19 16:03 | 47.9974 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.1923 | μmol/L | 18.3584 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.324 | 114067.4714 | 265514.0213 | 36.4 | 83.1
16649 | 2022-05-19 16:03 | 48.3312 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.1084 | μmol/L | 18.3646 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.325 | 114068.0281 | 265508.0723 | 36.4 | 83.1
16659 | 2022-05-19 16:03 | 48.6646 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.1667 | μmol/L | 18.3584 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.325 | 114087.174 | 265511.8704 | 36.4 | 83.1
16669 | 2022-05-19 16:04 | 48.9981 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.1923 | μmol/L | 18.3584 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.324 | 114085.3992 | 265515.4957 | 36.4 | 83.1
16679 | 2022-05-19 16:04 | 49.3307 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.0391 | μmol/L | 18.3584 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.33 | 114095.2306 | 265510.1473 | 36.4 | 83.1
16689 | 2022-05-19 16:04 | 49.6641 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.123 | μmol/L | 18.3523 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.329 | 114098.492 | 265496.5729 | 36.4 | 83.1
16699 | 2022-05-19 16:05 | 49.9977 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.0646 | μmol/L | 18.3584 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.329 | 114092.8614 | 265488.8309 | 36.4 | 83.1
16709 | 2022-05-19 16:05 | 50.3312 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.0974 | μmol/L | 18.3523 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.33 | 114091.9589 | 265502.9502 | 36.4 | 83.1
16719 | 2022-05-19 16:05 | 50.6647 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.9881 | μmol/L | 18.3584 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.332 | 114100.9708 | 265491.8781 | 36.4 | 83.1
16729 | 2022-05-19 16:06 | 50.9981 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.0391 | μmol/L | 18.3584 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.33 | 114107.0272 | 265483.3605 | 36.4 | 83.1
16739 | 2022-05-19 16:06 | 51.3314 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.1302 | μmol/L | 18.3462 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.331 | 114125.8457 | 265491.3404 | 36.4 | 83.1
16749 | 2022-05-19 16:06 | 51.6642 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.0209 | μmol/L | 18.3523 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.333 | 114129.7606 | 265479.7489 | 36.4 | 83.1
16759 | 2022-05-19 16:07 | 51.9977 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.8678 | μmol/L | 18.3523 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.339 | 114138.2413 | 265483.8895 | 36.4 | 83.1
16769 | 2022-05-19 16:07 | 52.3311 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.9954 | μmol/L | 18.3523 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.334 | 114131.5894 | 265488.3214 | 36.4 | 83.1
16779 | 2022-05-19 16:07 | 52.6644 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.8423 | μmol/L | 18.3523 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.34 | 114130.557 | 265493.3019 | 36.4 | 83.1
16789 | 2022-05-19 16:08 | 52.9981 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.9699 | μmol/L | 18.3523 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.335 | 114126.9127 | 265489.075 | 36.4 | 83.1
16799 | 2022-05-19 16:08 | 53.3307 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.7841 | μmol/L | 18.3584 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.34 | 114125.1057 | 265492.7501 | 36.4 | 83.1
16809 | 2022-05-19 16:08 | 53.6641 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.9771 | μmol/L | 18.3462 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.337 | 114126.3102 | 265489.9781 | 36.4 | 83.1
16819 | 2022-05-19 16:09 | 53.9978 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.8678 | μmol/L | 18.3523 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.339 | 114125.8505 | 265465.1479 | 36.4 | 83.1
16829 | 2022-05-19 16:09 | 54.3315 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.7331 | μmol/L | 18.3584 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.342 | 114131.8939 | 265483.6388 | 36.4 | 83.1
16839 | 2022-05-19 16:09 | 54.664 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.8423 | μmol/L | 18.3523 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.34 | 114130.1107 | 265473.6418 | 36.4 | 83.1
16849 | 2022-05-19 16:10 | 54.9981 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.8423 | μmol/L | 18.3523 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.34 | 114131.9551 | 265476.3546 | 36.4 | 83.1
16859 | 2022-05-19 16:10 | 55.331 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.8241 | μmol/L | 18.3462 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.343 | 114138.3148 | 265478.4767 | 36.4 | 83.1
16869 | 2022-05-19 16:10 | 55.6647 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.7987 | μmol/L | 18.3462 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.344 | 114136.8537 | 265467.5739 | 36.4 | 83.1
16879 | 2022-05-19 16:11 | 55.9974 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.7659 | μmol/L | 18.3523 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.343 | 114143.6623 | 265473.8502 | 36.4 | 83.1
16889 | 2022-05-19 16:11 | 56.3309 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.7149 | μmol/L | 18.3523 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.345 | 114141.9508 | 265470.2989 | 36.4 | 83.1
16899 | 2022-05-19 16:11 | 56.6646 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.7222 | μmol/L | 18.3462 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.347 | 114156.6343 | 265471.8957 | 36.4 | 83.1
16909 | 2022-05-19 16:12 | 56.9979 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.6312 | μmol/L | 18.3584 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.346 | 114166.8865 | 265461.7923 | 36.4 | 83.1
16919 | 2022-05-19 16:12 | 57.3313 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.6894 | μmol/L | 18.3523 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.346 | 114168.8405 | 265463.647 | 36.4 | 83.1
16929 | 2022-05-19 16:12 | 57.664 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.6057 | μmol/L | 18.3584 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.347 | 114172.5349 | 265460.1492 | 36.4 | 83.1
16939 | 2022-05-19 16:13 | 57.9974 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.7149 | μmol/L | 18.3523 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.345 | 114167.5329 | 265458.3075 | 36.4 | 83.1
16949 | 2022-05-19 16:13 | 58.3309 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.5548 | μmol/L | 18.3584 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.349 | 114180.9183 | 265468.1046 | 36.4 | 83.1
16959 | 2022-05-19 16:13 | 58.6645 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.5621 | μmol/L | 18.3523 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.351 | 114182.8665 | 265471.0971 | 36.4 | 83.1
16969 | 2022-05-19 16:14 | 58.998 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.4857 | μmol/L | 18.3523 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.354 | 114190.0996 | 265461.4419 | 36.4 | 83.1
16979 | 2022-05-19 16:14 | 59.3312 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.5875 | μmol/L | 18.3523 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.35 | 114190.2694 | 265469.077 | 36.4 | 83.1
16989 | 2022-05-19 16:14 | 59.664 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.5875 | μmol/L | 18.3523 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.35 | 114190.0249 | 265460.2925 | 36.4 | 83.1
16999 | 2022-05-19 16:15 | 59.9977 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.4602 | μmol/L | 18.3523 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.355 | 114194.633 | 265459.5252 | 36.4 | 83.1
17009 | 2022-05-19 16:15 | 60.3312 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.6276 | μmol/L | 18.3401 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.353 | 114200.9921 | 265460.6509 | 36.4 | 83.1
17019 | 2022-05-19 16:15 | 60.6645 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.4093 | μmol/L | 18.3523 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.357 | 114205.6811 | 265459.5384 | 36.4 | 83.1
17029 | 2022-05-19 16:16 | 60.998 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.4421 | μmol/L | 18.3462 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.358 | 114223.9689 | 265465.8724 | 36.4 | 83.1
17039 | 2022-05-19 16:16 | 61.3307 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.3584 | μmol/L | 18.3523 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.359 | 114234.4603 | 265471.7931 | 36.4 | 83.1
17049 | 2022-05-19 16:16 | 61.664 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.3912 | μmol/L | 18.3462 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.36 | 114231.5416 | 265466.4994 | 36.4 | 83.1
17059 | 2022-05-19 16:17 | 61.9977 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.493 | μmol/L | 18.3462 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.356 | 114242.3329 | 265462.5496 | 36.4 | 83.1
17069 | 2022-05-19 16:17 | 62.3312 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.3075 | μmol/L | 18.3523 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.361 | 114262.5799 | 265453.6421 | 36.4 | 83.1
17079 | 2022-05-19 16:17 | 62.6648 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.4239 | μmol/L | 18.3401 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.361 | 114255.416 | 265455.211 | 36.4 | 83.1
17089 | 2022-05-19 16:18 | 62.9975 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.3476 | μmol/L | 18.3401 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.364 | 114251.6356 | 265453.9558 | 36.4 | 83.1
17099 | 2022-05-19 16:18 | 63.3308 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.0787 | μmol/L | 18.3523 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.37 | 114263.9338 | 265455.2234 | 36.4 | 83.1
17109 | 2022-05-19 16:18 | 63.6645 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.2894 | μmol/L | 18.3462 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.364 | 114259.2751 | 265461.7835 | 36.4 | 83.1
17119 | 2022-05-19 16:19 | 63.9979 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.2385 | μmol/L | 18.3462 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.366 | 114271.6829 | 265462.7436 | 36.4 | 83.1
17129 | 2022-05-19 16:19 | 64.3314 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.2894 | μmol/L | 18.3462 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.364 | 114276.9188 | 265454.5841 | 36.4 | 83.1
17139 | 2022-05-19 16:19 | 64.6641 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.1041 | μmol/L | 18.3523 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.369 | 114275.6636 | 265443.6951 | 36.4 | 83.1
17149 | 2022-05-19 16:20 | 64.9977 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.0787 | μmol/L | 18.3523 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.37 | 114285.7151 | 265450.6628 | 36.4 | 83.1
17159 | 2022-05-19 16:20 | 65.331 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.2131 | μmol/L | 18.3462 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.367 | 114285.0961 | 265463.9174 | 36.4 | 83.1
17169 | 2022-05-19 16:20 | 65.6643 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.1877 | μmol/L | 18.3462 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.368 | 114288.479 | 265445.5875 | 36.4 | 83.1
17179 | 2022-05-19 16:21 | 65.998 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.2131 | μmol/L | 18.3462 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.367 | 114290.4331 | 265449.8845 | 36.4 | 83.1
17189 | 2022-05-19 16:21 | 66.3314 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.1696 | μmol/L | 18.3401 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.371 | 114292.2534 | 265444.6574 | 36.4 | 83.1
17199 | 2022-05-19 16:21 | 66.664 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.2204 | μmol/L | 18.3401 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.369 | 114289.4264 | 265446.1802 | 36.4 | 83.1
17209 | 2022-05-19 16:22 | 66.9974 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.1442 | μmol/L | 18.3401 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.372 | 114285.2028 | 265436.7428 | 36.4 | 83.1
17219 | 2022-05-19 16:22 | 67.3311 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.1877 | μmol/L | 18.3462 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.368 | 114295.6107 | 265445.8267 | 36.4 | 83.1
17229 | 2022-05-19 16:22 | 67.6647 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.086 | μmol/L | 18.3462 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.372 | 114296.9482 | 265442.7531 | 36.4 | 83.1
17239 | 2022-05-19 16:23 | 67.9973 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.2204 | μmol/L | 18.3401 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.369 | 114298.26 | 265446.7037 | 36.4 | 83.1
17249 | 2022-05-19 16:23 | 68.3309 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.0279 | μmol/L | 18.3523 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.372 | 114305.5404 | 265446.135 | 36.4 | 83.1
17259 | 2022-05-19 16:23 | 68.6644 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.1877 | μmol/L | 18.3462 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.368 | 114302.4866 | 265431.4628 | 36.4 | 83.1
17269 | 2022-05-19 16:24 | 68.9979 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.1368 | μmol/L | 18.3462 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.37 | 114314.6523 | 265446.3221 | 36.4 | 83.1
17279 | 2022-05-19 16:24 | 69.3314 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.1114 | μmol/L | 18.3462 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.371 | 114309.3135 | 265437.4945 | 36.4 | 83.1
17289 | 2022-05-19 16:24 | 69.6642 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.0606 | μmol/L | 18.3462 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.373 | 114315.7304 | 265434.4452 | 36.4 | 83.1
17299 | 2022-05-19 16:25 | 69.9976 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.0352 | μmol/L | 18.3462 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.374 | 114329.1949 | 265443.573 | 36.4 | 83.1
17309 | 2022-05-19 16:25 | 70.331 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.0679 | μmol/L | 18.3401 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.375 | 114332.9565 | 265443.1387 | 36.4 | 83.1
17319 | 2022-05-19 16:25 | 70.6648 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.0352 | μmol/L | 18.3462 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.374 | 114337.7274 | 265433.5801 | 36.4 | 83.1
17329 | 2022-05-19 16:26 | 70.9976 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.8755 | μmol/L | 18.3523 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.378 | 114344.3808 | 265430.5712 | 36.4 | 83.1
17339 | 2022-05-19 16:26 | 71.3312 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.9663 | μmol/L | 18.3401 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.379 | 114355.3931 | 265418.7473 | 36.4 | 83.1
17349 | 2022-05-19 16:26 | 71.6647 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.8755 | μmol/L | 18.3523 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.378 | 114356.538 | 265427.6937 | 36.4 | 83.1
17359 | 2022-05-19 16:27 | 71.9975 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.8647 | μmol/L | 18.3401 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.383 | 114368.1913 | 265438.766 | 36.4 | 83.1
17369 | 2022-05-19 16:27 | 72.3311 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.8828 | μmol/L | 18.3462 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.38 | 114378.9918 | 265438.9601 | 36.4 | 83.1
17379 | 2022-05-19 16:27 | 72.6644 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.8574 | μmol/L | 18.3462 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.381 | 114380.5881 | 265437.3696 | 36.4 | 83.1
17389 | 2022-05-19 16:28 | 72.998 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.9409 | μmol/L | 18.3401 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.38 | 114394.5558 | 265431.996 | 36.4 | 83.1
17399 | 2022-05-19 16:28 | 73.331 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.7305 | μmol/L | 18.3462 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.386 | 114408.6691 | 265448.8874 | 36.4 | 83.1