## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_5 | O2 | 386281131 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:52

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-19 15:01

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
13580 | 2022-05-19 13:54 | 0 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 307.9609 | μmol/L | 18.6524 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.916 | 111612.1771 | 266772.4172 | 36.4 | 83.1
13590 | 2022-05-19 13:54 | 0.33478 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 307.7495 | μmol/L | 18.6524 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.924 | 111668.1199 | 266780.7429 | 36.4 | 83.1
13600 | 2022-05-19 13:55 | 0.66814 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 307.7035 | μmol/L | 18.6463 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.928 | 111704.6372 | 266764.7004 | 36.4 | 83.1
13610 | 2022-05-19 13:55 | 1.0016 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 307.3537 | μmol/L | 18.6524 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.939 | 111734.2701 | 266753.6347 | 36.4 | 83.1
13620 | 2022-05-19 13:55 | 1.3348 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 307.1956 | μmol/L | 18.6524 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.945 | 111756.1139 | 266738.0131 | 36.4 | 83.1
13630 | 2022-05-19 13:56 | 1.6688 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 307.1828 | μmol/L | 18.6401 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.95 | 111787.8905 | 266742.8393 | 36.4 | 83.1
13640 | 2022-05-19 13:56 | 2.002 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.8601 | μmol/L | 18.6463 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.96 | 111821.2481 | 266743.1901 | 36.4 | 83.1
13650 | 2022-05-19 13:56 | 2.335 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.7218 | μmol/L | 18.6524 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.963 | 111852.8387 | 266716.9093 | 36.4 | 83.1
13660 | 2022-05-19 13:57 | 2.6689 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.5708 | μmol/L | 18.6463 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.971 | 111887.3712 | 266711.1737 | 36.4 | 83.1
13670 | 2022-05-19 13:57 | 3.002 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.5251 | μmol/L | 18.6401 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.975 | 111924.0834 | 266726.983 | 36.4 | 83.1
13680 | 2022-05-19 13:57 | 3.3352 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.42 | μmol/L | 18.6401 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.979 | 111940.067 | 266699.8923 | 36.4 | 83.1
13690 | 2022-05-19 13:58 | 3.6685 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.2955 | μmol/L | 18.634 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.986 | 112060.1843 | 266681.1604 | 36.4 | 83.1
13700 | 2022-05-19 13:58 | 4.0018 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.1507 | μmol/L | 18.6463 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.987 | 112083.439 | 266683.9788 | 36.4 | 83.1
13710 | 2022-05-19 13:58 | 4.3352 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.2498 | μmol/L | 18.6279 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.99 | 112096.6631 | 266681.9693 | 36.4 | 83.1
13720 | 2022-05-19 13:59 | 4.6686 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.1779 | μmol/L | 18.6218 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.995 | 112114.3486 | 266661.4608 | 36.4 | 83.1
13730 | 2022-05-19 13:59 | 5.0018 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.1255 | μmol/L | 18.6218 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.997 | 112123.6889 | 266660.5637 | 36.4 | 83.1
13740 | 2022-05-19 13:59 | 5.3352 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.1323 | μmol/L | 18.6156 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.999 | 112134.3965 | 266652.6196 | 36.4 | 83.1
13750 | 2022-05-19 14:00 | 5.6685 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.8702 | μmol/L | 18.6156 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.009 | 112176.5266 | 266646.9638 | 36.4 | 83.1
13760 | 2022-05-19 14:00 | 6.0019 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.8508 | μmol/L | 18.6095 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.012 | 112193.5946 | 266630.8757 | 36.4 | 83.1
13770 | 2022-05-19 14:00 | 6.3351 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.9556 | μmol/L | 18.6095 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.008 | 112142.469 | 266613.1176 | 36.4 | 83.1
13780 | 2022-05-19 14:01 | 6.6685 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.1722 | μmol/L | 18.6034 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.002 | 112120.9238 | 266615.7329 | 36.4 | 83.1
13790 | 2022-05-19 14:01 | 7.0017 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.1722 | μmol/L | 18.6034 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.002 | 112122.0469 | 266601.8158 | 36.4 | 83.1
13800 | 2022-05-19 14:01 | 7.3347 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.2645 | μmol/L | 18.5911 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.003 | 112135.048 | 266597.2344 | 36.4 | 83.1
13810 | 2022-05-19 14:02 | 7.6689 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.9761 | μmol/L | 18.5911 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.014 | 112176.4397 | 266583.5657 | 36.4 | 83.1
13820 | 2022-05-19 14:02 | 8.0022 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.7142 | μmol/L | 18.5911 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.024 | 112207.271 | 266569.3276 | 36.4 | 83.1
13830 | 2022-05-19 14:02 | 8.3352 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.3357 | μmol/L | 18.5789 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.043 | 112295.3695 | 266577.2705 | 36.4 | 83.1
13840 | 2022-05-19 14:03 | 8.6684 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.5148 | μmol/L | 18.5667 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.079 | 112504.7758 | 266564.8217 | 36.4 | 83.1
13850 | 2022-05-19 14:03 | 9.0016 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.8798 | μmol/L | 18.5667 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.142 | 112837.1544 | 266570.633 | 36.4 | 83.1
13860 | 2022-05-19 14:03 | 9.3348 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.0675 | μmol/L | 18.5544 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.178 | 113059.8581 | 266563.7385 | 36.4 | 83.1
13870 | 2022-05-19 14:04 | 9.6688 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.9104 | μmol/L | 18.5544 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.223 | 113314.9288 | 266547.8984 | 36.4 | 83.1
13880 | 2022-05-19 14:04 | 10.0022 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.8484 | μmol/L | 18.4748 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.255 | 113474.1534 | 266551.2105 | 36.4 | 83.1
13890 | 2022-05-19 14:04 | 10.3347 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.6453 | μmol/L | 18.5422 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.277 | 113622.237 | 266540.52 | 36.4 | 83.1
13900 | 2022-05-19 14:05 | 10.6688 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.0737 | μmol/L | 18.4809 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.283 | 113606.2827 | 266537.5503 | 36.4 | 83.1
13910 | 2022-05-19 14:05 | 11.0017 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.9817 | μmol/L | 18.4503 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.298 | 113705.237 | 266529.4401 | 36.4 | 83.1
13920 | 2022-05-19 14:05 | 11.3351 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.2381 | μmol/L | 18.5054 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.346 | 114002.0646 | 266504.5138 | 36.4 | 83.1
13930 | 2022-05-19 14:06 | 11.6685 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.956 | μmol/L | 18.5422 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.383 | 114169.169 | 266514.7003 | 36.4 | 83.1
13940 | 2022-05-19 14:06 | 12.0019 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.2014 | μmol/L | 18.5483 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.371 | 114095.9286 | 266502.9941 | 36.4 | 83.1
13950 | 2022-05-19 14:06 | 12.3353 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.6684 | μmol/L | 18.5728 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.383 | 114167.5412 | 266499.7305 | 36.4 | 83.1
13960 | 2022-05-19 14:07 | 12.6684 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.1936 | μmol/L | 18.5115 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.385 | 114170.9373 | 266500.5574 | 36.4 | 83.1
13970 | 2022-05-19 14:07 | 13.0019 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.8946 | μmol/L | 18.5299 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.39 | 114180.5018 | 266492.8243 | 36.4 | 83.1
13980 | 2022-05-19 14:07 | 13.3352 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.2547 | μmol/L | 18.4809 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.394 | 114187.1217 | 266482.1549 | 36.4 | 83.1
13990 | 2022-05-19 14:08 | 13.6683 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.2438 | μmol/L | 18.4687 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.399 | 114215.3001 | 266479.4618 | 36.4 | 83.1
14000 | 2022-05-19 14:08 | 14.0015 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.9556 | μmol/L | 18.4993 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.399 | 114233.2992 | 266448.1721 | 36.4 | 83.1
14010 | 2022-05-19 14:08 | 14.3348 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.2547 | μmol/L | 18.4809 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.394 | 114181.6822 | 266453.4745 | 36.4 | 83.1
14020 | 2022-05-19 14:09 | 14.6685 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.1574 | μmol/L | 18.4993 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.391 | 114158.3323 | 266452.7532 | 36.4 | 83.1
14030 | 2022-05-19 14:09 | 15.0018 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.6697 | μmol/L | 18.4503 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.389 | 114123.7344 | 266437.9965 | 36.4 | 83.1
14040 | 2022-05-19 14:09 | 15.3352 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.4243 | μmol/L | 18.487 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.385 | 114138.5683 | 266450.9264 | 36.4 | 83.1
14050 | 2022-05-19 14:10 | 15.6686 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.5001 | μmol/L | 18.487 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.382 | 114087.3762 | 266423.7088 | 36.4 | 83.1
14060 | 2022-05-19 14:10 | 16.0019 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.0239 | μmol/L | 18.4503 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.375 | 114072.7205 | 266439.419 | 36.4 | 83.1
14070 | 2022-05-19 14:10 | 16.3355 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.8757 | μmol/L | 18.4687 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.374 | 114052.6666 | 266431.6487 | 36.4 | 83.1
14080 | 2022-05-19 14:11 | 16.6682 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.1506 | μmol/L | 18.4503 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.37 | 114035.1733 | 266421.6951 | 36.4 | 83.1
14090 | 2022-05-19 14:11 | 17.0018 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.0999 | μmol/L | 18.4503 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.372 | 114062.0826 | 266400.6366 | 36.4 | 83.1
14100 | 2022-05-19 14:11 | 17.3351 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.2048 | μmol/L | 18.4258 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.377 | 114043.6789 | 266411.9443 | 36.4 | 83.1
14110 | 2022-05-19 14:12 | 17.6684 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.7889 | μmol/L | 18.4564 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.382 | 114051.4683 | 266403.4546 | 36.4 | 83.1
14120 | 2022-05-19 14:12 | 18.0016 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.6047 | μmol/L | 18.4625 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.387 | 114071.1788 | 266400.5342 | 36.4 | 83.1
14130 | 2022-05-19 14:12 | 18.3352 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.4855 | μmol/L | 18.4564 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.394 | 114085.5537 | 266389.0724 | 36.4 | 83.1
14140 | 2022-05-19 14:13 | 18.6686 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.518 | μmol/L | 18.4503 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.395 | 114102.1858 | 266374.6443 | 36.4 | 83.1
14150 | 2022-05-19 14:13 | 19.002 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.5758 | μmol/L | 18.4442 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.395 | 114108.6295 | 266365.2162 | 36.4 | 83.1
14160 | 2022-05-19 14:13 | 19.3352 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.601 | μmol/L | 18.4442 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.394 | 114076.5059 | 266370.4535 | 36.4 | 83.1
14170 | 2022-05-19 14:14 | 19.6683 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.9371 | μmol/L | 18.438 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.383 | 114005.2762 | 266360.1883 | 36.4 | 83.1
14180 | 2022-05-19 14:14 | 20.0019 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.7817 | μmol/L | 18.4625 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.38 | 113988.3257 | 266355.0767 | 36.4 | 83.1
14190 | 2022-05-19 14:14 | 20.3353 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.1903 | μmol/L | 18.438 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.373 | 113948.5623 | 266355.1862 | 36.4 | 83.1
14200 | 2022-05-19 14:15 | 20.6687 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.6033 | μmol/L | 18.4319 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.359 | 113882.9244 | 266356.2339 | 36.4 | 83.1
14210 | 2022-05-19 14:15 | 21.0016 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.5851 | μmol/L | 18.4258 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.362 | 113889.7154 | 266347.85 | 36.4 | 83.1
14220 | 2022-05-19 14:15 | 21.3348 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.5525 | μmol/L | 18.4319 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.361 | 113898.4177 | 266344.4874 | 36.4 | 83.1
14230 | 2022-05-19 14:16 | 21.6682 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.4076 | μmol/L | 18.4258 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.369 | 113915.5778 | 266328.2411 | 36.4 | 83.1
14240 | 2022-05-19 14:16 | 22.0016 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.0709 | μmol/L | 18.4319 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.38 | 113962.0163 | 266328.5344 | 36.4 | 83.1
14250 | 2022-05-19 14:16 | 22.3352 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.2193 | μmol/L | 18.4135 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.381 | 113971.1226 | 266317.8823 | 36.4 | 83.1
14260 | 2022-05-19 14:17 | 22.6685 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.7347 | μmol/L | 18.438 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.391 | 114016.8971 | 266306.6314 | 36.4 | 83.1
14270 | 2022-05-19 14:17 | 23.0019 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.789 | μmol/L | 18.4135 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.398 | 114074.6206 | 266294.555 | 36.4 | 83.1
14280 | 2022-05-19 14:17 | 23.3353 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.5002 | μmol/L | 18.4013 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.414 | 114119.8998 | 266297.9723 | 36.4 | 83.1
14290 | 2022-05-19 14:18 | 23.6687 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.9738 | μmol/L | 18.4197 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.428 | 114180.5719 | 266279.2081 | 36.4 | 83.1
14300 | 2022-05-19 14:18 | 24.0015 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.4808 | μmol/L | 18.4319 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.443 | 114270.6506 | 266274.1163 | 36.4 | 83.1
14310 | 2022-05-19 14:18 | 24.335 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.5815 | μmol/L | 18.4319 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.439 | 114241.8482 | 266280.2684 | 36.4 | 83.1
14320 | 2022-05-19 14:19 | 24.6684 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.6066 | μmol/L | 18.4319 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.438 | 114243.8794 | 266295.2057 | 36.4 | 83.1
14330 | 2022-05-19 14:19 | 25.0021 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.6139 | μmol/L | 18.4258 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.44 | 114253.1043 | 266278.9853 | 36.4 | 83.1
14340 | 2022-05-19 14:19 | 25.3348 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.5708 | μmol/L | 18.4197 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.444 | 114269.6491 | 266270.1263 | 36.4 | 83.1
14350 | 2022-05-19 14:20 | 25.6683 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.6212 | μmol/L | 18.4197 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.442 | 114249.985 | 266254.1397 | 36.4 | 83.1
14360 | 2022-05-19 14:20 | 26.0015 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.5708 | μmol/L | 18.4197 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.444 | 114267.6116 | 266252.0975 | 36.4 | 83.1
14370 | 2022-05-19 14:20 | 26.3348 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.3194 | μmol/L | 18.4197 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.454 | 114320.9329 | 266255.2404 | 36.4 | 83.1
14380 | 2022-05-19 14:21 | 26.6683 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.1184 | μmol/L | 18.4197 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.462 | 114361.3416 | 266249.8135 | 36.4 | 83.1
14390 | 2022-05-19 14:21 | 27.0021 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.9175 | μmol/L | 18.4197 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.47 | 114399.3684 | 266239.4204 | 36.4 | 83.1
14400 | 2022-05-19 14:21 | 27.3355 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.0147 | μmol/L | 18.4013 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.473 | 114416.5961 | 266236.1137 | 36.4 | 83.1
14410 | 2022-05-19 14:22 | 27.6688 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.0147 | μmol/L | 18.4013 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.473 | 114411.437 | 266235.2276 | 36.4 | 83.1
14420 | 2022-05-19 14:22 | 28.0014 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.0325 | μmol/L | 18.4074 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.47 | 114385.643 | 266227.1221 | 36.4 | 83.1
14430 | 2022-05-19 14:22 | 28.3348 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.0325 | μmol/L | 18.4074 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.47 | 114390.2129 | 266222.0451 | 36.4 | 83.1
14440 | 2022-05-19 14:23 | 28.6682 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.7889 | μmol/L | 18.4013 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.482 | 114424.5629 | 266225.5384 | 36.4 | 83.1
14450 | 2022-05-19 14:23 | 29.0016 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.7889 | μmol/L | 18.4013 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.482 | 114430.5125 | 266204.9783 | 36.4 | 83.1
14460 | 2022-05-19 14:23 | 29.3352 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.6636 | μmol/L | 18.4013 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.487 | 114457.5681 | 266193.0205 | 36.4 | 83.1
14470 | 2022-05-19 14:24 | 29.6688 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.4381 | μmol/L | 18.4013 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.496 | 114502.314 | 266183.7874 | 36.4 | 83.1
14480 | 2022-05-19 14:24 | 30.002 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.4454 | μmol/L | 18.3952 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.498 | 114491.692 | 266180.9943 | 36.4 | 83.1
14490 | 2022-05-19 14:24 | 30.3353 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.2879 | μmol/L | 18.4013 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.502 | 114511.8697 | 266178.1307 | 36.4 | 83.1
14500 | 2022-05-19 14:25 | 30.6688 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.3026 | μmol/L | 18.389 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.506 | 114555.5782 | 266172.0594 | 36.4 | 83.1
14510 | 2022-05-19 14:25 | 31.0017 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.0128 | μmol/L | 18.4013 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.513 | 114588.0919 | 266164.7149 | 36.4 | 83.1
14520 | 2022-05-19 14:25 | 31.3354 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.9775 | μmol/L | 18.389 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.519 | 114606.9151 | 266141.0116 | 36.4 | 83.1
14530 | 2022-05-19 14:26 | 31.6681 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.0349 | μmol/L | 18.3829 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.519 | 114592.3574 | 266146.3238 | 36.4 | 83.1
14540 | 2022-05-19 14:26 | 32.0015 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.9349 | μmol/L | 18.3829 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.523 | 114617.9896 | 266118.0658 | 36.4 | 83.1
14550 | 2022-05-19 14:26 | 32.335 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.4857 | μmol/L | 18.3829 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.541 | 114700.1065 | 266118.5138 | 36.4 | 83.1
14560 | 2022-05-19 14:27 | 32.6684 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.2364 | μmol/L | 18.3829 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.551 | 114762.7034 | 266133.5225 | 36.4 | 83.1
14570 | 2022-05-19 14:27 | 33.002 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.3508 | μmol/L | 18.3707 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.551 | 114749.537 | 266119.718 | 36.4 | 83.1
14580 | 2022-05-19 14:27 | 33.3355 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.6149 | μmol/L | 18.3584 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.545 | 114739.621 | 266132.4061 | 36.4 | 83.1
14590 | 2022-05-19 14:28 | 33.6681 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.565 | μmol/L | 18.3584 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.547 | 114774.9521 | 266110.3835 | 36.4 | 83.1
14600 | 2022-05-19 14:28 | 34.0015 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.4755 | μmol/L | 18.3707 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.546 | 114748.1743 | 266119.2569 | 36.4 | 83.1
14610 | 2022-05-19 14:28 | 34.3348 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.4404 | μmol/L | 18.3584 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.552 | 114774.6345 | 266098.1112 | 36.4 | 83.1
14620 | 2022-05-19 14:29 | 34.6681 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.1341 | μmol/L | 18.3646 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.562 | 114824.2592 | 266108.8712 | 36.4 | 83.1
14630 | 2022-05-19 14:29 | 35.0015 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.1737 | μmol/L | 18.3523 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.565 | 114835.1845 | 266089.0289 | 36.4 | 83.1
14640 | 2022-05-19 14:29 | 35.3351 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.9027 | μmol/L | 18.3707 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.569 | 114864.9833 | 266078.7605 | 36.4 | 83.1
14650 | 2022-05-19 14:30 | 35.6687 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.808 | μmol/L | 18.3462 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.582 | 114895.2359 | 266076.2777 | 36.4 | 83.1
14660 | 2022-05-19 14:30 | 36.0014 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.6589 | μmol/L | 18.3462 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.588 | 114933.779 | 266070.7057 | 36.4 | 83.1
14670 | 2022-05-19 14:30 | 36.3349 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.4925 | μmol/L | 18.3401 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.597 | 114979.2336 | 266059.2565 | 36.4 | 83.1
14680 | 2022-05-19 14:31 | 36.6688 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.2693 | μmol/L | 18.3401 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.606 | 115017.7843 | 266061.3527 | 36.4 | 83.1
14690 | 2022-05-19 14:31 | 37.002 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.4355 | μmol/L | 18.3462 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.597 | 114982.7711 | 266057.4387 | 36.4 | 83.1
14700 | 2022-05-19 14:31 | 37.3354 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.2396 | μmol/L | 18.3646 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.598 | 114953.9468 | 266055.0914 | 36.4 | 83.1
14710 | 2022-05-19 14:32 | 37.6688 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.4206 | μmol/L | 18.3584 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.593 | 114927.1611 | 266051.2808 | 36.4 | 83.1
14720 | 2022-05-19 14:32 | 38.0022 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.371 | μmol/L | 18.3584 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.595 | 114942.4745 | 266052.0245 | 36.4 | 83.1
14730 | 2022-05-19 14:32 | 38.3349 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.0239 | μmol/L | 18.3584 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.609 | 115031.0217 | 266040.1471 | 36.4 | 83.1
14740 | 2022-05-19 14:33 | 38.6684 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.6749 | μmol/L | 18.3401 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.63 | 115110.0452 | 266048.7991 | 36.4 | 83.1
14750 | 2022-05-19 14:33 | 39.002 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.4523 | μmol/L | 18.3401 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.639 | 115179.4154 | 266029.9989 | 36.4 | 83.1
14760 | 2022-05-19 14:33 | 39.3355 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.2967 | μmol/L | 18.3462 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.643 | 115213.3338 | 266038.6776 | 36.4 | 83.1
14770 | 2022-05-19 14:34 | 39.668 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.1881 | μmol/L | 18.3339 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.652 | 115251.6268 | 266027.8738 | 36.4 | 83.1
14780 | 2022-05-19 14:34 | 40.0018 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.0647 | μmol/L | 18.3339 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.657 | 115257.6262 | 266032.8363 | 36.4 | 83.1
14790 | 2022-05-19 14:34 | 40.3352 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.1881 | μmol/L | 18.3339 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.652 | 115257.368 | 266019.3268 | 36.4 | 83.1
14800 | 2022-05-19 14:35 | 40.6688 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.9093 | μmol/L | 18.3401 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.661 | 115294.9827 | 266028.1696 | 36.4 | 83.1
14810 | 2022-05-19 14:35 | 41.0021 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.7047 | μmol/L | 18.3462 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.667 | 115317.7607 | 265989.6814 | 36.4 | 83.1
14820 | 2022-05-19 14:35 | 41.3353 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.6136 | μmol/L | 18.3401 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.673 | 115346.0477 | 266007.6688 | 36.4 | 83.1
14830 | 2022-05-19 14:36 | 41.6688 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.4413 | μmol/L | 18.3401 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.68 | 115359.1168 | 265995.9005 | 36.4 | 83.1
14840 | 2022-05-19 14:36 | 42.0018 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.4413 | μmol/L | 18.3401 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.68 | 115379.8985 | 265987.6043 | 36.4 | 83.1
14850 | 2022-05-19 14:36 | 42.3352 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.3504 | μmol/L | 18.3339 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.686 | 115407.6479 | 265984.2491 | 36.4 | 83.1
14860 | 2022-05-19 14:37 | 42.6688 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.1366 | μmol/L | 18.3278 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.697 | 115450.4515 | 265984.9234 | 36.4 | 83.1
14870 | 2022-05-19 14:37 | 43.0022 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.0779 | μmol/L | 18.3156 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.704 | 115495.2105 | 265976.2928 | 36.4 | 83.1
14880 | 2022-05-19 14:37 | 43.335 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.8344 | μmol/L | 18.3339 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.707 | 115502.5346 | 265960.2549 | 36.4 | 83.1
14890 | 2022-05-19 14:38 | 43.6682 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.9988 | μmol/L | 18.3401 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.698 | 115467.1857 | 265963.8712 | 36.4 | 83.1
14900 | 2022-05-19 14:38 | 44.0015 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.112 | μmol/L | 18.3278 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.698 | 115459.5326 | 265954.9041 | 36.4 | 83.1
14910 | 2022-05-19 14:38 | 44.3352 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.6457 | μmol/L | 18.3278 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.717 | 115548.268 | 265952.8937 | 36.4 | 83.1
14920 | 2022-05-19 14:39 | 44.6688 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.6947 | μmol/L | 18.3278 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.715 | 115558.841 | 265962.2467 | 36.4 | 83.1
14930 | 2022-05-19 14:39 | 45.0014 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.5306 | μmol/L | 18.3217 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.724 | 115605.3625 | 265954.06 | 36.4 | 83.1
14940 | 2022-05-19 14:39 | 45.3351 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.5136 | μmol/L | 18.3156 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.727 | 115619.1889 | 265952.9881 | 36.4 | 83.1
14950 | 2022-05-19 14:40 | 45.6683 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.4156 | μmol/L | 18.3156 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.731 | 115631.9122 | 265948.9566 | 36.4 | 83.1
14960 | 2022-05-19 14:40 | 46.002 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.0579 | μmol/L | 18.3278 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.741 | 115683.2622 | 265938.2446 | 36.4 | 83.1
14970 | 2022-05-19 14:40 | 46.3356 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.789 | μmol/L | 18.3278 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.752 | 115726.9086 | 265926.1635 | 36.4 | 83.1
14980 | 2022-05-19 14:41 | 46.6682 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.8774 | μmol/L | 18.3156 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.753 | 115755.4618 | 265926.4758 | 36.4 | 83.1
14990 | 2022-05-19 14:41 | 47.0018 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.6988 | μmol/L | 18.3217 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.758 | 115772.4059 | 265927.1609 | 36.4 | 83.1
15000 | 2022-05-19 14:41 | 47.3348 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.8041 | μmol/L | 18.3156 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.756 | 115768.0322 | 265921.9645 | 36.4 | 83.1
15010 | 2022-05-19 14:42 | 47.6685 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.6913 | μmol/L | 18.3278 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.756 | 115770.5623 | 265922.175 | 36.4 | 83.1
15020 | 2022-05-19 14:42 | 48.0024 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.7139 | μmol/L | 18.3094 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.762 | 115801.2292 | 265921.9735 | 36.4 | 83.1
15030 | 2022-05-19 14:42 | 48.3351 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.5036 | μmol/L | 18.3217 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.766 | 115842.734 | 265906.7195 | 36.4 | 83.1
15040 | 2022-05-19 14:43 | 48.669 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.3967 | μmol/L | 18.3094 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.775 | 115854.2143 | 265904.5347 | 36.4 | 83.1
15050 | 2022-05-19 14:43 | 49.0016 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.2428 | μmol/L | 18.3156 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.779 | 115886.5672 | 265909.7253 | 36.4 | 83.1
15060 | 2022-05-19 14:43 | 49.3353 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.0555 | μmol/L | 18.3094 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.789 | 115926.5798 | 265924.0566 | 36.4 | 83.1
15070 | 2022-05-19 14:44 | 49.6689 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 288.9825 | μmol/L | 18.3094 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.792 | 115918.7252 | 265901.8668 | 36.4 | 83.1
15080 | 2022-05-19 14:44 | 50.0014 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.0236 | μmol/L | 18.3156 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.788 | 115897.667 | 265896.4961 | 36.4 | 83.1
15090 | 2022-05-19 14:44 | 50.3351 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.226 | μmol/L | 18.3094 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.782 | 115883.4763 | 265887.1158 | 36.4 | 83.1
15100 | 2022-05-19 14:45 | 50.669 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.1529 | μmol/L | 18.3094 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.785 | 115877.1288 | 265888.4292 | 36.4 | 83.1
15110 | 2022-05-19 14:45 | 51.002 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.1773 | μmol/L | 18.3094 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.784 | 115884.7852 | 265896.7602 | 36.4 | 83.1
15120 | 2022-05-19 14:45 | 51.3352 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 288.9019 | μmol/L | 18.3156 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.793 | 115917.817 | 265889.4418 | 36.4 | 83.1
15130 | 2022-05-19 14:46 | 51.6687 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 288.7559 | μmol/L | 18.3156 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.799 | 115957.6942 | 265895.2691 | 36.4 | 83.1
15140 | 2022-05-19 14:46 | 52.0014 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 288.4886 | μmol/L | 18.3156 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.81 | 116020.7119 | 265903.2841 | 36.4 | 83.1
15150 | 2022-05-19 14:46 | 52.3349 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 288.4961 | μmol/L | 18.3094 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.812 | 116040.7494 | 265889.8807 | 36.4 | 83.1
15160 | 2022-05-19 14:47 | 52.6682 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 288.229 | μmol/L | 18.3094 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.823 | 116069.2037 | 265881.335 | 36.4 | 83.1
15170 | 2022-05-19 14:47 | 53.0016 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 288.1077 | μmol/L | 18.3094 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.828 | 116098.7681 | 265892.7922 | 36.4 | 83.1
15180 | 2022-05-19 14:47 | 53.335 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 288.035 | μmol/L | 18.3094 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.831 | 116126.3651 | 265889.9112 | 36.4 | 83.1
15190 | 2022-05-19 14:48 | 53.6686 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 287.8896 | μmol/L | 18.3094 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.837 | 116151.8113 | 265885.7215 | 36.4 | 83.1