## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_2 | O2 | 178552617 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:48

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-19 16:30

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
15196 | 2022-05-19 15:15 | 0 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 272.7176 | μmol/L | 18.4381 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.625 | 86768.7877 | 293037.8738 | 30.45 | 38.1
15206 | 2022-05-19 15:15 | 0.33179 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 272.3143 | μmol/L | 18.4443 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.64 | 86822.8159 | 293055.8638 | 30.45 | 38.1
15216 | 2022-05-19 15:15 | 0.66497 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 272.1083 | μmol/L | 18.4381 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.651 | 86861.6846 | 293054.87 | 30.45 | 38.1
15226 | 2022-05-19 15:16 | 0.99801 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 271.9259 | μmol/L | 18.432 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.661 | 86898.779 | 293038.8374 | 30.45 | 38.1
15236 | 2022-05-19 15:16 | 1.3319 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 271.6641 | μmol/L | 18.4381 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.67 | 86934.6979 | 293026.0196 | 30.45 | 38.1
15246 | 2022-05-19 15:16 | 1.6651 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 271.482 | μmol/L | 18.432 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.68 | 86971.0697 | 293015.5046 | 30.45 | 38.1
15256 | 2022-05-19 15:17 | 1.9987 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 271.412 | μmol/L | 18.432 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.683 | 86986.7149 | 293025.074 | 30.45 | 38.1
15266 | 2022-05-19 15:17 | 2.3319 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 271.2954 | μmol/L | 18.432 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.688 | 87016.6724 | 293010.0939 | 30.45 | 38.1
15276 | 2022-05-19 15:17 | 2.665 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 271.1789 | μmol/L | 18.432 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.693 | 87035.985 | 292996.8617 | 30.45 | 38.1
15286 | 2022-05-19 15:18 | 2.9986 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.9645 | μmol/L | 18.4381 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.7 | 87064.9599 | 293000.0134 | 30.45 | 38.1
15296 | 2022-05-19 15:18 | 3.3314 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.9041 | μmol/L | 18.4259 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.707 | 87082.2245 | 293000.55 | 30.45 | 38.1
15306 | 2022-05-19 15:18 | 3.6647 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.7133 | μmol/L | 18.432 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.713 | 87104.6437 | 292991.4743 | 30.45 | 38.1
15316 | 2022-05-19 15:19 | 3.9981 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.5505 | μmol/L | 18.432 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.72 | 87123.2614 | 292984.5574 | 30.45 | 38.1
15326 | 2022-05-19 15:19 | 4.3313 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.4111 | μmol/L | 18.432 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.726 | 87139.5807 | 292972.0889 | 30.45 | 38.1
15336 | 2022-05-19 15:19 | 4.665 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.4576 | μmol/L | 18.432 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.724 | 87148.5149 | 292956.3852 | 30.45 | 38.1
15346 | 2022-05-19 15:20 | 4.9988 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.3647 | μmol/L | 18.432 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.728 | 87164.0491 | 292954.7882 | 30.45 | 38.1
15356 | 2022-05-19 15:20 | 5.3314 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.2718 | μmol/L | 18.432 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.732 | 87175.8067 | 292945.7522 | 30.45 | 38.1
15366 | 2022-05-19 15:20 | 5.6649 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.3278 | μmol/L | 18.4198 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.734 | 87177.5747 | 292957.9791 | 30.45 | 38.1
15376 | 2022-05-19 15:21 | 5.9984 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.1142 | μmol/L | 18.4259 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.741 | 87192.1285 | 292935.1641 | 30.45 | 38.1
15386 | 2022-05-19 15:21 | 6.3319 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.0958 | μmol/L | 18.4198 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.744 | 87206.9672 | 292946.7067 | 30.45 | 38.1
15396 | 2022-05-19 15:21 | 6.6651 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.0446 | μmol/L | 18.4259 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.744 | 87225.9558 | 292946.4735 | 30.45 | 38.1
15406 | 2022-05-19 15:22 | 6.9984 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.1421 | μmol/L | 18.4198 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.742 | 87229.923 | 292930.2826 | 30.45 | 38.1
15416 | 2022-05-19 15:22 | 7.3315 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.0726 | μmol/L | 18.4198 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.745 | 87244.3554 | 292945.5286 | 30.45 | 38.1
15426 | 2022-05-19 15:22 | 7.6651 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.864 | μmol/L | 18.4198 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.754 | 87244.2104 | 292922.523 | 30.45 | 38.1
15436 | 2022-05-19 15:23 | 7.9988 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.9103 | μmol/L | 18.4198 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.752 | 87254.2446 | 292920.7754 | 30.45 | 38.1
15446 | 2022-05-19 15:23 | 8.3314 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.8408 | μmol/L | 18.4198 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.755 | 87262.2164 | 292922.537 | 30.45 | 38.1
15456 | 2022-05-19 15:23 | 8.6648 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.753 | μmol/L | 18.4137 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.761 | 87267.7177 | 292904.4038 | 30.45 | 38.1
15466 | 2022-05-19 15:24 | 8.9984 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.7993 | μmol/L | 18.4137 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.759 | 87273.2788 | 292910.1448 | 30.45 | 38.1
15476 | 2022-05-19 15:24 | 9.3318 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.6835 | μmol/L | 18.4137 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.764 | 87274.3093 | 292893.5569 | 30.45 | 38.1
15486 | 2022-05-19 15:24 | 9.6653 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.6835 | μmol/L | 18.4137 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.764 | 87288.9313 | 292895.3885 | 30.45 | 38.1
15496 | 2022-05-19 15:25 | 9.9981 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.6883 | μmol/L | 18.4076 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.766 | 87294.342 | 292895.1427 | 30.45 | 38.1
15506 | 2022-05-19 15:25 | 10.3316 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.6189 | μmol/L | 18.4076 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.769 | 87300.0926 | 292875.0566 | 30.45 | 38.1
15516 | 2022-05-19 15:25 | 10.665 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.5958 | μmol/L | 18.4076 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.77 | 87311.9774 | 292881.8958 | 30.45 | 38.1
15526 | 2022-05-19 15:26 | 10.9985 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.6883 | μmol/L | 18.4076 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.766 | 87314.4745 | 292875.4695 | 30.45 | 38.1
15536 | 2022-05-19 15:26 | 11.332 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.457 | μmol/L | 18.4076 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.776 | 87310.215 | 292859.3326 | 30.45 | 38.1
15546 | 2022-05-19 15:26 | 11.6653 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.5032 | μmol/L | 18.4076 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.774 | 87322.624 | 292853.9946 | 30.45 | 38.1
15556 | 2022-05-19 15:27 | 11.9987 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.4849 | μmol/L | 18.4015 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.777 | 87325.2561 | 292852.5415 | 30.45 | 38.1
15566 | 2022-05-19 15:27 | 12.3322 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.2904 | μmol/L | 18.4137 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.781 | 87333.3457 | 292851.4719 | 30.45 | 38.1
15576 | 2022-05-19 15:27 | 12.6655 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.4155 | μmol/L | 18.4015 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.78 | 87336.5821 | 292868.9664 | 30.45 | 38.1
15586 | 2022-05-19 15:28 | 12.9981 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.3462 | μmol/L | 18.4015 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.783 | 87336.2302 | 292855.9836 | 30.45 | 38.1
15596 | 2022-05-19 15:28 | 13.3317 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.2952 | μmol/L | 18.4076 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.783 | 87342.9826 | 292846.6223 | 30.45 | 38.1
15606 | 2022-05-19 15:28 | 13.6652 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.3973 | μmol/L | 18.3954 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.783 | 87351.6318 | 292836.2518 | 30.45 | 38.1
15616 | 2022-05-19 15:29 | 13.9987 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.3462 | μmol/L | 18.4015 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.783 | 87354.8778 | 292845.7442 | 30.45 | 38.1
15626 | 2022-05-19 15:29 | 14.3321 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.3048 | μmol/L | 18.3954 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.787 | 87359.3814 | 292845.6687 | 30.45 | 38.1
15636 | 2022-05-19 15:29 | 14.6654 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.2817 | μmol/L | 18.3954 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.788 | 87362.8938 | 292842.7916 | 30.45 | 38.1
15646 | 2022-05-19 15:30 | 14.9988 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.1845 | μmol/L | 18.4015 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.79 | 87372.6673 | 292829.4536 | 30.45 | 38.1
15656 | 2022-05-19 15:30 | 15.3321 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.2586 | μmol/L | 18.3954 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.789 | 87371.6816 | 292822.7141 | 30.45 | 38.1
15666 | 2022-05-19 15:30 | 15.6649 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.3607 | μmol/L | 18.3832 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.789 | 87381.3115 | 292832.3807 | 30.45 | 38.1
15676 | 2022-05-19 15:31 | 15.9983 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.2124 | μmol/L | 18.3954 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.791 | 87374.9319 | 292828.5332 | 30.45 | 38.1
15686 | 2022-05-19 15:31 | 16.3318 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.1152 | μmol/L | 18.4015 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.793 | 87383.7228 | 292833.5815 | 30.45 | 38.1
15696 | 2022-05-19 15:31 | 16.6651 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.0787 | μmol/L | 18.3893 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.799 | 87385.7168 | 292828.7468 | 30.45 | 38.1
15706 | 2022-05-19 15:32 | 16.998 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.0739 | μmol/L | 18.3954 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.797 | 87381.5925 | 292805.1504 | 30.45 | 38.1
15716 | 2022-05-19 15:32 | 17.3315 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.2221 | μmol/L | 18.3832 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.795 | 87390.0011 | 292792.6971 | 30.45 | 38.1
15726 | 2022-05-19 15:32 | 17.6649 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.148 | μmol/L | 18.3893 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.796 | 87396.5629 | 292798.1657 | 30.45 | 38.1
15736 | 2022-05-19 15:33 | 17.9981 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.1577 | μmol/L | 18.3771 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.8 | 87388.7147 | 292800.7466 | 30.45 | 38.1
15746 | 2022-05-19 15:33 | 18.3316 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.1528 | μmol/L | 18.3832 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.798 | 87395.5365 | 292801.4448 | 30.45 | 38.1
15756 | 2022-05-19 15:33 | 18.665 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.0277 | μmol/L | 18.3954 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.799 | 87401.1174 | 292796.9411 | 30.45 | 38.1
15766 | 2022-05-19 15:34 | 18.9986 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.0787 | μmol/L | 18.3893 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.799 | 87401.7365 | 292788.7791 | 30.45 | 38.1
15776 | 2022-05-19 15:34 | 19.3321 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.0374 | μmol/L | 18.3832 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.803 | 87404.1986 | 292787.5942 | 30.45 | 38.1
15786 | 2022-05-19 15:34 | 19.665 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.0884 | μmol/L | 18.3771 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.803 | 87403.076 | 292783.3319 | 30.45 | 38.1
15796 | 2022-05-19 15:35 | 19.9984 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.0884 | μmol/L | 18.3771 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.803 | 87403.8828 | 292769.1154 | 30.45 | 38.1
15806 | 2022-05-19 15:35 | 20.3318 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.0374 | μmol/L | 18.3832 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.803 | 87405.2506 | 292780.7936 | 30.45 | 38.1
15816 | 2022-05-19 15:35 | 20.6652 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.0423 | μmol/L | 18.3771 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.805 | 87405.3927 | 292766.8614 | 30.45 | 38.1
15826 | 2022-05-19 15:36 | 20.9986 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.0192 | μmol/L | 18.3771 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.806 | 87407.5074 | 292762.1003 | 30.45 | 38.1
15836 | 2022-05-19 15:36 | 21.332 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.9913 | μmol/L | 18.3832 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.805 | 87412.2599 | 292760.8505 | 30.45 | 38.1
15846 | 2022-05-19 15:36 | 21.6654 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.1394 | μmol/L | 18.371 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.803 | 87409.998 | 292756.4325 | 30.45 | 38.1
15856 | 2022-05-19 15:37 | 21.9981 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.973 | μmol/L | 18.3771 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.808 | 87412.5348 | 292751.0126 | 30.45 | 38.1
15866 | 2022-05-19 15:37 | 22.3315 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.95 | μmol/L | 18.3771 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.809 | 87409.1257 | 292745.2428 | 30.45 | 38.1
15876 | 2022-05-19 15:37 | 22.6651 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.0471 | μmol/L | 18.371 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.807 | 87403.8685 | 292729.9579 | 30.45 | 38.1
15886 | 2022-05-19 15:38 | 22.9983 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.973 | μmol/L | 18.3771 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.808 | 87408.5035 | 292724.4963 | 30.45 | 38.1
15896 | 2022-05-19 15:38 | 23.3317 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.9779 | μmol/L | 18.371 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.81 | 87409.5187 | 292721.2887 | 30.45 | 38.1
15906 | 2022-05-19 15:38 | 23.6652 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.0058 | μmol/L | 18.3649 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.811 | 87404.0114 | 292728.279 | 30.45 | 38.1
15916 | 2022-05-19 15:39 | 23.9985 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.8626 | μmol/L | 18.371 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.815 | 87399.1872 | 292713.6085 | 30.45 | 38.1
15926 | 2022-05-19 15:39 | 24.3321 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.9269 | μmol/L | 18.3771 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.81 | 87408.3086 | 292720.8765 | 30.45 | 38.1
15936 | 2022-05-19 15:39 | 24.6649 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.9087 | μmol/L | 18.371 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.813 | 87404.8682 | 292715.5918 | 30.45 | 38.1
15946 | 2022-05-19 15:40 | 24.9984 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.8808 | μmol/L | 18.3771 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.812 | 87407.0204 | 292719.8269 | 30.45 | 38.1
15956 | 2022-05-19 15:40 | 25.3317 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.8808 | μmol/L | 18.3771 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.812 | 87405.3812 | 292711.3085 | 30.45 | 38.1
15966 | 2022-05-19 15:40 | 25.6651 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.8626 | μmol/L | 18.371 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.815 | 87405.2266 | 292702.1623 | 30.45 | 38.1
15976 | 2022-05-19 15:41 | 25.9985 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.9828 | μmol/L | 18.3649 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.812 | 87399.5836 | 292702.3846 | 30.45 | 38.1
15986 | 2022-05-19 15:41 | 26.3321 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.8905 | μmol/L | 18.3649 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.816 | 87404.0014 | 292703.8374 | 30.45 | 38.1
15996 | 2022-05-19 15:41 | 26.6655 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.8626 | μmol/L | 18.371 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.815 | 87403.8384 | 292694.3189 | 30.45 | 38.1
16006 | 2022-05-19 15:42 | 26.9981 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.9646 | μmol/L | 18.3588 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.815 | 87411.5969 | 292688.7535 | 30.45 | 38.1
16016 | 2022-05-19 15:42 | 27.3316 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.8905 | μmol/L | 18.3649 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.816 | 87403.6604 | 292687.4384 | 30.45 | 38.1
16026 | 2022-05-19 15:42 | 27.665 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.8954 | μmol/L | 18.3588 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.818 | 87404.5888 | 292676.1776 | 30.45 | 38.1
16036 | 2022-05-19 15:43 | 27.9983 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.7983 | μmol/L | 18.3649 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.82 | 87405.049 | 292689.0787 | 30.45 | 38.1
16046 | 2022-05-19 15:43 | 28.3318 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.8954 | μmol/L | 18.3588 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.818 | 87406.6934 | 292687.3473 | 30.45 | 38.1
16056 | 2022-05-19 15:43 | 28.6652 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.7983 | μmol/L | 18.3649 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.82 | 87410.0067 | 292689.5453 | 30.45 | 38.1
16066 | 2022-05-19 15:44 | 28.9986 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.6189 | μmol/L | 18.3588 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.83 | 87409.9865 | 292679.0511 | 30.45 | 38.1
16076 | 2022-05-19 15:44 | 29.3319 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.7801 | μmol/L | 18.3588 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.823 | 87408.8007 | 292674.0457 | 30.45 | 38.1
16086 | 2022-05-19 15:44 | 29.6654 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.8262 | μmol/L | 18.3588 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.821 | 87409.2615 | 292689.6749 | 30.45 | 38.1
16096 | 2022-05-19 15:45 | 29.9983 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.8262 | μmol/L | 18.3588 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.821 | 87417.0711 | 292680.1696 | 30.45 | 38.1
16106 | 2022-05-19 15:45 | 30.3317 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.7571 | μmol/L | 18.3588 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.824 | 87418.703 | 292694.7832 | 30.45 | 38.1
16116 | 2022-05-19 15:45 | 30.6651 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.6649 | μmol/L | 18.3588 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.828 | 87412.4354 | 292681.3712 | 30.45 | 38.1
16126 | 2022-05-19 15:46 | 30.9984 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.614 | μmol/L | 18.3649 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.828 | 87418.5841 | 292679.8362 | 30.45 | 38.1
16136 | 2022-05-19 15:46 | 31.3319 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.614 | μmol/L | 18.3649 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.828 | 87422.7251 | 292675.7539 | 30.45 | 38.1
16146 | 2022-05-19 15:46 | 31.6654 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.688 | μmol/L | 18.3588 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.827 | 87422.4188 | 292680.2042 | 30.45 | 38.1
16156 | 2022-05-19 15:47 | 31.9988 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.711 | μmol/L | 18.3588 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.826 | 87424.5796 | 292674.5816 | 30.45 | 38.1
16166 | 2022-05-19 15:47 | 32.3314 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.734 | μmol/L | 18.3588 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.825 | 87423.2429 | 292672.2933 | 30.45 | 38.1
16176 | 2022-05-19 15:47 | 32.6647 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.6698 | μmol/L | 18.3527 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.83 | 87424.6166 | 292672.6081 | 30.45 | 38.1
16186 | 2022-05-19 15:48 | 32.9982 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.711 | μmol/L | 18.3588 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.826 | 87426.6818 | 292673.747 | 30.45 | 38.1
16196 | 2022-05-19 15:48 | 33.3318 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.6929 | μmol/L | 18.3527 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.829 | 87427.1157 | 292681.7578 | 30.45 | 38.1
16206 | 2022-05-19 15:48 | 33.665 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.6419 | μmol/L | 18.3588 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.829 | 87440.2507 | 292680.0463 | 30.45 | 38.1
16216 | 2022-05-19 15:49 | 33.9983 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.6698 | μmol/L | 18.3527 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.83 | 87437.2861 | 292676.1489 | 30.45 | 38.1
16226 | 2022-05-19 15:49 | 34.3319 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.6698 | μmol/L | 18.3527 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.83 | 87443.1533 | 292672.082 | 30.45 | 38.1
16236 | 2022-05-19 15:49 | 34.6651 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.6007 | μmol/L | 18.3527 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.833 | 87437.3975 | 292678.7527 | 30.45 | 38.1
16246 | 2022-05-19 15:50 | 34.9985 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.6238 | μmol/L | 18.3527 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.832 | 87441.9607 | 292676.5517 | 30.45 | 38.1
16256 | 2022-05-19 15:50 | 35.3317 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.6468 | μmol/L | 18.3527 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.831 | 87446.323 | 292686.752 | 30.45 | 38.1
16266 | 2022-05-19 15:50 | 35.6652 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.5268 | μmol/L | 18.3588 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.834 | 87447.2209 | 292679.4898 | 30.45 | 38.1
16276 | 2022-05-19 15:51 | 35.9986 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.6468 | μmol/L | 18.3527 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.831 | 87457.5612 | 292687.9247 | 30.45 | 38.1
16286 | 2022-05-19 15:51 | 36.3318 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.6007 | μmol/L | 18.3527 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.833 | 87447.842 | 292688.6826 | 30.45 | 38.1
16296 | 2022-05-19 15:51 | 36.6652 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.5826 | μmol/L | 18.3466 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.836 | 87453.4136 | 292690.0988 | 30.45 | 38.1
16306 | 2022-05-19 15:52 | 36.998 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.5135 | μmol/L | 18.3466 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.839 | 87462.5651 | 292702.5027 | 30.45 | 38.1
16316 | 2022-05-19 15:52 | 37.3315 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.6286 | μmol/L | 18.3466 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.834 | 87455.9895 | 292686.9206 | 30.45 | 38.1
16326 | 2022-05-19 15:52 | 37.6648 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.5826 | μmol/L | 18.3466 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.836 | 87459.0927 | 292686.7377 | 30.45 | 38.1
16336 | 2022-05-19 15:53 | 37.9982 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.5875 | μmol/L | 18.3405 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.838 | 87463.9755 | 292696.5476 | 30.45 | 38.1
16346 | 2022-05-19 15:53 | 38.3318 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.4954 | μmol/L | 18.3405 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.842 | 87466.0683 | 292689.5489 | 30.45 | 38.1
16356 | 2022-05-19 15:53 | 38.6652 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.4675 | μmol/L | 18.3466 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.841 | 87477.2431 | 292700.8441 | 30.45 | 38.1
16366 | 2022-05-19 15:54 | 38.9981 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.5826 | μmol/L | 18.3466 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.836 | 87472.1868 | 292680.496 | 30.45 | 38.1
16376 | 2022-05-19 15:54 | 39.3315 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.4905 | μmol/L | 18.3466 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.84 | 87475.7793 | 292690.6562 | 30.45 | 38.1
16386 | 2022-05-19 15:54 | 39.665 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.4905 | μmol/L | 18.3466 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.84 | 87482.8899 | 292693.6178 | 30.45 | 38.1
16396 | 2022-05-19 15:55 | 39.9983 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.3985 | μmol/L | 18.3466 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.844 | 87486.669 | 292686.5915 | 30.45 | 38.1
16406 | 2022-05-19 15:55 | 40.3318 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.3706 | μmol/L | 18.3527 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.843 | 87488.368 | 292697.9192 | 30.45 | 38.1
16416 | 2022-05-19 15:55 | 40.665 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.4954 | μmol/L | 18.3405 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.842 | 87491.7124 | 292694.0241 | 30.45 | 38.1
16426 | 2022-05-19 15:56 | 40.9986 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.4724 | μmol/L | 18.3405 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.843 | 87491.4923 | 292693.3735 | 30.45 | 38.1
16436 | 2022-05-19 15:56 | 41.3314 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.4828 | μmol/L | 18.3343 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.845 | 87490.7173 | 292702.1329 | 30.45 | 38.1
16446 | 2022-05-19 15:56 | 41.6648 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.3399 | μmol/L | 18.3405 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.849 | 87488.8455 | 292687.0427 | 30.45 | 38.1
16456 | 2022-05-19 15:57 | 41.9982 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.3755 | μmol/L | 18.3466 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.845 | 87492.3794 | 292687.1938 | 30.45 | 38.1
16466 | 2022-05-19 15:57 | 42.3317 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.2835 | μmol/L | 18.3466 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.849 | 87495.7745 | 292688.6568 | 30.45 | 38.1
16476 | 2022-05-19 15:57 | 42.6652 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.3169 | μmol/L | 18.3405 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.85 | 87498.9579 | 292693.6783 | 30.45 | 38.1
16486 | 2022-05-19 15:58 | 42.9985 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.3065 | μmol/L | 18.3466 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.848 | 87501.8557 | 292701.2324 | 30.45 | 38.1
16496 | 2022-05-19 15:58 | 43.3319 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.2835 | μmol/L | 18.3466 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.849 | 87506.7191 | 292704.4475 | 30.45 | 38.1
16506 | 2022-05-19 15:58 | 43.6653 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.4083 | μmol/L | 18.3343 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.848 | 87512.7532 | 292713.1594 | 30.45 | 38.1
16516 | 2022-05-19 15:59 | 43.9988 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.2605 | μmol/L | 18.3466 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.85 | 87517.4993 | 292698.5255 | 30.45 | 38.1
16526 | 2022-05-19 15:59 | 44.3315 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.3344 | μmol/L | 18.3405 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.849 | 87523.5206 | 292707.6031 | 30.45 | 38.1
16536 | 2022-05-19 15:59 | 44.6649 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.1735 | μmol/L | 18.3405 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.856 | 87523.9545 | 292703.1365 | 30.45 | 38.1
16546 | 2022-05-19 16:00 | 44.9983 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.2195 | μmol/L | 18.3405 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.854 | 87526.7481 | 292693.5465 | 30.45 | 38.1
16556 | 2022-05-19 16:00 | 45.3318 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.3114 | μmol/L | 18.3405 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.85 | 87535.5942 | 292696.8166 | 30.45 | 38.1
16566 | 2022-05-19 16:00 | 45.6651 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.4313 | μmol/L | 18.3343 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.847 | 87537.3842 | 292700.4318 | 30.45 | 38.1
16576 | 2022-05-19 16:01 | 45.9986 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.1276 | μmol/L | 18.3405 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.858 | 87536.3975 | 292702.7559 | 30.45 | 38.1
16586 | 2022-05-19 16:01 | 46.3313 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.1046 | μmol/L | 18.3405 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.859 | 87547.9707 | 292707.2232 | 30.45 | 38.1
16596 | 2022-05-19 16:01 | 46.6648 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.0816 | μmol/L | 18.3405 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.86 | 87553.4468 | 292717.6942 | 30.45 | 38.1
16606 | 2022-05-19 16:02 | 46.9983 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.1735 | μmol/L | 18.3405 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.856 | 87545.3173 | 292704.7418 | 30.45 | 38.1
16616 | 2022-05-19 16:02 | 47.3316 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.2244 | μmol/L | 18.3343 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.856 | 87557.3885 | 292695.8145 | 30.45 | 38.1
16626 | 2022-05-19 16:02 | 47.6651 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.2244 | μmol/L | 18.3343 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.856 | 87558.5744 | 292697.6272 | 30.45 | 38.1
16636 | 2022-05-19 16:03 | 47.9987 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.1374 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.862 | 87555.1508 | 292696.6311 | 30.45 | 38.1
16646 | 2022-05-19 16:03 | 48.3314 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.1144 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.863 | 87559.8928 | 292688.8924 | 30.45 | 38.1
16656 | 2022-05-19 16:03 | 48.6648 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.1374 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.862 | 87563.9742 | 292702.7107 | 30.45 | 38.1
16666 | 2022-05-19 16:04 | 48.9983 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.0127 | μmol/L | 18.3405 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.863 | 87571.8315 | 292692.4337 | 30.45 | 38.1
16676 | 2022-05-19 16:04 | 49.3315 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.0636 | μmol/L | 18.3343 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.863 | 87574.8344 | 292685.7029 | 30.45 | 38.1
16686 | 2022-05-19 16:04 | 49.6652 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.1144 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.863 | 87573.7082 | 292687.2592 | 30.45 | 38.1
16696 | 2022-05-19 16:05 | 49.9987 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.0176 | μmol/L | 18.3343 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.865 | 87575.233 | 292690.3532 | 30.45 | 38.1
16706 | 2022-05-19 16:05 | 50.3321 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.0226 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.867 | 87588.0867 | 292669.791 | 30.45 | 38.1
16716 | 2022-05-19 16:05 | 50.6655 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.0226 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.867 | 87587.279 | 292678.8434 | 30.45 | 38.1
16726 | 2022-05-19 16:06 | 50.9982 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.9307 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.871 | 87593.6389 | 292694.3684 | 30.45 | 38.1
16736 | 2022-05-19 16:06 | 51.3316 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.9258 | μmol/L | 18.3343 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.869 | 87594.8013 | 292686.5266 | 30.45 | 38.1
16746 | 2022-05-19 16:06 | 51.6654 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.0685 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.865 | 87601.0567 | 292675.2565 | 30.45 | 38.1
16756 | 2022-05-19 16:07 | 51.9987 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.9029 | μmol/L | 18.3343 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.87 | 87601.1342 | 292681.18 | 30.45 | 38.1
16766 | 2022-05-19 16:07 | 52.3314 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.9488 | μmol/L | 18.3343 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.868 | 87605.3305 | 292669.3084 | 30.45 | 38.1
16776 | 2022-05-19 16:07 | 52.6648 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.9307 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.871 | 87608.6145 | 292678.5952 | 30.45 | 38.1
16786 | 2022-05-19 16:08 | 52.998 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.9029 | μmol/L | 18.3343 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.87 | 87614.0536 | 292693.3818 | 30.45 | 38.1
16796 | 2022-05-19 16:08 | 53.3317 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.7194 | μmol/L | 18.3343 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.878 | 87612.4035 | 292669.017 | 30.45 | 38.1
16806 | 2022-05-19 16:08 | 53.6653 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.839 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.875 | 87614.7293 | 292681.2645 | 30.45 | 38.1
16816 | 2022-05-19 16:09 | 53.998 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.816 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.876 | 87618.5066 | 292686.0178 | 30.45 | 38.1
16826 | 2022-05-19 16:09 | 54.3317 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.9127 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.874 | 87624.6774 | 292678.7152 | 30.45 | 38.1
16836 | 2022-05-19 16:09 | 54.665 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.7882 | μmol/L | 18.3343 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.875 | 87620.0253 | 292675.896 | 30.45 | 38.1
16846 | 2022-05-19 16:10 | 54.9985 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.6457 | μmol/L | 18.3405 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.879 | 87626.6292 | 292681.4723 | 30.45 | 38.1
16856 | 2022-05-19 16:10 | 55.332 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.7243 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.88 | 87624.1512 | 292681.7711 | 30.45 | 38.1
16866 | 2022-05-19 16:10 | 55.6652 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.8439 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.877 | 87632.0251 | 292673.7855 | 30.45 | 38.1
16876 | 2022-05-19 16:11 | 55.9987 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.7472 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.879 | 87632.5855 | 292674.9914 | 30.45 | 38.1
16886 | 2022-05-19 16:11 | 56.332 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.7701 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.878 | 87635.9592 | 292661.0206 | 30.45 | 38.1
16896 | 2022-05-19 16:11 | 56.6655 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.6326 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.884 | 87636.4523 | 292663.5621 | 30.45 | 38.1
16906 | 2022-05-19 16:12 | 56.9981 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.6784 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.882 | 87648.3736 | 292657.0347 | 30.45 | 38.1
16916 | 2022-05-19 16:12 | 57.3315 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.7292 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.882 | 87648.8788 | 292658.3774 | 30.45 | 38.1
16926 | 2022-05-19 16:12 | 57.6649 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.6146 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.887 | 87654.1739 | 292652.3425 | 30.45 | 38.1
16936 | 2022-05-19 16:13 | 57.9982 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.6784 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.882 | 87655.149 | 292649.1854 | 30.45 | 38.1
16946 | 2022-05-19 16:13 | 58.3318 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.5868 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.886 | 87666.8229 | 292651.7661 | 30.45 | 38.1
16956 | 2022-05-19 16:13 | 58.6653 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.4493 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.892 | 87669.912 | 292664.2305 | 30.45 | 38.1
16966 | 2022-05-19 16:14 | 58.9984 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.5409 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.888 | 87667.0733 | 292653.0317 | 30.45 | 38.1
16976 | 2022-05-19 16:14 | 59.3318 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.5737 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.891 | 87673.87 | 292657.2136 | 30.45 | 38.1
16986 | 2022-05-19 16:14 | 59.6653 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.5688 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.889 | 87673.113 | 292647.0977 | 30.45 | 38.1
16996 | 2022-05-19 16:15 | 59.9988 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.4035 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.894 | 87679.2711 | 292663.6374 | 30.45 | 38.1
17006 | 2022-05-19 16:15 | 60.3321 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.4084 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.896 | 87686.5928 | 292656.7428 | 30.45 | 38.1
17016 | 2022-05-19 16:15 | 60.6655 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.4035 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.894 | 87688.5272 | 292654.3088 | 30.45 | 38.1
17026 | 2022-05-19 16:16 | 60.9981 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.3806 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.895 | 87692.8976 | 292649.2988 | 30.45 | 38.1
17036 | 2022-05-19 16:16 | 61.3315 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.4084 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.896 | 87686.0834 | 292643.258 | 30.45 | 38.1
17046 | 2022-05-19 16:16 | 61.6649 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.3169 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.9 | 87703.3602 | 292652.3571 | 30.45 | 38.1
17056 | 2022-05-19 16:17 | 61.9983 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.3398 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.899 | 87706.5555 | 292643.1854 | 30.45 | 38.1
17066 | 2022-05-19 16:17 | 62.3319 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.3398 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.899 | 87711.8115 | 292634.0607 | 30.45 | 38.1
17076 | 2022-05-19 16:17 | 62.6651 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.294 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.901 | 87711.87 | 292649.5398 | 30.45 | 38.1
17086 | 2022-05-19 16:18 | 62.9986 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.0832 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.908 | 87714.5583 | 292638.396 | 30.45 | 38.1
17096 | 2022-05-19 16:18 | 63.3318 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.2025 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.905 | 87724.2764 | 292635.4458 | 30.45 | 38.1
17106 | 2022-05-19 16:18 | 63.6647 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.1518 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.905 | 87729.0791 | 292624.8182 | 30.45 | 38.1
17116 | 2022-05-19 16:19 | 63.9987 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.111 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.909 | 87736.4447 | 292649.0727 | 30.45 | 38.1
17126 | 2022-05-19 16:19 | 64.3315 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.1339 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.908 | 87743.6754 | 292629.2748 | 30.45 | 38.1
17136 | 2022-05-19 16:19 | 64.6647 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.9794 | μmol/L | 18.3221 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.915 | 87738.3089 | 292624.7382 | 30.45 | 38.1
17146 | 2022-05-19 16:20 | 64.9983 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.0702 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.913 | 87746.8667 | 292640.2677 | 30.45 | 38.1
17156 | 2022-05-19 16:20 | 65.3318 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.0653 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.911 | 87754.934 | 292635.9218 | 30.45 | 38.1
17166 | 2022-05-19 16:20 | 65.6652 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.0653 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.911 | 87753.5666 | 292623.892 | 30.45 | 38.1
17176 | 2022-05-19 16:21 | 65.9987 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.0931 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.912 | 87768.3486 | 292622.9275 | 30.45 | 38.1
17186 | 2022-05-19 16:21 | 66.3313 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.0196 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.913 | 87766.6612 | 292626.5491 | 30.45 | 38.1
17196 | 2022-05-19 16:21 | 66.6655 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.8547 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.918 | 87773.0142 | 292630.1071 | 30.45 | 38.1
17206 | 2022-05-19 16:22 | 66.9982 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.9282 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.917 | 87773.9815 | 292625.6322 | 30.45 | 38.1
17216 | 2022-05-19 16:22 | 67.3315 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.7961 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.925 | 87779.2621 | 292632.5546 | 30.45 | 38.1
17226 | 2022-05-19 16:22 | 67.6651 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.956 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.918 | 87784.1588 | 292615.2667 | 30.45 | 38.1
17236 | 2022-05-19 16:23 | 67.9983 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.8646 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.922 | 87786.4215 | 292617.408 | 30.45 | 38.1
17246 | 2022-05-19 16:23 | 68.3316 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.951 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.916 | 87791.6476 | 292606.307 | 30.45 | 38.1
17256 | 2022-05-19 16:23 | 68.6652 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.8418 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.923 | 87798.4423 | 292611.0603 | 30.45 | 38.1
17266 | 2022-05-19 16:24 | 68.9987 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.814 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.922 | 87803.5869 | 292631.4662 | 30.45 | 38.1
17276 | 2022-05-19 16:24 | 69.3321 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.956 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.918 | 87799.7439 | 292615.9177 | 30.45 | 38.1
17286 | 2022-05-19 16:24 | 69.6648 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.8368 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.921 | 87807.4876 | 292613.2756 | 30.45 | 38.1
17296 | 2022-05-19 16:25 | 69.9983 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.7733 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.926 | 87803.9503 | 292612.3784 | 30.45 | 38.1
17306 | 2022-05-19 16:25 | 70.3317 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.8696 | μmol/L | 18.3099 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.924 | 87813.0784 | 292608.6315 | 30.45 | 38.1
17316 | 2022-05-19 16:25 | 70.6651 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.7504 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.927 | 87804.7191 | 292609.0978 | 30.45 | 38.1
17326 | 2022-05-19 16:26 | 70.9986 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.677 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.928 | 87808.9043 | 292605.4708 | 30.45 | 38.1
17336 | 2022-05-19 16:26 | 71.3322 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.7559 | μmol/L | 18.316 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.927 | 87810.5953 | 292598.1746 | 30.45 | 38.1
17346 | 2022-05-19 16:26 | 71.6649 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.7227 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.926 | 87809.0182 | 292597.5037 | 30.45 | 38.1
17356 | 2022-05-19 16:27 | 71.9985 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.7276 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.928 | 87818.7846 | 292609.9949 | 30.45 | 38.1
17366 | 2022-05-19 16:27 | 72.332 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.7276 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.928 | 87813.8646 | 292611.5899 | 30.45 | 38.1
17376 | 2022-05-19 16:27 | 72.6654 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.9232 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.915 | 87940.6319 | 292607.5564 | 30.45 | 38.1
17386 | 2022-05-19 16:28 | 72.9981 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.0702 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.913 | 87939.6814 | 292599.4004 | 30.45 | 38.1
17396 | 2022-05-19 16:28 | 73.3318 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.9331 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.919 | 87943.2933 | 292602.6889 | 30.45 | 38.1
17402 | 2022-05-19 16:28 | 73.665 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.7634 | μmol/L | 18.3282 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.922 | 87950.3617 | 292598.6316 | 30.45 | 38.1