## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_4 | O2 | 32092713 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:51

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-19 15:01

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
13581 | 2022-05-19 13:54 | 0 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.8294 | μmol/L | 18.6458 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.293 | 39517.7051 | 292461.9777 | 28.7 | 67.6
13591 | 2022-05-19 13:54 | 0.33843 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.9347 | μmol/L | 18.6336 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.293 | 39532.5168 | 292476.1337 | 28.7 | 67.6
13601 | 2022-05-19 13:55 | 0.67167 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.5673 | μmol/L | 18.6397 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.306 | 39530.9722 | 292449.0479 | 28.7 | 67.6
13611 | 2022-05-19 13:55 | 1.0051 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.5915 | μmol/L | 18.6397 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.305 | 39541.0523 | 292461.8674 | 28.7 | 67.6
13621 | 2022-05-19 13:55 | 1.3384 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.2005 | μmol/L | 18.6458 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.319 | 39548.8544 | 292448.5912 | 28.7 | 67.6
13631 | 2022-05-19 13:56 | 1.6715 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.2813 | μmol/L | 18.6336 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.32 | 39546.9815 | 292454.1853 | 28.7 | 67.6
13641 | 2022-05-19 13:56 | 2.0047 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.253 | μmol/L | 18.6397 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.319 | 39553.9435 | 292437.9269 | 28.7 | 67.6
13651 | 2022-05-19 13:56 | 2.338 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.2813 | μmol/L | 18.6336 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.32 | 39559.3098 | 292431.6778 | 28.7 | 67.6
13661 | 2022-05-19 13:57 | 2.6713 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.064 | μmol/L | 18.6336 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.329 | 39566.0046 | 292428.122 | 28.7 | 67.6
13671 | 2022-05-19 13:57 | 3.0053 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.9674 | μmol/L | 18.6336 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.333 | 39565.6458 | 292436.2082 | 28.7 | 67.6
13681 | 2022-05-19 13:57 | 3.3379 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.9475 | μmol/L | 18.6276 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.336 | 39565.8041 | 292413.9474 | 28.7 | 67.6
13691 | 2022-05-19 13:58 | 3.672 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.8312 | μmol/L | 18.6215 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.343 | 39576.4769 | 292401.4546 | 28.7 | 67.6
13701 | 2022-05-19 13:58 | 4.0053 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.7149 | μmol/L | 18.6154 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.35 | 39586.9381 | 292398.8648 | 28.7 | 67.6
13711 | 2022-05-19 13:58 | 4.3381 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.6908 | μmol/L | 18.6154 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.351 | 39586.6431 | 292381.858 | 28.7 | 67.6
13721 | 2022-05-19 13:59 | 4.6714 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.8042 | μmol/L | 18.5911 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.355 | 39583.7719 | 292374.125 | 28.7 | 67.6
13731 | 2022-05-19 13:59 | 5.0046 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.5477 | μmol/L | 18.5789 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.37 | 39608.8945 | 292375.9208 | 28.7 | 67.6
13741 | 2022-05-19 13:59 | 5.338 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.1714 | μmol/L | 18.5667 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.39 | 39661.7374 | 292364.598 | 28.7 | 67.6
13751 | 2022-05-19 14:00 | 5.6712 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.7392 | μmol/L | 18.5667 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.408 | 39697.3435 | 292349.6373 | 28.7 | 67.6
13761 | 2022-05-19 14:00 | 6.0052 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.4952 | μmol/L | 18.5728 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.416 | 39719.6958 | 292333.4206 | 28.7 | 67.6
13771 | 2022-05-19 14:00 | 6.3385 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.2753 | μmol/L | 18.5789 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.423 | 39713.0751 | 292346.8111 | 28.7 | 67.6
13781 | 2022-05-19 14:01 | 6.6718 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.3232 | μmol/L | 18.5789 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.421 | 39725.4185 | 292329.1361 | 28.7 | 67.6
13791 | 2022-05-19 14:01 | 7.0048 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.3711 | μmol/L | 18.5789 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.419 | 39728.6992 | 292316.165 | 28.7 | 67.6
13801 | 2022-05-19 14:01 | 7.3379 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 276.9882 | μmol/L | 18.5789 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.435 | 39744.4667 | 292314.2634 | 28.7 | 67.6
13811 | 2022-05-19 14:02 | 7.6712 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 276.8969 | μmol/L | 18.5728 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.441 | 39752.1198 | 292275.6318 | 28.7 | 67.6
13821 | 2022-05-19 14:02 | 8.0046 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 276.8773 | μmol/L | 18.5667 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.444 | 39766.5481 | 292276.1167 | 28.7 | 67.6
13831 | 2022-05-19 14:02 | 8.3387 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 276.5951 | μmol/L | 18.5607 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.458 | 39775.3275 | 292281.067 | 28.7 | 67.6
13841 | 2022-05-19 14:03 | 8.6719 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 276.2656 | μmol/L | 18.5546 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.474 | 39793.3711 | 292265.134 | 28.7 | 67.6
13851 | 2022-05-19 14:03 | 9.0051 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 276.008 | μmol/L | 18.5485 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.487 | 39831.2844 | 292262.9966 | 28.7 | 67.6
13861 | 2022-05-19 14:03 | 9.3383 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 276.0838 | μmol/L | 18.5424 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.486 | 39852.119 | 292253.9497 | 28.7 | 67.6
13871 | 2022-05-19 14:04 | 9.6715 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 276.3855 | μmol/L | 18.4877 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.493 | 39842.2481 | 292233.806 | 28.7 | 67.6
13881 | 2022-05-19 14:04 | 10.0049 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 276.9326 | μmol/L | 18.4573 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.481 | 39833.2938 | 292234.8115 | 28.7 | 67.6
13891 | 2022-05-19 14:04 | 10.3382 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 276.6268 | μmol/L | 18.4512 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.496 | 39836.2597 | 292222.9408 | 28.7 | 67.6
13901 | 2022-05-19 14:05 | 10.6714 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 275.6479 | μmol/L | 18.4877 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.524 | 39896.0959 | 292198.2807 | 28.7 | 67.6
13911 | 2022-05-19 14:05 | 11.0053 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.6213 | μmol/L | 18.5302 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.552 | 39940.0819 | 292180.6841 | 28.7 | 67.6
13921 | 2022-05-19 14:05 | 11.3386 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.4838 | μmol/L | 18.5242 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.56 | 39958.2594 | 292179.125 | 28.7 | 67.6
13931 | 2022-05-19 14:06 | 11.6719 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.5828 | μmol/L | 18.5181 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.558 | 39977.3331 | 292165.4773 | 28.7 | 67.6
13941 | 2022-05-19 14:06 | 12.0051 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.0632 | μmol/L | 18.5181 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.58 | 40003.227 | 292173.313 | 28.7 | 67.6
13951 | 2022-05-19 14:06 | 12.3383 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.5492 | μmol/L | 18.512 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.604 | 40022.0298 | 292156.1543 | 28.7 | 67.6
13961 | 2022-05-19 14:07 | 12.6716 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.8599 | μmol/L | 18.5059 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.593 | 40034.2563 | 292150.037 | 28.7 | 67.6
13971 | 2022-05-19 14:07 | 13.0048 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.5302 | μmol/L | 18.5059 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.607 | 40038.1229 | 292158.5584 | 28.7 | 67.6
13981 | 2022-05-19 14:07 | 13.338 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.9441 | μmol/L | 18.4877 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.596 | 40036.3667 | 292130.7747 | 28.7 | 67.6
13991 | 2022-05-19 14:08 | 13.6713 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.3845 | μmol/L | 18.512 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.611 | 40050.504 | 292125.2203 | 28.7 | 67.6
14001 | 2022-05-19 14:08 | 14.0053 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.0096 | μmol/L | 18.5424 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.616 | 40050.3131 | 292126.8375 | 28.7 | 67.6
14011 | 2022-05-19 14:08 | 14.3385 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.1215 | μmol/L | 18.5181 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.62 | 40055.7559 | 292120.6649 | 28.7 | 67.6
14021 | 2022-05-19 14:09 | 14.6712 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.9001 | μmol/L | 18.4998 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.636 | 40085.3451 | 292108.0442 | 28.7 | 67.6
14031 | 2022-05-19 14:09 | 15.0046 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.7684 | μmol/L | 18.4877 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.646 | 40108.3181 | 292112.3669 | 28.7 | 67.6
14041 | 2022-05-19 14:09 | 15.338 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.8758 | μmol/L | 18.4694 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.648 | 40106.5635 | 292096.0809 | 28.7 | 67.6
14051 | 2022-05-19 14:10 | 15.672 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.8849 | μmol/L | 18.4573 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.652 | 40108.4201 | 292098.2267 | 28.7 | 67.6
14061 | 2022-05-19 14:10 | 16.0046 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.8289 | μmol/L | 18.4694 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.65 | 40121.5824 | 292087.7658 | 28.7 | 67.6
14071 | 2022-05-19 14:10 | 16.3382 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.5288 | μmol/L | 18.4633 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.665 | 40139.5114 | 292081.2003 | 28.7 | 67.6
14081 | 2022-05-19 14:11 | 16.6716 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.5665 | μmol/L | 18.4755 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.659 | 40142.2053 | 292057.8825 | 28.7 | 67.6
14091 | 2022-05-19 14:11 | 17.0051 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.2342 | μmol/L | 18.4816 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.671 | 40143.2654 | 292061.1456 | 28.7 | 67.6
14101 | 2022-05-19 14:11 | 17.3379 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.4111 | μmol/L | 18.4329 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.681 | 40140.4457 | 292045.7716 | 28.7 | 67.6
14111 | 2022-05-19 14:12 | 17.6713 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.7768 | μmol/L | 18.4451 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.661 | 40129.8877 | 292038.7838 | 28.7 | 67.6
14121 | 2022-05-19 14:12 | 18.0046 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.4722 | μmol/L | 18.4451 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.674 | 40138.5734 | 292020.6526 | 28.7 | 67.6
14131 | 2022-05-19 14:12 | 18.3381 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.4488 | μmol/L | 18.4451 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.675 | 40146.9236 | 292022.4523 | 28.7 | 67.6
14141 | 2022-05-19 14:13 | 18.6715 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.491 | μmol/L | 18.4512 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.671 | 40154.0589 | 292009.5919 | 28.7 | 67.6
14151 | 2022-05-19 14:13 | 19.0048 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.402 | μmol/L | 18.4451 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.677 | 40149.0174 | 292003.1665 | 28.7 | 67.6
14161 | 2022-05-19 14:13 | 19.3381 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.2992 | μmol/L | 18.4573 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.677 | 40154.6411 | 292002.6856 | 28.7 | 67.6
14171 | 2022-05-19 14:14 | 19.6718 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.0887 | μmol/L | 18.4573 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.686 | 40156.4968 | 291980.2493 | 28.7 | 67.6
14181 | 2022-05-19 14:14 | 20.0048 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.9485 | μmol/L | 18.4573 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.692 | 40163.4192 | 291988.2473 | 28.7 | 67.6
14191 | 2022-05-19 14:14 | 20.3382 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.1401 | μmol/L | 18.4512 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.686 | 40169.9016 | 291982.5957 | 28.7 | 67.6
14201 | 2022-05-19 14:15 | 20.6717 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.8784 | μmol/L | 18.4573 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.695 | 40185.1528 | 291964.1775 | 28.7 | 67.6
14211 | 2022-05-19 14:15 | 21.0053 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.0979 | μmol/L | 18.4451 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.69 | 40179.075 | 291962.2419 | 28.7 | 67.6
14221 | 2022-05-19 14:15 | 21.338 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.0557 | μmol/L | 18.439 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.694 | 40181.2271 | 291948.341 | 28.7 | 67.6
14231 | 2022-05-19 14:16 | 21.6715 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.0745 | μmol/L | 18.4451 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.691 | 40173.3677 | 291939.3027 | 28.7 | 67.6
14241 | 2022-05-19 14:16 | 22.0049 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.1492 | μmol/L | 18.439 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.69 | 40161.5342 | 291944.7517 | 28.7 | 67.6
14251 | 2022-05-19 14:16 | 22.3384 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.2616 | μmol/L | 18.4451 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.683 | 40160.4715 | 291914.5661 | 28.7 | 67.6
14261 | 2022-05-19 14:17 | 22.6719 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.1538 | μmol/L | 18.4329 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.692 | 40168.8627 | 291929.3675 | 28.7 | 67.6
14271 | 2022-05-19 14:17 | 23.0052 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.0182 | μmol/L | 18.4268 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.7 | 40180.8324 | 291919.2865 | 28.7 | 67.6
14281 | 2022-05-19 14:17 | 23.338 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.6588 | μmol/L | 18.439 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.711 | 40178.529 | 291897.9691 | 28.7 | 67.6
14291 | 2022-05-19 14:18 | 23.6714 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.9761 | μmol/L | 18.4208 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.704 | 40193.3767 | 291891.0252 | 28.7 | 67.6
14301 | 2022-05-19 14:18 | 24.0051 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.6867 | μmol/L | 18.4329 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.712 | 40191.533 | 291899.1385 | 28.7 | 67.6
14311 | 2022-05-19 14:18 | 24.3384 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.836 | μmol/L | 18.4208 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.71 | 40197.6026 | 291879.5757 | 28.7 | 67.6
14321 | 2022-05-19 14:19 | 24.6714 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.6027 | μmol/L | 18.4208 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.72 | 40220.2004 | 291875.8809 | 28.7 | 67.6
14331 | 2022-05-19 14:19 | 25.0048 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.584 | μmol/L | 18.4147 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.723 | 40228.5786 | 291879.3217 | 28.7 | 67.6
14341 | 2022-05-19 14:19 | 25.3384 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.4907 | μmol/L | 18.4147 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.727 | 40225.7773 | 291862.3281 | 28.7 | 67.6
14351 | 2022-05-19 14:20 | 25.6719 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.4861 | μmol/L | 18.4208 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.725 | 40226.7491 | 291850.4874 | 28.7 | 67.6
14361 | 2022-05-19 14:20 | 26.0053 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.323 | μmol/L | 18.4208 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.732 | 40229.6006 | 291849.5223 | 28.7 | 67.6
14371 | 2022-05-19 14:20 | 26.3379 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.1833 | μmol/L | 18.4208 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.738 | 40222.1645 | 291837.7254 | 28.7 | 67.6
14381 | 2022-05-19 14:21 | 26.6713 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.4953 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.74 | 40225.7148 | 291832.5239 | 28.7 | 67.6
14391 | 2022-05-19 14:21 | 27.0048 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.2857 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.749 | 40244.0036 | 291838.3031 | 28.7 | 67.6
14401 | 2022-05-19 14:21 | 27.3382 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.3322 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.747 | 40240.4554 | 291839.0808 | 28.7 | 67.6
14411 | 2022-05-19 14:22 | 27.6715 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.281 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.747 | 40240.7401 | 291803.1082 | 28.7 | 67.6
14421 | 2022-05-19 14:22 | 28.0049 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.1879 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.751 | 40252.2438 | 291801.9084 | 28.7 | 67.6
14431 | 2022-05-19 14:22 | 28.3383 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.0949 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.755 | 40259.0697 | 291802.6867 | 28.7 | 67.6
14441 | 2022-05-19 14:23 | 28.6718 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.8671 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.767 | 40258.5128 | 291788.5444 | 28.7 | 67.6
14451 | 2022-05-19 14:23 | 29.0053 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.0809 | μmol/L | 18.3721 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.76 | 40263.2831 | 291774.9045 | 28.7 | 67.6
14461 | 2022-05-19 14:23 | 29.3381 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.9879 | μmol/L | 18.3721 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.764 | 40273.3562 | 291776.6862 | 28.7 | 67.6
14471 | 2022-05-19 14:24 | 29.6719 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.7974 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.77 | 40274.8937 | 291759.5357 | 28.7 | 67.6
14481 | 2022-05-19 14:24 | 30.0046 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.4492 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.785 | 40291.6982 | 291764.7689 | 28.7 | 67.6
14491 | 2022-05-19 14:24 | 30.338 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.3007 | μmol/L | 18.3904 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.787 | 40298.4115 | 291748.0948 | 28.7 | 67.6
14501 | 2022-05-19 14:25 | 30.6715 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.3565 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.789 | 40298.3321 | 291734.1231 | 28.7 | 67.6
14511 | 2022-05-19 14:25 | 31.0049 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.2406 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.794 | 40299.6294 | 291721.7137 | 28.7 | 67.6
14521 | 2022-05-19 14:25 | 31.3384 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.1943 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.796 | 40310.5861 | 291709.8193 | 28.7 | 67.6
14531 | 2022-05-19 14:26 | 31.6718 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.0137 | μmol/L | 18.3721 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.806 | 40319.9978 | 291713.9553 | 28.7 | 67.6
14541 | 2022-05-19 14:26 | 32.0051 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.8702 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.81 | 40343.4977 | 291707.3523 | 28.7 | 67.6
14551 | 2022-05-19 14:26 | 32.3385 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.6206 | μmol/L | 18.3721 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.823 | 40369.2744 | 291700.2503 | 28.7 | 67.6
14561 | 2022-05-19 14:27 | 32.6712 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.3482 | μmol/L | 18.366 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.837 | 40396.8098 | 291683.9812 | 28.7 | 67.6
14571 | 2022-05-19 14:27 | 33.0047 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.1129 | μmol/L | 18.3721 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.845 | 40408.2817 | 291675.4457 | 28.7 | 67.6
14581 | 2022-05-19 14:27 | 33.3382 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.8134 | μmol/L | 18.3721 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.858 | 40418.3691 | 291680.4588 | 28.7 | 67.6
14591 | 2022-05-19 14:28 | 33.6717 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.1454 | μmol/L | 18.3599 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.848 | 40411.1973 | 291675.6697 | 28.7 | 67.6
14601 | 2022-05-19 14:28 | 34.0051 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.1732 | μmol/L | 18.3539 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.849 | 40405.2217 | 291674.1866 | 28.7 | 67.6
14611 | 2022-05-19 14:28 | 34.3387 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.0118 | μmol/L | 18.3539 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.856 | 40431.4096 | 291674.081 | 28.7 | 67.6
14621 | 2022-05-19 14:29 | 34.6713 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.0396 | μmol/L | 18.3478 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.857 | 40441.9857 | 291644.7671 | 28.7 | 67.6
14631 | 2022-05-19 14:29 | 35.0051 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.6943 | μmol/L | 18.3478 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.872 | 40447.1261 | 291643.2006 | 28.7 | 67.6
14641 | 2022-05-19 14:29 | 35.3384 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.6483 | μmol/L | 18.3478 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.874 | 40445.846 | 291631.0009 | 28.7 | 67.6
14651 | 2022-05-19 14:30 | 35.6717 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.6205 | μmol/L | 18.3539 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.873 | 40452.6264 | 291631.4097 | 28.7 | 67.6
14661 | 2022-05-19 14:30 | 36.0053 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.4089 | μmol/L | 18.3599 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.88 | 40455.1784 | 291614.3592 | 28.7 | 67.6
14671 | 2022-05-19 14:30 | 36.338 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.3448 | μmol/L | 18.3539 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.885 | 40465.3602 | 291628.9606 | 28.7 | 67.6
14681 | 2022-05-19 14:31 | 36.6714 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.2117 | μmol/L | 18.3478 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.893 | 40464.5645 | 291607.3778 | 28.7 | 67.6
14691 | 2022-05-19 14:31 | 37.0049 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.405 | μmol/L | 18.3356 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.889 | 40470.9826 | 291598.6843 | 28.7 | 67.6
14701 | 2022-05-19 14:31 | 37.3384 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.3772 | μmol/L | 18.3417 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.888 | 40474.1474 | 291599.1255 | 28.7 | 67.6
14711 | 2022-05-19 14:32 | 37.672 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.3131 | μmol/L | 18.3356 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.893 | 40477.2315 | 291585.5828 | 28.7 | 67.6
14721 | 2022-05-19 14:32 | 38.0046 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.382 | μmol/L | 18.3356 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.89 | 40474.37 | 291577.1803 | 28.7 | 67.6
14731 | 2022-05-19 14:32 | 38.338 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.1983 | μmol/L | 18.3356 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.898 | 40491.6677 | 291574.4445 | 28.7 | 67.6
14741 | 2022-05-19 14:33 | 38.6713 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.0377 | μmol/L | 18.3356 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.905 | 40498.2891 | 291569.9858 | 28.7 | 67.6
14751 | 2022-05-19 14:33 | 39.0046 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.9689 | μmol/L | 18.3356 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.908 | 40503.9542 | 291564.7885 | 28.7 | 67.6
14761 | 2022-05-19 14:33 | 39.3382 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.6711 | μmol/L | 18.3356 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.921 | 40518.9522 | 291564.3159 | 28.7 | 67.6
14771 | 2022-05-19 14:34 | 39.6715 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.6072 | μmol/L | 18.3295 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.926 | 40531.2814 | 291541.5426 | 28.7 | 67.6
14781 | 2022-05-19 14:34 | 40.005 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.5386 | μmol/L | 18.3295 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.929 | 40549.6946 | 291542.7406 | 28.7 | 67.6
14791 | 2022-05-19 14:34 | 40.3386 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.4699 | μmol/L | 18.3295 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.932 | 40552.6125 | 291539.9153 | 28.7 | 67.6
14801 | 2022-05-19 14:35 | 40.6716 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.1908 | μmol/L | 18.3356 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.942 | 40557.8169 | 291521.311 | 28.7 | 67.6
14811 | 2022-05-19 14:35 | 41.0053 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.0357 | μmol/L | 18.3295 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.951 | 40571.9102 | 291525.2783 | 28.7 | 67.6
14821 | 2022-05-19 14:35 | 41.338 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.0357 | μmol/L | 18.3295 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.951 | 40580.9902 | 291514.2801 | 28.7 | 67.6
14831 | 2022-05-19 14:36 | 41.6715 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.1319 | μmol/L | 18.3235 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.949 | 40575.5388 | 291508.528 | 28.7 | 67.6
14841 | 2022-05-19 14:36 | 42.0049 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.1776 | μmol/L | 18.3235 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.947 | 40574.1843 | 291518.5196 | 28.7 | 67.6
14851 | 2022-05-19 14:36 | 42.3383 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.4338 | μmol/L | 18.3174 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.938 | 40567.7076 | 291506.5469 | 28.7 | 67.6
14861 | 2022-05-19 14:37 | 42.6718 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.2738 | μmol/L | 18.3174 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.945 | 40564.7223 | 291496.9967 | 28.7 | 67.6
14871 | 2022-05-19 14:37 | 43.005 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.1824 | μmol/L | 18.3174 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.949 | 40575.4013 | 291479.9249 | 28.7 | 67.6
14881 | 2022-05-19 14:37 | 43.3385 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.1547 | μmol/L | 18.3235 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.948 | 40572.4738 | 291482.0539 | 28.7 | 67.6
14891 | 2022-05-19 14:38 | 43.672 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.1776 | μmol/L | 18.3235 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.947 | 40566.808 | 291480.9469 | 28.7 | 67.6
14901 | 2022-05-19 14:38 | 44.0046 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.1042 | μmol/L | 18.3295 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.948 | 40575.4833 | 291468.7469 | 28.7 | 67.6
14911 | 2022-05-19 14:38 | 44.338 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.2149 | μmol/L | 18.3052 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.952 | 40576.1834 | 291476.299 | 28.7 | 67.6
14921 | 2022-05-19 14:39 | 44.6714 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.9133 | μmol/L | 18.3113 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.963 | 40577.5369 | 291475.3334 | 28.7 | 67.6
14931 | 2022-05-19 14:39 | 45.005 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.9914 | μmol/L | 18.2991 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.964 | 40587.0809 | 291463.7461 | 28.7 | 67.6
14941 | 2022-05-19 14:39 | 45.3385 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.726 | μmol/L | 18.3174 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.969 | 40590.6917 | 291455.2468 | 28.7 | 67.6
14951 | 2022-05-19 14:40 | 45.6715 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.7536 | μmol/L | 18.3113 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.97 | 40610.4479 | 291449.5175 | 28.7 | 67.6
14961 | 2022-05-19 14:40 | 46.0052 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.5713 | μmol/L | 18.3113 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.978 | 40619.6971 | 291441.9704 | 28.7 | 67.6
14971 | 2022-05-19 14:40 | 46.3388 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.4851 | μmol/L | 18.3052 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.984 | 40618.9609 | 291435.1759 | 28.7 | 67.6
14981 | 2022-05-19 14:41 | 46.6713 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.3713 | μmol/L | 18.3052 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.989 | 40619.0686 | 291451.6047 | 28.7 | 67.6
14991 | 2022-05-19 14:41 | 47.005 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.2933 | μmol/L | 18.3174 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.988 | 40622.5615 | 291430.6102 | 28.7 | 67.6
15001 | 2022-05-19 14:41 | 47.3379 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.2169 | μmol/L | 18.2991 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.998 | 40634.1707 | 291439.5122 | 28.7 | 67.6
15011 | 2022-05-19 14:42 | 47.6716 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.1941 | μmol/L | 18.2991 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.999 | 40638.8885 | 291430.266 | 28.7 | 67.6
15021 | 2022-05-19 14:42 | 48.0045 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.1211 | μmol/L | 18.3052 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23 | 40640.947 | 291429.9614 | 28.7 | 67.6
15031 | 2022-05-19 14:42 | 48.3383 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.0302 | μmol/L | 18.3052 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.004 | 40636.9473 | 291423.2305 | 28.7 | 67.6
15041 | 2022-05-19 14:43 | 48.6721 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.29 | μmol/L | 18.293 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.997 | 40642.6672 | 291412.5239 | 28.7 | 67.6
15051 | 2022-05-19 14:43 | 49.0048 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.9393 | μmol/L | 18.3052 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.008 | 40652.763 | 291414.6013 | 28.7 | 67.6
15061 | 2022-05-19 14:43 | 49.3384 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.9717 | μmol/L | 18.293 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.011 | 40663.8352 | 291429.9758 | 28.7 | 67.6
15071 | 2022-05-19 14:44 | 49.6721 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.9896 | μmol/L | 18.2991 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.008 | 40670.4886 | 291410.5186 | 28.7 | 67.6
15081 | 2022-05-19 14:44 | 50.0046 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.722 | μmol/L | 18.293 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.022 | 40673.5691 | 291400.9472 | 28.7 | 67.6
15091 | 2022-05-19 14:44 | 50.3382 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.5762 | μmol/L | 18.3052 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.024 | 40678.5421 | 291391.2384 | 28.7 | 67.6
15101 | 2022-05-19 14:45 | 50.6722 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.6993 | μmol/L | 18.293 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.023 | 40681.8475 | 291400.8819 | 28.7 | 67.6
15111 | 2022-05-19 14:45 | 51.0047 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.6718 | μmol/L | 18.2991 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.022 | 40693.7615 | 291385.2999 | 28.7 | 67.6
15121 | 2022-05-19 14:45 | 51.3381 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.5682 | μmol/L | 18.287 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.031 | 40696.1763 | 291387.4557 | 28.7 | 67.6
15131 | 2022-05-19 14:46 | 51.6719 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.45 | μmol/L | 18.293 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.034 | 40702.8642 | 291387.2624 | 28.7 | 67.6
15141 | 2022-05-19 14:46 | 52.0047 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.4322 | μmol/L | 18.287 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.037 | 40710.7167 | 291380.4273 | 28.7 | 67.6
15151 | 2022-05-19 14:46 | 52.3381 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.2736 | μmol/L | 18.287 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.044 | 40712.9454 | 291367.0314 | 28.7 | 67.6
15161 | 2022-05-19 14:47 | 52.6714 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.0376 | μmol/L | 18.2991 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.05 | 40717.2791 | 291375.9318 | 28.7 | 67.6
15171 | 2022-05-19 14:47 | 53.0051 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.251 | μmol/L | 18.287 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.045 | 40720.8964 | 291383.5676 | 28.7 | 67.6
15181 | 2022-05-19 14:47 | 53.3386 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.1782 | μmol/L | 18.293 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.046 | 40727.484 | 291387.0212 | 28.7 | 67.6
15191 | 2022-05-19 14:48 | 53.6714 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.1281 | μmol/L | 18.2991 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.046 | 40723.294 | 291373.296 | 28.7 | 67.6