## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_1 | O2 | 173180888 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:46

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-20 15:44

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
23520 | 2022-05-20 14:23 | 0 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 294.9284 | μmol/L | 18.1005 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.852 | 124257.8058 | 270111.0611 | 33.25 | 75.7
23530 | 2022-05-20 14:23 | 0.32595 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 295.1126 | μmol/L | 18.0944 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.847 | 124246.8285 | 270111.0319 | 33.25 | 75.7
23540 | 2022-05-20 14:23 | 0.65925 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 295.0563 | μmol/L | 18.1005 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.847 | 124217.8302 | 270099.4954 | 33.25 | 75.7
23550 | 2022-05-20 14:24 | 0.99197 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 295.0767 | μmol/L | 18.1066 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.844 | 124211.4969 | 270095.9856 | 33.25 | 75.7
23560 | 2022-05-20 14:24 | 1.3256 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 294.7955 | μmol/L | 18.1066 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.855 | 124228.8752 | 270094.5288 | 33.25 | 75.7
23570 | 2022-05-20 14:24 | 1.6587 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 294.4637 | μmol/L | 18.1066 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.868 | 124336.1923 | 270083.6361 | 33.25 | 75.7
23580 | 2022-05-20 14:25 | 1.9923 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.8472 | μmol/L | 18.1128 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.89 | 124458.3684 | 270067.2621 | 33.25 | 75.7
23590 | 2022-05-20 14:25 | 2.3257 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.0346 | μmol/L | 18.1128 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.922 | 124654.0857 | 270069.3416 | 33.25 | 75.7
23600 | 2022-05-20 14:25 | 2.6591 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.9166 | μmol/L | 18.1189 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.964 | 124945.2707 | 270055.29 | 33.25 | 75.7
23610 | 2022-05-20 14:26 | 2.9926 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.0102 | μmol/L | 18.1189 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22 | 125146.385 | 270043.4273 | 33.25 | 75.7
23620 | 2022-05-20 14:26 | 3.326 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.759 | μmol/L | 18.1189 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.01 | 125225.6554 | 270034.4248 | 33.25 | 75.7
23630 | 2022-05-20 14:26 | 3.6587 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.5887 | μmol/L | 18.1128 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.019 | 125270.6212 | 270019.1743 | 33.25 | 75.7
23640 | 2022-05-20 14:27 | 3.992 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.3881 | μmol/L | 18.1128 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.027 | 125328.7786 | 270013.6683 | 33.25 | 75.7
23650 | 2022-05-20 14:27 | 4.3254 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.1126 | μmol/L | 18.1128 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.038 | 125390.8391 | 270004.5084 | 33.25 | 75.7
23660 | 2022-05-20 14:27 | 4.6591 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.6875 | μmol/L | 18.1128 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.055 | 125489.7985 | 269993.9327 | 33.25 | 75.7
23670 | 2022-05-20 14:28 | 4.9926 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.3077 | μmol/L | 18.1189 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.068 | 125580.038 | 269996.1069 | 33.25 | 75.7
23680 | 2022-05-20 14:28 | 5.3258 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.0584 | μmol/L | 18.1189 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.078 | 125597.3513 | 269990.846 | 33.25 | 75.7
23690 | 2022-05-20 14:28 | 5.6594 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.9837 | μmol/L | 18.1189 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.081 | 125619.4378 | 269972.9735 | 33.25 | 75.7
23700 | 2022-05-20 14:29 | 5.9927 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.0887 | μmol/L | 18.1128 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.079 | 125616.8509 | 269986.5961 | 33.25 | 75.7
23710 | 2022-05-20 14:29 | 6.3259 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.0033 | μmol/L | 18.125 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.078 | 125612.721 | 269979.6148 | 33.25 | 75.7
23720 | 2022-05-20 14:29 | 6.6591 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.0139 | μmol/L | 18.1128 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.082 | 125652.6063 | 269965.208 | 33.25 | 75.7
23730 | 2022-05-20 14:30 | 6.9925 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.7289 | μmol/L | 18.1189 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.091 | 125684.4603 | 269972.5616 | 33.25 | 75.7
23740 | 2022-05-20 14:30 | 7.326 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.6548 | μmol/L | 18.125 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.092 | 125679.4436 | 269949.3394 | 33.25 | 75.7
23750 | 2022-05-20 14:30 | 7.6587 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.55 | μmol/L | 18.1312 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.094 | 125685.3416 | 269949.0705 | 33.25 | 75.7
23760 | 2022-05-20 14:31 | 7.9924 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.6601 | μmol/L | 18.1189 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.094 | 125691.125 | 269950.8132 | 33.25 | 75.7
23770 | 2022-05-20 14:31 | 8.3257 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.431 | μmol/L | 18.125 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.101 | 125700.7934 | 269952.908 | 33.25 | 75.7
23780 | 2022-05-20 14:31 | 8.659 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.4009 | μmol/L | 18.1312 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.1 | 125720.6571 | 269932.7183 | 33.25 | 75.7
23790 | 2022-05-20 14:32 | 8.9925 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.4559 | μmol/L | 18.125 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.1 | 125728.1693 | 269927.7827 | 33.25 | 75.7
23800 | 2022-05-20 14:32 | 9.326 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.431 | μmol/L | 18.125 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.101 | 125726.3537 | 269924.9688 | 33.25 | 75.7
23810 | 2022-05-20 14:32 | 9.6594 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.4257 | μmol/L | 18.1312 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.099 | 125730.2974 | 269923.1841 | 33.25 | 75.7
23820 | 2022-05-20 14:33 | 9.992 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.4364 | μmol/L | 18.1189 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.103 | 125713.027 | 269917.4999 | 33.25 | 75.7
23830 | 2022-05-20 14:33 | 10.3256 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.4807 | μmol/L | 18.125 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.099 | 125726.9339 | 269896.6873 | 33.25 | 75.7
23840 | 2022-05-20 14:33 | 10.659 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.282 | μmol/L | 18.125 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.107 | 125747.0043 | 269901.9051 | 33.25 | 75.7
23850 | 2022-05-20 14:34 | 10.9923 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.2022 | μmol/L | 18.1312 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.108 | 125739.4277 | 269888.0674 | 33.25 | 75.7
23860 | 2022-05-20 14:34 | 11.3258 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.0781 | μmol/L | 18.1312 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.113 | 125781.5355 | 269893.2227 | 33.25 | 75.7
23870 | 2022-05-20 14:34 | 11.6592 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.9292 | μmol/L | 18.1312 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.119 | 125808.1451 | 269874.6514 | 33.25 | 75.7
23880 | 2022-05-20 14:35 | 11.9926 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.9045 | μmol/L | 18.1312 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.12 | 125827.0456 | 269874.1069 | 33.25 | 75.7
23890 | 2022-05-20 14:35 | 12.3254 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.8495 | μmol/L | 18.1373 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.12 | 125815.0398 | 269870.2907 | 33.25 | 75.7
23900 | 2022-05-20 14:35 | 12.6587 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.9292 | μmol/L | 18.1312 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.119 | 125786.5017 | 269862.0931 | 33.25 | 75.7
23910 | 2022-05-20 14:36 | 12.9927 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.9234 | μmol/L | 18.1312 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.119 | 125769.1193 | 269861.505 | 33.25 | 75.7
23920 | 2022-05-20 14:36 | 13.326 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.0533 | μmol/L | 18.1312 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.114 | 125745.0591 | 269856.538 | 33.25 | 75.7
23930 | 2022-05-20 14:36 | 13.6588 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.1963 | μmol/L | 18.1312 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.108 | 125735.6424 | 269855.3954 | 33.25 | 75.7
23940 | 2022-05-20 14:37 | 13.9924 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.1224 | μmol/L | 18.1373 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.109 | 125730.0059 | 269856.4104 | 33.25 | 75.7
23950 | 2022-05-20 14:37 | 14.3258 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.0479 | μmol/L | 18.1373 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.112 | 125723.2632 | 269844.6563 | 33.25 | 75.7
23960 | 2022-05-20 14:37 | 14.6593 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.869 | μmol/L | 18.1434 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.117 | 125764.281 | 269845.4922 | 33.25 | 75.7
23970 | 2022-05-20 14:38 | 14.9927 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.7256 | μmol/L | 18.1373 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.125 | 125796.8091 | 269832.579 | 33.25 | 75.7
23980 | 2022-05-20 14:38 | 15.3253 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.6018 | μmol/L | 18.1373 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.13 | 125841.395 | 269827.8338 | 33.25 | 75.7
23990 | 2022-05-20 14:38 | 15.6588 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.3984 | μmol/L | 18.1434 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.136 | 125859.7353 | 269836.4266 | 33.25 | 75.7
24000 | 2022-05-20 14:39 | 15.9921 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.3543 | μmol/L | 18.1373 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.14 | 125874.6048 | 269825.3045 | 33.25 | 75.7
24010 | 2022-05-20 14:39 | 16.3256 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.4474 | μmol/L | 18.1373 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.136 | 125880.3791 | 269821.6276 | 33.25 | 75.7
24020 | 2022-05-20 14:39 | 16.6594 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.2001 | μmol/L | 18.1373 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.146 | 125934.3957 | 269806.8923 | 33.25 | 75.7
24030 | 2022-05-20 14:40 | 16.9919 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.2001 | μmol/L | 18.1373 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.146 | 125929.3212 | 269807.2907 | 33.25 | 75.7
24040 | 2022-05-20 14:40 | 17.3253 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.2253 | μmol/L | 18.1434 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.143 | 125920.9031 | 269801.9698 | 33.25 | 75.7
24050 | 2022-05-20 14:40 | 17.6588 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.923 | μmol/L | 18.1434 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.155 | 125938.3068 | 269791.0169 | 33.25 | 75.7
24060 | 2022-05-20 14:41 | 17.9924 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.7009 | μmol/L | 18.1434 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.164 | 126024.1666 | 269791.1591 | 33.25 | 75.7
24070 | 2022-05-20 14:41 | 18.3257 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.4544 | μmol/L | 18.1434 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.174 | 126089.9834 | 269780.0331 | 33.25 | 75.7
24080 | 2022-05-20 14:41 | 18.6589 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.3067 | μmol/L | 18.1434 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.18 | 126123.1153 | 269774.3968 | 33.25 | 75.7
24090 | 2022-05-20 14:42 | 18.9924 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.1782 | μmol/L | 18.1496 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.183 | 126133.7526 | 269773.2365 | 33.25 | 75.7
24100 | 2022-05-20 14:42 | 19.3257 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.159 | μmol/L | 18.1434 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.186 | 126147.5098 | 269785.3422 | 33.25 | 75.7
24110 | 2022-05-20 14:42 | 19.659 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.159 | μmol/L | 18.1434 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.186 | 126146.5871 | 269780.0803 | 33.25 | 75.7
24120 | 2022-05-20 14:43 | 19.9925 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.0798 | μmol/L | 18.1496 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.187 | 126171.5665 | 269756.2808 | 33.25 | 75.7
24130 | 2022-05-20 14:43 | 20.3258 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.7848 | μmol/L | 18.1496 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.199 | 126224.9584 | 269749.8219 | 33.25 | 75.7
24140 | 2022-05-20 14:43 | 20.6593 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.5883 | μmol/L | 18.1496 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.207 | 126294.1128 | 269755.0856 | 33.25 | 75.7
24150 | 2022-05-20 14:44 | 20.9928 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.4902 | μmol/L | 18.1496 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.211 | 126328.0144 | 269747.3163 | 33.25 | 75.7
24160 | 2022-05-20 14:44 | 21.3254 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.4166 | μmol/L | 18.1496 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.214 | 126337.6844 | 269748.1017 | 33.25 | 75.7
24170 | 2022-05-20 14:44 | 21.6588 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.4166 | μmol/L | 18.1496 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.214 | 126322.1089 | 269743.0301 | 33.25 | 75.7
24180 | 2022-05-20 14:45 | 21.9922 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.4411 | μmol/L | 18.1496 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.213 | 126315.8516 | 269726.0853 | 33.25 | 75.7
24190 | 2022-05-20 14:45 | 22.3257 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.3921 | μmol/L | 18.1496 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.215 | 126330.6237 | 269738.5501 | 33.25 | 75.7
24200 | 2022-05-20 14:45 | 22.6587 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.343 | μmol/L | 18.1496 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.217 | 126335.4295 | 269712.4119 | 33.25 | 75.7
24210 | 2022-05-20 14:46 | 22.9921 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.3185 | μmol/L | 18.1496 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.218 | 126356.8 | 269726.7992 | 33.25 | 75.7
24220 | 2022-05-20 14:46 | 23.3259 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.0436 | μmol/L | 18.1557 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.227 | 126369.853 | 269711.2652 | 33.25 | 75.7
24230 | 2022-05-20 14:46 | 23.6593 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.1279 | μmol/L | 18.1434 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.228 | 126407.0969 | 269709.0775 | 33.25 | 75.7
24240 | 2022-05-20 14:47 | 23.9927 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.8967 | μmol/L | 18.1557 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.233 | 126441.5353 | 269701.3555 | 33.25 | 75.7
24250 | 2022-05-20 14:47 | 24.3252 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.8287 | μmol/L | 18.1496 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.238 | 126473.5822 | 269706.6082 | 33.25 | 75.7
24260 | 2022-05-20 14:47 | 24.6588 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.7363 | μmol/L | 18.1434 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.244 | 126493.9461 | 269694.1166 | 33.25 | 75.7
24270 | 2022-05-20 14:48 | 24.9919 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.5598 | μmol/L | 18.1496 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.249 | 126512.0611 | 269691.7683 | 33.25 | 75.7
24280 | 2022-05-20 14:48 | 25.3253 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.378 | μmol/L | 18.1618 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.252 | 126526.5021 | 269686.2587 | 33.25 | 75.7
24290 | 2022-05-20 14:48 | 25.6587 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.3292 | μmol/L | 18.1618 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.254 | 126534.8621 | 269681.9387 | 33.25 | 75.7
24300 | 2022-05-20 14:49 | 25.9921 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.3536 | μmol/L | 18.1618 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.253 | 126542.3452 | 269684.6 | 33.25 | 75.7
24310 | 2022-05-20 14:49 | 26.3254 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.378 | μmol/L | 18.1618 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.252 | 126523.1558 | 269677.0165 | 33.25 | 75.7
24320 | 2022-05-20 14:49 | 26.6589 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.5055 | μmol/L | 18.1557 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.249 | 126517.1119 | 269667.9953 | 33.25 | 75.7
24330 | 2022-05-20 14:50 | 26.9924 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.4024 | μmol/L | 18.1618 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.251 | 126540.8474 | 269663.7447 | 33.25 | 75.7
24340 | 2022-05-20 14:50 | 27.3259 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 283.671 | μmol/L | 18.1618 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.281 | 126712.0911 | 269662.2155 | 33.25 | 75.7
24350 | 2022-05-20 14:50 | 27.6586 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 283.209 | μmol/L | 18.1618 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.3 | 126848.75 | 269657.9554 | 33.25 | 75.7
24360 | 2022-05-20 14:51 | 27.9921 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 283.0336 | μmol/L | 18.1679 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.305 | 126862.4131 | 269646.8305 | 33.25 | 75.7
24370 | 2022-05-20 14:51 | 28.3254 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 282.9123 | μmol/L | 18.1679 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.31 | 126895.4456 | 269649.5902 | 33.25 | 75.7
24380 | 2022-05-20 14:51 | 28.6588 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 282.8341 | μmol/L | 18.1741 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.311 | 126886.3458 | 269631.5727 | 33.25 | 75.7
24390 | 2022-05-20 14:52 | 28.9922 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 282.9851 | μmol/L | 18.1679 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.307 | 126847.8992 | 269629.5143 | 33.25 | 75.7
24400 | 2022-05-20 14:52 | 29.3256 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 282.845 | μmol/L | 18.1618 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.315 | 126861.1628 | 269636.2143 | 33.25 | 75.7
24410 | 2022-05-20 14:52 | 29.659 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 282.5487 | μmol/L | 18.1679 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.325 | 126930.5453 | 269621.2893 | 33.25 | 75.7
24420 | 2022-05-20 14:53 | 29.9927 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 282.2824 | μmol/L | 18.1679 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.336 | 127015.602 | 269611.7941 | 33.25 | 75.7
24430 | 2022-05-20 14:53 | 30.3254 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 282.1857 | μmol/L | 18.1679 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.34 | 127032.1583 | 269609.638 | 33.25 | 75.7
24440 | 2022-05-20 14:53 | 30.6589 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 282.0703 | μmol/L | 18.1618 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.347 | 127082.0674 | 269607.4976 | 33.25 | 75.7
24450 | 2022-05-20 14:54 | 30.9924 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.6247 | μmol/L | 18.1741 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.361 | 127158.3893 | 269605.1851 | 33.25 | 75.7
24460 | 2022-05-20 14:54 | 31.3257 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.6357 | μmol/L | 18.1618 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.365 | 127203.5527 | 269600.293 | 33.25 | 75.7
24470 | 2022-05-20 14:54 | 31.6591 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.4373 | μmol/L | 18.1679 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.371 | 127244.5621 | 269596.9406 | 33.25 | 75.7
24480 | 2022-05-20 14:55 | 31.9923 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.365 | μmol/L | 18.1679 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.374 | 127260.0938 | 269598.832 | 33.25 | 75.7
24490 | 2022-05-20 14:55 | 32.3259 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.6061 | μmol/L | 18.1679 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.364 | 127213.568 | 269596.4769 | 33.25 | 75.7
24500 | 2022-05-20 14:55 | 32.6592 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.6784 | μmol/L | 18.1679 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.361 | 127179.378 | 269579.1173 | 33.25 | 75.7
24510 | 2022-05-20 14:56 | 32.9926 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.8233 | μmol/L | 18.1679 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.355 | 127143.0741 | 269574.78 | 33.25 | 75.7
24520 | 2022-05-20 14:56 | 33.3253 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.8419 | μmol/L | 18.1741 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.352 | 127114.2725 | 269573.9714 | 33.25 | 75.7
24530 | 2022-05-20 14:56 | 33.6586 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.9682 | μmol/L | 18.1679 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.349 | 127086.4925 | 269584.0881 | 33.25 | 75.7
24540 | 2022-05-20 14:57 | 33.9922 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 282.0594 | μmol/L | 18.1741 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.343 | 127055.2616 | 269579.4158 | 33.25 | 75.7
24550 | 2022-05-20 14:57 | 34.3254 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 282.1857 | μmol/L | 18.1679 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.34 | 127039.8942 | 269572.5875 | 33.25 | 75.7
24560 | 2022-05-20 14:57 | 34.6588 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 282.1319 | μmol/L | 18.1741 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.34 | 127039.7102 | 269579.8056 | 33.25 | 75.7
24570 | 2022-05-20 14:58 | 34.9924 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.9331 | μmol/L | 18.1802 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.346 | 127035.8069 | 269574.8425 | 33.25 | 75.7
24580 | 2022-05-20 14:58 | 35.3253 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 282.0835 | μmol/L | 18.1741 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.342 | 127043.7858 | 269563.4433 | 33.25 | 75.7
24590 | 2022-05-20 14:58 | 35.6587 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.9627 | μmol/L | 18.1741 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.347 | 127074.3181 | 269559.4095 | 33.25 | 75.7
24600 | 2022-05-20 14:59 | 35.992 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.9198 | μmol/L | 18.1679 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.351 | 127113.0598 | 269568.5443 | 33.25 | 75.7
24610 | 2022-05-20 14:59 | 36.3255 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.7454 | μmol/L | 18.1741 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.356 | 127128.0336 | 269565.2016 | 33.25 | 75.7
24620 | 2022-05-20 14:59 | 36.6588 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.673 | μmol/L | 18.1741 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.359 | 127133.9702 | 269567.7233 | 33.25 | 75.7
24630 | 2022-05-20 15:00 | 36.9923 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.5765 | μmol/L | 18.1741 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.363 | 127162.8004 | 269572.6183 | 33.25 | 75.7
24640 | 2022-05-20 15:00 | 37.3258 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.3355 | μmol/L | 18.1741 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.373 | 127221.8669 | 269560.4596 | 33.25 | 75.7
24650 | 2022-05-20 15:00 | 37.6594 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.993 | μmol/L | 18.1802 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.385 | 127314.2725 | 269565.5356 | 33.25 | 75.7
24660 | 2022-05-20 15:01 | 37.9927 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.7951 | μmol/L | 18.1863 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.391 | 127350.68 | 269556.5722 | 33.25 | 75.7
24670 | 2022-05-20 15:01 | 38.326 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.8246 | μmol/L | 18.1802 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.392 | 127346.5591 | 269557.2614 | 33.25 | 75.7
24680 | 2022-05-20 15:01 | 38.6586 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.9263 | μmol/L | 18.1741 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.39 | 127336.1206 | 269550.8164 | 33.25 | 75.7
24690 | 2022-05-20 15:02 | 38.9919 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.9689 | μmol/L | 18.1802 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.386 | 127318.9687 | 269555.8033 | 33.25 | 75.7
24700 | 2022-05-20 15:02 | 39.3254 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.9689 | μmol/L | 18.1802 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.386 | 127298.9906 | 269561.8442 | 33.25 | 75.7
24710 | 2022-05-20 15:02 | 39.6588 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.052 | μmol/L | 18.1679 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.387 | 127298.6446 | 269547.184 | 33.25 | 75.7
24720 | 2022-05-20 15:03 | 39.992 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.1483 | μmol/L | 18.1679 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.383 | 127276.5159 | 269536.6968 | 33.25 | 75.7
24730 | 2022-05-20 15:03 | 40.3253 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.2446 | μmol/L | 18.1679 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.379 | 127263.5918 | 269530.1607 | 33.25 | 75.7
24740 | 2022-05-20 15:03 | 40.6586 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.2873 | μmol/L | 18.1741 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.375 | 127233.2255 | 269522.9351 | 33.25 | 75.7
24750 | 2022-05-20 15:04 | 40.992 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.3114 | μmol/L | 18.1741 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.374 | 127194.643 | 269522.1301 | 33.25 | 75.7
24760 | 2022-05-20 15:04 | 41.3254 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.5096 | μmol/L | 18.1679 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.368 | 127181.6552 | 269522.2538 | 33.25 | 75.7
24770 | 2022-05-20 15:04 | 41.6586 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.4077 | μmol/L | 18.1741 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.37 | 127161.3644 | 269502.5271 | 33.25 | 75.7
24780 | 2022-05-20 15:05 | 41.9923 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.4559 | μmol/L | 18.1741 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.368 | 127168.4898 | 269499.1982 | 33.25 | 75.7
24790 | 2022-05-20 15:05 | 42.3256 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.3114 | μmol/L | 18.1741 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.374 | 127195.3744 | 269495.2097 | 33.25 | 75.7
24800 | 2022-05-20 15:05 | 42.6591 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.1133 | μmol/L | 18.1802 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.38 | 127219.8088 | 269479.4078 | 33.25 | 75.7
24810 | 2022-05-20 15:06 | 42.9927 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.017 | μmol/L | 18.1802 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.384 | 127254.1085 | 269485.5747 | 33.25 | 75.7
24820 | 2022-05-20 15:06 | 43.326 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.7951 | μmol/L | 18.1863 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.391 | 127278.05 | 269478.6102 | 33.25 | 75.7
24830 | 2022-05-20 15:06 | 43.6593 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.4534 | μmol/L | 18.1925 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.403 | 127355.409 | 269476.0965 | 33.25 | 75.7
24840 | 2022-05-20 15:07 | 43.9919 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.7695 | μmol/L | 18.1802 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.436 | 127574.6054 | 269484.6775 | 33.25 | 75.7
24850 | 2022-05-20 15:07 | 44.3255 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.9998 | μmol/L | 18.1863 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.466 | 127768.1708 | 269472.6506 | 33.25 | 75.7
24860 | 2022-05-20 15:07 | 44.6588 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.7908 | μmol/L | 18.1802 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.477 | 127861.2916 | 269460.6407 | 33.25 | 75.7
24870 | 2022-05-20 15:08 | 44.9921 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.4996 | μmol/L | 18.1863 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.487 | 127908.4327 | 269456.8368 | 33.25 | 75.7
24880 | 2022-05-20 15:08 | 45.3254 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.4758 | μmol/L | 18.1863 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.488 | 127926.2145 | 269457.988 | 33.25 | 75.7
24890 | 2022-05-20 15:08 | 45.6587 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.3807 | μmol/L | 18.1863 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.492 | 127934.1945 | 269455.9633 | 33.25 | 75.7
24900 | 2022-05-20 15:09 | 45.9922 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.3807 | μmol/L | 18.1863 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.492 | 127903.7077 | 269447.709 | 33.25 | 75.7
24910 | 2022-05-20 15:09 | 46.3257 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.3569 | μmol/L | 18.1863 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.493 | 127932.9608 | 269435.3564 | 33.25 | 75.7
24920 | 2022-05-20 15:09 | 46.6591 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.2912 | μmol/L | 18.1802 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.498 | 127963.7396 | 269441.7505 | 33.25 | 75.7
24930 | 2022-05-20 15:10 | 46.9924 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.1486 | μmol/L | 18.1802 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.504 | 128002.4803 | 269432.7533 | 33.25 | 75.7
24940 | 2022-05-20 15:10 | 47.3258 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.0537 | μmol/L | 18.1802 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.508 | 128039.6082 | 269439.484 | 33.25 | 75.7
24950 | 2022-05-20 15:10 | 47.6592 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.9532 | μmol/L | 18.1863 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.51 | 128039.6712 | 269427.36 | 33.25 | 75.7
24960 | 2022-05-20 15:11 | 47.9927 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.8108 | μmol/L | 18.1863 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.516 | 128070.6665 | 269430.7531 | 33.25 | 75.7
24970 | 2022-05-20 15:11 | 48.3254 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.6741 | μmol/L | 18.1802 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.524 | 128105.7116 | 269433.3368 | 33.25 | 75.7
24980 | 2022-05-20 15:11 | 48.659 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.5975 | μmol/L | 18.1863 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.525 | 128150.4345 | 269405.0694 | 33.25 | 75.7
24990 | 2022-05-20 15:12 | 48.9923 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.3844 | μmol/L | 18.1863 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.534 | 128173.7316 | 269408.9002 | 33.25 | 75.7
25000 | 2022-05-20 15:12 | 49.3257 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.3134 | μmol/L | 18.1863 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.537 | 128210.382 | 269397.2454 | 33.25 | 75.7
25010 | 2022-05-20 15:12 | 49.659 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.0769 | μmol/L | 18.1863 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.547 | 128251.7895 | 269392.0683 | 33.25 | 75.7
25020 | 2022-05-20 15:13 | 49.9925 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.9059 | μmol/L | 18.1925 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.552 | 128262.7954 | 269394.1778 | 33.25 | 75.7
25030 | 2022-05-20 15:13 | 50.3259 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.8823 | μmol/L | 18.1925 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.553 | 128267.6942 | 269399.5965 | 33.25 | 75.7
25040 | 2022-05-20 15:13 | 50.6594 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.8115 | μmol/L | 18.1925 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.556 | 128285.5695 | 269383.2776 | 33.25 | 75.7
25050 | 2022-05-20 15:14 | 50.9921 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.9824 | μmol/L | 18.1863 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.551 | 128271.716 | 269380.5391 | 33.25 | 75.7
25060 | 2022-05-20 15:14 | 51.3255 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.9768 | μmol/L | 18.1925 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.549 | 128238.5724 | 269381.3886 | 33.25 | 75.7
25070 | 2022-05-20 15:14 | 51.6588 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.1659 | μmol/L | 18.1925 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.541 | 128182.9623 | 269361.1113 | 33.25 | 75.7
25080 | 2022-05-20 15:15 | 51.9924 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.2313 | μmol/L | 18.1986 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.536 | 128156.0581 | 269365.7004 | 33.25 | 75.7
25090 | 2022-05-20 15:15 | 52.326 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.3607 | μmol/L | 18.1863 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.535 | 128127.4744 | 269355.8273 | 33.25 | 75.7
25100 | 2022-05-20 15:15 | 52.6594 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.3552 | μmol/L | 18.1925 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.533 | 128133.7409 | 269351.0068 | 33.25 | 75.7
25110 | 2022-05-20 15:16 | 52.9926 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.3315 | μmol/L | 18.1925 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.534 | 128113.3609 | 269367.5372 | 33.25 | 75.7
25120 | 2022-05-20 15:16 | 53.3252 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.2842 | μmol/L | 18.1925 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.536 | 128138.0557 | 269363.3429 | 33.25 | 75.7
25130 | 2022-05-20 15:16 | 53.6586 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.1659 | μmol/L | 18.1925 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.541 | 128147.8618 | 269346.8174 | 33.25 | 75.7
25140 | 2022-05-20 15:17 | 53.9922 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.1951 | μmol/L | 18.1863 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.542 | 128169.86 | 269353.6096 | 33.25 | 75.7
25150 | 2022-05-20 15:17 | 54.3255 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.095 | μmol/L | 18.1925 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.544 | 128175.3243 | 269348.0794 | 33.25 | 75.7
25160 | 2022-05-20 15:17 | 54.659 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.9476 | μmol/L | 18.1986 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.548 | 128192.2566 | 269337.9079 | 33.25 | 75.7
25170 | 2022-05-20 15:18 | 54.9924 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.8295 | μmol/L | 18.1986 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.553 | 128216.2884 | 269342.4218 | 33.25 | 75.7
25180 | 2022-05-20 15:18 | 55.3255 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.8768 | μmol/L | 18.1986 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.551 | 128225.8128 | 269332.2901 | 33.25 | 75.7
25190 | 2022-05-20 15:18 | 55.6591 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.8712 | μmol/L | 18.2047 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.549 | 128222.9018 | 269320.5564 | 33.25 | 75.7
25200 | 2022-05-20 15:19 | 55.9925 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.9713 | μmol/L | 18.1986 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.547 | 128189.8006 | 269318.8218 | 33.25 | 75.7
25210 | 2022-05-20 15:19 | 56.3257 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.0185 | μmol/L | 18.1986 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.545 | 128177.0338 | 269310.833 | 33.25 | 75.7
25220 | 2022-05-20 15:19 | 56.659 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.9713 | μmol/L | 18.1986 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.547 | 128185.1153 | 269302.3045 | 33.25 | 75.7
25230 | 2022-05-20 15:20 | 56.9926 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.8948 | μmol/L | 18.2047 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.548 | 128187.9249 | 269310.833 | 33.25 | 75.7
25240 | 2022-05-20 15:20 | 57.3254 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.8421 | μmol/L | 18.2109 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.548 | 128203.1013 | 269300.0782 | 33.25 | 75.7
25250 | 2022-05-20 15:20 | 57.6588 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.7587 | μmol/L | 18.1986 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.556 | 128238.9798 | 269308.3153 | 33.25 | 75.7
25260 | 2022-05-20 15:21 | 57.9922 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.4701 | μmol/L | 18.2047 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.566 | 128277.3181 | 269302.3733 | 33.25 | 75.7
25270 | 2022-05-20 15:21 | 58.3257 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.5228 | μmol/L | 18.1986 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.566 | 128303.7561 | 269296.6308 | 33.25 | 75.7
25280 | 2022-05-20 15:21 | 58.659 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.3287 | μmol/L | 18.2047 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.572 | 128318.981 | 269285.4939 | 33.25 | 75.7
25290 | 2022-05-20 15:22 | 58.9926 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.3814 | μmol/L | 18.1986 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.572 | 128325.57 | 269286.3016 | 33.25 | 75.7
25300 | 2022-05-20 15:22 | 59.3253 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.3051 | μmol/L | 18.2047 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.573 | 128319.5181 | 269281.5981 | 33.25 | 75.7
25310 | 2022-05-20 15:22 | 59.6586 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.4229 | μmol/L | 18.2047 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.568 | 128308.6655 | 269278.7002 | 33.25 | 75.7
25320 | 2022-05-20 15:23 | 59.9927 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.3342 | μmol/L | 18.1986 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.574 | 128312.8024 | 269267.2329 | 33.25 | 75.7
25330 | 2022-05-20 15:23 | 60.3254 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.2636 | μmol/L | 18.1986 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.577 | 128337.8631 | 269263.8447 | 33.25 | 75.7
25340 | 2022-05-20 15:23 | 60.6589 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.1403 | μmol/L | 18.2047 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.58 | 128386.6817 | 269265.456 | 33.25 | 75.7
25350 | 2022-05-20 15:24 | 60.9923 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.8871 | μmol/L | 18.1986 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.593 | 128443.73 | 269269.3767 | 33.25 | 75.7
25360 | 2022-05-20 15:24 | 61.3258 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.5995 | μmol/L | 18.2047 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.603 | 128513.2822 | 269272.4724 | 33.25 | 75.7
25370 | 2022-05-20 15:24 | 61.6591 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.4587 | μmol/L | 18.2047 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.609 | 128553.6486 | 269272.1303 | 33.25 | 75.7
25380 | 2022-05-20 15:25 | 61.9927 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.3939 | μmol/L | 18.1986 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.614 | 128572.3679 | 269259.2394 | 33.25 | 75.7
25390 | 2022-05-20 15:25 | 62.326 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.271 | μmol/L | 18.2047 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.617 | 128591.6466 | 269261.9131 | 33.25 | 75.7
25400 | 2022-05-20 15:25 | 62.6586 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.1538 | μmol/L | 18.2047 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.622 | 128608.0265 | 269259.1596 | 33.25 | 75.7
25410 | 2022-05-20 15:26 | 62.9921 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.9374 | μmol/L | 18.2109 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.629 | 128653.6821 | 269249.6163 | 33.25 | 75.7
25420 | 2022-05-20 15:26 | 63.3255 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.797 | μmol/L | 18.2109 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.635 | 128703.2542 | 269240.4359 | 33.25 | 75.7
25430 | 2022-05-20 15:26 | 63.659 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.6622 | μmol/L | 18.2047 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.643 | 128734.9578 | 269252.5078 | 33.25 | 75.7
25440 | 2022-05-20 15:27 | 63.9923 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.5164 | μmol/L | 18.2109 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.647 | 128781.0014 | 269251.1016 | 33.25 | 75.7
25450 | 2022-05-20 15:27 | 64.3257 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.1428 | μmol/L | 18.2109 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.663 | 128877.8662 | 269243.6668 | 33.25 | 75.7
25460 | 2022-05-20 15:27 | 64.6589 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 273.7233 | μmol/L | 18.2109 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.681 | 129015.8114 | 269254.3376 | 33.25 | 75.7
25470 | 2022-05-20 15:28 | 64.9922 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 273.0435 | μmol/L | 18.217 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.708 | 129161.0687 | 269245.0705 | 33.25 | 75.7
25480 | 2022-05-20 15:28 | 65.3254 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 272.5103 | μmol/L | 18.217 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.731 | 129326.1185 | 269249.2563 | 33.25 | 75.7
25490 | 2022-05-20 15:28 | 65.6588 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 272.0533 | μmol/L | 18.2109 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.753 | 129497.6367 | 269236.2698 | 33.25 | 75.7
25500 | 2022-05-20 15:29 | 65.9924 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.4247 | μmol/L | 18.217 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.778 | 129620.0195 | 269234.3142 | 33.25 | 75.7
25510 | 2022-05-20 15:29 | 66.3261 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.2231 | μmol/L | 18.2109 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.789 | 129690.0689 | 269225.7791 | 33.25 | 75.7
25520 | 2022-05-20 15:29 | 66.6587 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.1253 | μmol/L | 18.217 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.791 | 129703.1489 | 269225.2193 | 33.25 | 75.7
25530 | 2022-05-20 15:30 | 66.992 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.1023 | μmol/L | 18.217 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.792 | 129702.3247 | 269228.3725 | 33.25 | 75.7
25540 | 2022-05-20 15:30 | 67.3255 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.1483 | μmol/L | 18.217 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.79 | 129690.7804 | 269232.0208 | 33.25 | 75.7
25550 | 2022-05-20 15:30 | 67.6588 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.1657 | μmol/L | 18.2231 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.787 | 129691.0689 | 269218.9676 | 33.25 | 75.7
25560 | 2022-05-20 15:31 | 67.9923 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.0563 | μmol/L | 18.217 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.794 | 129697.6019 | 269217.7535 | 33.25 | 75.7
25570 | 2022-05-20 15:31 | 68.326 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.7805 | μmol/L | 18.217 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.806 | 129800.0442 | 269225.9313 | 33.25 | 75.7
25580 | 2022-05-20 15:31 | 68.6586 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.2757 | μmol/L | 18.217 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.828 | 129913.0455 | 269208.5587 | 33.25 | 75.7
25590 | 2022-05-20 15:32 | 68.992 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.3501 | μmol/L | 18.2109 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.827 | 129925.474 | 269209.0505 | 33.25 | 75.7
25600 | 2022-05-20 15:32 | 69.3255 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.2986 | μmol/L | 18.217 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.827 | 129907.6812 | 269203.468 | 33.25 | 75.7
25610 | 2022-05-20 15:32 | 69.6589 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.6197 | μmol/L | 18.217 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.813 | 129836.3711 | 269213.3801 | 33.25 | 75.7
25620 | 2022-05-20 15:33 | 69.9925 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.8264 | μmol/L | 18.217 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.804 | 129757.2491 | 269215.5724 | 33.25 | 75.7
25630 | 2022-05-20 15:33 | 70.326 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.8724 | μmol/L | 18.217 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.802 | 129732.6753 | 269208.4388 | 33.25 | 75.7
25640 | 2022-05-20 15:33 | 70.6593 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.7575 | μmol/L | 18.217 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.807 | 129776.2918 | 269198.793 | 33.25 | 75.7
25650 | 2022-05-20 15:34 | 70.9919 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.6197 | μmol/L | 18.217 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.813 | 129808.2824 | 269212.0329 | 33.25 | 75.7
25660 | 2022-05-20 15:34 | 71.3254 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.5222 | μmol/L | 18.2231 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.815 | 129839.9122 | 269202.0641 | 33.25 | 75.7
25670 | 2022-05-20 15:34 | 71.6586 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.4075 | μmol/L | 18.2231 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.82 | 129870.9205 | 269202.8068 | 33.25 | 75.7
25680 | 2022-05-20 15:35 | 71.9921 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.505 | μmol/L | 18.217 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.818 | 129845.0966 | 269194.6359 | 33.25 | 75.7
25690 | 2022-05-20 15:35 | 72.3255 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.5279 | μmol/L | 18.217 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.817 | 129857.5133 | 269198.0965 | 33.25 | 75.7
25700 | 2022-05-20 15:35 | 72.6591 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.5279 | μmol/L | 18.217 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.817 | 129839.5934 | 269193.9269 | 33.25 | 75.7
25710 | 2022-05-20 15:36 | 72.9927 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.7289 | μmol/L | 18.2231 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.806 | 129762.3095 | 269196.6969 | 33.25 | 75.7
25720 | 2022-05-20 15:36 | 73.3256 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.0793 | μmol/L | 18.217 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.793 | 129659.4982 | 269194.7106 | 33.25 | 75.7
25730 | 2022-05-20 15:36 | 73.659 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.3325 | μmol/L | 18.217 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.782 | 129618.8519 | 269181.5139 | 33.25 | 75.7
25740 | 2022-05-20 15:37 | 73.9922 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.3269 | μmol/L | 18.2231 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.78 | 129596.6236 | 269187.6656 | 33.25 | 75.7
25750 | 2022-05-20 15:37 | 74.3257 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.396 | μmol/L | 18.2231 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.777 | 129600.0627 | 269202.1679 | 33.25 | 75.7
25760 | 2022-05-20 15:37 | 74.659 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.2578 | μmol/L | 18.2231 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.783 | 129603.8071 | 269196.0333 | 33.25 | 75.7
25770 | 2022-05-20 15:38 | 74.9926 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.9357 | μmol/L | 18.2231 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.797 | 129733.0158 | 269186.0603 | 33.25 | 75.7
25780 | 2022-05-20 15:38 | 75.3261 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.5222 | μmol/L | 18.2231 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.815 | 129817.4483 | 269188.9769 | 33.25 | 75.7
25790 | 2022-05-20 15:38 | 75.6587 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.3158 | μmol/L | 18.2231 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.824 | 129872.3228 | 269200.5726 | 33.25 | 75.7
25800 | 2022-05-20 15:39 | 75.9922 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.1611 | μmol/L | 18.217 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.833 | 129941.4487 | 269198.2053 | 33.25 | 75.7
25810 | 2022-05-20 15:39 | 76.3257 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.7663 | μmol/L | 18.2231 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.848 | 130021.3209 | 269191.1137 | 33.25 | 75.7
25820 | 2022-05-20 15:39 | 76.659 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.612 | μmol/L | 18.217 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.857 | 130074.7056 | 269186.9516 | 33.25 | 75.7
25830 | 2022-05-20 15:40 | 76.9924 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.3779 | μmol/L | 18.2231 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.865 | 130131.9772 | 269182.0706 | 33.25 | 75.7
25840 | 2022-05-20 15:40 | 77.3258 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.0187 | μmol/L | 18.2415 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.874 | 130198.4454 | 269187.2658 | 33.25 | 75.7
25850 | 2022-05-20 15:40 | 77.6592 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.9903 | μmol/L | 18.2231 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.882 | 130265.3954 | 269187.1386 | 33.25 | 75.7
25860 | 2022-05-20 15:41 | 77.9926 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.7398 | μmol/L | 18.2231 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.893 | 130324.2924 | 269188.4544 | 33.25 | 75.7
25870 | 2022-05-20 15:41 | 78.3253 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.5748 | μmol/L | 18.2293 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.898 | 130369.2703 | 269186.6938 | 33.25 | 75.7
25880 | 2022-05-20 15:41 | 78.6586 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.3248 | μmol/L | 18.2293 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.909 | 130403.13 | 269176.8458 | 33.25 | 75.7
25890 | 2022-05-20 15:42 | 78.9919 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.2397 | μmol/L | 18.2231 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.915 | 130444.1243 | 269187.1098 | 33.25 | 75.7
25900 | 2022-05-20 15:42 | 79.3255 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.2397 | μmol/L | 18.2231 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.915 | 130471.0647 | 269182.445 | 33.25 | 75.7
25910 | 2022-05-20 15:42 | 79.6592 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.2851 | μmol/L | 18.2231 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.913 | 130438.2379 | 269184.1583 | 33.25 | 75.7
25920 | 2022-05-20 15:43 | 79.9926 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.939 | μmol/L | 18.2293 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.882 | 130249.8624 | 269188.9917 | 33.25 | 75.7