## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_7 | O2 | 690909578 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:57

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-20 12:35

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
19135 | 2022-05-20 11:17 | 0 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.0164 | μmol/L | 18.8858 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.281 | 125758.8925 | 292248.927 | 59.9307 | 49.4
19145 | 2022-05-20 11:17 | 0.32878 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.997 | μmol/L | 18.8796 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.284 | 125738.0351 | 292246.8969 | 59.9307 | 49.4
19155 | 2022-05-20 11:18 | 0.66261 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.0306 | μmol/L | 18.8673 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.287 | 125706.4453 | 292221.9457 | 59.9307 | 49.4
19165 | 2022-05-20 11:18 | 0.9961 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.0594 | μmol/L | 18.8611 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.288 | 125692.5354 | 292210.8241 | 59.9307 | 49.4
19175 | 2022-05-20 11:18 | 1.3292 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.1365 | μmol/L | 18.855 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.287 | 125670.3431 | 292207.0929 | 59.9307 | 49.4
19185 | 2022-05-20 11:19 | 1.6622 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.1413 | μmol/L | 18.8488 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.289 | 125663.9278 | 292199.8992 | 59.9307 | 49.4
19195 | 2022-05-20 11:19 | 1.9955 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.1413 | μmol/L | 18.8488 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.289 | 125645.6605 | 292182.3176 | 59.9307 | 49.4
19205 | 2022-05-20 11:19 | 2.3297 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.2473 | μmol/L | 18.8365 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.289 | 125629.8167 | 292173.125 | 59.9307 | 49.4
19215 | 2022-05-20 11:20 | 2.6626 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.2038 | μmol/L | 18.8303 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.293 | 125629.1554 | 292166.7119 | 59.9307 | 49.4
19225 | 2022-05-20 11:20 | 2.9955 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.2134 | μmol/L | 18.8179 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.297 | 125621.4603 | 292153.5287 | 59.9307 | 49.4
19235 | 2022-05-20 11:20 | 3.3292 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.4691 | μmol/L | 18.7994 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.293 | 125607.8349 | 292128.3362 | 59.9307 | 49.4
19245 | 2022-05-20 11:21 | 3.6622 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.3195 | μmol/L | 18.8056 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.297 | 125598.0103 | 292129.985 | 59.9307 | 49.4
19255 | 2022-05-20 11:21 | 3.9958 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.2953 | μmol/L | 18.8056 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.298 | 125581.2166 | 292117.2451 | 59.9307 | 49.4
19265 | 2022-05-20 11:21 | 4.3295 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.4256 | μmol/L | 18.7933 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.297 | 125541.3984 | 292114.2756 | 59.9307 | 49.4
19275 | 2022-05-20 11:22 | 4.6625 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.3821 | μmol/L | 18.7871 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.301 | 125523.4471 | 292118.3764 | 59.9307 | 49.4
19285 | 2022-05-20 11:22 | 4.9962 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.4304 | μmol/L | 18.7871 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.299 | 125515.6491 | 292100.2009 | 59.9307 | 49.4
19295 | 2022-05-20 11:22 | 5.3288 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.5415 | μmol/L | 18.7686 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.301 | 125524.1346 | 292106.2795 | 59.9307 | 49.4
19305 | 2022-05-20 11:23 | 5.6624 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.5656 | μmol/L | 18.7686 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.3 | 125526.4187 | 292099.6697 | 59.9307 | 49.4
19315 | 2022-05-20 11:23 | 5.9959 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.6236 | μmol/L | 18.7562 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.302 | 125518.0122 | 292080.892 | 59.9307 | 49.4
19325 | 2022-05-20 11:23 | 6.3288 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.7009 | μmol/L | 18.7501 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.301 | 125507.5249 | 292090.2055 | 59.9307 | 49.4
19335 | 2022-05-20 11:24 | 6.6625 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.6816 | μmol/L | 18.7439 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.304 | 125504.0941 | 292076.8976 | 59.9307 | 49.4
19345 | 2022-05-20 11:24 | 6.9962 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.7299 | μmol/L | 18.7439 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.302 | 125501.5993 | 292072.6147 | 59.9307 | 49.4
19355 | 2022-05-20 11:24 | 7.3293 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.8122 | μmol/L | 18.7315 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.303 | 125483.8198 | 292053.7066 | 59.9307 | 49.4
19365 | 2022-05-20 11:25 | 7.6629 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.8896 | μmol/L | 18.7254 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.302 | 125467.9935 | 292044.7983 | 59.9307 | 49.4
19375 | 2022-05-20 11:25 | 7.9956 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.8654 | μmol/L | 18.7254 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.303 | 125466.0471 | 292049.1646 | 59.9307 | 49.4
19385 | 2022-05-20 11:25 | 8.3291 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.9235 | μmol/L | 18.713 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.305 | 125457.0858 | 292046.6736 | 59.9307 | 49.4
19395 | 2022-05-20 11:26 | 8.6628 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.9284 | μmol/L | 18.7069 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.307 | 125444.2746 | 292033.0384 | 59.9307 | 49.4
19405 | 2022-05-20 11:26 | 8.9958 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.9817 | μmol/L | 18.7007 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.307 | 125434.2383 | 292032.1547 | 59.9307 | 49.4
19415 | 2022-05-20 11:26 | 9.3294 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.9091 | μmol/L | 18.7007 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.31 | 125428.2305 | 292025.8915 | 59.9307 | 49.4
19425 | 2022-05-20 11:27 | 9.6622 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.9624 | μmol/L | 18.6945 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.31 | 125424.1168 | 292026.9064 | 59.9307 | 49.4
19435 | 2022-05-20 11:27 | 9.9959 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.0931 | μmol/L | 18.6822 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.309 | 125418.7415 | 292031.3837 | 59.9307 | 49.4
19445 | 2022-05-20 11:27 | 10.3289 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.0689 | μmol/L | 18.6822 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.31 | 125418.3612 | 292013.9562 | 59.9307 | 49.4
19455 | 2022-05-20 11:28 | 10.6626 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.0497 | μmol/L | 18.676 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.313 | 125424.3812 | 292003.9513 | 59.9307 | 49.4
19465 | 2022-05-20 11:28 | 10.9954 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.0788 | μmol/L | 18.6698 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.314 | 125424.1131 | 292004.2401 | 59.9307 | 49.4
19475 | 2022-05-20 11:28 | 11.3294 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.1612 | μmol/L | 18.6575 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.315 | 125415.685 | 291995.6407 | 59.9307 | 49.4
19485 | 2022-05-20 11:29 | 11.6621 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.1321 | μmol/L | 18.6637 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.314 | 125423.4607 | 292009.7957 | 59.9307 | 49.4
19495 | 2022-05-20 11:29 | 11.996 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.0886 | μmol/L | 18.6575 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.318 | 125398.9551 | 291995.2911 | 59.9307 | 49.4
19505 | 2022-05-20 11:29 | 12.3289 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.2679 | μmol/L | 18.6452 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.315 | 125395.6136 | 291978.66 | 59.9307 | 49.4
19515 | 2022-05-20 11:30 | 12.6625 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.2729 | μmol/L | 18.639 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.317 | 125390.2773 | 291982.2895 | 59.9307 | 49.4
19525 | 2022-05-20 11:30 | 12.9954 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.3263 | μmol/L | 18.6328 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.317 | 125380.8761 | 291959.4335 | 59.9307 | 49.4
19535 | 2022-05-20 11:30 | 13.329 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.2487 | μmol/L | 18.639 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.318 | 125386.0806 | 291953.2785 | 59.9307 | 49.4
19545 | 2022-05-20 11:31 | 13.6625 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.3554 | μmol/L | 18.6266 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.318 | 125378.1333 | 291958.055 | 59.9307 | 49.4
19555 | 2022-05-20 11:31 | 13.9961 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.2536 | μmol/L | 18.6328 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.32 | 125366.1244 | 291953.1313 | 59.9307 | 49.4
19565 | 2022-05-20 11:31 | 14.329 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.3412 | μmol/L | 18.6143 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.323 | 125362.7275 | 291923.647 | 59.9307 | 49.4
19575 | 2022-05-20 11:32 | 14.6629 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.3946 | μmol/L | 18.6081 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.323 | 125365.6225 | 291946.0054 | 59.9307 | 49.4
19585 | 2022-05-20 11:32 | 14.9958 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.5449 | μmol/L | 18.602 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.319 | 125355.8542 | 291944.3072 | 59.9307 | 49.4
19595 | 2022-05-20 11:32 | 15.3294 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.4722 | μmol/L | 18.602 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.322 | 125360.0535 | 291944.2709 | 59.9307 | 49.4
19605 | 2022-05-20 11:33 | 15.6623 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.4772 | μmol/L | 18.5958 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.324 | 125352.8475 | 291923.0964 | 59.9307 | 49.4
19615 | 2022-05-20 11:33 | 15.9959 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.5064 | μmol/L | 18.5896 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.325 | 125358.5167 | 291927.597 | 59.9307 | 49.4
19625 | 2022-05-20 11:33 | 16.3288 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.5599 | μmol/L | 18.5835 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.325 | 125337.3698 | 291918.3403 | 59.9307 | 49.4
19635 | 2022-05-20 11:34 | 16.6624 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.6861 | μmol/L | 18.5773 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.322 | 125335.445 | 291905.4158 | 59.9307 | 49.4
19645 | 2022-05-20 11:34 | 16.9959 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.7881 | μmol/L | 18.5711 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.32 | 125336.3181 | 291906.8811 | 59.9307 | 49.4
19655 | 2022-05-20 11:34 | 17.3294 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.6426 | μmol/L | 18.5711 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.326 | 125331.0284 | 291881.1201 | 59.9307 | 49.4
19665 | 2022-05-20 11:35 | 17.6621 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.58 | μmol/L | 18.5588 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.333 | 125384.0246 | 291909.941 | 59.9307 | 49.4
19675 | 2022-05-20 11:35 | 17.9959 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.5901 | μmol/L | 18.5464 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.337 | 125382.6375 | 291903.3209 | 59.9307 | 49.4
19685 | 2022-05-20 11:35 | 18.3287 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.5901 | μmol/L | 18.5464 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.337 | 125393.1277 | 291892.618 | 59.9307 | 49.4
19695 | 2022-05-20 11:36 | 18.6624 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.5225 | μmol/L | 18.5403 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.342 | 125381.9158 | 291880.2745 | 59.9307 | 49.4
19705 | 2022-05-20 11:36 | 18.9955 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.5952 | μmol/L | 18.5403 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.339 | 125368.9414 | 291875.4598 | 59.9307 | 49.4
19715 | 2022-05-20 11:36 | 19.3291 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.678 | μmol/L | 18.5279 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.34 | 125369.4386 | 291882.8993 | 59.9307 | 49.4
19725 | 2022-05-20 11:37 | 19.6628 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.5276 | μmol/L | 18.5341 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.344 | 125379.5369 | 291865.2869 | 59.9307 | 49.4
19735 | 2022-05-20 11:37 | 19.996 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.6639 | μmol/L | 18.5156 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.345 | 125361.9082 | 291848.868 | 59.9307 | 49.4
19745 | 2022-05-20 11:37 | 20.3293 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.6881 | μmol/L | 18.5156 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.344 | 125356.6325 | 291845.9109 | 59.9307 | 49.4
19755 | 2022-05-20 11:38 | 20.6624 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.6155 | μmol/L | 18.5156 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.347 | 125373.0996 | 291845.7499 | 59.9307 | 49.4
19765 | 2022-05-20 11:38 | 20.9959 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.4651 | μmol/L | 18.5217 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.351 | 125396.0332 | 291845.5546 | 59.9307 | 49.4
19775 | 2022-05-20 11:38 | 21.3293 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.325 | μmol/L | 18.5156 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.359 | 125411.7769 | 291836.9064 | 59.9307 | 49.4
19785 | 2022-05-20 11:39 | 21.6627 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.2626 | μmol/L | 18.5032 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.366 | 125458.339 | 291827.6509 | 59.9307 | 49.4
19795 | 2022-05-20 11:39 | 21.9961 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.3696 | μmol/L | 18.4909 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.366 | 125458.0268 | 291819.8388 | 59.9307 | 49.4
19805 | 2022-05-20 11:39 | 22.3288 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.2487 | μmol/L | 18.4909 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.371 | 125465.8622 | 291810.7546 | 59.9307 | 49.4
19815 | 2022-05-20 11:40 | 22.6623 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.3073 | μmol/L | 18.4786 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.373 | 125486.7751 | 291812.0801 | 59.9307 | 49.4
19825 | 2022-05-20 11:40 | 22.9955 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.1813 | μmol/L | 18.4847 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.376 | 125495.4838 | 291814.8854 | 59.9307 | 49.4
19835 | 2022-05-20 11:40 | 23.329 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.1571 | μmol/L | 18.4847 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.377 | 125504.3462 | 291802.9306 | 59.9307 | 49.4
19845 | 2022-05-20 11:41 | 23.6623 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.1088 | μmol/L | 18.4847 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.379 | 125498.6141 | 291765.8471 | 59.9307 | 49.4
19855 | 2022-05-20 11:41 | 23.9955 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.0656 | μmol/L | 18.4786 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.383 | 125506.0126 | 291768.0091 | 59.9307 | 49.4
19865 | 2022-05-20 11:41 | 24.329 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.9931 | μmol/L | 18.4786 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.386 | 125520.1052 | 291788.1831 | 59.9307 | 49.4
19875 | 2022-05-20 11:42 | 24.6623 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.2122 | μmol/L | 18.4477 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.388 | 125537.7828 | 291773.099 | 59.9307 | 49.4
19885 | 2022-05-20 11:42 | 24.9955 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.9413 | μmol/L | 18.4539 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.397 | 125580.9447 | 291754.0988 | 59.9307 | 49.4
19895 | 2022-05-20 11:42 | 25.3288 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.8103 | μmol/L | 18.4662 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.398 | 125576.0337 | 291780.9305 | 59.9307 | 49.4
19905 | 2022-05-20 11:43 | 25.6622 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.5881 | μmol/L | 18.4724 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.405 | 125623.9017 | 291743.7431 | 59.9307 | 49.4
19915 | 2022-05-20 11:43 | 25.9962 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.6088 | μmol/L | 18.4477 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.413 | 125642.5658 | 291725.9065 | 59.9307 | 49.4
19925 | 2022-05-20 11:43 | 26.3296 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.5365 | μmol/L | 18.4477 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.416 | 125668.8099 | 291760.0087 | 59.9307 | 49.4
19935 | 2022-05-20 11:44 | 26.6621 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.3679 | μmol/L | 18.4477 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.423 | 125689.3238 | 291755.7438 | 59.9307 | 49.4
19945 | 2022-05-20 11:44 | 26.9962 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.4317 | μmol/L | 18.4292 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.427 | 125701.6088 | 291743.8962 | 59.9307 | 49.4
19955 | 2022-05-20 11:44 | 27.3294 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.4128 | μmol/L | 18.423 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.43 | 125736.349 | 291722.6454 | 59.9307 | 49.4
19965 | 2022-05-20 11:45 | 27.6629 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.1669 | μmol/L | 18.4292 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.438 | 125753.7297 | 291717.8128 | 59.9307 | 49.4
19975 | 2022-05-20 11:45 | 27.996 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.1 | μmol/L | 18.423 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.443 | 125787.2408 | 291703.8598 | 59.9307 | 49.4
19985 | 2022-05-20 11:45 | 28.3291 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.1293 | μmol/L | 18.4169 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.444 | 125799.1363 | 291687.9497 | 59.9307 | 49.4
19995 | 2022-05-20 11:46 | 28.6621 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.9903 | μmol/L | 18.4107 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.452 | 125811.2031 | 291691.1262 | 59.9307 | 49.4
20005 | 2022-05-20 11:46 | 28.9958 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.961 | μmol/L | 18.4169 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.451 | 125827.0285 | 291668.8584 | 59.9307 | 49.4
20015 | 2022-05-20 11:46 | 29.3296 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.8116 | μmol/L | 18.423 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.455 | 125849.9355 | 291664.3321 | 59.9307 | 49.4
20025 | 2022-05-20 11:47 | 29.6626 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.6488 | μmol/L | 18.4169 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.464 | 125872.4286 | 291660.0951 | 59.9307 | 49.4
20035 | 2022-05-20 11:47 | 29.9957 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.6008 | μmol/L | 18.4169 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.466 | 125903.8297 | 291671.8874 | 59.9307 | 49.4
20045 | 2022-05-20 11:47 | 30.3287 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.4862 | μmol/L | 18.4107 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.473 | 125912.409 | 291656.1101 | 59.9307 | 49.4
20055 | 2022-05-20 11:48 | 30.6625 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.5312 | μmol/L | 18.386 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.48 | 125957.0011 | 291654.1998 | 59.9307 | 49.4
20065 | 2022-05-20 11:48 | 30.9954 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.4487 | μmol/L | 18.3983 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.479 | 125969.6158 | 291650.6506 | 59.9307 | 49.4
20075 | 2022-05-20 11:48 | 31.3287 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.3049 | μmol/L | 18.3983 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.485 | 125968.917 | 291643.5941 | 59.9307 | 49.4
20085 | 2022-05-20 11:49 | 31.6621 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.4832 | μmol/L | 18.386 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.482 | 125977.2753 | 291626.5349 | 59.9307 | 49.4
20095 | 2022-05-20 11:49 | 31.9954 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.4593 | μmol/L | 18.386 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.483 | 125959.3408 | 291633.264 | 59.9307 | 49.4
20105 | 2022-05-20 11:49 | 32.3289 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.4113 | μmol/L | 18.386 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.485 | 125946.1212 | 291612.8246 | 59.9307 | 49.4
20115 | 2022-05-20 11:50 | 32.6622 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.3581 | μmol/L | 18.3922 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.485 | 125946.0214 | 291605.3929 | 59.9307 | 49.4
20125 | 2022-05-20 11:50 | 32.9955 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.3634 | μmol/L | 18.386 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.487 | 125932.3018 | 291613.2605 | 59.9307 | 49.4
20135 | 2022-05-20 11:50 | 33.3291 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.4832 | μmol/L | 18.386 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.482 | 125916.9028 | 291604.1598 | 59.9307 | 49.4
20145 | 2022-05-20 11:51 | 33.6626 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.4113 | μmol/L | 18.386 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.485 | 125914.4271 | 291580.6881 | 59.9307 | 49.4
20155 | 2022-05-20 11:51 | 33.9954 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.4938 | μmol/L | 18.3737 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.486 | 125937.6835 | 291592.2358 | 59.9307 | 49.4
20165 | 2022-05-20 11:51 | 34.3295 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.3447 | μmol/L | 18.3798 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.49 | 125934.0137 | 291575.1978 | 59.9307 | 49.4
20175 | 2022-05-20 11:52 | 34.6622 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.2729 | μmol/L | 18.3798 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.493 | 125971.4134 | 291581.2526 | 59.9307 | 49.4
20185 | 2022-05-20 11:52 | 34.9956 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.1345 | μmol/L | 18.3737 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.501 | 125988.2556 | 291564.5608 | 59.9307 | 49.4
20195 | 2022-05-20 11:52 | 35.3293 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.0202 | μmol/L | 18.3675 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.508 | 126016.3551 | 291556.1127 | 59.9307 | 49.4
20205 | 2022-05-20 11:53 | 35.6623 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.9059 | μmol/L | 18.3613 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.515 | 126062.9633 | 291548.168 | 59.9307 | 49.4
20215 | 2022-05-20 11:53 | 35.9959 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.9644 | μmol/L | 18.349 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.517 | 126070.3904 | 291538.2584 | 59.9307 | 49.4
20225 | 2022-05-20 11:53 | 36.3292 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.9458 | μmol/L | 18.3428 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.52 | 126087.8587 | 291520.0746 | 59.9307 | 49.4
20235 | 2022-05-20 11:54 | 36.6626 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.9033 | μmol/L | 18.3366 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.524 | 126120.2395 | 291521.058 | 59.9307 | 49.4
20245 | 2022-05-20 11:54 | 36.996 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.6298 | μmol/L | 18.349 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.531 | 126130.2629 | 291514.9252 | 59.9307 | 49.4
20255 | 2022-05-20 11:54 | 37.3288 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.5529 | μmol/L | 18.3552 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.532 | 126150.6673 | 291519.5023 | 59.9307 | 49.4
20265 | 2022-05-20 11:55 | 37.6622 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.4389 | μmol/L | 18.349 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.539 | 126177.6608 | 291514.7094 | 59.9307 | 49.4
20275 | 2022-05-20 11:55 | 37.9958 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.2904 | μmol/L | 18.3552 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.543 | 126190.3098 | 291517.2781 | 59.9307 | 49.4
20285 | 2022-05-20 11:55 | 38.3293 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.3542 | μmol/L | 18.3366 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.547 | 126203.9666 | 291509.6014 | 59.9307 | 49.4
20295 | 2022-05-20 11:56 | 38.6621 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.341 | μmol/L | 18.3243 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.552 | 126231.9017 | 291502.8181 | 59.9307 | 49.4
20305 | 2022-05-20 11:56 | 38.9957 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.1688 | μmol/L | 18.3305 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.557 | 126265.5425 | 291498.2354 | 59.9307 | 49.4
20315 | 2022-05-20 11:56 | 39.3292 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.0075 | μmol/L | 18.3243 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.566 | 126296.5295 | 291495.5843 | 59.9307 | 49.4
20325 | 2022-05-20 11:57 | 39.6628 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.8939 | μmol/L | 18.3181 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.573 | 126320.0566 | 291476.157 | 59.9307 | 49.4
20335 | 2022-05-20 11:57 | 39.9962 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.7404 | μmol/L | 18.3305 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.575 | 126350.2894 | 291486.2898 | 59.9307 | 49.4
20345 | 2022-05-20 11:57 | 40.329 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.5977 | μmol/L | 18.3305 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.581 | 126372.5206 | 291474.3238 | 59.9307 | 49.4
20355 | 2022-05-20 11:58 | 40.6623 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.6377 | μmol/L | 18.312 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.586 | 126399.4772 | 291469.9515 | 59.9307 | 49.4
20365 | 2022-05-20 11:58 | 40.9959 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.5664 | μmol/L | 18.312 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.589 | 126423.7296 | 291476.3164 | 59.9307 | 49.4
20375 | 2022-05-20 11:58 | 41.3292 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.4001 | μmol/L | 18.312 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.596 | 126457.1313 | 291477.349 | 59.9307 | 49.4
20385 | 2022-05-20 11:59 | 41.6627 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.276 | μmol/L | 18.3181 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.599 | 126485.764 | 291461.114 | 59.9307 | 49.4
20395 | 2022-05-20 11:59 | 41.9954 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.0625 | μmol/L | 18.3181 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.608 | 126519.5196 | 291466.9572 | 59.9307 | 49.4
20405 | 2022-05-20 11:59 | 42.329 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.9677 | μmol/L | 18.3181 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.612 | 126552.2314 | 291465.3048 | 59.9307 | 49.4
20415 | 2022-05-20 12:00 | 42.6627 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.8493 | μmol/L | 18.3181 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.617 | 126568.538 | 291453.1682 | 59.9307 | 49.4
20425 | 2022-05-20 12:00 | 42.9957 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.7309 | μmol/L | 18.3181 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.622 | 126604.5414 | 291451.6275 | 59.9307 | 49.4
20435 | 2022-05-20 12:00 | 43.3295 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.618 | μmol/L | 18.312 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.629 | 126629.7607 | 291460.3361 | 59.9307 | 49.4
20445 | 2022-05-20 12:01 | 43.6625 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.5524 | μmol/L | 18.3058 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.634 | 126677.4457 | 291461.4165 | 59.9307 | 49.4
20455 | 2022-05-20 12:01 | 43.9962 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.3923 | μmol/L | 18.2996 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.643 | 126705.9753 | 291445.7691 | 59.9307 | 49.4
20465 | 2022-05-20 12:01 | 44.3292 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.3032 | μmol/L | 18.2935 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.649 | 126754.8572 | 291439.654 | 59.9307 | 49.4
20475 | 2022-05-20 12:02 | 44.6628 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.1143 | μmol/L | 18.2935 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.657 | 126800.6087 | 291436.6786 | 59.9307 | 49.4
20485 | 2022-05-20 12:02 | 44.9955 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 274.9727 | μmol/L | 18.2935 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.663 | 126836.8507 | 291449.4813 | 59.9307 | 49.4
20495 | 2022-05-20 12:02 | 45.3289 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 274.9074 | μmol/L | 18.2873 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.668 | 126870.3246 | 291434.0739 | 59.9307 | 49.4
20505 | 2022-05-20 12:03 | 45.6626 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 274.7896 | μmol/L | 18.2873 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.673 | 126900.5908 | 291440.2687 | 59.9307 | 49.4
20515 | 2022-05-20 12:03 | 45.9961 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 274.525 | μmol/L | 18.2935 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.682 | 126940.0253 | 291431.0634 | 59.9307 | 49.4
20525 | 2022-05-20 12:03 | 46.3287 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 274.4363 | μmol/L | 18.2873 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.688 | 126976.7294 | 291431.3862 | 59.9307 | 49.4
20535 | 2022-05-20 12:04 | 46.6629 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 274.3241 | μmol/L | 18.2811 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.695 | 127027.036 | 291432.5962 | 59.9307 | 49.4
20545 | 2022-05-20 12:04 | 46.9955 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 274.2465 | μmol/L | 18.2626 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.705 | 127084.3551 | 291413.6951 | 59.9307 | 49.4
20555 | 2022-05-20 12:04 | 47.3292 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 273.9591 | μmol/L | 18.2688 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.715 | 127125.4618 | 291428.2287 | 59.9307 | 49.4
20565 | 2022-05-20 12:05 | 47.6621 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 273.8597 | μmol/L | 18.2749 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.717 | 127173.7445 | 291417.5743 | 59.9307 | 49.4
20575 | 2022-05-20 12:05 | 47.9956 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 273.4501 | μmol/L | 18.2873 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.73 | 127233.5273 | 291422.5884 | 59.9307 | 49.4
20585 | 2022-05-20 12:05 | 48.3294 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 273.4252 | μmol/L | 18.2626 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.74 | 127288.9923 | 291420.6728 | 59.9307 | 49.4
20595 | 2022-05-20 12:06 | 48.6629 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 273.2558 | μmol/L | 18.2688 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.745 | 127317.7311 | 291403.52 | 59.9307 | 49.4
20605 | 2022-05-20 12:06 | 48.9961 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 273.1209 | μmol/L | 18.2626 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.753 | 127364.823 | 291405.2788 | 59.9307 | 49.4
20615 | 2022-05-20 12:06 | 49.3295 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 272.9751 | μmol/L | 18.2688 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.757 | 127403.4068 | 291403.1329 | 59.9307 | 49.4
20625 | 2022-05-20 12:07 | 49.6621 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 272.8927 | μmol/L | 18.2564 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.765 | 127442.5668 | 291413.3511 | 59.9307 | 49.4
20635 | 2022-05-20 12:07 | 49.9956 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 272.6825 | μmol/L | 18.2564 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.774 | 127490.461 | 291414.7183 | 59.9307 | 49.4
20645 | 2022-05-20 12:07 | 50.3292 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 272.4669 | μmol/L | 18.2626 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.781 | 127533.084 | 291406.4014 | 59.9307 | 49.4
20655 | 2022-05-20 12:08 | 50.6627 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 272.2982 | μmol/L | 18.2688 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.786 | 127561.7121 | 291412.4176 | 59.9307 | 49.4
20665 | 2022-05-20 12:08 | 50.9961 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 272.2338 | μmol/L | 18.2626 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.791 | 127592.6093 | 291406.3565 | 59.9307 | 49.4
20675 | 2022-05-20 12:08 | 51.3296 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 272.1462 | μmol/L | 18.2564 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.797 | 127628.827 | 291411.528 | 59.9307 | 49.4
20685 | 2022-05-20 12:09 | 51.6623 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.9832 | μmol/L | 18.2564 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.804 | 127667.929 | 291401.8797 | 59.9307 | 49.4
20695 | 2022-05-20 12:09 | 51.9959 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.8492 | μmol/L | 18.2503 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.812 | 127716.4299 | 291385.0379 | 59.9307 | 49.4
20705 | 2022-05-20 12:09 | 52.3294 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.6344 | μmol/L | 18.2564 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.819 | 127741.6306 | 291376.1699 | 59.9307 | 49.4
20715 | 2022-05-20 12:10 | 52.6628 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.4077 | μmol/L | 18.2503 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.831 | 127801.8488 | 291382.9669 | 59.9307 | 49.4
20725 | 2022-05-20 12:10 | 52.9955 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.2973 | μmol/L | 18.2441 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.838 | 127856.2508 | 291392.4303 | 59.9307 | 49.4
20735 | 2022-05-20 12:10 | 53.3293 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.1118 | μmol/L | 18.2441 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.846 | 127905.6544 | 291352.8974 | 59.9307 | 49.4
20745 | 2022-05-20 12:11 | 53.6629 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.8745 | μmol/L | 18.2503 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.854 | 127950.2396 | 291373.6581 | 59.9307 | 49.4
20755 | 2022-05-20 12:11 | 53.9957 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.8394 | μmol/L | 18.2379 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.86 | 127992.6446 | 291390.0427 | 59.9307 | 49.4
20765 | 2022-05-20 12:11 | 54.3291 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.7181 | μmol/L | 18.2441 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.863 | 128020.823 | 291379.1835 | 59.9307 | 49.4