## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_5 | O2 | 386281131 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:52

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-20 11:19

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
17408 | 2022-05-20 10:01 | 0 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 317.6739 | μmol/L | 17.5869 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.95 | 113796.7473 | 273903.3463 | 36.4 | 83.1
17418 | 2022-05-20 10:02 | 0.33776 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 317.7556 | μmol/L | 17.5869 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.947 | 113725.2301 | 273869.447 | 36.4 | 83.1
17428 | 2022-05-20 10:02 | 0.67135 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 317.6659 | μmol/L | 17.593 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.948 | 113654.1307 | 273829.1101 | 36.4 | 83.1
17438 | 2022-05-20 10:02 | 1.0049 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 317.4243 | μmol/L | 17.6114 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.95 | 113588.0382 | 273788.2684 | 36.4 | 83.1
17448 | 2022-05-20 10:03 | 1.3376 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 317.4515 | μmol/L | 17.6114 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.949 | 113494.9232 | 273749.0661 | 36.4 | 83.1
17458 | 2022-05-20 10:03 | 1.671 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 317.4357 | μmol/L | 17.6236 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.945 | 113426.9986 | 273713.5768 | 36.4 | 83.1
17468 | 2022-05-20 10:03 | 2.0045 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 317.4551 | μmol/L | 17.6298 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.942 | 113387.9807 | 273670.85 | 36.4 | 83.1
17478 | 2022-05-20 10:04 | 2.3382 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 317.4551 | μmol/L | 17.6298 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.942 | 113293.7269 | 273623.0265 | 36.4 | 83.1
17488 | 2022-05-20 10:04 | 2.6716 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 317.3383 | μmol/L | 17.6359 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.944 | 113275.5759 | 273584.312 | 36.4 | 83.1
17498 | 2022-05-20 10:04 | 3.0043 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 317.1672 | μmol/L | 17.642 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.948 | 113243.3672 | 273537.0758 | 36.4 | 83.1
17508 | 2022-05-20 10:05 | 3.338 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 317.0699 | μmol/L | 17.6542 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.947 | 113194.608 | 273499.8275 | 36.4 | 83.1
17518 | 2022-05-20 10:05 | 3.6717 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 317.0892 | μmol/L | 17.6604 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.944 | 113139.1504 | 273471.7845 | 36.4 | 83.1
17528 | 2022-05-20 10:05 | 4.0046 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 317.2796 | μmol/L | 17.6604 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.937 | 113097.3024 | 273440.1099 | 36.4 | 83.1
17538 | 2022-05-20 10:06 | 4.3381 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 317.1629 | μmol/L | 17.6665 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.939 | 113044.2622 | 273398.348 | 36.4 | 83.1
17548 | 2022-05-20 10:06 | 4.6711 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 317.1551 | μmol/L | 17.6726 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.937 | 112998.8675 | 273373.3309 | 36.4 | 83.1
17558 | 2022-05-20 10:06 | 5.0047 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 317.0657 | μmol/L | 17.6787 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.938 | 112952.7683 | 273333.904 | 36.4 | 83.1
17568 | 2022-05-20 10:07 | 5.3384 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.9684 | μmol/L | 17.691 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.937 | 112904.7922 | 273289.831 | 36.4 | 83.1
17578 | 2022-05-20 10:07 | 5.6709 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 317.05 | μmol/L | 17.691 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.934 | 112861.6662 | 273240.6352 | 36.4 | 83.1
17588 | 2022-05-20 10:07 | 6.0047 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.9606 | μmol/L | 17.6971 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.935 | 112828.6436 | 273214.5514 | 36.4 | 83.1
17598 | 2022-05-20 10:08 | 6.3376 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 317.151 | μmol/L | 17.6971 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.928 | 112787.6092 | 273174.972 | 36.4 | 83.1
17608 | 2022-05-20 10:08 | 6.6712 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 317.0344 | μmol/L | 17.7032 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.93 | 112741.5893 | 273135.2571 | 36.4 | 83.1
17618 | 2022-05-20 10:08 | 7.0047 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.9722 | μmol/L | 17.7094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.93 | 112699.541 | 273096.0193 | 36.4 | 83.1
17628 | 2022-05-20 10:09 | 7.3376 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 317.0382 | μmol/L | 17.7216 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.923 | 112655.9323 | 273061.1815 | 36.4 | 83.1
17638 | 2022-05-20 10:09 | 7.6711 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 317.1004 | μmol/L | 17.7155 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.923 | 112610.3915 | 273023.3747 | 36.4 | 83.1
17648 | 2022-05-20 10:09 | 8.0049 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.8945 | μmol/L | 17.7277 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.926 | 112570.5998 | 272997.411 | 36.4 | 83.1
17658 | 2022-05-20 10:10 | 8.3379 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.9411 | μmol/L | 17.7338 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.922 | 112534.029 | 272963.7816 | 36.4 | 83.1
17668 | 2022-05-20 10:10 | 8.6713 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.9683 | μmol/L | 17.7338 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.921 | 112497.3765 | 272933.8271 | 36.4 | 83.1
17678 | 2022-05-20 10:10 | 9.0049 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 317.0499 | μmol/L | 17.7338 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.918 | 112454.5751 | 272905.2739 | 36.4 | 83.1
17688 | 2022-05-20 10:11 | 9.3376 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 317.0694 | μmol/L | 17.74 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.915 | 112414.298 | 272874.8538 | 36.4 | 83.1
17698 | 2022-05-20 10:11 | 9.6714 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.98 | μmol/L | 17.7461 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.916 | 112353.2305 | 272846.4404 | 36.4 | 83.1
17708 | 2022-05-20 10:11 | 10.0045 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.9995 | μmol/L | 17.7522 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.913 | 112268.7643 | 272798.0259 | 36.4 | 83.1
17718 | 2022-05-20 10:12 | 10.3382 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 317.0267 | μmol/L | 17.7522 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.912 | 112223.2984 | 272772.1552 | 36.4 | 83.1
17728 | 2022-05-20 10:12 | 10.671 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.9296 | μmol/L | 17.7645 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.911 | 112184.4416 | 272739.0705 | 36.4 | 83.1
17738 | 2022-05-20 10:12 | 11.0046 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.8209 | μmol/L | 17.7645 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.915 | 112151.3784 | 272708.0543 | 36.4 | 83.1
17748 | 2022-05-20 10:13 | 11.3381 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.8675 | μmol/L | 17.7706 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.911 | 112109.1471 | 272659.8564 | 36.4 | 83.1
17758 | 2022-05-20 10:13 | 11.6709 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.984 | μmol/L | 17.7645 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.909 | 112077.429 | 272639.923 | 36.4 | 83.1
17768 | 2022-05-20 10:13 | 12.0045 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.9142 | μmol/L | 17.7767 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.907 | 112052.2605 | 272617.962 | 36.4 | 83.1
17778 | 2022-05-20 10:14 | 12.3381 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.7977 | μmol/L | 17.7828 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.909 | 112030.0145 | 272601.1573 | 36.4 | 83.1
17788 | 2022-05-20 10:14 | 12.6716 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.9065 | μmol/L | 17.7828 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.905 | 112002.9026 | 272560.0478 | 36.4 | 83.1
17798 | 2022-05-20 10:14 | 13.0045 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.8172 | μmol/L | 17.7889 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.906 | 111982.129 | 272531.8305 | 36.4 | 83.1
17808 | 2022-05-20 10:15 | 13.3383 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.8444 | μmol/L | 17.7889 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.905 | 111950.4207 | 272507.8433 | 36.4 | 83.1
17818 | 2022-05-20 10:15 | 13.6709 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.7824 | μmol/L | 17.7951 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.905 | 111919.498 | 272486.4417 | 36.4 | 83.1
17828 | 2022-05-20 10:15 | 14.0049 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.7747 | μmol/L | 17.8012 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.903 | 111895.58 | 272458.9897 | 36.4 | 83.1
17838 | 2022-05-20 10:16 | 14.338 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.7747 | μmol/L | 17.8012 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.903 | 111860.4229 | 272414.9779 | 36.4 | 83.1
17848 | 2022-05-20 10:16 | 14.6709 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.7398 | μmol/L | 17.8073 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.902 | 111835.798 | 272397.3486 | 36.4 | 83.1
17858 | 2022-05-20 10:16 | 15.0046 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.8138 | μmol/L | 17.8134 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.897 | 111790.1628 | 272368.9503 | 36.4 | 83.1
17868 | 2022-05-20 10:17 | 15.3376 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.705 | μmol/L | 17.8134 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.901 | 111753.2008 | 272346.6461 | 36.4 | 83.1
17878 | 2022-05-20 10:17 | 15.6715 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.8138 | μmol/L | 17.8134 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.897 | 111720.1225 | 272304.7917 | 36.4 | 83.1
17888 | 2022-05-20 10:17 | 16.0045 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.7789 | μmol/L | 17.8196 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.896 | 111697.2366 | 272276.5462 | 36.4 | 83.1
17898 | 2022-05-20 10:18 | 16.3381 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.6082 | μmol/L | 17.8257 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.9 | 111662.461 | 272247.7338 | 36.4 | 83.1
17908 | 2022-05-20 10:18 | 16.6709 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.8333 | μmol/L | 17.8196 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.894 | 111645.9339 | 272231.7175 | 36.4 | 83.1
17918 | 2022-05-20 10:18 | 17.0049 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.7441 | μmol/L | 17.8257 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.895 | 111613.7439 | 272201.7649 | 36.4 | 83.1
17928 | 2022-05-20 10:19 | 17.3384 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.5734 | μmol/L | 17.8318 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.899 | 111588.3521 | 272171.4015 | 36.4 | 83.1
17938 | 2022-05-20 10:19 | 17.6711 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.6201 | μmol/L | 17.8379 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.895 | 111524.5705 | 272139.4642 | 36.4 | 83.1
17948 | 2022-05-20 10:19 | 18.0049 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.6549 | μmol/L | 17.8318 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.896 | 111501.303 | 272126.9224 | 36.4 | 83.1
17958 | 2022-05-20 10:20 | 18.3383 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.5114 | μmol/L | 17.8379 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.899 | 111467.7671 | 272087.8132 | 36.4 | 83.1
17968 | 2022-05-20 10:20 | 18.6714 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.6397 | μmol/L | 17.8441 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.892 | 111453.7451 | 272065.3013 | 36.4 | 83.1
17978 | 2022-05-20 10:20 | 19.0042 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.4418 | μmol/L | 17.8502 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.897 | 111423.3143 | 272032.9951 | 36.4 | 83.1
17988 | 2022-05-20 10:21 | 19.3377 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.4961 | μmol/L | 17.8502 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.895 | 111413.0667 | 272012.2875 | 36.4 | 83.1
17998 | 2022-05-20 10:21 | 19.6712 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.4418 | μmol/L | 17.8502 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.897 | 111400.1172 | 271992.4065 | 36.4 | 83.1
18008 | 2022-05-20 10:21 | 20.005 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.2637 | μmol/L | 17.8624 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.899 | 111373.1059 | 271962.5007 | 36.4 | 83.1
18018 | 2022-05-20 10:22 | 20.3377 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.3723 | μmol/L | 17.8624 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.895 | 111353.6306 | 271939.8486 | 36.4 | 83.1
18028 | 2022-05-20 10:22 | 20.6716 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.3723 | μmol/L | 17.8624 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.895 | 111340.7916 | 271925.8507 | 36.4 | 83.1
18038 | 2022-05-20 10:22 | 21.0044 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.3451 | μmol/L | 17.8624 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.896 | 111322.4067 | 271902.1772 | 36.4 | 83.1
18048 | 2022-05-20 10:23 | 21.3381 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.3723 | μmol/L | 17.8624 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.895 | 111300.4858 | 271880.5557 | 36.4 | 83.1
18058 | 2022-05-20 10:23 | 21.6711 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.419 | μmol/L | 17.8685 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.891 | 111275.0106 | 271855.6765 | 36.4 | 83.1
18068 | 2022-05-20 10:23 | 22.005 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.481 | μmol/L | 17.8624 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.891 | 111253.8097 | 271837.9437 | 36.4 | 83.1
18078 | 2022-05-20 10:24 | 22.3378 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.481 | μmol/L | 17.8624 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.891 | 111234.2615 | 271814.2624 | 36.4 | 83.1
18088 | 2022-05-20 10:24 | 22.6709 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.3919 | μmol/L | 17.8685 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.892 | 111209.8292 | 271789.6334 | 36.4 | 83.1
18098 | 2022-05-20 10:24 | 23.0047 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.4386 | μmol/L | 17.8747 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.888 | 111189.2052 | 271767.3901 | 36.4 | 83.1
18108 | 2022-05-20 10:25 | 23.3378 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.3495 | μmol/L | 17.8808 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.889 | 111168.8856 | 271736.5685 | 36.4 | 83.1
18118 | 2022-05-20 10:25 | 23.6714 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.3148 | μmol/L | 17.8869 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.888 | 111165.5594 | 271728.6009 | 36.4 | 83.1
18128 | 2022-05-20 10:25 | 24.0049 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.1248 | μmol/L | 17.8869 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.895 | 111164.6404 | 271700.258 | 36.4 | 83.1
18138 | 2022-05-20 10:26 | 24.3376 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.0509 | μmol/L | 17.8808 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.9 | 111183.0562 | 271681.4534 | 36.4 | 83.1
18148 | 2022-05-20 10:26 | 24.6711 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 315.718 | μmol/L | 17.8869 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.91 | 111200.1157 | 271655.0456 | 36.4 | 83.1
18158 | 2022-05-20 10:26 | 25.0046 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 315.6443 | μmol/L | 17.8808 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.915 | 111216.7499 | 271644.484 | 36.4 | 83.1
18168 | 2022-05-20 10:27 | 25.3381 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 315.536 | μmol/L | 17.8808 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.919 | 111220.6025 | 271611.5437 | 36.4 | 83.1
18178 | 2022-05-20 10:27 | 25.6712 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 315.2848 | μmol/L | 17.8869 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.926 | 111223.5432 | 271603.9082 | 36.4 | 83.1
18188 | 2022-05-20 10:27 | 26.0047 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 315.2578 | μmol/L | 17.8869 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.927 | 111224.8571 | 271578.4087 | 36.4 | 83.1
18198 | 2022-05-20 10:28 | 26.3382 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 315.2502 | μmol/L | 17.893 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.925 | 111217.3113 | 271563.0655 | 36.4 | 83.1
18208 | 2022-05-20 10:28 | 26.6711 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 315.115 | μmol/L | 17.893 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.93 | 111197.1478 | 271529.8571 | 36.4 | 83.1
18218 | 2022-05-20 10:28 | 27.0047 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.9918 | μmol/L | 17.9053 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.93 | 111185.7495 | 271508.74 | 36.4 | 83.1
18228 | 2022-05-20 10:29 | 27.3381 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 315.0999 | μmol/L | 17.9053 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.926 | 111179.3248 | 271497.2977 | 36.4 | 83.1
18238 | 2022-05-20 10:29 | 27.6716 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 315.0458 | μmol/L | 17.9053 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.928 | 111160.0068 | 271475.4313 | 36.4 | 83.1
18248 | 2022-05-20 10:29 | 28.0043 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 315.0188 | μmol/L | 17.9053 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.929 | 111140.1564 | 271449.6428 | 36.4 | 83.1
18258 | 2022-05-20 10:30 | 28.3381 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.9107 | μmol/L | 17.9053 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.933 | 111136.7749 | 271445.4395 | 36.4 | 83.1
18268 | 2022-05-20 10:30 | 28.6713 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.9918 | μmol/L | 17.9053 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.93 | 111129.8946 | 271414.7275 | 36.4 | 83.1
18278 | 2022-05-20 10:30 | 29.005 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.9377 | μmol/L | 17.9053 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.932 | 111111.952 | 271403.1265 | 36.4 | 83.1
18288 | 2022-05-20 10:31 | 29.3378 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.9107 | μmol/L | 17.9053 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.933 | 111103.6734 | 271372.4408 | 36.4 | 83.1
18298 | 2022-05-20 10:31 | 29.671 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.8761 | μmol/L | 17.9114 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.932 | 111092.0029 | 271370.0075 | 36.4 | 83.1
18308 | 2022-05-20 10:31 | 30.0049 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.8686 | μmol/L | 17.9175 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.93 | 111077.211 | 271350.9868 | 36.4 | 83.1
18318 | 2022-05-20 10:32 | 30.3379 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.8146 | μmol/L | 17.9175 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.932 | 111060.6864 | 271335.348 | 36.4 | 83.1
18328 | 2022-05-20 10:32 | 30.671 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.8686 | μmol/L | 17.9175 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.93 | 111053.0389 | 271325.2694 | 36.4 | 83.1
18338 | 2022-05-20 10:32 | 31.0048 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.7606 | μmol/L | 17.9175 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.934 | 111028.0095 | 271304.8103 | 36.4 | 83.1
18348 | 2022-05-20 10:33 | 31.3381 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.726 | μmol/L | 17.9237 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.933 | 111015.135 | 271282.4413 | 36.4 | 83.1
18358 | 2022-05-20 10:33 | 31.6711 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.699 | μmol/L | 17.9237 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.934 | 111006.1712 | 271259.9647 | 36.4 | 83.1
18368 | 2022-05-20 10:33 | 32.0046 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.726 | μmol/L | 17.9237 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.933 | 110988.1751 | 271240.4721 | 36.4 | 83.1
18378 | 2022-05-20 10:34 | 32.338 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.726 | μmol/L | 17.9237 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.933 | 110966.3905 | 271230.978 | 36.4 | 83.1
18388 | 2022-05-20 10:34 | 32.6717 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.834 | μmol/L | 17.9237 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.929 | 110946.4212 | 271213.6175 | 36.4 | 83.1
18398 | 2022-05-20 10:34 | 33.0044 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.78 | μmol/L | 17.9237 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.931 | 110932.7839 | 271207.0755 | 36.4 | 83.1
18408 | 2022-05-20 10:35 | 33.3381 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.5296 | μmol/L | 17.9298 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.938 | 112294.9481 | 271184.5879 | 36.4 | 83.1
18418 | 2022-05-20 10:35 | 33.6709 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.4951 | μmol/L | 17.9359 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.937 | 112283.8349 | 271171.7505 | 36.4 | 83.1
18428 | 2022-05-20 10:35 | 34.0047 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.6375 | μmol/L | 17.9298 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.934 | 112283.9165 | 271149.0346 | 36.4 | 83.1
18438 | 2022-05-20 10:36 | 34.3378 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.4951 | μmol/L | 17.9359 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.937 | 112280.1928 | 271125.1809 | 36.4 | 83.1
18448 | 2022-05-20 10:36 | 34.6714 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.4875 | μmol/L | 17.942 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.935 | 112286.5907 | 271123.1366 | 36.4 | 83.1
18458 | 2022-05-20 10:36 | 35.005 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.4411 | μmol/L | 17.9359 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.939 | 112278.1224 | 271105.8686 | 36.4 | 83.1
18468 | 2022-05-20 10:37 | 35.3379 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.4141 | μmol/L | 17.9359 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.94 | 112270.2272 | 271092.7222 | 36.4 | 83.1
18478 | 2022-05-20 10:37 | 35.6716 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.3872 | μmol/L | 17.9359 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.941 | 112267.5875 | 271075.1651 | 36.4 | 83.1
18488 | 2022-05-20 10:37 | 36.0042 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.3796 | μmol/L | 17.942 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.939 | 112261.4596 | 271064.1503 | 36.4 | 83.1
18498 | 2022-05-20 10:38 | 36.338 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.3257 | μmol/L | 17.942 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.941 | 112249.1106 | 271046.5784 | 36.4 | 83.1
18508 | 2022-05-20 10:38 | 36.671 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.3527 | μmol/L | 17.942 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.94 | 112241.7462 | 271025.2425 | 36.4 | 83.1
18518 | 2022-05-20 10:38 | 37.0048 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.2179 | μmol/L | 17.942 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.945 | 112236.9544 | 271015.937 | 36.4 | 83.1
18528 | 2022-05-20 10:39 | 37.3377 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.2104 | μmol/L | 17.9481 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.943 | 112238.5729 | 270993.4942 | 36.4 | 83.1
18538 | 2022-05-20 10:39 | 37.6715 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.1371 | μmol/L | 17.942 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.948 | 112234.0723 | 270984.5248 | 36.4 | 83.1
18548 | 2022-05-20 10:39 | 38.0043 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.0682 | μmol/L | 17.9543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.946 | 112222.104 | 270959.0534 | 36.4 | 83.1
18558 | 2022-05-20 10:40 | 38.3382 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.122 | μmol/L | 17.9543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.944 | 112213.2817 | 270964.0703 | 36.4 | 83.1
18568 | 2022-05-20 10:40 | 38.6711 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.0143 | μmol/L | 17.9543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.948 | 112202.0131 | 270947.4395 | 36.4 | 83.1
18578 | 2022-05-20 10:40 | 39.0049 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.0218 | μmol/L | 17.9481 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.95 | 112202.4664 | 270930.5528 | 36.4 | 83.1
18588 | 2022-05-20 10:41 | 39.3381 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.149 | μmol/L | 17.9543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.943 | 112196.2733 | 270916.1893 | 36.4 | 83.1
18598 | 2022-05-20 10:41 | 39.6715 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.0412 | μmol/L | 17.9543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.947 | 112178.6275 | 270895.0495 | 36.4 | 83.1
18608 | 2022-05-20 10:41 | 40.0047 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.1145 | μmol/L | 17.9604 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.942 | 112171.8289 | 270890.9436 | 36.4 | 83.1
18618 | 2022-05-20 10:42 | 40.3378 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.1565 | μmol/L | 17.9481 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.945 | 112145.8362 | 270871.1249 | 36.4 | 83.1
18628 | 2022-05-20 10:42 | 40.6712 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.1145 | μmol/L | 17.9604 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.942 | 112122.5198 | 270851.0458 | 36.4 | 83.1
18638 | 2022-05-20 10:42 | 41.0047 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.1145 | μmol/L | 17.9604 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.942 | 112108.785 | 270842.3227 | 36.4 | 83.1
18648 | 2022-05-20 10:43 | 41.3379 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.0801 | μmol/L | 17.9665 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.941 | 112089.3056 | 270827.403 | 36.4 | 83.1
18658 | 2022-05-20 10:43 | 41.6717 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.1609 | μmol/L | 17.9665 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.938 | 112089.9164 | 270816.7834 | 36.4 | 83.1
18668 | 2022-05-20 10:43 | 42.0044 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.9993 | μmol/L | 17.9665 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.944 | 112087.3339 | 270805.4954 | 36.4 | 83.1
18678 | 2022-05-20 10:44 | 42.3381 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.9724 | μmol/L | 17.9665 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.945 | 112088.0872 | 270793.1895 | 36.4 | 83.1
18688 | 2022-05-20 10:44 | 42.6712 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.8109 | μmol/L | 17.9665 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.951 | 112095.8478 | 270778.9406 | 36.4 | 83.1
18698 | 2022-05-20 10:44 | 43.0049 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.642 | μmol/L | 17.9726 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.955 | 112122.0247 | 270772.2565 | 36.4 | 83.1
18708 | 2022-05-20 10:45 | 43.3378 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.5613 | μmol/L | 17.9726 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.958 | 112137.7073 | 270756.8505 | 36.4 | 83.1
18718 | 2022-05-20 10:45 | 43.6712 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.5763 | μmol/L | 17.9604 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.962 | 112152.7292 | 270749.8548 | 36.4 | 83.1
18728 | 2022-05-20 10:45 | 44.0049 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.3539 | μmol/L | 17.9665 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.968 | 112201.7224 | 270729.0409 | 36.4 | 83.1
18738 | 2022-05-20 10:46 | 44.3378 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.0049 | μmol/L | 17.9665 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.981 | 112257.4645 | 270703.2889 | 36.4 | 83.1
18748 | 2022-05-20 10:46 | 44.6714 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.7905 | μmol/L | 17.9665 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.989 | 112268.0524 | 270702.6513 | 36.4 | 83.1
18758 | 2022-05-20 10:46 | 45.0048 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.8709 | μmol/L | 17.9665 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.986 | 112252.3749 | 270685.8482 | 36.4 | 83.1
18768 | 2022-05-20 10:47 | 45.3378 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.8173 | μmol/L | 17.9665 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.988 | 112242.1022 | 270679.3056 | 36.4 | 83.1
18778 | 2022-05-20 10:47 | 45.6709 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.7561 | μmol/L | 17.9726 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.988 | 112225.0203 | 270672.4034 | 36.4 | 83.1
18788 | 2022-05-20 10:47 | 46.0047 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.7561 | μmol/L | 17.9726 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.988 | 112214.3097 | 270655.0397 | 36.4 | 83.1
18798 | 2022-05-20 10:48 | 46.3383 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.829 | μmol/L | 17.9788 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.983 | 112207.9437 | 270653.2498 | 36.4 | 83.1
18808 | 2022-05-20 10:48 | 46.6711 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.829 | μmol/L | 17.9788 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.983 | 112215.5569 | 270639.8122 | 36.4 | 83.1
18818 | 2022-05-20 10:48 | 47.0047 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.829 | μmol/L | 17.9788 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.983 | 112196.7293 | 270627.8704 | 36.4 | 83.1
18828 | 2022-05-20 10:49 | 47.3376 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.9706 | μmol/L | 17.9726 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.98 | 112188.4269 | 270619.5409 | 36.4 | 83.1
18838 | 2022-05-20 10:49 | 47.6715 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.9631 | μmol/L | 17.9788 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.978 | 112163.0744 | 270598.5523 | 36.4 | 83.1
18848 | 2022-05-20 10:49 | 48.0043 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.1316 | μmol/L | 17.9726 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.974 | 112150.1049 | 270594.1797 | 36.4 | 83.1
18858 | 2022-05-20 10:50 | 48.3383 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.9631 | μmol/L | 17.9788 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.978 | 112134.2617 | 270573.5813 | 36.4 | 83.1
18868 | 2022-05-20 10:50 | 48.6712 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.0167 | μmol/L | 17.9788 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.976 | 112125.8425 | 270555.9514 | 36.4 | 83.1
18878 | 2022-05-20 10:50 | 49.0049 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.0704 | μmol/L | 17.9788 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.974 | 112116.3192 | 270555.1733 | 36.4 | 83.1
18888 | 2022-05-20 10:51 | 49.3377 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.0167 | μmol/L | 17.9788 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.976 | 112119.9964 | 270552.0437 | 36.4 | 83.1
18898 | 2022-05-20 10:51 | 49.6715 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.829 | μmol/L | 17.9788 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.983 | 112118.4296 | 270535.1034 | 36.4 | 83.1
18908 | 2022-05-20 10:51 | 50.0043 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.9824 | μmol/L | 17.9849 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.975 | 112103.7129 | 270525.3545 | 36.4 | 83.1
18918 | 2022-05-20 10:52 | 50.3383 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.0092 | μmol/L | 17.9849 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.974 | 112075.5384 | 270510.3894 | 36.4 | 83.1
18928 | 2022-05-20 10:52 | 50.6711 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.0897 | μmol/L | 17.9849 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.971 | 112038.2658 | 270487.0769 | 36.4 | 83.1
18938 | 2022-05-20 10:52 | 51.0049 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.0897 | μmol/L | 17.9849 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.971 | 112008.9254 | 270481.9309 | 36.4 | 83.1
18948 | 2022-05-20 10:53 | 51.3376 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.0629 | μmol/L | 17.9849 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.972 | 111992.8808 | 270482.1981 | 36.4 | 83.1
18958 | 2022-05-20 10:53 | 51.6712 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.312 | μmol/L | 17.9788 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.965 | 111969.4066 | 270455.8244 | 36.4 | 83.1
18968 | 2022-05-20 10:53 | 52.0048 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.2239 | μmol/L | 17.9849 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.966 | 111955.6959 | 270452.7173 | 36.4 | 83.1
18978 | 2022-05-20 10:54 | 52.3383 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.2508 | μmol/L | 17.9849 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.965 | 111932.6007 | 270440.6836 | 36.4 | 83.1
18988 | 2022-05-20 10:54 | 52.6711 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.3851 | μmol/L | 17.9849 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.96 | 111915.6561 | 270421.4442 | 36.4 | 83.1
18998 | 2022-05-20 10:54 | 53.005 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.4044 | μmol/L | 17.991 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.957 | 111892.3848 | 270424.3651 | 36.4 | 83.1
19008 | 2022-05-20 10:55 | 53.3378 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.5 | μmol/L | 17.9788 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.958 | 111871.1198 | 270387.6902 | 36.4 | 83.1
19018 | 2022-05-20 10:55 | 53.6714 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.5194 | μmol/L | 17.9849 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.955 | 111851.4213 | 270387.0936 | 36.4 | 83.1
19028 | 2022-05-20 10:55 | 54.0043 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.5388 | μmol/L | 17.991 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.952 | 111821.3698 | 270362.048 | 36.4 | 83.1
19038 | 2022-05-20 10:56 | 54.338 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.6539 | μmol/L | 17.9849 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.95 | 111800.7633 | 270352.1124 | 36.4 | 83.1
19048 | 2022-05-20 10:56 | 54.6712 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.6733 | μmol/L | 17.991 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.947 | 111763.2981 | 270331.0263 | 36.4 | 83.1
19058 | 2022-05-20 10:56 | 55.005 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.7002 | μmol/L | 17.991 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.946 | 111757.8774 | 270327.0614 | 36.4 | 83.1
19068 | 2022-05-20 10:57 | 55.338 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.6389 | μmol/L | 17.9971 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.946 | 111733.4517 | 270307.5118 | 36.4 | 83.1
19078 | 2022-05-20 10:57 | 55.6716 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.7002 | μmol/L | 17.991 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.946 | 111725.2912 | 270303.6622 | 36.4 | 83.1
19088 | 2022-05-20 10:57 | 56.0044 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.6808 | μmol/L | 17.9849 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.949 | 111719.6536 | 270302.1146 | 36.4 | 83.1
19098 | 2022-05-20 10:58 | 56.3376 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.6733 | μmol/L | 17.991 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.947 | 111732.6191 | 270265.4324 | 36.4 | 83.1
19108 | 2022-05-20 10:58 | 56.671 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.5045 | μmol/L | 17.9971 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.951 | 111739.4625 | 270254.0791 | 36.4 | 83.1
19118 | 2022-05-20 10:58 | 57.0047 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.5194 | μmol/L | 17.9849 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.955 | 111754.4339 | 270253.1586 | 36.4 | 83.1
19128 | 2022-05-20 10:59 | 57.3376 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.2433 | μmol/L | 17.991 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.963 | 111765.1463 | 270228.3928 | 36.4 | 83.1