## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_9 | O2 | 143006660 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 10:00

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-20 15:44

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
23512 | 2022-05-20 14:22 | 0 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.4324 | μmol/L | 18.1264 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.342 | 112249.3747 | 267536.466 | 26.25 | 74
23522 | 2022-05-20 14:23 | 0.328 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.4324 | μmol/L | 18.1264 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.342 | 112245.0984 | 267528.3627 | 26.25 | 74
23532 | 2022-05-20 14:23 | 0.66154 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.383 | μmol/L | 18.1264 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.344 | 112236.6854 | 267535.2645 | 26.25 | 74
23542 | 2022-05-20 14:23 | 0.99494 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.5065 | μmol/L | 18.1264 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.339 | 112235.0723 | 267522.1767 | 26.25 | 74
23552 | 2022-05-20 14:24 | 1.3278 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.4516 | μmol/L | 18.1324 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.339 | 112219.8799 | 267510.2424 | 26.25 | 74
23562 | 2022-05-20 14:24 | 1.6616 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.4516 | μmol/L | 18.1324 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.339 | 112211.2625 | 267506.1536 | 26.25 | 74
23572 | 2022-05-20 14:24 | 1.9949 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.4022 | μmol/L | 18.1324 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.341 | 112209.3207 | 267496.2788 | 26.25 | 74
23582 | 2022-05-20 14:25 | 2.3284 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.4571 | μmol/L | 18.1264 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.341 | 112200.3821 | 267488.6222 | 26.25 | 74
23592 | 2022-05-20 14:25 | 2.6612 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.5805 | μmol/L | 18.1264 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.336 | 112204.6441 | 267478.5273 | 26.25 | 74
23602 | 2022-05-20 14:25 | 2.9948 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.4269 | μmol/L | 18.1324 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.34 | 112192.2633 | 267460.6144 | 26.25 | 74
23612 | 2022-05-20 14:26 | 3.3284 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.4516 | μmol/L | 18.1324 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.339 | 112188.4141 | 267456.9535 | 26.25 | 74
23622 | 2022-05-20 14:26 | 3.6612 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.4214 | μmol/L | 18.1385 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.338 | 112175.5176 | 267445.388 | 26.25 | 74
23632 | 2022-05-20 14:26 | 3.9947 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.3967 | μmol/L | 18.1385 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.339 | 112180.9905 | 267439.5024 | 26.25 | 74
23642 | 2022-05-20 14:27 | 4.3283 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.5257 | μmol/L | 18.1324 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.336 | 112168.9993 | 267434.7665 | 26.25 | 74
23652 | 2022-05-20 14:27 | 4.661 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.4516 | μmol/L | 18.1324 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.339 | 112165.8722 | 267432.7489 | 26.25 | 74
23662 | 2022-05-20 14:27 | 4.9946 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.6245 | μmol/L | 18.1324 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.332 | 112161.2595 | 267416.7033 | 26.25 | 74
23672 | 2022-05-20 14:28 | 5.3283 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.5696 | μmol/L | 18.1385 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.332 | 112145.8587 | 267415.2495 | 26.25 | 74
23682 | 2022-05-20 14:28 | 5.6611 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.4955 | μmol/L | 18.1385 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.335 | 112134.3797 | 267406.4891 | 26.25 | 74
23692 | 2022-05-20 14:28 | 5.9948 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.5147 | μmol/L | 18.1446 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.332 | 112128.722 | 267394.3942 | 26.25 | 74
23702 | 2022-05-20 14:29 | 6.3284 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.748 | μmol/L | 18.1324 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.327 | 112116.3595 | 267397.218 | 26.25 | 74
23712 | 2022-05-20 14:29 | 6.6618 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.6492 | μmol/L | 18.1324 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.331 | 112111.1324 | 267379.6415 | 26.25 | 74
23722 | 2022-05-20 14:29 | 6.9948 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.5943 | μmol/L | 18.1385 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.331 | 112106.0551 | 267377.6809 | 26.25 | 74
23732 | 2022-05-20 14:30 | 7.3285 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.6437 | μmol/L | 18.1385 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.329 | 112105.2316 | 267384.6268 | 26.25 | 74
23742 | 2022-05-20 14:30 | 7.6612 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.6382 | μmol/L | 18.1446 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.327 | 112103.9142 | 267358.8423 | 26.25 | 74
23752 | 2022-05-20 14:30 | 7.9948 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.6931 | μmol/L | 18.1385 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.327 | 112085.1534 | 267358.0559 | 26.25 | 74
23762 | 2022-05-20 14:31 | 8.3278 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.792 | μmol/L | 18.1385 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.323 | 112094.013 | 267354.8482 | 26.25 | 74
23772 | 2022-05-20 14:31 | 8.6615 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.6629 | μmol/L | 18.1446 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.326 | 112080.6479 | 267335.028 | 26.25 | 74
23782 | 2022-05-20 14:31 | 8.9944 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.7371 | μmol/L | 18.1446 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.323 | 112088.1269 | 267345.2574 | 26.25 | 74
23792 | 2022-05-20 14:32 | 9.328 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.6135 | μmol/L | 18.1446 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.328 | 112085.4809 | 267350.7032 | 26.25 | 74
23802 | 2022-05-20 14:32 | 9.6617 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.6382 | μmol/L | 18.1446 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.327 | 112093.8172 | 267332.1825 | 26.25 | 74
23812 | 2022-05-20 14:32 | 9.9951 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.5531 | μmol/L | 18.1568 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.326 | 112089.6941 | 267334.9512 | 26.25 | 74
23822 | 2022-05-20 14:33 | 10.3278 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.6269 | μmol/L | 18.1507 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.325 | 112098.3866 | 267335.7168 | 26.25 | 74
23832 | 2022-05-20 14:33 | 10.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.5528 | μmol/L | 18.1507 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.328 | 112087.8522 | 267325.3515 | 26.25 | 74
23842 | 2022-05-20 14:33 | 10.9948 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.6025 | μmol/L | 18.1568 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.324 | 112074.8404 | 267324.5205 | 26.25 | 74
23852 | 2022-05-20 14:34 | 11.3283 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.6574 | μmol/L | 18.1507 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.324 | 112055.9204 | 267328.6462 | 26.25 | 74
23862 | 2022-05-20 14:34 | 11.6612 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.8058 | μmol/L | 18.1507 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.318 | 112055.2885 | 267305.6145 | 26.25 | 74
23872 | 2022-05-20 14:34 | 11.9948 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.836 | μmol/L | 18.1446 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.319 | 112049.5971 | 267306.9647 | 26.25 | 74
23882 | 2022-05-20 14:35 | 12.3283 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.6214 | μmol/L | 18.1568 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.323 | 112043.9788 | 267298.4418 | 26.25 | 74
23892 | 2022-05-20 14:35 | 12.6618 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 288.1582 | μmol/L | 18.1568 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.342 | 112161.9326 | 267290.221 | 26.25 | 74
23902 | 2022-05-20 14:35 | 12.9947 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.1304 | μmol/L | 18.1507 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.386 | 112422.2932 | 267279.232 | 26.25 | 74
23912 | 2022-05-20 14:36 | 13.3282 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.0662 | μmol/L | 18.1629 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.425 | 112633.1422 | 267290.8033 | 26.25 | 74
23922 | 2022-05-20 14:36 | 13.6617 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.7731 | μmol/L | 18.1629 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.437 | 112737.4278 | 267288.9417 | 26.25 | 74
23932 | 2022-05-20 14:36 | 13.9948 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.6024 | μmol/L | 18.1629 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.444 | 112760.8201 | 267265.6911 | 26.25 | 74
23942 | 2022-05-20 14:37 | 14.3285 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.7787 | μmol/L | 18.1568 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.439 | 112758.8132 | 267275.5162 | 26.25 | 74
23952 | 2022-05-20 14:37 | 14.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.9007 | μmol/L | 18.1568 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.434 | 112728.9352 | 267265.4346 | 26.25 | 74
23962 | 2022-05-20 14:37 | 14.9949 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.1206 | μmol/L | 18.1568 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.425 | 112684.9993 | 267255.5984 | 26.25 | 74
23972 | 2022-05-20 14:38 | 15.3284 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.4196 | μmol/L | 18.1507 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.415 | 112618.65 | 267256.2919 | 26.25 | 74
23982 | 2022-05-20 14:38 | 15.6611 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.5854 | μmol/L | 18.1568 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.406 | 112551.3875 | 267257.8722 | 26.25 | 74
23992 | 2022-05-20 14:38 | 15.9945 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.8004 | μmol/L | 18.1629 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.395 | 112487.7284 | 267241.6725 | 26.25 | 74
24002 | 2022-05-20 14:39 | 16.328 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.0399 | μmol/L | 18.1629 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.385 | 112438.8713 | 267239.31 | 26.25 | 74
24012 | 2022-05-20 14:39 | 16.6616 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.2418 | μmol/L | 18.1568 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.379 | 112395.6585 | 267230.8924 | 26.25 | 74
24022 | 2022-05-20 14:39 | 16.9951 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.31 | μmol/L | 18.1629 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.374 | 112385.654 | 267228.1371 | 26.25 | 74
24032 | 2022-05-20 14:40 | 17.3279 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.193 | μmol/L | 18.1629 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.379 | 112393.3162 | 267226.3104 | 26.25 | 74
24042 | 2022-05-20 14:40 | 17.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.9853 | μmol/L | 18.169 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.385 | 112422.6859 | 267212.4802 | 26.25 | 74
24052 | 2022-05-20 14:40 | 17.9947 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6721 | μmol/L | 18.1629 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.4 | 112467.8285 | 267217.7765 | 26.25 | 74
24062 | 2022-05-20 14:41 | 18.3281 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.482 | μmol/L | 18.1629 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.408 | 112546.6967 | 267200.0659 | 26.25 | 74
24072 | 2022-05-20 14:41 | 18.6616 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.835 | μmol/L | 18.169 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.432 | 112681.3704 | 267197.5438 | 26.25 | 74
24082 | 2022-05-20 14:41 | 18.995 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.1152 | μmol/L | 18.1629 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.464 | 112878.1599 | 267206.3024 | 26.25 | 74
24092 | 2022-05-20 14:42 | 19.328 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.1083 | μmol/L | 18.169 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.503 | 113091.7461 | 267207.6405 | 26.25 | 74
24102 | 2022-05-20 14:42 | 19.6615 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 283.2619 | μmol/L | 18.169 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.538 | 113296.8799 | 267190.888 | 26.25 | 74
24112 | 2022-05-20 14:42 | 19.995 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 282.4853 | μmol/L | 18.1751 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.568 | 113498.4179 | 267194.6576 | 26.25 | 74
24122 | 2022-05-20 14:43 | 20.3278 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 281.9143 | μmol/L | 18.169 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.594 | 113655.8527 | 267204.3364 | 26.25 | 74
24132 | 2022-05-20 14:43 | 20.6614 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 281.4349 | μmol/L | 18.169 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.614 | 113793.5684 | 267180.1824 | 26.25 | 74
24142 | 2022-05-20 14:43 | 20.9949 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.8554 | μmol/L | 18.1751 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.636 | 113898.4445 | 267173.6585 | 26.25 | 74
24152 | 2022-05-20 14:44 | 21.3285 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.5452 | μmol/L | 18.1751 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.649 | 113985.3593 | 267172.7316 | 26.25 | 74
24162 | 2022-05-20 14:44 | 21.6619 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.2353 | μmol/L | 18.1751 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.662 | 114044.2268 | 267171.5869 | 26.25 | 74
24172 | 2022-05-20 14:44 | 21.9952 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.1345 | μmol/L | 18.1812 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.664 | 114092.2976 | 267160.023 | 26.25 | 74
24182 | 2022-05-20 14:45 | 22.3277 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.8784 | μmol/L | 18.1751 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.677 | 114150.9287 | 267159.4564 | 26.25 | 74
24192 | 2022-05-20 14:45 | 22.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.5401 | μmol/L | 18.1812 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.689 | 114203.3878 | 267151.8129 | 26.25 | 74
24202 | 2022-05-20 14:45 | 22.995 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.2079 | μmol/L | 18.1812 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.703 | 114280.1942 | 267146.8702 | 26.25 | 74
24212 | 2022-05-20 14:46 | 23.3285 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.9473 | μmol/L | 18.1812 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.714 | 114362.8199 | 267142.3224 | 26.25 | 74
24222 | 2022-05-20 14:46 | 23.6611 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.687 | μmol/L | 18.1812 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.725 | 114426.4691 | 267119.8373 | 26.25 | 74
24232 | 2022-05-20 14:46 | 23.9945 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.5215 | μmol/L | 18.1812 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.732 | 114490.6656 | 267123.6299 | 26.25 | 74
24242 | 2022-05-20 14:47 | 24.3282 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.4033 | μmol/L | 18.1812 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.737 | 114547.2144 | 267119.903 | 26.25 | 74
24252 | 2022-05-20 14:47 | 24.6618 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.2201 | μmol/L | 18.1751 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.747 | 114588.2399 | 267114.0906 | 26.25 | 74
24262 | 2022-05-20 14:47 | 24.9951 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.1436 | μmol/L | 18.1812 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.748 | 114593.2956 | 267125.0987 | 26.25 | 74
24272 | 2022-05-20 14:48 | 25.3279 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.0729 | μmol/L | 18.1812 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.751 | 114581.3098 | 267119.5349 | 26.25 | 74
24282 | 2022-05-20 14:48 | 25.6614 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.2616 | μmol/L | 18.1812 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.743 | 114551.4426 | 267102.9903 | 26.25 | 74
24292 | 2022-05-20 14:48 | 25.995 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.2853 | μmol/L | 18.1812 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.742 | 114548.923 | 267097.2384 | 26.25 | 74
24302 | 2022-05-20 14:49 | 26.3278 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.3089 | μmol/L | 18.1812 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.741 | 114547.7408 | 267092.446 | 26.25 | 74
24312 | 2022-05-20 14:49 | 26.6612 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.3325 | μmol/L | 18.1812 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.74 | 114556.6176 | 267089.0054 | 26.25 | 74
24322 | 2022-05-20 14:49 | 26.9949 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.3268 | μmol/L | 18.1873 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.738 | 114551.7827 | 267075.4547 | 26.25 | 74
24332 | 2022-05-20 14:50 | 27.3285 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.4213 | μmol/L | 18.1873 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.734 | 114527.8288 | 267074.9936 | 26.25 | 74
24342 | 2022-05-20 14:50 | 27.6611 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.4449 | μmol/L | 18.1873 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.733 | 114496.1859 | 267076.9306 | 26.25 | 74
24352 | 2022-05-20 14:50 | 27.9945 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.7343 | μmol/L | 18.1812 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.723 | 114466.7038 | 267071.7534 | 26.25 | 74
24362 | 2022-05-20 14:51 | 28.3279 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.6103 | μmol/L | 18.1873 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.726 | 114474.8376 | 267053.2006 | 26.25 | 74
24372 | 2022-05-20 14:51 | 28.6614 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.256 | μmol/L | 18.1873 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.741 | 114562.2385 | 267062.3205 | 26.25 | 74
24382 | 2022-05-20 14:51 | 28.995 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.2323 | μmol/L | 18.1873 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.742 | 114596.2696 | 267041.0265 | 26.25 | 74
24392 | 2022-05-20 14:52 | 29.3278 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.0379 | μmol/L | 18.1934 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.748 | 114613.0518 | 267053.7022 | 26.25 | 74
24402 | 2022-05-20 14:52 | 29.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.0436 | μmol/L | 18.1873 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.75 | 114638.8449 | 267045.9955 | 26.25 | 74
24412 | 2022-05-20 14:52 | 29.9948 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.7315 | μmol/L | 18.1934 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.761 | 114680.4658 | 267037.0723 | 26.25 | 74
24422 | 2022-05-20 14:53 | 30.3285 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.6138 | μmol/L | 18.1934 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.766 | 114726.6269 | 267037.2874 | 26.25 | 74
24432 | 2022-05-20 14:53 | 30.6614 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.5018 | μmol/L | 18.1873 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.773 | 114768.7085 | 267041.3136 | 26.25 | 74
24442 | 2022-05-20 14:53 | 30.9948 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.3842 | μmol/L | 18.1873 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.778 | 114814.4934 | 267034.4954 | 26.25 | 74
24452 | 2022-05-20 14:54 | 31.3285 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.2018 | μmol/L | 18.1812 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.788 | 114868.7809 | 267016.2163 | 26.25 | 74
24462 | 2022-05-20 14:54 | 31.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.8148 | μmol/L | 18.1934 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.8 | 114915.0076 | 267027.7087 | 26.25 | 74
24472 | 2022-05-20 14:54 | 31.9948 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.7267 | μmol/L | 18.1873 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.806 | 114958.8455 | 267006.2837 | 26.25 | 74
24482 | 2022-05-20 14:55 | 32.3284 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.5278 | μmol/L | 18.1994 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.81 | 115003.01 | 267017.857 | 26.25 | 74
24492 | 2022-05-20 14:55 | 32.6612 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.393 | μmol/L | 18.1934 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.818 | 115045.4401 | 267008.5705 | 26.25 | 74
24502 | 2022-05-20 14:55 | 32.9949 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.159 | μmol/L | 18.1934 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.828 | 115118.5327 | 267019.8334 | 26.25 | 74
24512 | 2022-05-20 14:56 | 33.3284 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.7794 | μmol/L | 18.1994 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.842 | 115195.0001 | 267027.0065 | 26.25 | 74
24522 | 2022-05-20 14:56 | 33.6612 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.4294 | μmol/L | 18.1994 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.857 | 115271.4744 | 267015.8459 | 26.25 | 74
24532 | 2022-05-20 14:56 | 33.9947 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.1556 | μmol/L | 18.1934 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.871 | 115356.0736 | 266999.6037 | 26.25 | 74
24542 | 2022-05-20 14:57 | 34.3278 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.9404 | μmol/L | 18.1994 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.878 | 115410.9322 | 266995.5142 | 26.25 | 74
24552 | 2022-05-20 14:57 | 34.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.7254 | μmol/L | 18.2055 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.885 | 115469.457 | 266997.6842 | 26.25 | 74
24562 | 2022-05-20 14:57 | 34.9947 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.5047 | μmol/L | 18.1934 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.899 | 115517.4295 | 266992.4199 | 26.25 | 74
24572 | 2022-05-20 14:58 | 35.3281 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.3539 | μmol/L | 18.2055 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.901 | 115570.7452 | 267005.8054 | 26.25 | 74
24582 | 2022-05-20 14:58 | 35.6618 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.2901 | μmol/L | 18.1994 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.906 | 115596.382 | 266997.6176 | 26.25 | 74
24592 | 2022-05-20 14:58 | 35.9945 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.2669 | μmol/L | 18.1994 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.907 | 115608.6529 | 266989.0769 | 26.25 | 74
24602 | 2022-05-20 14:59 | 36.328 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.1974 | μmol/L | 18.1994 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.91 | 115635.7317 | 266991.9251 | 26.25 | 74
24612 | 2022-05-20 14:59 | 36.6618 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.0352 | μmol/L | 18.1994 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.917 | 115664.1545 | 266990.9931 | 26.25 | 74
24622 | 2022-05-20 14:59 | 36.9948 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.012 | μmol/L | 18.1994 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.918 | 115692.4191 | 266982.1774 | 26.25 | 74
24632 | 2022-05-20 15:00 | 37.3284 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.8731 | μmol/L | 18.1994 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.924 | 115728.9541 | 266974.4257 | 26.25 | 74
24642 | 2022-05-20 15:00 | 37.6618 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.7747 | μmol/L | 18.2055 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.926 | 115749.5069 | 266970.829 | 26.25 | 74
24652 | 2022-05-20 15:00 | 37.9945 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.7285 | μmol/L | 18.2055 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.928 | 115763.266 | 266982.1181 | 26.25 | 74
24662 | 2022-05-20 15:01 | 38.3282 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.7747 | μmol/L | 18.2055 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.926 | 115727.1343 | 266968.039 | 26.25 | 74
24672 | 2022-05-20 15:01 | 38.6617 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.0352 | μmol/L | 18.1994 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.917 | 115696.034 | 266978.4557 | 26.25 | 74
24682 | 2022-05-20 15:01 | 38.9951 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.8268 | μmol/L | 18.1994 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.926 | 115721.0171 | 266971.5972 | 26.25 | 74
24692 | 2022-05-20 15:02 | 39.3281 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.5897 | μmol/L | 18.2055 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.934 | 115814.0887 | 266968.8048 | 26.25 | 74
24702 | 2022-05-20 15:02 | 39.6616 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.3644 | μmol/L | 18.1994 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.946 | 115889.7288 | 266954.9347 | 26.25 | 74
24712 | 2022-05-20 15:02 | 39.9944 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.0644 | μmol/L | 18.1994 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.959 | 115951.6962 | 266954.5065 | 26.25 | 74
24722 | 2022-05-20 15:03 | 40.3278 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.903 | μmol/L | 18.1994 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.966 | 116007.834 | 266956.4161 | 26.25 | 74
24732 | 2022-05-20 15:03 | 40.6612 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.6669 | μmol/L | 18.2055 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.974 | 116060.7334 | 266959.4873 | 26.25 | 74
24742 | 2022-05-20 15:03 | 40.9945 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.4426 | μmol/L | 18.1994 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.986 | 116120.8718 | 266933.1273 | 26.25 | 74
24752 | 2022-05-20 15:04 | 41.328 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.2587 | μmol/L | 18.1994 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.994 | 116191.4696 | 266939.3061 | 26.25 | 74
24762 | 2022-05-20 15:04 | 41.6615 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.8568 | μmol/L | 18.2116 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.007 | 116251.8811 | 266924.7315 | 26.25 | 74
24772 | 2022-05-20 15:04 | 41.9951 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.7938 | μmol/L | 18.2055 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.012 | 116304.9632 | 266937.7623 | 26.25 | 74
24782 | 2022-05-20 15:05 | 42.3278 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.6563 | μmol/L | 18.2055 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.018 | 116339.2648 | 266912.1162 | 26.25 | 74
24792 | 2022-05-20 15:05 | 42.6614 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.5417 | μmol/L | 18.2055 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.023 | 116372.8576 | 266925.6615 | 26.25 | 74
24802 | 2022-05-20 15:05 | 42.995 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.4959 | μmol/L | 18.2055 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.025 | 116372.175 | 266927.9128 | 26.25 | 74
24812 | 2022-05-20 15:06 | 43.3279 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.5417 | μmol/L | 18.2055 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.023 | 116391.9683 | 266907.0164 | 26.25 | 74
24822 | 2022-05-20 15:06 | 43.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.3815 | μmol/L | 18.2055 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.03 | 116401.8628 | 266908.5463 | 26.25 | 74
24832 | 2022-05-20 15:06 | 43.9948 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.2384 | μmol/L | 18.2116 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.034 | 116433.151 | 266910.4387 | 26.25 | 74
24842 | 2022-05-20 15:07 | 44.3278 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.2155 | μmol/L | 18.2116 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.035 | 116443.7957 | 266906.2679 | 26.25 | 74
24852 | 2022-05-20 15:07 | 44.6614 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.2783 | μmol/L | 18.2177 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.03 | 116453.7759 | 266902.9711 | 26.25 | 74
24862 | 2022-05-20 15:07 | 44.9949 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.1469 | μmol/L | 18.2116 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.038 | 116452.825 | 266898.5583 | 26.25 | 74
24872 | 2022-05-20 15:08 | 45.3285 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.1469 | μmol/L | 18.2116 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.038 | 116455.6515 | 266889.6053 | 26.25 | 74
24882 | 2022-05-20 15:08 | 45.6612 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.2384 | μmol/L | 18.2116 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.034 | 116461.855 | 266884.9129 | 26.25 | 74
24892 | 2022-05-20 15:08 | 45.9948 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.2384 | μmol/L | 18.2116 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.034 | 116464.8655 | 266871.5578 | 26.25 | 74
24902 | 2022-05-20 15:09 | 46.3282 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.0496 | μmol/L | 18.2177 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.04 | 116483.5234 | 266878.5686 | 26.25 | 74
24912 | 2022-05-20 15:09 | 46.6618 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.0326 | μmol/L | 18.2116 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.043 | 116487.3068 | 266880.4246 | 26.25 | 74
24922 | 2022-05-20 15:09 | 46.9945 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.1012 | μmol/L | 18.2116 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.04 | 116481.3762 | 266867.3839 | 26.25 | 74
24932 | 2022-05-20 15:10 | 47.3284 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.0326 | μmol/L | 18.2116 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.043 | 116478.2049 | 266878.579 | 26.25 | 74
24942 | 2022-05-20 15:10 | 47.6612 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.0496 | μmol/L | 18.2177 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.04 | 116488.0542 | 266866.5249 | 26.25 | 74
24952 | 2022-05-20 15:10 | 47.9947 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.0097 | μmol/L | 18.2116 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.044 | 116510.8 | 266862.2161 | 26.25 | 74
24962 | 2022-05-20 15:11 | 48.3281 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.8839 | μmol/L | 18.2238 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.045 | 116516.2437 | 266849.0095 | 26.25 | 74
24972 | 2022-05-20 15:11 | 48.6618 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.8839 | μmol/L | 18.2238 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.045 | 116530.2276 | 266852.1193 | 26.25 | 74
24982 | 2022-05-20 15:11 | 48.9952 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.7697 | μmol/L | 18.2238 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.05 | 116557.651 | 266844.1513 | 26.25 | 74
24992 | 2022-05-20 15:12 | 49.3278 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.5018 | μmol/L | 18.2177 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.064 | 116656.1426 | 266839.059 | 26.25 | 74
25002 | 2022-05-20 15:12 | 49.6614 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.8528 | μmol/L | 18.2299 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.088 | 116777.4948 | 266842.6868 | 26.25 | 74
25012 | 2022-05-20 15:12 | 49.9944 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.671 | μmol/L | 18.2299 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.096 | 116864.6176 | 266836.2154 | 26.25 | 74
25022 | 2022-05-20 15:13 | 50.3278 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.4952 | μmol/L | 18.2238 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.106 | 116934.0425 | 266818.6252 | 26.25 | 74
25032 | 2022-05-20 15:13 | 50.6615 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.2399 | μmol/L | 18.2299 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.115 | 116989.6068 | 266818.8597 | 26.25 | 74
25042 | 2022-05-20 15:13 | 50.9951 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.8607 | μmol/L | 18.2238 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.134 | 117046.9527 | 266821.938 | 26.25 | 74
25052 | 2022-05-20 15:14 | 51.328 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.6287 | μmol/L | 18.2299 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.142 | 117103.7435 | 266811.7944 | 26.25 | 74
25062 | 2022-05-20 15:14 | 51.6615 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.5216 | μmol/L | 18.2238 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.149 | 117156.4498 | 266806.0281 | 26.25 | 74
25072 | 2022-05-20 15:14 | 51.9949 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.3527 | μmol/L | 18.2116 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.161 | 117236.6046 | 266789.6521 | 26.25 | 74
25082 | 2022-05-20 15:15 | 52.3278 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.8449 | μmol/L | 18.2238 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.179 | 117344.6642 | 266794.9394 | 26.25 | 74
25092 | 2022-05-20 15:15 | 52.6615 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.3051 | μmol/L | 18.2238 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.203 | 117458.7076 | 266804.3382 | 26.25 | 74
25102 | 2022-05-20 15:15 | 52.995 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.9011 | μmol/L | 18.2238 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.221 | 117568.2512 | 266789.1987 | 26.25 | 74
25112 | 2022-05-20 15:16 | 53.3285 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.7159 | μmol/L | 18.2299 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.227 | 117637.782 | 266788.6648 | 26.25 | 74
25122 | 2022-05-20 15:16 | 53.6611 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.5933 | μmol/L | 18.2177 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.237 | 117685.3259 | 266788.9967 | 26.25 | 74
25132 | 2022-05-20 15:16 | 53.9949 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.4531 | μmol/L | 18.2238 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.241 | 117723.6371 | 266782.4203 | 26.25 | 74
25142 | 2022-05-20 15:17 | 54.3285 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.3695 | μmol/L | 18.2177 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.247 | 117758.1668 | 266777.0726 | 26.25 | 74
25152 | 2022-05-20 15:17 | 54.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.0671 | μmol/L | 18.2299 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.256 | 117793.0469 | 266784.4507 | 26.25 | 74
25162 | 2022-05-20 15:17 | 54.9947 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.9272 | μmol/L | 18.236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.26 | 117840.3085 | 266768.4237 | 26.25 | 74
25172 | 2022-05-20 15:18 | 55.3285 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.939 | μmol/L | 18.2238 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.264 | 117873.5056 | 266786.2799 | 26.25 | 74
25182 | 2022-05-20 15:18 | 55.6615 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.8662 | μmol/L | 18.2299 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.265 | 117882.0833 | 266741.7625 | 26.25 | 74
25192 | 2022-05-20 15:18 | 55.9944 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.6877 | μmol/L | 18.2299 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.273 | 117906.0633 | 266761.9469 | 26.25 | 74
25202 | 2022-05-20 15:19 | 56.3278 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.5926 | μmol/L | 18.236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.275 | 117927.5318 | 266751.7115 | 26.25 | 74
25212 | 2022-05-20 15:19 | 56.6615 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.5035 | μmol/L | 18.236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.279 | 117966.3367 | 266737.6273 | 26.25 | 74
25222 | 2022-05-20 15:19 | 56.995 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.6877 | μmol/L | 18.2299 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.273 | 117954.3866 | 266746.8944 | 26.25 | 74
25232 | 2022-05-20 15:20 | 57.3285 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.8215 | μmol/L | 18.2299 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.267 | 117889.4081 | 266734.5048 | 26.25 | 74
25242 | 2022-05-20 15:20 | 57.6612 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.9778 | μmol/L | 18.2299 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.26 | 117857.8483 | 266748.3783 | 26.25 | 74
25252 | 2022-05-20 15:20 | 57.9945 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.9719 | μmol/L | 18.236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.258 | 117838.3231 | 266728.1056 | 26.25 | 74
25262 | 2022-05-20 15:21 | 58.3282 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.1565 | μmol/L | 18.2299 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.252 | 117823.6638 | 266733.4951 | 26.25 | 74
25272 | 2022-05-20 15:21 | 58.6617 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.0224 | μmol/L | 18.2299 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.258 | 117858.2805 | 266735.0396 | 26.25 | 74
25282 | 2022-05-20 15:21 | 58.9951 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.771 | μmol/L | 18.236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.267 | 117901.8435 | 266723.3894 | 26.25 | 74
25292 | 2022-05-20 15:22 | 59.3278 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.7264 | μmol/L | 18.236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.269 | 117927.839 | 266719.0525 | 26.25 | 74
25302 | 2022-05-20 15:22 | 59.6614 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.838 | μmol/L | 18.236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.264 | 117900.9304 | 266710.8417 | 26.25 | 74
25312 | 2022-05-20 15:22 | 59.9949 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.9496 | μmol/L | 18.236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.259 | 117886.3935 | 266699.2066 | 26.25 | 74
25322 | 2022-05-20 15:23 | 60.3278 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.7546 | μmol/L | 18.2299 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.27 | 117932.6351 | 266700.107 | 26.25 | 74
25332 | 2022-05-20 15:23 | 60.6616 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.3194 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.285 | 118014.5353 | 266694.5042 | 26.25 | 74
25342 | 2022-05-20 15:23 | 60.9944 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.1414 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.293 | 118064.136 | 266692.9047 | 26.25 | 74
25352 | 2022-05-20 15:24 | 61.3279 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.9917 | μmol/L | 18.236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.302 | 118120.8017 | 266690.2296 | 26.25 | 74
25362 | 2022-05-20 15:24 | 61.6614 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.8806 | μmol/L | 18.236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.307 | 118151.0985 | 266676.711 | 26.25 | 74
25372 | 2022-05-20 15:24 | 61.995 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.6748 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.314 | 118206.5598 | 266674.9784 | 26.25 | 74
25382 | 2022-05-20 15:25 | 62.3277 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.4367 | μmol/L | 18.236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.327 | 118257.9072 | 266683.638 | 26.25 | 74
25392 | 2022-05-20 15:25 | 62.6615 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.3983 | μmol/L | 18.2299 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.331 | 118318.1311 | 266683.554 | 26.25 | 74
25402 | 2022-05-20 15:25 | 62.995 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.1487 | μmol/L | 18.236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.34 | 118346.0755 | 266689.0312 | 26.25 | 74
25412 | 2022-05-20 15:26 | 63.3285 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 263.9495 | μmol/L | 18.236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.349 | 118424.3701 | 266677.8779 | 26.25 | 74
25422 | 2022-05-20 15:26 | 63.6612 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 263.6783 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.359 | 118496.9873 | 266670.002 | 26.25 | 74
25432 | 2022-05-20 15:26 | 63.9947 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 263.5017 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.367 | 118551.9288 | 266678.0531 | 26.25 | 74
25442 | 2022-05-20 15:27 | 64.3282 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 263.287 | μmol/L | 18.236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.379 | 118633.6261 | 266660.3759 | 26.25 | 74
25452 | 2022-05-20 15:27 | 64.6618 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 262.8904 | μmol/L | 18.236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.397 | 118736.4317 | 266645.6154 | 26.25 | 74
25462 | 2022-05-20 15:27 | 64.9944 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 262.2851 | μmol/L | 18.2482 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.42 | 118884.7442 | 266658.853 | 26.25 | 74
25472 | 2022-05-20 15:28 | 65.3281 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.978 | μmol/L | 18.2482 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.434 | 118974.3091 | 266667.5079 | 26.25 | 74
25482 | 2022-05-20 15:28 | 65.6612 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.9401 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.438 | 119006.0282 | 266658.5867 | 26.25 | 74
25492 | 2022-05-20 15:28 | 65.9949 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.9182 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.439 | 119019.7187 | 266666.1173 | 26.25 | 74
25502 | 2022-05-20 15:29 | 66.3277 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.9401 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.438 | 119003.47 | 266657.0344 | 26.25 | 74
25512 | 2022-05-20 15:29 | 66.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.9999 | μmol/L | 18.2482 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.433 | 118982.2752 | 266637.6911 | 26.25 | 74
25522 | 2022-05-20 15:29 | 66.995 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 262.0438 | μmol/L | 18.2482 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.431 | 118961.7699 | 266640.9461 | 26.25 | 74
25532 | 2022-05-20 15:30 | 67.3278 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 262.1374 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.429 | 118958.5723 | 266645.5016 | 26.25 | 74
25542 | 2022-05-20 15:30 | 67.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 262.1315 | μmol/L | 18.2482 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.427 | 118941.5635 | 266648.1947 | 26.25 | 74
25552 | 2022-05-20 15:30 | 67.9948 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 262.2412 | μmol/L | 18.2482 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.422 | 118926.3749 | 266652.4568 | 26.25 | 74
25562 | 2022-05-20 15:31 | 68.3284 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 262.2471 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.424 | 118917.1336 | 266638.0514 | 26.25 | 74
25572 | 2022-05-20 15:31 | 68.6614 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 262.4168 | μmol/L | 18.2482 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.414 | 118901.0029 | 266639.5511 | 26.25 | 74
25582 | 2022-05-20 15:31 | 68.9951 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 262.345 | μmol/L | 18.2543 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.415 | 118906.4602 | 266633.7473 | 26.25 | 74
25592 | 2022-05-20 15:32 | 69.328 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 262.1534 | μmol/L | 18.2482 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.426 | 118957.7316 | 266644.007 | 26.25 | 74
25602 | 2022-05-20 15:32 | 69.6618 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.8406 | μmol/L | 18.2543 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.438 | 119037.8643 | 266634.4529 | 26.25 | 74
25612 | 2022-05-20 15:32 | 69.9944 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.753 | μmol/L | 18.2543 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.442 | 119059.3877 | 266632.8198 | 26.25 | 74
25622 | 2022-05-20 15:33 | 70.3281 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.7808 | μmol/L | 18.2482 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.443 | 119086.7999 | 266626.0844 | 26.25 | 74
25632 | 2022-05-20 15:33 | 70.6611 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.737 | μmol/L | 18.2482 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.445 | 119113.2817 | 266626.9246 | 26.25 | 74
25642 | 2022-05-20 15:33 | 70.9945 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.556 | μmol/L | 18.2543 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.451 | 119140.1939 | 266626.0491 | 26.25 | 74
25652 | 2022-05-20 15:34 | 71.328 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.5838 | μmol/L | 18.2482 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.452 | 119164.3928 | 266626.2447 | 26.25 | 74
25662 | 2022-05-20 15:34 | 71.6616 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.4029 | μmol/L | 18.2543 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.458 | 119179.8619 | 266623.574 | 26.25 | 74
25672 | 2022-05-20 15:34 | 71.9951 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.4089 | μmol/L | 18.2482 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.46 | 119215.4569 | 266621.485 | 26.25 | 74
25682 | 2022-05-20 15:35 | 72.3285 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.3433 | μmol/L | 18.2482 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.463 | 119238.1469 | 266625.9318 | 26.25 | 74
25692 | 2022-05-20 15:35 | 72.6612 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.113 | μmol/L | 18.2604 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.469 | 119259.3496 | 266621.2141 | 26.25 | 74
25702 | 2022-05-20 15:35 | 72.9947 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.1249 | μmol/L | 18.2482 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.473 | 119300.3759 | 266624.4591 | 26.25 | 74
25712 | 2022-05-20 15:36 | 73.3283 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 260.8413 | μmol/L | 18.2482 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.486 | 119354.4828 | 266621.0591 | 26.25 | 74
25722 | 2022-05-20 15:36 | 73.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 260.5957 | μmol/L | 18.2543 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.495 | 119417.7747 | 266612.1544 | 26.25 | 74
25732 | 2022-05-20 15:36 | 73.9949 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 260.6234 | μmol/L | 18.2482 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.496 | 119442.0039 | 266604.7846 | 26.25 | 74
25742 | 2022-05-20 15:37 | 74.3284 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 260.4433 | μmol/L | 18.2543 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.502 | 119473.3792 | 266617.61 | 26.25 | 74
25752 | 2022-05-20 15:37 | 74.6615 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 260.3661 | μmol/L | 18.2665 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.501 | 119481.9662 | 266621.54 | 26.25 | 74
25762 | 2022-05-20 15:37 | 74.995 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 260.3938 | μmol/L | 18.2604 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.502 | 119492.2881 | 266625.7808 | 26.25 | 74
25772 | 2022-05-20 15:38 | 75.3277 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 260.3562 | μmol/L | 18.2543 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.506 | 119509.2276 | 266605.9707 | 26.25 | 74
25782 | 2022-05-20 15:38 | 75.6612 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 260.3068 | μmol/L | 18.2604 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.506 | 119539.2701 | 266610.8713 | 26.25 | 74
25792 | 2022-05-20 15:38 | 75.9947 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 260.291 | μmol/L | 18.2543 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.509 | 119545.1639 | 266610.4844 | 26.25 | 74
25802 | 2022-05-20 15:39 | 76.3283 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 260.204 | μmol/L | 18.2543 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.513 | 119571.3101 | 266608.8266 | 26.25 | 74
25812 | 2022-05-20 15:39 | 76.6611 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 260.046 | μmol/L | 18.2604 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.518 | 119617.744 | 266605.0664 | 26.25 | 74
25822 | 2022-05-20 15:39 | 76.9947 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 260.0796 | μmol/L | 18.2482 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.521 | 119642.0922 | 266604.6338 | 26.25 | 74
25832 | 2022-05-20 15:40 | 77.3282 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 259.9493 | μmol/L | 18.2482 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.527 | 119672.4013 | 266602.1183 | 26.25 | 74
25842 | 2022-05-20 15:40 | 77.6618 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 259.7698 | μmol/L | 18.2543 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.533 | 119718.7246 | 266604.6422 | 26.25 | 74
25852 | 2022-05-20 15:40 | 77.9944 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 259.6396 | μmol/L | 18.2543 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.539 | 119740.2468 | 266590.8787 | 26.25 | 74
25862 | 2022-05-20 15:41 | 78.3279 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 259.618 | μmol/L | 18.2543 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.54 | 119773.349 | 266596.418 | 26.25 | 74
25872 | 2022-05-20 15:41 | 78.6616 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 259.5313 | μmol/L | 18.2543 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.544 | 119798.1473 | 266596.828 | 26.25 | 74
25882 | 2022-05-20 15:41 | 78.9952 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 259.0924 | μmol/L | 18.2604 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.562 | 119909.2452 | 266589.3082 | 26.25 | 74
25892 | 2022-05-20 15:42 | 79.3277 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.7035 | μmol/L | 18.2604 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.58 | 120028.3013 | 266595.8773 | 26.25 | 74
25902 | 2022-05-20 15:42 | 79.6612 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.2567 | μmol/L | 18.2543 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.603 | 120178.0603 | 266605.081 | 26.25 | 74
25912 | 2022-05-20 15:42 | 79.9946 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 257.8049 | μmol/L | 18.2543 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.624 | 120268.8001 | 266600.2954 | 26.25 | 74
25922 | 2022-05-20 15:43 | 80.3281 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 257.6271 | μmol/L | 18.2604 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.63 | 120312.7403 | 266578.2357 | 26.25 | 74
25930 | 2022-05-20 15:43 | 80.6618 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 257.6056 | μmol/L | 18.2604 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.631 | 120341.013 | 266587.6328 | 26.25 | 74