## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_4 | O2 | 32092713 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:51

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-20 14:24

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
20777 | 2022-05-20 12:33 | 0 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.5728 | μmol/L | 18.5789 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.328 | 53073.4985 | 293638.2342 | 28.7 | 67.6
20787 | 2022-05-20 12:33 | 0.3256 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.1663 | μmol/L | 18.5728 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.347 | 53101.9703 | 293638.7952 | 28.7 | 67.6
20797 | 2022-05-20 12:34 | 0.65883 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.3172 | μmol/L | 18.5728 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.382 | 53200.7274 | 293631.5163 | 28.7 | 67.6
20807 | 2022-05-20 12:34 | 0.99296 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.889 | μmol/L | 18.5667 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.402 | 53255.4442 | 293642.6462 | 28.7 | 67.6
20817 | 2022-05-20 12:34 | 1.3262 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.865 | μmol/L | 18.5667 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.403 | 53259.5982 | 293646.2329 | 28.7 | 67.6
20827 | 2022-05-20 12:35 | 1.659 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.5053 | μmol/L | 18.5667 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.418 | 53298.829 | 293642.2054 | 28.7 | 67.6
20837 | 2022-05-20 12:35 | 1.9926 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.2418 | μmol/L | 18.5667 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.429 | 53312.8265 | 293631.3829 | 28.7 | 67.6
20847 | 2022-05-20 12:35 | 2.3261 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.5509 | μmol/L | 18.5363 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.427 | 53325.1795 | 293621.6694 | 28.7 | 67.6
20857 | 2022-05-20 12:36 | 2.6591 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.2918 | μmol/L | 18.5302 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.44 | 53341.0182 | 293612.7319 | 28.7 | 67.6
20867 | 2022-05-20 12:36 | 2.9927 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 276.3559 | μmol/L | 18.5363 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.477 | 53449.6131 | 293622.8083 | 28.7 | 67.6
20877 | 2022-05-20 12:36 | 3.3261 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 275.4696 | μmol/L | 18.512 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.523 | 53550.7659 | 293586.6577 | 28.7 | 67.6
20887 | 2022-05-20 12:37 | 3.6596 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.8532 | μmol/L | 18.512 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.549 | 53632.9772 | 293593.7008 | 28.7 | 67.6
20897 | 2022-05-20 12:37 | 3.9923 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.6358 | μmol/L | 18.5181 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.556 | 53638.905 | 293570.1922 | 28.7 | 67.6
20907 | 2022-05-20 12:37 | 4.3261 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.5661 | μmol/L | 18.5242 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.557 | 53635.9906 | 293581.4772 | 28.7 | 67.6
20917 | 2022-05-20 12:38 | 4.6588 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.3803 | μmol/L | 18.512 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.569 | 53665.641 | 293568.7742 | 28.7 | 67.6
20927 | 2022-05-20 12:38 | 4.9926 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.1205 | μmol/L | 18.512 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.58 | 53703.2194 | 293571.2825 | 28.7 | 67.6
20937 | 2022-05-20 12:38 | 5.3255 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.1441 | μmol/L | 18.512 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.579 | 53713.336 | 293559.3586 | 28.7 | 67.6
20947 | 2022-05-20 12:39 | 5.6591 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.1339 | μmol/L | 18.4937 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.586 | 53713.6947 | 293535.6518 | 28.7 | 67.6
20957 | 2022-05-20 12:39 | 5.9927 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.951 | μmol/L | 18.5181 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.585 | 53717.3858 | 293539.2822 | 28.7 | 67.6
20967 | 2022-05-20 12:39 | 6.3261 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.4709 | μmol/L | 18.5302 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.601 | 53748.8505 | 293531.8386 | 28.7 | 67.6
20977 | 2022-05-20 12:40 | 6.6588 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.0712 | μmol/L | 18.5302 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.618 | 53779.4321 | 293533.144 | 28.7 | 67.6
20987 | 2022-05-20 12:40 | 6.9923 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.6533 | μmol/L | 18.5242 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.638 | 53818.2597 | 293532.8811 | 28.7 | 67.6
20997 | 2022-05-20 12:40 | 7.3259 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.7191 | μmol/L | 18.5302 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.633 | 53810.5154 | 293515.0182 | 28.7 | 67.6
21007 | 2022-05-20 12:41 | 7.6593 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.6253 | μmol/L | 18.5302 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.637 | 53820.692 | 293510.2836 | 28.7 | 67.6
21017 | 2022-05-20 12:41 | 7.9929 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.1261 | μmol/L | 18.4877 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.631 | 53821.4227 | 293521.5224 | 28.7 | 67.6
21027 | 2022-05-20 12:41 | 8.3261 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.8868 | μmol/L | 18.4937 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.639 | 53836.2971 | 293512.2514 | 28.7 | 67.6
21037 | 2022-05-20 12:42 | 8.6596 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.7741 | μmol/L | 18.4877 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.646 | 53852.6622 | 293500.0633 | 28.7 | 67.6
21047 | 2022-05-20 12:42 | 8.9925 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.7506 | μmol/L | 18.4877 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.647 | 53849.5421 | 293508.9935 | 28.7 | 67.6
21057 | 2022-05-20 12:42 | 9.3263 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.2731 | μmol/L | 18.4998 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.663 | 53856.948 | 293500.0612 | 28.7 | 67.6
21067 | 2022-05-20 12:43 | 9.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.4939 | μmol/L | 18.4937 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.656 | 53859.9694 | 293494.5387 | 28.7 | 67.6
21077 | 2022-05-20 12:43 | 9.9928 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.5117 | μmol/L | 18.4937 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.655 | 53870.1129 | 293483.4201 | 28.7 | 67.6
21087 | 2022-05-20 12:43 | 10.3263 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.2263 | μmol/L | 18.4998 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.665 | 53884.8338 | 293483.3437 | 28.7 | 67.6
21097 | 2022-05-20 12:44 | 10.659 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.1931 | μmol/L | 18.4816 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.673 | 53892.6625 | 293473.3694 | 28.7 | 67.6
21107 | 2022-05-20 12:44 | 10.9927 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.1142 | μmol/L | 18.4694 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.681 | 53908.1578 | 293488.4696 | 28.7 | 67.6
21117 | 2022-05-20 12:44 | 11.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.2678 | μmol/L | 18.4755 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.672 | 53915.4077 | 293485.9488 | 28.7 | 67.6
21127 | 2022-05-20 12:45 | 11.6591 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.0807 | μmol/L | 18.4755 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.68 | 53920.0628 | 293477.2387 | 28.7 | 67.6
21137 | 2022-05-20 12:45 | 11.9927 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.1554 | μmol/L | 18.4694 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.679 | 53934.4039 | 293476.9307 | 28.7 | 67.6
21147 | 2022-05-20 12:45 | 12.3262 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.6324 | μmol/L | 18.4816 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.697 | 53940.307 | 293474.2876 | 28.7 | 67.6
21157 | 2022-05-20 12:46 | 12.659 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.6938 | μmol/L | 18.4694 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.699 | 53956.8978 | 293467.4523 | 28.7 | 67.6
21167 | 2022-05-20 12:46 | 12.9928 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.4362 | μmol/L | 18.4633 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.712 | 53991.6189 | 293478.1877 | 28.7 | 67.6
21177 | 2022-05-20 12:46 | 13.3262 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.2276 | μmol/L | 18.4694 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.719 | 54009.1606 | 293474.2098 | 28.7 | 67.6
21187 | 2022-05-20 12:47 | 13.659 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.0181 | μmol/L | 18.4694 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.728 | 54042.65 | 293458.1655 | 28.7 | 67.6
21197 | 2022-05-20 12:47 | 13.9925 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.7567 | μmol/L | 18.4694 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.739 | 54082.647 | 293461.2794 | 28.7 | 67.6
21207 | 2022-05-20 12:47 | 14.326 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.5245 | μmol/L | 18.4694 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.749 | 54095.1513 | 293458.5204 | 28.7 | 67.6
21217 | 2022-05-20 12:48 | 14.6588 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.1348 | μmol/L | 18.4633 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.768 | 54136.6572 | 293455.8834 | 28.7 | 67.6
21227 | 2022-05-20 12:48 | 14.9922 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.9449 | μmol/L | 18.4694 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.774 | 54153.4395 | 293452.296 | 28.7 | 67.6
21237 | 2022-05-20 12:48 | 15.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.9263 | μmol/L | 18.4633 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.777 | 54164.5891 | 293439.582 | 28.7 | 67.6
21247 | 2022-05-20 12:49 | 15.6594 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.6487 | μmol/L | 18.4633 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.789 | 54178.6443 | 293446.8804 | 28.7 | 67.6
21257 | 2022-05-20 12:49 | 15.9923 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.6949 | μmol/L | 18.4633 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.787 | 54190.157 | 293438.5678 | 28.7 | 67.6
21267 | 2022-05-20 12:49 | 16.3259 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.6256 | μmol/L | 18.4633 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.79 | 54203.5983 | 293442.1634 | 28.7 | 67.6
21277 | 2022-05-20 12:50 | 16.6594 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.6995 | μmol/L | 18.4573 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.789 | 54206.1854 | 293443.3817 | 28.7 | 67.6
21287 | 2022-05-20 12:50 | 16.9928 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.4961 | μmol/L | 18.4512 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.8 | 54205.9755 | 293426.6706 | 28.7 | 67.6
21297 | 2022-05-20 12:50 | 17.3256 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.5423 | μmol/L | 18.4512 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.798 | 54219.0687 | 293444.2906 | 28.7 | 67.6
21307 | 2022-05-20 12:51 | 17.6591 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.4315 | μmol/L | 18.4451 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.805 | 54225.0132 | 293429.8552 | 28.7 | 67.6
21317 | 2022-05-20 12:51 | 17.9929 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.2883 | μmol/L | 18.4512 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.809 | 54243.0563 | 293420.7588 | 28.7 | 67.6
21327 | 2022-05-20 12:51 | 18.3255 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.3855 | μmol/L | 18.4147 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.818 | 54253.0834 | 293412.4693 | 28.7 | 67.6
21337 | 2022-05-20 12:52 | 18.6593 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.344 | μmol/L | 18.4086 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.822 | 54265.6467 | 293408.8844 | 28.7 | 67.6
21347 | 2022-05-20 12:52 | 18.9924 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.2654 | μmol/L | 18.4208 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.821 | 54283.6719 | 293415.0253 | 28.7 | 67.6
21357 | 2022-05-20 12:52 | 19.3258 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.8641 | μmol/L | 18.4329 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.834 | 54291.1631 | 293416.886 | 28.7 | 67.6
21367 | 2022-05-20 12:53 | 19.6593 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.0117 | μmol/L | 18.4208 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.832 | 54300.3708 | 293397.9282 | 28.7 | 67.6
21377 | 2022-05-20 12:53 | 19.9922 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.7076 | μmol/L | 18.4268 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.843 | 54317.4068 | 293391.6105 | 28.7 | 67.6
21387 | 2022-05-20 12:53 | 20.3259 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.7767 | μmol/L | 18.4268 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.84 | 54326.0856 | 293398.8121 | 28.7 | 67.6
21397 | 2022-05-20 12:54 | 20.6593 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.8551 | μmol/L | 18.4147 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.841 | 54325.4298 | 293386.6802 | 28.7 | 67.6
21407 | 2022-05-20 12:54 | 20.9927 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.8146 | μmol/L | 18.4147 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.843 | 54324.2421 | 293376.0361 | 28.7 | 67.6
21417 | 2022-05-20 12:54 | 21.3263 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.547 | μmol/L | 18.3964 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.861 | 54367.1821 | 293385.8619 | 28.7 | 67.6
21427 | 2022-05-20 12:55 | 21.6589 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.0734 | μmol/L | 18.4147 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.875 | 54383.1861 | 293383.6825 | 28.7 | 67.6
21437 | 2022-05-20 12:55 | 21.9923 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.9358 | μmol/L | 18.4147 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.881 | 54394.0084 | 293376.5997 | 28.7 | 67.6
21447 | 2022-05-20 12:55 | 22.3258 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.7018 | μmol/L | 18.4208 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.889 | 54425.4944 | 293381.706 | 28.7 | 67.6
21457 | 2022-05-20 12:56 | 22.6595 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.6014 | μmol/L | 18.4025 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.9 | 54445.547 | 293370.2346 | 28.7 | 67.6
21467 | 2022-05-20 12:56 | 22.9922 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.5738 | μmol/L | 18.4086 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.899 | 54453.6975 | 293357.8495 | 28.7 | 67.6
21477 | 2022-05-20 12:56 | 23.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.4412 | μmol/L | 18.4025 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.907 | 54472.655 | 293354.5273 | 28.7 | 67.6
21487 | 2022-05-20 12:57 | 23.6595 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.2582 | μmol/L | 18.4025 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.915 | 54500.1158 | 293368.7195 | 28.7 | 67.6
21497 | 2022-05-20 12:57 | 23.993 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.1943 | μmol/L | 18.3964 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.92 | 54516.2614 | 293364.295 | 28.7 | 67.6
21507 | 2022-05-20 12:57 | 24.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.1029 | μmol/L | 18.3964 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.924 | 54524.0178 | 293353.3642 | 28.7 | 67.6
21517 | 2022-05-20 12:58 | 24.6593 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.9383 | μmol/L | 18.4025 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.929 | 54529.6474 | 293343.8553 | 28.7 | 67.6
21527 | 2022-05-20 12:58 | 24.9926 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.8699 | μmol/L | 18.4025 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.932 | 54540.5787 | 293351.199 | 28.7 | 67.6
21537 | 2022-05-20 12:58 | 25.326 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.6826 | μmol/L | 18.4086 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.938 | 54545.0358 | 293345.3603 | 28.7 | 67.6
21547 | 2022-05-20 12:59 | 25.6595 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.8242 | μmol/L | 18.4025 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.934 | 54551.2876 | 293348.2635 | 28.7 | 67.6
21557 | 2022-05-20 12:59 | 25.9922 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.6645 | μmol/L | 18.4025 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.941 | 54555.9043 | 293327.0309 | 28.7 | 67.6
21567 | 2022-05-20 12:59 | 26.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.5278 | μmol/L | 18.4025 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.947 | 54565.8264 | 293331.6252 | 28.7 | 67.6
21577 | 2022-05-20 13:00 | 26.6593 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.7149 | μmol/L | 18.3964 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.941 | 54568.5165 | 293300.306 | 28.7 | 67.6
21587 | 2022-05-20 13:00 | 26.9928 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.5924 | μmol/L | 18.3782 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.953 | 54579.0455 | 293301.6349 | 28.7 | 67.6
21597 | 2022-05-20 13:00 | 27.3263 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.6332 | μmol/L | 18.3843 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.949 | 54589.4874 | 293284.6468 | 28.7 | 67.6
21607 | 2022-05-20 13:01 | 27.6589 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.524 | μmol/L | 18.3782 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.956 | 54592.4039 | 293280.0401 | 28.7 | 67.6
21617 | 2022-05-20 13:01 | 27.9924 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.4509 | μmol/L | 18.3843 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.957 | 54602.6179 | 293272.9507 | 28.7 | 67.6
21627 | 2022-05-20 13:01 | 28.3262 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.1322 | μmol/L | 18.3843 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.971 | 54615.4179 | 293266.3289 | 28.7 | 67.6
21637 | 2022-05-20 13:02 | 28.6596 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.1095 | μmol/L | 18.3843 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.972 | 54628.9256 | 293260.6119 | 28.7 | 67.6
21647 | 2022-05-20 13:02 | 28.9922 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.0461 | μmol/L | 18.3782 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.977 | 54629.4597 | 293241.8868 | 28.7 | 67.6
21657 | 2022-05-20 13:02 | 29.3258 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.0461 | μmol/L | 18.3782 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.977 | 54631.7893 | 293246.7521 | 28.7 | 67.6
21667 | 2022-05-20 13:03 | 29.6591 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.1011 | μmol/L | 18.366 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.979 | 54649.6747 | 293242.6907 | 28.7 | 67.6
21677 | 2022-05-20 13:03 | 29.9928 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.8463 | μmol/L | 18.3721 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.988 | 54650.5693 | 293221.933 | 28.7 | 67.6
21687 | 2022-05-20 13:03 | 30.3263 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.5059 | μmol/L | 18.3721 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.003 | 54675.1841 | 293211.9163 | 28.7 | 67.6
21697 | 2022-05-20 13:04 | 30.659 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.5334 | μmol/L | 18.366 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.004 | 54690.6111 | 293221.5786 | 28.7 | 67.6
21707 | 2022-05-20 13:04 | 30.9927 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.6468 | μmol/L | 18.366 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.999 | 54691.9665 | 293226.4376 | 28.7 | 67.6
21717 | 2022-05-20 13:04 | 31.3263 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.6241 | μmol/L | 18.366 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23 | 54688.218 | 293190.8879 | 28.7 | 67.6
21727 | 2022-05-20 13:05 | 31.6591 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.5334 | μmol/L | 18.366 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.004 | 54700.6877 | 293179.1535 | 28.7 | 67.6
21737 | 2022-05-20 13:05 | 31.9927 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.2161 | μmol/L | 18.366 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.018 | 54724.7332 | 293202.1088 | 28.7 | 67.6
21747 | 2022-05-20 13:05 | 32.3256 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.9397 | μmol/L | 18.3721 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.028 | 54748.1102 | 293187.1496 | 28.7 | 67.6
21757 | 2022-05-20 13:06 | 32.6593 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.0899 | μmol/L | 18.3539 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.028 | 54755.869 | 293176.2568 | 28.7 | 67.6
21767 | 2022-05-20 13:06 | 32.9928 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.8863 | μmol/L | 18.3539 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.037 | 54767.1817 | 293156.9483 | 28.7 | 67.6
21777 | 2022-05-20 13:06 | 33.3256 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.6781 | μmol/L | 18.3599 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.044 | 54778.9275 | 293149.3115 | 28.7 | 67.6
21787 | 2022-05-20 13:07 | 33.6593 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.52 | μmol/L | 18.3599 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.051 | 54802.9509 | 293154.1443 | 28.7 | 67.6
21797 | 2022-05-20 13:07 | 33.993 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.362 | μmol/L | 18.3599 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.058 | 54811.991 | 293146.2654 | 28.7 | 67.6
21807 | 2022-05-20 13:07 | 34.326 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.4797 | μmol/L | 18.3539 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.055 | 54811.7049 | 293147.9092 | 28.7 | 67.6
21817 | 2022-05-20 13:08 | 34.6596 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.3894 | μmol/L | 18.3539 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.059 | 54806.9943 | 293127.6336 | 28.7 | 67.6
21827 | 2022-05-20 13:08 | 34.9922 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.5022 | μmol/L | 18.3539 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.054 | 54806.0314 | 293124.3739 | 28.7 | 67.6
21837 | 2022-05-20 13:08 | 35.3256 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.62 | μmol/L | 18.3478 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.051 | 54802.5391 | 293119.8415 | 28.7 | 67.6
21847 | 2022-05-20 13:09 | 35.6593 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.3943 | μmol/L | 18.3478 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.061 | 54808.6054 | 293107.1368 | 28.7 | 67.6
21857 | 2022-05-20 13:09 | 35.9929 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.3765 | μmol/L | 18.3417 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.064 | 54820.2269 | 293119.2395 | 28.7 | 67.6
21867 | 2022-05-20 13:09 | 36.3256 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.1913 | μmol/L | 18.3478 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.07 | 54839.1578 | 293112.8676 | 28.7 | 67.6
21877 | 2022-05-20 13:10 | 36.6591 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.876 | μmol/L | 18.3478 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.084 | 54864.7403 | 293106.3415 | 28.7 | 67.6
21887 | 2022-05-20 13:10 | 36.9926 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.9034 | μmol/L | 18.3417 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.085 | 54892.453 | 293108.4861 | 28.7 | 67.6
21897 | 2022-05-20 13:10 | 37.3261 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.5259 | μmol/L | 18.3356 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.104 | 54914.1247 | 293104.1075 | 28.7 | 67.6
21907 | 2022-05-20 13:11 | 37.659 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.5035 | μmol/L | 18.3356 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.105 | 54924.7565 | 293093.1648 | 28.7 | 67.6
21917 | 2022-05-20 13:11 | 37.9927 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.5533 | μmol/L | 18.3295 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.105 | 54930.1188 | 293087.1741 | 28.7 | 67.6
21927 | 2022-05-20 13:11 | 38.3261 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.4859 | μmol/L | 18.3295 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.108 | 54924.5743 | 293080.3129 | 28.7 | 67.6
21937 | 2022-05-20 13:12 | 38.6591 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.5582 | μmol/L | 18.3235 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.107 | 54932.7243 | 293057.4804 | 28.7 | 67.6
21947 | 2022-05-20 13:12 | 38.9929 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.1492 | μmol/L | 18.3295 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.123 | 54963.4668 | 293047.2666 | 28.7 | 67.6
21957 | 2022-05-20 13:12 | 39.3263 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 262.9572 | μmol/L | 18.3174 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.136 | 55001.9208 | 293045.4774 | 28.7 | 67.6
21967 | 2022-05-20 13:13 | 39.6589 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 262.599 | μmol/L | 18.3174 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.152 | 55024.4188 | 293034.5137 | 28.7 | 67.6
21977 | 2022-05-20 13:13 | 39.9925 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 262.3705 | μmol/L | 18.3235 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.16 | 55043.8147 | 293032.832 | 28.7 | 67.6
21987 | 2022-05-20 13:13 | 40.3259 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 262.3035 | μmol/L | 18.3235 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.163 | 55071.7915 | 293024.0851 | 28.7 | 67.6
21997 | 2022-05-20 13:14 | 40.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 262.0084 | μmol/L | 18.3295 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.174 | 55076.478 | 293004.8629 | 28.7 | 67.6
22007 | 2022-05-20 13:14 | 40.993 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 261.9191 | μmol/L | 18.3295 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.178 | 55093.2808 | 292995.6513 | 28.7 | 67.6
22017 | 2022-05-20 13:14 | 41.3256 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 261.8349 | μmol/L | 18.3235 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.184 | 55100.3573 | 292984.2149 | 28.7 | 67.6
22027 | 2022-05-20 13:15 | 41.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 261.7729 | μmol/L | 18.3174 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.189 | 55124.7737 | 292975.1772 | 28.7 | 67.6
22037 | 2022-05-20 13:15 | 41.9929 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 261.523 | μmol/L | 18.3235 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.198 | 55119.8942 | 292979.3883 | 28.7 | 67.6
22047 | 2022-05-20 13:15 | 42.3258 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 261.3623 | μmol/L | 18.3295 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.203 | 55132.5087 | 292960.745 | 28.7 | 67.6
22057 | 2022-05-20 13:16 | 42.6595 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 261.3895 | μmol/L | 18.3235 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.204 | 55136.5372 | 292954.1914 | 28.7 | 67.6
22067 | 2022-05-20 13:16 | 42.9922 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 261.261 | μmol/L | 18.3174 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.212 | 55147.6504 | 292943.6284 | 28.7 | 67.6
22077 | 2022-05-20 13:16 | 43.3256 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 261.0832 | μmol/L | 18.3174 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.22 | 55175.7909 | 292942.5502 | 28.7 | 67.6
22087 | 2022-05-20 13:17 | 43.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 260.7847 | μmol/L | 18.3295 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.229 | 55194.37 | 292924.3298 | 28.7 | 67.6
22097 | 2022-05-20 13:17 | 43.9929 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 260.6073 | μmol/L | 18.3295 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.237 | 55218.9604 | 292925.1491 | 28.7 | 67.6
22107 | 2022-05-20 13:17 | 44.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 260.3636 | μmol/L | 18.3295 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.248 | 55226.7658 | 292927.3842 | 28.7 | 67.6
22117 | 2022-05-20 13:18 | 44.6591 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 260.4129 | μmol/L | 18.3235 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.248 | 55238.1817 | 292918.5135 | 28.7 | 67.6
22127 | 2022-05-20 13:18 | 44.9927 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 260.1964 | μmol/L | 18.3174 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.26 | 55261.1594 | 292902.1505 | 28.7 | 67.6
22137 | 2022-05-20 13:18 | 45.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 260.0637 | μmol/L | 18.3174 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.266 | 55284.7 | 292891.473 | 28.7 | 67.6
22147 | 2022-05-20 13:19 | 45.6593 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 259.8207 | μmol/L | 18.3174 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.277 | 55302.8419 | 292887.2282 | 28.7 | 67.6
22157 | 2022-05-20 13:19 | 45.9928 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 259.7986 | μmol/L | 18.3174 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.278 | 55314.3366 | 292894.3412 | 28.7 | 67.6
22167 | 2022-05-20 13:19 | 46.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 259.6833 | μmol/L | 18.3235 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.281 | 55304.1755 | 292867.7341 | 28.7 | 67.6
22177 | 2022-05-20 13:20 | 46.6593 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 259.622 | μmol/L | 18.3174 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.286 | 55309.794 | 292871.0501 | 28.7 | 67.6
22187 | 2022-05-20 13:20 | 46.9928 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 259.7815 | μmol/L | 18.3113 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.281 | 55307.1404 | 292870.5328 | 28.7 | 67.6
22197 | 2022-05-20 13:20 | 47.3256 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 259.627 | μmol/L | 18.3113 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.288 | 55310.017 | 292846.1911 | 28.7 | 67.6
22207 | 2022-05-20 13:21 | 47.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 259.6761 | μmol/L | 18.3052 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.288 | 55306.046 | 292837.5286 | 28.7 | 67.6
22217 | 2022-05-20 13:21 | 47.9928 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 259.7202 | μmol/L | 18.3052 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.286 | 55303.612 | 292826.4012 | 28.7 | 67.6
22227 | 2022-05-20 13:21 | 48.3255 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 259.5657 | μmol/L | 18.3052 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.293 | 55318.102 | 292818.0331 | 28.7 | 67.6
22237 | 2022-05-20 13:22 | 48.6591 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 259.4775 | μmol/L | 18.3052 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.297 | 55337.3136 | 292826.3831 | 28.7 | 67.6
22247 | 2022-05-20 13:22 | 48.9926 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 259.2963 | μmol/L | 18.3113 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.303 | 55359.2826 | 292826.7126 | 28.7 | 67.6
22257 | 2022-05-20 13:22 | 49.3259 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 259.0051 | μmol/L | 18.3174 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.314 | 55369.6993 | 292823.3452 | 28.7 | 67.6
22267 | 2022-05-20 13:23 | 49.6594 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 258.8391 | μmol/L | 18.3052 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.326 | 55400.2002 | 292784.375 | 28.7 | 67.6
22277 | 2022-05-20 13:23 | 49.993 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 258.4657 | μmol/L | 18.3052 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.343 | 55429.4697 | 292797.58 | 28.7 | 67.6
22287 | 2022-05-20 13:23 | 50.3258 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 258.4049 | μmol/L | 18.2991 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.348 | 55466.6541 | 292794.389 | 28.7 | 67.6
22297 | 2022-05-20 13:24 | 50.6593 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 258.0373 | μmol/L | 18.293 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.367 | 55506.6345 | 292794.5115 | 28.7 | 67.6
22307 | 2022-05-20 13:24 | 50.9922 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 257.6822 | μmol/L | 18.2991 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.381 | 55534.1612 | 292784.5628 | 28.7 | 67.6
22317 | 2022-05-20 13:24 | 51.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 257.5729 | μmol/L | 18.2991 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.386 | 55557.6464 | 292768.717 | 28.7 | 67.6
22327 | 2022-05-20 13:25 | 51.6591 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 257.3981 | μmol/L | 18.2991 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.394 | 55573.2745 | 292762.4711 | 28.7 | 67.6
22337 | 2022-05-20 13:25 | 51.9925 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 257.2671 | μmol/L | 18.2991 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.4 | 55586.4747 | 292761.8469 | 28.7 | 67.6
22347 | 2022-05-20 13:25 | 52.3259 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 257.0926 | μmol/L | 18.2991 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.408 | 55588.5568 | 292739.0437 | 28.7 | 67.6
22357 | 2022-05-20 13:26 | 52.6593 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 257.2503 | μmol/L | 18.293 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.403 | 55599.6272 | 292732.5449 | 28.7 | 67.6
22367 | 2022-05-20 13:26 | 52.9929 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 257.1899 | μmol/L | 18.287 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.408 | 55597.0524 | 292734.6208 | 28.7 | 67.6
22377 | 2022-05-20 13:26 | 53.3259 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.9669 | μmol/L | 18.293 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.416 | 55609.5305 | 292717.549 | 28.7 | 67.6
22387 | 2022-05-20 13:27 | 53.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.7876 | μmol/L | 18.2991 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.422 | 55622.9251 | 292721.2703 | 28.7 | 67.6
22397 | 2022-05-20 13:27 | 53.993 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.8144 | μmol/L | 18.293 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.423 | 55630.7035 | 292700.2206 | 28.7 | 67.6
22407 | 2022-05-20 13:27 | 54.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.6403 | μmol/L | 18.293 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.431 | 55653.0277 | 292703.1658 | 28.7 | 67.6
22417 | 2022-05-20 13:28 | 54.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.3526 | μmol/L | 18.2991 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.442 | 55678.6174 | 292674.2718 | 28.7 | 67.6
22427 | 2022-05-20 13:28 | 54.9926 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.4446 | μmol/L | 18.293 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.44 | 55687.9893 | 292681.0557 | 28.7 | 67.6
22437 | 2022-05-20 13:28 | 55.3261 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.2707 | μmol/L | 18.293 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.448 | 55696.394 | 292676.9246 | 28.7 | 67.6
22447 | 2022-05-20 13:29 | 55.6594 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.1672 | μmol/L | 18.287 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.455 | 55708.0866 | 292674.9836 | 28.7 | 67.6
22457 | 2022-05-20 13:29 | 55.9928 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 255.9835 | μmol/L | 18.2991 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.459 | 55721.1899 | 292660.1891 | 28.7 | 67.6
22467 | 2022-05-20 13:29 | 56.3262 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 255.8368 | μmol/L | 18.293 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.468 | 55732.7543 | 292646.3506 | 28.7 | 67.6
22477 | 2022-05-20 13:30 | 56.6589 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 255.8852 | μmol/L | 18.287 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.468 | 55733.8299 | 292665.2248 | 28.7 | 67.6
22487 | 2022-05-20 13:30 | 56.9926 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 255.8368 | μmol/L | 18.293 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.468 | 55741.5178 | 292654.4846 | 28.7 | 67.6
22497 | 2022-05-20 13:30 | 57.3263 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 255.8852 | μmol/L | 18.287 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.468 | 55747.707 | 292652.9075 | 28.7 | 67.6
22507 | 2022-05-20 13:31 | 57.6596 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 255.9669 | μmol/L | 18.293 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.462 | 55736.5738 | 292649.3907 | 28.7 | 67.6
22517 | 2022-05-20 13:31 | 57.9923 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 255.9069 | μmol/L | 18.287 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.467 | 55748.307 | 292636.5697 | 28.7 | 67.6
22527 | 2022-05-20 13:31 | 58.3258 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 255.5819 | μmol/L | 18.287 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.482 | 55762.1428 | 292654.2054 | 28.7 | 67.6
22537 | 2022-05-20 13:32 | 58.6596 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 255.6519 | μmol/L | 18.2809 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.481 | 55770.4641 | 292633.5943 | 28.7 | 67.6
22547 | 2022-05-20 13:32 | 58.9924 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 255.4737 | μmol/L | 18.287 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.487 | 55771.99 | 292635.5869 | 28.7 | 67.6
22557 | 2022-05-20 13:32 | 59.3258 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 255.5819 | μmol/L | 18.287 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.482 | 55767.352 | 292633.667 | 28.7 | 67.6
22567 | 2022-05-20 13:33 | 59.6593 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 255.3871 | μmol/L | 18.287 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.491 | 55767.2671 | 292618.536 | 28.7 | 67.6
22577 | 2022-05-20 13:33 | 59.9929 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 255.3655 | μmol/L | 18.287 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.492 | 55778.4032 | 292632.5613 | 28.7 | 67.6
22587 | 2022-05-20 13:33 | 60.3255 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 255.1494 | μmol/L | 18.287 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.502 | 55802.3463 | 292613.0622 | 28.7 | 67.6
22597 | 2022-05-20 13:34 | 60.6593 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 255.1494 | μmol/L | 18.287 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.502 | 55830.0423 | 292603.235 | 28.7 | 67.6
22607 | 2022-05-20 13:34 | 60.9928 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 254.955 | μmol/L | 18.287 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.511 | 55844.2365 | 292582.7133 | 28.7 | 67.6
22617 | 2022-05-20 13:34 | 61.3263 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 254.8357 | μmol/L | 18.2748 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.521 | 55858.1627 | 292578.6644 | 28.7 | 67.6
22627 | 2022-05-20 13:35 | 61.6589 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 254.6581 | μmol/L | 18.2809 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.527 | 55873.4521 | 292573.6434 | 28.7 | 67.6
22637 | 2022-05-20 13:35 | 61.9924 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 254.4477 | μmol/L | 18.2748 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.539 | 55898.5677 | 292563.8119 | 28.7 | 67.6
22647 | 2022-05-20 13:35 | 62.3261 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 254.2705 | μmol/L | 18.2809 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.545 | 55921.3945 | 292564.9616 | 28.7 | 67.6
22657 | 2022-05-20 13:36 | 62.6589 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 254.034 | μmol/L | 18.2809 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.556 | 55936.6358 | 292556.2105 | 28.7 | 67.6
22667 | 2022-05-20 13:36 | 62.9926 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 254.168 | μmol/L | 18.2748 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.552 | 55949.0998 | 292560.0978 | 28.7 | 67.6
22677 | 2022-05-20 13:36 | 63.3261 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 253.948 | μmol/L | 18.2809 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.56 | 55958.6076 | 292551.2026 | 28.7 | 67.6
22687 | 2022-05-20 13:37 | 63.6596 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 253.8887 | μmol/L | 18.2748 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.565 | 55967.1318 | 292535.5316 | 28.7 | 67.6
22697 | 2022-05-20 13:37 | 63.9924 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 253.7118 | μmol/L | 18.2809 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.571 | 55979.0654 | 292535.3196 | 28.7 | 67.6
22707 | 2022-05-20 13:37 | 64.326 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 253.7813 | μmol/L | 18.2748 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.57 | 55990.2423 | 292512.6711 | 28.7 | 67.6
22717 | 2022-05-20 13:38 | 64.6588 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 253.5453 | μmol/L | 18.2748 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.581 | 56025.7203 | 292530.9699 | 28.7 | 67.6
22727 | 2022-05-20 13:38 | 64.9924 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 253.2668 | μmol/L | 18.2748 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.594 | 56045.4542 | 292510.8487 | 28.7 | 67.6
22737 | 2022-05-20 13:38 | 65.3258 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 253.1649 | μmol/L | 18.2687 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.601 | 56060.1984 | 292504.6236 | 28.7 | 67.6
22747 | 2022-05-20 13:39 | 65.6593 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 252.7962 | μmol/L | 18.2748 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.616 | 56095.1967 | 292484.6978 | 28.7 | 67.6
22757 | 2022-05-20 13:39 | 65.9926 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 252.6254 | μmol/L | 18.2748 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.624 | 56115.7112 | 292493.4545 | 28.7 | 67.6
22767 | 2022-05-20 13:39 | 66.3261 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 252.54 | μmol/L | 18.2748 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.628 | 56114.9035 | 292490.3024 | 28.7 | 67.6
22777 | 2022-05-20 13:40 | 66.6596 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 252.54 | μmol/L | 18.2748 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.628 | 56121.6956 | 292472.6264 | 28.7 | 67.6
22787 | 2022-05-20 13:40 | 66.9923 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 252.4334 | μmol/L | 18.2748 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.633 | 56145.5395 | 292480.8836 | 28.7 | 67.6
22797 | 2022-05-20 13:40 | 67.3258 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 252.1299 | μmol/L | 18.2809 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.645 | 56157.8539 | 292458.6425 | 28.7 | 67.6
22807 | 2022-05-20 13:41 | 67.6595 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 252.0498 | μmol/L | 18.2748 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.651 | 56182.4314 | 292466.6872 | 28.7 | 67.6
22817 | 2022-05-20 13:41 | 67.9922 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 251.752 | μmol/L | 18.2748 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.665 | 56192.4966 | 292458.7628 | 28.7 | 67.6
22827 | 2022-05-20 13:41 | 68.3256 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 251.7358 | μmol/L | 18.2687 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.668 | 56200.3808 | 292430.7503 | 28.7 | 67.6
22837 | 2022-05-20 13:42 | 68.659 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 251.8685 | μmol/L | 18.2626 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.664 | 56209.3247 | 292435.0882 | 28.7 | 67.6
22847 | 2022-05-20 13:42 | 68.9927 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 251.6721 | μmol/L | 18.2687 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.671 | 56209.7109 | 292427.9702 | 28.7 | 67.6
22857 | 2022-05-20 13:42 | 69.3262 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 251.7094 | μmol/L | 18.2748 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.667 | 56209.3109 | 292412.1375 | 28.7 | 67.6
22867 | 2022-05-20 13:43 | 69.6596 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 251.5446 | μmol/L | 18.2687 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.677 | 56208.9121 | 292416.0588 | 28.7 | 67.6
22877 | 2022-05-20 13:43 | 69.9925 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 251.4384 | μmol/L | 18.2687 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.682 | 56235.5507 | 292402.4889 | 28.7 | 67.6
22887 | 2022-05-20 13:43 | 70.3259 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 251.0728 | μmol/L | 18.2748 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.697 | 56275.7773 | 292406.3181 | 28.7 | 67.6
22897 | 2022-05-20 13:44 | 70.6596 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 249.2213 | μmol/L | 18.2687 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.787 | 56503.4774 | 292386.4404 | 28.7 | 67.6
22907 | 2022-05-20 13:44 | 70.9929 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 248.1111 | μmol/L | 18.2687 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.84 | 56659.5097 | 292377.9018 | 28.7 | 67.6
22917 | 2022-05-20 13:44 | 71.3263 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 248.5084 | μmol/L | 18.2687 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.821 | 56610.3465 | 292367.1434 | 28.7 | 67.6
22927 | 2022-05-20 13:45 | 71.659 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 248.9065 | μmol/L | 18.2687 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.802 | 56547.7855 | 292371.0436 | 28.7 | 67.6
22937 | 2022-05-20 13:45 | 71.9928 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 249.0062 | μmol/L | 18.2748 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.795 | 56510.2014 | 292349.2542 | 28.7 | 67.6
22947 | 2022-05-20 13:45 | 72.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 249.3315 | μmol/L | 18.2626 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.784 | 56488.5635 | 292346.3765 | 28.7 | 67.6
22957 | 2022-05-20 13:46 | 72.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 249.2634 | μmol/L | 18.2687 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.785 | 56484.1992 | 292344.5915 | 28.7 | 67.6
22967 | 2022-05-20 13:46 | 72.9927 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 249.5366 | μmol/L | 18.2687 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.772 | 56479.1171 | 292342.6079 | 28.7 | 67.6
22977 | 2022-05-20 13:46 | 73.3262 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 249.6891 | μmol/L | 18.2626 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.767 | 56444.9595 | 292325.1059 | 28.7 | 67.6
22987 | 2022-05-20 13:47 | 73.6596 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 249.3526 | μmol/L | 18.2626 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.783 | 56501.5316 | 292325.3482 | 28.7 | 67.6
22997 | 2022-05-20 13:47 | 73.9924 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 249.2317 | μmol/L | 18.2566 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.791 | 56512.5229 | 292329.6597 | 28.7 | 67.6
23007 | 2022-05-20 13:47 | 74.3259 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 248.9536 | μmol/L | 18.2626 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.802 | 56529.0189 | 292321.1405 | 28.7 | 67.6
23017 | 2022-05-20 13:48 | 74.6596 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 248.8278 | μmol/L | 18.2626 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.808 | 56545.2072 | 292293.9331 | 28.7 | 67.6
23027 | 2022-05-20 13:48 | 74.9922 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 248.744 | μmol/L | 18.2626 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.812 | 56549.2832 | 292303.6037 | 28.7 | 67.6
23037 | 2022-05-20 13:48 | 75.326 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 248.7178 | μmol/L | 18.2687 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.811 | 56545.5969 | 292291.0852 | 28.7 | 67.6
23047 | 2022-05-20 13:49 | 75.6595 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 248.7807 | μmol/L | 18.2687 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.808 | 56542.752 | 292266.7241 | 28.7 | 67.6
23057 | 2022-05-20 13:49 | 75.9929 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 248.6183 | μmol/L | 18.2626 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.818 | 56554.4058 | 292272.2301 | 28.7 | 67.6
23067 | 2022-05-20 13:49 | 76.3256 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 248.6444 | μmol/L | 18.2566 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.819 | 56553.0455 | 292266.5186 | 28.7 | 67.6
23077 | 2022-05-20 13:50 | 76.6589 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 248.5503 | μmol/L | 18.2687 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.819 | 56543.0104 | 292261.6804 | 28.7 | 67.6
23087 | 2022-05-20 13:50 | 76.9923 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 248.6392 | μmol/L | 18.2626 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.817 | 56542.4421 | 292246.1666 | 28.7 | 67.6
23097 | 2022-05-20 13:50 | 77.3259 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 248.4875 | μmol/L | 18.2687 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.822 | 56553.676 | 292245.2407 | 28.7 | 67.6
23107 | 2022-05-20 13:51 | 77.6593 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 248.2626 | μmol/L | 18.2626 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.835 | 56584.1916 | 292225.8438 | 28.7 | 67.6
23117 | 2022-05-20 13:51 | 77.9929 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 248.1005 | μmol/L | 18.2566 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.845 | 56626.8123 | 292233.8297 | 28.7 | 67.6
23127 | 2022-05-20 13:51 | 78.3258 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 247.824 | μmol/L | 18.2626 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.856 | 56656.1044 | 292235.5098 | 28.7 | 67.6
23137 | 2022-05-20 13:52 | 78.6596 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 247.5946 | μmol/L | 18.2626 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.867 | 56678.9865 | 292225.2638 | 28.7 | 67.6
23147 | 2022-05-20 13:52 | 78.9929 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 247.3395 | μmol/L | 18.2687 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.877 | 56692.0734 | 292212.9197 | 28.7 | 67.6
23157 | 2022-05-20 13:52 | 79.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 247.5321 | μmol/L | 18.2626 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.87 | 56682.607 | 292210.5993 | 28.7 | 67.6
23167 | 2022-05-20 13:53 | 79.6593 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 247.4071 | μmol/L | 18.2626 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.876 | 56685.0534 | 292200.3733 | 28.7 | 67.6
23177 | 2022-05-20 13:53 | 79.9927 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 247.4696 | μmol/L | 18.2626 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.873 | 56679.6785 | 292188.0773 | 28.7 | 67.6
23187 | 2022-05-20 13:53 | 80.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 247.6311 | μmol/L | 18.2687 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.863 | 56681.7035 | 292207.3143 | 28.7 | 67.6
23197 | 2022-05-20 13:54 | 80.6593 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 247.303 | μmol/L | 18.2626 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.881 | 56694.9359 | 292193.6397 | 28.7 | 67.6
23207 | 2022-05-20 13:54 | 80.9929 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 247.2458 | μmol/L | 18.2566 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.886 | 56719.2557 | 292191.8742 | 28.7 | 67.6
23217 | 2022-05-20 13:54 | 81.3255 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 247.1782 | μmol/L | 18.2626 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.887 | 56717.1719 | 292193.2945 | 28.7 | 67.6
23227 | 2022-05-20 13:55 | 81.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 247.1626 | μmol/L | 18.2566 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.89 | 56715.8578 | 292176.8063 | 28.7 | 67.6
23237 | 2022-05-20 13:55 | 81.9926 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 246.8457 | μmol/L | 18.2626 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.903 | 56740.6522 | 292171.9587 | 28.7 | 67.6
23247 | 2022-05-20 13:55 | 82.3256 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 246.6796 | μmol/L | 18.2626 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.911 | 56762.6658 | 292168.4014 | 28.7 | 67.6
23257 | 2022-05-20 13:56 | 82.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 246.5552 | μmol/L | 18.2626 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.917 | 56797.7656 | 292167.8661 | 28.7 | 67.6
23267 | 2022-05-20 13:56 | 82.9925 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 246.4153 | μmol/L | 18.2566 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.926 | 56813.2304 | 292164.4326 | 28.7 | 67.6
23277 | 2022-05-20 13:56 | 83.326 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 246.291 | μmol/L | 18.2566 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.932 | 56811.0004 | 292150.6386 | 28.7 | 67.6
23287 | 2022-05-20 13:57 | 83.6588 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 246.3686 | μmol/L | 18.2626 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.926 | 56819.4814 | 292157.0081 | 28.7 | 67.6
23297 | 2022-05-20 13:57 | 83.9926 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 245.1139 | μmol/L | 18.2566 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.989 | 56962.9429 | 292149.048 | 28.7 | 67.6
23307 | 2022-05-20 13:57 | 84.3262 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 244.7795 | μmol/L | 18.2626 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.003 | 57002.4675 | 292126.2781 | 28.7 | 67.6
23317 | 2022-05-20 13:58 | 84.6591 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 244.6203 | μmol/L | 18.2566 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.013 | 57029.1317 | 292130.2096 | 28.7 | 67.6
23327 | 2022-05-20 13:58 | 84.9926 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 244.6562 | μmol/L | 18.2626 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.009 | 57046.5677 | 292136.778 | 28.7 | 67.6
23337 | 2022-05-20 13:58 | 85.3255 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 244.4355 | μmol/L | 18.2566 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.022 | 57057.5242 | 292126.9847 | 28.7 | 67.6
23347 | 2022-05-20 13:59 | 85.6593 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 244.3482 | μmol/L | 18.2626 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.024 | 57053.2425 | 292122.7404 | 28.7 | 67.6
23357 | 2022-05-20 13:59 | 85.9928 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 244.7077 | μmol/L | 18.2505 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.011 | 57028.3274 | 292108.5675 | 28.7 | 67.6
23367 | 2022-05-20 13:59 | 86.3263 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 245.0986 | μmol/L | 18.2505 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.992 | 56988.9354 | 292094.3748 | 28.7 | 67.6
23377 | 2022-05-20 14:00 | 86.659 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 245.2015 | μmol/L | 18.2505 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.987 | 56954.756 | 292098.4488 | 28.7 | 67.6
23387 | 2022-05-20 14:00 | 86.9926 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 245.3406 | μmol/L | 18.2566 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.978 | 56935.0334 | 292093.4301 | 28.7 | 67.6
23397 | 2022-05-20 14:00 | 87.326 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 245.0727 | μmol/L | 18.2566 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.991 | 56958.2567 | 292110.499 | 28.7 | 67.6
23407 | 2022-05-20 14:01 | 87.6594 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 244.9545 | μmol/L | 18.2505 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.999 | 56978.9074 | 292091.0851 | 28.7 | 67.6
23417 | 2022-05-20 14:01 | 87.993 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 244.8053 | μmol/L | 18.2566 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.004 | 56983.908 | 292082.6884 | 28.7 | 67.6
23427 | 2022-05-20 14:01 | 88.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 244.9186 | μmol/L | 18.2444 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.003 | 56995.295 | 292086.2054 | 28.7 | 67.6
23437 | 2022-05-20 14:02 | 88.6591 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 244.605 | μmol/L | 18.2505 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.016 | 57021.5003 | 292093.2 | 28.7 | 67.6
23447 | 2022-05-20 14:02 | 88.9925 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 244.4202 | μmol/L | 18.2505 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.025 | 57044.9897 | 292069.0509 | 28.7 | 67.6
23457 | 2022-05-20 14:02 | 89.326 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 244.7488 | μmol/L | 18.2505 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.009 | 57012.0948 | 292068.7443 | 28.7 | 67.6
23467 | 2022-05-20 14:03 | 89.6594 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 244.5382 | μmol/L | 18.2566 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.017 | 57020.3558 | 292075.3775 | 28.7 | 67.6
23477 | 2022-05-20 14:03 | 89.9929 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 244.7231 | μmol/L | 18.2566 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.008 | 56991.597 | 292060.87 | 28.7 | 67.6
23487 | 2022-05-20 14:03 | 90.3256 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 244.7283 | μmol/L | 18.2505 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.01 | 56986.4349 | 292060.6226 | 28.7 | 67.6
23497 | 2022-05-20 14:04 | 90.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 244.8001 | μmol/L | 18.2626 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.002 | 56990.7491 | 292051.3478 | 28.7 | 67.6
23507 | 2022-05-20 14:04 | 90.9924 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 244.8464 | μmol/L | 18.2566 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.002 | 56979.2814 | 292068.9088 | 28.7 | 67.6