## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_4 | O2 | 32092713 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:51

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-20 15:44

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
23517 | 2022-05-20 14:22 | 0 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.5425 | μmol/L | 18.1167 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.29 | 50519.3601 | 291880.4107 | 28.7 | 67.6
23527 | 2022-05-20 14:23 | 0.32511 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.9721 | μmol/L | 18.1228 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.311 | 50538.451 | 291884.9139 | 28.7 | 67.6
23537 | 2022-05-20 14:23 | 0.65848 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.0212 | μmol/L | 18.1228 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.309 | 50552.5228 | 291885.022 | 28.7 | 67.6
23547 | 2022-05-20 14:23 | 0.99211 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.9475 | μmol/L | 18.1228 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.312 | 50562.114 | 291874.1268 | 28.7 | 67.6
23557 | 2022-05-20 14:24 | 1.3252 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.6529 | μmol/L | 18.1228 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.324 | 50570.2781 | 291851.5706 | 28.7 | 67.6
23567 | 2022-05-20 14:24 | 1.6593 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.5548 | μmol/L | 18.1228 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.328 | 50592.1577 | 291867.3159 | 28.7 | 67.6
23577 | 2022-05-20 14:24 | 1.9918 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.4614 | μmol/L | 18.1167 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.334 | 50598.3214 | 291851.4823 | 28.7 | 67.6
23587 | 2022-05-20 14:25 | 2.3255 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.2361 | μmol/L | 18.1228 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.341 | 50616.5915 | 291850.1277 | 28.7 | 67.6
23597 | 2022-05-20 14:25 | 2.659 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.158 | μmol/L | 18.1288 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.342 | 50616.8551 | 291853.7405 | 28.7 | 67.6
23607 | 2022-05-20 14:25 | 2.9924 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.0158 | μmol/L | 18.1228 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.35 | 50620.4375 | 291825.5549 | 28.7 | 67.6
23617 | 2022-05-20 14:26 | 3.3256 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.8935 | μmol/L | 18.1228 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.355 | 50627.6601 | 291820.7984 | 28.7 | 67.6
23627 | 2022-05-20 14:26 | 3.6591 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.7957 | μmol/L | 18.1228 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.359 | 50637.8448 | 291832.2637 | 28.7 | 67.6
23637 | 2022-05-20 14:26 | 3.9918 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.6688 | μmol/L | 18.1288 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.362 | 50640.642 | 291802.7616 | 28.7 | 67.6
23647 | 2022-05-20 14:27 | 4.3254 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.6049 | μmol/L | 18.1167 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.369 | 50646.0877 | 291799.7607 | 28.7 | 67.6
23657 | 2022-05-20 14:27 | 4.659 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.7026 | μmol/L | 18.1167 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.365 | 50643.8131 | 291782.1654 | 28.7 | 67.6
23667 | 2022-05-20 14:27 | 4.9919 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.6979 | μmol/L | 18.1228 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.363 | 50645.8674 | 291788.3016 | 28.7 | 67.6
23677 | 2022-05-20 14:28 | 5.3254 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.5467 | μmol/L | 18.1288 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.367 | 50647.2939 | 291771.3259 | 28.7 | 67.6
23687 | 2022-05-20 14:28 | 5.659 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.5758 | μmol/L | 18.1228 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.368 | 50642.6766 | 291789.5424 | 28.7 | 67.6
23697 | 2022-05-20 14:28 | 5.992 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.5467 | μmol/L | 18.1288 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.367 | 50634.0644 | 291773.8153 | 28.7 | 67.6
23707 | 2022-05-20 14:29 | 6.3255 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.9377 | μmol/L | 18.1288 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.351 | 50612.2298 | 291757.816 | 28.7 | 67.6
23717 | 2022-05-20 14:29 | 6.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.8644 | μmol/L | 18.1288 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.354 | 50593.9154 | 291765.6861 | 28.7 | 67.6
23727 | 2022-05-20 14:29 | 6.992 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.354 | μmol/L | 18.1288 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.334 | 50567.291 | 291738.2817 | 28.7 | 67.6
23737 | 2022-05-20 14:30 | 7.3255 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.2805 | μmol/L | 18.1288 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.337 | 50559.425 | 291746.1428 | 28.7 | 67.6
23747 | 2022-05-20 14:30 | 7.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.354 | μmol/L | 18.1288 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.334 | 50550.818 | 291752.9236 | 28.7 | 67.6
23757 | 2022-05-20 14:30 | 7.9922 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.2268 | μmol/L | 18.1349 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.337 | 50543.8208 | 291740.8551 | 28.7 | 67.6
23767 | 2022-05-20 14:31 | 8.3259 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.1825 | μmol/L | 18.1288 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.341 | 50568.8933 | 291733.854 | 28.7 | 67.6
23777 | 2022-05-20 14:31 | 8.6585 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.542 | μmol/L | 18.1349 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.365 | 50603.2577 | 291724.8524 | 28.7 | 67.6
23787 | 2022-05-20 14:31 | 8.992 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.2004 | μmol/L | 18.1349 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.379 | 50648.818 | 291732.8775 | 28.7 | 67.6
23797 | 2022-05-20 14:32 | 9.3256 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.1516 | μmol/L | 18.1349 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.381 | 50682.0747 | 291729.7995 | 28.7 | 67.6
23807 | 2022-05-20 14:32 | 9.6591 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8058 | μmol/L | 18.141 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.393 | 50701.454 | 291729.8642 | 28.7 | 67.6
23817 | 2022-05-20 14:32 | 9.9926 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6206 | μmol/L | 18.1288 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.405 | 50725.4387 | 291706.8606 | 28.7 | 67.6
23827 | 2022-05-20 14:33 | 10.3255 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.3242 | μmol/L | 18.1349 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.415 | 50728.2899 | 291691.0526 | 28.7 | 67.6
23837 | 2022-05-20 14:33 | 10.659 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.1785 | μmol/L | 18.1349 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.421 | 50749.7919 | 291699.9948 | 28.7 | 67.6
23847 | 2022-05-20 14:33 | 10.9925 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.7857 | μmol/L | 18.141 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.435 | 50767.5472 | 291706.4563 | 28.7 | 67.6
23857 | 2022-05-20 14:34 | 11.3259 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.0571 | μmol/L | 18.1349 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.426 | 50770.6349 | 291680.4476 | 28.7 | 67.6
23867 | 2022-05-20 14:34 | 11.6585 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.8146 | μmol/L | 18.1349 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.436 | 50770.414 | 291684.4517 | 28.7 | 67.6
23877 | 2022-05-20 14:34 | 11.9922 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.9311 | μmol/L | 18.141 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.429 | 50768.8266 | 291666.3527 | 28.7 | 67.6
23887 | 2022-05-20 14:35 | 12.3253 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.7662 | μmol/L | 18.1349 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.438 | 50774.4457 | 291683.4884 | 28.7 | 67.6
23897 | 2022-05-20 14:35 | 12.6587 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.7419 | μmol/L | 18.1349 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.439 | 50764.2911 | 291661.6715 | 28.7 | 67.6
23907 | 2022-05-20 14:35 | 12.9922 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.684 | μmol/L | 18.1471 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.437 | 50775.3305 | 291660.7537 | 28.7 | 67.6
23917 | 2022-05-20 14:36 | 13.3256 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.6645 | μmol/L | 18.141 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.44 | 50766.4097 | 291656.7795 | 28.7 | 67.6
23927 | 2022-05-20 14:36 | 13.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.7857 | μmol/L | 18.141 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.435 | 50770.1114 | 291660.9387 | 28.7 | 67.6
23937 | 2022-05-20 14:36 | 13.992 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.7857 | μmol/L | 18.141 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.435 | 50770.6327 | 291659.894 | 28.7 | 67.6
23947 | 2022-05-20 14:37 | 14.3255 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.7372 | μmol/L | 18.141 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.437 | 50765.3202 | 291642.4364 | 28.7 | 67.6
23957 | 2022-05-20 14:37 | 14.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.7857 | μmol/L | 18.141 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.435 | 50763.0232 | 291622.2584 | 28.7 | 67.6
23967 | 2022-05-20 14:37 | 14.992 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.8294 | μmol/L | 18.1471 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.431 | 50762.893 | 291637.2557 | 28.7 | 67.6
23977 | 2022-05-20 14:38 | 15.3254 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.7857 | μmol/L | 18.141 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.435 | 50762.3659 | 291633.9114 | 28.7 | 67.6
23987 | 2022-05-20 14:38 | 15.6591 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.7083 | μmol/L | 18.1471 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.436 | 50755.6284 | 291637.2519 | 28.7 | 67.6
23997 | 2022-05-20 14:38 | 15.9926 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.7567 | μmol/L | 18.1471 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.434 | 50749.8792 | 291623.1249 | 28.7 | 67.6
24007 | 2022-05-20 14:39 | 16.3251 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.8294 | μmol/L | 18.1471 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.431 | 50744.338 | 291608.8353 | 28.7 | 67.6
24017 | 2022-05-20 14:39 | 16.6587 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.9069 | μmol/L | 18.141 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.43 | 50740.4857 | 291604.1136 | 28.7 | 67.6
24027 | 2022-05-20 14:39 | 16.9923 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.8052 | μmol/L | 18.1471 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.432 | 50740.3427 | 291599.662 | 28.7 | 67.6
24037 | 2022-05-20 14:40 | 17.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.684 | μmol/L | 18.1471 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.437 | 50735.7268 | 291598.3692 | 28.7 | 67.6
24047 | 2022-05-20 14:40 | 17.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.8975 | μmol/L | 18.1532 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.426 | 50732.3121 | 291584.1882 | 28.7 | 67.6
24057 | 2022-05-20 14:40 | 17.9919 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.9217 | μmol/L | 18.1532 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.425 | 50735.0697 | 291588.4267 | 28.7 | 67.6
24067 | 2022-05-20 14:41 | 18.3255 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.8732 | μmol/L | 18.1532 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.427 | 50734.1339 | 291594.5832 | 28.7 | 67.6
24077 | 2022-05-20 14:41 | 18.6589 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.8443 | μmol/L | 18.1592 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.426 | 50720.8776 | 291575.0281 | 28.7 | 67.6
24087 | 2022-05-20 14:41 | 18.9924 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.8685 | μmol/L | 18.1592 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.425 | 50713.8412 | 291573.4087 | 28.7 | 67.6
24097 | 2022-05-20 14:42 | 19.3258 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.946 | μmol/L | 18.1532 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.424 | 50716.8498 | 291560.6377 | 28.7 | 67.6
24107 | 2022-05-20 14:42 | 19.6584 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.7958 | μmol/L | 18.1592 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.428 | 50702.9403 | 291554.0038 | 28.7 | 67.6
24117 | 2022-05-20 14:42 | 19.9921 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.917 | μmol/L | 18.1592 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.423 | 50697.5278 | 291554.0692 | 28.7 | 67.6
24127 | 2022-05-20 14:43 | 20.3256 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.9655 | μmol/L | 18.1592 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.421 | 50696.2654 | 291550.9049 | 28.7 | 67.6
24137 | 2022-05-20 14:43 | 20.6591 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.9898 | μmol/L | 18.1592 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.42 | 50685.5984 | 291550.1294 | 28.7 | 67.6
24147 | 2022-05-20 14:43 | 20.9925 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.0626 | μmol/L | 18.1592 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.417 | 50680.661 | 291544.9998 | 28.7 | 67.6
24157 | 2022-05-20 14:44 | 21.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.9898 | μmol/L | 18.1592 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.42 | 50680.1425 | 291535.5102 | 28.7 | 67.6
24167 | 2022-05-20 14:44 | 21.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.1307 | μmol/L | 18.1653 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.412 | 50681.6611 | 291524.5696 | 28.7 | 67.6
24177 | 2022-05-20 14:44 | 21.9918 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.9077 | μmol/L | 18.1714 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.419 | 50679.0435 | 291518.8959 | 28.7 | 67.6
24187 | 2022-05-20 14:45 | 22.3254 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.0579 | μmol/L | 18.1653 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.415 | 50678.3389 | 291524.888 | 28.7 | 67.6
24197 | 2022-05-20 14:45 | 22.6589 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.8638 | μmol/L | 18.1653 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.423 | 50683.523 | 291517.9763 | 28.7 | 67.6
24207 | 2022-05-20 14:45 | 22.9923 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.8638 | μmol/L | 18.1653 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.423 | 50691.7383 | 291509.4166 | 28.7 | 67.6
24217 | 2022-05-20 14:46 | 23.3259 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.7911 | μmol/L | 18.1653 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.426 | 50683.1518 | 291504.3938 | 28.7 | 67.6
24227 | 2022-05-20 14:46 | 23.6588 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.6895 | μmol/L | 18.1714 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.428 | 50691.12 | 291506.159 | 28.7 | 67.6
24237 | 2022-05-20 14:46 | 23.9922 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.8881 | μmol/L | 18.1653 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.422 | 50686.5129 | 291486.0997 | 28.7 | 67.6
24247 | 2022-05-20 14:47 | 24.3256 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.7669 | μmol/L | 18.1653 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.427 | 50691.2627 | 291489.8184 | 28.7 | 67.6
24257 | 2022-05-20 14:47 | 24.6591 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.6215 | μmol/L | 18.1653 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.433 | 50696.4714 | 291489.4154 | 28.7 | 67.6
24267 | 2022-05-20 14:47 | 24.9925 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.6746 | μmol/L | 18.1592 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.433 | 50719.8605 | 291487.1877 | 28.7 | 67.6
24277 | 2022-05-20 14:48 | 25.3251 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.3552 | μmol/L | 18.1653 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.444 | 50725.7564 | 291477.5537 | 28.7 | 67.6
24287 | 2022-05-20 14:48 | 25.6587 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.2826 | μmol/L | 18.1653 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.447 | 50745.0663 | 291476.5876 | 28.7 | 67.6
24297 | 2022-05-20 14:48 | 25.9923 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.1134 | μmol/L | 18.1653 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.454 | 50757.0811 | 291459.4699 | 28.7 | 67.6
24307 | 2022-05-20 14:49 | 26.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.8959 | μmol/L | 18.1653 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.463 | 50777.0311 | 291467.6572 | 28.7 | 67.6
24317 | 2022-05-20 14:49 | 26.6585 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.6981 | μmol/L | 18.1714 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.469 | 50789.4641 | 291446.7947 | 28.7 | 67.6
24327 | 2022-05-20 14:49 | 26.992 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.5478 | μmol/L | 18.1714 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.475 | 50801.7812 | 291449.4636 | 28.7 | 67.6
24337 | 2022-05-20 14:50 | 27.3256 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.2884 | μmol/L | 18.1714 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.486 | 50817.6442 | 291442.1371 | 28.7 | 67.6
24347 | 2022-05-20 14:50 | 27.659 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.9755 | μmol/L | 18.1714 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.499 | 50835.1555 | 291430.9009 | 28.7 | 67.6
24357 | 2022-05-20 14:50 | 27.992 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.8977 | μmol/L | 18.1714 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.502 | 50849.2858 | 291420.7015 | 28.7 | 67.6
24367 | 2022-05-20 14:51 | 28.3256 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.836 | μmol/L | 18.1653 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.507 | 50876.4719 | 291427.0755 | 28.7 | 67.6
24377 | 2022-05-20 14:51 | 28.659 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.543 | μmol/L | 18.1714 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.517 | 50893.7054 | 291424.4534 | 28.7 | 67.6
24387 | 2022-05-20 14:51 | 28.9918 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.543 | μmol/L | 18.1714 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.517 | 50910.0312 | 291410.4911 | 28.7 | 67.6
24397 | 2022-05-20 14:52 | 29.3254 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.1879 | μmol/L | 18.1653 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.534 | 50922.3628 | 291397.9553 | 28.7 | 67.6
24407 | 2022-05-20 14:52 | 29.6589 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.1296 | μmol/L | 18.1714 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.534 | 50944.657 | 291399.5308 | 28.7 | 67.6
24417 | 2022-05-20 14:52 | 29.992 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.915 | μmol/L | 18.1775 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.541 | 50959.3084 | 291396.8432 | 28.7 | 67.6
24427 | 2022-05-20 14:53 | 30.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.8718 | μmol/L | 18.1714 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.545 | 50968.1655 | 291410.4782 | 28.7 | 67.6
24437 | 2022-05-20 14:53 | 30.6586 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.6509 | μmol/L | 18.1714 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.554 | 50995.7308 | 291386.7662 | 28.7 | 67.6
24447 | 2022-05-20 14:53 | 30.9924 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.4788 | μmol/L | 18.1775 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.559 | 51011.1873 | 291394.7024 | 28.7 | 67.6
24457 | 2022-05-20 14:54 | 31.3258 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.3889 | μmol/L | 18.1775 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.563 | 51024.7664 | 291376.9411 | 28.7 | 67.6
24467 | 2022-05-20 14:54 | 31.6586 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.1788 | μmol/L | 18.1714 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.574 | 51042.6128 | 291378.1973 | 28.7 | 67.6
24477 | 2022-05-20 14:54 | 31.992 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.073 | μmol/L | 18.1775 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.576 | 51058.7643 | 291391.4958 | 28.7 | 67.6
24487 | 2022-05-20 14:55 | 32.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.0491 | μmol/L | 18.1775 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.577 | 51061.4634 | 291364.5802 | 28.7 | 67.6
24497 | 2022-05-20 14:55 | 32.6586 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 276.7155 | μmol/L | 18.1775 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.591 | 51075.1709 | 291374.7034 | 28.7 | 67.6
24507 | 2022-05-20 14:55 | 32.992 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 276.5013 | μmol/L | 18.1775 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.6 | 51075.7756 | 291370.8681 | 28.7 | 67.6
24517 | 2022-05-20 14:56 | 33.3256 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 276.6021 | μmol/L | 18.1775 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.596 | 51087.9281 | 291375.8237 | 28.7 | 67.6
24527 | 2022-05-20 14:56 | 33.6591 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 276.4014 | μmol/L | 18.1836 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.602 | 51102.1761 | 291365.6536 | 28.7 | 67.6
24537 | 2022-05-20 14:56 | 33.992 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 276.1399 | μmol/L | 18.1836 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.613 | 51113.3119 | 291355.7775 | 28.7 | 67.6
24547 | 2022-05-20 14:57 | 34.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 276.1447 | μmol/L | 18.1775 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.615 | 51128.1062 | 291376.3264 | 28.7 | 67.6
24557 | 2022-05-20 14:57 | 34.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 275.8891 | μmol/L | 18.1775 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.626 | 51143.3489 | 291363.8231 | 28.7 | 67.6
24567 | 2022-05-20 14:57 | 34.9918 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 275.8313 | μmol/L | 18.1836 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.626 | 51157.3708 | 291351.6295 | 28.7 | 67.6
24577 | 2022-05-20 14:58 | 35.3256 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 275.689 | μmol/L | 18.1836 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.632 | 51163.8725 | 291341.8741 | 28.7 | 67.6
24587 | 2022-05-20 14:58 | 35.6591 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 275.6416 | μmol/L | 18.1836 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.634 | 51175.4723 | 291350.9717 | 28.7 | 67.6
24597 | 2022-05-20 14:58 | 35.9925 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 275.471 | μmol/L | 18.1897 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.639 | 51189.8943 | 291339.7109 | 28.7 | 67.6
24607 | 2022-05-20 14:59 | 36.3255 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 275.381 | μmol/L | 18.1836 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.645 | 51209.4763 | 291346.2885 | 28.7 | 67.6
24617 | 2022-05-20 14:59 | 36.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 275.2816 | μmol/L | 18.1897 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.647 | 51226.2152 | 291341.2317 | 28.7 | 67.6
24627 | 2022-05-20 14:59 | 36.992 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 275.1973 | μmol/L | 18.1836 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.653 | 51237.9504 | 291349.9016 | 28.7 | 67.6
24637 | 2022-05-20 15:00 | 37.3256 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.856 | μmol/L | 18.1897 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.665 | 51257.8666 | 291349.6723 | 28.7 | 67.6
24647 | 2022-05-20 15:00 | 37.6584 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.8088 | μmol/L | 18.1897 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.667 | 51264.0299 | 291345.3085 | 28.7 | 67.6
24657 | 2022-05-20 15:00 | 37.9919 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.8372 | μmol/L | 18.1836 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.668 | 51279.5724 | 291344.804 | 28.7 | 67.6
24667 | 2022-05-20 15:01 | 38.3255 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.5123 | μmol/L | 18.1836 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.682 | 51288.3421 | 291344.3767 | 28.7 | 67.6
24677 | 2022-05-20 15:01 | 38.6591 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.3134 | μmol/L | 18.1897 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.688 | 51299.6162 | 291342.0276 | 28.7 | 67.6
24687 | 2022-05-20 15:01 | 38.9918 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.1485 | μmol/L | 18.1897 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.695 | 51315.85 | 291333.8308 | 28.7 | 67.6
24697 | 2022-05-20 15:02 | 39.3252 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.073 | μmol/L | 18.1957 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.696 | 51330.8433 | 291339.4658 | 28.7 | 67.6
24707 | 2022-05-20 15:02 | 39.6588 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.8474 | μmol/L | 18.1836 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.71 | 51366.1281 | 291342.391 | 28.7 | 67.6
24717 | 2022-05-20 15:02 | 39.9923 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.3776 | μmol/L | 18.1836 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.73 | 51397.1406 | 291327.308 | 28.7 | 67.6
24727 | 2022-05-20 15:03 | 40.3252 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.2368 | μmol/L | 18.1836 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.736 | 51427.1968 | 291326.9828 | 28.7 | 67.6
24737 | 2022-05-20 15:03 | 40.6588 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.9508 | μmol/L | 18.1897 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.746 | 51448.5312 | 291316.2627 | 28.7 | 67.6
24747 | 2022-05-20 15:03 | 40.9924 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.7973 | μmol/L | 18.1836 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.755 | 51471.5676 | 291309.2491 | 28.7 | 67.6
24757 | 2022-05-20 15:04 | 41.3253 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.5481 | μmol/L | 18.1957 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.761 | 51489.3383 | 291304.5703 | 28.7 | 67.6
24767 | 2022-05-20 15:04 | 41.6588 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.366 | μmol/L | 18.1897 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.771 | 51508.0399 | 291297.9145 | 28.7 | 67.6
24777 | 2022-05-20 15:04 | 41.9924 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.4079 | μmol/L | 18.1957 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.767 | 51527.9628 | 291303.6981 | 28.7 | 67.6
24787 | 2022-05-20 15:05 | 42.3259 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.011 | μmol/L | 18.1957 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.784 | 51538.6119 | 291286.8937 | 28.7 | 67.6
24797 | 2022-05-20 15:05 | 42.6587 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.9129 | μmol/L | 18.2018 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.786 | 51556.3654 | 291281.2389 | 28.7 | 67.6
24807 | 2022-05-20 15:05 | 42.9926 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.7594 | μmol/L | 18.1897 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.797 | 51573.8295 | 291273.1392 | 28.7 | 67.6
24817 | 2022-05-20 15:06 | 43.3253 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.6895 | μmol/L | 18.1897 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.8 | 51592.7265 | 291274.1799 | 28.7 | 67.6
24827 | 2022-05-20 15:06 | 43.6589 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.2377 | μmol/L | 18.2018 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.815 | 51603.4227 | 291256.5566 | 28.7 | 67.6
24837 | 2022-05-20 15:06 | 43.9923 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.0567 | μmol/L | 18.1957 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.825 | 51634.7267 | 291260.3415 | 28.7 | 67.6
24847 | 2022-05-20 15:07 | 44.3253 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.0103 | μmol/L | 18.1957 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.827 | 51649.5264 | 291245.5255 | 28.7 | 67.6
24857 | 2022-05-20 15:07 | 44.6588 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.7782 | μmol/L | 18.1957 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.837 | 51681.4024 | 291255.3301 | 28.7 | 67.6
24867 | 2022-05-20 15:07 | 44.9925 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.5232 | μmol/L | 18.1957 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.848 | 51697.0562 | 291238.3803 | 28.7 | 67.6
24877 | 2022-05-20 15:08 | 45.3253 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.4768 | μmol/L | 18.1957 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.85 | 51721.1267 | 291252.7642 | 28.7 | 67.6
24887 | 2022-05-20 15:08 | 45.659 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.9167 | μmol/L | 18.2018 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.872 | 51745.8669 | 291236.6979 | 28.7 | 67.6
24897 | 2022-05-20 15:08 | 45.9919 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.6808 | μmol/L | 18.2079 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.88 | 51776.4986 | 291235.6908 | 28.7 | 67.6
24907 | 2022-05-20 15:09 | 46.3253 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.404 | μmol/L | 18.2079 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.892 | 51793.6358 | 291227.6098 | 28.7 | 67.6
24917 | 2022-05-20 15:09 | 46.659 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.2475 | μmol/L | 18.2018 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.901 | 51816.9945 | 291238.2368 | 28.7 | 67.6
24927 | 2022-05-20 15:09 | 46.9924 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.0912 | μmol/L | 18.1957 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.91 | 51832.184 | 291210.4889 | 28.7 | 67.6
24937 | 2022-05-20 15:10 | 47.3252 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.0633 | μmol/L | 18.2018 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.909 | 51841.5514 | 291205.1972 | 28.7 | 67.6
24947 | 2022-05-20 15:10 | 47.6589 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.8053 | μmol/L | 18.2079 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.918 | 51859.2941 | 291196.0766 | 28.7 | 67.6
24957 | 2022-05-20 15:10 | 47.9923 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.6904 | μmol/L | 18.2079 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.923 | 51880.1183 | 291213.9649 | 28.7 | 67.6
24967 | 2022-05-20 15:11 | 48.3252 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.4935 | μmol/L | 18.1957 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.936 | 51893.4335 | 291192.4274 | 28.7 | 67.6
24977 | 2022-05-20 15:11 | 48.6588 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.3279 | μmol/L | 18.2018 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.941 | 51914.9234 | 291190.4467 | 28.7 | 67.6
24987 | 2022-05-20 15:11 | 48.9922 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.1035 | μmol/L | 18.1957 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.953 | 51933.5757 | 291190.1625 | 28.7 | 67.6
24997 | 2022-05-20 15:12 | 49.3258 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.9153 | μmol/L | 18.2018 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.959 | 51949.0029 | 291187.0142 | 28.7 | 67.6
25007 | 2022-05-20 15:12 | 49.6586 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.6685 | μmol/L | 18.1957 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.972 | 51976.8068 | 291171.4235 | 28.7 | 67.6
25017 | 2022-05-20 15:12 | 49.992 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.5492 | μmol/L | 18.2018 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.975 | 51995.7114 | 291182.8973 | 28.7 | 67.6
25027 | 2022-05-20 15:13 | 50.3258 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.6456 | μmol/L | 18.1957 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.973 | 52002.0529 | 291160.7631 | 28.7 | 67.6
25037 | 2022-05-20 15:13 | 50.6584 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.3664 | μmol/L | 18.2018 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.983 | 52006.0994 | 291163.5985 | 28.7 | 67.6
25047 | 2022-05-20 15:13 | 50.9919 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.3664 | μmol/L | 18.2018 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.983 | 52030.4933 | 291161.5252 | 28.7 | 67.6
25057 | 2022-05-20 15:14 | 51.3256 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.0924 | μmol/L | 18.2018 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.995 | 52041.1502 | 291139.5723 | 28.7 | 67.6
25067 | 2022-05-20 15:14 | 51.6584 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.8872 | μmol/L | 18.2018 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.004 | 52060.9058 | 291143.0414 | 28.7 | 67.6
25077 | 2022-05-20 15:14 | 51.992 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.7228 | μmol/L | 18.2079 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.009 | 52073.2936 | 291132.9088 | 28.7 | 67.6
25087 | 2022-05-20 15:15 | 52.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.5634 | μmol/L | 18.2079 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.016 | 52089.7128 | 291129.7324 | 28.7 | 67.6
25097 | 2022-05-20 15:15 | 52.6585 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.4773 | μmol/L | 18.2018 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.022 | 52094.3329 | 291138.6119 | 28.7 | 67.6
25107 | 2022-05-20 15:15 | 52.9919 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.1718 | μmol/L | 18.214 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.031 | 52103.9101 | 291125.365 | 28.7 | 67.6
25117 | 2022-05-20 15:16 | 53.3253 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.2627 | μmol/L | 18.214 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.027 | 52128.8109 | 291137.4307 | 28.7 | 67.6
25127 | 2022-05-20 15:16 | 53.659 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.154 | μmol/L | 18.2079 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.034 | 52135.5521 | 291106.1664 | 28.7 | 67.6
25137 | 2022-05-20 15:16 | 53.9926 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.1037 | μmol/L | 18.214 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.034 | 52147.687 | 291107.2893 | 28.7 | 67.6
25147 | 2022-05-20 15:17 | 54.3255 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.9043 | μmol/L | 18.2079 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.045 | 52171.571 | 291107.0128 | 28.7 | 67.6
25157 | 2022-05-20 15:17 | 54.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.3051 | μmol/L | 18.2201 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.067 | 52212.3872 | 291094.7196 | 28.7 | 67.6
25167 | 2022-05-20 15:17 | 54.9919 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.1969 | μmol/L | 18.214 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.074 | 52245.242 | 291098.9324 | 28.7 | 67.6
25177 | 2022-05-20 15:18 | 55.3255 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.9256 | μmol/L | 18.214 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.086 | 52264.7432 | 291105.8139 | 28.7 | 67.6
25187 | 2022-05-20 15:18 | 55.659 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.7224 | μmol/L | 18.214 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.095 | 52288.6985 | 291093.7916 | 28.7 | 67.6
25197 | 2022-05-20 15:18 | 55.9925 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.6046 | μmol/L | 18.2201 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.098 | 52304.023 | 291078.5732 | 28.7 | 67.6
25207 | 2022-05-20 15:19 | 56.3251 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.6371 | μmol/L | 18.2079 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.101 | 52312.1532 | 291066.4399 | 28.7 | 67.6
25217 | 2022-05-20 15:19 | 56.6587 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.1813 | μmol/L | 18.214 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.119 | 52332.9713 | 291086.6818 | 28.7 | 67.6
25227 | 2022-05-20 15:19 | 56.9923 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.2539 | μmol/L | 18.2079 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.118 | 52341.2885 | 291063.2367 | 28.7 | 67.6
25237 | 2022-05-20 15:20 | 57.3259 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.9338 | μmol/L | 18.214 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.13 | 52346.5462 | 291069.8039 | 28.7 | 67.6
25247 | 2022-05-20 15:20 | 57.6588 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.1188 | μmol/L | 18.2079 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.124 | 52354.349 | 291075.7494 | 28.7 | 67.6
25257 | 2022-05-20 15:20 | 57.9923 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.9338 | μmol/L | 18.214 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.13 | 52363.3356 | 291060.749 | 28.7 | 67.6
25267 | 2022-05-20 15:21 | 58.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.8888 | μmol/L | 18.214 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.132 | 52366.9157 | 291045.113 | 28.7 | 67.6
25277 | 2022-05-20 15:21 | 58.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.7314 | μmol/L | 18.214 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.139 | 52376.9453 | 291062.2423 | 28.7 | 67.6
25287 | 2022-05-20 15:21 | 58.9919 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.6765 | μmol/L | 18.2261 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.137 | 52374.9446 | 291062.3549 | 28.7 | 67.6
25297 | 2022-05-20 15:22 | 59.3254 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.699 | μmol/L | 18.2261 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.136 | 52373.2022 | 291044.0629 | 28.7 | 67.6
25307 | 2022-05-20 15:22 | 59.659 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.5867 | μmol/L | 18.2261 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.141 | 52376.4227 | 291039.3847 | 28.7 | 67.6
25317 | 2022-05-20 15:22 | 59.9919 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.8663 | μmol/L | 18.214 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.133 | 52379.0215 | 291036.0154 | 28.7 | 67.6
25327 | 2022-05-20 15:23 | 60.3254 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.6591 | μmol/L | 18.2201 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.14 | 52377.4144 | 291049.9656 | 28.7 | 67.6
25337 | 2022-05-20 15:23 | 60.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.6416 | μmol/L | 18.214 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.143 | 52377.0483 | 291033.3534 | 28.7 | 67.6
25347 | 2022-05-20 15:23 | 60.9919 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.6241 | μmol/L | 18.2079 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.146 | 52389.067 | 291039.5198 | 28.7 | 67.6
25357 | 2022-05-20 15:24 | 61.3255 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.462 | μmol/L | 18.214 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.151 | 52406.7282 | 291029.6789 | 28.7 | 67.6
25367 | 2022-05-20 15:24 | 61.6591 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.1878 | μmol/L | 18.2201 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.161 | 52424.7431 | 291025.8911 | 28.7 | 67.6
25377 | 2022-05-20 15:24 | 61.992 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.0708 | μmol/L | 18.2261 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.164 | 52444.5176 | 291026.3956 | 28.7 | 67.6
25387 | 2022-05-20 15:25 | 62.3256 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 262.919 | μmol/L | 18.2201 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.173 | 52462.1365 | 291023.568 | 28.7 | 67.6
25397 | 2022-05-20 15:25 | 62.6591 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 262.7673 | μmol/L | 18.214 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.182 | 52475.8644 | 291011.8569 | 28.7 | 67.6
25407 | 2022-05-20 15:25 | 62.9926 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 262.8121 | μmol/L | 18.214 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.18 | 52488.4306 | 291009.5934 | 28.7 | 67.6
25417 | 2022-05-20 15:26 | 63.3253 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 262.6332 | μmol/L | 18.214 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.188 | 52502.1674 | 291004.8796 | 28.7 | 67.6
25427 | 2022-05-20 15:26 | 63.6589 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 262.5164 | μmol/L | 18.2201 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.191 | 52521.9564 | 291012.2071 | 28.7 | 67.6
25437 | 2022-05-20 15:26 | 63.9923 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 262.1764 | μmol/L | 18.2261 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.204 | 52532.3008 | 291010.6418 | 28.7 | 67.6
25447 | 2022-05-20 15:27 | 64.3258 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 262.1095 | μmol/L | 18.2261 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.207 | 52536.5489 | 291009.7942 | 28.7 | 67.6
25457 | 2022-05-20 15:27 | 64.6585 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 261.9584 | μmol/L | 18.2201 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.216 | 52544.6868 | 290996.4562 | 28.7 | 67.6
25467 | 2022-05-20 15:27 | 64.9922 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 261.8866 | μmol/L | 18.2261 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.217 | 52556.0727 | 290987.1846 | 28.7 | 67.6
25477 | 2022-05-20 15:28 | 65.3256 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 261.842 | μmol/L | 18.2261 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.219 | 52576.9939 | 290994.9536 | 28.7 | 67.6
25487 | 2022-05-20 15:28 | 65.6591 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 261.6961 | μmol/L | 18.214 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.23 | 52609.2146 | 291002.7232 | 28.7 | 67.6
25497 | 2022-05-20 15:28 | 65.9922 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 261.1525 | μmol/L | 18.2261 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.25 | 52651.2266 | 290988.9371 | 28.7 | 67.6
25507 | 2022-05-20 15:29 | 66.3259 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 260.9083 | μmol/L | 18.2261 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.261 | 52674.244 | 290985.3222 | 28.7 | 67.6
25517 | 2022-05-20 15:29 | 66.6586 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 260.869 | μmol/L | 18.2201 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.265 | 52691.5073 | 290998.7338 | 28.7 | 67.6
25527 | 2022-05-20 15:29 | 66.992 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 260.6373 | μmol/L | 18.2322 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.271 | 52697.8985 | 290989.0504 | 28.7 | 67.6
25537 | 2022-05-20 15:30 | 67.3255 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 260.6252 | μmol/L | 18.2201 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.276 | 52700.8661 | 290976.4274 | 28.7 | 67.6
25547 | 2022-05-20 15:30 | 67.6591 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 260.603 | μmol/L | 18.2201 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.277 | 52701.2163 | 290974.0841 | 28.7 | 67.6
25557 | 2022-05-20 15:30 | 67.9926 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 260.4822 | μmol/L | 18.2322 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.278 | 52712.2721 | 290969.0655 | 28.7 | 67.6
25567 | 2022-05-20 15:31 | 68.3251 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 260.3323 | μmol/L | 18.2261 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.287 | 52718.1185 | 290985.1526 | 28.7 | 67.6
25577 | 2022-05-20 15:31 | 68.6586 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 260.4158 | μmol/L | 18.2322 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.281 | 52718.1373 | 290973.2329 | 28.7 | 67.6
25587 | 2022-05-20 15:31 | 68.9923 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 260.3545 | μmol/L | 18.2261 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.286 | 52731.9235 | 290961.7101 | 28.7 | 67.6
25597 | 2022-05-20 15:32 | 69.3252 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 260.2167 | μmol/L | 18.2322 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.29 | 52741.4516 | 290968.8868 | 28.7 | 67.6
25607 | 2022-05-20 15:32 | 69.659 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 260.1725 | μmol/L | 18.2322 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.292 | 52745.9446 | 290969.7123 | 28.7 | 67.6
25617 | 2022-05-20 15:32 | 69.9921 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 260.1384 | μmol/L | 18.2201 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.298 | 52753.9122 | 290971.043 | 28.7 | 67.6
25627 | 2022-05-20 15:33 | 70.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 259.9566 | μmol/L | 18.2261 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.304 | 52771.1017 | 290972.5508 | 28.7 | 67.6
25637 | 2022-05-20 15:33 | 70.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 259.8954 | μmol/L | 18.2201 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.309 | 52787.7379 | 290973.0297 | 28.7 | 67.6
25647 | 2022-05-20 15:33 | 70.9918 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 259.8903 | μmol/L | 18.2261 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.307 | 52802.6806 | 290983.9443 | 28.7 | 67.6
25657 | 2022-05-20 15:34 | 71.3254 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 259.6205 | μmol/L | 18.2322 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.317 | 52814.3677 | 290962.5601 | 28.7 | 67.6
25667 | 2022-05-20 15:34 | 71.6588 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 259.5814 | μmol/L | 18.2261 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.321 | 52818.4982 | 290959.1992 | 28.7 | 67.6
25677 | 2022-05-20 15:34 | 71.9924 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 259.373 | μmol/L | 18.2383 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.326 | 52825.6486 | 290966.7862 | 28.7 | 67.6
25687 | 2022-05-20 15:35 | 72.3253 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 259.29 | μmol/L | 18.2322 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.332 | 52842.7711 | 290962.0934 | 28.7 | 67.6
25697 | 2022-05-20 15:35 | 72.6589 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 259.0428 | μmol/L | 18.2383 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.341 | 52860.4932 | 290982.11 | 28.7 | 67.6
25707 | 2022-05-20 15:35 | 72.9918 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 258.6524 | μmol/L | 18.2322 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.361 | 52919.7397 | 290969.8522 | 28.7 | 67.6
25717 | 2022-05-20 15:36 | 73.3253 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 257.7272 | μmol/L | 18.2383 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.401 | 53017.5058 | 290977.6292 | 28.7 | 67.6
25727 | 2022-05-20 15:36 | 73.6589 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 257.0507 | μmol/L | 18.2383 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.432 | 53080.6993 | 290966.9688 | 28.7 | 67.6
25737 | 2022-05-20 15:36 | 73.9925 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.9904 | μmol/L | 18.2322 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.437 | 53109.7895 | 290955.4171 | 28.7 | 67.6
25747 | 2022-05-20 15:37 | 74.3253 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 257.0122 | μmol/L | 18.2322 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.436 | 53125.7236 | 290956.3259 | 28.7 | 67.6
25757 | 2022-05-20 15:37 | 74.6589 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 257.0122 | μmol/L | 18.2322 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.436 | 53136.1051 | 290964.5715 | 28.7 | 67.6
25767 | 2022-05-20 15:37 | 74.9926 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.6805 | μmol/L | 18.2383 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.449 | 53140.2938 | 290967.0799 | 28.7 | 67.6
25777 | 2022-05-20 15:38 | 75.3254 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.7777 | μmol/L | 18.2261 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.449 | 53147.3138 | 290966.6773 | 28.7 | 67.6
25787 | 2022-05-20 15:38 | 75.659 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.5334 | μmol/L | 18.2322 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.458 | 53163.1394 | 290965.8258 | 28.7 | 67.6
25797 | 2022-05-20 15:38 | 75.9926 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.3378 | μmol/L | 18.2322 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.467 | 53183.0095 | 290958.3118 | 28.7 | 67.6
25807 | 2022-05-20 15:39 | 76.3254 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.2076 | μmol/L | 18.2322 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.473 | 53188.4026 | 290955.8694 | 28.7 | 67.6
25817 | 2022-05-20 15:39 | 76.659 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.2459 | μmol/L | 18.2383 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.469 | 53187.4799 | 290947.0723 | 28.7 | 67.6
25827 | 2022-05-20 15:39 | 76.9925 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.2727 | μmol/L | 18.2322 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.47 | 53186.6135 | 290956.1007 | 28.7 | 67.6
25837 | 2022-05-20 15:40 | 77.3252 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.2676 | μmol/L | 18.2383 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.468 | 53184.3928 | 290954.9209 | 28.7 | 67.6
25847 | 2022-05-20 15:40 | 77.659 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.2293 | μmol/L | 18.2322 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.472 | 53176.9114 | 290954.2711 | 28.7 | 67.6
25857 | 2022-05-20 15:40 | 77.9918 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.3813 | μmol/L | 18.2322 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.465 | 53180.494 | 290947.2264 | 28.7 | 67.6
25867 | 2022-05-20 15:41 | 78.3256 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.5066 | μmol/L | 18.2383 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.457 | 53180.9087 | 290945.2881 | 28.7 | 67.6
25877 | 2022-05-20 15:41 | 78.6589 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.0991 | μmol/L | 18.2322 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.478 | 53194.7629 | 290939.4662 | 28.7 | 67.6
25887 | 2022-05-20 15:41 | 78.9923 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.0072 | μmol/L | 18.2383 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.48 | 53207.4466 | 290954.2042 | 28.7 | 67.6
25897 | 2022-05-20 15:42 | 79.3259 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.0672 | μmol/L | 18.2444 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.475 | 53214.2699 | 290946.1222 | 28.7 | 67.6
25907 | 2022-05-20 15:42 | 79.6586 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 255.9154 | μmol/L | 18.2444 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.482 | 53210.2912 | 290943.9136 | 28.7 | 67.6
25917 | 2022-05-20 15:42 | 79.9923 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 255.8287 | μmol/L | 18.2444 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.486 | 53212.2903 | 290939.9299 | 28.7 | 67.6
25927 | 2022-05-20 15:43 | 80.3252 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 255.8988 | μmol/L | 18.2383 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.485 | 53216.9898 | 290935.4222 | 28.7 | 67.6