## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_2 | O2 | 178552617 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:48

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-20 11:19

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
17411 | 2022-05-20 10:01 | 0 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.6719 | μmol/L | 17.5895 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.558 | 91968.1355 | 298932.6945 | 30.45 | 38.1
17421 | 2022-05-20 10:02 | 0.33468 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.715 | μmol/L | 17.5956 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.554 | 91937.1428 | 298894.6164 | 30.45 | 38.1
17431 | 2022-05-20 10:02 | 0.66829 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.6368 | μmol/L | 17.6017 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.555 | 91907.2549 | 298860.6316 | 30.45 | 38.1
17441 | 2022-05-20 10:02 | 1.0019 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.7284 | μmol/L | 17.6078 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.549 | 91875.8147 | 298826.5559 | 30.45 | 38.1
17451 | 2022-05-20 10:03 | 1.3346 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.6799 | μmol/L | 17.6078 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.551 | 91839.6006 | 298755.9964 | 30.45 | 38.1
17461 | 2022-05-20 10:03 | 1.6681 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.572 | μmol/L | 17.62 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.551 | 91910.0622 | 298721.5865 | 30.45 | 38.1
17471 | 2022-05-20 10:03 | 2.0019 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.572 | μmol/L | 17.62 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.551 | 91585.9529 | 298686.3477 | 30.45 | 38.1
17481 | 2022-05-20 10:04 | 2.3353 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.5369 | μmol/L | 17.6323 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.548 | 91565.2674 | 298651.7717 | 30.45 | 38.1
17491 | 2022-05-20 10:04 | 2.6682 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.5611 | μmol/L | 17.6323 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.547 | 91538.2502 | 298609.3831 | 30.45 | 38.1
17501 | 2022-05-20 10:04 | 3.0019 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.5018 | μmol/L | 17.6445 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.545 | 91505.2679 | 298568.2746 | 30.45 | 38.1
17511 | 2022-05-20 10:05 | 3.3345 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3994 | μmol/L | 17.6506 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.547 | 91477.6461 | 298534.7466 | 30.45 | 38.1
17521 | 2022-05-20 10:05 | 3.6682 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4965 | μmol/L | 17.6506 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.543 | 91448.8523 | 298509.5194 | 30.45 | 38.1
17531 | 2022-05-20 10:05 | 4.0019 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.545 | μmol/L | 17.6506 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.541 | 91411.343 | 298437.2797 | 30.45 | 38.1
17541 | 2022-05-20 10:06 | 4.3345 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4372 | μmol/L | 17.6628 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.541 | 91388.0034 | 298405.3824 | 30.45 | 38.1
17551 | 2022-05-20 10:06 | 4.6684 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.5585 | μmol/L | 17.6628 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.536 | 91357.6885 | 298368.663 | 30.45 | 38.1
17561 | 2022-05-20 10:06 | 5.0014 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4265 | μmol/L | 17.675 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.537 | 91323.321 | 298341.6273 | 30.45 | 38.1
17571 | 2022-05-20 10:07 | 5.3353 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3726 | μmol/L | 17.6811 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.537 | 91307.5225 | 298302.2817 | 30.45 | 38.1
17581 | 2022-05-20 10:07 | 5.6683 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4696 | μmol/L | 17.6811 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.533 | 91272.5056 | 298253.1035 | 30.45 | 38.1
17591 | 2022-05-20 10:07 | 6.002 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3619 | μmol/L | 17.6933 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.533 | 91250.7261 | 298215.7262 | 30.45 | 38.1
17601 | 2022-05-20 10:08 | 6.3348 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3998 | μmol/L | 17.7055 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.527 | 91214.7748 | 298191.6239 | 30.45 | 38.1
17611 | 2022-05-20 10:08 | 6.6684 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3513 | μmol/L | 17.7055 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.529 | 91181.6241 | 298140.7699 | 30.45 | 38.1
17621 | 2022-05-20 10:08 | 7.0019 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4832 | μmol/L | 17.6933 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.528 | 91151.0945 | 298103.2925 | 30.45 | 38.1
17631 | 2022-05-20 10:09 | 7.3347 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3808 | μmol/L | 17.6994 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.53 | 91123.8191 | 298067.6604 | 30.45 | 38.1
17641 | 2022-05-20 10:09 | 7.6684 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4589 | μmol/L | 17.6933 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.529 | 91108.6501 | 298045.3771 | 30.45 | 38.1
17651 | 2022-05-20 10:09 | 8.0016 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.2437 | μmol/L | 17.7177 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.529 | 91085.5198 | 297989.7658 | 30.45 | 38.1
17661 | 2022-05-20 10:10 | 8.3353 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.327 | μmol/L | 17.7055 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.53 | 91075.4622 | 297954.2228 | 30.45 | 38.1
17671 | 2022-05-20 10:10 | 8.6681 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.23 | μmol/L | 17.7055 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.534 | 91061.8072 | 297926.5141 | 30.45 | 38.1
17681 | 2022-05-20 10:10 | 9.0019 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.0498 | μmol/L | 17.7177 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.537 | 91044.4533 | 297902.2334 | 30.45 | 38.1
17691 | 2022-05-20 10:11 | 9.3346 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.0634 | μmol/L | 17.7299 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.532 | 91024.1926 | 297866.0571 | 30.45 | 38.1
17701 | 2022-05-20 10:11 | 9.6682 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 280.9718 | μmol/L | 17.7238 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.538 | 91000.1355 | 297842.6253 | 30.45 | 38.1
17711 | 2022-05-20 10:11 | 10.002 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.0392 | μmol/L | 17.7299 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.533 | 90980.3908 | 297806.9357 | 30.45 | 38.1
17721 | 2022-05-20 10:12 | 10.3352 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 280.9022 | μmol/L | 17.7482 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.532 | 90959.8561 | 297779.5715 | 30.45 | 38.1
17731 | 2022-05-20 10:12 | 10.6681 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 280.655 | μmol/L | 17.7543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.54 | 90972.744 | 297751.5144 | 30.45 | 38.1
17741 | 2022-05-20 10:12 | 11.0016 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 280.4993 | μmol/L | 17.7666 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.542 | 90976.8342 | 297722.4959 | 30.45 | 38.1
17751 | 2022-05-20 10:13 | 11.335 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 280.4669 | μmol/L | 17.7482 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.55 | 90974.1032 | 297696.4343 | 30.45 | 38.1
17761 | 2022-05-20 10:13 | 11.6687 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 280.4374 | μmol/L | 17.7543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.549 | 90970.226 | 297661.2839 | 30.45 | 38.1
17771 | 2022-05-20 10:13 | 12.0014 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 280.448 | μmol/L | 17.7421 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.553 | 90963.237 | 297655.0897 | 30.45 | 38.1
17781 | 2022-05-20 10:14 | 12.3351 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 280.0458 | μmol/L | 17.7605 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.563 | 90967.1162 | 297616.8097 | 30.45 | 38.1
17791 | 2022-05-20 10:14 | 12.668 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 280.1476 | μmol/L | 17.7543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.561 | 90971.9315 | 297606.5259 | 30.45 | 38.1
17801 | 2022-05-20 10:14 | 13.0017 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.8235 | μmol/L | 17.7666 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.57 | 90978.6289 | 297549.0477 | 30.45 | 38.1
17811 | 2022-05-20 10:15 | 13.3348 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.6843 | μmol/L | 17.7605 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.578 | 90986.8526 | 297542.2163 | 30.45 | 38.1
17821 | 2022-05-20 10:15 | 13.6684 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.4412 | μmol/L | 17.791 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.577 | 90975.2139 | 297499.1119 | 30.45 | 38.1
17831 | 2022-05-20 10:15 | 14.002 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.2247 | μmol/L | 17.791 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.586 | 90970.4789 | 297464.9796 | 30.45 | 38.1
17841 | 2022-05-20 10:16 | 14.3348 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.2646 | μmol/L | 17.7727 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.591 | 90980.7679 | 297438.4386 | 30.45 | 38.1
17851 | 2022-05-20 10:16 | 14.6681 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 278.1853 | μmol/L | 17.7727 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.636 | 91195.2394 | 297435.111 | 30.45 | 38.1
17861 | 2022-05-20 10:16 | 15.0017 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.9099 | μmol/L | 17.7849 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.685 | 91407.4553 | 297401.2246 | 30.45 | 38.1
17871 | 2022-05-20 10:17 | 15.3347 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.1917 | μmol/L | 17.791 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.713 | 91525.2759 | 297381.43 | 30.45 | 38.1
17881 | 2022-05-20 10:17 | 15.6686 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.6007 | μmol/L | 17.7849 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.698 | 91441.4221 | 297346.434 | 30.45 | 38.1
17891 | 2022-05-20 10:17 | 16.0016 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.6191 | μmol/L | 17.791 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.695 | 91398.1417 | 297314.4562 | 30.45 | 38.1
17901 | 2022-05-20 10:18 | 16.3353 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.7856 | μmol/L | 17.791 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.688 | 91359.2747 | 297281.0913 | 30.45 | 38.1
17911 | 2022-05-20 10:18 | 16.6681 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.6323 | μmol/L | 17.8032 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.69 | 91350.1347 | 297265.1811 | 30.45 | 38.1
17921 | 2022-05-20 10:18 | 17.0018 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.4422 | μmol/L | 17.8032 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.698 | 91348.9875 | 297255.451 | 30.45 | 38.1
17931 | 2022-05-20 10:19 | 17.3352 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.4422 | μmol/L | 17.8032 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.698 | 91347.73 | 297225.6197 | 30.45 | 38.1
17941 | 2022-05-20 10:19 | 17.6685 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.3419 | μmol/L | 17.8093 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.7 | 91341.9372 | 297188.5782 | 30.45 | 38.1
17951 | 2022-05-20 10:19 | 18.0013 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.2707 | μmol/L | 17.8093 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.703 | 91338.5089 | 297161.6239 | 30.45 | 38.1
17961 | 2022-05-20 10:20 | 18.3349 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.305 | μmol/L | 17.7971 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.706 | 91334.524 | 297144.9154 | 30.45 | 38.1
17971 | 2022-05-20 10:20 | 18.6682 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.152 | μmol/L | 17.8093 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.708 | 91325.4848 | 297119.8989 | 30.45 | 38.1
17981 | 2022-05-20 10:20 | 19.002 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.1414 | μmol/L | 17.8215 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.704 | 91320.6521 | 297092.7459 | 30.45 | 38.1
17991 | 2022-05-20 10:21 | 19.3348 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.8516 | μmol/L | 17.8276 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.714 | 91311.9039 | 297079.047 | 30.45 | 38.1
18001 | 2022-05-20 10:21 | 19.6683 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.8042 | μmol/L | 17.8276 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.716 | 91314.6674 | 297054.0382 | 30.45 | 38.1
18011 | 2022-05-20 10:21 | 20.0019 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.8332 | μmol/L | 17.8215 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.717 | 91303.858 | 297036.3072 | 30.45 | 38.1
18021 | 2022-05-20 10:22 | 20.3346 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.5805 | μmol/L | 17.8398 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.721 | 91314.8555 | 297008.171 | 30.45 | 38.1
18031 | 2022-05-20 10:22 | 20.6682 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.4202 | μmol/L | 17.8337 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.73 | 91320.0952 | 296988.5606 | 30.45 | 38.1
18041 | 2022-05-20 10:22 | 21.002 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.113 | μmol/L | 17.8337 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.743 | 91347.5114 | 296961.4969 | 30.45 | 38.1
18051 | 2022-05-20 10:23 | 21.3346 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.1366 | μmol/L | 17.8337 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.742 | 91356.2296 | 296953.5686 | 30.45 | 38.1
18061 | 2022-05-20 10:23 | 21.6683 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.0002 | μmol/L | 17.8276 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.75 | 91364.22 | 296921.2879 | 30.45 | 38.1
18071 | 2022-05-20 10:23 | 22.0014 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 274.8716 | μmol/L | 17.8398 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.751 | 91360.4478 | 296909.3213 | 30.45 | 38.1
18081 | 2022-05-20 10:24 | 22.3353 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 274.9949 | μmol/L | 17.8337 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.748 | 91346.6805 | 296880.3242 | 30.45 | 38.1
18091 | 2022-05-20 10:24 | 22.6682 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 274.6776 | μmol/L | 17.8459 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.757 | 91353.8622 | 296868.7709 | 30.45 | 38.1
18101 | 2022-05-20 10:24 | 23.0019 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 273.3485 | μmol/L | 17.8337 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.818 | 91617.5111 | 296839.9873 | 30.45 | 38.1
18111 | 2022-05-20 10:25 | 23.3348 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 272.8516 | μmol/L | 17.8398 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.837 | 91695.8993 | 296828.3972 | 30.45 | 38.1
18121 | 2022-05-20 10:25 | 23.6683 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 272.976 | μmol/L | 17.8581 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.825 | 91637.9817 | 296820.7028 | 30.45 | 38.1
18131 | 2022-05-20 10:25 | 24.0013 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 272.825 | μmol/L | 17.8703 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.827 | 91619.638 | 296784.3279 | 30.45 | 38.1
18141 | 2022-05-20 10:26 | 24.3349 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 272.9058 | μmol/L | 17.8581 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.828 | 91608.5936 | 296765.6849 | 30.45 | 38.1
18151 | 2022-05-20 10:26 | 24.6681 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 272.976 | μmol/L | 17.8581 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.825 | 91597.6778 | 296753.2391 | 30.45 | 38.1
18161 | 2022-05-20 10:26 | 25.0019 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 272.9526 | μmol/L | 17.8581 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.826 | 91591.8386 | 296724.8264 | 30.45 | 38.1
18171 | 2022-05-20 10:27 | 25.3349 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 272.8877 | μmol/L | 17.852 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.831 | 91587.7854 | 296725.3327 | 30.45 | 38.1
18181 | 2022-05-20 10:27 | 25.668 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 272.7548 | μmol/L | 17.8703 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.83 | 91585.977 | 296690.6336 | 30.45 | 38.1
18191 | 2022-05-20 10:27 | 26.0018 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 272.7421 | μmol/L | 17.8581 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.835 | 91585.6631 | 296658.8889 | 30.45 | 38.1
18201 | 2022-05-20 10:28 | 26.3351 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 272.5085 | μmol/L | 17.8581 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.845 | 91582.0586 | 296647.9224 | 30.45 | 38.1
18211 | 2022-05-20 10:28 | 26.6686 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 272.5498 | μmol/L | 17.8642 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.841 | 91594.358 | 296636.0616 | 30.45 | 38.1
18221 | 2022-05-20 10:28 | 27.0013 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 272.1711 | μmol/L | 17.8703 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.855 | 91604.7496 | 296605.1999 | 30.45 | 38.1
18231 | 2022-05-20 10:29 | 27.3348 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 272.1012 | μmol/L | 17.8703 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.858 | 91625.543 | 296609.8133 | 30.45 | 38.1
18241 | 2022-05-20 10:29 | 27.6687 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 271.9793 | μmol/L | 17.8764 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.861 | 91646.6322 | 296598.7091 | 30.45 | 38.1
18251 | 2022-05-20 10:29 | 28.0016 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 271.827 | μmol/L | 17.8642 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.872 | 91658.2597 | 296570.7274 | 30.45 | 38.1
18261 | 2022-05-20 10:30 | 28.3353 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 271.7285 | μmol/L | 17.8703 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.874 | 91669.6382 | 296552.3835 | 30.45 | 38.1
18271 | 2022-05-20 10:30 | 28.6681 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 271.4209 | μmol/L | 17.8764 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.885 | 91692.3185 | 296543.4615 | 30.45 | 38.1
18281 | 2022-05-20 10:30 | 29.0015 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 271.3512 | μmol/L | 17.8764 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.888 | 91690.4809 | 296531.6781 | 30.45 | 38.1
18291 | 2022-05-20 10:31 | 29.3346 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 271.3976 | μmol/L | 17.8764 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.886 | 91693.5697 | 296502.2314 | 30.45 | 38.1
18301 | 2022-05-20 10:31 | 29.6682 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 271.1368 | μmol/L | 17.8826 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.895 | 91700.424 | 296478.0701 | 30.45 | 38.1
18311 | 2022-05-20 10:31 | 30.0014 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 271.0102 | μmol/L | 17.8948 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.896 | 91722.492 | 296475.1886 | 30.45 | 38.1
18321 | 2022-05-20 10:32 | 30.3352 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.6571 | μmol/L | 17.9009 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.909 | 91724.7709 | 296455.2673 | 30.45 | 38.1
18331 | 2022-05-20 10:32 | 30.6682 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.7783 | μmol/L | 17.8948 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.906 | 91738.7324 | 296453.6344 | 30.45 | 38.1
18341 | 2022-05-20 10:32 | 31.0012 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.5698 | μmol/L | 17.8948 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.915 | 91743.0751 | 296429.7833 | 30.45 | 38.1
18351 | 2022-05-20 10:33 | 31.3348 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.4772 | μmol/L | 17.8948 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.919 | 91748.4344 | 296402.5923 | 30.45 | 38.1
18361 | 2022-05-20 10:33 | 31.6684 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.269 | μmol/L | 17.8948 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.928 | 91755.2886 | 296404.1794 | 30.45 | 38.1
18371 | 2022-05-20 10:33 | 32.0018 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.2405 | μmol/L | 17.9009 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.927 | 91764.1681 | 296394.3435 | 30.45 | 38.1
18381 | 2022-05-20 10:34 | 32.3346 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.2049 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.933 | 91766.2024 | 296374.7176 | 30.45 | 38.1
18391 | 2022-05-20 10:34 | 32.6682 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.0556 | μmol/L | 17.9009 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.935 | 91790.062 | 296368.8907 | 30.45 | 38.1
18401 | 2022-05-20 10:34 | 33.0013 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.9632 | μmol/L | 17.9009 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.939 | 91789.9875 | 296359.3852 | 30.45 | 38.1
18411 | 2022-05-20 10:35 | 33.3351 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.8886 | μmol/L | 17.907 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.94 | 91791.142 | 296340.1416 | 30.45 | 38.1
18421 | 2022-05-20 10:35 | 33.6681 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.7448 | μmol/L | 17.9131 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.944 | 91795.578 | 296329.3914 | 30.45 | 38.1
18431 | 2022-05-20 10:35 | 34.0017 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.4912 | μmol/L | 17.9131 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.955 | 91814.099 | 296307.623 | 30.45 | 38.1
18441 | 2022-05-20 10:36 | 34.3353 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.5533 | μmol/L | 17.8948 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.959 | 91828.5118 | 296291.9174 | 30.45 | 38.1
18451 | 2022-05-20 10:36 | 34.6682 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.3636 | μmol/L | 17.9009 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.965 | 91857.9734 | 296280.2668 | 30.45 | 38.1
18461 | 2022-05-20 10:36 | 35.0019 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.1227 | μmol/L | 17.9131 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.971 | 91861.3089 | 296263.8508 | 30.45 | 38.1
18471 | 2022-05-20 10:37 | 35.3348 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.9617 | μmol/L | 17.9131 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.978 | 91873.9698 | 296258.461 | 30.45 | 38.1
18481 | 2022-05-20 10:37 | 35.6684 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.8468 | μmol/L | 17.9131 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.983 | 91893.6264 | 296256.7829 | 30.45 | 38.1
18491 | 2022-05-20 10:37 | 36.0015 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.7319 | μmol/L | 17.9131 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.988 | 91903.8696 | 296239.4499 | 30.45 | 38.1
18501 | 2022-05-20 10:38 | 36.3346 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.5659 | μmol/L | 17.9192 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.993 | 91927.2538 | 296218.9655 | 30.45 | 38.1
18511 | 2022-05-20 10:38 | 36.6684 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.2112 | μmol/L | 17.9314 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.004 | 91955.6637 | 296208.4553 | 30.45 | 38.1
18521 | 2022-05-20 10:38 | 37.0013 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.028 | μmol/L | 17.9314 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.012 | 91970.0084 | 296208.8664 | 30.45 | 38.1
18531 | 2022-05-20 10:39 | 37.3349 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.9875 | μmol/L | 17.9253 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.016 | 91978.85 | 296190.45 | 30.45 | 38.1
18541 | 2022-05-20 10:39 | 37.6684 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.8677 | μmol/L | 17.9314 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.019 | 91996.1766 | 296180.8538 | 30.45 | 38.1
18551 | 2022-05-20 10:39 | 38.0015 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.7991 | μmol/L | 17.9314 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.022 | 92001.478 | 296182.3113 | 30.45 | 38.1
18561 | 2022-05-20 10:40 | 38.3353 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.6848 | μmol/L | 17.9314 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.027 | 91999.7891 | 296153.4135 | 30.45 | 38.1
18571 | 2022-05-20 10:40 | 38.6684 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.5933 | μmol/L | 17.9314 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.031 | 92005.4724 | 296139.0165 | 30.45 | 38.1
18581 | 2022-05-20 10:40 | 39.0018 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.6672 | μmol/L | 17.9253 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.03 | 92014.568 | 296124.3478 | 30.45 | 38.1
18591 | 2022-05-20 10:41 | 39.3348 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.5812 | μmol/L | 17.9192 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.036 | 92017.4446 | 296129.6011 | 30.45 | 38.1
18601 | 2022-05-20 10:41 | 39.6686 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.4616 | μmol/L | 17.9253 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.039 | 92023.442 | 296104.4608 | 30.45 | 38.1
18611 | 2022-05-20 10:41 | 40.0019 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.4669 | μmol/L | 17.9192 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.041 | 92020.0904 | 296094.4826 | 30.45 | 38.1
18621 | 2022-05-20 10:42 | 40.3351 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.2333 | μmol/L | 17.9253 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.049 | 92031.851 | 296087.8617 | 30.45 | 38.1
18631 | 2022-05-20 10:42 | 40.6682 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.2052 | μmol/L | 17.9314 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.048 | 92038.9218 | 296066.2494 | 30.45 | 38.1
18641 | 2022-05-20 10:42 | 41.0013 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.0858 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.051 | 92047.3903 | 296059.9988 | 30.45 | 38.1
18651 | 2022-05-20 10:43 | 41.3353 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.9718 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.056 | 92049.5804 | 296044.7253 | 30.45 | 38.1
18661 | 2022-05-20 10:43 | 41.6684 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.9316 | μmol/L | 17.9314 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.06 | 92048.945 | 296035.883 | 30.45 | 38.1
18671 | 2022-05-20 10:43 | 42.0013 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.8405 | μmol/L | 17.9314 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.064 | 92055.4703 | 296041.059 | 30.45 | 38.1
18681 | 2022-05-20 10:44 | 42.3352 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.8632 | μmol/L | 17.9314 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.063 | 92058.5362 | 296025.6071 | 30.45 | 38.1
18691 | 2022-05-20 10:44 | 42.6681 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.8003 | μmol/L | 17.9253 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.068 | 92061.2839 | 296022.0645 | 30.45 | 38.1
18701 | 2022-05-20 10:44 | 43.002 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.6583 | μmol/L | 17.9314 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.072 | 92069.0196 | 296008.3578 | 30.45 | 38.1
18711 | 2022-05-20 10:45 | 43.3348 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.5901 | μmol/L | 17.9314 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.075 | 92081.0826 | 296002.7627 | 30.45 | 38.1
18721 | 2022-05-20 10:45 | 43.6685 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.5218 | μmol/L | 17.9314 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.078 | 92083.2797 | 296000.9238 | 30.45 | 38.1
18731 | 2022-05-20 10:45 | 44.0013 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.2838 | μmol/L | 17.9436 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.084 | 92106.1471 | 295988.9871 | 30.45 | 38.1
18741 | 2022-05-20 10:46 | 44.335 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.1021 | μmol/L | 17.9436 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.092 | 92125.975 | 295975.2134 | 30.45 | 38.1
18751 | 2022-05-20 10:46 | 44.6679 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.0514 | μmol/L | 17.9497 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.092 | 92138.7701 | 295967.9984 | 30.45 | 38.1
18761 | 2022-05-20 10:46 | 45.0017 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.8526 | μmol/L | 17.9436 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.103 | 92163.7932 | 295964.0855 | 30.45 | 38.1
18771 | 2022-05-20 10:47 | 45.3346 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.6486 | μmol/L | 17.9436 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.112 | 92187.9569 | 295962.6587 | 30.45 | 38.1
18781 | 2022-05-20 10:47 | 45.6682 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.558 | μmol/L | 17.9436 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.116 | 92211.2861 | 295944.9248 | 30.45 | 38.1
18791 | 2022-05-20 10:47 | 46.0012 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.3316 | μmol/L | 17.9436 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.126 | 92224.1473 | 295941.3104 | 30.45 | 38.1
18801 | 2022-05-20 10:48 | 46.3349 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.2412 | μmol/L | 17.9436 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.13 | 92248.7603 | 295917.988 | 30.45 | 38.1
18811 | 2022-05-20 10:48 | 46.6686 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.9593 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.138 | 92271.7655 | 295924.0866 | 30.45 | 38.1
18821 | 2022-05-20 10:48 | 47.0014 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.0152 | μmol/L | 17.9436 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.14 | 92293.7754 | 295889.9669 | 30.45 | 38.1
18831 | 2022-05-20 10:49 | 47.335 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.7668 | μmol/L | 17.9436 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.151 | 92323.6305 | 295876.8291 | 30.45 | 38.1
18841 | 2022-05-20 10:49 | 47.668 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.5467 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.163 | 92343.6708 | 295886.5739 | 30.45 | 38.1
18851 | 2022-05-20 10:49 | 48.0018 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.2774 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.166 | 92362.1111 | 295880.0874 | 30.45 | 38.1
18861 | 2022-05-20 10:50 | 48.3349 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.3728 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.164 | 92364.938 | 295877.523 | 30.45 | 38.1
18871 | 2022-05-20 10:50 | 48.6684 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.3332 | μmol/L | 17.9497 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.168 | 92355.143 | 295862.204 | 30.45 | 38.1
18881 | 2022-05-20 10:50 | 49.0013 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.2828 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.168 | 92359.1856 | 295858.1113 | 30.45 | 38.1
18891 | 2022-05-20 10:51 | 49.3351 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.1981 | μmol/L | 17.9497 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.174 | 92354.7398 | 295828.7843 | 30.45 | 38.1
18901 | 2022-05-20 10:51 | 49.6687 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.0524 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.176 | 92371.0989 | 295844.2337 | 30.45 | 38.1
18911 | 2022-05-20 10:51 | 50.0018 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.9174 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.182 | 92392.7356 | 295842.2883 | 30.45 | 38.1
18921 | 2022-05-20 10:52 | 50.3353 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.8725 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.184 | 92409.706 | 295824.4377 | 30.45 | 38.1
18931 | 2022-05-20 10:52 | 50.6683 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.7098 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.189 | 92422.5639 | 295832.5066 | 30.45 | 38.1
18941 | 2022-05-20 10:52 | 51.0018 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.5132 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.2 | 92442.191 | 295822.7673 | 30.45 | 38.1
18951 | 2022-05-20 10:53 | 51.3346 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.5186 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.202 | 92454.8037 | 295820.9559 | 30.45 | 38.1
18961 | 2022-05-20 10:53 | 51.6685 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.4118 | μmol/L | 17.9497 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.209 | 92469.4528 | 295814.1852 | 30.45 | 38.1
18971 | 2022-05-20 10:53 | 52.002 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.2387 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.21 | 92484.4629 | 295805.8052 | 30.45 | 38.1
18981 | 2022-05-20 10:54 | 52.3349 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.2271 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.215 | 92503.4076 | 295810.5126 | 30.45 | 38.1
18991 | 2022-05-20 10:54 | 52.6684 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 262.9977 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.223 | 92515.6744 | 295788.7301 | 30.45 | 38.1
19001 | 2022-05-20 10:54 | 53.002 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 262.9306 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.226 | 92528.2947 | 295750.8055 | 30.45 | 38.1
19011 | 2022-05-20 10:55 | 53.3347 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 262.8635 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.229 | 92544.2879 | 295748.0673 | 30.45 | 38.1
19021 | 2022-05-20 10:55 | 53.6686 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 262.7848 | μmol/L | 17.9497 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.237 | 92569.1247 | 295743.5045 | 30.45 | 38.1
19031 | 2022-05-20 10:55 | 54.0015 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 262.5505 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.243 | 92584.7045 | 295737.0142 | 30.45 | 38.1
19041 | 2022-05-20 10:56 | 54.3347 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 262.4165 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.249 | 92590.3217 | 295730.2907 | 30.45 | 38.1
19051 | 2022-05-20 10:56 | 54.6685 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 262.3326 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.255 | 92609.4 | 295708.3322 | 30.45 | 38.1
19061 | 2022-05-20 10:56 | 55.0016 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 262.2826 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.255 | 92618.0796 | 295697.3545 | 30.45 | 38.1
19071 | 2022-05-20 10:57 | 55.3351 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 262.188 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.257 | 92621.0664 | 295680.2007 | 30.45 | 38.1
19081 | 2022-05-20 10:57 | 55.668 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 262.0934 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.259 | 92625.8547 | 295683.0941 | 30.45 | 38.1
19091 | 2022-05-20 10:57 | 56.0019 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 262.0488 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.261 | 92622.6049 | 295658.1069 | 30.45 | 38.1
19101 | 2022-05-20 10:58 | 56.3349 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.9097 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.265 | 92931.692 | 295653.2242 | 30.45 | 38.1
19111 | 2022-05-20 10:58 | 56.6685 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.8928 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.268 | 92946.317 | 295639.6891 | 30.45 | 38.1
19121 | 2022-05-20 10:58 | 57.0016 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.7093 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.274 | 92952.571 | 295628.3786 | 30.45 | 38.1