## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_1 | O2 | 173180888 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:46

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-20 11:19

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
17412 | 2022-05-20 10:01 | 0 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.1945 | μmol/L | 17.5671 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.193 | 112714.2113 | 276396.7774 | 33.25 | 75.7
17422 | 2022-05-20 10:02 | 0.33973 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.3078 | μmol/L | 17.5794 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.184 | 112553.8226 | 276374.01 | 33.25 | 75.7
17432 | 2022-05-20 10:02 | 0.67316 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.2518 | μmol/L | 17.5855 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.184 | 112439.2434 | 276330.4704 | 33.25 | 75.7
17442 | 2022-05-20 10:02 | 1.0067 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.2959 | μmol/L | 17.5916 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.18 | 112319.7008 | 276290.9183 | 33.25 | 75.7
17452 | 2022-05-20 10:03 | 1.3394 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.2591 | μmol/L | 17.6039 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.177 | 112251.4814 | 276260.5604 | 33.25 | 75.7
17462 | 2022-05-20 10:03 | 1.6732 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.4345 | μmol/L | 17.6039 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.17 | 112675.3099 | 276216.7871 | 33.25 | 75.7
17472 | 2022-05-20 10:03 | 2.006 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.4787 | μmol/L | 17.61 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.166 | 111949.2368 | 276169.1464 | 33.25 | 75.7
17482 | 2022-05-20 10:04 | 2.3393 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.5539 | μmol/L | 17.61 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.163 | 111699.9371 | 276124.3757 | 33.25 | 75.7
17492 | 2022-05-20 10:04 | 2.6731 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.5422 | μmol/L | 17.6223 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.159 | 111574.8725 | 276088.319 | 33.25 | 75.7
17502 | 2022-05-20 10:04 | 3.0059 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.6116 | μmol/L | 17.6284 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.154 | 111467.1169 | 276045.7585 | 33.25 | 75.7
17512 | 2022-05-20 10:05 | 3.3394 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.681 | μmol/L | 17.6345 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.149 | 111356.8297 | 276016.6559 | 33.25 | 75.7
17522 | 2022-05-20 10:05 | 3.6729 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.6559 | μmol/L | 17.6345 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.15 | 111273.8956 | 275972.543 | 33.25 | 75.7
17532 | 2022-05-20 10:05 | 4.0064 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.5999 | μmol/L | 17.6407 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.15 | 111180.7368 | 275933.0224 | 33.25 | 75.7
17542 | 2022-05-20 10:06 | 4.3401 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.7446 | μmol/L | 17.6468 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.142 | 111097.1382 | 275889.7125 | 33.25 | 75.7
17552 | 2022-05-20 10:06 | 4.673 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.7195 | μmol/L | 17.6468 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.143 | 111019.0199 | 275856.5214 | 33.25 | 75.7
17562 | 2022-05-20 10:06 | 5.006 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.6828 | μmol/L | 17.6591 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.14 | 111007.0236 | 275820.6101 | 33.25 | 75.7
17572 | 2022-05-20 10:07 | 5.3397 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.6016 | μmol/L | 17.6652 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.141 | 110934.0386 | 275774.8262 | 33.25 | 75.7
17582 | 2022-05-20 10:07 | 5.6733 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.646 | μmol/L | 17.6713 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.137 | 110857.601 | 275744.0231 | 33.25 | 75.7
17592 | 2022-05-20 10:07 | 6.0063 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.7465 | μmol/L | 17.6713 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.133 | 110793.3912 | 275703.1546 | 33.25 | 75.7
17602 | 2022-05-20 10:08 | 6.3401 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.6344 | μmol/L | 17.6836 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.133 | 110720.1055 | 275660.5723 | 33.25 | 75.7
17612 | 2022-05-20 10:08 | 6.673 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.8914 | μmol/L | 17.6775 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.125 | 110642.8094 | 275646.466 | 33.25 | 75.7
17622 | 2022-05-20 10:08 | 7.006 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.7291 | μmol/L | 17.6897 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.127 | 110580.9253 | 275589.0174 | 33.25 | 75.7
17632 | 2022-05-20 10:09 | 7.3398 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.8296 | μmol/L | 17.6897 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.123 | 110533.6622 | 275555.6148 | 33.25 | 75.7
17642 | 2022-05-20 10:09 | 7.6726 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.8489 | μmol/L | 17.6958 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.12 | 110446.0571 | 275520.2969 | 33.25 | 75.7
17652 | 2022-05-20 10:09 | 8.0061 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.8238 | μmol/L | 17.6958 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.121 | 110401.9321 | 275487.8154 | 33.25 | 75.7
17662 | 2022-05-20 10:10 | 8.3396 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.7118 | μmol/L | 17.7081 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.121 | 110330.309 | 275456.5573 | 33.25 | 75.7
17672 | 2022-05-20 10:10 | 8.6734 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.8877 | μmol/L | 17.7081 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.114 | 110267.4075 | 275434.6958 | 33.25 | 75.7
17682 | 2022-05-20 10:10 | 9.0062 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.9071 | μmol/L | 17.7142 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.111 | 110212.2549 | 275387.059 | 33.25 | 75.7
17692 | 2022-05-20 10:11 | 9.3399 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.8568 | μmol/L | 17.7142 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.113 | 110149.3212 | 275355.1188 | 33.25 | 75.7
17702 | 2022-05-20 10:11 | 9.6727 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.9825 | μmol/L | 17.7142 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.108 | 110100.3625 | 275325.8077 | 33.25 | 75.7
17712 | 2022-05-20 10:11 | 10.0064 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 292.0213 | μmol/L | 17.7265 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.102 | 110055.4663 | 275304.0975 | 33.25 | 75.7
17722 | 2022-05-20 10:12 | 10.3393 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 292.0465 | μmol/L | 17.7265 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.101 | 109993.3006 | 275262.8591 | 33.25 | 75.7
17732 | 2022-05-20 10:12 | 10.6729 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.9905 | μmol/L | 17.7326 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.101 | 109956.7743 | 275243.7408 | 33.25 | 75.7
17742 | 2022-05-20 10:12 | 11.0067 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 292.0408 | μmol/L | 17.7326 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.099 | 109902.644 | 275205.7978 | 33.25 | 75.7
17752 | 2022-05-20 10:13 | 11.3393 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.979 | μmol/L | 17.7449 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.097 | 109865.463 | 275183.0644 | 33.25 | 75.7
17762 | 2022-05-20 10:13 | 11.6726 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 292.0797 | μmol/L | 17.7449 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.093 | 109796.1644 | 275156.6407 | 33.25 | 75.7
17772 | 2022-05-20 10:13 | 12.0063 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 292.1106 | μmol/L | 17.7388 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.094 | 109762.4132 | 275124.7577 | 33.25 | 75.7
17782 | 2022-05-20 10:14 | 12.3399 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 292.1243 | μmol/L | 17.751 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.089 | 109718.4819 | 275092.1345 | 33.25 | 75.7
17792 | 2022-05-20 10:14 | 12.6726 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 292.1747 | μmol/L | 17.751 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.087 | 109661.9166 | 275060.25 | 33.25 | 75.7
17802 | 2022-05-20 10:14 | 13.0063 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 292.1495 | μmol/L | 17.751 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.088 | 109616.689 | 275039.7634 | 33.25 | 75.7
17812 | 2022-05-20 10:15 | 13.3399 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 292.2193 | μmol/L | 17.7572 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.083 | 109574.6781 | 275017.9947 | 33.25 | 75.7
17822 | 2022-05-20 10:15 | 13.6727 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 292.208 | μmol/L | 17.7694 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.079 | 109528.2754 | 274983.9309 | 33.25 | 75.7
17832 | 2022-05-20 10:15 | 14.0064 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 292.1828 | μmol/L | 17.7694 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.08 | 109503.4026 | 274959.7385 | 33.25 | 75.7
17842 | 2022-05-20 10:16 | 14.3392 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 292.2779 | μmol/L | 17.7755 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.074 | 109459.1398 | 274935.1168 | 33.25 | 75.7
17852 | 2022-05-20 10:16 | 14.6732 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 292.4096 | μmol/L | 17.7694 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.071 | 109414.0235 | 274915.3516 | 33.25 | 75.7
17862 | 2022-05-20 10:16 | 15.006 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 292.2974 | μmol/L | 17.7817 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.071 | 109371.8609 | 274893.4859 | 33.25 | 75.7
17872 | 2022-05-20 10:17 | 15.3397 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 292.2414 | μmol/L | 17.7878 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.071 | 109326.7194 | 274866.7511 | 33.25 | 75.7
17882 | 2022-05-20 10:17 | 15.6729 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 292.2106 | μmol/L | 17.7939 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.07 | 109310.6341 | 274835.3906 | 33.25 | 75.7
17892 | 2022-05-20 10:17 | 16.0065 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 292.2358 | μmol/L | 17.7939 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.069 | 109242.3869 | 274808.48 | 33.25 | 75.7
17902 | 2022-05-20 10:18 | 16.3392 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 292.079 | μmol/L | 17.8001 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.073 | 109237.6767 | 274792.6824 | 33.25 | 75.7
17912 | 2022-05-20 10:18 | 16.6729 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 292.2358 | μmol/L | 17.7939 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.069 | 109181.1416 | 274748.5585 | 33.25 | 75.7
17922 | 2022-05-20 10:18 | 17.0066 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 292.261 | μmol/L | 17.7939 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.068 | 109152.0257 | 274734.1465 | 33.25 | 75.7
17932 | 2022-05-20 10:19 | 17.3393 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 292.2805 | μmol/L | 17.8001 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.065 | 109143.9649 | 274702.3351 | 33.25 | 75.7
17942 | 2022-05-20 10:19 | 17.6729 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.9727 | μmol/L | 17.8062 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.075 | 109170.285 | 274680.1873 | 33.25 | 75.7
17952 | 2022-05-20 10:19 | 18.0065 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.615 | μmol/L | 17.8123 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.087 | 109212.9754 | 274656.7921 | 33.25 | 75.7
17962 | 2022-05-20 10:20 | 18.34 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.4141 | μmol/L | 17.8123 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.095 | 109266.1473 | 274616.6428 | 33.25 | 75.7
17972 | 2022-05-20 10:20 | 18.6731 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.0628 | μmol/L | 17.8123 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.109 | 109332.0186 | 274593.5163 | 33.25 | 75.7
17982 | 2022-05-20 10:20 | 19.0059 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.7065 | μmol/L | 17.8185 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.121 | 109325.3425 | 274567.9946 | 33.25 | 75.7
17992 | 2022-05-20 10:21 | 19.3393 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.2007 | μmol/L | 17.8246 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.139 | 109413.6877 | 274550.2656 | 33.25 | 75.7
18002 | 2022-05-20 10:21 | 19.6729 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.7516 | μmol/L | 17.8246 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.157 | 109500.3874 | 274516.6616 | 33.25 | 75.7
18012 | 2022-05-20 10:21 | 20.0066 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.1597 | μmol/L | 17.8185 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.183 | 109604.2238 | 274496.3809 | 33.25 | 75.7
18022 | 2022-05-20 10:22 | 20.3393 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.7069 | μmol/L | 17.8246 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.199 | 109696.965 | 274465.2416 | 33.25 | 75.7
18032 | 2022-05-20 10:22 | 20.6729 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.2302 | μmol/L | 17.8307 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.216 | 109735.385 | 274455.3468 | 33.25 | 75.7
18042 | 2022-05-20 10:22 | 21.0065 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.9827 | μmol/L | 17.8307 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.226 | 109779.5306 | 274434.6856 | 33.25 | 75.7
18052 | 2022-05-20 10:23 | 21.3394 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.6917 | μmol/L | 17.8246 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.24 | 109854.3924 | 274416.9192 | 33.25 | 75.7
18062 | 2022-05-20 10:23 | 21.673 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.291 | μmol/L | 17.8307 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.254 | 109939.2112 | 274393.0964 | 33.25 | 75.7
18072 | 2022-05-20 10:23 | 22.0067 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.8721 | μmol/L | 17.8307 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.271 | 110014.2068 | 274382.1053 | 33.25 | 75.7
18082 | 2022-05-20 10:24 | 22.3396 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.6261 | μmol/L | 17.8307 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.281 | 110038.6314 | 274359.9278 | 33.25 | 75.7
18092 | 2022-05-20 10:24 | 22.6733 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.454 | μmol/L | 17.8307 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.288 | 110093.9402 | 274334.8431 | 33.25 | 75.7
18102 | 2022-05-20 10:24 | 23.006 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.129 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.299 | 110090.2164 | 274305.9202 | 33.25 | 75.7
18112 | 2022-05-20 10:25 | 23.3395 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.08 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.301 | 110127.3026 | 274301.1354 | 33.25 | 75.7
18122 | 2022-05-20 10:25 | 23.6731 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.7988 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.308 | 110120.213 | 274276.8128 | 33.25 | 75.7
18132 | 2022-05-20 10:25 | 24.0067 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.78 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.311 | 110094.6489 | 274262.8299 | 33.25 | 75.7
18142 | 2022-05-20 10:26 | 24.3393 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.9761 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.303 | 110017.313 | 274247.9137 | 33.25 | 75.7
18152 | 2022-05-20 10:26 | 24.673 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.2346 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.288 | 109937.8553 | 274223.3131 | 33.25 | 75.7
18162 | 2022-05-20 10:26 | 25.0067 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.6089 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.275 | 109836.9138 | 274204.0981 | 33.25 | 75.7
18172 | 2022-05-20 10:27 | 25.3397 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.7451 | μmol/L | 17.8614 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.265 | 109770.9163 | 274198.8241 | 33.25 | 75.7
18182 | 2022-05-20 10:27 | 25.6732 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.8189 | μmol/L | 17.8614 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.262 | 109714.298 | 274167.1169 | 33.25 | 75.7
18192 | 2022-05-20 10:27 | 26.0062 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.016 | μmol/L | 17.8614 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.254 | 109694.9454 | 274154.8258 | 33.25 | 75.7
18202 | 2022-05-20 10:28 | 26.3399 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.8985 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.261 | 109696.2265 | 274134.9533 | 33.25 | 75.7
18212 | 2022-05-20 10:28 | 26.6728 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.554 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.275 | 109730.6276 | 274113.7345 | 33.25 | 75.7
18222 | 2022-05-20 10:28 | 27.0064 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.2477 | μmol/L | 17.8675 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.283 | 109781.1695 | 274088.155 | 33.25 | 75.7
18232 | 2022-05-20 10:29 | 27.3398 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.1798 | μmol/L | 17.8614 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.288 | 109785.7715 | 274076.9268 | 33.25 | 75.7
18242 | 2022-05-20 10:29 | 27.6726 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.008 | μmol/L | 17.8614 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.295 | 109760.9961 | 274047.0726 | 33.25 | 75.7
18252 | 2022-05-20 10:29 | 28.006 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.9589 | μmol/L | 17.8614 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.297 | 109787.0715 | 274045.7329 | 33.25 | 75.7
18262 | 2022-05-20 10:30 | 28.3396 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.7513 | μmol/L | 17.8736 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.301 | 109773.2952 | 274027.1759 | 33.25 | 75.7
18272 | 2022-05-20 10:30 | 28.6732 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.7816 | μmol/L | 17.8675 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.302 | 109788.2256 | 274011.5737 | 33.25 | 75.7
18282 | 2022-05-20 10:30 | 29.0067 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.4518 | μmol/L | 17.8798 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.311 | 109788.8638 | 273994.0042 | 33.25 | 75.7
18292 | 2022-05-20 10:31 | 29.3396 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.3783 | μmol/L | 17.8798 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.314 | 109799.771 | 273981.4204 | 33.25 | 75.7
18302 | 2022-05-20 10:31 | 29.673 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.5309 | μmol/L | 17.8736 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.31 | 109776.1245 | 273948.8061 | 33.25 | 75.7
18312 | 2022-05-20 10:31 | 30.0059 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.177 | μmol/L | 17.8859 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.32 | 109768.2137 | 273952.5187 | 33.25 | 75.7
18322 | 2022-05-20 10:32 | 30.3396 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.0002 | μmol/L | 17.892 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.325 | 109803.0541 | 273938.6408 | 33.25 | 75.7
18332 | 2022-05-20 10:32 | 30.6733 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.8838 | μmol/L | 17.8859 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.332 | 109815.4726 | 273899.2932 | 33.25 | 75.7
18342 | 2022-05-20 10:32 | 31.0062 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.6886 | μmol/L | 17.8859 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.34 | 109854.1164 | 273886.7149 | 33.25 | 75.7
18352 | 2022-05-20 10:33 | 31.3397 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.5179 | μmol/L | 17.8859 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.347 | 109899.6614 | 273882.3364 | 33.25 | 75.7
18362 | 2022-05-20 10:33 | 31.6726 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.207 | μmol/L | 17.8798 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.362 | 109960.2431 | 273858.4334 | 33.25 | 75.7
18372 | 2022-05-20 10:33 | 32.0064 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.0366 | μmol/L | 17.8798 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.369 | 109952.2269 | 273847.9481 | 33.25 | 75.7
18382 | 2022-05-20 10:34 | 32.34 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.0667 | μmol/L | 17.8736 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.37 | 109957.8257 | 273826.9329 | 33.25 | 75.7
18392 | 2022-05-20 10:34 | 32.6727 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 283.8907 | μmol/L | 17.8798 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.375 | 109965.6488 | 273819.0264 | 33.25 | 75.7
18402 | 2022-05-20 10:34 | 33.0066 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 283.7692 | μmol/L | 17.8798 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.38 | 109997.2213 | 273804.6672 | 33.25 | 75.7
18412 | 2022-05-20 10:35 | 33.3394 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 283.545 | μmol/L | 17.8859 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.387 | 110021.9856 | 273791.0113 | 33.25 | 75.7
18422 | 2022-05-20 10:35 | 33.6729 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 283.2124 | μmol/L | 17.9043 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.394 | 110036.8396 | 273760.2068 | 33.25 | 75.7
18432 | 2022-05-20 10:35 | 34.0066 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 283.097 | μmol/L | 17.8982 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.401 | 110074.4382 | 273750.0159 | 33.25 | 75.7
18442 | 2022-05-20 10:36 | 34.3394 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 282.9517 | μmol/L | 17.8982 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.407 | 110093.1597 | 273737.8191 | 33.25 | 75.7
18452 | 2022-05-20 10:36 | 34.673 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 282.6798 | μmol/L | 17.9043 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.416 | 110114.0757 | 273723.1099 | 33.25 | 75.7
18462 | 2022-05-20 10:36 | 35.0067 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 282.6855 | μmol/L | 17.8982 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.418 | 110117.6248 | 273711.5784 | 33.25 | 75.7
18472 | 2022-05-20 10:37 | 35.3394 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 282.5163 | μmol/L | 17.8982 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.425 | 110136.8664 | 273695.2729 | 33.25 | 75.7
18482 | 2022-05-20 10:37 | 35.6731 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 282.2576 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.429 | 110127.0348 | 273692.4844 | 33.25 | 75.7
18492 | 2022-05-20 10:37 | 36.0066 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.8476 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.446 | 110189.687 | 273667.5718 | 33.25 | 75.7
18502 | 2022-05-20 10:38 | 36.3399 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.7445 | μmol/L | 17.8982 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.457 | 110270.2539 | 273651.1513 | 33.25 | 75.7
18512 | 2022-05-20 10:38 | 36.6727 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.3778 | μmol/L | 17.9043 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.47 | 110343.7058 | 273613.4891 | 33.25 | 75.7
18522 | 2022-05-20 10:38 | 37.0065 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.2692 | μmol/L | 17.892 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.479 | 110332.793 | 273629.5335 | 33.25 | 75.7
18532 | 2022-05-20 10:39 | 37.3394 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.8917 | μmol/L | 17.9104 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.488 | 110398.9303 | 273608.1736 | 33.25 | 75.7
18542 | 2022-05-20 10:39 | 37.6729 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.7602 | μmol/L | 17.9227 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.489 | 110407.3222 | 273600.0824 | 33.25 | 75.7
18552 | 2022-05-20 10:39 | 38.0067 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.742 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.492 | 110416.5594 | 273596.5505 | 33.25 | 75.7
18562 | 2022-05-20 10:40 | 38.3394 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.4726 | μmol/L | 17.9227 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.501 | 110434.0574 | 273573.0703 | 33.25 | 75.7
18572 | 2022-05-20 10:40 | 38.6733 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.3108 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.51 | 110469.9258 | 273560.3887 | 33.25 | 75.7
18582 | 2022-05-20 10:40 | 39.006 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.1434 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.517 | 110492.7436 | 273561.5327 | 33.25 | 75.7
18592 | 2022-05-20 10:41 | 39.3395 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.9703 | μmol/L | 17.9227 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.522 | 110515.4685 | 273537.0599 | 33.25 | 75.7
18602 | 2022-05-20 10:41 | 39.6731 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.8986 | μmol/L | 17.9227 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.525 | 110510.4718 | 273532.1235 | 33.25 | 75.7
18612 | 2022-05-20 10:41 | 40.0061 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.8328 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.53 | 110539.4587 | 273511.3861 | 33.25 | 75.7
18622 | 2022-05-20 10:42 | 40.3396 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.8386 | μmol/L | 17.9104 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.532 | 110506.6371 | 273503.6883 | 33.25 | 75.7
18632 | 2022-05-20 10:42 | 40.6733 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.6657 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.537 | 110498.046 | 273489.6153 | 33.25 | 75.7
18642 | 2022-05-20 10:42 | 41.006 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.5702 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.541 | 110528.391 | 273480.6615 | 33.25 | 75.7
18652 | 2022-05-20 10:43 | 41.3396 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.3975 | μmol/L | 17.9227 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.546 | 110539.3571 | 273464.6584 | 33.25 | 75.7
18662 | 2022-05-20 10:43 | 41.6733 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.2726 | μmol/L | 17.9288 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.549 | 110527.7203 | 273456.4188 | 33.25 | 75.7
18672 | 2022-05-20 10:43 | 42.0059 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.1477 | μmol/L | 17.935 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.552 | 110565.1118 | 273460.3671 | 33.25 | 75.7
18682 | 2022-05-20 10:44 | 42.3397 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.0345 | μmol/L | 17.9288 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.559 | 110559.6015 | 273437.8904 | 33.25 | 75.7
18692 | 2022-05-20 10:44 | 42.6733 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.9631 | μmol/L | 17.9288 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.562 | 110566.426 | 273427.8463 | 33.25 | 75.7
18702 | 2022-05-20 10:44 | 43.0063 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.9156 | μmol/L | 17.9288 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.564 | 110587.952 | 273413.9977 | 33.25 | 75.7
18712 | 2022-05-20 10:45 | 43.3399 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.7729 | μmol/L | 17.9288 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.57 | 110613.144 | 273408.5771 | 33.25 | 75.7
18722 | 2022-05-20 10:45 | 43.6726 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.5295 | μmol/L | 17.935 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.578 | 110584.4536 | 273399.5323 | 33.25 | 75.7
18732 | 2022-05-20 10:45 | 44.0064 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.4821 | μmol/L | 17.935 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.58 | 110649.7171 | 273378.6482 | 33.25 | 75.7
18742 | 2022-05-20 10:46 | 44.3393 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.405 | μmol/L | 17.9411 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.581 | 110644.8072 | 273366.2968 | 33.25 | 75.7
18752 | 2022-05-20 10:46 | 44.673 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.393 | μmol/L | 17.9288 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.586 | 110647.0483 | 273369.6663 | 33.25 | 75.7
18762 | 2022-05-20 10:46 | 45.0067 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.393 | μmol/L | 17.9288 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.586 | 110629.0165 | 273343.9876 | 33.25 | 75.7
18772 | 2022-05-20 10:47 | 45.3395 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.2744 | μmol/L | 17.9288 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.591 | 110645.7103 | 273345.0514 | 33.25 | 75.7
18782 | 2022-05-20 10:47 | 45.6732 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.239 | μmol/L | 17.9411 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.588 | 110587.9264 | 273333.7694 | 33.25 | 75.7
18792 | 2022-05-20 10:47 | 46.0066 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.3339 | μmol/L | 17.9411 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.584 | 110572.7883 | 273324.2638 | 33.25 | 75.7
18802 | 2022-05-20 10:48 | 46.3397 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.4704 | μmol/L | 17.9472 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.576 | 110534.8151 | 273307.2839 | 33.25 | 75.7
18812 | 2022-05-20 10:48 | 46.6734 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.5237 | μmol/L | 17.9411 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.576 | 110499.1066 | 273302.2611 | 33.25 | 75.7
18822 | 2022-05-20 10:48 | 47.006 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.8205 | μmol/L | 17.9288 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.568 | 110483.6657 | 273299.4226 | 33.25 | 75.7
18832 | 2022-05-20 10:49 | 47.3397 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.7196 | μmol/L | 17.935 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.57 | 110451.8275 | 273281.1739 | 33.25 | 75.7
18842 | 2022-05-20 10:49 | 47.6733 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.7196 | μmol/L | 17.935 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.57 | 110427.3943 | 273262.0037 | 33.25 | 75.7
18852 | 2022-05-20 10:49 | 48.0061 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.6425 | μmol/L | 17.9411 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.571 | 110431.1064 | 273246.0911 | 33.25 | 75.7
18862 | 2022-05-20 10:50 | 48.3398 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.6129 | μmol/L | 17.9472 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.57 | 110390.2229 | 273247.3968 | 33.25 | 75.7
18872 | 2022-05-20 10:50 | 48.6733 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.7196 | μmol/L | 17.935 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.57 | 110402.6756 | 273230.3777 | 33.25 | 75.7
18882 | 2022-05-20 10:50 | 49.006 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.5475 | μmol/L | 17.9411 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.575 | 110394.7083 | 273233.7289 | 33.25 | 75.7
18892 | 2022-05-20 10:51 | 49.3397 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.5058 | μmol/L | 17.935 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.579 | 110422.9548 | 273220.8207 | 33.25 | 75.7
18902 | 2022-05-20 10:51 | 49.6726 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.4346 | μmol/L | 17.935 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.582 | 110419.0574 | 273236.8628 | 33.25 | 75.7
18912 | 2022-05-20 10:51 | 50.0062 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.1679 | μmol/L | 17.9411 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.591 | 110459.1284 | 273203.1626 | 33.25 | 75.7
18922 | 2022-05-20 10:52 | 50.3399 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.0672 | μmol/L | 17.9472 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.593 | 110487.7572 | 273191.1454 | 33.25 | 75.7
18932 | 2022-05-20 10:52 | 50.6732 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.9488 | μmol/L | 17.9472 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.598 | 110477.9303 | 273189.249 | 33.25 | 75.7
18942 | 2022-05-20 10:52 | 51.0061 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.8067 | μmol/L | 17.9472 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.604 | 110493.9106 | 273183.4225 | 33.25 | 75.7
18952 | 2022-05-20 10:53 | 51.3399 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.6826 | μmol/L | 17.9533 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.607 | 110498.5311 | 273182.5894 | 33.25 | 75.7
18962 | 2022-05-20 10:53 | 51.6727 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.7594 | μmol/L | 17.9472 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.606 | 110492.4214 | 273177.8298 | 33.25 | 75.7
18972 | 2022-05-20 10:53 | 52.0063 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.7299 | μmol/L | 17.9533 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.605 | 110498.7507 | 273152.3692 | 33.25 | 75.7
18982 | 2022-05-20 10:54 | 52.3397 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.7299 | μmol/L | 17.9533 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.605 | 110462.7269 | 273152.3669 | 33.25 | 75.7
18992 | 2022-05-20 10:54 | 52.6731 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.7536 | μmol/L | 17.9533 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.604 | 110458.7552 | 273140.6285 | 33.25 | 75.7
19002 | 2022-05-20 10:54 | 53.0059 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.9725 | μmol/L | 17.9472 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.597 | 110423.7815 | 273139.413 | 33.25 | 75.7
19012 | 2022-05-20 10:55 | 53.3396 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.9488 | μmol/L | 17.9472 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.598 | 110379.9207 | 273117.6885 | 33.25 | 75.7
19022 | 2022-05-20 10:55 | 53.6733 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.1383 | μmol/L | 17.9472 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.59 | 110337.8323 | 273098.8454 | 33.25 | 75.7
19032 | 2022-05-20 10:55 | 54.0061 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.1088 | μmol/L | 17.9533 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.589 | 110337.3979 | 273090.2371 | 33.25 | 75.7
19042 | 2022-05-20 10:56 | 54.3399 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.014 | μmol/L | 17.9533 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.593 | 110323.5198 | 273076.0958 | 33.25 | 75.7
19052 | 2022-05-20 10:56 | 54.6729 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.9135 | μmol/L | 17.9595 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.595 | 110323.7225 | 273043.8143 | 33.25 | 75.7
19062 | 2022-05-20 10:56 | 55.0063 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.8719 | μmol/L | 17.9533 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.599 | 110309.9553 | 273041.3445 | 33.25 | 75.7
19072 | 2022-05-20 10:57 | 55.3397 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.943 | μmol/L | 17.9533 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.596 | 110308.3217 | 273022.5948 | 33.25 | 75.7
19082 | 2022-05-20 10:57 | 55.6732 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.7299 | μmol/L | 17.9533 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.605 | 110339.8806 | 273001.0954 | 33.25 | 75.7
19092 | 2022-05-20 10:57 | 56.006 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.6353 | μmol/L | 17.9533 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.609 | 110378.8742 | 273001.7522 | 33.25 | 75.7
19102 | 2022-05-20 10:58 | 56.34 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.709 | μmol/L | 17.9595 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.646 | 111297.1044 | 272991.41 | 33.25 | 75.7
19112 | 2022-05-20 10:58 | 56.6727 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.2619 | μmol/L | 17.9595 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.665 | 111469.8059 | 272981.9712 | 33.25 | 75.7
19122 | 2022-05-20 10:58 | 57.0064 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.2854 | μmol/L | 17.9595 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.664 | 111559.4776 | 272967.3654 | 33.25 | 75.7