## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_3 | O2 | 412637359 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:50

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-20 14:24

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
20778 | 2022-05-20 12:33 | 0 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.5034 | μmol/L | 18.563 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.557 | 94458.8303 | 211638.4371 | 27.3 | 43.4
20788 | 2022-05-20 12:33 | 0.33431 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.3735 | μmol/L | 18.5569 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.564 | 94464.5459 | 211632.1033 | 27.3 | 43.4
20798 | 2022-05-20 12:34 | 0.66752 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.4613 | μmol/L | 18.5508 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.563 | 94471.114 | 211639.8616 | 27.3 | 43.4
20808 | 2022-05-20 12:34 | 1.0005 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.3585 | μmol/L | 18.5447 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.569 | 94470.5252 | 211633.263 | 27.3 | 43.4
20818 | 2022-05-20 12:34 | 1.3347 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.2164 | μmol/L | 18.5508 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.572 | 94477.6621 | 211636.8347 | 27.3 | 43.4
20828 | 2022-05-20 12:35 | 1.6677 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.141 | μmol/L | 18.5447 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.577 | 94480.8285 | 211630.5949 | 27.3 | 43.4
20838 | 2022-05-20 12:35 | 2.0013 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.1471 | μmol/L | 18.5386 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.579 | 94486.9805 | 211627.0165 | 27.3 | 43.4
20848 | 2022-05-20 12:35 | 2.3348 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.1743 | μmol/L | 18.5386 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.578 | 94499.6897 | 211621.7752 | 27.3 | 43.4
20858 | 2022-05-20 12:36 | 2.6678 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.0446 | μmol/L | 18.5325 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.585 | 94505.1595 | 211618.7805 | 27.3 | 43.4
20868 | 2022-05-20 12:36 | 3.0011 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.0174 | μmol/L | 18.5325 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.586 | 94505.7887 | 211618.6332 | 27.3 | 43.4
20878 | 2022-05-20 12:36 | 3.3344 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.9088 | μmol/L | 18.5325 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.59 | 94510.1222 | 211600.6669 | 27.3 | 43.4
20888 | 2022-05-20 12:37 | 3.6672 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.915 | μmol/L | 18.5263 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.592 | 94513.6203 | 211590.4278 | 27.3 | 43.4
20898 | 2022-05-20 12:37 | 4.0009 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.057 | μmol/L | 18.5202 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.589 | 94514.8736 | 211595.6169 | 27.3 | 43.4
20908 | 2022-05-20 12:37 | 4.3341 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.0842 | μmol/L | 18.5202 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.588 | 94517.0859 | 211580.1511 | 27.3 | 43.4
20918 | 2022-05-20 12:38 | 4.6674 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.0632 | μmol/L | 18.5141 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.591 | 94517.5599 | 211573.5719 | 27.3 | 43.4
20928 | 2022-05-20 12:38 | 5.0008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.9336 | μmol/L | 18.508 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.598 | 94525.3276 | 211574.3555 | 27.3 | 43.4
20938 | 2022-05-20 12:38 | 5.3342 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.8731 | μmol/L | 18.5141 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.598 | 94527.3198 | 211564.6572 | 27.3 | 43.4
20948 | 2022-05-20 12:39 | 5.6677 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.825 | μmol/L | 18.508 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.602 | 94522.4965 | 211569.8542 | 27.3 | 43.4
20958 | 2022-05-20 12:39 | 6.0011 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.7227 | μmol/L | 18.5019 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.608 | 94535.587 | 211562.6085 | 27.3 | 43.4
20968 | 2022-05-20 12:39 | 6.3339 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.8313 | μmol/L | 18.5019 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.604 | 94537.5913 | 211555.851 | 27.3 | 43.4
20978 | 2022-05-20 12:40 | 6.6673 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.8375 | μmol/L | 18.4958 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.606 | 94544.1577 | 211548.3536 | 27.3 | 43.4
20988 | 2022-05-20 12:40 | 7.0007 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.6205 | μmol/L | 18.4958 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.614 | 94542.2626 | 211556.1339 | 27.3 | 43.4
20998 | 2022-05-20 12:40 | 7.3343 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.8771 | μmol/L | 18.4836 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.609 | 94548.2687 | 211549.8048 | 27.3 | 43.4
21008 | 2022-05-20 12:41 | 7.6676 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.5788 | μmol/L | 18.4836 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.62 | 94552.8665 | 211538.1349 | 27.3 | 43.4
21018 | 2022-05-20 12:41 | 8.0011 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.6538 | μmol/L | 18.4897 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.615 | 94555.9924 | 211548.0715 | 27.3 | 43.4
21028 | 2022-05-20 12:41 | 8.334 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.4703 | μmol/L | 18.4836 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.624 | 94578.0745 | 211543.6035 | 27.3 | 43.4
21038 | 2022-05-20 12:42 | 8.6676 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.6059 | μmol/L | 18.4836 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.619 | 94571.7948 | 211543.7807 | 27.3 | 43.4
21048 | 2022-05-20 12:42 | 9.0013 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.5579 | μmol/L | 18.4775 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.623 | 94582.6257 | 211540.3053 | 27.3 | 43.4
21058 | 2022-05-20 12:42 | 9.334 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.4224 | μmol/L | 18.4775 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.628 | 94588.1667 | 211532.9949 | 27.3 | 43.4
21068 | 2022-05-20 12:43 | 9.6675 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.4829 | μmol/L | 18.4714 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.628 | 94604.8396 | 211535.9191 | 27.3 | 43.4
21078 | 2022-05-20 12:43 | 10.0011 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.2933 | μmol/L | 18.4714 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.635 | 94603.9813 | 211534.6895 | 27.3 | 43.4
21088 | 2022-05-20 12:43 | 10.3338 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.3267 | μmol/L | 18.4653 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.636 | 94602.843 | 211527.5127 | 27.3 | 43.4
21098 | 2022-05-20 12:44 | 10.6673 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.4142 | μmol/L | 18.4591 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.635 | 94623.994 | 211519.5109 | 27.3 | 43.4
21108 | 2022-05-20 12:44 | 11.0009 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.333 | μmol/L | 18.4591 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.638 | 94631.8457 | 211528.261 | 27.3 | 43.4
21118 | 2022-05-20 12:44 | 11.3344 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.4476 | μmol/L | 18.453 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.636 | 94636.901 | 211533.336 | 27.3 | 43.4
21128 | 2022-05-20 12:45 | 11.6679 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.2581 | μmol/L | 18.453 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.643 | 94647.1264 | 211517.3204 | 27.3 | 43.4
21138 | 2022-05-20 12:45 | 12.0005 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.1769 | μmol/L | 18.453 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.646 | 94653.7105 | 211519.0225 | 27.3 | 43.4
21148 | 2022-05-20 12:45 | 12.3341 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.2039 | μmol/L | 18.453 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.645 | 94657.0238 | 211525.4289 | 27.3 | 43.4
21158 | 2022-05-20 12:46 | 12.6677 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.2978 | μmol/L | 18.4408 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.646 | 94665.1474 | 211532.6465 | 27.3 | 43.4
21168 | 2022-05-20 12:46 | 13.0013 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.102 | μmol/L | 18.4469 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.651 | 94666.5279 | 211517.1501 | 27.3 | 43.4
21178 | 2022-05-20 12:46 | 13.3339 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.2166 | μmol/L | 18.4408 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.649 | 94677.2356 | 211514.5897 | 27.3 | 43.4
21188 | 2022-05-20 12:47 | 13.6673 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.048 | μmol/L | 18.4469 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.653 | 94677.5603 | 211516.4129 | 27.3 | 43.4
21198 | 2022-05-20 12:47 | 14.0006 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.9335 | μmol/L | 18.453 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.655 | 94686.5099 | 211514.9701 | 27.3 | 43.4
21208 | 2022-05-20 12:47 | 14.334 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.0543 | μmol/L | 18.4408 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.655 | 94687.0168 | 211510.5646 | 27.3 | 43.4
21218 | 2022-05-20 12:48 | 14.6675 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.0606 | μmol/L | 18.4347 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.657 | 94704.0739 | 211510.9999 | 27.3 | 43.4
21228 | 2022-05-20 12:48 | 15.0008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.1752 | μmol/L | 18.4286 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.655 | 94703.7392 | 211506.5506 | 27.3 | 43.4
21238 | 2022-05-20 12:48 | 15.3344 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.067 | μmol/L | 18.4286 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.659 | 94714.8722 | 211515.9177 | 27.3 | 43.4
21248 | 2022-05-20 12:49 | 15.6673 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.9588 | μmol/L | 18.4286 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.663 | 94709.7017 | 211496.0142 | 27.3 | 43.4
21258 | 2022-05-20 12:49 | 16.0007 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.9859 | μmol/L | 18.4286 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.662 | 94711.5347 | 211501.7987 | 27.3 | 43.4
21268 | 2022-05-20 12:49 | 16.3341 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.0193 | μmol/L | 18.4225 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.663 | 94709.2792 | 211499.3865 | 27.3 | 43.4
21278 | 2022-05-20 12:50 | 16.6677 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.9652 | μmol/L | 18.4225 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.665 | 94712.8149 | 211487.6475 | 27.3 | 43.4
21288 | 2022-05-20 12:50 | 17.0007 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.9652 | μmol/L | 18.4225 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.665 | 94715.1561 | 211485.5423 | 27.3 | 43.4
21298 | 2022-05-20 12:50 | 17.3344 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.9382 | μmol/L | 18.4225 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.666 | 94719.0551 | 211495.4664 | 27.3 | 43.4
21308 | 2022-05-20 12:51 | 17.6672 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.9652 | μmol/L | 18.4225 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.665 | 94720.4146 | 211492.3793 | 27.3 | 43.4
21318 | 2022-05-20 12:51 | 18.0007 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.9445 | μmol/L | 18.4164 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.668 | 94722.1031 | 211481.1754 | 27.3 | 43.4
21328 | 2022-05-20 12:51 | 18.3342 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.8365 | μmol/L | 18.4164 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.672 | 94720.1557 | 211483.0909 | 27.3 | 43.4
21338 | 2022-05-20 12:52 | 18.6679 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.0384 | μmol/L | 18.4042 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.669 | 94721.4503 | 211482.3724 | 27.3 | 43.4
21348 | 2022-05-20 12:52 | 19.0008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.8429 | μmol/L | 18.4103 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.674 | 94722.6283 | 211482.2027 | 27.3 | 43.4
21358 | 2022-05-20 12:52 | 19.3343 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.9843 | μmol/L | 18.4042 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.671 | 94719.6605 | 211471.4055 | 27.3 | 43.4
21368 | 2022-05-20 12:53 | 19.6676 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.0448 | μmol/L | 18.3981 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.671 | 94716.9959 | 211467.3231 | 27.3 | 43.4
21378 | 2022-05-20 12:53 | 20.0012 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.0718 | μmol/L | 18.3981 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.67 | 94714.4107 | 211478.7213 | 27.3 | 43.4
21388 | 2022-05-20 12:53 | 20.3347 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.9843 | μmol/L | 18.4042 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.671 | 94716.181 | 211471.5002 | 27.3 | 43.4
21398 | 2022-05-20 12:54 | 20.6679 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.0718 | μmol/L | 18.3981 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.67 | 94716.2248 | 211468.1047 | 27.3 | 43.4
21408 | 2022-05-20 12:54 | 21.0006 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.0782 | μmol/L | 18.3919 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.672 | 94724.7598 | 211465.6533 | 27.3 | 43.4
21418 | 2022-05-20 12:54 | 21.3342 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.9971 | μmol/L | 18.3919 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.675 | 94723.5719 | 211454.3606 | 27.3 | 43.4
21428 | 2022-05-20 12:55 | 21.6676 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.0576 | μmol/L | 18.3858 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.675 | 94724.9728 | 211468.4302 | 27.3 | 43.4
21438 | 2022-05-20 12:55 | 22.001 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.9971 | μmol/L | 18.3919 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.675 | 94721.009 | 211470.6608 | 27.3 | 43.4
21448 | 2022-05-20 12:55 | 22.3346 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.1116 | μmol/L | 18.3858 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.673 | 94725.4434 | 211468.7447 | 27.3 | 43.4
21458 | 2022-05-20 12:56 | 22.6674 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.037 | μmol/L | 18.3797 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.678 | 94735.3764 | 211462.5595 | 27.3 | 43.4
21468 | 2022-05-20 12:56 | 23.0012 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.9765 | μmol/L | 18.3858 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.678 | 94746.2548 | 211460.3013 | 27.3 | 43.4
21478 | 2022-05-20 12:56 | 23.3338 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.0099 | μmol/L | 18.3797 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.679 | 94731.8996 | 211459.8387 | 27.3 | 43.4
21488 | 2022-05-20 12:57 | 23.668 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.0434 | μmol/L | 18.3736 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.68 | 94738.1929 | 211476.247 | 27.3 | 43.4
21498 | 2022-05-20 12:57 | 24.0006 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.9893 | μmol/L | 18.3736 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.682 | 94735.3999 | 211469.6791 | 27.3 | 43.4
21508 | 2022-05-20 12:57 | 24.3339 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.0704 | μmol/L | 18.3736 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.679 | 94742.1671 | 211478.4009 | 27.3 | 43.4
21518 | 2022-05-20 12:58 | 24.6674 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.8543 | μmol/L | 18.3736 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.687 | 94740.8371 | 211470.7775 | 27.3 | 43.4
21528 | 2022-05-20 12:58 | 25.0011 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.1103 | μmol/L | 18.3614 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.682 | 94740.3773 | 211461.588 | 27.3 | 43.4
21538 | 2022-05-20 12:58 | 25.3346 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.9417 | μmol/L | 18.3675 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.686 | 94739.3597 | 211459.0678 | 27.3 | 43.4
21548 | 2022-05-20 12:59 | 25.6673 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.1103 | μmol/L | 18.3614 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.682 | 94735.184 | 211452.4701 | 27.3 | 43.4
21558 | 2022-05-20 12:59 | 26.0007 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.0498 | μmol/L | 18.3675 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.682 | 94737.3132 | 211459.9435 | 27.3 | 43.4
21568 | 2022-05-20 12:59 | 26.3344 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.0022 | μmol/L | 18.3614 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.686 | 94732.7864 | 211443.4076 | 27.3 | 43.4
21578 | 2022-05-20 13:00 | 26.6673 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.0627 | μmol/L | 18.3553 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.686 | 94736.3022 | 211441.5126 | 27.3 | 43.4
21588 | 2022-05-20 13:00 | 27.0008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.0357 | μmol/L | 18.3553 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.687 | 94734.9717 | 211436.4604 | 27.3 | 43.4
21598 | 2022-05-20 13:00 | 27.3344 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.9752 | μmol/L | 18.3614 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.687 | 94736.6002 | 211426.784 | 27.3 | 43.4
21608 | 2022-05-20 13:01 | 27.6673 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.1438 | μmol/L | 18.3553 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.683 | 94731.0068 | 211418.5313 | 27.3 | 43.4
21618 | 2022-05-20 13:01 | 28.0008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.9816 | μmol/L | 18.3553 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.689 | 94734.9054 | 211414.3663 | 27.3 | 43.4
21628 | 2022-05-20 13:01 | 28.3344 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.0962 | μmol/L | 18.3492 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.687 | 94729.7156 | 211414.2012 | 27.3 | 43.4
21638 | 2022-05-20 13:02 | 28.6679 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.9071 | μmol/L | 18.3492 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.694 | 94723.1568 | 211412.4925 | 27.3 | 43.4
21648 | 2022-05-20 13:02 | 29.0005 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.0756 | μmol/L | 18.3431 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.69 | 94727.0851 | 211409.8735 | 27.3 | 43.4
21658 | 2022-05-20 13:02 | 29.3341 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.8801 | μmol/L | 18.3492 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.695 | 94734.1504 | 211394.5272 | 27.3 | 43.4
21668 | 2022-05-20 13:03 | 29.6677 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.8801 | μmol/L | 18.3492 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.695 | 94741.2719 | 211403.3105 | 27.3 | 43.4
21678 | 2022-05-20 13:03 | 30.0012 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.8261 | μmol/L | 18.3492 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.697 | 94743.1869 | 211397.906 | 27.3 | 43.4
21688 | 2022-05-20 13:03 | 30.3339 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.7991 | μmol/L | 18.3492 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.698 | 94748.4035 | 211401.6175 | 27.3 | 43.4
21698 | 2022-05-20 13:04 | 30.6674 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.6771 | μmol/L | 18.337 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.707 | 94755.5958 | 211394.9422 | 27.3 | 43.4
21708 | 2022-05-20 13:04 | 31.001 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.7581 | μmol/L | 18.337 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.704 | 94769.0181 | 211387.6367 | 27.3 | 43.4
21718 | 2022-05-20 13:04 | 31.3344 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.5962 | μmol/L | 18.337 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.71 | 94768.7287 | 211382.9387 | 27.3 | 43.4
21728 | 2022-05-20 13:05 | 31.6678 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.6771 | μmol/L | 18.337 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.707 | 94782.5265 | 211373.1849 | 27.3 | 43.4
21738 | 2022-05-20 13:05 | 32.0008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.7106 | μmol/L | 18.3309 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.708 | 94781.5186 | 211372.5566 | 27.3 | 43.4
21748 | 2022-05-20 13:05 | 32.3344 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.4884 | μmol/L | 18.337 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.714 | 94790.6472 | 211372.3724 | 27.3 | 43.4
21758 | 2022-05-20 13:06 | 32.6673 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.5153 | μmol/L | 18.337 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.713 | 94798.3725 | 211372.4628 | 27.3 | 43.4
21768 | 2022-05-20 13:06 | 33.0007 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.4679 | μmol/L | 18.3309 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.717 | 94806.9825 | 211365.4513 | 27.3 | 43.4
21778 | 2022-05-20 13:06 | 33.3342 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.5553 | μmol/L | 18.3248 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.716 | 94806.6954 | 211359.4735 | 27.3 | 43.4
21788 | 2022-05-20 13:07 | 33.6676 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.3128 | μmol/L | 18.3248 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.725 | 94813.1704 | 211363.6265 | 27.3 | 43.4
21798 | 2022-05-20 13:07 | 34.0012 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.3063 | μmol/L | 18.3309 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.723 | 94816.5587 | 211348.444 | 27.3 | 43.4
21808 | 2022-05-20 13:07 | 34.3341 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.3666 | μmol/L | 18.3248 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.723 | 94827.9648 | 211337.1251 | 27.3 | 43.4
21818 | 2022-05-20 13:08 | 34.6677 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.3462 | μmol/L | 18.3186 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.726 | 94838.2035 | 211331.121 | 27.3 | 43.4
21828 | 2022-05-20 13:08 | 35.0012 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.232 | μmol/L | 18.3248 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.728 | 94844.5997 | 211339.8435 | 27.3 | 43.4
21838 | 2022-05-20 13:08 | 35.3342 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.9694 | μmol/L | 18.3186 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.74 | 94874.138 | 211335.1437 | 27.3 | 43.4
21848 | 2022-05-20 13:09 | 35.6677 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.1374 | μmol/L | 18.3125 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.736 | 94893.4745 | 211331.2872 | 27.3 | 43.4
21858 | 2022-05-20 13:09 | 36.0011 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.835 | μmol/L | 18.3186 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.745 | 94906.8791 | 211338.4722 | 27.3 | 43.4
21868 | 2022-05-20 13:09 | 36.3345 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.6738 | μmol/L | 18.3186 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.751 | 94927.7215 | 211334.3002 | 27.3 | 43.4
21878 | 2022-05-20 13:10 | 36.6672 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.5127 | μmol/L | 18.3186 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.757 | 94959.6558 | 211335.5296 | 27.3 | 43.4
21888 | 2022-05-20 13:10 | 37.0006 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.385 | μmol/L | 18.3125 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.764 | 94986.0752 | 211333.5815 | 27.3 | 43.4
21898 | 2022-05-20 13:10 | 37.334 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.0633 | μmol/L | 18.3125 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.776 | 95019.7636 | 211326.4419 | 27.3 | 43.4
21908 | 2022-05-20 13:11 | 37.6673 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.849 | μmol/L | 18.3125 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.784 | 95060.4082 | 211327.1131 | 27.3 | 43.4
21918 | 2022-05-20 13:11 | 38.0008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.8824 | μmol/L | 18.3064 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.785 | 95092.9648 | 211327.1445 | 27.3 | 43.4
21928 | 2022-05-20 13:11 | 38.334 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.6082 | μmol/L | 18.3125 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.793 | 95121.3278 | 211318.4595 | 27.3 | 43.4
21938 | 2022-05-20 13:12 | 38.6676 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.2875 | μmol/L | 18.3125 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.805 | 95150.6214 | 211317.3456 | 27.3 | 43.4
21948 | 2022-05-20 13:12 | 39.0009 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.2074 | μmol/L | 18.3125 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.808 | 95171.9861 | 211302.086 | 27.3 | 43.4
21958 | 2022-05-20 13:12 | 39.3343 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.0538 | μmol/L | 18.3064 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.816 | 95202.4381 | 211300.59 | 27.3 | 43.4
21968 | 2022-05-20 13:13 | 39.6672 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.8671 | μmol/L | 18.3064 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.823 | 95232.4801 | 211308.7203 | 27.3 | 43.4
21978 | 2022-05-20 13:13 | 40.0009 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.6473 | μmol/L | 18.3125 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.829 | 95254.0796 | 211287.033 | 27.3 | 43.4
21988 | 2022-05-20 13:13 | 40.3344 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.7072 | μmol/L | 18.3064 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.829 | 95277.2045 | 211290.2089 | 27.3 | 43.4
21998 | 2022-05-20 13:14 | 40.6678 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.5274 | μmol/L | 18.3003 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.838 | 95299.7288 | 211286.7731 | 27.3 | 43.4
22008 | 2022-05-20 13:14 | 41.0013 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.2547 | μmol/L | 18.3064 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.846 | 95329.6415 | 211282.5197 | 27.3 | 43.4
22018 | 2022-05-20 13:14 | 41.3338 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.1283 | μmol/L | 18.3003 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.853 | 95342.5002 | 211279.0128 | 27.3 | 43.4
22028 | 2022-05-20 13:15 | 41.6674 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.1549 | μmol/L | 18.3003 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.852 | 95368.1937 | 211280.1699 | 27.3 | 43.4
22038 | 2022-05-20 13:15 | 42.0008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.949 | μmol/L | 18.2942 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.862 | 95411.2823 | 211268.6317 | 27.3 | 43.4
22048 | 2022-05-20 13:15 | 42.334 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.9224 | μmol/L | 18.2942 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.863 | 95418.7788 | 211263.5613 | 27.3 | 43.4
22058 | 2022-05-20 13:16 | 42.6674 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.9025 | μmol/L | 18.2881 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.866 | 95411.2455 | 211268.46 | 27.3 | 43.4
22068 | 2022-05-20 13:16 | 43.0009 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.876 | μmol/L | 18.2881 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.867 | 95422.6204 | 211254.4273 | 27.3 | 43.4
22078 | 2022-05-20 13:16 | 43.3344 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.9291 | μmol/L | 18.2881 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.865 | 95415.1052 | 211262.9915 | 27.3 | 43.4
22088 | 2022-05-20 13:17 | 43.6679 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.9822 | μmol/L | 18.2881 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.863 | 95407.192 | 211245.1127 | 27.3 | 43.4
22098 | 2022-05-20 13:17 | 44.0006 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.1748 | μmol/L | 18.282 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.858 | 95383.8276 | 211242.3969 | 27.3 | 43.4
22108 | 2022-05-20 13:17 | 44.3342 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.1948 | μmol/L | 18.2881 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.855 | 95369.3386 | 211238.8729 | 27.3 | 43.4
22118 | 2022-05-20 13:18 | 44.6673 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.0685 | μmol/L | 18.282 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.862 | 95385.196 | 211240.7065 | 27.3 | 43.4
22128 | 2022-05-20 13:18 | 45.0006 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.0808 | μmol/L | 18.2881 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.897 | 95521.5624 | 211229.8821 | 27.3 | 43.4
22138 | 2022-05-20 13:18 | 45.3344 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 307.209 | μmol/L | 18.2881 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.93 | 95685.191 | 211231.8906 | 27.3 | 43.4
22148 | 2022-05-20 13:19 | 45.668 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 306.7415 | μmol/L | 18.282 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.95 | 95773.9738 | 211221.0062 | 27.3 | 43.4
22158 | 2022-05-20 13:19 | 46.0006 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 306.7813 | μmol/L | 18.2698 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.953 | 95785.7376 | 211214.6756 | 27.3 | 43.4
22168 | 2022-05-20 13:19 | 46.3342 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 306.7415 | μmol/L | 18.282 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.95 | 95766.987 | 211221.0232 | 27.3 | 43.4
22178 | 2022-05-20 13:20 | 46.6676 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 306.9521 | μmol/L | 18.282 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.942 | 95731.6394 | 211204.7627 | 27.3 | 43.4
22188 | 2022-05-20 13:20 | 47.0011 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 307.0575 | μmol/L | 18.282 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.938 | 95696.8403 | 211206.0306 | 27.3 | 43.4
22198 | 2022-05-20 13:20 | 47.3338 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 307.4401 | μmol/L | 18.2698 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.928 | 95657.3285 | 211198.8655 | 27.3 | 43.4
22208 | 2022-05-20 13:21 | 47.6673 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 307.6447 | μmol/L | 18.2759 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.918 | 95607.7813 | 211202.0697 | 27.3 | 43.4
22218 | 2022-05-20 13:21 | 48.0009 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 307.9421 | μmol/L | 18.2698 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.909 | 95559.2224 | 211201.7363 | 27.3 | 43.4
22228 | 2022-05-20 13:21 | 48.3343 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.0412 | μmol/L | 18.2759 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.903 | 95504.8624 | 211190.9865 | 27.3 | 43.4
22238 | 2022-05-20 13:22 | 48.6677 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.3589 | μmol/L | 18.2759 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.891 | 95432.932 | 211186.053 | 27.3 | 43.4
22248 | 2022-05-20 13:22 | 49.0012 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.7632 | μmol/L | 18.2698 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.878 | 95383.9656 | 211192.313 | 27.3 | 43.4
22258 | 2022-05-20 13:22 | 49.3346 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.5179 | μmol/L | 18.2759 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.885 | 95405.3754 | 211184.3347 | 27.3 | 43.4
22268 | 2022-05-20 13:23 | 49.6673 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.2067 | μmol/L | 18.2698 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.899 | 95472.1256 | 211191.0247 | 27.3 | 43.4
22278 | 2022-05-20 13:23 | 50.0008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.0017 | μmol/L | 18.2637 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.909 | 95525.9436 | 211177.1336 | 27.3 | 43.4
22288 | 2022-05-20 13:23 | 50.3344 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.0546 | μmol/L | 18.2637 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.907 | 95513.6386 | 211177.9075 | 27.3 | 43.4
22298 | 2022-05-20 13:24 | 50.6678 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.1273 | μmol/L | 18.2698 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.902 | 95478.6972 | 211160.431 | 27.3 | 43.4
22308 | 2022-05-20 13:24 | 51.0007 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.3458 | μmol/L | 18.2637 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.896 | 95446.9132 | 211162.1866 | 27.3 | 43.4
22318 | 2022-05-20 13:24 | 51.3342 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.5644 | μmol/L | 18.2576 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.89 | 95422.8224 | 211155.656 | 27.3 | 43.4
22328 | 2022-05-20 13:25 | 51.6678 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.5776 | μmol/L | 18.2698 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.885 | 95382.6496 | 211155.9419 | 27.3 | 43.4
22338 | 2022-05-20 13:25 | 52.0013 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.7965 | μmol/L | 18.2637 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.879 | 95352.113 | 211153.7677 | 27.3 | 43.4
22348 | 2022-05-20 13:25 | 52.334 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.8761 | μmol/L | 18.2637 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.876 | 95321.9724 | 211134.2823 | 27.3 | 43.4
22358 | 2022-05-20 13:26 | 52.6673 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.062 | μmol/L | 18.2637 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.869 | 95295.7333 | 211135.8775 | 27.3 | 43.4
22368 | 2022-05-20 13:26 | 53.001 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.1881 | μmol/L | 18.2698 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.862 | 95274.4229 | 211138.6272 | 27.3 | 43.4
22378 | 2022-05-20 13:26 | 53.3338 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.5739 | μmol/L | 18.2576 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.852 | 95227.4067 | 211116.8987 | 27.3 | 43.4
22388 | 2022-05-20 13:27 | 53.6672 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.6338 | μmol/L | 18.2514 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.852 | 95183.3644 | 211123.8318 | 27.3 | 43.4
22398 | 2022-05-20 13:27 | 54.0009 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.5739 | μmol/L | 18.2576 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.852 | 95197.5712 | 211125.6576 | 27.3 | 43.4
22408 | 2022-05-20 13:27 | 54.3343 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.5007 | μmol/L | 18.2514 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.857 | 95216.2872 | 211119.7369 | 27.3 | 43.4
22418 | 2022-05-20 13:28 | 54.6676 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.1816 | μmol/L | 18.2514 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.869 | 95266.9924 | 211122.0208 | 27.3 | 43.4
22428 | 2022-05-20 13:28 | 55.0012 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.8031 | μmol/L | 18.2576 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.881 | 95345.0749 | 211116.6043 | 27.3 | 43.4
22438 | 2022-05-20 13:28 | 55.3341 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.2268 | μmol/L | 18.2514 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.905 | 95450.4306 | 211117.9286 | 27.3 | 43.4
22448 | 2022-05-20 13:29 | 55.6676 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 307.5395 | μmol/L | 18.2514 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.931 | 95564.4374 | 211101.5366 | 27.3 | 43.4
22458 | 2022-05-20 13:29 | 56.0011 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 307.0715 | μmol/L | 18.2453 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.951 | 95649.4546 | 211103.99 | 27.3 | 43.4
22468 | 2022-05-20 13:29 | 56.3344 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 306.4791 | μmol/L | 18.2576 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.969 | 95728.5326 | 211103.6684 | 27.3 | 43.4
22478 | 2022-05-20 13:30 | 56.6678 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 306.1902 | μmol/L | 18.2576 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.98 | 95784.8124 | 211112.361 | 27.3 | 43.4
22488 | 2022-05-20 13:30 | 57.0005 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 305.8491 | μmol/L | 18.2576 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.993 | 95834.3503 | 211093.4538 | 27.3 | 43.4
22498 | 2022-05-20 13:30 | 57.3339 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 305.6724 | μmol/L | 18.2514 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.002 | 95891.4189 | 211097.4911 | 27.3 | 43.4
22508 | 2022-05-20 13:31 | 57.6672 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 305.2866 | μmol/L | 18.2453 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.019 | 95966.1526 | 211093.7544 | 27.3 | 43.4
22518 | 2022-05-20 13:31 | 58.0009 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.7902 | μmol/L | 18.2453 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.038 | 96053.3231 | 211091.689 | 27.3 | 43.4
22528 | 2022-05-20 13:31 | 58.3343 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.3141 | μmol/L | 18.2514 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.054 | 96126.6596 | 211090.2413 | 27.3 | 43.4
22538 | 2022-05-20 13:32 | 58.6677 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.236 | μmol/L | 18.2514 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.057 | 96163.1668 | 211088.3108 | 27.3 | 43.4
22548 | 2022-05-20 13:32 | 59.0012 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.1578 | μmol/L | 18.2514 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.06 | 96169.9773 | 211084.7649 | 27.3 | 43.4
22558 | 2022-05-20 13:32 | 59.3341 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.0085 | μmol/L | 18.2453 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.068 | 96182.6422 | 211079.7479 | 27.3 | 43.4
22568 | 2022-05-20 13:33 | 59.6676 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.9305 | μmol/L | 18.2453 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.071 | 96217.222 | 211081.1424 | 27.3 | 43.4
22578 | 2022-05-20 13:33 | 60.0008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.8593 | μmol/L | 18.2392 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.076 | 96235.6712 | 211077.1587 | 27.3 | 43.4
22588 | 2022-05-20 13:33 | 60.3343 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.4956 | μmol/L | 18.2392 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.09 | 96274.1962 | 211086.304 | 27.3 | 43.4
22598 | 2022-05-20 13:34 | 60.6672 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.2362 | μmol/L | 18.2392 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.1 | 96327.673 | 211070.3801 | 27.3 | 43.4
22608 | 2022-05-20 13:34 | 61.0008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 302.8407 | μmol/L | 18.2453 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.113 | 96379.1833 | 211070.2228 | 27.3 | 43.4
22618 | 2022-05-20 13:34 | 61.3342 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 302.7181 | μmol/L | 18.2392 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.12 | 96413.3046 | 211063.256 | 27.3 | 43.4
22628 | 2022-05-20 13:35 | 61.6676 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 302.6146 | μmol/L | 18.2392 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.124 | 96448.6561 | 211067.5302 | 27.3 | 43.4
22638 | 2022-05-20 13:35 | 62.0012 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 302.4595 | μmol/L | 18.2392 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.13 | 96458.3788 | 211051.1207 | 27.3 | 43.4
22648 | 2022-05-20 13:35 | 62.334 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 302.4405 | μmol/L | 18.2331 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.133 | 96487.6075 | 211060.8429 | 27.3 | 43.4
22658 | 2022-05-20 13:36 | 62.6677 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 302.2012 | μmol/L | 18.2392 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.14 | 96490.2786 | 211050.2217 | 27.3 | 43.4
22668 | 2022-05-20 13:36 | 63.0005 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 302.1822 | μmol/L | 18.2331 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.143 | 96527.3687 | 211043.5103 | 27.3 | 43.4
22678 | 2022-05-20 13:36 | 63.334 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.8915 | μmol/L | 18.2392 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.152 | 96549.7661 | 211043.5035 | 27.3 | 43.4
22688 | 2022-05-20 13:37 | 63.6673 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.0866 | μmol/L | 18.2453 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.181 | 96685.2008 | 211037.6476 | 27.3 | 43.4
22698 | 2022-05-20 13:37 | 64.001 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.9978 | μmol/L | 18.2331 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.228 | 96904.9825 | 211047.1488 | 27.3 | 43.4
22708 | 2022-05-20 13:37 | 64.3346 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.2756 | μmol/L | 18.2392 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.254 | 97025.6356 | 211046.6905 | 27.3 | 43.4
22718 | 2022-05-20 13:38 | 64.6674 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.5308 | μmol/L | 18.2392 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.244 | 96989.1939 | 211027.2463 | 27.3 | 43.4
22728 | 2022-05-20 13:38 | 65.001 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.9141 | μmol/L | 18.2392 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.229 | 96896.8899 | 211031.1846 | 27.3 | 43.4
22738 | 2022-05-20 13:38 | 65.3346 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.3818 | μmol/L | 18.2331 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.213 | 96816.3579 | 211019.2711 | 27.3 | 43.4
22748 | 2022-05-20 13:39 | 65.6679 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.6639 | μmol/L | 18.2331 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.202 | 96780.9216 | 211027.3113 | 27.3 | 43.4
22758 | 2022-05-20 13:39 | 66.0006 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.6313 | μmol/L | 18.2392 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.201 | 96755.9759 | 211024.819 | 27.3 | 43.4
22768 | 2022-05-20 13:39 | 66.3341 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.7734 | μmol/L | 18.227 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.2 | 96727.5667 | 211020.3119 | 27.3 | 43.4
22778 | 2022-05-20 13:40 | 66.6676 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.9274 | μmol/L | 18.227 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.194 | 96713.1475 | 211017.2227 | 27.3 | 43.4
22788 | 2022-05-20 13:40 | 67.0013 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.0114 | μmol/L | 18.2209 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.193 | 96713.2199 | 210999.884 | 27.3 | 43.4
22798 | 2022-05-20 13:40 | 67.3339 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.9976 | μmol/L | 18.2331 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.189 | 96680.9019 | 210998.892 | 27.3 | 43.4
22808 | 2022-05-20 13:41 | 67.6675 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.1004 | μmol/L | 18.2331 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.185 | 96651.0606 | 210991.7492 | 27.3 | 43.4
22818 | 2022-05-20 13:41 | 68.0009 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.0678 | μmol/L | 18.2392 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.184 | 96629.961 | 210998.9333 | 27.3 | 43.4
22828 | 2022-05-20 13:41 | 68.3344 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.3832 | μmol/L | 18.2331 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.174 | 96601.9039 | 210982.5201 | 27.3 | 43.4
22838 | 2022-05-20 13:42 | 68.6672 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.4485 | μmol/L | 18.2209 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.176 | 96604.4885 | 210977.9689 | 27.3 | 43.4
22848 | 2022-05-20 13:42 | 69.0006 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.2872 | μmol/L | 18.227 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.18 | 96592.6387 | 210988.4343 | 27.3 | 43.4
22858 | 2022-05-20 13:42 | 69.3341 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.3456 | μmol/L | 18.2209 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.18 | 96600.1701 | 210984.3076 | 27.3 | 43.4
22868 | 2022-05-20 13:43 | 69.6674 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.313 | μmol/L | 18.227 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.179 | 96608.8652 | 210964.777 | 27.3 | 43.4
22878 | 2022-05-20 13:43 | 70.0007 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.1518 | μmol/L | 18.2331 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.183 | 96609.5368 | 210961.3879 | 27.3 | 43.4
22888 | 2022-05-20 13:43 | 70.3342 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.9719 | μmol/L | 18.2331 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.19 | 96639.4851 | 210967.1567 | 27.3 | 43.4
22898 | 2022-05-20 13:44 | 70.6676 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.6451 | μmol/L | 18.227 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.205 | 96695.8301 | 210954.6247 | 27.3 | 43.4
22908 | 2022-05-20 13:44 | 71.0012 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.1513 | μmol/L | 18.2331 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.222 | 96799.4424 | 210950.871 | 27.3 | 43.4
22918 | 2022-05-20 13:44 | 71.3346 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.6468 | μmol/L | 18.227 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.244 | 96865.6943 | 210946.249 | 27.3 | 43.4
22928 | 2022-05-20 13:45 | 71.6673 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.5191 | μmol/L | 18.227 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.249 | 96908.7801 | 210951.6482 | 27.3 | 43.4
22938 | 2022-05-20 13:45 | 72.0007 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.3475 | μmol/L | 18.2209 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.258 | 96963.6502 | 210942.5225 | 27.3 | 43.4
22948 | 2022-05-20 13:45 | 72.3343 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.8887 | μmol/L | 18.2209 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.276 | 97025.553 | 210939.3513 | 27.3 | 43.4
22958 | 2022-05-20 13:46 | 72.668 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.5001 | μmol/L | 18.227 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.289 | 97098.6892 | 210924.7183 | 27.3 | 43.4
22968 | 2022-05-20 13:46 | 73.0005 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.1261 | μmol/L | 18.2209 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.306 | 97169.5388 | 210927.9954 | 27.3 | 43.4
22978 | 2022-05-20 13:46 | 73.3341 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.9301 | μmol/L | 18.2148 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.316 | 97227.6731 | 210919.0903 | 27.3 | 43.4
22988 | 2022-05-20 13:47 | 73.6674 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.5754 | μmol/L | 18.2148 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.33 | 97282.1335 | 210917.2731 | 27.3 | 43.4
22998 | 2022-05-20 13:47 | 74.001 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.2211 | μmol/L | 18.2148 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.344 | 97327.1403 | 210912.7956 | 27.3 | 43.4
23008 | 2022-05-20 13:47 | 74.3346 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.0948 | μmol/L | 18.2148 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.349 | 97347.8925 | 210906.3246 | 27.3 | 43.4
23018 | 2022-05-20 13:48 | 74.6675 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.3153 | μmol/L | 18.2209 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.338 | 97317.9509 | 210905.4392 | 27.3 | 43.4
23028 | 2022-05-20 13:48 | 75.0011 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.7964 | μmol/L | 18.2209 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.319 | 97212.6622 | 210909.5723 | 27.3 | 43.4
23038 | 2022-05-20 13:48 | 75.3339 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.26 | μmol/L | 18.2148 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.303 | 97096.961 | 210900.6695 | 27.3 | 43.4
23048 | 2022-05-20 13:49 | 75.6673 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.5579 | μmol/L | 18.2209 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.289 | 97043.6231 | 210891.409 | 27.3 | 43.4
23058 | 2022-05-20 13:49 | 76.0008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.4563 | μmol/L | 18.2209 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.293 | 97023.1354 | 210900.2568 | 27.3 | 43.4
23068 | 2022-05-20 13:49 | 76.3343 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.6088 | μmol/L | 18.2209 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.287 | 97002.9307 | 210892.9218 | 27.3 | 43.4
23078 | 2022-05-20 13:50 | 76.6679 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.4747 | μmol/L | 18.227 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.29 | 97004.7714 | 210895.394 | 27.3 | 43.4
23088 | 2022-05-20 13:50 | 77.0006 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.4054 | μmol/L | 18.2209 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.295 | 97028.9125 | 210890.7053 | 27.3 | 43.4
23098 | 2022-05-20 13:50 | 77.3339 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.2092 | μmol/L | 18.2148 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.305 | 97056.9385 | 210900.1817 | 27.3 | 43.4
23108 | 2022-05-20 13:51 | 77.6673 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.0316 | μmol/L | 18.2148 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.312 | 97077.7718 | 210880.3685 | 27.3 | 43.4
23118 | 2022-05-20 13:51 | 78.0009 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.6374 | μmol/L | 18.227 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.323 | 97117.8011 | 210882.3676 | 27.3 | 43.4
23128 | 2022-05-20 13:51 | 78.3345 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.3153 | μmol/L | 18.2209 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.338 | 97177.6121 | 210886.4833 | 27.3 | 43.4
23138 | 2022-05-20 13:52 | 78.668 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.12 | μmol/L | 18.2148 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.348 | 97250.8279 | 210878.4435 | 27.3 | 43.4
23148 | 2022-05-20 13:52 | 79.0008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 296.6403 | μmol/L | 18.2148 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.367 | 97335.8337 | 210870.0228 | 27.3 | 43.4
23158 | 2022-05-20 13:52 | 79.3345 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 296.0106 | μmol/L | 18.2148 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.392 | 97423.6332 | 210872.6483 | 27.3 | 43.4
23168 | 2022-05-20 13:53 | 79.6678 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 295.4579 | μmol/L | 18.2148 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.414 | 97545.2759 | 210869.1088 | 27.3 | 43.4
23178 | 2022-05-20 13:53 | 80.0006 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 294.5812 | μmol/L | 18.2148 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.449 | 97718.0577 | 210868.4324 | 27.3 | 43.4
23188 | 2022-05-20 13:53 | 80.3341 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.6152 | μmol/L | 18.2087 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.49 | 97932.9692 | 210850.441 | 27.3 | 43.4
23198 | 2022-05-20 13:54 | 80.6675 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 292.1859 | μmol/L | 18.2209 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.543 | 98145.5677 | 210846.8477 | 27.3 | 43.4
23208 | 2022-05-20 13:54 | 81.0008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 291.2051 | μmol/L | 18.2148 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.585 | 98338.788 | 210854.5494 | 27.3 | 43.4
23218 | 2022-05-20 13:54 | 81.3343 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 290.769 | μmol/L | 18.2087 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.605 | 98445.9465 | 210843.1728 | 27.3 | 43.4
23228 | 2022-05-20 13:55 | 81.6678 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 290.6881 | μmol/L | 18.2148 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.606 | 98443.7318 | 210856.1293 | 27.3 | 43.4
23238 | 2022-05-20 13:55 | 82.0012 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 291.0398 | μmol/L | 18.2087 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.594 | 98399.6809 | 210847.5019 | 27.3 | 43.4
23248 | 2022-05-20 13:55 | 82.3347 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 291.0398 | μmol/L | 18.2087 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.594 | 98404.232 | 210847.6602 | 27.3 | 43.4
23258 | 2022-05-20 13:56 | 82.6675 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 290.9905 | μmol/L | 18.2087 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.596 | 98389.5569 | 210828.5893 | 27.3 | 43.4
23268 | 2022-05-20 13:56 | 83.0008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 290.9659 | μmol/L | 18.2087 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.597 | 98397.6114 | 210824.676 | 27.3 | 43.4
23278 | 2022-05-20 13:56 | 83.3342 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 290.769 | μmol/L | 18.2087 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.605 | 98432.3762 | 210823.4185 | 27.3 | 43.4
23288 | 2022-05-20 13:57 | 83.6677 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 290.8008 | μmol/L | 18.2026 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.606 | 98432.9762 | 210821.1691 | 27.3 | 43.4
23298 | 2022-05-20 13:57 | 84.0005 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 290.973 | μmol/L | 18.2026 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.599 | 98402.4263 | 210814.5872 | 27.3 | 43.4
23308 | 2022-05-20 13:57 | 84.3341 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 291.1947 | μmol/L | 18.2026 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.59 | 98352.6596 | 210824.8657 | 27.3 | 43.4
23318 | 2022-05-20 13:58 | 84.6677 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 291.4588 | μmol/L | 18.2087 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.577 | 98281.7976 | 210825.8551 | 27.3 | 43.4
23328 | 2022-05-20 13:58 | 85.0011 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 291.9352 | μmol/L | 18.2026 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.56 | 98203.0507 | 210810.9014 | 27.3 | 43.4
23338 | 2022-05-20 13:58 | 85.3346 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 292.0588 | μmol/L | 18.2026 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.555 | 98157.6797 | 210814.7835 | 27.3 | 43.4
23348 | 2022-05-20 13:59 | 85.6672 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 292.2639 | μmol/L | 18.1965 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.549 | 98129.2742 | 210806.5112 | 27.3 | 43.4
23358 | 2022-05-20 13:59 | 86.0007 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 292.331 | μmol/L | 18.2026 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.544 | 98097.1693 | 210819.6213 | 27.3 | 43.4
23368 | 2022-05-20 13:59 | 86.334 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 292.2639 | μmol/L | 18.1965 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.549 | 98143.5048 | 210811.3857 | 27.3 | 43.4
23378 | 2022-05-20 14:00 | 86.6675 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 291.8363 | μmol/L | 18.2026 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.564 | 98183.4612 | 210808.9991 | 27.3 | 43.4
23388 | 2022-05-20 14:00 | 87.0011 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 291.7375 | μmol/L | 18.2026 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.568 | 98215.213 | 210802.3197 | 27.3 | 43.4
23398 | 2022-05-20 14:00 | 87.3346 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 291.7128 | μmol/L | 18.2026 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.569 | 98224.3733 | 210806.7703 | 27.3 | 43.4
23408 | 2022-05-20 14:01 | 87.6673 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 291.9352 | μmol/L | 18.2026 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.56 | 98187.18 | 210803.3623 | 27.3 | 43.4
23418 | 2022-05-20 14:01 | 88.0007 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 292.1754 | μmol/L | 18.2087 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.548 | 98101.8013 | 210804.9507 | 27.3 | 43.4
23428 | 2022-05-20 14:01 | 88.3342 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 292.4973 | μmol/L | 18.2087 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.535 | 98056.0149 | 210795.4681 | 27.3 | 43.4
23438 | 2022-05-20 14:02 | 88.6679 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 292.8516 | μmol/L | 18.2026 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.523 | 97992.446 | 210797.8108 | 27.3 | 43.4
23448 | 2022-05-20 14:02 | 89.0013 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.1248 | μmol/L | 18.2026 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.512 | 97938.252 | 210792.4611 | 27.3 | 43.4
23458 | 2022-05-20 14:02 | 89.3339 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.3485 | μmol/L | 18.2026 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.503 | 97877.255 | 210798.1446 | 27.3 | 43.4
23468 | 2022-05-20 14:03 | 89.6673 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.7468 | μmol/L | 18.2026 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.487 | 97816.9255 | 210792.7746 | 27.3 | 43.4
23478 | 2022-05-20 14:03 | 90.0006 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.7397 | μmol/L | 18.2087 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.485 | 97806.3136 | 210785.6909 | 27.3 | 43.4
23488 | 2022-05-20 14:03 | 90.3344 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.4978 | μmol/L | 18.2026 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.497 | 97853.8404 | 210784.1893 | 27.3 | 43.4
23498 | 2022-05-20 14:04 | 90.6676 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.0006 | μmol/L | 18.2026 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.517 | 97935.4152 | 210779.8891 | 27.3 | 43.4
23508 | 2022-05-20 14:04 | 91.0005 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 292.5469 | μmol/L | 18.2087 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.533 | 98016.0145 | 210796.7886 | 27.3 | 43.4