## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_10 | O2 | 200465988 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 10:01

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-20 11:19

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
17403 | 2022-05-20 10:01 | 0 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 290.4324 | μmol/L | 17.5601 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.357 | 112861.4857 | 272908.4136 | 32.55 | 27.7
17413 | 2022-05-20 10:01 | 0.32906 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 290.2712 | μmol/L | 17.5723 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.359 | 112813.1031 | 272897.2506 | 32.55 | 27.7
17423 | 2022-05-20 10:02 | 0.66273 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 290.0797 | μmol/L | 17.5845 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.362 | 112781.743 | 272870.8453 | 32.55 | 27.7
17433 | 2022-05-20 10:02 | 0.99634 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 290.0733 | μmol/L | 17.5968 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.358 | 112718.1205 | 272831.3338 | 32.55 | 27.7
17443 | 2022-05-20 10:02 | 1.3293 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.9808 | μmol/L | 17.6151 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.355 | 112674.4435 | 272784.3844 | 32.55 | 27.7
17453 | 2022-05-20 10:03 | 1.6628 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 290.0304 | μmol/L | 17.6151 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.353 | 112636.7615 | 272759.5562 | 32.55 | 27.7
17463 | 2022-05-20 10:03 | 1.9957 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.9372 | μmol/L | 17.609 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.359 | 112434.8183 | 272730.932 | 32.55 | 27.7
17473 | 2022-05-20 10:03 | 2.3296 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.6773 | μmol/L | 17.6212 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.365 | 112468.1888 | 272696.1987 | 32.55 | 27.7
17483 | 2022-05-20 10:04 | 2.6622 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.4484 | μmol/L | 17.6273 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.372 | 112465.1389 | 272651.367 | 32.55 | 27.7
17493 | 2022-05-20 10:04 | 2.9958 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.5414 | μmol/L | 17.6334 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.366 | 112443.8274 | 272633.6599 | 32.55 | 27.7
17503 | 2022-05-20 10:04 | 3.329 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.3314 | μmol/L | 17.6457 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.37 | 112428.7591 | 272613.4221 | 32.55 | 27.7
17513 | 2022-05-20 10:05 | 3.6625 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.0721 | μmol/L | 17.6579 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.376 | 112435.0374 | 272583.0365 | 32.55 | 27.7
17523 | 2022-05-20 10:05 | 3.9959 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.9979 | μmol/L | 17.6579 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.379 | 112425.6489 | 272539.8352 | 32.55 | 27.7
17533 | 2022-05-20 10:05 | 4.3296 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.8815 | μmol/L | 17.6701 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.379 | 112408.6439 | 272512.4823 | 32.55 | 27.7
17543 | 2022-05-20 10:06 | 4.6629 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.6593 | μmol/L | 17.6701 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.388 | 112407.2359 | 272490.1514 | 32.55 | 27.7
17553 | 2022-05-20 10:06 | 4.9958 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.536 | μmol/L | 17.6701 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.393 | 112433.4016 | 272458.7243 | 32.55 | 27.7
17563 | 2022-05-20 10:06 | 5.329 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.2036 | μmol/L | 17.6823 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.402 | 112446.0002 | 272448.9174 | 32.55 | 27.7
17573 | 2022-05-20 10:07 | 5.6623 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 287.5091 | μmol/L | 17.6885 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.428 | 112563.6159 | 272406.7521 | 32.55 | 27.7
17583 | 2022-05-20 10:07 | 5.9958 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.9326 | μmol/L | 17.6762 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.456 | 112702.0239 | 272374.3419 | 32.55 | 27.7
17593 | 2022-05-20 10:07 | 6.3289 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.2422 | μmol/L | 17.7068 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.473 | 112791.5324 | 272351.6316 | 32.55 | 27.7
17603 | 2022-05-20 10:08 | 6.6627 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.31 | μmol/L | 17.7129 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.509 | 112956.097 | 272321.4889 | 32.55 | 27.7
17613 | 2022-05-20 10:08 | 6.9955 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.1581 | μmol/L | 17.719 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.513 | 112981.9838 | 272295.8675 | 32.55 | 27.7
17623 | 2022-05-20 10:08 | 7.3293 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.9637 | μmol/L | 17.719 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.521 | 112981.0273 | 272261.5412 | 32.55 | 27.7
17633 | 2022-05-20 10:09 | 7.6624 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.0851 | μmol/L | 17.719 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.516 | 112949.4549 | 272251.4775 | 32.55 | 27.7
17643 | 2022-05-20 10:09 | 7.9963 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.3993 | μmol/L | 17.7313 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.54 | 113030.148 | 272218.9367 | 32.55 | 27.7
17653 | 2022-05-20 10:09 | 8.3292 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.1999 | μmol/L | 17.7313 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.548 | 113073.8561 | 272200.498 | 32.55 | 27.7
17663 | 2022-05-20 10:10 | 8.6627 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.8673 | μmol/L | 17.7251 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.564 | 113138.7962 | 272171.5057 | 32.55 | 27.7
17673 | 2022-05-20 10:10 | 8.9962 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.4205 | μmol/L | 17.7374 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.578 | 113177.6222 | 272156.9279 | 32.55 | 27.7
17683 | 2022-05-20 10:10 | 9.329 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.2999 | μmol/L | 17.7374 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.583 | 113191.7829 | 272122.8481 | 32.55 | 27.7
17693 | 2022-05-20 10:11 | 9.6625 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.9385 | μmol/L | 17.7374 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.598 | 113255.0283 | 272110.8626 | 32.55 | 27.7
17703 | 2022-05-20 10:11 | 9.9963 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.5656 | μmol/L | 17.7496 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.609 | 113308.3483 | 272076.4067 | 32.55 | 27.7
17713 | 2022-05-20 10:11 | 10.3294 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.2712 | μmol/L | 17.7557 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.619 | 113348.9032 | 272061.2032 | 32.55 | 27.7
17723 | 2022-05-20 10:12 | 10.6624 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.1813 | μmol/L | 17.7496 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.625 | 113367.1603 | 272053.8666 | 32.55 | 27.7
17733 | 2022-05-20 10:12 | 10.996 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.7855 | μmol/L | 17.7618 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.637 | 113401.6328 | 272025.2461 | 32.55 | 27.7
17743 | 2022-05-20 10:12 | 11.3295 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.5461 | μmol/L | 17.7618 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.647 | 113435.5528 | 272005.8048 | 32.55 | 27.7
17753 | 2022-05-20 10:13 | 11.6629 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.283 | μmol/L | 17.7618 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.658 | 113464.6744 | 271981.5911 | 32.55 | 27.7
17763 | 2022-05-20 10:13 | 11.9955 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.3308 | μmol/L | 17.7618 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.656 | 113444.666 | 271965.2089 | 32.55 | 27.7
17773 | 2022-05-20 10:13 | 12.3292 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.0793 | μmol/L | 17.7802 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.66 | 113455.8567 | 271947.3456 | 32.55 | 27.7
17783 | 2022-05-20 10:14 | 12.6626 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.7396 | μmol/L | 17.7802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.674 | 113488.7853 | 271932.8902 | 32.55 | 27.7
17793 | 2022-05-20 10:14 | 12.9957 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.6264 | μmol/L | 17.774 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.681 | 113516.4289 | 271910.3594 | 32.55 | 27.7
17803 | 2022-05-20 10:14 | 13.3295 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.2151 | μmol/L | 17.8046 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.687 | 113531.2415 | 271884.9358 | 32.55 | 27.7
17813 | 2022-05-20 10:15 | 13.6624 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.4475 | μmol/L | 17.7863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.684 | 113529.6355 | 271868.3329 | 32.55 | 27.7
17823 | 2022-05-20 10:15 | 13.9962 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.0188 | μmol/L | 17.8107 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.693 | 113534.6485 | 271867.0835 | 32.55 | 27.7
17833 | 2022-05-20 10:15 | 14.3292 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.8641 | μmol/L | 17.823 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.695 | 113537.4238 | 271843.8608 | 32.55 | 27.7
17843 | 2022-05-20 10:16 | 14.6624 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.7694 | μmol/L | 17.7985 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.708 | 113580.4965 | 271828.1398 | 32.55 | 27.7
17853 | 2022-05-20 10:16 | 14.9961 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.2234 | μmol/L | 17.823 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.722 | 113656.2509 | 271799.5551 | 32.55 | 27.7
17863 | 2022-05-20 10:16 | 15.3289 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.9986 | μmol/L | 17.8107 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.736 | 113700.9911 | 271778.2159 | 32.55 | 27.7
17873 | 2022-05-20 10:17 | 15.6627 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.1528 | μmol/L | 17.7985 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.734 | 113709.3869 | 271760.8194 | 32.55 | 27.7
17883 | 2022-05-20 10:17 | 15.9958 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.8682 | μmol/L | 17.823 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.737 | 113689.1939 | 271741.8306 | 32.55 | 27.7
17893 | 2022-05-20 10:17 | 16.3295 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.7202 | μmol/L | 17.8291 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.741 | 113693.0554 | 271713.2614 | 32.55 | 27.7
17903 | 2022-05-20 10:18 | 16.6622 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.6141 | μmol/L | 17.8168 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.75 | 113714.6696 | 271728.6151 | 32.55 | 27.7
17913 | 2022-05-20 10:18 | 16.9958 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.3483 | μmol/L | 17.823 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.759 | 113727.3415 | 271682.4232 | 32.55 | 27.7
17923 | 2022-05-20 10:18 | 17.3295 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.3247 | μmol/L | 17.823 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.76 | 113749.521 | 271671.7936 | 32.55 | 27.7
17933 | 2022-05-20 10:19 | 17.6622 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.1886 | μmol/L | 17.8413 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.759 | 113726.0026 | 271651.2297 | 32.55 | 27.7
17943 | 2022-05-20 10:19 | 17.9962 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.3895 | μmol/L | 17.8291 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.755 | 113684.3181 | 271630.7032 | 32.55 | 27.7
17953 | 2022-05-20 10:19 | 18.329 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.2182 | μmol/L | 17.8352 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.76 | 113675.7709 | 271598.9644 | 32.55 | 27.7
17963 | 2022-05-20 10:20 | 18.6625 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.1535 | μmol/L | 17.8291 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.765 | 113669.7517 | 271597.1419 | 32.55 | 27.7
17973 | 2022-05-20 10:20 | 18.9959 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.2418 | μmol/L | 17.8352 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.759 | 113650.2791 | 271573.8482 | 32.55 | 27.7
17983 | 2022-05-20 10:20 | 19.3296 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.0411 | μmol/L | 17.8474 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.763 | 113640.5479 | 271550.0643 | 32.55 | 27.7
17993 | 2022-05-20 10:21 | 19.6626 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.8996 | μmol/L | 17.8474 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.769 | 113678.3871 | 271538.8625 | 32.55 | 27.7
18003 | 2022-05-20 10:21 | 19.9963 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.3283 | μmol/L | 17.878 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.782 | 113691.1933 | 271518.2219 | 32.55 | 27.7
18013 | 2022-05-20 10:21 | 20.3291 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.4874 | μmol/L | 17.8596 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.782 | 113698.4604 | 271496.4259 | 32.55 | 27.7
18023 | 2022-05-20 10:22 | 20.6629 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.3053 | μmol/L | 17.8535 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.792 | 113730.7059 | 271495.9507 | 32.55 | 27.7
18033 | 2022-05-20 10:22 | 20.9959 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.0705 | μmol/L | 17.8535 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.802 | 113769.5401 | 271484.6817 | 32.55 | 27.7
18043 | 2022-05-20 10:22 | 21.3295 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.7595 | μmol/L | 17.8596 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.813 | 113797.6837 | 271450.2202 | 32.55 | 27.7
18053 | 2022-05-20 10:23 | 21.6622 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.6423 | μmol/L | 17.8596 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.818 | 113837.1727 | 271433.9216 | 32.55 | 27.7
18063 | 2022-05-20 10:23 | 21.9959 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.273 | μmol/L | 17.878 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.827 | 113870.514 | 271425.5811 | 32.55 | 27.7
18073 | 2022-05-20 10:23 | 22.3293 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.1153 | μmol/L | 17.8719 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.836 | 113914.2378 | 271427.9619 | 32.55 | 27.7
18083 | 2022-05-20 10:24 | 22.663 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.7822 | μmol/L | 17.878 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.848 | 113931.4242 | 271406.6906 | 32.55 | 27.7
18093 | 2022-05-20 10:24 | 22.996 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.905 | μmol/L | 17.8719 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.845 | 113908.6943 | 271390.9018 | 32.55 | 27.7
18103 | 2022-05-20 10:24 | 23.3297 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.8523 | μmol/L | 17.878 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.845 | 113894.5941 | 271367.2219 | 32.55 | 27.7
18113 | 2022-05-20 10:25 | 23.6626 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.3624 | μmol/L | 17.878 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.866 | 114012.7102 | 271362.5672 | 32.55 | 27.7
18123 | 2022-05-20 10:25 | 23.9963 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.8616 | μmol/L | 17.8902 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.883 | 114084.0767 | 271350.1058 | 32.55 | 27.7
18133 | 2022-05-20 10:25 | 24.3291 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.6464 | μmol/L | 17.8963 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.89 | 114134.6997 | 271340.0991 | 32.55 | 27.7
18143 | 2022-05-20 10:26 | 24.6626 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.496 | μmol/L | 17.8841 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.901 | 114154.9851 | 271321.7492 | 32.55 | 27.7
18153 | 2022-05-20 10:26 | 24.9963 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.3739 | μmol/L | 17.8902 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.904 | 114173.5707 | 271302.422 | 32.55 | 27.7
18163 | 2022-05-20 10:26 | 25.3292 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.1531 | μmol/L | 17.9024 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.909 | 114193.5881 | 271303.6158 | 32.55 | 27.7
18173 | 2022-05-20 10:27 | 25.6622 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.2005 | μmol/L | 17.878 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.916 | 114205.8237 | 271278.9277 | 32.55 | 27.7
18183 | 2022-05-20 10:27 | 25.9957 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.1774 | μmol/L | 17.878 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.917 | 114192.4125 | 271274.8955 | 32.55 | 27.7
18193 | 2022-05-20 10:27 | 26.3296 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.9678 | μmol/L | 17.9024 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.917 | 114166.953 | 271250.9157 | 32.55 | 27.7
18203 | 2022-05-20 10:28 | 26.6623 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.0604 | μmol/L | 17.9024 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.913 | 114133.6319 | 271236.8066 | 32.55 | 27.7
18213 | 2022-05-20 10:28 | 26.996 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.2348 | μmol/L | 17.8902 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.91 | 114111.7462 | 271233.3194 | 32.55 | 27.7
18223 | 2022-05-20 10:28 | 27.3297 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.0726 | μmol/L | 17.8902 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.917 | 114128.917 | 271223.2099 | 32.55 | 27.7
18233 | 2022-05-20 10:29 | 27.6623 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.6791 | μmol/L | 17.8902 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.934 | 114210.7066 | 271199.4371 | 32.55 | 27.7
18243 | 2022-05-20 10:29 | 27.996 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.482 | μmol/L | 17.9024 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.938 | 114227.8719 | 271181.2411 | 32.55 | 27.7
18253 | 2022-05-20 10:29 | 28.3295 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.2572 | μmol/L | 17.8963 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.95 | 114288.0851 | 271166.1226 | 32.55 | 27.7
18263 | 2022-05-20 10:30 | 28.6623 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.0374 | μmol/L | 17.9085 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.955 | 114314.9432 | 271164.2038 | 32.55 | 27.7
18273 | 2022-05-20 10:30 | 28.9963 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.8421 | μmol/L | 17.8963 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.968 | 114346.98 | 271132.9662 | 32.55 | 27.7
18283 | 2022-05-20 10:30 | 29.329 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.773 | μmol/L | 17.8963 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.971 | 114359.3642 | 271129.551 | 32.55 | 27.7
18293 | 2022-05-20 10:31 | 29.6629 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.6058 | μmol/L | 17.9024 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.976 | 114393.5489 | 271112.8234 | 32.55 | 27.7
18303 | 2022-05-20 10:31 | 29.9961 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.0649 | μmol/L | 17.9147 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.995 | 114487.9309 | 271096.6021 | 32.55 | 27.7
18313 | 2022-05-20 10:31 | 30.329 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.8584 | μmol/L | 17.9147 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.004 | 114507.1932 | 271087.0596 | 32.55 | 27.7
18323 | 2022-05-20 10:32 | 30.6628 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.4337 | μmol/L | 17.9269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.018 | 114560.1801 | 271071.6667 | 32.55 | 27.7
18333 | 2022-05-20 10:32 | 30.9959 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.1363 | μmol/L | 17.9269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.031 | 114619.1207 | 271059.6548 | 32.55 | 27.7
18343 | 2022-05-20 10:32 | 31.3289 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.2171 | μmol/L | 17.9147 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.032 | 114644.9232 | 271043.8927 | 32.55 | 27.7
18353 | 2022-05-20 10:33 | 31.6628 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.2171 | μmol/L | 17.9147 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.032 | 114608.3932 | 271051.3909 | 32.55 | 27.7
18363 | 2022-05-20 10:33 | 31.9957 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.2049 | μmol/L | 17.9269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.028 | 114580.2663 | 271017.5063 | 32.55 | 27.7
18373 | 2022-05-20 10:33 | 32.3293 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.1881 | μmol/L | 17.9208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.031 | 114589.6453 | 271017.9073 | 32.55 | 27.7
18383 | 2022-05-20 10:34 | 32.6622 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.1424 | μmol/L | 17.9208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.033 | 114589.5554 | 271006.2231 | 32.55 | 27.7
18393 | 2022-05-20 10:34 | 32.9958 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.9763 | μmol/L | 17.9269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.038 | 114598.4802 | 271013.5604 | 32.55 | 27.7
18403 | 2022-05-20 10:34 | 33.3296 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.9992 | μmol/L | 17.9269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.037 | 114562.6318 | 270986.6806 | 32.55 | 27.7
18413 | 2022-05-20 10:35 | 33.6624 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.9763 | μmol/L | 17.9269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.038 | 114582.2011 | 270983.1295 | 32.55 | 27.7
18423 | 2022-05-20 10:35 | 33.9959 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.6339 | μmol/L | 17.9269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.053 | 114631.3432 | 270980.5703 | 32.55 | 27.7
18433 | 2022-05-20 10:35 | 34.329 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.5654 | μmol/L | 17.9269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.056 | 114651.7699 | 270970.5192 | 32.55 | 27.7
18443 | 2022-05-20 10:36 | 34.663 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.3026 | μmol/L | 17.9391 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.063 | 114668.0972 | 270950.8868 | 32.55 | 27.7
18453 | 2022-05-20 10:36 | 34.9956 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.0734 | μmol/L | 17.9636 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.064 | 114682.7419 | 270930.0388 | 32.55 | 27.7
18463 | 2022-05-20 10:36 | 35.3293 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.0066 | μmol/L | 17.9391 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.076 | 114726.8741 | 270929.9561 | 32.55 | 27.7
18473 | 2022-05-20 10:37 | 35.663 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.5295 | μmol/L | 17.9391 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.097 | 114847.7734 | 270906.6524 | 32.55 | 27.7
18483 | 2022-05-20 10:37 | 35.9957 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.15 | μmol/L | 17.933 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.116 | 114923.9759 | 270911.9701 | 32.55 | 27.7
18493 | 2022-05-20 10:37 | 36.3293 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.008 | μmol/L | 17.9391 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.12 | 114956.3155 | 270890.3672 | 32.55 | 27.7
18503 | 2022-05-20 10:38 | 36.6624 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.9627 | μmol/L | 17.9391 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.122 | 114932.2124 | 270901.4059 | 32.55 | 27.7
18513 | 2022-05-20 10:38 | 36.9961 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.9958 | μmol/L | 17.9513 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.116 | 114902.0732 | 270887.4135 | 32.55 | 27.7
18523 | 2022-05-20 10:38 | 37.329 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.1213 | μmol/L | 17.9391 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.115 | 114896.829 | 270861.7038 | 32.55 | 27.7
18533 | 2022-05-20 10:39 | 37.6628 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.9627 | μmol/L | 17.9391 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.122 | 114891.1815 | 270848.8924 | 32.55 | 27.7
18543 | 2022-05-20 10:39 | 37.9957 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.8661 | μmol/L | 17.9452 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.124 | 114891.1028 | 270860.5924 | 32.55 | 27.7
18553 | 2022-05-20 10:39 | 38.3295 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.8435 | μmol/L | 17.9452 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.125 | 114886.2894 | 270839.1128 | 32.55 | 27.7
18563 | 2022-05-20 10:40 | 38.6623 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.8435 | μmol/L | 17.9452 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.125 | 114892.309 | 270837.392 | 32.55 | 27.7
18573 | 2022-05-20 10:40 | 38.996 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.8435 | μmol/L | 17.9452 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.125 | 114901.7168 | 270827.7598 | 32.55 | 27.7
18583 | 2022-05-20 10:40 | 39.3296 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.4817 | μmol/L | 17.9452 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.141 | 114952.9079 | 270820.9077 | 32.55 | 27.7
18593 | 2022-05-20 10:41 | 39.6625 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.1596 | μmol/L | 17.9513 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.153 | 115026.0377 | 270806.5327 | 32.55 | 27.7
18603 | 2022-05-20 10:41 | 39.9957 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 267.9505 | μmol/L | 17.9575 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.16 | 115048.525 | 270797.641 | 32.55 | 27.7
18613 | 2022-05-20 10:41 | 40.3295 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 267.8891 | μmol/L | 17.9513 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.165 | 115075.2965 | 270780.7519 | 32.55 | 27.7
18623 | 2022-05-20 10:42 | 40.6623 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 267.7253 | μmol/L | 17.9575 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.17 | 115099.8345 | 270761.5243 | 32.55 | 27.7
18633 | 2022-05-20 10:42 | 40.996 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 267.625 | μmol/L | 17.9452 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.179 | 115129.932 | 270758.7242 | 32.55 | 27.7
18643 | 2022-05-20 10:42 | 41.3289 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 267.535 | μmol/L | 17.9452 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.183 | 115148.6397 | 270751.3139 | 32.55 | 27.7
18653 | 2022-05-20 10:43 | 41.6624 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 267.4451 | μmol/L | 17.9452 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.187 | 115143.5101 | 270746.8263 | 32.55 | 27.7
18663 | 2022-05-20 10:43 | 41.9961 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 267.2469 | μmol/L | 17.9636 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.189 | 115144.2941 | 270737.053 | 32.55 | 27.7
18673 | 2022-05-20 10:43 | 42.329 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 267.4164 | μmol/L | 17.9513 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.186 | 115142.1336 | 270724.6211 | 32.55 | 27.7
18683 | 2022-05-20 10:44 | 42.6629 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 267.3041 | μmol/L | 17.9513 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.191 | 115162.782 | 270728.9527 | 32.55 | 27.7
18693 | 2022-05-20 10:44 | 42.9959 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 267.1918 | μmol/L | 17.9513 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.196 | 115186.5386 | 270721.9865 | 32.55 | 27.7
18703 | 2022-05-20 10:44 | 43.3292 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 266.9612 | μmol/L | 17.9575 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.204 | 115204.7838 | 270705.583 | 32.55 | 27.7
18713 | 2022-05-20 10:45 | 43.6629 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 266.8715 | μmol/L | 17.9575 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.208 | 115221.1279 | 270699.6954 | 32.55 | 27.7
18723 | 2022-05-20 10:45 | 43.996 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 266.8144 | μmol/L | 17.9697 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.206 | 115218.4345 | 270676.2571 | 32.55 | 27.7
18733 | 2022-05-20 10:45 | 44.3289 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 266.6412 | μmol/L | 17.9636 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.216 | 115241.8693 | 270669.4347 | 32.55 | 27.7
18743 | 2022-05-20 10:46 | 44.6623 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 266.5577 | μmol/L | 17.9575 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.222 | 115259.9313 | 270666.7056 | 32.55 | 27.7
18753 | 2022-05-20 10:46 | 44.996 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 266.3949 | μmol/L | 17.9636 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.227 | 115283.8541 | 270665.4471 | 32.55 | 27.7
18763 | 2022-05-20 10:46 | 45.3293 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 266.2322 | μmol/L | 17.9697 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.232 | 115290.7003 | 270651.6056 | 32.55 | 27.7
18773 | 2022-05-20 10:47 | 45.6622 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 266.2384 | μmol/L | 17.9636 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.234 | 115302.5329 | 270652.7007 | 32.55 | 27.7
18783 | 2022-05-20 10:47 | 45.996 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 266.0534 | μmol/L | 17.9697 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.24 | 115314.988 | 270645.4571 | 32.55 | 27.7
18793 | 2022-05-20 10:47 | 46.3289 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 266.1266 | μmol/L | 17.9636 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.239 | 115323.8152 | 270628.9269 | 32.55 | 27.7
18803 | 2022-05-20 10:48 | 46.6626 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 266.0819 | μmol/L | 17.9636 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.241 | 115333.6525 | 270627.7535 | 32.55 | 27.7
18813 | 2022-05-20 10:48 | 46.9962 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 266.0595 | μmol/L | 17.9636 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.242 | 115321.9393 | 270624.7313 | 32.55 | 27.7
18823 | 2022-05-20 10:48 | 47.3296 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 266.1389 | μmol/L | 17.9513 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.243 | 115312.5178 | 270606.8894 | 32.55 | 27.7
18833 | 2022-05-20 10:49 | 47.6626 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 265.7855 | μmol/L | 17.9697 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.252 | 115353.7278 | 270590.3414 | 32.55 | 27.7
18843 | 2022-05-20 10:49 | 47.9959 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 265.6416 | μmol/L | 17.9575 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.263 | 115415.528 | 270591.4832 | 32.55 | 27.7
18853 | 2022-05-20 10:49 | 48.3295 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 265.352 | μmol/L | 17.9575 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.276 | 115462.7475 | 270577.6896 | 32.55 | 27.7
18863 | 2022-05-20 10:50 | 48.6626 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 265.3013 | μmol/L | 17.9636 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.276 | 115488.5445 | 270570.6412 | 32.55 | 27.7
18873 | 2022-05-20 10:50 | 48.9962 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 265.0788 | μmol/L | 17.9636 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.286 | 115514.1518 | 270567.5625 | 32.55 | 27.7
18883 | 2022-05-20 10:50 | 49.3293 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 264.7454 | μmol/L | 17.9636 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.301 | 115572.3185 | 270563.8081 | 32.55 | 27.7
18893 | 2022-05-20 10:51 | 49.6628 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 264.3276 | μmol/L | 17.9819 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.313 | 115648.6647 | 270566.6196 | 32.55 | 27.7
18903 | 2022-05-20 10:51 | 49.9956 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 264.0176 | μmol/L | 17.9819 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.327 | 115710.8019 | 270536.145 | 32.55 | 27.7
18913 | 2022-05-20 10:51 | 50.3295 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 263.891 | μmol/L | 17.9758 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.335 | 115754.7 | 270522.989 | 32.55 | 27.7
18923 | 2022-05-20 10:52 | 50.6629 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 263.8025 | μmol/L | 17.9758 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.339 | 115775.2618 | 270519.796 | 32.55 | 27.7
18933 | 2022-05-20 10:52 | 50.9956 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 263.676 | μmol/L | 17.9697 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.347 | 115798.2146 | 270515.7928 | 32.55 | 27.7
18943 | 2022-05-20 10:52 | 51.3292 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 263.4393 | μmol/L | 17.9636 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.36 | 115858.6371 | 270521.6763 | 32.55 | 27.7
18953 | 2022-05-20 10:53 | 51.6627 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 263.1685 | μmol/L | 17.9697 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.37 | 115919.5369 | 270508.5843 | 32.55 | 27.7
18963 | 2022-05-20 10:53 | 51.9962 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 262.8539 | μmol/L | 17.9758 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.382 | 115979.0294 | 270492.3011 | 32.55 | 27.7
18973 | 2022-05-20 10:53 | 52.3292 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 262.5336 | μmol/L | 17.988 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.392 | 116036.6254 | 270491.8857 | 32.55 | 27.7
18983 | 2022-05-20 10:54 | 52.6622 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 262.386 | μmol/L | 17.9819 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.401 | 116079.2123 | 270484.0766 | 32.55 | 27.7
18993 | 2022-05-20 10:54 | 52.996 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 262.2323 | μmol/L | 17.9819 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.408 | 116100.9886 | 270475.7158 | 32.55 | 27.7
19003 | 2022-05-20 10:54 | 53.3289 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 262.0286 | μmol/L | 17.988 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.415 | 116146.9016 | 270466.5797 | 32.55 | 27.7
19013 | 2022-05-20 10:55 | 53.6625 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 261.9314 | μmol/L | 17.9758 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.424 | 116191.5655 | 270441.1779 | 32.55 | 27.7
19023 | 2022-05-20 10:55 | 53.9962 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 261.7718 | μmol/L | 17.9819 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.429 | 116223.1896 | 270447.824 | 32.55 | 27.7
19033 | 2022-05-20 10:55 | 54.3294 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 261.7 | μmol/L | 17.988 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.43 | 116187.5658 | 270434.2522 | 32.55 | 27.7
19043 | 2022-05-20 10:56 | 54.6625 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 261.6781 | μmol/L | 17.988 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.431 | 116168.9137 | 270427.0247 | 32.55 | 27.7
19053 | 2022-05-20 10:56 | 54.996 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 261.6843 | μmol/L | 17.9819 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.433 | 116178.6661 | 270401.8745 | 32.55 | 27.7
19063 | 2022-05-20 10:56 | 55.3294 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 261.5311 | μmol/L | 17.9819 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.44 | 116206.8408 | 270399.2476 | 32.55 | 27.7
19073 | 2022-05-20 10:57 | 55.6629 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 261.3281 | μmol/L | 17.988 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.447 | 116266.1289 | 270394.1717 | 32.55 | 27.7
19083 | 2022-05-20 10:57 | 55.9957 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 260.9194 | μmol/L | 17.9819 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.468 | 116366.4668 | 270385.3262 | 32.55 | 27.7
19093 | 2022-05-20 10:57 | 56.3295 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 260.608 | μmol/L | 17.988 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.48 | 116422.8196 | 270372.5004 | 32.55 | 27.7
19103 | 2022-05-20 10:58 | 56.6624 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 260.4556 | μmol/L | 17.988 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.487 | 116591.9036 | 270349.3239 | 32.55 | 27.7
19113 | 2022-05-20 10:58 | 56.996 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 260.4991 | μmol/L | 17.988 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.485 | 116587.9281 | 270361.0159 | 32.55 | 27.7
19123 | 2022-05-20 10:58 | 57.3291 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 260.4121 | μmol/L | 17.988 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.489 | 116612.2518 | 270347.4632 | 32.55 | 27.7
19130 | 2022-05-20 10:59 | 57.6628 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 260.325 | μmol/L | 17.988 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.493 | 116624.1437 | 270345.4844 | 32.55 | 27.7