## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_9 | O2 | 143006660 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 10:00

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-20 14:24

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
20772 | 2022-05-20 12:33 | 0 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.3123 | μmol/L | 18.6319 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.534 | 111298.0149 | 269155.8964 | 26.25 | 74
20782 | 2022-05-20 12:33 | 0.33603 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.2699 | μmol/L | 18.6258 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.538 | 111307.1492 | 269146.9366 | 26.25 | 74
20792 | 2022-05-20 12:34 | 0.6695 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.2512 | μmol/L | 18.6198 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.541 | 111328.7631 | 269143.6409 | 26.25 | 74
20802 | 2022-05-20 12:34 | 1.0028 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.2512 | μmol/L | 18.6198 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.541 | 111336.5546 | 269132.9533 | 26.25 | 74
20812 | 2022-05-20 12:34 | 1.3359 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.333 | μmol/L | 18.6076 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.542 | 111363.7942 | 269142.3118 | 26.25 | 74
20822 | 2022-05-20 12:35 | 1.6692 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.1323 | μmol/L | 18.6198 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.546 | 111376.7222 | 269127.3638 | 26.25 | 74
20832 | 2022-05-20 12:35 | 2.0022 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.2616 | μmol/L | 18.6076 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.545 | 111398.6853 | 269132.1128 | 26.25 | 74
20842 | 2022-05-20 12:35 | 2.336 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.2667 | μmol/L | 18.6015 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.547 | 111410.9944 | 269107.8115 | 26.25 | 74
20852 | 2022-05-20 12:36 | 2.6687 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.0951 | μmol/L | 18.6076 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.552 | 111435.2901 | 269102.4985 | 26.25 | 74
20862 | 2022-05-20 12:36 | 3.0021 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.124 | μmol/L | 18.6015 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.553 | 111464.6687 | 269109.3505 | 26.25 | 74
20872 | 2022-05-20 12:36 | 3.3355 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.2295 | μmol/L | 18.5893 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.553 | 111475.9102 | 269091.2885 | 26.25 | 74
20882 | 2022-05-20 12:37 | 3.6688 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.1292 | μmol/L | 18.5954 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.555 | 111502.6227 | 269074.3555 | 26.25 | 74
20892 | 2022-05-20 12:37 | 4.0026 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.1106 | μmol/L | 18.5893 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.558 | 111512.9831 | 269076.413 | 26.25 | 74
20902 | 2022-05-20 12:37 | 4.336 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.0393 | μmol/L | 18.5893 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.561 | 111531.943 | 269075.357 | 26.25 | 74
20912 | 2022-05-20 12:38 | 4.6693 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.1686 | μmol/L | 18.5771 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.56 | 111535.0656 | 269056.7175 | 26.25 | 74
20922 | 2022-05-20 12:38 | 5.0022 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.1025 | μmol/L | 18.571 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.565 | 111552.1057 | 269055.8866 | 26.25 | 74
20932 | 2022-05-20 12:38 | 5.3357 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.0497 | μmol/L | 18.5771 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.565 | 111576.2235 | 269048.016 | 26.25 | 74
20942 | 2022-05-20 12:39 | 5.6693 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.0312 | μmol/L | 18.571 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.568 | 111582.6141 | 269044.4686 | 26.25 | 74
20952 | 2022-05-20 12:39 | 6.0029 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.9599 | μmol/L | 18.571 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.571 | 111604.4192 | 269032.2076 | 26.25 | 74
20962 | 2022-05-20 12:39 | 6.3355 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.9599 | μmol/L | 18.571 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.571 | 111619.4054 | 269034.1114 | 26.25 | 74
20972 | 2022-05-20 12:40 | 6.6692 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.0416 | μmol/L | 18.5588 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.572 | 111636.6582 | 269020.3756 | 26.25 | 74
20982 | 2022-05-20 12:40 | 7.0025 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.0179 | μmol/L | 18.5588 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.573 | 111650.3254 | 269019.5681 | 26.25 | 74
20992 | 2022-05-20 12:40 | 7.336 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.8464 | μmol/L | 18.5649 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.578 | 111655.7068 | 269019.957 | 26.25 | 74
21002 | 2022-05-20 12:41 | 7.6693 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.9043 | μmol/L | 18.5527 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.58 | 111669.8815 | 269011.7687 | 26.25 | 74
21012 | 2022-05-20 12:41 | 8.0027 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.9043 | μmol/L | 18.5527 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.58 | 111683.7932 | 269014.2767 | 26.25 | 74
21022 | 2022-05-20 12:41 | 8.3362 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.8331 | μmol/L | 18.5527 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.583 | 111703.7677 | 269006.2613 | 26.25 | 74
21032 | 2022-05-20 12:42 | 8.6689 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.8516 | μmol/L | 18.5588 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.58 | 111724.7158 | 269005.9358 | 26.25 | 74
21042 | 2022-05-20 12:42 | 9.0023 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.8858 | μmol/L | 18.5467 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.583 | 111731.4718 | 268987.442 | 26.25 | 74
21052 | 2022-05-20 12:42 | 9.3359 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.8146 | μmol/L | 18.5467 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.586 | 111748.5848 | 268990.8807 | 26.25 | 74
21062 | 2022-05-20 12:43 | 9.6695 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.8674 | μmol/L | 18.5406 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.586 | 111766.6062 | 268983.4691 | 26.25 | 74
21072 | 2022-05-20 12:43 | 10.0023 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.8146 | μmol/L | 18.5467 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.586 | 111786.2434 | 268982.7095 | 26.25 | 74
21082 | 2022-05-20 12:43 | 10.3358 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.7777 | μmol/L | 18.5345 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.592 | 111787.7081 | 268987.59 | 26.25 | 74
21092 | 2022-05-20 12:44 | 10.6692 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.9016 | μmol/L | 18.5284 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.589 | 111811.1132 | 268980.6075 | 26.25 | 74
21102 | 2022-05-20 12:44 | 11.0025 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.7777 | μmol/L | 18.5345 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.592 | 111826.8412 | 268975.2732 | 26.25 | 74
21112 | 2022-05-20 12:44 | 11.3361 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.7777 | μmol/L | 18.5345 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.592 | 111842.8661 | 268979.0563 | 26.25 | 74
21122 | 2022-05-20 12:45 | 11.6687 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.6881 | μmol/L | 18.5284 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.598 | 111862.4493 | 268965.974 | 26.25 | 74
21132 | 2022-05-20 12:45 | 12.0022 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.7645 | μmol/L | 18.5223 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.597 | 111878.1486 | 268976.2279 | 26.25 | 74
21142 | 2022-05-20 12:45 | 12.3357 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.6934 | μmol/L | 18.5223 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.6 | 111890.5724 | 268955.4623 | 26.25 | 74
21152 | 2022-05-20 12:46 | 12.6692 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.7171 | μmol/L | 18.5223 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.599 | 111913.9109 | 268959.7343 | 26.25 | 74
21162 | 2022-05-20 12:46 | 13.0023 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.6934 | μmol/L | 18.5223 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.6 | 111926.3395 | 268971.9292 | 26.25 | 74
21172 | 2022-05-20 12:46 | 13.3359 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.7751 | μmol/L | 18.5101 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.601 | 111926.0968 | 268952.714 | 26.25 | 74
21182 | 2022-05-20 12:47 | 13.6687 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.7224 | μmol/L | 18.5162 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.601 | 111930.5832 | 268943.2943 | 26.25 | 74
21192 | 2022-05-20 12:47 | 14.0022 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.733 | μmol/L | 18.504 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.605 | 111962.1002 | 268931.0535 | 26.25 | 74
21202 | 2022-05-20 12:47 | 14.3355 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.6855 | μmol/L | 18.504 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.607 | 111974.6251 | 268934.7245 | 26.25 | 74
21212 | 2022-05-20 12:48 | 14.669 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.7567 | μmol/L | 18.504 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.604 | 111995.3372 | 268929.9675 | 26.25 | 74
21222 | 2022-05-20 12:48 | 15.0024 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.733 | μmol/L | 18.504 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.605 | 111997.6644 | 268923.9566 | 26.25 | 74
21232 | 2022-05-20 12:48 | 15.3358 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.6144 | μmol/L | 18.504 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.61 | 112015.64 | 268919.8701 | 26.25 | 74
21242 | 2022-05-20 12:49 | 15.6693 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.6908 | μmol/L | 18.4979 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.609 | 112026.3846 | 268933.619 | 26.25 | 74
21252 | 2022-05-20 12:49 | 16.002 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.596 | μmol/L | 18.4979 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.613 | 112036.0815 | 268920.545 | 26.25 | 74
21262 | 2022-05-20 12:49 | 16.3356 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.6013 | μmol/L | 18.4918 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.615 | 112049.662 | 268918.0646 | 26.25 | 74
21272 | 2022-05-20 12:50 | 16.6694 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.5776 | μmol/L | 18.4918 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.616 | 112070.2602 | 268911.2399 | 26.25 | 74
21282 | 2022-05-20 12:50 | 17.0023 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.6067 | μmol/L | 18.4857 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.617 | 112073.8299 | 268906.7015 | 26.25 | 74
21292 | 2022-05-20 12:50 | 17.3359 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.5065 | μmol/L | 18.4918 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.619 | 112090.9018 | 268913.1943 | 26.25 | 74
21302 | 2022-05-20 12:51 | 17.6693 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.4592 | μmol/L | 18.4918 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.621 | 112099.0862 | 268900.7289 | 26.25 | 74
21312 | 2022-05-20 12:51 | 18.002 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.583 | μmol/L | 18.4857 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.618 | 112126.3867 | 268886.4415 | 26.25 | 74
21322 | 2022-05-20 12:51 | 18.3354 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.4935 | μmol/L | 18.4796 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.624 | 112132.0184 | 268899.5972 | 26.25 | 74
21332 | 2022-05-20 12:52 | 18.6688 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.5409 | μmol/L | 18.4796 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.622 | 112149.5375 | 268893.6646 | 26.25 | 74
21342 | 2022-05-20 12:52 | 19.0024 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.4989 | μmol/L | 18.4736 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.626 | 112163.8356 | 268897.1242 | 26.25 | 74
21352 | 2022-05-20 12:52 | 19.3358 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.5409 | μmol/L | 18.4796 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.622 | 112178.8436 | 268893.7658 | 26.25 | 74
21362 | 2022-05-20 12:53 | 19.6692 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.4698 | μmol/L | 18.4796 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.625 | 112177.2226 | 268883.3193 | 26.25 | 74
21372 | 2022-05-20 12:53 | 20.0026 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.599 | μmol/L | 18.4675 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.624 | 112198.8742 | 268879.5436 | 26.25 | 74
21382 | 2022-05-20 12:53 | 20.336 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.3805 | μmol/L | 18.4736 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.631 | 112203.0855 | 268895.3091 | 26.25 | 74
21392 | 2022-05-20 12:54 | 20.6694 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.4805 | μmol/L | 18.4675 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.629 | 112199.427 | 268863.8932 | 26.25 | 74
21402 | 2022-05-20 12:54 | 21.0028 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.5516 | μmol/L | 18.4675 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.626 | 112202.8881 | 268874.9686 | 26.25 | 74
21412 | 2022-05-20 12:54 | 21.3355 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.4568 | μmol/L | 18.4675 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.63 | 112215.0084 | 268872.9384 | 26.25 | 74
21422 | 2022-05-20 12:55 | 21.6689 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.4148 | μmol/L | 18.4614 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.634 | 112236.3333 | 268867.0911 | 26.25 | 74
21432 | 2022-05-20 12:55 | 22.0023 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.4148 | μmol/L | 18.4614 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.634 | 112243.1764 | 268849.0859 | 26.25 | 74
21442 | 2022-05-20 12:55 | 22.3354 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.4148 | μmol/L | 18.4614 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.634 | 112265.1929 | 268845.5558 | 26.25 | 74
21452 | 2022-05-20 12:56 | 22.6691 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.3202 | μmol/L | 18.4614 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.638 | 112288.1471 | 268846.9559 | 26.25 | 74
21462 | 2022-05-20 12:56 | 23.0023 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.4676 | μmol/L | 18.4553 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.634 | 112287.6316 | 268827.8494 | 26.25 | 74
21472 | 2022-05-20 12:56 | 23.3357 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.3912 | μmol/L | 18.4614 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.635 | 112304.7564 | 268851.2963 | 26.25 | 74
21482 | 2022-05-20 12:57 | 23.6691 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.3492 | μmol/L | 18.4553 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.639 | 112322.7478 | 268845.6002 | 26.25 | 74
21492 | 2022-05-20 12:57 | 24.0025 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.4256 | μmol/L | 18.4492 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.638 | 112331.0902 | 268845.813 | 26.25 | 74
21502 | 2022-05-20 12:57 | 24.3356 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.3836 | μmol/L | 18.4431 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.642 | 112339.845 | 268836.9051 | 26.25 | 74
21512 | 2022-05-20 12:58 | 24.669 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.3836 | μmol/L | 18.4431 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.642 | 112345.2229 | 268831.0446 | 26.25 | 74
21522 | 2022-05-20 12:58 | 25.0026 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.4073 | μmol/L | 18.4431 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.641 | 112371.9975 | 268833.7253 | 26.25 | 74
21532 | 2022-05-20 12:58 | 25.3359 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.4364 | μmol/L | 18.437 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.642 | 112374.6889 | 268819.1889 | 26.25 | 74
21542 | 2022-05-20 12:59 | 25.6692 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.3126 | μmol/L | 18.4431 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.645 | 112399.9224 | 268826.4601 | 26.25 | 74
21552 | 2022-05-20 12:59 | 26.0026 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.2944 | μmol/L | 18.437 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.648 | 112404.1416 | 268806.4791 | 26.25 | 74
21562 | 2022-05-20 12:59 | 26.3359 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.2653 | μmol/L | 18.4431 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.647 | 112423.0807 | 268800.6959 | 26.25 | 74
21572 | 2022-05-20 13:00 | 26.6693 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.3471 | μmol/L | 18.4309 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.648 | 112430.4707 | 268783.665 | 26.25 | 74
21582 | 2022-05-20 13:00 | 27.0027 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.2944 | μmol/L | 18.437 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.648 | 112444.2201 | 268779.8453 | 26.25 | 74
21592 | 2022-05-20 13:00 | 27.3362 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.3471 | μmol/L | 18.4309 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.648 | 112457.4186 | 268775.949 | 26.25 | 74
21602 | 2022-05-20 13:01 | 27.6688 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.2998 | μmol/L | 18.4309 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.65 | 112474.6277 | 268770.5064 | 26.25 | 74
21612 | 2022-05-20 13:01 | 28.0024 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.1997 | μmol/L | 18.437 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.652 | 112465.8287 | 268756.708 | 26.25 | 74
21622 | 2022-05-20 13:01 | 28.3358 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.3525 | μmol/L | 18.4248 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.65 | 112482.1636 | 268760.8763 | 26.25 | 74
21632 | 2022-05-20 13:02 | 28.6693 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.2998 | μmol/L | 18.4309 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.65 | 112482.2092 | 268755.6479 | 26.25 | 74
21642 | 2022-05-20 13:02 | 29.0028 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.3525 | μmol/L | 18.4248 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.65 | 112484.1863 | 268743.2865 | 26.25 | 74
21652 | 2022-05-20 13:02 | 29.3355 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.2342 | μmol/L | 18.4248 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.655 | 112500.0536 | 268750.3779 | 26.25 | 74
21662 | 2022-05-20 13:03 | 29.669 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.1633 | μmol/L | 18.4248 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.658 | 112513.7992 | 268742.7367 | 26.25 | 74
21672 | 2022-05-20 13:03 | 30.0023 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.2106 | μmol/L | 18.4248 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.656 | 112523.9789 | 268738.9107 | 26.25 | 74
21682 | 2022-05-20 13:03 | 30.3359 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.245 | μmol/L | 18.4126 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.659 | 112526.0853 | 268733.1891 | 26.25 | 74
21692 | 2022-05-20 13:04 | 30.6695 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.2687 | μmol/L | 18.4126 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.658 | 112530.1007 | 268730.1924 | 26.25 | 74
21702 | 2022-05-20 13:04 | 31.0022 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.216 | μmol/L | 18.4187 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.658 | 112547.2113 | 268717.0453 | 26.25 | 74
21712 | 2022-05-20 13:04 | 31.336 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.1214 | μmol/L | 18.4187 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.662 | 112566.9898 | 268730.2669 | 26.25 | 74
21722 | 2022-05-20 13:05 | 31.6693 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.1978 | μmol/L | 18.4126 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.661 | 112578.7498 | 268704.6299 | 26.25 | 74
21732 | 2022-05-20 13:05 | 32.0027 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.145 | μmol/L | 18.4187 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.661 | 112579.6193 | 268695.0317 | 26.25 | 74
21742 | 2022-05-20 13:05 | 32.3361 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.1505 | μmol/L | 18.4126 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.663 | 112591.2242 | 268687.7564 | 26.25 | 74
21752 | 2022-05-20 13:06 | 32.6688 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.1268 | μmol/L | 18.4126 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.664 | 112593.4882 | 268681.4842 | 26.25 | 74
21762 | 2022-05-20 13:06 | 33.0023 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.1323 | μmol/L | 18.4066 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.666 | 112602.6034 | 268682.8782 | 26.25 | 74
21772 | 2022-05-20 13:06 | 33.336 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.1323 | μmol/L | 18.4066 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.666 | 112605.3666 | 268692.2988 | 26.25 | 74
21782 | 2022-05-20 13:07 | 33.6695 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.0796 | μmol/L | 18.4126 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.666 | 112599.308 | 268674.7419 | 26.25 | 74
21792 | 2022-05-20 13:07 | 34.0028 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.0614 | μmol/L | 18.4066 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.669 | 112630.014 | 268659.5102 | 26.25 | 74
21802 | 2022-05-20 13:07 | 34.3356 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.0668 | μmol/L | 18.4005 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.671 | 112596.5963 | 268647.5816 | 26.25 | 74
21812 | 2022-05-20 13:08 | 34.6693 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.0323 | μmol/L | 18.4126 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.668 | 112608.7697 | 268656.7154 | 26.25 | 74
21822 | 2022-05-20 13:08 | 35.0028 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.0377 | μmol/L | 18.4066 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.67 | 112630.594 | 268644.253 | 26.25 | 74
21832 | 2022-05-20 13:08 | 35.3357 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.0904 | μmol/L | 18.4005 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.67 | 112640.525 | 268639.1114 | 26.25 | 74
21842 | 2022-05-20 13:09 | 35.6691 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.9251 | μmol/L | 18.4005 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.677 | 112658.5984 | 268647.4373 | 26.25 | 74
21852 | 2022-05-20 13:09 | 36.0025 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.9959 | μmol/L | 18.4005 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.674 | 112667.9219 | 268636.2576 | 26.25 | 74
21862 | 2022-05-20 13:09 | 36.3358 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.9487 | μmol/L | 18.4005 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.676 | 112669.7358 | 268630.0585 | 26.25 | 74
21872 | 2022-05-20 13:10 | 36.6693 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.025 | μmol/L | 18.3944 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.675 | 112681.8188 | 268625.3884 | 26.25 | 74
21882 | 2022-05-20 13:10 | 37.0026 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.0486 | μmol/L | 18.3944 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.674 | 112695.3382 | 268614.8871 | 26.25 | 74
21892 | 2022-05-20 13:10 | 37.3355 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.025 | μmol/L | 18.3944 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.675 | 112703.5985 | 268608.9453 | 26.25 | 74
21902 | 2022-05-20 13:11 | 37.6689 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.025 | μmol/L | 18.3944 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.675 | 112708.234 | 268606.2533 | 26.25 | 74
21912 | 2022-05-20 13:11 | 38.0025 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.0068 | μmol/L | 18.3883 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.678 | 112715.6435 | 268592.5492 | 26.25 | 74
21922 | 2022-05-20 13:11 | 38.3358 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.9778 | μmol/L | 18.3944 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.677 | 112721.7768 | 268580.5483 | 26.25 | 74
21932 | 2022-05-20 13:12 | 38.6693 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.9596 | μmol/L | 18.3883 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.68 | 112736.4332 | 268582.5418 | 26.25 | 74
21942 | 2022-05-20 13:12 | 39.0027 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.936 | μmol/L | 18.3883 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.681 | 112747.4678 | 268568.2619 | 26.25 | 74
21952 | 2022-05-20 13:12 | 39.3361 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.9596 | μmol/L | 18.3883 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.68 | 112743.1328 | 268560.8057 | 26.25 | 74
21962 | 2022-05-20 13:13 | 39.6689 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.818 | μmol/L | 18.3883 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.686 | 112753.9315 | 268549.2692 | 26.25 | 74
21972 | 2022-05-20 13:13 | 40.0024 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.9124 | μmol/L | 18.3883 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.682 | 112768.8711 | 268550.8603 | 26.25 | 74
21982 | 2022-05-20 13:13 | 40.336 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.9124 | μmol/L | 18.3883 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.682 | 112764.7389 | 268535.7984 | 26.25 | 74
21992 | 2022-05-20 13:14 | 40.6695 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.8997 | μmol/L | 18.3761 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.687 | 112773.7023 | 268526.7975 | 26.25 | 74
22002 | 2022-05-20 13:14 | 41.0021 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.8234 | μmol/L | 18.3822 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.688 | 112785.4228 | 268532.0615 | 26.25 | 74
22012 | 2022-05-20 13:14 | 41.3354 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.8761 | μmol/L | 18.3761 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.688 | 112797.3666 | 268522.0483 | 26.25 | 74
22022 | 2022-05-20 13:15 | 41.6689 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.8761 | μmol/L | 18.3761 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.688 | 112805.451 | 268502.3906 | 26.25 | 74
22032 | 2022-05-20 13:15 | 42.0024 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.8053 | μmol/L | 18.3761 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.691 | 112814.2024 | 268509.3552 | 26.25 | 74
22042 | 2022-05-20 13:15 | 42.3359 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.6583 | μmol/L | 18.3822 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.695 | 112774.5188 | 268478.9013 | 26.25 | 74
22052 | 2022-05-20 13:16 | 42.6692 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.8289 | μmol/L | 18.3761 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.69 | 112779.0117 | 268482.4139 | 26.25 | 74
22062 | 2022-05-20 13:16 | 43.0025 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.9052 | μmol/L | 18.37 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.689 | 112787.122 | 268476.553 | 26.25 | 74
22072 | 2022-05-20 13:16 | 43.3361 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.8108 | μmol/L | 18.37 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.693 | 112796.5887 | 268470.7174 | 26.25 | 74
22082 | 2022-05-20 13:17 | 43.6693 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.7636 | μmol/L | 18.37 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.695 | 112809.288 | 268473.8049 | 26.25 | 74
22092 | 2022-05-20 13:17 | 44.0025 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.8816 | μmol/L | 18.37 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.69 | 112811.3677 | 268461.3518 | 26.25 | 74
22102 | 2022-05-20 13:17 | 44.3361 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.7872 | μmol/L | 18.37 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.694 | 112816.1676 | 268459.7912 | 26.25 | 74
22112 | 2022-05-20 13:18 | 44.6695 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.74 | μmol/L | 18.37 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.696 | 112816.6477 | 268450.2898 | 26.25 | 74
22122 | 2022-05-20 13:18 | 45.0028 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.7872 | μmol/L | 18.37 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.694 | 112804.0158 | 268436.8468 | 26.25 | 74
22132 | 2022-05-20 13:18 | 45.3362 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.7927 | μmol/L | 18.3639 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.696 | 112815.7526 | 268426.413 | 26.25 | 74
22142 | 2022-05-20 13:19 | 45.6688 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.7455 | μmol/L | 18.3639 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.698 | 112796.3961 | 268429.1641 | 26.25 | 74
22152 | 2022-05-20 13:19 | 46.0024 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.8399 | μmol/L | 18.3639 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.694 | 112794.3022 | 268422.5872 | 26.25 | 74
22162 | 2022-05-20 13:19 | 46.3359 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.7691 | μmol/L | 18.3639 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.697 | 112795.3695 | 268408.8119 | 26.25 | 74
22172 | 2022-05-20 13:20 | 46.6692 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.869 | μmol/L | 18.3578 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.695 | 112792.3549 | 268391.8892 | 26.25 | 74
22182 | 2022-05-20 13:20 | 47.0026 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.8108 | μmol/L | 18.37 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.693 | 112791.7917 | 268396.8731 | 26.25 | 74
22192 | 2022-05-20 13:20 | 47.3361 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.7927 | μmol/L | 18.3639 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.696 | 112799.2405 | 268379.3717 | 26.25 | 74
22202 | 2022-05-20 13:21 | 47.6691 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.7219 | μmol/L | 18.3639 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.699 | 112803.115 | 268375.3316 | 26.25 | 74
22212 | 2022-05-20 13:21 | 48.0026 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.8981 | μmol/L | 18.3517 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.696 | 112798.1232 | 268360.946 | 26.25 | 74
22222 | 2022-05-20 13:21 | 48.3361 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.7038 | μmol/L | 18.3578 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.702 | 112815.235 | 268369.9433 | 26.25 | 74
22232 | 2022-05-20 13:22 | 48.6695 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.7691 | μmol/L | 18.3639 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.697 | 112818.392 | 268355.9824 | 26.25 | 74
22242 | 2022-05-20 13:22 | 49.0021 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.6748 | μmol/L | 18.3639 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.701 | 112817.2644 | 268355.7912 | 26.25 | 74
22252 | 2022-05-20 13:22 | 49.3355 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.7274 | μmol/L | 18.3578 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.701 | 112814.2193 | 268345.9885 | 26.25 | 74
22262 | 2022-05-20 13:23 | 49.6689 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.6803 | μmol/L | 18.3578 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.703 | 112818.1319 | 268344.5032 | 26.25 | 74
22272 | 2022-05-20 13:23 | 50.0023 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.8273 | μmol/L | 18.3517 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.699 | 112827.0183 | 268345.3832 | 26.25 | 74
22282 | 2022-05-20 13:23 | 50.336 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.7038 | μmol/L | 18.3578 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.702 | 112819.8283 | 268335.6107 | 26.25 | 74
22292 | 2022-05-20 13:24 | 50.6693 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.751 | μmol/L | 18.3578 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.7 | 112836.2525 | 268337.8576 | 26.25 | 74
22302 | 2022-05-20 13:24 | 51.0021 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.7565 | μmol/L | 18.3517 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.702 | 112835.8457 | 268318.7546 | 26.25 | 74
22312 | 2022-05-20 13:24 | 51.3359 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.7093 | μmol/L | 18.3517 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.704 | 112842.2686 | 268312.9646 | 26.25 | 74
22322 | 2022-05-20 13:25 | 51.6693 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.7149 | μmol/L | 18.3456 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.706 | 112853.3886 | 268305.087 | 26.25 | 74
22332 | 2022-05-20 13:25 | 52.0028 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.6622 | μmol/L | 18.3517 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.706 | 112852.3249 | 268290.9924 | 26.25 | 74
22342 | 2022-05-20 13:25 | 52.3354 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.5679 | μmol/L | 18.3517 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.71 | 112863.1714 | 268279.2333 | 26.25 | 74
22352 | 2022-05-20 13:26 | 52.6689 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.6677 | μmol/L | 18.3456 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.708 | 112873.7303 | 268275.4128 | 26.25 | 74
22362 | 2022-05-20 13:26 | 53.0021 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.7023 | μmol/L | 18.3335 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.711 | 112892.0607 | 268282.7802 | 26.25 | 74
22372 | 2022-05-20 13:26 | 53.3356 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.6441 | μmol/L | 18.3456 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.709 | 112877.436 | 268268.8035 | 26.25 | 74
22382 | 2022-05-20 13:27 | 53.6688 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.6496 | μmol/L | 18.3395 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.711 | 112893.9003 | 268270.0459 | 26.25 | 74
22392 | 2022-05-20 13:27 | 54.0022 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.6261 | μmol/L | 18.3395 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.712 | 112904.1946 | 268258.2681 | 26.25 | 74
22402 | 2022-05-20 13:27 | 54.3356 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.6968 | μmol/L | 18.3395 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.709 | 112908.3519 | 268251.0515 | 26.25 | 74
22412 | 2022-05-20 13:28 | 54.669 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.4847 | μmol/L | 18.3395 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.718 | 112927.8722 | 268251.0611 | 26.25 | 74
22422 | 2022-05-20 13:28 | 55.0024 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.6261 | μmol/L | 18.3395 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.712 | 112948.859 | 268246.3229 | 26.25 | 74
22432 | 2022-05-20 13:28 | 55.336 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.385 | μmol/L | 18.3456 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.72 | 112967.7664 | 268240.2869 | 26.25 | 74
22442 | 2022-05-20 13:29 | 55.6695 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.4847 | μmol/L | 18.3395 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.718 | 112972.4269 | 268219.7488 | 26.25 | 74
22452 | 2022-05-20 13:29 | 56.0028 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.3905 | μmol/L | 18.3395 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.722 | 112989.7934 | 268221.6268 | 26.25 | 74
22462 | 2022-05-20 13:29 | 56.3354 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.4431 | μmol/L | 18.3335 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.722 | 112984.2113 | 268217.6679 | 26.25 | 74
22472 | 2022-05-20 13:30 | 56.669 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.2493 | μmol/L | 18.3395 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.728 | 113002.1829 | 268217.8405 | 26.25 | 74
22482 | 2022-05-20 13:30 | 57.0024 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.2604 | μmol/L | 18.3274 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.732 | 113032.5548 | 268213.059 | 26.25 | 74
22492 | 2022-05-20 13:30 | 57.3359 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.1081 | μmol/L | 18.3395 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.734 | 113060.3275 | 268211.4077 | 26.25 | 74
22502 | 2022-05-20 13:31 | 57.6692 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.9436 | μmol/L | 18.3395 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.741 | 113079.3158 | 268204.1546 | 26.25 | 74
22512 | 2022-05-20 13:31 | 58.0028 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.0432 | μmol/L | 18.3335 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.739 | 113096.3605 | 268197.7591 | 26.25 | 74
22522 | 2022-05-20 13:31 | 58.3355 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.0667 | μmol/L | 18.3335 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.738 | 113120.2218 | 268200.3886 | 26.25 | 74
22532 | 2022-05-20 13:32 | 58.6695 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.9022 | μmol/L | 18.3335 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.745 | 113136.2445 | 268183.9358 | 26.25 | 74
22542 | 2022-05-20 13:32 | 59.0022 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.9547 | μmol/L | 18.3274 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.745 | 113137.861 | 268177.7957 | 26.25 | 74
22552 | 2022-05-20 13:32 | 59.3356 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.9312 | μmol/L | 18.3274 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.746 | 113180.7341 | 268180.9351 | 26.25 | 74
22562 | 2022-05-20 13:33 | 59.6691 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.7959 | μmol/L | 18.3213 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.754 | 113180.8696 | 268170.1258 | 26.25 | 74
22572 | 2022-05-20 13:33 | 60.0024 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.7668 | μmol/L | 18.3274 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.753 | 113192.1129 | 268170.7022 | 26.25 | 74
22582 | 2022-05-20 13:33 | 60.3359 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.7668 | μmol/L | 18.3274 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.753 | 113211.7849 | 268156.5739 | 26.25 | 74
22592 | 2022-05-20 13:34 | 60.6693 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.5556 | μmol/L | 18.3274 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.762 | 113253.225 | 268172.2819 | 26.25 | 74
22602 | 2022-05-20 13:34 | 61.0027 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.5846 | μmol/L | 18.3213 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.763 | 113279.0379 | 268150.5215 | 26.25 | 74
22612 | 2022-05-20 13:34 | 61.3354 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.4205 | μmol/L | 18.3213 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.77 | 113325.7195 | 268148.4602 | 26.25 | 74
22622 | 2022-05-20 13:35 | 61.6688 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.2164 | μmol/L | 18.3395 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.772 | 113338.1243 | 268129.9877 | 26.25 | 74
22632 | 2022-05-20 13:35 | 62.0023 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.1049 | μmol/L | 18.3335 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.779 | 113380.469 | 268136.2764 | 26.25 | 74
22642 | 2022-05-20 13:35 | 62.3358 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.93 | μmol/L | 18.3456 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.782 | 113398.702 | 268119.3157 | 26.25 | 74
22652 | 2022-05-20 13:36 | 62.6693 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.8186 | μmol/L | 18.3395 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.789 | 113449.2193 | 268114.9943 | 26.25 | 74
22662 | 2022-05-20 13:36 | 63.0022 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.6839 | μmol/L | 18.3335 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.797 | 113488.8003 | 268110.0968 | 26.25 | 74
22672 | 2022-05-20 13:36 | 63.3357 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.4215 | μmol/L | 18.3395 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.806 | 113538.2017 | 268107.1342 | 26.25 | 74
22682 | 2022-05-20 13:37 | 63.6689 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.3804 | μmol/L | 18.3335 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.81 | 113556.6653 | 268101.3666 | 26.25 | 74
22692 | 2022-05-20 13:37 | 64.0024 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.3627 | μmol/L | 18.3274 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.813 | 113577.1944 | 268086.9787 | 26.25 | 74
22702 | 2022-05-20 13:37 | 64.3355 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.2228 | μmol/L | 18.3274 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.819 | 113621.7368 | 268078.1908 | 26.25 | 74
22712 | 2022-05-20 13:38 | 64.6692 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.1118 | μmol/L | 18.3213 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.826 | 113667.9037 | 268080.7 | 26.25 | 74
22722 | 2022-05-20 13:38 | 65.0026 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.1118 | μmol/L | 18.3213 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.826 | 113685.2899 | 268083.2638 | 26.25 | 74
22732 | 2022-05-20 13:38 | 65.3362 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.042 | μmol/L | 18.3213 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.829 | 113731.3338 | 268088.7718 | 26.25 | 74
22742 | 2022-05-20 13:39 | 65.6687 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.8846 | μmol/L | 18.3152 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.838 | 113752.6806 | 268072.2061 | 26.25 | 74
22752 | 2022-05-20 13:39 | 66.0022 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.8091 | μmol/L | 18.3213 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.839 | 113755.1132 | 268057.2771 | 26.25 | 74
22762 | 2022-05-20 13:39 | 66.3358 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.6055 | μmol/L | 18.3152 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.85 | 113789.5108 | 268058.3187 | 26.25 | 74
22772 | 2022-05-20 13:40 | 66.6691 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.4372 | μmol/L | 18.3213 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.855 | 113855.7165 | 268064.7373 | 26.25 | 74
22782 | 2022-05-20 13:40 | 67.0027 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.1642 | μmol/L | 18.3152 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.869 | 113921.3985 | 268041.9984 | 26.25 | 74
22792 | 2022-05-20 13:40 | 67.3354 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.089 | μmol/L | 18.3213 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.87 | 113962.8292 | 268025.1866 | 26.25 | 74
22802 | 2022-05-20 13:41 | 67.6688 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.9324 | μmol/L | 18.3152 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.879 | 114002.2052 | 268025.1125 | 26.25 | 74
22812 | 2022-05-20 13:41 | 68.0021 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.7239 | μmol/L | 18.3152 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.888 | 114049.1533 | 268013.2805 | 26.25 | 74
22822 | 2022-05-20 13:41 | 68.3358 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.5969 | μmol/L | 18.3274 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.889 | 114086.0207 | 268004.8702 | 26.25 | 74
22832 | 2022-05-20 13:42 | 68.6692 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.4637 | μmol/L | 18.3213 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.897 | 114138.2944 | 268011.8098 | 26.25 | 74
22842 | 2022-05-20 13:42 | 69.0025 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.2557 | μmol/L | 18.3213 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.906 | 114192.9095 | 268014.1966 | 26.25 | 74
22852 | 2022-05-20 13:42 | 69.3359 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.094 | μmol/L | 18.3213 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.913 | 114232.6294 | 267996.1715 | 26.25 | 74
22862 | 2022-05-20 13:43 | 69.6693 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.9037 | μmol/L | 18.3274 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.919 | 114246.8862 | 267987.7197 | 26.25 | 74
22872 | 2022-05-20 13:43 | 70.0027 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.9094 | μmol/L | 18.3213 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.921 | 114262.4345 | 267987.8999 | 26.25 | 74
22882 | 2022-05-20 13:43 | 70.3362 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.748 | μmol/L | 18.3213 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.928 | 114302.3975 | 267989.4475 | 26.25 | 74
22892 | 2022-05-20 13:44 | 70.6688 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.7997 | μmol/L | 18.3152 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.928 | 114331.9444 | 267978.1659 | 26.25 | 74
22902 | 2022-05-20 13:44 | 71.0029 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.7075 | μmol/L | 18.3152 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.932 | 114339.3625 | 267960.8419 | 26.25 | 74
22912 | 2022-05-20 13:44 | 71.3355 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.6614 | μmol/L | 18.3152 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.934 | 114365.6453 | 267959.6913 | 26.25 | 74
22922 | 2022-05-20 13:45 | 71.6688 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.4542 | μmol/L | 18.3152 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.943 | 114394.2179 | 267952.8002 | 26.25 | 74
22932 | 2022-05-20 13:45 | 72.0024 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.4138 | μmol/L | 18.3091 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.947 | 114431.7544 | 267933.3598 | 26.25 | 74
22942 | 2022-05-20 13:45 | 72.3357 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.2528 | μmol/L | 18.3091 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.954 | 114457.79 | 267943.482 | 26.25 | 74
22952 | 2022-05-20 13:46 | 72.6693 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.0172 | μmol/L | 18.3152 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.962 | 114488.1054 | 267936.1421 | 26.25 | 74
22962 | 2022-05-20 13:46 | 73.0027 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.9713 | μmol/L | 18.3152 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.964 | 114533.7099 | 267936.1072 | 26.25 | 74
22972 | 2022-05-20 13:46 | 73.3357 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.8392 | μmol/L | 18.3091 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.972 | 114564.1799 | 267933.6354 | 26.25 | 74
22982 | 2022-05-20 13:47 | 73.6692 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.7015 | μmol/L | 18.3091 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.978 | 114605.6242 | 267911.3235 | 26.25 | 74
22992 | 2022-05-20 13:47 | 74.0027 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.65 | μmol/L | 18.3152 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.978 | 114641.8142 | 267907.2079 | 26.25 | 74
23002 | 2022-05-20 13:47 | 74.3354 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.4723 | μmol/L | 18.3091 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.988 | 114684.0224 | 267898.1176 | 26.25 | 74
23012 | 2022-05-20 13:48 | 74.669 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.289 | μmol/L | 18.3091 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.996 | 114726.8458 | 267885.0769 | 26.25 | 74
23022 | 2022-05-20 13:48 | 75.0026 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.2661 | μmol/L | 18.3091 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.997 | 114760.7896 | 267889.0795 | 26.25 | 74
23032 | 2022-05-20 13:48 | 75.3362 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.0602 | μmol/L | 18.3091 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.006 | 114772.2592 | 267880.8448 | 26.25 | 74
23042 | 2022-05-20 13:49 | 75.6691 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.0202 | μmol/L | 18.303 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.01 | 114807.9506 | 267860.5493 | 26.25 | 74
23052 | 2022-05-20 13:49 | 76.0024 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.9001 | μmol/L | 18.3091 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.013 | 114851.976 | 267868.0506 | 26.25 | 74
23062 | 2022-05-20 13:49 | 76.3359 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.8145 | μmol/L | 18.303 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.019 | 114874.9372 | 267864.9423 | 26.25 | 74
23072 | 2022-05-20 13:50 | 76.6691 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.6603 | μmol/L | 18.2969 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.028 | 114917.7008 | 267855.4115 | 26.25 | 74
23082 | 2022-05-20 13:50 | 77.0025 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.5177 | μmol/L | 18.303 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.032 | 114949.4733 | 267850.5087 | 26.25 | 74
23092 | 2022-05-20 13:50 | 77.336 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.4493 | μmol/L | 18.303 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.035 | 114976.2369 | 267834.3849 | 26.25 | 74
23102 | 2022-05-20 13:51 | 77.669 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.4721 | μmol/L | 18.303 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.034 | 115000.3046 | 267846.1492 | 26.25 | 74
23112 | 2022-05-20 13:51 | 78.0023 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.2897 | μmol/L | 18.303 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.042 | 115017.6487 | 267827.3158 | 26.25 | 74
23122 | 2022-05-20 13:51 | 78.3362 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.2669 | μmol/L | 18.303 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.043 | 115050.0188 | 267826.2087 | 26.25 | 74
23132 | 2022-05-20 13:52 | 78.6688 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.2043 | μmol/L | 18.2969 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.048 | 115077.3404 | 267819.9047 | 26.25 | 74
23142 | 2022-05-20 13:52 | 79.0022 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.9708 | μmol/L | 18.303 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.056 | 115126.6343 | 267812.9059 | 26.25 | 74
23152 | 2022-05-20 13:52 | 79.3355 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.8628 | μmol/L | 18.2969 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.063 | 115178.925 | 267814.6589 | 26.25 | 74
23162 | 2022-05-20 13:53 | 79.669 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.6979 | μmol/L | 18.303 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.068 | 115215.9089 | 267808.0889 | 26.25 | 74
23172 | 2022-05-20 13:53 | 80.0025 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.5162 | μmol/L | 18.303 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.076 | 115245.0265 | 267795.6367 | 26.25 | 74
23182 | 2022-05-20 13:53 | 80.336 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.4481 | μmol/L | 18.303 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.079 | 115272.2184 | 267796.6374 | 26.25 | 74
23192 | 2022-05-20 13:54 | 80.6695 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.3403 | μmol/L | 18.2969 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.086 | 115304.6616 | 267788.4245 | 26.25 | 74
23202 | 2022-05-20 13:54 | 81.0029 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.3177 | μmol/L | 18.2969 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.087 | 115339.9477 | 267779.5914 | 26.25 | 74
23212 | 2022-05-20 13:54 | 81.3355 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.2269 | μmol/L | 18.2969 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.091 | 115381.1577 | 267778.1124 | 26.25 | 74
23222 | 2022-05-20 13:55 | 81.669 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.9776 | μmol/L | 18.2969 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.102 | 115406.2585 | 267775.1452 | 26.25 | 74
23232 | 2022-05-20 13:55 | 82.0025 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.8133 | μmol/L | 18.303 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.107 | 115452.4622 | 267767.939 | 26.25 | 74
23242 | 2022-05-20 13:55 | 82.336 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.7796 | μmol/L | 18.2908 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.113 | 115484.6048 | 267753.151 | 26.25 | 74
23252 | 2022-05-20 13:56 | 82.6687 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.5251 | μmol/L | 18.2969 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.122 | 115527.7906 | 267759.6669 | 26.25 | 74
23262 | 2022-05-20 13:56 | 83.0021 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.4856 | μmol/L | 18.2908 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.126 | 115577.1429 | 267747.508 | 26.25 | 74
23272 | 2022-05-20 13:56 | 83.3355 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.3217 | μmol/L | 18.2969 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.131 | 115610.5633 | 267738.9153 | 26.25 | 74
23282 | 2022-05-20 13:57 | 83.6689 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.1469 | μmol/L | 18.2908 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.141 | 115657.4159 | 267740.9864 | 26.25 | 74
23292 | 2022-05-20 13:57 | 84.0024 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.9665 | μmol/L | 18.2908 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.149 | 115699.1673 | 267738.9217 | 26.25 | 74
23302 | 2022-05-20 13:57 | 84.336 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.8988 | μmol/L | 18.2908 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.152 | 115732.3485 | 267732.698 | 26.25 | 74
23312 | 2022-05-20 13:58 | 84.6688 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.7862 | μmol/L | 18.2908 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.157 | 115781.7751 | 267731.2146 | 26.25 | 74
23322 | 2022-05-20 13:58 | 85.0026 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.4652 | μmol/L | 18.2969 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.169 | 115820.8901 | 267724.0571 | 26.25 | 74
23332 | 2022-05-20 13:58 | 85.336 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.4935 | μmol/L | 18.2908 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.17 | 115867.9265 | 267719.1208 | 26.25 | 74
23342 | 2022-05-20 13:59 | 85.6695 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.2296 | μmol/L | 18.2847 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.184 | 115912.228 | 267711.5404 | 26.25 | 74
23352 | 2022-05-20 13:59 | 86.0022 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.1056 | μmol/L | 18.2969 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.185 | 115969.7605 | 267719.1348 | 26.25 | 74
23362 | 2022-05-20 13:59 | 86.336 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.9767 | μmol/L | 18.2908 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.193 | 116002.4866 | 267706.8557 | 26.25 | 74
23372 | 2022-05-20 14:00 | 86.6694 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.7749 | μmol/L | 18.2908 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.202 | 116049.8194 | 267712.7711 | 26.25 | 74
23382 | 2022-05-20 14:00 | 87.0026 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.5449 | μmol/L | 18.2969 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.21 | 116082.2034 | 267714.1949 | 26.25 | 74
23392 | 2022-05-20 14:00 | 87.3354 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.4106 | μmol/L | 18.2969 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.216 | 116127.0496 | 267696.7338 | 26.25 | 74
23402 | 2022-05-20 14:01 | 87.6688 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.1645 | μmol/L | 18.2969 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.227 | 116172.4306 | 267693.9189 | 26.25 | 74
23412 | 2022-05-20 14:01 | 88.0021 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.1256 | μmol/L | 18.2908 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.231 | 116220.5537 | 267682.2876 | 26.25 | 74
23422 | 2022-05-20 14:01 | 88.3356 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.8294 | μmol/L | 18.2969 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.242 | 116276.2562 | 267694.9466 | 26.25 | 74
23432 | 2022-05-20 14:02 | 88.669 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.7683 | μmol/L | 18.2908 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.247 | 116343.4959 | 267693.0552 | 26.25 | 74
23442 | 2022-05-20 14:02 | 89.0026 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.4783 | μmol/L | 18.2908 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.26 | 116396.0448 | 267683.8357 | 26.25 | 74
23452 | 2022-05-20 14:02 | 89.3359 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.3892 | μmol/L | 18.2908 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.264 | 116449.7117 | 267672.2561 | 26.25 | 74
23462 | 2022-05-20 14:03 | 89.6694 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.1665 | μmol/L | 18.2908 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.274 | 116501.0756 | 267670.8864 | 26.25 | 74
23472 | 2022-05-20 14:03 | 90.0023 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.9886 | μmol/L | 18.2908 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.282 | 116546.7167 | 267664.8664 | 26.25 | 74
23482 | 2022-05-20 14:03 | 90.3361 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.7663 | μmol/L | 18.2908 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.292 | 116597.8133 | 267665.6336 | 26.25 | 74
23492 | 2022-05-20 14:04 | 90.6694 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.6553 | μmol/L | 18.2908 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.297 | 116635.8847 | 267659.6269 | 26.25 | 74
23502 | 2022-05-20 14:04 | 91.0021 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.4719 | μmol/L | 18.2969 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.303 | 116679.5788 | 267662.1958 | 26.25 | 74