## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_3 | O2 | 412637359 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:50

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-20 12:35

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
19139 | 2022-05-20 11:17 | 0 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.5184 | μmol/L | 18.9173 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.319 | 91382.7624 | 212098.3575 | 27.3 | 43.4
19149 | 2022-05-20 11:18 | 0.33436 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.5793 | μmol/L | 18.9112 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.319 | 91394.9242 | 212096.9942 | 27.3 | 43.4
19159 | 2022-05-20 11:18 | 0.66802 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.6734 | μmol/L | 18.899 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.32 | 91396.1327 | 212096.3778 | 27.3 | 43.4
19169 | 2022-05-20 11:18 | 1.0009 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.5407 | μmol/L | 18.8929 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.327 | 91385.2359 | 212084.0494 | 27.3 | 43.4
19179 | 2022-05-20 11:19 | 1.3344 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.4358 | μmol/L | 18.8868 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.333 | 91398.8666 | 212080.4976 | 27.3 | 43.4
19189 | 2022-05-20 11:19 | 1.6679 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.5299 | μmol/L | 18.8746 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.334 | 91404.1758 | 212073.519 | 27.3 | 43.4
19199 | 2022-05-20 11:19 | 2.0008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.5852 | μmol/L | 18.8746 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.332 | 91390.9604 | 212065.3896 | 27.3 | 43.4
19209 | 2022-05-20 11:20 | 2.3344 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.5299 | μmol/L | 18.8746 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.334 | 91383.223 | 212051.5826 | 27.3 | 43.4
19219 | 2022-05-20 11:20 | 2.6681 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.5964 | μmol/L | 18.8624 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.336 | 91388.3528 | 212050.0703 | 27.3 | 43.4
19229 | 2022-05-20 11:20 | 3.0009 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.6962 | μmol/L | 18.844 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.339 | 91388.3094 | 212050.0576 | 27.3 | 43.4
19239 | 2022-05-20 11:21 | 3.3345 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.7962 | μmol/L | 18.8257 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.342 | 91387.2903 | 212037.6461 | 27.3 | 43.4
19249 | 2022-05-20 11:21 | 3.6679 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.8962 | μmol/L | 18.8074 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.345 | 91403.3176 | 212040.7785 | 27.3 | 43.4
19259 | 2022-05-20 11:21 | 4.0013 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.8962 | μmol/L | 18.8074 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.345 | 91388.8186 | 212027.5089 | 27.3 | 43.4
19269 | 2022-05-20 11:22 | 4.3341 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.4597 | μmol/L | 18.8013 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.363 | 91445.1709 | 212035.234 | 27.3 | 43.4
19279 | 2022-05-20 11:22 | 4.6675 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.107 | μmol/L | 18.789 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.344 | 91384.3951 | 212021.893 | 27.3 | 43.4
19289 | 2022-05-20 11:22 | 5.001 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 316.8702 | μmol/L | 18.7829 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.391 | 91578.1604 | 212032.8466 | 27.3 | 43.4
19299 | 2022-05-20 11:23 | 5.3345 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.9255 | μmol/L | 18.7646 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.432 | 91746.2686 | 212019.736 | 27.3 | 43.4
19309 | 2022-05-20 11:23 | 5.668 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.6298 | μmol/L | 18.7463 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.486 | 92030.3539 | 212023.3073 | 27.3 | 43.4
19319 | 2022-05-20 11:23 | 6.0014 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.1065 | μmol/L | 18.7463 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.542 | 92257.517 | 212015.7655 | 27.3 | 43.4
19329 | 2022-05-20 11:24 | 6.3343 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.8622 | μmol/L | 18.7463 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.588 | 92467.1718 | 212013.2365 | 27.3 | 43.4
19339 | 2022-05-20 11:24 | 6.668 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.8242 | μmol/L | 18.7341 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.631 | 92685.6079 | 212017.6131 | 27.3 | 43.4
19349 | 2022-05-20 11:24 | 7.0006 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.8589 | μmol/L | 18.7341 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.667 | 92853.141 | 212015.2396 | 27.3 | 43.4
19359 | 2022-05-20 11:25 | 7.3348 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.2236 | μmol/L | 18.7279 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.693 | 92961.2818 | 212009.9481 | 27.3 | 43.4
19369 | 2022-05-20 11:25 | 7.6677 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.4448 | μmol/L | 18.7341 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.72 | 93075.4256 | 212004.9658 | 27.3 | 43.4
19379 | 2022-05-20 11:25 | 8.0013 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 307.952 | μmol/L | 18.7218 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.743 | 93185.7671 | 211995.4102 | 27.3 | 43.4
19389 | 2022-05-20 11:26 | 8.3341 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 307.4013 | μmol/L | 18.7157 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.766 | 93338.6332 | 211988.965 | 27.3 | 43.4
19399 | 2022-05-20 11:26 | 8.6677 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 306.476 | μmol/L | 18.7157 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.801 | 93450.3919 | 211993.4575 | 27.3 | 43.4
19409 | 2022-05-20 11:26 | 9.0014 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 305.9226 | μmol/L | 18.7157 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.822 | 93564.3276 | 211982.5764 | 27.3 | 43.4
19419 | 2022-05-20 11:27 | 9.3342 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 305.4615 | μmol/L | 18.7035 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.844 | 93671.3591 | 211994.8034 | 27.3 | 43.4
19429 | 2022-05-20 11:27 | 9.6677 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.6746 | μmol/L | 18.7035 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.874 | 93789.2046 | 211989.7442 | 27.3 | 43.4
19439 | 2022-05-20 11:27 | 10.0013 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.0407 | μmol/L | 18.7096 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.896 | 93912.964 | 211988.8056 | 27.3 | 43.4
19449 | 2022-05-20 11:28 | 10.334 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.2969 | μmol/L | 18.6974 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.929 | 94038.5755 | 211989.4861 | 27.3 | 43.4
19459 | 2022-05-20 11:28 | 10.6675 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 302.835 | μmol/L | 18.6913 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.949 | 94147.6082 | 211983.8066 | 27.3 | 43.4
19469 | 2022-05-20 11:28 | 11.0011 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 302.2443 | μmol/L | 18.6852 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.974 | 94253.6416 | 211982.8239 | 27.3 | 43.4
19479 | 2022-05-20 11:29 | 11.3347 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.9657 | μmol/L | 18.6791 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.987 | 94315.4548 | 211990.3265 | 27.3 | 43.4
19489 | 2022-05-20 11:29 | 11.6674 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.6616 | μmol/L | 18.673 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.001 | 94375.0744 | 211982.7612 | 27.3 | 43.4
19499 | 2022-05-20 11:29 | 12.0009 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.332 | μmol/L | 18.6669 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.016 | 94437.2977 | 211969.7862 | 27.3 | 43.4
19509 | 2022-05-20 11:30 | 12.3347 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.9708 | μmol/L | 18.6669 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.03 | 94510.684 | 211968.0378 | 27.3 | 43.4
19519 | 2022-05-20 11:30 | 12.6675 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.5587 | μmol/L | 18.6669 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.046 | 94564.9448 | 211973.6342 | 27.3 | 43.4
19529 | 2022-05-20 11:30 | 13.001 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.0959 | μmol/L | 18.6669 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.064 | 94646.8566 | 211965.8478 | 27.3 | 43.4
19539 | 2022-05-20 11:31 | 13.3344 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.82 | μmol/L | 18.6607 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.077 | 94703.8461 | 211964.3903 | 27.3 | 43.4
19549 | 2022-05-20 11:31 | 13.6678 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.3842 | μmol/L | 18.6607 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.094 | 94767.4723 | 211964.9457 | 27.3 | 43.4
19559 | 2022-05-20 11:31 | 14.0013 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.1603 | μmol/L | 18.6546 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.105 | 94833.6845 | 211955.9399 | 27.3 | 43.4
19569 | 2022-05-20 11:32 | 14.3341 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.0453 | μmol/L | 18.6424 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.114 | 94868.5543 | 211959.3358 | 27.3 | 43.4
19579 | 2022-05-20 11:32 | 14.6677 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.9941 | μmol/L | 18.6424 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.116 | 94894.5973 | 211955.7652 | 27.3 | 43.4
19589 | 2022-05-20 11:32 | 15.0013 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.8217 | μmol/L | 18.6363 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.125 | 94923.3389 | 211948.5938 | 27.3 | 43.4
19599 | 2022-05-20 11:33 | 15.3348 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.7005 | μmol/L | 18.6302 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.132 | 94945.8117 | 211955.5227 | 27.3 | 43.4
19609 | 2022-05-20 11:33 | 15.6675 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.7069 | μmol/L | 18.6241 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.134 | 94949.8156 | 211958.5683 | 27.3 | 43.4
19619 | 2022-05-20 11:33 | 16.0014 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.8475 | μmol/L | 18.6119 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.133 | 94934.5259 | 211953.8285 | 27.3 | 43.4
19629 | 2022-05-20 11:34 | 16.3345 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.6879 | μmol/L | 18.618 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.137 | 94949.8085 | 211935.7928 | 27.3 | 43.4
19639 | 2022-05-20 11:34 | 16.6681 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.6433 | μmol/L | 18.6119 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.141 | 94974.725 | 211935.5272 | 27.3 | 43.4
19649 | 2022-05-20 11:34 | 17.0008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.5542 | μmol/L | 18.5997 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.149 | 94991.5406 | 211927.3662 | 27.3 | 43.4
19659 | 2022-05-20 11:35 | 17.3344 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.0649 | μmol/L | 18.5997 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.129 | 94886.103 | 211937.8392 | 27.3 | 43.4
19669 | 2022-05-20 11:35 | 17.668 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.4555 | μmol/L | 18.5935 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.077 | 94637.7976 | 211927.9616 | 27.3 | 43.4
19679 | 2022-05-20 11:35 | 18.0006 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.5055 | μmol/L | 18.5997 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.034 | 94422.6009 | 211923.8125 | 27.3 | 43.4
19689 | 2022-05-20 11:36 | 18.3342 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 302.5211 | μmol/L | 18.5935 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.997 | 94247.6227 | 211923.0981 | 27.3 | 43.4
19699 | 2022-05-20 11:36 | 18.6678 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.2806 | μmol/L | 18.5874 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.97 | 94111.1215 | 211920.3643 | 27.3 | 43.4
19709 | 2022-05-20 11:36 | 19.0014 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.9381 | μmol/L | 18.5813 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.947 | 93980.3558 | 211921.056 | 27.3 | 43.4
19719 | 2022-05-20 11:37 | 19.3342 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.2577 | μmol/L | 18.5752 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.937 | 93931.7445 | 211914.6277 | 27.3 | 43.4
19729 | 2022-05-20 11:37 | 19.6673 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.2055 | μmol/L | 18.5752 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.939 | 93943.7927 | 211916.8419 | 27.3 | 43.4
19739 | 2022-05-20 11:37 | 20.0014 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.8206 | μmol/L | 18.5691 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.956 | 94000.3852 | 211914.6533 | 27.3 | 43.4
19749 | 2022-05-20 11:38 | 20.3347 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.3647 | μmol/L | 18.5569 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.978 | 94116.6481 | 211907.5269 | 27.3 | 43.4
19759 | 2022-05-20 11:38 | 20.6677 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 302.5142 | μmol/L | 18.5508 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.013 | 94268.3458 | 211907.9869 | 27.3 | 43.4
19769 | 2022-05-20 11:38 | 21.0012 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.8348 | μmol/L | 18.5569 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.037 | 94396.2195 | 211900.8918 | 27.3 | 43.4
19779 | 2022-05-20 11:39 | 21.3345 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.241 | μmol/L | 18.5569 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.06 | 94482.5928 | 211901.6116 | 27.3 | 43.4
19789 | 2022-05-20 11:39 | 21.6678 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.7773 | μmol/L | 18.5569 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.078 | 94575.3836 | 211908.886 | 27.3 | 43.4
19799 | 2022-05-20 11:39 | 22.0012 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.4303 | μmol/L | 18.5447 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.096 | 94645.73 | 211905.4832 | 27.3 | 43.4
19809 | 2022-05-20 11:40 | 22.3345 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.2505 | μmol/L | 18.5447 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.103 | 94684.4392 | 211900.4404 | 27.3 | 43.4
19819 | 2022-05-20 11:40 | 22.6677 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.1287 | μmol/L | 18.5386 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.11 | 94712.7616 | 211895.2112 | 27.3 | 43.4
19829 | 2022-05-20 11:40 | 23.001 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.9301 | μmol/L | 18.5325 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.12 | 94745.5506 | 211905.2415 | 27.3 | 43.4
19839 | 2022-05-20 11:41 | 23.3342 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.8085 | μmol/L | 18.5263 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.127 | 94787.0185 | 211889.7532 | 27.3 | 43.4
19849 | 2022-05-20 11:41 | 23.6674 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.5268 | μmol/L | 18.5263 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.138 | 94817.798 | 211882.8902 | 27.3 | 43.4
19859 | 2022-05-20 11:41 | 24.0006 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.3287 | μmol/L | 18.5202 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.148 | 94863.9169 | 211880.1563 | 27.3 | 43.4
19869 | 2022-05-20 11:42 | 24.3348 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.952 | μmol/L | 18.5141 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.165 | 94910.8521 | 211877.0687 | 27.3 | 43.4
19879 | 2022-05-20 11:42 | 24.6679 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.6458 | μmol/L | 18.5141 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.177 | 94964.7926 | 211870.9748 | 27.3 | 43.4
19889 | 2022-05-20 11:42 | 25.0012 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.4995 | μmol/L | 18.508 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.185 | 95019.3437 | 211869.8091 | 27.3 | 43.4
19899 | 2022-05-20 11:43 | 25.3346 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.0413 | μmol/L | 18.508 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.203 | 95094.4322 | 211864.4882 | 27.3 | 43.4
19909 | 2022-05-20 11:43 | 25.6677 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.5586 | μmol/L | 18.508 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.222 | 95173.9718 | 211856.1208 | 27.3 | 43.4
19919 | 2022-05-20 11:43 | 26.0009 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.3303 | μmol/L | 18.508 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.231 | 95212.7381 | 211855.0174 | 27.3 | 43.4
19929 | 2022-05-20 11:44 | 26.3342 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.0648 | μmol/L | 18.4958 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.246 | 95265.804 | 211853.3914 | 27.3 | 43.4
19939 | 2022-05-20 11:44 | 26.6674 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 296.7359 | μmol/L | 18.4958 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.259 | 95325.3815 | 211842.3281 | 27.3 | 43.4
19949 | 2022-05-20 11:44 | 27.0007 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 296.2811 | μmol/L | 18.4958 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.277 | 95392.4069 | 211834.3407 | 27.3 | 43.4
19959 | 2022-05-20 11:45 | 27.3347 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 295.9851 | μmol/L | 18.4897 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.291 | 95460.3474 | 211829.3733 | 27.3 | 43.4
19969 | 2022-05-20 11:45 | 27.6675 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 295.6895 | μmol/L | 18.4836 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.305 | 95539.0062 | 211830.9024 | 27.3 | 43.4
19979 | 2022-05-20 11:45 | 28.0013 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 295.2552 | μmol/L | 18.4897 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.32 | 95598.3379 | 211825.3119 | 27.3 | 43.4
19989 | 2022-05-20 11:46 | 28.3342 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 294.9036 | μmol/L | 18.4897 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.334 | 95644.5883 | 211818.7406 | 27.3 | 43.4
19999 | 2022-05-20 11:46 | 28.668 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 294.7666 | μmol/L | 18.4775 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.344 | 95697.2925 | 211823.1859 | 27.3 | 43.4
20009 | 2022-05-20 11:46 | 29.0007 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 294.4658 | μmol/L | 18.4775 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.356 | 95747.3564 | 211809.5258 | 27.3 | 43.4
20019 | 2022-05-20 11:47 | 29.3343 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 294.1222 | μmol/L | 18.4714 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.372 | 95795.5486 | 211806.5954 | 27.3 | 43.4
20029 | 2022-05-20 11:47 | 29.668 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.8473 | μmol/L | 18.4714 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.383 | 95834.4869 | 211804.7872 | 27.3 | 43.4
20039 | 2022-05-20 11:47 | 30.0009 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.8541 | μmol/L | 18.4653 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.385 | 95863.7081 | 211797.7425 | 27.3 | 43.4
20049 | 2022-05-20 11:48 | 30.3346 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.6544 | μmol/L | 18.4653 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.393 | 95887.2525 | 211794.0959 | 27.3 | 43.4
20059 | 2022-05-20 11:48 | 30.6674 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.6793 | μmol/L | 18.4653 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.392 | 95901.1202 | 211781.1822 | 27.3 | 43.4
20069 | 2022-05-20 11:48 | 31.0011 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.6045 | μmol/L | 18.4653 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.395 | 95894.575 | 211792.5442 | 27.3 | 43.4
20079 | 2022-05-20 11:49 | 31.3344 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.5863 | μmol/L | 18.4591 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.398 | 95889.7838 | 211796.0029 | 27.3 | 43.4
20089 | 2022-05-20 11:49 | 31.6675 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.5931 | μmol/L | 18.453 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.4 | 95875.3295 | 211782.3124 | 27.3 | 43.4
20099 | 2022-05-20 11:49 | 32.0015 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.7496 | μmol/L | 18.4469 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.396 | 95875.6227 | 211787.1876 | 27.3 | 43.4
20109 | 2022-05-20 11:50 | 32.3348 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.7564 | μmol/L | 18.4408 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.398 | 95878.243 | 211770.8819 | 27.3 | 43.4
20119 | 2022-05-20 11:50 | 32.6679 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.6747 | μmol/L | 18.4469 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.399 | 95876.3234 | 211773.1401 | 27.3 | 43.4
20129 | 2022-05-20 11:50 | 33.0014 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.6997 | μmol/L | 18.4469 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.398 | 95865.8019 | 211765.8082 | 27.3 | 43.4
20139 | 2022-05-20 11:51 | 33.3347 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.6747 | μmol/L | 18.4469 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.399 | 95855.1867 | 211765.9536 | 27.3 | 43.4
20149 | 2022-05-20 11:51 | 33.6676 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.6815 | μmol/L | 18.4408 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.401 | 95842.7872 | 211757.1421 | 27.3 | 43.4
20159 | 2022-05-20 11:51 | 34.0007 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.6316 | μmol/L | 18.4408 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.403 | 95838.9675 | 211757.3747 | 27.3 | 43.4
20169 | 2022-05-20 11:52 | 34.335 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.7132 | μmol/L | 18.4347 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.402 | 95848.5219 | 211754.6737 | 27.3 | 43.4
20179 | 2022-05-20 11:52 | 34.6675 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.7881 | μmol/L | 18.4347 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.399 | 95837.1117 | 211749.7515 | 27.3 | 43.4
20189 | 2022-05-20 11:52 | 35.001 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.9016 | μmol/L | 18.4225 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.399 | 95825.2032 | 211749.9854 | 27.3 | 43.4
20199 | 2022-05-20 11:53 | 35.3345 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.9765 | μmol/L | 18.4225 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.396 | 95818.0938 | 211740.3848 | 27.3 | 43.4
20209 | 2022-05-20 11:53 | 35.6678 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 294.0015 | μmol/L | 18.4225 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.395 | 95790.0941 | 211743.8068 | 27.3 | 43.4
20219 | 2022-05-20 11:53 | 36.0011 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 294.1333 | μmol/L | 18.4164 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.392 | 95764.4441 | 211735.8354 | 27.3 | 43.4
20229 | 2022-05-20 11:54 | 36.3346 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 294.3515 | μmol/L | 18.4225 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.381 | 95717.6003 | 211738.8552 | 27.3 | 43.4
20239 | 2022-05-20 11:54 | 36.668 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 294.5836 | μmol/L | 18.4164 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.374 | 95668.9679 | 211721.0461 | 27.3 | 43.4
20249 | 2022-05-20 11:54 | 37.0014 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 295.0417 | μmol/L | 18.4103 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.358 | 95622.3165 | 211725.1372 | 27.3 | 43.4
20259 | 2022-05-20 11:55 | 37.3348 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 295.3246 | μmol/L | 18.4042 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.349 | 95569.454 | 211725.7905 | 27.3 | 43.4
20269 | 2022-05-20 11:55 | 37.6674 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 295.4183 | μmol/L | 18.4103 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.343 | 95499.4537 | 211719.037 | 27.3 | 43.4
20279 | 2022-05-20 11:55 | 38.0008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 295.8024 | μmol/L | 18.4042 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.33 | 95448.4453 | 211725.8139 | 27.3 | 43.4
20289 | 2022-05-20 11:56 | 38.3341 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 296.0862 | μmol/L | 18.3981 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.321 | 95385.21 | 211708.9068 | 27.3 | 43.4
20299 | 2022-05-20 11:56 | 38.6675 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 296.414 | μmol/L | 18.3981 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.308 | 95325.5778 | 211700.1197 | 27.3 | 43.4
20309 | 2022-05-20 11:56 | 39.0009 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 296.6092 | μmol/L | 18.4042 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.298 | 95284.3551 | 211719.6515 | 27.3 | 43.4
20319 | 2022-05-20 11:57 | 39.3343 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 296.9699 | μmol/L | 18.3981 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.286 | 95226.243 | 211699.9526 | 27.3 | 43.4
20329 | 2022-05-20 11:57 | 39.6678 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.1538 | μmol/L | 18.3919 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.281 | 95192.1317 | 211711.3609 | 27.3 | 43.4
20339 | 2022-05-20 11:57 | 40.001 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.2736 | μmol/L | 18.3981 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.274 | 95154.6148 | 211710.2633 | 27.3 | 43.4
20349 | 2022-05-20 11:58 | 40.3346 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.4002 | μmol/L | 18.3981 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.269 | 95124.0858 | 211701.1227 | 27.3 | 43.4
20359 | 2022-05-20 11:58 | 40.6674 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.6673 | μmol/L | 18.3858 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.263 | 95095.3446 | 211696.2777 | 27.3 | 43.4
20369 | 2022-05-20 11:58 | 41.0007 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.6673 | μmol/L | 18.3858 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.263 | 95077.1501 | 211701.1702 | 27.3 | 43.4
20379 | 2022-05-20 11:59 | 41.3342 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.9025 | μmol/L | 18.3797 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.256 | 95038.2382 | 211697.6887 | 27.3 | 43.4
20389 | 2022-05-20 11:59 | 41.6679 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.9465 | μmol/L | 18.3858 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.252 | 95025.9086 | 211696.4958 | 27.3 | 43.4
20399 | 2022-05-20 11:59 | 42.0006 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.1057 | μmol/L | 18.3797 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.248 | 95031.8204 | 211689.9333 | 27.3 | 43.4
20409 | 2022-05-20 12:00 | 42.3345 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.0041 | μmol/L | 18.3797 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.252 | 94996.0405 | 211681.6743 | 27.3 | 43.4
20419 | 2022-05-20 12:00 | 42.6675 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.2396 | μmol/L | 18.3736 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.245 | 94987.3624 | 211689.7097 | 27.3 | 43.4
20429 | 2022-05-20 12:00 | 43.0012 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.3413 | μmol/L | 18.3736 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.241 | 94953.3832 | 211692.7721 | 27.3 | 43.4
20439 | 2022-05-20 12:01 | 43.3348 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.5958 | μmol/L | 18.3736 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.231 | 94908.7505 | 211683.6972 | 27.3 | 43.4
20449 | 2022-05-20 12:01 | 43.6676 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.876 | μmol/L | 18.3736 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.22 | 94850.205 | 211683.4622 | 27.3 | 43.4
20459 | 2022-05-20 12:01 | 44.001 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.2144 | μmol/L | 18.3675 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.209 | 94804.7176 | 211679.6316 | 27.3 | 43.4
20469 | 2022-05-20 12:02 | 44.3344 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.6299 | μmol/L | 18.3614 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.195 | 94736.738 | 211683.7842 | 27.3 | 43.4
20479 | 2022-05-20 12:02 | 44.6678 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.9753 | μmol/L | 18.3675 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.179 | 94658.9652 | 211686.2868 | 27.3 | 43.4
20489 | 2022-05-20 12:02 | 45.0012 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.3152 | μmol/L | 18.3614 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.168 | 94593.3521 | 211666.6563 | 27.3 | 43.4
20499 | 2022-05-20 12:03 | 45.334 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.7069 | μmol/L | 18.3553 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.155 | 94520.0629 | 211679.4632 | 27.3 | 43.4
20509 | 2022-05-20 12:03 | 45.6675 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.9119 | μmol/L | 18.3614 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.145 | 94470.3909 | 211670.9682 | 27.3 | 43.4
20519 | 2022-05-20 12:03 | 46.0008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.1439 | μmol/L | 18.3553 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.138 | 94437.2129 | 211668.515 | 27.3 | 43.4
20529 | 2022-05-20 12:04 | 46.3342 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.3113 | μmol/L | 18.3492 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.134 | 94404.0123 | 211681.369 | 27.3 | 43.4
20539 | 2022-05-20 12:04 | 46.6678 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.1439 | μmol/L | 18.3553 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.138 | 94417.5422 | 211673.7754 | 27.3 | 43.4
20549 | 2022-05-20 12:04 | 47.0013 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.1764 | μmol/L | 18.3492 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.139 | 94444.9137 | 211668.6952 | 27.3 | 43.4
20559 | 2022-05-20 12:05 | 47.334 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.9774 | μmol/L | 18.3431 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.149 | 94489.097 | 211671.9373 | 27.3 | 43.4
20569 | 2022-05-20 12:05 | 47.6674 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.5664 | μmol/L | 18.3431 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.165 | 94548.4285 | 211659.1634 | 27.3 | 43.4
20579 | 2022-05-20 12:05 | 48.0007 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.2141 | μmol/L | 18.337 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.181 | 94626.854 | 211677.643 | 27.3 | 43.4
20589 | 2022-05-20 12:06 | 48.3341 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.6697 | μmol/L | 18.3431 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.2 | 94729.3252 | 211669.0739 | 27.3 | 43.4
20599 | 2022-05-20 12:06 | 48.6675 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.1844 | μmol/L | 18.3431 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.219 | 94816.7854 | 211664.7093 | 27.3 | 43.4
20609 | 2022-05-20 12:06 | 49.0009 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.7646 | μmol/L | 18.3309 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.24 | 94902.0855 | 211653.4079 | 27.3 | 43.4
20619 | 2022-05-20 12:07 | 49.3343 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.2557 | μmol/L | 18.3309 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.26 | 94987.7378 | 211663.9595 | 27.3 | 43.4
20629 | 2022-05-20 12:07 | 49.6679 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.6972 | μmol/L | 18.3309 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.282 | 95093.4089 | 211657.3284 | 27.3 | 43.4
20639 | 2022-05-20 12:07 | 50.0011 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.2665 | μmol/L | 18.3309 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.299 | 95187.9386 | 211676.2914 | 27.3 | 43.4
20649 | 2022-05-20 12:08 | 50.3344 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 296.8871 | μmol/L | 18.3309 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.314 | 95267.4357 | 211680.3642 | 27.3 | 43.4
20659 | 2022-05-20 12:08 | 50.6677 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 296.2118 | μmol/L | 18.3309 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.341 | 95369.8051 | 211674.1935 | 27.3 | 43.4
20669 | 2022-05-20 12:08 | 51.0011 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 295.6338 | μmol/L | 18.3248 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.366 | 95484.7898 | 211672.9934 | 27.3 | 43.4
20679 | 2022-05-20 12:09 | 51.3345 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 295.0382 | μmol/L | 18.3186 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.392 | 95602.3886 | 211665.7472 | 27.3 | 43.4
20689 | 2022-05-20 12:09 | 51.6679 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 294.4442 | μmol/L | 18.3125 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.418 | 95710.4119 | 211667.7761 | 27.3 | 43.4
20699 | 2022-05-20 12:09 | 52.0013 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.738 | μmol/L | 18.3186 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.444 | 95830.445 | 211669.7585 | 27.3 | 43.4
20709 | 2022-05-20 12:10 | 52.3347 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.222 | μmol/L | 18.3125 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.467 | 95947.301 | 211656.7094 | 27.3 | 43.4
20719 | 2022-05-20 12:10 | 52.6681 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 292.6187 | μmol/L | 18.3186 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.489 | 96060.4425 | 211664.3976 | 27.3 | 43.4
20729 | 2022-05-20 12:10 | 53.0009 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 292.1368 | μmol/L | 18.3064 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.513 | 96173.2844 | 211659.0838 | 27.3 | 43.4
20739 | 2022-05-20 12:11 | 53.3346 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 291.6421 | μmol/L | 18.3064 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.533 | 96244.4193 | 211656.3988 | 27.3 | 43.4
20749 | 2022-05-20 12:11 | 53.6681 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 291.2787 | μmol/L | 18.3003 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.55 | 96330.3272 | 211653.793 | 27.3 | 43.4
20759 | 2022-05-20 12:11 | 54.0014 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 290.8034 | μmol/L | 18.3064 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.567 | 96424.2063 | 211651.1662 | 27.3 | 43.4