## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_7 | O2 | 690909578 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:57

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-20 14:24

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
20774 | 2022-05-20 12:33 | 0 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.158 | μmol/L | 18.5341 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.318 | 124387.1736 | 291310.3351 | 59.9307 | 49.4
20784 | 2022-05-20 12:33 | 0.33617 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.2653 | μmol/L | 18.5217 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.318 | 124386.4747 | 291275.6138 | 59.9307 | 49.4
20794 | 2022-05-20 12:34 | 0.66952 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.0903 | μmol/L | 18.5279 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.323 | 124383.4722 | 291275.053 | 59.9307 | 49.4
20804 | 2022-05-20 12:34 | 1.0027 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.0116 | μmol/L | 18.5279 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.326 | 124385.001 | 291280.5923 | 59.9307 | 49.4
20814 | 2022-05-20 12:34 | 1.3362 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.1196 | μmol/L | 18.5217 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.324 | 124387.9717 | 291269.5129 | 59.9307 | 49.4
20824 | 2022-05-20 12:35 | 1.6692 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.9197 | μmol/L | 18.5217 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.332 | 124402.0035 | 291278.1314 | 59.9307 | 49.4
20834 | 2022-05-20 12:35 | 2.0029 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.8711 | μmol/L | 18.5217 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.334 | 124393.5878 | 291260.1406 | 59.9307 | 49.4
20844 | 2022-05-20 12:35 | 2.336 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.8336 | μmol/L | 18.5156 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.338 | 124395.9812 | 291257.3975 | 59.9307 | 49.4
20854 | 2022-05-20 12:36 | 2.6696 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.8813 | μmol/L | 18.5094 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.338 | 124396.6692 | 291243.4395 | 59.9307 | 49.4
20864 | 2022-05-20 12:36 | 3.0025 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.9349 | μmol/L | 18.5032 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.338 | 124390.0243 | 291229.0513 | 59.9307 | 49.4
20874 | 2022-05-20 12:36 | 3.3359 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.7659 | μmol/L | 18.5094 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.343 | 124393.0984 | 291229.5769 | 59.9307 | 49.4
20884 | 2022-05-20 12:37 | 3.6694 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.8379 | μmol/L | 18.5032 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.342 | 124392.2597 | 291230.7665 | 59.9307 | 49.4
20894 | 2022-05-20 12:37 | 4.0029 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.7269 | μmol/L | 18.4909 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.351 | 124386.3133 | 291208.8389 | 59.9307 | 49.4
20904 | 2022-05-20 12:37 | 4.3357 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.7512 | μmol/L | 18.4909 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.35 | 124398.8593 | 291203.4939 | 59.9307 | 49.4
20914 | 2022-05-20 12:38 | 4.6695 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.6836 | μmol/L | 18.4847 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.355 | 124404.2913 | 291205.3707 | 59.9307 | 49.4
20924 | 2022-05-20 12:38 | 5.0023 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.7078 | μmol/L | 18.4847 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.354 | 124391.8957 | 291190.5607 | 59.9307 | 49.4
20934 | 2022-05-20 12:38 | 5.336 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.7321 | μmol/L | 18.4847 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.353 | 124398.9354 | 291193.6361 | 59.9307 | 49.4
20944 | 2022-05-20 12:39 | 5.6689 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.743 | μmol/L | 18.4786 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.355 | 124402.0542 | 291194.384 | 59.9307 | 49.4
20954 | 2022-05-20 12:39 | 6.0025 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.6403 | μmol/L | 18.4786 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.359 | 124397.5881 | 291176.232 | 59.9307 | 49.4
20964 | 2022-05-20 12:39 | 6.3359 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.5244 | μmol/L | 18.4724 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.366 | 124394.8057 | 291154.1606 | 59.9307 | 49.4
20974 | 2022-05-20 12:40 | 6.6695 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.5728 | μmol/L | 18.4724 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.364 | 124397.2239 | 291152.1609 | 59.9307 | 49.4
20984 | 2022-05-20 12:40 | 7.0023 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.5779 | μmol/L | 18.4662 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.366 | 124392.6032 | 291161.6511 | 59.9307 | 49.4
20994 | 2022-05-20 12:40 | 7.3362 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.5537 | μmol/L | 18.4662 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.367 | 124381.0908 | 291149.4386 | 59.9307 | 49.4
21004 | 2022-05-20 12:41 | 7.6689 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.5347 | μmol/L | 18.46 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.37 | 124400.4381 | 291154.1019 | 59.9307 | 49.4
21014 | 2022-05-20 12:41 | 8.0026 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.3602 | μmol/L | 18.4662 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.375 | 124404.2934 | 291142.6193 | 59.9307 | 49.4
21024 | 2022-05-20 12:41 | 8.336 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.5266 | μmol/L | 18.4477 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.375 | 124423.0676 | 291135.5607 | 59.9307 | 49.4
21034 | 2022-05-20 12:42 | 8.669 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.4724 | μmol/L | 18.4477 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.377 | 124458.168 | 291149.2233 | 59.9307 | 49.4
21044 | 2022-05-20 12:42 | 9.0027 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.3382 | μmol/L | 18.4415 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.385 | 124476.1072 | 291137.9719 | 59.9307 | 49.4
21054 | 2022-05-20 12:42 | 9.3363 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.0425 | μmol/L | 18.4415 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.397 | 124523.0582 | 291137.8147 | 59.9307 | 49.4
21064 | 2022-05-20 12:43 | 9.6691 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.6564 | μmol/L | 18.4415 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.413 | 124623.0373 | 291129.4583 | 59.9307 | 49.4
21074 | 2022-05-20 12:43 | 10.0026 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.3354 | μmol/L | 18.4292 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.431 | 124742.0853 | 291128.3692 | 59.9307 | 49.4
21084 | 2022-05-20 12:43 | 10.3363 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.0409 | μmol/L | 18.4292 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.443 | 124798.5514 | 291128.0888 | 59.9307 | 49.4
21094 | 2022-05-20 12:44 | 10.669 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.9265 | μmol/L | 18.4292 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.448 | 124817.7122 | 291124.8148 | 59.9307 | 49.4
21104 | 2022-05-20 12:44 | 11.0027 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.8299 | μmol/L | 18.423 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.454 | 124858.2839 | 291107.1038 | 59.9307 | 49.4
21114 | 2022-05-20 12:44 | 11.3363 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.5366 | μmol/L | 18.4292 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.464 | 124934.9932 | 291124.19 | 59.9307 | 49.4
21124 | 2022-05-20 12:45 | 11.6692 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.2063 | μmol/L | 18.423 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.48 | 125013.3336 | 291117.4697 | 59.9307 | 49.4
21134 | 2022-05-20 12:45 | 12.0027 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.853 | μmol/L | 18.423 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.495 | 125096.8808 | 291114.5382 | 59.9307 | 49.4
21144 | 2022-05-20 12:45 | 12.3355 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.4044 | μmol/L | 18.4169 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.516 | 125192.5945 | 291108.9169 | 59.9307 | 49.4
21154 | 2022-05-20 12:46 | 12.669 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.2321 | μmol/L | 18.423 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.521 | 125276.8907 | 291110.5368 | 59.9307 | 49.4
21164 | 2022-05-20 12:46 | 13.003 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.8852 | μmol/L | 18.4107 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.54 | 125366.7951 | 291095.5511 | 59.9307 | 49.4
21174 | 2022-05-20 12:46 | 13.3355 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.5042 | μmol/L | 18.4045 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.558 | 125500.3966 | 291088.9471 | 59.9307 | 49.4
21184 | 2022-05-20 12:47 | 13.6692 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.7032 | μmol/L | 18.4045 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.592 | 125686.3564 | 291096.7269 | 59.9307 | 49.4
21194 | 2022-05-20 12:47 | 14.0029 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 274.894 | μmol/L | 18.4107 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.624 | 125908.0299 | 291086.7367 | 59.9307 | 49.4
21204 | 2022-05-20 12:47 | 14.3356 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 274.1689 | μmol/L | 18.4045 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.657 | 126105.4802 | 291090.5461 | 59.9307 | 49.4
21214 | 2022-05-20 12:48 | 14.6694 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 273.318 | μmol/L | 18.4045 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.693 | 126320.7393 | 291096.6746 | 59.9307 | 49.4
21224 | 2022-05-20 12:48 | 15.003 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 272.6214 | μmol/L | 18.3983 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.725 | 126513.9984 | 291102.8474 | 59.9307 | 49.4
21234 | 2022-05-20 12:48 | 15.3357 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 272.1421 | μmol/L | 18.386 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.75 | 126678.8991 | 291063.6456 | 59.9307 | 49.4
21244 | 2022-05-20 12:49 | 15.6696 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.6997 | μmol/L | 18.386 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.769 | 126787.0726 | 291076.8309 | 59.9307 | 49.4
21254 | 2022-05-20 12:49 | 16.0023 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.5192 | μmol/L | 18.386 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.777 | 126828.1619 | 291067.0379 | 59.9307 | 49.4
21264 | 2022-05-20 12:49 | 16.336 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.6012 | μmol/L | 18.3922 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.771 | 126773.6645 | 291071.3461 | 59.9307 | 49.4
21274 | 2022-05-20 12:50 | 16.6695 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.9792 | μmol/L | 18.3922 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.755 | 126673.1072 | 291061.7025 | 59.9307 | 49.4
21284 | 2022-05-20 12:50 | 17.0024 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 272.1477 | μmol/L | 18.386 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.75 | 126654.3582 | 291049.4669 | 59.9307 | 49.4
21294 | 2022-05-20 12:50 | 17.336 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 272.1136 | μmol/L | 18.3983 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.747 | 126638.2396 | 291048.7824 | 59.9307 | 49.4
21304 | 2022-05-20 12:51 | 17.6691 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 272.2518 | μmol/L | 18.3737 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.75 | 126642.3542 | 291045.6756 | 59.9307 | 49.4
21314 | 2022-05-20 12:51 | 18.0026 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 272.1531 | μmol/L | 18.3798 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.752 | 126635.9037 | 291053.8314 | 59.9307 | 49.4
21324 | 2022-05-20 12:51 | 18.3361 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 272.2106 | μmol/L | 18.3675 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.754 | 126655.3196 | 291041.1053 | 59.9307 | 49.4
21334 | 2022-05-20 12:52 | 18.6689 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.9954 | μmol/L | 18.3737 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.761 | 126692.9084 | 291060.9072 | 59.9307 | 49.4
21344 | 2022-05-20 12:52 | 19.0028 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.5245 | μmol/L | 18.3737 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.781 | 126773.6835 | 291047.3602 | 59.9307 | 49.4
21354 | 2022-05-20 12:52 | 19.3356 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.2048 | μmol/L | 18.3675 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.797 | 126905.1635 | 291034.8475 | 59.9307 | 49.4
21364 | 2022-05-20 12:53 | 19.6691 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.8161 | μmol/L | 18.3675 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.814 | 126971.9127 | 291034.4487 | 59.9307 | 49.4
21374 | 2022-05-20 12:53 | 20.0028 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.3015 | μmol/L | 18.3675 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.836 | 127108.3617 | 291034.191 | 59.9307 | 49.4
21384 | 2022-05-20 12:53 | 20.3357 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.1981 | μmol/L | 18.3798 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.836 | 127160.9101 | 291032.7141 | 59.9307 | 49.4
21394 | 2022-05-20 12:54 | 20.669 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.7983 | μmol/L | 18.3552 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.819 | 127011.2914 | 291021.6491 | 59.9307 | 49.4
21404 | 2022-05-20 12:54 | 21.0026 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.1802 | μmol/L | 18.3428 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.807 | 126916.461 | 291033.2959 | 59.9307 | 49.4
21414 | 2022-05-20 12:54 | 21.3361 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.4356 | μmol/L | 18.3428 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.796 | 126872.1949 | 291006.822 | 59.9307 | 49.4
21424 | 2022-05-20 12:55 | 21.6689 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.493 | μmol/L | 18.3305 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.798 | 126866.0159 | 291031.2064 | 59.9307 | 49.4
21434 | 2022-05-20 12:55 | 22.0026 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.4753 | μmol/L | 18.3305 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.799 | 126879.3845 | 291004.5784 | 59.9307 | 49.4
21444 | 2022-05-20 12:55 | 22.3361 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.3579 | μmol/L | 18.3058 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.813 | 126931.9465 | 290999.0288 | 59.9307 | 49.4
21454 | 2022-05-20 12:56 | 22.6695 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.3629 | μmol/L | 18.3243 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.849 | 127169.3613 | 291007.3862 | 59.9307 | 49.4
21464 | 2022-05-20 12:56 | 23.0022 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.5562 | μmol/L | 18.3366 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.923 | 127663.3196 | 291029.6941 | 59.9307 | 49.4
21474 | 2022-05-20 12:56 | 23.3358 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.3388 | μmol/L | 18.3428 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.974 | 127937.9099 | 291012.4934 | 59.9307 | 49.4
21484 | 2022-05-20 12:57 | 23.6694 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 266.8942 | μmol/L | 18.3366 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.996 | 128092.0658 | 291006.6243 | 59.9307 | 49.4
21494 | 2022-05-20 12:57 | 24.0029 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 266.7461 | μmol/L | 18.3181 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.009 | 128166.3851 | 290997.0933 | 59.9307 | 49.4
21504 | 2022-05-20 12:57 | 24.3355 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 266.6042 | μmol/L | 18.3243 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.013 | 128219.9333 | 291009.2147 | 59.9307 | 49.4
21514 | 2022-05-20 12:58 | 24.669 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 266.7578 | μmol/L | 18.3305 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.004 | 128145.0426 | 290982.3336 | 59.9307 | 49.4
21524 | 2022-05-20 12:58 | 25.0027 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.0364 | μmol/L | 18.3243 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.994 | 128078.542 | 290984.1353 | 59.9307 | 49.4
21534 | 2022-05-20 12:58 | 25.3362 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.3554 | μmol/L | 18.3243 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.98 | 127975.3194 | 290980.022 | 59.9307 | 49.4
21544 | 2022-05-20 12:59 | 25.6688 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.5324 | μmol/L | 18.3305 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.97 | 127889.1517 | 290975.8467 | 59.9307 | 49.4
21554 | 2022-05-20 12:59 | 26.0023 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.8403 | μmol/L | 18.3181 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.961 | 127842.758 | 290975.5903 | 59.9307 | 49.4
21564 | 2022-05-20 12:59 | 26.3359 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.7033 | μmol/L | 18.3181 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.967 | 127867.8106 | 290973.2064 | 59.9307 | 49.4
21574 | 2022-05-20 13:00 | 26.6694 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.0192 | μmol/L | 18.3181 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.997 | 128060.3502 | 290962.9612 | 59.9307 | 49.4
21584 | 2022-05-20 13:00 | 27.0029 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 265.8214 | μmol/L | 18.312 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.052 | 128392.2993 | 290940.2822 | 59.9307 | 49.4
21594 | 2022-05-20 13:00 | 27.3359 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 265.1206 | μmol/L | 18.312 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.083 | 128577.4701 | 290921.6588 | 59.9307 | 49.4
21604 | 2022-05-20 13:01 | 27.6694 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 264.6922 | μmol/L | 18.312 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.102 | 128715.9357 | 290944.6006 | 59.9307 | 49.4
21614 | 2022-05-20 13:01 | 28.0029 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 264.4726 | μmol/L | 18.3058 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.114 | 128779.2032 | 290920.6677 | 59.9307 | 49.4
21624 | 2022-05-20 13:01 | 28.3358 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 264.1915 | μmol/L | 18.3181 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.122 | 128828.9633 | 290934.4054 | 59.9307 | 49.4
21634 | 2022-05-20 13:02 | 28.6695 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 264.0848 | μmol/L | 18.312 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.129 | 128862.6857 | 290919.8434 | 59.9307 | 49.4
21644 | 2022-05-20 13:02 | 29.0022 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 264.0399 | μmol/L | 18.312 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.131 | 128875.1697 | 290909.5486 | 59.9307 | 49.4
21654 | 2022-05-20 13:02 | 29.3356 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 263.9501 | μmol/L | 18.312 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.135 | 128891.7219 | 290906.343 | 59.9307 | 49.4
21664 | 2022-05-20 13:03 | 29.6691 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 264.0062 | μmol/L | 18.2996 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.137 | 128909.937 | 290890.9418 | 59.9307 | 49.4
21674 | 2022-05-20 13:03 | 30.0029 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 263.9221 | μmol/L | 18.2935 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.143 | 128928.1591 | 290895.1097 | 59.9307 | 49.4
21684 | 2022-05-20 13:03 | 30.3357 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 263.6921 | μmol/L | 18.2996 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.151 | 128955.334 | 290885.5138 | 59.9307 | 49.4
21694 | 2022-05-20 13:04 | 30.6691 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 263.8715 | μmol/L | 18.2996 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.143 | 128929.4566 | 290883.1773 | 59.9307 | 49.4
21704 | 2022-05-20 13:04 | 31.0026 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 263.8323 | μmol/L | 18.2935 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.147 | 128925.7924 | 290880.6932 | 59.9307 | 49.4
21714 | 2022-05-20 13:04 | 31.3362 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 263.6586 | μmol/L | 18.2873 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.157 | 129008.0002 | 290880.3157 | 59.9307 | 49.4
21724 | 2022-05-20 13:05 | 31.6688 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 263.6194 | μmol/L | 18.2811 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.161 | 129008.9277 | 290877.7168 | 59.9307 | 49.4
21734 | 2022-05-20 13:05 | 32.0026 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 263.7315 | μmol/L | 18.2811 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.156 | 128965.9267 | 290878.9958 | 59.9307 | 49.4
21744 | 2022-05-20 13:05 | 32.3359 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 263.5522 | μmol/L | 18.2811 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.164 | 129001.8468 | 290863.1799 | 59.9307 | 49.4
21754 | 2022-05-20 13:06 | 32.6695 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 263.373 | μmol/L | 18.2811 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.172 | 129048.9379 | 290874.4986 | 59.9307 | 49.4
21764 | 2022-05-20 13:06 | 33.0023 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 263.3002 | μmol/L | 18.2873 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.173 | 129070.0875 | 290863.6464 | 59.9307 | 49.4
21774 | 2022-05-20 13:06 | 33.3361 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 263.4626 | μmol/L | 18.2811 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.168 | 129033.2069 | 290854.0339 | 59.9307 | 49.4
21784 | 2022-05-20 13:07 | 33.669 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 263.3954 | μmol/L | 18.2811 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.171 | 129033.607 | 290836.6946 | 59.9307 | 49.4
21794 | 2022-05-20 13:07 | 34.0027 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 263.4345 | μmol/L | 18.2873 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.167 | 128997.7532 | 290846.7454 | 59.9307 | 49.4
21804 | 2022-05-20 13:07 | 34.3355 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 263.4234 | μmol/L | 18.2749 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.172 | 129022.7113 | 290837.9006 | 59.9307 | 49.4
21814 | 2022-05-20 13:08 | 34.6691 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 263.3115 | μmol/L | 18.2749 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.177 | 129048.8157 | 290827.8007 | 59.9307 | 49.4
21824 | 2022-05-20 13:08 | 35.0026 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 263.3282 | μmol/L | 18.2811 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.174 | 129012.1494 | 290823.1904 | 59.9307 | 49.4
21834 | 2022-05-20 13:08 | 35.336 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 263.4682 | μmol/L | 18.2749 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.17 | 128975.8149 | 290822.7298 | 59.9307 | 49.4
21844 | 2022-05-20 13:09 | 35.669 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 263.4963 | μmol/L | 18.2688 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.171 | 128996.5246 | 290820.7424 | 59.9307 | 49.4
21854 | 2022-05-20 13:09 | 36.0027 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 263.211 | μmol/L | 18.2626 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.186 | 129052.3554 | 290820.3518 | 59.9307 | 49.4
21864 | 2022-05-20 13:09 | 36.3362 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 263.1943 | μmol/L | 18.2564 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.189 | 129089.1711 | 290797.2659 | 59.9307 | 49.4
21874 | 2022-05-20 13:10 | 36.6689 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 262.9818 | μmol/L | 18.2688 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.194 | 129091.026 | 290796.687 | 59.9307 | 49.4
21884 | 2022-05-20 13:10 | 37.0026 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 263.0602 | μmol/L | 18.2564 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.195 | 129120.3125 | 290785.0584 | 59.9307 | 49.4
21894 | 2022-05-20 13:10 | 37.3358 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 262.9428 | μmol/L | 18.2626 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.198 | 129123.8923 | 290766.6247 | 59.9307 | 49.4
21904 | 2022-05-20 13:11 | 37.6694 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 262.9038 | μmol/L | 18.2564 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.202 | 129141.4963 | 290784.6106 | 59.9307 | 49.4
21914 | 2022-05-20 13:11 | 38.0023 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 262.7252 | μmol/L | 18.2564 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.21 | 129161.9194 | 290778.2929 | 59.9307 | 49.4
21924 | 2022-05-20 13:11 | 38.3359 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 262.7698 | μmol/L | 18.2564 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.208 | 129171.4582 | 290761.224 | 59.9307 | 49.4
21934 | 2022-05-20 13:12 | 38.6695 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 262.6416 | μmol/L | 18.2503 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.216 | 129179.2559 | 290752.4146 | 59.9307 | 49.4
21944 | 2022-05-20 13:12 | 39.0026 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 262.5747 | μmol/L | 18.2503 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.219 | 129217.2798 | 290745.9649 | 59.9307 | 49.4
21954 | 2022-05-20 13:12 | 39.3362 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 262.6085 | μmol/L | 18.2379 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.222 | 129215.6377 | 290729.1737 | 59.9307 | 49.4
21964 | 2022-05-20 13:13 | 39.6691 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 262.5416 | μmol/L | 18.2379 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.225 | 129226.7513 | 290723.1205 | 59.9307 | 49.4
21974 | 2022-05-20 13:13 | 40.0027 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 262.3964 | μmol/L | 18.2503 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.227 | 129248.9331 | 290716.4867 | 59.9307 | 49.4
21984 | 2022-05-20 13:13 | 40.3362 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 262.3576 | μmol/L | 18.2441 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.231 | 129274.1746 | 290704.064 | 59.9307 | 49.4
21994 | 2022-05-20 13:14 | 40.6689 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 262.0904 | μmol/L | 18.2441 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.243 | 129313.1443 | 290708.645 | 59.9307 | 49.4
22004 | 2022-05-20 13:14 | 41.0026 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 262.0739 | μmol/L | 18.2379 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.246 | 129336.7485 | 290719.2803 | 59.9307 | 49.4
22014 | 2022-05-20 13:14 | 41.3362 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 262.341 | μmol/L | 18.2379 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.234 | 129256.609 | 290692.9715 | 59.9307 | 49.4
22024 | 2022-05-20 13:15 | 41.6689 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 262.341 | μmol/L | 18.2379 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.234 | 129227.3459 | 290702.6799 | 59.9307 | 49.4
22034 | 2022-05-20 13:15 | 42.0026 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 262.2297 | μmol/L | 18.2379 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.239 | 129290.9556 | 290692.6744 | 59.9307 | 49.4
22044 | 2022-05-20 13:15 | 42.3356 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 262.0961 | μmol/L | 18.2379 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.245 | 129325.1051 | 290678.0171 | 59.9307 | 49.4
22054 | 2022-05-20 13:16 | 42.6693 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 261.9404 | μmol/L | 18.2379 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.252 | 129348.6914 | 290676.6855 | 59.9307 | 49.4
22064 | 2022-05-20 13:16 | 43.0027 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 261.6681 | μmol/L | 18.2441 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.262 | 129405.6516 | 290672.596 | 59.9307 | 49.4
22074 | 2022-05-20 13:16 | 43.3361 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 261.6129 | μmol/L | 18.2318 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.269 | 129471.9757 | 290666.1749 | 59.9307 | 49.4
22084 | 2022-05-20 13:17 | 43.6688 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 261.3911 | μmol/L | 18.2318 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.279 | 129539.2679 | 290663.4673 | 59.9307 | 49.4
22094 | 2022-05-20 13:17 | 44.0022 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 260.9759 | μmol/L | 18.2256 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.3 | 129614.338 | 290646.6049 | 59.9307 | 49.4
22104 | 2022-05-20 13:17 | 44.3358 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 260.4233 | μmol/L | 18.2256 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.325 | 129796.6168 | 290658.6832 | 59.9307 | 49.4
22114 | 2022-05-20 13:18 | 44.6696 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 259.7342 | μmol/L | 18.2318 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.354 | 129962.7862 | 290652.5394 | 59.9307 | 49.4
22124 | 2022-05-20 13:18 | 45.0022 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 258.3959 | μmol/L | 18.2318 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.415 | 130344.9286 | 290637.3017 | 59.9307 | 49.4
22134 | 2022-05-20 13:18 | 45.3359 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 258.571 | μmol/L | 18.2318 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.407 | 130299.6938 | 290629.796 | 59.9307 | 49.4
22144 | 2022-05-20 13:19 | 45.6694 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 258.6205 | μmol/L | 18.2256 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.407 | 130267.1121 | 290623.6279 | 59.9307 | 49.4
22154 | 2022-05-20 13:19 | 46.0023 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 258.5929 | μmol/L | 18.2318 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.406 | 130257.9525 | 290625.7238 | 59.9307 | 49.4
22164 | 2022-05-20 13:19 | 46.336 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 258.4397 | μmol/L | 18.2318 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.413 | 130313.7539 | 290618.9858 | 59.9307 | 49.4
22174 | 2022-05-20 13:20 | 46.6696 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 258.3741 | μmol/L | 18.2318 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.416 | 130327.6969 | 290599.9377 | 59.9307 | 49.4
22184 | 2022-05-20 13:20 | 47.0023 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 258.4455 | μmol/L | 18.2256 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.415 | 130289.0199 | 290594.4248 | 59.9307 | 49.4
22194 | 2022-05-20 13:20 | 47.336 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 258.8073 | μmol/L | 18.2132 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.403 | 130226.3659 | 290587.9769 | 59.9307 | 49.4
22204 | 2022-05-20 13:21 | 47.6695 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 258.8235 | μmol/L | 18.2194 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.4 | 130199.3969 | 290571.236 | 59.9307 | 49.4
22214 | 2022-05-20 13:21 | 48.0022 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 258.692 | μmol/L | 18.2194 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.406 | 130206.074 | 290588.7322 | 59.9307 | 49.4
22224 | 2022-05-20 13:21 | 48.3358 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 258.7081 | μmol/L | 18.2256 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.403 | 130195.6148 | 290577.8497 | 59.9307 | 49.4
22234 | 2022-05-20 13:22 | 48.6694 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 258.6263 | μmol/L | 18.2194 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.409 | 130216.607 | 290561.5873 | 59.9307 | 49.4
22244 | 2022-05-20 13:22 | 49.0028 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 258.7255 | μmol/L | 18.2071 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.409 | 130210.4952 | 290540.2378 | 59.9307 | 49.4
22254 | 2022-05-20 13:22 | 49.3363 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 258.5884 | μmol/L | 18.2132 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.413 | 130211.2186 | 290554.548 | 59.9307 | 49.4
22264 | 2022-05-20 13:23 | 49.669 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 257.4097 | μmol/L | 18.2132 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.467 | 130585.4284 | 290539.9555 | 59.9307 | 49.4
22274 | 2022-05-20 13:23 | 50.0028 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 257.2573 | μmol/L | 18.2132 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.474 | 130620.3666 | 290545.1611 | 59.9307 | 49.4
22284 | 2022-05-20 13:23 | 50.3355 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 257.3502 | μmol/L | 18.2071 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.472 | 130578.4144 | 290530.2772 | 59.9307 | 49.4
22294 | 2022-05-20 13:24 | 50.6692 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 257.3879 | μmol/L | 18.2132 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.468 | 130560.2929 | 290519.1174 | 59.9307 | 49.4
22304 | 2022-05-20 13:24 | 51.0029 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 257.3444 | μmol/L | 18.2132 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.47 | 130565.0647 | 290513.8418 | 59.9307 | 49.4
22314 | 2022-05-20 13:24 | 51.3362 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 257.3502 | μmol/L | 18.2071 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.472 | 130569.2069 | 290490.7489 | 59.9307 | 49.4
22324 | 2022-05-20 13:25 | 51.669 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 257.2356 | μmol/L | 18.2132 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.475 | 130581.0921 | 290498.8692 | 59.9307 | 49.4
22334 | 2022-05-20 13:25 | 52.0026 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 257.2197 | μmol/L | 18.2071 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.478 | 130604.2894 | 290505.0791 | 59.9307 | 49.4
22344 | 2022-05-20 13:25 | 52.3361 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 256.9747 | μmol/L | 18.2132 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.487 | 130623.0208 | 290513.7271 | 59.9307 | 49.4
22354 | 2022-05-20 13:26 | 52.6696 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 256.9747 | μmol/L | 18.2132 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.487 | 130639.9923 | 290481.7914 | 59.9307 | 49.4
22364 | 2022-05-20 13:26 | 53.0023 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 257.0023 | μmol/L | 18.2071 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.488 | 130658.14 | 290494.9853 | 59.9307 | 49.4
22374 | 2022-05-20 13:26 | 53.3358 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 256.9864 | μmol/L | 18.2009 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.491 | 130672.9636 | 290495.7634 | 59.9307 | 49.4
22384 | 2022-05-20 13:27 | 53.6693 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 256.872 | μmol/L | 18.2071 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.494 | 130688.5707 | 290481.034 | 59.9307 | 49.4
22394 | 2022-05-20 13:27 | 54.003 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 256.5957 | μmol/L | 18.2009 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.509 | 130776.0733 | 290488.8195 | 59.9307 | 49.4
22404 | 2022-05-20 13:27 | 54.3357 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 256.5149 | μmol/L | 18.1947 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.515 | 130784.0996 | 290476.4982 | 59.9307 | 49.4
22414 | 2022-05-20 13:28 | 54.6692 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 256.314 | μmol/L | 18.2009 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.522 | 130837.7333 | 290471.841 | 59.9307 | 49.4
22424 | 2022-05-20 13:28 | 55.0022 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 256.1625 | μmol/L | 18.2009 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.529 | 130855.4812 | 290446.9304 | 59.9307 | 49.4
22434 | 2022-05-20 13:28 | 55.3359 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 256.076 | μmol/L | 18.2009 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.533 | 130883.2714 | 290464.9967 | 59.9307 | 49.4
22444 | 2022-05-20 13:29 | 55.6694 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 254.696 | μmol/L | 18.2009 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.597 | 131282.6576 | 290455.1646 | 59.9307 | 49.4
22454 | 2022-05-20 13:29 | 56.0029 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 254.6316 | μmol/L | 18.2009 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.6 | 131297.5996 | 290453.9442 | 59.9307 | 49.4
22464 | 2022-05-20 13:29 | 56.3357 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 254.6472 | μmol/L | 18.2071 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.597 | 131263.0334 | 290457.8573 | 59.9307 | 49.4
22474 | 2022-05-20 13:30 | 56.6694 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 253.5114 | μmol/L | 18.2071 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.65 | 131607.1529 | 290444.0564 | 59.9307 | 49.4
22484 | 2022-05-20 13:30 | 57.0028 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 252.4088 | μmol/L | 18.2009 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.704 | 131952.3511 | 290440.234 | 59.9307 | 49.4
22494 | 2022-05-20 13:30 | 57.3362 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 253.0167 | μmol/L | 18.1886 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.68 | 131790.6595 | 290442.4774 | 59.9307 | 49.4
22504 | 2022-05-20 13:31 | 57.669 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 253.0108 | μmol/L | 18.1947 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.678 | 131785.3582 | 290435.657 | 59.9307 | 49.4
22514 | 2022-05-20 13:31 | 58.0029 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 253.0535 | μmol/L | 18.1947 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.676 | 131744.3094 | 290436.0536 | 59.9307 | 49.4
22524 | 2022-05-20 13:31 | 58.3355 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 248.6788 | μmol/L | 18.2009 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.881 | 133065.9893 | 290429.7453 | 59.9307 | 49.4
22534 | 2022-05-20 13:32 | 58.6693 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 249.8787 | μmol/L | 18.1947 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.826 | 132702.8168 | 290436.5431 | 59.9307 | 49.4
22544 | 2022-05-20 13:32 | 59.0022 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 250.5671 | μmol/L | 18.2009 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.791 | 132477.9628 | 290421.6857 | 59.9307 | 49.4
22554 | 2022-05-20 13:32 | 59.3355 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 251.0736 | μmol/L | 18.2009 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.767 | 132313.8926 | 290428.3112 | 59.9307 | 49.4
22564 | 2022-05-20 13:33 | 59.669 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 251.4119 | μmol/L | 18.2009 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.751 | 132191.0048 | 290415.3113 | 59.9307 | 49.4
22574 | 2022-05-20 13:33 | 60.0025 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 251.6719 | μmol/L | 18.1947 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.741 | 132118.6361 | 290408.2146 | 59.9307 | 49.4
22584 | 2022-05-20 13:33 | 60.3362 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 251.9109 | μmol/L | 18.1886 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.732 | 132050.3139 | 290411.9302 | 59.9307 | 49.4
22594 | 2022-05-20 13:34 | 60.6691 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 252.0748 | μmol/L | 18.1947 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.722 | 131990.6137 | 290399.2616 | 59.9307 | 49.4
22604 | 2022-05-20 13:34 | 61.0028 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 252.3568 | μmol/L | 18.1886 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.711 | 131943.7159 | 290381.4159 | 59.9307 | 49.4
22614 | 2022-05-20 13:34 | 61.3355 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 252.3202 | μmol/L | 18.1824 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.715 | 131944.9012 | 290386.5677 | 59.9307 | 49.4
22624 | 2022-05-20 13:35 | 61.6689 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 252.4572 | μmol/L | 18.1947 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.704 | 131869.6701 | 290383.0896 | 59.9307 | 49.4
22634 | 2022-05-20 13:35 | 62.0026 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 252.6759 | μmol/L | 18.1886 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.696 | 131818.1936 | 290389.4245 | 59.9307 | 49.4
22644 | 2022-05-20 13:35 | 62.3361 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 252.7126 | μmol/L | 18.1947 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.692 | 131775.6 | 290379.8893 | 59.9307 | 49.4
22654 | 2022-05-20 13:36 | 62.6696 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 252.819 | μmol/L | 18.1947 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.687 | 131748.0279 | 290372.988 | 59.9307 | 49.4
22664 | 2022-05-20 13:36 | 63.0026 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 252.7823 | μmol/L | 18.1886 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.691 | 131743.5148 | 290357.9155 | 59.9307 | 49.4
22674 | 2022-05-20 13:36 | 63.3355 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 252.8308 | μmol/L | 18.1824 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.691 | 131755.7572 | 290353.8551 | 59.9307 | 49.4
22684 | 2022-05-20 13:37 | 63.669 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 252.8462 | μmol/L | 18.1886 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.688 | 131758.8102 | 290341.2886 | 59.9307 | 49.4
22694 | 2022-05-20 13:37 | 64.0029 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 252.6818 | μmol/L | 18.1824 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.698 | 131788.0161 | 290358.9058 | 59.9307 | 49.4
22704 | 2022-05-20 13:37 | 64.3356 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 252.7031 | μmol/L | 18.1824 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.697 | 131775.6651 | 290340.2706 | 59.9307 | 49.4
22714 | 2022-05-20 13:38 | 64.6694 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 252.6238 | μmol/L | 18.1762 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.703 | 131797.7589 | 290343.9824 | 59.9307 | 49.4
22724 | 2022-05-20 13:38 | 65.0029 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 252.4631 | μmol/L | 18.1886 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.706 | 131825.92 | 290358.1018 | 59.9307 | 49.4
22734 | 2022-05-20 13:38 | 65.3356 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 252.3261 | μmol/L | 18.1762 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.717 | 131888.0884 | 290331.3105 | 59.9307 | 49.4
22744 | 2022-05-20 13:39 | 65.6692 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 252.1928 | μmol/L | 18.1824 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.721 | 131903.0508 | 290341.9582 | 59.9307 | 49.4
22754 | 2022-05-20 13:39 | 66.0028 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 252.1078 | μmol/L | 18.1824 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.725 | 131920.549 | 290343.3906 | 59.9307 | 49.4
22764 | 2022-05-20 13:39 | 66.3358 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 252.1197 | μmol/L | 18.1701 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.729 | 131925.5356 | 290338.1415 | 59.9307 | 49.4
22774 | 2022-05-20 13:40 | 66.6693 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 252.0536 | μmol/L | 18.1947 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.723 | 131918.3192 | 290306.8985 | 59.9307 | 49.4
22784 | 2022-05-20 13:40 | 67.0029 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 252.0076 | μmol/L | 18.1762 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.732 | 131953.4965 | 290328.3834 | 59.9307 | 49.4
22794 | 2022-05-20 13:40 | 67.3355 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 251.0913 | μmol/L | 18.1824 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.773 | 132193.3826 | 290310.35 | 59.9307 | 49.4
22804 | 2022-05-20 13:41 | 67.6692 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 251.3721 | μmol/L | 18.1762 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.762 | 132116.0345 | 290313.3002 | 59.9307 | 49.4
22814 | 2022-05-20 13:41 | 68.0027 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 251.4296 | μmol/L | 18.1824 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.757 | 132097.9827 | 290303.768 | 59.9307 | 49.4
22824 | 2022-05-20 13:41 | 68.3356 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 251.2333 | μmol/L | 18.1886 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.764 | 132109.1834 | 290283.3751 | 59.9307 | 49.4
22834 | 2022-05-20 13:42 | 68.6692 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 251.2663 | μmol/L | 18.1762 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.767 | 132122.2301 | 290297.6183 | 59.9307 | 49.4
22844 | 2022-05-20 13:42 | 69.003 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 251.345 | μmol/L | 18.1824 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.761 | 132094.0252 | 290269.372 | 59.9307 | 49.4
22854 | 2022-05-20 13:42 | 69.3356 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 251.3145 | μmol/L | 18.1701 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.767 | 132102.6846 | 290268.8239 | 59.9307 | 49.4
22864 | 2022-05-20 13:43 | 69.6692 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 251.2181 | μmol/L | 18.1824 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.767 | 132114.2594 | 290274.7363 | 59.9307 | 49.4
22874 | 2022-05-20 13:43 | 70.0027 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 251.3145 | μmol/L | 18.1701 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.767 | 132113.3042 | 290253.3615 | 59.9307 | 49.4
22884 | 2022-05-20 13:43 | 70.3361 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 251.224 | μmol/L | 18.1762 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.769 | 132099.3345 | 290245.6233 | 59.9307 | 49.4
22894 | 2022-05-20 13:44 | 70.6697 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 251.3298 | μmol/L | 18.1762 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.764 | 132056.068 | 290236.5014 | 59.9307 | 49.4
22904 | 2022-05-20 13:44 | 71.0026 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 251.499 | μmol/L | 18.1762 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.756 | 132041.0221 | 290236.3329 | 59.9307 | 49.4
22914 | 2022-05-20 13:44 | 71.3363 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 251.3298 | μmol/L | 18.1762 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.764 | 132052.5161 | 290219.4275 | 59.9307 | 49.4
22924 | 2022-05-20 13:45 | 71.669 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 251.4051 | μmol/L | 18.1639 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.765 | 132055.0883 | 290229.5912 | 59.9307 | 49.4
22934 | 2022-05-20 13:45 | 72.0028 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 251.6955 | μmol/L | 18.1701 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.749 | 131981.0826 | 290222.959 | 59.9307 | 49.4
22944 | 2022-05-20 13:45 | 72.3356 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 251.2393 | μmol/L | 18.1824 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.766 | 132051.4316 | 290203.0691 | 59.9307 | 49.4
22954 | 2022-05-20 13:46 | 72.6691 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 251.1184 | μmol/L | 18.1762 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.774 | 132092.6079 | 290192.574 | 59.9307 | 49.4
22964 | 2022-05-20 13:46 | 73.0028 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 250.865 | μmol/L | 18.1762 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.786 | 132141.0401 | 290200.922 | 59.9307 | 49.4
22974 | 2022-05-20 13:46 | 73.3363 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 250.6541 | μmol/L | 18.1762 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.796 | 132235.7977 | 290212.1832 | 59.9307 | 49.4
22984 | 2022-05-20 13:47 | 73.669 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 250.3861 | μmol/L | 18.1701 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.811 | 132306.0579 | 290200.8314 | 59.9307 | 49.4
22994 | 2022-05-20 13:47 | 74.0028 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 250.2178 | μmol/L | 18.1701 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.819 | 132350.8753 | 290173.6474 | 59.9307 | 49.4
23004 | 2022-05-20 13:47 | 74.3357 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 250.1277 | μmol/L | 18.1762 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.821 | 132369.1605 | 290175.1363 | 59.9307 | 49.4
23014 | 2022-05-20 13:48 | 74.6692 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 250.0285 | μmol/L | 18.1701 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.828 | 132398.4813 | 290184.7615 | 59.9307 | 49.4
23024 | 2022-05-20 13:48 | 75.0022 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 250.0075 | μmol/L | 18.1701 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.829 | 132402.3386 | 290156.5242 | 59.9307 | 49.4
23034 | 2022-05-20 13:48 | 75.3357 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 249.8604 | μmol/L | 18.1701 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.836 | 132428.202 | 290148.5687 | 59.9307 | 49.4
23044 | 2022-05-20 13:49 | 75.6692 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 249.8184 | μmol/L | 18.1701 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.838 | 132458.612 | 290156.6439 | 59.9307 | 49.4
23054 | 2022-05-20 13:49 | 76.0027 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 249.5816 | μmol/L | 18.1762 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.847 | 132481.5407 | 290161.0596 | 59.9307 | 49.4
23064 | 2022-05-20 13:49 | 76.3355 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 249.5456 | μmol/L | 18.1701 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.851 | 132507.7776 | 290157.2756 | 59.9307 | 49.4
23074 | 2022-05-20 13:50 | 76.6689 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 249.3989 | μmol/L | 18.1701 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.858 | 132543.4295 | 290150.7387 | 59.9307 | 49.4
23084 | 2022-05-20 13:50 | 77.0026 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 249.357 | μmol/L | 18.1701 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.86 | 132565.7356 | 290135.9187 | 59.9307 | 49.4
23094 | 2022-05-20 13:50 | 77.3361 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 249.2523 | μmol/L | 18.1701 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.865 | 132580.6219 | 290131.6037 | 59.9307 | 49.4
23104 | 2022-05-20 13:51 | 77.6695 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 249.1685 | μmol/L | 18.1701 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.869 | 132599.8517 | 290114.4735 | 59.9307 | 49.4
23114 | 2022-05-20 13:51 | 78.0023 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 248.9802 | μmol/L | 18.1701 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.878 | 132674.9472 | 290136.3835 | 59.9307 | 49.4
23124 | 2022-05-20 13:51 | 78.3357 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 248.631 | μmol/L | 18.1639 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.897 | 132771.3478 | 290129.8852 | 59.9307 | 49.4
23134 | 2022-05-20 13:52 | 78.6693 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 248.3806 | μmol/L | 18.1639 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.909 | 132821.5958 | 290116.9557 | 59.9307 | 49.4
23144 | 2022-05-20 13:52 | 79.003 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 248.193 | μmol/L | 18.1639 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.918 | 132880.7416 | 290128.6103 | 59.9307 | 49.4
23154 | 2022-05-20 13:52 | 79.3356 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 248.0888 | μmol/L | 18.1639 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.923 | 132899.0028 | 290114.8512 | 59.9307 | 49.4
23164 | 2022-05-20 13:53 | 79.6693 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 248.0264 | μmol/L | 18.1639 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.926 | 132907.7851 | 290096.3334 | 59.9307 | 49.4
23174 | 2022-05-20 13:53 | 80.0022 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 247.9788 | μmol/L | 18.1701 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.926 | 132912.7804 | 290096.4127 | 59.9307 | 49.4
23184 | 2022-05-20 13:53 | 80.336 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 247.9372 | μmol/L | 18.1701 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.928 | 132929.62 | 290092.974 | 59.9307 | 49.4
23194 | 2022-05-20 13:54 | 80.6695 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 247.9431 | μmol/L | 18.1639 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.93 | 132918.4805 | 290094.3365 | 59.9307 | 49.4
23204 | 2022-05-20 13:54 | 81.0024 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 247.9431 | μmol/L | 18.1639 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.93 | 132926.8541 | 290076.6899 | 59.9307 | 49.4
23214 | 2022-05-20 13:54 | 81.3359 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 247.7916 | μmol/L | 18.1701 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.935 | 132966.2149 | 290071.9146 | 59.9307 | 49.4
23224 | 2022-05-20 13:55 | 81.669 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 247.5214 | μmol/L | 18.1701 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.948 | 133031.2823 | 290065.2198 | 59.9307 | 49.4
23234 | 2022-05-20 13:55 | 82.0024 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 247.4651 | μmol/L | 18.1639 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.953 | 133049.9013 | 290052.1149 | 59.9307 | 49.4
23244 | 2022-05-20 13:55 | 82.3362 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 247.3346 | μmol/L | 18.1701 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.957 | 133070.8059 | 290063.2168 | 59.9307 | 49.4
23254 | 2022-05-20 13:56 | 82.6692 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 247.2991 | μmol/L | 18.1639 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.961 | 133108.0575 | 290057.625 | 59.9307 | 49.4
23264 | 2022-05-20 13:56 | 83.0028 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 247.071 | μmol/L | 18.1639 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.972 | 133148.2661 | 290057.9081 | 59.9307 | 49.4
23274 | 2022-05-20 13:56 | 83.3355 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 246.8225 | μmol/L | 18.1639 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.984 | 133209.062 | 290068.5649 | 59.9307 | 49.4
23284 | 2022-05-20 13:57 | 83.669 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 246.657 | μmol/L | 18.1639 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.992 | 133254.1739 | 290051.5607 | 59.9307 | 49.4
23294 | 2022-05-20 13:57 | 84.0026 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 246.6629 | μmol/L | 18.1577 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 23.994 | 133285.3954 | 290058.3483 | 59.9307 | 49.4
23304 | 2022-05-20 13:57 | 84.3362 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 246.4916 | μmol/L | 18.1639 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 24 | 133303.5024 | 290048.6593 | 59.9307 | 49.4
23314 | 2022-05-20 13:58 | 84.669 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 246.4562 | μmol/L | 18.1577 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 24.004 | 133327.627 | 290048.7716 | 59.9307 | 49.4
23324 | 2022-05-20 13:58 | 85.0026 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 246.3203 | μmol/L | 18.1701 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 24.006 | 133343.7191 | 290035.543 | 59.9307 | 49.4
23334 | 2022-05-20 13:58 | 85.3361 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 246.2704 | μmol/L | 18.1577 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 24.013 | 133381.9952 | 290024.3584 | 59.9307 | 49.4
23344 | 2022-05-20 13:59 | 85.669 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 245.9696 | μmol/L | 18.1701 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 24.023 | 133421.4337 | 290035.9448 | 59.9307 | 49.4
23354 | 2022-05-20 13:59 | 86.0028 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 245.9138 | μmol/L | 18.1639 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 24.028 | 133434.2669 | 290023.8823 | 59.9307 | 49.4
23364 | 2022-05-20 13:59 | 86.3358 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 246.0434 | μmol/L | 18.1577 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 24.024 | 133455.5456 | 290029.3706 | 59.9307 | 49.4
23374 | 2022-05-20 14:00 | 86.6692 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 245.8726 | μmol/L | 18.1639 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 24.03 | 133489.0289 | 290005.3727 | 59.9307 | 49.4
23384 | 2022-05-20 14:00 | 87.0028 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 245.9052 | μmol/L | 18.1515 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 24.033 | 133491.1385 | 289997.4273 | 59.9307 | 49.4
23394 | 2022-05-20 14:00 | 87.3356 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 245.864 | μmol/L | 18.1515 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 24.035 | 133490.2371 | 290003.1841 | 59.9307 | 49.4
23404 | 2022-05-20 14:01 | 87.6694 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 245.8434 | μmol/L | 18.1515 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 24.036 | 133506.2087 | 290010.1748 | 59.9307 | 49.4
23414 | 2022-05-20 14:01 | 88.0022 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 245.8906 | μmol/L | 18.1454 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 24.036 | 133501.412 | 290011.9314 | 59.9307 | 49.4
23424 | 2022-05-20 14:01 | 88.3356 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 245.7756 | μmol/L | 18.1577 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 24.037 | 133498.9132 | 289978.8669 | 59.9307 | 49.4
23434 | 2022-05-20 14:02 | 88.6691 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 245.7198 | μmol/L | 18.1515 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 24.042 | 133516.6689 | 289999.6241 | 59.9307 | 49.4
23444 | 2022-05-20 14:02 | 89.0026 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 245.5226 | μmol/L | 18.1639 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 24.047 | 133542.0593 | 289981.7736 | 59.9307 | 49.4
23454 | 2022-05-20 14:02 | 89.3362 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 245.514 | μmol/L | 18.1515 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 24.052 | 133573.4018 | 289983.5837 | 59.9307 | 49.4
23464 | 2022-05-20 14:03 | 89.6692 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 245.2554 | μmol/L | 18.1639 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 24.06 | 133612.0045 | 289993.7356 | 59.9307 | 49.4
23474 | 2022-05-20 14:03 | 90.0025 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 245.0441 | μmol/L | 18.1701 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 24.068 | 133680.7251 | 289976.7637 | 59.9307 | 49.4
23484 | 2022-05-20 14:03 | 90.3363 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 244.8185 | μmol/L | 18.1701 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 24.079 | 133738.3571 | 289984.6724 | 59.9307 | 49.4
23494 | 2022-05-20 14:04 | 90.6696 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 244.8595 | μmol/L | 18.1701 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 24.077 | 133709.1228 | 289979.9189 | 59.9307 | 49.4
23504 | 2022-05-20 14:04 | 91.0028 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 244.81 | μmol/L | 18.1577 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 24.084 | 133768.1584 | 289993.6879 | 59.9307 | 49.4