## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_10 | O2 | 200465988 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 10:01

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-20 15:44

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
23511 | 2022-05-20 14:22 | 0 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.5252 | μmol/L | 18.1164 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.19 | 106573.5067 | 268314.1534 | 32.55 | 27.7
23521 | 2022-05-20 14:23 | 0.32552 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.5306 | μmol/L | 18.1103 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.192 | 106555.4913 | 268306.8165 | 32.55 | 27.7
23531 | 2022-05-20 14:23 | 0.65919 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.5501 | μmol/L | 18.1164 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.189 | 106547.6173 | 268296.7913 | 32.55 | 27.7
23541 | 2022-05-20 14:23 | 0.99257 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.4398 | μmol/L | 18.1287 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.189 | 106521.478 | 268280.5261 | 32.55 | 27.7
23551 | 2022-05-20 14:24 | 1.3254 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.4895 | μmol/L | 18.1287 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.187 | 106515.1956 | 268275.6776 | 32.55 | 27.7
23561 | 2022-05-20 14:24 | 1.6588 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.4452 | μmol/L | 18.1225 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.191 | 106501.8999 | 268253.9518 | 32.55 | 27.7
23571 | 2022-05-20 14:24 | 1.9928 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.415 | μmol/L | 18.1287 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.19 | 106493.9619 | 268233.1727 | 32.55 | 27.7
23581 | 2022-05-20 14:25 | 2.3255 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.5198 | μmol/L | 18.1225 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.188 | 106471.967 | 268223.3375 | 32.55 | 27.7
23591 | 2022-05-20 14:25 | 2.659 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.4841 | μmol/L | 18.1348 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.185 | 106465.68 | 268209.3413 | 32.55 | 27.7
23601 | 2022-05-20 14:25 | 2.9924 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.5944 | μmol/L | 18.1225 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.185 | 106461.5458 | 268206.7033 | 32.55 | 27.7
23611 | 2022-05-20 14:26 | 3.326 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.5393 | μmol/L | 18.1287 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.185 | 106449.8552 | 268198.5219 | 32.55 | 27.7
23621 | 2022-05-20 14:26 | 3.6587 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.5587 | μmol/L | 18.1348 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.182 | 106435.9279 | 268181.4555 | 32.55 | 27.7
23631 | 2022-05-20 14:26 | 3.9921 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.5944 | μmol/L | 18.1225 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.185 | 106425.1592 | 268160.8774 | 32.55 | 27.7
23641 | 2022-05-20 14:27 | 4.3257 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.589 | μmol/L | 18.1287 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.183 | 106417.3326 | 268159.1301 | 32.55 | 27.7
23651 | 2022-05-20 14:27 | 4.6594 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.589 | μmol/L | 18.1287 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.183 | 106398.1331 | 268145.6934 | 32.55 | 27.7
23661 | 2022-05-20 14:27 | 4.9921 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.5836 | μmol/L | 18.1348 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.181 | 106386.2273 | 268147.516 | 32.55 | 27.7
23671 | 2022-05-20 14:28 | 5.3257 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.6387 | μmol/L | 18.1287 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.181 | 106375.9089 | 268134.4363 | 32.55 | 27.7
23681 | 2022-05-20 14:28 | 5.6594 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.5587 | μmol/L | 18.1348 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.182 | 106374.1931 | 268134.4083 | 32.55 | 27.7
23691 | 2022-05-20 14:28 | 5.9927 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.628 | μmol/L | 18.1409 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.177 | 106362.3362 | 268126.0646 | 32.55 | 27.7
23701 | 2022-05-20 14:29 | 6.3256 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.6831 | μmol/L | 18.1348 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.177 | 106352.8534 | 268118.0014 | 32.55 | 27.7
23711 | 2022-05-20 14:29 | 6.6589 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.6031 | μmol/L | 18.1409 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.178 | 106333.2956 | 268100.6406 | 32.55 | 27.7
23721 | 2022-05-20 14:29 | 6.9924 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.6528 | μmol/L | 18.1409 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.176 | 106325.412 | 268106.1603 | 32.55 | 27.7
23731 | 2022-05-20 14:30 | 7.3261 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.7329 | μmol/L | 18.1348 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.175 | 106320.265 | 268102.8352 | 32.55 | 27.7
23741 | 2022-05-20 14:30 | 7.6588 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.7578 | μmol/L | 18.1348 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.174 | 106316.0758 | 268091.4701 | 32.55 | 27.7
23751 | 2022-05-20 14:30 | 7.9922 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.7275 | μmol/L | 18.1409 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.173 | 106302.4825 | 268082.7394 | 32.55 | 27.7
23761 | 2022-05-20 14:31 | 8.3256 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.5782 | μmol/L | 18.1409 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.179 | 106329.8864 | 268078.529 | 32.55 | 27.7
23771 | 2022-05-20 14:31 | 8.6592 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.5587 | μmol/L | 18.1348 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.182 | 106354.7912 | 268066.5963 | 32.55 | 27.7
23781 | 2022-05-20 14:31 | 8.9928 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.3739 | μmol/L | 18.147 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.185 | 106370.1326 | 268071.1141 | 32.55 | 27.7
23791 | 2022-05-20 14:32 | 9.3258 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.3242 | μmol/L | 18.147 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.187 | 106376.2319 | 268066.1459 | 32.55 | 27.7
23801 | 2022-05-20 14:32 | 9.6588 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.3545 | μmol/L | 18.1409 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.188 | 106382.408 | 268063.2758 | 32.55 | 27.7
23811 | 2022-05-20 14:32 | 9.9923 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.1947 | μmol/L | 18.1531 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.19 | 106385.4711 | 268053.7007 | 32.55 | 27.7
23821 | 2022-05-20 14:33 | 10.3259 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.3599 | μmol/L | 18.1348 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.19 | 106383.6576 | 268048.2705 | 32.55 | 27.7
23831 | 2022-05-20 14:33 | 10.6593 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.2551 | μmol/L | 18.1409 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.192 | 106377.5406 | 268045.0693 | 32.55 | 27.7
23841 | 2022-05-20 14:33 | 10.9922 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.1007 | μmol/L | 18.147 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.196 | 106395.2629 | 268050.1518 | 32.55 | 27.7
23851 | 2022-05-20 14:34 | 11.3256 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.9713 | μmol/L | 18.1531 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.199 | 106398.8429 | 268056.3579 | 32.55 | 27.7
23861 | 2022-05-20 14:34 | 11.6591 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.1007 | μmol/L | 18.147 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.196 | 106413.3921 | 268043.0667 | 32.55 | 27.7
23871 | 2022-05-20 14:34 | 11.9926 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.0759 | μmol/L | 18.147 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.197 | 106410.4707 | 268030.8149 | 32.55 | 27.7
23881 | 2022-05-20 14:35 | 12.326 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.9465 | μmol/L | 18.1531 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.2 | 106413.0778 | 268025.1058 | 32.55 | 27.7
23891 | 2022-05-20 14:35 | 12.6594 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.8473 | μmol/L | 18.1531 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.204 | 106414.08 | 268025.2458 | 32.55 | 27.7
23901 | 2022-05-20 14:35 | 12.9922 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.9465 | μmol/L | 18.1531 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.2 | 106417.1368 | 268019.4805 | 32.55 | 27.7
23911 | 2022-05-20 14:36 | 13.3258 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.8031 | μmol/L | 18.147 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.208 | 106420.1281 | 268010.3551 | 32.55 | 27.7
23921 | 2022-05-20 14:36 | 13.6593 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.7481 | μmol/L | 18.1531 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.208 | 106435.9863 | 268011.6715 | 32.55 | 27.7
23931 | 2022-05-20 14:36 | 13.9928 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.7977 | μmol/L | 18.1531 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.206 | 106436.9757 | 268017.4372 | 32.55 | 27.7
23941 | 2022-05-20 14:37 | 14.3256 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.8279 | μmol/L | 18.147 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.207 | 106436.6029 | 268002.5177 | 32.55 | 27.7
23951 | 2022-05-20 14:37 | 14.659 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.7481 | μmol/L | 18.1531 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.208 | 106423.6332 | 268001.3795 | 32.55 | 27.7
23961 | 2022-05-20 14:37 | 14.9925 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.8774 | μmol/L | 18.147 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.205 | 106415.1278 | 268004.3131 | 32.55 | 27.7
23971 | 2022-05-20 14:38 | 15.326 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.7039 | μmol/L | 18.147 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.212 | 106415.8114 | 267999.7028 | 32.55 | 27.7
23981 | 2022-05-20 14:38 | 15.6595 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.5445 | μmol/L | 18.1592 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.214 | 106453.4209 | 267988.5744 | 32.55 | 27.7
23991 | 2022-05-20 14:38 | 15.9921 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.2777 | μmol/L | 18.1531 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.227 | 106517.0689 | 267984.2743 | 32.55 | 27.7
24001 | 2022-05-20 14:39 | 16.3256 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 287.9016 | μmol/L | 18.1592 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.24 | 106597.6781 | 267985.7405 | 32.55 | 27.7
24011 | 2022-05-20 14:39 | 16.6592 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 287.3836 | μmol/L | 18.1592 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.261 | 106696.9796 | 267973.5418 | 32.55 | 27.7
24021 | 2022-05-20 14:39 | 16.9928 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 287.1619 | μmol/L | 18.1592 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.27 | 106758.7947 | 267971.4387 | 32.55 | 27.7
24031 | 2022-05-20 14:40 | 17.3255 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 287.192 | μmol/L | 18.1531 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.271 | 106765.8087 | 267973.1583 | 32.55 | 27.7
24041 | 2022-05-20 14:40 | 17.659 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 287.0881 | μmol/L | 18.1592 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.273 | 106762.2306 | 267974.2384 | 32.55 | 27.7
24051 | 2022-05-20 14:40 | 17.9926 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.9843 | μmol/L | 18.1653 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.275 | 106758.5942 | 267966.4533 | 32.55 | 27.7
24061 | 2022-05-20 14:41 | 18.3261 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 287.1674 | μmol/L | 18.1531 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.272 | 106767.8136 | 267957.6004 | 32.55 | 27.7
24071 | 2022-05-20 14:41 | 18.6588 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 287.1373 | μmol/L | 18.1592 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.271 | 106769.1554 | 267950.937 | 32.55 | 27.7
24081 | 2022-05-20 14:41 | 18.9921 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.9651 | μmol/L | 18.1592 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.278 | 106779.7502 | 267952.2979 | 32.55 | 27.7
24091 | 2022-05-20 14:42 | 19.3255 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.8667 | μmol/L | 18.1592 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.282 | 106794.5458 | 267942.0432 | 32.55 | 27.7
24101 | 2022-05-20 14:42 | 19.6591 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.4983 | μmol/L | 18.1592 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.297 | 106850.913 | 267920.1995 | 32.55 | 27.7
24111 | 2022-05-20 14:42 | 19.9927 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.125 | μmol/L | 18.1653 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.31 | 106946.3786 | 267929.5703 | 32.55 | 27.7
24121 | 2022-05-20 14:43 | 20.3254 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.8067 | μmol/L | 18.1653 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.323 | 107021.253 | 267927.8369 | 32.55 | 27.7
24131 | 2022-05-20 14:43 | 20.659 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.5377 | μmol/L | 18.1653 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.334 | 107061.9218 | 267907.9256 | 32.55 | 27.7
24141 | 2022-05-20 14:43 | 20.9926 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.3368 | μmol/L | 18.1715 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.34 | 107104.1442 | 267913.4666 | 32.55 | 27.7
24151 | 2022-05-20 14:44 | 21.3261 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.2147 | μmol/L | 18.1715 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.345 | 107122.4119 | 267915.9858 | 32.55 | 27.7
24161 | 2022-05-20 14:44 | 21.6596 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.1958 | μmol/L | 18.1653 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.348 | 107148.1054 | 267906.5337 | 32.55 | 27.7
24171 | 2022-05-20 14:44 | 21.9929 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.9653 | μmol/L | 18.1776 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.353 | 107163.498 | 267903.5509 | 32.55 | 27.7
24181 | 2022-05-20 14:45 | 22.3255 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.0683 | μmol/L | 18.1715 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.351 | 107170.4725 | 267893.4244 | 32.55 | 27.7
24191 | 2022-05-20 14:45 | 22.6592 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.8864 | μmol/L | 18.1776 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.356 | 107182.0828 | 267886.7205 | 32.55 | 27.7
24201 | 2022-05-20 14:45 | 22.9921 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.922 | μmol/L | 18.1715 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.357 | 107192.6044 | 267889.7988 | 32.55 | 27.7
24211 | 2022-05-20 14:46 | 23.3255 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.7704 | μmol/L | 18.1776 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.361 | 107195.9143 | 267892.4768 | 32.55 | 27.7
24221 | 2022-05-20 14:46 | 23.6588 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.9464 | μmol/L | 18.1715 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.356 | 107198.8884 | 267897.8483 | 32.55 | 27.7
24231 | 2022-05-20 14:46 | 23.9925 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.8246 | μmol/L | 18.1715 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.361 | 107183.278 | 267884.7499 | 32.55 | 27.7
24241 | 2022-05-20 14:47 | 24.3262 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.8544 | μmol/L | 18.1653 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.362 | 107179.4475 | 267878.0362 | 32.55 | 27.7
24251 | 2022-05-20 14:47 | 24.6589 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.746 | μmol/L | 18.1776 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.362 | 107185.0577 | 267879.8963 | 32.55 | 27.7
24261 | 2022-05-20 14:47 | 24.9925 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.6486 | μmol/L | 18.1776 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.366 | 107198.7453 | 267878.4198 | 32.55 | 27.7
24271 | 2022-05-20 14:48 | 25.3261 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.5756 | μmol/L | 18.1776 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.369 | 107218.1197 | 267858.6503 | 32.55 | 27.7
24281 | 2022-05-20 14:48 | 25.6588 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.4481 | μmol/L | 18.1776 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.374 | 107246.2487 | 267866.1353 | 32.55 | 27.7
24291 | 2022-05-20 14:48 | 25.9923 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.2351 | μmol/L | 18.1776 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.383 | 107291.962 | 267877.6857 | 32.55 | 27.7
24301 | 2022-05-20 14:49 | 26.3257 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.065 | μmol/L | 18.1776 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.39 | 107340.3103 | 267866.8182 | 32.55 | 27.7
24311 | 2022-05-20 14:49 | 26.6591 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.798 | μmol/L | 18.1776 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.401 | 107396.1196 | 267850.2087 | 32.55 | 27.7
24321 | 2022-05-20 14:49 | 26.9926 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.5314 | μmol/L | 18.1776 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.412 | 107438.9141 | 267853.3418 | 32.55 | 27.7
24331 | 2022-05-20 14:50 | 27.326 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.4827 | μmol/L | 18.1715 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.416 | 107480.9644 | 267860.8277 | 32.55 | 27.7
24341 | 2022-05-20 14:50 | 27.6593 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.2464 | μmol/L | 18.1715 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.426 | 107525.7556 | 267848.0013 | 32.55 | 27.7
24351 | 2022-05-20 14:50 | 27.9922 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.999 | μmol/L | 18.1776 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.434 | 107570.7724 | 267838.8525 | 32.55 | 27.7
24361 | 2022-05-20 14:51 | 28.3258 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.8483 | μmol/L | 18.1776 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.44 | 107606.4573 | 267853.9998 | 32.55 | 27.7
24371 | 2022-05-20 14:51 | 28.6592 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.7517 | μmol/L | 18.1776 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.444 | 107630.8381 | 267839.6143 | 32.55 | 27.7
24381 | 2022-05-20 14:51 | 28.9928 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.4326 | μmol/L | 18.1837 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.455 | 107660.864 | 267854.4823 | 32.55 | 27.7
24391 | 2022-05-20 14:52 | 29.3256 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.3361 | μmol/L | 18.1837 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.459 | 107674.6617 | 267819.9687 | 32.55 | 27.7
24401 | 2022-05-20 14:52 | 29.659 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.4381 | μmol/L | 18.1776 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.457 | 107688.3599 | 267817.0005 | 32.55 | 27.7
24411 | 2022-05-20 14:52 | 29.9928 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.2879 | μmol/L | 18.1837 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.461 | 107690.3251 | 267818.4511 | 32.55 | 27.7
24421 | 2022-05-20 14:53 | 30.3257 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.0955 | μmol/L | 18.1898 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.467 | 107703.8173 | 267813.2876 | 32.55 | 27.7
24431 | 2022-05-20 14:53 | 30.6594 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.9453 | μmol/L | 18.1898 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.473 | 107742.6993 | 267805.627 | 32.55 | 27.7
24441 | 2022-05-20 14:53 | 30.9921 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.7587 | μmol/L | 18.1898 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.481 | 107788.69 | 267816.0573 | 32.55 | 27.7
24451 | 2022-05-20 14:54 | 31.3258 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.5367 | μmol/L | 18.1898 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.49 | 107844.2434 | 267805.3014 | 32.55 | 27.7
24461 | 2022-05-20 14:54 | 31.6594 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.1712 | μmol/L | 18.1959 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.503 | 107903.763 | 267810.7252 | 32.55 | 27.7
24471 | 2022-05-20 14:54 | 31.9928 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.0864 | μmol/L | 18.1837 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.511 | 107953.5406 | 267801.4602 | 32.55 | 27.7
24481 | 2022-05-20 14:55 | 32.3254 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.9906 | μmol/L | 18.1837 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.515 | 107980.0886 | 267795.2281 | 32.55 | 27.7
24491 | 2022-05-20 14:55 | 32.6591 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.7935 | μmol/L | 18.1898 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.521 | 107989.6097 | 267804.1658 | 32.55 | 27.7
24501 | 2022-05-20 14:55 | 32.9926 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.8174 | μmol/L | 18.1898 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.52 | 107989.1052 | 267795.8924 | 32.55 | 27.7
24511 | 2022-05-20 14:56 | 33.3254 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.7695 | μmol/L | 18.1898 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.522 | 107977.7938 | 267773.0787 | 32.55 | 27.7
24521 | 2022-05-20 14:56 | 33.6589 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.8892 | μmol/L | 18.1898 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.517 | 107971.1255 | 267786.8483 | 32.55 | 27.7
24531 | 2022-05-20 14:56 | 33.9926 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.8892 | μmol/L | 18.1898 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.517 | 107968.2792 | 267786.824 | 32.55 | 27.7
24541 | 2022-05-20 14:57 | 34.3262 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.8358 | μmol/L | 18.1959 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.517 | 107952.6478 | 267795.553 | 32.55 | 27.7
24551 | 2022-05-20 14:57 | 34.6589 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.9963 | μmol/L | 18.1837 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.515 | 107952.4343 | 267795.8737 | 32.55 | 27.7
24561 | 2022-05-20 14:57 | 34.9922 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.9189 | μmol/L | 18.1898 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.516 | 107950.7594 | 267790.9819 | 32.55 | 27.7
24571 | 2022-05-20 14:58 | 35.3256 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.9132 | μmol/L | 18.1898 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.516 | 107972.8656 | 267791.9007 | 32.55 | 27.7
24581 | 2022-05-20 14:58 | 35.6591 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.74 | μmol/L | 18.1959 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.521 | 107979.7404 | 267784.0722 | 32.55 | 27.7
24591 | 2022-05-20 14:58 | 35.9926 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.7751 | μmol/L | 18.1837 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.524 | 107971.7352 | 267779.7113 | 32.55 | 27.7
24601 | 2022-05-20 14:59 | 36.3262 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.8118 | μmol/L | 18.1959 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.518 | 107958.1622 | 267776.6677 | 32.55 | 27.7
24611 | 2022-05-20 14:59 | 36.6589 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.8653 | μmol/L | 18.1898 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.518 | 107951.0519 | 267783.8133 | 32.55 | 27.7
24621 | 2022-05-20 14:59 | 36.9926 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.8597 | μmol/L | 18.1959 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.516 | 107937.6334 | 267773.7078 | 32.55 | 27.7
24631 | 2022-05-20 15:00 | 37.3259 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.9316 | μmol/L | 18.1959 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.513 | 107925.4164 | 267765.5033 | 32.55 | 27.7
24641 | 2022-05-20 15:00 | 37.6595 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.9021 | μmol/L | 18.202 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.512 | 107914.277 | 267767.2303 | 32.55 | 27.7
24651 | 2022-05-20 15:00 | 37.9922 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.9739 | μmol/L | 18.202 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.509 | 107907.7411 | 267777.6405 | 32.55 | 27.7
24661 | 2022-05-20 15:01 | 38.3256 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.9739 | μmol/L | 18.202 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.509 | 107890.5601 | 267759.5606 | 32.55 | 27.7
24671 | 2022-05-20 15:01 | 38.6591 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.9979 | μmol/L | 18.202 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.508 | 107881.091 | 267761.0896 | 32.55 | 27.7
24681 | 2022-05-20 15:01 | 38.9927 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.1472 | μmol/L | 18.1959 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.504 | 107860.7204 | 267757.8933 | 32.55 | 27.7
24691 | 2022-05-20 15:02 | 39.3261 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.0938 | μmol/L | 18.202 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.504 | 107856.2971 | 267759.2648 | 32.55 | 27.7
24701 | 2022-05-20 15:02 | 39.6588 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.2376 | μmol/L | 18.202 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.498 | 107846.1363 | 267753.6582 | 32.55 | 27.7
24711 | 2022-05-20 15:02 | 39.9924 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.2616 | μmol/L | 18.202 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.497 | 107831.1341 | 267751.505 | 32.55 | 27.7
24721 | 2022-05-20 15:03 | 40.3262 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.1952 | μmol/L | 18.1959 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.502 | 107825.7231 | 267753.3616 | 32.55 | 27.7
24731 | 2022-05-20 15:03 | 40.6588 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.2561 | μmol/L | 18.2081 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.495 | 107805.0411 | 267733.2869 | 32.55 | 27.7
24741 | 2022-05-20 15:03 | 40.9923 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.2856 | μmol/L | 18.202 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.496 | 107799.4851 | 267723.7643 | 32.55 | 27.7
24751 | 2022-05-20 15:04 | 41.326 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.1601 | μmol/L | 18.2081 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.499 | 107829.3566 | 267742.5084 | 32.55 | 27.7
24761 | 2022-05-20 15:04 | 41.6594 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.8726 | μmol/L | 18.2081 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.511 | 107879.797 | 267734.5801 | 32.55 | 27.7
24771 | 2022-05-20 15:04 | 41.9928 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.6572 | μmol/L | 18.2081 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.52 | 107934.5341 | 267727.6016 | 32.55 | 27.7
24781 | 2022-05-20 15:05 | 42.3255 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.4419 | μmol/L | 18.2081 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.529 | 107980.193 | 267728.2664 | 32.55 | 27.7
24791 | 2022-05-20 15:05 | 42.6591 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.2747 | μmol/L | 18.2081 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.536 | 108031.2345 | 267734.7536 | 32.55 | 27.7
24801 | 2022-05-20 15:05 | 42.9921 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.0121 | μmol/L | 18.2081 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.547 | 108089.042 | 267728.0875 | 32.55 | 27.7
24811 | 2022-05-20 15:06 | 43.3259 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.6014 | μmol/L | 18.2143 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.562 | 108156.1775 | 267711.114 | 32.55 | 27.7
24821 | 2022-05-20 15:06 | 43.6594 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.4165 | μmol/L | 18.2081 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.572 | 108207.3823 | 267708.6308 | 32.55 | 27.7
24831 | 2022-05-20 15:06 | 43.9921 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.155 | μmol/L | 18.2081 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.583 | 108274.2535 | 267723.2695 | 32.55 | 27.7
24841 | 2022-05-20 15:07 | 44.3256 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.9412 | μmol/L | 18.2081 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.592 | 108329.7319 | 267707.2603 | 32.55 | 27.7
24851 | 2022-05-20 15:07 | 44.6592 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.5854 | μmol/L | 18.2081 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.607 | 108400.0232 | 267698.6379 | 32.55 | 27.7
24861 | 2022-05-20 15:07 | 44.9928 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.8698 | μmol/L | 18.2143 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.635 | 108530.5519 | 267699.1266 | 32.55 | 27.7
24871 | 2022-05-20 15:08 | 45.3258 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.4449 | μmol/L | 18.2143 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.653 | 108656.8686 | 267693.3201 | 32.55 | 27.7
24881 | 2022-05-20 15:08 | 45.6595 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.6915 | μmol/L | 18.2143 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.685 | 108808.8493 | 267689.864 | 32.55 | 27.7
24891 | 2022-05-20 15:08 | 45.9923 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.011 | μmol/L | 18.2143 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.714 | 108972.8291 | 267687.252 | 32.55 | 27.7
24901 | 2022-05-20 15:09 | 46.3258 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.5194 | μmol/L | 18.2143 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.735 | 109095.3087 | 267687.9596 | 32.55 | 27.7
24911 | 2022-05-20 15:09 | 46.6594 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.029 | μmol/L | 18.2143 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.756 | 109169.5964 | 267686.3848 | 32.55 | 27.7
24921 | 2022-05-20 15:09 | 46.9921 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.0114 | μmol/L | 18.2081 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.759 | 109215.1247 | 267671.8892 | 32.55 | 27.7
24931 | 2022-05-20 15:10 | 47.3256 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.8891 | μmol/L | 18.2143 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.762 | 109220.3196 | 267675.6641 | 32.55 | 27.7
24941 | 2022-05-20 15:10 | 47.6592 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.8425 | μmol/L | 18.2143 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.764 | 109227.8429 | 267674.6242 | 32.55 | 27.7
24951 | 2022-05-20 15:10 | 47.9926 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.8425 | μmol/L | 18.2143 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.764 | 109227.9425 | 267670.9179 | 32.55 | 27.7
24961 | 2022-05-20 15:11 | 48.3262 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.8425 | μmol/L | 18.2143 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.764 | 109211.0089 | 267670.4444 | 32.55 | 27.7
24971 | 2022-05-20 15:11 | 48.6591 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.9824 | μmol/L | 18.2143 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.758 | 109186.7576 | 267661.2664 | 32.55 | 27.7
24981 | 2022-05-20 15:11 | 48.9926 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.0524 | μmol/L | 18.2143 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.755 | 109145.4832 | 267664.1547 | 32.55 | 27.7
24991 | 2022-05-20 15:12 | 49.3262 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.3559 | μmol/L | 18.2143 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.742 | 109116.7132 | 267655.1723 | 32.55 | 27.7
25001 | 2022-05-20 15:12 | 49.6589 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.2801 | μmol/L | 18.2204 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.743 | 109101.5654 | 267649.7612 | 32.55 | 27.7
25011 | 2022-05-20 15:12 | 49.9925 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.4727 | μmol/L | 18.2143 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.737 | 109069.4915 | 267650.8346 | 32.55 | 27.7
25021 | 2022-05-20 15:13 | 50.326 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.5194 | μmol/L | 18.2143 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.735 | 109052.8813 | 267639.065 | 32.55 | 27.7
25031 | 2022-05-20 15:13 | 50.6594 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.4784 | μmol/L | 18.2081 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.739 | 109063.2386 | 267649.4032 | 32.55 | 27.7
25041 | 2022-05-20 15:13 | 50.9928 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.2858 | μmol/L | 18.2143 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.745 | 109067.3834 | 267641.3935 | 32.55 | 27.7
25051 | 2022-05-20 15:14 | 51.3254 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.2624 | μmol/L | 18.2143 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.746 | 109090.0407 | 267639.4684 | 32.55 | 27.7
25061 | 2022-05-20 15:14 | 51.659 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.2624 | μmol/L | 18.2143 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.746 | 109104.5507 | 267628.3062 | 32.55 | 27.7
25071 | 2022-05-20 15:14 | 51.9925 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.9711 | μmol/L | 18.2265 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.754 | 109123.7189 | 267630.1504 | 32.55 | 27.7
25081 | 2022-05-20 15:15 | 52.326 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.9767 | μmol/L | 18.2204 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.756 | 109138.3837 | 267637.9335 | 32.55 | 27.7
25091 | 2022-05-20 15:15 | 52.6589 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.9711 | μmol/L | 18.2265 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.754 | 109141.7542 | 267628.5602 | 32.55 | 27.7
25101 | 2022-05-20 15:15 | 52.9923 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.9068 | μmol/L | 18.2204 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.759 | 109141.8954 | 267610.221 | 32.55 | 27.7
25111 | 2022-05-20 15:16 | 53.3259 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.7846 | μmol/L | 18.2265 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.762 | 109153.8251 | 267603.7954 | 32.55 | 27.7
25121 | 2022-05-20 15:16 | 53.6595 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.7669 | μmol/L | 18.2204 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.765 | 109174.3349 | 267611.0161 | 32.55 | 27.7
25131 | 2022-05-20 15:16 | 53.9922 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.5108 | μmol/L | 18.2204 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.776 | 109220.7319 | 267606.1482 | 32.55 | 27.7
25141 | 2022-05-20 15:17 | 54.3257 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.3422 | μmol/L | 18.2265 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.781 | 109254.3903 | 267596.9322 | 32.55 | 27.7
25151 | 2022-05-20 15:17 | 54.6593 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.3479 | μmol/L | 18.2204 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.783 | 109288.8192 | 267601.8055 | 32.55 | 27.7
25161 | 2022-05-20 15:17 | 54.9929 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.1155 | μmol/L | 18.2204 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.793 | 109329.2801 | 267615.2093 | 32.55 | 27.7
25171 | 2022-05-20 15:18 | 55.3256 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.9122 | μmol/L | 18.2143 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.804 | 109377.4803 | 267594.7475 | 32.55 | 27.7
25181 | 2022-05-20 15:18 | 55.6591 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.5761 | μmol/L | 18.2265 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.814 | 109422.2053 | 267600.197 | 32.55 | 27.7
25191 | 2022-05-20 15:18 | 55.9921 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.3908 | μmol/L | 18.2265 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.822 | 109474.6129 | 267587.0292 | 32.55 | 27.7
25201 | 2022-05-20 15:19 | 56.3255 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.0843 | μmol/L | 18.2326 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.833 | 109524.0539 | 267572.711 | 32.55 | 27.7
25211 | 2022-05-20 15:19 | 56.6591 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.0149 | μmol/L | 18.2326 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.836 | 109556.0721 | 267577.4722 | 32.55 | 27.7
25221 | 2022-05-20 15:19 | 56.9927 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.9051 | μmol/L | 18.2265 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.843 | 109585.6015 | 267581.42 | 32.55 | 27.7
25231 | 2022-05-20 15:20 | 57.3256 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.957 | μmol/L | 18.2204 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.843 | 109602.0312 | 267572.6 | 32.55 | 27.7
25241 | 2022-05-20 15:20 | 57.6593 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.6741 | μmol/L | 18.2265 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.853 | 109633.0365 | 267565.1965 | 32.55 | 27.7
25251 | 2022-05-20 15:20 | 57.9928 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.628 | μmol/L | 18.2265 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.855 | 109649.0472 | 267561.5133 | 32.55 | 27.7
25261 | 2022-05-20 15:21 | 58.3255 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.4665 | μmol/L | 18.2265 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.862 | 109677.6489 | 267570.2263 | 32.55 | 27.7
25271 | 2022-05-20 15:21 | 58.659 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.3973 | μmol/L | 18.2265 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.865 | 109703.5884 | 267566.5339 | 32.55 | 27.7
25281 | 2022-05-20 15:21 | 58.9925 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.3282 | μmol/L | 18.2265 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.868 | 109708.1115 | 267567.0343 | 32.55 | 27.7
25291 | 2022-05-20 15:22 | 59.3261 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.3282 | μmol/L | 18.2265 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.868 | 109716.3139 | 267548.5244 | 32.55 | 27.7
25301 | 2022-05-20 15:22 | 59.659 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.1612 | μmol/L | 18.2326 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.873 | 109727.8215 | 267553.644 | 32.55 | 27.7
25311 | 2022-05-20 15:22 | 59.9926 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.2187 | μmol/L | 18.2204 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.875 | 109725.9877 | 267540.5252 | 32.55 | 27.7
25321 | 2022-05-20 15:23 | 60.3262 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.2187 | μmol/L | 18.2204 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.875 | 109744.6202 | 267537.3945 | 32.55 | 27.7
25331 | 2022-05-20 15:23 | 60.6591 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.9311 | μmol/L | 18.2326 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.883 | 109760.2905 | 267543.1074 | 32.55 | 27.7
25341 | 2022-05-20 15:23 | 60.9928 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.1036 | μmol/L | 18.2204 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.88 | 109761.8577 | 267533.4149 | 32.55 | 27.7
25351 | 2022-05-20 15:24 | 61.3256 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.0749 | μmol/L | 18.2265 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.879 | 109773.1958 | 267540.8356 | 32.55 | 27.7
25361 | 2022-05-20 15:24 | 61.6592 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.9828 | μmol/L | 18.2265 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.883 | 109781.3858 | 267522.8162 | 32.55 | 27.7
25371 | 2022-05-20 15:24 | 61.9928 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.7931 | μmol/L | 18.2326 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.889 | 109796.3238 | 267542.0393 | 32.55 | 27.7
25381 | 2022-05-20 15:25 | 62.3256 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.6782 | μmol/L | 18.2326 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.894 | 109822.2746 | 267529.2108 | 32.55 | 27.7
25391 | 2022-05-20 15:25 | 62.6592 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.615 | μmol/L | 18.2265 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.899 | 109851.8132 | 267530.0573 | 32.55 | 27.7
25401 | 2022-05-20 15:25 | 62.9928 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.4486 | μmol/L | 18.2326 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.904 | 109878.4118 | 267532.4081 | 32.55 | 27.7
25411 | 2022-05-20 15:26 | 63.3257 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.3281 | μmol/L | 18.2387 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.907 | 109894.8059 | 267527.2366 | 32.55 | 27.7
25421 | 2022-05-20 15:26 | 63.6595 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.2192 | μmol/L | 18.2326 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.914 | 109933.2248 | 267507.7056 | 32.55 | 27.7
25431 | 2022-05-20 15:26 | 63.9923 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.8755 | μmol/L | 18.2326 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.929 | 109998.9407 | 267521.1178 | 32.55 | 27.7
25441 | 2022-05-20 15:27 | 64.3256 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.6238 | μmol/L | 18.2326 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.94 | 110061.4515 | 267524.1721 | 32.55 | 27.7
25451 | 2022-05-20 15:27 | 64.6591 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.4124 | μmol/L | 18.2387 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.947 | 110104.9614 | 267519.8945 | 32.55 | 27.7
25461 | 2022-05-20 15:27 | 64.9928 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.3725 | μmol/L | 18.2326 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.951 | 110141.1371 | 267516.9323 | 32.55 | 27.7
25471 | 2022-05-20 15:28 | 65.3255 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.1384 | μmol/L | 18.2387 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.959 | 110187.7085 | 267515.0333 | 32.55 | 27.7
25481 | 2022-05-20 15:28 | 65.6592 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.7509 | μmol/L | 18.2387 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.976 | 110233.8834 | 267487.6095 | 32.55 | 27.7
25491 | 2022-05-20 15:28 | 65.9928 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.7282 | μmol/L | 18.2387 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.977 | 110265.5282 | 267507.2841 | 32.55 | 27.7
25501 | 2022-05-20 15:29 | 66.3256 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.5688 | μmol/L | 18.2387 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.984 | 110279.6546 | 267498.2409 | 32.55 | 27.7
25511 | 2022-05-20 15:29 | 66.6591 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.5233 | μmol/L | 18.2387 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.986 | 110300.8336 | 267503.9611 | 32.55 | 27.7
25521 | 2022-05-20 15:29 | 66.9927 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.3699 | μmol/L | 18.2326 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.995 | 110346.99 | 267483.8911 | 32.55 | 27.7
25531 | 2022-05-20 15:30 | 67.3262 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.12 | μmol/L | 18.2326 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.006 | 110415.7834 | 267505.8783 | 32.55 | 27.7
25541 | 2022-05-20 15:30 | 67.6589 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.8587 | μmol/L | 18.2448 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.013 | 110458.0391 | 267498.0555 | 32.55 | 27.7
25551 | 2022-05-20 15:30 | 67.9926 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.7511 | μmol/L | 18.2387 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.02 | 110479.6482 | 267497.2277 | 32.55 | 27.7
25561 | 2022-05-20 15:31 | 68.3261 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.7965 | μmol/L | 18.2387 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.018 | 110472.6401 | 267497.1298 | 32.55 | 27.7
25571 | 2022-05-20 15:31 | 68.6591 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.8418 | μmol/L | 18.2387 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.016 | 110469.0718 | 267483.2311 | 32.55 | 27.7
25581 | 2022-05-20 15:31 | 68.9927 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.9895 | μmol/L | 18.2265 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.014 | 110458.4238 | 267489.3517 | 32.55 | 27.7
25591 | 2022-05-20 15:32 | 69.3255 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.9157 | μmol/L | 18.2326 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.015 | 110450.2148 | 267476.9624 | 32.55 | 27.7
25601 | 2022-05-20 15:32 | 69.6593 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.8703 | μmol/L | 18.2326 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.017 | 110442.6162 | 267469.8262 | 32.55 | 27.7
25611 | 2022-05-20 15:32 | 69.9929 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.8645 | μmol/L | 18.2387 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.015 | 110456.1468 | 267487.5551 | 32.55 | 27.7
25621 | 2022-05-20 15:33 | 70.3255 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.8476 | μmol/L | 18.2326 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.018 | 110462.608 | 267471.3904 | 32.55 | 27.7
25631 | 2022-05-20 15:33 | 70.6595 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.7227 | μmol/L | 18.2448 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.019 | 110472.4024 | 267473.154 | 32.55 | 27.7
25641 | 2022-05-20 15:33 | 70.9922 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.6831 | μmol/L | 18.2387 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.023 | 110482.2195 | 267485.2176 | 32.55 | 27.7
25651 | 2022-05-20 15:34 | 71.3258 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.8192 | μmol/L | 18.2387 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.017 | 110488.6802 | 267471.5026 | 32.55 | 27.7
25661 | 2022-05-20 15:34 | 71.6595 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.7285 | μmol/L | 18.2387 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.021 | 110488.7575 | 267466.567 | 32.55 | 27.7
25671 | 2022-05-20 15:34 | 71.9922 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.632 | μmol/L | 18.2448 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.023 | 110489.2849 | 267471.0106 | 32.55 | 27.7
25681 | 2022-05-20 15:35 | 72.3258 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.632 | μmol/L | 18.2448 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.023 | 110501.2283 | 267463.3815 | 32.55 | 27.7
25691 | 2022-05-20 15:35 | 72.6592 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.5414 | μmol/L | 18.2448 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.027 | 110506.3521 | 267465.4447 | 32.55 | 27.7
25701 | 2022-05-20 15:35 | 72.9928 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.5188 | μmol/L | 18.2448 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.028 | 110516.0176 | 267480.9762 | 32.55 | 27.7
25711 | 2022-05-20 15:36 | 73.3257 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.5019 | μmol/L | 18.2387 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.031 | 110512.02 | 267471.0091 | 32.55 | 27.7
25721 | 2022-05-20 15:36 | 73.6593 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.4735 | μmol/L | 18.2448 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.03 | 110517.5072 | 267473.6139 | 32.55 | 27.7
25731 | 2022-05-20 15:36 | 73.9923 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.4224 | μmol/L | 18.2509 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.03 | 110507.0688 | 267466.648 | 32.55 | 27.7
25741 | 2022-05-20 15:37 | 74.3258 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.4961 | μmol/L | 18.2448 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.029 | 110511.5875 | 267485.9027 | 32.55 | 27.7
25751 | 2022-05-20 15:37 | 74.6594 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.4282 | μmol/L | 18.2448 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.032 | 110527.9136 | 267482.4423 | 32.55 | 27.7
25761 | 2022-05-20 15:37 | 74.9921 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.3772 | μmol/L | 18.2509 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.032 | 110529.2286 | 267465.3326 | 32.55 | 27.7
25771 | 2022-05-20 15:38 | 75.3259 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.2924 | μmol/L | 18.2448 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.038 | 110546.3478 | 267461.8691 | 32.55 | 27.7
25781 | 2022-05-20 15:38 | 75.6594 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.3151 | μmol/L | 18.2448 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.037 | 110557.0358 | 267466.5514 | 32.55 | 27.7
25791 | 2022-05-20 15:38 | 75.9921 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.2698 | μmol/L | 18.2448 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.039 | 110573.1671 | 267463.4524 | 32.55 | 27.7
25801 | 2022-05-20 15:39 | 76.3256 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.1793 | μmol/L | 18.2448 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.043 | 110591.9591 | 267463.9403 | 32.55 | 27.7
25811 | 2022-05-20 15:39 | 76.6591 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.0721 | μmol/L | 18.2387 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.05 | 110615.1354 | 267465.1979 | 32.55 | 27.7
25821 | 2022-05-20 15:39 | 76.9925 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.0437 | μmol/L | 18.2448 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.049 | 110642.3118 | 267460.9972 | 32.55 | 27.7
25831 | 2022-05-20 15:40 | 77.3261 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 267.8404 | μmol/L | 18.2448 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.058 | 110667.9151 | 267452.5451 | 32.55 | 27.7
25841 | 2022-05-20 15:40 | 77.6589 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 267.7727 | μmol/L | 18.2448 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.061 | 110680.4504 | 267453.4295 | 32.55 | 27.7
25851 | 2022-05-20 15:40 | 77.9925 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 267.7502 | μmol/L | 18.2448 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.062 | 110698.7053 | 267456.145 | 32.55 | 27.7
25861 | 2022-05-20 15:41 | 78.326 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 267.513 | μmol/L | 18.2571 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.068 | 110720.048 | 267473.3916 | 32.55 | 27.7
25871 | 2022-05-20 15:41 | 78.6588 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 267.4963 | μmol/L | 18.2509 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.071 | 110721.1748 | 267456.239 | 32.55 | 27.7
25881 | 2022-05-20 15:41 | 78.9921 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 267.3778 | μmol/L | 18.2571 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.074 | 110730.404 | 267457.5714 | 32.55 | 27.7
25891 | 2022-05-20 15:42 | 79.3255 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 267.4512 | μmol/L | 18.2509 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.073 | 110748.6716 | 267459.3966 | 32.55 | 27.7
25901 | 2022-05-20 15:42 | 79.6592 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 267.3385 | μmol/L | 18.2509 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.078 | 110756.3531 | 267444.8104 | 32.55 | 27.7
25911 | 2022-05-20 15:42 | 79.9928 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 267.457 | μmol/L | 18.2448 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.075 | 110770.5225 | 267451.4124 | 32.55 | 27.7
25921 | 2022-05-20 15:43 | 80.3254 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 267.2034 | μmol/L | 18.2509 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.084 | 110768.4417 | 267429.7591 | 32.55 | 27.7
25929 | 2022-05-20 15:43 | 80.6593 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 267.2485 | μmol/L | 18.2509 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.082 | 110784.3435 | 267440.7673 | 32.55 | 27.7