## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_6 | O2 | 630958479 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:55

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-20 14:24

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
20775 | 2022-05-20 12:33 | 0 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.6169 | μmol/L | 18.5678 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.666 | 88955.2177 | 297349.6236 | 30.45 | 114.2
20785 | 2022-05-20 12:33 | 0.33923 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.472 | μmol/L | 18.574 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.67 | 88960.4292 | 297367.8803 | 30.45 | 114.2
20795 | 2022-05-20 12:34 | 0.67249 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.4954 | μmol/L | 18.574 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.669 | 88964.829 | 297366.6527 | 30.45 | 114.2
20805 | 2022-05-20 12:34 | 1.0056 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.4537 | μmol/L | 18.5678 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.673 | 88970.7147 | 297354.0271 | 30.45 | 114.2
20815 | 2022-05-20 12:34 | 1.3391 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.4819 | μmol/L | 18.5617 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.674 | 88974.0337 | 297356.0974 | 30.45 | 114.2
20825 | 2022-05-20 12:35 | 1.672 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.412 | μmol/L | 18.5617 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.677 | 88984.6149 | 297340.8638 | 30.45 | 114.2
20835 | 2022-05-20 12:35 | 2.0056 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.4403 | μmol/L | 18.5555 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.678 | 88982.0722 | 297350.2013 | 30.45 | 114.2
20845 | 2022-05-20 12:35 | 2.3387 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.3753 | μmol/L | 18.5494 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.683 | 88977.8748 | 297318.6013 | 30.45 | 114.2
20855 | 2022-05-20 12:36 | 2.672 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.2257 | μmol/L | 18.5617 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.685 | 88980.9896 | 297319.7518 | 30.45 | 114.2
20865 | 2022-05-20 12:36 | 3.0057 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.4884 | μmol/L | 18.5248 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.687 | 88979.6931 | 297309.0408 | 30.45 | 114.2
20875 | 2022-05-20 12:36 | 3.3393 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.3902 | μmol/L | 18.531 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.689 | 88976.9916 | 297297.0744 | 30.45 | 114.2
20885 | 2022-05-20 12:37 | 3.6727 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.3154 | μmol/L | 18.5371 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.69 | 89006.8777 | 297290.3681 | 30.45 | 114.2
20895 | 2022-05-20 12:37 | 4.0055 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.3769 | μmol/L | 18.5187 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.694 | 89006.6324 | 297288.3543 | 30.45 | 114.2
20905 | 2022-05-20 12:37 | 4.3393 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.3203 | μmol/L | 18.531 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.692 | 89013.5554 | 297268.6603 | 30.45 | 114.2
20915 | 2022-05-20 12:38 | 4.6722 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.2089 | μmol/L | 18.5248 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.699 | 89007.8057 | 297259.5699 | 30.45 | 114.2
20925 | 2022-05-20 12:38 | 5.0059 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.0644 | μmol/L | 18.531 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.703 | 89010.4365 | 297250.2296 | 30.45 | 114.2
20935 | 2022-05-20 12:38 | 5.3388 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.1857 | μmol/L | 18.5248 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.7 | 89003.4339 | 297252.6718 | 30.45 | 114.2
20945 | 2022-05-20 12:39 | 5.6725 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.0644 | μmol/L | 18.531 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.703 | 89011.6033 | 297238.4232 | 30.45 | 114.2
20955 | 2022-05-20 12:39 | 6.006 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.312 | μmol/L | 18.5125 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.699 | 89017.4184 | 297227.31 | 30.45 | 114.2
20965 | 2022-05-20 12:39 | 6.3394 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.2855 | μmol/L | 18.488 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.709 | 89025.4132 | 297226.4969 | 30.45 | 114.2
20975 | 2022-05-20 12:40 | 6.6721 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.1126 | μmol/L | 18.5002 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.712 | 89063.987 | 297226.348 | 30.45 | 114.2
20985 | 2022-05-20 12:40 | 7.0057 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.8852 | μmol/L | 18.4941 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.724 | 89109.1392 | 297209.9024 | 30.45 | 114.2
20995 | 2022-05-20 12:40 | 7.3392 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.6197 | μmol/L | 18.5064 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.731 | 89149.4708 | 297215 | 30.45 | 114.2
21005 | 2022-05-20 12:41 | 7.6727 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.2668 | μmol/L | 18.5125 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.744 | 89189.2179 | 297196.7909 | 30.45 | 114.2
21015 | 2022-05-20 12:41 | 8.0054 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.9708 | μmol/L | 18.5064 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.759 | 89217.461 | 297188.8779 | 30.45 | 114.2
21025 | 2022-05-20 12:41 | 8.3393 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.819 | μmol/L | 18.4941 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.77 | 89296.024 | 297179.0883 | 30.45 | 114.2
21035 | 2022-05-20 12:42 | 8.6727 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.786 | μmol/L | 18.488 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.817 | 89491.3257 | 297177.1007 | 30.45 | 114.2
21045 | 2022-05-20 12:42 | 9.0056 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.3772 | μmol/L | 18.4818 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.837 | 89592.7543 | 297173.157 | 30.45 | 114.2
21055 | 2022-05-20 12:42 | 9.3392 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.9693 | μmol/L | 18.4757 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.857 | 89669.9543 | 297169.4565 | 30.45 | 114.2
21065 | 2022-05-20 12:43 | 9.6728 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.3968 | μmol/L | 18.4757 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.882 | 89768.2337 | 297168.3286 | 30.45 | 114.2
21075 | 2022-05-20 12:43 | 10.0053 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.94 | μmol/L | 18.4757 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.902 | 89871.9843 | 297162.3626 | 30.45 | 114.2
21085 | 2022-05-20 12:43 | 10.3387 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.57 | μmol/L | 18.4818 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.916 | 89939.5491 | 297150.1683 | 30.45 | 114.2
21095 | 2022-05-20 12:44 | 10.6724 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.5833 | μmol/L | 18.4388 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.931 | 89993.5792 | 297149.7974 | 30.45 | 114.2
21105 | 2022-05-20 12:44 | 11.0061 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.4239 | μmol/L | 18.4388 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.938 | 90043.1755 | 297148.1019 | 30.45 | 114.2
21115 | 2022-05-20 12:44 | 11.3389 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.0776 | μmol/L | 18.445 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.951 | 90089.7489 | 297140.5969 | 30.45 | 114.2
21125 | 2022-05-20 12:45 | 11.6727 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.7091 | μmol/L | 18.4511 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.965 | 90157.9774 | 297125.5107 | 30.45 | 114.2
21135 | 2022-05-20 12:45 | 12.0053 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.3463 | μmol/L | 18.4511 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.981 | 90221.2226 | 297133.5116 | 30.45 | 114.2
21145 | 2022-05-20 12:45 | 12.3394 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.2053 | μmol/L | 18.4573 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.985 | 90243.7662 | 297123.5307 | 30.45 | 114.2
21155 | 2022-05-20 12:46 | 12.6723 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.9564 | μmol/L | 18.4573 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.996 | 90277.0677 | 297113.3986 | 30.45 | 114.2
21165 | 2022-05-20 12:46 | 13.006 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.8208 | μmol/L | 18.4573 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.002 | 90313.8238 | 297121.6993 | 30.45 | 114.2
21175 | 2022-05-20 12:46 | 13.3389 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.7008 | μmol/L | 18.4388 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.014 | 90341.3579 | 297113.034 | 30.45 | 114.2
21185 | 2022-05-20 12:47 | 13.672 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.4352 | μmol/L | 18.4327 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.028 | 90389.3055 | 297106.0467 | 30.45 | 114.2
21195 | 2022-05-20 12:47 | 14.0058 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.2722 | μmol/L | 18.4388 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.033 | 90436.4939 | 297106.8 | 30.45 | 114.2
21205 | 2022-05-20 12:47 | 14.3394 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.0244 | μmol/L | 18.4388 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.044 | 90473.4497 | 297099.7812 | 30.45 | 114.2
21215 | 2022-05-20 12:48 | 14.672 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.9569 | μmol/L | 18.4388 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.047 | 90508.4056 | 297107.5682 | 30.45 | 114.2
21225 | 2022-05-20 12:48 | 15.0057 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.6818 | μmol/L | 18.445 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.057 | 90538.414 | 297106.9754 | 30.45 | 114.2
21235 | 2022-05-20 12:48 | 15.3393 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.6075 | μmol/L | 18.4265 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.067 | 90588.1401 | 297101.5242 | 30.45 | 114.2
21245 | 2022-05-20 12:49 | 15.6719 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.1639 | μmol/L | 18.4204 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.089 | 90664.5003 | 297086.0047 | 30.45 | 114.2
21255 | 2022-05-20 12:49 | 16.0055 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.4423 | μmol/L | 18.4265 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.119 | 90813.64 | 297077.7646 | 30.45 | 114.2
21265 | 2022-05-20 12:49 | 16.3391 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.3617 | μmol/L | 18.4388 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.163 | 90997.6601 | 297087.3652 | 30.45 | 114.2
21275 | 2022-05-20 12:50 | 16.6726 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 260.9227 | μmol/L | 18.4327 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.185 | 91105.5903 | 297068.4627 | 30.45 | 114.2
21285 | 2022-05-20 12:50 | 17.006 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 260.6956 | μmol/L | 18.4388 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.193 | 91144.9816 | 297058.0017 | 30.45 | 114.2
21295 | 2022-05-20 12:50 | 17.3388 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 260.5014 | μmol/L | 18.4327 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.204 | 91193.1231 | 297067.5108 | 30.45 | 114.2
21305 | 2022-05-20 12:51 | 17.6726 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 260.28 | μmol/L | 18.4327 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.214 | 91241.7081 | 297065.1349 | 30.45 | 114.2
21315 | 2022-05-20 12:51 | 18.0053 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 260.2906 | μmol/L | 18.4204 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.218 | 91256.6574 | 297045.1009 | 30.45 | 114.2
21325 | 2022-05-20 12:51 | 18.3388 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 260.2021 | μmol/L | 18.4204 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.222 | 91284.4958 | 297035.8362 | 30.45 | 114.2
21335 | 2022-05-20 12:52 | 18.6726 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.7329 | μmol/L | 18.4265 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.241 | 91328.2786 | 297036.6201 | 30.45 | 114.2
21345 | 2022-05-20 12:52 | 19.0056 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.4629 | μmol/L | 18.4327 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.251 | 91374.7352 | 297032.4711 | 30.45 | 114.2
21355 | 2022-05-20 12:52 | 19.3391 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.314 | μmol/L | 18.4265 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.26 | 91434.7929 | 297026.2395 | 30.45 | 114.2
21365 | 2022-05-20 12:53 | 19.6727 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.9891 | μmol/L | 18.4204 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.277 | 91509.6327 | 297023.327 | 30.45 | 114.2
21375 | 2022-05-20 12:53 | 20.0055 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.3961 | μmol/L | 18.4204 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.304 | 91627.0751 | 297012.0012 | 30.45 | 114.2
21385 | 2022-05-20 12:53 | 20.3392 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.8976 | μmol/L | 18.4143 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.329 | 91758.926 | 297013.4307 | 30.45 | 114.2
21395 | 2022-05-20 12:54 | 20.6727 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.6405 | μmol/L | 18.4081 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.343 | 91803.0632 | 297022.4932 | 30.45 | 114.2
21405 | 2022-05-20 12:54 | 21.0054 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.0343 | μmol/L | 18.4081 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.325 | 91711.0162 | 297002.7108 | 30.45 | 114.2
21415 | 2022-05-20 12:54 | 21.3388 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.6149 | μmol/L | 18.3958 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.303 | 91631.5159 | 296998.2374 | 30.45 | 114.2
21425 | 2022-05-20 12:55 | 21.6725 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.6642 | μmol/L | 18.3897 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.303 | 91618.0589 | 296997.5991 | 30.45 | 114.2
21435 | 2022-05-20 12:55 | 22.0054 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.3902 | μmol/L | 18.402 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.311 | 91635.8848 | 296980.9706 | 30.45 | 114.2
21445 | 2022-05-20 12:55 | 22.3388 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.3351 | μmol/L | 18.3897 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.318 | 91667.3975 | 296984.6354 | 30.45 | 114.2
21455 | 2022-05-20 12:56 | 22.6725 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.2421 | μmol/L | 18.3958 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.32 | 91706.6944 | 296995.6946 | 30.45 | 114.2
21465 | 2022-05-20 12:56 | 23.0061 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.0722 | μmol/L | 18.3897 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.33 | 91731.7204 | 296985.3106 | 30.45 | 114.2
21475 | 2022-05-20 12:56 | 23.3389 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.9847 | μmol/L | 18.3897 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.334 | 91762.7903 | 296976.5054 | 30.45 | 114.2
21485 | 2022-05-20 12:57 | 23.672 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.6785 | μmol/L | 18.3897 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.348 | 91803.817 | 296977.3256 | 30.45 | 114.2
21495 | 2022-05-20 12:57 | 24.0055 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.4654 | μmol/L | 18.3835 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.36 | 91851.1116 | 296975.5406 | 30.45 | 114.2
21505 | 2022-05-20 12:57 | 24.3391 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.2036 | μmol/L | 18.3835 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.372 | 91924.1616 | 296970.4 | 30.45 | 114.2
21515 | 2022-05-20 12:58 | 24.6726 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.6538 | μmol/L | 18.3897 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.395 | 92001.5186 | 296967.4258 | 30.45 | 114.2
21525 | 2022-05-20 12:58 | 25.0054 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.2734 | μmol/L | 18.3774 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.417 | 92118.0466 | 296957.7024 | 30.45 | 114.2
21535 | 2022-05-20 12:58 | 25.3389 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.6339 | μmol/L | 18.3897 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.442 | 92229.0096 | 296949.8305 | 30.45 | 114.2
21545 | 2022-05-20 12:59 | 25.6725 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.1636 | μmol/L | 18.3835 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.466 | 92320.7511 | 296932.1057 | 30.45 | 114.2
21555 | 2022-05-20 12:59 | 26.0059 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.3041 | μmol/L | 18.3713 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.464 | 92309.3612 | 296942.3288 | 30.45 | 114.2
21565 | 2022-05-20 12:59 | 26.3393 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.0889 | μmol/L | 18.3651 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.43 | 92178.4739 | 296922.8103 | 30.45 | 114.2
21575 | 2022-05-20 13:00 | 26.6721 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.496 | μmol/L | 18.3713 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.409 | 92054.1142 | 296917.9563 | 30.45 | 114.2
21585 | 2022-05-20 13:00 | 27.0058 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.8875 | μmol/L | 18.3713 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.391 | 91970.5005 | 296916.1615 | 30.45 | 114.2
21595 | 2022-05-20 13:00 | 27.3394 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.1272 | μmol/L | 18.3713 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.38 | 91909.3717 | 296905.5877 | 30.45 | 114.2
21605 | 2022-05-20 13:01 | 27.6721 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.3345 | μmol/L | 18.3835 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.366 | 91850.0223 | 296889.9579 | 30.45 | 114.2
21615 | 2022-05-20 13:01 | 28.0055 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.7218 | μmol/L | 18.3651 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.355 | 91796.2478 | 296875.5814 | 30.45 | 114.2
21625 | 2022-05-20 13:01 | 28.3393 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.8914 | μmol/L | 18.3713 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.345 | 91752.6955 | 296880.52 | 30.45 | 114.2
21635 | 2022-05-20 13:02 | 28.6727 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.1156 | μmol/L | 18.3651 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.337 | 91723.3233 | 296856.5449 | 30.45 | 114.2
21645 | 2022-05-20 13:02 | 29.0055 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.0062 | μmol/L | 18.3651 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.342 | 91733.1315 | 296849.7378 | 30.45 | 114.2
21655 | 2022-05-20 13:02 | 29.3391 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.0062 | μmol/L | 18.3651 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.342 | 91721.4652 | 296840.2115 | 30.45 | 114.2
21665 | 2022-05-20 13:03 | 29.6726 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.2908 | μmol/L | 18.3651 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.329 | 91666.38 | 296842.8238 | 30.45 | 114.2
21675 | 2022-05-20 13:03 | 30.0061 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.1759 | μmol/L | 18.3713 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.332 | 91656.5897 | 296840.4651 | 30.45 | 114.2
21685 | 2022-05-20 13:03 | 30.3387 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.0062 | μmol/L | 18.3651 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.342 | 91722.6653 | 296837.9243 | 30.45 | 114.2
21695 | 2022-05-20 13:04 | 30.6724 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.6234 | μmol/L | 18.3528 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.364 | 91808.391 | 296817.2802 | 30.45 | 114.2
21705 | 2022-05-20 13:04 | 31.006 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.296 | μmol/L | 18.3528 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.379 | 91894.2971 | 296834.0808 | 30.45 | 114.2
21715 | 2022-05-20 13:04 | 31.3387 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.8602 | μmol/L | 18.3528 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.399 | 91951.8401 | 296817.4461 | 30.45 | 114.2
21725 | 2022-05-20 13:05 | 31.6721 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.4905 | μmol/L | 18.3528 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.416 | 92037.2663 | 296802.5369 | 30.45 | 114.2
21735 | 2022-05-20 13:05 | 32.0056 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.9968 | μmol/L | 18.3467 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.441 | 92150.6074 | 296802.9532 | 30.45 | 114.2
21745 | 2022-05-20 13:05 | 32.3389 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.4339 | μmol/L | 18.3467 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.467 | 92257.7704 | 296794.7093 | 30.45 | 114.2
21755 | 2022-05-20 13:06 | 32.6725 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.0235 | μmol/L | 18.3467 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.486 | 92335.0811 | 296783.5986 | 30.45 | 114.2
21765 | 2022-05-20 13:06 | 33.0053 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.0505 | μmol/L | 18.3405 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.487 | 92351.5777 | 296774.2145 | 30.45 | 114.2
21775 | 2022-05-20 13:06 | 33.3389 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.0937 | μmol/L | 18.3405 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.485 | 92317.6646 | 296743.1402 | 30.45 | 114.2
21785 | 2022-05-20 13:07 | 33.6726 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.4988 | μmol/L | 18.3467 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.464 | 92245.3873 | 296753.5194 | 30.45 | 114.2
21795 | 2022-05-20 13:07 | 34.0055 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.8451 | μmol/L | 18.3467 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.448 | 92158.3295 | 296756.6225 | 30.45 | 114.2
21805 | 2022-05-20 13:07 | 34.3391 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.3276 | μmol/L | 18.3405 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.428 | 92058.9609 | 296749.8637 | 30.45 | 114.2
21815 | 2022-05-20 13:08 | 34.672 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.784 | μmol/L | 18.3405 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.407 | 91940.9647 | 296740.0875 | 30.45 | 114.2
21825 | 2022-05-20 13:08 | 35.0058 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.5959 | μmol/L | 18.3344 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.372 | 91797.6849 | 296731.004 | 30.45 | 114.2
21835 | 2022-05-20 13:08 | 35.3386 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.0988 | μmol/L | 18.3344 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.349 | 91681.7316 | 296735.53 | 30.45 | 114.2
21845 | 2022-05-20 13:09 | 35.6723 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.2467 | μmol/L | 18.3405 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.34 | 91626.7949 | 296730.3291 | 30.45 | 114.2
21855 | 2022-05-20 13:09 | 36.0058 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.2575 | μmol/L | 18.3283 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.344 | 91644.7347 | 296722.2643 | 30.45 | 114.2
21865 | 2022-05-20 13:09 | 36.3394 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.1097 | μmol/L | 18.3221 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.353 | 91687.493 | 296709.1113 | 30.45 | 114.2
21875 | 2022-05-20 13:10 | 36.6721 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.1589 | μmol/L | 18.316 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.353 | 91685.0921 | 296699.9388 | 30.45 | 114.2
21885 | 2022-05-20 13:10 | 37.0056 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.8526 | μmol/L | 18.316 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.367 | 91746.4448 | 296708.429 | 30.45 | 114.2
21895 | 2022-05-20 13:10 | 37.3391 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.5085 | μmol/L | 18.3098 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.385 | 91808.9491 | 296692.3141 | 30.45 | 114.2
21905 | 2022-05-20 13:11 | 37.6728 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.9146 | μmol/L | 18.316 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.41 | 91947.9805 | 296684.4896 | 30.45 | 114.2
21915 | 2022-05-20 13:11 | 38.0056 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.8452 | μmol/L | 18.3221 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.457 | 92137.1207 | 296673.2031 | 30.45 | 114.2
21925 | 2022-05-20 13:11 | 38.3393 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.1587 | μmol/L | 18.316 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.491 | 92294.8462 | 296661.8681 | 30.45 | 114.2
21935 | 2022-05-20 13:12 | 38.6723 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 254.5712 | μmol/L | 18.3221 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.516 | 92419.0174 | 296671.5888 | 30.45 | 114.2
21945 | 2022-05-20 13:12 | 39.0054 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.9962 | μmol/L | 18.316 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.545 | 92548.8845 | 296659.4715 | 30.45 | 114.2
21955 | 2022-05-20 13:12 | 39.3389 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.1977 | μmol/L | 18.3221 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.58 | 92678.115 | 296638.7148 | 30.45 | 114.2
21965 | 2022-05-20 13:13 | 39.6726 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 252.8558 | μmol/L | 18.3221 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.596 | 92751.9412 | 296624.9774 | 30.45 | 114.2
21975 | 2022-05-20 13:13 | 40.0056 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 252.7008 | μmol/L | 18.3283 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.601 | 92769.1473 | 296629.7743 | 30.45 | 114.2
21985 | 2022-05-20 13:13 | 40.3386 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 252.8131 | μmol/L | 18.3221 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.598 | 92752.1204 | 296620.2167 | 30.45 | 114.2
21995 | 2022-05-20 13:14 | 40.6728 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 252.8668 | μmol/L | 18.3098 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.6 | 92756.6265 | 296625.1862 | 30.45 | 114.2
22005 | 2022-05-20 13:14 | 41.0055 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 252.8082 | μmol/L | 18.3037 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.605 | 92816.8419 | 296608.7561 | 30.45 | 114.2
22015 | 2022-05-20 13:14 | 41.3392 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 252.9577 | μmol/L | 18.3037 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.598 | 92734.4297 | 296576.8406 | 30.45 | 114.2
22025 | 2022-05-20 13:15 | 41.6726 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.1605 | μmol/L | 18.316 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.584 | 92669.4384 | 296573.7995 | 30.45 | 114.2
22035 | 2022-05-20 13:15 | 42.0054 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.2412 | μmol/L | 18.2975 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.587 | 92686.2066 | 296569.5699 | 30.45 | 114.2
22045 | 2022-05-20 13:15 | 42.3389 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 252.8509 | μmol/L | 18.3037 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.603 | 92747.0564 | 296554.2818 | 30.45 | 114.2
22055 | 2022-05-20 13:16 | 42.6725 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 252.5151 | μmol/L | 18.2975 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.621 | 92845.5668 | 296543.807 | 30.45 | 114.2
22065 | 2022-05-20 13:16 | 43.0053 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 251.9135 | μmol/L | 18.3037 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.647 | 92947.2769 | 296542.8671 | 30.45 | 114.2
22075 | 2022-05-20 13:16 | 43.3389 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 251.4095 | μmol/L | 18.2975 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.673 | 93039.5312 | 296539.043 | 30.45 | 114.2
22085 | 2022-05-20 13:17 | 43.6724 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 250.88 | μmol/L | 18.2975 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.698 | 93178.3416 | 296534.1911 | 30.45 | 114.2
22095 | 2022-05-20 13:17 | 44.0059 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 250.03 | μmol/L | 18.3037 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.736 | 93333.5379 | 296515.4074 | 30.45 | 114.2
22105 | 2022-05-20 13:17 | 44.3387 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 249.4619 | μmol/L | 18.3037 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.763 | 93441.5338 | 296525.8137 | 30.45 | 114.2
22115 | 2022-05-20 13:18 | 44.6723 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 249.1679 | μmol/L | 18.3037 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.777 | 93531.9944 | 296509.8181 | 30.45 | 114.2
22125 | 2022-05-20 13:18 | 45.0057 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 248.6859 | μmol/L | 18.3037 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.8 | 93606.861 | 296508.3171 | 30.45 | 114.2
22135 | 2022-05-20 13:18 | 45.3386 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 248.2676 | μmol/L | 18.3037 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.82 | 93712.0788 | 296480.6889 | 30.45 | 114.2
22145 | 2022-05-20 13:19 | 45.6723 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 247.6835 | μmol/L | 18.3037 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.848 | 93801.0046 | 296483.6577 | 30.45 | 114.2
22155 | 2022-05-20 13:19 | 46.0057 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 247.4753 | μmol/L | 18.3037 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.858 | 93865.4841 | 296459.0615 | 30.45 | 114.2
22165 | 2022-05-20 13:19 | 46.3387 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 247.2049 | μmol/L | 18.3037 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.871 | 93919.1982 | 296465.8009 | 30.45 | 114.2
22175 | 2022-05-20 13:20 | 46.6723 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 246.7744 | μmol/L | 18.2975 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.894 | 94024.3414 | 296436.8299 | 30.45 | 114.2
22185 | 2022-05-20 13:20 | 47.0059 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 246.3186 | μmol/L | 18.2975 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.916 | 94124.8037 | 296435.4429 | 30.45 | 114.2
22195 | 2022-05-20 13:20 | 47.3394 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 245.513 | μmol/L | 18.2975 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.955 | 94293.3652 | 296435.0231 | 30.45 | 114.2
22205 | 2022-05-20 13:21 | 47.6721 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 245.0095 | μmol/L | 18.2853 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.984 | 94418.0239 | 296434.9176 | 30.45 | 114.2
22215 | 2022-05-20 13:21 | 48.0056 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 244.4551 | μmol/L | 18.2853 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.011 | 94551.5605 | 296414.025 | 30.45 | 114.2
22225 | 2022-05-20 13:21 | 48.3392 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 243.6363 | μmol/L | 18.2853 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.051 | 94717.0778 | 296410.8445 | 30.45 | 114.2
22235 | 2022-05-20 13:22 | 48.6721 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 242.8005 | μmol/L | 18.2853 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.092 | 94909.8371 | 296405.618 | 30.45 | 114.2
22245 | 2022-05-20 13:22 | 49.0059 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 242.1213 | μmol/L | 18.273 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.13 | 95062.9181 | 296405.9102 | 30.45 | 114.2
22255 | 2022-05-20 13:22 | 49.3394 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 241.6959 | μmol/L | 18.273 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.151 | 95164.8112 | 296388.2765 | 30.45 | 114.2
22265 | 2022-05-20 13:23 | 49.6723 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 241.3062 | μmol/L | 18.2791 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.168 | 95252.8452 | 296383.4927 | 30.45 | 114.2
22275 | 2022-05-20 13:23 | 50.0058 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 240.7931 | μmol/L | 18.2668 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.198 | 95346.3009 | 296371.7705 | 30.45 | 114.2
22285 | 2022-05-20 13:23 | 50.3394 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 240.8422 | μmol/L | 18.2791 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.191 | 95332.3773 | 296361.2758 | 30.45 | 114.2
22295 | 2022-05-20 13:24 | 50.6722 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 241.8927 | μmol/L | 18.2791 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.139 | 95093.0959 | 296357.1555 | 30.45 | 114.2
22305 | 2022-05-20 13:24 | 51.0058 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 243.2338 | μmol/L | 18.2791 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.073 | 94770.6713 | 296341.1648 | 30.45 | 114.2
22315 | 2022-05-20 13:24 | 51.3394 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 244.6808 | μmol/L | 18.2853 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24 | 94430.7931 | 296331.375 | 30.45 | 114.2
22325 | 2022-05-20 13:25 | 51.6723 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 246.2057 | μmol/L | 18.2853 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.926 | 94115.5149 | 296331.0288 | 30.45 | 114.2
22335 | 2022-05-20 13:25 | 52.0058 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 247.2992 | μmol/L | 18.2914 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.871 | 93842.241 | 296329.8502 | 30.45 | 114.2
22345 | 2022-05-20 13:25 | 52.3393 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 248.6301 | μmol/L | 18.273 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.814 | 93596.3867 | 296310.8974 | 30.45 | 114.2
22355 | 2022-05-20 13:26 | 52.6721 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 249.0644 | μmol/L | 18.2791 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.791 | 93465.7364 | 296319.1288 | 30.45 | 114.2
22365 | 2022-05-20 13:26 | 53.0056 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 248.8339 | μmol/L | 18.2791 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.802 | 93517.537 | 296315.6587 | 30.45 | 114.2
22375 | 2022-05-20 13:26 | 53.3392 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 248.3527 | μmol/L | 18.2791 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.825 | 93630.4051 | 296305.8499 | 30.45 | 114.2
22385 | 2022-05-20 13:27 | 53.6721 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 248.0033 | μmol/L | 18.273 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.844 | 93708.8015 | 296299.7216 | 30.45 | 114.2
22395 | 2022-05-20 13:27 | 54.0056 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 247.5601 | μmol/L | 18.2791 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.863 | 93786.0905 | 296296.4167 | 30.45 | 114.2
22405 | 2022-05-20 13:27 | 54.3392 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 247.1705 | μmol/L | 18.273 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.884 | 93882.2209 | 296288.5403 | 30.45 | 114.2
22415 | 2022-05-20 13:28 | 54.672 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 246.6988 | μmol/L | 18.2668 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.909 | 93997.0274 | 296265.8786 | 30.45 | 114.2
22425 | 2022-05-20 13:28 | 55.0055 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 246.0309 | μmol/L | 18.273 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.939 | 94120.8933 | 296257.7274 | 30.45 | 114.2
22435 | 2022-05-20 13:28 | 55.3391 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 245.3089 | μmol/L | 18.273 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.974 | 94279.4877 | 296250.7454 | 30.45 | 114.2
22445 | 2022-05-20 13:29 | 55.6726 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 244.5222 | μmol/L | 18.2791 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.01 | 94431.0448 | 296250.0024 | 30.45 | 114.2
22455 | 2022-05-20 13:29 | 56.0061 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 243.9077 | μmol/L | 18.2791 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.04 | 94576.5816 | 296247.3044 | 30.45 | 114.2
22465 | 2022-05-20 13:29 | 56.3389 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 243.2599 | μmol/L | 18.273 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.074 | 94732.5483 | 296240.1534 | 30.45 | 114.2
22475 | 2022-05-20 13:30 | 56.6724 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 242.6638 | μmol/L | 18.2791 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.101 | 94848.8867 | 296230.1156 | 30.45 | 114.2
22485 | 2022-05-20 13:30 | 57.006 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 242.0402 | μmol/L | 18.273 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.134 | 94966.4569 | 296234.0467 | 30.45 | 114.2
22495 | 2022-05-20 13:30 | 57.3388 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 241.6296 | μmol/L | 18.2791 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.152 | 95061.7088 | 296216.5364 | 30.45 | 114.2
22505 | 2022-05-20 13:31 | 57.6722 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 241.3579 | μmol/L | 18.2668 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.17 | 95141.1849 | 296217.4427 | 30.45 | 114.2
22515 | 2022-05-20 13:31 | 58.0057 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 241.3175 | μmol/L | 18.2668 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.172 | 95157.1091 | 296210.5534 | 30.45 | 114.2
22525 | 2022-05-20 13:31 | 58.3391 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 241.4129 | μmol/L | 18.273 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.165 | 95133.383 | 296204.555 | 30.45 | 114.2
22535 | 2022-05-20 13:32 | 58.6727 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 241.5746 | μmol/L | 18.273 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.157 | 95092.9281 | 296208.5369 | 30.45 | 114.2
22545 | 2022-05-20 13:32 | 59.0053 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 241.7218 | μmol/L | 18.2668 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.152 | 95035.9098 | 296182.6858 | 30.45 | 114.2
22555 | 2022-05-20 13:32 | 59.3389 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 241.8579 | μmol/L | 18.273 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.143 | 94997.8549 | 296184.8306 | 30.45 | 114.2
22565 | 2022-05-20 13:33 | 59.6725 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 242.1935 | μmol/L | 18.2607 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.131 | 94956.4786 | 296178.8456 | 30.45 | 114.2
22575 | 2022-05-20 13:33 | 60.006 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 242.2283 | μmol/L | 18.2668 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.127 | 94918.806 | 296165.805 | 30.45 | 114.2
22585 | 2022-05-20 13:33 | 60.3387 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 242.4516 | μmol/L | 18.2668 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.116 | 94884.286 | 296158.7722 | 30.45 | 114.2
22595 | 2022-05-20 13:34 | 60.6724 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 242.5588 | μmol/L | 18.2607 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.113 | 94855.1729 | 296162.1657 | 30.45 | 114.2
22605 | 2022-05-20 13:34 | 61.0053 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 242.6198 | μmol/L | 18.2607 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.11 | 94855.6373 | 296152.0391 | 30.45 | 114.2
22615 | 2022-05-20 13:34 | 61.339 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 242.3817 | μmol/L | 18.2545 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.124 | 94898.523 | 296146.7977 | 30.45 | 114.2
22625 | 2022-05-20 13:35 | 61.6725 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 242.3468 | μmol/L | 18.2484 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.128 | 94920.1505 | 296134.6094 | 30.45 | 114.2
22635 | 2022-05-20 13:35 | 62.0059 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 242.3411 | μmol/L | 18.2545 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.126 | 94913.0669 | 296114.4732 | 30.45 | 114.2
22645 | 2022-05-20 13:35 | 62.3387 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 242.3062 | μmol/L | 18.2484 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.13 | 94925.8042 | 296123.8835 | 30.45 | 114.2
22655 | 2022-05-20 13:36 | 62.6722 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 242.1845 | μmol/L | 18.2484 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.136 | 94942.4389 | 296118.2272 | 30.45 | 114.2
22665 | 2022-05-20 13:36 | 63.0061 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 241.9413 | μmol/L | 18.2484 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.148 | 94998.855 | 296109.0196 | 30.45 | 114.2
22675 | 2022-05-20 13:36 | 63.3389 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 241.5512 | μmol/L | 18.2545 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.165 | 95065.2095 | 296099.317 | 30.45 | 114.2
22685 | 2022-05-20 13:37 | 63.6726 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 241.1126 | μmol/L | 18.2484 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.189 | 95159.656 | 296102.4661 | 30.45 | 114.2
22695 | 2022-05-20 13:37 | 64.0061 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 240.8045 | μmol/L | 18.2545 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.202 | 95221.3153 | 296084.021 | 30.45 | 114.2
22705 | 2022-05-20 13:37 | 64.3389 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 240.6981 | μmol/L | 18.2607 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.205 | 95254.7692 | 296079.8446 | 30.45 | 114.2
22715 | 2022-05-20 13:38 | 64.672 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 240.5227 | μmol/L | 18.2545 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.216 | 95269.8234 | 296077.0695 | 30.45 | 114.2
22725 | 2022-05-20 13:38 | 65.0057 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 240.3072 | μmol/L | 18.2484 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.229 | 95321.2435 | 296063.943 | 30.45 | 114.2
22735 | 2022-05-20 13:38 | 65.3394 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 239.7254 | μmol/L | 18.2484 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.258 | 95485.5341 | 296052.7109 | 30.45 | 114.2
22745 | 2022-05-20 13:39 | 65.6721 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 238.6264 | μmol/L | 18.2484 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.313 | 95727.1599 | 296058.1411 | 30.45 | 114.2
22755 | 2022-05-20 13:39 | 66.0059 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 237.6267 | μmol/L | 18.2545 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.361 | 95929.4582 | 296039.8532 | 30.45 | 114.2
22765 | 2022-05-20 13:39 | 66.3387 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 237.2503 | μmol/L | 18.2545 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.38 | 96010.2784 | 296036.2612 | 30.45 | 114.2
22775 | 2022-05-20 13:40 | 66.6722 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 237.2222 | μmol/L | 18.2423 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.386 | 96034.6142 | 296029.6432 | 30.45 | 114.2
22785 | 2022-05-20 13:40 | 67.0059 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 237.355 | μmol/L | 18.2484 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.377 | 95987.9948 | 296028.0194 | 30.45 | 114.2
22795 | 2022-05-20 13:40 | 67.3394 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 237.916 | μmol/L | 18.2423 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.351 | 95876.2517 | 296017.817 | 30.45 | 114.2
22805 | 2022-05-20 13:41 | 67.672 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 238.2168 | μmol/L | 18.2607 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.329 | 95770.8205 | 295998.132 | 30.45 | 114.2
22815 | 2022-05-20 13:41 | 68.0056 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 238.5609 | μmol/L | 18.2545 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.314 | 95676.9677 | 296006.4974 | 30.45 | 114.2
22825 | 2022-05-20 13:41 | 68.3393 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 238.9056 | μmol/L | 18.2484 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.299 | 95601.1103 | 295986.2778 | 30.45 | 114.2
22835 | 2022-05-20 13:42 | 68.672 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 239.305 | μmol/L | 18.2484 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.279 | 95532.317 | 295983.1667 | 30.45 | 114.2
22845 | 2022-05-20 13:42 | 69.0053 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 239.5108 | μmol/L | 18.2423 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.271 | 95476.5926 | 295982.0539 | 30.45 | 114.2
22855 | 2022-05-20 13:42 | 69.3393 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 239.7654 | μmol/L | 18.2484 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.256 | 95413.3729 | 295961.0791 | 30.45 | 114.2
22865 | 2022-05-20 13:43 | 69.6722 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 240.1121 | μmol/L | 18.2423 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.241 | 95332.4255 | 295966.8891 | 30.45 | 114.2
22875 | 2022-05-20 13:43 | 70.0058 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 240.4221 | μmol/L | 18.2545 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.221 | 95238.9084 | 295952.1027 | 30.45 | 114.2
22885 | 2022-05-20 13:43 | 70.3393 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 240.8505 | μmol/L | 18.2484 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.202 | 95144.5981 | 295948.4142 | 30.45 | 114.2
22895 | 2022-05-20 13:44 | 70.6721 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 241.1012 | μmol/L | 18.2607 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.185 | 95055.7029 | 295930.2546 | 30.45 | 114.2
22905 | 2022-05-20 13:44 | 71.0057 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 241.6377 | μmol/L | 18.2484 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.163 | 94970.1987 | 295920.8218 | 30.45 | 114.2
22915 | 2022-05-20 13:44 | 71.3388 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 241.9818 | μmol/L | 18.2484 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.146 | 94889.527 | 295911.956 | 30.45 | 114.2
22925 | 2022-05-20 13:45 | 71.6724 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 242.454 | μmol/L | 18.2423 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.125 | 94786.8916 | 295899.8838 | 30.45 | 114.2
22935 | 2022-05-20 13:45 | 72.0061 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 242.5905 | μmol/L | 18.2484 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.116 | 94717.6604 | 295909.7088 | 30.45 | 114.2
22945 | 2022-05-20 13:45 | 72.3389 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 242.5092 | μmol/L | 18.2484 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.12 | 94746.573 | 295894.5311 | 30.45 | 114.2
22955 | 2022-05-20 13:46 | 72.6726 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 242.6312 | μmol/L | 18.2484 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.114 | 94721.8413 | 295890.2391 | 30.45 | 114.2
22965 | 2022-05-20 13:46 | 73.0061 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 242.9826 | μmol/L | 18.2423 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.099 | 94646.8969 | 295886.4132 | 30.45 | 114.2
22975 | 2022-05-20 13:46 | 73.3386 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 243.0991 | μmol/L | 18.2484 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.091 | 94619.7575 | 295865.3785 | 30.45 | 114.2
22985 | 2022-05-20 13:47 | 73.6722 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 242.8955 | μmol/L | 18.2484 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.101 | 94649.4145 | 295871.3767 | 30.45 | 114.2
22995 | 2022-05-20 13:47 | 74.0059 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 242.5499 | μmol/L | 18.2484 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.118 | 94730.6253 | 295857.0775 | 30.45 | 114.2
23005 | 2022-05-20 13:47 | 74.3388 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 242.0021 | μmol/L | 18.2484 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.145 | 94819.1855 | 295854.7348 | 30.45 | 114.2
23015 | 2022-05-20 13:48 | 74.6724 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 241.6434 | μmol/L | 18.2423 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.165 | 94924.6575 | 295840.2785 | 30.45 | 114.2
23025 | 2022-05-20 13:48 | 75.0059 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 241.0117 | μmol/L | 18.2484 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.194 | 95075.5958 | 295834.7683 | 30.45 | 114.2
23035 | 2022-05-20 13:48 | 75.3387 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 239.8657 | μmol/L | 18.2484 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.251 | 95311.5193 | 295824.466 | 30.45 | 114.2
23045 | 2022-05-20 13:49 | 75.6723 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 238.4727 | μmol/L | 18.2423 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.323 | 95620.4653 | 295820.5694 | 30.45 | 114.2
23055 | 2022-05-20 13:49 | 76.006 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 237.242 | μmol/L | 18.2423 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.385 | 95894.2938 | 295805.0381 | 30.45 | 114.2
23065 | 2022-05-20 13:49 | 76.3387 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 236.714 | μmol/L | 18.2361 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.414 | 96043.6604 | 295799.4032 | 30.45 | 114.2
23075 | 2022-05-20 13:50 | 76.6722 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 236.2212 | μmol/L | 18.2361 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.439 | 96139.3213 | 295797.297 | 30.45 | 114.2
23085 | 2022-05-20 13:50 | 77.0061 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 235.6649 | μmol/L | 18.2423 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.465 | 96232.6427 | 295794.4236 | 30.45 | 114.2
23095 | 2022-05-20 13:50 | 77.3387 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 235.494 | μmol/L | 18.2361 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.476 | 96279.3071 | 295768.3243 | 30.45 | 114.2
23105 | 2022-05-20 13:51 | 77.6721 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 235.4743 | μmol/L | 18.2361 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.477 | 96305.7672 | 295779.8714 | 30.45 | 114.2
23115 | 2022-05-20 13:51 | 78.0054 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 235.4098 | μmol/L | 18.2423 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.478 | 96322.9583 | 295773.909 | 30.45 | 114.2
23125 | 2022-05-20 13:51 | 78.3391 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 235.3117 | μmol/L | 18.2423 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.483 | 96337.3986 | 295765.8065 | 30.45 | 114.2
23135 | 2022-05-20 13:52 | 78.6727 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 235.2587 | μmol/L | 18.2361 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.488 | 96350.3013 | 295753.0163 | 30.45 | 114.2
23145 | 2022-05-20 13:52 | 79.0054 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 235.1746 | μmol/L | 18.2423 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.49 | 96373.3006 | 295749.4117 | 30.45 | 114.2
23155 | 2022-05-20 13:52 | 79.3389 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 235.0098 | μmol/L | 18.23 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.503 | 96412.7736 | 295755.8408 | 30.45 | 114.2
23165 | 2022-05-20 13:53 | 79.6724 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 234.705 | μmol/L | 18.2423 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.514 | 96467.6252 | 295741.29 | 30.45 | 114.2
23175 | 2022-05-20 13:53 | 80.006 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 234.4568 | μmol/L | 18.2361 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.529 | 96524.7818 | 295743.0293 | 30.45 | 114.2
23185 | 2022-05-20 13:53 | 80.3387 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 234.2228 | μmol/L | 18.2361 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.541 | 96583.8127 | 295722.5526 | 30.45 | 114.2
23195 | 2022-05-20 13:54 | 80.672 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 233.6582 | μmol/L | 18.2361 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.57 | 96691.9289 | 295713.0818 | 30.45 | 114.2
23205 | 2022-05-20 13:54 | 81.0055 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 232.946 | μmol/L | 18.23 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.609 | 96889.5861 | 295720.0821 | 30.45 | 114.2
23215 | 2022-05-20 13:54 | 81.3391 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 232.5203 | μmol/L | 18.23 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.631 | 96999.1116 | 295708.1629 | 30.45 | 114.2
23225 | 2022-05-20 13:55 | 81.672 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 232.9209 | μmol/L | 18.2361 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.608 | 96860.8113 | 295687.2243 | 30.45 | 114.2
23235 | 2022-05-20 13:55 | 82.0054 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 233.7749 | μmol/L | 18.2361 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.564 | 96660.0448 | 295697.7159 | 30.45 | 114.2
23245 | 2022-05-20 13:55 | 82.339 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 234.7107 | μmol/L | 18.2361 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.516 | 96441.2232 | 295676.0026 | 30.45 | 114.2
23255 | 2022-05-20 13:56 | 82.672 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 235.4686 | μmol/L | 18.2423 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.475 | 96243.2774 | 295679.1832 | 30.45 | 114.2
23265 | 2022-05-20 13:56 | 83.0058 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 237.2675 | μmol/L | 18.2361 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.386 | 95849.1013 | 295663.663 | 30.45 | 114.2
23275 | 2022-05-20 13:56 | 83.3393 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 238.858 | μmol/L | 18.23 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 24.308 | 95480.1779 | 295665.6409 | 30.45 | 114.2
23285 | 2022-05-20 13:57 | 83.6721 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 239.6174 | μmol/L | 18.23 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 24.27 | 95313.613 | 295669.0246 | 30.45 | 114.2
23295 | 2022-05-20 13:57 | 84.0059 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 239.898 | μmol/L | 18.23 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 24.256 | 95245.9086 | 295654.3868 | 30.45 | 114.2
23305 | 2022-05-20 13:57 | 84.3387 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 239.3173 | μmol/L | 18.23 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 24.285 | 95385.5601 | 295642.5816 | 30.45 | 114.2
23315 | 2022-05-20 13:58 | 84.6723 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 238.6635 | μmol/L | 18.23 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.318 | 95525.8229 | 295648.4068 | 30.45 | 114.2
23325 | 2022-05-20 13:58 | 85.0059 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 238.1658 | μmol/L | 18.23 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.343 | 95621.4068 | 295641.6324 | 30.45 | 114.2
23335 | 2022-05-20 13:58 | 85.3387 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 237.8092 | μmol/L | 18.2238 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 24.363 | 95714.5398 | 295648.5365 | 30.45 | 114.2
23345 | 2022-05-20 13:59 | 85.6726 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 237.223 | μmol/L | 18.2361 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 24.388 | 95817.1654 | 295627.5653 | 30.45 | 114.2
23355 | 2022-05-20 13:59 | 86.0054 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 237.0499 | μmol/L | 18.2361 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.397 | 95855.9391 | 295615.9066 | 30.45 | 114.2
23365 | 2022-05-20 13:59 | 86.3389 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 237.6787 | μmol/L | 18.2361 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 24.365 | 95731.133 | 295621.0551 | 30.45 | 114.2
23375 | 2022-05-20 14:00 | 86.6725 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 238.5391 | μmol/L | 18.23 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 24.324 | 95530.9733 | 295612.5282 | 30.45 | 114.2
23385 | 2022-05-20 14:00 | 87.0055 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 239.5631 | μmol/L | 18.2238 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 24.275 | 95308.9997 | 295614.5061 | 30.45 | 114.2
23395 | 2022-05-20 14:00 | 87.3391 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 240.5004 | μmol/L | 18.23 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 24.226 | 95094.1005 | 295603.8234 | 30.45 | 114.2
23405 | 2022-05-20 14:01 | 87.6721 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 241.4939 | μmol/L | 18.2238 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 24.179 | 94869.7562 | 295600.0867 | 30.45 | 114.2
23415 | 2022-05-20 14:01 | 88.0057 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 242.2024 | μmol/L | 18.2238 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 24.144 | 94689.7518 | 295600.2249 | 30.45 | 114.2
23425 | 2022-05-20 14:01 | 88.3392 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 242.9533 | μmol/L | 18.23 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.105 | 94513.2692 | 295592.5592 | 30.45 | 114.2
23435 | 2022-05-20 14:02 | 88.6727 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 243.5999 | μmol/L | 18.2361 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.071 | 94366.2905 | 295585.0237 | 30.45 | 114.2
23445 | 2022-05-20 14:02 | 89.0054 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 244.2345 | μmol/L | 18.23 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 24.042 | 94241.4887 | 295594.0479 | 30.45 | 114.2
23455 | 2022-05-20 14:02 | 89.3389 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 244.624 | μmol/L | 18.23 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 24.023 | 94139.9718 | 295579.4694 | 30.45 | 114.2
23465 | 2022-05-20 14:03 | 89.6728 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 244.9937 | μmol/L | 18.23 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 24.005 | 94060.1644 | 295571.3793 | 30.45 | 114.2
23475 | 2022-05-20 14:03 | 90.0057 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 245.1582 | μmol/L | 18.23 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.997 | 94017.7422 | 295561.3306 | 30.45 | 114.2
23485 | 2022-05-20 14:03 | 90.3392 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 245.0199 | μmol/L | 18.2238 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 24.006 | 94055.0359 | 295558.3457 | 30.45 | 114.2
23495 | 2022-05-20 14:04 | 90.6721 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 244.2043 | μmol/L | 18.2238 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.046 | 94220.0966 | 295573.544 | 30.45 | 114.2
23505 | 2022-05-20 14:04 | 91.0058 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 243.1576 | μmol/L | 18.2238 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 24.097 | 94464.4235 | 295559.9688 | 30.45 | 114.2