## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_2 | O2 | 178552617 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:48

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-20 15:44

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
23519 | 2022-05-20 14:23 | 0 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 284.1624 | μmol/L | 18.1023 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.27 | 84801.219 | 293279.5936 | 30.45 | 38.1
23529 | 2022-05-20 14:23 | 0.3362 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 284.0837 | μmol/L | 18.1084 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.271 | 84789.1296 | 293280.748 | 30.45 | 38.1
23539 | 2022-05-20 14:23 | 0.66904 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 284.2855 | μmol/L | 18.1023 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.265 | 84780.0668 | 293269.4396 | 30.45 | 38.1
23549 | 2022-05-20 14:24 | 1.0028 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 284.2362 | μmol/L | 18.1023 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.267 | 84769.3196 | 293248.6807 | 30.45 | 38.1
23559 | 2022-05-20 14:24 | 1.3357 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 284.2116 | μmol/L | 18.1023 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.268 | 84761.9017 | 293259.0635 | 30.45 | 38.1
23569 | 2022-05-20 14:24 | 1.6698 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 284.3347 | μmol/L | 18.1023 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.263 | 84753.9115 | 293242.4568 | 30.45 | 38.1
23579 | 2022-05-20 14:25 | 2.0025 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 284.3347 | μmol/L | 18.1023 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.263 | 84753.7212 | 293234.9305 | 30.45 | 38.1
23589 | 2022-05-20 14:25 | 2.3361 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 284.2068 | μmol/L | 18.1084 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.266 | 84749.8581 | 293234.598 | 30.45 | 38.1
23599 | 2022-05-20 14:25 | 2.6696 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 284.1083 | μmol/L | 18.1084 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.27 | 84727.706 | 293214.253 | 30.45 | 38.1
23609 | 2022-05-20 14:26 | 3.003 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 284.1329 | μmol/L | 18.1084 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.269 | 84725.9816 | 293207.4801 | 30.45 | 38.1
23619 | 2022-05-20 14:26 | 3.3359 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 284.2807 | μmol/L | 18.1084 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.263 | 84713.1021 | 293184.2441 | 30.45 | 38.1
23629 | 2022-05-20 14:26 | 3.6694 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 284.2608 | μmol/L | 18.1023 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.266 | 84711.0034 | 293175.6392 | 30.45 | 38.1
23639 | 2022-05-20 14:27 | 4.0029 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 284.1774 | μmol/L | 18.1145 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.265 | 84710.2284 | 293181.4773 | 30.45 | 38.1
23649 | 2022-05-20 14:27 | 4.3364 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 284.2068 | μmol/L | 18.1084 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.266 | 84701.5634 | 293170.1667 | 30.45 | 38.1
23659 | 2022-05-20 14:27 | 4.6691 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 284.202 | μmol/L | 18.1145 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.264 | 84688.1869 | 293165.9283 | 30.45 | 38.1
23669 | 2022-05-20 14:28 | 5.0027 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 284.0543 | μmol/L | 18.1145 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.27 | 84689.6462 | 293164.15 | 30.45 | 38.1
23679 | 2022-05-20 14:28 | 5.336 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 284.202 | μmol/L | 18.1145 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.264 | 84681.7174 | 293164.0024 | 30.45 | 38.1
23689 | 2022-05-20 14:28 | 5.6696 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 284.0837 | μmol/L | 18.1084 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.271 | 84686.1299 | 293169.8535 | 30.45 | 38.1
23699 | 2022-05-20 14:29 | 6.0031 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 284.1035 | μmol/L | 18.1145 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.268 | 84680.484 | 293147.0255 | 30.45 | 38.1
23709 | 2022-05-20 14:29 | 6.3359 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 284.0789 | μmol/L | 18.1145 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.269 | 84680.2348 | 293136.3002 | 30.45 | 38.1
23719 | 2022-05-20 14:29 | 6.6694 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 284.1575 | μmol/L | 18.1084 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.268 | 84670.1305 | 293128.476 | 30.45 | 38.1
23729 | 2022-05-20 14:30 | 7.0023 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 284.1527 | μmol/L | 18.1145 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.266 | 84666.8591 | 293115.3659 | 30.45 | 38.1
23739 | 2022-05-20 14:30 | 7.3358 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 284.202 | μmol/L | 18.1145 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.264 | 84660.5039 | 293112.3702 | 30.45 | 38.1
23749 | 2022-05-20 14:30 | 7.6692 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 284.1527 | μmol/L | 18.1145 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.266 | 84659.1534 | 293125.7311 | 30.45 | 38.1
23759 | 2022-05-20 14:31 | 8.0028 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 284.0447 | μmol/L | 18.1268 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.266 | 84663.2088 | 293110.7534 | 30.45 | 38.1
23769 | 2022-05-20 14:31 | 8.3356 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 284.0297 | μmol/L | 18.1145 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.271 | 84653.7374 | 293102.6312 | 30.45 | 38.1
23779 | 2022-05-20 14:31 | 8.6692 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 284.1527 | μmol/L | 18.1145 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.266 | 84646.4933 | 293093.8162 | 30.45 | 38.1
23789 | 2022-05-20 14:32 | 9.0029 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 284.0249 | μmol/L | 18.1207 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.269 | 84642.0995 | 293072.0051 | 30.45 | 38.1
23799 | 2022-05-20 14:32 | 9.3357 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 284.0495 | μmol/L | 18.1207 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.268 | 84643.8436 | 293072.2782 | 30.45 | 38.1
23809 | 2022-05-20 14:32 | 9.669 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.9511 | μmol/L | 18.1207 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.272 | 84638.6688 | 293074.4256 | 30.45 | 38.1
23819 | 2022-05-20 14:33 | 10.0025 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.9955 | μmol/L | 18.1268 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.268 | 84638.4241 | 293064.4241 | 30.45 | 38.1
23829 | 2022-05-20 14:33 | 10.3361 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.9511 | μmol/L | 18.1207 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.272 | 84636.0189 | 293061.8821 | 30.45 | 38.1
23839 | 2022-05-20 14:33 | 10.6695 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 284.0249 | μmol/L | 18.1207 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.269 | 84630.268 | 293056.6175 | 30.45 | 38.1
23849 | 2022-05-20 14:34 | 11.0029 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.9217 | μmol/L | 18.1268 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.271 | 84629.7672 | 293052.7693 | 30.45 | 38.1
23859 | 2022-05-20 14:34 | 11.3364 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.9757 | μmol/L | 18.1207 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.271 | 84627.0033 | 293045.8949 | 30.45 | 38.1
23869 | 2022-05-20 14:34 | 11.6691 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.9757 | μmol/L | 18.1207 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.271 | 84624.7197 | 293040.0309 | 30.45 | 38.1
23879 | 2022-05-20 14:35 | 12.0026 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.8725 | μmol/L | 18.1268 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.273 | 84621.3195 | 293035.7305 | 30.45 | 38.1
23889 | 2022-05-20 14:35 | 12.336 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7694 | μmol/L | 18.1329 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.275 | 84620.7137 | 293025.557 | 30.45 | 38.1
23899 | 2022-05-20 14:35 | 12.6696 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.8479 | μmol/L | 18.1268 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.274 | 84611.4165 | 293027.9377 | 30.45 | 38.1
23909 | 2022-05-20 14:36 | 13.0031 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.8479 | μmol/L | 18.1268 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.274 | 84620.4991 | 293036.3935 | 30.45 | 38.1
23919 | 2022-05-20 14:36 | 13.3357 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.9415 | μmol/L | 18.1329 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.268 | 84612.5902 | 293018.9874 | 30.45 | 38.1
23929 | 2022-05-20 14:36 | 13.6692 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.8725 | μmol/L | 18.1268 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.273 | 84614.1229 | 293026.3246 | 30.45 | 38.1
23939 | 2022-05-20 14:37 | 14.0028 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.8971 | μmol/L | 18.1268 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.272 | 84603.5549 | 293008.1385 | 30.45 | 38.1
23949 | 2022-05-20 14:37 | 14.3363 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.8971 | μmol/L | 18.1268 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.272 | 84603.0417 | 293011.2251 | 30.45 | 38.1
23959 | 2022-05-20 14:37 | 14.669 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.8185 | μmol/L | 18.1329 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.273 | 84600.1834 | 292993.2565 | 30.45 | 38.1
23969 | 2022-05-20 14:38 | 15.0025 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.8185 | μmol/L | 18.1329 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.273 | 84592.4059 | 292992.6136 | 30.45 | 38.1
23979 | 2022-05-20 14:38 | 15.336 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7352 | μmol/L | 18.1451 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.272 | 84593.5434 | 292994.3885 | 30.45 | 38.1
23989 | 2022-05-20 14:38 | 15.6693 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.9169 | μmol/L | 18.1329 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.269 | 84585.4935 | 292994.6264 | 30.45 | 38.1
23999 | 2022-05-20 14:39 | 16.0028 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7939 | μmol/L | 18.1329 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.274 | 84578.227 | 292989.6975 | 30.45 | 38.1
24009 | 2022-05-20 14:39 | 16.3362 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.8431 | μmol/L | 18.1329 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.272 | 84578.0074 | 292987.4977 | 30.45 | 38.1
24019 | 2022-05-20 14:39 | 16.6698 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.9415 | μmol/L | 18.1329 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.268 | 84578.7971 | 292985.3423 | 30.45 | 38.1
24029 | 2022-05-20 14:40 | 17.0023 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.8677 | μmol/L | 18.1329 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.271 | 84572.7562 | 292975.7327 | 30.45 | 38.1
24039 | 2022-05-20 14:40 | 17.3358 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7598 | μmol/L | 18.1451 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.271 | 84567.8586 | 292980.5433 | 30.45 | 38.1
24049 | 2022-05-20 14:40 | 17.6692 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.9907 | μmol/L | 18.1329 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.266 | 84549.951 | 292965.2295 | 30.45 | 38.1
24059 | 2022-05-20 14:41 | 18.0028 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.8383 | μmol/L | 18.139 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.27 | 84559.5319 | 292972.7797 | 30.45 | 38.1
24069 | 2022-05-20 14:41 | 18.3363 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7598 | μmol/L | 18.1451 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.271 | 84554.0271 | 292958.6608 | 30.45 | 38.1
24079 | 2022-05-20 14:41 | 18.6696 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.9367 | μmol/L | 18.139 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.266 | 84539.3815 | 292945.7696 | 30.45 | 38.1
24089 | 2022-05-20 14:42 | 19.0025 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7646 | μmol/L | 18.139 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.273 | 84529.1497 | 292953.4796 | 30.45 | 38.1
24099 | 2022-05-20 14:42 | 19.3362 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7892 | μmol/L | 18.139 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.272 | 84532.3333 | 292952.479 | 30.45 | 38.1
24109 | 2022-05-20 14:42 | 19.6695 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.8336 | μmol/L | 18.1451 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.268 | 84530.8742 | 292934.1378 | 30.45 | 38.1
24119 | 2022-05-20 14:43 | 20.003 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.9613 | μmol/L | 18.139 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.265 | 84520.6111 | 292937.4076 | 30.45 | 38.1
24129 | 2022-05-20 14:43 | 20.3357 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.8336 | μmol/L | 18.1451 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.268 | 84526.4623 | 292946.7448 | 30.45 | 38.1
24139 | 2022-05-20 14:43 | 20.6695 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 284.109 | μmol/L | 18.139 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.259 | 84523.6305 | 292924.5974 | 30.45 | 38.1
24149 | 2022-05-20 14:44 | 21.003 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.809 | μmol/L | 18.1451 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.269 | 84515.4334 | 292928.6826 | 30.45 | 38.1
24159 | 2022-05-20 14:44 | 21.3357 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.8827 | μmol/L | 18.1451 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.266 | 84508.9252 | 292920.013 | 30.45 | 38.1
24169 | 2022-05-20 14:44 | 21.6693 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.8581 | μmol/L | 18.1451 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.267 | 84507.6058 | 292914.5798 | 30.45 | 38.1
24179 | 2022-05-20 14:45 | 22.0026 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.8827 | μmol/L | 18.1451 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.266 | 84498.4511 | 292898.317 | 30.45 | 38.1
24189 | 2022-05-20 14:45 | 22.3363 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.9811 | μmol/L | 18.1451 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.262 | 84505.9958 | 292911.2081 | 30.45 | 38.1
24199 | 2022-05-20 14:45 | 22.6695 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.8581 | μmol/L | 18.1451 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.267 | 84492.189 | 292892.3401 | 30.45 | 38.1
24209 | 2022-05-20 14:46 | 23.0032 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.9319 | μmol/L | 18.1451 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.264 | 84493.0962 | 292893.0384 | 30.45 | 38.1
24219 | 2022-05-20 14:46 | 23.336 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7796 | μmol/L | 18.1512 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.268 | 84485.6756 | 292884.3568 | 30.45 | 38.1
24229 | 2022-05-20 14:46 | 23.6696 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.8288 | μmol/L | 18.1512 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.266 | 84493.3674 | 292891.4518 | 30.45 | 38.1
24239 | 2022-05-20 14:47 | 24.0031 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.6519 | μmol/L | 18.1573 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.271 | 84482.5126 | 292876.4566 | 30.45 | 38.1
24249 | 2022-05-20 14:47 | 24.3358 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7748 | μmol/L | 18.1573 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.266 | 84477.9059 | 292873.4074 | 30.45 | 38.1
24259 | 2022-05-20 14:47 | 24.6693 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7304 | μmol/L | 18.1512 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.27 | 84484.0716 | 292874.3284 | 30.45 | 38.1
24269 | 2022-05-20 14:48 | 25.0028 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.824 | μmol/L | 18.1573 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.264 | 84481.9741 | 292883.4866 | 30.45 | 38.1
24279 | 2022-05-20 14:48 | 25.3363 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.8534 | μmol/L | 18.1512 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.265 | 84468.2966 | 292876.0804 | 30.45 | 38.1
24289 | 2022-05-20 14:48 | 25.669 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.8534 | μmol/L | 18.1512 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.265 | 84472.1871 | 292861.8641 | 30.45 | 38.1
24299 | 2022-05-20 14:49 | 26.0027 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.8042 | μmol/L | 18.1512 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.267 | 84462.7025 | 292852.8169 | 30.45 | 38.1
24309 | 2022-05-20 14:49 | 26.336 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.8288 | μmol/L | 18.1512 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.266 | 84466.0314 | 292845.8595 | 30.45 | 38.1
24319 | 2022-05-20 14:49 | 26.6695 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.6519 | μmol/L | 18.1573 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.271 | 84462.6438 | 292852.671 | 30.45 | 38.1
24329 | 2022-05-20 14:50 | 27.0029 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7257 | μmol/L | 18.1573 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.268 | 84452.4953 | 292849.3978 | 30.45 | 38.1
24339 | 2022-05-20 14:50 | 27.3363 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7011 | μmol/L | 18.1573 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.269 | 84448.4801 | 292840.8467 | 30.45 | 38.1
24349 | 2022-05-20 14:50 | 27.669 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.9026 | μmol/L | 18.1512 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.263 | 84448.331 | 292820.0686 | 30.45 | 38.1
24359 | 2022-05-20 14:51 | 28.0025 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7994 | μmol/L | 18.1573 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.265 | 84444.4318 | 292829.5164 | 30.45 | 38.1
24369 | 2022-05-20 14:51 | 28.3362 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7994 | μmol/L | 18.1573 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.265 | 84443.3033 | 292823.5848 | 30.45 | 38.1
24379 | 2022-05-20 14:51 | 28.6696 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.6963 | μmol/L | 18.1634 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.267 | 84439.7493 | 292820.0125 | 30.45 | 38.1
24389 | 2022-05-20 14:52 | 29.0024 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7011 | μmol/L | 18.1573 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.269 | 84442.0364 | 292820.737 | 30.45 | 38.1
24399 | 2022-05-20 14:52 | 29.336 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.8978 | μmol/L | 18.1573 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.261 | 84436.5114 | 292801.6374 | 30.45 | 38.1
24409 | 2022-05-20 14:52 | 29.6695 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.8193 | μmol/L | 18.1634 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.262 | 84432.8486 | 292805.5311 | 30.45 | 38.1
24419 | 2022-05-20 14:53 | 30.0026 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7455 | μmol/L | 18.1634 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.265 | 84425.0657 | 292801.1124 | 30.45 | 38.1
24429 | 2022-05-20 14:53 | 30.3359 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.6963 | μmol/L | 18.1634 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.267 | 84429.1581 | 292802.9635 | 30.45 | 38.1
24439 | 2022-05-20 14:53 | 30.6694 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.6963 | μmol/L | 18.1634 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.267 | 84423.1468 | 292798.7597 | 30.45 | 38.1
24449 | 2022-05-20 14:54 | 31.0031 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.6963 | μmol/L | 18.1634 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.267 | 84421.9969 | 292797.506 | 30.45 | 38.1
24459 | 2022-05-20 14:54 | 31.3358 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.6718 | μmol/L | 18.1634 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.268 | 84423.9154 | 292787.6959 | 30.45 | 38.1
24469 | 2022-05-20 14:54 | 31.6691 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7503 | μmol/L | 18.1573 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.267 | 84414.6538 | 292773.7737 | 30.45 | 38.1
24479 | 2022-05-20 14:55 | 32.0025 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.667 | μmol/L | 18.1695 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.266 | 84412.5669 | 292783.3255 | 30.45 | 38.1
24489 | 2022-05-20 14:55 | 32.3361 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.5885 | μmol/L | 18.1756 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.267 | 84411.5221 | 292787.9087 | 30.45 | 38.1
24499 | 2022-05-20 14:55 | 32.6696 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.6718 | μmol/L | 18.1634 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.268 | 84404.5299 | 292780.6307 | 30.45 | 38.1
24509 | 2022-05-20 14:56 | 33.0031 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.667 | μmol/L | 18.1695 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.266 | 84403.3362 | 292787.1298 | 30.45 | 38.1
24519 | 2022-05-20 14:56 | 33.3364 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7701 | μmol/L | 18.1634 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.264 | 84393.4055 | 292768.4687 | 30.45 | 38.1
24529 | 2022-05-20 14:56 | 33.6691 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.5687 | μmol/L | 18.1695 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.27 | 84389.735 | 292781.7629 | 30.45 | 38.1
24539 | 2022-05-20 14:57 | 34.0027 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7455 | μmol/L | 18.1634 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.265 | 84390.5641 | 292769.8174 | 30.45 | 38.1
24549 | 2022-05-20 14:57 | 34.3363 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.5885 | μmol/L | 18.1756 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.267 | 84383.8192 | 292767.7973 | 30.45 | 38.1
24559 | 2022-05-20 14:57 | 34.6691 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7653 | μmol/L | 18.1695 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.262 | 84385.5265 | 292769.0528 | 30.45 | 38.1
24569 | 2022-05-20 14:58 | 35.0025 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7162 | μmol/L | 18.1695 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.264 | 84382.2886 | 292768.2773 | 30.45 | 38.1
24579 | 2022-05-20 14:58 | 35.3362 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.8391 | μmol/L | 18.1695 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.259 | 84374.2166 | 292761.4354 | 30.45 | 38.1
24589 | 2022-05-20 14:58 | 35.6697 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7162 | μmol/L | 18.1695 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.264 | 84381.8359 | 292756.118 | 30.45 | 38.1
24599 | 2022-05-20 14:59 | 36.0025 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7947 | μmol/L | 18.1634 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.263 | 84380.4967 | 292763.689 | 30.45 | 38.1
24609 | 2022-05-20 14:59 | 36.3359 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.8439 | μmol/L | 18.1634 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.261 | 84371.0728 | 292762.373 | 30.45 | 38.1
24619 | 2022-05-20 14:59 | 36.6695 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7899 | μmol/L | 18.1695 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.261 | 84362.9373 | 292747.3711 | 30.45 | 38.1
24629 | 2022-05-20 15:00 | 37.0026 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7653 | μmol/L | 18.1695 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.262 | 84358.3531 | 292748.434 | 30.45 | 38.1
24639 | 2022-05-20 15:00 | 37.3363 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7852 | μmol/L | 18.1756 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.259 | 84353.8602 | 292749.7184 | 30.45 | 38.1
24649 | 2022-05-20 15:00 | 37.669 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7114 | μmol/L | 18.1756 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.262 | 84353.787 | 292740.5695 | 30.45 | 38.1
24659 | 2022-05-20 15:01 | 38.0025 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.667 | μmol/L | 18.1695 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.266 | 84348.7495 | 292746.9943 | 30.45 | 38.1
24669 | 2022-05-20 15:01 | 38.3361 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.8193 | μmol/L | 18.1634 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.262 | 84347.4859 | 292745.1284 | 30.45 | 38.1
24679 | 2022-05-20 15:01 | 38.6697 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.8391 | μmol/L | 18.1695 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.259 | 84347.5962 | 292737.6251 | 30.45 | 38.1
24689 | 2022-05-20 15:02 | 39.0024 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7653 | μmol/L | 18.1695 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.262 | 84348.3482 | 292748.2209 | 30.45 | 38.1
24699 | 2022-05-20 15:02 | 39.3358 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7162 | μmol/L | 18.1695 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.264 | 84346.5697 | 292731.81 | 30.45 | 38.1
24709 | 2022-05-20 15:02 | 39.6693 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.8145 | μmol/L | 18.1695 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.26 | 84340.128 | 292724.77 | 30.45 | 38.1
24719 | 2022-05-20 15:03 | 40.0027 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.736 | μmol/L | 18.1756 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.261 | 84340.2427 | 292719.2197 | 30.45 | 38.1
24729 | 2022-05-20 15:03 | 40.3361 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.8098 | μmol/L | 18.1756 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.258 | 84338.9023 | 292730.5415 | 30.45 | 38.1
24739 | 2022-05-20 15:03 | 40.6696 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.6868 | μmol/L | 18.1756 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.263 | 84336.4775 | 292724.4045 | 30.45 | 38.1
24749 | 2022-05-20 15:04 | 41.0031 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.6377 | μmol/L | 18.1756 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.265 | 84338.026 | 292721.8167 | 30.45 | 38.1
24759 | 2022-05-20 15:04 | 41.3359 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.6084 | μmol/L | 18.1817 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.264 | 84334.073 | 292710.447 | 30.45 | 38.1
24769 | 2022-05-20 15:04 | 41.6693 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7899 | μmol/L | 18.1695 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.261 | 84331.0291 | 292700.3315 | 30.45 | 38.1
24779 | 2022-05-20 15:05 | 42.0028 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.6868 | μmol/L | 18.1756 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.263 | 84331.3387 | 292709.5698 | 30.45 | 38.1
24789 | 2022-05-20 15:05 | 42.3361 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7653 | μmol/L | 18.1695 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.262 | 84318.9993 | 292708.6132 | 30.45 | 38.1
24799 | 2022-05-20 15:05 | 42.6697 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.6821 | μmol/L | 18.1817 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.261 | 84324.6986 | 292700.0416 | 30.45 | 38.1
24809 | 2022-05-20 15:06 | 43.003 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.6084 | μmol/L | 18.1817 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.264 | 84313.1492 | 292703.1146 | 30.45 | 38.1
24819 | 2022-05-20 15:06 | 43.3358 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7899 | μmol/L | 18.1695 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.261 | 84322.8549 | 292689.175 | 30.45 | 38.1
24829 | 2022-05-20 15:06 | 43.6695 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.6282 | μmol/L | 18.1878 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.261 | 84313.8389 | 292692.6798 | 30.45 | 38.1
24839 | 2022-05-20 15:07 | 44.0028 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7313 | μmol/L | 18.1817 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.259 | 84312.7923 | 292703.2758 | 30.45 | 38.1
24849 | 2022-05-20 15:07 | 44.3363 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.6821 | μmol/L | 18.1817 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.261 | 84314.9786 | 292680.1918 | 30.45 | 38.1
24859 | 2022-05-20 15:07 | 44.6698 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.7067 | μmol/L | 18.1817 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.26 | 84302.5821 | 292678.5589 | 30.45 | 38.1
24869 | 2022-05-20 15:08 | 45.0024 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.6084 | μmol/L | 18.1817 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.264 | 84307.5967 | 292679.5866 | 30.45 | 38.1
24879 | 2022-05-20 15:08 | 45.336 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.736 | μmol/L | 18.1756 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.261 | 84307.2203 | 292687.5949 | 30.45 | 38.1
24889 | 2022-05-20 15:08 | 45.6696 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.5838 | μmol/L | 18.1817 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.265 | 84309.2877 | 292663.9754 | 30.45 | 38.1
24899 | 2022-05-20 15:09 | 46.0031 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.633 | μmol/L | 18.1817 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.263 | 84300.0771 | 292656.8344 | 30.45 | 38.1
24909 | 2022-05-20 15:09 | 46.3358 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.5838 | μmol/L | 18.1817 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.265 | 84298.3258 | 292651.4361 | 30.45 | 38.1
24919 | 2022-05-20 15:09 | 46.6694 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.5838 | μmol/L | 18.1817 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.265 | 84298.1786 | 292650.6217 | 30.45 | 38.1
24929 | 2022-05-20 15:10 | 47.0028 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.5838 | μmol/L | 18.1817 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.265 | 84302.5892 | 292661.8802 | 30.45 | 38.1
24939 | 2022-05-20 15:10 | 47.3363 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.6774 | μmol/L | 18.1878 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.259 | 84301.7651 | 292649.9659 | 30.45 | 38.1
24949 | 2022-05-20 15:10 | 47.669 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.6084 | μmol/L | 18.1817 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.264 | 84295.5901 | 292648.9444 | 30.45 | 38.1
24959 | 2022-05-20 15:11 | 48.0024 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.5252 | μmol/L | 18.1939 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.263 | 84295.5673 | 292639.4902 | 30.45 | 38.1
24969 | 2022-05-20 15:11 | 48.3359 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.5545 | μmol/L | 18.1878 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.264 | 84293.7133 | 292643.963 | 30.45 | 38.1
24979 | 2022-05-20 15:11 | 48.6694 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.427 | μmol/L | 18.1939 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.267 | 84299.0511 | 292626.0317 | 30.45 | 38.1
24989 | 2022-05-20 15:12 | 49.0028 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.4562 | μmol/L | 18.1878 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.268 | 84305.1048 | 292645.684 | 30.45 | 38.1
24999 | 2022-05-20 15:12 | 49.3362 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.4024 | μmol/L | 18.1939 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.268 | 84293.4267 | 292613.0184 | 30.45 | 38.1
25009 | 2022-05-20 15:12 | 49.6697 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.4562 | μmol/L | 18.1878 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.268 | 84305.03 | 292616.8004 | 30.45 | 38.1
25019 | 2022-05-20 15:13 | 50.0031 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.358 | μmol/L | 18.1878 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.272 | 84304.7182 | 292624.9804 | 30.45 | 38.1
25029 | 2022-05-20 15:13 | 50.3357 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.4562 | μmol/L | 18.1878 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.268 | 84303.0573 | 292612.1626 | 30.45 | 38.1
25039 | 2022-05-20 15:13 | 50.6692 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.2599 | μmol/L | 18.1878 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.276 | 84300.3822 | 292593.4242 | 30.45 | 38.1
25049 | 2022-05-20 15:14 | 51.0026 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.3288 | μmol/L | 18.1939 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.271 | 84300.8843 | 292601.4935 | 30.45 | 38.1
25059 | 2022-05-20 15:14 | 51.3362 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.3335 | μmol/L | 18.1878 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.273 | 84302.7348 | 292609.7991 | 30.45 | 38.1
25069 | 2022-05-20 15:14 | 51.6696 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.2061 | μmol/L | 18.1939 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.276 | 84293.6492 | 292601.9257 | 30.45 | 38.1
25079 | 2022-05-20 15:15 | 52.0025 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.2306 | μmol/L | 18.1939 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.275 | 84297.6393 | 292591.0424 | 30.45 | 38.1
25089 | 2022-05-20 15:15 | 52.336 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.2306 | μmol/L | 18.1939 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.275 | 84295.3198 | 292583.1061 | 30.45 | 38.1
25099 | 2022-05-20 15:15 | 52.6697 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.2797 | μmol/L | 18.1939 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.273 | 84287.889 | 292582.423 | 30.45 | 38.1
25109 | 2022-05-20 15:16 | 53.0024 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.1815 | μmol/L | 18.1939 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.277 | 84298.9664 | 292577.5761 | 30.45 | 38.1
25119 | 2022-05-20 15:16 | 53.336 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.2844 | μmol/L | 18.1878 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.275 | 84290.5834 | 292576.7533 | 30.45 | 38.1
25129 | 2022-05-20 15:16 | 53.6697 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.3042 | μmol/L | 18.1939 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.272 | 84283.3167 | 292579.7065 | 30.45 | 38.1
25139 | 2022-05-20 15:17 | 54.0026 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.3335 | μmol/L | 18.1878 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.273 | 84282.6668 | 292567.7253 | 30.45 | 38.1
25149 | 2022-05-20 15:17 | 54.3359 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.2306 | μmol/L | 18.1939 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.275 | 84280.262 | 292568.0762 | 30.45 | 38.1
25159 | 2022-05-20 15:17 | 54.6698 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.2551 | μmol/L | 18.1939 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.274 | 84286.2028 | 292563.0064 | 30.45 | 38.1
25169 | 2022-05-20 15:18 | 55.0023 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.2504 | μmol/L | 18.2 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.272 | 84272.161 | 292557.7955 | 30.45 | 38.1
25179 | 2022-05-20 15:18 | 55.3359 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.3533 | μmol/L | 18.1939 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.27 | 84274.5496 | 292550.8849 | 30.45 | 38.1
25189 | 2022-05-20 15:18 | 55.6693 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.3826 | μmol/L | 18.1878 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.271 | 84268.2216 | 292547.9738 | 30.45 | 38.1
25199 | 2022-05-20 15:19 | 56.0026 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.3042 | μmol/L | 18.1939 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.272 | 84276.0871 | 292551.9326 | 30.45 | 38.1
25209 | 2022-05-20 15:19 | 56.3363 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.2259 | μmol/L | 18.2 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.273 | 84276.3137 | 292542.1927 | 30.45 | 38.1
25219 | 2022-05-20 15:19 | 56.6691 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.1325 | μmol/L | 18.1939 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.279 | 84267.5025 | 292520.7946 | 30.45 | 38.1
25229 | 2022-05-20 15:20 | 57.0028 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.3042 | μmol/L | 18.1939 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.272 | 84267.7526 | 292533.358 | 30.45 | 38.1
25239 | 2022-05-20 15:20 | 57.3356 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.2504 | μmol/L | 18.2 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.272 | 84281.1137 | 292528.742 | 30.45 | 38.1
25249 | 2022-05-20 15:20 | 57.6694 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.1032 | μmol/L | 18.2 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.278 | 84271.7285 | 292527.7303 | 30.45 | 38.1
25259 | 2022-05-20 15:21 | 58.0029 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 283.0495 | μmol/L | 18.2061 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.278 | 84278.1204 | 292530.3884 | 30.45 | 38.1
25269 | 2022-05-20 15:21 | 58.3363 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.9269 | μmol/L | 18.2061 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.283 | 84281.2178 | 292528.7195 | 30.45 | 38.1
25279 | 2022-05-20 15:21 | 58.6698 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.8779 | μmol/L | 18.2061 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.285 | 84286.9859 | 292531.4284 | 30.45 | 38.1
25289 | 2022-05-20 15:22 | 59.0024 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.9561 | μmol/L | 18.2 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.284 | 84287.7461 | 292523.7391 | 30.45 | 38.1
25299 | 2022-05-20 15:22 | 59.3359 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.9364 | μmol/L | 18.1939 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.287 | 84296.1476 | 292502.6336 | 30.45 | 38.1
25309 | 2022-05-20 15:22 | 59.6694 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.6772 | μmol/L | 18.2122 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.291 | 84302.0771 | 292517.5374 | 30.45 | 38.1
25319 | 2022-05-20 15:23 | 60.0028 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.8826 | μmol/L | 18.2 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.287 | 84308.3779 | 292506.5975 | 30.45 | 38.1
25329 | 2022-05-20 15:23 | 60.3365 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.8384 | μmol/L | 18.1939 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.291 | 84308.8605 | 292504.8766 | 30.45 | 38.1
25339 | 2022-05-20 15:23 | 60.6691 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.6085 | μmol/L | 18.2061 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.296 | 84318.4238 | 292503.8838 | 30.45 | 38.1
25349 | 2022-05-20 15:24 | 61.0026 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.7452 | μmol/L | 18.1878 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.297 | 84324.4983 | 292493.6268 | 30.45 | 38.1
25359 | 2022-05-20 15:24 | 61.3363 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.5643 | μmol/L | 18.2 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.3 | 84334.3691 | 292485.7503 | 30.45 | 38.1
25369 | 2022-05-20 15:24 | 61.6691 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.4326 | μmol/L | 18.2122 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.301 | 84346.7849 | 292489.5547 | 30.45 | 38.1
25379 | 2022-05-20 15:25 | 62.0025 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.5154 | μmol/L | 18.2 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.302 | 84348.21 | 292486.4435 | 30.45 | 38.1
25389 | 2022-05-20 15:25 | 62.336 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.4618 | μmol/L | 18.2061 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.302 | 84354.0737 | 292481.5682 | 30.45 | 38.1
25399 | 2022-05-20 15:25 | 62.6692 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.3931 | μmol/L | 18.2 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.307 | 84355.4705 | 292489.6807 | 30.45 | 38.1
25409 | 2022-05-20 15:26 | 63.0028 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.3151 | μmol/L | 18.2061 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.308 | 84368.4714 | 292487.6664 | 30.45 | 38.1
25419 | 2022-05-20 15:26 | 63.3363 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.3931 | μmol/L | 18.2 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.307 | 84377.056 | 292465.883 | 30.45 | 38.1
25429 | 2022-05-20 15:26 | 63.6697 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.2173 | μmol/L | 18.2061 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.312 | 84371.1846 | 292473.893 | 30.45 | 38.1
25439 | 2022-05-20 15:27 | 64.0024 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.2173 | μmol/L | 18.2061 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.312 | 84377.8617 | 292474.087 | 30.45 | 38.1
25449 | 2022-05-20 15:27 | 64.3357 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.1929 | μmol/L | 18.2061 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.313 | 84380.7879 | 292474.6866 | 30.45 | 38.1
25459 | 2022-05-20 15:27 | 64.6693 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.0905 | μmol/L | 18.2122 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.315 | 84375.9536 | 292459.0734 | 30.45 | 38.1
25469 | 2022-05-20 15:28 | 65.0027 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.3198 | μmol/L | 18.2 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.31 | 84380.3063 | 292475.5128 | 30.45 | 38.1
25479 | 2022-05-20 15:28 | 65.336 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.2662 | μmol/L | 18.2061 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.31 | 84376.1378 | 292467.8531 | 30.45 | 38.1
25489 | 2022-05-20 15:28 | 65.6695 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.1441 | μmol/L | 18.2061 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.315 | 84367.7383 | 292443.05 | 30.45 | 38.1
25499 | 2022-05-20 15:29 | 66.003 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.1637 | μmol/L | 18.2122 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.312 | 84378.1675 | 292451.6669 | 30.45 | 38.1
25509 | 2022-05-20 15:29 | 66.3358 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.1393 | μmol/L | 18.2122 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.313 | 84369.7692 | 292448.1167 | 30.45 | 38.1
25519 | 2022-05-20 15:29 | 66.6692 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.1149 | μmol/L | 18.2122 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.314 | 84372.3516 | 292451.0367 | 30.45 | 38.1
25529 | 2022-05-20 15:30 | 67.0025 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.1196 | μmol/L | 18.2061 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.316 | 84365.6096 | 292448.2123 | 30.45 | 38.1
25539 | 2022-05-20 15:30 | 67.3361 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.1441 | μmol/L | 18.2061 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.315 | 84367.5238 | 292439.7074 | 30.45 | 38.1
25549 | 2022-05-20 15:30 | 67.6697 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.1393 | μmol/L | 18.2122 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.313 | 84363.204 | 292434.167 | 30.45 | 38.1
25559 | 2022-05-20 15:31 | 68.003 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.0661 | μmol/L | 18.2122 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.316 | 84358.6467 | 292428.683 | 30.45 | 38.1
25569 | 2022-05-20 15:31 | 68.3357 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.1102 | μmol/L | 18.2183 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.312 | 84355.0624 | 292424.3008 | 30.45 | 38.1
25579 | 2022-05-20 15:31 | 68.6692 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.0613 | μmol/L | 18.2183 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.314 | 84355.1147 | 292427.5665 | 30.45 | 38.1
25589 | 2022-05-20 15:32 | 69.0027 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.2126 | μmol/L | 18.2122 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.31 | 84352.7825 | 292418.6827 | 30.45 | 38.1
25599 | 2022-05-20 15:32 | 69.3358 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.1685 | μmol/L | 18.2061 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.314 | 84346.5214 | 292436.154 | 30.45 | 38.1
25609 | 2022-05-20 15:32 | 69.6694 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.237 | μmol/L | 18.2122 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.309 | 84348.6033 | 292429.2633 | 30.45 | 38.1
25619 | 2022-05-20 15:33 | 70.0027 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.0847 | μmol/L | 18.2122 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.315 | 84337.0753 | 292424.7962 | 30.45 | 38.1
25629 | 2022-05-20 15:33 | 70.3361 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.237 | μmol/L | 18.2122 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.309 | 84331.3205 | 292414.5392 | 30.45 | 38.1
25639 | 2022-05-20 15:33 | 70.6695 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.2615 | μmol/L | 18.2122 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.308 | 84332.5257 | 292421.5367 | 30.45 | 38.1
25649 | 2022-05-20 15:34 | 71.0031 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.1532 | μmol/L | 18.2183 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.31 | 84332.9772 | 292428.9185 | 30.45 | 38.1
25659 | 2022-05-20 15:34 | 71.3358 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.2801 | μmol/L | 18.2122 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.307 | 84333.4584 | 292423.2037 | 30.45 | 38.1
25669 | 2022-05-20 15:34 | 71.6693 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.2323 | μmol/L | 18.2183 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.307 | 84317.7548 | 292420.7266 | 30.45 | 38.1
25679 | 2022-05-20 15:35 | 72.0026 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.2567 | μmol/L | 18.2183 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.306 | 84314.0273 | 292423.8395 | 30.45 | 38.1
25689 | 2022-05-20 15:35 | 72.336 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.2801 | μmol/L | 18.2122 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.307 | 84326.7856 | 292436.089 | 30.45 | 38.1
25699 | 2022-05-20 15:35 | 72.6694 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.3103 | μmol/L | 18.2122 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.306 | 84309.6809 | 292421.9855 | 30.45 | 38.1
25709 | 2022-05-20 15:36 | 73.0023 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.3487 | μmol/L | 18.2183 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.302 | 84311.0739 | 292414.7489 | 30.45 | 38.1
25719 | 2022-05-20 15:36 | 73.3358 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.2313 | μmol/L | 18.2122 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.309 | 84308.1712 | 292420.1409 | 30.45 | 38.1
25729 | 2022-05-20 15:36 | 73.6694 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.3243 | μmol/L | 18.2183 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.303 | 84309.0538 | 292419.277 | 30.45 | 38.1
25739 | 2022-05-20 15:37 | 74.0029 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.2754 | μmol/L | 18.2183 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.305 | 84305.9851 | 292437.9399 | 30.45 | 38.1
25749 | 2022-05-20 15:37 | 74.3364 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.3779 | μmol/L | 18.2122 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.303 | 84299.2214 | 292403.7517 | 30.45 | 38.1
25759 | 2022-05-20 15:37 | 74.6697 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.2707 | μmol/L | 18.2244 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.303 | 84299.4902 | 292420.6687 | 30.45 | 38.1
25769 | 2022-05-20 15:38 | 75.0023 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.3779 | μmol/L | 18.2122 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.303 | 84303.8194 | 292424.064 | 30.45 | 38.1
25779 | 2022-05-20 15:38 | 75.3358 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.3976 | μmol/L | 18.2183 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.3 | 84301.2076 | 292431.6183 | 30.45 | 38.1
25789 | 2022-05-20 15:38 | 75.6694 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.1974 | μmol/L | 18.2244 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.306 | 84305.2259 | 292413.4634 | 30.45 | 38.1
25799 | 2022-05-20 15:39 | 76.0027 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.2265 | μmol/L | 18.2183 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.307 | 84308.2147 | 292423.4621 | 30.45 | 38.1
25809 | 2022-05-20 15:39 | 76.3364 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.1485 | μmol/L | 18.2244 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.308 | 84308.1197 | 292416.8062 | 30.45 | 38.1
25819 | 2022-05-20 15:39 | 76.6698 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.2265 | μmol/L | 18.2183 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.307 | 84306.6429 | 292413.8841 | 30.45 | 38.1
25829 | 2022-05-20 15:40 | 77.0026 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.2021 | μmol/L | 18.2183 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.308 | 84321.1857 | 292420.5121 | 30.45 | 38.1
25839 | 2022-05-20 15:40 | 77.3361 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.2754 | μmol/L | 18.2183 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.305 | 84316.2382 | 292405.5461 | 30.45 | 38.1
25849 | 2022-05-20 15:40 | 77.6698 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.08 | μmol/L | 18.2183 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.313 | 84313.822 | 292399.6446 | 30.45 | 38.1
25859 | 2022-05-20 15:41 | 78.0024 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.1288 | μmol/L | 18.2183 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.311 | 84318.5643 | 292395.7101 | 30.45 | 38.1
25869 | 2022-05-20 15:41 | 78.3362 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.0264 | μmol/L | 18.2244 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.313 | 84323.4669 | 292399.5655 | 30.45 | 38.1
25879 | 2022-05-20 15:41 | 78.6694 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.1044 | μmol/L | 18.2183 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.312 | 84336.9262 | 292419.9422 | 30.45 | 38.1
25889 | 2022-05-20 15:42 | 79.0029 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.0067 | μmol/L | 18.2183 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.316 | 84336.7725 | 292414.1398 | 30.45 | 38.1
25899 | 2022-05-20 15:42 | 79.3357 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.9335 | μmol/L | 18.2183 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.319 | 84343.4297 | 292405.3082 | 30.45 | 38.1
25909 | 2022-05-20 15:42 | 79.669 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.9288 | μmol/L | 18.2244 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.317 | 84345.8538 | 292412.6985 | 30.45 | 38.1
25919 | 2022-05-20 15:43 | 80.0025 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.9091 | μmol/L | 18.2183 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.32 | 84348.2736 | 292416.7218 | 30.45 | 38.1