## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_2 | O2 | 178552617 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:48

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-20 14:24

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
20779 | 2022-05-20 12:33 | 0 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.5112 | μmol/L | 18.5725 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.417 | 87061.415 | 294729.0361 | 30.45 | 38.1
20789 | 2022-05-20 12:33 | 0.32641 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.4157 | μmol/L | 18.5725 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.421 | 87073.6931 | 294742.5915 | 30.45 | 38.1
20799 | 2022-05-20 12:34 | 0.65974 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.3485 | μmol/L | 18.5664 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.426 | 87082.1872 | 294718.1624 | 30.45 | 38.1
20809 | 2022-05-20 12:34 | 0.99311 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.2531 | μmol/L | 18.5664 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.43 | 87091.1121 | 294730.7237 | 30.45 | 38.1
20819 | 2022-05-20 12:34 | 1.3264 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.1815 | μmol/L | 18.5664 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.433 | 87103.1639 | 294714.9824 | 30.45 | 38.1
20829 | 2022-05-20 12:35 | 1.6591 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.2531 | μmol/L | 18.5664 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.43 | 87106.7 | 294708.3009 | 30.45 | 38.1
20839 | 2022-05-20 12:35 | 1.9927 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.1144 | μmol/L | 18.5603 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.438 | 87110.951 | 294692.2903 | 30.45 | 38.1
20849 | 2022-05-20 12:35 | 2.3265 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.0906 | μmol/L | 18.5603 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.439 | 87120.2296 | 294676.5757 | 30.45 | 38.1
20859 | 2022-05-20 12:36 | 2.6591 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.0474 | μmol/L | 18.5542 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.443 | 87133.894 | 294682.4971 | 30.45 | 38.1
20869 | 2022-05-20 12:36 | 2.9926 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.0043 | μmol/L | 18.5481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.447 | 87127.6166 | 294668.4044 | 30.45 | 38.1
20879 | 2022-05-20 12:36 | 3.326 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.0281 | μmol/L | 18.5481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.446 | 87137.7416 | 294654.1511 | 30.45 | 38.1
20889 | 2022-05-20 12:37 | 3.6595 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.9135 | μmol/L | 18.5419 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.453 | 87140.0883 | 294646.7336 | 30.45 | 38.1
20899 | 2022-05-20 12:37 | 3.9931 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.0848 | μmol/L | 18.5358 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.448 | 87137.27 | 294636.5815 | 30.45 | 38.1
20909 | 2022-05-20 12:37 | 4.3261 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.0133 | μmol/L | 18.5358 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.451 | 87150.8958 | 294636.1238 | 30.45 | 38.1
20919 | 2022-05-20 12:38 | 4.6595 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.9701 | μmol/L | 18.5297 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.455 | 87154.8804 | 294627.9261 | 30.45 | 38.1
20929 | 2022-05-20 12:38 | 4.993 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.918 | μmol/L | 18.5358 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.455 | 87155.1456 | 294633.4449 | 30.45 | 38.1
20939 | 2022-05-20 12:38 | 5.3266 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.8987 | μmol/L | 18.5297 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.458 | 87159.7046 | 294621.8199 | 30.45 | 38.1
20949 | 2022-05-20 12:39 | 5.6592 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.9509 | μmol/L | 18.5236 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.458 | 87156.7278 | 294597.5219 | 30.45 | 38.1
20959 | 2022-05-20 12:39 | 5.9927 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.8511 | μmol/L | 18.5297 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.46 | 87158.4802 | 294594.9294 | 30.45 | 38.1
20969 | 2022-05-20 12:39 | 6.3263 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.7649 | μmol/L | 18.5175 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.468 | 87177.3804 | 294595.0289 | 30.45 | 38.1
20979 | 2022-05-20 12:40 | 6.6599 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.8839 | μmol/L | 18.5175 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.463 | 87174.3923 | 294595.4503 | 30.45 | 38.1
20989 | 2022-05-20 12:40 | 6.9929 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.6935 | μmol/L | 18.5175 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.471 | 87174.1013 | 294584.7522 | 30.45 | 38.1
20999 | 2022-05-20 12:40 | 7.3265 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.7887 | μmol/L | 18.5175 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.467 | 87171.332 | 294570.8522 | 30.45 | 38.1
21009 | 2022-05-20 12:41 | 7.6594 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.7457 | μmol/L | 18.5114 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.471 | 87182.9374 | 294576.8096 | 30.45 | 38.1
21019 | 2022-05-20 12:41 | 7.9929 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.7219 | μmol/L | 18.5114 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.472 | 87176.8034 | 294556.7206 | 30.45 | 38.1
21029 | 2022-05-20 12:41 | 8.3265 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.6221 | μmol/L | 18.5175 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.474 | 87178.6926 | 294541.5822 | 30.45 | 38.1
21039 | 2022-05-20 12:42 | 8.6591 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.8307 | μmol/L | 18.4931 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.474 | 87184.6906 | 294547.7453 | 30.45 | 38.1
21049 | 2022-05-20 12:42 | 8.9929 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.6313 | μmol/L | 18.5053 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.478 | 87187.1145 | 294550.0301 | 30.45 | 38.1
21059 | 2022-05-20 12:42 | 9.3265 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.7072 | μmol/L | 18.4992 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.477 | 87194.8809 | 294546.0277 | 30.45 | 38.1
21069 | 2022-05-20 12:43 | 9.6593 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.731 | μmol/L | 18.4992 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.476 | 87196.354 | 294553.4024 | 30.45 | 38.1
21079 | 2022-05-20 12:43 | 9.9927 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.569 | μmol/L | 18.4931 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.485 | 87194.4714 | 294552.7984 | 30.45 | 38.1
21089 | 2022-05-20 12:43 | 10.3264 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.7117 | μmol/L | 18.4931 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.479 | 87205.6325 | 294555.1072 | 30.45 | 38.1
21099 | 2022-05-20 12:44 | 10.6592 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.6404 | μmol/L | 18.4931 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.482 | 87206.3036 | 294535.1001 | 30.45 | 38.1
21109 | 2022-05-20 12:44 | 10.9927 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.5928 | μmol/L | 18.4931 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.484 | 87215.9967 | 294548.994 | 30.45 | 38.1
21119 | 2022-05-20 12:44 | 11.3263 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.6971 | μmol/L | 18.4809 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.484 | 87217.8598 | 294543.2009 | 30.45 | 38.1
21129 | 2022-05-20 12:45 | 11.6592 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.2693 | μmol/L | 18.4809 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.502 | 87260.721 | 294527.5487 | 30.45 | 38.1
21139 | 2022-05-20 12:45 | 11.9927 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 271.5024 | μmol/L | 18.4504 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.673 | 88023.559 | 294535.7613 | 30.45 | 38.1
21149 | 2022-05-20 12:45 | 12.3262 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 271.1901 | μmol/L | 18.432 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.693 | 88115.4613 | 294517.7953 | 30.45 | 38.1
21159 | 2022-05-20 12:46 | 12.6596 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 271.3903 | μmol/L | 18.4748 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.669 | 88000.7548 | 294522.2602 | 30.45 | 38.1
21169 | 2022-05-20 12:46 | 12.9932 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 271.9978 | μmol/L | 18.4748 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.643 | 87894.8894 | 294525.2041 | 30.45 | 38.1
21179 | 2022-05-20 12:46 | 13.3265 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 272.2038 | μmol/L | 18.4809 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.632 | 87820.912 | 294519.5596 | 30.45 | 38.1
21189 | 2022-05-20 12:47 | 13.6595 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 271.2456 | μmol/L | 18.4809 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.673 | 88016.0227 | 294508.794 | 30.45 | 38.1
21199 | 2022-05-20 12:47 | 13.993 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.4619 | μmol/L | 18.4748 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.752 | 88359.8316 | 294497.2357 | 30.45 | 38.1
21209 | 2022-05-20 12:47 | 14.3265 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.8199 | μmol/L | 18.4687 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.782 | 88487.5041 | 294508.8322 | 30.45 | 38.1
21219 | 2022-05-20 12:48 | 14.6591 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.6515 | μmol/L | 18.4626 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.835 | 88739.2431 | 294516.0675 | 30.45 | 38.1
21229 | 2022-05-20 12:48 | 14.9927 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.4373 | μmol/L | 18.4626 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.932 | 89154.0747 | 294514.3091 | 30.45 | 38.1
21239 | 2022-05-20 12:48 | 15.3264 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.0334 | μmol/L | 18.4565 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.908 | 89084.1611 | 294517.2979 | 30.45 | 38.1
21249 | 2022-05-20 12:49 | 15.6599 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.0197 | μmol/L | 18.4504 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.867 | 88901.8889 | 294507.7386 | 30.45 | 38.1
21259 | 2022-05-20 12:49 | 15.9927 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.6936 | μmol/L | 18.4381 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.842 | 88755.0808 | 294492.7424 | 30.45 | 38.1
21269 | 2022-05-20 12:49 | 16.3262 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.361 | μmol/L | 18.4443 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.942 | 89198.5311 | 294507.8731 | 30.45 | 38.1
21279 | 2022-05-20 12:50 | 16.6599 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.0255 | μmol/L | 18.4137 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.146 | 90112.0381 | 294486.0612 | 30.45 | 38.1
21289 | 2022-05-20 12:50 | 16.9929 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 257.931 | μmol/L | 18.3893 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.295 | 90772.3778 | 294494.8466 | 30.45 | 38.1
21299 | 2022-05-20 12:50 | 17.3265 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 256.839 | μmol/L | 18.4137 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.336 | 90945.8014 | 294494.3065 | 30.45 | 38.1
21309 | 2022-05-20 12:51 | 17.6594 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 256.777 | μmol/L | 18.3832 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.35 | 91008.1096 | 294487.6245 | 30.45 | 38.1
21319 | 2022-05-20 12:51 | 17.9929 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 256.4299 | μmol/L | 18.4076 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.357 | 91061.429 | 294471.7839 | 30.45 | 38.1
21329 | 2022-05-20 12:51 | 18.3264 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 256.9668 | μmol/L | 18.4443 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.319 | 90864.3952 | 294474.2203 | 30.45 | 38.1
21339 | 2022-05-20 12:52 | 18.6592 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 257.1853 | μmol/L | 18.4443 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.309 | 90832.4451 | 294477.2915 | 30.45 | 38.1
21349 | 2022-05-20 12:52 | 18.9929 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 257.5453 | μmol/L | 18.432 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.297 | 90757.4081 | 294472.3822 | 30.45 | 38.1
21359 | 2022-05-20 12:52 | 19.3264 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 258.6649 | μmol/L | 18.432 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.246 | 90542.0726 | 294476.4524 | 30.45 | 38.1
21369 | 2022-05-20 12:53 | 19.6591 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 259.8002 | μmol/L | 18.4198 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.199 | 90315.5737 | 294473.1237 | 30.45 | 38.1
21379 | 2022-05-20 12:53 | 19.9928 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.1541 | μmol/L | 18.4198 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.138 | 90035.944 | 294464.5284 | 30.45 | 38.1
21389 | 2022-05-20 12:53 | 20.3263 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 262.0912 | μmol/L | 18.4198 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.096 | 89863.1329 | 294454.0712 | 30.45 | 38.1
21399 | 2022-05-20 12:54 | 20.6597 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 262.1855 | μmol/L | 18.4137 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.094 | 89851.5388 | 294476.2868 | 30.45 | 38.1
21409 | 2022-05-20 12:54 | 20.9927 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 262.0912 | μmol/L | 18.4198 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.096 | 89850.4942 | 294461.9215 | 30.45 | 38.1
21419 | 2022-05-20 12:54 | 21.3264 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 262.6957 | μmol/L | 18.4198 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.069 | 89720.8739 | 294452.8948 | 30.45 | 38.1
21429 | 2022-05-20 12:55 | 21.6592 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 262.7953 | μmol/L | 18.4076 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.069 | 89715.5387 | 294459.8185 | 30.45 | 38.1
21439 | 2022-05-20 12:55 | 21.9928 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.7386 | μmol/L | 18.4137 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.114 | 89944.0785 | 294460.0714 | 30.45 | 38.1
21449 | 2022-05-20 12:55 | 22.3264 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.1862 | μmol/L | 18.4076 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.141 | 90042.9446 | 294463.1135 | 30.45 | 38.1
21459 | 2022-05-20 12:56 | 22.6593 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.0205 | μmol/L | 18.4198 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.144 | 90075.4811 | 294459.9447 | 30.45 | 38.1
21469 | 2022-05-20 12:56 | 22.9927 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.3421 | μmol/L | 18.4076 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.134 | 90028.725 | 294463.7592 | 30.45 | 38.1
21479 | 2022-05-20 12:56 | 23.3263 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.9048 | μmol/L | 18.4015 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.111 | 89913.6831 | 294460.4642 | 30.45 | 38.1
21489 | 2022-05-20 12:57 | 23.6591 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 262.3297 | μmol/L | 18.4015 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.092 | 89833.6734 | 294449.9588 | 30.45 | 38.1
21499 | 2022-05-20 12:57 | 23.9928 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 262.2849 | μmol/L | 18.4015 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.094 | 89825.5921 | 294441.1792 | 30.45 | 38.1
21509 | 2022-05-20 12:57 | 24.3261 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.8428 | μmol/L | 18.3954 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.116 | 89908.7393 | 294445.9547 | 30.45 | 38.1
21519 | 2022-05-20 12:58 | 24.6596 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 259.2408 | μmol/L | 18.4015 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.231 | 90428.2342 | 294458.7335 | 30.45 | 38.1
21529 | 2022-05-20 12:58 | 24.9932 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 257.1867 | μmol/L | 18.3893 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.329 | 90870.5466 | 294441.8817 | 30.45 | 38.1
21539 | 2022-05-20 12:58 | 25.3259 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 254.9376 | μmol/L | 18.4015 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.428 | 91334.1954 | 294431.9901 | 30.45 | 38.1
21549 | 2022-05-20 12:59 | 25.6593 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 252.4601 | μmol/L | 18.4076 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.541 | 91809.0134 | 294435.4744 | 30.45 | 38.1
21559 | 2022-05-20 12:59 | 25.9928 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 250.7622 | μmol/L | 18.4015 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.623 | 92156.2807 | 294415.4708 | 30.45 | 38.1
21569 | 2022-05-20 12:59 | 26.3264 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 249.5731 | μmol/L | 18.4076 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.677 | 92420.9971 | 294408.7227 | 30.45 | 38.1
21579 | 2022-05-20 13:00 | 26.6598 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.621 | μmol/L | 18.3893 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.729 | 92633.2599 | 294411.9734 | 30.45 | 38.1
21589 | 2022-05-20 13:00 | 26.9925 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.6788 | μmol/L | 18.3954 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.724 | 92605.1949 | 294392.7564 | 30.45 | 38.1
21599 | 2022-05-20 13:00 | 27.326 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 249.2253 | μmol/L | 18.3954 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.698 | 92493.3036 | 294405.6091 | 30.45 | 38.1
21609 | 2022-05-20 13:01 | 27.6596 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 249.7573 | μmol/L | 18.3893 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.675 | 92411.397 | 294394.4652 | 30.45 | 38.1
21619 | 2022-05-20 13:01 | 27.9931 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 249.7784 | μmol/L | 18.3893 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.674 | 92383.9392 | 294380.7496 | 30.45 | 38.1
21629 | 2022-05-20 13:01 | 28.3259 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 249.5886 | μmol/L | 18.3893 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.683 | 92417.6597 | 294377.9379 | 30.45 | 38.1
21639 | 2022-05-20 13:02 | 28.6593 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.81 | μmol/L | 18.3893 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.72 | 92589.7274 | 294350.0358 | 30.45 | 38.1
21649 | 2022-05-20 13:02 | 28.9927 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.6052 | μmol/L | 18.3832 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.732 | 92638.6382 | 294367.0221 | 30.45 | 38.1
21659 | 2022-05-20 13:02 | 29.3265 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.9516 | μmol/L | 18.371 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.72 | 92555.9565 | 294368.1059 | 30.45 | 38.1
21669 | 2022-05-20 13:03 | 29.6592 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 249.0043 | μmol/L | 18.3832 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.713 | 92524.9894 | 294354.54 | 30.45 | 38.1
21679 | 2022-05-20 13:03 | 29.9928 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 247.7519 | μmol/L | 18.3771 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.775 | 92787.9957 | 294336.9167 | 30.45 | 38.1
21689 | 2022-05-20 13:03 | 30.3264 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 247.2719 | μmol/L | 18.3771 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.798 | 92906.4397 | 294338.8708 | 30.45 | 38.1
21699 | 2022-05-20 13:04 | 30.6591 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 247.6997 | μmol/L | 18.3649 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.782 | 92819.3634 | 294328.7099 | 30.45 | 38.1
21709 | 2022-05-20 13:04 | 30.9927 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 247.7989 | μmol/L | 18.371 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.775 | 92797.2831 | 294326.877 | 30.45 | 38.1
21719 | 2022-05-20 13:04 | 31.3261 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 247.5118 | μmol/L | 18.3649 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.791 | 92854.4015 | 294318.4946 | 30.45 | 38.1
21729 | 2022-05-20 13:05 | 31.6596 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 246.9803 | μmol/L | 18.3771 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.812 | 92942.3565 | 294308.5029 | 30.45 | 38.1
21739 | 2022-05-20 13:05 | 31.9926 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 246.7722 | μmol/L | 18.3771 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.822 | 92980.7392 | 294311.6184 | 30.45 | 38.1
21749 | 2022-05-20 13:05 | 32.3261 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 247.0167 | μmol/L | 18.3588 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.817 | 92979.5108 | 294301.2456 | 30.45 | 38.1
21759 | 2022-05-20 13:06 | 32.6594 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 247.2459 | μmol/L | 18.3343 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.815 | 92931.4097 | 294305.8937 | 30.45 | 38.1
21769 | 2022-05-20 13:06 | 32.993 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 247.731 | μmol/L | 18.3527 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.785 | 92824.1474 | 294301.3673 | 30.45 | 38.1
21779 | 2022-05-20 13:06 | 33.3258 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.4425 | μmol/L | 18.3527 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.751 | 92653.3069 | 294278.7211 | 30.45 | 38.1
21789 | 2022-05-20 13:07 | 33.6599 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.6995 | μmol/L | 18.371 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.732 | 92555.6857 | 294275.2485 | 30.45 | 38.1
21799 | 2022-05-20 13:07 | 33.9926 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.6941 | μmol/L | 18.3527 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.739 | 92587.1319 | 294256.2491 | 30.45 | 38.1
21809 | 2022-05-20 13:07 | 34.3263 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.605 | μmol/L | 18.3588 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.741 | 92592.2904 | 294248.6702 | 30.45 | 38.1
21819 | 2022-05-20 13:08 | 34.6599 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.8831 | μmol/L | 18.3527 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.73 | 92555.7505 | 294248.3364 | 30.45 | 38.1
21829 | 2022-05-20 13:08 | 34.9925 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 249.1353 | μmol/L | 18.3527 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.718 | 92501.0732 | 294255.8099 | 30.45 | 38.1
21839 | 2022-05-20 13:08 | 35.3262 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.9251 | μmol/L | 18.3527 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.728 | 92530.7279 | 294239.5225 | 30.45 | 38.1
21849 | 2022-05-20 13:09 | 35.6596 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 246.4501 | μmol/L | 18.3649 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.842 | 93007.6493 | 294240.9074 | 30.45 | 38.1
21859 | 2022-05-20 13:09 | 35.9931 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 245.6626 | μmol/L | 18.3649 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.88 | 93186.0774 | 294246.7299 | 30.45 | 38.1
21869 | 2022-05-20 13:09 | 36.3259 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 245.172 | μmol/L | 18.3588 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.906 | 93306.9415 | 294230.1083 | 30.45 | 38.1
21879 | 2022-05-20 13:10 | 36.6594 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 245.0895 | μmol/L | 18.3588 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.91 | 93319.1411 | 294229.7637 | 30.45 | 38.1
21889 | 2022-05-20 13:10 | 36.9932 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 245.8853 | μmol/L | 18.3466 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.876 | 93179.9683 | 294227.6133 | 30.45 | 38.1
21899 | 2022-05-20 13:10 | 37.326 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 246.0975 | μmol/L | 18.3649 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.859 | 93081.5437 | 294203.9395 | 30.45 | 38.1
21909 | 2022-05-20 13:11 | 37.6596 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 246.2581 | μmol/L | 18.371 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.849 | 93034.9575 | 294193.7805 | 30.45 | 38.1
21919 | 2022-05-20 13:11 | 37.993 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 246.2789 | μmol/L | 18.371 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.848 | 93025.2792 | 294201.2351 | 30.45 | 38.1
21929 | 2022-05-20 13:11 | 38.3266 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 246.4449 | μmol/L | 18.371 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.84 | 93012.1035 | 294192.5636 | 30.45 | 38.1
21939 | 2022-05-20 13:12 | 38.6593 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 246.5592 | μmol/L | 18.3588 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.839 | 92991.3958 | 294182.415 | 30.45 | 38.1
21949 | 2022-05-20 13:12 | 38.9929 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 246.5697 | μmol/L | 18.3466 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.843 | 92978.3454 | 294175.4816 | 30.45 | 38.1
21959 | 2022-05-20 13:12 | 39.3265 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 246.5852 | μmol/L | 18.3527 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.84 | 92978.1686 | 294176.7768 | 30.45 | 38.1
21969 | 2022-05-20 13:13 | 39.6595 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 246.632 | μmol/L | 18.3466 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.84 | 92977.9114 | 294178.5242 | 30.45 | 38.1
21979 | 2022-05-20 13:13 | 39.993 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 246.5437 | μmol/L | 18.3527 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.842 | 92960.0275 | 294161.6827 | 30.45 | 38.1
21989 | 2022-05-20 13:13 | 40.3265 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 246.9439 | μmol/L | 18.3466 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.825 | 92894.8723 | 294154.3655 | 30.45 | 38.1
21999 | 2022-05-20 13:14 | 40.6594 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 247.1729 | μmol/L | 18.3466 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.814 | 92848.05 | 294154.5836 | 30.45 | 38.1
22009 | 2022-05-20 13:14 | 40.9931 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.1544 | μmol/L | 18.3466 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.767 | 92621.3041 | 294132.146 | 30.45 | 38.1
22019 | 2022-05-20 13:14 | 41.3266 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 249.9835 | μmol/L | 18.3466 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.68 | 92242.2266 | 294124.8602 | 30.45 | 38.1
22029 | 2022-05-20 13:15 | 41.6594 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 250.5328 | μmol/L | 18.3221 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.663 | 92163.0058 | 294142.062 | 30.45 | 38.1
22039 | 2022-05-20 13:15 | 41.9928 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 250.427 | μmol/L | 18.3221 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.668 | 92170.4864 | 294131.1968 | 30.45 | 38.1
22049 | 2022-05-20 13:15 | 42.3263 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 250.4745 | μmol/L | 18.316 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.668 | 92160.5614 | 294130.6781 | 30.45 | 38.1
22059 | 2022-05-20 13:16 | 42.6597 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 250.5169 | μmol/L | 18.316 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.666 | 92161.4479 | 294114.339 | 30.45 | 38.1
22069 | 2022-05-20 13:16 | 42.9925 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 250.4853 | μmol/L | 18.3282 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.663 | 92139.5091 | 294095.1629 | 30.45 | 38.1
22079 | 2022-05-20 13:16 | 43.326 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 250.5859 | μmol/L | 18.3343 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.656 | 92082.9265 | 294098.3227 | 30.45 | 38.1
22089 | 2022-05-20 13:17 | 43.6594 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 250.5436 | μmol/L | 18.3343 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.658 | 92096.4178 | 294085.5622 | 30.45 | 38.1
22099 | 2022-05-20 13:17 | 43.993 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 250.4589 | μmol/L | 18.3343 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.662 | 92114.848 | 294089.2803 | 30.45 | 38.1
22109 | 2022-05-20 13:17 | 44.3258 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 250.4374 | μmol/L | 18.3099 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.672 | 92133.3659 | 294070.9711 | 30.45 | 38.1
22119 | 2022-05-20 13:18 | 44.6593 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 250.4058 | μmol/L | 18.3221 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.669 | 92142.9942 | 294056.6425 | 30.45 | 38.1
22129 | 2022-05-20 13:18 | 44.9928 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 250.3583 | μmol/L | 18.3282 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.669 | 92125.0929 | 294048.4816 | 30.45 | 38.1
22139 | 2022-05-20 13:18 | 45.3258 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 249.9991 | μmol/L | 18.3282 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.686 | 92190.4985 | 294045.384 | 30.45 | 38.1
22149 | 2022-05-20 13:19 | 45.6593 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 249.7248 | μmol/L | 18.3282 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.699 | 92247.0022 | 294042.1808 | 30.45 | 38.1
22159 | 2022-05-20 13:19 | 45.9928 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 249.7458 | μmol/L | 18.3282 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.698 | 92237.3746 | 294033.1941 | 30.45 | 38.1
22169 | 2022-05-20 13:19 | 46.3258 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 249.7511 | μmol/L | 18.3221 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.7 | 92250.2517 | 294026.2242 | 30.45 | 38.1
22179 | 2022-05-20 13:20 | 46.6593 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 249.5718 | μmol/L | 18.3099 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.713 | 92297.6779 | 294027.266 | 30.45 | 38.1
22189 | 2022-05-20 13:20 | 46.993 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.9617 | μmol/L | 18.3099 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.742 | 92404.3697 | 294012.9478 | 30.45 | 38.1
22199 | 2022-05-20 13:20 | 47.326 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.6625 | μmol/L | 18.316 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.754 | 92461.3417 | 294017.5346 | 30.45 | 38.1
22209 | 2022-05-20 13:21 | 47.6597 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 247.5224 | μmol/L | 18.3038 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.813 | 92712.8861 | 294018.0378 | 30.45 | 38.1
22219 | 2022-05-20 13:21 | 47.9932 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.479 | μmol/L | 18.3099 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.765 | 92506.9317 | 293995.8302 | 30.45 | 38.1
22229 | 2022-05-20 13:21 | 48.3265 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 249.1929 | μmol/L | 18.3099 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.731 | 92369.5764 | 293991.795 | 30.45 | 38.1
22239 | 2022-05-20 13:22 | 48.6599 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 249.3034 | μmol/L | 18.3282 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.719 | 92287.7011 | 293993.5403 | 30.45 | 38.1
22249 | 2022-05-20 13:22 | 48.9927 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 249.2035 | μmol/L | 18.3221 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.726 | 92314.9355 | 293980.1864 | 30.45 | 38.1
22259 | 2022-05-20 13:22 | 49.3263 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 249.1508 | μmol/L | 18.3099 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.733 | 92345.1158 | 293980.8005 | 30.45 | 38.1
22269 | 2022-05-20 13:23 | 49.6597 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 249.3507 | μmol/L | 18.3221 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.719 | 92292.5119 | 293972.4332 | 30.45 | 38.1
22279 | 2022-05-20 13:23 | 49.9932 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 249.4454 | μmol/L | 18.3099 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.719 | 92268.5938 | 293970.7728 | 30.45 | 38.1
22289 | 2022-05-20 13:23 | 50.326 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.6206 | μmol/L | 18.316 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.756 | 92436.5565 | 293966.6701 | 30.45 | 38.1
22299 | 2022-05-20 13:24 | 50.6596 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 249.0825 | μmol/L | 18.316 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.734 | 92330.2251 | 293954.8486 | 30.45 | 38.1
22309 | 2022-05-20 13:24 | 50.993 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 249.3454 | μmol/L | 18.3038 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.726 | 92307.2576 | 293957.3568 | 30.45 | 38.1
22319 | 2022-05-20 13:24 | 51.3266 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.8567 | μmol/L | 18.3099 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.747 | 92364.5571 | 293957.5388 | 30.45 | 38.1
22329 | 2022-05-20 13:25 | 51.6591 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.8409 | μmol/L | 18.3038 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.75 | 92393.3824 | 293958.0372 | 30.45 | 38.1
22339 | 2022-05-20 13:25 | 51.9927 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.9249 | μmol/L | 18.3038 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.746 | 92372.1694 | 293939.4453 | 30.45 | 38.1
22349 | 2022-05-20 13:25 | 52.326 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 249.256 | μmol/L | 18.3099 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.728 | 92277.6187 | 293931.7443 | 30.45 | 38.1
22359 | 2022-05-20 13:26 | 52.6596 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 249.5666 | μmol/L | 18.316 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.711 | 92195.008 | 293923.4739 | 30.45 | 38.1
22369 | 2022-05-20 13:26 | 52.9932 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 249.7667 | μmol/L | 18.3038 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.706 | 92159.261 | 293905.9189 | 30.45 | 38.1
22379 | 2022-05-20 13:26 | 53.3258 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 249.9408 | μmol/L | 18.2977 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.7 | 92121.6607 | 293925.5496 | 30.45 | 38.1
22389 | 2022-05-20 13:27 | 53.6594 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 249.8722 | μmol/L | 18.3038 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.701 | 92141.0344 | 293901.2946 | 30.45 | 38.1
22399 | 2022-05-20 13:27 | 53.9931 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 249.7983 | μmol/L | 18.2916 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.709 | 92181.1464 | 293902.4308 | 30.45 | 38.1
22409 | 2022-05-20 13:27 | 54.3258 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 249.6666 | μmol/L | 18.2977 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.713 | 92199.3067 | 293900.7452 | 30.45 | 38.1
22419 | 2022-05-20 13:28 | 54.6591 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 249.1035 | μmol/L | 18.2916 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.742 | 92318.1282 | 293887.3499 | 30.45 | 38.1
22429 | 2022-05-20 13:28 | 54.9927 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 249.2034 | μmol/L | 18.2977 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.735 | 92300.5192 | 293871.8372 | 30.45 | 38.1
22439 | 2022-05-20 13:28 | 55.3263 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 249.0352 | μmol/L | 18.2977 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.743 | 92298.7728 | 293871.3941 | 30.45 | 38.1
22449 | 2022-05-20 13:29 | 55.6598 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 249.0352 | μmol/L | 18.2977 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.743 | 92303.7109 | 293876.7357 | 30.45 | 38.1
22459 | 2022-05-20 13:29 | 55.9932 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.9512 | μmol/L | 18.2977 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.747 | 92305.7034 | 293866.9912 | 30.45 | 38.1
22469 | 2022-05-20 13:29 | 56.3261 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.9197 | μmol/L | 18.3099 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.744 | 92288.531 | 293868.7178 | 30.45 | 38.1
22479 | 2022-05-20 13:30 | 56.6595 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 249.051 | μmol/L | 18.3038 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.74 | 92283.1887 | 293853.1266 | 30.45 | 38.1
22489 | 2022-05-20 13:30 | 56.9931 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.9722 | μmol/L | 18.2977 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.746 | 92316.3161 | 293854.5209 | 30.45 | 38.1
22499 | 2022-05-20 13:30 | 57.3258 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.9144 | μmol/L | 18.2916 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.751 | 92326.6675 | 293851.958 | 30.45 | 38.1
22509 | 2022-05-20 13:31 | 57.6594 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.9197 | μmol/L | 18.2855 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.753 | 92346.1986 | 293853.5886 | 30.45 | 38.1
22519 | 2022-05-20 13:31 | 57.9928 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.8829 | μmol/L | 18.2794 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.757 | 92353.3202 | 293830.4396 | 30.45 | 38.1
22529 | 2022-05-20 13:31 | 58.3263 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.5996 | μmol/L | 18.2916 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.766 | 92383.9143 | 293832.176 | 30.45 | 38.1
22539 | 2022-05-20 13:32 | 58.6598 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.6153 | μmol/L | 18.2977 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.763 | 92393.8245 | 293833.5818 | 30.45 | 38.1
22549 | 2022-05-20 13:32 | 58.9925 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.4896 | μmol/L | 18.2977 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.769 | 92395.6646 | 293839.0581 | 30.45 | 38.1
22559 | 2022-05-20 13:32 | 59.326 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.322 | μmol/L | 18.2977 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.777 | 92403.3388 | 293823.8175 | 30.45 | 38.1
22569 | 2022-05-20 13:33 | 59.6594 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.2853 | μmol/L | 18.2916 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.781 | 92448.9924 | 293817.8523 | 30.45 | 38.1
22579 | 2022-05-20 13:33 | 59.993 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.8777 | μmol/L | 18.2855 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.755 | 92321.711 | 293817.8354 | 30.45 | 38.1
22589 | 2022-05-20 13:33 | 60.3265 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.7727 | μmol/L | 18.2855 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.76 | 92335.9744 | 293812.4058 | 30.45 | 38.1
22599 | 2022-05-20 13:34 | 60.6594 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.4582 | μmol/L | 18.2855 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.775 | 92391.4525 | 293794.8331 | 30.45 | 38.1
22609 | 2022-05-20 13:34 | 60.9929 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.2278 | μmol/L | 18.2855 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.786 | 92423.0652 | 293779.6337 | 30.45 | 38.1
22619 | 2022-05-20 13:34 | 61.3258 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.1859 | μmol/L | 18.2855 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.788 | 92446.2054 | 293785.8131 | 30.45 | 38.1
22629 | 2022-05-20 13:35 | 61.6592 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.0448 | μmol/L | 18.2794 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.797 | 92473.2555 | 293788.664 | 30.45 | 38.1
22639 | 2022-05-20 13:35 | 61.9927 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 248.0448 | μmol/L | 18.2794 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.797 | 92482.6819 | 293784.077 | 30.45 | 38.1
22649 | 2022-05-20 13:35 | 62.3265 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 247.7469 | μmol/L | 18.2855 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.809 | 92515.7476 | 293774.7422 | 30.45 | 38.1
22659 | 2022-05-20 13:36 | 62.6591 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 247.7052 | μmol/L | 18.2855 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.811 | 92540.0817 | 293762.4232 | 30.45 | 38.1
22669 | 2022-05-20 13:36 | 62.9927 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 247.6061 | μmol/L | 18.2794 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.818 | 92559.5244 | 293746.2064 | 30.45 | 38.1
22679 | 2022-05-20 13:36 | 63.3262 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 247.4392 | μmol/L | 18.2794 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.826 | 92605.6368 | 293744.944 | 30.45 | 38.1
22689 | 2022-05-20 13:37 | 63.6597 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 246.9602 | μmol/L | 18.2794 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.849 | 92671.7272 | 293740.6319 | 30.45 | 38.1
22699 | 2022-05-20 13:37 | 63.9933 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 246.7523 | μmol/L | 18.2794 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.859 | 92718.07 | 293733.8657 | 30.45 | 38.1
22709 | 2022-05-20 13:37 | 64.3261 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 246.4147 | μmol/L | 18.2855 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.873 | 92783.8847 | 293721.9449 | 30.45 | 38.1
22719 | 2022-05-20 13:38 | 64.6597 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 246.3009 | μmol/L | 18.2733 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.883 | 92808.5339 | 293720.0328 | 30.45 | 38.1
22729 | 2022-05-20 13:38 | 64.9927 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 246.3423 | μmol/L | 18.2733 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.881 | 92822.7291 | 293731.925 | 30.45 | 38.1
22739 | 2022-05-20 13:38 | 65.3262 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 246.135 | μmol/L | 18.2733 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.891 | 92833.0613 | 293725.9943 | 30.45 | 38.1
22749 | 2022-05-20 13:39 | 65.6597 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 246.1765 | μmol/L | 18.2733 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.889 | 92858.8261 | 293725.3935 | 30.45 | 38.1
22759 | 2022-05-20 13:39 | 65.9925 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 246.0522 | μmol/L | 18.2733 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.895 | 92875.141 | 293717.0282 | 30.45 | 38.1
22769 | 2022-05-20 13:39 | 66.3261 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 245.9747 | μmol/L | 18.2672 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.901 | 92897.9173 | 293704.7934 | 30.45 | 38.1
22779 | 2022-05-20 13:40 | 66.6598 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 245.7211 | μmol/L | 18.2733 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.911 | 92922.8688 | 293701.4674 | 30.45 | 38.1
22789 | 2022-05-20 13:40 | 66.9927 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 245.6643 | μmol/L | 18.2672 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.916 | 92952.4252 | 293690.4956 | 30.45 | 38.1
22799 | 2022-05-20 13:40 | 67.3262 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 245.5557 | μmol/L | 18.2733 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.919 | 92967.5204 | 293693.0294 | 30.45 | 38.1
22809 | 2022-05-20 13:41 | 67.6597 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 245.5457 | μmol/L | 18.2611 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.924 | 92971.677 | 293673.4403 | 30.45 | 38.1
22819 | 2022-05-20 13:41 | 67.9932 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 245.3751 | μmol/L | 18.2672 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.93 | 92975.2085 | 293664.9056 | 30.45 | 38.1
22829 | 2022-05-20 13:41 | 68.3265 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 245.3545 | μmol/L | 18.2672 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.931 | 92996.1588 | 293669.75 | 30.45 | 38.1
22839 | 2022-05-20 13:42 | 68.6599 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 245.1016 | μmol/L | 18.2733 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.941 | 93028.4589 | 293654.6228 | 30.45 | 38.1
22849 | 2022-05-20 13:42 | 68.9925 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 244.973 | μmol/L | 18.2733 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.947 | 93058.4643 | 293639.8473 | 30.45 | 38.1
22859 | 2022-05-20 13:42 | 69.3261 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 243.5051 | μmol/L | 18.2672 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.021 | 93372.2292 | 293641.5291 | 30.45 | 38.1
22869 | 2022-05-20 13:43 | 69.6595 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 240.8776 | μmol/L | 18.2733 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.148 | 93947.8105 | 293643.5359 | 30.45 | 38.1
22879 | 2022-05-20 13:43 | 69.993 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 241.5457 | μmol/L | 18.2672 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.117 | 93801.4791 | 293629.4893 | 30.45 | 38.1
22889 | 2022-05-20 13:43 | 70.3265 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 241.748 | μmol/L | 18.2733 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.105 | 93739.5623 | 293606.365 | 30.45 | 38.1
22899 | 2022-05-20 13:44 | 70.6592 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 242.0225 | μmol/L | 18.2611 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.096 | 93688.0425 | 293612.5268 | 30.45 | 38.1
22909 | 2022-05-20 13:44 | 70.9929 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 242.3884 | μmol/L | 18.2611 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.078 | 93616.2833 | 293613.0885 | 30.45 | 38.1
22919 | 2022-05-20 13:44 | 71.3264 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 242.4391 | μmol/L | 18.2672 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.073 | 93593.8724 | 293608.9559 | 30.45 | 38.1
22929 | 2022-05-20 13:45 | 71.6592 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 242.5105 | μmol/L | 18.2611 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.072 | 93577.6216 | 293614.1845 | 30.45 | 38.1
22939 | 2022-05-20 13:45 | 71.9928 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 242.4591 | μmol/L | 18.2733 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.07 | 93559.0716 | 293598.8952 | 30.45 | 38.1
22949 | 2022-05-20 13:45 | 72.3264 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 242.592 | μmol/L | 18.2611 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.068 | 93561.5468 | 293596.1261 | 30.45 | 38.1
22959 | 2022-05-20 13:46 | 72.6598 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 242.4291 | μmol/L | 18.2611 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.076 | 93582.5749 | 293592.7199 | 30.45 | 38.1
22969 | 2022-05-20 13:46 | 72.9927 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 242.3017 | μmol/L | 18.2672 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.08 | 93590.8505 | 293573.5796 | 30.45 | 38.1
22979 | 2022-05-20 13:46 | 73.3263 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 242.3831 | μmol/L | 18.2672 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.076 | 93593.7682 | 293568.9951 | 30.45 | 38.1
22989 | 2022-05-20 13:47 | 73.6599 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 242.4141 | μmol/L | 18.255 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.079 | 93590.8421 | 293551.7713 | 30.45 | 38.1
22999 | 2022-05-20 13:47 | 73.9926 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 242.3477 | μmol/L | 18.2611 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.08 | 93591.1604 | 293550.2447 | 30.45 | 38.1
23009 | 2022-05-20 13:47 | 74.3262 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 242.1647 | μmol/L | 18.2611 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.089 | 93594.491 | 293550.4906 | 30.45 | 38.1
23019 | 2022-05-20 13:48 | 74.6599 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 242.1395 | μmol/L | 18.2611 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.09 | 93604.4117 | 293539.4197 | 30.45 | 38.1
23029 | 2022-05-20 13:48 | 74.9926 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 241.9973 | μmol/L | 18.2611 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.097 | 93636.0404 | 293538.8154 | 30.45 | 38.1
23039 | 2022-05-20 13:48 | 75.3264 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 241.977 | μmol/L | 18.2611 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.098 | 93650.9827 | 293525.4683 | 30.45 | 38.1
23049 | 2022-05-20 13:49 | 75.6598 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 241.977 | μmol/L | 18.2611 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.098 | 93640.6334 | 293516.229 | 30.45 | 38.1
23059 | 2022-05-20 13:49 | 75.9925 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 241.931 | μmol/L | 18.2672 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.098 | 93629.753 | 293514.9622 | 30.45 | 38.1
23069 | 2022-05-20 13:49 | 76.326 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 242.0984 | μmol/L | 18.2672 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.09 | 93601.4798 | 293522.3152 | 30.45 | 38.1
23079 | 2022-05-20 13:50 | 76.6593 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 242.1951 | μmol/L | 18.2672 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.085 | 93559.2425 | 293528.8106 | 30.45 | 38.1
23089 | 2022-05-20 13:50 | 76.9928 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 242.1395 | μmol/L | 18.2611 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.09 | 93573.559 | 293513.8587 | 30.45 | 38.1
23099 | 2022-05-20 13:50 | 77.3262 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 241.9567 | μmol/L | 18.2611 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.099 | 93637.0207 | 293500.6865 | 30.45 | 38.1
23109 | 2022-05-20 13:51 | 77.6598 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 241.6321 | μmol/L | 18.2611 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.115 | 93682.9238 | 293516.3354 | 30.45 | 38.1
23119 | 2022-05-20 13:51 | 77.9926 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 241.3431 | μmol/L | 18.2672 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.127 | 93725.9333 | 293505.2142 | 30.45 | 38.1
23129 | 2022-05-20 13:51 | 78.3262 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 241.3534 | μmol/L | 18.2611 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.129 | 93760.899 | 293492.3586 | 30.45 | 38.1
23139 | 2022-05-20 13:52 | 78.6596 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 241.1161 | μmol/L | 18.255 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.143 | 93791.5327 | 293500.6391 | 30.45 | 38.1
23149 | 2022-05-20 13:52 | 78.9929 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 240.9288 | μmol/L | 18.2611 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.15 | 93824.0261 | 293486.7153 | 30.45 | 38.1
23159 | 2022-05-20 13:52 | 79.3258 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 240.8889 | μmol/L | 18.255 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.154 | 93833.5141 | 293484.0669 | 30.45 | 38.1
23169 | 2022-05-20 13:53 | 79.6594 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 240.8687 | μmol/L | 18.255 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.155 | 93846.8998 | 293490.0486 | 30.45 | 38.1
23179 | 2022-05-20 13:53 | 79.9929 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 240.687 | μmol/L | 18.255 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.164 | 93865.0622 | 293469.9384 | 30.45 | 38.1
23189 | 2022-05-20 13:53 | 80.3266 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 240.5149 | μmol/L | 18.2672 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.168 | 93895.8723 | 293465.4267 | 30.45 | 38.1
23199 | 2022-05-20 13:54 | 80.6592 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 238.4198 | μmol/L | 18.255 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.277 | 94361.5564 | 293458.9074 | 30.45 | 38.1
23209 | 2022-05-20 13:54 | 80.9926 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 238.8393 | μmol/L | 18.255 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.256 | 94262.9977 | 293463.7872 | 30.45 | 38.1
23219 | 2022-05-20 13:54 | 81.3262 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 239.1794 | μmol/L | 18.255 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.239 | 94195.6368 | 293448.3518 | 30.45 | 38.1
23229 | 2022-05-20 13:55 | 81.6598 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 239.285 | μmol/L | 18.2489 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.236 | 94168.1288 | 293449.8573 | 30.45 | 38.1
23239 | 2022-05-20 13:55 | 81.9925 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 239.3197 | μmol/L | 18.255 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.232 | 94160.3251 | 293452.9421 | 30.45 | 38.1
23249 | 2022-05-20 13:55 | 82.3261 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 239.1848 | μmol/L | 18.2489 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.241 | 94184.0357 | 293426.8694 | 30.45 | 38.1
23259 | 2022-05-20 13:56 | 82.6591 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 238.9647 | μmol/L | 18.2489 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.252 | 94229.9407 | 293442.5204 | 30.45 | 38.1
23269 | 2022-05-20 13:56 | 82.9925 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 238.9301 | μmol/L | 18.2428 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.256 | 94243.6533 | 293430.409 | 30.45 | 38.1
23279 | 2022-05-20 13:56 | 83.3259 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 238.7593 | μmol/L | 18.255 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.26 | 94246.9509 | 293432.9994 | 30.45 | 38.1
23289 | 2022-05-20 13:57 | 83.6595 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 238.9392 | μmol/L | 18.255 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.251 | 94229.1812 | 293433.5043 | 30.45 | 38.1
23299 | 2022-05-20 13:57 | 83.993 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 238.9447 | μmol/L | 18.2489 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.253 | 94227.0763 | 293429.5871 | 30.45 | 38.1
23309 | 2022-05-20 13:57 | 84.3266 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 238.7647 | μmol/L | 18.2489 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.262 | 94245.6123 | 293410.9213 | 30.45 | 38.1
23319 | 2022-05-20 13:58 | 84.6595 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 238.7247 | μmol/L | 18.2489 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.264 | 94274.5086 | 293423.8077 | 30.45 | 38.1
23329 | 2022-05-20 13:58 | 84.993 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 238.6448 | μmol/L | 18.2489 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.268 | 94281.2684 | 293423.624 | 30.45 | 38.1
23339 | 2022-05-20 13:58 | 85.3266 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 238.3999 | μmol/L | 18.255 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.278 | 94323.4866 | 293424.0431 | 30.45 | 38.1
23349 | 2022-05-20 13:59 | 85.6594 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 238.0918 | μmol/L | 18.2428 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.298 | 94394.6733 | 293403.1332 | 30.45 | 38.1
23359 | 2022-05-20 13:59 | 85.993 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 237.8077 | μmol/L | 18.2489 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.31 | 94450.8118 | 293404.7164 | 30.45 | 38.1
23369 | 2022-05-20 13:59 | 86.3259 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 237.9271 | μmol/L | 18.2489 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.304 | 94425.3014 | 293400.351 | 30.45 | 38.1
23379 | 2022-05-20 14:00 | 86.6594 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 237.9271 | μmol/L | 18.2489 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.304 | 94419.2166 | 293397.6702 | 30.45 | 38.1
23389 | 2022-05-20 14:00 | 86.9932 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 237.8927 | μmol/L | 18.2428 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.308 | 94429.4659 | 293382.3351 | 30.45 | 38.1
23399 | 2022-05-20 14:00 | 87.3259 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 237.748 | μmol/L | 18.2489 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.313 | 94452.7007 | 293380.5393 | 30.45 | 38.1
23409 | 2022-05-20 14:01 | 87.6594 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 237.8131 | μmol/L | 18.2428 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.312 | 94458.1094 | 293372.2852 | 30.45 | 38.1
23419 | 2022-05-20 14:01 | 87.9928 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 237.6342 | μmol/L | 18.2428 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.321 | 94481.8598 | 293378.9919 | 30.45 | 38.1
23429 | 2022-05-20 14:01 | 88.3264 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 237.5348 | μmol/L | 18.2428 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.326 | 94502.7499 | 293360.1051 | 30.45 | 38.1
23439 | 2022-05-20 14:02 | 88.6591 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 237.311 | μmol/L | 18.2489 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.335 | 94526.0169 | 293351.9923 | 30.45 | 38.1
23449 | 2022-05-20 14:02 | 88.9926 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 237.2768 | μmol/L | 18.2428 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.339 | 94545.0138 | 293362.0518 | 30.45 | 38.1
23459 | 2022-05-20 14:02 | 89.3262 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 237.1776 | μmol/L | 18.2428 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.344 | 94552.7128 | 293354.2657 | 30.45 | 38.1
23469 | 2022-05-20 14:03 | 89.6598 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 237.0983 | μmol/L | 18.2428 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.348 | 94572.5879 | 293365.4176 | 30.45 | 38.1
23479 | 2022-05-20 14:03 | 89.9932 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 237.1236 | μmol/L | 18.2367 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.349 | 94583.1121 | 293341.0956 | 30.45 | 38.1
23489 | 2022-05-20 14:03 | 90.3258 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 236.9453 | μmol/L | 18.2367 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.358 | 94619.1696 | 293346.9765 | 30.45 | 38.1
23499 | 2022-05-20 14:04 | 90.6596 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 236.8265 | μmol/L | 18.2367 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.364 | 94650.039 | 293350.8537 | 30.45 | 38.1
23509 | 2022-05-20 14:04 | 90.9926 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 236.7869 | μmol/L | 18.2367 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.366 | 94666.3371 | 293347.6095 | 30.45 | 38.1