## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_6 | O2 | 630958479 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:55

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-20 11:19

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
17407 | 2022-05-20 10:01 | 0 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.5205 | μmol/L | 17.5667 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.779 | 93094.756 | 303570.106 | 30.45 | 114.2
17417 | 2022-05-20 10:02 | 0.32677 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.5384 | μmol/L | 17.5728 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.776 | 93045.4633 | 303529.9774 | 30.45 | 114.2
17427 | 2022-05-20 10:02 | 0.65949 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.3365 | μmol/L | 17.5851 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.78 | 92982.6032 | 303488.7825 | 30.45 | 114.2
17437 | 2022-05-20 10:02 | 0.99309 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.4494 | μmol/L | 17.5912 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.773 | 92920.6772 | 303452.0675 | 30.45 | 114.2
17447 | 2022-05-20 10:03 | 1.3264 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.4435 | μmol/L | 17.5974 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.771 | 92878.2439 | 303405.2662 | 30.45 | 114.2
17457 | 2022-05-20 10:03 | 1.66 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.4673 | μmol/L | 17.5974 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.77 | 92828.9153 | 303356.1686 | 30.45 | 114.2
17467 | 2022-05-20 10:03 | 1.9927 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.5269 | μmol/L | 17.6097 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.763 | 92890.0379 | 303317.7594 | 30.45 | 114.2
17477 | 2022-05-20 10:04 | 2.3262 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.3963 | μmol/L | 17.6219 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.764 | 92836.3163 | 303273.3601 | 30.45 | 114.2
17487 | 2022-05-20 10:04 | 2.6597 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.4856 | μmol/L | 17.6281 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.758 | 92796.5734 | 303232.3213 | 30.45 | 114.2
17497 | 2022-05-20 10:04 | 2.9932 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.4977 | μmol/L | 17.6404 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.753 | 92749.6925 | 303178.511 | 30.45 | 114.2
17507 | 2022-05-20 10:05 | 3.3267 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.5986 | μmol/L | 17.6342 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.751 | 92710.7421 | 303136.3244 | 30.45 | 114.2
17517 | 2022-05-20 10:05 | 3.6595 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.3671 | μmol/L | 17.6527 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.754 | 92677.5649 | 303098.3094 | 30.45 | 114.2
17527 | 2022-05-20 10:05 | 3.9931 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.4681 | μmol/L | 17.6465 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.752 | 92648.0257 | 303042.3518 | 30.45 | 114.2
17537 | 2022-05-20 10:06 | 4.3266 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.486 | μmol/L | 17.6527 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.749 | 92606.8226 | 303007.1295 | 30.45 | 114.2
17547 | 2022-05-20 10:06 | 4.6594 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.3851 | μmol/L | 17.6588 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.751 | 92584.422 | 302958.5539 | 30.45 | 114.2
17557 | 2022-05-20 10:06 | 4.993 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.308 | μmol/L | 17.6649 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.752 | 92552.9933 | 302922.3737 | 30.45 | 114.2
17567 | 2022-05-20 10:07 | 5.3264 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.2488 | μmol/L | 17.6772 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.75 | 92519.9504 | 302862.7101 | 30.45 | 114.2
17577 | 2022-05-20 10:07 | 5.6595 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.2784 | μmol/L | 17.6711 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.751 | 92492.612 | 302819.8757 | 30.45 | 114.2
17587 | 2022-05-20 10:07 | 5.9932 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.2906 | μmol/L | 17.6834 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.746 | 92459.4839 | 302793.4529 | 30.45 | 114.2
17597 | 2022-05-20 10:08 | 6.326 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.3144 | μmol/L | 17.6834 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.745 | 92407.2952 | 302736.0204 | 30.45 | 114.2
17607 | 2022-05-20 10:08 | 6.6594 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.3381 | μmol/L | 17.6834 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.744 | 92384.3335 | 302704.6402 | 30.45 | 114.2
17617 | 2022-05-20 10:08 | 6.993 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.261 | μmol/L | 17.6895 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.745 | 92358.0967 | 302659.6163 | 30.45 | 114.2
17627 | 2022-05-20 10:09 | 7.3266 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.3086 | μmol/L | 17.6895 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.743 | 92332.069 | 302616.0171 | 30.45 | 114.2
17637 | 2022-05-20 10:09 | 7.6597 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.1069 | μmol/L | 17.7018 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.747 | 92311.3918 | 302580.3726 | 30.45 | 114.2
17647 | 2022-05-20 10:09 | 7.9932 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.1544 | μmol/L | 17.7018 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.745 | 92292.4163 | 302528.5139 | 30.45 | 114.2
17657 | 2022-05-20 10:10 | 8.3267 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.1962 | μmol/L | 17.7079 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.741 | 92260.3389 | 302509.9527 | 30.45 | 114.2
17667 | 2022-05-20 10:10 | 8.6593 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.1192 | μmol/L | 17.7141 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.742 | 92237.853 | 302464.944 | 30.45 | 114.2
17677 | 2022-05-20 10:10 | 8.9928 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.0602 | μmol/L | 17.7263 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.74 | 92214.353 | 302423.5022 | 30.45 | 114.2
17687 | 2022-05-20 10:11 | 9.3263 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.0127 | μmol/L | 17.7263 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.742 | 92180.2078 | 302378.8193 | 30.45 | 114.2
17697 | 2022-05-20 10:11 | 9.6601 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.912 | μmol/L | 17.7325 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.744 | 92171.4291 | 302335.8711 | 30.45 | 114.2
17707 | 2022-05-20 10:11 | 9.9934 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.9652 | μmol/L | 17.7263 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.744 | 92147.7898 | 302306.876 | 30.45 | 114.2
17717 | 2022-05-20 10:12 | 10.326 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.835 | μmol/L | 17.7386 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.745 | 92125.5962 | 302279.5346 | 30.45 | 114.2
17727 | 2022-05-20 10:12 | 10.66 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.5978 | μmol/L | 17.7386 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.755 | 92135.9643 | 302233.0356 | 30.45 | 114.2
17737 | 2022-05-20 10:12 | 10.9928 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.503 | μmol/L | 17.7386 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.759 | 92166.9337 | 302192.8628 | 30.45 | 114.2
17747 | 2022-05-20 10:13 | 11.3267 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.1895 | μmol/L | 17.7448 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.77 | 92166.4369 | 302171.2219 | 30.45 | 114.2
17757 | 2022-05-20 10:13 | 11.6594 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.1364 | μmol/L | 17.7509 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.77 | 92170.5573 | 302148.4032 | 30.45 | 114.2
17767 | 2022-05-20 10:13 | 11.993 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.9236 | μmol/L | 17.7509 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.779 | 92170.0753 | 302104.7698 | 30.45 | 114.2
17777 | 2022-05-20 10:14 | 12.3265 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.8999 | μmol/L | 17.7509 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.78 | 92178.8636 | 302073.4538 | 30.45 | 114.2
17787 | 2022-05-20 10:14 | 12.6601 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.7288 | μmol/L | 17.7571 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.785 | 92183.7796 | 302046.2062 | 30.45 | 114.2
17797 | 2022-05-20 10:14 | 12.9928 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.5049 | μmol/L | 17.7693 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.79 | 92187.7342 | 302012.9991 | 30.45 | 114.2
17807 | 2022-05-20 10:15 | 13.3263 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.4577 | μmol/L | 17.7693 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.792 | 92190.5999 | 301967.6122 | 30.45 | 114.2
17817 | 2022-05-20 10:15 | 13.6598 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.3812 | μmol/L | 17.7755 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.793 | 92190.4603 | 301952.0407 | 30.45 | 114.2
17827 | 2022-05-20 10:15 | 13.9927 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.2162 | μmol/L | 17.7755 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.8 | 92164.8251 | 301912.5414 | 30.45 | 114.2
17837 | 2022-05-20 10:16 | 14.3266 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.2576 | μmol/L | 17.7816 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.796 | 92147.5592 | 301874.8304 | 30.45 | 114.2
17847 | 2022-05-20 10:16 | 14.6594 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.2341 | μmol/L | 17.7816 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.797 | 92128.7845 | 301846.382 | 30.45 | 114.2
17857 | 2022-05-20 10:16 | 14.993 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.2341 | μmol/L | 17.7816 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.797 | 92108.3337 | 301821.4134 | 30.45 | 114.2
17867 | 2022-05-20 10:17 | 15.3266 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.087 | μmol/L | 17.7878 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.801 | 92090.4459 | 301783.3391 | 30.45 | 114.2
17877 | 2022-05-20 10:17 | 15.6598 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.2755 | μmol/L | 17.7878 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.793 | 92062.665 | 301746.7431 | 30.45 | 114.2
17887 | 2022-05-20 10:17 | 15.9933 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.2462 | μmol/L | 17.7939 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.792 | 92048.1489 | 301715.5533 | 30.45 | 114.2
17897 | 2022-05-20 10:18 | 16.3262 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.2698 | μmol/L | 17.7939 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.791 | 92021.747 | 301680.2638 | 30.45 | 114.2
17907 | 2022-05-20 10:18 | 16.6597 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.2169 | μmol/L | 17.8 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.791 | 92006.0227 | 301648.4015 | 30.45 | 114.2
17917 | 2022-05-20 10:18 | 16.9926 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.2584 | μmol/L | 17.8062 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.787 | 91968.7019 | 301615.0976 | 30.45 | 114.2
17927 | 2022-05-20 10:19 | 17.3261 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.282 | μmol/L | 17.8062 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.786 | 91958.542 | 301577.446 | 30.45 | 114.2
17937 | 2022-05-20 10:19 | 17.6598 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.2291 | μmol/L | 17.8123 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.786 | 91949.8413 | 301559.9935 | 30.45 | 114.2
17947 | 2022-05-20 10:19 | 17.9934 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.0349 | μmol/L | 17.8185 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.792 | 91943.0555 | 301529.2099 | 30.45 | 114.2
17957 | 2022-05-20 10:20 | 18.3263 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.0114 | μmol/L | 17.8185 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.793 | 91936.518 | 301490.4331 | 30.45 | 114.2
17967 | 2022-05-20 10:20 | 18.6601 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.9643 | μmol/L | 17.8185 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.795 | 91927.4865 | 301456.6204 | 30.45 | 114.2
17977 | 2022-05-20 10:20 | 18.9932 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.8409 | μmol/L | 17.8246 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.798 | 91938.6929 | 301440.9902 | 30.45 | 114.2
17987 | 2022-05-20 10:21 | 19.3262 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.6997 | μmol/L | 17.8246 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.804 | 91948.2268 | 301403.2861 | 30.45 | 114.2
17997 | 2022-05-20 10:21 | 19.6597 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.4411 | μmol/L | 17.8246 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.815 | 91974.0088 | 301378.9729 | 30.45 | 114.2
18007 | 2022-05-20 10:21 | 19.9933 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.2419 | μmol/L | 17.8369 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.819 | 91988.8303 | 301339.148 | 30.45 | 114.2
18017 | 2022-05-20 10:22 | 20.3261 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.148 | μmol/L | 17.8369 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.823 | 91989.6774 | 301321.7867 | 30.45 | 114.2
18027 | 2022-05-20 10:22 | 20.6597 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.1423 | μmol/L | 17.843 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.821 | 91962.1964 | 301298.0804 | 30.45 | 114.2
18037 | 2022-05-20 10:22 | 20.9933 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.3358 | μmol/L | 17.8369 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.815 | 91936.7703 | 301260.1665 | 30.45 | 114.2
18047 | 2022-05-20 10:23 | 21.3261 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.2184 | μmol/L | 17.8369 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.82 | 91932.3874 | 301235.8717 | 30.45 | 114.2
18057 | 2022-05-20 10:23 | 21.6596 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0776 | μmol/L | 17.8369 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.826 | 91956.3867 | 301212.7997 | 30.45 | 114.2
18067 | 2022-05-20 10:23 | 21.9933 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.8609 | μmol/L | 17.843 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.833 | 91973.4979 | 301196.3902 | 30.45 | 114.2
18077 | 2022-05-20 10:24 | 22.3265 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.6501 | μmol/L | 17.843 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.842 | 91992.0185 | 301175.3846 | 30.45 | 114.2
18087 | 2022-05-20 10:24 | 22.6593 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.6323 | μmol/L | 17.8369 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.845 | 92009.2962 | 301135.9153 | 30.45 | 114.2
18097 | 2022-05-20 10:24 | 22.9929 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4806 | μmol/L | 17.8492 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.847 | 92016.9145 | 301116.5975 | 30.45 | 114.2
18107 | 2022-05-20 10:25 | 23.3263 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.1943 | μmol/L | 17.8553 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.857 | 92018.6641 | 301080.6183 | 30.45 | 114.2
18117 | 2022-05-20 10:25 | 23.6598 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.2176 | μmol/L | 17.8553 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.856 | 92009.3132 | 301069.9359 | 30.45 | 114.2
18127 | 2022-05-20 10:25 | 23.9933 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.1475 | μmol/L | 17.8553 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.859 | 91998.0546 | 301046.661 | 30.45 | 114.2
18137 | 2022-05-20 10:26 | 24.326 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.1709 | μmol/L | 17.8553 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.858 | 91985.2763 | 301028.1051 | 30.45 | 114.2
18147 | 2022-05-20 10:26 | 24.6595 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.2176 | μmol/L | 17.8553 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.856 | 91962.3952 | 300997.8282 | 30.45 | 114.2
18157 | 2022-05-20 10:26 | 24.9931 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.1886 | μmol/L | 17.8615 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.855 | 91931.0977 | 300972.3894 | 30.45 | 114.2
18167 | 2022-05-20 10:27 | 25.326 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.2644 | μmol/L | 17.8553 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.854 | 91923.2206 | 300956.5696 | 30.45 | 114.2
18177 | 2022-05-20 10:27 | 25.6597 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.1362 | μmol/L | 17.8676 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.855 | 91940.5 | 300918.5607 | 30.45 | 114.2
18187 | 2022-05-20 10:27 | 25.9933 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.815 | μmol/L | 17.8615 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.871 | 91990.1979 | 300896.8373 | 30.45 | 114.2
18197 | 2022-05-20 10:28 | 26.3261 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.3721 | μmol/L | 17.8615 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.89 | 92064.3746 | 300868.1258 | 30.45 | 114.2
18207 | 2022-05-20 10:28 | 26.6598 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.0639 | μmol/L | 17.8676 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.901 | 92109.2193 | 300851.5958 | 30.45 | 114.2
18217 | 2022-05-20 10:28 | 26.9934 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.7561 | μmol/L | 17.8737 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.912 | 92137.9391 | 300831.6006 | 30.45 | 114.2
18227 | 2022-05-20 10:29 | 27.3261 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.6576 | μmol/L | 17.8799 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.914 | 92153.6714 | 300796.6476 | 30.45 | 114.2
18237 | 2022-05-20 10:29 | 27.6595 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.4544 | μmol/L | 17.8737 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.925 | 92181.068 | 300779.5394 | 30.45 | 114.2
18247 | 2022-05-20 10:29 | 27.9932 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.1649 | μmol/L | 17.886 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.933 | 92207.888 | 300757.3522 | 30.45 | 114.2
18257 | 2022-05-20 10:30 | 28.326 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.0954 | μmol/L | 17.886 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.936 | 92225.3005 | 300737.7237 | 30.45 | 114.2
18267 | 2022-05-20 10:30 | 28.6597 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.9159 | μmol/L | 17.8799 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.946 | 92251.1902 | 300704.4857 | 30.45 | 114.2
18277 | 2022-05-20 10:30 | 28.9934 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.6097 | μmol/L | 17.886 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.957 | 92277.7233 | 300686.1113 | 30.45 | 114.2
18287 | 2022-05-20 10:31 | 29.3268 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.5517 | μmol/L | 17.8737 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.964 | 92298.2691 | 300662.5329 | 30.45 | 114.2
18297 | 2022-05-20 10:31 | 29.6595 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.373 | μmol/L | 17.8922 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.965 | 92302.0867 | 300627.2863 | 30.45 | 114.2
18307 | 2022-05-20 10:31 | 29.9931 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.1884 | μmol/L | 17.8922 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.973 | 92315.4599 | 300627.6047 | 30.45 | 114.2
18317 | 2022-05-20 10:32 | 30.3266 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.2402 | μmol/L | 17.886 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.973 | 92329.6775 | 300591.3398 | 30.45 | 114.2
18327 | 2022-05-20 10:32 | 30.6594 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.1076 | μmol/L | 17.8799 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.981 | 92343.225 | 300577.7098 | 30.45 | 114.2
18337 | 2022-05-20 10:32 | 30.9933 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.9636 | μmol/L | 17.886 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.985 | 92364.3676 | 300560.2733 | 30.45 | 114.2
18347 | 2022-05-20 10:33 | 31.3262 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.9002 | μmol/L | 17.8799 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.99 | 92376.6106 | 300529.4753 | 30.45 | 114.2
18357 | 2022-05-20 10:33 | 31.6598 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.7103 | μmol/L | 17.886 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.996 | 92395.7543 | 300520.6366 | 30.45 | 114.2
18367 | 2022-05-20 10:33 | 31.9932 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.3999 | μmol/L | 17.8983 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.005 | 92426.6029 | 300496.5835 | 30.45 | 114.2
18377 | 2022-05-20 10:34 | 32.3267 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.1702 | μmol/L | 17.8983 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.015 | 92459.8882 | 300470.7008 | 30.45 | 114.2
18387 | 2022-05-20 10:34 | 32.6594 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.0095 | μmol/L | 17.8983 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.022 | 92487.5104 | 300459.6694 | 30.45 | 114.2
18397 | 2022-05-20 10:34 | 32.9931 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.849 | μmol/L | 17.8983 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.029 | 92507.7902 | 300439.5679 | 30.45 | 114.2
18407 | 2022-05-20 10:35 | 33.3267 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.7573 | μmol/L | 17.8983 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.033 | 92523.3183 | 300420.4681 | 30.45 | 114.2
18417 | 2022-05-20 10:35 | 33.6597 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.5511 | μmol/L | 17.8983 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.042 | 92533.0441 | 300403.3065 | 30.45 | 114.2
18427 | 2022-05-20 10:35 | 33.9934 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.4596 | μmol/L | 17.8983 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.046 | 92537.2107 | 300375.534 | 30.45 | 114.2
18437 | 2022-05-20 10:36 | 34.326 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.2708 | μmol/L | 17.9045 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.052 | 92545.2416 | 300367.3931 | 30.45 | 114.2
18447 | 2022-05-20 10:36 | 34.6596 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.2423 | μmol/L | 17.9106 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.051 | 92555.682 | 300345.1387 | 30.45 | 114.2
18457 | 2022-05-20 10:36 | 34.9926 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.2937 | μmol/L | 17.9045 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.051 | 92551.9297 | 300325.5096 | 30.45 | 114.2
18467 | 2022-05-20 10:37 | 35.3263 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.128 | μmol/L | 17.9106 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.056 | 92538.3262 | 300308.4262 | 30.45 | 114.2
18477 | 2022-05-20 10:37 | 35.6597 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.2366 | μmol/L | 17.9167 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.049 | 92532.7688 | 300294.4594 | 30.45 | 114.2
18487 | 2022-05-20 10:37 | 35.9932 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.288 | μmol/L | 17.9106 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.049 | 92523.4778 | 300274.4851 | 30.45 | 114.2
18497 | 2022-05-20 10:38 | 36.3266 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.088 | μmol/L | 17.9045 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.06 | 92522.9057 | 300262.8146 | 30.45 | 114.2
18507 | 2022-05-20 10:38 | 36.6595 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.0366 | μmol/L | 17.9106 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.06 | 92525.0206 | 300240.846 | 30.45 | 114.2
18517 | 2022-05-20 10:38 | 36.9929 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.0766 | μmol/L | 17.9167 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.056 | 92523.9589 | 300219.0887 | 30.45 | 114.2
18527 | 2022-05-20 10:39 | 37.3266 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.9395 | μmol/L | 17.9167 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.062 | 92532.5445 | 300204.3014 | 30.45 | 114.2
18537 | 2022-05-20 10:39 | 37.6597 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.7455 | μmol/L | 17.929 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.066 | 92546.3017 | 300191.0053 | 30.45 | 114.2
18547 | 2022-05-20 10:39 | 37.9934 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.5231 | μmol/L | 17.9229 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.078 | 92578.0374 | 300182.372 | 30.45 | 114.2
18557 | 2022-05-20 10:40 | 38.3265 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.3864 | μmol/L | 17.9229 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.084 | 92614.0593 | 300168.7226 | 30.45 | 114.2
18567 | 2022-05-20 10:40 | 38.6595 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.227 | μmol/L | 17.9229 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.091 | 92630.8518 | 300140.4923 | 30.45 | 114.2
18577 | 2022-05-20 10:40 | 38.9931 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.1815 | μmol/L | 17.9229 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.093 | 92647.4843 | 300127.5878 | 30.45 | 114.2
18587 | 2022-05-20 10:41 | 39.3268 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.0905 | μmol/L | 17.9229 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.097 | 92646.3425 | 300105.6791 | 30.45 | 114.2
18597 | 2022-05-20 10:41 | 39.6596 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.9825 | μmol/L | 17.9167 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.104 | 92650.6583 | 300096.6581 | 30.45 | 114.2
18607 | 2022-05-20 10:41 | 39.9927 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.9597 | μmol/L | 17.9167 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.105 | 92661.5345 | 300084.0642 | 30.45 | 114.2
18617 | 2022-05-20 10:42 | 40.3261 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.8915 | μmol/L | 17.9167 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.108 | 92667.4819 | 300067.4299 | 30.45 | 114.2
18627 | 2022-05-20 10:42 | 40.6596 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.8461 | μmol/L | 17.9167 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.11 | 92673.8402 | 300038.1791 | 30.45 | 114.2
18637 | 2022-05-20 10:42 | 40.9933 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.6814 | μmol/L | 17.9229 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.115 | 92685.5048 | 300038.0965 | 30.45 | 114.2
18647 | 2022-05-20 10:43 | 41.326 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.5394 | μmol/L | 17.929 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.119 | 92695.9678 | 300016.2619 | 30.45 | 114.2
18657 | 2022-05-20 10:43 | 41.6596 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.426 | μmol/L | 17.929 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.124 | 92713.9361 | 300005.3166 | 30.45 | 114.2
18667 | 2022-05-20 10:43 | 41.9934 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.1936 | μmol/L | 17.9352 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.132 | 92721.8905 | 299991.3444 | 30.45 | 114.2
18677 | 2022-05-20 10:44 | 42.3262 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.2729 | μmol/L | 17.9474 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.124 | 92722.5961 | 299971.9687 | 30.45 | 114.2
18687 | 2022-05-20 10:44 | 42.6597 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.9841 | μmol/L | 17.9413 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.139 | 92769.3333 | 299952.914 | 30.45 | 114.2
18697 | 2022-05-20 10:44 | 42.9934 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.8935 | μmol/L | 17.9413 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.143 | 92779.0394 | 299939.74 | 30.45 | 114.2
18707 | 2022-05-20 10:45 | 43.3265 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.0124 | μmol/L | 17.9352 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.14 | 92773.178 | 299934.4587 | 30.45 | 114.2
18717 | 2022-05-20 10:45 | 43.6598 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.9898 | μmol/L | 17.9352 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.141 | 92763.5233 | 299923.1085 | 30.45 | 114.2
18727 | 2022-05-20 10:45 | 43.9927 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.9671 | μmol/L | 17.9352 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.142 | 92756.6071 | 299901.6635 | 30.45 | 114.2
18737 | 2022-05-20 10:46 | 44.3268 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.6842 | μmol/L | 17.9474 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.15 | 92795.7597 | 299886.7214 | 30.45 | 114.2
18747 | 2022-05-20 10:46 | 44.6595 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.2551 | μmol/L | 17.9474 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.169 | 92853.8953 | 299866.37 | 30.45 | 114.2
18757 | 2022-05-20 10:46 | 44.993 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.1197 | μmol/L | 17.9474 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.175 | 92875.8057 | 299858.4737 | 30.45 | 114.2
18767 | 2022-05-20 10:47 | 45.3267 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.9845 | μmol/L | 17.9474 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.181 | 92916.505 | 299841.4504 | 30.45 | 114.2
18777 | 2022-05-20 10:47 | 45.6594 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.7707 | μmol/L | 17.9352 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.195 | 92970.054 | 299830.8642 | 30.45 | 114.2
18787 | 2022-05-20 10:47 | 45.9932 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.4949 | μmol/L | 17.9413 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.205 | 93005.8009 | 299817.0705 | 30.45 | 114.2
18797 | 2022-05-20 10:48 | 46.3268 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.242 | μmol/L | 17.9474 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.214 | 93037.6344 | 299790.1427 | 30.45 | 114.2
18807 | 2022-05-20 10:48 | 46.6595 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.231 | μmol/L | 17.9352 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.219 | 93076.3076 | 299793.9956 | 30.45 | 114.2
18817 | 2022-05-20 10:48 | 46.9932 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.9559 | μmol/L | 17.9413 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.229 | 93093.6684 | 299767.5997 | 30.45 | 114.2
18827 | 2022-05-20 10:49 | 47.3261 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.9054 | μmol/L | 17.9474 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.229 | 93098.5507 | 299759.1932 | 30.45 | 114.2
18837 | 2022-05-20 10:49 | 47.6597 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.7484 | μmol/L | 17.9474 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.236 | 93111.7839 | 299744.9162 | 30.45 | 114.2
18847 | 2022-05-20 10:49 | 47.9931 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.7932 | μmol/L | 17.9474 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.234 | 93109.7384 | 299736.9791 | 30.45 | 114.2
18857 | 2022-05-20 10:50 | 48.3267 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.6812 | μmol/L | 17.9474 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.239 | 93119.3344 | 299723.5291 | 30.45 | 114.2
18867 | 2022-05-20 10:50 | 48.6598 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.6364 | μmol/L | 17.9474 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.241 | 93127.9399 | 299708.7295 | 30.45 | 114.2
18877 | 2022-05-20 10:50 | 48.9934 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.6474 | μmol/L | 17.9597 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.236 | 93114.9332 | 299700.1019 | 30.45 | 114.2
18887 | 2022-05-20 10:51 | 49.3267 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.7708 | μmol/L | 17.9474 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.235 | 93086.3683 | 299679.353 | 30.45 | 114.2
18897 | 2022-05-20 10:51 | 49.6594 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.0008 | μmol/L | 17.9413 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.227 | 93071.3238 | 299677.566 | 30.45 | 114.2
18907 | 2022-05-20 10:51 | 49.9929 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.8157 | μmol/L | 17.9474 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.233 | 93062.874 | 299653.0753 | 30.45 | 114.2
18917 | 2022-05-20 10:52 | 50.3266 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.8944 | μmol/L | 17.9352 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.234 | 93050.7158 | 299638.8313 | 30.45 | 114.2
18927 | 2022-05-20 10:52 | 50.6601 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.9111 | μmol/L | 17.9413 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.231 | 93045.7037 | 299637.1763 | 30.45 | 114.2
18937 | 2022-05-20 10:52 | 50.993 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.8662 | μmol/L | 17.9413 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.233 | 93037.522 | 299617.1053 | 30.45 | 114.2
18947 | 2022-05-20 10:53 | 51.3267 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.8438 | μmol/L | 17.9413 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.234 | 93047.9378 | 299598.9882 | 30.45 | 114.2
18957 | 2022-05-20 10:53 | 51.6594 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.7093 | μmol/L | 17.9413 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.24 | 93103.56 | 299578.7889 | 30.45 | 114.2
18967 | 2022-05-20 10:53 | 51.9933 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.5302 | μmol/L | 17.9413 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.248 | 93178.1975 | 299581.6919 | 30.45 | 114.2
18977 | 2022-05-20 10:54 | 52.326 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.4969 | μmol/L | 17.929 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.254 | 93194.603 | 299555.5112 | 30.45 | 114.2
18987 | 2022-05-20 10:54 | 52.6595 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.3792 | μmol/L | 17.9352 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.257 | 93202.5666 | 299539.0354 | 30.45 | 114.2
18997 | 2022-05-20 10:54 | 52.9932 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.2003 | μmol/L | 17.9352 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.265 | 93209.6293 | 299529.5055 | 30.45 | 114.2
19007 | 2022-05-20 10:55 | 53.3267 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.3569 | μmol/L | 17.9352 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.258 | 93197.5559 | 299507.5642 | 30.45 | 114.2
19017 | 2022-05-20 10:55 | 53.6593 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.2112 | μmol/L | 17.9474 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.26 | 93185.0439 | 299490.9605 | 30.45 | 114.2
19027 | 2022-05-20 10:55 | 53.9931 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.2279 | μmol/L | 17.9536 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.257 | 93174.1002 | 299475.2591 | 30.45 | 114.2
19037 | 2022-05-20 10:56 | 54.3266 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.1831 | μmol/L | 17.9536 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.259 | 93164.1926 | 299462.9482 | 30.45 | 114.2
19047 | 2022-05-20 10:56 | 54.6597 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.1104 | μmol/L | 17.9597 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.26 | 93146.6831 | 299457.9389 | 30.45 | 114.2
19057 | 2022-05-20 10:56 | 54.9932 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.2445 | μmol/L | 17.9597 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.254 | 93132.9981 | 299429.1763 | 30.45 | 114.2
19067 | 2022-05-20 10:57 | 55.3268 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.2164 | μmol/L | 17.9659 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.253 | 93117.5737 | 299400.2703 | 30.45 | 114.2
19077 | 2022-05-20 10:57 | 55.6594 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.2279 | μmol/L | 17.9536 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.257 | 93106.4888 | 299385.3046 | 30.45 | 114.2
19087 | 2022-05-20 10:57 | 55.9929 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.1998 | μmol/L | 17.9597 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.256 | 93108.0699 | 299367.7111 | 30.45 | 114.2
19097 | 2022-05-20 10:58 | 56.3266 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.1551 | μmol/L | 17.9597 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.258 | 93192.7782 | 299346.016 | 30.45 | 114.2
19107 | 2022-05-20 10:58 | 56.6596 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.1327 | μmol/L | 17.9597 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.259 | 93212.5103 | 299350.3127 | 30.45 | 114.2
19117 | 2022-05-20 10:58 | 56.9932 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.0657 | μmol/L | 17.9597 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.262 | 93216.4283 | 299326.6906 | 30.45 | 114.2
19127 | 2022-05-20 10:59 | 57.3268 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.1551 | μmol/L | 17.9597 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.258 | 93219.0924 | 299321.9833 | 30.45 | 114.2