## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_9 | O2 | 143006660 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 10:00

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-20 11:19

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
17404 | 2022-05-20 10:01 | 0 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.0741 | μmol/L | 17.6026 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.59 | 111720.8786 | 274515.0711 | 26.25 | 74
17414 | 2022-05-20 10:01 | 0.32773 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.0191 | μmol/L | 17.6087 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.59 | 111704.4144 | 274495.2715 | 26.25 | 74
17424 | 2022-05-20 10:02 | 0.66152 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.068 | μmol/L | 17.6087 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.588 | 111702.398 | 274473.0342 | 26.25 | 74
17434 | 2022-05-20 10:02 | 0.99453 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.0618 | μmol/L | 17.6148 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.586 | 111674.9018 | 274423.3969 | 26.25 | 74
17444 | 2022-05-20 10:02 | 1.3275 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.7809 | μmol/L | 17.6269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.593 | 111660.1826 | 274382.9051 | 26.25 | 74
17454 | 2022-05-20 10:03 | 1.661 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.7137 | μmol/L | 17.6452 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.589 | 111653.4666 | 274330.703 | 26.25 | 74
17464 | 2022-05-20 10:03 | 1.9945 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.7198 | μmol/L | 17.6391 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.591 | 111689.898 | 274296.3241 | 26.25 | 74
17474 | 2022-05-20 10:03 | 2.3278 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.7075 | μmol/L | 17.6513 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.587 | 111633.7089 | 274245.2055 | 26.25 | 74
17484 | 2022-05-20 10:04 | 2.6614 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.7563 | μmol/L | 17.6513 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.585 | 111641.6113 | 274202.1798 | 26.25 | 74
17494 | 2022-05-20 10:04 | 2.9941 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.7563 | μmol/L | 17.6513 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.585 | 111623.8938 | 274164.0908 | 26.25 | 74
17504 | 2022-05-20 10:04 | 3.3276 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.738 | μmol/L | 17.6696 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.579 | 111609.6501 | 274120.8755 | 26.25 | 74
17514 | 2022-05-20 10:05 | 3.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6099 | μmol/L | 17.6757 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.582 | 111596.4412 | 274071.0273 | 26.25 | 74
17524 | 2022-05-20 10:05 | 3.9941 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.5306 | μmol/L | 17.6817 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.583 | 111567.7826 | 274026.962 | 26.25 | 74
17534 | 2022-05-20 10:05 | 4.3277 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6465 | μmol/L | 17.6878 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.576 | 111553.4339 | 273996.4334 | 26.25 | 74
17544 | 2022-05-20 10:06 | 4.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.5368 | μmol/L | 17.7 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.576 | 111535.5008 | 273953.3741 | 26.25 | 74
17554 | 2022-05-20 10:06 | 4.9949 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.5612 | μmol/L | 17.7 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.575 | 111509.0271 | 273916.1094 | 26.25 | 74
17564 | 2022-05-20 10:06 | 5.328 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.5795 | μmol/L | 17.7061 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.572 | 111482.001 | 273878.8867 | 26.25 | 74
17574 | 2022-05-20 10:07 | 5.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6344 | μmol/L | 17.7 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.572 | 111459.814 | 273838.3722 | 26.25 | 74
17584 | 2022-05-20 10:07 | 5.9941 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.4819 | μmol/L | 17.7061 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.576 | 111443.7671 | 273797.6636 | 26.25 | 74
17594 | 2022-05-20 10:07 | 6.3279 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.549 | μmol/L | 17.7122 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.571 | 111415.5492 | 273753.8359 | 26.25 | 74
17604 | 2022-05-20 10:08 | 6.6608 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6894 | μmol/L | 17.7183 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.563 | 111379.9996 | 273713.3251 | 26.25 | 74
17614 | 2022-05-20 10:08 | 6.9945 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.5797 | μmol/L | 17.7305 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.563 | 111349.8337 | 273664.1319 | 26.25 | 74
17624 | 2022-05-20 10:08 | 7.3276 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.5249 | μmol/L | 17.7366 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.563 | 111322.8357 | 273630.9122 | 26.25 | 74
17634 | 2022-05-20 10:09 | 7.6612 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6225 | μmol/L | 17.7366 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.559 | 111304.0041 | 273579.9056 | 26.25 | 74
17644 | 2022-05-20 10:09 | 7.9948 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6469 | μmol/L | 17.7366 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.558 | 111272.2824 | 273558.6255 | 26.25 | 74
17654 | 2022-05-20 10:09 | 8.3278 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.5861 | μmol/L | 17.7487 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.556 | 111268.2449 | 273507.374 | 26.25 | 74
17664 | 2022-05-20 10:10 | 8.6615 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.5861 | μmol/L | 17.7487 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.556 | 111241.7387 | 273459.3361 | 26.25 | 74
17674 | 2022-05-20 10:10 | 8.9942 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6349 | μmol/L | 17.7487 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.554 | 111235.4797 | 273435.0786 | 26.25 | 74
17684 | 2022-05-20 10:10 | 9.3278 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6105 | μmol/L | 17.7487 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.555 | 111209.1318 | 273406.6219 | 26.25 | 74
17694 | 2022-05-20 10:11 | 9.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.5437 | μmol/L | 17.767 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.551 | 111209.4261 | 273375.5313 | 26.25 | 74
17704 | 2022-05-20 10:11 | 9.9943 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.3729 | μmol/L | 17.767 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.558 | 111186.1958 | 273335.7878 | 26.25 | 74
17714 | 2022-05-20 10:11 | 10.3279 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.4157 | μmol/L | 17.7731 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.554 | 111173.2702 | 273299.4611 | 26.25 | 74
17724 | 2022-05-20 10:12 | 10.6609 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.4401 | μmol/L | 17.7731 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.553 | 111173.8267 | 273257.4715 | 26.25 | 74
17734 | 2022-05-20 10:12 | 10.9945 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.3425 | μmol/L | 17.7731 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.557 | 111180.7311 | 273236.8964 | 26.25 | 74
17744 | 2022-05-20 10:12 | 11.3282 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.5133 | μmol/L | 17.7731 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.55 | 111145.1621 | 273193.1392 | 26.25 | 74
17754 | 2022-05-20 10:13 | 11.6611 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.4037 | μmol/L | 17.7853 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.55 | 111155.4411 | 273166.7554 | 26.25 | 74
17764 | 2022-05-20 10:13 | 11.9949 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.4769 | μmol/L | 17.7853 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.547 | 111150.4711 | 273145.1362 | 26.25 | 74
17774 | 2022-05-20 10:13 | 12.3277 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.349 | μmol/L | 17.7914 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.55 | 111125.8918 | 273108.5129 | 26.25 | 74
17784 | 2022-05-20 10:14 | 12.6612 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.3977 | μmol/L | 17.7914 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.548 | 111097.2512 | 273078.9644 | 26.25 | 74
17794 | 2022-05-20 10:14 | 12.9947 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.337 | μmol/L | 17.8036 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.546 | 111087.8993 | 273060.5883 | 26.25 | 74
17804 | 2022-05-20 10:14 | 13.3277 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.3674 | μmol/L | 17.7975 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.547 | 111090.9233 | 273017.8638 | 26.25 | 74
17814 | 2022-05-20 10:15 | 13.6614 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.3555 | μmol/L | 17.8096 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.543 | 111095.6149 | 273006.2622 | 26.25 | 74
17824 | 2022-05-20 10:15 | 13.9943 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.4531 | μmol/L | 17.8096 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.539 | 111095.3557 | 272954.5706 | 26.25 | 74
17834 | 2022-05-20 10:15 | 14.3275 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.3984 | μmol/L | 17.8157 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.539 | 110912.4898 | 272931.1742 | 26.25 | 74
17844 | 2022-05-20 10:16 | 14.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.3496 | μmol/L | 17.8157 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.541 | 110883.7288 | 272907.8819 | 26.25 | 74
17854 | 2022-05-20 10:16 | 14.9941 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.4412 | μmol/L | 17.8218 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.535 | 110829.1315 | 272871.2005 | 26.25 | 74
17864 | 2022-05-20 10:16 | 15.3279 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.3865 | μmol/L | 17.8279 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.535 | 110825.1358 | 272849.4019 | 26.25 | 74
17874 | 2022-05-20 10:17 | 15.6615 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.4901 | μmol/L | 17.8218 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.533 | 110799.2621 | 272817.949 | 26.25 | 74
17884 | 2022-05-20 10:17 | 15.9944 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.5145 | μmol/L | 17.8218 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.532 | 110787.6199 | 272797.3448 | 26.25 | 74
17894 | 2022-05-20 10:17 | 16.3275 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.4109 | μmol/L | 17.8279 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.534 | 110798.6274 | 272756.1597 | 26.25 | 74
17904 | 2022-05-20 10:18 | 16.6612 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.405 | μmol/L | 17.834 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.532 | 110794.8791 | 272725.3311 | 26.25 | 74
17914 | 2022-05-20 10:18 | 16.9944 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.3991 | μmol/L | 17.8401 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.53 | 110804.6945 | 272698.0807 | 26.25 | 74
17924 | 2022-05-20 10:18 | 17.3281 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.4235 | μmol/L | 17.8401 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.529 | 110787.2775 | 272666.2295 | 26.25 | 74
17934 | 2022-05-20 10:19 | 17.6616 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.4176 | μmol/L | 17.8462 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.527 | 110793.9871 | 272629.2626 | 26.25 | 74
17944 | 2022-05-20 10:19 | 17.9944 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.442 | μmol/L | 17.8462 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.526 | 110785.3672 | 272614.5067 | 26.25 | 74
17954 | 2022-05-20 10:19 | 18.328 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.5885 | μmol/L | 17.8462 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.52 | 110731.059 | 272577.9284 | 26.25 | 74
17964 | 2022-05-20 10:20 | 18.6609 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6188 | μmol/L | 17.8401 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.521 | 110716.3449 | 272548.07 | 26.25 | 74
17974 | 2022-05-20 10:20 | 18.9942 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.7351 | μmol/L | 17.8462 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.514 | 110726.6792 | 272516.5292 | 26.25 | 74
17984 | 2022-05-20 10:20 | 19.3278 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6804 | μmol/L | 17.8523 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.514 | 110707.3575 | 272481.9597 | 26.25 | 74
17994 | 2022-05-20 10:21 | 19.6615 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6256 | μmol/L | 17.8584 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.514 | 110659.6647 | 272456.1404 | 26.25 | 74
18004 | 2022-05-20 10:21 | 19.9942 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.7048 | μmol/L | 17.8523 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.513 | 110640.9097 | 272428.099 | 26.25 | 74
18014 | 2022-05-20 10:21 | 20.3279 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6989 | μmol/L | 17.8584 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.511 | 110646.8647 | 272409.7573 | 26.25 | 74
18024 | 2022-05-20 10:22 | 20.6607 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6442 | μmol/L | 17.8645 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.511 | 110647.2516 | 272396.0275 | 26.25 | 74
18034 | 2022-05-20 10:22 | 20.9946 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.5953 | μmol/L | 17.8645 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.513 | 110644.3526 | 272359.4242 | 26.25 | 74
18044 | 2022-05-20 10:22 | 21.3277 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6931 | μmol/L | 17.8645 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.509 | 110656.1503 | 272343.9346 | 26.25 | 74
18054 | 2022-05-20 10:23 | 21.6611 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6139 | μmol/L | 17.8705 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.51 | 110658.2624 | 272319.3413 | 26.25 | 74
18064 | 2022-05-20 10:23 | 21.9947 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.4615 | μmol/L | 17.8766 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.514 | 110654.6397 | 272295.9274 | 26.25 | 74
18074 | 2022-05-20 10:23 | 22.3278 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.5103 | μmol/L | 17.8766 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.512 | 110663.1678 | 272279.8787 | 26.25 | 74
18084 | 2022-05-20 10:24 | 22.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.4312 | μmol/L | 17.8827 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.513 | 110655.9509 | 272252.4516 | 26.25 | 74
18094 | 2022-05-20 10:24 | 22.9942 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.5103 | μmol/L | 17.8766 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.512 | 110644.0925 | 272230.3504 | 26.25 | 74
18104 | 2022-05-20 10:24 | 23.3281 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.4068 | μmol/L | 17.8827 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.514 | 110654.1455 | 272201.6475 | 26.25 | 74
18114 | 2022-05-20 10:25 | 23.6608 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.3579 | μmol/L | 17.8827 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.516 | 110631.8379 | 272180.2646 | 26.25 | 74
18124 | 2022-05-20 10:25 | 23.9943 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.3277 | μmol/L | 17.8888 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.515 | 110628.9588 | 272151.5072 | 26.25 | 74
18134 | 2022-05-20 10:25 | 24.3279 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.4556 | μmol/L | 17.8827 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.512 | 110641.1836 | 272140.6004 | 26.25 | 74
18144 | 2022-05-20 10:26 | 24.6608 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.4009 | μmol/L | 17.8888 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.512 | 110646.6713 | 272097.7588 | 26.25 | 74
18154 | 2022-05-20 10:26 | 24.9945 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.3277 | μmol/L | 17.8888 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.515 | 110608.7074 | 272085.0357 | 26.25 | 74
18164 | 2022-05-20 10:26 | 25.3281 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.3707 | μmol/L | 17.8949 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.511 | 110592.0295 | 272055.1756 | 26.25 | 74
18174 | 2022-05-20 10:27 | 25.6615 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.5661 | μmol/L | 17.8949 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.503 | 110592.9856 | 272047.2918 | 26.25 | 74
18184 | 2022-05-20 10:27 | 25.9941 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.3951 | μmol/L | 17.8949 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.51 | 110604.5397 | 272023.9757 | 26.25 | 74
18194 | 2022-05-20 10:27 | 26.3279 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.3346 | μmol/L | 17.9071 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.508 | 110614.9595 | 272005.2073 | 26.25 | 74
18204 | 2022-05-20 10:28 | 26.6615 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.3648 | μmol/L | 17.901 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.509 | 110611.5632 | 271965.1318 | 26.25 | 74
18214 | 2022-05-20 10:28 | 26.9944 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.3404 | μmol/L | 17.901 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.51 | 110619.7741 | 271959.096 | 26.25 | 74
18224 | 2022-05-20 10:28 | 27.3282 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.2614 | μmol/L | 17.9071 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.511 | 110631.9726 | 271929.0082 | 26.25 | 74
18234 | 2022-05-20 10:29 | 27.6611 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.2067 | μmol/L | 17.9132 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.511 | 110629.3614 | 271901.3678 | 26.25 | 74
18244 | 2022-05-20 10:29 | 27.9947 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.3044 | μmol/L | 17.9132 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.507 | 110619.793 | 271892.1207 | 26.25 | 74
18254 | 2022-05-20 10:29 | 28.3276 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.402 | μmol/L | 17.9132 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.503 | 110622.9412 | 271857.7473 | 26.25 | 74
18264 | 2022-05-20 10:30 | 28.6615 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.4323 | μmol/L | 17.9071 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.504 | 110617.8951 | 271849.5161 | 26.25 | 74
18274 | 2022-05-20 10:30 | 28.9946 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.3776 | μmol/L | 17.9132 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.504 | 110608.8106 | 271821.5662 | 26.25 | 74
18284 | 2022-05-20 10:30 | 29.3281 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.4753 | μmol/L | 17.9132 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.5 | 110608.0228 | 271805.636 | 26.25 | 74
18294 | 2022-05-20 10:31 | 29.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.5486 | μmol/L | 17.9132 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.497 | 110605.3672 | 271789.1836 | 26.25 | 74
18304 | 2022-05-20 10:31 | 29.9946 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6033 | μmol/L | 17.9071 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.497 | 110587.4485 | 271759.7047 | 26.25 | 74
18314 | 2022-05-20 10:31 | 30.3282 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.4939 | μmol/L | 17.9193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.497 | 110595.2951 | 271739.9714 | 26.25 | 74
18324 | 2022-05-20 10:32 | 30.661 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.5184 | μmol/L | 17.9193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.496 | 110582.8299 | 271723.3785 | 26.25 | 74
18334 | 2022-05-20 10:32 | 30.9941 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.5672 | μmol/L | 17.9193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.494 | 110543.5078 | 271698.429 | 26.25 | 74
18344 | 2022-05-20 10:32 | 31.3278 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6406 | μmol/L | 17.9193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.491 | 110544.1788 | 271686.0566 | 26.25 | 74
18354 | 2022-05-20 10:33 | 31.6615 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.5917 | μmol/L | 17.9193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.493 | 110548.3084 | 271668.3034 | 26.25 | 74
18364 | 2022-05-20 10:33 | 31.9944 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.665 | μmol/L | 17.9193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.49 | 110547.9568 | 271659.9535 | 26.25 | 74
18374 | 2022-05-20 10:33 | 32.3277 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.5556 | μmol/L | 17.9315 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.49 | 110550.4031 | 271632.0062 | 26.25 | 74
18384 | 2022-05-20 10:34 | 32.6612 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6721 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.483 | 110541.2439 | 271617.5477 | 26.25 | 74
18394 | 2022-05-20 10:34 | 32.9943 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6966 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.482 | 110523.9558 | 271599.9204 | 26.25 | 74
18404 | 2022-05-20 10:34 | 33.3281 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.8002 | μmol/L | 17.9315 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.48 | 110526.1628 | 271588.0483 | 26.25 | 74
18414 | 2022-05-20 10:35 | 33.661 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.7757 | μmol/L | 17.9315 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.481 | 110522.7591 | 271563.5071 | 26.25 | 74
18424 | 2022-05-20 10:35 | 33.9946 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6966 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.482 | 110528.7687 | 271563.6621 | 26.25 | 74
18434 | 2022-05-20 10:35 | 34.3275 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6721 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.483 | 110521.861 | 271532.6498 | 26.25 | 74
18444 | 2022-05-20 10:36 | 34.6612 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.8434 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.476 | 110522.9975 | 271517.474 | 26.25 | 74
18454 | 2022-05-20 10:36 | 34.9947 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.7397 | μmol/L | 17.9436 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.478 | 110508.055 | 271493.7413 | 26.25 | 74
18464 | 2022-05-20 10:36 | 35.3276 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6419 | μmol/L | 17.9436 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.482 | 110496.1734 | 271473.233 | 26.25 | 74
18474 | 2022-05-20 10:37 | 35.6615 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.7699 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.479 | 110501.1817 | 271459.3851 | 26.25 | 74
18484 | 2022-05-20 10:37 | 35.9942 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6117 | μmol/L | 17.9497 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.481 | 110511.1106 | 271439.931 | 26.25 | 74
18494 | 2022-05-20 10:37 | 36.3276 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6908 | μmol/L | 17.9436 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.48 | 110503.2479 | 271438.2803 | 26.25 | 74
18504 | 2022-05-20 10:38 | 36.6614 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.593 | μmol/L | 17.9436 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.484 | 110495.0467 | 271415.5724 | 26.25 | 74
18514 | 2022-05-20 10:38 | 36.9943 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.5814 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.48 | 110509.3212 | 271402.1195 | 26.25 | 74
18524 | 2022-05-20 10:38 | 37.3281 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.5872 | μmol/L | 17.9497 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.482 | 110495.7328 | 271377.7594 | 26.25 | 74
18534 | 2022-05-20 10:39 | 37.6609 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6117 | μmol/L | 17.9497 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.481 | 110508.4747 | 271376.5607 | 26.25 | 74
18544 | 2022-05-20 10:39 | 37.9946 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.4592 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.485 | 110500.4805 | 271357.1156 | 26.25 | 74
18554 | 2022-05-20 10:39 | 38.3278 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.3371 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.49 | 110527.904 | 271336.0453 | 26.25 | 74
18564 | 2022-05-20 10:40 | 38.6608 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.3557 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.487 | 110523.6828 | 271332.7722 | 26.25 | 74
18574 | 2022-05-20 10:40 | 38.9944 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.4348 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.486 | 110541.3117 | 271306.9942 | 26.25 | 74
18584 | 2022-05-20 10:40 | 39.328 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.3371 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.49 | 110549.502 | 271277.957 | 26.25 | 74
18594 | 2022-05-20 10:41 | 39.6608 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.1604 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.495 | 110579.3365 | 271278.2274 | 26.25 | 74
18604 | 2022-05-20 10:41 | 39.9948 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.0872 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.498 | 110597.3633 | 271267.1164 | 26.25 | 74
18614 | 2022-05-20 10:41 | 40.3281 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.971 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.505 | 110577.4681 | 271241.2904 | 26.25 | 74
18624 | 2022-05-20 10:42 | 40.6609 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.8921 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.506 | 110612.9457 | 271246.9574 | 26.25 | 74
18634 | 2022-05-20 10:42 | 40.9941 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.8376 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.506 | 110647.2411 | 271231.8782 | 26.25 | 74
18644 | 2022-05-20 10:42 | 41.3278 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.5697 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.517 | 110682.3879 | 271207.9292 | 26.25 | 74
18654 | 2022-05-20 10:43 | 41.6614 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.4723 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.521 | 110722.2909 | 271184.1952 | 26.25 | 74
18664 | 2022-05-20 10:43 | 41.9943 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.2777 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.529 | 110756.6484 | 271178.9149 | 26.25 | 74
18674 | 2022-05-20 10:43 | 42.3281 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.0833 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.537 | 110787.2791 | 271183.808 | 26.25 | 74
18684 | 2022-05-20 10:44 | 42.6609 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.9133 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.544 | 110822.9231 | 271150.62 | 26.25 | 74
18694 | 2022-05-20 10:44 | 42.9945 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.792 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.549 | 110884.1296 | 271142.2299 | 26.25 | 74
18704 | 2022-05-20 10:44 | 43.3282 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.7978 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.551 | 110901.5139 | 271140.5163 | 26.25 | 74
18714 | 2022-05-20 10:45 | 43.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.5738 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.558 | 110927.9403 | 271127.9699 | 26.25 | 74
18724 | 2022-05-20 10:45 | 43.9942 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.6222 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.556 | 110942.3318 | 271108.5715 | 26.25 | 74
18734 | 2022-05-20 10:45 | 44.3278 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.6222 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.556 | 110937.1239 | 271107.3756 | 26.25 | 74
18744 | 2022-05-20 10:46 | 44.6615 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.6165 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.554 | 110937.5133 | 271089.3995 | 26.25 | 74
18754 | 2022-05-20 10:46 | 44.9944 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.7435 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.551 | 110920.6322 | 271074.3814 | 26.25 | 74
18764 | 2022-05-20 10:46 | 45.3282 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.6892 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.551 | 110900.5811 | 271064.3577 | 26.25 | 74
18774 | 2022-05-20 10:47 | 45.6611 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.6649 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.552 | 110908.9862 | 271050.2142 | 26.25 | 74
18784 | 2022-05-20 10:47 | 45.9942 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.7019 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.546 | 110886.0347 | 271033.0742 | 26.25 | 74
18794 | 2022-05-20 10:47 | 46.328 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.7804 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.545 | 110855.0117 | 271017.9157 | 26.25 | 74
18804 | 2022-05-20 10:48 | 46.6616 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.8532 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.542 | 110827.0671 | 271001.3823 | 26.25 | 74
18814 | 2022-05-20 10:48 | 46.9943 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.9689 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.535 | 110813.2016 | 271010.9993 | 26.25 | 74
18824 | 2022-05-20 10:48 | 47.3279 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.9446 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.536 | 110800.8831 | 270972.5561 | 26.25 | 74
18834 | 2022-05-20 10:49 | 47.6608 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.1875 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.526 | 110786.4255 | 270978.3861 | 26.25 | 74
18844 | 2022-05-20 10:49 | 47.9941 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.2118 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.525 | 110772.0397 | 270963.9128 | 26.25 | 74
18854 | 2022-05-20 10:49 | 48.3277 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.3391 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.522 | 110755.0114 | 270947.9613 | 26.25 | 74
18864 | 2022-05-20 10:50 | 48.6615 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.3577 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.519 | 110734.2888 | 270933.0863 | 26.25 | 74
18874 | 2022-05-20 10:50 | 48.9944 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.4851 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.516 | 110735.1375 | 270927.2439 | 26.25 | 74
18884 | 2022-05-20 10:50 | 49.3274 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.5095 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.515 | 110714.0241 | 270916.6959 | 26.25 | 74
18894 | 2022-05-20 10:51 | 49.661 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.5581 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.513 | 110702.4699 | 270900.8102 | 26.25 | 74
18904 | 2022-05-20 10:51 | 49.9946 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.5767 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.51 | 110704.749 | 270900.4352 | 26.25 | 74
18914 | 2022-05-20 10:51 | 50.3277 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.6555 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.509 | 110703.8527 | 270887.5629 | 26.25 | 74
18924 | 2022-05-20 10:52 | 50.6612 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.6011 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.509 | 110696.4053 | 270865.7069 | 26.25 | 74
18934 | 2022-05-20 10:52 | 50.9948 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.7043 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.507 | 110663.2174 | 270860.9936 | 26.25 | 74
18944 | 2022-05-20 10:52 | 51.3274 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.7472 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.503 | 110671.9784 | 270862.2327 | 26.25 | 74
18954 | 2022-05-20 10:53 | 51.6609 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.753 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.505 | 110676.4637 | 270840.9464 | 26.25 | 74
18964 | 2022-05-20 10:53 | 51.9947 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.6799 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.508 | 110684.7324 | 270815.8577 | 26.25 | 74
18974 | 2022-05-20 10:53 | 52.3282 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.6555 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.509 | 110709.2148 | 270804.3168 | 26.25 | 74
18984 | 2022-05-20 10:54 | 52.6612 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.5524 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.511 | 110711.1954 | 270801.5711 | 26.25 | 74
18994 | 2022-05-20 10:54 | 52.9949 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.6555 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.509 | 110725.829 | 270788.0073 | 26.25 | 74
19004 | 2022-05-20 10:54 | 53.3279 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.5767 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.51 | 110733.0098 | 270774.0332 | 26.25 | 74
19014 | 2022-05-20 10:55 | 53.6609 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.5825 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.512 | 110746.37 | 270759.2065 | 26.25 | 74
19024 | 2022-05-20 10:55 | 53.9944 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.4064 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.517 | 110748.2728 | 270723.0407 | 26.25 | 74
19034 | 2022-05-20 10:55 | 54.3282 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.5037 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.513 | 110768.4588 | 270718.2395 | 26.25 | 74
19044 | 2022-05-20 10:56 | 54.6608 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.4006 | μmol/L | 17.9924 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.515 | 110789.8699 | 270706.6148 | 26.25 | 74
19054 | 2022-05-20 10:56 | 54.9945 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.279 | μmol/L | 17.9924 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.52 | 110789.9539 | 270694.6483 | 26.25 | 74
19064 | 2022-05-20 10:56 | 55.3282 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.2847 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.522 | 110809.76 | 270681.8763 | 26.25 | 74
19074 | 2022-05-20 10:57 | 55.6611 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.4121 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.519 | 110821.3961 | 270656.9892 | 26.25 | 74
19084 | 2022-05-20 10:57 | 55.9946 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.3091 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.521 | 110824.2037 | 270641.2439 | 26.25 | 74
19094 | 2022-05-20 10:57 | 56.3276 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.3148 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.523 | 111802.092 | 270637.3603 | 26.25 | 74
19104 | 2022-05-20 10:58 | 56.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.2905 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.524 | 112013.4882 | 270624.9931 | 26.25 | 74
19114 | 2022-05-20 10:58 | 56.9943 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.2118 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.525 | 112039.6418 | 270608.4311 | 26.25 | 74
19124 | 2022-05-20 10:58 | 57.3282 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.2361 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.524 | 112168.5451 | 270604.8292 | 26.25 | 74
19131 | 2022-05-20 10:59 | 57.6612 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.2547 | μmol/L | 17.9924 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.521 | 112167.6702 | 270592.9536 | 26.25 | 74