## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_4 | O2 | 32092713 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:51

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-20 11:19

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
17409 | 2022-05-20 10:01 | 0 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 286.8145 | μmol/L | 17.6119 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.381 | 39497.8731 | 298864.0373 | 28.7 | 67.6
17419 | 2022-05-20 10:02 | 0.32604 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 286.6958 | μmol/L | 17.6059 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.388 | 39468.7764 | 298848.9286 | 28.7 | 67.6
17429 | 2022-05-20 10:02 | 0.65971 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 286.5813 | μmol/L | 17.6241 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.386 | 39452.465 | 298801.5084 | 28.7 | 67.6
17439 | 2022-05-20 10:02 | 0.99256 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 286.9281 | μmol/L | 17.6241 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.372 | 39427.9331 | 298754.8092 | 28.7 | 67.6
17449 | 2022-05-20 10:03 | 1.3261 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 286.8434 | μmol/L | 17.6363 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.371 | 39405.4723 | 298722.8176 | 28.7 | 67.6
17459 | 2022-05-20 10:03 | 1.6597 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 286.8434 | μmol/L | 17.6363 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.371 | 39383.706 | 298675.1826 | 28.7 | 67.6
17469 | 2022-05-20 10:03 | 1.9923 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 286.8383 | μmol/L | 17.6423 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.369 | 39382.522 | 298630.9189 | 28.7 | 67.6
17479 | 2022-05-20 10:04 | 2.3258 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 286.9768 | μmol/L | 17.6545 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.359 | 39353.3057 | 298599.6235 | 28.7 | 67.6
17489 | 2022-05-20 10:04 | 2.6593 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.3988 | μmol/L | 17.6545 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.342 | 39337.5879 | 298540.0222 | 28.7 | 67.6
17499 | 2022-05-20 10:04 | 2.9929 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.1403 | μmol/L | 17.6667 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.348 | 39320.6169 | 298500.5062 | 28.7 | 67.6
17509 | 2022-05-20 10:05 | 3.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 286.8674 | μmol/L | 17.6667 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.359 | 39298.0774 | 298465.2041 | 28.7 | 67.6
17519 | 2022-05-20 10:05 | 3.6591 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 286.8127 | μmol/L | 17.6727 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.359 | 39280.9637 | 298419.4526 | 28.7 | 67.6
17529 | 2022-05-20 10:05 | 3.9929 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.1848 | μmol/L | 17.6727 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.344 | 39259.3932 | 298372.8364 | 28.7 | 67.6
17539 | 2022-05-20 10:06 | 4.3264 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.3288 | μmol/L | 17.6788 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.336 | 39244.856 | 298347.8628 | 28.7 | 67.6
17549 | 2022-05-20 10:06 | 4.6591 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.3485 | μmol/L | 17.6849 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.333 | 39229.3459 | 298306.0537 | 28.7 | 67.6
17559 | 2022-05-20 10:06 | 4.9929 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.2192 | μmol/L | 17.691 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.336 | 39210.7819 | 298254.9829 | 28.7 | 67.6
17569 | 2022-05-20 10:07 | 5.3287 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.239 | μmol/L | 17.6971 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.333 | 39191.5863 | 298205.5547 | 28.7 | 67.6
17579 | 2022-05-20 10:07 | 5.6593 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.4079 | μmol/L | 17.7032 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.324 | 39174.4833 | 298179.7782 | 28.7 | 67.6
17589 | 2022-05-20 10:07 | 5.9923 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.4022 | μmol/L | 17.7032 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.324 | 39161.7395 | 298141.0059 | 28.7 | 67.6
17599 | 2022-05-20 10:08 | 6.3261 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.2537 | μmol/L | 17.7092 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.328 | 39132.6596 | 298089.8523 | 28.7 | 67.6
17609 | 2022-05-20 10:08 | 6.659 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.3673 | μmol/L | 17.7153 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.321 | 39124.9869 | 298052.4138 | 28.7 | 67.6
17619 | 2022-05-20 10:08 | 6.9929 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.4425 | μmol/L | 17.7214 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.316 | 39099.931 | 298016.8665 | 28.7 | 67.6
17629 | 2022-05-20 10:09 | 7.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.4419 | μmol/L | 17.7153 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.318 | 39086.6389 | 297967.9952 | 28.7 | 67.6
17639 | 2022-05-20 10:09 | 7.6594 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.3323 | μmol/L | 17.7275 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.318 | 39069.5443 | 297934.3184 | 28.7 | 67.6
17649 | 2022-05-20 10:09 | 7.9925 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.5618 | μmol/L | 17.7275 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.309 | 39057.9739 | 297891.8438 | 28.7 | 67.6
17659 | 2022-05-20 10:10 | 8.326 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.7061 | μmol/L | 17.7336 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.301 | 39041.4697 | 297869.9761 | 28.7 | 67.6
17669 | 2022-05-20 10:10 | 8.6595 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.502 | μmol/L | 17.7396 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.307 | 39031.615 | 297824.5375 | 28.7 | 67.6
17679 | 2022-05-20 10:10 | 8.993 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.502 | μmol/L | 17.7396 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.307 | 39012.8192 | 297778.6639 | 28.7 | 67.6
17689 | 2022-05-20 10:11 | 9.326 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.5219 | μmol/L | 17.7457 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.304 | 38994.3282 | 297761.9225 | 28.7 | 67.6
17699 | 2022-05-20 10:11 | 9.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.566 | μmol/L | 17.7457 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.302 | 38986.5789 | 297729.6408 | 28.7 | 67.6
17709 | 2022-05-20 10:11 | 9.9931 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.3626 | μmol/L | 17.7579 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.306 | 38972.1662 | 297700.1845 | 28.7 | 67.6
17719 | 2022-05-20 10:12 | 10.3262 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.721 | μmol/L | 17.7457 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.296 | 38957.1839 | 297647.5686 | 28.7 | 67.6
17729 | 2022-05-20 10:12 | 10.659 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.6313 | μmol/L | 17.764 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.293 | 38942.1302 | 297619.8511 | 28.7 | 67.6
17739 | 2022-05-20 10:12 | 10.9926 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.5709 | μmol/L | 17.77 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.293 | 38925.9157 | 297593.1127 | 28.7 | 67.6
17749 | 2022-05-20 10:13 | 11.3264 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.6562 | μmol/L | 17.764 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.292 | 38919.7265 | 297564.5581 | 28.7 | 67.6
17759 | 2022-05-20 10:13 | 11.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.701 | μmol/L | 17.77 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.288 | 38899.8836 | 297522.9585 | 28.7 | 67.6
17769 | 2022-05-20 10:13 | 11.9929 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.4962 | μmol/L | 17.77 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.296 | 38892.5692 | 297514.7622 | 28.7 | 67.6
17779 | 2022-05-20 10:14 | 12.3259 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.7957 | μmol/L | 17.7761 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.282 | 38873.2068 | 297462.0302 | 28.7 | 67.6
17789 | 2022-05-20 10:14 | 12.6594 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.6904 | μmol/L | 17.7761 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.286 | 38854.8167 | 297426.6086 | 28.7 | 67.6
17799 | 2022-05-20 10:14 | 12.9925 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.7303 | μmol/L | 17.7883 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.28 | 38850.2194 | 297416.6607 | 28.7 | 67.6
17809 | 2022-05-20 10:15 | 13.326 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.711 | μmol/L | 17.7883 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.281 | 38835.7642 | 297366.4907 | 28.7 | 67.6
17819 | 2022-05-20 10:15 | 13.6595 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.1042 | μmol/L | 17.7883 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.265 | 38820.1443 | 297353.4998 | 28.7 | 67.6
17829 | 2022-05-20 10:15 | 13.9924 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.9104 | μmol/L | 17.7883 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.273 | 38813.7818 | 297323.7811 | 28.7 | 67.6
17839 | 2022-05-20 10:16 | 14.3264 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.8805 | μmol/L | 17.7944 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.272 | 38803.3972 | 297288.4396 | 28.7 | 67.6
17849 | 2022-05-20 10:16 | 14.6593 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.9447 | μmol/L | 17.8004 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.267 | 38788.4864 | 297257.6224 | 28.7 | 67.6
17859 | 2022-05-20 10:16 | 14.9929 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.9746 | μmol/L | 17.7944 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.268 | 38781.3937 | 297235.3278 | 28.7 | 67.6
17869 | 2022-05-20 10:17 | 15.3259 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.845 | μmol/L | 17.8004 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.271 | 38764.0561 | 297210.9128 | 28.7 | 67.6
17879 | 2022-05-20 10:17 | 15.6596 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.9348 | μmol/L | 17.8126 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.263 | 38753.6387 | 297165.3772 | 28.7 | 67.6
17889 | 2022-05-20 10:17 | 15.9926 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.9348 | μmol/L | 17.8126 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.263 | 38740.1279 | 297143.1703 | 28.7 | 67.6
17899 | 2022-05-20 10:18 | 16.3262 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.0395 | μmol/L | 17.8065 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.261 | 38727.1251 | 297120.8859 | 28.7 | 67.6
17909 | 2022-05-20 10:18 | 16.6593 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.0297 | μmol/L | 17.8187 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.257 | 38709.4285 | 297081.7414 | 28.7 | 67.6
17919 | 2022-05-20 10:18 | 16.9923 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.1593 | μmol/L | 17.8126 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.254 | 38699.3709 | 297056.3541 | 28.7 | 67.6
17929 | 2022-05-20 10:19 | 17.3259 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.2293 | μmol/L | 17.8187 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.249 | 38687.4833 | 297028.3666 | 28.7 | 67.6
17939 | 2022-05-20 10:19 | 17.6595 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.9499 | μmol/L | 17.8248 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.258 | 38674.2789 | 296986.752 | 28.7 | 67.6
17949 | 2022-05-20 10:19 | 17.9924 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.9749 | μmol/L | 17.8248 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.257 | 38663.2876 | 296962.0216 | 28.7 | 67.6
17959 | 2022-05-20 10:20 | 18.3258 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.3243 | μmol/L | 17.8248 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.243 | 38645.6615 | 296932.7595 | 28.7 | 67.6
17969 | 2022-05-20 10:20 | 18.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.1897 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.244 | 38637.0048 | 296908.8449 | 28.7 | 67.6
17979 | 2022-05-20 10:20 | 18.993 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.4395 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.234 | 38628.675 | 296882.5496 | 28.7 | 67.6
17989 | 2022-05-20 10:21 | 19.3258 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.1647 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.245 | 38604.9121 | 296860.0269 | 28.7 | 67.6
17999 | 2022-05-20 10:21 | 19.6594 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.0101 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.249 | 38598.9459 | 296829.3481 | 28.7 | 67.6
18009 | 2022-05-20 10:21 | 19.9929 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.0052 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.247 | 38583.9591 | 296775.9517 | 28.7 | 67.6
18019 | 2022-05-20 10:22 | 20.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.2347 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.24 | 38574.3992 | 296768.1864 | 28.7 | 67.6
18029 | 2022-05-20 10:22 | 20.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.0551 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.245 | 38562.5301 | 296769.3659 | 28.7 | 67.6
18039 | 2022-05-20 10:22 | 20.9929 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.4346 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.232 | 38546.7123 | 296725.7531 | 28.7 | 67.6
18049 | 2022-05-20 10:23 | 21.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.3298 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.234 | 38543.2387 | 296706.5395 | 28.7 | 67.6
18059 | 2022-05-20 10:23 | 21.6593 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.4249 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.228 | 38526.3323 | 296688.3935 | 28.7 | 67.6
18069 | 2022-05-20 10:23 | 21.9924 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.2798 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.236 | 38517.2571 | 296654.1378 | 28.7 | 67.6
18079 | 2022-05-20 10:24 | 22.3262 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.3797 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.232 | 38508.8524 | 296651.6144 | 28.7 | 67.6
18089 | 2022-05-20 10:24 | 22.6591 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.3048 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.235 | 38498.3144 | 296611.8403 | 28.7 | 67.6
18099 | 2022-05-20 10:24 | 22.993 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.3499 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.231 | 38485.288 | 296609.1287 | 28.7 | 67.6
18109 | 2022-05-20 10:25 | 23.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.2548 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.237 | 38481.8308 | 296568.7849 | 28.7 | 67.6
18119 | 2022-05-20 10:25 | 23.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.2451 | μmol/L | 17.8613 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.233 | 38473.4231 | 296573.0561 | 28.7 | 67.6
18129 | 2022-05-20 10:25 | 23.993 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.4749 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.226 | 38467.3727 | 296548.6233 | 28.7 | 67.6
18139 | 2022-05-20 10:26 | 24.3259 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.3652 | μmol/L | 17.8673 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.226 | 38458.5578 | 296515.7393 | 28.7 | 67.6
18149 | 2022-05-20 10:26 | 24.6596 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.2403 | μmol/L | 17.8673 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.231 | 38460.1247 | 296504.8078 | 28.7 | 67.6
18159 | 2022-05-20 10:26 | 24.9924 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.3353 | μmol/L | 17.8734 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.225 | 38445.5133 | 296479.9623 | 28.7 | 67.6
18169 | 2022-05-20 10:27 | 25.3263 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.2854 | μmol/L | 17.8734 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.227 | 38444.0537 | 296459.4762 | 28.7 | 67.6
18179 | 2022-05-20 10:27 | 25.6594 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.3853 | μmol/L | 17.8734 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.223 | 38439.0975 | 296445.8457 | 28.7 | 67.6
18189 | 2022-05-20 10:27 | 25.9929 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.3555 | μmol/L | 17.8795 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.222 | 38429.4044 | 296398.5596 | 28.7 | 67.6
18199 | 2022-05-20 10:28 | 26.3258 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.1307 | μmol/L | 17.8795 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.231 | 38428.7121 | 296389.4326 | 28.7 | 67.6
18209 | 2022-05-20 10:28 | 26.6594 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.1508 | μmol/L | 17.8856 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.228 | 38415.848 | 296354.6921 | 28.7 | 67.6
18219 | 2022-05-20 10:28 | 26.993 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.4055 | μmol/L | 17.8795 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.22 | 38403.1919 | 296334.0474 | 28.7 | 67.6
18229 | 2022-05-20 10:29 | 27.3256 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.2306 | μmol/L | 17.8795 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.227 | 38390.5734 | 296334.246 | 28.7 | 67.6
18239 | 2022-05-20 10:29 | 27.6596 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.3055 | μmol/L | 17.8795 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.224 | 38387.9447 | 296307.2768 | 28.7 | 67.6
18249 | 2022-05-20 10:29 | 27.9925 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.1508 | μmol/L | 17.8856 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.228 | 38367.8785 | 296269.5193 | 28.7 | 67.6
18259 | 2022-05-20 10:30 | 28.3264 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.3555 | μmol/L | 17.8795 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.222 | 38368.6217 | 296263.2593 | 28.7 | 67.6
18269 | 2022-05-20 10:30 | 28.6596 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.2459 | μmol/L | 17.8917 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.222 | 38361.1357 | 296242.9731 | 28.7 | 67.6
18279 | 2022-05-20 10:30 | 28.9923 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.2911 | μmol/L | 17.8977 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.218 | 38360.9276 | 296235.4294 | 28.7 | 67.6
18289 | 2022-05-20 10:31 | 29.3258 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.3507 | μmol/L | 17.8856 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.22 | 38351.7572 | 296205.091 | 28.7 | 67.6
18299 | 2022-05-20 10:31 | 29.6595 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.2959 | μmol/L | 17.8917 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.22 | 38339.7496 | 296190.548 | 28.7 | 67.6
18309 | 2022-05-20 10:31 | 29.9925 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.2757 | μmol/L | 17.8856 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.223 | 38337.6362 | 296173.1819 | 28.7 | 67.6
18319 | 2022-05-20 10:32 | 30.326 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.3507 | μmol/L | 17.8856 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.22 | 38325.4337 | 296141.8038 | 28.7 | 67.6
18329 | 2022-05-20 10:32 | 30.6591 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.3958 | μmol/L | 17.8917 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.216 | 38320.175 | 296138.213 | 28.7 | 67.6
18339 | 2022-05-20 10:32 | 30.9928 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.2008 | μmol/L | 17.8856 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.226 | 38318.2647 | 296117.0668 | 28.7 | 67.6
18349 | 2022-05-20 10:33 | 31.3258 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.5911 | μmol/L | 17.8977 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.206 | 38305.1249 | 296093.2248 | 28.7 | 67.6
18359 | 2022-05-20 10:33 | 31.6594 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.366 | μmol/L | 17.8977 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.215 | 38298.5866 | 296087.7209 | 28.7 | 67.6
18369 | 2022-05-20 10:33 | 31.9926 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.391 | μmol/L | 17.8977 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.214 | 38304.4896 | 296074.3711 | 28.7 | 67.6
18379 | 2022-05-20 10:34 | 32.3263 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.4959 | μmol/L | 17.8917 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.212 | 38295.0188 | 296049.2492 | 28.7 | 67.6
18389 | 2022-05-20 10:34 | 32.6591 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.416 | μmol/L | 17.8977 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.213 | 38286.6094 | 296026.7851 | 28.7 | 67.6
18399 | 2022-05-20 10:34 | 32.9927 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.2113 | μmol/L | 17.9038 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.219 | 38276.8393 | 296001.4503 | 28.7 | 67.6
18409 | 2022-05-20 10:35 | 33.3264 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.3612 | μmol/L | 17.9038 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.213 | 38274.84 | 296000.9548 | 28.7 | 67.6
18419 | 2022-05-20 10:35 | 33.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.366 | μmol/L | 17.8977 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.215 | 38275.7151 | 295967.9758 | 28.7 | 67.6
18429 | 2022-05-20 10:35 | 33.993 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.3064 | μmol/L | 17.9099 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.213 | 38270.7544 | 295954.1279 | 28.7 | 67.6
18439 | 2022-05-20 10:36 | 34.3261 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.1565 | μmol/L | 17.9099 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.219 | 38266.926 | 295942.1092 | 28.7 | 67.6
18449 | 2022-05-20 10:36 | 34.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.1517 | μmol/L | 17.916 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.217 | 38259.2761 | 295926.5576 | 28.7 | 67.6
18459 | 2022-05-20 10:36 | 34.9929 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.2017 | μmol/L | 17.916 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.215 | 38262.7563 | 295904.1437 | 28.7 | 67.6
18469 | 2022-05-20 10:37 | 35.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.0269 | μmol/L | 17.916 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.222 | 38250.4584 | 295895.9847 | 28.7 | 67.6
18479 | 2022-05-20 10:37 | 35.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.2766 | μmol/L | 17.916 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.212 | 38248.7713 | 295884.8057 | 28.7 | 67.6
18489 | 2022-05-20 10:37 | 35.9929 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.0019 | μmol/L | 17.916 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.223 | 38248.9791 | 295878.5451 | 28.7 | 67.6
18499 | 2022-05-20 10:38 | 36.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.1066 | μmol/L | 17.9099 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.221 | 38247.2573 | 295855.1815 | 28.7 | 67.6
18509 | 2022-05-20 10:38 | 36.6594 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.1767 | μmol/L | 17.916 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.216 | 38234.3759 | 295851.9916 | 28.7 | 67.6
18519 | 2022-05-20 10:38 | 36.9923 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.047 | μmol/L | 17.9221 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.219 | 38231.109 | 295831.2123 | 28.7 | 67.6
18529 | 2022-05-20 10:39 | 37.326 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.2017 | μmol/L | 17.916 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.215 | 38227.4226 | 295822.5194 | 28.7 | 67.6
18539 | 2022-05-20 10:39 | 37.6589 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.097 | μmol/L | 17.9221 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.217 | 38223.6389 | 295818.9999 | 28.7 | 67.6
18549 | 2022-05-20 10:39 | 37.9926 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.097 | μmol/L | 17.9221 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.217 | 38216.5403 | 295786.7295 | 28.7 | 67.6
18559 | 2022-05-20 10:40 | 38.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.122 | μmol/L | 17.9221 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.216 | 38218.7528 | 295766.91 | 28.7 | 67.6
18569 | 2022-05-20 10:40 | 38.6594 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.1018 | μmol/L | 17.916 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.219 | 38213.6793 | 295759.1255 | 28.7 | 67.6
18579 | 2022-05-20 10:40 | 38.9923 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.0672 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.216 | 38208.7649 | 295746.4939 | 28.7 | 67.6
18589 | 2022-05-20 10:41 | 39.3263 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.1469 | μmol/L | 17.9221 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.215 | 38206.7412 | 295743.1879 | 28.7 | 67.6
18599 | 2022-05-20 10:41 | 39.6591 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.9971 | μmol/L | 17.9221 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.221 | 38194.1098 | 295720.7298 | 28.7 | 67.6
18609 | 2022-05-20 10:41 | 39.993 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.8426 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.225 | 38191.8447 | 295716.3054 | 28.7 | 67.6
18619 | 2022-05-20 10:42 | 40.326 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.8676 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.224 | 38189.7416 | 295693.598 | 28.7 | 67.6
18629 | 2022-05-20 10:42 | 40.6593 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.9175 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.222 | 38192.3635 | 295671.6105 | 28.7 | 67.6
18639 | 2022-05-20 10:42 | 40.993 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.6134 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.232 | 38184.8133 | 295678.2595 | 28.7 | 67.6
18649 | 2022-05-20 10:43 | 41.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.6633 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.23 | 38188.4637 | 295662.3471 | 28.7 | 67.6
18659 | 2022-05-20 10:43 | 41.6594 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.7832 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.223 | 38181.4955 | 295658.2636 | 28.7 | 67.6
18669 | 2022-05-20 10:43 | 41.9923 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 288.0423 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.217 | 38179.1593 | 295630.2319 | 28.7 | 67.6
18679 | 2022-05-20 10:44 | 42.3261 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.7879 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.225 | 38172.1925 | 295631.5836 | 28.7 | 67.6
18689 | 2022-05-20 10:44 | 42.6589 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.6134 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.232 | 38165.3306 | 295610.126 | 28.7 | 67.6
18699 | 2022-05-20 10:44 | 42.9931 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.8877 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.221 | 38165.4779 | 295601.6207 | 28.7 | 67.6
18709 | 2022-05-20 10:45 | 43.3261 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.8129 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.224 | 38159.5768 | 295580.7451 | 28.7 | 67.6
18719 | 2022-05-20 10:45 | 43.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.833 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.221 | 38156.3253 | 295561.7503 | 28.7 | 67.6
18729 | 2022-05-20 10:45 | 43.9931 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.6633 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.23 | 38158.6205 | 295562.4913 | 28.7 | 67.6
18739 | 2022-05-20 10:46 | 44.3259 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.7582 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.224 | 38145.9326 | 295532.4559 | 28.7 | 67.6
18749 | 2022-05-20 10:46 | 44.6594 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.8081 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.222 | 38146.291 | 295519.5585 | 28.7 | 67.6
18759 | 2022-05-20 10:46 | 44.993 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.7083 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.226 | 38147.497 | 295524.298 | 28.7 | 67.6
18769 | 2022-05-20 10:47 | 45.3264 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.6834 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.227 | 38140.0659 | 295505.0783 | 28.7 | 67.6
18779 | 2022-05-20 10:47 | 45.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.5837 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.231 | 38130.3522 | 295487.3328 | 28.7 | 67.6
18789 | 2022-05-20 10:47 | 45.9929 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.4045 | μmol/L | 17.9464 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.236 | 38127.1268 | 295491.5048 | 28.7 | 67.6
18799 | 2022-05-20 10:48 | 46.326 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.6585 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.228 | 38124.6141 | 295469.749 | 28.7 | 67.6
18809 | 2022-05-20 10:48 | 46.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.7083 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.226 | 38121.8518 | 295461.8564 | 28.7 | 67.6
18819 | 2022-05-20 10:48 | 46.9927 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.6537 | μmol/L | 17.9464 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.226 | 38129.9407 | 295449.0941 | 28.7 | 67.6
18829 | 2022-05-20 10:49 | 47.3261 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.6739 | μmol/L | 17.9525 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.223 | 38124.4219 | 295444.0742 | 28.7 | 67.6
18839 | 2022-05-20 10:49 | 47.6597 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.7534 | μmol/L | 17.9464 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.222 | 38114.1419 | 295422.0378 | 28.7 | 67.6
18849 | 2022-05-20 10:49 | 47.9928 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.624 | μmol/L | 17.9525 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.225 | 38115.387 | 295419.1346 | 28.7 | 67.6
18859 | 2022-05-20 10:50 | 48.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.6288 | μmol/L | 17.9464 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.227 | 38114.942 | 295400.5771 | 28.7 | 67.6
18869 | 2022-05-20 10:50 | 48.6595 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.624 | μmol/L | 17.9525 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.225 | 38112.0031 | 295396.1639 | 28.7 | 67.6
18879 | 2022-05-20 10:50 | 48.9925 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.5445 | μmol/L | 17.9586 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.226 | 38105.4813 | 295396.5844 | 28.7 | 67.6
18889 | 2022-05-20 10:51 | 49.3264 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.5492 | μmol/L | 17.9525 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.228 | 38097.5772 | 295381.4402 | 28.7 | 67.6
18899 | 2022-05-20 10:51 | 49.6595 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.5991 | μmol/L | 17.9525 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.226 | 38095.8296 | 295369.6793 | 28.7 | 67.6
18909 | 2022-05-20 10:51 | 49.993 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.6739 | μmol/L | 17.9525 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.223 | 38092.7927 | 295366.1029 | 28.7 | 67.6
18919 | 2022-05-20 10:52 | 50.3257 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.5196 | μmol/L | 17.9586 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.227 | 38086.2614 | 295350.3689 | 28.7 | 67.6
18929 | 2022-05-20 10:52 | 50.6597 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.5445 | μmol/L | 17.9586 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.226 | 38084.8479 | 295350.1405 | 28.7 | 67.6
18939 | 2022-05-20 10:52 | 50.9928 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.5492 | μmol/L | 17.9525 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.228 | 38086.4697 | 295343.9244 | 28.7 | 67.6
18949 | 2022-05-20 10:53 | 51.3264 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.719 | μmol/L | 17.9586 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.219 | 38082.7971 | 295326.2296 | 28.7 | 67.6
18959 | 2022-05-20 10:53 | 51.6595 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.7439 | μmol/L | 17.9586 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.218 | 38073.4376 | 295322.8854 | 28.7 | 67.6
18969 | 2022-05-20 10:53 | 51.993 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.3251 | μmol/L | 17.9525 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.237 | 38072.9285 | 295309.372 | 28.7 | 67.6
18979 | 2022-05-20 10:54 | 52.326 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.5196 | μmol/L | 17.9586 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.227 | 38066.3536 | 295296.1999 | 28.7 | 67.6
18989 | 2022-05-20 10:54 | 52.6597 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.6691 | μmol/L | 17.9586 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.221 | 38064.0255 | 295266.4229 | 28.7 | 67.6
18999 | 2022-05-20 10:54 | 52.9925 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.6192 | μmol/L | 17.9586 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.223 | 38060.3758 | 295266.1542 | 28.7 | 67.6
19009 | 2022-05-20 10:55 | 53.3264 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.7392 | μmol/L | 17.9646 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.216 | 38052.0384 | 295244.1216 | 28.7 | 67.6
19019 | 2022-05-20 10:55 | 53.6592 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.6192 | μmol/L | 17.9586 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.223 | 38053.5684 | 295236.0118 | 28.7 | 67.6
19029 | 2022-05-20 10:55 | 53.9927 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.6691 | μmol/L | 17.9586 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.221 | 38047.3958 | 295214.6863 | 28.7 | 67.6
19039 | 2022-05-20 10:56 | 54.3263 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.7439 | μmol/L | 17.9586 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.218 | 38046.7652 | 295188.7944 | 28.7 | 67.6
19049 | 2022-05-20 10:56 | 54.6595 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.4946 | μmol/L | 17.9586 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.228 | 38045.6211 | 295187.0984 | 28.7 | 67.6
19059 | 2022-05-20 10:56 | 54.9924 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.4697 | μmol/L | 17.9586 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.229 | 38036.3699 | 295161.0766 | 28.7 | 67.6
19069 | 2022-05-20 10:57 | 55.3262 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.7439 | μmol/L | 17.9586 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.218 | 38026.8388 | 295149.1641 | 28.7 | 67.6
19079 | 2022-05-20 10:57 | 55.6589 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.6739 | μmol/L | 17.9525 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.223 | 38029.8964 | 295132.9193 | 28.7 | 67.6
19089 | 2022-05-20 10:57 | 55.9924 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.6442 | μmol/L | 17.9586 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.222 | 38023.0945 | 295115.34 | 28.7 | 67.6
19099 | 2022-05-20 10:58 | 56.3259 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.465 | μmol/L | 17.9646 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.227 | 37999.371 | 295107.6128 | 28.7 | 67.6
19109 | 2022-05-20 10:58 | 56.6594 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.465 | μmol/L | 17.9646 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.227 | 38001.4985 | 295091.9882 | 28.7 | 67.6
19119 | 2022-05-20 10:58 | 56.9928 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.2906 | μmol/L | 17.9646 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.234 | 37996.6673 | 295093.2176 | 28.7 | 67.6
19129 | 2022-05-20 10:59 | 57.3259 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.5101 | μmol/L | 17.9707 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.223 | 37993.2092 | 295063.9496 | 28.7 | 67.6