## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_7 | O2 | 690909578 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:57

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-19 15:01

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
13578 | 2022-05-19 13:54 | 0 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.5926 | μmol/L | 18.5588 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.332 | 125275.5794 | 289573.8769 | 59.9307 | 49.4
13588 | 2022-05-19 13:54 | 0.33033 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.418 | μmol/L | 18.5649 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.337 | 125321.5693 | 289584.6849 | 59.9307 | 49.4
13598 | 2022-05-19 13:55 | 0.66295 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.3262 | μmol/L | 18.5588 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.343 | 125337.7919 | 289554.8734 | 59.9307 | 49.4
13608 | 2022-05-19 13:55 | 0.99697 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.1811 | μmol/L | 18.5588 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.349 | 125374.6905 | 289561.3875 | 59.9307 | 49.4
13618 | 2022-05-19 13:55 | 1.3301 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.0411 | μmol/L | 18.5526 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.357 | 125400.8532 | 289536.7721 | 59.9307 | 49.4
13628 | 2022-05-19 13:56 | 1.6632 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.8619 | μmol/L | 18.5649 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.36 | 125425.1506 | 289528.922 | 59.9307 | 49.4
13638 | 2022-05-19 13:56 | 1.9966 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.7513 | μmol/L | 18.5526 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.369 | 125450.8228 | 289519.9633 | 59.9307 | 49.4
13648 | 2022-05-19 13:56 | 2.3301 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.6497 | μmol/L | 18.5588 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.371 | 125471.9039 | 289507.85 | 59.9307 | 49.4
13658 | 2022-05-19 13:57 | 2.6634 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.5341 | μmol/L | 18.5526 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.378 | 125481.6876 | 289503.7669 | 59.9307 | 49.4
13668 | 2022-05-19 13:57 | 2.9966 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.4377 | μmol/L | 18.5526 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.382 | 125513.0413 | 289506.0191 | 59.9307 | 49.4
13678 | 2022-05-19 13:57 | 3.33 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.3895 | μmol/L | 18.5526 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.384 | 125525.7546 | 289513.5715 | 59.9307 | 49.4
13688 | 2022-05-19 13:58 | 3.6633 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.4771 | μmol/L | 18.5341 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.387 | 125542.655 | 289487.5127 | 59.9307 | 49.4
13698 | 2022-05-19 13:58 | 3.9965 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.2792 | μmol/L | 18.5403 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.393 | 125557.6736 | 289484.6601 | 59.9307 | 49.4
13708 | 2022-05-19 13:58 | 4.3298 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.1778 | μmol/L | 18.5464 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.395 | 125576.3576 | 289475.1151 | 59.9307 | 49.4
13718 | 2022-05-19 13:59 | 4.6629 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.1639 | μmol/L | 18.5341 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.4 | 125592.1497 | 289482.9454 | 59.9307 | 49.4
13728 | 2022-05-19 13:59 | 4.9969 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.1449 | μmol/L | 18.5279 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.403 | 125599.5672 | 289443.9239 | 59.9307 | 49.4
13738 | 2022-05-19 13:59 | 5.3301 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.1019 | μmol/L | 18.5217 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.407 | 125610.2219 | 289438.8439 | 59.9307 | 49.4
13748 | 2022-05-19 14:00 | 5.6633 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.083 | μmol/L | 18.5156 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.41 | 125622.9939 | 289425.1504 | 59.9307 | 49.4
13758 | 2022-05-19 14:00 | 5.9967 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.0057 | μmol/L | 18.5217 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.411 | 125642.1204 | 289423.0541 | 59.9307 | 49.4
13768 | 2022-05-19 14:00 | 6.3298 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.9387 | μmol/L | 18.5156 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.416 | 125652.6665 | 289421.192 | 59.9307 | 49.4
13778 | 2022-05-19 14:01 | 6.6631 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.8906 | μmol/L | 18.5156 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.418 | 125663.4989 | 289418.6255 | 59.9307 | 49.4
13788 | 2022-05-19 14:01 | 6.9964 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.973 | μmol/L | 18.5032 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.419 | 125669.9505 | 289404.0321 | 59.9307 | 49.4
13798 | 2022-05-19 14:01 | 7.3303 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.8339 | μmol/L | 18.4971 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.427 | 125679.1225 | 289392.2361 | 59.9307 | 49.4
13808 | 2022-05-19 14:02 | 7.6635 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.93 | μmol/L | 18.4971 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.423 | 125687.5994 | 289379.5154 | 59.9307 | 49.4
13818 | 2022-05-19 14:02 | 7.9966 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.8391 | μmol/L | 18.4909 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.429 | 125699.5985 | 289383.6137 | 59.9307 | 49.4
13828 | 2022-05-19 14:02 | 8.3299 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.743 | μmol/L | 18.4909 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.433 | 125703.3987 | 289370.0646 | 59.9307 | 49.4
13838 | 2022-05-19 14:03 | 8.6631 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.6658 | μmol/L | 18.4971 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.434 | 125716.7411 | 289360.5458 | 59.9307 | 49.4
13848 | 2022-05-19 14:03 | 8.9964 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.6761 | μmol/L | 18.4847 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.438 | 125711.8564 | 289378.3988 | 59.9307 | 49.4
13858 | 2022-05-19 14:03 | 9.3296 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.7877 | μmol/L | 18.4662 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.44 | 125722.9949 | 289345.6191 | 59.9307 | 49.4
13868 | 2022-05-19 14:04 | 9.6629 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.7585 | μmol/L | 18.4724 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.439 | 125719.2458 | 289345.7862 | 59.9307 | 49.4
13878 | 2022-05-19 14:04 | 9.997 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.7448 | μmol/L | 18.46 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.444 | 125735.0262 | 289347.7769 | 59.9307 | 49.4
13888 | 2022-05-19 14:04 | 10.3303 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.6436 | μmol/L | 18.4662 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.446 | 125726.5461 | 289324.714 | 59.9307 | 49.4
13898 | 2022-05-19 14:05 | 10.6636 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.6248 | μmol/L | 18.46 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.449 | 125739.1368 | 289342.7644 | 59.9307 | 49.4
13908 | 2022-05-19 14:05 | 10.9966 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.63 | μmol/L | 18.4539 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.451 | 125741.9135 | 289315.1211 | 59.9307 | 49.4
13918 | 2022-05-19 14:05 | 11.3298 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.558 | μmol/L | 18.4539 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.454 | 125750.9532 | 289337.586 | 59.9307 | 49.4
13928 | 2022-05-19 14:06 | 11.6632 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.5392 | μmol/L | 18.4477 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.457 | 125748.2395 | 289301.0745 | 59.9307 | 49.4
13938 | 2022-05-19 14:06 | 11.9963 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.6164 | μmol/L | 18.4415 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.456 | 125762.6119 | 289314.8632 | 59.9307 | 49.4
13948 | 2022-05-19 14:06 | 12.3295 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.4485 | μmol/L | 18.4415 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.463 | 125761.0882 | 289297.0672 | 59.9307 | 49.4
13958 | 2022-05-19 14:07 | 12.6636 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.5257 | μmol/L | 18.4354 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.462 | 125767.124 | 289292.516 | 59.9307 | 49.4
13968 | 2022-05-19 14:07 | 12.9967 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.5549 | μmol/L | 18.4292 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.463 | 125760.5881 | 289270.2831 | 59.9307 | 49.4
13978 | 2022-05-19 14:07 | 13.3299 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.5257 | μmol/L | 18.4354 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.462 | 125784.145 | 289291.5827 | 59.9307 | 49.4
13988 | 2022-05-19 14:08 | 13.663 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.5069 | μmol/L | 18.4292 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.465 | 125775.4512 | 289255.7379 | 59.9307 | 49.4
13998 | 2022-05-19 14:08 | 13.9969 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.5841 | μmol/L | 18.423 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.464 | 125788.0492 | 289264.7478 | 59.9307 | 49.4
14008 | 2022-05-19 14:08 | 14.3302 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.4162 | μmol/L | 18.423 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.471 | 125788.8438 | 289244.6094 | 59.9307 | 49.4
14018 | 2022-05-19 14:09 | 14.6634 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.3683 | μmol/L | 18.423 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.473 | 125804.2791 | 289253.7419 | 59.9307 | 49.4
14028 | 2022-05-19 14:09 | 14.9968 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.4507 | μmol/L | 18.4107 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.474 | 125806.8097 | 289237.8472 | 59.9307 | 49.4
14038 | 2022-05-19 14:09 | 15.3301 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.4694 | μmol/L | 18.4169 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.471 | 125807.5124 | 289239.0737 | 59.9307 | 49.4
14048 | 2022-05-19 14:10 | 15.6636 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.3548 | μmol/L | 18.4107 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.478 | 125801.7243 | 289250.8747 | 59.9307 | 49.4
14058 | 2022-05-19 14:10 | 15.9963 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.408 | μmol/L | 18.4045 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.478 | 125806.604 | 289231.1057 | 59.9307 | 49.4
14068 | 2022-05-19 14:10 | 16.3298 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.3893 | μmol/L | 18.3983 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.481 | 125810.9869 | 289216.8716 | 59.9307 | 49.4
14078 | 2022-05-19 14:11 | 16.6631 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.2642 | μmol/L | 18.4045 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.484 | 125809.5916 | 289210.1131 | 59.9307 | 49.4
14088 | 2022-05-19 14:11 | 16.9964 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.3467 | μmol/L | 18.3922 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.485 | 125814.8793 | 289207.2059 | 59.9307 | 49.4
14098 | 2022-05-19 14:11 | 17.3297 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.3174 | μmol/L | 18.3983 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.484 | 125692.282 | 289194.5791 | 59.9307 | 49.4
14108 | 2022-05-19 14:12 | 17.6634 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.2508 | μmol/L | 18.3922 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.489 | 125682.5055 | 289193.417 | 59.9307 | 49.4
14118 | 2022-05-19 14:12 | 17.9966 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.2508 | μmol/L | 18.3922 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.489 | 125690.1242 | 289159.3826 | 59.9307 | 49.4
14128 | 2022-05-19 14:12 | 18.3302 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.2269 | μmol/L | 18.3922 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.49 | 125690.4933 | 289155.7355 | 59.9307 | 49.4
14138 | 2022-05-19 14:13 | 18.6629 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.2322 | μmol/L | 18.386 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.492 | 125703.3996 | 289163.69 | 59.9307 | 49.4
14148 | 2022-05-19 14:13 | 18.9966 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.2082 | μmol/L | 18.386 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.493 | 125706.7831 | 289180.025 | 59.9307 | 49.4
14158 | 2022-05-19 14:13 | 19.33 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.2082 | μmol/L | 18.386 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.493 | 125706.2124 | 289167.1259 | 59.9307 | 49.4
14168 | 2022-05-19 14:14 | 19.6635 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.3386 | μmol/L | 18.3737 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.492 | 125701.0955 | 289143.616 | 59.9307 | 49.4
14178 | 2022-05-19 14:14 | 19.9968 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.2188 | μmol/L | 18.3737 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.497 | 125712.1735 | 289149.1743 | 59.9307 | 49.4
14188 | 2022-05-19 14:14 | 20.3295 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.1949 | μmol/L | 18.3737 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.498 | 125713.528 | 289154.8743 | 59.9307 | 49.4
14198 | 2022-05-19 14:15 | 20.6629 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.2241 | μmol/L | 18.3675 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.499 | 125713.6618 | 289157.2689 | 59.9307 | 49.4
14208 | 2022-05-19 14:15 | 20.9965 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.1709 | μmol/L | 18.3737 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.499 | 125721.6139 | 289138.4434 | 59.9307 | 49.4
14218 | 2022-05-19 14:15 | 21.3302 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.1044 | μmol/L | 18.3675 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.504 | 125728.0129 | 289137.9043 | 59.9307 | 49.4
14228 | 2022-05-19 14:16 | 21.6636 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.2587 | μmol/L | 18.3552 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.502 | 125728.0563 | 289113.3716 | 59.9307 | 49.4
14238 | 2022-05-19 14:16 | 21.9962 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.1337 | μmol/L | 18.3613 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.505 | 125727.1864 | 289125.6522 | 59.9307 | 49.4
14248 | 2022-05-19 14:16 | 22.3296 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.2108 | μmol/L | 18.3552 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.504 | 125732.4281 | 289119.6078 | 59.9307 | 49.4
14258 | 2022-05-19 14:17 | 22.6631 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.2401 | μmol/L | 18.349 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.505 | 125735.9062 | 289121.1656 | 59.9307 | 49.4
14268 | 2022-05-19 14:17 | 22.9965 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.1443 | μmol/L | 18.349 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.509 | 125735.937 | 289107.4473 | 59.9307 | 49.4
14278 | 2022-05-19 14:17 | 23.3301 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.1204 | μmol/L | 18.349 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.51 | 125731.837 | 289102.0144 | 59.9307 | 49.4
14288 | 2022-05-19 14:18 | 23.6635 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.0725 | μmol/L | 18.349 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.512 | 125733.9359 | 289085.1541 | 59.9307 | 49.4
14298 | 2022-05-19 14:18 | 23.997 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.2215 | μmol/L | 18.3428 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.508 | 125738.2857 | 289083.2091 | 59.9307 | 49.4
14308 | 2022-05-19 14:18 | 24.3297 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.1789 | μmol/L | 18.3366 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.512 | 125732.0747 | 289082.4725 | 59.9307 | 49.4
14318 | 2022-05-19 14:19 | 24.6632 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.1071 | μmol/L | 18.3366 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.515 | 125735.009 | 289086.1178 | 59.9307 | 49.4
14328 | 2022-05-19 14:19 | 24.997 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.2561 | μmol/L | 18.3305 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.511 | 125732.699 | 289051.0908 | 59.9307 | 49.4
14338 | 2022-05-19 14:19 | 25.3296 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.0593 | μmol/L | 18.3366 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.517 | 125736.925 | 289085.4339 | 59.9307 | 49.4
14348 | 2022-05-19 14:20 | 25.6631 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.0886 | μmol/L | 18.3305 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.518 | 125726.5237 | 289043.8786 | 59.9307 | 49.4
14358 | 2022-05-19 14:20 | 25.9966 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.0886 | μmol/L | 18.3305 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.518 | 125738.3178 | 289048.2516 | 59.9307 | 49.4
14368 | 2022-05-19 14:20 | 26.3299 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.1178 | μmol/L | 18.3243 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.519 | 125733.81 | 289042.1782 | 59.9307 | 49.4
14378 | 2022-05-19 14:21 | 26.6634 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.0993 | μmol/L | 18.3181 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.522 | 125739.3044 | 289041.2632 | 59.9307 | 49.4
14388 | 2022-05-19 14:21 | 26.997 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.1364 | μmol/L | 18.3305 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.516 | 125738.3442 | 289026.9012 | 59.9307 | 49.4
14398 | 2022-05-19 14:21 | 27.3298 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.0407 | μmol/L | 18.3305 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.52 | 125738.6283 | 289019.4267 | 59.9307 | 49.4
14408 | 2022-05-19 14:22 | 27.6633 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.9504 | μmol/L | 18.3243 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.526 | 125735.7761 | 289000.8348 | 59.9307 | 49.4
14418 | 2022-05-19 14:22 | 27.9966 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.0754 | μmol/L | 18.3181 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.523 | 125741.4274 | 289013.8487 | 59.9307 | 49.4
14428 | 2022-05-19 14:22 | 28.3302 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.0993 | μmol/L | 18.3181 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.522 | 125735.7338 | 289023.7621 | 59.9307 | 49.4
14438 | 2022-05-19 14:23 | 28.6631 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.9797 | μmol/L | 18.3181 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.527 | 125734.5893 | 288996.348 | 59.9307 | 49.4
14448 | 2022-05-19 14:23 | 28.9964 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.0568 | μmol/L | 18.312 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.526 | 125736.0036 | 289003.1888 | 59.9307 | 49.4
14458 | 2022-05-19 14:23 | 29.3299 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.009 | μmol/L | 18.312 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.528 | 125735.6359 | 288985.6964 | 59.9307 | 49.4
14468 | 2022-05-19 14:24 | 29.663 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.0861 | μmol/L | 18.3058 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.527 | 125733.1783 | 288996.1741 | 59.9307 | 49.4
14478 | 2022-05-19 14:24 | 29.9965 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.11 | μmol/L | 18.3058 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.526 | 125727.5787 | 288985.5922 | 59.9307 | 49.4
14488 | 2022-05-19 14:24 | 30.3301 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.0144 | μmol/L | 18.3058 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.53 | 125723.7284 | 288963.6587 | 59.9307 | 49.4
14498 | 2022-05-19 14:25 | 30.6635 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.9905 | μmol/L | 18.3058 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.531 | 125718.7349 | 288965.2062 | 59.9307 | 49.4
14508 | 2022-05-19 14:25 | 30.9962 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.9665 | μmol/L | 18.3058 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.532 | 125735.5001 | 288976.1887 | 59.9307 | 49.4
14518 | 2022-05-19 14:25 | 31.3301 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.9905 | μmol/L | 18.3058 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.531 | 125714.861 | 288957.1403 | 59.9307 | 49.4
14528 | 2022-05-19 14:26 | 31.6629 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.8763 | μmol/L | 18.2996 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.538 | 125717.0503 | 288965.5034 | 59.9307 | 49.4
14538 | 2022-05-19 14:26 | 31.9964 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.0012 | μmol/L | 18.2935 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.535 | 125713.6652 | 288943.3804 | 59.9307 | 49.4
14548 | 2022-05-19 14:26 | 32.3302 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.9719 | μmol/L | 18.2996 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.534 | 125706.3811 | 288933.5027 | 59.9307 | 49.4
14558 | 2022-05-19 14:27 | 32.6637 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.0012 | μmol/L | 18.2935 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.535 | 125716.2152 | 288950.0341 | 59.9307 | 49.4
14568 | 2022-05-19 14:27 | 32.9963 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.073 | μmol/L | 18.2935 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.532 | 125702.1692 | 288928.2541 | 59.9307 | 49.4
14578 | 2022-05-19 14:27 | 33.3295 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.9773 | μmol/L | 18.2935 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.536 | 125705.5516 | 288927.2443 | 59.9307 | 49.4
14588 | 2022-05-19 14:28 | 33.6629 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.0066 | μmol/L | 18.2873 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.537 | 125705.5836 | 288933.3438 | 59.9307 | 49.4
14598 | 2022-05-19 14:28 | 33.9963 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.9827 | μmol/L | 18.2873 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.538 | 125706.4143 | 288924.2323 | 59.9307 | 49.4
14608 | 2022-05-19 14:28 | 34.3303 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.9642 | μmol/L | 18.2811 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.541 | 125694.8002 | 288921.2826 | 59.9307 | 49.4
14618 | 2022-05-19 14:29 | 34.6629 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.0359 | μmol/L | 18.2811 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.538 | 125700.078 | 288916.6988 | 59.9307 | 49.4
14628 | 2022-05-19 14:29 | 34.9963 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.9164 | μmol/L | 18.2811 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.543 | 125699.8311 | 288897.0091 | 59.9307 | 49.4
14638 | 2022-05-19 14:29 | 35.33 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.911 | μmol/L | 18.2873 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.541 | 125699.2028 | 288893.5239 | 59.9307 | 49.4
14648 | 2022-05-19 14:30 | 35.6636 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.9935 | μmol/L | 18.2749 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.542 | 125699.2635 | 288903.1466 | 59.9307 | 49.4
14658 | 2022-05-19 14:30 | 35.997 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.8686 | μmol/L | 18.2811 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.545 | 125699.3922 | 288887.2372 | 59.9307 | 49.4
14668 | 2022-05-19 14:30 | 36.3303 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.9642 | μmol/L | 18.2811 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.541 | 125685.3191 | 288894.0377 | 59.9307 | 49.4
14678 | 2022-05-19 14:31 | 36.6629 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.8741 | μmol/L | 18.2749 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.547 | 125692.6898 | 288884.5583 | 59.9307 | 49.4
14688 | 2022-05-19 14:31 | 36.9964 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.9218 | μmol/L | 18.2749 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.545 | 125693.5719 | 288878.4793 | 59.9307 | 49.4
14698 | 2022-05-19 14:31 | 37.3297 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.8502 | μmol/L | 18.2749 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.548 | 125693.054 | 288878.4578 | 59.9307 | 49.4
14708 | 2022-05-19 14:32 | 37.663 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.8741 | μmol/L | 18.2749 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.547 | 125686.1956 | 288881.2886 | 59.9307 | 49.4
14718 | 2022-05-19 14:32 | 37.9964 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.8795 | μmol/L | 18.2688 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.549 | 125684.8814 | 288850.483 | 59.9307 | 49.4
14728 | 2022-05-19 14:32 | 38.3297 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.9218 | μmol/L | 18.2749 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.545 | 125688.9996 | 288848.7879 | 59.9307 | 49.4
14738 | 2022-05-19 14:33 | 38.6631 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.861 | μmol/L | 18.2626 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.552 | 125690.5325 | 288848.7014 | 59.9307 | 49.4
14748 | 2022-05-19 14:33 | 38.9967 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.9088 | μmol/L | 18.2626 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.55 | 125680.2084 | 288829.7544 | 59.9307 | 49.4
14758 | 2022-05-19 14:33 | 39.3302 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.8849 | μmol/L | 18.2626 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.551 | 125686.2784 | 288840.1902 | 59.9307 | 49.4
14768 | 2022-05-19 14:34 | 39.6634 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.8317 | μmol/L | 18.2688 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.551 | 125689.9706 | 288841.8652 | 59.9307 | 49.4
14778 | 2022-05-19 14:34 | 39.9969 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.8849 | μmol/L | 18.2626 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.551 | 125676.0164 | 288825.7163 | 59.9307 | 49.4
14788 | 2022-05-19 14:34 | 40.3298 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.8849 | μmol/L | 18.2626 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.551 | 125685.9932 | 288823.2702 | 59.9307 | 49.4
14798 | 2022-05-19 14:35 | 40.6636 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.7894 | μmol/L | 18.2626 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.555 | 125684.7102 | 288818.06 | 59.9307 | 49.4
14808 | 2022-05-19 14:35 | 40.9963 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.8078 | μmol/L | 18.2688 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.552 | 125675.0007 | 288788.4155 | 59.9307 | 49.4
14818 | 2022-05-19 14:35 | 41.3297 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.8371 | μmol/L | 18.2626 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.553 | 125682.3506 | 288802.9793 | 59.9307 | 49.4
14828 | 2022-05-19 14:36 | 41.6631 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.7948 | μmol/L | 18.2564 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.557 | 125674.9894 | 288796.935 | 59.9307 | 49.4
14838 | 2022-05-19 14:36 | 41.9966 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.8426 | μmol/L | 18.2564 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.555 | 125672.5428 | 288801.9694 | 59.9307 | 49.4
14848 | 2022-05-19 14:36 | 42.33 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.7948 | μmol/L | 18.2564 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.557 | 125675.1358 | 288796.3183 | 59.9307 | 49.4
14858 | 2022-05-19 14:37 | 42.6634 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.848 | μmol/L | 18.2503 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.557 | 125673.7784 | 288799.0487 | 59.9307 | 49.4
14868 | 2022-05-19 14:37 | 42.9963 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.7709 | μmol/L | 18.2564 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.558 | 125670.8189 | 288779.8373 | 59.9307 | 49.4
14878 | 2022-05-19 14:37 | 43.3298 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.848 | μmol/L | 18.2503 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.557 | 125669.6909 | 288787.668 | 59.9307 | 49.4
14888 | 2022-05-19 14:38 | 43.6632 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.7948 | μmol/L | 18.2564 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.557 | 125666.0157 | 288771.197 | 59.9307 | 49.4
14898 | 2022-05-19 14:38 | 43.9965 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.7525 | μmol/L | 18.2503 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.561 | 125664.1192 | 288773.9642 | 59.9307 | 49.4
14908 | 2022-05-19 14:38 | 44.3299 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.8241 | μmol/L | 18.2503 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.558 | 125654.3452 | 288767.6454 | 59.9307 | 49.4
14918 | 2022-05-19 14:39 | 44.6633 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.8535 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.559 | 125653.4733 | 288763.6049 | 59.9307 | 49.4
14928 | 2022-05-19 14:39 | 44.9965 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.7341 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.564 | 125663.2426 | 288775.5254 | 59.9307 | 49.4
14938 | 2022-05-19 14:39 | 45.3298 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.8112 | μmol/L | 18.2379 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.563 | 125657.4841 | 288767.0627 | 59.9307 | 49.4
14948 | 2022-05-19 14:40 | 45.6631 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.7579 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.563 | 125654.5163 | 288758.112 | 59.9307 | 49.4
14958 | 2022-05-19 14:40 | 45.9967 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.7579 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.563 | 125653.6099 | 288759.1304 | 59.9307 | 49.4
14968 | 2022-05-19 14:40 | 46.3304 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.7157 | μmol/L | 18.2379 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.567 | 125649.7717 | 288751.3254 | 59.9307 | 49.4
14978 | 2022-05-19 14:41 | 46.663 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.7873 | μmol/L | 18.2379 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.564 | 125650.2677 | 288743.8411 | 59.9307 | 49.4
14988 | 2022-05-19 14:41 | 46.9965 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.7689 | μmol/L | 18.2318 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.567 | 125652.8891 | 288772.5632 | 59.9307 | 49.4
14998 | 2022-05-19 14:41 | 47.3305 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.7634 | μmol/L | 18.2379 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.565 | 125653.519 | 288749.4967 | 59.9307 | 49.4
15008 | 2022-05-19 14:42 | 47.6632 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.7634 | μmol/L | 18.2379 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.565 | 125636.9033 | 288746.0918 | 59.9307 | 49.4
15018 | 2022-05-19 14:42 | 47.9971 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.7211 | μmol/L | 18.2318 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.569 | 125653.2688 | 288761.8378 | 59.9307 | 49.4
15028 | 2022-05-19 14:42 | 48.3298 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.8166 | μmol/L | 18.2318 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.565 | 125647.0597 | 288735.5445 | 59.9307 | 49.4
15038 | 2022-05-19 14:43 | 48.6634 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.745 | μmol/L | 18.2318 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.568 | 125657.7238 | 288741.3997 | 59.9307 | 49.4
15048 | 2022-05-19 14:43 | 48.9963 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.7211 | μmol/L | 18.2318 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.569 | 125655.6971 | 288733.4537 | 59.9307 | 49.4
15058 | 2022-05-19 14:43 | 49.33 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.6918 | μmol/L | 18.2379 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.568 | 125659.1381 | 288745.4048 | 59.9307 | 49.4
15068 | 2022-05-19 14:44 | 49.6636 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.5725 | μmol/L | 18.2379 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.573 | 125656.6699 | 288738.0854 | 59.9307 | 49.4
15078 | 2022-05-19 14:44 | 49.9962 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.6734 | μmol/L | 18.2318 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.571 | 125658.3348 | 288742.2448 | 59.9307 | 49.4
15088 | 2022-05-19 14:44 | 50.3299 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.7211 | μmol/L | 18.2318 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.569 | 125655.7636 | 288726.1049 | 59.9307 | 49.4
15098 | 2022-05-19 14:45 | 50.6637 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.7743 | μmol/L | 18.2256 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.569 | 125651.4726 | 288721.7416 | 59.9307 | 49.4
15108 | 2022-05-19 14:45 | 50.9967 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.7027 | μmol/L | 18.2256 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.572 | 125652.8693 | 288723.7208 | 59.9307 | 49.4
15118 | 2022-05-19 14:45 | 51.3302 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.7266 | μmol/L | 18.2256 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.571 | 125658.3868 | 288723.9044 | 59.9307 | 49.4
15128 | 2022-05-19 14:46 | 51.6629 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.6257 | μmol/L | 18.2318 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.573 | 125654.8441 | 288710.3351 | 59.9307 | 49.4
15138 | 2022-05-19 14:46 | 51.9967 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.6311 | μmol/L | 18.2256 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.575 | 125660.4786 | 288714.6365 | 59.9307 | 49.4
15148 | 2022-05-19 14:46 | 52.3301 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.7321 | μmol/L | 18.2194 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.573 | 125657.5933 | 288714.5374 | 59.9307 | 49.4
15158 | 2022-05-19 14:47 | 52.6634 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.6605 | μmol/L | 18.2194 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.576 | 125653.1744 | 288699.5336 | 59.9307 | 49.4
15168 | 2022-05-19 14:47 | 52.9968 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.655 | μmol/L | 18.2256 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.574 | 125652.5548 | 288706.9568 | 59.9307 | 49.4
15178 | 2022-05-19 14:47 | 53.3302 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.7559 | μmol/L | 18.2194 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.572 | 125656.2833 | 288707.3861 | 59.9307 | 49.4
15188 | 2022-05-19 14:48 | 53.6629 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.7908 | μmol/L | 18.2071 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.575 | 125666.034 | 288707.4435 | 59.9307 | 49.4