## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-16 12:57

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
238639 | 2022-05-16 11:41 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 236.7951 | μmol/L | 18.658 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.304 | 126427.8534 | 295641.5222 | 59.9307 | 38.1
238649 | 2022-05-16 11:41 | 0.32802 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 236.8156 | μmol/L | 18.658 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.303 | 126392.9164 | 295620.5299 | 59.9307 | 38.1
238659 | 2022-05-16 11:41 | 0.66141 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 236.9797 | μmol/L | 18.658 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.295 | 126349.8086 | 295601.2119 | 59.9307 | 38.1
238669 | 2022-05-16 11:42 | 0.99455 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 237.0208 | μmol/L | 18.658 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.293 | 126290.1018 | 295559.0762 | 59.9307 | 38.1
238688 | 2022-05-16 11:42 | 1.9701 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 237.4317 | μmol/L | 18.658 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.273 | 126105.5414 | 295489.5818 | 59.9307 | 38.1
238689 | 2022-05-16 11:42 | 1.9701 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 237.3084 | μmol/L | 18.658 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.279 | 126040.6348 | 295391.3492 | 59.9307 | 38.1
238699 | 2022-05-16 11:43 | 1.9945 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 237.3066 | μmol/L | 18.6641 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.277 | 126040.0908 | 295400.1183 | 59.9307 | 38.1
238709 | 2022-05-16 11:43 | 2.328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 237.497 | μmol/L | 18.6458 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.274 | 126071.5334 | 295450.2428 | 59.9307 | 38.1
238719 | 2022-05-16 11:43 | 2.6616 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 237.5158 | μmol/L | 18.6519 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.271 | 126025.9741 | 295402.6215 | 59.9307 | 38.1
238729 | 2022-05-16 11:44 | 2.9949 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 237.557 | μmol/L | 18.6519 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.269 | 125990.4658 | 295381.682 | 59.9307 | 38.1
238739 | 2022-05-16 11:44 | 3.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 237.7647 | μmol/L | 18.6458 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.261 | 125955.9431 | 295370.3404 | 59.9307 | 38.1
238749 | 2022-05-16 11:44 | 3.6609 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 237.6805 | μmol/L | 18.6519 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.263 | 125922.3004 | 295341.2011 | 59.9307 | 38.1
238759 | 2022-05-16 11:45 | 3.9942 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 237.7889 | μmol/L | 18.6335 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.264 | 125891.5298 | 295329.5156 | 59.9307 | 38.1
238769 | 2022-05-16 11:45 | 4.3278 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 237.8902 | μmol/L | 18.6396 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.257 | 125876.8225 | 295292.3283 | 59.9307 | 38.1
238779 | 2022-05-16 11:45 | 4.6614 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 237.8713 | μmol/L | 18.6335 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.26 | 125850.2902 | 295260.4463 | 59.9307 | 38.1
238789 | 2022-05-16 11:46 | 4.995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 237.8731 | μmol/L | 18.6274 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.262 | 125844.5595 | 295242.9785 | 59.9307 | 38.1
238799 | 2022-05-16 11:46 | 5.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 237.8956 | μmol/L | 18.6213 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.263 | 125814.3217 | 295214.2485 | 59.9307 | 38.1
238809 | 2022-05-16 11:46 | 5.6614 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.0623 | μmol/L | 18.6152 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.257 | 125775.2374 | 295198.1785 | 59.9307 | 38.1
238819 | 2022-05-16 11:47 | 5.9948 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.1655 | μmol/L | 18.6152 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.252 | 125724.6248 | 295180.9102 | 59.9307 | 38.1
238829 | 2022-05-16 11:47 | 6.3278 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.2293 | μmol/L | 18.6091 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.251 | 125707.3915 | 295167.1927 | 59.9307 | 38.1
238839 | 2022-05-16 11:47 | 6.6611 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.2499 | μmol/L | 18.6091 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.25 | 125685.6319 | 295126.2187 | 59.9307 | 38.1
238849 | 2022-05-16 11:48 | 6.9948 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.2068 | μmol/L | 18.6152 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.25 | 125670.5722 | 295102.8914 | 59.9307 | 38.1
238859 | 2022-05-16 11:48 | 7.3277 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.1449 | μmol/L | 18.6152 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.253 | 125662.3687 | 295099.2863 | 59.9307 | 38.1
238869 | 2022-05-16 11:48 | 7.661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.2068 | μmol/L | 18.6152 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.25 | 125657.4548 | 295067.899 | 59.9307 | 38.1
238879 | 2022-05-16 11:49 | 7.9945 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.1673 | μmol/L | 18.6091 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.254 | 125651.4868 | 295046.9453 | 59.9307 | 38.1
238889 | 2022-05-16 11:49 | 8.3279 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.1054 | μmol/L | 18.6091 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.257 | 125642.9289 | 295016.5485 | 59.9307 | 38.1
238899 | 2022-05-16 11:49 | 8.6611 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.0848 | μmol/L | 18.6091 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.258 | 125630.2291 | 295007.9004 | 59.9307 | 38.1
238909 | 2022-05-16 11:50 | 8.9944 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.1278 | μmol/L | 18.603 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.258 | 125628.8404 | 294975.9935 | 59.9307 | 38.1
238919 | 2022-05-16 11:50 | 9.3283 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.0453 | μmol/L | 18.603 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.262 | 125620.692 | 294958.6587 | 59.9307 | 38.1
238929 | 2022-05-16 11:50 | 9.6612 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.1296 | μmol/L | 18.5969 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.26 | 125606.8172 | 294945.8473 | 59.9307 | 38.1
238939 | 2022-05-16 11:51 | 9.9948 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.1453 | μmol/L | 18.5969 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 22.259 | 125604.6278 | 294922.7989 | 59.9307 | 38.1
238949 | 2022-05-16 11:51 | 10.3275 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.109 | μmol/L | 18.5969 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.261 | 125578.3661 | 294885.8342 | 59.9307 | 38.1
238959 | 2022-05-16 11:51 | 10.6612 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.1296 | μmol/L | 18.5969 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.26 | 125576.997 | 294865.5833 | 59.9307 | 38.1
238969 | 2022-05-16 11:52 | 10.9946 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.0677 | μmol/L | 18.5969 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.263 | 125556.9159 | 294838.604 | 59.9307 | 38.1
238979 | 2022-05-16 11:52 | 11.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.1315 | μmol/L | 18.5908 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.262 | 125541.6051 | 294826.2111 | 59.9307 | 38.1
238989 | 2022-05-16 11:52 | 11.6609 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.109 | μmol/L | 18.5969 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.261 | 125523.8167 | 294816.1855 | 59.9307 | 38.1
238999 | 2022-05-16 11:53 | 11.9944 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.0677 | μmol/L | 18.5969 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.263 | 125507.9749 | 294800.4739 | 59.9307 | 38.1
239009 | 2022-05-16 11:53 | 12.328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.1934 | μmol/L | 18.5908 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.259 | 125484.0171 | 294772.218 | 59.9307 | 38.1
239019 | 2022-05-16 11:53 | 12.6609 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.214 | μmol/L | 18.5908 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.258 | 125461.8344 | 294745.5419 | 59.9307 | 38.1
239029 | 2022-05-16 11:54 | 12.9946 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.214 | μmol/L | 18.5908 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.258 | 125449.6006 | 294727.9317 | 59.9307 | 38.1
239039 | 2022-05-16 11:54 | 13.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.2778 | μmol/L | 18.5847 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.257 | 125422.1465 | 294702.2077 | 59.9307 | 38.1
239049 | 2022-05-16 11:54 | 13.6613 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.3379 | μmol/L | 18.5908 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.252 | 125398.0261 | 294695.2418 | 59.9307 | 38.1
239059 | 2022-05-16 11:55 | 13.9947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.3002 | μmol/L | 18.5786 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.258 | 125380.4579 | 294662.3883 | 59.9307 | 38.1
239069 | 2022-05-16 11:55 | 14.3283 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.3415 | μmol/L | 18.5786 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.256 | 125361.109 | 294650.1147 | 59.9307 | 38.1
239079 | 2022-05-16 11:55 | 14.6616 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.4467 | μmol/L | 18.5725 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.253 | 125348.9738 | 294625.5209 | 59.9307 | 38.1
239089 | 2022-05-16 11:56 | 14.9942 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.4035 | μmol/L | 18.5786 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.253 | 125322.4535 | 294605.6705 | 59.9307 | 38.1
239099 | 2022-05-16 11:56 | 15.3276 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.3829 | μmol/L | 18.5786 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.254 | 125300.6674 | 294571.3458 | 59.9307 | 38.1
239109 | 2022-05-16 11:56 | 15.6609 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.5312 | μmol/L | 18.5664 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.251 | 125290.7362 | 294570.7667 | 59.9307 | 38.1
239119 | 2022-05-16 11:57 | 15.9945 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.4673 | μmol/L | 18.5725 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.252 | 125268.7334 | 294535.5061 | 59.9307 | 38.1
239129 | 2022-05-16 11:57 | 16.3278 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.488 | μmol/L | 18.5725 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.251 | 125253.9993 | 294533.8005 | 59.9307 | 38.1
239139 | 2022-05-16 11:57 | 16.6615 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.5105 | μmol/L | 18.5664 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.252 | 125229.2762 | 294505.0525 | 59.9307 | 38.1
239149 | 2022-05-16 11:58 | 16.9946 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.4673 | μmol/L | 18.5725 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.252 | 125217.588 | 294479.5298 | 59.9307 | 38.1
239159 | 2022-05-16 11:58 | 17.3279 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.6139 | μmol/L | 18.5664 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.247 | 125195.5395 | 294466.7395 | 59.9307 | 38.1
239169 | 2022-05-16 11:58 | 17.6615 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.6364 | μmol/L | 18.5603 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.248 | 125183.9575 | 294461.0953 | 59.9307 | 38.1
239179 | 2022-05-16 11:59 | 17.995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.6382 | μmol/L | 18.5542 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.25 | 125164.5749 | 294454.2541 | 59.9307 | 38.1
239189 | 2022-05-16 11:59 | 18.3276 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.6796 | μmol/L | 18.5542 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.248 | 125141.8685 | 294419.615 | 59.9307 | 38.1
239199 | 2022-05-16 11:59 | 18.6612 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.6589 | μmol/L | 18.5542 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.249 | 125128.0994 | 294396.1618 | 59.9307 | 38.1
239209 | 2022-05-16 12:00 | 18.9947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.6796 | μmol/L | 18.5542 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.248 | 125112.6066 | 294383.7886 | 59.9307 | 38.1
239219 | 2022-05-16 12:00 | 19.3277 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.6571 | μmol/L | 18.5603 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.247 | 125097.7526 | 294363.2029 | 59.9307 | 38.1
239229 | 2022-05-16 12:00 | 19.6615 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.6796 | μmol/L | 18.5542 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.248 | 125085.2225 | 294347.1963 | 59.9307 | 38.1
239239 | 2022-05-16 12:01 | 19.9945 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.6796 | μmol/L | 18.5542 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.248 | 125075.8758 | 294346.9439 | 59.9307 | 38.1
239249 | 2022-05-16 12:01 | 20.3281 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.8074 | μmol/L | 18.5419 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.246 | 125055.3176 | 294305.6719 | 59.9307 | 38.1
239259 | 2022-05-16 12:01 | 20.6614 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.6814 | μmol/L | 18.5481 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.25 | 125038.3708 | 294285.8277 | 59.9307 | 38.1
239269 | 2022-05-16 12:02 | 20.9946 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.7867 | μmol/L | 18.5419 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.247 | 125031.5955 | 294291.7542 | 59.9307 | 38.1
239279 | 2022-05-16 12:02 | 21.3281 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.8092 | μmol/L | 18.5358 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.248 | 125022.0778 | 294267.063 | 59.9307 | 38.1
239289 | 2022-05-16 12:02 | 21.6612 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.8506 | μmol/L | 18.5358 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.246 | 125013.9509 | 294262.3993 | 59.9307 | 38.1
239299 | 2022-05-16 12:03 | 21.9943 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.8092 | μmol/L | 18.5358 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.248 | 124995.4308 | 294243.5239 | 59.9307 | 38.1
239309 | 2022-05-16 12:03 | 22.3279 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.8092 | μmol/L | 18.5358 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.248 | 124986.6439 | 294224.4524 | 59.9307 | 38.1
239319 | 2022-05-16 12:03 | 22.6613 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.8299 | μmol/L | 18.5358 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.247 | 124972.1325 | 294205.3397 | 59.9307 | 38.1
239329 | 2022-05-16 12:04 | 22.9949 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.8317 | μmol/L | 18.5297 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.249 | 124969.2173 | 294192.9577 | 59.9307 | 38.1
239339 | 2022-05-16 12:04 | 23.328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.8317 | μmol/L | 18.5297 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.249 | 124964.6459 | 294179.2222 | 59.9307 | 38.1
239349 | 2022-05-16 12:04 | 23.6614 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.8938 | μmol/L | 18.5297 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.246 | 124948.7817 | 294161.4739 | 59.9307 | 38.1
239359 | 2022-05-16 12:05 | 23.9944 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.9353 | μmol/L | 18.5297 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.244 | 124938.8528 | 294145.686 | 59.9307 | 38.1
239369 | 2022-05-16 12:05 | 24.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.8299 | μmol/L | 18.5358 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.247 | 124924.1824 | 294139.4965 | 59.9307 | 38.1
239379 | 2022-05-16 12:05 | 24.6612 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.8317 | μmol/L | 18.5297 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.249 | 124923.7733 | 294125.295 | 59.9307 | 38.1
239389 | 2022-05-16 12:06 | 24.9942 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.8957 | μmol/L | 18.5236 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.248 | 124917.7546 | 294119.942 | 59.9307 | 38.1
239399 | 2022-05-16 12:06 | 25.3281 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.9804 | μmol/L | 18.5175 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.246 | 124914.8703 | 294110.3792 | 59.9307 | 38.1
239409 | 2022-05-16 12:06 | 25.6609 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.9182 | μmol/L | 18.5175 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.249 | 124895.263 | 294095.1308 | 59.9307 | 38.1
239419 | 2022-05-16 12:07 | 25.9947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.9389 | μmol/L | 18.5175 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.248 | 124885.6255 | 294085.214 | 59.9307 | 38.1
239429 | 2022-05-16 12:07 | 26.3278 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.9596 | μmol/L | 18.5175 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.247 | 124873.7903 | 294061.5214 | 59.9307 | 38.1
239439 | 2022-05-16 12:07 | 26.6611 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.0255 | μmol/L | 18.5053 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.248 | 124866.4462 | 294067.4622 | 59.9307 | 38.1
239449 | 2022-05-16 12:08 | 26.995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.9182 | μmol/L | 18.5175 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.249 | 124859.4175 | 294055.4391 | 59.9307 | 38.1
239459 | 2022-05-16 12:08 | 27.3277 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.9389 | μmol/L | 18.5175 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.248 | 124836.7572 | 294023.9112 | 59.9307 | 38.1
239469 | 2022-05-16 12:08 | 27.6613 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.0443 | μmol/L | 18.5114 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.245 | 124830.0277 | 294012.4249 | 59.9307 | 38.1
239479 | 2022-05-16 12:09 | 27.9943 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.8993 | μmol/L | 18.5114 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.252 | 124820.5129 | 294001.8614 | 59.9307 | 38.1
239489 | 2022-05-16 12:09 | 28.3281 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.0029 | μmol/L | 18.5114 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.247 | 124817.3382 | 293987.4869 | 59.9307 | 38.1
239499 | 2022-05-16 12:09 | 28.6614 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.0255 | μmol/L | 18.5053 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.248 | 124811.0829 | 293991.7614 | 59.9307 | 38.1
239509 | 2022-05-16 12:10 | 28.9945 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.0443 | μmol/L | 18.5114 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.245 | 124357.0899 | 293951.358 | 59.9307 | 38.1
239519 | 2022-05-16 12:10 | 29.3283 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.0876 | μmol/L | 18.5053 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.245 | 124358.1051 | 293940.1381 | 59.9307 | 38.1
239529 | 2022-05-16 12:10 | 29.6613 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.0669 | μmol/L | 18.5053 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.246 | 124357.2932 | 293942.479 | 59.9307 | 38.1
239539 | 2022-05-16 12:11 | 29.995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.0876 | μmol/L | 18.5053 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.245 | 124346.218 | 293927.6512 | 59.9307 | 38.1
239549 | 2022-05-16 12:11 | 30.3281 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.0687 | μmol/L | 18.4992 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.248 | 124342.1929 | 293915.1023 | 59.9307 | 38.1
239559 | 2022-05-16 12:11 | 30.6613 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.9615 | μmol/L | 18.5114 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.249 | 124329.1235 | 293879.6002 | 59.9307 | 38.1
239569 | 2022-05-16 12:12 | 30.9945 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.0047 | μmol/L | 18.5053 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.249 | 124321.7671 | 293871.5391 | 59.9307 | 38.1
239579 | 2022-05-16 12:12 | 31.3281 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.1309 | μmol/L | 18.4992 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.245 | 124321.8569 | 293865.648 | 59.9307 | 38.1
239589 | 2022-05-16 12:12 | 31.6612 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.0255 | μmol/L | 18.5053 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.248 | 124321.0676 | 293854.4404 | 59.9307 | 38.1
239599 | 2022-05-16 12:13 | 31.9949 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.1761 | μmol/L | 18.487 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.247 | 124301.5254 | 293843.1463 | 59.9307 | 38.1
239609 | 2022-05-16 12:13 | 32.3279 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2194 | μmol/L | 18.4809 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.247 | 124303.614 | 293828.7426 | 59.9307 | 38.1
239619 | 2022-05-16 12:13 | 32.6616 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.0895 | μmol/L | 18.4992 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.247 | 124299.1128 | 293816.6703 | 59.9307 | 38.1
239629 | 2022-05-16 12:14 | 32.9945 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.0895 | μmol/L | 18.4992 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.247 | 124288.7735 | 293793.1481 | 59.9307 | 38.1
239639 | 2022-05-16 12:14 | 33.3276 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.1553 | μmol/L | 18.487 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.248 | 124281.9816 | 293800.2509 | 59.9307 | 38.1
239649 | 2022-05-16 12:14 | 33.6616 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.1328 | μmol/L | 18.4931 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.247 | 124275.7555 | 293791.1371 | 59.9307 | 38.1
239659 | 2022-05-16 12:15 | 33.9947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.0932 | μmol/L | 18.487 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.251 | 124262.4406 | 293770.9765 | 59.9307 | 38.1
239669 | 2022-05-16 12:15 | 34.3276 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.1553 | μmol/L | 18.487 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.248 | 124254.4748 | 293744.9846 | 59.9307 | 38.1
239679 | 2022-05-16 12:15 | 34.6614 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2212 | μmol/L | 18.4748 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.249 | 124252.8834 | 293729.2921 | 59.9307 | 38.1
239689 | 2022-05-16 12:16 | 34.9948 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.1383 | μmol/L | 18.4748 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.253 | 124233.7581 | 293723.1665 | 59.9307 | 38.1
239699 | 2022-05-16 12:16 | 35.328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.1779 | μmol/L | 18.4809 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.249 | 124226.6797 | 293714.5756 | 59.9307 | 38.1
239709 | 2022-05-16 12:16 | 35.6611 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.1779 | μmol/L | 18.4809 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.249 | 124215.8734 | 293693.5064 | 59.9307 | 38.1
239719 | 2022-05-16 12:17 | 35.9943 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.1139 | μmol/L | 18.487 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.25 | 124202.4428 | 293699.0868 | 59.9307 | 38.1
239729 | 2022-05-16 12:17 | 36.3283 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.1383 | μmol/L | 18.4748 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.253 | 124200.3209 | 293676.178 | 59.9307 | 38.1
239739 | 2022-05-16 12:17 | 36.6615 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.0932 | μmol/L | 18.487 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.251 | 124201.1081 | 293666.0557 | 59.9307 | 38.1
239749 | 2022-05-16 12:18 | 36.9947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.1365 | μmol/L | 18.4809 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.251 | 124189.134 | 293655.6768 | 59.9307 | 38.1
239759 | 2022-05-16 12:18 | 37.3279 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2005 | μmol/L | 18.4748 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.25 | 124173.7877 | 293665.3919 | 59.9307 | 38.1
239769 | 2022-05-16 12:18 | 37.661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2212 | μmol/L | 18.4748 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.249 | 124174.3154 | 293661.5722 | 59.9307 | 38.1
239779 | 2022-05-16 12:19 | 37.9942 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2212 | μmol/L | 18.4748 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.249 | 124167.1647 | 293646.4931 | 59.9307 | 38.1
239789 | 2022-05-16 12:19 | 38.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2834 | μmol/L | 18.4748 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.246 | 124149.627 | 293635.4358 | 59.9307 | 38.1
239799 | 2022-05-16 12:19 | 38.6613 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.1176 | μmol/L | 18.4748 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.254 | 124146.8137 | 293619.6709 | 59.9307 | 38.1
239809 | 2022-05-16 12:20 | 38.9945 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2231 | μmol/L | 18.4687 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.251 | 124133.7479 | 293611.8525 | 59.9307 | 38.1
239819 | 2022-05-16 12:20 | 39.3277 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2231 | μmol/L | 18.4687 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.251 | 124133.2417 | 293604.7143 | 59.9307 | 38.1
239829 | 2022-05-16 12:20 | 39.6617 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2005 | μmol/L | 18.4748 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.25 | 124117.0742 | 293583.2602 | 59.9307 | 38.1
239839 | 2022-05-16 12:21 | 39.9949 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2834 | μmol/L | 18.4748 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.246 | 124114.0432 | 293594.4971 | 59.9307 | 38.1
239849 | 2022-05-16 12:21 | 40.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2853 | μmol/L | 18.4687 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.248 | 124117.9438 | 293582.1247 | 59.9307 | 38.1
239859 | 2022-05-16 12:21 | 40.6617 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.3079 | μmol/L | 18.4626 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.249 | 124103.7372 | 293561.6403 | 59.9307 | 38.1
239869 | 2022-05-16 12:22 | 40.9945 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.3079 | μmol/L | 18.4626 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.249 | 124096.9469 | 293548.6265 | 59.9307 | 38.1
239879 | 2022-05-16 12:22 | 41.3283 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2646 | μmol/L | 18.4687 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.249 | 124091.324 | 293539.1022 | 59.9307 | 38.1
239889 | 2022-05-16 12:22 | 41.6616 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.3079 | μmol/L | 18.4626 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.249 | 124080.4582 | 293536.2011 | 59.9307 | 38.1
239899 | 2022-05-16 12:23 | 41.9946 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2438 | μmol/L | 18.4687 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.25 | 124073.983 | 293530.1774 | 59.9307 | 38.1
239909 | 2022-05-16 12:23 | 42.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2872 | μmol/L | 18.4626 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.25 | 124067.0765 | 293527.4104 | 59.9307 | 38.1
239919 | 2022-05-16 12:23 | 42.6612 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2457 | μmol/L | 18.4626 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.252 | 124070.9388 | 293519.6568 | 59.9307 | 38.1
239929 | 2022-05-16 12:24 | 42.9942 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2683 | μmol/L | 18.4565 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.253 | 124062.2795 | 293519.0866 | 59.9307 | 38.1
239939 | 2022-05-16 12:24 | 43.328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.3098 | μmol/L | 18.4565 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.251 | 124056.343 | 293502.5125 | 59.9307 | 38.1
239949 | 2022-05-16 12:24 | 43.661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2042 | μmol/L | 18.4626 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.254 | 124055.6762 | 293496.3859 | 59.9307 | 38.1
239959 | 2022-05-16 12:25 | 43.9945 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.289 | μmol/L | 18.4565 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.252 | 124061.4207 | 293491.5617 | 59.9307 | 38.1
239969 | 2022-05-16 12:25 | 44.3275 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2702 | μmol/L | 18.4504 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.255 | 124061.1239 | 293500.5617 | 59.9307 | 38.1
239979 | 2022-05-16 12:25 | 44.6614 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2702 | μmol/L | 18.4504 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.255 | 124060.8562 | 293483.6703 | 59.9307 | 38.1
239989 | 2022-05-16 12:26 | 44.9944 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.3116 | μmol/L | 18.4504 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.253 | 124059.3664 | 293471.7469 | 59.9307 | 38.1
239999 | 2022-05-16 12:26 | 45.3275 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.3324 | μmol/L | 18.4504 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.252 | 124050.0023 | 293453.2496 | 59.9307 | 38.1
240009 | 2022-05-16 12:26 | 45.6612 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.3324 | μmol/L | 18.4504 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.252 | 124054.7204 | 293460.1339 | 59.9307 | 38.1
240019 | 2022-05-16 12:27 | 45.9947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2702 | μmol/L | 18.4504 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.255 | 124043.2327 | 293441.3591 | 59.9307 | 38.1
240029 | 2022-05-16 12:27 | 46.3279 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.4172 | μmol/L | 18.4443 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.25 | 124034.3229 | 293431.1597 | 59.9307 | 38.1
240039 | 2022-05-16 12:27 | 46.661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2928 | μmol/L | 18.4443 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.256 | 124037.192 | 293437.0327 | 59.9307 | 38.1
240049 | 2022-05-16 12:28 | 46.9942 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2494 | μmol/L | 18.4504 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.256 | 124036.6125 | 293421.1014 | 59.9307 | 38.1
240059 | 2022-05-16 12:28 | 47.3283 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.3739 | μmol/L | 18.4504 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.25 | 124039.0672 | 293416.9982 | 59.9307 | 38.1
240069 | 2022-05-16 12:28 | 47.6614 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2928 | μmol/L | 18.4443 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.256 | 124033.1166 | 293412.2045 | 59.9307 | 38.1
240079 | 2022-05-16 12:29 | 47.9946 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.3154 | μmol/L | 18.4381 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.257 | 124042.2788 | 293414.0098 | 59.9307 | 38.1
240089 | 2022-05-16 12:29 | 48.3277 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2965 | μmol/L | 18.432 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.26 | 124032.4531 | 293394.2971 | 59.9307 | 38.1
240099 | 2022-05-16 12:29 | 48.6609 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.3361 | μmol/L | 18.4381 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.256 | 124040.0507 | 293389.8314 | 59.9307 | 38.1
240109 | 2022-05-16 12:30 | 48.9949 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2532 | μmol/L | 18.4381 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.26 | 124034.3525 | 293380.1277 | 59.9307 | 38.1
240119 | 2022-05-16 12:30 | 49.328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2513 | μmol/L | 18.4443 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.258 | 124031.2451 | 293379.0427 | 59.9307 | 38.1
240129 | 2022-05-16 12:30 | 49.6612 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.1891 | μmol/L | 18.4443 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.261 | 124028.2119 | 293367.1396 | 59.9307 | 38.1
240139 | 2022-05-16 12:31 | 49.9944 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2324 | μmol/L | 18.4381 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.261 | 124026.231 | 293357.8695 | 59.9307 | 38.1
240149 | 2022-05-16 12:31 | 50.3275 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.3154 | μmol/L | 18.4381 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.257 | 124019.3924 | 293352.6237 | 59.9307 | 38.1
240159 | 2022-05-16 12:31 | 50.6615 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2532 | μmol/L | 18.4381 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.26 | 124017.3764 | 293349.0386 | 59.9307 | 38.1
240169 | 2022-05-16 12:32 | 50.9946 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2324 | μmol/L | 18.4381 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.261 | 124015.0849 | 293350.9394 | 59.9307 | 38.1
240179 | 2022-05-16 12:32 | 51.3278 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.4021 | μmol/L | 18.4259 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.257 | 124013.5656 | 293345.062 | 59.9307 | 38.1
240189 | 2022-05-16 12:32 | 51.6609 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.3795 | μmol/L | 18.432 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.256 | 124006.627 | 293330.2119 | 59.9307 | 38.1
240199 | 2022-05-16 12:33 | 51.995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.3399 | μmol/L | 18.4259 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.26 | 124009.136 | 293338.6569 | 59.9307 | 38.1
240209 | 2022-05-16 12:33 | 52.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2965 | μmol/L | 18.432 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.26 | 124014.6226 | 293342.9256 | 59.9307 | 38.1
240219 | 2022-05-16 12:33 | 52.6613 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2984 | μmol/L | 18.4259 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.262 | 124010.4342 | 293326.9824 | 59.9307 | 38.1
240229 | 2022-05-16 12:34 | 52.9946 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2984 | μmol/L | 18.4259 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.262 | 124001.6203 | 293310.6377 | 59.9307 | 38.1
240239 | 2022-05-16 12:34 | 53.3276 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2343 | μmol/L | 18.432 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.263 | 124010.3098 | 293320.4357 | 59.9307 | 38.1
240249 | 2022-05-16 12:34 | 53.6613 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2343 | μmol/L | 18.432 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.263 | 124002.2278 | 293321.5118 | 59.9307 | 38.1
240259 | 2022-05-16 12:35 | 53.9945 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.3625 | μmol/L | 18.4198 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.261 | 124003.5425 | 293313.1874 | 59.9307 | 38.1
240269 | 2022-05-16 12:35 | 54.3276 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2965 | μmol/L | 18.432 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.26 | 124011.3392 | 293307.2601 | 59.9307 | 38.1
240279 | 2022-05-16 12:35 | 54.661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.3191 | μmol/L | 18.4259 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.261 | 124019.2682 | 293289.6054 | 59.9307 | 38.1
240289 | 2022-05-16 12:36 | 54.995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.3003 | μmol/L | 18.4198 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.264 | 124008.5857 | 293284.4349 | 59.9307 | 38.1
240299 | 2022-05-16 12:36 | 55.3281 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2984 | μmol/L | 18.4259 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.262 | 124000.9176 | 293278.9137 | 59.9307 | 38.1
240309 | 2022-05-16 12:36 | 55.6609 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.321 | μmol/L | 18.4198 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.263 | 123982.8695 | 293270.2485 | 59.9307 | 38.1
240319 | 2022-05-16 12:37 | 55.9942 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.3625 | μmol/L | 18.4198 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.261 | 123980.7274 | 293268.7617 | 59.9307 | 38.1
240329 | 2022-05-16 12:37 | 56.328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2588 | μmol/L | 18.4198 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.266 | 123987.4827 | 293271.7411 | 59.9307 | 38.1
240339 | 2022-05-16 12:37 | 56.6615 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.3003 | μmol/L | 18.4198 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.264 | 123997.5244 | 293280.3862 | 59.9307 | 38.1
240349 | 2022-05-16 12:38 | 56.9948 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.3456 | μmol/L | 18.4076 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.266 | 123994.4216 | 293276.1189 | 59.9307 | 38.1
240359 | 2022-05-16 12:38 | 57.3279 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.3022 | μmol/L | 18.4137 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.266 | 124003.8064 | 293274.7994 | 59.9307 | 38.1
240369 | 2022-05-16 12:38 | 57.661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2588 | μmol/L | 18.4198 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.266 | 124007.2458 | 293283.0148 | 59.9307 | 38.1
240379 | 2022-05-16 12:39 | 57.9947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.3644 | μmol/L | 18.4137 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.263 | 124002.9479 | 293269.388 | 59.9307 | 38.1
240389 | 2022-05-16 12:39 | 58.328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2588 | μmol/L | 18.4198 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.266 | 124003.8496 | 293255.7255 | 59.9307 | 38.1
240399 | 2022-05-16 12:39 | 58.6612 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2588 | μmol/L | 18.4198 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.266 | 124001.3673 | 293255.9377 | 59.9307 | 38.1
240409 | 2022-05-16 12:40 | 58.9943 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2607 | μmol/L | 18.4137 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.268 | 124002.0458 | 293259.6082 | 59.9307 | 38.1
240419 | 2022-05-16 12:40 | 59.3275 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2626 | μmol/L | 18.4076 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.27 | 123994.0854 | 293241.4196 | 59.9307 | 38.1
240429 | 2022-05-16 12:40 | 59.6615 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2814 | μmol/L | 18.4137 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.267 | 124000.3324 | 293235.9003 | 59.9307 | 38.1
240439 | 2022-05-16 12:41 | 59.9946 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2174 | μmol/L | 18.4198 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.268 | 124006.9448 | 293241.932 | 59.9307 | 38.1
240449 | 2022-05-16 12:41 | 60.3278 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2419 | μmol/L | 18.4076 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.271 | 124009.8398 | 293218.475 | 59.9307 | 38.1
240459 | 2022-05-16 12:41 | 60.661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.3267 | μmol/L | 18.4015 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.269 | 124011.4168 | 293222.6507 | 59.9307 | 38.1
240469 | 2022-05-16 12:42 | 60.995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2193 | μmol/L | 18.4137 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.27 | 124012.8164 | 293224.1126 | 59.9307 | 38.1
240479 | 2022-05-16 12:42 | 61.3281 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.1778 | μmol/L | 18.4137 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.272 | 124011.7315 | 293213.9913 | 59.9307 | 38.1
240489 | 2022-05-16 12:42 | 61.6613 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2193 | μmol/L | 18.4137 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.27 | 124008.9471 | 293198.9279 | 59.9307 | 38.1
240499 | 2022-05-16 12:43 | 61.9944 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.306 | μmol/L | 18.4015 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.27 | 124009.3564 | 293190.5187 | 59.9307 | 38.1
240509 | 2022-05-16 12:43 | 62.3276 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2212 | μmol/L | 18.4076 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.272 | 123997.5984 | 293190.0746 | 59.9307 | 38.1
240519 | 2022-05-16 12:43 | 62.6616 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2023 | μmol/L | 18.4015 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.275 | 124010.3462 | 293203.463 | 59.9307 | 38.1
240529 | 2022-05-16 12:44 | 62.9947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2023 | μmol/L | 18.4015 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.275 | 124007.9213 | 293175.3333 | 59.9307 | 38.1
240539 | 2022-05-16 12:44 | 63.3279 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2023 | μmol/L | 18.4015 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.275 | 124004.1712 | 293165.3835 | 59.9307 | 38.1
240549 | 2022-05-16 12:44 | 63.661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2004 | μmol/L | 18.4076 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.273 | 124006.8996 | 293169.9418 | 59.9307 | 38.1
240559 | 2022-05-16 12:45 | 63.9942 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2212 | μmol/L | 18.4076 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.272 | 124001.9026 | 293153.6418 | 59.9307 | 38.1
240569 | 2022-05-16 12:45 | 64.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2645 | μmol/L | 18.4015 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.272 | 124000.1851 | 293149.6931 | 59.9307 | 38.1
240579 | 2022-05-16 12:45 | 64.6614 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.1383 | μmol/L | 18.4076 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.276 | 123997.8983 | 293151.9243 | 59.9307 | 38.1
240589 | 2022-05-16 12:46 | 64.9946 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2438 | μmol/L | 18.4015 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.273 | 123991.3277 | 293137.3679 | 59.9307 | 38.1
240599 | 2022-05-16 12:46 | 65.3277 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2438 | μmol/L | 18.4015 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.273 | 123988.0617 | 293135.4963 | 59.9307 | 38.1
240609 | 2022-05-16 12:46 | 65.6608 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.3286 | μmol/L | 18.3954 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.271 | 123992.9672 | 293125.5282 | 59.9307 | 38.1
240619 | 2022-05-16 12:47 | 65.9949 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2004 | μmol/L | 18.4076 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.273 | 123997.8684 | 293128.8024 | 59.9307 | 38.1
240629 | 2022-05-16 12:47 | 66.328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2042 | μmol/L | 18.3954 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.277 | 123989.0205 | 293122.667 | 59.9307 | 38.1
240639 | 2022-05-16 12:47 | 66.6611 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2269 | μmol/L | 18.3893 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.278 | 123986.2435 | 293106.3158 | 59.9307 | 38.1
240649 | 2022-05-16 12:48 | 66.9944 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2476 | μmol/L | 18.3893 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.277 | 123980.0991 | 293102.0673 | 59.9307 | 38.1
240659 | 2022-05-16 12:48 | 67.3276 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2457 | μmol/L | 18.3954 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.275 | 123976.6134 | 293094.5725 | 59.9307 | 38.1
240669 | 2022-05-16 12:48 | 67.6616 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.1402 | μmol/L | 18.4015 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.278 | 123974.1379 | 293099.6717 | 59.9307 | 38.1
240679 | 2022-05-16 12:49 | 67.9947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2042 | μmol/L | 18.3954 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.277 | 123963.6083 | 293086.5293 | 59.9307 | 38.1
240689 | 2022-05-16 12:49 | 68.328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2269 | μmol/L | 18.3893 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.278 | 123960.6723 | 293068.785 | 59.9307 | 38.1
240699 | 2022-05-16 12:49 | 68.6612 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.1195 | μmol/L | 18.4015 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.279 | 123964.3226 | 293085.4998 | 59.9307 | 38.1
240709 | 2022-05-16 12:50 | 68.9943 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.1835 | μmol/L | 18.3954 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.278 | 123955.316 | 293072.3015 | 59.9307 | 38.1
240719 | 2022-05-16 12:50 | 69.3278 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.1628 | μmol/L | 18.3954 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.279 | 123950.376 | 293050.9702 | 59.9307 | 38.1
240729 | 2022-05-16 12:50 | 69.6611 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2062 | μmol/L | 18.3893 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.279 | 123954.1098 | 293054.6503 | 59.9307 | 38.1
240739 | 2022-05-16 12:51 | 69.9943 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.2476 | μmol/L | 18.3893 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.277 | 123940.5973 | 293039.9686 | 59.9307 | 38.1
240749 | 2022-05-16 12:51 | 70.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.1233 | μmol/L | 18.3893 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.283 | 123940.8263 | 293031.7412 | 59.9307 | 38.1
240759 | 2022-05-16 12:51 | 70.6613 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.1214 | μmol/L | 18.3954 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.281 | 123932.4631 | 293016.4919 | 59.9307 | 38.1
240769 | 2022-05-16 12:52 | 70.9943 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.0819 | μmol/L | 18.3893 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.285 | 123933.7124 | 293022.9787 | 59.9307 | 38.1
240779 | 2022-05-16 12:52 | 71.3275 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.1214 | μmol/L | 18.3954 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.281 | 123933.3686 | 293007.7583 | 59.9307 | 38.1
240789 | 2022-05-16 12:52 | 71.661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.1647 | μmol/L | 18.3893 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.281 | 123943.0592 | 293023.6808 | 59.9307 | 38.1
240799 | 2022-05-16 12:53 | 71.9944 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.1854 | μmol/L | 18.3893 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.28 | 123930.8963 | 292999.7939 | 59.9307 | 38.1