## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-16 12:58

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
238647 | 2022-05-16 11:41 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.2738 | μmol/L | 18.6729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.272 | 111977.1607 | 265890.9527 | 32.55 | 27.7
238657 | 2022-05-16 11:41 | 0.34007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.1914 | μmol/L | 18.6729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.276 | 111923.5846 | 265856.3511 | 32.55 | 27.7
238667 | 2022-05-16 11:41 | 0.67341 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.1731 | μmol/L | 18.6667 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.279 | 111883.4081 | 265827.3633 | 32.55 | 27.7
238676 | 2022-05-16 11:42 | 1.7155 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.2555 | μmol/L | 18.6667 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.275 | 111744.2211 | 265770.2806 | 32.55 | 27.7
238683 | 2022-05-16 11:42 | 1.7155 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.2555 | μmol/L | 18.6667 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.275 | 111684.4397 | 265686.6596 | 32.55 | 27.7
238691 | 2022-05-16 11:42 | 1.7155 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.1525 | μmol/L | 18.6667 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.28 | 111657.2129 | 265629.2228 | 32.55 | 27.7
238707 | 2022-05-16 11:43 | 2.0067 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.1731 | μmol/L | 18.6667 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.279 | 111707.1011 | 265722.7863 | 32.55 | 27.7
238717 | 2022-05-16 11:43 | 2.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.1502 | μmol/L | 18.6729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.278 | 111686.0061 | 265694.5776 | 32.55 | 27.7
238727 | 2022-05-16 11:43 | 2.6729 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.1114 | μmol/L | 18.6667 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.282 | 111661.2445 | 265688.1283 | 32.55 | 27.7
238737 | 2022-05-16 11:44 | 3.0063 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.1548 | μmol/L | 18.6606 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.282 | 111635.9224 | 265648.7563 | 32.55 | 27.7
238747 | 2022-05-16 11:44 | 3.3397 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.1137 | μmol/L | 18.6606 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.284 | 111608.0611 | 265646.9647 | 32.55 | 27.7
238757 | 2022-05-16 11:44 | 3.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.2189 | μmol/L | 18.6545 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.281 | 111579.2448 | 265619.3947 | 32.55 | 27.7
238767 | 2022-05-16 11:45 | 4.0067 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.1983 | μmol/L | 18.6545 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.282 | 111561.2053 | 265596.4169 | 32.55 | 27.7
238777 | 2022-05-16 11:45 | 4.3395 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.0931 | μmol/L | 18.6606 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.285 | 111528.2922 | 265586.1391 | 32.55 | 27.7
238787 | 2022-05-16 11:45 | 4.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.0496 | μmol/L | 18.6667 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.285 | 111507.6325 | 265571.862 | 32.55 | 27.7
238797 | 2022-05-16 11:46 | 5.0066 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.0749 | μmol/L | 18.6545 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.288 | 111482.4323 | 265564.8631 | 32.55 | 27.7
238807 | 2022-05-16 11:46 | 5.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.1572 | μmol/L | 18.6545 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.284 | 111476.2233 | 265555.3324 | 32.55 | 27.7
238817 | 2022-05-16 11:46 | 5.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.2007 | μmol/L | 18.6484 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.284 | 111455.2448 | 265532.7392 | 32.55 | 27.7
238827 | 2022-05-16 11:47 | 6.0067 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.1572 | μmol/L | 18.6545 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.284 | 111429.4849 | 265506.3482 | 32.55 | 27.7
238837 | 2022-05-16 11:47 | 6.3396 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.1595 | μmol/L | 18.6484 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.286 | 111412.2403 | 265494.2643 | 32.55 | 27.7
238847 | 2022-05-16 11:47 | 6.6729 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.0954 | μmol/L | 18.6545 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.287 | 111390.189 | 265472.8138 | 32.55 | 27.7
238857 | 2022-05-16 11:48 | 7.0069 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.3059 | μmol/L | 18.6423 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.281 | 111371.8804 | 265467.4606 | 32.55 | 27.7
238867 | 2022-05-16 11:48 | 7.34 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.2007 | μmol/L | 18.6484 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.284 | 111354.3171 | 265452.2358 | 32.55 | 27.7
238877 | 2022-05-16 11:48 | 7.6735 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.2442 | μmol/L | 18.6423 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.284 | 111330.3693 | 265441.3467 | 32.55 | 27.7
238887 | 2022-05-16 11:49 | 8.0067 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.2442 | μmol/L | 18.6423 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.284 | 111287.7586 | 265432.5244 | 32.55 | 27.7
238897 | 2022-05-16 11:49 | 8.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.2465 | μmol/L | 18.6362 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.286 | 111278.6058 | 265414.959 | 32.55 | 27.7
238907 | 2022-05-16 11:49 | 8.6733 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.2877 | μmol/L | 18.6362 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.284 | 111262.6119 | 265393.4686 | 32.55 | 27.7
238917 | 2022-05-16 11:50 | 9.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.3518 | μmol/L | 18.6301 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.283 | 111239.8134 | 265382.0125 | 32.55 | 27.7
238927 | 2022-05-16 11:50 | 9.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.4136 | μmol/L | 18.6301 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.28 | 111228.9437 | 265378.4132 | 32.55 | 27.7
238937 | 2022-05-16 11:50 | 9.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.2694 | μmol/L | 18.6301 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.287 | 111210.323 | 265357.9523 | 32.55 | 27.7
238947 | 2022-05-16 11:51 | 10.0069 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.29 | μmol/L | 18.6301 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.286 | 111181.7461 | 265352.8032 | 32.55 | 27.7
238957 | 2022-05-16 11:51 | 10.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.4548 | μmol/L | 18.6301 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.278 | 111166.4088 | 265330.1244 | 32.55 | 27.7
238967 | 2022-05-16 11:51 | 10.6732 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.3677 | μmol/L | 18.6423 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.278 | 111140.597 | 265319.2152 | 32.55 | 27.7
238977 | 2022-05-16 11:52 | 11.0067 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.4778 | μmol/L | 18.6239 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.279 | 111124.7879 | 265297.6666 | 32.55 | 27.7
238987 | 2022-05-16 11:52 | 11.3403 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.3724 | μmol/L | 18.6301 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.282 | 111102.8461 | 265288.4101 | 32.55 | 27.7
238997 | 2022-05-16 11:52 | 11.673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.4342 | μmol/L | 18.6301 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.279 | 111081.201 | 265283.1622 | 32.55 | 27.7
239007 | 2022-05-16 11:53 | 12.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.4801 | μmol/L | 18.6178 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.281 | 111067.9301 | 265277.2733 | 32.55 | 27.7
239017 | 2022-05-16 11:53 | 12.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.4984 | μmol/L | 18.6239 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.278 | 111043.4162 | 265253.8933 | 32.55 | 27.7
239027 | 2022-05-16 11:53 | 12.673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.4754 | μmol/L | 18.6301 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.277 | 111026.8107 | 265240.6024 | 32.55 | 27.7
239037 | 2022-05-16 11:54 | 13.0066 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.4984 | μmol/L | 18.6239 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.278 | 111009.6146 | 265236.4222 | 32.55 | 27.7
239047 | 2022-05-16 11:54 | 13.34 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.4572 | μmol/L | 18.6239 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.28 | 110986.4336 | 265209.7038 | 32.55 | 27.7
239057 | 2022-05-16 11:54 | 13.6733 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.503 | μmol/L | 18.6117 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.282 | 110965.7172 | 265213.218 | 32.55 | 27.7
239067 | 2022-05-16 11:55 | 14.0065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.5626 | μmol/L | 18.6178 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.277 | 110945.6422 | 265201.5889 | 32.55 | 27.7
239077 | 2022-05-16 11:55 | 14.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.6268 | μmol/L | 18.6117 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.276 | 110918.0916 | 265189.846 | 32.55 | 27.7
239087 | 2022-05-16 11:55 | 14.673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.7116 | μmol/L | 18.6056 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.274 | 110896.4476 | 265164.7106 | 32.55 | 27.7
239097 | 2022-05-16 11:56 | 15.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.6886 | μmol/L | 18.6117 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.273 | 110879.1343 | 265146.8107 | 32.55 | 27.7
239107 | 2022-05-16 11:56 | 15.34 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.7116 | μmol/L | 18.6056 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.274 | 110857.6495 | 265136.8811 | 32.55 | 27.7
239117 | 2022-05-16 11:56 | 15.6735 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.7759 | μmol/L | 18.5995 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.273 | 110839.7251 | 265133.3005 | 32.55 | 27.7
239127 | 2022-05-16 11:57 | 16.0063 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.7323 | μmol/L | 18.6056 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.273 | 110827.484 | 265119.8351 | 32.55 | 27.7
239137 | 2022-05-16 11:57 | 16.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.7965 | μmol/L | 18.5995 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.272 | 110811.763 | 265104.0451 | 32.55 | 27.7
239147 | 2022-05-16 11:57 | 16.6732 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.8195 | μmol/L | 18.5934 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.273 | 110801.1715 | 265081.8978 | 32.55 | 27.7
239157 | 2022-05-16 11:58 | 17.0063 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.714 | μmol/L | 18.5995 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.276 | 110782.1633 | 265077.4365 | 32.55 | 27.7
239167 | 2022-05-16 11:58 | 17.34 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.8814 | μmol/L | 18.5934 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.27 | 110774.9568 | 265065.5236 | 32.55 | 27.7
239177 | 2022-05-16 11:58 | 17.6735 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.7988 | μmol/L | 18.5934 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.274 | 110759.7074 | 265060.164 | 32.55 | 27.7
239187 | 2022-05-16 11:59 | 18.007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.7988 | μmol/L | 18.5934 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.274 | 110744.1095 | 265046.1046 | 32.55 | 27.7
239197 | 2022-05-16 11:59 | 18.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.8195 | μmol/L | 18.5934 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.273 | 110721.0415 | 265045.992 | 32.55 | 27.7
239207 | 2022-05-16 11:59 | 18.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.8608 | μmol/L | 18.5934 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.271 | 110706.9624 | 265032.1952 | 32.55 | 27.7
239217 | 2022-05-16 12:00 | 19.0062 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.7552 | μmol/L | 18.5995 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.274 | 110690.2942 | 265016.0996 | 32.55 | 27.7
239227 | 2022-05-16 12:00 | 19.3396 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.8608 | μmol/L | 18.5934 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.271 | 110663.5309 | 265009.3305 | 32.55 | 27.7
239237 | 2022-05-16 12:00 | 19.6733 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.9251 | μmol/L | 18.5873 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.27 | 110645.8846 | 264993.6594 | 32.55 | 27.7
239247 | 2022-05-16 12:01 | 20.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.9894 | μmol/L | 18.5811 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.269 | 110629.4832 | 264987.5563 | 32.55 | 27.7
239257 | 2022-05-16 12:01 | 20.3403 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.9044 | μmol/L | 18.5873 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.271 | 110616.7004 | 264973.0461 | 32.55 | 27.7
239267 | 2022-05-16 12:01 | 20.6735 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.8631 | μmol/L | 18.5873 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.273 | 110620.0851 | 264983.4283 | 32.55 | 27.7
239277 | 2022-05-16 12:02 | 21.0065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.9044 | μmol/L | 18.5873 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.271 | 110604.5294 | 264962.5551 | 32.55 | 27.7
239287 | 2022-05-16 12:02 | 21.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.9687 | μmol/L | 18.5811 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.27 | 110599.6467 | 264959.8308 | 32.55 | 27.7
239297 | 2022-05-16 12:02 | 21.6734 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.7576 | μmol/L | 18.5934 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.276 | 110589.9784 | 264956.457 | 32.55 | 27.7
239307 | 2022-05-16 12:03 | 22.0062 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.9687 | μmol/L | 18.5811 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.27 | 110568.2165 | 264928.267 | 32.55 | 27.7
239317 | 2022-05-16 12:03 | 22.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.8655 | μmol/L | 18.5811 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.275 | 110558.0633 | 264942.5158 | 32.55 | 27.7
239327 | 2022-05-16 12:03 | 22.673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.9664 | μmol/L | 18.5873 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.268 | 110544.3779 | 264938.5666 | 32.55 | 27.7
239337 | 2022-05-16 12:04 | 23.0069 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 241.0101 | μmol/L | 18.5811 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.268 | 110525.1424 | 264920.6303 | 32.55 | 27.7
239347 | 2022-05-16 12:04 | 23.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.9894 | μmol/L | 18.5811 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.269 | 110521.9079 | 264925.1324 | 32.55 | 27.7
239357 | 2022-05-16 12:04 | 23.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.9481 | μmol/L | 18.5811 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.271 | 110494.6358 | 264906.8035 | 32.55 | 27.7
239367 | 2022-05-16 12:05 | 24.0068 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.9664 | μmol/L | 18.5873 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.268 | 110482.8037 | 264895.4213 | 32.55 | 27.7
239377 | 2022-05-16 12:05 | 24.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 241.0537 | μmol/L | 18.575 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.268 | 110468.2243 | 264890.7821 | 32.55 | 27.7
239387 | 2022-05-16 12:05 | 24.6734 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 241.0974 | μmol/L | 18.5689 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.268 | 110463.0331 | 264877.7974 | 32.55 | 27.7
239397 | 2022-05-16 12:06 | 25.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 241.0331 | μmol/L | 18.575 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.269 | 110441.9378 | 264863.3128 | 32.55 | 27.7
239407 | 2022-05-16 12:06 | 25.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 241.1181 | μmol/L | 18.5689 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.267 | 110430.1189 | 264869.597 | 32.55 | 27.7
239417 | 2022-05-16 12:06 | 25.6734 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 241.0148 | μmol/L | 18.5689 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.272 | 110413.7733 | 264844.6469 | 32.55 | 27.7
239427 | 2022-05-16 12:07 | 26.0063 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 241.1801 | μmol/L | 18.5689 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.264 | 110406.4504 | 264858.4148 | 32.55 | 27.7
239437 | 2022-05-16 12:07 | 26.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 241.1801 | μmol/L | 18.5689 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.264 | 110390.9553 | 264839.4479 | 32.55 | 27.7
239447 | 2022-05-16 12:07 | 26.6734 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 241.0354 | μmol/L | 18.5689 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.271 | 110388.7793 | 264843.8583 | 32.55 | 27.7
239457 | 2022-05-16 12:08 | 27.0065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 241.1181 | μmol/L | 18.5689 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.267 | 110383.4968 | 264832.7765 | 32.55 | 27.7
239467 | 2022-05-16 12:08 | 27.3403 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 241.1181 | μmol/L | 18.5689 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.267 | 110390.4814 | 264819.3123 | 32.55 | 27.7
239477 | 2022-05-16 12:08 | 27.6734 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.8959 | μmol/L | 18.5689 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.278 | 110400.4515 | 264798.8754 | 32.55 | 27.7
239487 | 2022-05-16 12:09 | 28.0062 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.8776 | μmol/L | 18.5628 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.281 | 110428.3407 | 264804.2393 | 32.55 | 27.7
239497 | 2022-05-16 12:09 | 28.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.8543 | μmol/L | 18.5567 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.284 | 110464.4027 | 264792.5416 | 32.55 | 27.7
239507 | 2022-05-16 12:09 | 28.6734 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.7511 | μmol/L | 18.5567 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.289 | 110359.1489 | 264792.3278 | 32.55 | 27.7
239517 | 2022-05-16 12:10 | 29.0063 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.676 | μmol/L | 18.5506 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.295 | 110394.5841 | 264780.4732 | 32.55 | 27.7
239527 | 2022-05-16 12:10 | 29.3403 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.6348 | μmol/L | 18.5506 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.297 | 110417.912 | 264776.2074 | 32.55 | 27.7
239537 | 2022-05-16 12:10 | 29.6732 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.3825 | μmol/L | 18.5506 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.309 | 110476.1989 | 264760.927 | 32.55 | 27.7
239547 | 2022-05-16 12:11 | 30.0062 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.3232 | μmol/L | 18.5444 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.314 | 110523.3598 | 264753.178 | 32.55 | 27.7
239557 | 2022-05-16 12:11 | 30.3396 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.282 | μmol/L | 18.5444 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.316 | 110524.0675 | 264746.0798 | 32.55 | 27.7
239567 | 2022-05-16 12:11 | 30.6734 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.2641 | μmol/L | 18.5506 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.315 | 110518.8195 | 264736.0379 | 32.55 | 27.7
239577 | 2022-05-16 12:12 | 31.0063 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.2048 | μmol/L | 18.5444 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.32 | 110514.5677 | 264746.401 | 32.55 | 27.7
239587 | 2022-05-16 12:12 | 31.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.2277 | μmol/L | 18.5383 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.321 | 110530.4398 | 264740.2087 | 32.55 | 27.7
239597 | 2022-05-16 12:12 | 31.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.1019 | μmol/L | 18.5444 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.325 | 110549.472 | 264734.8909 | 32.55 | 27.7
239607 | 2022-05-16 12:13 | 32.0069 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 239.9555 | μmol/L | 18.5383 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.334 | 110595.0281 | 264720.6856 | 32.55 | 27.7
239617 | 2022-05-16 12:13 | 32.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 239.8554 | μmol/L | 18.5444 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.337 | 110598.5634 | 264719.2449 | 32.55 | 27.7
239627 | 2022-05-16 12:13 | 32.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 239.8808 | μmol/L | 18.5322 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.34 | 110607.9703 | 264695.7848 | 32.55 | 27.7
239637 | 2022-05-16 12:14 | 33.0066 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 239.8578 | μmol/L | 18.5383 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.339 | 110587.9478 | 264699.7274 | 32.55 | 27.7
239647 | 2022-05-16 12:14 | 33.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 239.8602 | μmol/L | 18.5322 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.341 | 110585.3808 | 264705.0847 | 32.55 | 27.7
239657 | 2022-05-16 12:14 | 33.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 239.9267 | μmol/L | 18.52 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.342 | 110590.9464 | 264674.5 | 32.55 | 27.7
239667 | 2022-05-16 12:15 | 34.0065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 239.8241 | μmol/L | 18.52 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.347 | 110600.0528 | 264690.6765 | 32.55 | 27.7
239677 | 2022-05-16 12:15 | 34.3403 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 239.8495 | μmol/L | 18.5078 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.35 | 110630.032 | 264659.0082 | 32.55 | 27.7
239687 | 2022-05-16 12:15 | 34.6732 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 239.6829 | μmol/L | 18.5139 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.356 | 110627.751 | 264640.8111 | 32.55 | 27.7
239697 | 2022-05-16 12:16 | 35.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 239.7879 | μmol/L | 18.5078 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.353 | 110625.4215 | 264659.7194 | 32.55 | 27.7
239707 | 2022-05-16 12:16 | 35.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 239.7034 | μmol/L | 18.5139 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.355 | 110623.4706 | 264641.4062 | 32.55 | 27.7
239717 | 2022-05-16 12:16 | 35.6735 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 239.5165 | μmol/L | 18.52 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.362 | 110629.1201 | 264641.2628 | 32.55 | 27.7
239727 | 2022-05-16 12:17 | 36.0067 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 239.414 | μmol/L | 18.52 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.367 | 110646.779 | 264629.9783 | 32.55 | 27.7
239737 | 2022-05-16 12:17 | 36.3399 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 239.2683 | μmol/L | 18.5261 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.372 | 110671.5668 | 264630.531 | 32.55 | 27.7
239747 | 2022-05-16 12:17 | 36.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 239.0866 | μmol/L | 18.52 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.383 | 110714.5181 | 264631.0666 | 32.55 | 27.7
239757 | 2022-05-16 12:18 | 37.0063 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 239.0662 | μmol/L | 18.52 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.384 | 110751.1203 | 264620.6133 | 32.55 | 27.7
239767 | 2022-05-16 12:18 | 37.3403 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 238.8848 | μmol/L | 18.5139 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.395 | 110776.6072 | 264620.6456 | 32.55 | 27.7
239777 | 2022-05-16 12:18 | 37.6734 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 238.8031 | μmol/L | 18.5139 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.399 | 110808.7129 | 264604.7006 | 32.55 | 27.7
239787 | 2022-05-16 12:19 | 38.0066 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 238.6986 | μmol/L | 18.52 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.402 | 110837.4618 | 264607.0561 | 32.55 | 27.7
239797 | 2022-05-16 12:19 | 38.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 238.6399 | μmol/L | 18.5139 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.407 | 110840.616 | 264611.3887 | 32.55 | 27.7
239807 | 2022-05-16 12:19 | 38.6729 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 238.3928 | μmol/L | 18.52 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.417 | 110860.2167 | 264601.2489 | 32.55 | 27.7
239817 | 2022-05-16 12:20 | 39.0069 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 238.4182 | μmol/L | 18.5078 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.42 | 110886.118 | 264596.5615 | 32.55 | 27.7
239827 | 2022-05-16 12:20 | 39.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 238.2756 | μmol/L | 18.5078 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.427 | 110910.5993 | 264578.8347 | 32.55 | 27.7
239837 | 2022-05-16 12:20 | 39.6733 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 238.1714 | μmol/L | 18.5139 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.43 | 110945.2294 | 264571.9091 | 32.55 | 27.7
239847 | 2022-05-16 12:21 | 40.0066 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 237.9884 | μmol/L | 18.5139 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.439 | 110976.0796 | 264569.6126 | 32.55 | 27.7
239857 | 2022-05-16 12:21 | 40.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 237.8462 | μmol/L | 18.5139 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.446 | 111012.4823 | 264576.1099 | 32.55 | 27.7
239867 | 2022-05-16 12:21 | 40.6732 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 237.7674 | μmol/L | 18.5078 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.452 | 111036.4565 | 264566.9577 | 32.55 | 27.7
239877 | 2022-05-16 12:22 | 41.0069 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 237.6863 | μmol/L | 18.5078 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.456 | 111052.7104 | 264570.673 | 32.55 | 27.7
239887 | 2022-05-16 12:22 | 41.34 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 237.486 | μmol/L | 18.5016 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.468 | 111075.3693 | 264564.1769 | 32.55 | 27.7
239897 | 2022-05-16 12:22 | 41.6734 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 237.5899 | μmol/L | 18.4955 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.465 | 111093.4002 | 264553.3086 | 32.55 | 27.7
239907 | 2022-05-16 12:23 | 42.0062 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 237.4454 | μmol/L | 18.5016 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.47 | 111119.113 | 264549.3997 | 32.55 | 27.7
239917 | 2022-05-16 12:23 | 42.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 237.4277 | μmol/L | 18.4955 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.473 | 111126.3387 | 264552.754 | 32.55 | 27.7
239927 | 2022-05-16 12:23 | 42.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 237.3036 | μmol/L | 18.5016 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.477 | 111157.7444 | 264552.9432 | 32.55 | 27.7
239937 | 2022-05-16 12:24 | 43.0063 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 237.2454 | μmol/L | 18.4955 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.482 | 111170.6029 | 264539.0859 | 32.55 | 27.7
239947 | 2022-05-16 12:24 | 43.3399 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 237.167 | μmol/L | 18.4894 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.488 | 111185.4683 | 264536.7178 | 32.55 | 27.7
239957 | 2022-05-16 12:24 | 43.673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 237.1064 | μmol/L | 18.4894 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.491 | 111213.0091 | 264521.2665 | 32.55 | 27.7
239967 | 2022-05-16 12:25 | 44.007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.985 | μmol/L | 18.4894 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.497 | 111240.4484 | 264524.1804 | 32.55 | 27.7
239977 | 2022-05-16 12:25 | 44.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.9042 | μmol/L | 18.4894 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.501 | 111262.5919 | 264527.6384 | 32.55 | 27.7
239987 | 2022-05-16 12:25 | 44.6734 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.8638 | μmol/L | 18.4894 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.503 | 111272.8614 | 264527.541 | 32.55 | 27.7
239997 | 2022-05-16 12:26 | 45.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.7426 | μmol/L | 18.4894 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.509 | 111284.6035 | 264518.197 | 32.55 | 27.7
240007 | 2022-05-16 12:26 | 45.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.7452 | μmol/L | 18.4833 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.511 | 111286.9188 | 264518.5758 | 32.55 | 27.7
240017 | 2022-05-16 12:26 | 45.6735 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.7452 | μmol/L | 18.4833 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.511 | 111292.052 | 264506.9943 | 32.55 | 27.7
240027 | 2022-05-16 12:27 | 46.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.7503 | μmol/L | 18.4711 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.515 | 111300.7232 | 264523.2003 | 32.55 | 27.7
240037 | 2022-05-16 12:27 | 46.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.7048 | μmol/L | 18.4833 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.513 | 111304.6375 | 264507.7912 | 32.55 | 27.7
240047 | 2022-05-16 12:27 | 46.6729 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.7452 | μmol/L | 18.4833 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.511 | 111310.6143 | 264509.4621 | 32.55 | 27.7
240057 | 2022-05-16 12:28 | 47.007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.5636 | μmol/L | 18.4833 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.52 | 111317.4801 | 264506.6417 | 32.55 | 27.7
240067 | 2022-05-16 12:28 | 47.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.4375 | μmol/L | 18.4955 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.522 | 111328.3233 | 264507.8084 | 32.55 | 27.7
240077 | 2022-05-16 12:28 | 47.6732 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.3569 | μmol/L | 18.4955 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.526 | 111334.1541 | 264501.5925 | 32.55 | 27.7
240087 | 2022-05-16 12:29 | 48.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.3796 | μmol/L | 18.4894 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.527 | 111342.8466 | 264501.2048 | 32.55 | 27.7
240097 | 2022-05-16 12:29 | 48.3396 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.3998 | μmol/L | 18.4894 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.526 | 111342.0481 | 264496.8806 | 32.55 | 27.7
240107 | 2022-05-16 12:29 | 48.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.4023 | μmol/L | 18.4833 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.528 | 111358.5724 | 264492.6966 | 32.55 | 27.7
240117 | 2022-05-16 12:30 | 49.0067 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.2789 | μmol/L | 18.4894 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.532 | 111361.3362 | 264494.2826 | 32.55 | 27.7
240127 | 2022-05-16 12:30 | 49.3399 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.1555 | μmol/L | 18.4955 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.536 | 111372.4486 | 264481.3014 | 32.55 | 27.7
240137 | 2022-05-16 12:30 | 49.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.1555 | μmol/L | 18.4955 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.536 | 111391.4477 | 264482.5461 | 32.55 | 27.7
240147 | 2022-05-16 12:31 | 50.0063 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.1607 | μmol/L | 18.4833 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.54 | 111390.2876 | 264488.9193 | 32.55 | 27.7
240157 | 2022-05-16 12:31 | 50.3403 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.1808 | μmol/L | 18.4833 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.539 | 111406.4542 | 264473.4141 | 32.55 | 27.7
240167 | 2022-05-16 12:31 | 50.6735 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.0199 | μmol/L | 18.4833 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.547 | 111415.2062 | 264473.7418 | 32.55 | 27.7
240177 | 2022-05-16 12:32 | 51.0066 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 235.9621 | μmol/L | 18.4772 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.552 | 111441.4786 | 264477.7938 | 32.55 | 27.7
240187 | 2022-05-16 12:32 | 51.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 235.9822 | μmol/L | 18.4772 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.551 | 111453.8466 | 264484.0194 | 32.55 | 27.7
240197 | 2022-05-16 12:32 | 51.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 235.9446 | μmol/L | 18.4711 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.555 | 111465.1143 | 264476.7457 | 32.55 | 27.7
240207 | 2022-05-16 12:33 | 52.0063 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 235.6984 | μmol/L | 18.4833 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.563 | 111486.612 | 264467.6147 | 32.55 | 27.7
240217 | 2022-05-16 12:33 | 52.3403 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 235.6582 | μmol/L | 18.4833 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.565 | 111512.19 | 264471.3016 | 32.55 | 27.7
240227 | 2022-05-16 12:33 | 52.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 235.6408 | μmol/L | 18.4772 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.568 | 111542.0772 | 264474.4977 | 32.55 | 27.7
240237 | 2022-05-16 12:34 | 53.0063 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 235.4829 | μmol/L | 18.4711 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.578 | 111583.6314 | 264456.6009 | 32.55 | 27.7
240247 | 2022-05-16 12:34 | 53.3396 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 235.3627 | μmol/L | 18.4711 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.584 | 111615.7055 | 264474.0917 | 32.55 | 27.7
240257 | 2022-05-16 12:34 | 53.6735 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 235.2425 | μmol/L | 18.4711 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.59 | 111642.5331 | 264468.2889 | 32.55 | 27.7
240267 | 2022-05-16 12:35 | 54.0066 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 235.0597 | μmol/L | 18.4772 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.597 | 111663.3689 | 264466.688 | 32.55 | 27.7
240277 | 2022-05-16 12:35 | 54.3396 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 235.0223 | μmol/L | 18.4711 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.601 | 111680.608 | 264457.8359 | 32.55 | 27.7
240287 | 2022-05-16 12:35 | 54.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 234.9597 | μmol/L | 18.4772 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.602 | 111684.848 | 264448.6208 | 32.55 | 27.7
240297 | 2022-05-16 12:36 | 55.007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 234.8398 | μmol/L | 18.4772 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.608 | 111699.5699 | 264449.7747 | 32.55 | 27.7
240307 | 2022-05-16 12:36 | 55.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 234.7599 | μmol/L | 18.4772 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.612 | 111707.3625 | 264443.846 | 32.55 | 27.7
240317 | 2022-05-16 12:36 | 55.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 234.8451 | μmol/L | 18.465 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.612 | 111723.7022 | 264450.7241 | 32.55 | 27.7
240327 | 2022-05-16 12:37 | 56.0071 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 234.5802 | μmol/L | 18.4772 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.621 | 111772.3225 | 264433.8303 | 32.55 | 27.7
240337 | 2022-05-16 12:37 | 56.34 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 234.5629 | μmol/L | 18.4711 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.624 | 111807.548 | 264442.7485 | 32.55 | 27.7
240347 | 2022-05-16 12:37 | 56.6732 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 234.3435 | μmol/L | 18.4711 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.635 | 111834.2542 | 264443.9297 | 32.55 | 27.7
240357 | 2022-05-16 12:38 | 57.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 234.3661 | μmol/L | 18.465 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.636 | 111847.525 | 264429.7638 | 32.55 | 27.7
240367 | 2022-05-16 12:38 | 57.3395 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 234.2466 | μmol/L | 18.465 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.642 | 111877.0743 | 264438.445 | 32.55 | 27.7
240377 | 2022-05-16 12:38 | 57.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 234.0873 | μmol/L | 18.465 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.65 | 111904.8511 | 264435.5204 | 32.55 | 27.7
240387 | 2022-05-16 12:39 | 58.0067 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 234.0276 | μmol/L | 18.465 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.653 | 111918.9862 | 264442.8461 | 32.55 | 27.7
240397 | 2022-05-16 12:39 | 58.3396 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 234.0276 | μmol/L | 18.465 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.653 | 111942.3356 | 264433.6622 | 32.55 | 27.7
240407 | 2022-05-16 12:39 | 58.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 233.8911 | μmol/L | 18.4588 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.662 | 111953.5584 | 264431.6213 | 32.55 | 27.7
240417 | 2022-05-16 12:40 | 59.0068 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 233.9733 | μmol/L | 18.4527 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.66 | 111982.1152 | 264426.1872 | 32.55 | 27.7
240427 | 2022-05-16 12:40 | 59.3399 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 233.8315 | μmol/L | 18.4588 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.665 | 111998.0942 | 264420.5814 | 32.55 | 27.7
240437 | 2022-05-16 12:40 | 59.673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 233.7719 | μmol/L | 18.4588 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.668 | 112019.6 | 264426.889 | 32.55 | 27.7
240447 | 2022-05-16 12:41 | 60.0062 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 233.5336 | μmol/L | 18.4588 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.68 | 112056.9633 | 264430.7365 | 32.55 | 27.7
240457 | 2022-05-16 12:41 | 60.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 233.4318 | μmol/L | 18.465 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.683 | 112070.9513 | 264418.242 | 32.55 | 27.7
240467 | 2022-05-16 12:41 | 60.6734 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 233.4543 | μmol/L | 18.4588 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.684 | 112097.0031 | 264413.0762 | 32.55 | 27.7
240477 | 2022-05-16 12:42 | 61.0065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 233.4173 | μmol/L | 18.4527 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.688 | 112107.011 | 264424.3914 | 32.55 | 27.7
240487 | 2022-05-16 12:42 | 61.3397 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 233.4002 | μmol/L | 18.4466 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.691 | 112124.6323 | 264427.1093 | 32.55 | 27.7
240497 | 2022-05-16 12:42 | 61.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 233.2759 | μmol/L | 18.4588 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.693 | 112135.1957 | 264405.0009 | 32.55 | 27.7
240507 | 2022-05-16 12:43 | 62.0068 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 233.14 | μmol/L | 18.4527 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.702 | 112148.6674 | 264399.3939 | 32.55 | 27.7
240517 | 2022-05-16 12:43 | 62.34 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 233.0383 | μmol/L | 18.4588 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.705 | 112178.8505 | 264404.9697 | 32.55 | 27.7
240527 | 2022-05-16 12:43 | 62.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 232.9591 | μmol/L | 18.4588 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.709 | 112197.3455 | 264394.4173 | 32.55 | 27.7
240537 | 2022-05-16 12:44 | 63.0063 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 232.8657 | μmol/L | 18.4466 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.718 | 112218.1687 | 264385.6282 | 32.55 | 27.7
240547 | 2022-05-16 12:44 | 63.3403 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 232.9052 | μmol/L | 18.4466 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.716 | 112235.5276 | 264379.7993 | 32.55 | 27.7
240557 | 2022-05-16 12:44 | 63.6734 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 232.7444 | μmol/L | 18.4527 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.722 | 112253.3317 | 264377.0243 | 32.55 | 27.7
240567 | 2022-05-16 12:45 | 64.0066 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 232.6457 | μmol/L | 18.4527 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.727 | 112263.5097 | 264377.8568 | 32.55 | 27.7
240577 | 2022-05-16 12:45 | 64.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 232.6484 | μmol/L | 18.4466 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.729 | 112284.6116 | 264383.5312 | 32.55 | 27.7
240587 | 2022-05-16 12:45 | 64.673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 232.5497 | μmol/L | 18.4466 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.734 | 112307.6079 | 264372.2112 | 32.55 | 27.7
240597 | 2022-05-16 12:46 | 65.007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 232.4483 | μmol/L | 18.4527 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.737 | 112322.1811 | 264367.9982 | 32.55 | 27.7
240607 | 2022-05-16 12:46 | 65.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 232.3497 | μmol/L | 18.4527 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.742 | 112349.3787 | 264353.9956 | 32.55 | 27.7
240617 | 2022-05-16 12:46 | 65.6733 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 232.313 | μmol/L | 18.4466 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.746 | 112366.6772 | 264357.7824 | 32.55 | 27.7
240627 | 2022-05-16 12:47 | 66.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 232.0739 | μmol/L | 18.4527 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.756 | 112391.0257 | 264359.4516 | 32.55 | 27.7
240637 | 2022-05-16 12:47 | 66.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 232.057 | μmol/L | 18.4466 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.759 | 112399.1817 | 264346.0289 | 32.55 | 27.7
240647 | 2022-05-16 12:47 | 66.6735 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.9362 | μmol/L | 18.4527 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.763 | 112428.3831 | 264355.6563 | 32.55 | 27.7
240657 | 2022-05-16 12:48 | 67.0067 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.922 | μmol/L | 18.4405 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.768 | 112442.7966 | 264335.5583 | 32.55 | 27.7
240667 | 2022-05-16 12:48 | 67.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.821 | μmol/L | 18.4466 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.771 | 112468.6893 | 264325.3577 | 32.55 | 27.7
240677 | 2022-05-16 12:48 | 67.673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.762 | μmol/L | 18.4466 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.774 | 112488.3751 | 264333.1388 | 32.55 | 27.7
240687 | 2022-05-16 12:49 | 68.007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.6049 | μmol/L | 18.4466 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.782 | 112510.2464 | 264328.7053 | 32.55 | 27.7
240697 | 2022-05-16 12:49 | 68.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.4871 | μmol/L | 18.4466 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.788 | 112530.3191 | 264319.6373 | 32.55 | 27.7
240707 | 2022-05-16 12:49 | 68.6733 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.4086 | μmol/L | 18.4466 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.792 | 112549.7393 | 264314.0065 | 32.55 | 27.7
240717 | 2022-05-16 12:50 | 69.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.3302 | μmol/L | 18.4466 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.796 | 112572.8847 | 264316.3463 | 32.55 | 27.7
240727 | 2022-05-16 12:50 | 69.3403 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.2518 | μmol/L | 18.4466 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.8 | 112587.2432 | 264303.8874 | 32.55 | 27.7
240737 | 2022-05-16 12:50 | 69.6733 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.2377 | μmol/L | 18.4344 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.805 | 112605.5873 | 264310.056 | 32.55 | 27.7
240747 | 2022-05-16 12:51 | 70.0065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.1762 | μmol/L | 18.4405 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.806 | 112618.5261 | 264295.2556 | 32.55 | 27.7
240757 | 2022-05-16 12:51 | 70.3397 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.1342 | μmol/L | 18.4466 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.806 | 112641.0619 | 264286.2459 | 32.55 | 27.7
240767 | 2022-05-16 12:51 | 70.6729 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.0223 | μmol/L | 18.4344 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.816 | 112657.5927 | 264285.8646 | 32.55 | 27.7
240777 | 2022-05-16 12:52 | 71.0065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 230.9049 | μmol/L | 18.4344 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.822 | 112669.2379 | 264280.1024 | 32.55 | 27.7
240787 | 2022-05-16 12:52 | 71.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 230.7848 | μmol/L | 18.4405 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.826 | 112681.7887 | 264284.9731 | 32.55 | 27.7
240797 | 2022-05-16 12:52 | 71.6729 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 230.7653 | μmol/L | 18.4405 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.827 | 112693.6906 | 264287.1426 | 32.55 | 27.7
240807 | 2022-05-16 12:53 | 72.0068 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 230.729 | μmol/L | 18.4344 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.831 | 112563.6127 | 264292.3113 | 32.55 | 27.7