## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-16 12:57

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
238642 | 2022-05-16 11:41 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.4055 | μmol/L | 18.6646 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.799 | 112311.1693 | 267062.1306 | 36.4 | 83.1
238652 | 2022-05-16 11:41 | 0.33737 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.9474 | μmol/L | 18.6708 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.817 | 111689.3093 | 267053.6142 | 36.4 | 83.1
238662 | 2022-05-16 11:41 | 0.67118 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.6823 | μmol/L | 18.6585 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.833 | 112507.34 | 267042.877 | 36.4 | 83.1
238672 | 2022-05-16 11:42 | 1.3451 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.5916 | μmol/L | 18.6585 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.837 | 112166.4378 | 266999.3831 | 36.4 | 83.1
238677 | 2022-05-16 11:42 | 1.8799 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 265.0471 | μmol/L | 18.6585 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.773 | 110774.7151 | 266975.1359 | 36.4 | 83.1
238690 | 2022-05-16 11:42 | 1.8799 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 265.0015 | μmol/L | 18.6585 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.775 | 110692.5628 | 266843.6702 | 36.4 | 83.1
238702 | 2022-05-16 11:43 | 2.0041 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 265.344 | μmol/L | 18.6585 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.76 | 110341.6049 | 266948.4957 | 36.4 | 83.1
238712 | 2022-05-16 11:43 | 2.3376 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.6312 | μmol/L | 18.6524 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.706 | 109805.4689 | 266940.5067 | 36.4 | 83.1
238722 | 2022-05-16 11:43 | 2.6713 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.5817 | μmol/L | 18.6585 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.706 | 109663.6688 | 266922.7812 | 36.4 | 83.1
238732 | 2022-05-16 11:44 | 3.0047 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.5393 | μmol/L | 18.6524 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.71 | 109572.1875 | 266909.8043 | 36.4 | 83.1
238742 | 2022-05-16 11:44 | 3.3373 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 265.8773 | μmol/L | 18.6463 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.741 | 109655.2922 | 266899.152 | 36.4 | 83.1
238752 | 2022-05-16 11:44 | 3.6707 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 265.4003 | μmol/L | 18.6401 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.764 | 109773.8669 | 266878.6799 | 36.4 | 83.1
238762 | 2022-05-16 11:45 | 4.0042 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 265.1455 | μmol/L | 18.6463 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.773 | 109702.0006 | 266881.6291 | 36.4 | 83.1
238772 | 2022-05-16 11:45 | 4.3376 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 265.214 | μmol/L | 18.6463 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.77 | 109697.6279 | 266861.7126 | 36.4 | 83.1
238782 | 2022-05-16 11:45 | 4.6711 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 265.6484 | μmol/L | 18.6463 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.751 | 109457.1109 | 266848.3498 | 36.4 | 83.1
238792 | 2022-05-16 11:46 | 5.0043 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.2971 | μmol/L | 18.634 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.727 | 109246.5376 | 266824.2605 | 36.4 | 83.1
238802 | 2022-05-16 11:46 | 5.3374 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.6877 | μmol/L | 18.634 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.71 | 110257.585 | 266813.1988 | 36.4 | 83.1
238812 | 2022-05-16 11:46 | 5.6714 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.1907 | μmol/L | 18.6401 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.686 | 110236.7413 | 266796.2354 | 36.4 | 83.1
238822 | 2022-05-16 11:47 | 6.0048 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.9794 | μmol/L | 18.634 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.654 | 109943.4051 | 266795.4002 | 36.4 | 83.1
238832 | 2022-05-16 11:47 | 6.3375 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 268.5156 | μmol/L | 18.6279 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.633 | 109667.1816 | 266781.2592 | 36.4 | 83.1
238842 | 2022-05-16 11:47 | 6.6707 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 269.073 | μmol/L | 18.6279 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.609 | 109409.0659 | 266759.1825 | 36.4 | 83.1
238852 | 2022-05-16 11:48 | 7.004 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 269.5387 | μmol/L | 18.6279 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.589 | 109228.0013 | 266757.8389 | 36.4 | 83.1
238862 | 2022-05-16 11:48 | 7.338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 270.0788 | μmol/L | 18.6218 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.568 | 109020.6088 | 266731.9347 | 36.4 | 83.1
238872 | 2022-05-16 11:48 | 7.6712 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 270.219 | μmol/L | 18.6218 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.562 | 109004.993 | 266717.2841 | 36.4 | 83.1
238882 | 2022-05-16 11:49 | 8.0045 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 269.7485 | μmol/L | 18.6279 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.58 | 109051.5809 | 266711.7316 | 36.4 | 83.1
238892 | 2022-05-16 11:49 | 8.3381 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 269.329 | μmol/L | 18.6279 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.598 | 109096.0253 | 266691.0132 | 36.4 | 83.1
238902 | 2022-05-16 11:49 | 8.6711 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 269.3989 | μmol/L | 18.6279 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.595 | 109075.0248 | 266677.6827 | 36.4 | 83.1
238912 | 2022-05-16 11:50 | 9.0043 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 269.5387 | μmol/L | 18.6279 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.589 | 108995.3011 | 266662.2657 | 36.4 | 83.1
238922 | 2022-05-16 11:50 | 9.3373 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 269.732 | μmol/L | 18.6156 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.585 | 108928.4043 | 266646.2541 | 36.4 | 83.1
238932 | 2022-05-16 11:50 | 9.6713 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 269.6387 | μmol/L | 18.6156 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.589 | 108896.7303 | 266632.1325 | 36.4 | 83.1
238942 | 2022-05-16 11:51 | 10.0041 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 269.6154 | μmol/L | 18.6156 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.59 | 108893.4828 | 266617.2787 | 36.4 | 83.1
238952 | 2022-05-16 11:51 | 10.338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 269.5256 | μmol/L | 18.6095 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.596 | 108878.8273 | 266610.289 | 36.4 | 83.1
238962 | 2022-05-16 11:51 | 10.6714 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 269.8088 | μmol/L | 18.6034 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.586 | 108798.669 | 266595.3313 | 36.4 | 83.1
238972 | 2022-05-16 11:52 | 11.0043 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 269.9688 | μmol/L | 18.6095 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.577 | 108541.9503 | 266565.4482 | 36.4 | 83.1
238982 | 2022-05-16 11:52 | 11.3376 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 270.3461 | μmol/L | 18.6034 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.563 | 108532.7341 | 266554.205 | 36.4 | 83.1
238992 | 2022-05-16 11:52 | 11.6713 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 270.7944 | μmol/L | 18.5973 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.546 | 108412.0594 | 266553.9901 | 36.4 | 83.1
239002 | 2022-05-16 11:53 | 12.004 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 270.7944 | μmol/L | 18.5973 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.546 | 108363.6036 | 266525.7265 | 36.4 | 83.1
239012 | 2022-05-16 11:53 | 12.3376 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 270.6973 | μmol/L | 18.6034 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.548 | 108334.0008 | 266525.6109 | 36.4 | 83.1
239022 | 2022-05-16 11:53 | 12.6713 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 270.0656 | μmol/L | 18.6034 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.575 | 108424.8218 | 266495.549 | 36.4 | 83.1
239032 | 2022-05-16 11:54 | 13.0041 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 269.11 | μmol/L | 18.6034 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.616 | 108645.0338 | 266499.9448 | 36.4 | 83.1
239042 | 2022-05-16 11:54 | 13.3377 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.9771 | μmol/L | 18.5973 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.667 | 108891.7215 | 266485.0988 | 36.4 | 83.1
239052 | 2022-05-16 11:54 | 13.6712 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.2453 | μmol/L | 18.585 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.703 | 109072.5292 | 266452.7809 | 36.4 | 83.1
239062 | 2022-05-16 11:55 | 14.004 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.723 | μmol/L | 18.5728 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.73 | 109148.0445 | 266444.6904 | 36.4 | 83.1
239072 | 2022-05-16 11:55 | 14.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.6734 | μmol/L | 18.5789 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.73 | 109121.4387 | 266411.4468 | 36.4 | 83.1
239082 | 2022-05-16 11:55 | 14.6709 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.9264 | μmol/L | 18.5789 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.719 | 109047.3047 | 266413.7425 | 36.4 | 83.1
239092 | 2022-05-16 11:56 | 15.0042 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.1301 | μmol/L | 18.585 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.708 | 109005.1606 | 266399.874 | 36.4 | 83.1
239102 | 2022-05-16 11:56 | 15.3379 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.5486 | μmol/L | 18.5789 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.692 | 108871.7018 | 266378.7718 | 36.4 | 83.1
239112 | 2022-05-16 11:56 | 15.6709 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 268.153 | μmol/L | 18.5728 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.668 | 108723.0784 | 266376.149 | 36.4 | 83.1
239122 | 2022-05-16 11:57 | 16.0045 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 268.7127 | μmol/L | 18.5667 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.646 | 108545.5957 | 266353.7296 | 36.4 | 83.1
239132 | 2022-05-16 11:57 | 16.3377 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 269.1273 | μmol/L | 18.5728 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.626 | 108400.6795 | 266329.3497 | 36.4 | 83.1
239142 | 2022-05-16 11:57 | 16.6713 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 269.3531 | μmol/L | 18.585 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.612 | 108312.8761 | 266318.6799 | 36.4 | 83.1
239152 | 2022-05-16 11:58 | 17.0047 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 269.3763 | μmol/L | 18.585 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.611 | 108273.5791 | 266316.9655 | 36.4 | 83.1
239162 | 2022-05-16 11:58 | 17.3375 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 269.31 | μmol/L | 18.5789 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.616 | 108252.742 | 266299.0411 | 36.4 | 83.1
239172 | 2022-05-16 11:58 | 17.6706 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 268.5863 | μmol/L | 18.585 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.645 | 108389.5639 | 266296.2113 | 36.4 | 83.1
239182 | 2022-05-16 11:59 | 18.0043 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.8293 | μmol/L | 18.5728 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.682 | 108670.711 | 266272.1532 | 36.4 | 83.1
239192 | 2022-05-16 11:59 | 18.3379 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.2488 | μmol/L | 18.5789 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.705 | 108748.5661 | 266260.9202 | 36.4 | 83.1
239202 | 2022-05-16 11:59 | 18.6713 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.0911 | μmol/L | 18.5728 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.714 | 108786.5662 | 266253.6554 | 36.4 | 83.1
239212 | 2022-05-16 12:00 | 19.0048 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.8609 | μmol/L | 18.5728 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.724 | 108807.4692 | 266237.6597 | 36.4 | 83.1
239222 | 2022-05-16 12:00 | 19.3374 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.0168 | μmol/L | 18.5422 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.728 | 108820.6089 | 266228.1921 | 36.4 | 83.1
239232 | 2022-05-16 12:00 | 19.6713 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.6382 | μmol/L | 18.5605 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.738 | 108827.0021 | 266234.7031 | 36.4 | 83.1
239242 | 2022-05-16 12:01 | 20.0041 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.5039 | μmol/L | 18.5544 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.746 | 108817.941 | 266214.0911 | 36.4 | 83.1
239252 | 2022-05-16 12:01 | 20.3381 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.4121 | μmol/L | 18.5544 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.75 | 108812.8661 | 266204.8262 | 36.4 | 83.1
239262 | 2022-05-16 12:01 | 20.6714 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.6223 | μmol/L | 18.5483 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.743 | 108746.6694 | 266198.4554 | 36.4 | 83.1
239272 | 2022-05-16 12:02 | 21.0045 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.7761 | μmol/L | 18.5605 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.732 | 108631.9082 | 266177.8803 | 36.4 | 83.1
239282 | 2022-05-16 12:02 | 21.338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.8645 | μmol/L | 18.5667 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.726 | 108587.2999 | 266161.1416 | 36.4 | 83.1
239292 | 2022-05-16 12:02 | 21.6712 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.1442 | μmol/L | 18.5605 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.716 | 108487.272 | 266161.208 | 36.4 | 83.1
239302 | 2022-05-16 12:03 | 22.0045 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.2825 | μmol/L | 18.5605 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.71 | 108413.6146 | 266157.0725 | 36.4 | 83.1
239312 | 2022-05-16 12:03 | 22.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.3286 | μmol/L | 18.5605 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.708 | 108379.9455 | 266152.5403 | 36.4 | 83.1
239322 | 2022-05-16 12:03 | 22.6711 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.2594 | μmol/L | 18.5605 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.711 | 108361.769 | 266154.1198 | 36.4 | 83.1
239332 | 2022-05-16 12:04 | 23.0048 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.3091 | μmol/L | 18.5544 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.711 | 108363.4232 | 266140.1306 | 36.4 | 83.1
239342 | 2022-05-16 12:04 | 23.3379 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.1708 | μmol/L | 18.5544 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.717 | 108353.7235 | 266135.2634 | 36.4 | 83.1
239352 | 2022-05-16 12:04 | 23.6708 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.1939 | μmol/L | 18.5544 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.716 | 108319.4393 | 266120.6621 | 36.4 | 83.1
239362 | 2022-05-16 12:05 | 24.0048 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.1478 | μmol/L | 18.5544 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.718 | 108288.2088 | 266113.5113 | 36.4 | 83.1
239372 | 2022-05-16 12:05 | 24.3375 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.3357 | μmol/L | 18.5483 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.712 | 108233.7877 | 266100.3867 | 36.4 | 83.1
239382 | 2022-05-16 12:05 | 24.6711 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.6089 | μmol/L | 18.5544 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.698 | 108150.0028 | 266078.9883 | 36.4 | 83.1
239392 | 2022-05-16 12:06 | 25.0042 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.6782 | μmol/L | 18.5544 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.695 | 108061.2375 | 266075.8652 | 36.4 | 83.1
239402 | 2022-05-16 12:06 | 25.3375 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 268.2134 | μmol/L | 18.5483 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.674 | 107964.2906 | 266077.6322 | 36.4 | 83.1
239412 | 2022-05-16 12:06 | 25.6711 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 268.306 | μmol/L | 18.5483 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.67 | 107921.3836 | 266067.4698 | 36.4 | 83.1
239422 | 2022-05-16 12:07 | 26.0043 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 268.7338 | μmol/L | 18.5299 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.658 | 107853.587 | 266053.3023 | 36.4 | 83.1
239432 | 2022-05-16 12:07 | 26.3377 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 268.8463 | μmol/L | 18.536 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.651 | 107807.9935 | 266049.846 | 36.4 | 83.1
239442 | 2022-05-16 12:07 | 26.6714 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 269.1053 | μmol/L | 18.5299 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.642 | 107743.4578 | 266044.5871 | 36.4 | 83.1
239452 | 2022-05-16 12:08 | 27.0046 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 269.1088 | μmol/L | 18.5238 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.644 | 107716.5639 | 266030.5256 | 36.4 | 83.1
239462 | 2022-05-16 12:08 | 27.3375 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 268.5019 | μmol/L | 18.5299 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.668 | 107858.7988 | 266021.4943 | 36.4 | 83.1
239472 | 2022-05-16 12:08 | 27.6713 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.2844 | μmol/L | 18.5177 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.725 | 108134.983 | 266011.0426 | 36.4 | 83.1
239482 | 2022-05-16 12:09 | 28.0042 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.6862 | μmol/L | 18.5177 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.751 | 108274.2743 | 266002.9647 | 36.4 | 83.1
239492 | 2022-05-16 12:09 | 28.3374 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.132 | μmol/L | 18.5238 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.773 | 108359.6614 | 266001.8137 | 36.4 | 83.1
239502 | 2022-05-16 12:09 | 28.6714 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 265.8343 | μmol/L | 18.5238 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.786 | 108500.1172 | 265982.5644 | 36.4 | 83.1
239512 | 2022-05-16 12:10 | 29.0044 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 265.5599 | μmol/L | 18.5238 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.798 | 108700.4837 | 265972.7405 | 36.4 | 83.1
239522 | 2022-05-16 12:10 | 29.3376 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 265.0541 | μmol/L | 18.5299 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.818 | 108793.8295 | 265973.7038 | 36.4 | 83.1
239532 | 2022-05-16 12:10 | 29.671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.7844 | μmol/L | 18.5238 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.832 | 108822.6132 | 265950.9242 | 36.4 | 83.1
239542 | 2022-05-16 12:11 | 30.0048 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.7771 | μmol/L | 18.536 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.828 | 108805.3809 | 265951.6479 | 36.4 | 83.1
239552 | 2022-05-16 12:11 | 30.3375 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 265.024 | μmol/L | 18.5422 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.815 | 108717.9113 | 265938.3037 | 36.4 | 83.1
239562 | 2022-05-16 12:11 | 30.6707 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 265.3964 | μmol/L | 18.5299 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.803 | 108605.2054 | 265920.2907 | 36.4 | 83.1
239572 | 2022-05-16 12:12 | 31.0045 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 265.8957 | μmol/L | 18.536 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.779 | 108485.6831 | 265924.6534 | 36.4 | 83.1
239582 | 2022-05-16 12:12 | 31.3373 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.1971 | μmol/L | 18.5299 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.768 | 108370.6854 | 265909.8718 | 36.4 | 83.1
239592 | 2022-05-16 12:12 | 31.6712 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.6331 | μmol/L | 18.5299 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.749 | 108274.3436 | 265905.3742 | 36.4 | 83.1
239602 | 2022-05-16 12:13 | 32.0042 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.0045 | μmol/L | 18.5238 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.735 | 108159.7358 | 265906.8527 | 36.4 | 83.1
239612 | 2022-05-16 12:13 | 32.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.3535 | μmol/L | 18.5177 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.722 | 108069.864 | 265879.1349 | 36.4 | 83.1
239622 | 2022-05-16 12:13 | 32.6708 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.4918 | μmol/L | 18.5177 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.716 | 107971.2474 | 265878.6931 | 36.4 | 83.1
239632 | 2022-05-16 12:14 | 33.0045 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.4421 | μmol/L | 18.5238 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.716 | 107956.4108 | 265875.0294 | 36.4 | 83.1
239642 | 2022-05-16 12:14 | 33.3373 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.373 | μmol/L | 18.5238 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.719 | 107947.5417 | 265870.2141 | 36.4 | 83.1
239652 | 2022-05-16 12:14 | 33.6714 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.313 | μmol/L | 18.5177 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.724 | 107918.4188 | 265843.4364 | 36.4 | 83.1
239662 | 2022-05-16 12:15 | 34.0047 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.2578 | μmol/L | 18.5238 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.724 | 107915.1746 | 265837.3937 | 36.4 | 83.1
239672 | 2022-05-16 12:15 | 34.3376 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.2439 | μmol/L | 18.5177 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.727 | 107931.6616 | 265836.7459 | 36.4 | 83.1
239682 | 2022-05-16 12:15 | 34.6706 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.0771 | μmol/L | 18.5177 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.734 | 107933.973 | 265834.2658 | 36.4 | 83.1
239692 | 2022-05-16 12:16 | 35.0046 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.8665 | μmol/L | 18.5238 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.741 | 107944.239 | 265821.9981 | 36.4 | 83.1
239702 | 2022-05-16 12:16 | 35.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.8277 | μmol/L | 18.5115 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.747 | 107943.9626 | 265815.9543 | 36.4 | 83.1
239712 | 2022-05-16 12:16 | 35.671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.6016 | μmol/L | 18.5054 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.759 | 107997.3056 | 265807.189 | 36.4 | 83.1
239722 | 2022-05-16 12:17 | 36.0042 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.1621 | μmol/L | 18.5115 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.776 | 108044.7892 | 265803.4962 | 36.4 | 83.1
239732 | 2022-05-16 12:17 | 36.3373 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 265.8399 | μmol/L | 18.5238 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.786 | 108103.1963 | 265792.8991 | 36.4 | 83.1
239742 | 2022-05-16 12:17 | 36.6714 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 265.7043 | μmol/L | 18.5115 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.796 | 108127.4698 | 265772.9861 | 36.4 | 83.1
239752 | 2022-05-16 12:18 | 37.0045 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 265.5727 | μmol/L | 18.5115 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.802 | 108128.848 | 265761.255 | 36.4 | 83.1
239762 | 2022-05-16 12:18 | 37.3377 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 265.4585 | μmol/L | 18.5115 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.807 | 108118.7594 | 265767.2462 | 36.4 | 83.1
239772 | 2022-05-16 12:18 | 37.6709 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 265.4622 | μmol/L | 18.5054 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.809 | 108107.7447 | 265759.4876 | 36.4 | 83.1
239782 | 2022-05-16 12:19 | 38.004 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 265.5499 | μmol/L | 18.5115 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.803 | 108089.3493 | 265765.1042 | 36.4 | 83.1
239792 | 2022-05-16 12:19 | 38.338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 265.5535 | μmol/L | 18.5054 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.805 | 108071.0894 | 265749.7782 | 36.4 | 83.1
239802 | 2022-05-16 12:19 | 38.6712 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 265.5956 | μmol/L | 18.5115 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.801 | 108041.9349 | 265746.1858 | 36.4 | 83.1
239812 | 2022-05-16 12:20 | 39.0044 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 265.6184 | μmol/L | 18.5115 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.8 | 108003.4555 | 265742.9704 | 36.4 | 83.1
239822 | 2022-05-16 12:20 | 39.3375 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 265.7785 | μmol/L | 18.5115 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.793 | 107974.2252 | 265737.0913 | 36.4 | 83.1
239832 | 2022-05-16 12:20 | 39.6707 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 265.8965 | μmol/L | 18.5054 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.79 | 107948.1956 | 265722.4373 | 36.4 | 83.1
239842 | 2022-05-16 12:21 | 40.004 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.0604 | μmol/L | 18.4993 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.785 | 107896.9095 | 265715.2021 | 36.4 | 83.1
239852 | 2022-05-16 12:21 | 40.338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.2015 | μmol/L | 18.4932 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.781 | 107854.6461 | 265716.3199 | 36.4 | 83.1
239862 | 2022-05-16 12:21 | 40.6711 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.152 | μmol/L | 18.4993 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.781 | 107839.4939 | 265705.5333 | 36.4 | 83.1
239872 | 2022-05-16 12:22 | 41.0043 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.2739 | μmol/L | 18.487 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.78 | 107810.4652 | 265716.1324 | 36.4 | 83.1
239882 | 2022-05-16 12:22 | 41.3381 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.3161 | μmol/L | 18.4932 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.776 | 107796.7563 | 265717.1629 | 36.4 | 83.1
239892 | 2022-05-16 12:22 | 41.6713 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.1749 | μmol/L | 18.4993 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.78 | 107790.5562 | 265711.2313 | 36.4 | 83.1
239902 | 2022-05-16 12:23 | 42.0042 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 265.9917 | μmol/L | 18.4993 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.788 | 107795.9773 | 265711.3239 | 36.4 | 83.1
239912 | 2022-05-16 12:23 | 42.3379 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.0604 | μmol/L | 18.4993 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.785 | 107783.4083 | 265707.9411 | 36.4 | 83.1
239922 | 2022-05-16 12:23 | 42.6708 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.064 | μmol/L | 18.4932 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.787 | 107753.609 | 265705.8549 | 36.4 | 83.1
239932 | 2022-05-16 12:24 | 43.0047 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.1135 | μmol/L | 18.487 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.787 | 107720.1518 | 265689.4775 | 36.4 | 83.1
239942 | 2022-05-16 12:24 | 43.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.2244 | μmol/L | 18.4932 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.78 | 107679.1343 | 265691.5976 | 36.4 | 83.1
239952 | 2022-05-16 12:24 | 43.671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.1593 | μmol/L | 18.487 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.785 | 107701.047 | 265695.1107 | 36.4 | 83.1
239962 | 2022-05-16 12:25 | 44.0043 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 265.6559 | μmol/L | 18.487 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.807 | 107843.9658 | 265690.0757 | 36.4 | 83.1
239972 | 2022-05-16 12:25 | 44.3373 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 265.1044 | μmol/L | 18.4932 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.829 | 107950.8642 | 265682.3913 | 36.4 | 83.1
239982 | 2022-05-16 12:25 | 44.6712 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.4708 | μmol/L | 18.487 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.859 | 108110.8289 | 265677.8075 | 36.4 | 83.1
239992 | 2022-05-16 12:26 | 45.0044 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.9677 | μmol/L | 18.4932 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.879 | 108215.1145 | 265675.2978 | 36.4 | 83.1
240002 | 2022-05-16 12:26 | 45.3381 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.8127 | μmol/L | 18.487 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.888 | 108265.3348 | 265677.1865 | 36.4 | 83.1
240012 | 2022-05-16 12:26 | 45.671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.3338 | μmol/L | 18.4932 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.907 | 108331.1052 | 265673.4338 | 36.4 | 83.1
240022 | 2022-05-16 12:27 | 46.0044 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 262.7281 | μmol/L | 18.487 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.936 | 108498.3499 | 265665.5548 | 36.4 | 83.1
240032 | 2022-05-16 12:27 | 46.3374 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 261.4474 | μmol/L | 18.487 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.993 | 108786.0107 | 265669.1637 | 36.4 | 83.1
240042 | 2022-05-16 12:27 | 46.6715 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.952 | μmol/L | 18.487 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.06 | 109125.6474 | 265670.2191 | 36.4 | 83.1
240052 | 2022-05-16 12:28 | 47.0047 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.8691 | μmol/L | 18.4809 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.111 | 109396.077 | 265681.4738 | 36.4 | 83.1
240062 | 2022-05-16 12:28 | 47.3379 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.3869 | μmol/L | 18.4748 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.135 | 109519.6231 | 265666.4311 | 36.4 | 83.1
240072 | 2022-05-16 12:28 | 47.671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.1663 | μmol/L | 18.4748 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.145 | 109559.3929 | 265672.1201 | 36.4 | 83.1
240082 | 2022-05-16 12:29 | 48.0042 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.9861 | μmol/L | 18.4809 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.151 | 109601.4616 | 265665.4396 | 36.4 | 83.1
240092 | 2022-05-16 12:29 | 48.3382 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.8359 | μmol/L | 18.4748 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.16 | 109639.8611 | 265667.578 | 36.4 | 83.1
240102 | 2022-05-16 12:29 | 48.6714 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.902 | μmol/L | 18.4748 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.157 | 109613.4632 | 265647.2625 | 36.4 | 83.1
240112 | 2022-05-16 12:30 | 49.0045 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.2584 | μmol/L | 18.4687 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.143 | 109524.96 | 265657.0025 | 36.4 | 83.1
240122 | 2022-05-16 12:30 | 49.3377 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.6662 | μmol/L | 18.487 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.118 | 109379.2683 | 265670.4892 | 36.4 | 83.1
240132 | 2022-05-16 12:30 | 49.6708 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.556 | μmol/L | 18.4809 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.08 | 109194.7217 | 265652.9055 | 36.4 | 83.1
240142 | 2022-05-16 12:31 | 50.0041 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 260.16 | μmol/L | 18.4748 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.055 | 109037.6467 | 265651.3767 | 36.4 | 83.1
240152 | 2022-05-16 12:31 | 50.3381 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 260.7395 | μmol/L | 18.4748 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.029 | 108870.9451 | 265651.672 | 36.4 | 83.1
240162 | 2022-05-16 12:31 | 50.6713 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 261.3654 | μmol/L | 18.4748 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.001 | 108734.4576 | 265647.1243 | 36.4 | 83.1
240172 | 2022-05-16 12:32 | 51.0044 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 261.8548 | μmol/L | 18.4809 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.977 | 108654.219 | 265628.811 | 36.4 | 83.1
240182 | 2022-05-16 12:32 | 51.3376 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 262.3079 | μmol/L | 18.4748 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.959 | 108539.1538 | 265647.0365 | 36.4 | 83.1
240192 | 2022-05-16 12:32 | 51.6707 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 262.623 | μmol/L | 18.4748 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.945 | 108441.6348 | 265632.6977 | 36.4 | 83.1
240202 | 2022-05-16 12:33 | 52.004 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 262.8258 | μmol/L | 18.4748 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.936 | 108385.9826 | 265626.9437 | 36.4 | 83.1
240212 | 2022-05-16 12:33 | 52.338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.1191 | μmol/L | 18.4748 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.923 | 108329.6927 | 265623.4986 | 36.4 | 83.1
240222 | 2022-05-16 12:33 | 52.6712 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.4392 | μmol/L | 18.4687 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.911 | 108270.6821 | 265639.1747 | 36.4 | 83.1
240232 | 2022-05-16 12:34 | 53.0045 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.4128 | μmol/L | 18.4748 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.91 | 108231.3481 | 265634.6018 | 36.4 | 83.1
240242 | 2022-05-16 12:34 | 53.3381 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.5485 | μmol/L | 18.4748 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.904 | 108208.1261 | 265634.6192 | 36.4 | 83.1
240252 | 2022-05-16 12:34 | 53.6707 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.7861 | μmol/L | 18.4564 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.9 | 108166.216 | 265642.387 | 36.4 | 83.1
240262 | 2022-05-16 12:35 | 54.0041 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.9673 | μmol/L | 18.4564 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.892 | 108116.6711 | 265621.3802 | 36.4 | 83.1
240272 | 2022-05-16 12:35 | 54.3374 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.99 | μmol/L | 18.4564 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.891 | 108085.2907 | 265622.4504 | 36.4 | 83.1
240282 | 2022-05-16 12:35 | 54.6715 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.7861 | μmol/L | 18.4564 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.9 | 108117.8785 | 265621.0098 | 36.4 | 83.1
240292 | 2022-05-16 12:36 | 55.0046 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.5749 | μmol/L | 18.4687 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.905 | 108139.9472 | 265620.1453 | 36.4 | 83.1
240302 | 2022-05-16 12:36 | 55.3379 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.5334 | μmol/L | 18.4625 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.909 | 108143.0692 | 265612.814 | 36.4 | 83.1
240312 | 2022-05-16 12:36 | 55.6713 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.5145 | μmol/L | 18.4564 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.912 | 108135.9087 | 265613.6608 | 36.4 | 83.1
240322 | 2022-05-16 12:37 | 56.0047 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.4919 | μmol/L | 18.4564 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.913 | 108126.2098 | 265610.1057 | 36.4 | 83.1
240332 | 2022-05-16 12:37 | 56.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.6239 | μmol/L | 18.4625 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.905 | 108083.4597 | 265616.3149 | 36.4 | 83.1
240342 | 2022-05-16 12:37 | 56.6708 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.922 | μmol/L | 18.4564 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.894 | 108023.9337 | 265615.2072 | 36.4 | 83.1
240352 | 2022-05-16 12:38 | 57.0045 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.9673 | μmol/L | 18.4564 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.892 | 107962.2548 | 265614.0168 | 36.4 | 83.1
240362 | 2022-05-16 12:38 | 57.3376 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.2358 | μmol/L | 18.4625 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.878 | 107863.5834 | 265607.8842 | 36.4 | 83.1
240372 | 2022-05-16 12:38 | 57.6714 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.4666 | μmol/L | 18.4564 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.87 | 107801.0686 | 265619.2941 | 36.4 | 83.1
240382 | 2022-05-16 12:39 | 58.0042 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.512 | μmol/L | 18.4564 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.868 | 107742.9595 | 265618.5121 | 36.4 | 83.1
240392 | 2022-05-16 12:39 | 58.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.7622 | μmol/L | 18.4564 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.857 | 107694.671 | 265603.3331 | 36.4 | 83.1
240402 | 2022-05-16 12:39 | 58.6709 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.7659 | μmol/L | 18.4503 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.859 | 107659.8654 | 265595.2117 | 36.4 | 83.1
240412 | 2022-05-16 12:40 | 59.0041 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.8114 | μmol/L | 18.4503 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.857 | 107656.8538 | 265600.6566 | 36.4 | 83.1
240422 | 2022-05-16 12:40 | 59.3381 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.5612 | μmol/L | 18.4503 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.868 | 107677.9396 | 265607.0346 | 36.4 | 83.1
240432 | 2022-05-16 12:40 | 59.6713 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.5385 | μmol/L | 18.4503 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.869 | 107718.8201 | 265596.5672 | 36.4 | 83.1
240442 | 2022-05-16 12:41 | 60.0045 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.1525 | μmol/L | 18.4503 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.886 | 107761.097 | 265602.8154 | 36.4 | 83.1
240452 | 2022-05-16 12:41 | 60.3377 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.9711 | μmol/L | 18.4503 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.894 | 107829.3393 | 265585.382 | 36.4 | 83.1
240462 | 2022-05-16 12:41 | 60.6708 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.6766 | μmol/L | 18.4503 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.907 | 107912.3051 | 265595.874 | 36.4 | 83.1
240472 | 2022-05-16 12:42 | 61.004 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.4542 | μmol/L | 18.4442 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.919 | 107952.7937 | 265587.3276 | 36.4 | 83.1
240482 | 2022-05-16 12:42 | 61.338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.3186 | μmol/L | 18.4442 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.925 | 107983.5928 | 265580.7038 | 36.4 | 83.1
240492 | 2022-05-16 12:42 | 61.6711 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.3676 | μmol/L | 18.438 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.925 | 107976.9026 | 265577.122 | 36.4 | 83.1
240502 | 2022-05-16 12:43 | 62.0043 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.458 | μmol/L | 18.438 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.921 | 107944.9005 | 265578.7316 | 36.4 | 83.1
240512 | 2022-05-16 12:43 | 62.3374 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.5258 | μmol/L | 18.438 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.918 | 107919.1828 | 265571.9079 | 36.4 | 83.1
240522 | 2022-05-16 12:43 | 62.6714 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.5748 | μmol/L | 18.4319 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.918 | 107886.6334 | 265558.04 | 36.4 | 83.1
240532 | 2022-05-16 12:44 | 63.0046 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.82 | μmol/L | 18.438 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.905 | 107859.3461 | 265549.336 | 36.4 | 83.1
240542 | 2022-05-16 12:44 | 63.3377 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.7974 | μmol/L | 18.438 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.906 | 107824.7963 | 265557.7896 | 36.4 | 83.1
240552 | 2022-05-16 12:44 | 63.6709 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.9559 | μmol/L | 18.438 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.899 | 107782.1992 | 265550.2849 | 36.4 | 83.1
240562 | 2022-05-16 12:45 | 64.004 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.9748 | μmol/L | 18.4442 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.896 | 107745.2018 | 265543.8269 | 36.4 | 83.1
240572 | 2022-05-16 12:45 | 64.3381 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.1071 | μmol/L | 18.4503 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.888 | 107706.8353 | 265537.227 | 36.4 | 83.1
240582 | 2022-05-16 12:45 | 64.6713 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.2697 | μmol/L | 18.4442 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.883 | 107667.5368 | 265530.9908 | 36.4 | 83.1
240592 | 2022-05-16 12:46 | 65.0044 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.2433 | μmol/L | 18.4503 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.882 | 107632.0601 | 265524.835 | 36.4 | 83.1
240602 | 2022-05-16 12:46 | 65.3376 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.3832 | μmol/L | 18.4442 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.878 | 107603.5071 | 265538.1494 | 36.4 | 83.1
240612 | 2022-05-16 12:46 | 65.6707 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.4968 | μmol/L | 18.4442 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.873 | 107580.8812 | 265516.9 | 36.4 | 83.1
240622 | 2022-05-16 12:47 | 66.0047 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.6142 | μmol/L | 18.438 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.87 | 107551.5037 | 265514.5449 | 36.4 | 83.1
240632 | 2022-05-16 12:47 | 66.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.5877 | μmol/L | 18.4442 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.869 | 107513.5118 | 265496.2141 | 36.4 | 83.1
240642 | 2022-05-16 12:47 | 66.6709 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.7733 | μmol/L | 18.438 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.863 | 107488.5202 | 265503.9319 | 36.4 | 83.1
240652 | 2022-05-16 12:48 | 67.0041 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.9136 | μmol/L | 18.4319 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.859 | 107470.3242 | 265495.7357 | 36.4 | 83.1
240662 | 2022-05-16 12:48 | 67.3381 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.8681 | μmol/L | 18.4319 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.861 | 107445.0868 | 265493.4452 | 36.4 | 83.1
240672 | 2022-05-16 12:48 | 67.6713 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.9591 | μmol/L | 18.4319 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.857 | 107429.3762 | 265495.2305 | 36.4 | 83.1
240682 | 2022-05-16 12:49 | 68.0044 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.8453 | μmol/L | 18.4319 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.862 | 107439.2653 | 265487.3247 | 36.4 | 83.1
240692 | 2022-05-16 12:49 | 68.3376 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.6861 | μmol/L | 18.4319 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.869 | 107487.0297 | 265481.6005 | 36.4 | 83.1
240702 | 2022-05-16 12:49 | 68.6707 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.2545 | μmol/L | 18.4319 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.888 | 107560.6652 | 265480.1436 | 36.4 | 83.1
240712 | 2022-05-16 12:50 | 69.0047 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.5937 | μmol/L | 18.438 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.915 | 107674.7081 | 265482.8755 | 36.4 | 83.1
240722 | 2022-05-16 12:50 | 69.3374 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.1003 | μmol/L | 18.4319 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.939 | 107793.7272 | 265472.7772 | 36.4 | 83.1
240732 | 2022-05-16 12:50 | 69.6713 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 262.7659 | μmol/L | 18.4258 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.956 | 107902.922 | 265461.4637 | 36.4 | 83.1
240742 | 2022-05-16 12:51 | 70.0047 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 262.7246 | μmol/L | 18.4197 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.96 | 107906.0724 | 265456.7036 | 36.4 | 83.1
240752 | 2022-05-16 12:51 | 70.3381 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 262.8373 | μmol/L | 18.4197 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.955 | 107865.9682 | 265470.8908 | 36.4 | 83.1
240762 | 2022-05-16 12:51 | 70.6709 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 262.8598 | μmol/L | 18.4197 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.954 | 107831.7108 | 265458.906 | 36.4 | 83.1
240772 | 2022-05-16 12:52 | 71.0048 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 262.9538 | μmol/L | 18.4135 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.952 | 107832.0144 | 265450.7108 | 36.4 | 83.1
240782 | 2022-05-16 12:52 | 71.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 262.751 | μmol/L | 18.4135 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.961 | 107851.7444 | 265437.6666 | 36.4 | 83.1
240792 | 2022-05-16 12:52 | 71.6711 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 262.4019 | μmol/L | 18.4319 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.97 | 107897.474 | 265449.0316 | 36.4 | 83.1
240802 | 2022-05-16 12:53 | 72.0047 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 262.222 | μmol/L | 18.4319 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.978 | 107930.6275 | 265444.3488 | 36.4 | 83.1