## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_9 | O2 | 214428135 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-16 12:51

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-16 14:14

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
45 | 2022-05-16 13:25 | 0 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 280.2646 | μmol/L | 18.4675 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.553 | 109343.9745 | 267288.2428 | 26.25 | 74
55 | 2022-05-16 13:25 | 0.33819 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 280.1983 | μmol/L | 18.4614 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.558 | 109391.573 | 267281.4346 | 26.25 | 74
65 | 2022-05-16 13:25 | 0.67125 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 280.1029 | μmol/L | 18.4614 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.562 | 109430.2449 | 267289.4737 | 26.25 | 74
75 | 2022-05-16 13:26 | 1.0045 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 280.0313 | μmol/L | 18.4614 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.565 | 109457.8083 | 267282.4655 | 26.25 | 74
85 | 2022-05-16 13:26 | 1.338 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 279.9598 | μmol/L | 18.4614 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.568 | 109517.7999 | 267269.9221 | 26.25 | 74
95 | 2022-05-16 13:26 | 1.6711 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 279.7215 | μmol/L | 18.4614 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.578 | 109566.5894 | 267282.9926 | 26.25 | 74
105 | 2022-05-16 13:27 | 2.0044 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 279.5733 | μmol/L | 18.4675 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.582 | 109621.4738 | 267272.3181 | 26.25 | 74
115 | 2022-05-16 13:27 | 2.3384 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 279.4543 | μmol/L | 18.4675 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.587 | 109631.0234 | 267279.4398 | 26.25 | 74
125 | 2022-05-16 13:27 | 2.6715 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 279.2825 | μmol/L | 18.4736 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.592 | 109601.407 | 267274.5915 | 26.25 | 74
135 | 2022-05-16 13:28 | 3.0045 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 279.1453 | μmol/L | 18.4675 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.6 | 109660.7731 | 267262.5556 | 26.25 | 74
145 | 2022-05-16 13:28 | 3.3376 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 279.0794 | μmol/L | 18.4614 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.605 | 109725.2456 | 267266.9394 | 26.25 | 74
155 | 2022-05-16 13:28 | 3.6716 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.8367 | μmol/L | 18.4675 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.613 | 109788.9497 | 267270.7804 | 26.25 | 74
165 | 2022-05-16 13:29 | 4.0046 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.6286 | μmol/L | 18.4614 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.624 | 109863.8572 | 267267.0508 | 26.25 | 74
175 | 2022-05-16 13:29 | 4.3382 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.4865 | μmol/L | 18.4614 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.63 | 109925.1796 | 267261.2099 | 26.25 | 74
185 | 2022-05-16 13:29 | 4.6712 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.4262 | μmol/L | 18.4492 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.637 | 109965.1453 | 267260.6977 | 26.25 | 74
195 | 2022-05-16 13:30 | 5.0045 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.1551 | μmol/L | 18.4614 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.644 | 109994.5162 | 267269.3866 | 26.25 | 74
205 | 2022-05-16 13:30 | 5.3375 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.2551 | μmol/L | 18.4553 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.642 | 110010.667 | 267270.7117 | 26.25 | 74
215 | 2022-05-16 13:30 | 5.6714 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.095 | μmol/L | 18.4492 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.651 | 110040.7399 | 267269.9222 | 26.25 | 74
225 | 2022-05-16 13:31 | 6.0044 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.9586 | μmol/L | 18.4431 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.659 | 110072.4044 | 267271.8064 | 26.25 | 74
235 | 2022-05-16 13:31 | 6.3376 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.8297 | μmol/L | 18.4553 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.66 | 110093.8641 | 267254.2557 | 26.25 | 74
245 | 2022-05-16 13:31 | 6.6716 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.8587 | μmol/L | 18.4492 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.661 | 110121.3908 | 267265.3069 | 26.25 | 74
255 | 2022-05-16 13:32 | 7.0047 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.8115 | μmol/L | 18.4492 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.663 | 110117.5644 | 267259.2293 | 26.25 | 74
265 | 2022-05-16 13:32 | 7.3377 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5519 | μmol/L | 18.4492 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.674 | 110130.6439 | 267252.3673 | 26.25 | 74
275 | 2022-05-16 13:32 | 7.6716 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.4757 | μmol/L | 18.4553 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.675 | 110139.4224 | 267260.601 | 26.25 | 74
285 | 2022-05-16 13:33 | 8.0047 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5047 | μmol/L | 18.4492 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.676 | 110136.9177 | 267263.026 | 26.25 | 74
295 | 2022-05-16 13:33 | 8.3379 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.2637 | μmol/L | 18.4553 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.684 | 110159.2084 | 267255.596 | 26.25 | 74
305 | 2022-05-16 13:33 | 8.6716 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.1513 | μmol/L | 18.4492 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.691 | 110192.665 | 267269.7448 | 26.25 | 74
315 | 2022-05-16 13:34 | 9.0045 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.1278 | μmol/L | 18.4492 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.692 | 110229.2646 | 267272.3106 | 26.25 | 74
325 | 2022-05-16 13:34 | 9.3376 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.0156 | μmol/L | 18.4431 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.699 | 110291.6567 | 267279.9556 | 26.25 | 74
335 | 2022-05-16 13:34 | 9.6709 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.8166 | μmol/L | 18.4553 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.703 | 110281.1302 | 267260.4638 | 26.25 | 74
345 | 2022-05-16 13:35 | 10.0048 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.898 | μmol/L | 18.4431 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.704 | 110267.3871 | 267272.0525 | 26.25 | 74
355 | 2022-05-16 13:35 | 10.338 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.869 | μmol/L | 18.4492 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.703 | 110267.7782 | 267254.0431 | 26.25 | 74
365 | 2022-05-16 13:35 | 10.671 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.8745 | μmol/L | 18.4431 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.705 | 110280.6706 | 267254.5423 | 26.25 | 74
375 | 2022-05-16 13:36 | 11.005 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.7569 | μmol/L | 18.4431 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.71 | 110323.9451 | 267242.2246 | 26.25 | 74
385 | 2022-05-16 13:36 | 11.3381 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.5925 | μmol/L | 18.4431 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.717 | 110371.9875 | 267252.1403 | 26.25 | 74
395 | 2022-05-16 13:36 | 11.6716 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.4571 | μmol/L | 18.437 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.725 | 110399.5397 | 267247.6293 | 26.25 | 74
405 | 2022-05-16 13:37 | 12.0044 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.2695 | μmol/L | 18.437 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.733 | 110445.537 | 267240.9453 | 26.25 | 74
415 | 2022-05-16 13:37 | 12.3378 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.1937 | μmol/L | 18.4431 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.734 | 110477.1702 | 267245.8376 | 26.25 | 74
425 | 2022-05-16 13:37 | 12.6714 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.1109 | μmol/L | 18.4309 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.742 | 110456.7076 | 267232.2559 | 26.25 | 74
435 | 2022-05-16 13:38 | 13.0042 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 275.947 | μmol/L | 18.4309 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.749 | 110481.3087 | 267237.4873 | 26.25 | 74
445 | 2022-05-16 13:38 | 13.3378 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 275.8245 | μmol/L | 18.437 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.752 | 110491.6558 | 267247.1047 | 26.25 | 74
455 | 2022-05-16 13:38 | 13.6714 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 275.9236 | μmol/L | 18.4309 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.75 | 110527.4138 | 267250.7501 | 26.25 | 74
465 | 2022-05-16 13:39 | 14.0048 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 275.8354 | μmol/L | 18.4248 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.756 | 110583.3861 | 267237.3965 | 26.25 | 74
475 | 2022-05-16 13:39 | 14.3383 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 275.4972 | μmol/L | 18.437 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.766 | 110615.2148 | 267227.6488 | 26.25 | 74
485 | 2022-05-16 13:39 | 14.671 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 275.4271 | μmol/L | 18.437 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.769 | 110664.8551 | 267223.7817 | 26.25 | 74
495 | 2022-05-16 13:40 | 15.0048 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 275.3913 | μmol/L | 18.4248 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.775 | 110683.0396 | 267233.2592 | 26.25 | 74
505 | 2022-05-16 13:40 | 15.3383 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 275.3392 | μmol/L | 18.4309 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.775 | 110678.6247 | 267216.7471 | 26.25 | 74
515 | 2022-05-16 13:40 | 15.6709 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 275.3103 | μmol/L | 18.437 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.774 | 110714.4813 | 267208.2729 | 26.25 | 74
525 | 2022-05-16 13:41 | 16.0045 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 275.158 | μmol/L | 18.4248 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.785 | 110753.5723 | 267211.0607 | 26.25 | 74
535 | 2022-05-16 13:41 | 16.338 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 275.158 | μmol/L | 18.4248 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.785 | 110767.1116 | 267201.0725 | 26.25 | 74
545 | 2022-05-16 13:41 | 16.6714 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 275.088 | μmol/L | 18.4248 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.788 | 110808.6877 | 267205.7604 | 26.25 | 74
555 | 2022-05-16 13:42 | 17.0048 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 274.8317 | μmol/L | 18.4248 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.799 | 110872.2553 | 267208.0747 | 26.25 | 74
565 | 2022-05-16 13:42 | 17.3383 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 274.4648 | μmol/L | 18.4187 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.817 | 110967.3377 | 267196.3321 | 26.25 | 74
575 | 2022-05-16 13:42 | 17.6711 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 274.2789 | μmol/L | 18.4187 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.825 | 111000.1452 | 267190.6017 | 26.25 | 74
585 | 2022-05-16 13:43 | 18.0047 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 274.1108 | μmol/L | 18.4248 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.83 | 111042.8322 | 267183.3077 | 26.25 | 74
595 | 2022-05-16 13:43 | 18.3378 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 274.0412 | μmol/L | 18.4248 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.833 | 111051.4099 | 267182.9026 | 26.25 | 74
605 | 2022-05-16 13:43 | 18.6716 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 274.018 | μmol/L | 18.4248 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.834 | 111019.6533 | 267175.2605 | 26.25 | 74
615 | 2022-05-16 13:44 | 19.0044 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 274.0357 | μmol/L | 18.4309 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.831 | 111021.9655 | 267160.5652 | 26.25 | 74
625 | 2022-05-16 13:44 | 19.3383 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 274.1285 | μmol/L | 18.4309 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.827 | 111028.306 | 267152.8266 | 26.25 | 74
635 | 2022-05-16 13:44 | 19.6714 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 274.0644 | μmol/L | 18.4248 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.832 | 111020.6277 | 267138.722 | 26.25 | 74
645 | 2022-05-16 13:45 | 20.0043 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 274.0412 | μmol/L | 18.4248 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.833 | 111048.4502 | 267148.3584 | 26.25 | 74
655 | 2022-05-16 13:45 | 20.3382 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 273.8556 | μmol/L | 18.4248 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.841 | 111105.7481 | 267131.7256 | 26.25 | 74
665 | 2022-05-16 13:45 | 20.6709 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 273.6239 | μmol/L | 18.4248 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.851 | 111142.0456 | 267140.6391 | 26.25 | 74
675 | 2022-05-16 13:46 | 21.0048 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 273.7684 | μmol/L | 18.4187 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.847 | 111171.4025 | 267130.8363 | 26.25 | 74
685 | 2022-05-16 13:46 | 21.3378 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 273.6118 | μmol/L | 18.4126 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.856 | 111201.0062 | 267126.3681 | 26.25 | 74
695 | 2022-05-16 13:46 | 21.6709 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 273.4035 | μmol/L | 18.4126 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.865 | 111221.2826 | 267115.489 | 26.25 | 74
705 | 2022-05-16 13:47 | 22.0048 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 273.2702 | μmol/L | 18.4066 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.873 | 111278.6178 | 267113.1391 | 26.25 | 74
715 | 2022-05-16 13:47 | 22.3377 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 273.0105 | μmol/L | 18.4126 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.882 | 111319.8957 | 267093.5719 | 26.25 | 74
725 | 2022-05-16 13:47 | 22.6709 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 272.8839 | μmol/L | 18.4248 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.883 | 111330.0258 | 267084.7339 | 26.25 | 74
735 | 2022-05-16 13:48 | 23.0045 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 272.8895 | μmol/L | 18.4187 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.885 | 111343.8346 | 267076.3252 | 26.25 | 74
745 | 2022-05-16 13:48 | 23.3378 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 272.872 | μmol/L | 18.4126 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.888 | 111359.7867 | 267084.5663 | 26.25 | 74
755 | 2022-05-16 13:48 | 23.6716 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 272.7741 | μmol/L | 18.4187 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.89 | 111383.2355 | 267061.0971 | 26.25 | 74
765 | 2022-05-16 13:49 | 24.0046 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 272.7797 | μmol/L | 18.4126 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.892 | 111434.1144 | 267053.4882 | 26.25 | 74
775 | 2022-05-16 13:49 | 24.3382 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 272.4744 | μmol/L | 18.4187 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.903 | 111522.2645 | 267062.4893 | 26.25 | 74
785 | 2022-05-16 13:49 | 24.671 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 272.3131 | μmol/L | 18.4187 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.91 | 111546.0587 | 267057.384 | 26.25 | 74
795 | 2022-05-16 13:50 | 25.0048 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 272.2211 | μmol/L | 18.4187 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.914 | 111576.9279 | 267047.2553 | 26.25 | 74
805 | 2022-05-16 13:50 | 25.3377 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 272.2036 | μmol/L | 18.4126 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.917 | 111603.6289 | 267043.2786 | 26.25 | 74
815 | 2022-05-16 13:50 | 25.671 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 272.2496 | μmol/L | 18.4126 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.915 | 111635.577 | 267029.8623 | 26.25 | 74
825 | 2022-05-16 13:51 | 26.0048 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 272.0196 | μmol/L | 18.4126 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.925 | 111678.9892 | 267037.0844 | 26.25 | 74
835 | 2022-05-16 13:51 | 26.3378 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 271.8817 | μmol/L | 18.4126 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.931 | 111673.8651 | 267034.7756 | 26.25 | 74
845 | 2022-05-16 13:51 | 26.6715 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 271.6806 | μmol/L | 18.4066 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.942 | 111671.9006 | 267029.5536 | 26.25 | 74
855 | 2022-05-16 13:52 | 27.0046 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 271.5144 | μmol/L | 18.4126 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.947 | 111727.1982 | 267021.9497 | 26.25 | 74
865 | 2022-05-16 13:52 | 27.3383 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 271.3997 | μmol/L | 18.4126 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.952 | 111748.3313 | 267013.1077 | 26.25 | 74
875 | 2022-05-16 13:52 | 27.6711 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 271.4685 | μmol/L | 18.4126 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.949 | 111778.9555 | 267014.7076 | 26.25 | 74
885 | 2022-05-16 13:53 | 28.0047 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 271.4914 | μmol/L | 18.4126 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.948 | 111811.0065 | 267012.6583 | 26.25 | 74
895 | 2022-05-16 13:53 | 28.3376 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 271.3997 | μmol/L | 18.4126 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.952 | 111823.1175 | 266994.8273 | 26.25 | 74
905 | 2022-05-16 13:53 | 28.6715 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 271.4282 | μmol/L | 18.4066 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.953 | 111851.2727 | 266987.3114 | 26.25 | 74
915 | 2022-05-16 13:54 | 29.0045 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 271.2678 | μmol/L | 18.4066 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.96 | 111870.6658 | 266979.4942 | 26.25 | 74
925 | 2022-05-16 13:54 | 29.3375 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 271.2622 | μmol/L | 18.4126 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.958 | 111874.8488 | 266982.9343 | 26.25 | 74
935 | 2022-05-16 13:54 | 29.6715 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 271.2449 | μmol/L | 18.4066 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.961 | 111900.913 | 266972.8019 | 26.25 | 74
945 | 2022-05-16 13:55 | 30.0043 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 271.0846 | μmol/L | 18.4066 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.968 | 111930.1577 | 266980.1183 | 26.25 | 74
955 | 2022-05-16 13:55 | 30.3382 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 270.9646 | μmol/L | 18.4126 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.971 | 111958.586 | 266960.3658 | 26.25 | 74
965 | 2022-05-16 13:55 | 30.6713 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 270.8558 | μmol/L | 18.4066 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.978 | 111992.8925 | 266962.1454 | 26.25 | 74
975 | 2022-05-16 13:56 | 31.0043 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 270.7643 | μmol/L | 18.4066 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.982 | 112013.9077 | 266971.2403 | 26.25 | 74
985 | 2022-05-16 13:56 | 31.3381 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 270.6958 | μmol/L | 18.4066 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.985 | 112053.9164 | 266954.3354 | 26.25 | 74
995 | 2022-05-16 13:56 | 31.671 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 270.6329 | μmol/L | 18.4005 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.99 | 112057.4786 | 266947.7745 | 26.25 | 74
1005 | 2022-05-16 13:57 | 32.0048 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 270.5643 | μmol/L | 18.4005 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.993 | 112103.5018 | 266943.7429 | 26.25 | 74
1015 | 2022-05-16 13:57 | 32.3379 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 270.2449 | μmol/L | 18.4005 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.007 | 112135.7136 | 266961.3393 | 26.25 | 74
1025 | 2022-05-16 13:57 | 32.671 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 270.1765 | μmol/L | 18.4005 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.01 | 112163.9818 | 266939.1856 | 26.25 | 74
1035 | 2022-05-16 13:58 | 33.0049 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 270.0569 | μmol/L | 18.4066 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.013 | 112186.0794 | 266927.5233 | 26.25 | 74
1045 | 2022-05-16 13:58 | 33.3378 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 270.1024 | μmol/L | 18.4066 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.011 | 112184.3057 | 266932.8504 | 26.25 | 74
1055 | 2022-05-16 13:58 | 33.6709 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 269.9031 | μmol/L | 18.4005 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.022 | 112210.0193 | 266917.1399 | 26.25 | 74
1065 | 2022-05-16 13:59 | 34.0047 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 269.9714 | μmol/L | 18.4005 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.019 | 112205.7009 | 266921.0905 | 26.25 | 74
1075 | 2022-05-16 13:59 | 34.3376 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 269.8803 | μmol/L | 18.4005 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.023 | 112235.1114 | 266900.1752 | 26.25 | 74
1085 | 2022-05-16 13:59 | 34.6714 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 269.9315 | μmol/L | 18.3944 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.023 | 112254.7569 | 266898.4907 | 26.25 | 74
1095 | 2022-05-16 14:00 | 35.0042 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 269.812 | μmol/L | 18.4005 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.026 | 112268.0964 | 266890.9347 | 26.25 | 74
1105 | 2022-05-16 14:00 | 35.3379 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 269.7949 | μmol/L | 18.3944 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.029 | 112281.2407 | 266891.7177 | 26.25 | 74
1115 | 2022-05-16 14:00 | 35.6716 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 269.7438 | μmol/L | 18.4005 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.029 | 112304.8837 | 266876.5703 | 26.25 | 74
1125 | 2022-05-16 14:01 | 36.0046 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 269.6584 | μmol/L | 18.3944 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.035 | 112294.514 | 266878.5956 | 26.25 | 74
1135 | 2022-05-16 14:01 | 36.3381 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 269.5675 | μmol/L | 18.3944 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.039 | 112327.2913 | 266870.1339 | 26.25 | 74
1145 | 2022-05-16 14:01 | 36.6711 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 269.4709 | μmol/L | 18.4005 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.041 | 112353.8894 | 266871.5192 | 26.25 | 74
1155 | 2022-05-16 14:02 | 37.0044 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 269.4084 | μmol/L | 18.3944 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.046 | 112357.0372 | 266861.6371 | 26.25 | 74
1165 | 2022-05-16 14:02 | 37.3383 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 269.2041 | μmol/L | 18.3944 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.055 | 112409.3407 | 266868.5968 | 26.25 | 74
1175 | 2022-05-16 14:02 | 37.6711 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 269.2835 | μmol/L | 18.3822 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.056 | 112436.5064 | 266859.3367 | 26.25 | 74
1185 | 2022-05-16 14:03 | 38.0042 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 268.9603 | μmol/L | 18.3883 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.068 | 112471.8276 | 266858.9966 | 26.25 | 74
1195 | 2022-05-16 14:03 | 38.3378 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 268.8866 | μmol/L | 18.3944 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.069 | 112510.9733 | 266857.5466 | 26.25 | 74
1205 | 2022-05-16 14:03 | 38.6717 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 268.5922 | μmol/L | 18.3944 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.082 | 112609.8337 | 266849.6415 | 26.25 | 74
1215 | 2022-05-16 14:04 | 39.0044 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 268.095 | μmol/L | 18.3944 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.104 | 112718.0584 | 266853.9574 | 26.25 | 74
1225 | 2022-05-16 14:04 | 39.3381 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 268.0724 | μmol/L | 18.3944 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.105 | 112726.2357 | 266847.4358 | 26.25 | 74
1235 | 2022-05-16 14:04 | 39.6713 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 267.8242 | μmol/L | 18.3944 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.116 | 112768.3068 | 266842.3007 | 26.25 | 74
1245 | 2022-05-16 14:05 | 40.0046 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 267.7172 | μmol/L | 18.3883 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.123 | 112811.6649 | 266826.0432 | 26.25 | 74
1255 | 2022-05-16 14:05 | 40.3376 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 267.6439 | μmol/L | 18.3944 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.124 | 112853.0113 | 266844.9322 | 26.25 | 74
1265 | 2022-05-16 14:05 | 40.6716 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 267.5989 | μmol/L | 18.3944 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.126 | 112845.0298 | 266823.3365 | 26.25 | 74
1275 | 2022-05-16 14:06 | 41.0046 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 267.6496 | μmol/L | 18.3883 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.126 | 112843.7213 | 266835.3972 | 26.25 | 74
1285 | 2022-05-16 14:06 | 41.3376 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 267.5481 | μmol/L | 18.4005 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.126 | 112853.3793 | 266836.5682 | 26.25 | 74
1295 | 2022-05-16 14:06 | 41.6716 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 267.492 | μmol/L | 18.3883 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.133 | 112890.4357 | 266846.7163 | 26.25 | 74
1305 | 2022-05-16 14:07 | 42.0046 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 267.5145 | μmol/L | 18.3883 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.132 | 112911.8756 | 266829.6777 | 26.25 | 74
1315 | 2022-05-16 14:07 | 42.3375 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 267.3512 | μmol/L | 18.3944 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.137 | 112933.0782 | 266842.6354 | 26.25 | 74
1325 | 2022-05-16 14:07 | 42.6716 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 267.2445 | μmol/L | 18.3883 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.144 | 112958.9415 | 266841.9769 | 26.25 | 74
1335 | 2022-05-16 14:08 | 43.0046 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 267.1263 | μmol/L | 18.3944 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.147 | 112990.8265 | 266843.0612 | 26.25 | 74
1345 | 2022-05-16 14:08 | 43.3376 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 267.2052 | μmol/L | 18.3822 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.148 | 112996.0144 | 266827.3795 | 26.25 | 74
1355 | 2022-05-16 14:08 | 43.6712 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 267.2052 | μmol/L | 18.3822 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.148 | 113025.7481 | 266826.6778 | 26.25 | 74
1365 | 2022-05-16 14:09 | 44.0049 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 266.8625 | μmol/L | 18.3883 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.161 | 113085.3088 | 266830.9092 | 26.25 | 74
1375 | 2022-05-16 14:09 | 44.3377 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 266.7503 | μmol/L | 18.3883 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.166 | 113144.9587 | 266827.2158 | 26.25 | 74
1385 | 2022-05-16 14:09 | 44.6715 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 266.6382 | μmol/L | 18.3883 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.171 | 113181.1061 | 266827.0004 | 26.25 | 74
1395 | 2022-05-16 14:10 | 45.0043 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 266.4812 | μmol/L | 18.3883 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.178 | 113210.1229 | 266836.0987 | 26.25 | 74
1405 | 2022-05-16 14:10 | 45.3381 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 266.5766 | μmol/L | 18.3822 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.176 | 113228.0001 | 266827.3379 | 26.25 | 74
1415 | 2022-05-16 14:10 | 45.6711 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 266.375 | μmol/L | 18.3822 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.185 | 113354.5168 | 266832.4702 | 26.25 | 74
1425 | 2022-05-16 14:11 | 46.0047 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 266.1287 | μmol/L | 18.3822 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.196 | 113424.6054 | 266827.0629 | 26.25 | 74
1435 | 2022-05-16 14:11 | 46.3378 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 266.1287 | μmol/L | 18.3822 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.196 | 113730.338 | 266837.4021 | 26.25 | 74
1445 | 2022-05-16 14:11 | 46.6715 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 266.2074 | μmol/L | 18.37 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.197 | 113699.4885 | 266847.8025 | 26.25 | 74
1453 | 2022-05-16 14:12 | 47.0045 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 265.9441 | μmol/L | 18.3883 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.202 | 113697.7385 | 266853.2394 | 26.25 | 74