## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_3 | O2 | 123891955 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-16 12:45

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-16 14:14

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
18 | 2022-05-16 13:23 | 0 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 314.0146 | μmol/L | 18.4042 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.632 | 90435.5584 | 212271.001 | 27.3 | 43.4
23 | 2022-05-16 13:24 | 0.33079 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 313.9938 | μmol/L | 18.3981 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.635 | 90441.1934 | 212264.9043 | 27.3 | 43.4
30 | 2022-05-16 13:24 | 0.66355 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 313.9603 | μmol/L | 18.4042 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.634 | 90425.0422 | 212256.1845 | 27.3 | 43.4
38 | 2022-05-16 13:24 | 0.997 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 313.8039 | μmol/L | 18.3981 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.642 | 90469.7358 | 212256.2356 | 27.3 | 43.4
48 | 2022-05-16 13:25 | 1.3305 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 313.2623 | μmol/L | 18.3981 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.662 | 90528.6839 | 212256.4605 | 27.3 | 43.4
58 | 2022-05-16 13:25 | 1.6641 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 313.6349 | μmol/L | 18.4042 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.646 | 90471.5712 | 212262.3469 | 27.3 | 43.4
68 | 2022-05-16 13:25 | 1.9975 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 311.9068 | μmol/L | 18.4042 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.71 | 90748.8317 | 212257.938 | 27.3 | 43.4
78 | 2022-05-16 13:26 | 2.3305 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 311.3757 | μmol/L | 18.3981 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.732 | 90842.033 | 212263.5765 | 27.3 | 43.4
88 | 2022-05-16 13:26 | 2.6641 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 311.0205 | μmol/L | 18.4042 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.743 | 90870.2482 | 212265.1747 | 27.3 | 43.4
98 | 2022-05-16 13:26 | 2.9972 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 311.014 | μmol/L | 18.4103 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.741 | 90868.9214 | 212267.0385 | 27.3 | 43.4
108 | 2022-05-16 13:27 | 3.3304 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.3179 | μmol/L | 18.4103 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.767 | 90980.2798 | 212270.5521 | 27.3 | 43.4
118 | 2022-05-16 13:27 | 3.6635 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.7701 | μmol/L | 18.3981 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.792 | 91081.5489 | 212270.6151 | 27.3 | 43.4
128 | 2022-05-16 13:27 | 3.9975 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.9035 | μmol/L | 18.3981 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.787 | 91044.1839 | 212261.209 | 27.3 | 43.4
138 | 2022-05-16 13:28 | 4.3305 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.2304 | μmol/L | 18.3919 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.777 | 90998.8442 | 212270.3946 | 27.3 | 43.4
148 | 2022-05-16 13:28 | 4.6638 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.3374 | μmol/L | 18.3919 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.773 | 90977.8094 | 212289.5959 | 27.3 | 43.4
158 | 2022-05-16 13:28 | 4.9968 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.6113 | μmol/L | 18.3858 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.765 | 90962.4088 | 212274.2479 | 27.3 | 43.4
168 | 2022-05-16 13:29 | 5.3307 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.2839 | μmol/L | 18.3919 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.775 | 90949.5003 | 212272.1654 | 27.3 | 43.4
178 | 2022-05-16 13:29 | 5.6635 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.4111 | μmol/L | 18.3981 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.768 | 90956.4115 | 212277.4185 | 27.3 | 43.4
188 | 2022-05-16 13:29 | 5.9974 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.4775 | μmol/L | 18.3858 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.77 | 90951.5499 | 212283.6575 | 27.3 | 43.4
198 | 2022-05-16 13:30 | 6.3305 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.4573 | μmol/L | 18.3797 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.773 | 90947.6425 | 212282.6588 | 27.3 | 43.4
208 | 2022-05-16 13:30 | 6.6636 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.484 | μmol/L | 18.3797 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.772 | 90936.6671 | 212288.3925 | 27.3 | 43.4
218 | 2022-05-16 13:30 | 6.9974 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.2037 | μmol/L | 18.3919 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.778 | 90950.4957 | 212301.6785 | 27.3 | 43.4
228 | 2022-05-16 13:31 | 7.3305 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.2102 | μmol/L | 18.3858 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.78 | 90949.3542 | 212299.1624 | 27.3 | 43.4
238 | 2022-05-16 13:31 | 7.6637 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.3301 | μmol/L | 18.3736 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.78 | 90966.7699 | 212298.182 | 27.3 | 43.4
248 | 2022-05-16 13:31 | 7.9968 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.2969 | μmol/L | 18.3797 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.779 | 90951.8797 | 212297.892 | 27.3 | 43.4
258 | 2022-05-16 13:32 | 8.3307 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.3503 | μmol/L | 18.3797 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.777 | 90954.7619 | 212311.7315 | 27.3 | 43.4
268 | 2022-05-16 13:32 | 8.6638 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.2969 | μmol/L | 18.3797 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.779 | 90964.6145 | 212311.4084 | 27.3 | 43.4
278 | 2022-05-16 13:32 | 8.9968 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.19 | μmol/L | 18.3797 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.783 | 90977.6991 | 212316.8621 | 27.3 | 43.4
288 | 2022-05-16 13:33 | 9.3309 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.0832 | μmol/L | 18.3797 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.787 | 90969.4097 | 212314.9635 | 27.3 | 43.4
298 | 2022-05-16 13:33 | 9.664 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.1164 | μmol/L | 18.3736 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.788 | 90984.5032 | 212306.486 | 27.3 | 43.4
308 | 2022-05-16 13:33 | 9.9971 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.9829 | μmol/L | 18.3736 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.793 | 91000.1409 | 212321.8929 | 27.3 | 43.4
318 | 2022-05-16 13:34 | 10.3309 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.7831 | μmol/L | 18.3858 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.796 | 91014.3417 | 212320.5448 | 27.3 | 43.4
328 | 2022-05-16 13:34 | 10.664 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.8163 | μmol/L | 18.3797 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.797 | 91036.24 | 212315.1254 | 27.3 | 43.4
338 | 2022-05-16 13:34 | 10.9973 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.6296 | μmol/L | 18.3797 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.804 | 91047.2562 | 212312.5736 | 27.3 | 43.4
348 | 2022-05-16 13:35 | 11.3303 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.6759 | μmol/L | 18.3614 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.809 | 91051.1616 | 212308.9409 | 27.3 | 43.4
358 | 2022-05-16 13:35 | 11.6642 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.5029 | μmol/L | 18.3736 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.811 | 91061.0449 | 212310.6361 | 27.3 | 43.4
368 | 2022-05-16 13:35 | 11.9972 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.3431 | μmol/L | 18.3736 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.817 | 91077.121 | 212327.9605 | 27.3 | 43.4
378 | 2022-05-16 13:36 | 12.3304 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.3497 | μmol/L | 18.3675 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.819 | 91099.4855 | 212314.2932 | 27.3 | 43.4
388 | 2022-05-16 13:36 | 12.6637 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.0771 | μmol/L | 18.3736 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.827 | 91123.029 | 212322.6042 | 27.3 | 43.4
398 | 2022-05-16 13:36 | 12.9973 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 308.871 | μmol/L | 18.3675 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.837 | 91134.2687 | 212326.7439 | 27.3 | 43.4
408 | 2022-05-16 13:37 | 13.331 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.0104 | μmol/L | 18.3614 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.834 | 91156.3335 | 212318.635 | 27.3 | 43.4
418 | 2022-05-16 13:37 | 13.6636 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 308.8641 | μmol/L | 18.3492 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.844 | 91164.5756 | 212306.3618 | 27.3 | 43.4
428 | 2022-05-16 13:37 | 13.9973 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 308.3203 | μmol/L | 18.3614 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.86 | 91230.0371 | 212313.832 | 27.3 | 43.4
438 | 2022-05-16 13:38 | 14.3309 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 308.1017 | μmol/L | 18.3675 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.866 | 91281.1532 | 212299.2496 | 27.3 | 43.4
448 | 2022-05-16 13:38 | 14.6636 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 307.7841 | μmol/L | 18.3675 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.878 | 91328.6641 | 212310.7372 | 27.3 | 43.4
458 | 2022-05-16 13:38 | 14.9972 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 307.8237 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.881 | 91342.6117 | 212309.4757 | 27.3 | 43.4
468 | 2022-05-16 13:39 | 15.3307 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 307.6386 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.888 | 91376.6862 | 212305.6172 | 27.3 | 43.4
478 | 2022-05-16 13:39 | 15.6642 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 307.4603 | μmol/L | 18.3492 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.897 | 91418.8424 | 212309.2857 | 27.3 | 43.4
488 | 2022-05-16 13:39 | 15.997 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 306.9985 | μmol/L | 18.3614 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.91 | 91464.0704 | 212316.2857 | 27.3 | 43.4
498 | 2022-05-16 13:40 | 16.3302 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 306.7943 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.92 | 91520.275 | 212304.0731 | 27.3 | 43.4
508 | 2022-05-16 13:40 | 16.6638 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 306.4784 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.932 | 91553.7022 | 212300.4657 | 27.3 | 43.4
518 | 2022-05-16 13:40 | 16.9972 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 306.3403 | μmol/L | 18.3614 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.935 | 91575.0278 | 212303.1358 | 27.3 | 43.4
528 | 2022-05-16 13:41 | 17.3307 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 306.2022 | μmol/L | 18.3675 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.938 | 91601.9372 | 212293.8878 | 27.3 | 43.4
538 | 2022-05-16 13:41 | 17.6642 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 306.1892 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.943 | 91621.4355 | 212299.748 | 27.3 | 43.4
548 | 2022-05-16 13:41 | 17.9968 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 305.8346 | μmol/L | 18.3675 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.952 | 91642.9137 | 212306.5586 | 27.3 | 43.4
558 | 2022-05-16 13:42 | 18.3302 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 305.9529 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.952 | 91662.0136 | 212295.0493 | 27.3 | 43.4
568 | 2022-05-16 13:42 | 18.6638 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 305.6052 | μmol/L | 18.3614 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.963 | 91692.1981 | 212292.5964 | 27.3 | 43.4
578 | 2022-05-16 13:42 | 18.9974 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 305.507 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.969 | 91710.6233 | 212295.7435 | 27.3 | 43.4
588 | 2022-05-16 13:43 | 19.3302 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 305.4351 | μmol/L | 18.3492 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.974 | 91722.9509 | 212287.3842 | 27.3 | 43.4
598 | 2022-05-16 13:43 | 19.6642 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 305.1928 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.981 | 91771.4101 | 212291.7114 | 27.3 | 43.4
608 | 2022-05-16 13:43 | 19.9973 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 305.0359 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.987 | 91787.6255 | 212287.0572 | 27.3 | 43.4
618 | 2022-05-16 13:44 | 20.3302 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 304.8268 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.995 | 91820.9231 | 212285.0079 | 27.3 | 43.4
628 | 2022-05-16 13:44 | 20.6638 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 304.6439 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.002 | 91851.3926 | 212280.1203 | 27.3 | 43.4
638 | 2022-05-16 13:44 | 20.9976 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 304.5134 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.007 | 91873.7463 | 212266.1594 | 27.3 | 43.4
648 | 2022-05-16 13:45 | 21.3307 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 304.3763 | μmol/L | 18.3614 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.01 | 91884.8382 | 212257.4259 | 27.3 | 43.4
658 | 2022-05-16 13:45 | 21.6637 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 304.1223 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.022 | 91911.4964 | 212264.7566 | 27.3 | 43.4
668 | 2022-05-16 13:45 | 21.9975 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 304.0509 | μmol/L | 18.3492 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.027 | 91937.7028 | 212257.4013 | 27.3 | 43.4
678 | 2022-05-16 13:46 | 22.3306 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 303.8947 | μmol/L | 18.3492 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.033 | 91967.2867 | 212250.4067 | 27.3 | 43.4
688 | 2022-05-16 13:46 | 22.6635 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 303.7059 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.038 | 91978.5801 | 212238.9617 | 27.3 | 43.4
698 | 2022-05-16 13:46 | 22.9972 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 303.7713 | μmol/L | 18.3431 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.04 | 91985.8726 | 212247.1005 | 27.3 | 43.4
708 | 2022-05-16 13:47 | 23.3304 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 303.6346 | μmol/L | 18.3492 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.043 | 92001.4996 | 212230.3939 | 27.3 | 43.4
718 | 2022-05-16 13:47 | 23.6641 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 303.4007 | μmol/L | 18.3492 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.052 | 92019.0093 | 212224.4517 | 27.3 | 43.4
728 | 2022-05-16 13:47 | 23.9974 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 303.2189 | μmol/L | 18.3492 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.059 | 92052.0805 | 212229.6671 | 27.3 | 43.4
738 | 2022-05-16 13:48 | 24.3304 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 303.0633 | μmol/L | 18.3492 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.065 | 92082.0824 | 212222.495 | 27.3 | 43.4
748 | 2022-05-16 13:48 | 24.6637 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 303.0181 | μmol/L | 18.3431 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.069 | 92102.7762 | 212215.4185 | 27.3 | 43.4
758 | 2022-05-16 13:48 | 24.9975 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 302.8367 | μmol/L | 18.3431 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.076 | 92134.8846 | 212222.2877 | 27.3 | 43.4
768 | 2022-05-16 13:49 | 25.3306 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 302.6487 | μmol/L | 18.3492 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.081 | 92157.6277 | 212212.0465 | 27.3 | 43.4
778 | 2022-05-16 13:49 | 25.6637 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 302.4416 | μmol/L | 18.3492 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.089 | 92193.7709 | 212202.4858 | 27.3 | 43.4
788 | 2022-05-16 13:49 | 25.997 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 302.3449 | μmol/L | 18.3431 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.095 | 92215.3516 | 212189.0131 | 27.3 | 43.4
798 | 2022-05-16 13:50 | 26.3308 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 301.9764 | μmol/L | 18.3492 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.107 | 92273.792 | 212186.9967 | 27.3 | 43.4
808 | 2022-05-16 13:50 | 26.6638 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 301.641 | μmol/L | 18.3492 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.12 | 92323.4031 | 212188.001 | 27.3 | 43.4
818 | 2022-05-16 13:50 | 26.997 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 301.4158 | μmol/L | 18.3431 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.131 | 92346.1793 | 212185.7428 | 27.3 | 43.4
828 | 2022-05-16 13:51 | 27.3309 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 301.3575 | μmol/L | 18.3492 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.131 | 92366.5006 | 212183.873 | 27.3 | 43.4
838 | 2022-05-16 13:51 | 27.664 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 301.0487 | μmol/L | 18.3492 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.143 | 92427.508 | 212183.0156 | 27.3 | 43.4
848 | 2022-05-16 13:51 | 27.9976 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 300.8944 | μmol/L | 18.3492 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.149 | 92451.9622 | 212181.9781 | 27.3 | 43.4
858 | 2022-05-16 13:52 | 28.3307 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 300.6957 | μmol/L | 18.3431 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.159 | 92475.0611 | 212188.1568 | 27.3 | 43.4
868 | 2022-05-16 13:52 | 28.6637 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 300.7538 | μmol/L | 18.337 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.159 | 92486.0587 | 212175.7652 | 27.3 | 43.4
878 | 2022-05-16 13:52 | 28.9975 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 300.5997 | μmol/L | 18.337 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.165 | 92509.9907 | 212181.6957 | 27.3 | 43.4
888 | 2022-05-16 13:53 | 29.3305 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 300.2082 | μmol/L | 18.3431 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.178 | 92533.0092 | 212170.6646 | 27.3 | 43.4
898 | 2022-05-16 13:53 | 29.6643 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 300.2783 | μmol/L | 18.3492 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.173 | 92546.605 | 212172.5374 | 27.3 | 43.4
908 | 2022-05-16 13:53 | 29.9973 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 300.215 | μmol/L | 18.337 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.18 | 92550.5502 | 212168.8734 | 27.3 | 43.4
918 | 2022-05-16 13:54 | 30.3305 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 300.0237 | μmol/L | 18.3248 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.192 | 92586.0495 | 212174.3417 | 27.3 | 43.4
928 | 2022-05-16 13:54 | 30.6637 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 299.5172 | μmol/L | 18.3431 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.205 | 92621.6281 | 212157.3161 | 27.3 | 43.4
938 | 2022-05-16 13:54 | 30.9975 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 299.5172 | μmol/L | 18.3431 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.205 | 92663.0923 | 212154.7725 | 27.3 | 43.4
948 | 2022-05-16 13:55 | 31.3305 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 299.415 | μmol/L | 18.3431 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.209 | 92664.1101 | 212160.4478 | 27.3 | 43.4
958 | 2022-05-16 13:55 | 31.6634 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 299.3452 | μmol/L | 18.337 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.214 | 92684.9019 | 212156.2037 | 27.3 | 43.4
968 | 2022-05-16 13:55 | 31.9972 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 299.1921 | μmol/L | 18.337 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.22 | 92721.8832 | 212145.6661 | 27.3 | 43.4
978 | 2022-05-16 13:56 | 32.3302 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 299.0203 | μmol/L | 18.3309 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.229 | 92748.4426 | 212141.7057 | 27.3 | 43.4
988 | 2022-05-16 13:56 | 32.664 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 298.6822 | μmol/L | 18.337 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.24 | 92792.4303 | 212141.5221 | 27.3 | 43.4
998 | 2022-05-16 13:56 | 32.9976 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 298.5549 | μmol/L | 18.337 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.245 | 92818.3449 | 212140.7107 | 27.3 | 43.4
1008 | 2022-05-16 13:57 | 33.3306 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 298.46 | μmol/L | 18.3309 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.251 | 92819.7642 | 212131.8366 | 27.3 | 43.4
1018 | 2022-05-16 13:57 | 33.6638 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 298.504 | μmol/L | 18.337 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.247 | 92833.1172 | 212130.1088 | 27.3 | 43.4
1028 | 2022-05-16 13:57 | 33.9968 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 298.1412 | μmol/L | 18.3431 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.259 | 92851.8273 | 212130.6046 | 27.3 | 43.4
1038 | 2022-05-16 13:58 | 34.3308 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 297.9957 | μmol/L | 18.337 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.267 | 92909.6833 | 212140.7734 | 27.3 | 43.4
1048 | 2022-05-16 13:58 | 34.6641 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 297.7926 | μmol/L | 18.337 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.275 | 92931.5789 | 212127.6133 | 27.3 | 43.4
1058 | 2022-05-16 13:58 | 34.997 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 297.7165 | μmol/L | 18.337 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.278 | 92945.1854 | 212120.4897 | 27.3 | 43.4
1068 | 2022-05-16 13:59 | 35.3308 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 297.4631 | μmol/L | 18.337 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.288 | 92972.7076 | 212121.8165 | 27.3 | 43.4
1078 | 2022-05-16 13:59 | 35.6638 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 297.4377 | μmol/L | 18.337 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.289 | 92987.8674 | 212124.3203 | 27.3 | 43.4
1088 | 2022-05-16 13:59 | 35.9975 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 297.318 | μmol/L | 18.3309 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.296 | 93015.12 | 212113.298 | 27.3 | 43.4
1098 | 2022-05-16 14:00 | 36.3309 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 297.1846 | μmol/L | 18.337 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.299 | 93043.8122 | 212108.5992 | 27.3 | 43.4
1108 | 2022-05-16 14:00 | 36.6638 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 297.1408 | μmol/L | 18.3309 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.303 | 93047.2342 | 212115.4064 | 27.3 | 43.4
1118 | 2022-05-16 14:00 | 36.9976 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 297.0144 | μmol/L | 18.3309 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.308 | 93060.0843 | 212110.0113 | 27.3 | 43.4
1128 | 2022-05-16 14:01 | 37.3306 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 297.0718 | μmol/L | 18.3248 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.308 | 93059.5187 | 212100.6567 | 27.3 | 43.4
1138 | 2022-05-16 14:01 | 37.6638 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 296.9891 | μmol/L | 18.3309 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.309 | 93056.1834 | 212104.674 | 27.3 | 43.4
1148 | 2022-05-16 14:01 | 37.9976 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 296.8305 | μmol/L | 18.337 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.313 | 93082.4844 | 212090.3851 | 27.3 | 43.4
1158 | 2022-05-16 14:02 | 38.3306 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 296.6537 | μmol/L | 18.337 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.32 | 93113.4275 | 212102.3768 | 27.3 | 43.4
1168 | 2022-05-16 14:02 | 38.6639 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 296.5023 | μmol/L | 18.337 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.326 | 93124.648 | 212090.9961 | 27.3 | 43.4
1178 | 2022-05-16 14:02 | 38.9976 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 296.617 | μmol/L | 18.3248 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.326 | 93135.8931 | 212089.7417 | 27.3 | 43.4
1188 | 2022-05-16 14:03 | 39.3304 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 296.3831 | μmol/L | 18.3309 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.333 | 93167.6214 | 212082.9423 | 27.3 | 43.4
1198 | 2022-05-16 14:03 | 39.6642 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 296.1379 | μmol/L | 18.3248 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.345 | 93198.3663 | 212082.6463 | 27.3 | 43.4
1208 | 2022-05-16 14:03 | 39.9971 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 295.9478 | μmol/L | 18.337 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.348 | 93225.9743 | 212084.2543 | 27.3 | 43.4
1218 | 2022-05-16 14:04 | 40.3308 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 296.0441 | μmol/L | 18.3186 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.351 | 93230.4332 | 212081.1741 | 27.3 | 43.4
1228 | 2022-05-16 14:04 | 40.664 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 295.7855 | μmol/L | 18.3248 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.359 | 93260.0838 | 212077.7287 | 27.3 | 43.4
1238 | 2022-05-16 14:04 | 40.997 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 295.5341 | μmol/L | 18.3248 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.369 | 93286.2351 | 212082.827 | 27.3 | 43.4
1248 | 2022-05-16 14:05 | 41.3303 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 295.3263 | μmol/L | 18.3309 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.375 | 93304.0381 | 212070.1186 | 27.3 | 43.4
1258 | 2022-05-16 14:05 | 41.664 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 295.5228 | μmol/L | 18.3125 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.374 | 93343.5031 | 212072.6071 | 27.3 | 43.4
1268 | 2022-05-16 14:05 | 41.9968 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 295.0572 | μmol/L | 18.3248 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.388 | 93377.1059 | 212067.5634 | 27.3 | 43.4
1278 | 2022-05-16 14:06 | 42.3305 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 294.8497 | μmol/L | 18.3309 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.394 | 93408.3945 | 212079.8489 | 27.3 | 43.4
1288 | 2022-05-16 14:06 | 42.6642 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 294.8316 | μmol/L | 18.3248 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.397 | 93423.9979 | 212072.6957 | 27.3 | 43.4
1298 | 2022-05-16 14:06 | 42.9972 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 294.6243 | μmol/L | 18.3309 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.403 | 93431.2078 | 212076.076 | 27.3 | 43.4
1308 | 2022-05-16 14:07 | 43.3309 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 294.6632 | μmol/L | 18.3186 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.406 | 93447.0819 | 212081.6464 | 27.3 | 43.4
1318 | 2022-05-16 14:07 | 43.6637 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 294.4881 | μmol/L | 18.3186 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.413 | 93497.0784 | 212079.5564 | 27.3 | 43.4
1328 | 2022-05-16 14:07 | 43.9975 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 294.3742 | μmol/L | 18.3309 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.413 | 93495.8907 | 212083.7056 | 27.3 | 43.4
1338 | 2022-05-16 14:08 | 44.3304 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 294.4311 | μmol/L | 18.3248 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.413 | 93506.7979 | 212096.8877 | 27.3 | 43.4
1348 | 2022-05-16 14:08 | 44.6643 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 294.2061 | μmol/L | 18.3248 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.422 | 93527.0905 | 212086.794 | 27.3 | 43.4
1358 | 2022-05-16 14:08 | 44.9971 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 294.0563 | μmol/L | 18.3248 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.428 | 93566.208 | 212080.2178 | 27.3 | 43.4
1368 | 2022-05-16 14:09 | 45.3302 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 293.8067 | μmol/L | 18.3248 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.438 | 93584.3377 | 212080.9367 | 27.3 | 43.4
1378 | 2022-05-16 14:09 | 45.6642 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 293.7 | μmol/L | 18.3309 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.44 | 93619.0949 | 212090.472 | 27.3 | 43.4
1388 | 2022-05-16 14:09 | 45.9974 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 293.5643 | μmol/L | 18.3186 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.45 | 93640.2325 | 212089.2407 | 27.3 | 43.4
1398 | 2022-05-16 14:10 | 46.3302 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 293.3581 | μmol/L | 18.3248 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.456 | 93661.1244 | 212086.5802 | 27.3 | 43.4
1408 | 2022-05-16 14:10 | 46.6639 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 293.3223 | μmol/L | 18.3125 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.462 | 93682.5291 | 212071.908 | 27.3 | 43.4
1418 | 2022-05-16 14:10 | 46.9968 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 292.9353 | μmol/L | 18.3248 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.473 | 93768.2311 | 212077.0395 | 27.3 | 43.4
1428 | 2022-05-16 14:11 | 47.3306 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 292.7435 | μmol/L | 18.3186 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.483 | 93804.0399 | 212087.2716 | 27.3 | 43.4
1438 | 2022-05-16 14:11 | 47.6635 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 292.6373 | μmol/L | 18.3248 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.485 | 93942.4578 | 212091.5287 | 27.3 | 43.4
1448 | 2022-05-16 14:11 | 47.9974 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 292.4814 | μmol/L | 18.3309 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.489 | 93986.8526 | 212094.9905 | 27.3 | 43.4