## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-16 12:57

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
238645 | 2022-05-16 11:41 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.2313 | μmol/L | 18.7189 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.96 | 169564.8909 | 306807.7837 | 33.25 | 68.6
238655 | 2022-05-16 11:41 | 0.33502 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.6777 | μmol/L | 18.7189 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.938 | 168976.6908 | 306792.5195 | 33.25 | 68.6
238665 | 2022-05-16 11:41 | 0.66834 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.8159 | μmol/L | 18.725 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.929 | 168476.9964 | 306780.2383 | 33.25 | 68.6
238681 | 2022-05-16 11:42 | 1.7937 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 242.0437 | μmol/L | 18.7189 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.92 | 168375.737 | 306692.0753 | 33.25 | 68.6
238684 | 2022-05-16 11:42 | 1.7937 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 242.0886 | μmol/L | 18.7128 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.92 | 168315.2407 | 306573.1669 | 33.25 | 68.6
238695 | 2022-05-16 11:42 | 1.7937 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.9786 | μmol/L | 18.725 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.921 | 168256.8986 | 306534.6023 | 33.25 | 68.6
238705 | 2022-05-16 11:43 | 2.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 242.0437 | μmol/L | 18.7189 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.92 | 168111.4574 | 306675.1639 | 33.25 | 68.6
238715 | 2022-05-16 11:43 | 2.3351 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.9176 | μmol/L | 18.725 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.924 | 167749.9428 | 306646.7555 | 33.25 | 68.6
238725 | 2022-05-16 11:43 | 2.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.8444 | μmol/L | 18.7128 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.932 | 167461.4746 | 306615.6517 | 33.25 | 68.6
238735 | 2022-05-16 11:44 | 3.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.7876 | μmol/L | 18.7068 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.937 | 167125.314 | 306597.298 | 33.25 | 68.6
238745 | 2022-05-16 11:44 | 3.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.6819 | μmol/L | 18.7128 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.94 | 166905.6518 | 306566.7113 | 33.25 | 68.6
238755 | 2022-05-16 11:44 | 3.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.4909 | μmol/L | 18.725 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.945 | 166539.4287 | 306553.5351 | 33.25 | 68.6
238765 | 2022-05-16 11:45 | 4.0018 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.6209 | μmol/L | 18.7128 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.943 | 166278.3196 | 306519.2112 | 33.25 | 68.6
238775 | 2022-05-16 11:45 | 4.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.5397 | μmol/L | 18.7128 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.947 | 166059.523 | 306496.9393 | 33.25 | 68.6
238785 | 2022-05-16 11:45 | 4.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.625 | μmol/L | 18.7068 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.945 | 167284.7928 | 306466.9886 | 33.25 | 68.6
238795 | 2022-05-16 11:46 | 5.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.5194 | μmol/L | 18.7128 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.948 | 166483.8947 | 306457.0892 | 33.25 | 68.6
238805 | 2022-05-16 11:46 | 5.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.4788 | μmol/L | 18.7128 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.95 | 166115.405 | 306432.0783 | 33.25 | 68.6
238815 | 2022-05-16 11:46 | 5.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.4221 | μmol/L | 18.7068 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.955 | 165952.9992 | 306408.3208 | 33.25 | 68.6
238825 | 2022-05-16 11:47 | 6.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.4059 | μmol/L | 18.7007 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.958 | 165906.3716 | 306389.8486 | 33.25 | 68.6
238835 | 2022-05-16 11:47 | 6.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.2557 | μmol/L | 18.7128 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.961 | 165750.9727 | 306353.5822 | 33.25 | 68.6
238845 | 2022-05-16 11:47 | 6.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.2235 | μmol/L | 18.7007 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.967 | 165539.7081 | 306332.2025 | 33.25 | 68.6
238855 | 2022-05-16 11:48 | 7.0018 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.0978 | μmol/L | 18.7068 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.971 | 165386.5515 | 306317.4177 | 33.25 | 68.6
238865 | 2022-05-16 11:48 | 7.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.1424 | μmol/L | 18.7007 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.971 | 165226.7781 | 306297.1585 | 33.25 | 68.6
238875 | 2022-05-16 11:48 | 7.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.1222 | μmol/L | 18.7007 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.972 | 165045.563 | 306264.1155 | 33.25 | 68.6
238885 | 2022-05-16 11:49 | 8.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.0978 | μmol/L | 18.7068 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.971 | 164907.5404 | 306257.3475 | 33.25 | 68.6
238895 | 2022-05-16 11:49 | 8.3351 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.1871 | μmol/L | 18.6946 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.971 | 164714.1282 | 306220.4121 | 33.25 | 68.6
238905 | 2022-05-16 11:49 | 8.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.1871 | μmol/L | 18.6946 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.971 | 164598.76 | 306195.8426 | 33.25 | 68.6
238915 | 2022-05-16 11:50 | 9.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.0453 | μmol/L | 18.6946 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.978 | 165680.9576 | 306169.9524 | 33.25 | 68.6
238925 | 2022-05-16 11:50 | 9.3351 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.1143 | μmol/L | 18.6824 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.979 | 165248.022 | 306152.9403 | 33.25 | 68.6
238935 | 2022-05-16 11:50 | 9.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.0941 | μmol/L | 18.6824 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.98 | 165060.74 | 306138.4879 | 33.25 | 68.6
238945 | 2022-05-16 11:51 | 10.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.0739 | μmol/L | 18.6824 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.981 | 164907.0102 | 306108.0087 | 33.25 | 68.6
238955 | 2022-05-16 11:51 | 10.3344 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.0334 | μmol/L | 18.6824 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.983 | 164765.7675 | 306093.5747 | 33.25 | 68.6
238965 | 2022-05-16 11:51 | 10.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.0292 | μmol/L | 18.6885 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.981 | 164638.2862 | 306066.941 | 33.25 | 68.6
238975 | 2022-05-16 11:52 | 11.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.078 | μmol/L | 18.6763 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.983 | 164518.1123 | 306051.5609 | 33.25 | 68.6
238985 | 2022-05-16 11:52 | 11.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.0983 | μmol/L | 18.6763 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.982 | 164468.5362 | 306015.5948 | 33.25 | 68.6
238995 | 2022-05-16 11:52 | 11.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.0739 | μmol/L | 18.6824 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.981 | 164288.3433 | 305997.9259 | 33.25 | 68.6
239005 | 2022-05-16 11:53 | 12.0019 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.3783 | μmol/L | 18.652 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.977 | 164141.4995 | 305964.0553 | 33.25 | 68.6
239015 | 2022-05-16 11:53 | 12.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.6056 | μmol/L | 18.6459 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.968 | 163930.1912 | 305959.5754 | 33.25 | 68.6
239025 | 2022-05-16 11:53 | 12.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.3902 | μmol/L | 18.6642 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.972 | 163805.1387 | 305930.5339 | 33.25 | 68.6
239035 | 2022-05-16 11:54 | 13.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.5734 | μmol/L | 18.6337 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.974 | 163764.7702 | 305903.7033 | 33.25 | 68.6
239045 | 2022-05-16 11:54 | 13.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.3217 | μmol/L | 18.6459 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.982 | 163649.9332 | 305885.8708 | 33.25 | 68.6
239055 | 2022-05-16 11:54 | 13.668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 240.8923 | μmol/L | 18.652 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.001 | 163650.2491 | 305874.6057 | 33.25 | 68.6
239065 | 2022-05-16 11:55 | 14.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 240.5329 | μmol/L | 18.6459 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.021 | 163728.0811 | 305836.3905 | 33.25 | 68.6
239075 | 2022-05-16 11:55 | 14.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 240.3874 | μmol/L | 18.652 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.026 | 163698.5477 | 305807.6082 | 33.25 | 68.6
239085 | 2022-05-16 11:55 | 14.6685 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 240.3916 | μmol/L | 18.6459 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.028 | 163653.8125 | 305792.542 | 33.25 | 68.6
239095 | 2022-05-16 11:56 | 15.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 240.2102 | μmol/L | 18.6459 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.037 | 163608.5856 | 305767.108 | 33.25 | 68.6
239105 | 2022-05-16 11:56 | 15.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 240.1909 | μmol/L | 18.652 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.036 | 163551.1351 | 305741.0077 | 33.25 | 68.6
239115 | 2022-05-16 11:56 | 15.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 240.1254 | μmol/L | 18.652 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.039 | 163489.2407 | 305730.1042 | 33.25 | 68.6
239125 | 2022-05-16 11:57 | 16.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 239.7874 | μmol/L | 18.6459 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.058 | 163593.8012 | 305701.8122 | 33.25 | 68.6
239135 | 2022-05-16 11:57 | 16.3351 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 239.2569 | μmol/L | 18.6581 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.08 | 163687.6958 | 305684.5848 | 33.25 | 68.6
239145 | 2022-05-16 11:57 | 16.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.8497 | μmol/L | 18.6459 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.105 | 166569.6065 | 305654.5822 | 33.25 | 68.6
239155 | 2022-05-16 11:58 | 17.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.6004 | μmol/L | 18.652 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.115 | 164490.9103 | 305641.798 | 33.25 | 68.6
239165 | 2022-05-16 11:58 | 17.335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.4963 | μmol/L | 18.6581 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.118 | 164081.2979 | 305609.556 | 33.25 | 68.6
239175 | 2022-05-16 11:58 | 17.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.4299 | μmol/L | 18.6459 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.126 | 163976.2994 | 305607.4472 | 33.25 | 68.6
239185 | 2022-05-16 11:59 | 18.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.4341 | μmol/L | 18.6398 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.128 | 163878.3582 | 305574.2941 | 33.25 | 68.6
239195 | 2022-05-16 11:59 | 18.3351 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.2901 | μmol/L | 18.6459 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.133 | 163772.8679 | 305561.806 | 33.25 | 68.6
239205 | 2022-05-16 11:59 | 18.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.4868 | μmol/L | 18.6216 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.132 | 163627.6738 | 305543.2423 | 33.25 | 68.6
239215 | 2022-05-16 12:00 | 19.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.6824 | μmol/L | 18.6277 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.12 | 163465.4679 | 305529.1529 | 33.25 | 68.6
239225 | 2022-05-16 12:00 | 19.3344 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.8108 | μmol/L | 18.6155 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.118 | 163318.7879 | 305506.438 | 33.25 | 68.6
239235 | 2022-05-16 12:00 | 19.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.7423 | μmol/L | 18.6277 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.117 | 163260.4152 | 305495.3977 | 33.25 | 68.6
239245 | 2022-05-16 12:01 | 20.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.6109 | μmol/L | 18.6155 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.128 | 163278.9142 | 305482.8259 | 33.25 | 68.6
239255 | 2022-05-16 12:01 | 20.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.1561 | μmol/L | 18.6094 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.153 | 163363.232 | 305454.3058 | 33.25 | 68.6
239265 | 2022-05-16 12:01 | 20.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 237.6982 | μmol/L | 18.6094 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.176 | 163484.1494 | 305444.5495 | 33.25 | 68.6
239275 | 2022-05-16 12:02 | 21.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 237.3312 | μmol/L | 18.6155 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.192 | 163565.3297 | 305424.2021 | 33.25 | 68.6
239285 | 2022-05-16 12:02 | 21.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 237.0975 | μmol/L | 18.6094 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.206 | 163630.1662 | 305407.2665 | 33.25 | 68.6
239295 | 2022-05-16 12:02 | 21.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.7416 | μmol/L | 18.6155 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.222 | 163681.3749 | 305390.2571 | 33.25 | 68.6
239305 | 2022-05-16 12:03 | 22.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.5981 | μmol/L | 18.6155 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.229 | 163704.3101 | 305380.4818 | 33.25 | 68.6
239315 | 2022-05-16 12:03 | 22.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.5524 | μmol/L | 18.6033 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.236 | 163648.0823 | 305369.2802 | 33.25 | 68.6
239325 | 2022-05-16 12:03 | 22.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.7347 | μmol/L | 18.5972 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.229 | 163589.4919 | 305347.3565 | 33.25 | 68.6
239335 | 2022-05-16 12:04 | 23.0019 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.6513 | μmol/L | 18.6033 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.231 | 163526.1075 | 305338.5184 | 33.25 | 68.6
239345 | 2022-05-16 12:04 | 23.3351 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.6902 | μmol/L | 18.5972 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.231 | 163469.5141 | 305328.7432 | 33.25 | 68.6
239355 | 2022-05-16 12:04 | 23.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.5715 | μmol/L | 18.5972 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.237 | 164745.8564 | 305305.1283 | 33.25 | 68.6
239365 | 2022-05-16 12:05 | 24.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.4974 | μmol/L | 18.5972 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.241 | 164272.6443 | 305302.5929 | 33.25 | 68.6
239375 | 2022-05-16 12:05 | 24.3351 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.4579 | μmol/L | 18.5972 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.243 | 163961.904 | 305261.8505 | 33.25 | 68.6
239385 | 2022-05-16 12:05 | 24.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.3986 | μmol/L | 18.5972 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.246 | 163755.9307 | 305256.8027 | 33.25 | 68.6
239395 | 2022-05-16 12:06 | 25.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.5017 | μmol/L | 18.5912 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.243 | 163548.4568 | 305245.7391 | 33.25 | 68.6
239405 | 2022-05-16 12:06 | 25.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.5963 | μmol/L | 18.5972 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.236 | 163335.1444 | 305223.2392 | 33.25 | 68.6
239415 | 2022-05-16 12:06 | 25.6686 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.4777 | μmol/L | 18.5972 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.242 | 163222.3148 | 305198.3386 | 33.25 | 68.6
239425 | 2022-05-16 12:07 | 26.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.2758 | μmol/L | 18.6033 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.25 | 163172.6054 | 305204.885 | 33.25 | 68.6
239435 | 2022-05-16 12:07 | 26.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.1815 | μmol/L | 18.5972 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.257 | 163084.9009 | 305176.1109 | 33.25 | 68.6
239445 | 2022-05-16 12:07 | 26.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.245 | μmol/L | 18.5912 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.256 | 162968.0911 | 305177.418 | 33.25 | 68.6
239455 | 2022-05-16 12:08 | 27.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.1858 | μmol/L | 18.5912 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.259 | 162854.5183 | 305164.1679 | 33.25 | 68.6
239465 | 2022-05-16 12:08 | 27.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.245 | μmol/L | 18.5912 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.256 | 162787.3165 | 305151.7215 | 33.25 | 68.6
239475 | 2022-05-16 12:08 | 27.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.0675 | μmol/L | 18.5912 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.265 | 162738.94 | 305131.6033 | 33.25 | 68.6
239485 | 2022-05-16 12:09 | 28.0019 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.0083 | μmol/L | 18.5912 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.268 | 164483.7501 | 305122.2359 | 33.25 | 68.6
239495 | 2022-05-16 12:09 | 28.335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.9732 | μmol/L | 18.5851 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.272 | 163646.8054 | 305093.9167 | 33.25 | 68.6
239505 | 2022-05-16 12:09 | 28.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.8593 | μmol/L | 18.579 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.28 | 161926.7687 | 305090.0382 | 33.25 | 68.6
239515 | 2022-05-16 12:10 | 29.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.7215 | μmol/L | 18.579 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.287 | 161841.874 | 305066.685 | 33.25 | 68.6
239525 | 2022-05-16 12:10 | 29.3351 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.7019 | μmol/L | 18.579 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.288 | 161682.0745 | 305050.991 | 33.25 | 68.6
239535 | 2022-05-16 12:10 | 29.668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.6232 | μmol/L | 18.579 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.292 | 161433.1387 | 305037.5003 | 33.25 | 68.6
239545 | 2022-05-16 12:11 | 30.0018 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.4855 | μmol/L | 18.579 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.299 | 163678.5936 | 305020.1434 | 33.25 | 68.6
239555 | 2022-05-16 12:11 | 30.335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.4855 | μmol/L | 18.579 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.299 | 161873.0981 | 305014.1507 | 33.25 | 68.6
239565 | 2022-05-16 12:11 | 30.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.5052 | μmol/L | 18.579 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.298 | 161474.6952 | 305003.9624 | 33.25 | 68.6
239575 | 2022-05-16 12:12 | 31.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.5095 | μmol/L | 18.5729 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.3 | 161167.9013 | 304987.391 | 33.25 | 68.6
239585 | 2022-05-16 12:12 | 31.3344 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.5292 | μmol/L | 18.5729 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.299 | 160945.017 | 304971.2323 | 33.25 | 68.6
239595 | 2022-05-16 12:12 | 31.668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.4309 | μmol/L | 18.5729 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.304 | 161885.6096 | 304960.2279 | 33.25 | 68.6
239605 | 2022-05-16 12:13 | 32.0019 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.4549 | μmol/L | 18.5668 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.305 | 161436.8224 | 304930.7824 | 33.25 | 68.6
239615 | 2022-05-16 12:13 | 32.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.3567 | μmol/L | 18.5668 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.31 | 161198.1456 | 304925.9154 | 33.25 | 68.6
239625 | 2022-05-16 12:13 | 32.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.4003 | μmol/L | 18.5607 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.31 | 161047.9341 | 304907.9102 | 33.25 | 68.6
239635 | 2022-05-16 12:14 | 33.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.2345 | μmol/L | 18.5729 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.314 | 160906.4875 | 304902.3521 | 33.25 | 68.6
239645 | 2022-05-16 12:14 | 33.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.204 | μmol/L | 18.5607 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.32 | 162733.798 | 304880.867 | 33.25 | 68.6
239655 | 2022-05-16 12:14 | 33.6685 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.2236 | μmol/L | 18.5607 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.319 | 161687.4896 | 304872.0156 | 33.25 | 68.6
239665 | 2022-05-16 12:15 | 34.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.1647 | μmol/L | 18.5607 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.322 | 161376.8426 | 304863.5245 | 33.25 | 68.6
239675 | 2022-05-16 12:15 | 34.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.1451 | μmol/L | 18.5607 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.323 | 161148.8787 | 304850.7033 | 33.25 | 68.6
239685 | 2022-05-16 12:15 | 34.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.1691 | μmol/L | 18.5546 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.324 | 160943.1267 | 304835.3232 | 33.25 | 68.6
239695 | 2022-05-16 12:16 | 35.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.1691 | μmol/L | 18.5546 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.324 | 160756.5795 | 304817.5135 | 33.25 | 68.6
239705 | 2022-05-16 12:16 | 35.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.0862 | μmol/L | 18.5607 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.326 | 160629.5057 | 304804.8476 | 33.25 | 68.6
239715 | 2022-05-16 12:16 | 35.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.0122 | μmol/L | 18.5546 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.332 | 161859.0603 | 304793.2665 | 33.25 | 68.6
239725 | 2022-05-16 12:17 | 36.0018 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.9142 | μmol/L | 18.5546 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.337 | 161387.5416 | 304777.4245 | 33.25 | 68.6
239735 | 2022-05-16 12:17 | 36.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.7139 | μmol/L | 18.5607 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.345 | 161255.3099 | 304772.4331 | 33.25 | 68.6
239745 | 2022-05-16 12:17 | 36.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.6009 | μmol/L | 18.5546 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.353 | 161116.6497 | 304750.5252 | 33.25 | 68.6
239755 | 2022-05-16 12:18 | 37.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.5813 | μmol/L | 18.5546 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.354 | 160952.8326 | 304734.9517 | 33.25 | 68.6
239765 | 2022-05-16 12:18 | 37.3352 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.5813 | μmol/L | 18.5546 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.354 | 160847.9541 | 304733.5631 | 33.25 | 68.6
239775 | 2022-05-16 12:18 | 37.6685 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.4488 | μmol/L | 18.5486 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.363 | 160797.4688 | 304718.1048 | 33.25 | 68.6
239785 | 2022-05-16 12:19 | 38.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.3272 | μmol/L | 18.5546 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.367 | 160737.9844 | 304706.0362 | 33.25 | 68.6
239795 | 2022-05-16 12:19 | 38.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.273 | μmol/L | 18.5486 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.372 | 160665.2664 | 304694.1513 | 33.25 | 68.6
239805 | 2022-05-16 12:19 | 38.668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.3121 | μmol/L | 18.5486 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.37 | 161942.5412 | 304693.6619 | 33.25 | 68.6
239815 | 2022-05-16 12:20 | 39.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.2144 | μmol/L | 18.5486 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.375 | 161462.315 | 304678.9556 | 33.25 | 68.6
239825 | 2022-05-16 12:20 | 39.3352 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.2535 | μmol/L | 18.5486 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.373 | 161268.4519 | 304671.4405 | 33.25 | 68.6
239835 | 2022-05-16 12:20 | 39.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.21 | μmol/L | 18.5546 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.373 | 161052.8138 | 304656.932 | 33.25 | 68.6
239845 | 2022-05-16 12:21 | 40.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.3272 | μmol/L | 18.5546 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.367 | 160907.654 | 304642.2094 | 33.25 | 68.6
239855 | 2022-05-16 12:21 | 40.3351 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.4142 | μmol/L | 18.5425 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.367 | 160835.7219 | 304638.7903 | 33.25 | 68.6
239865 | 2022-05-16 12:21 | 40.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.4142 | μmol/L | 18.5425 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.367 | 160708.977 | 304627.8932 | 33.25 | 68.6
239875 | 2022-05-16 12:22 | 41.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.234 | μmol/L | 18.5486 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.374 | 160689.6939 | 304614.9196 | 33.25 | 68.6
239885 | 2022-05-16 12:22 | 41.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.1603 | μmol/L | 18.5425 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.38 | 160661.7541 | 304602.8454 | 33.25 | 68.6
239895 | 2022-05-16 12:22 | 41.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.0432 | μmol/L | 18.5425 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.386 | 160613.3834 | 304604.0867 | 33.25 | 68.6
239905 | 2022-05-16 12:23 | 42.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.0086 | μmol/L | 18.5364 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.39 | 160590.1869 | 304591.9647 | 33.25 | 68.6
239915 | 2022-05-16 12:23 | 42.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.013 | μmol/L | 18.5303 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.392 | 160562.7686 | 304596.3721 | 33.25 | 68.6
239925 | 2022-05-16 12:23 | 42.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 233.8332 | μmol/L | 18.5364 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.399 | 160515.0264 | 304581.2835 | 33.25 | 68.6
239935 | 2022-05-16 12:24 | 43.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 233.8093 | μmol/L | 18.5425 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.398 | 161998.6145 | 304563.8176 | 33.25 | 68.6
239945 | 2022-05-16 12:24 | 43.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 233.7898 | μmol/L | 18.5425 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.399 | 161463.8756 | 304571.0355 | 33.25 | 68.6
239955 | 2022-05-16 12:24 | 43.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 233.9155 | μmol/L | 18.5303 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.397 | 161248.387 | 304566.0074 | 33.25 | 68.6
239965 | 2022-05-16 12:25 | 44.0016 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 233.9111 | μmol/L | 18.5364 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.395 | 161080.0045 | 304537.0757 | 33.25 | 68.6
239975 | 2022-05-16 12:25 | 44.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 233.9696 | μmol/L | 18.5364 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.392 | 160982.3432 | 304527.054 | 33.25 | 68.6
239985 | 2022-05-16 12:25 | 44.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 233.8677 | μmol/L | 18.5425 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.395 | 160867.723 | 304523.932 | 33.25 | 68.6
239995 | 2022-05-16 12:26 | 45.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.013 | μmol/L | 18.5303 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.392 | 160767.6981 | 304502.0963 | 33.25 | 68.6
240005 | 2022-05-16 12:26 | 45.3351 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 233.974 | μmol/L | 18.5303 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.394 | 160753.3184 | 304498.0078 | 33.25 | 68.6
240015 | 2022-05-16 12:26 | 45.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.0413 | μmol/L | 18.5181 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.395 | 160712.5474 | 304494.9172 | 33.25 | 68.6
240025 | 2022-05-16 12:27 | 46.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 233.9439 | μmol/L | 18.5181 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.4 | 160680.7767 | 304481.4281 | 33.25 | 68.6
240035 | 2022-05-16 12:27 | 46.335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 233.8181 | μmol/L | 18.5303 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.402 | 160636.5638 | 304480.146 | 33.25 | 68.6
240045 | 2022-05-16 12:27 | 46.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 233.8181 | μmol/L | 18.5303 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.402 | 160619.4971 | 304486.1858 | 33.25 | 68.6
240055 | 2022-05-16 12:28 | 47.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 233.5261 | μmol/L | 18.5303 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.417 | 160669.7796 | 304481.9744 | 33.25 | 68.6
240065 | 2022-05-16 12:28 | 47.3344 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 233.5261 | μmol/L | 18.5303 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.417 | 160659.2534 | 304474.2082 | 33.25 | 68.6
240075 | 2022-05-16 12:28 | 47.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 233.4872 | μmol/L | 18.5303 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.419 | 160628.2701 | 304474.8175 | 33.25 | 68.6
240085 | 2022-05-16 12:29 | 48.0016 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 233.4439 | μmol/L | 18.5364 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.419 | 160583.379 | 304460.1952 | 33.25 | 68.6
240095 | 2022-05-16 12:29 | 48.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 233.3556 | μmol/L | 18.5242 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.428 | 160647.2775 | 304448.6377 | 33.25 | 68.6
240105 | 2022-05-16 12:29 | 48.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 233.2002 | μmol/L | 18.5242 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.436 | 160650.3672 | 304434.0162 | 33.25 | 68.6
240115 | 2022-05-16 12:30 | 49.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 233.0643 | μmol/L | 18.5242 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.443 | 160665.0375 | 304433.606 | 33.25 | 68.6
240125 | 2022-05-16 12:30 | 49.3351 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.9241 | μmol/L | 18.5303 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.448 | 160693.5786 | 304437.4277 | 33.25 | 68.6
240135 | 2022-05-16 12:30 | 49.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.7735 | μmol/L | 18.5242 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.458 | 162820.7811 | 304423.3054 | 33.25 | 68.6
240145 | 2022-05-16 12:31 | 50.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.8554 | μmol/L | 18.5181 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.456 | 161774.5621 | 304423.1133 | 33.25 | 68.6
240155 | 2022-05-16 12:31 | 50.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.8748 | μmol/L | 18.5181 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.455 | 161405.6956 | 304421.4085 | 33.25 | 68.6
240165 | 2022-05-16 12:31 | 50.6686 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.7779 | μmol/L | 18.5181 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.46 | 161314.461 | 304422.5487 | 33.25 | 68.6
240175 | 2022-05-16 12:32 | 51.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.4058 | μmol/L | 18.5242 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.477 | 161293.1669 | 304412.1255 | 33.25 | 68.6
240185 | 2022-05-16 12:32 | 51.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.2511 | μmol/L | 18.5242 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.485 | 161253.0402 | 304406.3837 | 33.25 | 68.6
240195 | 2022-05-16 12:32 | 51.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.1739 | μmol/L | 18.5242 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.489 | 161201.0808 | 304399.9739 | 33.25 | 68.6
240205 | 2022-05-16 12:33 | 52.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.1353 | μmol/L | 18.5242 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.491 | 161110.6785 | 304398.3101 | 33.25 | 68.6
240215 | 2022-05-16 12:33 | 52.3344 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.1011 | μmol/L | 18.5181 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.495 | 161076.7613 | 304390.1736 | 33.25 | 68.6
240225 | 2022-05-16 12:33 | 52.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.1397 | μmol/L | 18.5181 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.493 | 161003.8335 | 304371.661 | 33.25 | 68.6
240235 | 2022-05-16 12:34 | 53.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.1783 | μmol/L | 18.5181 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.491 | 160956.3278 | 304374.6404 | 33.25 | 68.6
240245 | 2022-05-16 12:34 | 53.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.2407 | μmol/L | 18.5121 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.49 | 160916.307 | 304379.4438 | 33.25 | 68.6
240255 | 2022-05-16 12:34 | 53.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.318 | μmol/L | 18.5121 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.486 | 160854.0717 | 304374.1656 | 33.25 | 68.6
240265 | 2022-05-16 12:35 | 54.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.1249 | μmol/L | 18.5121 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.496 | 160931.7889 | 304364.3808 | 33.25 | 68.6
240275 | 2022-05-16 12:35 | 54.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.9942 | μmol/L | 18.506 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.505 | 160950.2971 | 304348.2184 | 33.25 | 68.6
240285 | 2022-05-16 12:35 | 54.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.0284 | μmol/L | 18.5121 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.501 | 160960.6009 | 304343.855 | 33.25 | 68.6
240295 | 2022-05-16 12:36 | 55.0016 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.831 | μmol/L | 18.5181 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.509 | 160984.4141 | 304359.0174 | 33.25 | 68.6
240305 | 2022-05-16 12:36 | 55.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.8162 | μmol/L | 18.5121 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.512 | 160999.982 | 304340.7991 | 33.25 | 68.6
240315 | 2022-05-16 12:36 | 55.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.8592 | μmol/L | 18.506 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.512 | 160959.9757 | 304345.7909 | 33.25 | 68.6
240325 | 2022-05-16 12:37 | 56.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.8696 | μmol/L | 18.5181 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.507 | 160929.407 | 304318.705 | 33.25 | 68.6
240335 | 2022-05-16 12:37 | 56.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.9749 | μmol/L | 18.506 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.506 | 160905.9717 | 304314.4845 | 33.25 | 68.6
240345 | 2022-05-16 12:37 | 56.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.0714 | μmol/L | 18.506 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.501 | 160863.9342 | 304315.7535 | 33.25 | 68.6
240355 | 2022-05-16 12:38 | 57.0016 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.0521 | μmol/L | 18.506 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.502 | 160841.9135 | 304331.1471 | 33.25 | 68.6
240365 | 2022-05-16 12:38 | 57.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.0328 | μmol/L | 18.506 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.503 | 160814.0898 | 304307.1001 | 33.25 | 68.6
240375 | 2022-05-16 12:38 | 57.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.0135 | μmol/L | 18.506 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.504 | 160785.1942 | 304313.1603 | 33.25 | 68.6
240385 | 2022-05-16 12:39 | 58.0018 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.1145 | μmol/L | 18.4999 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.501 | 160775.8434 | 304305.8741 | 33.25 | 68.6
240395 | 2022-05-16 12:39 | 58.3352 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.018 | μmol/L | 18.4999 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.506 | 160788.0468 | 304294.7747 | 33.25 | 68.6
240405 | 2022-05-16 12:39 | 58.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.8785 | μmol/L | 18.506 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.511 | 160788.0318 | 304301.5888 | 33.25 | 68.6
240415 | 2022-05-16 12:40 | 59.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.8785 | μmol/L | 18.506 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.511 | 160788.9243 | 304292.4982 | 33.25 | 68.6
240425 | 2022-05-16 12:40 | 59.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.9215 | μmol/L | 18.4999 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.511 | 160780.7246 | 304271.2104 | 33.25 | 68.6
240435 | 2022-05-16 12:40 | 59.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.9023 | μmol/L | 18.4999 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.512 | 160778.5634 | 304289.1231 | 33.25 | 68.6
240445 | 2022-05-16 12:41 | 60.0018 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.7866 | μmol/L | 18.4999 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.518 | 160817.6591 | 304266.765 | 33.25 | 68.6
240455 | 2022-05-16 12:41 | 60.335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.714 | μmol/L | 18.4938 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.524 | 160839.0943 | 304263.3952 | 33.25 | 68.6
240465 | 2022-05-16 12:41 | 60.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.7333 | μmol/L | 18.4938 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.523 | 160864.7964 | 304258.2746 | 33.25 | 68.6
240475 | 2022-05-16 12:42 | 61.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.5363 | μmol/L | 18.4999 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.531 | 160927.6648 | 304269.5604 | 33.25 | 68.6
240485 | 2022-05-16 12:42 | 61.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.4208 | μmol/L | 18.4999 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.537 | 161009.4957 | 304255.9097 | 33.25 | 68.6
240495 | 2022-05-16 12:42 | 61.6685 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.3144 | μmol/L | 18.4877 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.547 | 161032.0634 | 304237.6606 | 33.25 | 68.6
240505 | 2022-05-16 12:43 | 62.0016 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.2523 | μmol/L | 18.4938 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.548 | 161043.5279 | 304228.7028 | 33.25 | 68.6
240515 | 2022-05-16 12:43 | 62.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.2523 | μmol/L | 18.4938 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.548 | 161036.8675 | 304219.0637 | 33.25 | 68.6
240525 | 2022-05-16 12:43 | 62.668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.2139 | μmol/L | 18.4938 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.55 | 162110.784 | 304201.6623 | 33.25 | 68.6
240535 | 2022-05-16 12:44 | 63.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.2907 | μmol/L | 18.4938 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.546 | 161762.9676 | 304209.0119 | 33.25 | 68.6
240545 | 2022-05-16 12:44 | 63.3344 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.2331 | μmol/L | 18.4938 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.549 | 161588.0918 | 304206.0636 | 33.25 | 68.6
240555 | 2022-05-16 12:44 | 63.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.137 | μmol/L | 18.4938 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.554 | 161554.9161 | 304192.423 | 33.25 | 68.6
240565 | 2022-05-16 12:45 | 64.0016 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.0794 | μmol/L | 18.4938 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.557 | 161511.5826 | 304187.5948 | 33.25 | 68.6
240575 | 2022-05-16 12:45 | 64.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.0174 | μmol/L | 18.4999 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.558 | 161464.4693 | 304177.5168 | 33.25 | 68.6
240585 | 2022-05-16 12:45 | 64.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.0794 | μmol/L | 18.4938 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.557 | 161444.9707 | 304178.465 | 33.25 | 68.6
240595 | 2022-05-16 12:46 | 65.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.9835 | μmol/L | 18.4938 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.562 | 161416.291 | 304168.8068 | 33.25 | 68.6
240605 | 2022-05-16 12:46 | 65.3352 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.0839 | μmol/L | 18.4877 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.559 | 161416.31 | 304161.066 | 33.25 | 68.6
240615 | 2022-05-16 12:46 | 65.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.0455 | μmol/L | 18.4877 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.561 | 161395.5698 | 304144.4932 | 33.25 | 68.6
240625 | 2022-05-16 12:47 | 66.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.9451 | μmol/L | 18.4938 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.564 | 161394.8634 | 304132.6921 | 33.25 | 68.6
240635 | 2022-05-16 12:47 | 66.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.8921 | μmol/L | 18.4877 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.569 | 161412.0799 | 304135.7106 | 33.25 | 68.6
240645 | 2022-05-16 12:47 | 66.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.8876 | μmol/L | 18.4938 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.567 | 161425.6597 | 304124.9278 | 33.25 | 68.6
240655 | 2022-05-16 12:48 | 67.0019 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.8537 | μmol/L | 18.4877 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.571 | 161416.2854 | 304117.6668 | 33.25 | 68.6
240665 | 2022-05-16 12:48 | 67.3351 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.9157 | μmol/L | 18.4816 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.57 | 161388.2836 | 304111.5458 | 33.25 | 68.6
240675 | 2022-05-16 12:48 | 67.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.7962 | μmol/L | 18.4877 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.574 | 161383.7693 | 304089.1014 | 33.25 | 68.6
240685 | 2022-05-16 12:49 | 68.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.7579 | μmol/L | 18.4877 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.576 | 161387.4771 | 304083.457 | 33.25 | 68.6
240695 | 2022-05-16 12:49 | 68.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.7004 | μmol/L | 18.4877 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.579 | 161397.8525 | 304079.0611 | 33.25 | 68.6
240705 | 2022-05-16 12:49 | 68.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.528 | μmol/L | 18.4877 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.588 | 161434.2803 | 304069.642 | 33.25 | 68.6
240715 | 2022-05-16 12:50 | 69.0016 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.5089 | μmol/L | 18.4877 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.589 | 161455.4616 | 304075.044 | 33.25 | 68.6
240725 | 2022-05-16 12:50 | 69.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.4324 | μmol/L | 18.4877 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.593 | 161460.5093 | 304061.6291 | 33.25 | 68.6
240735 | 2022-05-16 12:50 | 69.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.3941 | μmol/L | 18.4877 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.595 | 161464.9855 | 304049.2841 | 33.25 | 68.6
240745 | 2022-05-16 12:51 | 70.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.4605 | μmol/L | 18.4756 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.596 | 161469.1341 | 304032.739 | 33.25 | 68.6
240755 | 2022-05-16 12:51 | 70.3352 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.2839 | μmol/L | 18.4816 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.603 | 161484.1233 | 304036.0156 | 33.25 | 68.6
240765 | 2022-05-16 12:51 | 70.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.2029 | μmol/L | 18.4877 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.605 | 161485.2206 | 304024.8688 | 33.25 | 68.6
240775 | 2022-05-16 12:52 | 71.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.1546 | μmol/L | 18.4756 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.612 | 161509.5727 | 304014.4479 | 33.25 | 68.6
240785 | 2022-05-16 12:52 | 71.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 229.9928 | μmol/L | 18.4877 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.616 | 161551.6706 | 304010.7596 | 33.25 | 68.6
240795 | 2022-05-16 12:52 | 71.668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 229.8211 | μmol/L | 18.4877 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.625 | 161606.5374 | 303998.0524 | 33.25 | 68.6
240805 | 2022-05-16 12:53 | 72.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 229.7875 | μmol/L | 18.4816 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.629 | 161605.3428 | 303981.2019 | 33.25 | 68.6