## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_10 | O2 | 534973996 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-16 12:52

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-16 14:14

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
1 | 2022-05-16 13:22 | 0 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 283.7759 | μmol/L | 18.4833 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.29 | 108895.5866 | 264701.7508 | 32.55 | 27.7
10 | 2022-05-16 13:22 | 0.33093 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 283.4115 | μmol/L | 18.4833 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.305 | 108955.8862 | 264670.5285 | 32.55 | 27.7
13 | 2022-05-16 13:23 | 0.66431 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 283.0183 | μmol/L | 18.4894 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.319 | 109015.8882 | 264643.1813 | 32.55 | 27.7
15 | 2022-05-16 13:23 | 0.99757 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 283.0528 | μmol/L | 18.4772 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.322 | 109014.2587 | 264648.3627 | 32.55 | 27.7
19 | 2022-05-16 13:23 | 1.3308 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 283.0183 | μmol/L | 18.4894 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.319 | 108991.4101 | 264624.2405 | 32.55 | 27.7
24 | 2022-05-16 13:24 | 1.6643 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 282.9646 | μmol/L | 18.4955 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.319 | 108990.8793 | 264621.1517 | 32.55 | 27.7
31 | 2022-05-16 13:24 | 1.9978 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 282.3028 | μmol/L | 18.4772 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.353 | 109154.8023 | 264597.6597 | 32.55 | 27.7
40 | 2022-05-16 13:24 | 2.3303 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 282.0751 | μmol/L | 18.4894 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.358 | 109209.4457 | 264600.1759 | 32.55 | 27.7
50 | 2022-05-16 13:25 | 2.6638 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 282.2493 | μmol/L | 18.4833 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.353 | 109154.4456 | 264570.1419 | 32.55 | 27.7
60 | 2022-05-16 13:25 | 2.9973 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 282.4667 | μmol/L | 18.4833 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.344 | 109083.4338 | 264567.8028 | 32.55 | 27.7
70 | 2022-05-16 13:25 | 3.331 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 282.617 | μmol/L | 18.4772 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.34 | 109079.0932 | 264577.8484 | 32.55 | 27.7
80 | 2022-05-16 13:26 | 3.6639 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 281.3386 | μmol/L | 18.4772 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.393 | 109353.7628 | 264563.2553 | 32.55 | 27.7
90 | 2022-05-16 13:26 | 3.9976 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 281.4641 | μmol/L | 18.4711 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.39 | 109326.7687 | 264563.9677 | 32.55 | 27.7
100 | 2022-05-16 13:26 | 4.3308 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 281.5708 | μmol/L | 18.4588 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.39 | 109320.9837 | 264555.473 | 32.55 | 27.7
110 | 2022-05-16 13:27 | 4.6638 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 281.5604 | μmol/L | 18.4711 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.386 | 109284.7528 | 264549.7318 | 32.55 | 27.7
120 | 2022-05-16 13:27 | 4.9978 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 281.5656 | μmol/L | 18.465 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.388 | 109295.7649 | 264533.2045 | 32.55 | 27.7
130 | 2022-05-16 13:27 | 5.3308 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 281.5897 | μmol/L | 18.465 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.387 | 109294.679 | 264529.135 | 32.55 | 27.7
140 | 2022-05-16 13:28 | 5.6638 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 281.4453 | μmol/L | 18.465 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.393 | 109324.2673 | 264529.9965 | 32.55 | 27.7
150 | 2022-05-16 13:28 | 5.997 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 281.6138 | μmol/L | 18.465 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.386 | 109304.8759 | 264524.1805 | 32.55 | 27.7
160 | 2022-05-16 13:28 | 6.3309 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 281.2236 | μmol/L | 18.4711 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.4 | 109375.9406 | 264526.3888 | 32.55 | 27.7
170 | 2022-05-16 13:29 | 6.6638 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 280.7966 | μmol/L | 18.465 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.42 | 109477.9741 | 264520.1298 | 32.55 | 27.7
180 | 2022-05-16 13:29 | 6.9975 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 280.3652 | μmol/L | 18.465 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.438 | 109563.3885 | 264514.161 | 32.55 | 27.7
190 | 2022-05-16 13:29 | 7.3305 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 280.179 | μmol/L | 18.4588 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.448 | 109631.3311 | 264510.6531 | 32.55 | 27.7
200 | 2022-05-16 13:30 | 7.6644 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.7435 | μmol/L | 18.465 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.464 | 109708.5363 | 264532.0946 | 32.55 | 27.7
210 | 2022-05-16 13:30 | 7.9973 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.648 | μmol/L | 18.465 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.468 | 109736.1253 | 264528.5969 | 32.55 | 27.7
220 | 2022-05-16 13:30 | 8.3304 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.7482 | μmol/L | 18.4588 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.508 | 109973.4507 | 264524.545 | 32.55 | 27.7
230 | 2022-05-16 13:31 | 8.6643 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.3629 | μmol/L | 18.465 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.522 | 109989.6713 | 264517.7871 | 32.55 | 27.7
240 | 2022-05-16 13:31 | 8.9975 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.6425 | μmol/L | 18.4711 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.508 | 109929.931 | 264510.7522 | 32.55 | 27.7
250 | 2022-05-16 13:31 | 9.3306 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.0389 | μmol/L | 18.4527 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.498 | 109885.4031 | 264520.0813 | 32.55 | 27.7
260 | 2022-05-16 13:32 | 9.6643 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.0627 | μmol/L | 18.4527 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.497 | 109859.7335 | 264517.167 | 32.55 | 27.7
270 | 2022-05-16 13:32 | 9.9974 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.0098 | μmol/L | 18.4588 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.497 | 109851.6783 | 264512.471 | 32.55 | 27.7
280 | 2022-05-16 13:32 | 10.3304 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.9384 | μmol/L | 18.4588 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.5 | 109858.1309 | 264509.9138 | 32.55 | 27.7
290 | 2022-05-16 13:33 | 10.6636 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.9622 | μmol/L | 18.4588 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.499 | 109873.9048 | 264509.9028 | 32.55 | 27.7
300 | 2022-05-16 13:33 | 10.9976 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.9437 | μmol/L | 18.4527 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.502 | 109887.2873 | 264515.6592 | 32.55 | 27.7
310 | 2022-05-16 13:33 | 11.3303 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.8962 | μmol/L | 18.4527 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.504 | 109902.2153 | 264507.0323 | 32.55 | 27.7
320 | 2022-05-16 13:34 | 11.6642 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.7773 | μmol/L | 18.4527 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.509 | 109920.1022 | 264508.925 | 32.55 | 27.7
330 | 2022-05-16 13:34 | 11.9974 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.7007 | μmol/L | 18.4588 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.51 | 109938.7711 | 264499.407 | 32.55 | 27.7
340 | 2022-05-16 13:34 | 12.3305 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.6638 | μmol/L | 18.4466 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.516 | 109948.3122 | 264512.2794 | 32.55 | 27.7
350 | 2022-05-16 13:35 | 12.6644 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.9491 | μmol/L | 18.4466 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.504 | 109877.4287 | 264489.5868 | 32.55 | 27.7
360 | 2022-05-16 13:35 | 12.9975 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.8301 | μmol/L | 18.4466 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.509 | 109900.4405 | 264489.6025 | 32.55 | 27.7
370 | 2022-05-16 13:35 | 13.3307 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.5872 | μmol/L | 18.4527 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.517 | 109927.5755 | 264497.8243 | 32.55 | 27.7
380 | 2022-05-16 13:36 | 13.6638 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.6638 | μmol/L | 18.4466 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.516 | 109943.6469 | 264500.0015 | 32.55 | 27.7
390 | 2022-05-16 13:36 | 13.9972 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 275.9014 | μmol/L | 18.4466 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.633 | 110579.4723 | 264470.5585 | 32.55 | 27.7
400 | 2022-05-16 13:36 | 14.3307 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 276.212 | μmol/L | 18.4405 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.622 | 110509.6055 | 264475.7004 | 32.55 | 27.7
410 | 2022-05-16 13:37 | 14.6636 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 276.4941 | μmol/L | 18.4405 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.61 | 110458.8241 | 264468.2211 | 32.55 | 27.7
420 | 2022-05-16 13:37 | 14.9971 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 276.5593 | μmol/L | 18.4466 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.605 | 110421.5979 | 264465.4532 | 32.55 | 27.7
430 | 2022-05-16 13:37 | 15.3307 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 276.5882 | μmol/L | 18.4405 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.606 | 110416.4178 | 264467.4468 | 32.55 | 27.7
440 | 2022-05-16 13:38 | 15.6642 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 276.4182 | μmol/L | 18.4466 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.611 | 110456.442 | 264458.8786 | 32.55 | 27.7
450 | 2022-05-16 13:38 | 15.997 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 276.1831 | μmol/L | 18.4466 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.621 | 110498.5823 | 264466.6816 | 32.55 | 27.7
460 | 2022-05-16 13:38 | 16.3305 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 266.1952 | μmol/L | 18.4466 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.056 | 112936.0409 | 264470.5557 | 32.55 | 27.7
470 | 2022-05-16 13:39 | 16.664 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 263.9407 | μmol/L | 18.4466 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.157 | 113514.0709 | 264467.9679 | 32.55 | 27.7
480 | 2022-05-16 13:39 | 16.9975 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 266.1503 | μmol/L | 18.4466 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.058 | 112956.5753 | 264459.2784 | 32.55 | 27.7
490 | 2022-05-16 13:39 | 17.3305 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 267.5062 | μmol/L | 18.4405 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23 | 112609.3484 | 264457.8373 | 32.55 | 27.7
500 | 2022-05-16 13:40 | 17.6638 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.7742 | μmol/L | 18.4405 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.944 | 112306.1714 | 264456.2946 | 32.55 | 27.7
510 | 2022-05-16 13:40 | 17.9973 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 269.7473 | μmol/L | 18.4466 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.899 | 112071.7084 | 264455.7941 | 32.55 | 27.7
520 | 2022-05-16 13:40 | 18.3307 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 270.4383 | μmol/L | 18.4405 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.871 | 111886.8118 | 264441.3515 | 32.55 | 27.7
530 | 2022-05-16 13:41 | 18.6642 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 271.0111 | μmol/L | 18.4405 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.846 | 111730.6943 | 264440.5557 | 32.55 | 27.7
540 | 2022-05-16 13:41 | 18.9976 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 271.5625 | μmol/L | 18.4405 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.822 | 111602.9418 | 264430.7052 | 32.55 | 27.7
550 | 2022-05-16 13:41 | 19.331 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 271.8507 | μmol/L | 18.4527 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.805 | 111511.7903 | 264430.3484 | 32.55 | 27.7
560 | 2022-05-16 13:42 | 19.6637 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 272.2075 | μmol/L | 18.4405 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.794 | 111441.867 | 264417.2403 | 32.55 | 27.7
570 | 2022-05-16 13:42 | 19.9974 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 272.479 | μmol/L | 18.4466 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.78 | 111368.5634 | 264408.858 | 32.55 | 27.7
580 | 2022-05-16 13:42 | 20.3311 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 272.8081 | μmol/L | 18.4405 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.768 | 111280.552 | 264414.2692 | 32.55 | 27.7
590 | 2022-05-16 13:43 | 20.6637 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 273.2072 | μmol/L | 18.4344 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.753 | 111193.2279 | 264408.6177 | 32.55 | 27.7
600 | 2022-05-16 13:43 | 20.9978 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 273.4568 | μmol/L | 18.4405 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.74 | 111117.8703 | 264408.9986 | 32.55 | 27.7
610 | 2022-05-16 13:43 | 21.3306 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 273.5906 | μmol/L | 18.4466 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.732 | 111071.8502 | 264396.5509 | 32.55 | 27.7
620 | 2022-05-16 13:44 | 21.6643 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 273.8284 | μmol/L | 18.4405 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.724 | 111013.5721 | 264408.0201 | 32.55 | 27.7
630 | 2022-05-16 13:44 | 21.9971 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 274.0609 | μmol/L | 18.4405 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.714 | 110965.198 | 264394.2266 | 32.55 | 27.7
640 | 2022-05-16 13:44 | 22.3303 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 274.2992 | μmol/L | 18.4344 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.706 | 110911.8432 | 264392.6442 | 32.55 | 27.7
650 | 2022-05-16 13:45 | 22.6638 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 274.6076 | μmol/L | 18.4283 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.695 | 110840.8445 | 264396.9095 | 32.55 | 27.7
660 | 2022-05-16 13:45 | 22.9977 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 274.6201 | μmol/L | 18.4405 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.69 | 110814.0703 | 264382.8869 | 32.55 | 27.7
670 | 2022-05-16 13:45 | 23.3309 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 274.4801 | μmol/L | 18.4405 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.696 | 110843.2753 | 264374.8934 | 32.55 | 27.7
680 | 2022-05-16 13:46 | 23.6639 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 274.154 | μmol/L | 18.4405 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.71 | 110913.9401 | 264373.936 | 32.55 | 27.7
690 | 2022-05-16 13:46 | 23.9975 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 274.0486 | μmol/L | 18.4283 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.719 | 110951.5057 | 264370.9877 | 32.55 | 27.7
700 | 2022-05-16 13:46 | 24.3304 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 274.0486 | μmol/L | 18.4283 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.719 | 110932.7838 | 264349.7241 | 32.55 | 27.7
710 | 2022-05-16 13:47 | 24.6644 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 274.1882 | μmol/L | 18.4283 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.713 | 110917.5604 | 264335.0815 | 32.55 | 27.7
720 | 2022-05-16 13:47 | 24.9974 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 274.0199 | μmol/L | 18.4344 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.718 | 110929.0838 | 264349.0396 | 32.55 | 27.7
730 | 2022-05-16 13:47 | 25.3306 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 273.7518 | μmol/L | 18.4221 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.734 | 110997.6143 | 264338.8926 | 32.55 | 27.7
740 | 2022-05-16 13:48 | 25.6637 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 273.2359 | μmol/L | 18.4283 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.754 | 111111.0293 | 264329.0859 | 32.55 | 27.7
750 | 2022-05-16 13:48 | 25.9974 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 273.0505 | μmol/L | 18.4283 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.762 | 111157.7879 | 264338.2104 | 32.55 | 27.7
760 | 2022-05-16 13:48 | 26.3309 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 272.7728 | μmol/L | 18.4283 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.774 | 111228.9512 | 264317.5615 | 32.55 | 27.7
770 | 2022-05-16 13:49 | 26.6638 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 272.8708 | μmol/L | 18.4221 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.772 | 111206.2822 | 264321.6958 | 32.55 | 27.7
780 | 2022-05-16 13:49 | 26.997 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 273.056 | μmol/L | 18.4221 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.764 | 111157.3879 | 264310.258 | 32.55 | 27.7
790 | 2022-05-16 13:49 | 27.3309 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 273.3109 | μmol/L | 18.4221 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.753 | 111089.2643 | 264316.1895 | 32.55 | 27.7
800 | 2022-05-16 13:50 | 27.664 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 273.2645 | μmol/L | 18.4221 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.755 | 111102.8111 | 264305.5254 | 32.55 | 27.7
810 | 2022-05-16 13:50 | 27.9971 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 273.056 | μmol/L | 18.4221 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.764 | 111124.8576 | 264312.68 | 32.55 | 27.7
820 | 2022-05-16 13:50 | 28.3309 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 272.9866 | μmol/L | 18.4221 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.767 | 111138.3318 | 264305.3391 | 32.55 | 27.7
830 | 2022-05-16 13:51 | 28.6638 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 272.8014 | μmol/L | 18.4221 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.775 | 111174.0845 | 264300.5958 | 32.55 | 27.7
840 | 2022-05-16 13:51 | 28.9977 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 272.7783 | μmol/L | 18.4221 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.776 | 111177.6021 | 264281.0523 | 32.55 | 27.7
850 | 2022-05-16 13:51 | 29.3306 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 272.8301 | μmol/L | 18.416 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.776 | 111171.0145 | 264285.394 | 32.55 | 27.7
860 | 2022-05-16 13:52 | 29.6644 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 272.4834 | μmol/L | 18.416 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.791 | 111241.0749 | 264287.8938 | 32.55 | 27.7
870 | 2022-05-16 13:52 | 29.9972 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 272.3218 | μmol/L | 18.416 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.798 | 111275.5551 | 264286.3922 | 32.55 | 27.7
880 | 2022-05-16 13:52 | 30.331 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 272.2064 | μmol/L | 18.416 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.803 | 111304.7193 | 264286.8285 | 32.55 | 27.7
890 | 2022-05-16 13:53 | 30.6639 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 272.0911 | μmol/L | 18.416 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.808 | 111317.3912 | 264276.0872 | 32.55 | 27.7
900 | 2022-05-16 13:53 | 30.9978 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 272.0625 | μmol/L | 18.4221 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.807 | 111338.052 | 264268.5315 | 32.55 | 27.7
910 | 2022-05-16 13:53 | 31.3309 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 271.9473 | μmol/L | 18.4221 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.812 | 111342.161 | 264270.7615 | 32.55 | 27.7
920 | 2022-05-16 13:54 | 31.6639 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 271.9759 | μmol/L | 18.416 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.813 | 111340.951 | 264257.7665 | 32.55 | 27.7
930 | 2022-05-16 13:54 | 31.9976 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 271.694 | μmol/L | 18.4221 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.823 | 111392.3829 | 264255.0634 | 32.55 | 27.7
940 | 2022-05-16 13:54 | 32.3305 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 271.5385 | μmol/L | 18.416 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.832 | 111436.1435 | 264247.3797 | 32.55 | 27.7
950 | 2022-05-16 13:55 | 32.6642 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 271.2857 | μmol/L | 18.416 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.843 | 111495.1619 | 264246.5957 | 32.55 | 27.7
960 | 2022-05-16 13:55 | 32.9972 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 271.1139 | μmol/L | 18.4283 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.846 | 111529.8664 | 264235.8738 | 32.55 | 27.7
970 | 2022-05-16 13:55 | 33.3303 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 271.1195 | μmol/L | 18.4221 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.848 | 111531.774 | 264238.9018 | 32.55 | 27.7
980 | 2022-05-16 13:56 | 33.6641 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 270.9415 | μmol/L | 18.416 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.858 | 111564.9446 | 264231.6785 | 32.55 | 27.7
990 | 2022-05-16 13:56 | 33.9971 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 270.8838 | μmol/L | 18.4038 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.865 | 111607.38 | 264237.8304 | 32.55 | 27.7
1000 | 2022-05-16 13:56 | 34.3308 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 270.466 | μmol/L | 18.4099 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.881 | 111715.7255 | 264222.1739 | 32.55 | 27.7
1010 | 2022-05-16 13:57 | 34.664 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 270.1687 | μmol/L | 18.4099 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.894 | 111762.8023 | 264224.397 | 32.55 | 27.7
1020 | 2022-05-16 13:57 | 34.997 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 270.1175 | μmol/L | 18.416 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.894 | 111768.0671 | 264222.8873 | 32.55 | 27.7
1030 | 2022-05-16 13:57 | 35.3309 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 270.0545 | μmol/L | 18.4099 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.899 | 111766.4326 | 264210.5344 | 32.55 | 27.7
1040 | 2022-05-16 13:58 | 35.6641 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 270.0033 | μmol/L | 18.416 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.899 | 111781.2661 | 264207.8747 | 32.55 | 27.7
1050 | 2022-05-16 13:58 | 35.9972 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 270.0261 | μmol/L | 18.416 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.898 | 111748.1263 | 264212.7989 | 32.55 | 27.7
1060 | 2022-05-16 13:58 | 36.331 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 270.0946 | μmol/L | 18.416 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.895 | 111739.8798 | 264192.3239 | 32.55 | 27.7
1070 | 2022-05-16 13:59 | 36.664 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 270.1687 | μmol/L | 18.4099 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.894 | 111743.1397 | 264202.6072 | 32.55 | 27.7
1080 | 2022-05-16 13:59 | 36.9977 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 269.8379 | μmol/L | 18.4221 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.904 | 111764.9585 | 264200.7322 | 32.55 | 27.7
1090 | 2022-05-16 13:59 | 37.3305 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 269.8263 | μmol/L | 18.4099 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.909 | 111789.6073 | 264181.3354 | 32.55 | 27.7
1100 | 2022-05-16 14:00 | 37.6643 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 269.735 | μmol/L | 18.4099 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.913 | 111804.5108 | 264181.0678 | 32.55 | 27.7
1110 | 2022-05-16 14:00 | 37.9974 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 269.6666 | μmol/L | 18.4099 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.916 | 111831.7421 | 264179.4069 | 32.55 | 27.7
1120 | 2022-05-16 14:00 | 38.3306 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 269.416 | μmol/L | 18.4099 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.927 | 111874.4763 | 264169.9244 | 32.55 | 27.7
1130 | 2022-05-16 14:01 | 38.6644 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 269.3761 | μmol/L | 18.4038 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.931 | 111912.3931 | 264168.9361 | 32.55 | 27.7
1140 | 2022-05-16 14:01 | 38.9971 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 269.1202 | μmol/L | 18.4099 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.94 | 111925.8138 | 264159.0333 | 32.55 | 27.7
1150 | 2022-05-16 14:01 | 39.3311 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 269.2168 | μmol/L | 18.4038 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.938 | 111935.1496 | 264156.4218 | 32.55 | 27.7
1160 | 2022-05-16 14:02 | 39.6642 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 269.1202 | μmol/L | 18.4099 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.94 | 111936.51 | 264158.974 | 32.55 | 27.7
1170 | 2022-05-16 14:02 | 39.9972 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 269.0803 | μmol/L | 18.4038 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.944 | 111946.4921 | 264164.832 | 32.55 | 27.7
1180 | 2022-05-16 14:02 | 40.3309 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 269.0177 | μmol/L | 18.3977 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.949 | 111976.0378 | 264163.8455 | 32.55 | 27.7
1190 | 2022-05-16 14:03 | 40.6639 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.7794 | μmol/L | 18.4099 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.955 | 112008.5668 | 264156.7673 | 32.55 | 27.7
1200 | 2022-05-16 14:03 | 40.9977 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.8248 | μmol/L | 18.4099 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.953 | 112017.3826 | 264164.6433 | 32.55 | 27.7
1210 | 2022-05-16 14:03 | 41.3306 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.785 | μmol/L | 18.4038 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.957 | 112020.7792 | 264156.1444 | 32.55 | 27.7
1220 | 2022-05-16 14:04 | 41.6644 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.7396 | μmol/L | 18.4038 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.959 | 112026.4657 | 264156.442 | 32.55 | 27.7
1230 | 2022-05-16 14:04 | 41.9973 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.6998 | μmol/L | 18.3977 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.963 | 112026.5001 | 264161.6466 | 32.55 | 27.7
1240 | 2022-05-16 14:04 | 42.3304 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.7508 | μmol/L | 18.3916 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.963 | 112021.4998 | 264165.0458 | 32.55 | 27.7
1250 | 2022-05-16 14:05 | 42.6637 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.7623 | μmol/L | 18.4038 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.958 | 112000.5835 | 264152.9872 | 32.55 | 27.7
1260 | 2022-05-16 14:05 | 42.9975 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.5807 | μmol/L | 18.4038 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.966 | 112039.6972 | 264141.7097 | 32.55 | 27.7
1270 | 2022-05-16 14:05 | 43.3307 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.541 | μmol/L | 18.3977 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.97 | 112091.4114 | 264159.4569 | 32.55 | 27.7
1280 | 2022-05-16 14:06 | 43.6638 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.337 | μmol/L | 18.3977 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.979 | 112112.8192 | 264146.5903 | 32.55 | 27.7
1290 | 2022-05-16 14:06 | 43.9975 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.1332 | μmol/L | 18.3977 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.988 | 112132.6875 | 264144.4907 | 32.55 | 27.7
1300 | 2022-05-16 14:06 | 44.3304 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.1276 | μmol/L | 18.4038 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.986 | 112121.8059 | 264143.9925 | 32.55 | 27.7
1310 | 2022-05-16 14:07 | 44.6644 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.269 | μmol/L | 18.3977 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.982 | 112117.2857 | 264140.7455 | 32.55 | 27.7
1320 | 2022-05-16 14:07 | 44.9973 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.2917 | μmol/L | 18.3977 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.981 | 112107.4973 | 264150.509 | 32.55 | 27.7
1330 | 2022-05-16 14:07 | 45.331 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.337 | μmol/L | 18.3977 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.979 | 112100.6535 | 264158.7452 | 32.55 | 27.7
1340 | 2022-05-16 14:08 | 45.6639 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.3143 | μmol/L | 18.3977 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.98 | 112100.5397 | 264153.4352 | 32.55 | 27.7
1350 | 2022-05-16 14:08 | 45.9976 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.337 | μmol/L | 18.3977 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.979 | 112096.9611 | 264147.484 | 32.55 | 27.7
1360 | 2022-05-16 14:08 | 46.3305 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.2464 | μmol/L | 18.3977 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.983 | 112095.986 | 264143.1933 | 32.55 | 27.7
1370 | 2022-05-16 14:09 | 46.6642 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.4333 | μmol/L | 18.3916 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.977 | 112085.3047 | 264140.5537 | 32.55 | 27.7
1380 | 2022-05-16 14:09 | 46.9976 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.4333 | μmol/L | 18.3916 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.977 | 112071.8848 | 264145.7691 | 32.55 | 27.7
1390 | 2022-05-16 14:09 | 47.3306 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.5013 | μmol/L | 18.3916 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.974 | 112045.5355 | 264149.19 | 32.55 | 27.7
1400 | 2022-05-16 14:10 | 47.6645 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.5183 | μmol/L | 18.3977 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.971 | 112029.4362 | 264134.6576 | 32.55 | 27.7
1410 | 2022-05-16 14:10 | 47.9971 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.5183 | μmol/L | 18.3977 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.971 | 112038.6011 | 264133.9552 | 32.55 | 27.7
1420 | 2022-05-16 14:10 | 48.3309 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.5693 | μmol/L | 18.3916 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.971 | 112027.414 | 264140.27 | 32.55 | 27.7
1430 | 2022-05-16 14:11 | 48.6637 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.5013 | μmol/L | 18.3916 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.974 | 112015.7412 | 264145.6376 | 32.55 | 27.7
1440 | 2022-05-16 14:11 | 48.9976 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.0936 | μmol/L | 18.3916 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.992 | 112135.2251 | 264148.5626 | 32.55 | 27.7
1450 | 2022-05-16 14:11 | 49.3305 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 267.7544 | μmol/L | 18.3916 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.007 | 112227.6152 | 264135.0268 | 32.55 | 27.7