## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_6 | O2 | 152814782 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-16 12:48

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-16 14:14

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
29 | 2022-05-16 13:24 | 0 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 272.1705 | μmol/L | 18.4265 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.692 | 92587.2329 | 296462.153 | 30.45 | 114.2
37 | 2022-05-16 13:24 | 0.33156 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 272.1654 | μmol/L | 18.4327 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.69 | 92573.7001 | 296468.8626 | 30.45 | 114.2
47 | 2022-05-16 13:25 | 0.66512 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 272.207 | μmol/L | 18.4388 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.686 | 92564.2585 | 296477.4523 | 30.45 | 114.2
57 | 2022-05-16 13:25 | 0.99863 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 272.2406 | μmol/L | 18.4265 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.689 | 92553.101 | 296480.8947 | 30.45 | 114.2
67 | 2022-05-16 13:25 | 1.3319 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 272.1289 | μmol/L | 18.4204 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.696 | 92567.5098 | 296471.4278 | 30.45 | 114.2
77 | 2022-05-16 13:26 | 1.6651 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 272.1055 | μmol/L | 18.4204 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.697 | 92580.8144 | 296472.3828 | 30.45 | 114.2
87 | 2022-05-16 13:26 | 1.9986 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 272.0929 | μmol/L | 18.4143 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 22.7 | 92572.9892 | 296486.7751 | 30.45 | 114.2
97 | 2022-05-16 13:26 | 2.3323 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 271.9239 | μmol/L | 18.4143 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.707 | 92585.1549 | 296471.2722 | 30.45 | 114.2
107 | 2022-05-16 13:27 | 2.6655 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 271.7788 | μmol/L | 18.4204 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.711 | 92607.384 | 296485.1622 | 30.45 | 114.2
117 | 2022-05-16 13:27 | 2.9984 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 271.6339 | μmol/L | 18.4265 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.715 | 92626.9801 | 296472.6631 | 30.45 | 114.2
127 | 2022-05-16 13:27 | 3.3323 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 271.5049 | μmol/L | 18.4204 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 22.723 | 92651.7252 | 296480.7575 | 30.45 | 114.2
137 | 2022-05-16 13:28 | 3.6655 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 271.3414 | μmol/L | 18.4143 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.732 | 92686.8826 | 296471.323 | 30.45 | 114.2
147 | 2022-05-16 13:28 | 3.9986 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 271.034 | μmol/L | 18.4204 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.743 | 92718.9902 | 296485.1583 | 30.45 | 114.2
157 | 2022-05-16 13:28 | 4.3318 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 271.0986 | μmol/L | 18.4265 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.738 | 92717.7827 | 296478.1128 | 30.45 | 114.2
167 | 2022-05-16 13:29 | 4.6654 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 271.0861 | μmol/L | 18.4204 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 22.741 | 92728.2409 | 296483.2537 | 30.45 | 114.2
177 | 2022-05-16 13:29 | 4.999 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 271.0912 | μmol/L | 18.4143 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 22.743 | 92735.0968 | 296470.7178 | 30.45 | 114.2
187 | 2022-05-16 13:29 | 5.332 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 270.7378 | μmol/L | 18.4204 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 22.756 | 92765.4667 | 296469.6706 | 30.45 | 114.2
197 | 2022-05-16 13:30 | 5.665 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 270.7837 | μmol/L | 18.4143 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.756 | 92796.2198 | 296487.9057 | 30.45 | 114.2
207 | 2022-05-16 13:30 | 5.9989 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 270.6496 | μmol/L | 18.4081 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.764 | 92824.6023 | 296488.2878 | 30.45 | 114.2
217 | 2022-05-16 13:30 | 6.3318 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 270.5336 | μmol/L | 18.4081 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.769 | 92855.2411 | 296495.876 | 30.45 | 114.2
227 | 2022-05-16 13:31 | 6.6649 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 270.2561 | μmol/L | 18.4143 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 22.779 | 92871.1454 | 296494.5672 | 30.45 | 114.2
237 | 2022-05-16 13:31 | 6.9989 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 270.2505 | μmol/L | 18.4143 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.779 | 92882.3577 | 296487.7803 | 30.45 | 114.2
247 | 2022-05-16 13:31 | 7.3321 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 270.2607 | μmol/L | 18.402 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.783 | 92884.529 | 296495.4119 | 30.45 | 114.2
257 | 2022-05-16 13:32 | 7.6651 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 270.2787 | μmol/L | 18.4081 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.78 | 92892.47 | 296499.8083 | 30.45 | 114.2
267 | 2022-05-16 13:32 | 7.9988 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 270.1455 | μmol/L | 18.4081 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 22.786 | 92909.4095 | 296491.3605 | 30.45 | 114.2
277 | 2022-05-16 13:32 | 8.3317 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 270.001 | μmol/L | 18.4081 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.792 | 92924.004 | 296472.0241 | 30.45 | 114.2
287 | 2022-05-16 13:33 | 8.6657 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 269.8623 | μmol/L | 18.4081 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.798 | 92945.6065 | 296485.5664 | 30.45 | 114.2
297 | 2022-05-16 13:33 | 8.9988 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 269.8392 | μmol/L | 18.4081 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.799 | 92962.2127 | 296486.0642 | 30.45 | 114.2
307 | 2022-05-16 13:33 | 9.3318 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 269.8906 | μmol/L | 18.402 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.799 | 92951.4963 | 296481.5277 | 30.45 | 114.2
317 | 2022-05-16 13:34 | 9.6656 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 269.8444 | μmol/L | 18.402 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.801 | 92934.0156 | 296494.4746 | 30.45 | 114.2
327 | 2022-05-16 13:34 | 9.9986 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 269.8782 | μmol/L | 18.3958 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 22.802 | 92948.1664 | 296493.7725 | 30.45 | 114.2
337 | 2022-05-16 13:34 | 10.3317 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 269.8675 | μmol/L | 18.402 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.8 | 92966.8546 | 296492.4294 | 30.45 | 114.2
347 | 2022-05-16 13:35 | 10.6655 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 269.6826 | μmol/L | 18.402 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.808 | 92990.1041 | 296505.8341 | 30.45 | 114.2
357 | 2022-05-16 13:35 | 10.9986 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 269.5441 | μmol/L | 18.402 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.814 | 93008.5204 | 296486.6139 | 30.45 | 114.2
367 | 2022-05-16 13:35 | 11.3323 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 269.4467 | μmol/L | 18.4081 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.816 | 93017.4609 | 296493.9404 | 30.45 | 114.2
377 | 2022-05-16 13:36 | 11.6653 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 269.3365 | μmol/L | 18.402 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.823 | 93035.4134 | 296494.4187 | 30.45 | 114.2
387 | 2022-05-16 13:36 | 11.9984 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 269.2161 | μmol/L | 18.4081 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.826 | 93046.3319 | 296486.2652 | 30.45 | 114.2
397 | 2022-05-16 13:36 | 12.3319 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 269.2673 | μmol/L | 18.402 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.826 | 93063.8932 | 296492.8803 | 30.45 | 114.2
407 | 2022-05-16 13:37 | 12.6655 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 269.06 | μmol/L | 18.402 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.835 | 93081.4264 | 296480.4794 | 30.45 | 114.2
417 | 2022-05-16 13:37 | 12.9989 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 269.0139 | μmol/L | 18.402 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.837 | 93102.2291 | 296480.518 | 30.45 | 114.2
427 | 2022-05-16 13:37 | 13.3316 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 268.8988 | μmol/L | 18.402 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.842 | 93110.6597 | 296464.823 | 30.45 | 114.2
437 | 2022-05-16 13:38 | 13.6651 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 268.9219 | μmol/L | 18.402 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.841 | 93110.0753 | 296467.7448 | 30.45 | 114.2
447 | 2022-05-16 13:38 | 13.9986 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 268.8068 | μmol/L | 18.402 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.846 | 93123.6009 | 296467.5196 | 30.45 | 114.2
457 | 2022-05-16 13:38 | 14.3321 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 268.812 | μmol/L | 18.3958 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.848 | 93139.6539 | 296467.3208 | 30.45 | 114.2
467 | 2022-05-16 13:39 | 14.6655 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 268.812 | μmol/L | 18.3958 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.848 | 93149.2167 | 296474.5691 | 30.45 | 114.2
477 | 2022-05-16 13:39 | 14.999 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 268.628 | μmol/L | 18.3958 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.856 | 93166.6901 | 296473.9028 | 30.45 | 114.2
487 | 2022-05-16 13:39 | 15.3324 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 268.697 | μmol/L | 18.3958 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.853 | 93167.7875 | 296467.7348 | 30.45 | 114.2
497 | 2022-05-16 13:40 | 15.6655 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 268.6103 | μmol/L | 18.3897 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.859 | 93157.4553 | 296467.0172 | 30.45 | 114.2
507 | 2022-05-16 13:40 | 15.9989 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 268.6384 | μmol/L | 18.3835 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.86 | 93160.569 | 296461.5195 | 30.45 | 114.2
517 | 2022-05-16 13:40 | 16.3323 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 268.5643 | μmol/L | 18.3897 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.861 | 93149.809 | 296462.0178 | 30.45 | 114.2
527 | 2022-05-16 13:41 | 16.6649 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 268.651 | μmol/L | 18.3958 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.855 | 93142.2747 | 296445.0265 | 30.45 | 114.2
537 | 2022-05-16 13:41 | 16.9983 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 268.5873 | μmol/L | 18.3897 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.86 | 93178.9702 | 296448.8403 | 30.45 | 114.2
547 | 2022-05-16 13:41 | 17.3317 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 268.3117 | μmol/L | 18.3897 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.872 | 93221.158 | 296433.1481 | 30.45 | 114.2
557 | 2022-05-16 13:42 | 17.6651 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 268.1563 | μmol/L | 18.3835 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.881 | 93254.9763 | 296435.4417 | 30.45 | 114.2
567 | 2022-05-16 13:42 | 17.9986 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 267.9907 | μmol/L | 18.3897 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.886 | 93297.2516 | 296427.0618 | 30.45 | 114.2
577 | 2022-05-16 13:42 | 18.3322 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 267.538 | μmol/L | 18.3835 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.908 | 93391.9713 | 296415.1017 | 30.45 | 114.2
587 | 2022-05-16 13:43 | 18.6657 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 266.9846 | μmol/L | 18.3897 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.93 | 93500.4045 | 296410.2594 | 30.45 | 114.2
597 | 2022-05-16 13:43 | 18.9984 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 266.2961 | μmol/L | 18.3958 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.958 | 93602.0873 | 296394.4123 | 30.45 | 114.2
607 | 2022-05-16 13:43 | 19.3321 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 265.9378 | μmol/L | 18.3897 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.976 | 93704.9462 | 296404.374 | 30.45 | 114.2
617 | 2022-05-16 13:44 | 19.6656 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 265.4615 | μmol/L | 18.3897 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.997 | 93778.9792 | 296390.6417 | 30.45 | 114.2
627 | 2022-05-16 13:44 | 19.9983 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 265.5801 | μmol/L | 18.3835 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.994 | 93784.7596 | 296369.3329 | 30.45 | 114.2
637 | 2022-05-16 13:44 | 20.3319 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 265.54 | μmol/L | 18.3774 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.998 | 93765.3347 | 296377.7293 | 30.45 | 114.2
647 | 2022-05-16 13:45 | 20.6656 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 265.6987 | μmol/L | 18.3774 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.991 | 93742.8518 | 296358.3231 | 30.45 | 114.2
657 | 2022-05-16 13:45 | 20.9985 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 265.6534 | μmol/L | 18.3774 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.993 | 93749.8252 | 296348.2435 | 30.45 | 114.2
667 | 2022-05-16 13:45 | 21.3324 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 265.6708 | μmol/L | 18.3835 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.99 | 93735.2015 | 296344.4924 | 30.45 | 114.2
677 | 2022-05-16 13:46 | 21.6656 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 265.6987 | μmol/L | 18.3774 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.991 | 93723.9418 | 296334.2649 | 30.45 | 114.2
687 | 2022-05-16 13:46 | 21.9987 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 265.6987 | μmol/L | 18.3774 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.991 | 93719.5134 | 296333.2132 | 30.45 | 114.2
697 | 2022-05-16 13:46 | 22.3318 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 265.54 | μmol/L | 18.3774 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 22.998 | 93750.516 | 296307.1477 | 30.45 | 114.2
707 | 2022-05-16 13:47 | 22.6657 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 265.1551 | μmol/L | 18.3774 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 23.015 | 93831.6254 | 296315.9677 | 30.45 | 114.2
717 | 2022-05-16 13:47 | 22.9987 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 264.8665 | μmol/L | 18.3713 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 23.03 | 93887.5072 | 296291.3 | 30.45 | 114.2
727 | 2022-05-16 13:47 | 23.3319 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 264.658 | μmol/L | 18.3774 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 23.037 | 93926.1836 | 296286.0338 | 30.45 | 114.2
737 | 2022-05-16 13:48 | 23.665 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 264.5121 | μmol/L | 18.3897 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 23.039 | 93936.7491 | 296277.8848 | 30.45 | 114.2
747 | 2022-05-16 13:48 | 23.9982 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 264.5282 | μmol/L | 18.3774 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.043 | 93950.8362 | 296262.5333 | 30.45 | 114.2
757 | 2022-05-16 13:48 | 24.3319 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 264.3305 | μmol/L | 18.3713 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.054 | 93982.4246 | 296262.6803 | 30.45 | 114.2
767 | 2022-05-16 13:49 | 24.6657 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 264.2972 | μmol/L | 18.3774 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 23.053 | 93985.6727 | 296248.7429 | 30.45 | 114.2
777 | 2022-05-16 13:49 | 24.9987 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 264.2522 | μmol/L | 18.3774 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 23.055 | 93986.0814 | 296247.4822 | 30.45 | 114.2
787 | 2022-05-16 13:49 | 25.3323 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 264.2297 | μmol/L | 18.3774 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 23.056 | 93992.3747 | 296243.9429 | 30.45 | 114.2
797 | 2022-05-16 13:50 | 25.6651 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 264.1846 | μmol/L | 18.3774 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 23.058 | 93991.069 | 296248.2959 | 30.45 | 114.2
807 | 2022-05-16 13:50 | 25.999 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 264.2071 | μmol/L | 18.3774 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 23.057 | 93975.3396 | 296226.5901 | 30.45 | 114.2
817 | 2022-05-16 13:50 | 26.3324 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 264.2522 | μmol/L | 18.3774 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 23.055 | 93979.9493 | 296212.6994 | 30.45 | 114.2
827 | 2022-05-16 13:51 | 26.6655 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 264.1396 | μmol/L | 18.3774 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 23.06 | 93980.6463 | 296216.0667 | 30.45 | 114.2
837 | 2022-05-16 13:51 | 26.9985 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 263.9145 | μmol/L | 18.3774 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 23.07 | 94007.6338 | 296196.757 | 30.45 | 114.2
847 | 2022-05-16 13:51 | 27.3323 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 263.8129 | μmol/L | 18.3713 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.077 | 94036.6864 | 296197.5766 | 30.45 | 114.2
857 | 2022-05-16 13:52 | 27.6651 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 263.7347 | μmol/L | 18.3774 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 23.078 | 94073.929 | 296193.9878 | 30.45 | 114.2
867 | 2022-05-16 13:52 | 27.9989 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 263.51 | μmol/L | 18.3774 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 23.088 | 94094.0445 | 296194.7608 | 30.45 | 114.2
877 | 2022-05-16 13:52 | 28.3317 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 263.2685 | μmol/L | 18.3713 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 23.101 | 94142.3978 | 296186.8676 | 30.45 | 114.2
887 | 2022-05-16 13:53 | 28.6654 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 263.1116 | μmol/L | 18.3713 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 23.108 | 94156.9294 | 296170.0091 | 30.45 | 114.2
897 | 2022-05-16 13:53 | 28.999 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 263.1169 | μmol/L | 18.3651 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 23.11 | 94187.6448 | 296162.1098 | 30.45 | 114.2
907 | 2022-05-16 13:53 | 29.3319 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 262.9495 | μmol/L | 18.3774 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 23.113 | 94203.4924 | 296172.6646 | 30.45 | 114.2
917 | 2022-05-16 13:54 | 29.665 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 262.7704 | μmol/L | 18.3774 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 23.121 | 94217.7364 | 296163.6301 | 30.45 | 114.2
927 | 2022-05-16 13:54 | 29.9989 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 262.781 | μmol/L | 18.3651 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 23.125 | 94233.017 | 296146.1136 | 30.45 | 114.2
937 | 2022-05-16 13:54 | 30.3319 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 262.8876 | μmol/L | 18.3713 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 23.118 | 94229.5433 | 296141.6912 | 30.45 | 114.2
947 | 2022-05-16 13:55 | 30.6655 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 262.8034 | μmol/L | 18.3651 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 23.124 | 94220.9836 | 296128.2363 | 30.45 | 114.2
957 | 2022-05-16 13:55 | 30.9986 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 262.8482 | μmol/L | 18.3651 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 23.122 | 94233.2666 | 296142.7259 | 30.45 | 114.2
967 | 2022-05-16 13:55 | 31.3318 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 262.781 | μmol/L | 18.3651 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 23.125 | 94238.547 | 296135.9322 | 30.45 | 114.2
977 | 2022-05-16 13:56 | 31.6656 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 262.3734 | μmol/L | 18.3713 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 23.141 | 94276.532 | 296112.0375 | 30.45 | 114.2
987 | 2022-05-16 13:56 | 31.9985 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 262.3617 | μmol/L | 18.359 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 23.146 | 94305.6507 | 296120.4525 | 30.45 | 114.2
997 | 2022-05-16 13:56 | 32.3322 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 262.2725 | μmol/L | 18.3651 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.148 | 94322.3433 | 296116.23 | 30.45 | 114.2
1007 | 2022-05-16 13:57 | 32.6652 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 260.6659 | μmol/L | 18.3713 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.218 | 94636.8869 | 296106.4249 | 30.45 | 114.2
1017 | 2022-05-16 13:57 | 32.9984 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 260.8318 | μmol/L | 18.359 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.215 | 94641.8832 | 296090.1561 | 30.45 | 114.2
1027 | 2022-05-16 13:57 | 33.3322 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 260.8264 | μmol/L | 18.3651 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.213 | 94635.6586 | 296090.7031 | 30.45 | 114.2
1037 | 2022-05-16 13:58 | 33.665 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 260.9817 | μmol/L | 18.3651 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.206 | 94576.9378 | 296083.6717 | 30.45 | 114.2
1047 | 2022-05-16 13:58 | 33.9987 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.0926 | μmol/L | 18.3651 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.201 | 94561.8838 | 296059.5 | 30.45 | 114.2
1057 | 2022-05-16 13:58 | 34.3316 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.3591 | μmol/L | 18.359 | °C | 1020 | hPa | Humid | 0 | 0 | 0 | 23.191 | 94502.4651 | 296056.5363 | 30.45 | 114.2
1067 | 2022-05-16 13:59 | 34.6652 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.782 | μmol/L | 18.3651 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.17 | 94411.6253 | 296044.3172 | 30.45 | 114.2
1077 | 2022-05-16 13:59 | 34.9989 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.8933 | μmol/L | 18.3651 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.165 | 94367.8472 | 296047.078 | 30.45 | 114.2
1087 | 2022-05-16 13:59 | 35.3319 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 262.0048 | μmol/L | 18.3651 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.16 | 94340.8543 | 296035.8116 | 30.45 | 114.2
1097 | 2022-05-16 14:00 | 35.6657 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 262.0048 | μmol/L | 18.3651 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.16 | 94329.5329 | 296033.1915 | 30.45 | 114.2
1107 | 2022-05-16 14:00 | 35.9985 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.9602 | μmol/L | 18.3651 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.162 | 94330.5812 | 296036.2784 | 30.45 | 114.2
1117 | 2022-05-16 14:00 | 36.3319 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.8541 | μmol/L | 18.359 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.169 | 94362.4897 | 296029.6498 | 30.45 | 114.2
1127 | 2022-05-16 14:01 | 36.6649 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.8871 | μmol/L | 18.3467 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.172 | 94365.7279 | 296027.9112 | 30.45 | 114.2
1137 | 2022-05-16 14:01 | 36.9985 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.9433 | μmol/L | 18.359 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.165 | 94343.7396 | 296013.1278 | 30.45 | 114.2
1147 | 2022-05-16 14:01 | 37.3323 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 262.0101 | μmol/L | 18.359 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.162 | 94342.0953 | 296013.5151 | 30.45 | 114.2
1157 | 2022-05-16 14:02 | 37.6651 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.921 | μmol/L | 18.359 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.166 | 94338.6393 | 295996.2517 | 30.45 | 114.2
1167 | 2022-05-16 14:02 | 37.9988 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.6982 | μmol/L | 18.359 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.176 | 94358.5338 | 295988.5984 | 30.45 | 114.2
1177 | 2022-05-16 14:02 | 38.3317 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.6537 | μmol/L | 18.359 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.178 | 94394.6184 | 295994.2066 | 30.45 | 114.2
1187 | 2022-05-16 14:03 | 38.6655 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.4811 | μmol/L | 18.3528 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.188 | 94443.0028 | 295979.7259 | 30.45 | 114.2
1197 | 2022-05-16 14:03 | 38.9983 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.337 | μmol/L | 18.3651 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.19 | 94422.1845 | 295984.8852 | 30.45 | 114.2
1207 | 2022-05-16 14:03 | 39.3321 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.6315 | μmol/L | 18.359 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.179 | 94372.3888 | 295989.2768 | 30.45 | 114.2
1217 | 2022-05-16 14:04 | 39.6649 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.765 | μmol/L | 18.359 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.173 | 94345.8005 | 295980.9775 | 30.45 | 114.2
1227 | 2022-05-16 14:04 | 39.9985 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.8764 | μmol/L | 18.359 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.168 | 94319.3561 | 295982.1629 | 30.45 | 114.2
1237 | 2022-05-16 14:04 | 40.3323 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.8488 | μmol/L | 18.3651 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.167 | 94295.4225 | 295980.4928 | 30.45 | 114.2
1247 | 2022-05-16 14:05 | 40.6653 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 262.0993 | μmol/L | 18.359 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.158 | 94271.8094 | 295959.81 | 30.45 | 114.2
1257 | 2022-05-16 14:05 | 40.9986 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 262.1439 | μmol/L | 18.359 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.156 | 94268.0827 | 295961.7627 | 30.45 | 114.2
1267 | 2022-05-16 14:05 | 41.3323 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 262.3001 | μmol/L | 18.359 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.149 | 94196.0247 | 295963.6028 | 30.45 | 114.2
1277 | 2022-05-16 14:06 | 41.665 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 262.7077 | μmol/L | 18.3528 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.133 | 94141.1883 | 295970.3262 | 30.45 | 114.2
1287 | 2022-05-16 14:06 | 41.9988 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 262.9314 | μmol/L | 18.3528 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.123 | 94077.2929 | 295963.8806 | 30.45 | 114.2
1297 | 2022-05-16 14:06 | 42.3317 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 263.3743 | μmol/L | 18.359 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.101 | 93986.3053 | 295953.0989 | 30.45 | 114.2
1307 | 2022-05-16 14:07 | 42.6655 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 263.8962 | μmol/L | 18.3528 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.08 | 93885.0134 | 295962.2946 | 30.45 | 114.2
1317 | 2022-05-16 14:07 | 42.9983 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 264.2961 | μmol/L | 18.359 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.06 | 93786.7228 | 295961.0993 | 30.45 | 114.2
1327 | 2022-05-16 14:07 | 43.3321 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 264.7351 | μmol/L | 18.3467 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.045 | 93719.8676 | 295978.2056 | 30.45 | 114.2
1337 | 2022-05-16 14:08 | 43.665 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 264.69 | μmol/L | 18.3467 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.047 | 93723.4191 | 295960.5713 | 30.45 | 114.2
1347 | 2022-05-16 14:08 | 43.9989 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 264.104 | μmol/L | 18.3467 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.073 | 93838.2587 | 295966.4241 | 30.45 | 114.2
1357 | 2022-05-16 14:08 | 44.3316 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 263.4918 | μmol/L | 18.3528 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.098 | 93953.9301 | 295960.233 | 30.45 | 114.2
1367 | 2022-05-16 14:09 | 44.6654 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 263.0935 | μmol/L | 18.3467 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.118 | 94059.9605 | 295960.3399 | 30.45 | 114.2
1377 | 2022-05-16 14:09 | 44.999 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 262.713 | μmol/L | 18.3467 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.135 | 94137.8926 | 295960.7228 | 30.45 | 114.2
1387 | 2022-05-16 14:09 | 45.332 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 262.3831 | μmol/L | 18.3405 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.152 | 94200.1203 | 295954.9705 | 30.45 | 114.2
1397 | 2022-05-16 14:10 | 45.6657 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 262.0431 | μmol/L | 18.3467 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.165 | 94266.0064 | 295955.6334 | 30.45 | 114.2
1407 | 2022-05-16 14:10 | 45.9985 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.798 | μmol/L | 18.3467 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.176 | 94336.3604 | 295963.5815 | 30.45 | 114.2
1417 | 2022-05-16 14:10 | 46.3317 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.5087 | μmol/L | 18.3467 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.189 | 94447.0329 | 295955.531 | 30.45 | 114.2
1427 | 2022-05-16 14:11 | 46.6656 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.3086 | μmol/L | 18.3467 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.198 | 94488.7223 | 295958.6971 | 30.45 | 114.2
1437 | 2022-05-16 14:11 | 46.9985 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.0199 | μmol/L | 18.3467 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.211 | 94679.8701 | 295969.1699 | 30.45 | 114.2
1447 | 2022-05-16 14:11 | 47.3323 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 260.8203 | μmol/L | 18.3467 | °C | 1021 | hPa | Humid | 0 | 0 | 0 | 23.22 | 94710.944 | 295963.6515 | 30.45 | 114.2