## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-16 12:57

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
238638 | 2022-05-16 11:40 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 248.5753 | μmol/L | 18.5297 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.798 | 128693.5702 | 273988.4995 | 33.25 | 75.7
238648 | 2022-05-16 11:41 | 0.33492 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 248.7244 | μmol/L | 18.5359 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.789 | 128614.1023 | 273982.7089 | 33.25 | 75.7
238658 | 2022-05-16 11:41 | 0.66828 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 248.8971 | μmol/L | 18.5359 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.781 | 128524.7652 | 273958.3118 | 33.25 | 75.7
238668 | 2022-05-16 11:41 | 1.0014 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.0484 | μmol/L | 18.5359 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.774 | 128460.5126 | 273909.9431 | 33.25 | 75.7
238679 | 2022-05-16 11:42 | 1.9939 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.3317 | μmol/L | 18.5297 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.763 | 128321.32 | 273843.2321 | 33.25 | 75.7
238687 | 2022-05-16 11:42 | 1.9939 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.3061 | μmol/L | 18.542 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.76 | 128272.8986 | 273741.3811 | 33.25 | 75.7
238693 | 2022-05-16 11:42 | 2.0021 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.3317 | μmol/L | 18.5297 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.763 | 128243.0067 | 273696.6402 | 33.25 | 75.7
238708 | 2022-05-16 11:43 | 2.3351 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.375 | μmol/L | 18.5297 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.761 | 128279.4778 | 273805.7684 | 33.25 | 75.7
238718 | 2022-05-16 11:43 | 2.6687 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.4636 | μmol/L | 18.5236 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.759 | 128231.4645 | 273781.5012 | 33.25 | 75.7
238728 | 2022-05-16 11:43 | 3.0014 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.4833 | μmol/L | 18.5297 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.756 | 128197.009 | 273758.2756 | 33.25 | 75.7
238738 | 2022-05-16 11:44 | 3.335 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.57 | μmol/L | 18.5297 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.752 | 128169.0451 | 273731.2895 | 33.25 | 75.7
238748 | 2022-05-16 11:44 | 3.6683 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.637 | μmol/L | 18.5236 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.751 | 128138.4694 | 273707.8736 | 33.25 | 75.7
238758 | 2022-05-16 11:44 | 4.0019 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.6607 | μmol/L | 18.5175 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.752 | 128112.7636 | 273686.3871 | 33.25 | 75.7
238768 | 2022-05-16 11:45 | 4.3347 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.7474 | μmol/L | 18.5175 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.748 | 128074.995 | 273676.3877 | 33.25 | 75.7
238778 | 2022-05-16 11:45 | 4.6683 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.704 | μmol/L | 18.5175 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.75 | 128095.2515 | 273655.4354 | 33.25 | 75.7
238788 | 2022-05-16 11:45 | 5.0018 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.7021 | μmol/L | 18.5236 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.748 | 128077.1827 | 273624.8263 | 33.25 | 75.7
238798 | 2022-05-16 11:46 | 5.3349 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.7711 | μmol/L | 18.5113 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.749 | 128061.6043 | 273607.7168 | 33.25 | 75.7
238808 | 2022-05-16 11:46 | 5.6681 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.639 | μmol/L | 18.5175 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.753 | 128051.7629 | 273591.5677 | 33.25 | 75.7
238818 | 2022-05-16 11:46 | 6.0018 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.706 | μmol/L | 18.5113 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.752 | 128027.6725 | 273565.1666 | 33.25 | 75.7
238828 | 2022-05-16 11:47 | 6.3349 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.5739 | μmol/L | 18.5175 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.756 | 128015.5754 | 273550.4123 | 33.25 | 75.7
238838 | 2022-05-16 11:47 | 6.6682 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.7494 | μmol/L | 18.5113 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.75 | 128002.2123 | 273520.7749 | 33.25 | 75.7
238848 | 2022-05-16 11:47 | 7.0021 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.6173 | μmol/L | 18.5175 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.754 | 127997.072 | 273498.5578 | 33.25 | 75.7
238858 | 2022-05-16 11:48 | 7.335 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.7297 | μmol/L | 18.5052 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.753 | 127979.5522 | 273496.2825 | 33.25 | 75.7
238868 | 2022-05-16 11:48 | 7.6685 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.6843 | μmol/L | 18.5113 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.753 | 127967.943 | 273461.1968 | 33.25 | 75.7
238878 | 2022-05-16 11:48 | 8.0016 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.6429 | μmol/L | 18.5052 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.757 | 127965.7148 | 273441.6933 | 33.25 | 75.7
238888 | 2022-05-16 11:49 | 8.3347 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.6212 | μmol/L | 18.5052 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.758 | 127955.6626 | 273427.3124 | 33.25 | 75.7
238898 | 2022-05-16 11:49 | 8.6685 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.6212 | μmol/L | 18.5052 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.758 | 127954.4313 | 273411.4154 | 33.25 | 75.7
238908 | 2022-05-16 11:49 | 9.0015 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.7099 | μmol/L | 18.4991 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.756 | 127938.3792 | 273383.5286 | 33.25 | 75.7
238918 | 2022-05-16 11:50 | 9.3353 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.6449 | μmol/L | 18.4991 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.759 | 127917.5765 | 273374.4822 | 33.25 | 75.7
238928 | 2022-05-16 11:50 | 9.6682 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.5996 | μmol/L | 18.5052 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.759 | 127907.2917 | 273355.3192 | 33.25 | 75.7
238938 | 2022-05-16 11:50 | 10.0014 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.6232 | μmol/L | 18.4991 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.76 | 127891.4358 | 273331.244 | 33.25 | 75.7
238948 | 2022-05-16 11:51 | 10.3347 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.6232 | μmol/L | 18.4991 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.76 | 127880.3093 | 273299.5849 | 33.25 | 75.7
238958 | 2022-05-16 11:51 | 10.6683 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.5345 | μmol/L | 18.5052 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.762 | 127871.4667 | 273284.6425 | 33.25 | 75.7
238968 | 2022-05-16 11:51 | 11.0018 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.6685 | μmol/L | 18.4929 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.76 | 127852.3533 | 273267.5344 | 33.25 | 75.7
238978 | 2022-05-16 11:52 | 11.3354 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.6685 | μmol/L | 18.4929 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.76 | 127833.9231 | 273239.524 | 33.25 | 75.7
238988 | 2022-05-16 11:52 | 11.6681 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.5345 | μmol/L | 18.5052 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.762 | 127815.6278 | 273202.5763 | 33.25 | 75.7
238998 | 2022-05-16 11:52 | 12.0017 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.5818 | μmol/L | 18.4929 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.764 | 127804.3372 | 273196.9652 | 33.25 | 75.7
239008 | 2022-05-16 11:53 | 12.3354 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.6055 | μmol/L | 18.4868 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.765 | 127789.5378 | 273171.3487 | 33.25 | 75.7
239018 | 2022-05-16 11:53 | 12.6684 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.6489 | μmol/L | 18.4868 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.763 | 127778.3933 | 273158.3941 | 33.25 | 75.7
239028 | 2022-05-16 11:53 | 13.0021 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.6922 | μmol/L | 18.4868 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.761 | 127766.3079 | 273145.3695 | 33.25 | 75.7
239038 | 2022-05-16 11:54 | 13.3349 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.6705 | μmol/L | 18.4868 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.762 | 127753.8243 | 273134.055 | 33.25 | 75.7
239048 | 2022-05-16 11:54 | 13.6687 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.6489 | μmol/L | 18.4868 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.763 | 127737.983 | 273112.7327 | 33.25 | 75.7
239058 | 2022-05-16 11:54 | 14.0017 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.7179 | μmol/L | 18.4745 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.764 | 127718.718 | 273079.1321 | 33.25 | 75.7
239068 | 2022-05-16 11:55 | 14.3354 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.7376 | μmol/L | 18.4807 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.761 | 127712.103 | 273051.0447 | 33.25 | 75.7
239078 | 2022-05-16 11:55 | 14.6681 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.7159 | μmol/L | 18.4807 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.762 | 127694.0403 | 273035.4801 | 33.25 | 75.7
239088 | 2022-05-16 11:55 | 15.0021 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.7613 | μmol/L | 18.4745 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.762 | 127684.2025 | 273019.8572 | 33.25 | 75.7
239098 | 2022-05-16 11:56 | 15.3354 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.7179 | μmol/L | 18.4745 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.764 | 127669.3169 | 272982.947 | 33.25 | 75.7
239108 | 2022-05-16 11:56 | 15.6681 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.7849 | μmol/L | 18.4684 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.763 | 127642.8791 | 272980.8035 | 33.25 | 75.7
239118 | 2022-05-16 11:56 | 16.002 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.8086 | μmol/L | 18.4623 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.764 | 127641.869 | 272955.501 | 33.25 | 75.7
239128 | 2022-05-16 11:57 | 16.3352 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.6745 | μmol/L | 18.4745 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.766 | 127619.743 | 272939.3516 | 33.25 | 75.7
239138 | 2022-05-16 11:57 | 16.6684 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.6982 | μmol/L | 18.4684 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.767 | 127611.8794 | 272929.2417 | 33.25 | 75.7
239148 | 2022-05-16 11:57 | 17.0019 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.85 | μmol/L | 18.4684 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.76 | 127588.2957 | 272913.4575 | 33.25 | 75.7
239158 | 2022-05-16 11:58 | 17.3351 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.8086 | μmol/L | 18.4623 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.764 | 127586.3464 | 272881.6759 | 33.25 | 75.7
239168 | 2022-05-16 11:58 | 17.6687 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.8066 | μmol/L | 18.4684 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.762 | 127568.0481 | 272880.8987 | 33.25 | 75.7
239178 | 2022-05-16 11:58 | 18.0016 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.852 | μmol/L | 18.4623 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.762 | 127558.74 | 272854.5836 | 33.25 | 75.7
239188 | 2022-05-16 11:59 | 18.3351 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.852 | μmol/L | 18.4623 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.762 | 127556.1107 | 272834.7075 | 33.25 | 75.7
239198 | 2022-05-16 11:59 | 18.6684 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.8737 | μmol/L | 18.4623 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.761 | 127535.954 | 272824.863 | 33.25 | 75.7
239208 | 2022-05-16 11:59 | 19.0017 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.852 | μmol/L | 18.4623 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.762 | 127524.3871 | 272800.4261 | 33.25 | 75.7
239218 | 2022-05-16 12:00 | 19.3347 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.854 | μmol/L | 18.4561 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.764 | 127515.4255 | 272786.9124 | 33.25 | 75.7
239228 | 2022-05-16 12:00 | 19.6685 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.8086 | μmol/L | 18.4623 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.764 | 127501.6789 | 272776.633 | 33.25 | 75.7
239238 | 2022-05-16 12:00 | 20.0015 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.8777 | μmol/L | 18.45 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.765 | 127493.4206 | 272763.8515 | 33.25 | 75.7
239248 | 2022-05-16 12:01 | 20.3354 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.8994 | μmol/L | 18.45 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.764 | 127477.659 | 272752.6168 | 33.25 | 75.7
239258 | 2022-05-16 12:01 | 20.6681 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.8757 | μmol/L | 18.4561 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.763 | 127470.6982 | 272739.1247 | 33.25 | 75.7
239268 | 2022-05-16 12:01 | 21.0018 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.8994 | μmol/L | 18.45 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.764 | 127460.2114 | 272718.3327 | 33.25 | 75.7
239278 | 2022-05-16 12:02 | 21.3347 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.9645 | μmol/L | 18.45 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.761 | 127444.3658 | 272701.8823 | 33.25 | 75.7
239288 | 2022-05-16 12:02 | 21.6684 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.9862 | μmol/L | 18.45 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.76 | 127434.1558 | 272689.2389 | 33.25 | 75.7
239298 | 2022-05-16 12:02 | 22.0013 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.0317 | μmol/L | 18.4439 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.76 | 127438.7193 | 272680.5907 | 33.25 | 75.7
239308 | 2022-05-16 12:03 | 22.3352 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.8974 | μmol/L | 18.4561 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.762 | 127423.002 | 272675.7559 | 33.25 | 75.7
239318 | 2022-05-16 12:03 | 22.6684 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.9903 | μmol/L | 18.4378 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.764 | 127409.5509 | 272659.5924 | 33.25 | 75.7
239328 | 2022-05-16 12:03 | 23.0014 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.9883 | μmol/L | 18.4439 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.762 | 127400.3719 | 272640.7989 | 33.25 | 75.7
239338 | 2022-05-16 12:04 | 23.335 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.9665 | μmol/L | 18.4439 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.763 | 127379.6705 | 272622.3931 | 33.25 | 75.7
239348 | 2022-05-16 12:04 | 23.6682 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.8777 | μmol/L | 18.45 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.765 | 127378.2389 | 272627.4049 | 33.25 | 75.7
239358 | 2022-05-16 12:04 | 24.0013 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.0791 | μmol/L | 18.4316 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.762 | 127369.7165 | 272607.3186 | 33.25 | 75.7
239368 | 2022-05-16 12:05 | 24.335 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.9469 | μmol/L | 18.4378 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.766 | 127364.9059 | 272597.4012 | 33.25 | 75.7
239378 | 2022-05-16 12:05 | 24.6688 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.0337 | μmol/L | 18.4378 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.762 | 127360.7523 | 272582.84 | 33.25 | 75.7
239388 | 2022-05-16 12:05 | 25.0017 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.9448 | μmol/L | 18.4439 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.764 | 127356.246 | 272567.3521 | 33.25 | 75.7
239398 | 2022-05-16 12:06 | 25.3352 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.0554 | μmol/L | 18.4378 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.761 | 127343.8352 | 272548.8367 | 33.25 | 75.7
239408 | 2022-05-16 12:06 | 25.6683 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.9014 | μmol/L | 18.4439 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.766 | 127331.4699 | 272548.7191 | 33.25 | 75.7
239418 | 2022-05-16 12:06 | 26.0014 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.9903 | μmol/L | 18.4378 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.764 | 127323.9071 | 272538.873 | 33.25 | 75.7
239428 | 2022-05-16 12:07 | 26.3352 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.0594 | μmol/L | 18.4255 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.765 | 127316.1917 | 272523.509 | 33.25 | 75.7
239438 | 2022-05-16 12:07 | 26.6682 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.0554 | μmol/L | 18.4378 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.761 | 127306.6106 | 272513.0433 | 33.25 | 75.7
239448 | 2022-05-16 12:07 | 27.002 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.0574 | μmol/L | 18.4316 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.763 | 127301.6508 | 272508.0257 | 33.25 | 75.7
239458 | 2022-05-16 12:08 | 27.3348 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.0594 | μmol/L | 18.4255 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.765 | 127287.3845 | 272481.7955 | 33.25 | 75.7
239468 | 2022-05-16 12:08 | 27.6687 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.1029 | μmol/L | 18.4255 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.763 | 127285.524 | 272474.1752 | 33.25 | 75.7
239478 | 2022-05-16 12:08 | 28.0016 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.9923 | μmol/L | 18.4316 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.766 | 127271.1209 | 272451.7456 | 33.25 | 75.7
239488 | 2022-05-16 12:09 | 28.3347 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.0357 | μmol/L | 18.4316 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.764 | 127267.1012 | 272447.4992 | 33.25 | 75.7
239498 | 2022-05-16 12:09 | 28.6688 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.9923 | μmol/L | 18.4316 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.766 | 127262.8817 | 272435.66 | 33.25 | 75.7
239508 | 2022-05-16 12:09 | 29.0017 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.0811 | μmol/L | 18.4255 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.764 | 127476.3397 | 272417.7121 | 33.25 | 75.7
239518 | 2022-05-16 12:10 | 29.3354 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.1266 | μmol/L | 18.4194 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.764 | 127493.55 | 272400.5491 | 33.25 | 75.7
239528 | 2022-05-16 12:10 | 29.6685 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.0377 | μmol/L | 18.4255 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.766 | 127507.4517 | 272381.749 | 33.25 | 75.7
239538 | 2022-05-16 12:10 | 30.0014 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.0594 | μmol/L | 18.4255 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.765 | 127508.1793 | 272372.0115 | 33.25 | 75.7
239548 | 2022-05-16 12:11 | 30.3353 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.1266 | μmol/L | 18.4194 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.764 | 127510.2157 | 272362.1196 | 33.25 | 75.7
239558 | 2022-05-16 12:11 | 30.6687 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.9943 | μmol/L | 18.4255 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.768 | 127506.9352 | 272352.9614 | 33.25 | 75.7
239568 | 2022-05-16 12:11 | 31.0018 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.1029 | μmol/L | 18.4255 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.763 | 127507.213 | 272348.9902 | 33.25 | 75.7
239578 | 2022-05-16 12:12 | 31.3348 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.0832 | μmol/L | 18.4194 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.766 | 127510.6348 | 272325.3543 | 33.25 | 75.7
239588 | 2022-05-16 12:12 | 31.6686 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.1483 | μmol/L | 18.4194 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.763 | 127501.4733 | 272319.7812 | 33.25 | 75.7
239598 | 2022-05-16 12:12 | 32.0014 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.9943 | μmol/L | 18.4255 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.768 | 127502.4707 | 272304.3754 | 33.25 | 75.7
239608 | 2022-05-16 12:13 | 32.3353 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.1503 | μmol/L | 18.4132 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.765 | 127497.5741 | 272291.1008 | 33.25 | 75.7
239618 | 2022-05-16 12:13 | 32.6682 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.1938 | μmol/L | 18.4132 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.763 | 127499.4885 | 272280.3801 | 33.25 | 75.7
239628 | 2022-05-16 12:13 | 33.0021 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.1049 | μmol/L | 18.4194 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.765 | 127484.0205 | 272273.8182 | 33.25 | 75.7
239638 | 2022-05-16 12:14 | 33.3349 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.1958 | μmol/L | 18.4071 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.765 | 127486.6379 | 272256.4719 | 33.25 | 75.7
239648 | 2022-05-16 12:14 | 33.6688 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.0397 | μmol/L | 18.4194 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.768 | 127473.6456 | 272248.3527 | 33.25 | 75.7
239658 | 2022-05-16 12:14 | 34.002 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.1741 | μmol/L | 18.4071 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.766 | 127475.5471 | 272226.19 | 33.25 | 75.7
239668 | 2022-05-16 12:15 | 34.3347 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.0418 | μmol/L | 18.4132 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.77 | 127458.1405 | 272218.6105 | 33.25 | 75.7
239678 | 2022-05-16 12:15 | 34.6686 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.1089 | μmol/L | 18.4071 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.769 | 127460.9198 | 272210.5227 | 33.25 | 75.7
239688 | 2022-05-16 12:15 | 35.0017 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.0418 | μmol/L | 18.4132 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.77 | 127453.3538 | 272196.0115 | 33.25 | 75.7
239698 | 2022-05-16 12:16 | 35.3349 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.1089 | μmol/L | 18.4071 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.769 | 127438.8757 | 272174.3137 | 33.25 | 75.7
239708 | 2022-05-16 12:16 | 35.6681 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.1069 | μmol/L | 18.4132 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.767 | 127439.8373 | 272163.0737 | 33.25 | 75.7
239718 | 2022-05-16 12:16 | 36.0013 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.1761 | μmol/L | 18.401 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.768 | 127437.1002 | 272163.2954 | 33.25 | 75.7
239728 | 2022-05-16 12:17 | 36.3353 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.1307 | μmol/L | 18.4071 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.768 | 127434.0622 | 272156.3447 | 33.25 | 75.7
239738 | 2022-05-16 12:17 | 36.6685 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.1999 | μmol/L | 18.3948 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.769 | 127429.6399 | 272152.0171 | 33.25 | 75.7
239748 | 2022-05-16 12:17 | 37.0017 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.111 | μmol/L | 18.401 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.771 | 127422.5009 | 272146.9728 | 33.25 | 75.7
239758 | 2022-05-16 12:18 | 37.3348 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.1307 | μmol/L | 18.4071 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.768 | 127410.6706 | 272123.9328 | 33.25 | 75.7
239768 | 2022-05-16 12:18 | 37.668 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.0872 | μmol/L | 18.4071 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.77 | 127406.8217 | 272138.0869 | 33.25 | 75.7
239778 | 2022-05-16 12:18 | 38.002 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.1761 | μmol/L | 18.401 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.768 | 127390.7991 | 272111.0214 | 33.25 | 75.7
239788 | 2022-05-16 12:19 | 38.3352 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.1089 | μmol/L | 18.4071 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.769 | 127386.3986 | 272097.4187 | 33.25 | 75.7
239798 | 2022-05-16 12:19 | 38.6684 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.1793 | μmol/L | 18.4071 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.766 | 127386.8734 | 272096.8594 | 33.25 | 75.7
239808 | 2022-05-16 12:19 | 39.0016 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.1564 | μmol/L | 18.3948 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.771 | 127377.5945 | 272090.5484 | 33.25 | 75.7
239818 | 2022-05-16 12:20 | 39.3347 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.1399 | μmol/L | 18.3948 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.772 | 127360.9045 | 272064.4578 | 33.25 | 75.7
239828 | 2022-05-16 12:20 | 39.6687 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.2485 | μmol/L | 18.3948 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.767 | 127358.7546 | 272068.3136 | 33.25 | 75.7
239838 | 2022-05-16 12:20 | 40.0019 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.2268 | μmol/L | 18.3948 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.768 | 127354.868 | 272054.4861 | 33.25 | 75.7
239848 | 2022-05-16 12:21 | 40.3351 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.2268 | μmol/L | 18.3948 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.768 | 127352.2554 | 272052.208 | 33.25 | 75.7
239858 | 2022-05-16 12:21 | 40.6687 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.1834 | μmol/L | 18.3948 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.77 | 127343.1277 | 272044.9503 | 33.25 | 75.7
239868 | 2022-05-16 12:21 | 41.0017 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.2268 | μmol/L | 18.3948 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.768 | 127344.2289 | 272036.0194 | 33.25 | 75.7
239878 | 2022-05-16 12:22 | 41.3353 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.1616 | μmol/L | 18.3948 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.771 | 127337.7802 | 272025.9643 | 33.25 | 75.7
239888 | 2022-05-16 12:22 | 41.6686 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.1616 | μmol/L | 18.3948 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.771 | 127342.0535 | 272034.58 | 33.25 | 75.7
239898 | 2022-05-16 12:22 | 42.0016 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.3375 | μmol/L | 18.3887 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.765 | 127330.92 | 272011.5083 | 33.25 | 75.7
239908 | 2022-05-16 12:23 | 42.3352 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.2703 | μmol/L | 18.3948 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.766 | 127319.919 | 271998.7627 | 33.25 | 75.7
239918 | 2022-05-16 12:23 | 42.6683 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.2051 | μmol/L | 18.3948 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.769 | 127311.8151 | 271995.2908 | 33.25 | 75.7
239928 | 2022-05-16 12:23 | 43.0021 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.2288 | μmol/L | 18.3887 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.77 | 127304.4213 | 271987.7861 | 33.25 | 75.7
239938 | 2022-05-16 12:24 | 43.3352 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.2723 | μmol/L | 18.3887 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.768 | 127300.602 | 271996.8925 | 33.25 | 75.7
239948 | 2022-05-16 12:24 | 43.6681 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.2268 | μmol/L | 18.3948 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.768 | 127290.1588 | 271966.3558 | 33.25 | 75.7
239958 | 2022-05-16 12:24 | 44.0018 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.1874 | μmol/L | 18.3826 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.774 | 127295.3001 | 271979.0217 | 33.25 | 75.7
239968 | 2022-05-16 12:25 | 44.3355 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.2743 | μmol/L | 18.3826 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.77 | 127296.9809 | 271963.4826 | 33.25 | 75.7
239978 | 2022-05-16 12:25 | 44.6687 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.294 | μmol/L | 18.3887 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.767 | 127285.1599 | 271956.5912 | 33.25 | 75.7
239988 | 2022-05-16 12:25 | 45.0018 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.2268 | μmol/L | 18.3948 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.768 | 127289.9289 | 271955.0577 | 33.25 | 75.7
239998 | 2022-05-16 12:26 | 45.3347 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.2723 | μmol/L | 18.3887 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.768 | 127283.6714 | 271953.3809 | 33.25 | 75.7
240008 | 2022-05-16 12:26 | 45.6684 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.3198 | μmol/L | 18.3764 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.77 | 127275.2494 | 271948.7699 | 33.25 | 75.7
240018 | 2022-05-16 12:26 | 46.0017 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.3613 | μmol/L | 18.3826 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.766 | 127275.1444 | 271944.7466 | 33.25 | 75.7
240028 | 2022-05-16 12:27 | 46.3355 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.2309 | μmol/L | 18.3826 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.772 | 127277.2386 | 271939.8425 | 33.25 | 75.7
240038 | 2022-05-16 12:27 | 46.6683 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.2309 | μmol/L | 18.3826 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.772 | 127270.1035 | 271932.5425 | 33.25 | 75.7
240048 | 2022-05-16 12:27 | 47.0015 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.3178 | μmol/L | 18.3826 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.768 | 127271.2164 | 271926.5175 | 33.25 | 75.7
240058 | 2022-05-16 12:28 | 47.3355 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.3198 | μmol/L | 18.3764 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.77 | 127253.3124 | 271915.8837 | 33.25 | 75.7
240068 | 2022-05-16 12:28 | 47.6686 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.2764 | μmol/L | 18.3764 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.772 | 127259.4206 | 271907.9308 | 33.25 | 75.7
240078 | 2022-05-16 12:28 | 48.0018 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.3198 | μmol/L | 18.3764 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.77 | 127261.0797 | 271907.3536 | 33.25 | 75.7
240088 | 2022-05-16 12:29 | 48.335 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.2309 | μmol/L | 18.3826 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.772 | 127258.9885 | 271897.36 | 33.25 | 75.7
240098 | 2022-05-16 12:29 | 48.6681 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.2764 | μmol/L | 18.3764 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.772 | 127261.9757 | 271878.8998 | 33.25 | 75.7
240108 | 2022-05-16 12:29 | 49.0021 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.2981 | μmol/L | 18.3764 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.771 | 127259.9685 | 271878.9739 | 33.25 | 75.7
240118 | 2022-05-16 12:30 | 49.3353 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.2764 | μmol/L | 18.3764 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.772 | 127253.5837 | 271872.144 | 33.25 | 75.7
240128 | 2022-05-16 12:30 | 49.6685 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.2526 | μmol/L | 18.3826 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.771 | 127257.5485 | 271876.8463 | 33.25 | 75.7
240138 | 2022-05-16 12:30 | 50.0016 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.3219 | μmol/L | 18.3703 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.772 | 127246.5481 | 271862.5189 | 33.25 | 75.7
240148 | 2022-05-16 12:31 | 50.3348 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.3002 | μmol/L | 18.3703 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.773 | 127239.9078 | 271870.2297 | 33.25 | 75.7
240158 | 2022-05-16 12:31 | 50.6688 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.4544 | μmol/L | 18.3642 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.768 | 127236.3597 | 271857.849 | 33.25 | 75.7
240168 | 2022-05-16 12:31 | 51.0019 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.3198 | μmol/L | 18.3764 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.77 | 127234.6486 | 271851.9009 | 33.25 | 75.7
240178 | 2022-05-16 12:32 | 51.335 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.2981 | μmol/L | 18.3764 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.771 | 127230.551 | 271863.5946 | 33.25 | 75.7
240188 | 2022-05-16 12:32 | 51.6683 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.2547 | μmol/L | 18.3764 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.773 | 127231.6823 | 271845.0629 | 33.25 | 75.7
240198 | 2022-05-16 12:32 | 52.0014 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.3633 | μmol/L | 18.3764 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.768 | 127236.9951 | 271845.5383 | 33.25 | 75.7
240208 | 2022-05-16 12:33 | 52.3354 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.3219 | μmol/L | 18.3703 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.772 | 127244.3644 | 271834.2587 | 33.25 | 75.7
240218 | 2022-05-16 12:33 | 52.6685 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.3892 | μmol/L | 18.3642 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.771 | 127243.693 | 271839.6551 | 33.25 | 75.7
240228 | 2022-05-16 12:33 | 53.0018 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.2329 | μmol/L | 18.3764 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.774 | 127241.0022 | 271841.2771 | 33.25 | 75.7
240238 | 2022-05-16 12:34 | 53.3348 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.2764 | μmol/L | 18.3764 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.772 | 127238.7249 | 271841.5281 | 33.25 | 75.7
240248 | 2022-05-16 12:34 | 53.6687 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.3436 | μmol/L | 18.3703 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.771 | 127245.0618 | 271826.7652 | 33.25 | 75.7
240258 | 2022-05-16 12:34 | 54.0019 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.3022 | μmol/L | 18.3642 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.775 | 127237.9236 | 271820.4681 | 33.25 | 75.7
240268 | 2022-05-16 12:35 | 54.3347 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.3892 | μmol/L | 18.3642 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.771 | 127233.6808 | 271819.7243 | 33.25 | 75.7
240278 | 2022-05-16 12:35 | 54.668 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.3022 | μmol/L | 18.3642 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.775 | 127231.7417 | 271807.98 | 33.25 | 75.7
240288 | 2022-05-16 12:35 | 55.0021 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.3219 | μmol/L | 18.3703 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.772 | 127218.6363 | 271816.0137 | 33.25 | 75.7
240298 | 2022-05-16 12:36 | 55.3351 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.3002 | μmol/L | 18.3703 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.773 | 127220.0666 | 271805.7112 | 33.25 | 75.7
240308 | 2022-05-16 12:36 | 55.6681 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.3674 | μmol/L | 18.3642 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.772 | 127208.7546 | 271811.5392 | 33.25 | 75.7
240318 | 2022-05-16 12:36 | 56.0021 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.3892 | μmol/L | 18.3642 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.771 | 127202.6872 | 271802.2411 | 33.25 | 75.7
240328 | 2022-05-16 12:37 | 56.3351 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.3239 | μmol/L | 18.3642 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.774 | 127206.0329 | 271800.961 | 33.25 | 75.7
240338 | 2022-05-16 12:37 | 56.6681 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.3674 | μmol/L | 18.3642 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.772 | 127218.8165 | 271809.2264 | 33.25 | 75.7
240348 | 2022-05-16 12:37 | 57.002 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.4999 | μmol/L | 18.358 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.768 | 127205.7785 | 271803.0951 | 33.25 | 75.7
240358 | 2022-05-16 12:38 | 57.335 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.3674 | μmol/L | 18.3642 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.772 | 127211.8005 | 271801.4173 | 33.25 | 75.7
240368 | 2022-05-16 12:38 | 57.6681 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.3022 | μmol/L | 18.3642 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.775 | 127213.4654 | 271798.0983 | 33.25 | 75.7
240378 | 2022-05-16 12:38 | 58.002 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.3457 | μmol/L | 18.3642 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.773 | 127208.7156 | 271790.936 | 33.25 | 75.7
240388 | 2022-05-16 12:39 | 58.3352 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.3477 | μmol/L | 18.358 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.775 | 127202.4314 | 271795.5022 | 33.25 | 75.7
240398 | 2022-05-16 12:39 | 58.6685 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.3912 | μmol/L | 18.358 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.773 | 127208.5236 | 271786.2425 | 33.25 | 75.7
240408 | 2022-05-16 12:39 | 59.0017 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.3022 | μmol/L | 18.3642 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.775 | 127214.0208 | 271767.1051 | 33.25 | 75.7
240418 | 2022-05-16 12:40 | 59.3349 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.2826 | μmol/L | 18.358 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.778 | 127231.4952 | 271767.3397 | 33.25 | 75.7
240428 | 2022-05-16 12:40 | 59.668 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.2826 | μmol/L | 18.358 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.778 | 127244.9467 | 271770.6204 | 33.25 | 75.7
240438 | 2022-05-16 12:40 | 60.002 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.1957 | μmol/L | 18.358 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.782 | 127242.7523 | 271752.1559 | 33.25 | 75.7
240448 | 2022-05-16 12:41 | 60.3352 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.1719 | μmol/L | 18.3642 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.781 | 127247.8522 | 271760.7039 | 33.25 | 75.7
240458 | 2022-05-16 12:41 | 60.6683 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.176 | μmol/L | 18.3519 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.785 | 127263.2475 | 271749.9564 | 33.25 | 75.7
240468 | 2022-05-16 12:41 | 61.0015 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.2432 | μmol/L | 18.3458 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.784 | 127271.9091 | 271747.1547 | 33.25 | 75.7
240478 | 2022-05-16 12:42 | 61.3347 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.1977 | μmol/L | 18.3519 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.784 | 127281.8868 | 271741.0066 | 33.25 | 75.7
240488 | 2022-05-16 12:42 | 61.6687 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.1088 | μmol/L | 18.358 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.786 | 127285.3621 | 271736.1045 | 33.25 | 75.7
240498 | 2022-05-16 12:42 | 62.0018 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.022 | μmol/L | 18.358 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.79 | 127292.1141 | 271729.8945 | 33.25 | 75.7
240508 | 2022-05-16 12:43 | 62.335 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.9569 | μmol/L | 18.358 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.793 | 127312.0516 | 271719.732 | 33.25 | 75.7
240518 | 2022-05-16 12:43 | 62.6682 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.9156 | μmol/L | 18.3519 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.797 | 127330.8168 | 271717.3113 | 33.25 | 75.7
240528 | 2022-05-16 12:43 | 63.0014 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.9394 | μmol/L | 18.3458 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.798 | 127338.4551 | 271703.9706 | 33.25 | 75.7
240538 | 2022-05-16 12:44 | 63.3355 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.8939 | μmol/L | 18.3519 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.798 | 127350.3648 | 271704.7993 | 33.25 | 75.7
240548 | 2022-05-16 12:44 | 63.6686 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.8506 | μmol/L | 18.3519 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.8 | 127344.523 | 271694.6562 | 33.25 | 75.7
240558 | 2022-05-16 12:44 | 64.0017 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.8506 | μmol/L | 18.3519 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.8 | 127347.2252 | 271684.9787 | 33.25 | 75.7
240568 | 2022-05-16 12:45 | 64.3349 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.8506 | μmol/L | 18.3519 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.8 | 127337.6238 | 271669.5497 | 33.25 | 75.7
240578 | 2022-05-16 12:45 | 64.6681 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.9394 | μmol/L | 18.3458 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.798 | 127323.6767 | 271665.5618 | 33.25 | 75.7
240588 | 2022-05-16 12:45 | 65.0021 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.9415 | μmol/L | 18.3396 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.8 | 127306.4408 | 271656.6836 | 33.25 | 75.7
240598 | 2022-05-16 12:46 | 65.3354 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.9611 | μmol/L | 18.3458 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.797 | 127295.3904 | 271654.5083 | 33.25 | 75.7
240608 | 2022-05-16 12:46 | 65.6686 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.0696 | μmol/L | 18.3458 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.792 | 127276.0516 | 271631.219 | 33.25 | 75.7
240618 | 2022-05-16 12:46 | 66.0017 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.0499 | μmol/L | 18.3396 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.795 | 127261.9139 | 271630.7901 | 33.25 | 75.7
240628 | 2022-05-16 12:47 | 66.3348 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.9373 | μmol/L | 18.3519 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.796 | 127249.8227 | 271628.3057 | 33.25 | 75.7
240638 | 2022-05-16 12:47 | 66.668 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.0696 | μmol/L | 18.3458 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.792 | 127245.7429 | 271621.1015 | 33.25 | 75.7
240648 | 2022-05-16 12:47 | 67.002 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.0024 | μmol/L | 18.3519 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.793 | 127244.96 | 271619.7712 | 33.25 | 75.7
240658 | 2022-05-16 12:48 | 67.3352 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.0696 | μmol/L | 18.3458 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.792 | 127236.6327 | 271600.4988 | 33.25 | 75.7
240668 | 2022-05-16 12:48 | 67.6684 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.9373 | μmol/L | 18.3519 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.796 | 127244.5303 | 271601.2715 | 33.25 | 75.7
240678 | 2022-05-16 12:48 | 68.0016 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.9611 | μmol/L | 18.3458 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.797 | 127247.5263 | 271601.0382 | 33.25 | 75.7
240688 | 2022-05-16 12:49 | 68.3348 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.0499 | μmol/L | 18.3396 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.795 | 127243.6936 | 271592.1441 | 33.25 | 75.7
240698 | 2022-05-16 12:49 | 68.668 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.9177 | μmol/L | 18.3458 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.799 | 127250.3188 | 271572.7989 | 33.25 | 75.7
240708 | 2022-05-16 12:49 | 69.002 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.9415 | μmol/L | 18.3396 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.8 | 127251.9111 | 271575.1393 | 33.25 | 75.7
240718 | 2022-05-16 12:50 | 69.3348 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.8548 | μmol/L | 18.3396 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.804 | 127259.6354 | 271556.9291 | 33.25 | 75.7
240728 | 2022-05-16 12:50 | 69.6687 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.8352 | μmol/L | 18.3335 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.807 | 127282.357 | 271564.4726 | 33.25 | 75.7
240738 | 2022-05-16 12:50 | 70.0014 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.636 | μmol/L | 18.3458 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.812 | 127304.4801 | 271551.299 | 33.25 | 75.7
240748 | 2022-05-16 12:51 | 70.3354 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.5711 | μmol/L | 18.3458 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.815 | 127332.2697 | 271547.6834 | 33.25 | 75.7
240758 | 2022-05-16 12:51 | 70.6683 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.5732 | μmol/L | 18.3396 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.817 | 127352.0023 | 271546.138 | 33.25 | 75.7
240768 | 2022-05-16 12:51 | 71.0019 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.4196 | μmol/L | 18.3458 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.822 | 127357.5271 | 271542.2466 | 33.25 | 75.7
240778 | 2022-05-16 12:52 | 71.3351 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.4629 | μmol/L | 18.3458 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.82 | 127362.2474 | 271528.8473 | 33.25 | 75.7
240788 | 2022-05-16 12:52 | 71.6683 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.5104 | μmol/L | 18.3335 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.822 | 127362.1415 | 271524.9465 | 33.25 | 75.7
240798 | 2022-05-16 12:52 | 72.0014 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.4671 | μmol/L | 18.3335 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.824 | 127356.6054 | 271545.3098 | 33.25 | 75.7