## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_10 | O2 | 200465988 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 10:01

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 16:56

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
7014 | 2022-05-17 15:55 | 0 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.4004 | μmol/L | 18.8991 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.075 | 104853.3956 | 265781.2932 | 32.55 | 27.7
7024 | 2022-05-17 15:55 | 0.3401 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.4496 | μmol/L | 18.8991 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.073 | 104843.8706 | 265779.7679 | 32.55 | 27.7
7033 | 2022-05-17 15:55 | 0.67321 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.4787 | μmol/L | 18.893 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.074 | 104845.226 | 265762.2572 | 32.55 | 27.7
7043 | 2022-05-17 15:56 | 1.0064 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.5079 | μmol/L | 18.8869 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.075 | 104838.826 | 265755.1336 | 32.55 | 27.7
7054 | 2022-05-17 15:56 | 1.3403 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.4833 | μmol/L | 18.8869 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.076 | 104834.0579 | 265718.7014 | 32.55 | 27.7
7064 | 2022-05-17 15:56 | 1.6734 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.4633 | μmol/L | 18.8808 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.079 | 104825.4437 | 265712.7123 | 32.55 | 27.7
7073 | 2022-05-17 15:57 | 2.0069 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.5463 | μmol/L | 18.8686 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.08 | 104824.8461 | 265696.071 | 32.55 | 27.7
7083 | 2022-05-17 15:57 | 2.34 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.3988 | μmol/L | 18.8686 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.086 | 104829.8499 | 265671.3948 | 32.55 | 27.7
7094 | 2022-05-17 15:57 | 2.6731 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.4726 | μmol/L | 18.8686 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.083 | 104831.7085 | 265665.9405 | 32.55 | 27.7
7103 | 2022-05-17 15:58 | 3.0062 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.3988 | μmol/L | 18.8686 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.086 | 104827.843 | 265652.3208 | 32.55 | 27.7
7114 | 2022-05-17 15:58 | 3.3401 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.4035 | μmol/L | 18.8624 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.088 | 104832.8575 | 265654.8558 | 32.55 | 27.7
7123 | 2022-05-17 15:58 | 3.6732 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.5555 | μmol/L | 18.8563 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.084 | 104831.0815 | 265658.6798 | 32.55 | 27.7
7133 | 2022-05-17 15:59 | 4.0069 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.4081 | μmol/L | 18.8563 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.09 | 104826.6342 | 265640.5696 | 32.55 | 27.7
7143 | 2022-05-17 15:59 | 4.3402 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.339 | μmol/L | 18.8502 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.095 | 104820.286 | 265629.6939 | 32.55 | 27.7
7154 | 2022-05-17 15:59 | 4.6733 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.4911 | μmol/L | 18.8441 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.091 | 104824.5075 | 265623.3113 | 32.55 | 27.7
7163 | 2022-05-17 16:00 | 5.0063 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.4174 | μmol/L | 18.8441 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.094 | 104828.9431 | 265618.3397 | 32.55 | 27.7
7173 | 2022-05-17 16:00 | 5.3395 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.3437 | μmol/L | 18.8441 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.097 | 104829.5269 | 265615.6612 | 32.55 | 27.7
7183 | 2022-05-17 16:00 | 5.6735 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.422 | μmol/L | 18.838 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.096 | 104831.3103 | 265615.0096 | 32.55 | 27.7
7194 | 2022-05-17 16:01 | 6.0065 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.3039 | μmol/L | 18.8319 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.103 | 104832.8231 | 265610.0157 | 32.55 | 27.7
7203 | 2022-05-17 16:01 | 6.3397 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.4559 | μmol/L | 18.8257 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.099 | 104833.6797 | 265610.0188 | 32.55 | 27.7
7214 | 2022-05-17 16:01 | 6.6736 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.3623 | μmol/L | 18.8196 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.105 | 104835.918 | 265600.1589 | 32.55 | 27.7
7224 | 2022-05-17 16:02 | 7.0067 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.3378 | μmol/L | 18.8196 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.106 | 104846.3767 | 265592.069 | 32.55 | 27.7
7233 | 2022-05-17 16:02 | 7.3399 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.4945 | μmol/L | 18.8074 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.104 | 104858.2345 | 265595.2975 | 32.55 | 27.7
7244 | 2022-05-17 16:02 | 7.6729 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.3425 | μmol/L | 18.8135 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.108 | 104860.4372 | 265596.986 | 32.55 | 27.7
7253 | 2022-05-17 16:03 | 8.0061 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.3226 | μmol/L | 18.8074 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.111 | 104869.1534 | 265573.2946 | 32.55 | 27.7
7264 | 2022-05-17 16:03 | 8.3402 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.2782 | μmol/L | 18.8013 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.115 | 104882.9678 | 265564.7754 | 32.55 | 27.7
7273 | 2022-05-17 16:03 | 8.6729 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.1801 | μmol/L | 18.8013 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.119 | 104892.1911 | 265560.22 | 32.55 | 27.7
7283 | 2022-05-17 16:04 | 9.0067 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.1848 | μmol/L | 18.7952 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.121 | 104909.2658 | 265558.6858 | 32.55 | 27.7
7293 | 2022-05-17 16:04 | 9.34 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.0867 | μmol/L | 18.7952 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.125 | 104919.3605 | 265562.4642 | 32.55 | 27.7
7303 | 2022-05-17 16:04 | 9.6729 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.9934 | μmol/L | 18.7891 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.131 | 104923.7539 | 265547.7459 | 32.55 | 27.7
7313 | 2022-05-17 16:05 | 10.0064 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.0471 | μmol/L | 18.7829 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.131 | 104945.3855 | 265541.4983 | 32.55 | 27.7
7324 | 2022-05-17 16:05 | 10.3401 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.0471 | μmol/L | 18.7829 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.131 | 104950.8112 | 265561.1728 | 32.55 | 27.7
7334 | 2022-05-17 16:05 | 10.6736 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.9246 | μmol/L | 18.7829 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.136 | 104962.815 | 265554.9964 | 32.55 | 27.7
7344 | 2022-05-17 16:06 | 11.0063 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.9538 | μmol/L | 18.7768 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.137 | 104967.5555 | 265556.3178 | 32.55 | 27.7
7353 | 2022-05-17 16:06 | 11.3401 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.0368 | μmol/L | 18.7646 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.138 | 104970.9101 | 265548.7313 | 32.55 | 27.7
7363 | 2022-05-17 16:06 | 11.6728 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.9633 | μmol/L | 18.7646 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.141 | 104975.5711 | 265543.5321 | 32.55 | 27.7
7374 | 2022-05-17 16:07 | 12.0063 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.9388 | μmol/L | 18.7646 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.142 | 104977.5257 | 265550.3536 | 32.55 | 27.7
7383 | 2022-05-17 16:07 | 12.3399 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.9681 | μmol/L | 18.7585 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.143 | 104984.013 | 265551.5331 | 32.55 | 27.7
7394 | 2022-05-17 16:07 | 12.6733 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.8701 | μmol/L | 18.7585 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.147 | 104977.8374 | 265539.0449 | 32.55 | 27.7
7403 | 2022-05-17 16:08 | 13.0069 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.9191 | μmol/L | 18.7585 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.145 | 104978.1331 | 265539.4111 | 32.55 | 27.7
7413 | 2022-05-17 16:08 | 13.3397 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.0266 | μmol/L | 18.7462 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.145 | 104996.2752 | 265541.1252 | 32.55 | 27.7
7423 | 2022-05-17 16:08 | 13.6734 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.8749 | μmol/L | 18.7524 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.149 | 104996.6411 | 265546.2631 | 32.55 | 27.7
7433 | 2022-05-17 16:09 | 14.0062 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.9239 | μmol/L | 18.7524 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.147 | 105004.1292 | 265522.1151 | 32.55 | 27.7
7443 | 2022-05-17 16:09 | 14.3398 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.6546 | μmol/L | 18.7524 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.158 | 105015.5656 | 265523.233 | 32.55 | 27.7
7453 | 2022-05-17 16:09 | 14.6729 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.811 | μmol/L | 18.7401 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.156 | 105019.3541 | 265531.4445 | 32.55 | 27.7
7463 | 2022-05-17 16:10 | 15.0062 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.8892 | μmol/L | 18.734 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.155 | 105026.9462 | 265533.1638 | 32.55 | 27.7
7474 | 2022-05-17 16:10 | 15.3401 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.8158 | μmol/L | 18.734 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.158 | 105043.7755 | 265525.1201 | 32.55 | 27.7
7483 | 2022-05-17 16:10 | 15.6729 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.7716 | μmol/L | 18.7279 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.162 | 105053.8008 | 265524.3197 | 32.55 | 27.7
7493 | 2022-05-17 16:11 | 16.0068 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.6982 | μmol/L | 18.7279 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.165 | 105067.7404 | 265520.4259 | 32.55 | 27.7
7503 | 2022-05-17 16:11 | 16.3402 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.483 | μmol/L | 18.7218 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.176 | 105097.6263 | 265511.9174 | 32.55 | 27.7
7513 | 2022-05-17 16:11 | 16.673 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.5563 | μmol/L | 18.7218 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.173 | 105111.4523 | 265519.2487 | 32.55 | 27.7
7524 | 2022-05-17 16:12 | 17.0069 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.5074 | μmol/L | 18.7218 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.175 | 105128.6515 | 265517.7993 | 32.55 | 27.7
7533 | 2022-05-17 16:12 | 17.3396 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.312 | μmol/L | 18.7218 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.183 | 105149.6246 | 265510.7835 | 32.55 | 27.7
7543 | 2022-05-17 16:12 | 17.6734 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.2191 | μmol/L | 18.7157 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.189 | 105174.1065 | 265500.6802 | 32.55 | 27.7
7553 | 2022-05-17 16:13 | 18.0062 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.1459 | μmol/L | 18.7157 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.192 | 105203.6673 | 265508.3071 | 32.55 | 27.7
7563 | 2022-05-17 16:13 | 18.3397 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.0044 | μmol/L | 18.7096 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.2 | 105225.4338 | 265494.5151 | 32.55 | 27.7
7573 | 2022-05-17 16:13 | 18.6732 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.8386 | μmol/L | 18.7034 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.209 | 105267.852 | 265502.744 | 32.55 | 27.7
7583 | 2022-05-17 16:14 | 19.0069 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.7899 | μmol/L | 18.7034 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.211 | 105291.7868 | 265502.5419 | 32.55 | 27.7
7593 | 2022-05-17 16:14 | 19.3396 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.5659 | μmol/L | 18.7096 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.218 | 105327.8202 | 265513.5005 | 32.55 | 27.7
7603 | 2022-05-17 16:14 | 19.6732 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.5027 | μmol/L | 18.6973 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.225 | 105363.0039 | 265512.1401 | 32.55 | 27.7
7614 | 2022-05-17 16:15 | 20.0067 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.3324 | μmol/L | 18.6973 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.232 | 105383.5848 | 265502.687 | 32.55 | 27.7
7624 | 2022-05-17 16:15 | 20.3401 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.2352 | μmol/L | 18.6973 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.236 | 105418.0928 | 265495.0416 | 32.55 | 27.7
7634 | 2022-05-17 16:15 | 20.6736 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.1478 | μmol/L | 18.6851 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.244 | 105455.9326 | 265493.8089 | 32.55 | 27.7
7643 | 2022-05-17 16:16 | 21.0062 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.8953 | μmol/L | 18.6973 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.25 | 105488.3151 | 265495.3385 | 32.55 | 27.7
7653 | 2022-05-17 16:16 | 21.3398 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.7838 | μmol/L | 18.6851 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.259 | 105524.9581 | 265488.2327 | 32.55 | 27.7
7663 | 2022-05-17 16:16 | 21.6734 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.6868 | μmol/L | 18.6851 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.263 | 105555.8981 | 265489.4008 | 32.55 | 27.7
7673 | 2022-05-17 16:17 | 22.0061 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.493 | μmol/L | 18.6851 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.271 | 105588.6975 | 265488.5995 | 32.55 | 27.7
7683 | 2022-05-17 16:17 | 22.3397 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.4979 | μmol/L | 18.679 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.273 | 105629.6719 | 265488.0235 | 32.55 | 27.7
7693 | 2022-05-17 16:17 | 22.673 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.2559 | μmol/L | 18.679 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.283 | 105655.7987 | 265490.8707 | 32.55 | 27.7
7704 | 2022-05-17 16:18 | 23.0062 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.1399 | μmol/L | 18.6729 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.29 | 105691.4133 | 265492.4356 | 32.55 | 27.7
7713 | 2022-05-17 16:18 | 23.3397 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.9708 | μmol/L | 18.6729 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.297 | 105721.2503 | 265487.6841 | 32.55 | 27.7
7724 | 2022-05-17 16:18 | 23.6736 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.7968 | μmol/L | 18.679 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.302 | 105760.1672 | 265493.0265 | 32.55 | 27.7
7734 | 2022-05-17 16:19 | 24.0062 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.8067 | μmol/L | 18.6667 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.306 | 105797.5706 | 265485.9127 | 32.55 | 27.7
7744 | 2022-05-17 16:19 | 24.3397 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.5846 | μmol/L | 18.6729 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.313 | 105827.3949 | 265493.8711 | 32.55 | 27.7
7753 | 2022-05-17 16:19 | 24.6732 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.4208 | μmol/L | 18.6667 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.322 | 105850.7873 | 265471.0756 | 32.55 | 27.7
7763 | 2022-05-17 16:20 | 25.0067 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.4017 | μmol/L | 18.6606 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.325 | 105881.8519 | 265474.8101 | 32.55 | 27.7
7773 | 2022-05-17 16:20 | 25.3402 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.2331 | μmol/L | 18.6606 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.332 | 105909.3964 | 265485.1516 | 32.55 | 27.7
7783 | 2022-05-17 16:20 | 25.673 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.1609 | μmol/L | 18.6606 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.335 | 105943.423 | 265484.7029 | 32.55 | 27.7
7793 | 2022-05-17 16:21 | 26.0062 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.9684 | μmol/L | 18.6606 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.343 | 105955.0851 | 265478.95 | 32.55 | 27.7
7803 | 2022-05-17 16:21 | 26.3398 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.8723 | μmol/L | 18.6606 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.347 | 105990.8545 | 265481.4897 | 32.55 | 27.7
7813 | 2022-05-17 16:21 | 26.6733 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.9253 | μmol/L | 18.6545 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.347 | 106007.3524 | 265483.5351 | 32.55 | 27.7
7824 | 2022-05-17 16:22 | 27.0068 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.7862 | μmol/L | 18.6484 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.355 | 106042.4737 | 265487.9832 | 32.55 | 27.7
7833 | 2022-05-17 16:22 | 27.3395 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.6901 | μmol/L | 18.6484 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.359 | 106067.2443 | 265488.4003 | 32.55 | 27.7
7843 | 2022-05-17 16:22 | 27.673 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.6471 | μmol/L | 18.6423 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.363 | 106088.8014 | 265477.8236 | 32.55 | 27.7
7854 | 2022-05-17 16:23 | 28.0068 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.522 | μmol/L | 18.6484 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.366 | 106110.237 | 265482.2627 | 32.55 | 27.7
7863 | 2022-05-17 16:23 | 28.3396 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.3731 | μmol/L | 18.6545 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.37 | 106132.4464 | 265475.5278 | 32.55 | 27.7
7873 | 2022-05-17 16:23 | 28.6733 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.2822 | μmol/L | 18.6484 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.376 | 106155.498 | 265481.9984 | 32.55 | 27.7
7883 | 2022-05-17 16:24 | 29.0067 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.2822 | μmol/L | 18.6484 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.376 | 106160.307 | 265482.2471 | 32.55 | 27.7
7893 | 2022-05-17 16:24 | 29.3396 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.1674 | μmol/L | 18.6423 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.383 | 106188.2182 | 265476.6615 | 32.55 | 27.7
7903 | 2022-05-17 16:24 | 29.6729 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.9998 | μmol/L | 18.6423 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.39 | 106205.3046 | 265477.9804 | 32.55 | 27.7
7913 | 2022-05-17 16:25 | 30.0064 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.9758 | μmol/L | 18.6423 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.391 | 106225.8548 | 265477.6043 | 32.55 | 27.7
7923 | 2022-05-17 16:25 | 30.3401 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.9091 | μmol/L | 18.6362 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.396 | 106238.9653 | 265471.5046 | 32.55 | 27.7
7934 | 2022-05-17 16:25 | 30.6735 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.957 | μmol/L | 18.6362 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.394 | 106257.1229 | 265471.6 | 32.55 | 27.7
7943 | 2022-05-17 16:26 | 31.0066 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.8424 | μmol/L | 18.6301 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.401 | 106277.8697 | 265475.6678 | 32.55 | 27.7
7953 | 2022-05-17 16:26 | 31.3402 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.6938 | μmol/L | 18.6362 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.405 | 106296.5417 | 265483.6425 | 32.55 | 27.7
7963 | 2022-05-17 16:26 | 31.6728 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.7228 | μmol/L | 18.6301 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.406 | 106311.4656 | 265472.5077 | 32.55 | 27.7
7973 | 2022-05-17 16:27 | 32.0064 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.704 | μmol/L | 18.6239 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.409 | 106327.7536 | 265484.6026 | 32.55 | 27.7
7983 | 2022-05-17 16:27 | 32.3401 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.5367 | μmol/L | 18.6239 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.416 | 106341.4659 | 265467.9344 | 32.55 | 27.7
7993 | 2022-05-17 16:27 | 32.6729 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.5316 | μmol/L | 18.6301 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.414 | 106348.1757 | 265466.5576 | 32.55 | 27.7
8003 | 2022-05-17 16:28 | 33.0061 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.46 | μmol/L | 18.6301 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.417 | 106352.9317 | 265468.0803 | 32.55 | 27.7
8013 | 2022-05-17 16:28 | 33.3398 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.3645 | μmol/L | 18.6301 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.421 | 106363.2738 | 265460.5939 | 32.55 | 27.7
8023 | 2022-05-17 16:28 | 33.6735 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.5128 | μmol/L | 18.6239 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.417 | 106370.6233 | 265474.6158 | 32.55 | 27.7
8033 | 2022-05-17 16:29 | 34.0061 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.4702 | μmol/L | 18.6178 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.421 | 106382.2034 | 265476.1687 | 32.55 | 27.7
8044 | 2022-05-17 16:29 | 34.3403 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.4224 | μmol/L | 18.6178 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.423 | 106378.3411 | 265449.8693 | 32.55 | 27.7
8054 | 2022-05-17 16:29 | 34.6733 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.3934 | μmol/L | 18.6239 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.422 | 106383.1585 | 265457.5388 | 32.55 | 27.7
8063 | 2022-05-17 16:30 | 35.0062 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.4463 | μmol/L | 18.6178 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.422 | 106395.9776 | 265454.5294 | 32.55 | 27.7
8073 | 2022-05-17 16:30 | 35.3396 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.3269 | μmol/L | 18.6178 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.427 | 106402.6487 | 265457.9921 | 32.55 | 27.7
8083 | 2022-05-17 16:30 | 35.6735 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.3508 | μmol/L | 18.6178 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.426 | 106397.9242 | 265458.4942 | 32.55 | 27.7
8094 | 2022-05-17 16:31 | 36.0065 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.4565 | μmol/L | 18.6056 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.426 | 106394.4159 | 265465.3503 | 32.55 | 27.7
8104 | 2022-05-17 16:31 | 36.3402 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.4036 | μmol/L | 18.6117 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.426 | 106394.6894 | 265459.4672 | 32.55 | 27.7
8113 | 2022-05-17 16:31 | 36.6731 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.5281 | μmol/L | 18.6056 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.423 | 106364.2903 | 265444.8301 | 32.55 | 27.7
8123 | 2022-05-17 16:32 | 37.0069 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.5708 | μmol/L | 18.6117 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.419 | 106336.8316 | 265438.4553 | 32.55 | 27.7
8133 | 2022-05-17 16:32 | 37.3397 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.8388 | μmol/L | 18.6056 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.41 | 106288.9713 | 265445.9938 | 32.55 | 27.7
8143 | 2022-05-17 16:32 | 37.6734 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.1738 | μmol/L | 18.6056 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.396 | 106218.6868 | 265434.9427 | 32.55 | 27.7
8154 | 2022-05-17 16:33 | 38.0064 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.3895 | μmol/L | 18.6056 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.387 | 106153.3158 | 265427.7554 | 32.55 | 27.7
8163 | 2022-05-17 16:33 | 38.34 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.8556 | μmol/L | 18.5934 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.372 | 106079.6341 | 265454.0331 | 32.55 | 27.7
8173 | 2022-05-17 16:33 | 38.6735 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.0188 | μmol/L | 18.5995 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.363 | 106009.0997 | 265444.9131 | 32.55 | 27.7
8183 | 2022-05-17 16:34 | 39.0065 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.3746 | μmol/L | 18.6056 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.346 | 105937.9903 | 265435.6623 | 32.55 | 27.7
8194 | 2022-05-17 16:34 | 39.3402 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.7703 | μmol/L | 18.5934 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.334 | 105873.5614 | 265436.5548 | 32.55 | 27.7
8204 | 2022-05-17 16:34 | 39.6736 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.0409 | μmol/L | 18.5873 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.325 | 105807.0418 | 265430.7837 | 32.55 | 27.7
8213 | 2022-05-17 16:35 | 40.0062 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.3016 | μmol/L | 18.5934 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.312 | 105750.6474 | 265426.4956 | 32.55 | 27.7
8223 | 2022-05-17 16:35 | 40.3395 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.4951 | μmol/L | 18.5934 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.304 | 105695.768 | 265414.2481 | 32.55 | 27.7
8234 | 2022-05-17 16:35 | 40.6734 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.7665 | μmol/L | 18.5873 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.295 | 105648.7263 | 265430.0938 | 32.55 | 27.7
8243 | 2022-05-17 16:36 | 41.0062 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.7564 | μmol/L | 18.5995 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.291 | 105602.2914 | 265430.9612 | 32.55 | 27.7
8253 | 2022-05-17 16:36 | 41.3399 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.0474 | μmol/L | 18.5995 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.279 | 105565.8762 | 265431.1692 | 32.55 | 27.7
8264 | 2022-05-17 16:36 | 41.6734 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.1252 | μmol/L | 18.5934 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.278 | 105529.9671 | 265426.5769 | 32.55 | 27.7
8274 | 2022-05-17 16:37 | 42.0069 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.3437 | μmol/L | 18.5934 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.269 | 105495.9526 | 265410.7878 | 32.55 | 27.7
8283 | 2022-05-17 16:37 | 42.3395 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.3487 | μmol/L | 18.5873 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.271 | 105480.6222 | 265416.6954 | 32.55 | 27.7
8294 | 2022-05-17 16:37 | 42.6733 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.4216 | μmol/L | 18.5873 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.268 | 105469.163 | 265419.0989 | 32.55 | 27.7
8304 | 2022-05-17 16:38 | 43.0062 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.5724 | μmol/L | 18.5811 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.264 | 105448.1811 | 265413.8875 | 32.55 | 27.7
8313 | 2022-05-17 16:38 | 43.3395 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.621 | μmol/L | 18.5811 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.262 | 105439.0432 | 265411.7848 | 32.55 | 27.7
8323 | 2022-05-17 16:38 | 43.6733 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.6504 | μmol/L | 18.575 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.263 | 105414.389 | 265412.6411 | 32.55 | 27.7
8333 | 2022-05-17 16:39 | 44.0068 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.5867 | μmol/L | 18.5934 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.259 | 105397.0754 | 265404.8091 | 32.55 | 27.7
8343 | 2022-05-17 16:39 | 44.3397 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.7427 | μmol/L | 18.5811 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.257 | 105396.8649 | 265410.3281 | 32.55 | 27.7
8353 | 2022-05-17 16:39 | 44.6732 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.8157 | μmol/L | 18.5811 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.254 | 105397.9101 | 265417.7547 | 32.55 | 27.7
8363 | 2022-05-17 16:40 | 45.0064 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.84 | μmol/L | 18.5811 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.253 | 105414.6699 | 265407.2948 | 32.55 | 27.7
8374 | 2022-05-17 16:40 | 45.3401 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.6697 | μmol/L | 18.5811 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.26 | 105434.7567 | 265405.2216 | 32.55 | 27.7
8383 | 2022-05-17 16:40 | 45.6728 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.5045 | μmol/L | 18.575 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.269 | 105467.8642 | 265403.9621 | 32.55 | 27.7
8393 | 2022-05-17 16:41 | 46.0064 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.2515 | μmol/L | 18.5873 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.275 | 105484.2677 | 265400.79 | 32.55 | 27.7
8404 | 2022-05-17 16:41 | 46.3398 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.2809 | μmol/L | 18.5811 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.276 | 105499.4217 | 265404.2568 | 32.55 | 27.7
8414 | 2022-05-17 16:41 | 46.6736 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.2323 | μmol/L | 18.5811 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.278 | 105486.9484 | 265402.5729 | 32.55 | 27.7
8423 | 2022-05-17 16:42 | 47.0065 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.3537 | μmol/L | 18.5811 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.273 | 105466.2337 | 265396.677 | 32.55 | 27.7
8434 | 2022-05-17 16:42 | 47.3399 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.4316 | μmol/L | 18.575 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.272 | 105469.6523 | 265403.9353 | 32.55 | 27.7
8443 | 2022-05-17 16:42 | 47.6733 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.3102 | μmol/L | 18.575 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.277 | 105485.8285 | 265390.2637 | 32.55 | 27.7
8453 | 2022-05-17 16:43 | 48.0067 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.9947 | μmol/L | 18.575 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.29 | 105565.551 | 265392.6677 | 32.55 | 27.7
8464 | 2022-05-17 16:43 | 48.3397 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.7524 | μmol/L | 18.575 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.3 | 105596.3487 | 265365.4948 | 32.55 | 27.7
8473 | 2022-05-17 16:43 | 48.6734 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.4377 | μmol/L | 18.575 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.313 | 105655.1213 | 265382.0195 | 32.55 | 27.7
8483 | 2022-05-17 16:44 | 49.0063 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.3218 | μmol/L | 18.5689 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.32 | 105717.3523 | 265385.2618 | 32.55 | 27.7
8494 | 2022-05-17 16:44 | 49.3402 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.0268 | μmol/L | 18.575 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.33 | 105767.3809 | 265375.1451 | 32.55 | 27.7
8503 | 2022-05-17 16:44 | 49.6732 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.9112 | μmol/L | 18.5689 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.337 | 105812.3958 | 265380.2692 | 32.55 | 27.7
8513 | 2022-05-17 16:45 | 50.0069 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.6168 | μmol/L | 18.575 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.347 | 105844.6784 | 265368.1389 | 32.55 | 27.7
8523 | 2022-05-17 16:45 | 50.3397 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.4532 | μmol/L | 18.5689 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.356 | 105897.2789 | 265375.0496 | 32.55 | 27.7
8529 | 2022-05-17 16:45 | 50.6733 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.4051 | μmol/L | 18.5689 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.358 | 105945.533 | 265361.8036 | 32.55 | 27.7