## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_9 | O2 | 143006660 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 10:00

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 16:56

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
7015 | 2022-05-17 15:55 | 0 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.2851 | μmol/L | 18.9244 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.181 | 76305.898 | 266074.8621 | 26.25 | 74
7025 | 2022-05-17 15:55 | 0.33896 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.1964 | μmol/L | 18.9122 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.189 | 76269.5272 | 266083.2832 | 26.25 | 74
7035 | 2022-05-17 15:55 | 0.67206 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.2699 | μmol/L | 18.9122 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.186 | 76217.7677 | 266078.9467 | 26.25 | 74
7045 | 2022-05-17 15:56 | 1.0057 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.3282 | μmol/L | 18.9 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.188 | 76183.484 | 266080.0591 | 26.25 | 74
7055 | 2022-05-17 15:56 | 1.3388 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.3282 | μmol/L | 18.9 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.188 | 76141.8461 | 266063.4482 | 26.25 | 74
7065 | 2022-05-17 15:56 | 1.6719 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.2348 | μmol/L | 18.8939 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.194 | 76113.3971 | 266056.2874 | 26.25 | 74
7075 | 2022-05-17 15:57 | 2.0058 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.1124 | μmol/L | 18.8939 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.199 | 76100.812 | 266059.0759 | 26.25 | 74
7085 | 2022-05-17 15:57 | 2.3389 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.0634 | μmol/L | 18.8939 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.201 | 76069.019 | 266047.0603 | 26.25 | 74
7095 | 2022-05-17 15:57 | 2.6727 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.9947 | μmol/L | 18.8878 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.206 | 76056.453 | 266037.3951 | 26.25 | 74
7105 | 2022-05-17 15:58 | 3.0058 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.9457 | μmol/L | 18.8878 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.208 | 76041.3636 | 266033.5804 | 26.25 | 74
7115 | 2022-05-17 15:58 | 3.339 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.0238 | μmol/L | 18.8817 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.207 | 76015.1326 | 266033.4021 | 26.25 | 74
7125 | 2022-05-17 15:58 | 3.6719 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.8526 | μmol/L | 18.8817 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.214 | 76002.7233 | 266021.2608 | 26.25 | 74
7135 | 2022-05-17 15:59 | 4.0057 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.8084 | μmol/L | 18.8756 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.218 | 75979.4461 | 266017.2983 | 26.25 | 74
7145 | 2022-05-17 15:59 | 4.339 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.9109 | μmol/L | 18.8695 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.216 | 75966.0522 | 266018.1951 | 26.25 | 74
7155 | 2022-05-17 15:59 | 4.6721 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.862 | μmol/L | 18.8695 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.218 | 75943.5673 | 266016.0894 | 26.25 | 74
7165 | 2022-05-17 16:00 | 5.006 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.9937 | μmol/L | 18.8573 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.217 | 75929.588 | 266016.0645 | 26.25 | 74
7175 | 2022-05-17 16:00 | 5.3391 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.8225 | μmol/L | 18.8573 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.224 | 75900.8141 | 265999.1606 | 26.25 | 74
7185 | 2022-05-17 16:00 | 5.6723 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.9495 | μmol/L | 18.8513 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.221 | 75886.7052 | 266005.6073 | 26.25 | 74
7195 | 2022-05-17 16:01 | 6.0053 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.9053 | μmol/L | 18.8452 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.225 | 75853.6272 | 265992.8975 | 26.25 | 74
7205 | 2022-05-17 16:01 | 6.3392 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.9006 | μmol/L | 18.8513 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.223 | 75838.92 | 266006.0505 | 26.25 | 74
7215 | 2022-05-17 16:01 | 6.6722 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.9834 | μmol/L | 18.8391 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.224 | 75830.4276 | 265992.0322 | 26.25 | 74
7225 | 2022-05-17 16:02 | 7.0053 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.7587 | μmol/L | 18.8452 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.231 | 75812.8776 | 265995.4469 | 26.25 | 74
7235 | 2022-05-17 16:02 | 7.3392 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.739 | μmol/L | 18.8391 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.234 | 75782.5032 | 265991.9153 | 26.25 | 74
7245 | 2022-05-17 16:02 | 7.6722 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.7634 | μmol/L | 18.8391 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.233 | 75776.9674 | 265977.8082 | 26.25 | 74
7255 | 2022-05-17 16:03 | 8.006 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.6949 | μmol/L | 18.833 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.238 | 75752.0057 | 265961.4561 | 26.25 | 74
7265 | 2022-05-17 16:03 | 8.339 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.8754 | μmol/L | 18.8208 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.235 | 75745.0514 | 265973.877 | 26.25 | 74
7275 | 2022-05-17 16:03 | 8.6724 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.7729 | μmol/L | 18.8269 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.237 | 75714.3004 | 265970.749 | 26.25 | 74
7285 | 2022-05-17 16:04 | 9.006 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.7729 | μmol/L | 18.8269 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.237 | 75693.2192 | 265974.0234 | 26.25 | 74
7295 | 2022-05-17 16:04 | 9.3387 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.68 | μmol/L | 18.8208 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.243 | 75684.5249 | 265960.1615 | 26.25 | 74
7305 | 2022-05-17 16:04 | 9.6722 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.7628 | μmol/L | 18.8086 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.244 | 75683.9945 | 265962.1669 | 26.25 | 74
7315 | 2022-05-17 16:05 | 10.0053 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.6699 | μmol/L | 18.8025 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.25 | 75675.247 | 265957.8985 | 26.25 | 74
7325 | 2022-05-17 16:05 | 10.3387 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.5919 | μmol/L | 18.8086 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.251 | 75681.7011 | 265963.597 | 26.25 | 74
7335 | 2022-05-17 16:05 | 10.6722 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.4259 | μmol/L | 18.8025 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.26 | 75709.7175 | 265950.9237 | 26.25 | 74
7345 | 2022-05-17 16:06 | 11.0056 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.1578 | μmol/L | 18.8025 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.271 | 75742.8802 | 265938.9881 | 26.25 | 74
7355 | 2022-05-17 16:06 | 11.3393 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 283.9726 | μmol/L | 18.7903 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.283 | 75767.5853 | 265937.6863 | 26.25 | 74
7365 | 2022-05-17 16:06 | 11.6724 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 283.603 | μmol/L | 18.7964 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.296 | 75787.5594 | 265938.6936 | 26.25 | 74
7375 | 2022-05-17 16:07 | 12.0059 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 283.6564 | μmol/L | 18.7903 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.296 | 75793.6505 | 265933.6375 | 26.25 | 74
7385 | 2022-05-17 16:07 | 12.3386 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 283.365 | μmol/L | 18.7903 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.308 | 75792.27 | 265947.869 | 26.25 | 74
7395 | 2022-05-17 16:07 | 12.672 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 283.3407 | μmol/L | 18.7903 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.309 | 75772.874 | 265953.7371 | 26.25 | 74
7405 | 2022-05-17 16:08 | 13.0056 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 283.5689 | μmol/L | 18.7781 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.304 | 75772.9348 | 265938.3535 | 26.25 | 74
7415 | 2022-05-17 16:08 | 13.3393 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 283.1806 | μmol/L | 18.7781 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.32 | 75813.2509 | 265951.3464 | 26.25 | 74
7425 | 2022-05-17 16:08 | 13.6722 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 282.7203 | μmol/L | 18.7781 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.339 | 75870.7307 | 265932.4019 | 26.25 | 74
7435 | 2022-05-17 16:09 | 14.0058 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 282.3625 | μmol/L | 18.7721 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.356 | 75947.7047 | 265936.2708 | 26.25 | 74
7445 | 2022-05-17 16:09 | 14.3392 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 281.8316 | μmol/L | 18.7721 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.378 | 76015.4123 | 265929.3273 | 26.25 | 74
7455 | 2022-05-17 16:09 | 14.6719 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 281.5475 | μmol/L | 18.766 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.392 | 76056.9683 | 265938.5216 | 26.25 | 74
7465 | 2022-05-17 16:10 | 15.0056 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 281.355 | μmol/L | 18.766 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.4 | 76091.6064 | 265935.6841 | 26.25 | 74
7475 | 2022-05-17 16:10 | 15.3387 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 281.0906 | μmol/L | 18.766 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.411 | 76125.045 | 265915.2504 | 26.25 | 74
7485 | 2022-05-17 16:10 | 15.6724 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.7165 | μmol/L | 18.7538 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.431 | 76164.0285 | 265940.7779 | 26.25 | 74
7495 | 2022-05-17 16:11 | 16.0054 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.2993 | μmol/L | 18.766 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.444 | 76200.5945 | 265935.0969 | 26.25 | 74
7505 | 2022-05-17 16:11 | 16.3389 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.381 | μmol/L | 18.7538 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.445 | 76239.4073 | 265930.5945 | 26.25 | 74
7515 | 2022-05-17 16:11 | 16.6724 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.9982 | μmol/L | 18.7538 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.461 | 76257.306 | 265930.17 | 26.25 | 74
7525 | 2022-05-17 16:12 | 17.0059 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.8121 | μmol/L | 18.7477 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.471 | 76284.2632 | 265922.8103 | 26.25 | 74
7535 | 2022-05-17 16:12 | 17.3394 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.846 | μmol/L | 18.7355 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.474 | 76282.5335 | 265921.7753 | 26.25 | 74
7545 | 2022-05-17 16:12 | 17.6721 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.8171 | μmol/L | 18.7416 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.473 | 76264.9638 | 265937.9559 | 26.25 | 74
7555 | 2022-05-17 16:13 | 18.0057 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.0799 | μmol/L | 18.7416 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.462 | 76212.2845 | 265937.0635 | 26.25 | 74
7565 | 2022-05-17 16:13 | 18.3392 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.1995 | μmol/L | 18.7416 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.457 | 76159.3975 | 265941.8311 | 26.25 | 74
7575 | 2022-05-17 16:13 | 18.6719 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.2763 | μmol/L | 18.7355 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.456 | 76139.9132 | 265927.7768 | 26.25 | 74
7585 | 2022-05-17 16:14 | 19.0055 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.3002 | μmol/L | 18.7355 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.455 | 76125.8113 | 265924.1434 | 26.25 | 74
7595 | 2022-05-17 16:14 | 19.3391 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.5307 | μmol/L | 18.7172 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.452 | 76123.22 | 265938.4301 | 26.25 | 74
7605 | 2022-05-17 16:14 | 19.6719 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.2574 | μmol/L | 18.7294 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.459 | 76123.4827 | 265933.7039 | 26.25 | 74
7615 | 2022-05-17 16:15 | 20.0056 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.1856 | μmol/L | 18.7294 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.462 | 76129.0121 | 265932.2909 | 26.25 | 74
7625 | 2022-05-17 16:15 | 20.3393 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.0471 | μmol/L | 18.7233 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.47 | 76149.5979 | 265937.7552 | 26.25 | 74
7635 | 2022-05-17 16:15 | 20.672 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.9754 | μmol/L | 18.7233 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.473 | 76159.8522 | 265923.8205 | 26.25 | 74
7645 | 2022-05-17 16:16 | 21.0056 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.1478 | μmol/L | 18.7172 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.468 | 76159.441 | 265934.1362 | 26.25 | 74
7655 | 2022-05-17 16:16 | 21.3386 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.0044 | μmol/L | 18.7172 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.474 | 76151.1189 | 265935.0166 | 26.25 | 74
7665 | 2022-05-17 16:16 | 21.672 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.8422 | μmol/L | 18.7111 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.483 | 76163.6589 | 265916.6175 | 26.25 | 74
7675 | 2022-05-17 16:17 | 22.0054 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.7944 | μmol/L | 18.7111 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.485 | 76190.9417 | 265930.2172 | 26.25 | 74
7685 | 2022-05-17 16:17 | 22.3392 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.394 | μmol/L | 18.705 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.504 | 76249.196 | 265925.6435 | 26.25 | 74
7695 | 2022-05-17 16:17 | 22.6719 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.6566 | μmol/L | 18.705 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.535 | 76340.9015 | 265936.4851 | 26.25 | 74
7705 | 2022-05-17 16:18 | 23.0059 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.9926 | μmol/L | 18.705 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.563 | 76471.8355 | 265922.6742 | 26.25 | 74
7715 | 2022-05-17 16:18 | 23.3388 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.189 | μmol/L | 18.705 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.597 | 76605.47 | 265940.4649 | 26.25 | 74
7725 | 2022-05-17 16:18 | 23.6722 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.6521 | μmol/L | 18.699 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.622 | 76682.665 | 265933.2854 | 26.25 | 74
7735 | 2022-05-17 16:19 | 24.0057 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.4404 | μmol/L | 18.699 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.631 | 76715.8788 | 265927.4385 | 26.25 | 74
7745 | 2022-05-17 16:19 | 24.3392 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.8952 | μmol/L | 18.705 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.652 | 76790.5588 | 265935.4043 | 26.25 | 74
7755 | 2022-05-17 16:19 | 24.672 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.83 | μmol/L | 18.699 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.657 | 76815.5115 | 265924.4142 | 26.25 | 74
7765 | 2022-05-17 16:20 | 25.0054 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.9289 | μmol/L | 18.6929 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.655 | 76779.4132 | 265941.1438 | 26.25 | 74
7775 | 2022-05-17 16:20 | 25.3387 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.4369 | μmol/L | 18.6929 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.676 | 76854.8819 | 265925.9837 | 26.25 | 74
7785 | 2022-05-17 16:20 | 25.6725 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.2264 | μmol/L | 18.6929 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.685 | 76897.459 | 265920.5399 | 26.25 | 74
7795 | 2022-05-17 16:21 | 26.0057 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.7359 | μmol/L | 18.6929 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.706 | 76961.5205 | 265929.5694 | 26.25 | 74
7805 | 2022-05-17 16:21 | 26.3391 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.4276 | μmol/L | 18.699 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.717 | 77011.0941 | 265929.6815 | 26.25 | 74
7815 | 2022-05-17 16:21 | 26.6727 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.5079 | μmol/L | 18.6868 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.718 | 77000.3014 | 265941.545 | 26.25 | 74
7825 | 2022-05-17 16:22 | 27.0058 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.3553 | μmol/L | 18.6746 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.729 | 77023.1455 | 265940.1367 | 26.25 | 74
7835 | 2022-05-17 16:22 | 27.3391 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.8915 | μmol/L | 18.6746 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.706 | 76910.4372 | 265932.7537 | 26.25 | 74
7845 | 2022-05-17 16:22 | 27.6719 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.3069 | μmol/L | 18.6807 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.686 | 76860.5816 | 265930.9709 | 26.25 | 74
7855 | 2022-05-17 16:23 | 28.0055 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.9797 | μmol/L | 18.6807 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.7 | 76898.3631 | 265927.1686 | 26.25 | 74
7865 | 2022-05-17 16:23 | 28.3391 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.6401 | μmol/L | 18.6685 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.719 | 76962.2365 | 265936.2549 | 26.25 | 74
7875 | 2022-05-17 16:23 | 28.6721 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.4304 | μmol/L | 18.6685 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.728 | 76983.1761 | 265940.5585 | 26.25 | 74
7885 | 2022-05-17 16:24 | 29.0052 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.5288 | μmol/L | 18.6624 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.726 | 76994.5964 | 265950.4281 | 26.25 | 74
7895 | 2022-05-17 16:24 | 29.3386 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.2208 | μmol/L | 18.6685 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.737 | 77005.7229 | 265930.4596 | 26.25 | 74
7905 | 2022-05-17 16:24 | 29.6723 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.9883 | μmol/L | 18.6685 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.747 | 77048.1882 | 265934.1838 | 26.25 | 74
7915 | 2022-05-17 16:25 | 30.0058 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.0167 | μmol/L | 18.6624 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.748 | 77060.9166 | 265945.9827 | 26.25 | 74
7925 | 2022-05-17 16:25 | 30.3386 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.0452 | μmol/L | 18.6563 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.749 | 77061.2219 | 265939.0928 | 26.25 | 74
7935 | 2022-05-17 16:25 | 30.6722 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.702 | μmol/L | 18.6502 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.766 | 77111.8107 | 265932.2622 | 26.25 | 74
7945 | 2022-05-17 16:26 | 31.0054 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.2204 | μmol/L | 18.6441 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.789 | 77207.6247 | 265939.5074 | 26.25 | 74
7955 | 2022-05-17 16:26 | 31.3389 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.8396 | μmol/L | 18.6563 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.801 | 77237.8144 | 265931.8032 | 26.25 | 74
7965 | 2022-05-17 16:26 | 31.6724 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.1509 | μmol/L | 18.6441 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.792 | 77211.6344 | 265940.0365 | 26.25 | 74
7975 | 2022-05-17 16:27 | 32.006 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.0121 | μmol/L | 18.6441 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.798 | 77215.1095 | 265939.8363 | 26.25 | 74
7985 | 2022-05-17 16:27 | 32.3388 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.9942 | μmol/L | 18.638 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.801 | 77229.8505 | 265938.8242 | 26.25 | 74
7995 | 2022-05-17 16:27 | 32.6725 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.827 | μmol/L | 18.6441 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.806 | 77261.3022 | 265919.242 | 26.25 | 74
8005 | 2022-05-17 16:28 | 33.0058 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.4344 | μmol/L | 18.6441 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.823 | 77328.1552 | 265938.5388 | 26.25 | 74
8015 | 2022-05-17 16:28 | 33.3393 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.209 | μmol/L | 18.638 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.835 | 77378.4692 | 265936.9345 | 26.25 | 74
8025 | 2022-05-17 16:28 | 33.672 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.6335 | μmol/L | 18.638 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.86 | 77458.4393 | 265931.3983 | 26.25 | 74
8035 | 2022-05-17 16:29 | 34.0055 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.0366 | μmol/L | 18.638 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.886 | 77549.409 | 265935.8925 | 26.25 | 74
8045 | 2022-05-17 16:29 | 34.3388 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.487 | μmol/L | 18.638 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.91 | 77643.1321 | 265929.3727 | 26.25 | 74
8055 | 2022-05-17 16:29 | 34.6724 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.0354 | μmol/L | 18.6319 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.932 | 77722.676 | 265937.6843 | 26.25 | 74
8065 | 2022-05-17 16:30 | 35.0057 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.6706 | μmol/L | 18.6319 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.948 | 77777.0166 | 265929.5693 | 26.25 | 74
8075 | 2022-05-17 16:30 | 35.3392 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.2208 | μmol/L | 18.6258 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.97 | 77842.9024 | 265923.3503 | 26.25 | 74
8085 | 2022-05-17 16:30 | 35.6722 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.9708 | μmol/L | 18.6258 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.981 | 77895.7854 | 265925.6544 | 26.25 | 74
8095 | 2022-05-17 16:31 | 36.0057 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.6024 | μmol/L | 18.6319 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.995 | 77944.2944 | 265926.2257 | 26.25 | 74
8105 | 2022-05-17 16:31 | 36.3391 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.3984 | μmol/L | 18.6319 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.004 | 77996.6148 | 265920.1334 | 26.25 | 74
8115 | 2022-05-17 16:31 | 36.6725 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.2001 | μmol/L | 18.6258 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.015 | 78015.1374 | 265927.6104 | 26.25 | 74
8125 | 2022-05-17 16:32 | 37.0059 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.9739 | μmol/L | 18.6258 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.025 | 78031.4129 | 265932.4134 | 26.25 | 74
8135 | 2022-05-17 16:32 | 37.3386 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.9794 | μmol/L | 18.6198 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.027 | 78060.651 | 265914.5217 | 26.25 | 74
8145 | 2022-05-17 16:32 | 37.6722 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.7029 | μmol/L | 18.6258 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.037 | 78065.5023 | 265921.8253 | 26.25 | 74
8155 | 2022-05-17 16:33 | 38.0059 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.59 | μmol/L | 18.6258 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.042 | 78075.9839 | 265901.2365 | 26.25 | 74
8165 | 2022-05-17 16:33 | 38.3393 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.1904 | μmol/L | 18.6441 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.053 | 78110.1814 | 265908.4495 | 26.25 | 74
8175 | 2022-05-17 16:33 | 38.6721 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.0608 | μmol/L | 18.638 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.061 | 78126.1258 | 265906.8423 | 26.25 | 74
8185 | 2022-05-17 16:34 | 39.0056 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.9987 | μmol/L | 18.6319 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.066 | 78153.0677 | 265896.8983 | 26.25 | 74
8195 | 2022-05-17 16:34 | 39.3393 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.9475 | μmol/L | 18.6137 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.075 | 78199.3817 | 265903.4172 | 26.25 | 74
8205 | 2022-05-17 16:34 | 39.6721 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.857 | μmol/L | 18.5893 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.088 | 78245.3536 | 265912.2281 | 26.25 | 74
8215 | 2022-05-17 16:35 | 40.0057 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.5989 | μmol/L | 18.6015 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.095 | 78271.2094 | 265901.725 | 26.25 | 74
8225 | 2022-05-17 16:35 | 40.3387 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.201 | μmol/L | 18.6198 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.106 | 78315.6428 | 265901.7667 | 26.25 | 74
8235 | 2022-05-17 16:35 | 40.6724 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.5409 | μmol/L | 18.6319 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.131 | 78393.2685 | 265894.0039 | 26.25 | 74
8245 | 2022-05-17 16:36 | 41.0054 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.927 | μmol/L | 18.6198 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.163 | 78499.4598 | 265893.2103 | 26.25 | 74
8255 | 2022-05-17 16:36 | 41.339 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.4093 | μmol/L | 18.6015 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.193 | 78617.2054 | 265885.996 | 26.25 | 74
8265 | 2022-05-17 16:36 | 41.6722 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 263.9542 | μmol/L | 18.6137 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.209 | 78724.2146 | 265886.636 | 26.25 | 74
8275 | 2022-05-17 16:37 | 42.0056 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 263.135 | μmol/L | 18.6137 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.246 | 78837.1531 | 265888.9076 | 26.25 | 74
8285 | 2022-05-17 16:37 | 42.3391 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 262.5888 | μmol/L | 18.6076 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.273 | 78919.1289 | 265879.6706 | 26.25 | 74
8295 | 2022-05-17 16:37 | 42.6721 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 262.3574 | μmol/L | 18.6198 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.279 | 78976.8333 | 265873.019 | 26.25 | 74
8305 | 2022-05-17 16:38 | 43.0057 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 262.3465 | μmol/L | 18.6076 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.284 | 78964.7159 | 265887.7974 | 26.25 | 74
8315 | 2022-05-17 16:38 | 43.3393 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 262.87 | μmol/L | 18.6137 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.258 | 78854.9936 | 265887.0839 | 26.25 | 74
8325 | 2022-05-17 16:38 | 43.6722 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 263.666 | μmol/L | 18.6137 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.222 | 78696.808 | 265889.2764 | 26.25 | 74
8335 | 2022-05-17 16:39 | 44.0052 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.4649 | μmol/L | 18.5893 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.195 | 78612.4697 | 265881.257 | 26.25 | 74
8345 | 2022-05-17 16:39 | 44.3388 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.5594 | μmol/L | 18.5832 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.193 | 78577.7872 | 265889.0505 | 26.25 | 74
8355 | 2022-05-17 16:39 | 44.6726 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.5149 | μmol/L | 18.5832 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.195 | 78595.0686 | 265870.0769 | 26.25 | 74
8365 | 2022-05-17 16:40 | 45.0058 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.3982 | μmol/L | 18.5893 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.198 | 78595.9635 | 265872.8211 | 26.25 | 74
8375 | 2022-05-17 16:40 | 45.3389 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.4593 | μmol/L | 18.5954 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.193 | 78575.3762 | 265867.24 | 26.25 | 74
8385 | 2022-05-17 16:40 | 45.6723 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.8153 | μmol/L | 18.571 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.186 | 78568.885 | 265873.0804 | 26.25 | 74
8395 | 2022-05-17 16:41 | 46.0059 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.5371 | μmol/L | 18.5832 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.194 | 78584.075 | 265866.1816 | 26.25 | 74
8405 | 2022-05-17 16:41 | 46.3386 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.3205 | μmol/L | 18.6015 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.197 | 78574.7848 | 265865.1526 | 26.25 | 74
8415 | 2022-05-17 16:41 | 46.6723 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.7876 | μmol/L | 18.6015 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.176 | 78512.7739 | 265867.6511 | 26.25 | 74
8425 | 2022-05-17 16:42 | 47.0057 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.8767 | μmol/L | 18.6015 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.172 | 78481.3784 | 265875.3858 | 26.25 | 74
8435 | 2022-05-17 16:42 | 47.3392 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.9936 | μmol/L | 18.5954 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.169 | 78465.5463 | 265858.6943 | 26.25 | 74
8445 | 2022-05-17 16:42 | 47.672 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.1106 | μmol/L | 18.5893 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.166 | 78451.5354 | 265849.9308 | 26.25 | 74
8455 | 2022-05-17 16:43 | 48.0054 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.2389 | μmol/L | 18.5954 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.158 | 78410.1126 | 265852.1 | 26.25 | 74
8465 | 2022-05-17 16:43 | 48.3391 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.557 | μmol/L | 18.5893 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.146 | 78381.7731 | 265844.783 | 26.25 | 74
8475 | 2022-05-17 16:43 | 48.6724 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.7916 | μmol/L | 18.5771 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.14 | 78355.3257 | 265858.9093 | 26.25 | 74
8485 | 2022-05-17 16:44 | 49.0055 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.7245 | μmol/L | 18.5771 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.143 | 78352.4442 | 265853.549 | 26.25 | 74
8495 | 2022-05-17 16:44 | 49.3388 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.5123 | μmol/L | 18.5893 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.148 | 78346.9943 | 265833.6424 | 26.25 | 74
8505 | 2022-05-17 16:44 | 49.672 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.7022 | μmol/L | 18.5771 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.144 | 78327.3635 | 265840.535 | 26.25 | 74
8515 | 2022-05-17 16:45 | 50.0059 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.8867 | μmol/L | 18.571 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.138 | 78300.3948 | 265848.4211 | 26.25 | 74
8524 | 2022-05-17 16:45 | 50.3389 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.9035 | μmol/L | 18.5771 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.135 | 78290.3662 | 265838.885 | 26.25 | 74
8530 | 2022-05-17 16:45 | 50.672 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.105 | μmol/L | 18.5771 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.126 | 78254.2595 | 265845.5316 | 26.25 | 74