## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_1 | O2 | 173180888 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:46

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 14:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
3584 | 2022-05-17 13:13 | 0 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 282.7237 | μmol/L | 17.935 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.403 | 137476.2787 | 272097.6133 | 33.25 | 75.7
3594 | 2022-05-17 13:13 | 0.32819 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.9268 | μmol/L | 17.935 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.436 | 137721.9451 | 272107.1675 | 33.25 | 75.7
3604 | 2022-05-17 13:14 | 0.66159 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.0789 | μmol/L | 17.9411 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.469 | 137946.5453 | 272093.6473 | 33.25 | 75.7
3614 | 2022-05-17 13:14 | 0.99519 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.9646 | μmol/L | 17.935 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.476 | 138016.5904 | 272073.3906 | 33.25 | 75.7
3624 | 2022-05-17 13:14 | 1.3286 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.9223 | μmol/L | 17.9288 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.48 | 138010.3958 | 272058.3901 | 33.25 | 75.7
3634 | 2022-05-17 13:15 | 1.662 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.3892 | μmol/L | 17.935 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.5 | 138156.6946 | 272044.718 | 33.25 | 75.7
3644 | 2022-05-17 13:15 | 1.9955 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.9703 | μmol/L | 17.9227 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.522 | 138320.6349 | 272025.2013 | 33.25 | 75.7
3654 | 2022-05-17 13:15 | 2.3289 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.5167 | μmol/L | 17.9227 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.541 | 138448.5586 | 272014.6407 | 33.25 | 75.7
3664 | 2022-05-17 13:16 | 2.6622 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.6599 | μmol/L | 17.9227 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.535 | 138382.7798 | 271992.2151 | 33.25 | 75.7
3674 | 2022-05-17 13:16 | 2.9948 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.1195 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.518 | 138267.8699 | 271979.1932 | 33.25 | 75.7
3684 | 2022-05-17 13:16 | 3.3288 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.305 | μmol/L | 17.9227 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.508 | 138188.1027 | 271973.2689 | 33.25 | 75.7
3694 | 2022-05-17 13:17 | 3.6621 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.4008 | μmol/L | 17.9227 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.504 | 138140.7906 | 271949.6397 | 33.25 | 75.7
3704 | 2022-05-17 13:17 | 3.9955 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.2217 | μmol/L | 17.935 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.507 | 138155.0899 | 271934.0133 | 33.25 | 75.7
3714 | 2022-05-17 13:17 | 4.3281 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.5147 | μmol/L | 17.9288 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.497 | 138080.6612 | 271924.0497 | 33.25 | 75.7
3724 | 2022-05-17 13:18 | 4.6614 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.8743 | μmol/L | 17.9288 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.482 | 137956.7637 | 271907.6973 | 33.25 | 75.7
3734 | 2022-05-17 13:18 | 4.9955 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.3547 | μmol/L | 17.9288 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.462 | 137814.6631 | 271894.4954 | 33.25 | 75.7
3744 | 2022-05-17 13:18 | 5.3289 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.4268 | μmol/L | 17.9288 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.459 | 137795.899 | 271886.1926 | 33.25 | 75.7
3754 | 2022-05-17 13:19 | 5.6622 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.1442 | μmol/L | 17.9227 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.473 | 137859.033 | 271864.8391 | 33.25 | 75.7
3764 | 2022-05-17 13:19 | 5.9955 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.9579 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.483 | 137938.6148 | 271835.6192 | 33.25 | 75.7
3774 | 2022-05-17 13:19 | 6.3281 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.6882 | μmol/L | 17.9227 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.492 | 137997.9825 | 271824.1015 | 33.25 | 75.7
3784 | 2022-05-17 13:20 | 6.6615 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.3529 | μmol/L | 17.9227 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.506 | 138080.9495 | 271816.8656 | 33.25 | 75.7
3794 | 2022-05-17 13:20 | 6.995 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.1557 | μmol/L | 17.9288 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.512 | 138124.9471 | 271789.5742 | 33.25 | 75.7
3804 | 2022-05-17 13:20 | 7.3284 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.1673 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.516 | 138144.9834 | 271779.4192 | 33.25 | 75.7
3814 | 2022-05-17 13:21 | 7.6618 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.1137 | μmol/L | 17.9227 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.516 | 138124.3498 | 271769.6223 | 33.25 | 75.7
3824 | 2022-05-17 13:21 | 7.9952 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.2151 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.514 | 138098.0694 | 271752.2049 | 33.25 | 75.7
3834 | 2022-05-17 13:21 | 8.3285 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.2391 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.513 | 138069.402 | 271738.7508 | 33.25 | 75.7
3844 | 2022-05-17 13:22 | 8.6619 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.2209 | μmol/L | 17.9104 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.516 | 138098.0791 | 271723.2695 | 33.25 | 75.7
3854 | 2022-05-17 13:22 | 8.9952 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.8328 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.53 | 138181.3945 | 271708.1207 | 33.25 | 75.7
3864 | 2022-05-17 13:22 | 9.3285 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.5464 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.542 | 138249.6297 | 271698.6413 | 33.25 | 75.7
3874 | 2022-05-17 13:23 | 9.6621 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.5045 | μmol/L | 17.9104 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.546 | 138291.1729 | 271675.6454 | 33.25 | 75.7
3884 | 2022-05-17 13:23 | 9.9948 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.3139 | μmol/L | 17.9104 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.554 | 138330.2387 | 271668.6581 | 33.25 | 75.7
3894 | 2022-05-17 13:23 | 10.3283 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.1948 | μmol/L | 17.9104 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.559 | 138351.9664 | 271648.6154 | 33.25 | 75.7
3904 | 2022-05-17 13:24 | 10.6617 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.0996 | μmol/L | 17.9104 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.563 | 138369.9034 | 271629.1599 | 33.25 | 75.7
3914 | 2022-05-17 13:24 | 10.9953 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.9034 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.569 | 138389.6426 | 271611.3801 | 33.25 | 75.7
3924 | 2022-05-17 13:24 | 11.3287 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.8142 | μmol/L | 17.9104 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.575 | 138436.5855 | 271608.2456 | 33.25 | 75.7
3934 | 2022-05-17 13:25 | 11.6621 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.4046 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.59 | 138494.3838 | 271600.9939 | 33.25 | 75.7
3944 | 2022-05-17 13:25 | 11.9948 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.1675 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.6 | 138567.7006 | 271577.8206 | 33.25 | 75.7
3954 | 2022-05-17 13:25 | 12.3282 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.2445 | μmol/L | 17.9104 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.599 | 138586.0283 | 271571.9204 | 33.25 | 75.7
3964 | 2022-05-17 13:26 | 12.6616 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.0549 | μmol/L | 17.9104 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.607 | 138612.8078 | 271552.0993 | 33.25 | 75.7
3974 | 2022-05-17 13:26 | 12.995 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.8596 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.613 | 138668.7595 | 271542.9661 | 33.25 | 75.7
3984 | 2022-05-17 13:26 | 13.3283 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.623 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.623 | 138728.6262 | 271530.4804 | 33.25 | 75.7
3994 | 2022-05-17 13:27 | 13.6617 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.4399 | μmol/L | 17.9104 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.633 | 138773.5839 | 271530.151 | 33.25 | 75.7
4004 | 2022-05-17 13:27 | 13.995 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.2215 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.64 | 138796.6233 | 271529.1489 | 33.25 | 75.7
4014 | 2022-05-17 13:27 | 14.3285 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.1684 | μmol/L | 17.9227 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.64 | 138822.34 | 271517.3259 | 33.25 | 75.7
4024 | 2022-05-17 13:28 | 14.6621 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.1035 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.645 | 138831.123 | 271512.4579 | 33.25 | 75.7
4034 | 2022-05-17 13:28 | 14.9954 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.1566 | μmol/L | 17.9104 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.645 | 138865.6457 | 271511.3249 | 33.25 | 75.7
4044 | 2022-05-17 13:28 | 15.3282 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.1861 | μmol/L | 17.9043 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.646 | 138879.3727 | 271499.7297 | 33.25 | 75.7
4054 | 2022-05-17 13:29 | 15.6616 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.0564 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.647 | 138859.4607 | 271492.5873 | 33.25 | 75.7
4064 | 2022-05-17 13:29 | 15.995 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.0092 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.649 | 138855.269 | 271479.8723 | 33.25 | 75.7
4074 | 2022-05-17 13:29 | 16.3284 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.8913 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.654 | 138873.7762 | 271476.8618 | 33.25 | 75.7
4084 | 2022-05-17 13:30 | 16.6617 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.8619 | μmol/L | 17.9227 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.653 | 138862.2163 | 271458.7388 | 33.25 | 75.7
4094 | 2022-05-17 13:30 | 16.9952 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.8678 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.655 | 138880.0061 | 271455.3701 | 33.25 | 75.7
4104 | 2022-05-17 13:30 | 17.3285 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.697 | μmol/L | 17.9227 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.66 | 138901.3482 | 271452.4157 | 33.25 | 75.7
4114 | 2022-05-17 13:31 | 17.6619 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.803 | μmol/L | 17.9104 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.66 | 138897.7842 | 271445.4387 | 33.25 | 75.7
4124 | 2022-05-17 13:31 | 17.9954 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.8501 | μmol/L | 17.9104 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.658 | 138873.0713 | 271439.1695 | 33.25 | 75.7
4134 | 2022-05-17 13:31 | 18.3288 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.7912 | μmol/L | 17.9227 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.656 | 138869.8192 | 271418.5618 | 33.25 | 75.7
4144 | 2022-05-17 13:32 | 18.6622 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.8442 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.656 | 138863.3979 | 271416.6103 | 33.25 | 75.7
4154 | 2022-05-17 13:32 | 18.9949 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.7735 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.659 | 138858.1154 | 271391.2401 | 33.25 | 75.7
4164 | 2022-05-17 13:32 | 19.3282 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.6091 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.668 | 138901.9036 | 271396.1991 | 33.25 | 75.7
4174 | 2022-05-17 13:33 | 19.6615 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.3441 | μmol/L | 17.9227 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.675 | 138954.6619 | 271378.387 | 33.25 | 75.7
4184 | 2022-05-17 13:33 | 19.9949 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.3265 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.678 | 138997.6784 | 271376.8197 | 33.25 | 75.7
4194 | 2022-05-17 13:33 | 20.3289 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.092 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.69 | 139043.46 | 271373.6901 | 33.25 | 75.7
4204 | 2022-05-17 13:34 | 20.6615 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.8983 | μmol/L | 17.9166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.696 | 139109.8283 | 271353.086 | 33.25 | 75.7
4214 | 2022-05-17 13:34 | 20.9951 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.6404 | μmol/L | 17.9166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.707 | 139153.2561 | 271353.9821 | 33.25 | 75.7
4224 | 2022-05-17 13:34 | 21.3285 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.4296 | μmol/L | 17.9166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.716 | 139204.9786 | 271335.6192 | 33.25 | 75.7
4234 | 2022-05-17 13:35 | 21.662 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.2424 | μmol/L | 17.9166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.724 | 139241.1699 | 271343.8944 | 33.25 | 75.7
4244 | 2022-05-17 13:35 | 21.9955 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.2718 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.725 | 139288.137 | 271323.1723 | 33.25 | 75.7
4254 | 2022-05-17 13:35 | 22.3289 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.0788 | μmol/L | 17.9166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.731 | 139327.3842 | 271324.2757 | 33.25 | 75.7
4264 | 2022-05-17 13:36 | 22.6615 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.9152 | μmol/L | 17.9166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.738 | 139347.7451 | 271321.8028 | 33.25 | 75.7
4274 | 2022-05-17 13:36 | 22.9949 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.0554 | μmol/L | 17.9166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.732 | 139307.7707 | 271301.7464 | 33.25 | 75.7
4284 | 2022-05-17 13:36 | 23.3285 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.0028 | μmol/L | 17.9227 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.732 | 139295.0825 | 271306.316 | 33.25 | 75.7
4294 | 2022-05-17 13:37 | 23.662 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.1489 | μmol/L | 17.9166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.728 | 139277.3296 | 271293.8362 | 33.25 | 75.7
4304 | 2022-05-17 13:37 | 23.9953 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.1544 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.728 | 139262.1637 | 271282.9091 | 33.25 | 75.7
4314 | 2022-05-17 13:37 | 24.3287 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.2713 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.723 | 139246.8006 | 271283.5365 | 33.25 | 75.7
4324 | 2022-05-17 13:38 | 24.6621 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.055 | μmol/L | 17.9227 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.73 | 139255.0063 | 271270.224 | 33.25 | 75.7
4334 | 2022-05-17 13:38 | 24.9948 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.1369 | μmol/L | 17.9104 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.731 | 139273.0885 | 271264.7225 | 33.25 | 75.7
4344 | 2022-05-17 13:38 | 25.3282 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.1076 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.73 | 139271.2853 | 271255.6294 | 33.25 | 75.7
4354 | 2022-05-17 13:39 | 25.6616 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.1136 | μmol/L | 17.9104 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.732 | 139277.9404 | 271265.4588 | 33.25 | 75.7
4364 | 2022-05-17 13:39 | 25.995 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.0027 | μmol/L | 17.9043 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.739 | 139323.8518 | 271249.0284 | 33.25 | 75.7
4374 | 2022-05-17 13:39 | 26.3284 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.874 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.74 | 139302.7009 | 271239.0174 | 33.25 | 75.7
4384 | 2022-05-17 13:40 | 26.6617 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.6466 | μmol/L | 17.9104 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.752 | 139381.5258 | 271243.8809 | 33.25 | 75.7
4394 | 2022-05-17 13:40 | 26.9951 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.6932 | μmol/L | 17.9104 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.75 | 139385.7989 | 271230.9677 | 33.25 | 75.7
4404 | 2022-05-17 13:40 | 27.3286 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.8099 | μmol/L | 17.9104 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.745 | 139337.4578 | 271226.3592 | 33.25 | 75.7
4414 | 2022-05-17 13:41 | 27.662 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.1136 | μmol/L | 17.9104 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.732 | 139244.4897 | 271214.9717 | 33.25 | 75.7
4424 | 2022-05-17 13:41 | 27.9954 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.5113 | μmol/L | 17.9104 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.715 | 139111.2896 | 271201.5428 | 33.25 | 75.7
4434 | 2022-05-17 13:41 | 28.3288 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.9097 | μmol/L | 17.9104 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.698 | 139001.1345 | 271193.464 | 33.25 | 75.7
4444 | 2022-05-17 13:42 | 28.6622 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.1855 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.684 | 138918.9955 | 271183.6292 | 33.25 | 75.7
4454 | 2022-05-17 13:42 | 28.9956 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.2736 | μmol/L | 17.9227 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.678 | 138830.7651 | 271171.2999 | 33.25 | 75.7
4464 | 2022-05-17 13:42 | 29.3281 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.6558 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.664 | 138738.8286 | 271181.2662 | 33.25 | 75.7
4474 | 2022-05-17 13:43 | 29.6616 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.0328 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.648 | 138620.0427 | 271188.3356 | 33.25 | 75.7
4484 | 2022-05-17 13:43 | 29.9949 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.9444 | μmol/L | 17.9104 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.654 | 138660.7537 | 271175.5945 | 33.25 | 75.7
4494 | 2022-05-17 13:43 | 30.3281 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.6441 | μmol/L | 17.9043 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.669 | 138789.4577 | 271164.4512 | 33.25 | 75.7
4504 | 2022-05-17 13:44 | 30.6614 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.2854 | μmol/L | 17.9104 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.682 | 138869.5117 | 271149.2805 | 33.25 | 75.7
4514 | 2022-05-17 13:44 | 30.9948 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.074 | μmol/L | 17.9104 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.691 | 138902.8 | 271148.1217 | 33.25 | 75.7
4524 | 2022-05-17 13:44 | 31.3283 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.9332 | μmol/L | 17.9104 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.697 | 138961.1816 | 271133.579 | 33.25 | 75.7
4534 | 2022-05-17 13:45 | 31.6618 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.7221 | μmol/L | 17.9104 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.706 | 139015.598 | 271130.4393 | 33.25 | 75.7
4544 | 2022-05-17 13:45 | 31.9951 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.6109 | μmol/L | 17.9043 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.713 | 139057.3515 | 271124.3574 | 33.25 | 75.7
4554 | 2022-05-17 13:45 | 32.3286 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.3185 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.723 | 139126.2828 | 271123.5245 | 33.25 | 75.7
4564 | 2022-05-17 13:46 | 32.6619 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.7985 | μmol/L | 17.9166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.743 | 139211.6073 | 271110.8726 | 33.25 | 75.7
4574 | 2022-05-17 13:46 | 32.9954 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.7344 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.748 | 139275.1767 | 271105.054 | 33.25 | 75.7
4584 | 2022-05-17 13:46 | 33.3281 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.2682 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.768 | 139387.8814 | 271100.2746 | 33.25 | 75.7
4594 | 2022-05-17 13:47 | 33.6615 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 273.8262 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.787 | 139549.1713 | 271096.0854 | 33.25 | 75.7
4604 | 2022-05-17 13:47 | 33.995 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 273.0488 | μmol/L | 17.9227 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.816 | 139708.7004 | 271092.8317 | 33.25 | 75.7
4614 | 2022-05-17 13:47 | 34.3285 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 272.8061 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.831 | 139829.7006 | 271098.2696 | 33.25 | 75.7
4624 | 2022-05-17 13:48 | 34.6617 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 272.4073 | μmol/L | 17.9166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.846 | 139941.3597 | 271086.8613 | 33.25 | 75.7
4634 | 2022-05-17 13:48 | 34.9953 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 272.0612 | μmol/L | 17.9166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.861 | 140022.0373 | 271070.839 | 33.25 | 75.7
4644 | 2022-05-17 13:48 | 35.3286 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.9059 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.87 | 140084.7868 | 271058.4316 | 33.25 | 75.7
4654 | 2022-05-17 13:49 | 35.662 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.7387 | μmol/L | 17.9166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.875 | 140155.5162 | 271059.9563 | 33.25 | 75.7
4664 | 2022-05-17 13:49 | 35.9955 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.5146 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.887 | 140208.6026 | 271040.1556 | 33.25 | 75.7
4674 | 2022-05-17 13:49 | 36.3288 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.2389 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.899 | 140262.692 | 271054.9368 | 33.25 | 75.7
4684 | 2022-05-17 13:50 | 36.6614 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.0612 | μmol/L | 17.9043 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.909 | 140316.2736 | 271045.8194 | 33.25 | 75.7
4694 | 2022-05-17 13:50 | 36.9948 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.7053 | μmol/L | 17.9166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.92 | 140408.2621 | 271048.0836 | 33.25 | 75.7
4704 | 2022-05-17 13:50 | 37.3281 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.5739 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.928 | 140475.1511 | 271048.8809 | 33.25 | 75.7
4714 | 2022-05-17 13:51 | 37.6616 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.4884 | μmol/L | 17.9043 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.934 | 140524.3046 | 271044.4201 | 33.25 | 75.7
4724 | 2022-05-17 13:51 | 37.995 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.2536 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.942 | 140564.4206 | 271032.7448 | 33.25 | 75.7
4734 | 2022-05-17 13:51 | 38.3285 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.2825 | μmol/L | 17.9043 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.943 | 140586.7697 | 271008.6487 | 33.25 | 75.7
4744 | 2022-05-17 13:52 | 38.662 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.2307 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.943 | 140580.7798 | 271018.9682 | 33.25 | 75.7
4754 | 2022-05-17 13:52 | 38.9954 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.3054 | μmol/L | 17.9043 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.942 | 140565.704 | 271003.2924 | 33.25 | 75.7
4764 | 2022-05-17 13:52 | 39.3282 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.185 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.945 | 140596.3006 | 271008.9137 | 33.25 | 75.7
4774 | 2022-05-17 13:53 | 39.6616 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.1225 | μmol/L | 17.9043 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.95 | 140614.3882 | 270972.8117 | 33.25 | 75.7
4784 | 2022-05-17 13:53 | 39.995 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.9398 | μmol/L | 17.9043 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.958 | 140663.8005 | 270974.4222 | 33.25 | 75.7
4794 | 2022-05-17 13:53 | 40.3284 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.8425 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.96 | 140673.9347 | 270975.4133 | 33.25 | 75.7
4804 | 2022-05-17 13:54 | 40.6617 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.9338 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.956 | 140624.5887 | 270965.3094 | 33.25 | 75.7
4814 | 2022-05-17 13:54 | 40.9949 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.1622 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.946 | 140565.0081 | 270955.8964 | 33.25 | 75.7
4824 | 2022-05-17 13:54 | 41.3286 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.2704 | μmol/L | 17.9166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.939 | 140501.7712 | 270959.601 | 33.25 | 75.7
4834 | 2022-05-17 13:55 | 41.6622 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.3848 | μmol/L | 17.9166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.934 | 140460.8997 | 270942.3827 | 33.25 | 75.7
4844 | 2022-05-17 13:55 | 41.9955 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.4366 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.934 | 140445.2304 | 270945.4499 | 33.25 | 75.7
4854 | 2022-05-17 13:55 | 42.3283 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.4823 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.932 | 140428.2586 | 270925.6877 | 33.25 | 75.7
4864 | 2022-05-17 13:56 | 42.662 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.551 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.929 | 140417.4192 | 270914.1484 | 33.25 | 75.7
4874 | 2022-05-17 13:56 | 42.9955 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.5052 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.931 | 140402.0835 | 270905.3126 | 33.25 | 75.7
4884 | 2022-05-17 13:56 | 43.3289 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.5968 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.927 | 140395.4259 | 270907.6477 | 33.25 | 75.7
4894 | 2022-05-17 13:57 | 43.6614 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.4992 | μmol/L | 17.9166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.929 | 140392.8353 | 270895.3056 | 33.25 | 75.7
4904 | 2022-05-17 13:57 | 43.9948 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.5739 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.928 | 140372.2148 | 270884.2501 | 33.25 | 75.7
4914 | 2022-05-17 13:57 | 44.3283 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.7173 | μmol/L | 17.9043 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.924 | 140362.1801 | 270878.8584 | 33.25 | 75.7
4924 | 2022-05-17 13:58 | 44.6617 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.6426 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.925 | 140345.3279 | 270870.9658 | 33.25 | 75.7
4934 | 2022-05-17 13:58 | 44.9952 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.6884 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.923 | 140345.1613 | 270867.2654 | 33.25 | 75.7
4944 | 2022-05-17 13:58 | 45.3287 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.5221 | μmol/L | 17.9166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.928 | 140362.9498 | 270847.4409 | 33.25 | 75.7
4954 | 2022-05-17 13:59 | 45.6622 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.4137 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.935 | 140418.2011 | 270853.2117 | 33.25 | 75.7
4964 | 2022-05-17 13:59 | 45.9956 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.0708 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.95 | 140502.8271 | 270835.3824 | 33.25 | 75.7
4974 | 2022-05-17 13:59 | 46.3289 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.7056 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.966 | 140621.4884 | 270833.6053 | 33.25 | 75.7
4984 | 2022-05-17 14:00 | 46.6615 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.244 | μmol/L | 17.9166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.984 | 140729.8854 | 270816.6612 | 33.25 | 75.7
4994 | 2022-05-17 14:00 | 46.9952 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.9998 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.997 | 140817.7179 | 270814.9788 | 33.25 | 75.7
5004 | 2022-05-17 14:00 | 47.3287 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.8635 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.003 | 140855.0152 | 270809.2872 | 33.25 | 75.7
5014 | 2022-05-17 14:01 | 47.6615 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.7727 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.007 | 140857.2453 | 270789.9948 | 33.25 | 75.7
5024 | 2022-05-17 14:01 | 47.9949 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.8347 | μmol/L | 17.9166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.002 | 140833.7988 | 270789.1853 | 33.25 | 75.7
5034 | 2022-05-17 14:01 | 48.3285 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.8347 | μmol/L | 17.9166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.002 | 140811.8653 | 270766.3133 | 33.25 | 75.7
5044 | 2022-05-17 14:02 | 48.662 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.9998 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.997 | 140769.8897 | 270774.5986 | 33.25 | 75.7
5054 | 2022-05-17 14:02 | 48.9955 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.1075 | μmol/L | 17.9166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.99 | 140742.8668 | 270766.9712 | 33.25 | 75.7
5064 | 2022-05-17 14:02 | 49.3281 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.1302 | μmol/L | 17.9166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.989 | 140699.7419 | 270748.981 | 33.25 | 75.7
5074 | 2022-05-17 14:03 | 49.6615 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.25 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.986 | 140694.8483 | 270754.6106 | 33.25 | 75.7
5084 | 2022-05-17 14:03 | 49.9949 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.2667 | μmol/L | 17.9166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.983 | 140672.5705 | 270737.6537 | 33.25 | 75.7
5094 | 2022-05-17 14:03 | 50.3282 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.3183 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.983 | 140654.4063 | 270739.4995 | 33.25 | 75.7
5104 | 2022-05-17 14:04 | 50.6616 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.3183 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.983 | 140670.379 | 270729.4966 | 33.25 | 75.7
5114 | 2022-05-17 14:04 | 50.9951 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.159 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.99 | 140695.4503 | 270727.2005 | 33.25 | 75.7
5124 | 2022-05-17 14:04 | 51.3284 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.062 | μmol/L | 17.9166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.992 | 140727.0378 | 270709.6395 | 33.25 | 75.7
5134 | 2022-05-17 14:05 | 51.6618 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.9771 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.998 | 140751.2642 | 270705.0862 | 33.25 | 75.7
5144 | 2022-05-17 14:05 | 51.9952 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.9089 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.001 | 140774.8464 | 270698.9284 | 33.25 | 75.7
5154 | 2022-05-17 14:05 | 52.3288 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.812 | μmol/L | 17.9166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.003 | 140807.837 | 270696.4552 | 33.25 | 75.7
5164 | 2022-05-17 14:06 | 52.6621 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.6077 | μmol/L | 17.9166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.012 | 140822.2695 | 270703.2153 | 33.25 | 75.7
5174 | 2022-05-17 14:06 | 52.9952 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.5397 | μmol/L | 17.9166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.015 | 140841.2234 | 270679.943 | 33.25 | 75.7
5184 | 2022-05-17 14:06 | 53.3284 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.5457 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.017 | 140871.7277 | 270691.5978 | 33.25 | 75.7
5194 | 2022-05-17 14:07 | 53.6622 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.4036 | μmol/L | 17.9166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.021 | 140882.9908 | 270683.0646 | 33.25 | 75.7
5204 | 2022-05-17 14:07 | 53.9955 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.177 | μmol/L | 17.9166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.031 | 140926.296 | 270683.5458 | 33.25 | 75.7
5214 | 2022-05-17 14:07 | 54.3282 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.0186 | μmol/L | 17.9166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.038 | 140990.6853 | 270668.9916 | 33.25 | 75.7
5224 | 2022-05-17 14:08 | 54.6616 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.8211 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.049 | 141041.5868 | 270669.1311 | 33.25 | 75.7
5234 | 2022-05-17 14:08 | 54.9949 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.6855 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.055 | 141095.8321 | 270663.4211 | 33.25 | 75.7
5244 | 2022-05-17 14:08 | 55.3283 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.5726 | μmol/L | 17.9104 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.06 | 141133.8161 | 270651.9971 | 33.25 | 75.7
5254 | 2022-05-17 14:09 | 55.6616 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.4762 | μmol/L | 17.9166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.062 | 141151.5261 | 270657.0055 | 33.25 | 75.7
5264 | 2022-05-17 14:09 | 55.9954 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.3634 | μmol/L | 17.9166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.067 | 141188.4568 | 270646.448 | 33.25 | 75.7
5274 | 2022-05-17 14:09 | 56.3281 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.2957 | μmol/L | 17.9166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.07 | 141205.0333 | 270629.0705 | 33.25 | 75.7