## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_9 | O2 | 143006660 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 10:00

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 12:53

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
1552 | 2022-05-17 11:44 | 0 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.0664 | μmol/L | 18.0898 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.493 | 112734.6614 | 271005.4929 | 26.25 | 74
1562 | 2022-05-17 11:44 | 0.33502 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.4763 | μmol/L | 18.0715 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.524 | 112991.5148 | 271014.1949 | 26.25 | 74
1572 | 2022-05-17 11:44 | 0.66791 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.385 | μmol/L | 18.0654 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.53 | 113111.5213 | 271014.7923 | 26.25 | 74
1582 | 2022-05-17 11:45 | 1.0015 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.3309 | μmol/L | 18.0715 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.53 | 113152.6756 | 271025.716 | 26.25 | 74
1592 | 2022-05-17 11:45 | 1.3351 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.3309 | μmol/L | 18.0715 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.53 | 113207.8059 | 271017.9751 | 26.25 | 74
1602 | 2022-05-17 11:45 | 1.6681 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.1912 | μmol/L | 18.0654 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.538 | 113300.2141 | 271017.2163 | 26.25 | 74
1612 | 2022-05-17 11:46 | 2.0011 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.2639 | μmol/L | 18.0654 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.535 | 113353.2991 | 270992.0855 | 26.25 | 74
1622 | 2022-05-17 11:46 | 2.3347 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.3551 | μmol/L | 18.0715 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.529 | 113368.6407 | 270994.615 | 26.25 | 74
1632 | 2022-05-17 11:46 | 2.6683 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.2881 | μmol/L | 18.0654 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.534 | 113443.6556 | 270990.2707 | 26.25 | 74
1642 | 2022-05-17 11:47 | 3.0018 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.1186 | μmol/L | 18.0654 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.541 | 113548.8811 | 270992.4697 | 26.25 | 74
1652 | 2022-05-17 11:47 | 3.3344 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 283.6349 | μmol/L | 18.0654 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.561 | 113685.0601 | 270982.8294 | 26.25 | 74
1662 | 2022-05-17 11:47 | 3.6683 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 283.1879 | μmol/L | 18.0533 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.584 | 113871.7516 | 270971.0049 | 26.25 | 74
1672 | 2022-05-17 11:48 | 4.0018 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 282.4178 | μmol/L | 18.0533 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.616 | 114073.7808 | 270958.7629 | 26.25 | 74
1682 | 2022-05-17 11:48 | 4.3346 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 282.2132 | μmol/L | 18.0411 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.629 | 114176.8336 | 270961.4783 | 26.25 | 74
1692 | 2022-05-17 11:48 | 4.6681 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 282.0932 | μmol/L | 18.0411 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.634 | 114258.9664 | 270957.9799 | 26.25 | 74
1702 | 2022-05-17 11:49 | 5.0018 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 281.7643 | μmol/L | 18.0594 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.641 | 114319.8022 | 270942.7102 | 26.25 | 74
1712 | 2022-05-17 11:49 | 5.3345 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 281.6446 | μmol/L | 18.0594 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.646 | 114353.6258 | 270946.3765 | 26.25 | 74
1722 | 2022-05-17 11:49 | 5.6683 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 281.2561 | μmol/L | 18.0654 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.66 | 114493.6692 | 270948.4876 | 26.25 | 74
1732 | 2022-05-17 11:50 | 6.0011 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 281.1366 | μmol/L | 18.0654 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.665 | 114513.6325 | 270934.1644 | 26.25 | 74
1742 | 2022-05-17 11:50 | 6.3347 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.7728 | μmol/L | 18.0715 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.678 | 114627.1361 | 270923.7749 | 26.25 | 74
1752 | 2022-05-17 11:50 | 6.6684 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.3374 | μmol/L | 18.0533 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.703 | 114779.7185 | 270925.3473 | 26.25 | 74
1762 | 2022-05-17 11:51 | 7.0014 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.9748 | μmol/L | 18.0594 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.716 | 114843.7528 | 270914.1149 | 26.25 | 74
1772 | 2022-05-17 11:51 | 7.3347 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.7373 | μmol/L | 18.0594 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.726 | 114925.9958 | 270914.9437 | 26.25 | 74
1782 | 2022-05-17 11:51 | 7.6683 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.5058 | μmol/L | 18.0533 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.738 | 115031.8559 | 270897.8443 | 26.25 | 74
1792 | 2022-05-17 11:52 | 8.001 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.47 | μmol/L | 18.0411 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.744 | 115098.6461 | 270897.0117 | 26.25 | 74
1802 | 2022-05-17 11:52 | 8.3345 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.4226 | μmol/L | 18.0411 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.746 | 115141.5651 | 270891.474 | 26.25 | 74
1812 | 2022-05-17 11:52 | 8.6677 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.3632 | μmol/L | 18.0289 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.753 | 115176.3565 | 270902.0024 | 26.25 | 74
1822 | 2022-05-17 11:53 | 9.0014 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.1086 | μmol/L | 18.0228 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.766 | 115290.5208 | 270895.6075 | 26.25 | 74
1832 | 2022-05-17 11:53 | 9.335 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.1235 | μmol/L | 18.0289 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.848 | 115768.2445 | 270896.252 | 26.25 | 74
1842 | 2022-05-17 11:53 | 9.6686 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.6519 | μmol/L | 18.0167 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.83 | 114882.6221 | 270876.0109 | 26.25 | 74
1852 | 2022-05-17 11:54 | 10.0013 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.5402 | μmol/L | 18.035 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.828 | 114906.3381 | 270876.6178 | 26.25 | 74
1862 | 2022-05-17 11:54 | 10.3352 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.5402 | μmol/L | 18.035 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.828 | 114891.0752 | 270872.4263 | 26.25 | 74
1872 | 2022-05-17 11:54 | 10.668 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.2643 | μmol/L | 18.0289 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.842 | 115578.0725 | 270856.3345 | 26.25 | 74
1882 | 2022-05-17 11:55 | 11.0011 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.2232 | μmol/L | 18.0228 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.846 | 114939.8466 | 270853.4233 | 26.25 | 74
1892 | 2022-05-17 11:55 | 11.3347 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.5227 | μmol/L | 18.0045 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.84 | 114931.8162 | 270846.3855 | 26.25 | 74
1902 | 2022-05-17 11:55 | 11.6683 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.2087 | μmol/L | 18.0045 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.939 | 115565.5617 | 270846.729 | 26.25 | 74
1912 | 2022-05-17 11:56 | 12.0018 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.1438 | μmol/L | 17.9985 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.074 | 116343.5175 | 270836.9078 | 26.25 | 74
1922 | 2022-05-17 11:56 | 12.3344 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.0568 | μmol/L | 18.0045 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.032 | 116113.025 | 270823.484 | 26.25 | 74
1932 | 2022-05-17 11:56 | 12.668 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.1992 | μmol/L | 18.0167 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.978 | 115795.316 | 270810.7612 | 26.25 | 74
1942 | 2022-05-17 11:57 | 13.0017 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.1992 | μmol/L | 18.0167 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.978 | 115815.7261 | 270831.2117 | 26.25 | 74
1952 | 2022-05-17 11:57 | 13.3351 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.8251 | μmol/L | 18.0167 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.951 | 115667.2884 | 270822.4211 | 26.25 | 74
1962 | 2022-05-17 11:57 | 13.6679 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.1444 | μmol/L | 18.0228 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.935 | 115599.5198 | 270809.533 | 26.25 | 74
1972 | 2022-05-17 11:58 | 14.0016 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.6391 | μmol/L | 18.0167 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.916 | 115508.3673 | 270801.9062 | 26.25 | 74
1982 | 2022-05-17 11:58 | 14.3352 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.6158 | μmol/L | 18.0167 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.917 | 115507.9228 | 270798.5167 | 26.25 | 74
1992 | 2022-05-17 11:58 | 14.6681 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.3703 | μmol/L | 18.0167 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.101 | 116596.8509 | 270798.9456 | 26.25 | 74
2002 | 2022-05-17 11:59 | 15.0017 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.7991 | μmol/L | 18.0167 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.17 | 117017.0347 | 270785.754 | 26.25 | 74
2012 | 2022-05-17 11:59 | 15.3344 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.1419 | μmol/L | 18.0167 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.111 | 116648.3417 | 270803.7517 | 26.25 | 74
2022 | 2022-05-17 11:59 | 15.6682 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.407 | μmol/L | 18.0106 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.058 | 116368.4959 | 270793.3745 | 26.25 | 74
2032 | 2022-05-17 12:00 | 16.0012 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.4426 | μmol/L | 18.0106 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.013 | 116085.3364 | 270769.9552 | 26.25 | 74
2042 | 2022-05-17 12:00 | 16.3348 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.0664 | μmol/L | 18.0106 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.986 | 115986.0702 | 270778.2223 | 26.25 | 74
2052 | 2022-05-17 12:00 | 16.6684 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.7829 | μmol/L | 18.0167 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.996 | 116016.8795 | 270765.5798 | 26.25 | 74
2062 | 2022-05-17 12:01 | 17.0012 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.8239 | μmol/L | 17.9924 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.134 | 116833.1729 | 270788.7907 | 26.25 | 74
2072 | 2022-05-17 12:01 | 17.3344 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.5713 | μmol/L | 17.9985 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.099 | 116655.8401 | 270782.4498 | 26.25 | 74
2082 | 2022-05-17 12:01 | 17.668 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.0231 | μmol/L | 18.0045 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.077 | 116541.8327 | 270785.9898 | 26.25 | 74
2092 | 2022-05-17 12:02 | 18.0018 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.2186 | μmol/L | 17.9924 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.073 | 116536.9775 | 270771.3102 | 26.25 | 74
2102 | 2022-05-17 12:02 | 18.3344 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.3075 | μmol/L | 18.0045 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.285 | 117807.6738 | 270759.5515 | 26.25 | 74
2112 | 2022-05-17 12:02 | 18.6679 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.489 | μmol/L | 17.9924 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.237 | 117517.5334 | 270748.6558 | 26.25 | 74
2122 | 2022-05-17 12:03 | 19.0014 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.2179 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.207 | 117322.9332 | 270752.2943 | 26.25 | 74
2132 | 2022-05-17 12:03 | 19.335 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.2898 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.162 | 117109.7473 | 270741.2612 | 26.25 | 74
2142 | 2022-05-17 12:03 | 19.668 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.6417 | μmol/L | 17.9924 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.142 | 116969.8562 | 270739.8079 | 26.25 | 74
2152 | 2022-05-17 12:04 | 20.0017 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.1889 | μmol/L | 17.9924 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.118 | 116824.2623 | 270735.4353 | 26.25 | 74
2162 | 2022-05-17 12:04 | 20.3344 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.6749 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.099 | 116746.9738 | 270726.8284 | 26.25 | 74
2172 | 2022-05-17 12:04 | 20.6682 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.9954 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.085 | 116658.0038 | 270722.819 | 26.25 | 74
2182 | 2022-05-17 12:05 | 21.0018 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.9151 | μmol/L | 17.9924 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.13 | 116962.3241 | 270713.2502 | 26.25 | 74
2192 | 2022-05-17 12:05 | 21.3348 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.3091 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.115 | 116852.0298 | 270705.3461 | 26.25 | 74
2202 | 2022-05-17 12:05 | 21.6684 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.6062 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.102 | 116788.6992 | 270713.5743 | 26.25 | 74
2212 | 2022-05-17 12:06 | 22.0012 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.0473 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.085 | 116728.9346 | 270700.8129 | 26.25 | 74
2222 | 2022-05-17 12:06 | 22.3348 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.9038 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.089 | 116692.7947 | 270691.6649 | 26.25 | 74
2232 | 2022-05-17 12:06 | 22.6683 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.1788 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.077 | 116681.437 | 270714.4079 | 26.25 | 74
2242 | 2022-05-17 12:07 | 23.0018 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.2186 | μmol/L | 17.9924 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.073 | 116675.0375 | 270695.1388 | 26.25 | 74
2252 | 2022-05-17 12:07 | 23.3347 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.2017 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.076 | 116698.1459 | 270697.0972 | 26.25 | 74
2262 | 2022-05-17 12:07 | 23.6682 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.8729 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.401 | 118629.5311 | 270686.1475 | 26.25 | 74
2272 | 2022-05-17 12:08 | 24.0017 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.0726 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.392 | 118553.3641 | 270671.1693 | 26.25 | 74
2282 | 2022-05-17 12:08 | 24.3344 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.5262 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.329 | 118201.8132 | 270674.4613 | 26.25 | 74
2292 | 2022-05-17 12:08 | 24.668 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.6585 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.283 | 117942.7075 | 270692.5052 | 26.25 | 74
2302 | 2022-05-17 12:09 | 25.0016 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.3722 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.249 | 117736.1527 | 270680.8052 | 26.25 | 74
2312 | 2022-05-17 12:09 | 25.3352 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.5547 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.33 | 118240.9483 | 270685.5903 | 26.25 | 74
2322 | 2022-05-17 12:09 | 25.6679 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.3993 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.29 | 117992.7706 | 270697.9643 | 26.25 | 74
2332 | 2022-05-17 12:10 | 26.0015 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.1347 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.255 | 117797.9668 | 270695.2392 | 26.25 | 74
2342 | 2022-05-17 12:10 | 26.3344 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.733 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.233 | 117662.4425 | 270692.5926 | 26.25 | 74
2352 | 2022-05-17 12:10 | 26.6678 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.3206 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.207 | 117536.8519 | 270709.3943 | 26.25 | 74
2362 | 2022-05-17 12:11 | 27.0014 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.1684 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.216 | 117628.0174 | 270717.6951 | 26.25 | 74
2372 | 2022-05-17 12:11 | 27.3351 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.4338 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.202 | 117558.0119 | 270730.1145 | 26.25 | 74
2382 | 2022-05-17 12:11 | 27.6681 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.7964 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.186 | 117474.6615 | 270745.0358 | 26.25 | 74
2392 | 2022-05-17 12:12 | 28.0017 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.0172 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.174 | 117415.9343 | 270736.113 | 26.25 | 74
2402 | 2022-05-17 12:12 | 28.3345 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.2504 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.166 | 117395.3158 | 270734.8773 | 26.25 | 74
2412 | 2022-05-17 12:12 | 28.6681 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.3247 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.165 | 117369.7577 | 270739.5593 | 26.25 | 74
2422 | 2022-05-17 12:13 | 29.0017 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.3206 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.207 | 117644.519 | 270748.575 | 26.25 | 74
2432 | 2022-05-17 12:13 | 29.3345 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.0101 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.223 | 117759.3759 | 270755.4695 | 26.25 | 74
2442 | 2022-05-17 12:13 | 29.6682 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.372 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.207 | 117675.0846 | 270748.2883 | 26.25 | 74
2452 | 2022-05-17 12:14 | 30.0017 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.5531 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.199 | 117635.8843 | 270756.3967 | 26.25 | 74
2462 | 2022-05-17 12:14 | 30.3352 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.5078 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.201 | 117620.225 | 270747.717 | 26.25 | 74
2472 | 2022-05-17 12:14 | 30.6679 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.724 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.196 | 117630.7639 | 270768.0265 | 26.25 | 74
2482 | 2022-05-17 12:15 | 31.0014 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.7467 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.195 | 117657.5115 | 270771.3086 | 26.25 | 74
2492 | 2022-05-17 12:15 | 31.335 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.724 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.196 | 117666.6109 | 270760.4776 | 26.25 | 74
2502 | 2022-05-17 12:15 | 31.6677 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.5819 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.2 | 117707.3602 | 270762.043 | 26.25 | 74
2512 | 2022-05-17 12:16 | 32.0014 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.5819 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.2 | 117732.284 | 270777.8039 | 26.25 | 74
2522 | 2022-05-17 12:16 | 32.3349 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.4913 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.204 | 117770.5061 | 270776.2892 | 26.25 | 74
2532 | 2022-05-17 12:16 | 32.6684 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.4748 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.207 | 117787.4306 | 270771.8202 | 26.25 | 74
2542 | 2022-05-17 12:17 | 33.0011 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.4234 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.207 | 117809.5566 | 270781.8569 | 26.25 | 74
2552 | 2022-05-17 12:17 | 33.3346 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.4007 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.208 | 117848.8366 | 270786.7178 | 26.25 | 74
2562 | 2022-05-17 12:17 | 33.668 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.2937 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.215 | 117866.6736 | 270788.7863 | 26.25 | 74
2572 | 2022-05-17 12:18 | 34.0012 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.339 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.213 | 117898.004 | 270787.4472 | 26.25 | 74
2582 | 2022-05-17 12:18 | 34.3346 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.2711 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.216 | 117922.4354 | 270778.3041 | 26.25 | 74
2592 | 2022-05-17 12:18 | 34.6681 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.1806 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.22 | 117958.3612 | 270782.0778 | 26.25 | 74
2602 | 2022-05-17 12:19 | 35.0018 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.9772 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.229 | 118025.094 | 270792.2254 | 26.25 | 74
2612 | 2022-05-17 12:19 | 35.3344 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.7186 | μmol/L | 17.9436 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.245 | 118115.946 | 270788.3172 | 26.25 | 74
2622 | 2022-05-17 12:19 | 35.668 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.6734 | μmol/L | 17.9436 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.247 | 118149.3511 | 270801.2664 | 26.25 | 74
2632 | 2022-05-17 12:20 | 36.001 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.5996 | μmol/L | 17.9497 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.248 | 118190.5055 | 270779.1621 | 26.25 | 74
2642 | 2022-05-17 12:20 | 36.3347 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.532 | μmol/L | 17.9497 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.251 | 118226.7843 | 270804.0998 | 26.25 | 74
2652 | 2022-05-17 12:20 | 36.6684 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.493 | μmol/L | 17.9436 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.255 | 118248.174 | 270789.572 | 26.25 | 74
2662 | 2022-05-17 12:21 | 37.0013 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.5381 | μmol/L | 17.9436 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.253 | 118279.0922 | 270800.5555 | 26.25 | 74
2672 | 2022-05-17 12:21 | 37.3346 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.1614 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.272 | 118376.3282 | 270796.686 | 26.25 | 74
2682 | 2022-05-17 12:21 | 37.6681 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.1164 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.274 | 118411.6796 | 270785.4541 | 26.25 | 74
2692 | 2022-05-17 12:22 | 38.001 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.9528 | μmol/L | 17.9436 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.279 | 118439.771 | 270785.6124 | 26.25 | 74
2702 | 2022-05-17 12:22 | 38.3346 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.8342 | μmol/L | 17.9497 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.282 | 118476.0212 | 270777.402 | 26.25 | 74
2712 | 2022-05-17 12:22 | 38.6682 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.869 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.285 | 118507.3512 | 270784.9021 | 26.25 | 74
2722 | 2022-05-17 12:23 | 39.0011 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.8016 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.288 | 118524.5549 | 270778.4098 | 26.25 | 74
2732 | 2022-05-17 12:23 | 39.3348 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.3017 | μmol/L | 17.9436 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.308 | 118646.2807 | 270770.329 | 26.25 | 74
2742 | 2022-05-17 12:23 | 39.6682 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.3527 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.308 | 118672.77 | 270769.8523 | 26.25 | 74
2752 | 2022-05-17 12:24 | 40.0018 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.42 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.305 | 118668.8898 | 270762.7067 | 26.25 | 74
2762 | 2022-05-17 12:24 | 40.3344 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.4935 | μmol/L | 17.9315 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.304 | 118671.1461 | 270763.9878 | 26.25 | 74
2772 | 2022-05-17 12:24 | 40.668 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.4262 | μmol/L | 17.9315 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.307 | 118683.3748 | 270756.1907 | 26.25 | 74
2782 | 2022-05-17 12:25 | 41.0016 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.5446 | μmol/L | 17.9254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.304 | 118720.6247 | 270749.0313 | 26.25 | 74
2792 | 2022-05-17 12:25 | 41.3344 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.1287 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.318 | 118781.2229 | 270736.8261 | 26.25 | 74
2802 | 2022-05-17 12:25 | 41.6681 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.0391 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.322 | 118828.1085 | 270731.2648 | 26.25 | 74
2812 | 2022-05-17 12:26 | 42.001 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.8663 | μmol/L | 17.9315 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.332 | 118874.8406 | 270714.9507 | 26.25 | 74
2822 | 2022-05-17 12:26 | 42.3344 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.6365 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.34 | 118901.0803 | 270711.1515 | 26.25 | 74
2832 | 2022-05-17 12:26 | 42.6682 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.598 | μmol/L | 17.9315 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.344 | 118951.9814 | 270703.4828 | 26.25 | 74
2842 | 2022-05-17 12:27 | 43.0016 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.4801 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.347 | 119003.0637 | 270708.9584 | 26.25 | 74
2852 | 2022-05-17 12:27 | 43.3344 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.4925 | μmol/L | 17.9254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.351 | 119017.1047 | 270682.3752 | 26.25 | 74
2862 | 2022-05-17 12:27 | 43.6677 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.3238 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.354 | 119062.8667 | 270685.0076 | 26.25 | 74
2872 | 2022-05-17 12:28 | 44.0012 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.1677 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.361 | 119106.8837 | 270667.7517 | 26.25 | 74
2882 | 2022-05-17 12:28 | 44.3345 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.1293 | μmol/L | 17.9315 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.365 | 119152.3464 | 270645.3191 | 26.25 | 74
2892 | 2022-05-17 12:28 | 44.6679 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.0179 | μmol/L | 17.9315 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.37 | 119175.6753 | 270653.2831 | 26.25 | 74
2902 | 2022-05-17 12:29 | 45.0013 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.2998 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.4 | 119356.9611 | 270631.3147 | 26.25 | 74
2912 | 2022-05-17 12:29 | 45.3347 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.4456 | μmol/L | 17.9254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.398 | 119337.6927 | 270619.5992 | 26.25 | 74
2922 | 2022-05-17 12:29 | 45.6684 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.4456 | μmol/L | 17.9254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.398 | 119336.1202 | 270601.578 | 26.25 | 74
2932 | 2022-05-17 12:30 | 46.0011 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.3061 | μmol/L | 17.9315 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.402 | 119356.8012 | 270587.2927 | 26.25 | 74
2942 | 2022-05-17 12:30 | 46.3346 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.506 | μmol/L | 17.9315 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.393 | 119354.2547 | 270579.9411 | 26.25 | 74
2952 | 2022-05-17 12:30 | 46.6681 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.3505 | μmol/L | 17.9315 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.4 | 119356.3255 | 270573.5911 | 26.25 | 74
2962 | 2022-05-17 12:31 | 47.0011 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.3567 | μmol/L | 17.9254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.402 | 119387.8241 | 270563.5489 | 26.25 | 74
2972 | 2022-05-17 12:31 | 47.3345 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.3123 | μmol/L | 17.9254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.404 | 119418.2462 | 270543.5474 | 26.25 | 74
2982 | 2022-05-17 12:31 | 47.668 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.2679 | μmol/L | 17.9254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.406 | 119426.3012 | 270520.7438 | 26.25 | 74
2992 | 2022-05-17 12:32 | 48.0018 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.125 | μmol/L | 17.9132 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.417 | 119494.0956 | 270507.3118 | 26.25 | 74
3002 | 2022-05-17 12:32 | 48.3344 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.0016 | μmol/L | 17.9254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.418 | 119534.1795 | 270489.5655 | 26.25 | 74
3012 | 2022-05-17 12:32 | 48.6679 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.951 | μmol/L | 17.9315 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.418 | 119551.2799 | 270470.1295 | 26.25 | 74
3022 | 2022-05-17 12:33 | 49.0015 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.7578 | μmol/L | 17.9254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.429 | 119582.7788 | 270458.4197 | 26.25 | 74
3032 | 2022-05-17 12:33 | 49.3351 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.6755 | μmol/L | 17.9193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.435 | 119655.9313 | 270447.4112 | 26.25 | 74
3042 | 2022-05-17 12:33 | 49.6678 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.3436 | μmol/L | 17.9193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.45 | 119754.9501 | 270426.4291 | 26.25 | 74
3052 | 2022-05-17 12:34 | 50.0017 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.1543 | μmol/L | 17.9315 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.454 | 119733.0813 | 270403.8101 | 26.25 | 74
3062 | 2022-05-17 12:34 | 50.3346 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.1827 | μmol/L | 17.9254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.455 | 119724.0001 | 270391.9273 | 26.25 | 74
3072 | 2022-05-17 12:34 | 50.6679 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.1827 | μmol/L | 17.9254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.455 | 119739.4508 | 270374.97 | 26.25 | 74
3082 | 2022-05-17 12:35 | 51.0015 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.2048 | μmol/L | 17.9254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.454 | 119735.826 | 270363.3309 | 26.25 | 74
3092 | 2022-05-17 12:35 | 51.3345 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.1447 | μmol/L | 17.9193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.459 | 119777.8524 | 270356.6786 | 26.25 | 74
3102 | 2022-05-17 12:35 | 51.668 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 263.9115 | μmol/L | 17.9315 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.465 | 119843.7264 | 270331.5664 | 26.25 | 74
3112 | 2022-05-17 12:36 | 52.0015 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 263.7192 | μmol/L | 17.9254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.476 | 119906.3944 | 270326.2611 | 26.25 | 74
3122 | 2022-05-17 12:36 | 52.3351 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 263.565 | μmol/L | 17.9254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.483 | 119954.474 | 270302.3408 | 26.25 | 74
3132 | 2022-05-17 12:36 | 52.6678 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 263.3668 | μmol/L | 17.9254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.492 | 119979.2283 | 270284.1199 | 26.25 | 74
3142 | 2022-05-17 12:37 | 53.0012 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 263.3951 | μmol/L | 17.9193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.493 | 120019.7253 | 270278.3536 | 26.25 | 74
3152 | 2022-05-17 12:37 | 53.3347 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 263.1688 | μmol/L | 17.9254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.501 | 120073.6889 | 270281.2273 | 26.25 | 74
3162 | 2022-05-17 12:37 | 53.6682 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 262.9271 | μmol/L | 17.9254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.512 | 120082.8761 | 270250.5911 | 26.25 | 74
3172 | 2022-05-17 12:38 | 54.0017 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 262.8832 | μmol/L | 17.9254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.514 | 120131.3169 | 270252.1379 | 26.25 | 74
3182 | 2022-05-17 12:38 | 54.3345 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 262.9428 | μmol/L | 17.9315 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.509 | 120110.5212 | 270228.5199 | 26.25 | 74
3192 | 2022-05-17 12:38 | 54.6679 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 262.9711 | μmol/L | 17.9254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.51 | 120096.5121 | 270223.2747 | 26.25 | 74
3202 | 2022-05-17 12:39 | 55.0012 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 262.9836 | μmol/L | 17.9132 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.514 | 120115.8434 | 270200.8973 | 26.25 | 74
3212 | 2022-05-17 12:39 | 55.3347 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 262.9397 | μmol/L | 17.9132 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.516 | 120131.256 | 270191.8079 | 26.25 | 74
3222 | 2022-05-17 12:39 | 55.6684 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 262.7734 | μmol/L | 17.9254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.519 | 120165.2707 | 270180.9117 | 26.25 | 74
3232 | 2022-05-17 12:40 | 56.0012 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 262.5102 | μmol/L | 17.9254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.531 | 120218.5334 | 270159.0817 | 26.25 | 74
3242 | 2022-05-17 12:40 | 56.3347 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 262.2474 | μmol/L | 17.9254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.543 | 120295.822 | 270151.0527 | 26.25 | 74
3252 | 2022-05-17 12:40 | 56.668 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 262.0786 | μmol/L | 17.9193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.553 | 120361.2894 | 270138.2628 | 26.25 | 74
3262 | 2022-05-17 12:41 | 57.0016 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.9693 | μmol/L | 17.9193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.558 | 120381.8369 | 270121.2472 | 26.25 | 74
3272 | 2022-05-17 12:41 | 57.3344 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.9255 | μmol/L | 17.9193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.56 | 120419.5994 | 270102.1628 | 26.25 | 74
3282 | 2022-05-17 12:41 | 57.6679 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.8537 | μmol/L | 17.9254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.561 | 120459.2209 | 270099.2194 | 26.25 | 74
3292 | 2022-05-17 12:42 | 58.0014 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.6852 | μmol/L | 17.9193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.571 | 120506.8301 | 270080.2739 | 26.25 | 74
3302 | 2022-05-17 12:42 | 58.3349 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.4016 | μmol/L | 17.9193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.584 | 120556.8225 | 270070.8004 | 26.25 | 74
3312 | 2022-05-17 12:42 | 58.6677 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.4452 | μmol/L | 17.9193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.582 | 120574.3034 | 270045.6766 | 26.25 | 74
3322 | 2022-05-17 12:43 | 59.0014 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.2708 | μmol/L | 17.9193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.59 | 120610.6882 | 270038.8085 | 26.25 | 74
3332 | 2022-05-17 12:43 | 59.3348 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.112 | μmol/L | 17.9254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.595 | 120634.9999 | 270029.695 | 26.25 | 74
3342 | 2022-05-17 12:43 | 59.6683 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.0965 | μmol/L | 17.9193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.598 | 120653.1517 | 270016.6948 | 26.25 | 74
3352 | 2022-05-17 12:44 | 60.001 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.0747 | μmol/L | 17.9193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.599 | 120661.2411 | 269993.5906 | 26.25 | 74
3362 | 2022-05-17 12:44 | 60.3345 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 260.9505 | μmol/L | 17.9132 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.607 | 120711.3356 | 269982.6877 | 26.25 | 74
3372 | 2022-05-17 12:44 | 60.6681 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 260.5809 | μmol/L | 17.9132 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.624 | 120783.837 | 269967.7303 | 26.25 | 74
3382 | 2022-05-17 12:45 | 61.0013 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 260.4009 | μmol/L | 17.9193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.63 | 120841.5297 | 269945.0194 | 26.25 | 74
3392 | 2022-05-17 12:45 | 61.3351 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 260.0973 | μmol/L | 17.9193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.644 | 120861.7253 | 269938.1556 | 26.25 | 74
3402 | 2022-05-17 12:45 | 61.6679 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 260.1343 | μmol/L | 17.9254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.64 | 120872.8834 | 269927.8171 | 26.25 | 74
3412 | 2022-05-17 12:46 | 62.0015 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 260.0539 | μmol/L | 17.9193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.646 | 120908.1072 | 269913.5544 | 26.25 | 74
3422 | 2022-05-17 12:46 | 62.335 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 259.8527 | μmol/L | 17.9254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.653 | 120956.731 | 269895.7764 | 26.25 | 74
3432 | 2022-05-17 12:46 | 62.6677 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 259.8157 | μmol/L | 17.9193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.657 | 120989.0019 | 269889.1691 | 26.25 | 74
3442 | 2022-05-17 12:47 | 63.0011 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 259.8373 | μmol/L | 17.9193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.656 | 120989.8372 | 269865.8592 | 26.25 | 74
3452 | 2022-05-17 12:47 | 63.3347 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 259.8004 | μmol/L | 17.9132 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.66 | 121008.7982 | 269845.445 | 26.25 | 74
3462 | 2022-05-17 12:47 | 63.6685 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 259.649 | μmol/L | 17.9132 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.667 | 121042.0868 | 269840.457 | 26.25 | 74
3472 | 2022-05-17 12:48 | 64.0013 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 259.5778 | μmol/L | 17.9193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.668 | 121075.6342 | 269836.8648 | 26.25 | 74
3482 | 2022-05-17 12:48 | 64.3348 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 259.4481 | μmol/L | 17.9193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.674 | 121838.841 | 269820.1956 | 26.25 | 74
3492 | 2022-05-17 12:48 | 64.6683 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 259.3096 | μmol/L | 17.9071 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.685 | 121945.0534 | 269804.6645 | 26.25 | 74
3502 | 2022-05-17 12:49 | 65.0012 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.8934 | μmol/L | 17.9132 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.702 | 122051.5041 | 269785.9921 | 26.25 | 74
3512 | 2022-05-17 12:49 | 65.3348 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.6781 | μmol/L | 17.9132 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.712 | 122130.4999 | 269770.7623 | 26.25 | 74
3522 | 2022-05-17 12:49 | 65.6679 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.3769 | μmol/L | 17.9132 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.726 | 122204.0724 | 269760.3688 | 26.25 | 74
3532 | 2022-05-17 12:50 | 66.0017 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.3618 | μmol/L | 17.9071 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.729 | 122250.6247 | 269744.828 | 26.25 | 74
3542 | 2022-05-17 12:50 | 66.3345 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.2695 | μmol/L | 17.9132 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.731 | 122279.3549 | 269738.9075 | 26.25 | 74
3552 | 2022-05-17 12:50 | 66.6681 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.0913 | μmol/L | 17.9193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.737 | 122309.2869 | 269736.1945 | 26.25 | 74
3562 | 2022-05-17 12:51 | 67.0013 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.0762 | μmol/L | 17.9132 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.74 | 122336.4812 | 269706.0919 | 26.25 | 74
3571 | 2022-05-17 12:51 | 67.3351 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.1406 | μmol/L | 17.9132 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.737 | 122325.1595 | 269703.2515 | 26.25 | 74