## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_9 | O2 | 143006660 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 10:00

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 11:22

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
2 | 2022-05-17 10:28 | 0 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.7782 | μmol/L | 17.7061 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.523 | 108409.16 | 271695.4529 | 26.25 | 74
12 | 2022-05-17 10:28 | 0.3275 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.8212 | μmol/L | 17.7122 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.519 | 108430.4301 | 271701.8556 | 26.25 | 74
22 | 2022-05-17 10:29 | 0.66101 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.5395 | μmol/L | 17.7244 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.526 | 108481.6103 | 271684.0192 | 26.25 | 74
32 | 2022-05-17 10:29 | 0.99433 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.356 | μmol/L | 17.7366 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.529 | 108513.5009 | 271684.8668 | 26.25 | 74
42 | 2022-05-17 10:29 | 1.3277 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.1112 | μmol/L | 17.7366 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.539 | 108516.036 | 271664.9498 | 26.25 | 74
52 | 2022-05-17 10:30 | 1.6614 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.1052 | μmol/L | 17.7427 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.537 | 108556.0643 | 271665.5102 | 26.25 | 74
62 | 2022-05-17 10:30 | 1.9949 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.0503 | μmol/L | 17.7487 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.537 | 108511.5862 | 271652.9345 | 26.25 | 74
72 | 2022-05-17 10:30 | 2.3281 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.0992 | μmol/L | 17.7487 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.535 | 108488.1768 | 271654.2034 | 26.25 | 74
82 | 2022-05-17 10:31 | 2.6612 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.2705 | μmol/L | 17.7487 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.528 | 108457.769 | 271644.2553 | 26.25 | 74
92 | 2022-05-17 10:31 | 2.9949 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.24 | μmol/L | 17.7548 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.527 | 108425.7113 | 271635.6941 | 26.25 | 74
102 | 2022-05-17 10:31 | 3.3276 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.283 | μmol/L | 17.7609 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.523 | 108353.7902 | 271632.8725 | 26.25 | 74
112 | 2022-05-17 10:32 | 3.6614 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.277 | μmol/L | 17.767 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.521 | 108372.0231 | 271616.0523 | 26.25 | 74
122 | 2022-05-17 10:32 | 3.9948 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.3445 | μmol/L | 17.7731 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.516 | 108384.5164 | 271605.5198 | 26.25 | 74
132 | 2022-05-17 10:32 | 4.3281 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.2161 | μmol/L | 17.7792 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.519 | 108406.872 | 271606.362 | 26.25 | 74
142 | 2022-05-17 10:33 | 4.6615 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.0389 | μmol/L | 17.7853 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.524 | 108412.5501 | 271593.1252 | 26.25 | 74
152 | 2022-05-17 10:33 | 4.9942 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.7455 | μmol/L | 17.7853 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.536 | 108502.558 | 271592.7328 | 26.25 | 74
162 | 2022-05-17 10:33 | 5.3276 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.5626 | μmol/L | 17.7975 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.539 | 108516.7269 | 271569.8262 | 26.25 | 74
172 | 2022-05-17 10:34 | 5.6615 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.5686 | μmol/L | 17.7914 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.541 | 108511.786 | 271569.5723 | 26.25 | 74
182 | 2022-05-17 10:34 | 5.9943 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.1236 | μmol/L | 17.7975 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.557 | 108616.7469 | 271559.3304 | 26.25 | 74
192 | 2022-05-17 10:34 | 6.3277 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.6367 | μmol/L | 17.7975 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.577 | 108718.8015 | 271547.3802 | 26.25 | 74
202 | 2022-05-17 10:35 | 6.661 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.6001 | μmol/L | 17.7853 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.583 | 108780.7798 | 271541.8361 | 26.25 | 74
212 | 2022-05-17 10:35 | 6.9945 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.4483 | μmol/L | 17.7914 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.587 | 108803.8943 | 271544.153 | 26.25 | 74
222 | 2022-05-17 10:35 | 7.3277 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.2237 | μmol/L | 17.7975 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.594 | 108837.147 | 271526.9319 | 26.25 | 74
232 | 2022-05-17 10:36 | 7.6609 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.1569 | μmol/L | 17.7914 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.599 | 108864.8735 | 271513.4579 | 26.25 | 74
242 | 2022-05-17 10:36 | 7.9943 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.9994 | μmol/L | 17.8036 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.601 | 108883.5284 | 271515.5155 | 26.25 | 74
252 | 2022-05-17 10:36 | 8.3276 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.8237 | μmol/L | 17.8096 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.606 | 108917.127 | 271498.2172 | 26.25 | 74
262 | 2022-05-17 10:37 | 8.661 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.6117 | μmol/L | 17.8036 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.617 | 108978.7951 | 271493.5182 | 26.25 | 74
272 | 2022-05-17 10:37 | 8.9946 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.1644 | μmol/L | 17.8157 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.631 | 109078.2563 | 271493.7582 | 26.25 | 74
282 | 2022-05-17 10:37 | 9.3276 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 283.9108 | μmol/L | 17.8036 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.646 | 109151.6705 | 271484.1293 | 26.25 | 74
292 | 2022-05-17 10:38 | 9.6612 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 283.8264 | μmol/L | 17.8157 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.645 | 109192.7955 | 271474.697 | 26.25 | 74
302 | 2022-05-17 10:38 | 9.9944 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 283.5491 | μmol/L | 17.8279 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.652 | 109197.9443 | 271465.6027 | 26.25 | 74
312 | 2022-05-17 10:38 | 10.3281 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 283.525 | μmol/L | 17.8279 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.653 | 109228.5937 | 271471.9363 | 26.25 | 74
322 | 2022-05-17 10:39 | 10.6609 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 283.4227 | μmol/L | 17.834 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.655 | 109232.5143 | 271459.9311 | 26.25 | 74
332 | 2022-05-17 10:39 | 10.9944 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 283.4528 | μmol/L | 17.8279 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.656 | 109233.8254 | 271451.4462 | 26.25 | 74
342 | 2022-05-17 10:39 | 11.3278 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 283.7783 | μmol/L | 17.8401 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.638 | 109198.1771 | 271451.3543 | 26.25 | 74
352 | 2022-05-17 10:40 | 11.6611 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 283.4408 | μmol/L | 17.8401 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.652 | 109240.6573 | 271441.6211 | 26.25 | 74
362 | 2022-05-17 10:40 | 11.9946 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 283.2241 | μmol/L | 17.8401 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.661 | 109295.6914 | 271448.599 | 26.25 | 74
372 | 2022-05-17 10:40 | 12.3282 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 283.1278 | μmol/L | 17.8401 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.665 | 109337.6062 | 271432.2989 | 26.25 | 74
382 | 2022-05-17 10:41 | 12.6609 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 282.8454 | μmol/L | 17.8584 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.67 | 109358.3591 | 271420.0683 | 26.25 | 74
392 | 2022-05-17 10:41 | 12.9943 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 282.9354 | μmol/L | 17.8401 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.673 | 109387.3158 | 271430.3325 | 26.25 | 74
402 | 2022-05-17 10:41 | 13.3276 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 282.9475 | μmol/L | 17.8523 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.668 | 109409.1742 | 271422.5136 | 26.25 | 74
412 | 2022-05-17 10:42 | 13.6609 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 282.8635 | μmol/L | 17.8645 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.667 | 109416.047 | 271424.0528 | 26.25 | 74
422 | 2022-05-17 10:42 | 13.9945 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 282.6352 | μmol/L | 17.8523 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.681 | 109257.5356 | 271415.5803 | 26.25 | 74
432 | 2022-05-17 10:42 | 14.3278 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 282.5692 | μmol/L | 17.8462 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.686 | 109289.638 | 271401.02 | 26.25 | 74
442 | 2022-05-17 10:43 | 14.661 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 282.7072 | μmol/L | 17.8523 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.678 | 109307.0869 | 271389.0247 | 26.25 | 74
452 | 2022-05-17 10:43 | 14.9943 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 282.7733 | μmol/L | 17.8584 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.673 | 109328.7732 | 271381.8516 | 26.25 | 74
462 | 2022-05-17 10:43 | 15.3277 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 282.8454 | μmol/L | 17.8584 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.67 | 109319.1343 | 271385.3384 | 26.25 | 74
472 | 2022-05-17 10:44 | 15.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 282.7733 | μmol/L | 17.8584 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.673 | 109358.0055 | 271376.1072 | 26.25 | 74
482 | 2022-05-17 10:44 | 15.9949 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 282.8214 | μmol/L | 17.8584 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.671 | 109375.6876 | 271371.889 | 26.25 | 74
492 | 2022-05-17 10:44 | 16.3275 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 282.6894 | μmol/L | 17.8705 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.672 | 109368.9765 | 271386.5503 | 26.25 | 74
502 | 2022-05-17 10:45 | 16.6608 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 282.7015 | μmol/L | 17.8827 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.667 | 109342.6087 | 271364.9108 | 26.25 | 74
512 | 2022-05-17 10:45 | 16.9944 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 282.9297 | μmol/L | 17.8705 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.662 | 109382.1755 | 271362.8346 | 26.25 | 74
522 | 2022-05-17 10:45 | 17.328 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 282.6114 | μmol/L | 17.8766 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.673 | 109418.043 | 271355.248 | 26.25 | 74
532 | 2022-05-17 10:46 | 17.6614 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 282.6354 | μmol/L | 17.8766 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.672 | 109481.7939 | 271373.1266 | 26.25 | 74
542 | 2022-05-17 10:46 | 17.9947 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 282.3415 | μmol/L | 17.8827 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.682 | 109509.053 | 271362.1442 | 26.25 | 74
552 | 2022-05-17 10:46 | 18.3281 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 282.2156 | μmol/L | 17.8888 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.685 | 109572.7241 | 271362.3644 | 26.25 | 74
562 | 2022-05-17 10:47 | 18.6614 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 281.9701 | μmol/L | 17.8949 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.693 | 109597.5595 | 271351.7346 | 26.25 | 74
572 | 2022-05-17 10:47 | 18.9947 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 281.7128 | μmol/L | 17.8888 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.706 | 109689.0665 | 271352.0193 | 26.25 | 74
582 | 2022-05-17 10:47 | 19.3281 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 281.4678 | μmol/L | 17.8949 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.714 | 109724.3436 | 271351.1478 | 26.25 | 74
592 | 2022-05-17 10:48 | 19.6614 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 281.6053 | μmol/L | 17.901 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.706 | 109752.8845 | 271342.9817 | 26.25 | 74
602 | 2022-05-17 10:48 | 19.9948 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 281.4081 | μmol/L | 17.8827 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.721 | 109819.7397 | 271336.7016 | 26.25 | 74
612 | 2022-05-17 10:48 | 20.3282 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.9905 | μmol/L | 17.8949 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.734 | 109867.3134 | 271347.8482 | 26.25 | 74
622 | 2022-05-17 10:49 | 20.6609 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.77 | μmol/L | 17.901 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.741 | 109906.5982 | 271355.3426 | 26.25 | 74
632 | 2022-05-17 10:49 | 20.9941 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.4963 | μmol/L | 17.9132 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.748 | 109939.2095 | 271350.344 | 26.25 | 74
642 | 2022-05-17 10:49 | 21.3276 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.2347 | μmol/L | 17.9132 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.759 | 110052.2688 | 271358.8735 | 26.25 | 74
652 | 2022-05-17 10:50 | 21.661 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.1456 | μmol/L | 17.9071 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.765 | 110059.332 | 271341.3579 | 26.25 | 74
662 | 2022-05-17 10:50 | 21.9945 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.0921 | μmol/L | 17.9132 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.765 | 110049.3783 | 271349.8499 | 26.25 | 74
672 | 2022-05-17 10:50 | 22.3278 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.9022 | μmol/L | 17.9132 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.773 | 110089.1469 | 271337.9492 | 26.25 | 74
682 | 2022-05-17 10:51 | 22.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.0091 | μmol/L | 17.901 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.773 | 110084.4038 | 271337.3473 | 26.25 | 74
692 | 2022-05-17 10:51 | 22.9948 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.0923 | μmol/L | 17.8888 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.774 | 110105.6873 | 271340.8041 | 26.25 | 74
702 | 2022-05-17 10:51 | 23.3282 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.0091 | μmol/L | 17.901 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.773 | 110169.2686 | 271344.1221 | 26.25 | 74
712 | 2022-05-17 10:52 | 23.6615 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.9557 | μmol/L | 17.9071 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.773 | 110189.5845 | 271339.7527 | 26.25 | 74
722 | 2022-05-17 10:52 | 23.9946 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.9794 | μmol/L | 17.9071 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.772 | 110142.6168 | 271333.4789 | 26.25 | 74
732 | 2022-05-17 10:52 | 24.328 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.6117 | μmol/L | 17.9193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.783 | 110194.2118 | 271334.0694 | 26.25 | 74
742 | 2022-05-17 10:53 | 24.6614 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.6117 | μmol/L | 17.9193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.783 | 110207.6123 | 271337.7518 | 26.25 | 74
752 | 2022-05-17 10:53 | 24.9947 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.3925 | μmol/L | 17.9254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.79 | 110254.9067 | 271342.6364 | 26.25 | 74
762 | 2022-05-17 10:53 | 25.3281 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.3275 | μmol/L | 17.9193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.795 | 110293.8834 | 271329.3028 | 26.25 | 74
772 | 2022-05-17 10:54 | 25.6608 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.008 | μmol/L | 17.9315 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.804 | 110352.2501 | 271331.8664 | 26.25 | 74
782 | 2022-05-17 10:54 | 25.9942 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.1439 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.796 | 110362.7408 | 271331.3276 | 26.25 | 74
792 | 2022-05-17 10:54 | 26.3276 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.2622 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.791 | 110346.6893 | 271328.9537 | 26.25 | 74
802 | 2022-05-17 10:55 | 26.661 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.2032 | μmol/L | 17.9254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.798 | 110374.8624 | 271329.1874 | 26.25 | 74
812 | 2022-05-17 10:55 | 26.9942 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.2209 | μmol/L | 17.9315 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.795 | 110414.6757 | 271324.6662 | 26.25 | 74
822 | 2022-05-17 10:55 | 27.3275 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.2682 | μmol/L | 17.9315 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.793 | 110371.3718 | 271320.6344 | 26.25 | 74
832 | 2022-05-17 10:56 | 27.6609 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.4399 | μmol/L | 17.9254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.788 | 110382.2036 | 271319.3233 | 26.25 | 74
842 | 2022-05-17 10:56 | 27.9943 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.4694 | μmol/L | 17.9436 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.78 | 110361.499 | 271319.668 | 26.25 | 74
852 | 2022-05-17 10:56 | 28.3279 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.7776 | μmol/L | 17.9193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.776 | 110340.1482 | 271315.4532 | 26.25 | 74
862 | 2022-05-17 10:57 | 28.6614 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.8191 | μmol/L | 17.9254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.772 | 110326.0939 | 271319.781 | 26.25 | 74
872 | 2022-05-17 10:57 | 28.9946 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.7301 | μmol/L | 17.9436 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.769 | 110344.7967 | 271309.9036 | 26.25 | 74
882 | 2022-05-17 10:57 | 29.3281 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.748 | μmol/L | 17.9254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.775 | 110352.2996 | 271300.6899 | 26.25 | 74
892 | 2022-05-17 10:58 | 29.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.505 | μmol/L | 17.9315 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.783 | 110423.1554 | 271299.009 | 26.25 | 74
902 | 2022-05-17 10:58 | 29.9944 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.5583 | μmol/L | 17.9254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.783 | 110406.5501 | 271289.2727 | 26.25 | 74
912 | 2022-05-17 10:58 | 30.3278 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.2386 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.792 | 110521.3388 | 271284.2315 | 26.25 | 74
922 | 2022-05-17 10:59 | 30.6611 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.1915 | μmol/L | 17.9132 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.803 | 110566.2838 | 271292.3479 | 26.25 | 74
932 | 2022-05-17 10:59 | 30.9944 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.8899 | μmol/L | 17.9315 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.809 | 110629.9996 | 271307.5182 | 26.25 | 74
942 | 2022-05-17 10:59 | 31.3279 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.6594 | μmol/L | 17.9497 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.812 | 110660.3735 | 271292.7569 | 26.25 | 74
952 | 2022-05-17 11:00 | 31.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.5178 | μmol/L | 17.9497 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.818 | 110675.2644 | 271294.0736 | 26.25 | 74
962 | 2022-05-17 11:00 | 31.9947 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.4414 | μmol/L | 17.9315 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.828 | 110733.3176 | 271280.4587 | 26.25 | 74
972 | 2022-05-17 11:00 | 32.328 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.3411 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.83 | 110777.0227 | 271285.8546 | 26.25 | 74
982 | 2022-05-17 11:01 | 32.6615 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.1702 | μmol/L | 17.9436 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.835 | 110826.122 | 271283.356 | 26.25 | 74
992 | 2022-05-17 11:01 | 32.9941 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.2173 | μmol/L | 17.9436 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.833 | 110842.3848 | 271274.5414 | 26.25 | 74
1002 | 2022-05-17 11:01 | 33.3274 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.0701 | μmol/L | 17.9497 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.837 | 110841.8242 | 271275.3469 | 26.25 | 74
1012 | 2022-05-17 11:02 | 33.6608 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.023 | μmol/L | 17.9497 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.839 | 110875.313 | 271274.8512 | 26.25 | 74
1022 | 2022-05-17 11:02 | 33.9945 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.0936 | μmol/L | 17.9497 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.836 | 110873.4413 | 271274.6177 | 26.25 | 74
1032 | 2022-05-17 11:02 | 34.3276 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.1112 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.833 | 110884.8405 | 271281.2172 | 26.25 | 74
1042 | 2022-05-17 11:03 | 34.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.3056 | μmol/L | 17.9497 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.827 | 110873.2762 | 271262.7194 | 26.25 | 74
1052 | 2022-05-17 11:03 | 34.9948 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.3116 | μmol/L | 17.9436 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.829 | 110892.2648 | 271266.4812 | 26.25 | 74
1062 | 2022-05-17 11:03 | 35.328 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.2409 | μmol/L | 17.9436 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.832 | 110914.3625 | 271255.3258 | 26.25 | 74
1072 | 2022-05-17 11:04 | 35.6614 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.0641 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.835 | 110931.7552 | 271253.6275 | 26.25 | 74
1082 | 2022-05-17 11:04 | 35.9949 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.8934 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.84 | 110908.5544 | 271250.7137 | 26.25 | 74
1092 | 2022-05-17 11:04 | 36.3275 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.0936 | μmol/L | 17.9497 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.836 | 110942.2852 | 271256.3655 | 26.25 | 74
1102 | 2022-05-17 11:05 | 36.6609 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.8464 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.842 | 110976.9751 | 271255.8253 | 26.25 | 74
1112 | 2022-05-17 11:05 | 36.9944 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.8818 | μmol/L | 17.9497 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.845 | 111032.5626 | 271248.138 | 26.25 | 74
1122 | 2022-05-17 11:05 | 37.3282 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.6877 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.851 | 111064.5788 | 271234.4103 | 26.25 | 74
1132 | 2022-05-17 11:06 | 37.6609 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.5352 | μmol/L | 17.9436 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.862 | 111129.1226 | 271233.3182 | 26.25 | 74
1142 | 2022-05-17 11:06 | 37.9944 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.3824 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.864 | 111158.5092 | 271222.8738 | 26.25 | 74
1152 | 2022-05-17 11:06 | 38.3279 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.306 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.865 | 111192.9646 | 271241.7362 | 26.25 | 74
1162 | 2022-05-17 11:07 | 38.6614 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.1947 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.872 | 111228.316 | 271222.4523 | 26.25 | 74
1172 | 2022-05-17 11:07 | 38.9943 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.89 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.885 | 111315.4711 | 271211.9984 | 26.25 | 74
1182 | 2022-05-17 11:07 | 39.3279 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.5858 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.898 | 111411.6664 | 271215.1637 | 26.25 | 74
1192 | 2022-05-17 11:08 | 39.6607 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.2293 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.911 | 111474.5624 | 271213.585 | 26.25 | 74
1202 | 2022-05-17 11:08 | 39.9948 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.3053 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.91 | 111475.277 | 271202.5262 | 26.25 | 74
1212 | 2022-05-17 11:08 | 40.3276 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.3814 | μmol/L | 17.9497 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.909 | 111480.0454 | 271189.9477 | 26.25 | 74
1222 | 2022-05-17 11:09 | 40.661 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.3287 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.909 | 111465.2754 | 271181.1076 | 26.25 | 74
1232 | 2022-05-17 11:09 | 40.9944 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.4281 | μmol/L | 17.9497 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.907 | 111482.1317 | 271174.0413 | 26.25 | 74
1242 | 2022-05-17 11:09 | 41.3281 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.352 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.908 | 111479.7389 | 271173.79 | 26.25 | 74
1252 | 2022-05-17 11:10 | 41.6615 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.4515 | μmol/L | 17.9497 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.906 | 111476.4976 | 271167.7886 | 26.25 | 74
1262 | 2022-05-17 11:10 | 41.9949 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.276 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.909 | 111492.8854 | 271146.6026 | 26.25 | 74
1272 | 2022-05-17 11:10 | 42.3276 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.3287 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.909 | 111506.8375 | 271122.0205 | 26.25 | 74
1282 | 2022-05-17 11:11 | 42.661 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.1826 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.913 | 111492.3822 | 271130.8465 | 26.25 | 74
1292 | 2022-05-17 11:11 | 42.9945 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.4161 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.903 | 111480.6964 | 271121.4162 | 26.25 | 74
1302 | 2022-05-17 11:11 | 43.328 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.4102 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.901 | 111458.3203 | 271109.8613 | 26.25 | 74
1312 | 2022-05-17 11:12 | 43.6614 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.533 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.898 | 111455.1026 | 271098.7438 | 26.25 | 74
1322 | 2022-05-17 11:12 | 43.9942 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.5972 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.893 | 111443.7435 | 271089.7264 | 26.25 | 74
1332 | 2022-05-17 11:12 | 44.3276 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.65 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.893 | 111425.5957 | 271080.8918 | 26.25 | 74
1342 | 2022-05-17 11:13 | 44.661 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.6674 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.89 | 111408.1664 | 271073.169 | 26.25 | 74
1352 | 2022-05-17 11:13 | 44.9945 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.7142 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.888 | 111406.8691 | 271063.6478 | 26.25 | 74
1362 | 2022-05-17 11:13 | 45.3279 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.6848 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.887 | 111406.3585 | 271061.465 | 26.25 | 74
1372 | 2022-05-17 11:14 | 45.6615 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.6789 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.885 | 111399.0012 | 271046.4894 | 26.25 | 74
1382 | 2022-05-17 11:14 | 45.9942 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.3923 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.895 | 111416.9596 | 271036.305 | 26.25 | 74
1392 | 2022-05-17 11:14 | 46.3278 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.4509 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.897 | 111455.1695 | 271028.0324 | 26.25 | 74
1402 | 2022-05-17 11:15 | 46.6612 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.264 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.905 | 111518.6727 | 271027.277 | 26.25 | 74
1412 | 2022-05-17 11:15 | 46.9947 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.0539 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.914 | 111565.7094 | 271013.997 | 26.25 | 74
1422 | 2022-05-17 11:15 | 47.328 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.9372 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.919 | 111592.0011 | 271013.8875 | 26.25 | 74
1432 | 2022-05-17 11:16 | 47.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.9139 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.92 | 111612.1546 | 271005.6632 | 26.25 | 74
1442 | 2022-05-17 11:16 | 47.9946 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.7274 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.928 | 111655.3976 | 270979.4273 | 26.25 | 74
1452 | 2022-05-17 11:16 | 48.3282 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.6635 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.933 | 111665.1997 | 270969.7753 | 26.25 | 74
1462 | 2022-05-17 11:17 | 48.6614 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.7507 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.927 | 111678.5594 | 270982.6762 | 26.25 | 74
1472 | 2022-05-17 11:17 | 48.9947 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.6922 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.925 | 111660.1976 | 270953.5922 | 26.25 | 74
1482 | 2022-05-17 11:17 | 49.3281 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.6396 | μmol/L | 17.9924 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.925 | 111675.222 | 270951.8514 | 26.25 | 74
1492 | 2022-05-17 11:18 | 49.6615 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.6163 | μmol/L | 17.9924 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.926 | 111683.7701 | 270954.1243 | 26.25 | 74
1502 | 2022-05-17 11:18 | 49.9943 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.7561 | μmol/L | 17.9924 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.92 | 111687.6617 | 270939.7395 | 26.25 | 74
1512 | 2022-05-17 11:18 | 50.3276 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.8147 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.922 | 111683.5285 | 270933.182 | 26.25 | 74
1522 | 2022-05-17 11:19 | 50.6609 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.6922 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.925 | 111707.0263 | 270930.2952 | 26.25 | 74
1532 | 2022-05-17 11:19 | 50.9943 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.7447 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.925 | 111713.4668 | 270922.5113 | 26.25 | 74
1542 | 2022-05-17 11:19 | 51.3278 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.7914 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.923 | 111705.3258 | 270903.8143 | 26.25 | 74