## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_7 | O2 | 690909578 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:57

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 12:53

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
1554 | 2022-05-17 11:44 | 0 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 285.7026 | μmol/L | 17.948 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.343 | 124268.6843 | 292542.2704 | 59.9307 | 49.4
1564 | 2022-05-17 11:44 | 0.32667 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 285.5132 | μmol/L | 17.9665 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.344 | 124299.2562 | 292553.8367 | 59.9307 | 49.4
1574 | 2022-05-17 11:45 | 0.66029 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 285.3106 | μmol/L | 17.9726 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.35 | 124321.3584 | 292539.9124 | 59.9307 | 49.4
1584 | 2022-05-17 11:45 | 0.99382 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 285.1819 | μmol/L | 17.9788 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.353 | 124346.0607 | 292535.8985 | 59.9307 | 49.4
1594 | 2022-05-17 11:45 | 1.3274 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 284.9795 | μmol/L | 17.985 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.359 | 124363.5156 | 292515.7029 | 59.9307 | 49.4
1604 | 2022-05-17 11:46 | 1.6604 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 285.0041 | μmol/L | 17.985 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.358 | 124354.3514 | 292496.06 | 59.9307 | 49.4
1614 | 2022-05-17 11:46 | 1.9941 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 285.0287 | μmol/L | 17.985 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.357 | 124369.2643 | 292520.6716 | 59.9307 | 49.4
1624 | 2022-05-17 11:46 | 2.3268 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 284.813 | μmol/L | 17.9788 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.368 | 124400.1465 | 292508.9595 | 59.9307 | 49.4
1634 | 2022-05-17 11:47 | 2.6606 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 284.5731 | μmol/L | 17.9726 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.38 | 124499.4944 | 292500.6646 | 59.9307 | 49.4
1644 | 2022-05-17 11:47 | 2.994 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 284.1694 | μmol/L | 17.985 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.392 | 124570.2233 | 292473.0875 | 59.9307 | 49.4
1654 | 2022-05-17 11:47 | 3.3272 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 283.998 | μmol/L | 17.985 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.399 | 124613.4033 | 292491.5691 | 59.9307 | 49.4
1664 | 2022-05-17 11:48 | 3.6607 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 283.8511 | μmol/L | 17.985 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.405 | 124643.9498 | 292484.0174 | 59.9307 | 49.4
1674 | 2022-05-17 11:48 | 3.9941 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 283.552 | μmol/L | 17.9911 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.415 | 124684.8276 | 292489.2351 | 59.9307 | 49.4
1684 | 2022-05-17 11:48 | 4.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 283.6065 | μmol/L | 17.985 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.415 | 124680.0351 | 292480.0302 | 59.9307 | 49.4
1694 | 2022-05-17 11:49 | 4.6602 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 283.5877 | μmol/L | 17.9788 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.418 | 124690.1223 | 292465.8855 | 59.9307 | 49.4
1704 | 2022-05-17 11:49 | 4.9939 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 283.5746 | μmol/L | 17.9665 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.423 | 124710.2092 | 292476.107 | 59.9307 | 49.4
1714 | 2022-05-17 11:49 | 5.3275 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 283.4393 | μmol/L | 17.9541 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.433 | 124760.9991 | 292468.6058 | 59.9307 | 49.4
1724 | 2022-05-17 11:50 | 5.6601 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 283.2741 | μmol/L | 17.948 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.442 | 124827.3405 | 292439.5416 | 59.9307 | 49.4
1734 | 2022-05-17 11:50 | 5.9936 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 283.1765 | μmol/L | 17.948 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.446 | 124861.6837 | 292447.8302 | 59.9307 | 49.4
1744 | 2022-05-17 11:50 | 6.3273 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 283.1033 | μmol/L | 17.948 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.449 | 124863.6508 | 292438.8159 | 59.9307 | 49.4
1754 | 2022-05-17 11:51 | 6.6602 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 283.1879 | μmol/L | 17.9356 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.45 | 124870.6335 | 292448.6079 | 59.9307 | 49.4
1764 | 2022-05-17 11:51 | 6.9937 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 283.0001 | μmol/L | 17.9541 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.451 | 124864.895 | 292425.6742 | 59.9307 | 49.4
1774 | 2022-05-17 11:51 | 7.3274 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.9514 | μmol/L | 17.9541 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.453 | 124885.5649 | 292399.9121 | 59.9307 | 49.4
1784 | 2022-05-17 11:52 | 7.66 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.7565 | μmol/L | 17.9541 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.461 | 124925.1722 | 292419.7646 | 59.9307 | 49.4
1794 | 2022-05-17 11:52 | 7.9934 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.5804 | μmol/L | 17.9603 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.466 | 124947.1985 | 292411.1552 | 59.9307 | 49.4
1804 | 2022-05-17 11:52 | 8.327 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.5561 | μmol/L | 17.9603 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.467 | 124963.3677 | 292397.3909 | 59.9307 | 49.4
1814 | 2022-05-17 11:53 | 8.66 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.4588 | μmol/L | 17.9603 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.471 | 124976.9975 | 292385.4515 | 59.9307 | 49.4
1824 | 2022-05-17 11:53 | 8.9939 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.4459 | μmol/L | 17.948 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.476 | 124990.6812 | 292385.5739 | 59.9307 | 49.4
1834 | 2022-05-17 11:53 | 9.3274 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.3243 | μmol/L | 17.948 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.481 | 125010.778 | 292369.1698 | 59.9307 | 49.4
1844 | 2022-05-17 11:54 | 9.661 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.3186 | μmol/L | 17.9541 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.479 | 125040.1874 | 292373.6374 | 59.9307 | 49.4
1854 | 2022-05-17 11:54 | 9.9937 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.1543 | μmol/L | 17.948 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.488 | 125078.2728 | 292355.2318 | 59.9307 | 49.4
1864 | 2022-05-17 11:54 | 10.3272 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.1057 | μmol/L | 17.948 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.49 | 125100.3028 | 292359.4886 | 59.9307 | 49.4
1874 | 2022-05-17 11:55 | 10.6608 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.0086 | μmol/L | 17.948 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.494 | 125161.0269 | 292339.1495 | 59.9307 | 49.4
1884 | 2022-05-17 11:55 | 10.9935 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.893 | μmol/L | 17.9418 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.501 | 125190.7873 | 292357.9805 | 59.9307 | 49.4
1894 | 2022-05-17 11:55 | 11.327 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.7418 | μmol/L | 17.948 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.505 | 125234.6673 | 292348.768 | 59.9307 | 49.4
1904 | 2022-05-17 11:56 | 11.6605 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.5964 | μmol/L | 17.948 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.511 | 125249.5431 | 292343.0284 | 59.9307 | 49.4
1914 | 2022-05-17 11:56 | 11.9941 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.4938 | μmol/L | 17.9541 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.513 | 125260.9865 | 292332.9624 | 59.9307 | 49.4
1924 | 2022-05-17 11:56 | 12.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.3244 | μmol/L | 17.9541 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.52 | 125273.4479 | 292317.3195 | 59.9307 | 49.4
1934 | 2022-05-17 11:57 | 12.6601 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.4027 | μmol/L | 17.948 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.519 | 125288.4452 | 292317.4716 | 59.9307 | 49.4
1944 | 2022-05-17 11:57 | 12.9936 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.4511 | μmol/L | 17.948 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.517 | 125281.6866 | 292305.2948 | 59.9307 | 49.4
1954 | 2022-05-17 11:57 | 13.3271 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.3842 | μmol/L | 17.9418 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.522 | 125297.08 | 292312.4925 | 59.9307 | 49.4
1964 | 2022-05-17 11:58 | 13.6606 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.3301 | μmol/L | 17.948 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.522 | 125289.3285 | 292288.6804 | 59.9307 | 49.4
1974 | 2022-05-17 11:58 | 13.994 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.3358 | μmol/L | 17.9418 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.524 | 125292.4358 | 292290.5476 | 59.9307 | 49.4
1984 | 2022-05-17 11:58 | 14.3268 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.36 | μmol/L | 17.9418 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.523 | 125299.4233 | 292285.9063 | 59.9307 | 49.4
1994 | 2022-05-17 11:59 | 14.6604 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.3173 | μmol/L | 17.9356 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.527 | 125326.288 | 292280.7193 | 59.9307 | 49.4
2004 | 2022-05-17 11:59 | 14.9939 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.2689 | μmol/L | 17.9356 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.529 | 125332.1302 | 292278.9585 | 59.9307 | 49.4
2014 | 2022-05-17 11:59 | 15.3268 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.2205 | μmol/L | 17.9356 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.531 | 125347.3147 | 292282.9314 | 59.9307 | 49.4
2024 | 2022-05-17 12:00 | 15.6605 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.3046 | μmol/L | 17.9233 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.532 | 125341.9108 | 292283.7075 | 59.9307 | 49.4
2034 | 2022-05-17 12:00 | 15.9935 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.2861 | μmol/L | 17.9171 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.535 | 125340.4708 | 292283.011 | 59.9307 | 49.4
2044 | 2022-05-17 12:00 | 16.3272 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.1537 | μmol/L | 17.9294 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.536 | 125351.3863 | 292264.4773 | 59.9307 | 49.4
2054 | 2022-05-17 12:01 | 16.66 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.1537 | μmol/L | 17.9294 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.536 | 125361.2105 | 292261.2297 | 59.9307 | 49.4
2064 | 2022-05-17 12:01 | 16.9938 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.1111 | μmol/L | 17.9233 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.54 | 125369.4864 | 292271.79 | 59.9307 | 49.4
2074 | 2022-05-17 12:01 | 17.3268 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.0628 | μmol/L | 17.9233 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.542 | 125388.772 | 292253.0324 | 59.9307 | 49.4
2084 | 2022-05-17 12:02 | 17.6604 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.0145 | μmol/L | 17.9233 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.544 | 125398.415 | 292244.6335 | 59.9307 | 49.4
2094 | 2022-05-17 12:02 | 17.9941 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.9661 | μmol/L | 17.9233 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.546 | 125388.8833 | 292251.3846 | 59.9307 | 49.4
2104 | 2022-05-17 12:02 | 18.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.1169 | μmol/L | 17.9171 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.542 | 125389.0119 | 292266.8603 | 59.9307 | 49.4
2114 | 2022-05-17 12:03 | 18.6602 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.0685 | μmol/L | 17.9171 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.544 | 125404.0574 | 292246.488 | 59.9307 | 49.4
2124 | 2022-05-17 12:03 | 18.9937 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.9903 | μmol/L | 17.9233 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.545 | 125396.9583 | 292243.5099 | 59.9307 | 49.4
2134 | 2022-05-17 12:03 | 19.3274 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.0628 | μmol/L | 17.9233 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.542 | 125384.9512 | 292229.3128 | 59.9307 | 49.4
2144 | 2022-05-17 12:04 | 19.6602 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.9363 | μmol/L | 17.9294 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.545 | 125385.9508 | 292222.1927 | 59.9307 | 49.4
2154 | 2022-05-17 12:04 | 19.9937 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.9178 | μmol/L | 17.9233 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.548 | 125394.0992 | 292248.2005 | 59.9307 | 49.4
2164 | 2022-05-17 12:04 | 20.3271 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.8879 | μmol/L | 17.9294 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.547 | 125391.9846 | 292236.2623 | 59.9307 | 49.4
2174 | 2022-05-17 12:05 | 20.6606 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.0202 | μmol/L | 17.9171 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.546 | 125389.0357 | 292226.7031 | 59.9307 | 49.4
2184 | 2022-05-17 12:05 | 20.9939 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.0444 | μmol/L | 17.9171 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.545 | 125384.6215 | 292230.0345 | 59.9307 | 49.4
2194 | 2022-05-17 12:05 | 21.3268 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.9961 | μmol/L | 17.9171 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.547 | 125396.1813 | 292202.2576 | 59.9307 | 49.4
2204 | 2022-05-17 12:06 | 21.6605 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.8512 | μmol/L | 17.9171 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.553 | 125494.0915 | 292215.0008 | 59.9307 | 49.4
2214 | 2022-05-17 12:06 | 21.9935 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.6156 | μmol/L | 17.9109 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.565 | 125539.0298 | 292192.1038 | 59.9307 | 49.4
2224 | 2022-05-17 12:06 | 22.327 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.471 | μmol/L | 17.9109 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.571 | 125587.2877 | 292198.2311 | 59.9307 | 49.4
2234 | 2022-05-17 12:07 | 22.6605 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.2599 | μmol/L | 17.9048 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.582 | 125641.026 | 292202.6947 | 59.9307 | 49.4
2244 | 2022-05-17 12:07 | 22.994 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.9894 | μmol/L | 17.9109 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.591 | 125701.8662 | 292190.0016 | 59.9307 | 49.4
2254 | 2022-05-17 12:07 | 23.3273 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.6472 | μmol/L | 17.9171 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.603 | 125780.8439 | 292193.0661 | 59.9307 | 49.4
2264 | 2022-05-17 12:08 | 23.6606 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.5569 | μmol/L | 17.9109 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.609 | 125798.4726 | 292196.4088 | 59.9307 | 49.4
2274 | 2022-05-17 12:08 | 23.9941 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.4427 | μmol/L | 17.9048 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.616 | 125820.2305 | 292196.026 | 59.9307 | 49.4
2284 | 2022-05-17 12:08 | 24.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.2029 | μmol/L | 17.9048 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.626 | 125884.1506 | 292192.3039 | 59.9307 | 49.4
2294 | 2022-05-17 12:09 | 24.6603 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.1129 | μmol/L | 17.8986 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.632 | 125920.7235 | 292188.8661 | 59.9307 | 49.4
2304 | 2022-05-17 12:09 | 24.9938 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.1187 | μmol/L | 17.8924 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.634 | 125938.3515 | 292187.0028 | 59.9307 | 49.4
2314 | 2022-05-17 12:09 | 25.3272 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.0352 | μmol/L | 17.9048 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.633 | 125956.516 | 292189.1927 | 59.9307 | 49.4
2324 | 2022-05-17 12:10 | 25.6606 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.0708 | μmol/L | 17.8924 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.636 | 125975.3882 | 292188.1355 | 59.9307 | 49.4
2334 | 2022-05-17 12:10 | 25.9939 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.8735 | μmol/L | 17.8986 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.642 | 125975.8435 | 292185.9347 | 59.9307 | 49.4
2344 | 2022-05-17 12:10 | 26.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.748 | μmol/L | 17.9048 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.645 | 126010.053 | 292193.8759 | 59.9307 | 49.4
2354 | 2022-05-17 12:11 | 26.6601 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.6821 | μmol/L | 17.8986 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.65 | 126036.3858 | 292190.202 | 59.9307 | 49.4
2364 | 2022-05-17 12:11 | 26.9936 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.664 | μmol/L | 17.8924 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.653 | 126048.243 | 292196.3151 | 59.9307 | 49.4
2374 | 2022-05-17 12:11 | 27.3274 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.5025 | μmol/L | 17.8863 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.662 | 126106.34 | 292218.8968 | 59.9307 | 49.4
2384 | 2022-05-17 12:12 | 27.6602 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.1625 | μmol/L | 17.8924 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.674 | 126158.2525 | 292193.9526 | 59.9307 | 49.4
2394 | 2022-05-17 12:12 | 27.9937 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.1921 | μmol/L | 17.8863 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.675 | 126211.5592 | 292213.7994 | 59.9307 | 49.4
2404 | 2022-05-17 12:12 | 28.3271 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.067 | μmol/L | 17.8924 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.678 | 126231.633 | 292204.981 | 59.9307 | 49.4
2414 | 2022-05-17 12:13 | 28.6605 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.8647 | μmol/L | 17.9048 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.682 | 126244.7442 | 292210.4908 | 59.9307 | 49.4
2424 | 2022-05-17 12:13 | 28.9941 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.067 | μmol/L | 17.8924 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.678 | 126235.3722 | 292212.7083 | 59.9307 | 49.4
2434 | 2022-05-17 12:13 | 29.3268 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.8943 | μmol/L | 17.8986 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.683 | 126256.6163 | 292226.2391 | 59.9307 | 49.4
2444 | 2022-05-17 12:14 | 29.6605 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.9955 | μmol/L | 17.8924 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.681 | 126264.5967 | 292214.7434 | 59.9307 | 49.4
2454 | 2022-05-17 12:14 | 29.9938 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.906 | μmol/L | 17.8863 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.687 | 126300.7341 | 292225.2544 | 59.9307 | 49.4
2464 | 2022-05-17 12:14 | 30.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.8345 | μmol/L | 17.8863 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.69 | 126315.7681 | 292219.8867 | 59.9307 | 49.4
2474 | 2022-05-17 12:15 | 30.6602 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.6144 | μmol/L | 17.8924 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.697 | 126384.9029 | 292248.0424 | 59.9307 | 49.4
2484 | 2022-05-17 12:15 | 30.9938 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.6441 | μmol/L | 17.8863 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.698 | 126396.2161 | 292241.9407 | 59.9307 | 49.4
2494 | 2022-05-17 12:15 | 31.3272 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.4479 | μmol/L | 17.8924 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.704 | 126391.1588 | 292227.2414 | 59.9307 | 49.4
2504 | 2022-05-17 12:16 | 31.6608 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.5727 | μmol/L | 17.8863 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.701 | 126408.1351 | 292227.4472 | 59.9307 | 49.4
2514 | 2022-05-17 12:16 | 31.9941 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.5965 | μmol/L | 17.8863 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.7 | 126425.9835 | 292217.1039 | 59.9307 | 49.4
2524 | 2022-05-17 12:16 | 32.3269 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.4537 | μmol/L | 17.8863 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.706 | 126432.9219 | 292226.6269 | 59.9307 | 49.4
2534 | 2022-05-17 12:17 | 32.6604 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.3407 | μmol/L | 17.8801 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.713 | 126481.6763 | 292240.538 | 59.9307 | 49.4
2544 | 2022-05-17 12:17 | 32.9939 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.1981 | μmol/L | 17.8801 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.719 | 126545.1114 | 292248.0643 | 59.9307 | 49.4
2554 | 2022-05-17 12:17 | 33.3269 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.0261 | μmol/L | 17.8863 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.724 | 126569.6542 | 292247.0972 | 59.9307 | 49.4
2564 | 2022-05-17 12:18 | 33.6604 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.9845 | μmol/L | 17.8801 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.728 | 126582.1316 | 292236.6837 | 59.9307 | 49.4
2574 | 2022-05-17 12:18 | 33.9937 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.0319 | μmol/L | 17.8801 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.726 | 126592.7451 | 292246.1217 | 59.9307 | 49.4
2584 | 2022-05-17 12:18 | 34.3273 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.0319 | μmol/L | 17.8801 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.726 | 126606.8146 | 292236.5546 | 59.9307 | 49.4
2594 | 2022-05-17 12:19 | 34.6606 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.8363 | μmol/L | 17.8863 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.732 | 126614.9337 | 292210.6338 | 59.9307 | 49.4
2604 | 2022-05-17 12:19 | 34.9941 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.7651 | μmol/L | 17.8863 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.735 | 126636.7707 | 292243.8334 | 59.9307 | 49.4
2614 | 2022-05-17 12:19 | 35.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.8006 | μmol/L | 17.8739 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.738 | 126631.6538 | 292231.2199 | 59.9307 | 49.4
2624 | 2022-05-17 12:20 | 35.6603 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.7886 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.743 | 126696.0901 | 292237.6976 | 59.9307 | 49.4
2634 | 2022-05-17 12:20 | 35.994 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.6879 | μmol/L | 17.8678 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.745 | 126698.5283 | 292234.1501 | 59.9307 | 49.4
2644 | 2022-05-17 12:20 | 36.3271 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.6997 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.749 | 126724.4995 | 292257.4805 | 59.9307 | 49.4
2654 | 2022-05-17 12:21 | 36.6609 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.6464 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.749 | 126751.2694 | 292257.0251 | 59.9307 | 49.4
2664 | 2022-05-17 12:21 | 36.9934 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.6168 | μmol/L | 17.8678 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.748 | 126764.2016 | 292252.1284 | 59.9307 | 49.4
2674 | 2022-05-17 12:21 | 37.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.5695 | μmol/L | 17.8678 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.75 | 126773.7263 | 292237.5672 | 59.9307 | 49.4
2684 | 2022-05-17 12:22 | 37.6604 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.7056 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.751 | 126762.0268 | 292243.7405 | 59.9307 | 49.4
2694 | 2022-05-17 12:22 | 37.9936 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.7885 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.752 | 126765.8744 | 292220.3879 | 59.9307 | 49.4
2704 | 2022-05-17 12:22 | 38.3275 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.7234 | μmol/L | 17.8307 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.757 | 126791.749 | 292210.4045 | 59.9307 | 49.4
2714 | 2022-05-17 12:23 | 38.66 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.4688 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.761 | 126802.4223 | 292214.768 | 59.9307 | 49.4
2724 | 2022-05-17 12:23 | 38.9936 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.522 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.761 | 126829.796 | 292234.8094 | 59.9307 | 49.4
2734 | 2022-05-17 12:23 | 39.3271 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.4155 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.761 | 126849.8475 | 292221.0037 | 59.9307 | 49.4
2744 | 2022-05-17 12:24 | 39.6605 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.3268 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.767 | 126877.1435 | 292222.3765 | 59.9307 | 49.4
2754 | 2022-05-17 12:24 | 39.9934 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.1199 | μmol/L | 17.8678 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.769 | 126902.2337 | 292197.7474 | 59.9307 | 49.4
2764 | 2022-05-17 12:24 | 40.327 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.9545 | μmol/L | 17.8678 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.776 | 126923.277 | 292199.8302 | 59.9307 | 49.4
2774 | 2022-05-17 12:25 | 40.6607 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.9604 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.778 | 126937.1262 | 292180.8489 | 59.9307 | 49.4
2784 | 2022-05-17 12:25 | 40.9933 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.8423 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.783 | 126961.2759 | 292179.1749 | 59.9307 | 49.4
2794 | 2022-05-17 12:25 | 41.3271 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.7715 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.786 | 126967.423 | 292183.8345 | 59.9307 | 49.4
2804 | 2022-05-17 12:26 | 41.6606 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.8246 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.786 | 126981.7756 | 292150.6185 | 59.9307 | 49.4
2814 | 2022-05-17 12:26 | 41.9933 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.9073 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.787 | 126948.5809 | 292169.9341 | 59.9307 | 49.4
2824 | 2022-05-17 12:26 | 42.3268 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.7538 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.789 | 126982.6542 | 292144.7306 | 59.9307 | 49.4
2834 | 2022-05-17 12:27 | 42.6605 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.5651 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.797 | 127024.0696 | 292161.9905 | 59.9307 | 49.4
2844 | 2022-05-17 12:27 | 42.9938 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.4472 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.802 | 127072.2314 | 292157.1217 | 59.9307 | 49.4
2854 | 2022-05-17 12:27 | 43.3272 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.1587 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.812 | 127116.1363 | 292134.4125 | 59.9307 | 49.4
2864 | 2022-05-17 12:28 | 43.6607 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.094 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.817 | 127145.4454 | 292123.7584 | 59.9307 | 49.4
2874 | 2022-05-17 12:28 | 43.9934 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 274.8059 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.827 | 127185.4324 | 292110.6865 | 59.9307 | 49.4
2884 | 2022-05-17 12:28 | 44.3269 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 274.6004 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.838 | 127252.9311 | 292093.2122 | 59.9307 | 49.4
2894 | 2022-05-17 12:29 | 44.6605 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 274.1488 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.855 | 127346.9255 | 292067.1034 | 59.9307 | 49.4
2904 | 2022-05-17 12:29 | 44.9934 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 273.9146 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.865 | 127396.0018 | 292095.8299 | 59.9307 | 49.4
2914 | 2022-05-17 12:29 | 45.3269 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 273.938 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.864 | 127388.2887 | 292068.8312 | 59.9307 | 49.4
2924 | 2022-05-17 12:30 | 45.6604 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 273.9673 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.865 | 127391.3278 | 292058.4903 | 59.9307 | 49.4
2934 | 2022-05-17 12:30 | 45.9939 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 274.0435 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.864 | 127387.3313 | 292044.0804 | 59.9307 | 49.4
2944 | 2022-05-17 12:30 | 46.3275 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 274.0495 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.866 | 127378.1506 | 292040.2046 | 59.9307 | 49.4
2954 | 2022-05-17 12:31 | 46.6601 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 274.032 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.869 | 127358.299 | 292028.6233 | 59.9307 | 49.4
2964 | 2022-05-17 12:31 | 46.9941 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 273.9265 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.869 | 127361.5937 | 292018.6008 | 59.9307 | 49.4
2974 | 2022-05-17 12:31 | 47.3268 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 274.0201 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.865 | 127364.0975 | 292014.2401 | 59.9307 | 49.4
2984 | 2022-05-17 12:32 | 47.6603 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 274.0201 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.865 | 127348.3113 | 292004.8396 | 59.9307 | 49.4
2994 | 2022-05-17 12:32 | 47.9937 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 273.8503 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.87 | 127323.5786 | 291986.6164 | 59.9307 | 49.4
3004 | 2022-05-17 12:32 | 48.3271 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 273.9673 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.865 | 127319.1635 | 291976.6817 | 59.9307 | 49.4
3014 | 2022-05-17 12:33 | 48.6607 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 273.9439 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.866 | 127313.2428 | 291955.9672 | 59.9307 | 49.4
3024 | 2022-05-17 12:33 | 48.9934 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 273.8737 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.869 | 127302.0338 | 291938.5582 | 59.9307 | 49.4
3034 | 2022-05-17 12:33 | 49.327 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 273.8563 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.872 | 127317.4652 | 291926.5536 | 59.9307 | 49.4
3044 | 2022-05-17 12:34 | 49.6606 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 273.8388 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.875 | 127346.7393 | 291931.9264 | 59.9307 | 49.4
3054 | 2022-05-17 12:34 | 49.9939 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 273.7452 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.879 | 127380.9532 | 291897.5553 | 59.9307 | 49.4
3064 | 2022-05-17 12:34 | 50.3274 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 273.5642 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.889 | 127381.081 | 291875.3471 | 59.9307 | 49.4
3074 | 2022-05-17 12:35 | 50.66 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 273.348 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.896 | 127399.1255 | 291868.8537 | 59.9307 | 49.4
3084 | 2022-05-17 12:35 | 50.9934 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 273.2546 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.9 | 127424.4165 | 291860.4336 | 59.9307 | 49.4
3094 | 2022-05-17 12:35 | 51.3271 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 273.1846 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.903 | 127454.8638 | 291840.6733 | 59.9307 | 49.4
3104 | 2022-05-17 12:36 | 51.6608 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 272.9455 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.911 | 127485.4886 | 291834.5543 | 59.9307 | 49.4
3114 | 2022-05-17 12:36 | 51.9934 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 272.7824 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.918 | 127532.959 | 291834.895 | 59.9307 | 49.4
3124 | 2022-05-17 12:36 | 52.3268 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 272.5496 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.928 | 127548.0872 | 291808.0754 | 59.9307 | 49.4
3134 | 2022-05-17 12:37 | 52.6602 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 272.3576 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.934 | 127588.7592 | 291826.3854 | 59.9307 | 49.4
3144 | 2022-05-17 12:37 | 52.9936 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 272.422 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.938 | 127607.044 | 291797.7432 | 59.9307 | 49.4
3154 | 2022-05-17 12:37 | 53.327 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 272.1372 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.948 | 127657.3525 | 291780.2307 | 59.9307 | 49.4
3164 | 2022-05-17 12:38 | 53.6608 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.9919 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.952 | 127699.7903 | 291768.0595 | 59.9307 | 49.4
3174 | 2022-05-17 12:38 | 53.9934 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.7428 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.965 | 127737.8071 | 291754.6536 | 59.9307 | 49.4
3184 | 2022-05-17 12:38 | 54.3268 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.5343 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.974 | 127744.8961 | 291754.6537 | 59.9307 | 49.4
3194 | 2022-05-17 12:39 | 54.6605 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.5746 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.97 | 127756.1127 | 291740.2648 | 59.9307 | 49.4
3204 | 2022-05-17 12:39 | 54.9935 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.2968 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.982 | 127782.1081 | 291725.8529 | 59.9307 | 49.4
3214 | 2022-05-17 12:39 | 55.3271 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.2274 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.985 | 127810.3713 | 291720.0304 | 59.9307 | 49.4
3224 | 2022-05-17 12:40 | 55.6607 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.2214 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.983 | 127810.2943 | 291716.6734 | 59.9307 | 49.4
3234 | 2022-05-17 12:40 | 55.9935 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.0887 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.991 | 127818.2817 | 291707.763 | 59.9307 | 49.4
3244 | 2022-05-17 12:40 | 56.3268 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.0715 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.994 | 127849.8509 | 291683.1043 | 59.9307 | 49.4
3254 | 2022-05-17 12:41 | 56.6604 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.7653 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.005 | 127890.9042 | 291673.8869 | 59.9307 | 49.4
3264 | 2022-05-17 12:41 | 56.9938 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.6329 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.013 | 127948.5091 | 291674.4674 | 59.9307 | 49.4
3274 | 2022-05-17 12:41 | 57.3275 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.5637 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.016 | 127956.137 | 291667.9411 | 59.9307 | 49.4
3284 | 2022-05-17 12:42 | 57.6602 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.4484 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.021 | 127989.9097 | 291644.3717 | 59.9307 | 49.4
3294 | 2022-05-17 12:42 | 57.9936 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.2932 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.03 | 128020.2617 | 291628.2444 | 59.9307 | 49.4
3304 | 2022-05-17 12:42 | 58.3271 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.2762 | μmol/L | 17.8307 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.033 | 128047.6311 | 291617.2365 | 59.9307 | 49.4
3314 | 2022-05-17 12:43 | 58.6606 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.1841 | μmol/L | 17.8307 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.037 | 128047.5846 | 291586.4929 | 59.9307 | 49.4
3324 | 2022-05-17 12:43 | 58.9933 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.804 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.049 | 128098.273 | 291583.6943 | 59.9307 | 49.4
3334 | 2022-05-17 12:43 | 59.3268 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.862 | μmol/L | 17.8307 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.051 | 128128.2992 | 291569.9839 | 59.9307 | 49.4
3344 | 2022-05-17 12:44 | 59.6603 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.6432 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.056 | 128122.017 | 291564.0421 | 59.9307 | 49.4
3354 | 2022-05-17 12:44 | 59.9938 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.6553 | μmol/L | 17.8307 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.06 | 128124.0112 | 291534.6634 | 59.9307 | 49.4
3364 | 2022-05-17 12:44 | 60.3272 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.6492 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.058 | 128144.3439 | 291552.419 | 59.9307 | 49.4
3374 | 2022-05-17 12:45 | 60.66 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.4596 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.064 | 128123.0059 | 291526.3799 | 59.9307 | 49.4
3384 | 2022-05-17 12:45 | 60.9936 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.4656 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.066 | 128110.4219 | 291505.0199 | 59.9307 | 49.4
3394 | 2022-05-17 12:45 | 61.3272 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.7133 | μmol/L | 17.8184 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.062 | 128092.6869 | 291515.9392 | 59.9307 | 49.4
3404 | 2022-05-17 12:46 | 61.6607 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.7532 | μmol/L | 17.8246 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.058 | 128046.0804 | 291496.7995 | 59.9307 | 49.4
3414 | 2022-05-17 12:46 | 61.994 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.7762 | μmol/L | 17.8246 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.057 | 128028.6553 | 291477.2492 | 59.9307 | 49.4
3424 | 2022-05-17 12:46 | 62.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.7472 | μmol/L | 17.8307 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.056 | 128018.2624 | 291475.3934 | 59.9307 | 49.4
3434 | 2022-05-17 12:47 | 62.6602 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.7871 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.052 | 127990.4102 | 291454.5528 | 59.9307 | 49.4
3444 | 2022-05-17 12:47 | 62.9935 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.7871 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.052 | 127976.4273 | 291440.4672 | 59.9307 | 49.4
3454 | 2022-05-17 12:47 | 63.327 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.7411 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.054 | 127990.7543 | 291434.8897 | 59.9307 | 49.4
3464 | 2022-05-17 12:48 | 63.6604 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.7411 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.054 | 128001.0572 | 291433.5055 | 59.9307 | 49.4
3474 | 2022-05-17 12:48 | 63.9939 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.5345 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.063 | 128008.5903 | 291432.8721 | 59.9307 | 49.4
3484 | 2022-05-17 12:48 | 64.3273 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.5634 | μmol/L | 17.8307 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.064 | 128001.8089 | 291395.2557 | 59.9307 | 49.4
3494 | 2022-05-17 12:49 | 64.6603 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.3907 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.067 | 128020.1072 | 291383.2061 | 59.9307 | 49.4
3504 | 2022-05-17 12:49 | 64.9939 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.3051 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.073 | 128033.3758 | 291379.307 | 59.9307 | 49.4
3514 | 2022-05-17 12:49 | 65.3274 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.2592 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.075 | 128015.5416 | 291375.4065 | 59.9307 | 49.4
3524 | 2022-05-17 12:50 | 65.6601 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.3051 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.073 | 128003.4123 | 291331.0208 | 59.9307 | 49.4
3534 | 2022-05-17 12:50 | 65.9935 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.2255 | μmol/L | 17.8246 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.081 | 128016.0069 | 291335.4607 | 59.9307 | 49.4
3544 | 2022-05-17 12:50 | 66.3268 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.0651 | μmol/L | 17.8246 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.088 | 128067.1949 | 291340.8451 | 59.9307 | 49.4
3554 | 2022-05-17 12:51 | 66.6603 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.7736 | μmol/L | 17.8184 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.103 | 128160.1798 | 291315.9119 | 59.9307 | 49.4
3564 | 2022-05-17 12:51 | 66.9934 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.5115 | μmol/L | 17.8061 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.119 | 128264.0919 | 291302.0869 | 59.9307 | 49.4
3573 | 2022-05-17 12:51 | 67.3269 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.163 | μmol/L | 17.8122 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.132 | 128311.7854 | 291297.573 | 59.9307 | 49.4