## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_4 | O2 | 32092713 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:51

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 14:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
3581 | 2022-05-17 13:13 | 0 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.2534 | μmol/L | 17.9586 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.359 | 25894.2174 | 293353.4194 | 28.7 | 67.6
3591 | 2022-05-17 13:13 | 0.34085 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.1061 | μmol/L | 17.9586 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.365 | 25888.7031 | 293328.854 | 28.7 | 67.6
3601 | 2022-05-17 13:14 | 0.67424 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.2631 | μmol/L | 17.9464 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.363 | 25887.5624 | 293315.9216 | 28.7 | 67.6
3611 | 2022-05-17 13:14 | 1.0068 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.9097 | μmol/L | 17.9586 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.373 | 25878.3915 | 293318.3367 | 28.7 | 67.6
3621 | 2022-05-17 13:14 | 1.3402 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.9685 | μmol/L | 17.9464 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.375 | 25877.2263 | 293296.0924 | 28.7 | 67.6
3631 | 2022-05-17 13:15 | 1.6735 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.1158 | μmol/L | 17.9464 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.369 | 25878.3645 | 293294.1484 | 28.7 | 67.6
3641 | 2022-05-17 13:15 | 2.0069 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.9833 | μmol/L | 17.9586 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.37 | 25867.1673 | 293273.1976 | 28.7 | 67.6
3651 | 2022-05-17 13:15 | 2.3401 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.9636 | μmol/L | 17.9525 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.373 | 25867.8233 | 293250.9995 | 28.7 | 67.6
3661 | 2022-05-17 13:16 | 2.6741 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.6987 | μmol/L | 17.9464 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.386 | 25869.2185 | 293243.3101 | 28.7 | 67.6
3671 | 2022-05-17 13:16 | 3.0076 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.9145 | μmol/L | 17.9525 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.375 | 25860.8787 | 293226.2848 | 28.7 | 67.6
3681 | 2022-05-17 13:16 | 3.3408 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.0421 | μmol/L | 17.9464 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.372 | 25852.4513 | 293206.0976 | 28.7 | 67.6
3691 | 2022-05-17 13:17 | 3.6742 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.8556 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.384 | 25850.5283 | 293182.8492 | 28.7 | 67.6
3701 | 2022-05-17 13:17 | 4.0074 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.0273 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.377 | 25849.2802 | 293178.9294 | 28.7 | 67.6
3711 | 2022-05-17 13:17 | 4.3408 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.9488 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.378 | 25841.2728 | 293177.6153 | 28.7 | 67.6
3721 | 2022-05-17 13:18 | 4.6739 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.0715 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.373 | 25843.3865 | 293173.2731 | 28.7 | 67.6
3731 | 2022-05-17 13:18 | 5.0072 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.4489 | μmol/L | 17.9525 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.394 | 25834.9835 | 293151.0047 | 28.7 | 67.6
3741 | 2022-05-17 13:18 | 5.3403 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.8703 | μmol/L | 17.9464 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.379 | 25832.7301 | 293138.1905 | 28.7 | 67.6
3751 | 2022-05-17 13:19 | 5.6737 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.8164 | μmol/L | 17.9525 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.379 | 25834.9101 | 293112.145 | 28.7 | 67.6
3761 | 2022-05-17 13:19 | 6.0071 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.6056 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.392 | 25824.6013 | 293092.3374 | 28.7 | 67.6
3771 | 2022-05-17 13:19 | 6.3405 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.8949 | μmol/L | 17.9464 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.378 | 25823.8811 | 293089.3232 | 28.7 | 67.6
3781 | 2022-05-17 13:20 | 6.6738 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.8997 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.38 | 25820.9007 | 293061.8029 | 28.7 | 67.6
3791 | 2022-05-17 13:20 | 7.0071 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.6007 | μmol/L | 17.9464 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.39 | 25823.6536 | 293048.0802 | 28.7 | 67.6
3801 | 2022-05-17 13:20 | 7.3403 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.1112 | μmol/L | 17.9464 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.41 | 25838.1942 | 293035.9147 | 28.7 | 67.6
3811 | 2022-05-17 13:21 | 7.6737 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.7497 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.427 | 25859.7354 | 293011.9993 | 28.7 | 67.6
3821 | 2022-05-17 13:21 | 8.007 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.6277 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.432 | 25876.6507 | 292980.6022 | 28.7 | 67.6
3831 | 2022-05-17 13:21 | 8.3402 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.1403 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.452 | 25892.36 | 292984.9196 | 28.7 | 67.6
3841 | 2022-05-17 13:22 | 8.6736 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.3888 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.444 | 25882.9936 | 292965.6219 | 28.7 | 67.6
3851 | 2022-05-17 13:22 | 9.0069 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.3351 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.444 | 25886.2548 | 292955.7249 | 28.7 | 67.6
3861 | 2022-05-17 13:22 | 9.3402 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6831 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.473 | 25909.242 | 292934.5109 | 28.7 | 67.6
3871 | 2022-05-17 13:23 | 9.6736 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.5826 | μmol/L | 17.9464 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.514 | 25941.7311 | 292902.63 | 28.7 | 67.6
3881 | 2022-05-17 13:23 | 10.0071 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.0562 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.538 | 25980.9749 | 292898.7329 | 28.7 | 67.6
3891 | 2022-05-17 13:23 | 10.3404 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.2374 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.572 | 26010.8296 | 292875.8443 | 28.7 | 67.6
3901 | 2022-05-17 13:24 | 10.6737 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.9732 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.583 | 26039.1255 | 292877.4629 | 28.7 | 67.6
3911 | 2022-05-17 13:24 | 11.0071 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.4166 | μmol/L | 17.9464 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.604 | 26055.1418 | 292849.8438 | 28.7 | 67.6
3921 | 2022-05-17 13:24 | 11.3404 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.3687 | μmol/L | 17.9464 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.606 | 26055.0948 | 292838.8098 | 28.7 | 67.6
3931 | 2022-05-17 13:25 | 11.6738 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.7572 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.592 | 26018.8966 | 292830.0696 | 28.7 | 67.6
3941 | 2022-05-17 13:25 | 12.0073 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.4348 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.566 | 25998.8529 | 292813.8916 | 28.7 | 67.6
3951 | 2022-05-17 13:25 | 12.3407 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.2615 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.571 | 25998.8332 | 292808.3641 | 28.7 | 67.6
3961 | 2022-05-17 13:26 | 12.6741 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.9251 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.585 | 26006.112 | 292803.0619 | 28.7 | 67.6
3971 | 2022-05-17 13:26 | 13.0076 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.7092 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.594 | 26021.0397 | 292791.2387 | 28.7 | 67.6
3981 | 2022-05-17 13:26 | 13.3409 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.3018 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.611 | 26033.2608 | 292752.4402 | 28.7 | 67.6
3991 | 2022-05-17 13:27 | 13.6734 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.3787 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.61 | 26050.0901 | 292749.9949 | 28.7 | 67.6
4001 | 2022-05-17 13:27 | 14.0076 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.8952 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.628 | 26061.9101 | 292758.303 | 28.7 | 67.6
4011 | 2022-05-17 13:27 | 14.3409 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.0147 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.623 | 26064.6627 | 292738.7909 | 28.7 | 67.6
4021 | 2022-05-17 13:28 | 14.6743 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.5848 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.641 | 26065.3352 | 292745.365 | 28.7 | 67.6
4031 | 2022-05-17 13:28 | 15.0075 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.6853 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.639 | 26065.4253 | 292736.8351 | 28.7 | 67.6
4041 | 2022-05-17 13:28 | 15.3401 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.2271 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.656 | 26067.2745 | 292721.8055 | 28.7 | 67.6
4051 | 2022-05-17 13:29 | 15.6741 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.2559 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.657 | 26079.4448 | 292707.8457 | 28.7 | 67.6
4061 | 2022-05-17 13:29 | 16.0068 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.2083 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.659 | 26086.2377 | 292704.3788 | 28.7 | 67.6
4071 | 2022-05-17 13:29 | 16.3401 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.2083 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.659 | 26084.5187 | 292693.9344 | 28.7 | 67.6
4081 | 2022-05-17 13:30 | 16.6735 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 276.9889 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.666 | 26078.4159 | 292679.5835 | 28.7 | 67.6
4091 | 2022-05-17 13:30 | 17.0068 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.1844 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.66 | 26076.8876 | 292678.8994 | 28.7 | 67.6
4101 | 2022-05-17 13:30 | 17.3403 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.0365 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.664 | 26077.1817 | 292655.8831 | 28.7 | 67.6
4111 | 2022-05-17 13:31 | 17.6737 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 276.9702 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.669 | 26071.7577 | 292649.0879 | 28.7 | 67.6
4121 | 2022-05-17 13:31 | 18.0071 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.1844 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.66 | 26071.4931 | 292630.7862 | 28.7 | 67.6
4131 | 2022-05-17 13:31 | 18.3406 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.4228 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.65 | 26056.3286 | 292641.1337 | 28.7 | 67.6
4141 | 2022-05-17 13:32 | 18.6739 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.6325 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.639 | 26045.1212 | 292631.1246 | 28.7 | 67.6
4151 | 2022-05-17 13:32 | 19.0074 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.0892 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.664 | 26063.8613 | 292625.4694 | 28.7 | 67.6
4161 | 2022-05-17 13:32 | 19.3408 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 276.7798 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.677 | 26081.2286 | 292622.3394 | 28.7 | 67.6
4171 | 2022-05-17 13:33 | 19.674 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 276.4947 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.689 | 26095.7987 | 292612.4179 | 28.7 | 67.6
4181 | 2022-05-17 13:33 | 20.0073 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 276.281 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.698 | 26101.5146 | 292604.9049 | 28.7 | 67.6
4191 | 2022-05-17 13:33 | 20.3404 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 275.9491 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.712 | 26107.4048 | 292590.6239 | 28.7 | 67.6
4201 | 2022-05-17 13:34 | 20.6738 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 275.6649 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.724 | 26124.1025 | 292605.4159 | 28.7 | 67.6
4211 | 2022-05-17 13:34 | 21.0071 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 275.6886 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.723 | 26139.7752 | 292593.2608 | 28.7 | 67.6
4221 | 2022-05-17 13:34 | 21.3404 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 275.2394 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.742 | 26144.5919 | 292567.8706 | 28.7 | 67.6
4231 | 2022-05-17 13:35 | 21.674 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 275.0977 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.748 | 26155.7054 | 292568.8084 | 28.7 | 67.6
4241 | 2022-05-17 13:35 | 22.0073 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 275.1972 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.746 | 26156.748 | 292543.3242 | 28.7 | 67.6
4251 | 2022-05-17 13:35 | 22.3407 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 275.1028 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.75 | 26163.8731 | 292541.7125 | 28.7 | 67.6
4261 | 2022-05-17 13:36 | 22.674 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.4613 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.775 | 26169.3916 | 292531.7741 | 28.7 | 67.6
4271 | 2022-05-17 13:36 | 23.0074 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.574 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.768 | 26169.684 | 292532.5779 | 28.7 | 67.6
4281 | 2022-05-17 13:36 | 23.3409 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.5269 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.77 | 26174.5918 | 292531.3621 | 28.7 | 67.6
4291 | 2022-05-17 13:37 | 23.6736 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.5555 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.771 | 26173.911 | 292501.3145 | 28.7 | 67.6
4301 | 2022-05-17 13:37 | 24.0069 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.3907 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.778 | 26184.0129 | 292510.4796 | 28.7 | 67.6
4311 | 2022-05-17 13:37 | 24.3402 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.2731 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.783 | 26189.2992 | 292495.9589 | 28.7 | 67.6
4321 | 2022-05-17 13:38 | 24.6737 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.0901 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.793 | 26192.5249 | 292505.8647 | 28.7 | 67.6
4331 | 2022-05-17 13:38 | 25.007 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.2261 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.785 | 26194.8217 | 292499.2654 | 28.7 | 67.6
4341 | 2022-05-17 13:38 | 25.3407 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.9727 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.798 | 26192.205 | 292491.4905 | 28.7 | 67.6
4351 | 2022-05-17 13:39 | 25.6739 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.1136 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.792 | 26194.0926 | 292480.3932 | 28.7 | 67.6
4361 | 2022-05-17 13:39 | 26.0072 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.5972 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.814 | 26206.1281 | 292496.612 | 28.7 | 67.6
4371 | 2022-05-17 13:39 | 26.3405 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.2173 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.828 | 26219.2772 | 292462.7933 | 28.7 | 67.6
4381 | 2022-05-17 13:40 | 26.6737 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.1939 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.829 | 26222.9532 | 292450.3351 | 28.7 | 67.6
4391 | 2022-05-17 13:40 | 27.0072 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.1471 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.831 | 26231.8782 | 292450.6683 | 28.7 | 67.6
4401 | 2022-05-17 13:40 | 27.3407 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.2875 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.825 | 26234.0895 | 292443.7328 | 28.7 | 67.6
4411 | 2022-05-17 13:41 | 27.6739 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.9599 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.839 | 26236.2984 | 292430.0197 | 28.7 | 67.6
4421 | 2022-05-17 13:41 | 28.0072 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.6613 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.854 | 26240.2939 | 292423.0355 | 28.7 | 67.6
4431 | 2022-05-17 13:41 | 28.3406 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.9833 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.838 | 26242.3094 | 292427.0291 | 28.7 | 67.6
4441 | 2022-05-17 13:42 | 28.6738 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.708 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.852 | 26237.2028 | 292418.0978 | 28.7 | 67.6
4451 | 2022-05-17 13:42 | 29.0072 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.708 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.852 | 26240.6194 | 292400.0785 | 28.7 | 67.6
4461 | 2022-05-17 13:42 | 29.3406 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.4462 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.861 | 26240.2272 | 292403.3862 | 28.7 | 67.6
4471 | 2022-05-17 13:43 | 29.6739 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.8015 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.848 | 26238.899 | 292397.948 | 28.7 | 67.6
4481 | 2022-05-17 13:43 | 30.0072 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.8949 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.844 | 26224.5903 | 292395.1715 | 28.7 | 67.6
4491 | 2022-05-17 13:43 | 30.3404 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.6095 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.854 | 26231.5876 | 292357.7047 | 28.7 | 67.6
4501 | 2022-05-17 13:44 | 30.6737 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.638 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.855 | 26242.7682 | 292369.6581 | 28.7 | 67.6
4511 | 2022-05-17 13:44 | 31.007 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.4097 | μmol/L | 17.9221 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.867 | 26249.0682 | 292352.6373 | 28.7 | 67.6
4521 | 2022-05-17 13:44 | 31.3405 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.4695 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.86 | 26246.0554 | 292343.0346 | 28.7 | 67.6
4531 | 2022-05-17 13:45 | 31.6739 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.2363 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.87 | 26245.0289 | 292336.4688 | 28.7 | 67.6
4541 | 2022-05-17 13:45 | 32.0072 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.2181 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.873 | 26253.2867 | 292333.293 | 28.7 | 67.6
4551 | 2022-05-17 13:45 | 32.3406 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.8172 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.888 | 26260.8708 | 292332.403 | 28.7 | 67.6
4561 | 2022-05-17 13:46 | 32.674 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.306 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.91 | 26279.6615 | 292321.486 | 28.7 | 67.6
4571 | 2022-05-17 13:46 | 33.0073 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.5666 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.901 | 26279.5138 | 292295.0093 | 28.7 | 67.6
4581 | 2022-05-17 13:46 | 33.3408 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.2931 | μmol/L | 17.9221 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.915 | 26284.1672 | 292306.6949 | 28.7 | 67.6
4591 | 2022-05-17 13:47 | 33.674 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.3756 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.907 | 26282.6488 | 292299.5479 | 28.7 | 67.6
4601 | 2022-05-17 13:47 | 34.0074 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.935 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.926 | 26291.2112 | 292295.8483 | 28.7 | 67.6
4611 | 2022-05-17 13:47 | 34.3409 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.8243 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.933 | 26302.009 | 292295.5659 | 28.7 | 67.6
4621 | 2022-05-17 13:48 | 34.6741 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.935 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.926 | 26303.9474 | 292289.0066 | 28.7 | 67.6
4631 | 2022-05-17 13:48 | 35.0075 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.9221 | μmol/L | 17.9221 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.931 | 26309.4817 | 292278.83 | 28.7 | 67.6
4641 | 2022-05-17 13:48 | 35.3408 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.4669 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.944 | 26305.2218 | 292269.0323 | 28.7 | 67.6
4651 | 2022-05-17 13:49 | 35.6742 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.4951 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.945 | 26305.2444 | 292259.4081 | 28.7 | 67.6
4661 | 2022-05-17 13:49 | 36.0074 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.7548 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.936 | 26318.3363 | 292248.0359 | 28.7 | 67.6
4671 | 2022-05-17 13:49 | 36.3407 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.4592 | μmol/L | 17.9221 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.951 | 26323.4355 | 292257.2751 | 28.7 | 67.6
4681 | 2022-05-17 13:50 | 36.6741 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.0152 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.968 | 26340.3136 | 292253.4195 | 28.7 | 67.6
4691 | 2022-05-17 13:50 | 37.0074 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.1768 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.961 | 26339.7576 | 292243.4132 | 28.7 | 67.6
4701 | 2022-05-17 13:50 | 37.3407 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.0331 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.965 | 26334.8516 | 292237.304 | 28.7 | 67.6
4711 | 2022-05-17 13:51 | 37.6742 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.1999 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.96 | 26336.3114 | 292230.2023 | 28.7 | 67.6
4721 | 2022-05-17 13:51 | 38.0069 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.9742 | μmol/L | 17.9221 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.972 | 26333.3248 | 292229.6558 | 28.7 | 67.6
4731 | 2022-05-17 13:51 | 38.3403 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.8359 | μmol/L | 17.9221 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.978 | 26341.1563 | 292222.4076 | 28.7 | 67.6
4741 | 2022-05-17 13:52 | 38.6737 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.7333 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.978 | 26345.6666 | 292204.5553 | 28.7 | 67.6
4751 | 2022-05-17 13:52 | 39.0072 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.7154 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.981 | 26354.0015 | 292214.6944 | 28.7 | 67.6
4761 | 2022-05-17 13:52 | 39.3404 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.5824 | μmol/L | 17.9221 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.989 | 26360.4361 | 292196.5517 | 28.7 | 67.6
4771 | 2022-05-17 13:53 | 39.6738 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.3931 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.995 | 26361.5457 | 292195.935 | 28.7 | 67.6
4781 | 2022-05-17 13:53 | 40.0072 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.4391 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.993 | 26355.5338 | 292172.4073 | 28.7 | 67.6
4791 | 2022-05-17 13:53 | 40.3405 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.4621 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.992 | 26354.181 | 292187.4562 | 28.7 | 67.6
4801 | 2022-05-17 13:54 | 40.6736 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.3649 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.994 | 26353.1301 | 292170.4661 | 28.7 | 67.6
4811 | 2022-05-17 13:54 | 41.0069 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.37 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.996 | 26359.4116 | 292172.127 | 28.7 | 67.6
4821 | 2022-05-17 13:54 | 41.3405 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.3879 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.993 | 26359.8741 | 292152.3432 | 28.7 | 67.6
4831 | 2022-05-17 13:55 | 41.674 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.1631 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.005 | 26366.6696 | 292126.1227 | 28.7 | 67.6
4841 | 2022-05-17 13:55 | 42.0075 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.0711 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.009 | 26370.3092 | 292132.6872 | 28.7 | 67.6
4851 | 2022-05-17 13:55 | 42.3401 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.255 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.001 | 26367.7066 | 292113.2409 | 28.7 | 67.6
4861 | 2022-05-17 13:56 | 42.6738 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.0993 | μmol/L | 17.9221 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.01 | 26368.5462 | 292109.6779 | 28.7 | 67.6
4871 | 2022-05-17 13:56 | 43.0072 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.8185 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.02 | 26377.0525 | 292097.7264 | 28.7 | 67.6
4881 | 2022-05-17 13:56 | 43.3407 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.8645 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.018 | 26377.3739 | 292083.8422 | 28.7 | 67.6
4891 | 2022-05-17 13:57 | 43.6742 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.7216 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.022 | 26378.0231 | 292072.78 | 28.7 | 67.6
4901 | 2022-05-17 13:57 | 44.0076 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.4339 | μmol/L | 17.9221 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.039 | 26398.5755 | 292081.4664 | 28.7 | 67.6
4911 | 2022-05-17 13:57 | 44.3408 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.1945 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.045 | 26403.0197 | 292059.7152 | 28.7 | 67.6
4921 | 2022-05-17 13:58 | 44.6742 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.2278 | μmol/L | 17.9221 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.048 | 26410.2478 | 292072.5298 | 28.7 | 67.6
4931 | 2022-05-17 13:58 | 45.0068 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.8972 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.058 | 26410.9315 | 292043.6861 | 28.7 | 67.6
4941 | 2022-05-17 13:58 | 45.3409 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.9658 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.055 | 26419.3676 | 292034.1043 | 28.7 | 67.6
4951 | 2022-05-17 13:59 | 45.6735 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.5142 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.077 | 26421.1141 | 292027.3967 | 28.7 | 67.6
4961 | 2022-05-17 13:59 | 46.0068 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.7425 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.067 | 26427.3301 | 292016.0142 | 28.7 | 67.6
4971 | 2022-05-17 13:59 | 46.3408 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.6968 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.069 | 26426.657 | 292004.8025 | 28.7 | 67.6
4981 | 2022-05-17 14:00 | 46.6741 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.0356 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.098 | 26434.1087 | 291994.2637 | 28.7 | 67.6
4991 | 2022-05-17 14:00 | 47.0068 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.3089 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.086 | 26444.3399 | 292003.4285 | 28.7 | 67.6
5001 | 2022-05-17 14:00 | 47.3402 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.0303 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.096 | 26443.2573 | 291979.8172 | 28.7 | 67.6
5011 | 2022-05-17 14:01 | 47.6738 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.2861 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.087 | 26436.1335 | 291963.2053 | 28.7 | 67.6
5021 | 2022-05-17 14:01 | 48.0071 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.9341 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.098 | 26443.4351 | 291961.0828 | 28.7 | 67.6
5031 | 2022-05-17 14:01 | 48.3407 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.195 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.091 | 26444.3772 | 291952.2811 | 28.7 | 67.6
5041 | 2022-05-17 14:02 | 48.674 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.8762 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.105 | 26440.3263 | 291955.5255 | 28.7 | 67.6
5051 | 2022-05-17 14:02 | 49.0075 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.9217 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.103 | 26444.7971 | 291945.7751 | 28.7 | 67.6
5061 | 2022-05-17 14:02 | 49.3408 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.0759 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.094 | 26447.2093 | 291935.3371 | 28.7 | 67.6
5071 | 2022-05-17 14:03 | 49.6742 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.7398 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.111 | 26447.4739 | 291920.567 | 28.7 | 67.6
5081 | 2022-05-17 14:03 | 50.0076 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.6489 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.115 | 26443.9517 | 291912.9736 | 28.7 | 67.6
5091 | 2022-05-17 14:03 | 50.3409 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.5982 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.115 | 26454.5462 | 291905.6123 | 28.7 | 67.6
5101 | 2022-05-17 14:04 | 50.6742 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.3938 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.124 | 26459.5001 | 291886.1931 | 28.7 | 67.6
5111 | 2022-05-17 14:04 | 51.0075 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.5125 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.121 | 26459.1625 | 291889.7653 | 28.7 | 67.6
5121 | 2022-05-17 14:04 | 51.3408 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.1093 | μmol/L | 17.9221 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.141 | 26464.8674 | 291892.9388 | 28.7 | 67.6
5131 | 2022-05-17 14:05 | 51.6742 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.1668 | μmol/L | 17.9281 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.136 | 26473.0046 | 291874.8663 | 28.7 | 67.6
5141 | 2022-05-17 14:05 | 52.0073 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.1267 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.138 | 26481.5738 | 291872.4392 | 28.7 | 67.6
5151 | 2022-05-17 14:05 | 52.3406 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.8722 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.147 | 26485.1921 | 291869.2003 | 28.7 | 67.6
5161 | 2022-05-17 14:06 | 52.6737 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.3693 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.167 | 26494.6745 | 291873.6067 | 28.7 | 67.6
5171 | 2022-05-17 14:06 | 53.0074 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.5606 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.163 | 26502.9957 | 291861.4556 | 28.7 | 67.6
5181 | 2022-05-17 14:06 | 53.3403 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.3693 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.167 | 26499.5045 | 291849.8898 | 28.7 | 67.6
5191 | 2022-05-17 14:07 | 53.6736 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.4024 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.17 | 26504.0777 | 291845.6618 | 28.7 | 67.6
5201 | 2022-05-17 14:07 | 54.0075 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.3971 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.168 | 26510.873 | 291852.1465 | 28.7 | 67.6
5211 | 2022-05-17 14:07 | 54.3402 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.2842 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.173 | 26509.781 | 291835.6152 | 28.7 | 67.6
5221 | 2022-05-17 14:08 | 54.6742 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.1938 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.177 | 26508.3167 | 291824.5042 | 28.7 | 67.6
5231 | 2022-05-17 14:08 | 55.0076 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.9734 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.189 | 26496.4691 | 291815.2279 | 28.7 | 67.6
5241 | 2022-05-17 14:08 | 55.3401 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.4928 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.166 | 26500.6364 | 291810.0227 | 28.7 | 67.6
5251 | 2022-05-17 14:09 | 55.6741 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.1434 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.177 | 26501.2655 | 291803.878 | 28.7 | 67.6
5261 | 2022-05-17 14:09 | 56.0076 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.1261 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.18 | 26502.7969 | 291803.616 | 28.7 | 67.6
5271 | 2022-05-17 14:09 | 56.3403 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.2842 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.173 | 26504.4547 | 291790.4351 | 28.7 | 67.6