## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_5 | O2 | 386281131 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:52

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 14:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
3580 | 2022-05-17 13:13 | 0 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.2073 | μmol/L | 17.9726 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.934 | 112184.017 | 268058.57 | 36.4 | 83.1
3590 | 2022-05-17 13:13 | 0.3423 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.2687 | μmol/L | 17.9665 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.934 | 112162.998 | 268048.4113 | 36.4 | 83.1
3600 | 2022-05-17 13:14 | 0.67572 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.134 | μmol/L | 17.9665 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.939 | 112129.3787 | 268033.3939 | 36.4 | 83.1
3610 | 2022-05-17 13:14 | 1.0084 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.1609 | μmol/L | 17.9665 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.938 | 112106.3794 | 268020.0857 | 36.4 | 83.1
3620 | 2022-05-17 13:14 | 1.3418 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.107 | μmol/L | 17.9665 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.94 | 112092.1988 | 268007.3523 | 36.4 | 83.1
3630 | 2022-05-17 13:15 | 1.6753 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.134 | μmol/L | 17.9665 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.939 | 112070.8808 | 267990.1752 | 36.4 | 83.1
3640 | 2022-05-17 13:15 | 2.0087 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.1954 | μmol/L | 17.9604 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.939 | 112051.349 | 267971.2807 | 36.4 | 83.1
3650 | 2022-05-17 13:15 | 2.342 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.0876 | μmol/L | 17.9604 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.943 | 112026.4573 | 267955.0622 | 36.4 | 83.1
3660 | 2022-05-17 13:16 | 2.6754 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.149 | μmol/L | 17.9543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.943 | 112009.4456 | 267935.2112 | 36.4 | 83.1
3670 | 2022-05-17 13:16 | 3.0089 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.149 | μmol/L | 17.9543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.943 | 111988.5769 | 267922.2623 | 36.4 | 83.1
3680 | 2022-05-17 13:16 | 3.3421 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.2029 | μmol/L | 17.9543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.941 | 111972.9809 | 267916.1148 | 36.4 | 83.1
3690 | 2022-05-17 13:17 | 3.6755 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.1145 | μmol/L | 17.9604 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.942 | 111950.5992 | 267899.4146 | 36.4 | 83.1
3700 | 2022-05-17 13:17 | 4.0087 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.1415 | μmol/L | 17.9604 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.941 | 111927.7542 | 267878.4229 | 36.4 | 83.1
3710 | 2022-05-17 13:17 | 4.3422 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.1759 | μmol/L | 17.9543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.942 | 111904.28 | 267866.776 | 36.4 | 83.1
3720 | 2022-05-17 13:18 | 4.6756 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.2029 | μmol/L | 17.9543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.941 | 111884.07 | 267860.2571 | 36.4 | 83.1
3730 | 2022-05-17 13:18 | 5.0089 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.2298 | μmol/L | 17.9543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.94 | 111856.8245 | 267855.2029 | 36.4 | 83.1
3740 | 2022-05-17 13:18 | 5.3421 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.149 | μmol/L | 17.9543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.943 | 111840.1186 | 267829.4367 | 36.4 | 83.1
3750 | 2022-05-17 13:19 | 5.6755 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.2029 | μmol/L | 17.9543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.941 | 111820.3815 | 267815.9533 | 36.4 | 83.1
3760 | 2022-05-17 13:19 | 6.0088 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.2029 | μmol/L | 17.9543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.941 | 111802.2141 | 267791.8134 | 36.4 | 83.1
3770 | 2022-05-17 13:19 | 6.3423 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.1759 | μmol/L | 17.9543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.942 | 111780.3737 | 267785.9335 | 36.4 | 83.1
3780 | 2022-05-17 13:20 | 6.6758 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.1759 | μmol/L | 17.9543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.942 | 111768.3304 | 267770.1801 | 36.4 | 83.1
3790 | 2022-05-17 13:20 | 7.0085 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.1759 | μmol/L | 17.9543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.942 | 111755.1722 | 267751.2596 | 36.4 | 83.1
3800 | 2022-05-17 13:20 | 7.3418 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.0682 | μmol/L | 17.9543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.946 | 111757.6007 | 267736.9395 | 36.4 | 83.1
3810 | 2022-05-17 13:21 | 7.6751 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.8184 | μmol/L | 17.9604 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.953 | 111765.121 | 267727.3159 | 36.4 | 83.1
3820 | 2022-05-17 13:21 | 8.0084 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.2271 | μmol/L | 17.9604 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.975 | 111865.4533 | 267728.8703 | 36.4 | 83.1
3830 | 2022-05-17 13:21 | 8.3425 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.8859 | μmol/L | 17.9543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.99 | 111948.0882 | 267693.035 | 36.4 | 83.1
3840 | 2022-05-17 13:22 | 8.6758 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.8323 | μmol/L | 17.9543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.992 | 111930.5304 | 267687.954 | 36.4 | 83.1
3850 | 2022-05-17 13:22 | 9.0084 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.8516 | μmol/L | 17.9604 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.989 | 111898.478 | 267665.1818 | 36.4 | 83.1
3860 | 2022-05-17 13:22 | 9.3425 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.1273 | μmol/L | 17.9543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.981 | 111853.364 | 267675.1799 | 36.4 | 83.1
3870 | 2022-05-17 13:23 | 9.6758 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.2154 | μmol/L | 17.9481 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.98 | 111822.7675 | 267648.9177 | 36.4 | 83.1
3880 | 2022-05-17 13:23 | 10.0086 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.6373 | μmol/L | 17.9604 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.997 | 111890.8028 | 267634.5532 | 36.4 | 83.1
3890 | 2022-05-17 13:23 | 10.3421 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.1557 | μmol/L | 17.9604 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.015 | 111977.8568 | 267619.3323 | 36.4 | 83.1
3900 | 2022-05-17 13:24 | 10.6755 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.656 | μmol/L | 17.9543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.036 | 112085.7289 | 267609.0358 | 36.4 | 83.1
3910 | 2022-05-17 13:24 | 11.0091 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.0166 | μmol/L | 17.9543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.06 | 112186.8265 | 267614.2378 | 36.4 | 83.1
3920 | 2022-05-17 13:24 | 11.3425 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 310.6179 | μmol/L | 17.9543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.075 | 112257.1767 | 267584.3988 | 36.4 | 83.1
3930 | 2022-05-17 13:25 | 11.6751 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 310.3183 | μmol/L | 17.9604 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.084 | 112304.2654 | 267593.1253 | 36.4 | 83.1
3940 | 2022-05-17 13:25 | 12.0087 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 310.0154 | μmol/L | 17.9481 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.1 | 112371.1344 | 267570.4446 | 36.4 | 83.1
3950 | 2022-05-17 13:25 | 12.3422 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 309.9548 | μmol/L | 17.9543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.1 | 112384.9119 | 267565.8071 | 36.4 | 83.1
3960 | 2022-05-17 13:26 | 12.6756 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 310.0949 | μmol/L | 17.9481 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.097 | 112324.7162 | 267550.6954 | 36.4 | 83.1
3970 | 2022-05-17 13:26 | 13.009 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 309.9624 | μmol/L | 17.9481 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.102 | 112343.1309 | 267548.9831 | 36.4 | 83.1
3980 | 2022-05-17 13:26 | 13.3421 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 309.743 | μmol/L | 17.9543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.108 | 112368.6652 | 267531.1295 | 36.4 | 83.1
3990 | 2022-05-17 13:27 | 13.6756 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 309.5918 | μmol/L | 17.9481 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.116 | 112405.8116 | 267525.2311 | 36.4 | 83.1
4000 | 2022-05-17 13:27 | 14.0089 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 309.267 | μmol/L | 17.9543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.126 | 112403.2815 | 267517.1561 | 36.4 | 83.1
4010 | 2022-05-17 13:27 | 14.3423 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 309.4332 | μmol/L | 17.9481 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.122 | 112397.2374 | 267520.6401 | 36.4 | 83.1
4020 | 2022-05-17 13:28 | 14.675 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 309.4672 | μmol/L | 17.942 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.123 | 112403.6972 | 267499.0479 | 36.4 | 83.1
4030 | 2022-05-17 13:28 | 15.0092 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 309.5994 | μmol/L | 17.942 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.118 | 112356.3007 | 267487.6264 | 36.4 | 83.1
4040 | 2022-05-17 13:28 | 15.3425 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 309.3198 | μmol/L | 17.9543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.124 | 112390.1547 | 267480.4228 | 36.4 | 83.1
4050 | 2022-05-17 13:29 | 15.6758 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 309.0446 | μmol/L | 17.942 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.139 | 112449.0292 | 267480.1075 | 36.4 | 83.1
4060 | 2022-05-17 13:29 | 16.0084 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 308.0702 | μmol/L | 17.942 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.176 | 112643.4028 | 267468.8573 | 36.4 | 83.1
4070 | 2022-05-17 13:29 | 16.3425 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.6733 | μmol/L | 17.9481 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.227 | 112905.6867 | 267442.8434 | 36.4 | 83.1
4080 | 2022-05-17 13:30 | 16.6752 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.344 | μmol/L | 17.9481 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.278 | 113194.5069 | 267441.6136 | 36.4 | 83.1
4090 | 2022-05-17 13:30 | 17.0086 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.8583 | μmol/L | 17.942 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.299 | 113307.689 | 267434.9862 | 36.4 | 83.1
4100 | 2022-05-17 13:30 | 17.342 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.4876 | μmol/L | 17.9481 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.311 | 113338.0088 | 267420.0764 | 36.4 | 83.1
4110 | 2022-05-17 13:31 | 17.6754 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.7728 | μmol/L | 17.9481 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.3 | 113283.7699 | 267408.4185 | 36.4 | 83.1
4120 | 2022-05-17 13:31 | 18.0089 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.0399 | μmol/L | 17.942 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.292 | 113212.836 | 267410.0283 | 36.4 | 83.1
4130 | 2022-05-17 13:31 | 18.3423 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.1881 | μmol/L | 17.9481 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.284 | 113168.0679 | 267382.3513 | 36.4 | 83.1
4140 | 2022-05-17 13:32 | 18.6757 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.1101 | μmol/L | 17.9481 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.287 | 113183.397 | 267378.2368 | 36.4 | 83.1
4150 | 2022-05-17 13:32 | 19.0092 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.2217 | μmol/L | 17.942 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.285 | 113138.1369 | 267367.3192 | 36.4 | 83.1
4160 | 2022-05-17 13:32 | 19.3417 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.0399 | μmol/L | 17.942 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.292 | 113191.1387 | 267363.6815 | 36.4 | 83.1
4170 | 2022-05-17 13:33 | 19.6758 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.6508 | μmol/L | 17.942 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.307 | 113268.7799 | 267339.0667 | 36.4 | 83.1
4180 | 2022-05-17 13:33 | 20.0092 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.2365 | μmol/L | 17.942 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.323 | 113366.681 | 267337.3013 | 36.4 | 83.1
4190 | 2022-05-17 13:33 | 20.3417 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.4537 | μmol/L | 17.9481 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.351 | 113501.1715 | 267339.3087 | 36.4 | 83.1
4200 | 2022-05-17 13:34 | 20.6751 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.1779 | μmol/L | 17.942 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.364 | 113554.0303 | 267318.5011 | 36.4 | 83.1
4210 | 2022-05-17 13:34 | 21.0086 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.2036 | μmol/L | 17.942 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.363 | 113552.702 | 267321.8551 | 36.4 | 83.1
4220 | 2022-05-17 13:34 | 21.342 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.5465 | μmol/L | 17.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.386 | 113641.1413 | 267309.5937 | 36.4 | 83.1
4230 | 2022-05-17 13:35 | 21.6755 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.0135 | μmol/L | 17.9481 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.407 | 113759.2267 | 267326.4335 | 36.4 | 83.1
4240 | 2022-05-17 13:35 | 22.0089 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.5012 | μmol/L | 17.9481 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.427 | 113872.3317 | 267299.946 | 36.4 | 83.1
4250 | 2022-05-17 13:35 | 22.3424 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.1373 | μmol/L | 17.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.441 | 113936.9661 | 267281.2064 | 36.4 | 83.1
4260 | 2022-05-17 13:36 | 22.6758 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.1511 | μmol/L | 17.942 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.443 | 113942.648 | 267287.2468 | 36.4 | 83.1
4270 | 2022-05-17 13:36 | 23.0085 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.3673 | μmol/L | 17.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.432 | 113853.9067 | 267287.1292 | 36.4 | 83.1
4280 | 2022-05-17 13:36 | 23.342 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.9187 | μmol/L | 17.942 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.413 | 113763.9713 | 267271.2191 | 36.4 | 83.1
4290 | 2022-05-17 13:37 | 23.6757 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.1752 | μmol/L | 17.942 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.403 | 113689.8697 | 267261.2148 | 36.4 | 83.1
4300 | 2022-05-17 13:37 | 24.009 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.1931 | μmol/L | 17.9481 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.4 | 113658.0395 | 267256.8771 | 36.4 | 83.1
4310 | 2022-05-17 13:37 | 24.3424 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.9366 | μmol/L | 17.9481 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.41 | 113675.2257 | 267250.1908 | 36.4 | 83.1
4320 | 2022-05-17 13:38 | 24.6759 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.3656 | μmol/L | 17.9543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.43 | 113776.9786 | 267255.7343 | 36.4 | 83.1
4330 | 2022-05-17 13:38 | 25.0085 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.0489 | μmol/L | 17.942 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.447 | 113891.8242 | 267233.7131 | 36.4 | 83.1
4340 | 2022-05-17 13:38 | 25.342 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.521 | μmol/L | 17.9359 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.47 | 114000.0409 | 267230.575 | 36.4 | 83.1
4350 | 2022-05-17 13:39 | 25.6753 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.2507 | μmol/L | 17.9481 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.476 | 114037.6243 | 267227.2205 | 36.4 | 83.1
4360 | 2022-05-17 13:39 | 26.0089 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.8086 | μmol/L | 17.9359 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.498 | 114125.4714 | 267218.3789 | 36.4 | 83.1
4370 | 2022-05-17 13:39 | 26.3422 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.3868 | μmol/L | 17.9481 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.51 | 114198.9333 | 267218.2953 | 36.4 | 83.1
4380 | 2022-05-17 13:40 | 26.6755 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.7422 | μmol/L | 17.9481 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.496 | 114123.2942 | 267217.2283 | 36.4 | 83.1
4390 | 2022-05-17 13:40 | 27.0091 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.9024 | μmol/L | 17.942 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.492 | 114058.8963 | 267194.485 | 36.4 | 83.1
4400 | 2022-05-17 13:40 | 27.3424 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.666 | μmol/L | 17.9481 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.499 | 114101.1832 | 267191.7449 | 36.4 | 83.1
4410 | 2022-05-17 13:41 | 27.6758 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.4961 | μmol/L | 17.942 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.508 | 114145.4298 | 267176.7191 | 36.4 | 83.1
4420 | 2022-05-17 13:41 | 28.0084 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.3264 | μmol/L | 17.9359 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.517 | 114185.3938 | 267180.3782 | 36.4 | 83.1
4430 | 2022-05-17 13:41 | 28.3418 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.0067 | μmol/L | 17.9481 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.525 | 114232.5318 | 267165.8858 | 36.4 | 83.1
4440 | 2022-05-17 13:42 | 28.6751 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.7439 | μmol/L | 17.9359 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.54 | 114303.98 | 267165.5796 | 36.4 | 83.1
4450 | 2022-05-17 13:42 | 29.0086 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.4833 | μmol/L | 17.942 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.548 | 114358.8873 | 267155.277 | 36.4 | 83.1
4460 | 2022-05-17 13:42 | 29.3419 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.3649 | μmol/L | 17.9359 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.555 | 114367.34 | 267150.2069 | 36.4 | 83.1
4470 | 2022-05-17 13:43 | 29.6753 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.7361 | μmol/L | 17.942 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.538 | 114273.2901 | 267139.1787 | 36.4 | 83.1
4480 | 2022-05-17 13:43 | 30.0088 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.9639 | μmol/L | 17.942 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.529 | 114187.9036 | 267141.4065 | 36.4 | 83.1
4490 | 2022-05-17 13:43 | 30.3421 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.9464 | μmol/L | 17.9359 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.532 | 114210.1809 | 267124.5191 | 36.4 | 83.1
4500 | 2022-05-17 13:44 | 30.6754 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.7361 | μmol/L | 17.942 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.538 | 114235.0165 | 267114.0465 | 36.4 | 83.1
4510 | 2022-05-17 13:44 | 31.0088 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.7187 | μmol/L | 17.9359 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.541 | 114259.5326 | 267129.3224 | 36.4 | 83.1
4520 | 2022-05-17 13:44 | 31.3422 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.6097 | μmol/L | 17.942 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.543 | 114258.1121 | 267101.6677 | 36.4 | 83.1
4530 | 2022-05-17 13:45 | 31.6758 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.2987 | μmol/L | 17.9481 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.553 | 114283.8363 | 267100.1095 | 36.4 | 83.1
4540 | 2022-05-17 13:45 | 32.0092 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.2987 | μmol/L | 17.9481 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.553 | 114309.0564 | 267100.6999 | 36.4 | 83.1
4550 | 2022-05-17 13:45 | 32.3417 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.256 | μmol/L | 17.942 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.557 | 114309.9346 | 267090.6823 | 36.4 | 83.1
4560 | 2022-05-17 13:46 | 32.6752 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.2055 | μmol/L | 17.942 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.559 | 114321.5425 | 267077.7134 | 36.4 | 83.1
4570 | 2022-05-17 13:46 | 33.0086 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.3065 | μmol/L | 17.942 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.555 | 114294.2229 | 267079.6234 | 36.4 | 83.1
4580 | 2022-05-17 13:46 | 33.3422 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.4948 | μmol/L | 17.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.545 | 114237.036 | 267059.1436 | 36.4 | 83.1
4590 | 2022-05-17 13:47 | 33.6755 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.5959 | μmol/L | 17.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.541 | 114197.5595 | 267059.8171 | 36.4 | 83.1
4600 | 2022-05-17 13:47 | 34.009 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.8488 | μmol/L | 17.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.531 | 114160.2801 | 267050.3928 | 36.4 | 83.1
4610 | 2022-05-17 13:47 | 34.3423 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.4948 | μmol/L | 17.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.545 | 114197.7045 | 267046.6588 | 36.4 | 83.1
4620 | 2022-05-17 13:48 | 34.6756 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.3258 | μmol/L | 17.942 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.554 | 114256.0967 | 267034.9661 | 36.4 | 83.1
4630 | 2022-05-17 13:48 | 35.009 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.0987 | μmol/L | 17.942 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.563 | 114304.2306 | 267027.4481 | 36.4 | 83.1
4640 | 2022-05-17 13:48 | 35.3424 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.6372 | μmol/L | 17.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.579 | 114375.6309 | 267016.8796 | 36.4 | 83.1
4650 | 2022-05-17 13:49 | 35.6758 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.0336 | μmol/L | 17.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.603 | 114478.2855 | 267011.9391 | 36.4 | 83.1
4660 | 2022-05-17 13:49 | 36.0092 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.0745 | μmol/L | 17.9359 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.606 | 114527.7867 | 267010.5738 | 36.4 | 83.1
4670 | 2022-05-17 13:49 | 36.3425 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.582 | μmol/L | 17.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.621 | 114568.5383 | 267012.3603 | 36.4 | 83.1
4680 | 2022-05-17 13:50 | 36.6751 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.3894 | μmol/L | 17.942 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.631 | 114628.8972 | 267005.5971 | 36.4 | 83.1
4690 | 2022-05-17 13:50 | 37.0085 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.1312 | μmol/L | 17.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.639 | 114686.4668 | 267002.6402 | 36.4 | 83.1
4700 | 2022-05-17 13:50 | 37.3419 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.8811 | μmol/L | 17.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.649 | 114723.2597 | 267006.8181 | 36.4 | 83.1
4710 | 2022-05-17 13:51 | 37.6756 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.6313 | μmol/L | 17.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.659 | 114752.8655 | 266991.6404 | 36.4 | 83.1
4720 | 2022-05-17 13:51 | 38.009 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.4316 | μmol/L | 17.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.667 | 114819.9217 | 266986.2722 | 36.4 | 83.1
4730 | 2022-05-17 13:51 | 38.3417 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.3647 | μmol/L | 17.942 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.672 | 114847.3825 | 266977.924 | 36.4 | 83.1
4740 | 2022-05-17 13:52 | 38.6751 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.4395 | μmol/L | 17.942 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.669 | 114807.1644 | 266974.4783 | 36.4 | 83.1
4750 | 2022-05-17 13:52 | 39.0086 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.5393 | μmol/L | 17.942 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.665 | 114792.1191 | 266966.2209 | 36.4 | 83.1
4760 | 2022-05-17 13:52 | 39.3421 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.5144 | μmol/L | 17.942 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.666 | 114796.0862 | 266964.4232 | 36.4 | 83.1
4770 | 2022-05-17 13:53 | 39.6755 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.4316 | μmol/L | 17.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.667 | 114792.9525 | 266952.495 | 36.4 | 83.1
4780 | 2022-05-17 13:53 | 40.0089 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.3148 | μmol/L | 17.942 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.674 | 114822.0946 | 266938.3682 | 36.4 | 83.1
4790 | 2022-05-17 13:53 | 40.3423 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.9411 | μmol/L | 17.942 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.689 | 114887.6514 | 266921.4703 | 36.4 | 83.1
4800 | 2022-05-17 13:54 | 40.6756 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.5838 | μmol/L | 17.9298 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.708 | 114992.4772 | 266924.913 | 36.4 | 83.1
4810 | 2022-05-17 13:54 | 41.0089 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.0962 | μmol/L | 17.942 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.723 | 115057.1786 | 266915.9738 | 36.4 | 83.1
4820 | 2022-05-17 13:54 | 41.3418 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.8314 | μmol/L | 17.9359 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.736 | 115131.356 | 266903.1898 | 36.4 | 83.1
4830 | 2022-05-17 13:55 | 41.6754 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.3452 | μmol/L | 17.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.751 | 115203.2372 | 266898.209 | 36.4 | 83.1
4840 | 2022-05-17 13:55 | 42.0089 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.3116 | μmol/L | 17.9359 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.757 | 115235.1352 | 266899.6261 | 36.4 | 83.1
4850 | 2022-05-17 13:55 | 42.3425 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.3621 | μmol/L | 17.9543 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.748 | 115187.8315 | 266895.1329 | 36.4 | 83.1
4860 | 2022-05-17 13:56 | 42.6752 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.7412 | μmol/L | 17.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.735 | 115122.3538 | 266887.3291 | 36.4 | 83.1
4870 | 2022-05-17 13:56 | 43.0089 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.8651 | μmol/L | 17.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.73 | 115071.5758 | 266878.3709 | 36.4 | 83.1
4880 | 2022-05-17 13:56 | 43.3423 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.0962 | μmol/L | 17.942 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.723 | 115037.0315 | 266862.4917 | 36.4 | 83.1
4890 | 2022-05-17 13:57 | 43.6756 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.0883 | μmol/L | 17.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.721 | 115012.3065 | 266857.5908 | 36.4 | 83.1
4900 | 2022-05-17 13:57 | 44.0091 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.9564 | μmol/L | 17.9543 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.724 | 115014.3078 | 266843.2276 | 36.4 | 83.1
4910 | 2022-05-17 13:57 | 44.3417 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.9891 | μmol/L | 17.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.725 | 115050.5609 | 266832.601 | 36.4 | 83.1
4920 | 2022-05-17 13:58 | 44.6752 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.6669 | μmol/L | 17.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.738 | 115086.601 | 266828.5719 | 36.4 | 83.1
4930 | 2022-05-17 13:58 | 45.0087 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.4937 | μmol/L | 17.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.745 | 115137.3718 | 266819.7625 | 36.4 | 83.1
4940 | 2022-05-17 13:58 | 45.342 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.9667 | μmol/L | 17.9543 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.764 | 115225.5608 | 266804.2935 | 36.4 | 83.1
4950 | 2022-05-17 13:59 | 45.6754 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.8265 | μmol/L | 17.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.772 | 115270.1378 | 266790.9035 | 36.4 | 83.1
4960 | 2022-05-17 13:59 | 46.0089 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.0319 | μmol/L | 17.942 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.766 | 115236.0103 | 266790.9763 | 36.4 | 83.1
4970 | 2022-05-17 13:59 | 46.3421 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.8512 | μmol/L | 17.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.771 | 115232.2195 | 266780.6313 | 36.4 | 83.1
4980 | 2022-05-17 14:00 | 46.6755 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.6538 | μmol/L | 17.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.779 | 115285.473 | 266778.4039 | 36.4 | 83.1
4990 | 2022-05-17 14:00 | 47.0091 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.0795 | μmol/L | 17.9543 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.8 | 115382.6057 | 266756.6036 | 36.4 | 83.1
5000 | 2022-05-17 14:00 | 47.3417 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.6617 | μmol/L | 17.9543 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.817 | 115475.5624 | 266748.318 | 36.4 | 83.1
5010 | 2022-05-17 14:01 | 47.6757 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.5223 | μmol/L | 17.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.825 | 115521.4204 | 266736.7697 | 36.4 | 83.1
5020 | 2022-05-17 14:01 | 48.009 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.1056 | μmol/L | 17.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.842 | 115596.7686 | 266740.1909 | 36.4 | 83.1
5030 | 2022-05-17 14:01 | 48.3418 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.8363 | μmol/L | 17.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.853 | 115674.9079 | 266735.1954 | 36.4 | 83.1
5040 | 2022-05-17 14:02 | 48.6753 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.5428 | μmol/L | 17.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.865 | 115728.9342 | 266725.9389 | 36.4 | 83.1
5050 | 2022-05-17 14:02 | 49.0085 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.494 | μmol/L | 17.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.867 | 115734.536 | 266722.2757 | 36.4 | 83.1
5060 | 2022-05-17 14:02 | 49.342 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.4372 | μmol/L | 17.9543 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.867 | 115738.5345 | 266716.2183 | 36.4 | 83.1
5070 | 2022-05-17 14:03 | 49.6753 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.6327 | μmol/L | 17.9543 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.859 | 115703.6518 | 266690.1607 | 36.4 | 83.1
5080 | 2022-05-17 14:03 | 50.0088 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.7464 | μmol/L | 17.942 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.859 | 115680.8468 | 266686.7646 | 36.4 | 83.1
5090 | 2022-05-17 14:03 | 50.3422 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.7549 | μmol/L | 17.9543 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.854 | 115647.4547 | 266681.6462 | 36.4 | 83.1
5100 | 2022-05-17 14:04 | 50.6755 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.7794 | μmol/L | 17.9543 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.853 | 115640.5279 | 266674.3613 | 36.4 | 83.1
5110 | 2022-05-17 14:04 | 51.0089 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.9075 | μmol/L | 17.9543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.848 | 115589.4341 | 266678.2754 | 36.4 | 83.1
5120 | 2022-05-17 14:04 | 51.3424 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.2526 | μmol/L | 17.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.836 | 115551.6292 | 266676.0668 | 36.4 | 83.1
5130 | 2022-05-17 14:05 | 51.6757 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.2446 | μmol/L | 17.9543 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.834 | 115521.03 | 266648.0474 | 36.4 | 83.1
5140 | 2022-05-17 14:05 | 52.0091 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.2857 | μmol/L | 17.9604 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.83 | 115503.6378 | 266643.6987 | 36.4 | 83.1
5150 | 2022-05-17 14:05 | 52.3417 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.3427 | μmol/L | 17.9543 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.83 | 115484.104 | 266650.0034 | 36.4 | 83.1
5160 | 2022-05-17 14:06 | 52.6754 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.2937 | μmol/L | 17.9543 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.832 | 115506.416 | 266631.5622 | 36.4 | 83.1
5170 | 2022-05-17 14:06 | 53.0091 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.2446 | μmol/L | 17.9543 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.834 | 115507.6124 | 266615.6432 | 36.4 | 83.1
5180 | 2022-05-17 14:06 | 53.3423 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.8283 | μmol/L | 17.9543 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.851 | 115570.9339 | 266608.4616 | 36.4 | 83.1
5190 | 2022-05-17 14:07 | 53.6757 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.6981 | μmol/L | 17.9604 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.854 | 115590.5149 | 266612.4515 | 36.4 | 83.1
5200 | 2022-05-17 14:07 | 54.0086 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.8448 | μmol/L | 17.9604 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.848 | 115569.7727 | 266606.5008 | 36.4 | 83.1
5210 | 2022-05-17 14:07 | 54.3423 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.0976 | μmol/L | 17.9543 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.84 | 115522.8094 | 266600.9534 | 36.4 | 83.1
5220 | 2022-05-17 14:08 | 54.6755 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.1056 | μmol/L | 17.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.842 | 115504.5389 | 266600.6111 | 36.4 | 83.1
5230 | 2022-05-17 14:08 | 55.0087 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.0731 | μmol/L | 17.9543 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.841 | 115493.005 | 266589.7551 | 36.4 | 83.1
5240 | 2022-05-17 14:08 | 55.342 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.9752 | μmol/L | 17.9543 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.845 | 115501.2077 | 266594.3623 | 36.4 | 83.1
5250 | 2022-05-17 14:09 | 55.6751 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.2201 | μmol/L | 17.9543 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.835 | 115459.2471 | 266566.5372 | 36.4 | 83.1
5260 | 2022-05-17 14:09 | 56.0087 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.747 | μmol/L | 17.9604 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.852 | 115553.6366 | 266563.2948 | 36.4 | 83.1
5270 | 2022-05-17 14:09 | 56.3424 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.6327 | μmol/L | 17.9543 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.859 | 115573.3607 | 266553.4695 | 36.4 | 83.1
5280 | 2022-05-17 14:10 | 56.6757 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.6327 | μmol/L | 17.9543 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.859 | 115557.2409 | 266543.1092 | 36.4 | 83.1