## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_1 | O2 | 173180888 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:46

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 12:53

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
1560 | 2022-05-17 11:44 | 0 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.4783 | μmol/L | 18.0208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.017 | 135621.238 | 274558.9484 | 33.25 | 75.7
1570 | 2022-05-17 11:44 | 0.33799 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.322 | μmol/L | 18.0269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.021 | 135623.8977 | 274585.2609 | 33.25 | 75.7
1580 | 2022-05-17 11:45 | 0.67141 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.2359 | μmol/L | 18.0392 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.02 | 135628.2741 | 274566.2057 | 33.25 | 75.7
1590 | 2022-05-17 11:45 | 1.005 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.0546 | μmol/L | 18.0453 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.025 | 135645.7581 | 274574.0487 | 33.25 | 75.7
1600 | 2022-05-17 11:45 | 1.3382 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.1049 | μmol/L | 18.0453 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.023 | 135658.5875 | 274558.0603 | 33.25 | 75.7
1610 | 2022-05-17 11:46 | 1.6718 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.0653 | μmol/L | 18.0331 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.029 | 135666.4146 | 274567.7829 | 33.25 | 75.7
1620 | 2022-05-17 11:46 | 2.0045 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.1658 | μmol/L | 18.0331 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.025 | 135661.336 | 274547.2746 | 33.25 | 75.7
1630 | 2022-05-17 11:46 | 2.3382 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.1963 | μmol/L | 18.0269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.026 | 135664.1417 | 274532.9912 | 33.25 | 75.7
1640 | 2022-05-17 11:47 | 2.671 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.9398 | μmol/L | 18.0331 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.034 | 135686.8313 | 274517.6194 | 33.25 | 75.7
1650 | 2022-05-17 11:47 | 3.0045 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.7248 | μmol/L | 18.0208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.047 | 135781.1682 | 274511.4905 | 33.25 | 75.7
1660 | 2022-05-17 11:47 | 3.3382 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.3185 | μmol/L | 18.0269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.061 | 135885.1209 | 274501.8634 | 33.25 | 75.7
1670 | 2022-05-17 11:48 | 3.6716 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.8683 | μmol/L | 18.0269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.079 | 135989.4303 | 274482.4968 | 33.25 | 75.7
1680 | 2022-05-17 11:48 | 4.0051 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.6685 | μmol/L | 18.0269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.087 | 136048.4027 | 274482.8241 | 33.25 | 75.7
1690 | 2022-05-17 11:48 | 4.3377 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.4244 | μmol/L | 18.0208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.099 | 136093.2271 | 274476.3362 | 33.25 | 75.7
1700 | 2022-05-17 11:49 | 4.6713 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.1114 | μmol/L | 18.0085 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.116 | 136238.4319 | 274469.5052 | 33.25 | 75.7
1710 | 2022-05-17 11:49 | 5.0048 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.5395 | μmol/L | 18.0085 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.139 | 136398.4554 | 274459.8061 | 33.25 | 75.7
1720 | 2022-05-17 11:49 | 5.3377 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.1286 | μmol/L | 17.9963 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.16 | 136530.8736 | 274453.1764 | 33.25 | 75.7
1730 | 2022-05-17 11:50 | 5.6711 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.7268 | μmol/L | 18.0024 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.174 | 136622.9308 | 274450.0509 | 33.25 | 75.7
1740 | 2022-05-17 11:50 | 6.0047 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.2269 | μmol/L | 18.0085 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.192 | 136714.0487 | 274414.4412 | 33.25 | 75.7
1750 | 2022-05-17 11:50 | 6.3382 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.183 | μmol/L | 18.0024 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.196 | 136760.6633 | 274425.3071 | 33.25 | 75.7
1760 | 2022-05-17 11:51 | 6.6718 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.2133 | μmol/L | 17.9963 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.197 | 136785.372 | 274405.9923 | 33.25 | 75.7
1770 | 2022-05-17 11:51 | 7.0044 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.0405 | μmol/L | 17.9963 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.204 | 136818.3102 | 274416.5247 | 33.25 | 75.7
1780 | 2022-05-17 11:51 | 7.3379 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.8623 | μmol/L | 18.0024 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.209 | 136860.6618 | 274400.8283 | 33.25 | 75.7
1790 | 2022-05-17 11:52 | 7.6714 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.7939 | μmol/L | 17.9963 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.214 | 136886.4493 | 274407.946 | 33.25 | 75.7
1800 | 2022-05-17 11:52 | 8.0047 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.6461 | μmol/L | 17.9963 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.22 | 136920.8774 | 274401.5678 | 33.25 | 75.7
1810 | 2022-05-17 11:52 | 8.3378 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.4547 | μmol/L | 17.9901 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.23 | 136975.9534 | 274395.8058 | 33.25 | 75.7
1820 | 2022-05-17 11:53 | 8.6714 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.1786 | μmol/L | 17.9963 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.239 | 137057.1125 | 274392.3305 | 33.25 | 75.7
1830 | 2022-05-17 11:53 | 9.0049 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.8649 | μmol/L | 17.9901 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.254 | 137146.8276 | 274379.2609 | 33.25 | 75.7
1840 | 2022-05-17 11:53 | 9.3387 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.4726 | μmol/L | 17.9901 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.27 | 137257.7573 | 274371.0733 | 33.25 | 75.7
1850 | 2022-05-17 11:54 | 9.6712 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.1299 | μmol/L | 17.9901 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.284 | 137364.7471 | 274369.4276 | 33.25 | 75.7
1860 | 2022-05-17 11:54 | 10.0045 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.9098 | μmol/L | 17.9901 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.293 | 137435.6453 | 274364.083 | 33.25 | 75.7
1870 | 2022-05-17 11:54 | 10.3381 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.72 | μmol/L | 17.984 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.303 | 137498.9799 | 274338.0804 | 33.25 | 75.7
1880 | 2022-05-17 11:55 | 10.6718 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.5059 | μmol/L | 17.9779 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.314 | 137573.5883 | 274347.9811 | 33.25 | 75.7
1890 | 2022-05-17 11:55 | 11.0044 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.3053 | μmol/L | 17.984 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.32 | 137621.9312 | 274336.5185 | 33.25 | 75.7
1900 | 2022-05-17 11:55 | 11.3378 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.3109 | μmol/L | 17.9779 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.322 | 137618.8366 | 274328.7472 | 33.25 | 75.7
1910 | 2022-05-17 11:56 | 11.6714 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.1834 | μmol/L | 17.984 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.325 | 137635.5274 | 274324.6987 | 33.25 | 75.7
1920 | 2022-05-17 11:56 | 12.0048 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.1516 | μmol/L | 17.9656 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.333 | 137691.8907 | 274311.8209 | 33.25 | 75.7
1930 | 2022-05-17 11:56 | 12.3383 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 283.9569 | μmol/L | 17.9656 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.341 | 137737.8234 | 274303.4568 | 33.25 | 75.7
1940 | 2022-05-17 11:57 | 12.6718 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 283.8839 | μmol/L | 17.9656 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.344 | 137782.965 | 274307.027 | 33.25 | 75.7
1950 | 2022-05-17 11:57 | 13.0045 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 283.6707 | μmol/L | 17.9595 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.355 | 137831.235 | 274290.8972 | 33.25 | 75.7
1960 | 2022-05-17 11:57 | 13.3379 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 283.4352 | μmol/L | 17.9779 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.358 | 137859.1457 | 274290.6791 | 33.25 | 75.7
1970 | 2022-05-17 11:58 | 13.6712 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 283.3494 | μmol/L | 17.9656 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.366 | 137913.0256 | 274272.6855 | 33.25 | 75.7
1980 | 2022-05-17 11:58 | 14.0051 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 283.161 | μmol/L | 17.9595 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.376 | 137979.9217 | 274261.591 | 33.25 | 75.7
1990 | 2022-05-17 11:58 | 14.3379 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 283.4336 | μmol/L | 17.9533 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.367 | 137928.7954 | 274261.4214 | 33.25 | 75.7
2000 | 2022-05-17 11:59 | 14.6713 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 283.1069 | μmol/L | 17.9656 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.376 | 137970.7603 | 274252.2944 | 33.25 | 75.7
2010 | 2022-05-17 11:59 | 15.0047 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 282.9131 | μmol/L | 17.9656 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.384 | 138024.0554 | 274250.0705 | 33.25 | 75.7
2020 | 2022-05-17 11:59 | 15.338 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 282.8276 | μmol/L | 17.9533 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.392 | 138065.9107 | 274252.7861 | 33.25 | 75.7
2030 | 2022-05-17 12:00 | 15.6715 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 282.6098 | μmol/L | 17.9533 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.401 | 138121.7719 | 274238.5389 | 33.25 | 75.7
2040 | 2022-05-17 12:00 | 16.0049 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 282.3554 | μmol/L | 17.9411 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.416 | 138198.4946 | 274230.9957 | 33.25 | 75.7
2050 | 2022-05-17 12:00 | 16.3378 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 282.006 | μmol/L | 17.9533 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.426 | 138279.984 | 274223.9945 | 33.25 | 75.7
2060 | 2022-05-17 12:01 | 16.6714 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.9692 | μmol/L | 17.9411 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.432 | 138338.7879 | 274230.7624 | 33.25 | 75.7
2070 | 2022-05-17 12:01 | 17.0046 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.5964 | μmol/L | 17.9533 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.443 | 138396.9621 | 274222.0226 | 33.25 | 75.7
2080 | 2022-05-17 12:01 | 17.338 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.4279 | μmol/L | 17.9533 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.45 | 138446.7487 | 274210.8561 | 33.25 | 75.7
2090 | 2022-05-17 12:02 | 17.6715 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.3913 | μmol/L | 17.9411 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.456 | 138484.1422 | 274207.2206 | 33.25 | 75.7
2100 | 2022-05-17 12:02 | 18.005 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.3489 | μmol/L | 17.935 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.46 | 138514.7567 | 274209.3561 | 33.25 | 75.7
2110 | 2022-05-17 12:02 | 18.3384 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.1029 | μmol/L | 17.9411 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.468 | 138563.9815 | 274194.0695 | 33.25 | 75.7
2120 | 2022-05-17 12:03 | 18.671 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.9108 | μmol/L | 17.9411 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.476 | 138628.4782 | 274209.0038 | 33.25 | 75.7
2130 | 2022-05-17 12:03 | 19.0045 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.7429 | μmol/L | 17.9411 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.483 | 138658.4088 | 274193.3749 | 33.25 | 75.7
2140 | 2022-05-17 12:03 | 19.3381 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.5271 | μmol/L | 17.9411 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.492 | 138717.2561 | 274189.3437 | 33.25 | 75.7
2150 | 2022-05-17 12:04 | 19.6712 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.5445 | μmol/L | 17.9227 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.498 | 138775.1382 | 274178.4253 | 33.25 | 75.7
2160 | 2022-05-17 12:04 | 20.0047 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.3711 | μmol/L | 17.9288 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.503 | 138791.5339 | 274176.9021 | 33.25 | 75.7
2170 | 2022-05-17 12:04 | 20.3383 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.305 | μmol/L | 17.9227 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.508 | 138824.1853 | 274162.0294 | 33.25 | 75.7
2180 | 2022-05-17 12:05 | 20.6718 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.1796 | μmol/L | 17.9288 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.511 | 138863.7489 | 274164.0806 | 33.25 | 75.7
2190 | 2022-05-17 12:05 | 21.0045 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.9884 | μmol/L | 17.9288 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.519 | 138907.3256 | 274151.3362 | 33.25 | 75.7
2200 | 2022-05-17 12:05 | 21.3381 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.7437 | μmol/L | 17.935 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.527 | 138947.6774 | 274150.1333 | 33.25 | 75.7
2210 | 2022-05-17 12:06 | 21.6716 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.7734 | μmol/L | 17.9288 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.528 | 138943.5837 | 274153.8645 | 33.25 | 75.7
2220 | 2022-05-17 12:06 | 22.0043 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.5109 | μmol/L | 17.9288 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.539 | 139001.6941 | 274146.5726 | 33.25 | 75.7
2230 | 2022-05-17 12:06 | 22.3379 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.4632 | μmol/L | 17.9288 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.541 | 139056.0345 | 274132.6423 | 33.25 | 75.7
2240 | 2022-05-17 12:07 | 22.6714 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.2488 | μmol/L | 17.9288 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.55 | 139093.0477 | 274144.3445 | 33.25 | 75.7
2250 | 2022-05-17 12:07 | 23.0044 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.3139 | μmol/L | 17.9104 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.554 | 139125.2439 | 274128.246 | 33.25 | 75.7
2260 | 2022-05-17 12:07 | 23.338 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.0641 | μmol/L | 17.9227 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.56 | 139147.1096 | 274128.6768 | 33.25 | 75.7
2270 | 2022-05-17 12:08 | 23.6715 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.1175 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.56 | 139171.6729 | 274123.7009 | 33.25 | 75.7
2280 | 2022-05-17 12:08 | 24.0051 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.969 | μmol/L | 17.9227 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.564 | 139194.8822 | 274122.4025 | 33.25 | 75.7
2290 | 2022-05-17 12:08 | 24.3378 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.8321 | μmol/L | 17.9166 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.572 | 139236.3883 | 274116.4536 | 33.25 | 75.7
2300 | 2022-05-17 12:09 | 24.6715 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.6954 | μmol/L | 17.9104 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.58 | 139280.1835 | 274121.4962 | 33.25 | 75.7
2310 | 2022-05-17 12:09 | 25.0051 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.4342 | μmol/L | 17.9104 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.591 | 139342.9822 | 274133.3709 | 33.25 | 75.7
2320 | 2022-05-17 12:09 | 25.3384 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.3926 | μmol/L | 17.9043 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.595 | 139397.2062 | 274136.851 | 33.25 | 75.7
2330 | 2022-05-17 12:10 | 25.6713 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.1555 | μmol/L | 17.9043 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.605 | 139474.4785 | 274133.8698 | 33.25 | 75.7
2340 | 2022-05-17 12:10 | 26.0047 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.9897 | μmol/L | 17.9043 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.612 | 139508.7948 | 274155.0699 | 33.25 | 75.7
2350 | 2022-05-17 12:10 | 26.3381 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.9187 | μmol/L | 17.9043 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.615 | 139546.7896 | 274159.9631 | 33.25 | 75.7
2360 | 2022-05-17 12:11 | 26.6716 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.7767 | μmol/L | 17.9043 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.621 | 139583.5704 | 274158.5058 | 33.25 | 75.7
2370 | 2022-05-17 12:11 | 27.0044 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.4871 | μmol/L | 17.9104 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.631 | 139635.2605 | 274159.5386 | 33.25 | 75.7
2380 | 2022-05-17 12:11 | 27.338 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.552 | μmol/L | 17.892 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.635 | 139708.1669 | 274159.2549 | 33.25 | 75.7
2390 | 2022-05-17 12:12 | 27.6712 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.245 | μmol/L | 17.892 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.648 | 139793.7467 | 274167.8292 | 33.25 | 75.7
2400 | 2022-05-17 12:12 | 28.0047 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.074 | μmol/L | 17.8982 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.653 | 139836.9786 | 274169.7582 | 33.25 | 75.7
2410 | 2022-05-17 12:12 | 28.3381 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.9502 | μmol/L | 17.9043 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.656 | 139859.0245 | 274173.5364 | 33.25 | 75.7
2420 | 2022-05-17 12:13 | 28.6716 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.7853 | μmol/L | 17.9043 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.663 | 139896.085 | 274183.0404 | 33.25 | 75.7
2430 | 2022-05-17 12:13 | 29.0051 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.7206 | μmol/L | 17.8982 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.668 | 139921.2708 | 274180.9234 | 33.25 | 75.7
2440 | 2022-05-17 12:13 | 29.3379 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.697 | μmol/L | 17.8982 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.669 | 139950.6347 | 274173.469 | 33.25 | 75.7
2450 | 2022-05-17 12:14 | 29.6718 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.5794 | μmol/L | 17.8982 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.674 | 139988.6696 | 274171.4335 | 33.25 | 75.7
2460 | 2022-05-17 12:14 | 30.0045 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.3796 | μmol/L | 17.8859 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.687 | 140070.3842 | 274179.0819 | 33.25 | 75.7
2470 | 2022-05-17 12:14 | 30.338 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.3501 | μmol/L | 17.892 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.686 | 140086.6811 | 274176.8732 | 33.25 | 75.7
2480 | 2022-05-17 12:15 | 30.6716 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.0683 | μmol/L | 17.892 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.698 | 140144.0228 | 274170.779 | 33.25 | 75.7
2490 | 2022-05-17 12:15 | 31.0044 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.0977 | μmol/L | 17.8859 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.699 | 140190.2992 | 274187.9717 | 33.25 | 75.7
2500 | 2022-05-17 12:15 | 31.338 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.8396 | μmol/L | 17.8859 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.71 | 140255.5386 | 274179.8628 | 33.25 | 75.7
2510 | 2022-05-17 12:16 | 31.6715 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.6521 | μmol/L | 17.8859 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.718 | 140290.7869 | 274188.2523 | 33.25 | 75.7
2520 | 2022-05-17 12:16 | 32.0051 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.4882 | μmol/L | 17.8859 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.725 | 140340.8154 | 274195.5181 | 33.25 | 75.7
2530 | 2022-05-17 12:16 | 32.3377 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.295 | μmol/L | 17.892 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.731 | 140399.7841 | 274189.492 | 33.25 | 75.7
2540 | 2022-05-17 12:17 | 32.6715 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.0787 | μmol/L | 17.8982 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.738 | 140474.9963 | 274189.9525 | 33.25 | 75.7
2550 | 2022-05-17 12:17 | 33.0049 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.933 | μmol/L | 17.8798 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.751 | 140546.3158 | 274185.8368 | 33.25 | 75.7
2560 | 2022-05-17 12:17 | 33.3384 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.793 | μmol/L | 17.8798 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.757 | 140601.0581 | 274188.8596 | 33.25 | 75.7
2570 | 2022-05-17 12:18 | 33.6718 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.647 | μmol/L | 17.8859 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.761 | 140627.8554 | 274189.1931 | 33.25 | 75.7
2580 | 2022-05-17 12:18 | 34.0044 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.7756 | μmol/L | 17.8736 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.76 | 140632.118 | 274183.0746 | 33.25 | 75.7
2590 | 2022-05-17 12:18 | 34.338 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.7056 | μmol/L | 17.8736 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.763 | 140647.3793 | 274189.4234 | 33.25 | 75.7
2600 | 2022-05-17 12:19 | 34.6715 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.6357 | μmol/L | 17.8736 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.766 | 140681.6171 | 274193.9801 | 33.25 | 75.7
2610 | 2022-05-17 12:19 | 35.0048 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.3035 | μmol/L | 17.8798 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.778 | 140729.9 | 274194.5733 | 33.25 | 75.7
2620 | 2022-05-17 12:19 | 35.3381 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.1871 | μmol/L | 17.8798 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.783 | 140806.186 | 274197.0382 | 33.25 | 75.7
2630 | 2022-05-17 12:20 | 35.6716 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 273.9778 | μmol/L | 17.8798 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.792 | 140863.4101 | 274201.8625 | 33.25 | 75.7
2640 | 2022-05-17 12:20 | 36.0043 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 273.699 | μmol/L | 17.8798 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.804 | 140955.3221 | 274205.7983 | 33.25 | 75.7
2650 | 2022-05-17 12:20 | 36.3377 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 273.4437 | μmol/L | 17.8798 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.815 | 141024.8248 | 274212.6746 | 33.25 | 75.7
2660 | 2022-05-17 12:21 | 36.6714 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 273.3338 | μmol/L | 17.8736 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.822 | 141060.2724 | 274197.1514 | 33.25 | 75.7
2670 | 2022-05-17 12:21 | 37.005 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 273.2934 | μmol/L | 17.8675 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.826 | 141123.9743 | 274199.3589 | 33.25 | 75.7
2680 | 2022-05-17 12:21 | 37.3378 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 273.0618 | μmol/L | 17.8675 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.836 | 141179.6782 | 274206.5904 | 33.25 | 75.7
2690 | 2022-05-17 12:22 | 37.6713 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 272.8767 | μmol/L | 17.8675 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.844 | 141242.3252 | 274202.9336 | 33.25 | 75.7
2700 | 2022-05-17 12:22 | 38.0048 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 272.6455 | μmol/L | 17.8675 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.854 | 141310.7749 | 274200.1686 | 33.25 | 75.7
2710 | 2022-05-17 12:22 | 38.3382 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 272.53 | μmol/L | 17.8675 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.859 | 141351.7394 | 274185.9555 | 33.25 | 75.7
2720 | 2022-05-17 12:23 | 38.6718 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 272.5421 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.863 | 141394.2407 | 274177.6269 | 33.25 | 75.7
2730 | 2022-05-17 12:23 | 39.0044 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 272.3283 | μmol/L | 17.8614 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.87 | 141446.0973 | 274165.1576 | 33.25 | 75.7
2740 | 2022-05-17 12:23 | 39.3379 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 272.236 | μmol/L | 17.8614 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.874 | 141465.359 | 274172.0322 | 33.25 | 75.7
2750 | 2022-05-17 12:24 | 39.6714 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 272.0977 | μmol/L | 17.8614 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.88 | 141499.9514 | 274146.6877 | 33.25 | 75.7
2760 | 2022-05-17 12:24 | 40.005 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 272.0577 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.884 | 141510.3885 | 274146.687 | 33.25 | 75.7
2770 | 2022-05-17 12:24 | 40.3384 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 272.1038 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.882 | 141535.932 | 274143.7869 | 33.25 | 75.7
2780 | 2022-05-17 12:25 | 40.6716 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.8964 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.891 | 141585.7731 | 274140.0903 | 33.25 | 75.7
2790 | 2022-05-17 12:25 | 41.0045 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.7123 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.899 | 141606.8756 | 274115.0081 | 33.25 | 75.7
2800 | 2022-05-17 12:25 | 41.3379 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.4993 | μmol/L | 17.8614 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.906 | 141646.1337 | 274113.0809 | 33.25 | 75.7
2810 | 2022-05-17 12:26 | 41.6713 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.5284 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.907 | 141676.3555 | 274100.1327 | 33.25 | 75.7
2820 | 2022-05-17 12:26 | 42.0048 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.4135 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.912 | 141696.7727 | 274085.8035 | 33.25 | 75.7
2830 | 2022-05-17 12:26 | 42.3384 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.3446 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.915 | 141720.8524 | 274068.1994 | 33.25 | 75.7
2840 | 2022-05-17 12:27 | 42.6712 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.138 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.924 | 141760.6814 | 274054.466 | 33.25 | 75.7
2850 | 2022-05-17 12:27 | 43.0045 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.0233 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.929 | 141791.6268 | 274049.3501 | 33.25 | 75.7
2860 | 2022-05-17 12:27 | 43.338 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.8857 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.935 | 141818.3752 | 274026.6569 | 33.25 | 75.7
2870 | 2022-05-17 12:28 | 43.6716 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.8628 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.936 | 141834.6037 | 274032.7603 | 33.25 | 75.7
2880 | 2022-05-17 12:28 | 44.0049 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.8231 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.94 | 141844.1817 | 274011.3669 | 33.25 | 75.7
2890 | 2022-05-17 12:28 | 44.3381 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.5651 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.949 | 141900.1693 | 274003.7435 | 33.25 | 75.7
2900 | 2022-05-17 12:29 | 44.6716 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.4111 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.958 | 141953.0006 | 273989.0119 | 33.25 | 75.7
2910 | 2022-05-17 12:29 | 45.005 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.2907 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.961 | 141973.0643 | 273968.9702 | 33.25 | 75.7
2920 | 2022-05-17 12:29 | 45.3377 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.2282 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.966 | 142000.0378 | 273969.251 | 33.25 | 75.7
2930 | 2022-05-17 12:30 | 45.6712 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.9253 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.977 | 142055.3105 | 273945.1471 | 33.25 | 75.7
2940 | 2022-05-17 12:30 | 46.0048 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.7489 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.987 | 142153.1463 | 273926.0552 | 33.25 | 75.7
2950 | 2022-05-17 12:30 | 46.3383 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.5727 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.997 | 142216.1385 | 273910.5347 | 33.25 | 75.7
2960 | 2022-05-17 12:31 | 46.6712 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.3678 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.006 | 142240.1314 | 273898.2219 | 33.25 | 75.7
2970 | 2022-05-17 12:31 | 47.0047 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.1736 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.01 | 142252.3679 | 273860.2657 | 33.25 | 75.7
2980 | 2022-05-17 12:31 | 47.3382 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.2086 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.013 | 142276.8773 | 273865.7883 | 33.25 | 75.7
2990 | 2022-05-17 12:32 | 47.671 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.0888 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.016 | 142293.5936 | 273854.914 | 33.25 | 75.7
3000 | 2022-05-17 12:32 | 48.0045 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.9979 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.02 | 142306.0144 | 273827.7157 | 33.25 | 75.7
3010 | 2022-05-17 12:32 | 48.3381 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.1011 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.02 | 142318.9545 | 273816.2142 | 33.25 | 75.7
3020 | 2022-05-17 12:33 | 48.6717 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.942 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.027 | 142334.76 | 273786.6144 | 33.25 | 75.7
3030 | 2022-05-17 12:33 | 49.0043 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.8451 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.029 | 142358.0725 | 273783.2558 | 33.25 | 75.7
3040 | 2022-05-17 12:33 | 49.3379 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.7481 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.031 | 142361.5966 | 273762.3049 | 33.25 | 75.7
3050 | 2022-05-17 12:34 | 49.6713 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.6862 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.036 | 142375.7429 | 273740.5818 | 33.25 | 75.7
3060 | 2022-05-17 12:34 | 50.0048 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.544 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.04 | 142399.5857 | 273726.8789 | 33.25 | 75.7
3070 | 2022-05-17 12:34 | 50.3381 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.544 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.04 | 142407.5597 | 273697.4804 | 33.25 | 75.7
3080 | 2022-05-17 12:35 | 50.6715 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.3854 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.047 | 142415.0419 | 273691.4638 | 33.25 | 75.7
3090 | 2022-05-17 12:35 | 51.0046 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.4307 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.045 | 142408.0782 | 273660.7331 | 33.25 | 75.7
3100 | 2022-05-17 12:35 | 51.3381 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.8937 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.071 | 142548.2046 | 273640.6962 | 33.25 | 75.7
3110 | 2022-05-17 12:36 | 51.6715 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.6165 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.081 | 142607.5547 | 273626.663 | 33.25 | 75.7
3120 | 2022-05-17 12:36 | 52.0048 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.4811 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.087 | 142656.2753 | 273621.1028 | 33.25 | 75.7
3130 | 2022-05-17 12:36 | 52.3383 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.4483 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.093 | 142676.5133 | 273610.0152 | 33.25 | 75.7
3140 | 2022-05-17 12:37 | 52.6711 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.2843 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.098 | 142705.7014 | 273601.3879 | 33.25 | 75.7
3150 | 2022-05-17 12:37 | 53.0045 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.0529 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.106 | 142734.6216 | 273581.5043 | 33.25 | 75.7
3160 | 2022-05-17 12:37 | 53.3383 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.9628 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.11 | 142772.4 | 273561.6227 | 33.25 | 75.7
3170 | 2022-05-17 12:38 | 53.671 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.8442 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.113 | 142769.7857 | 273547.3809 | 33.25 | 75.7
3180 | 2022-05-17 12:38 | 54.0044 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.9403 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.111 | 142770.7182 | 273550.2999 | 33.25 | 75.7
3190 | 2022-05-17 12:38 | 54.338 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.7604 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.119 | 142805.4035 | 273527.985 | 33.25 | 75.7
3200 | 2022-05-17 12:39 | 54.6715 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.7154 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.121 | 142811.0122 | 273505.0363 | 33.25 | 75.7
3210 | 2022-05-17 12:39 | 55.0043 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.6991 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.124 | 142818.2596 | 273505.4685 | 33.25 | 75.7
3220 | 2022-05-17 12:39 | 55.3381 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.6541 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.126 | 142820.6292 | 273481.0229 | 33.25 | 75.7
3230 | 2022-05-17 12:40 | 55.6715 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.5867 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.129 | 142849.835 | 273463.6884 | 33.25 | 75.7
3240 | 2022-05-17 12:40 | 56.0043 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.5193 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.132 | 142879.5153 | 273455.5401 | 33.25 | 75.7
3250 | 2022-05-17 12:40 | 56.3377 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.3622 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.139 | 142891.3905 | 273435.5833 | 33.25 | 75.7
3260 | 2022-05-17 12:41 | 56.6715 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.2949 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.142 | 142916.4621 | 273414.3719 | 33.25 | 75.7
3270 | 2022-05-17 12:41 | 57.0051 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.2113 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.148 | 142952.9272 | 273395.6747 | 33.25 | 75.7
3280 | 2022-05-17 12:41 | 57.3384 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 265.92 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.161 | 143029.632 | 273384.736 | 33.25 | 75.7
3290 | 2022-05-17 12:42 | 57.6713 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 265.7062 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.166 | 143059.7595 | 273366.2091 | 33.25 | 75.7
3300 | 2022-05-17 12:42 | 58.0048 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 265.6005 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.173 | 143083.2411 | 273350.974 | 33.25 | 75.7
3310 | 2022-05-17 12:42 | 58.3381 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 265.5049 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.175 | 143085.6114 | 273343.2574 | 33.25 | 75.7
3320 | 2022-05-17 12:43 | 58.6716 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 265.4217 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.181 | 143114.9639 | 273324.5031 | 33.25 | 75.7
3330 | 2022-05-17 12:43 | 59.0043 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 265.31 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.186 | 143141.0374 | 273304.8763 | 33.25 | 75.7
3340 | 2022-05-17 12:43 | 59.3377 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 265.2045 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.193 | 143167.4353 | 273294.6827 | 33.25 | 75.7
3350 | 2022-05-17 12:44 | 59.6713 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 265.0645 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.197 | 143181.3494 | 273273.9322 | 33.25 | 75.7
3360 | 2022-05-17 12:44 | 60.0048 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 264.8923 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.207 | 143240.2099 | 273258.7544 | 33.25 | 75.7
3370 | 2022-05-17 12:44 | 60.3382 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 264.6695 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.217 | 143319.0365 | 273241.9538 | 33.25 | 75.7
3380 | 2022-05-17 12:45 | 60.6716 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 264.4408 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.225 | 143365.0721 | 273240.1149 | 33.25 | 75.7
3390 | 2022-05-17 12:45 | 61.0051 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 264.2407 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.234 | 143439.7251 | 273226.4818 | 33.25 | 75.7
3400 | 2022-05-17 12:45 | 61.3377 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 263.968 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.244 | 143488.6611 | 273221.7857 | 33.25 | 75.7
3410 | 2022-05-17 12:46 | 61.6711 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 263.9138 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.251 | 143524.4858 | 273194.8423 | 33.25 | 75.7
3420 | 2022-05-17 12:46 | 62.0046 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 263.8092 | μmol/L | 17.8307 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.258 | 143556.9597 | 273189.6695 | 33.25 | 75.7
3430 | 2022-05-17 12:46 | 62.3379 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 263.5149 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.269 | 143653.8202 | 273170.4706 | 33.25 | 75.7
3440 | 2022-05-17 12:47 | 62.6716 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 263.4042 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.274 | 143671.1248 | 273156.8178 | 33.25 | 75.7
3450 | 2022-05-17 12:47 | 63.005 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 263.3315 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.275 | 143666.0104 | 273138.1488 | 33.25 | 75.7
3460 | 2022-05-17 12:47 | 63.3384 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 263.1325 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.284 | 143693.5505 | 273132.3135 | 33.25 | 75.7
3470 | 2022-05-17 12:48 | 63.6718 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 263.022 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.289 | 143730.8986 | 273114.9164 | 33.25 | 75.7
3480 | 2022-05-17 12:48 | 64.0043 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 262.9937 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.288 | 143754.4796 | 273101.041 | 33.25 | 75.7
3490 | 2022-05-17 12:48 | 64.3377 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 263.0282 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.291 | 143773.6182 | 273086.9186 | 33.25 | 75.7
3500 | 2022-05-17 12:49 | 64.6713 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 262.9903 | μmol/L | 17.8307 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.295 | 143785.2005 | 273080.6688 | 33.25 | 75.7
3510 | 2022-05-17 12:49 | 65.0048 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 262.9178 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.296 | 143780.7539 | 273062.2203 | 33.25 | 75.7
3520 | 2022-05-17 12:49 | 65.3385 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 262.8832 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.293 | 143772.2133 | 273055.7614 | 33.25 | 75.7
3530 | 2022-05-17 12:50 | 65.6712 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 262.7666 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.296 | 143755.6581 | 273042.8096 | 33.25 | 75.7
3540 | 2022-05-17 12:50 | 66.0047 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 262.7728 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.298 | 143744.3867 | 273025.5802 | 33.25 | 75.7
3550 | 2022-05-17 12:50 | 66.3381 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 262.8453 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.297 | 143755.0096 | 273026.1809 | 33.25 | 75.7
3560 | 2022-05-17 12:51 | 66.6715 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 262.8895 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.295 | 143733.7627 | 272978.9448 | 33.25 | 75.7