## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_6 | O2 | 630958479 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:55

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 12:53

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
1555 | 2022-05-17 11:44 | 0 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.4273 | μmol/L | 18.058 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.646 | 92141.5957 | 300344.9739 | 30.45 | 114.2
1565 | 2022-05-17 11:44 | 0.32571 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.5223 | μmol/L | 18.058 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.642 | 92148.5119 | 300367.6564 | 30.45 | 114.2
1575 | 2022-05-17 11:45 | 0.65911 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.3906 | μmol/L | 18.0457 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.652 | 92157.7529 | 300367.9761 | 30.45 | 114.2
1585 | 2022-05-17 11:45 | 0.99267 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.4197 | μmol/L | 18.0396 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.653 | 92174.5918 | 300367.1409 | 30.45 | 114.2
1595 | 2022-05-17 11:45 | 1.3252 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.98 | μmol/L | 18.0273 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.676 | 92241.0313 | 300363.5524 | 30.45 | 114.2
1605 | 2022-05-17 11:46 | 1.659 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.454 | μmol/L | 18.0334 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.696 | 92361.2529 | 300352.5023 | 30.45 | 114.2
1615 | 2022-05-17 11:46 | 1.9925 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.8639 | μmol/L | 18.0334 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.721 | 92478.4553 | 300351.9125 | 30.45 | 114.2
1625 | 2022-05-17 11:46 | 2.3258 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.6102 | μmol/L | 18.0273 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.734 | 92507.0669 | 300327.349 | 30.45 | 114.2
1635 | 2022-05-17 11:47 | 2.6586 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.4455 | μmol/L | 18.0273 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.741 | 92538.6147 | 300327.0285 | 30.45 | 114.2
1645 | 2022-05-17 11:47 | 2.9927 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.5867 | μmol/L | 18.0273 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.735 | 92527.3031 | 300304.7183 | 30.45 | 114.2
1655 | 2022-05-17 11:47 | 3.3253 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.3043 | μmol/L | 18.0273 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.747 | 92562.6206 | 300284.3694 | 30.45 | 114.2
1665 | 2022-05-17 11:48 | 3.6588 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.1868 | μmol/L | 18.0273 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.752 | 92589.774 | 300295.764 | 30.45 | 114.2
1675 | 2022-05-17 11:48 | 3.9922 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.9699 | μmol/L | 18.0334 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.759 | 92624.1605 | 300272.6375 | 30.45 | 114.2
1685 | 2022-05-17 11:48 | 4.3257 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.9754 | μmol/L | 18.0273 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.761 | 92629.8276 | 300270.2166 | 30.45 | 114.2
1695 | 2022-05-17 11:49 | 4.6593 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.7047 | μmol/L | 18.015 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.777 | 92710.3263 | 300260.9185 | 30.45 | 114.2
1705 | 2022-05-17 11:49 | 4.9926 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4704 | μmol/L | 18.015 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.787 | 92751.1189 | 300239.4863 | 30.45 | 114.2
1715 | 2022-05-17 11:49 | 5.3254 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.184 | μmol/L | 18.0211 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.797 | 92796.9745 | 300246.8081 | 30.45 | 114.2
1725 | 2022-05-17 11:50 | 5.6592 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.1083 | μmol/L | 18.0273 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.798 | 92759.9508 | 300237.318 | 30.45 | 114.2
1735 | 2022-05-17 11:50 | 5.9926 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.8855 | μmol/L | 18.015 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.812 | 92850.9159 | 300237.3901 | 30.45 | 114.2
1745 | 2022-05-17 11:50 | 6.3254 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.1857 | μmol/L | 18.015 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.842 | 92970.3132 | 300217.6187 | 30.45 | 114.2
1755 | 2022-05-17 11:51 | 6.6589 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.7203 | μmol/L | 18.015 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.862 | 93092.8232 | 300207.4101 | 30.45 | 114.2
1765 | 2022-05-17 11:51 | 6.9924 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.7668 | μmol/L | 18.015 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.86 | 93048.5864 | 300198.3102 | 30.45 | 114.2
1775 | 2022-05-17 11:51 | 7.326 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.7491 | μmol/L | 18.0089 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.863 | 93064.752 | 300198.9845 | 30.45 | 114.2
1785 | 2022-05-17 11:52 | 7.6586 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.8654 | μmol/L | 18.0089 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.858 | 93020.1764 | 300178.0947 | 30.45 | 114.2
1795 | 2022-05-17 11:52 | 7.9921 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.7723 | μmol/L | 18.0089 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.862 | 93075.8935 | 300175.3018 | 30.45 | 114.2
1805 | 2022-05-17 11:52 | 8.3255 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.4703 | μmol/L | 18.0089 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.875 | 93125.5474 | 300167.0624 | 30.45 | 114.2
1815 | 2022-05-17 11:53 | 8.6588 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.1335 | μmol/L | 17.9966 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.894 | 93184.0104 | 300169.7839 | 30.45 | 114.2
1825 | 2022-05-17 11:53 | 8.9928 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.8555 | μmol/L | 17.9966 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.906 | 93246.6269 | 300157.6513 | 30.45 | 114.2
1835 | 2022-05-17 11:53 | 9.3255 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.4854 | μmol/L | 17.9966 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.922 | 93314.0186 | 300136.0758 | 30.45 | 114.2
1845 | 2022-05-17 11:54 | 9.659 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.2719 | μmol/L | 18.0027 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.929 | 93364.5879 | 300129.9835 | 30.45 | 114.2
1855 | 2022-05-17 11:54 | 9.9926 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.0928 | μmol/L | 17.9966 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.939 | 93386.2768 | 300107.7015 | 30.45 | 114.2
1865 | 2022-05-17 11:54 | 10.3254 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.6723 | μmol/L | 18.0027 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.955 | 93459.8277 | 300114.6363 | 30.45 | 114.2
1875 | 2022-05-17 11:55 | 10.6586 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.3732 | μmol/L | 18.0027 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.968 | 93539.1374 | 300090.5376 | 30.45 | 114.2
1885 | 2022-05-17 11:55 | 10.9924 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.7358 | μmol/L | 17.9966 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.998 | 93680.7027 | 300096.4553 | 30.45 | 114.2
1895 | 2022-05-17 11:55 | 11.3257 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.4608 | μmol/L | 17.9966 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.01 | 93724.9518 | 300088.9901 | 30.45 | 114.2
1905 | 2022-05-17 11:56 | 11.659 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.5351 | μmol/L | 17.9904 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.009 | 93722.8304 | 300069.777 | 30.45 | 114.2
1915 | 2022-05-17 11:56 | 11.9925 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.7184 | μmol/L | 17.9904 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.001 | 93695.1815 | 300060.5379 | 30.45 | 114.2
1925 | 2022-05-17 11:56 | 12.3259 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.8275 | μmol/L | 17.9966 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.994 | 93648.9171 | 300042.8737 | 30.45 | 114.2
1935 | 2022-05-17 11:57 | 12.6593 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.9075 | μmol/L | 17.9843 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.995 | 93643.8354 | 300039.5288 | 30.45 | 114.2
1945 | 2022-05-17 11:57 | 12.992 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.8387 | μmol/L | 17.9843 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.998 | 93650.4002 | 300034.0289 | 30.45 | 114.2
1955 | 2022-05-17 11:57 | 13.3255 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.8443 | μmol/L | 17.9782 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23 | 93653.7738 | 300019.6761 | 30.45 | 114.2
1965 | 2022-05-17 11:58 | 13.659 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.9014 | μmol/L | 17.9659 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.002 | 93662.6463 | 300026.6977 | 30.45 | 114.2
1975 | 2022-05-17 11:58 | 13.9925 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.5921 | μmol/L | 17.9782 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.011 | 93693.5626 | 300024.7479 | 30.45 | 114.2
1985 | 2022-05-17 11:58 | 14.3258 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.4776 | μmol/L | 17.9782 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.016 | 93709.6938 | 300026.5946 | 30.45 | 114.2
1995 | 2022-05-17 11:59 | 14.6593 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.5921 | μmol/L | 17.9782 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.011 | 93716.1015 | 299998.661 | 30.45 | 114.2
2005 | 2022-05-17 11:59 | 14.9927 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.5804 | μmol/L | 17.9659 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.016 | 93721.1842 | 300009.1031 | 30.45 | 114.2
2015 | 2022-05-17 11:59 | 15.3259 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.443 | μmol/L | 17.9659 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.022 | 93736.4214 | 300002.316 | 30.45 | 114.2
2025 | 2022-05-17 12:00 | 15.6587 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.3743 | μmol/L | 17.9659 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.025 | 93746.2686 | 299985.4908 | 30.45 | 114.2
2035 | 2022-05-17 12:00 | 15.9923 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.2599 | μmol/L | 17.9659 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.03 | 93769.8988 | 299981.838 | 30.45 | 114.2
2045 | 2022-05-17 12:00 | 16.3257 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.9627 | μmol/L | 17.9659 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.043 | 93813.059 | 299978.0772 | 30.45 | 114.2
2055 | 2022-05-17 12:01 | 16.6592 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.78 | μmol/L | 17.9659 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.051 | 93855.1991 | 299973.423 | 30.45 | 114.2
2065 | 2022-05-17 12:01 | 16.9927 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.5519 | μmol/L | 17.9659 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.061 | 93908.5874 | 299964.7708 | 30.45 | 114.2
2075 | 2022-05-17 12:01 | 17.3252 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.3012 | μmol/L | 17.9659 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.072 | 93967.8248 | 299965.9407 | 30.45 | 114.2
2085 | 2022-05-17 12:02 | 17.6586 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.9769 | μmol/L | 17.972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.084 | 94027.5127 | 299965.558 | 30.45 | 114.2
2095 | 2022-05-17 12:02 | 17.9922 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.7495 | μmol/L | 17.972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.094 | 94058.9804 | 299947.1064 | 30.45 | 114.2
2105 | 2022-05-17 12:02 | 18.3257 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.4883 | μmol/L | 17.9597 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.11 | 94153.7543 | 299941.018 | 30.45 | 114.2
2115 | 2022-05-17 12:03 | 18.6591 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.2105 | μmol/L | 17.9659 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.12 | 94179.756 | 299929.2068 | 30.45 | 114.2
2125 | 2022-05-17 12:03 | 18.9924 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.3125 | μmol/L | 17.9536 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.12 | 94205.4814 | 299929.1449 | 30.45 | 114.2
2135 | 2022-05-17 12:03 | 19.326 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.1086 | μmol/L | 17.9536 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.129 | 94214.2288 | 299931.5212 | 30.45 | 114.2
2145 | 2022-05-17 12:04 | 19.6587 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.0406 | μmol/L | 17.9536 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.132 | 94224.9449 | 299913.5276 | 30.45 | 114.2
2155 | 2022-05-17 12:04 | 19.9923 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.967 | μmol/L | 17.9597 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.133 | 94236.1921 | 299900.1715 | 30.45 | 114.2
2165 | 2022-05-17 12:04 | 20.3256 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.7407 | μmol/L | 17.9597 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.143 | 94241.2207 | 299892.1722 | 30.45 | 114.2
2175 | 2022-05-17 12:05 | 20.659 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.8765 | μmol/L | 17.9597 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.137 | 94238.9377 | 299889.8387 | 30.45 | 114.2
2185 | 2022-05-17 12:05 | 20.9925 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.8538 | μmol/L | 17.9597 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.138 | 94248.8389 | 299867.2961 | 30.45 | 114.2
2195 | 2022-05-17 12:05 | 21.3252 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.7521 | μmol/L | 17.9474 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.147 | 94267.924 | 299878.8887 | 30.45 | 114.2
2205 | 2022-05-17 12:06 | 21.6588 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.6673 | μmol/L | 17.9413 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.153 | 94275.4654 | 299855.2579 | 30.45 | 114.2
2215 | 2022-05-17 12:06 | 21.9924 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.5712 | μmol/L | 17.9474 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.155 | 94288.5143 | 299849.3488 | 30.45 | 114.2
2225 | 2022-05-17 12:06 | 22.3259 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.3623 | μmol/L | 17.9536 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.162 | 94336.8653 | 299854.7955 | 30.45 | 114.2
2235 | 2022-05-17 12:07 | 22.6592 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.7986 | μmol/L | 17.9536 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.187 | 94433.9904 | 299851.1452 | 30.45 | 114.2
2245 | 2022-05-17 12:07 | 22.992 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.5399 | μmol/L | 17.9413 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.203 | 94528.9697 | 299853.1762 | 30.45 | 114.2
2255 | 2022-05-17 12:07 | 23.3252 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.231 | μmol/L | 17.9352 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.219 | 94577.3763 | 299832.3569 | 30.45 | 114.2
2265 | 2022-05-17 12:08 | 23.6588 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.0008 | μmol/L | 17.9413 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.227 | 94626.7758 | 299840.1782 | 30.45 | 114.2
2275 | 2022-05-17 12:08 | 23.9922 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.9054 | μmol/L | 17.9474 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.229 | 94638.251 | 299832.9373 | 30.45 | 114.2
2285 | 2022-05-17 12:08 | 24.3257 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.6364 | μmol/L | 17.9474 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.241 | 94673.4804 | 299831.178 | 30.45 | 114.2
2295 | 2022-05-17 12:09 | 24.6592 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.284 | μmol/L | 17.9413 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.259 | 94755.4457 | 299829.8965 | 30.45 | 114.2
2305 | 2022-05-17 12:09 | 24.9927 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.0605 | μmol/L | 17.9413 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.269 | 94812.369 | 299827.3434 | 30.45 | 114.2
2315 | 2022-05-17 12:09 | 25.3253 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.9323 | μmol/L | 17.9352 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.277 | 94832.6675 | 299815.3912 | 30.45 | 114.2
2325 | 2022-05-17 12:10 | 25.6588 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.9769 | μmol/L | 17.9352 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.275 | 94863.0348 | 299823.0102 | 30.45 | 114.2
2335 | 2022-05-17 12:10 | 25.9924 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.6422 | μmol/L | 17.9352 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.29 | 94905.1992 | 299838.7865 | 30.45 | 114.2
2345 | 2022-05-17 12:10 | 26.3259 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.4194 | μmol/L | 17.9352 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.3 | 94969.0046 | 299826.6069 | 30.45 | 114.2
2355 | 2022-05-17 12:11 | 26.6592 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.2026 | μmol/L | 17.929 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.312 | 95026.8329 | 299843.0453 | 30.45 | 114.2
2365 | 2022-05-17 12:11 | 26.9926 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.0469 | μmol/L | 17.929 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.319 | 95062.5862 | 299845.2102 | 30.45 | 114.2
2375 | 2022-05-17 12:11 | 27.3255 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.8411 | μmol/L | 17.9352 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.326 | 95087.3058 | 299841.2831 | 30.45 | 114.2
2385 | 2022-05-17 12:12 | 27.659 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.73 | μmol/L | 17.9352 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.331 | 95103.8515 | 299854.0068 | 30.45 | 114.2
2395 | 2022-05-17 12:12 | 27.9923 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.6191 | μmol/L | 17.9352 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.336 | 95128.6145 | 299847.5583 | 30.45 | 114.2
2405 | 2022-05-17 12:12 | 28.3257 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.6914 | μmol/L | 17.929 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.335 | 95140.1437 | 299845.4364 | 30.45 | 114.2
2415 | 2022-05-17 12:13 | 28.6588 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.486 | μmol/L | 17.9352 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.342 | 95193.2997 | 299848.8592 | 30.45 | 114.2
2425 | 2022-05-17 12:13 | 28.9921 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.1978 | μmol/L | 17.9352 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.355 | 95250.2065 | 299843.5048 | 30.45 | 114.2
2435 | 2022-05-17 12:13 | 29.3259 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 260.8659 | μmol/L | 17.9352 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.37 | 95308.1508 | 299841.7425 | 30.45 | 114.2
2445 | 2022-05-17 12:14 | 29.6586 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 260.7111 | μmol/L | 17.9352 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.377 | 95349.9302 | 299845.7688 | 30.45 | 114.2
2455 | 2022-05-17 12:14 | 29.9921 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 260.5123 | μmol/L | 17.9352 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.386 | 95380.7639 | 299843.8255 | 30.45 | 114.2
2465 | 2022-05-17 12:14 | 30.3256 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 260.496 | μmol/L | 17.929 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.389 | 95416.625 | 299828.4166 | 30.45 | 114.2
2475 | 2022-05-17 12:15 | 30.6591 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 260.3473 | μmol/L | 17.9229 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.398 | 95436.7437 | 299842.1592 | 30.45 | 114.2
2485 | 2022-05-17 12:15 | 30.9919 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 260.3694 | μmol/L | 17.9229 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.397 | 95454.919 | 299845.719 | 30.45 | 114.2
2495 | 2022-05-17 12:15 | 31.326 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 260.2429 | μmol/L | 17.9167 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.405 | 95470.5257 | 299844.6849 | 30.45 | 114.2
2505 | 2022-05-17 12:16 | 31.6593 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.8406 | μmol/L | 17.9229 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.421 | 95543.1928 | 299860.8732 | 30.45 | 114.2
2515 | 2022-05-17 12:16 | 31.9922 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.7746 | μmol/L | 17.9229 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.424 | 95574.2499 | 299848.7303 | 30.45 | 114.2
2525 | 2022-05-17 12:16 | 32.3258 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.6704 | μmol/L | 17.9167 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.431 | 95601.4438 | 299852.2534 | 30.45 | 114.2
2535 | 2022-05-17 12:17 | 32.6587 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.5223 | μmol/L | 17.9106 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.44 | 95649.1968 | 299853.905 | 30.45 | 114.2
2545 | 2022-05-17 12:17 | 32.992 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.2472 | μmol/L | 17.9229 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.448 | 95693.9143 | 299858.9112 | 30.45 | 114.2
2555 | 2022-05-17 12:17 | 33.3255 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.171 | μmol/L | 17.9106 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.456 | 95729.839 | 299869.3015 | 30.45 | 114.2
2565 | 2022-05-17 12:18 | 33.659 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.0336 | μmol/L | 17.9167 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.46 | 95754.6118 | 299860.4622 | 30.45 | 114.2
2575 | 2022-05-17 12:18 | 33.9925 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.8744 | μmol/L | 17.9229 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.465 | 95768.2945 | 299859.2658 | 30.45 | 114.2
2585 | 2022-05-17 12:18 | 34.3259 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.6715 | μmol/L | 17.929 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.472 | 95798.7169 | 299868.5045 | 30.45 | 114.2
2595 | 2022-05-17 12:19 | 34.6586 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.5678 | μmol/L | 17.9229 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.479 | 95837.0399 | 299849.7968 | 30.45 | 114.2
2605 | 2022-05-17 12:19 | 34.9922 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.6233 | μmol/L | 17.9106 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.481 | 95857.6028 | 299851.3014 | 30.45 | 114.2
2615 | 2022-05-17 12:19 | 35.3256 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.5737 | μmol/L | 17.9167 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.481 | 95865.7572 | 299852.854 | 30.45 | 114.2
2625 | 2022-05-17 12:20 | 35.6593 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.3987 | μmol/L | 17.9167 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.489 | 95886.0732 | 299865.662 | 30.45 | 114.2
2635 | 2022-05-17 12:20 | 35.9926 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.5139 | μmol/L | 17.9106 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.486 | 95888.241 | 299851.1035 | 30.45 | 114.2
2645 | 2022-05-17 12:20 | 36.3259 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.4206 | μmol/L | 17.9167 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.488 | 95896.3871 | 299865.5976 | 30.45 | 114.2
2655 | 2022-05-17 12:21 | 36.6588 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.2676 | μmol/L | 17.9167 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.495 | 95902.9384 | 299848.7621 | 30.45 | 114.2
2665 | 2022-05-17 12:21 | 36.9923 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.4206 | μmol/L | 17.9167 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.488 | 95914.9324 | 299850.0404 | 30.45 | 114.2
2675 | 2022-05-17 12:21 | 37.3257 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.3783 | μmol/L | 17.8922 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.499 | 95956.4907 | 299838.7156 | 30.45 | 114.2
2685 | 2022-05-17 12:22 | 37.6585 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.9954 | μmol/L | 17.9045 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.512 | 96002.239 | 299833.9834 | 30.45 | 114.2
2695 | 2022-05-17 12:22 | 37.9921 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.9518 | μmol/L | 17.9045 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.514 | 96041.8041 | 299834.4855 | 30.45 | 114.2
2705 | 2022-05-17 12:22 | 38.3255 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.7992 | μmol/L | 17.9045 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.521 | 96059.9046 | 299827.1195 | 30.45 | 114.2
2715 | 2022-05-17 12:23 | 38.659 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.619 | μmol/L | 17.9106 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.527 | 96090.0691 | 299827.4237 | 30.45 | 114.2
2725 | 2022-05-17 12:23 | 38.9925 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.3519 | μmol/L | 17.9167 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.537 | 96129.4114 | 299823.7346 | 30.45 | 114.2
2735 | 2022-05-17 12:23 | 39.3252 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.2114 | μmol/L | 17.9045 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.548 | 96190.4925 | 299805.1902 | 30.45 | 114.2
2745 | 2022-05-17 12:24 | 39.6586 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.8856 | μmol/L | 17.9045 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.563 | 96251.43 | 299802.0794 | 30.45 | 114.2
2755 | 2022-05-17 12:24 | 39.9921 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.6686 | μmol/L | 17.9045 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.573 | 96297.2911 | 299797.4646 | 30.45 | 114.2
2765 | 2022-05-17 12:24 | 40.3254 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.3495 | μmol/L | 17.8983 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.59 | 96349.5674 | 299786.2161 | 30.45 | 114.2
2775 | 2022-05-17 12:25 | 40.6589 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.2963 | μmol/L | 17.886 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.597 | 96403.3119 | 299773.689 | 30.45 | 114.2
2785 | 2022-05-17 12:25 | 40.9924 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.0033 | μmol/L | 17.8983 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.606 | 96452.7096 | 299784.8626 | 30.45 | 114.2
2795 | 2022-05-17 12:25 | 41.3252 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.8089 | μmol/L | 17.8983 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.615 | 96470.6527 | 299755.1385 | 30.45 | 114.2
2805 | 2022-05-17 12:26 | 41.6587 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.7932 | μmol/L | 17.8922 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.618 | 96505.3893 | 299751.073 | 30.45 | 114.2
2815 | 2022-05-17 12:26 | 41.9922 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.7441 | μmol/L | 17.8983 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.618 | 96507.9262 | 299734.4091 | 30.45 | 114.2
2825 | 2022-05-17 12:26 | 42.3258 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.6303 | μmol/L | 17.9045 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.621 | 96509.9021 | 299727.7824 | 30.45 | 114.2
2835 | 2022-05-17 12:27 | 42.6586 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.6146 | μmol/L | 17.8983 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.624 | 96534.1584 | 299717.7778 | 30.45 | 114.2
2845 | 2022-05-17 12:27 | 42.9921 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.4479 | μmol/L | 17.8922 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.634 | 96575.9274 | 299712.9741 | 30.45 | 114.2
2855 | 2022-05-17 12:27 | 43.3253 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.2481 | μmol/L | 17.8983 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.641 | 96597.3311 | 299678.6443 | 30.45 | 114.2
2865 | 2022-05-17 12:28 | 43.6588 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.0856 | μmol/L | 17.9106 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.644 | 96607.122 | 299672.9394 | 30.45 | 114.2
2875 | 2022-05-17 12:28 | 43.9921 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.0974 | μmol/L | 17.8983 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.648 | 96613.2391 | 299650.3012 | 30.45 | 114.2
2885 | 2022-05-17 12:28 | 44.3255 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.0974 | μmol/L | 17.8983 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.648 | 96608.0384 | 299634.3882 | 30.45 | 114.2
2895 | 2022-05-17 12:29 | 44.6593 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.3617 | μmol/L | 17.8922 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.638 | 96581.8354 | 299636.4393 | 30.45 | 114.2
2905 | 2022-05-17 12:29 | 44.9925 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.5126 | μmol/L | 17.8922 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.631 | 96543.0951 | 299623.5048 | 30.45 | 114.2
2915 | 2022-05-17 12:29 | 45.326 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.4538 | μmol/L | 17.886 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.636 | 96546.3799 | 299607.4289 | 30.45 | 114.2
2925 | 2022-05-17 12:30 | 45.6588 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.3186 | μmol/L | 17.8922 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.64 | 96589.8649 | 299598.2022 | 30.45 | 114.2
2935 | 2022-05-17 12:30 | 45.9921 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.2109 | μmol/L | 17.8922 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.645 | 96600.6128 | 299560.793 | 30.45 | 114.2
2945 | 2022-05-17 12:30 | 46.3256 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 254.6362 | μmol/L | 17.886 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.674 | 96724.4132 | 299563.5238 | 30.45 | 114.2
2955 | 2022-05-17 12:31 | 46.659 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 254.1583 | μmol/L | 17.8922 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.694 | 96804.3191 | 299548.4776 | 30.45 | 114.2
2965 | 2022-05-17 12:31 | 46.9924 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.9013 | μmol/L | 17.8922 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.706 | 96854.1564 | 299521.5354 | 30.45 | 114.2
2975 | 2022-05-17 12:31 | 47.3258 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.7729 | μmol/L | 17.8922 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.712 | 96882.2887 | 299502.3403 | 30.45 | 114.2
2985 | 2022-05-17 12:32 | 47.6591 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.6933 | μmol/L | 17.886 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.718 | 96902.522 | 299484.2019 | 30.45 | 114.2
2995 | 2022-05-17 12:32 | 47.9927 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.4737 | μmol/L | 17.8922 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.726 | 96928.4782 | 299471.4032 | 30.45 | 114.2
3005 | 2022-05-17 12:32 | 48.3259 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.4737 | μmol/L | 17.8922 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.726 | 96919.9157 | 299452.72 | 30.45 | 114.2
3015 | 2022-05-17 12:33 | 48.6588 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.4796 | μmol/L | 17.886 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.728 | 96925.2635 | 299454.1016 | 30.45 | 114.2
3025 | 2022-05-17 12:33 | 48.9922 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.5983 | μmol/L | 17.8737 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.727 | 96910.1299 | 299420.7386 | 30.45 | 114.2
3035 | 2022-05-17 12:33 | 49.3257 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.2602 | μmol/L | 17.8922 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.736 | 96957.9373 | 299404.6899 | 30.45 | 114.2
3045 | 2022-05-17 12:34 | 49.6593 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 252.7759 | μmol/L | 17.886 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.761 | 97030.5086 | 299379.5249 | 30.45 | 114.2
3055 | 2022-05-17 12:34 | 49.992 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 252.6541 | μmol/L | 17.8799 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.769 | 97080.1835 | 299372.437 | 30.45 | 114.2
3065 | 2022-05-17 12:34 | 50.3254 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 252.3777 | μmol/L | 17.8799 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.782 | 97109.2283 | 299348.4671 | 30.45 | 114.2
3075 | 2022-05-17 12:35 | 50.659 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 252.3505 | μmol/L | 17.886 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.781 | 97121.2531 | 299327.09 | 30.45 | 114.2
3085 | 2022-05-17 12:35 | 50.9923 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 252.1594 | μmol/L | 17.886 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.79 | 97146.9177 | 299300.8512 | 30.45 | 114.2
3095 | 2022-05-17 12:35 | 51.3258 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 251.7777 | μmol/L | 17.886 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.808 | 97241.023 | 299269.0838 | 30.45 | 114.2
3105 | 2022-05-17 12:36 | 51.6593 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 251.7836 | μmol/L | 17.8799 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.81 | 97242.6955 | 299274.2269 | 30.45 | 114.2
3115 | 2022-05-17 12:36 | 51.9919 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 251.6353 | μmol/L | 17.8799 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.817 | 97234.666 | 299252.9286 | 30.45 | 114.2
3125 | 2022-05-17 12:36 | 52.3253 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 251.6777 | μmol/L | 17.8799 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.815 | 97220.3674 | 299231.6806 | 30.45 | 114.2
3135 | 2022-05-17 12:37 | 52.6587 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 251.7412 | μmol/L | 17.8799 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.812 | 97219.9714 | 299217.8613 | 30.45 | 114.2
3145 | 2022-05-17 12:37 | 52.9921 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 251.5447 | μmol/L | 17.886 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.819 | 97235.8196 | 299201.0366 | 30.45 | 114.2
3155 | 2022-05-17 12:37 | 53.3257 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 251.3424 | μmol/L | 17.8983 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.824 | 97238.9192 | 299189.502 | 30.45 | 114.2
3165 | 2022-05-17 12:38 | 53.6585 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 251.3543 | μmol/L | 17.886 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.828 | 97250.8479 | 299168.592 | 30.45 | 114.2
3175 | 2022-05-17 12:38 | 53.9922 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 251.312 | μmol/L | 17.886 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.83 | 97258.8545 | 299143.8828 | 30.45 | 114.2
3185 | 2022-05-17 12:38 | 54.3255 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 251.2275 | μmol/L | 17.886 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.834 | 97272.0748 | 299145.9734 | 30.45 | 114.2
3195 | 2022-05-17 12:39 | 54.6588 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 251.1489 | μmol/L | 17.8799 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.84 | 97291.2166 | 299126.6005 | 30.45 | 114.2
3205 | 2022-05-17 12:39 | 54.9925 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 251.0585 | μmol/L | 17.886 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.842 | 97310.9744 | 299107.2646 | 30.45 | 114.2
3215 | 2022-05-17 12:39 | 55.3259 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 250.8533 | μmol/L | 17.8799 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.854 | 97334.4648 | 299086.7662 | 30.45 | 114.2
3225 | 2022-05-17 12:40 | 55.6587 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 250.5944 | μmol/L | 17.886 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.864 | 97362.3448 | 299077.9648 | 30.45 | 114.2
3235 | 2022-05-17 12:40 | 55.992 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 250.5312 | μmol/L | 17.886 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.867 | 97384.1025 | 299055.7543 | 30.45 | 114.2
3245 | 2022-05-17 12:40 | 56.3255 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 250.4469 | μmol/L | 17.886 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.871 | 97410.246 | 299030.6094 | 30.45 | 114.2
3255 | 2022-05-17 12:41 | 56.6591 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 250.3326 | μmol/L | 17.8737 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.881 | 97435.4163 | 299030.1177 | 30.45 | 114.2
3265 | 2022-05-17 12:41 | 56.9919 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 250.2544 | μmol/L | 17.8676 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.887 | 97451.6441 | 299009.3999 | 30.45 | 114.2
3275 | 2022-05-17 12:41 | 57.3255 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 250.0473 | μmol/L | 17.886 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.89 | 97467.7989 | 298988.8281 | 30.45 | 114.2
3285 | 2022-05-17 12:42 | 57.6589 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 249.9902 | μmol/L | 17.8799 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.895 | 97477.0016 | 298986.2046 | 30.45 | 114.2
3295 | 2022-05-17 12:42 | 57.9925 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 249.9482 | μmol/L | 17.8799 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.897 | 97483.0595 | 298950.1679 | 30.45 | 114.2
3305 | 2022-05-17 12:42 | 58.3259 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 249.8642 | μmol/L | 17.8799 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.901 | 97493.0555 | 298946.0742 | 30.45 | 114.2
3315 | 2022-05-17 12:43 | 58.6592 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 249.7802 | μmol/L | 17.8799 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.905 | 97500.5607 | 298910.7887 | 30.45 | 114.2
3325 | 2022-05-17 12:43 | 58.9927 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 249.7232 | μmol/L | 17.8737 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.91 | 97516.059 | 298895.5722 | 30.45 | 114.2
3335 | 2022-05-17 12:43 | 59.3252 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 249.4866 | μmol/L | 17.8799 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.919 | 97548.0668 | 298883.0431 | 30.45 | 114.2
3345 | 2022-05-17 12:44 | 59.6587 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 249.5554 | μmol/L | 17.8737 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.918 | 97538.7621 | 298861.8757 | 30.45 | 114.2
3355 | 2022-05-17 12:44 | 59.9923 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 249.2621 | μmol/L | 17.8737 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.932 | 97608.6943 | 298853.7943 | 30.45 | 114.2
3365 | 2022-05-17 12:44 | 60.3256 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 249.1574 | μmol/L | 17.8737 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.937 | 97616.4058 | 298837.5381 | 30.45 | 114.2
3375 | 2022-05-17 12:45 | 60.6592 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 249.011 | μmol/L | 17.8737 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.944 | 97646.5775 | 298827.0619 | 30.45 | 114.2
3385 | 2022-05-17 12:45 | 60.9926 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 248.7811 | μmol/L | 17.8737 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.955 | 97700.1569 | 298807.8888 | 30.45 | 114.2
3395 | 2022-05-17 12:45 | 61.326 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 248.5306 | μmol/L | 17.8737 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.967 | 97719.235 | 298780.1155 | 30.45 | 114.2
3405 | 2022-05-17 12:46 | 61.6592 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 248.4263 | μmol/L | 17.8737 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.972 | 97737.2695 | 298777.2485 | 30.45 | 114.2
3415 | 2022-05-17 12:46 | 61.992 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 248.3638 | μmol/L | 17.8737 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.975 | 97737.7233 | 298761.3975 | 30.45 | 114.2
3425 | 2022-05-17 12:46 | 62.3254 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 248.3846 | μmol/L | 17.8737 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.974 | 97750.1651 | 298755.1971 | 30.45 | 114.2
3435 | 2022-05-17 12:47 | 62.659 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 248.4115 | μmol/L | 17.8676 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.975 | 97750.0991 | 298733.4254 | 30.45 | 114.2
3445 | 2022-05-17 12:47 | 62.9922 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 248.2536 | μmol/L | 17.8799 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.978 | 97747.7584 | 298712.9921 | 30.45 | 114.2
3455 | 2022-05-17 12:47 | 63.3256 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 248.0662 | μmol/L | 17.8799 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.987 | 97765.8481 | 298690.8507 | 30.45 | 114.2
3465 | 2022-05-17 12:48 | 63.6593 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 247.8581 | μmol/L | 17.8799 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.997 | 97791.8792 | 298660.5063 | 30.45 | 114.2
3475 | 2022-05-17 12:48 | 63.9921 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 247.8849 | μmol/L | 17.8737 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.998 | 97852.3364 | 298665.9404 | 30.45 | 114.2
3485 | 2022-05-17 12:48 | 64.3253 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 247.9176 | μmol/L | 17.8615 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.001 | 97857.3007 | 298654.9821 | 30.45 | 114.2
3495 | 2022-05-17 12:49 | 64.6586 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 247.7185 | μmol/L | 17.8737 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.006 | 97865.995 | 298630.3727 | 30.45 | 114.2
3505 | 2022-05-17 12:49 | 64.9921 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 247.7245 | μmol/L | 17.8676 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.008 | 97880.8898 | 298612.6118 | 30.45 | 114.2
3515 | 2022-05-17 12:49 | 65.3256 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 247.7245 | μmol/L | 17.8676 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.008 | 97878.5969 | 298610.8306 | 30.45 | 114.2
3525 | 2022-05-17 12:50 | 65.6592 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 247.6562 | μmol/L | 17.8737 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.009 | 97868.3053 | 298573.5707 | 30.45 | 114.2
3535 | 2022-05-17 12:50 | 65.9923 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 247.4218 | μmol/L | 17.8799 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.018 | 97891.3328 | 298575.1969 | 30.45 | 114.2
3545 | 2022-05-17 12:50 | 66.3256 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 247.4278 | μmol/L | 17.8737 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.02 | 97913.2752 | 298554.0408 | 30.45 | 114.2
3555 | 2022-05-17 12:51 | 66.6592 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 247.3241 | μmol/L | 17.8737 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.025 | 97925.7332 | 298516.5984 | 30.45 | 114.2
3565 | 2022-05-17 12:51 | 66.9923 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 247.2264 | μmol/L | 17.8676 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.032 | 97939.4998 | 298505.0425 | 30.45 | 114.2