## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_7 | O2 | 690909578 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:57

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 15:38

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
5285 | 2022-05-17 14:39 | 0 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 283.0468 | μmol/L | 19.1265 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.03 | 115267.1855 | 288983.8366 | 59.9307 | 49.4
5295 | 2022-05-17 14:39 | 0.32761 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 283.1943 | μmol/L | 19.1265 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.024 | 115234.372 | 288974.7581 | 59.9307 | 49.4
5305 | 2022-05-17 14:39 | 0.66103 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 283.2928 | μmol/L | 19.1265 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.02 | 115184.3695 | 288941.305 | 59.9307 | 49.4
5315 | 2022-05-17 14:40 | 0.99433 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 283.597 | μmol/L | 19.1142 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.012 | 115142.3802 | 288943.9454 | 59.9307 | 49.4
5325 | 2022-05-17 14:40 | 1.3278 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 283.8233 | μmol/L | 19.108 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.005 | 115082.5152 | 288932.0362 | 59.9307 | 49.4
5335 | 2022-05-17 14:40 | 1.6614 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 284.0047 | μmol/L | 19.0956 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.002 | 115048.2933 | 288925.3304 | 59.9307 | 49.4
5345 | 2022-05-17 14:41 | 1.9946 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 284.1486 | μmol/L | 19.1018 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.994 | 114987.4546 | 288920.8353 | 59.9307 | 49.4
5355 | 2022-05-17 14:41 | 2.3279 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 284.5121 | μmol/L | 19.0771 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.988 | 114945.8315 | 288919.6865 | 59.9307 | 49.4
5365 | 2022-05-17 14:41 | 2.6613 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 284.5659 | μmol/L | 19.071 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.988 | 114910.4788 | 288904.7048 | 59.9307 | 49.4
5375 | 2022-05-17 14:42 | 2.9947 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 284.7435 | μmol/L | 19.0648 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.983 | 114878.7206 | 288900.3628 | 59.9307 | 49.4
5385 | 2022-05-17 14:42 | 3.328 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 284.7683 | μmol/L | 19.0648 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.982 | 114852.6017 | 288879.1167 | 59.9307 | 49.4
5395 | 2022-05-17 14:42 | 3.6614 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 285.0292 | μmol/L | 19.0463 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.978 | 114833.8179 | 288872.6908 | 59.9307 | 49.4
5405 | 2022-05-17 14:43 | 3.9941 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 285.0539 | μmol/L | 19.0463 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.977 | 114818.9799 | 288885.9781 | 59.9307 | 49.4
5415 | 2022-05-17 14:43 | 4.3275 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 285.2859 | μmol/L | 19.0339 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.972 | 114793.61 | 288873.5282 | 59.9307 | 49.4
5425 | 2022-05-17 14:43 | 4.6608 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 285.4392 | μmol/L | 19.0278 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.968 | 114780.6309 | 288863.6146 | 59.9307 | 49.4
5435 | 2022-05-17 14:44 | 4.9948 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 285.4436 | μmol/L | 19.0216 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.97 | 114761.3339 | 288889.0091 | 59.9307 | 49.4
5445 | 2022-05-17 14:44 | 5.3273 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 285.6014 | μmol/L | 19.0092 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.968 | 114750.5325 | 288860.3221 | 59.9307 | 49.4
5455 | 2022-05-17 14:44 | 5.6609 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 285.755 | μmol/L | 19.0031 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.964 | 114728.2663 | 288864.6678 | 59.9307 | 49.4
5465 | 2022-05-17 14:45 | 5.9942 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 285.7886 | μmol/L | 18.9907 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.967 | 114707.3195 | 288858.3196 | 59.9307 | 49.4
5475 | 2022-05-17 14:45 | 6.3274 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 285.8677 | μmol/L | 18.9846 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.966 | 114710.5908 | 288861.7429 | 59.9307 | 49.4
5485 | 2022-05-17 14:45 | 6.6607 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 286.0009 | μmol/L | 18.9722 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.965 | 114689.2652 | 288858.65 | 59.9307 | 49.4
5495 | 2022-05-17 14:46 | 6.9942 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 286.0258 | μmol/L | 18.9722 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.964 | 114678.1489 | 288818.2727 | 59.9307 | 49.4
5505 | 2022-05-17 14:46 | 7.3276 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 286.184 | μmol/L | 18.9599 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.962 | 114674.2665 | 288823.2079 | 59.9307 | 49.4
5515 | 2022-05-17 14:46 | 7.6611 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 286.1635 | μmol/L | 18.9537 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.965 | 114658.4586 | 288821.9738 | 59.9307 | 49.4
5525 | 2022-05-17 14:47 | 7.9945 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 286.2427 | μmol/L | 18.9475 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.964 | 114646.6865 | 288799.8698 | 59.9307 | 49.4
5535 | 2022-05-17 14:47 | 8.328 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 286.3308 | μmol/L | 18.929 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.967 | 114639.9146 | 288804.0856 | 59.9307 | 49.4
5545 | 2022-05-17 14:47 | 8.6614 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 286.3557 | μmol/L | 18.929 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.966 | 114645.7373 | 288820.6007 | 59.9307 | 49.4
5555 | 2022-05-17 14:48 | 8.9948 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 286.41 | μmol/L | 18.9228 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.966 | 114638.9479 | 288793.2083 | 59.9307 | 49.4
5565 | 2022-05-17 14:48 | 9.328 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 286.4688 | μmol/L | 18.9105 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.968 | 114642.2345 | 288789.5278 | 59.9307 | 49.4
5575 | 2022-05-17 14:48 | 9.6615 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 286.5775 | μmol/L | 18.8982 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.968 | 114635.5963 | 288785.2097 | 59.9307 | 49.4
5585 | 2022-05-17 14:49 | 9.9941 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 286.6319 | μmol/L | 18.892 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.968 | 114620.9291 | 288764.8155 | 59.9307 | 49.4
5595 | 2022-05-17 14:49 | 10.3275 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 286.6863 | μmol/L | 18.8858 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.968 | 114630.0135 | 288761.8097 | 59.9307 | 49.4
5605 | 2022-05-17 14:49 | 10.6609 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 286.7656 | μmol/L | 18.8796 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.967 | 114631.0802 | 288762.5573 | 59.9307 | 49.4
5615 | 2022-05-17 14:50 | 10.9944 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 286.7951 | μmol/L | 18.8735 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.968 | 114618.5472 | 288756.0359 | 59.9307 | 49.4
5625 | 2022-05-17 14:50 | 11.3278 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 286.7497 | μmol/L | 18.8673 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.972 | 114626.1008 | 288751.3775 | 59.9307 | 49.4
5635 | 2022-05-17 14:50 | 11.6611 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 286.8291 | μmol/L | 18.8611 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.971 | 114616.5082 | 288744.7869 | 59.9307 | 49.4
5645 | 2022-05-17 14:51 | 11.9945 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 286.7837 | μmol/L | 18.855 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.975 | 114608.8708 | 288719.9054 | 59.9307 | 49.4
5655 | 2022-05-17 14:51 | 12.3278 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 286.938 | μmol/L | 18.8488 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.971 | 114606.9804 | 288732.3571 | 59.9307 | 49.4
5665 | 2022-05-17 14:51 | 12.6611 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 286.9426 | μmol/L | 18.8426 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.973 | 114604.1759 | 288734.7285 | 59.9307 | 49.4
5675 | 2022-05-17 14:52 | 12.9945 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 286.9222 | μmol/L | 18.8365 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.976 | 114600.7753 | 288696.2488 | 59.9307 | 49.4
5685 | 2022-05-17 14:52 | 13.328 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 286.9721 | μmol/L | 18.8365 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.974 | 114595.7157 | 288706.3087 | 59.9307 | 49.4
5695 | 2022-05-17 14:52 | 13.6607 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.0108 | μmol/L | 18.8179 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.979 | 114597.3687 | 288706.047 | 59.9307 | 49.4
5705 | 2022-05-17 14:53 | 13.994 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 286.9858 | μmol/L | 18.8179 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.98 | 114596.6015 | 288685.5108 | 59.9307 | 49.4
5715 | 2022-05-17 14:53 | 14.3275 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 286.9904 | μmol/L | 18.8118 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.982 | 114596.717 | 288668.3914 | 59.9307 | 49.4
5725 | 2022-05-17 14:53 | 14.6607 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 286.9655 | μmol/L | 18.8118 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.983 | 114602.3654 | 288673.1596 | 59.9307 | 49.4
5735 | 2022-05-17 14:54 | 14.9947 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.0745 | μmol/L | 18.7994 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.983 | 114594.4789 | 288653.6655 | 59.9307 | 49.4
5745 | 2022-05-17 14:54 | 15.3281 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 286.9996 | μmol/L | 18.7994 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.986 | 114598.9851 | 288655.5649 | 59.9307 | 49.4
5755 | 2022-05-17 14:54 | 15.6615 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.0042 | μmol/L | 18.7933 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.988 | 114605.7182 | 288661.3514 | 59.9307 | 49.4
5765 | 2022-05-17 14:55 | 15.9948 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.1632 | μmol/L | 18.7809 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.986 | 114591.197 | 288641.8009 | 59.9307 | 49.4
5775 | 2022-05-17 14:55 | 16.3279 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.1632 | μmol/L | 18.7809 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.986 | 114597.1497 | 288628.2593 | 59.9307 | 49.4
5785 | 2022-05-17 14:55 | 16.6613 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.1725 | μmol/L | 18.7686 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.99 | 114601.8062 | 288645.0073 | 59.9307 | 49.4
5795 | 2022-05-17 14:56 | 16.9948 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.1226 | μmol/L | 18.7686 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.992 | 114598.7469 | 288618.646 | 59.9307 | 49.4
5805 | 2022-05-17 14:56 | 17.3282 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.1818 | μmol/L | 18.7562 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.994 | 114595.5543 | 288622.3291 | 59.9307 | 49.4
5815 | 2022-05-17 14:56 | 17.6607 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.2364 | μmol/L | 18.7501 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.994 | 114590.6924 | 288616.8587 | 59.9307 | 49.4
5825 | 2022-05-17 14:57 | 17.9942 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.2161 | μmol/L | 18.7439 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.997 | 114595.5751 | 288613.8089 | 59.9307 | 49.4
5835 | 2022-05-17 14:57 | 18.3275 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.1708 | μmol/L | 18.7377 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.001 | 114573.2635 | 288612.8248 | 59.9307 | 49.4
5845 | 2022-05-17 14:57 | 18.6611 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.2957 | μmol/L | 18.7377 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 21.996 | 114576.1435 | 288604.8104 | 59.9307 | 49.4
5855 | 2022-05-17 14:58 | 18.9946 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.2005 | μmol/L | 18.7315 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.002 | 114576.2913 | 288578.6231 | 59.9307 | 49.4
5865 | 2022-05-17 14:58 | 19.3279 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.3097 | μmol/L | 18.7192 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.002 | 114567.0723 | 288565.7444 | 59.9307 | 49.4
5875 | 2022-05-17 14:58 | 19.6612 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.2301 | μmol/L | 18.7254 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.003 | 114574.0932 | 288553.1189 | 59.9307 | 49.4
5885 | 2022-05-17 14:59 | 19.9947 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.2942 | μmol/L | 18.7069 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.007 | 114584.6473 | 288561.1089 | 59.9307 | 49.4
5895 | 2022-05-17 14:59 | 20.3281 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.2395 | μmol/L | 18.713 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.007 | 114570.5528 | 288536.9261 | 59.9307 | 49.4
5905 | 2022-05-17 14:59 | 20.6615 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.3191 | μmol/L | 18.7069 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.006 | 114577.6968 | 288550.0932 | 59.9307 | 49.4
5915 | 2022-05-17 15:00 | 20.9941 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.2739 | μmol/L | 18.7007 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.01 | 114591.9988 | 288566.4301 | 59.9307 | 49.4
5925 | 2022-05-17 15:00 | 21.3276 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.3036 | μmol/L | 18.6945 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.011 | 114588.2298 | 288544.554 | 59.9307 | 49.4
5935 | 2022-05-17 15:00 | 21.661 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.2786 | μmol/L | 18.6945 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.012 | 114587.2398 | 288519.2821 | 59.9307 | 49.4
5945 | 2022-05-17 15:01 | 21.9944 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.4177 | μmol/L | 18.676 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.013 | 114582.6287 | 288516.2099 | 59.9307 | 49.4
5955 | 2022-05-17 15:01 | 22.328 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.3677 | μmol/L | 18.676 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.015 | 114586.6608 | 288525.4167 | 59.9307 | 49.4
5965 | 2022-05-17 15:01 | 22.6614 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.4177 | μmol/L | 18.676 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.013 | 114588.0193 | 288506.2292 | 59.9307 | 49.4
5975 | 2022-05-17 15:02 | 22.9941 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.3725 | μmol/L | 18.6698 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.017 | 114583.0225 | 288493.7543 | 59.9307 | 49.4
5985 | 2022-05-17 15:02 | 23.3282 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.4022 | μmol/L | 18.6637 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.018 | 114572.2707 | 288496.3333 | 59.9307 | 49.4
5995 | 2022-05-17 15:02 | 23.6608 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.382 | μmol/L | 18.6575 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.021 | 114568.9701 | 288494.6672 | 59.9307 | 49.4
6005 | 2022-05-17 15:03 | 23.9946 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.5366 | μmol/L | 18.6513 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.017 | 114567.9281 | 288478.5161 | 59.9307 | 49.4
6015 | 2022-05-17 15:03 | 24.3276 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.4665 | μmol/L | 18.6452 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.022 | 114569.3652 | 288489.8852 | 59.9307 | 49.4
6025 | 2022-05-17 15:03 | 24.6614 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.3416 | μmol/L | 18.6452 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.027 | 114574.8017 | 288477.4644 | 59.9307 | 49.4
6035 | 2022-05-17 15:04 | 24.9944 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.3868 | μmol/L | 18.6513 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.023 | 114558.8061 | 288481.0834 | 59.9307 | 49.4
6045 | 2022-05-17 15:04 | 25.3276 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.2917 | μmol/L | 18.6452 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.029 | 114557.7524 | 288454.7018 | 59.9307 | 49.4
6055 | 2022-05-17 15:04 | 25.6615 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.3512 | μmol/L | 18.6328 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.031 | 114566.0423 | 288466.7962 | 59.9307 | 49.4
6065 | 2022-05-17 15:05 | 25.9947 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.3512 | μmol/L | 18.6328 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.031 | 114569.5712 | 288473.1116 | 59.9307 | 49.4
6075 | 2022-05-17 15:05 | 26.3279 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.3262 | μmol/L | 18.6328 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.032 | 114555.1744 | 288459.5309 | 59.9307 | 49.4
6085 | 2022-05-17 15:05 | 26.661 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.2811 | μmol/L | 18.6266 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.036 | 114551.3695 | 288467.5503 | 59.9307 | 49.4
6095 | 2022-05-17 15:06 | 26.994 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.3109 | μmol/L | 18.6205 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.037 | 114553.3505 | 288465.5029 | 59.9307 | 49.4
6105 | 2022-05-17 15:06 | 27.3279 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.3906 | μmol/L | 18.6143 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.036 | 114562.2652 | 288471.225 | 59.9307 | 49.4
6115 | 2022-05-17 15:06 | 27.661 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.3656 | μmol/L | 18.6143 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.037 | 114558.7379 | 288458.0784 | 59.9307 | 49.4
6125 | 2022-05-17 15:07 | 27.9943 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.4002 | μmol/L | 18.602 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.04 | 114571.1269 | 288454.6005 | 59.9307 | 49.4
6135 | 2022-05-17 15:07 | 28.3275 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.3205 | μmol/L | 18.6081 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.041 | 114587.8908 | 288467.8753 | 59.9307 | 49.4
6145 | 2022-05-17 15:07 | 28.6607 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.4002 | μmol/L | 18.602 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.04 | 114579.8768 | 288440.8515 | 59.9307 | 49.4
6155 | 2022-05-17 15:08 | 28.994 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.405 | μmol/L | 18.5958 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.042 | 114589.1907 | 288450.5508 | 59.9307 | 49.4
6165 | 2022-05-17 15:08 | 29.3279 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.36 | μmol/L | 18.5896 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.046 | 114589.7137 | 288457.5255 | 59.9307 | 49.4
6175 | 2022-05-17 15:08 | 29.6611 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.335 | μmol/L | 18.5896 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.047 | 114601.0514 | 288430.2562 | 59.9307 | 49.4
6185 | 2022-05-17 15:09 | 29.994 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.4147 | μmol/L | 18.5835 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.046 | 114606.653 | 288429.9252 | 59.9307 | 49.4
6195 | 2022-05-17 15:09 | 30.328 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.2851 | μmol/L | 18.5896 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.049 | 114608.1851 | 288450.8421 | 59.9307 | 49.4
6205 | 2022-05-17 15:09 | 30.661 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.2851 | μmol/L | 18.5896 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.049 | 114621.9518 | 288443.4246 | 59.9307 | 49.4
6215 | 2022-05-17 15:10 | 30.9941 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.3745 | μmol/L | 18.5711 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.052 | 114618.7139 | 288431.2068 | 59.9307 | 49.4
6225 | 2022-05-17 15:10 | 31.328 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.4293 | μmol/L | 18.5649 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.052 | 114618.9987 | 288428.9817 | 59.9307 | 49.4
6235 | 2022-05-17 15:10 | 31.6611 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.3246 | μmol/L | 18.5711 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.054 | 114612.5686 | 288410.1429 | 59.9307 | 49.4
6245 | 2022-05-17 15:11 | 31.9945 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.3544 | μmol/L | 18.5649 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.055 | 114631.594 | 288412.059 | 59.9307 | 49.4
6255 | 2022-05-17 15:11 | 32.3277 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.4391 | μmol/L | 18.5526 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.056 | 114629.6541 | 288406.2333 | 59.9307 | 49.4
6265 | 2022-05-17 15:11 | 32.6609 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.3593 | μmol/L | 18.5588 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.057 | 114619.6315 | 288404.6078 | 59.9307 | 49.4
6275 | 2022-05-17 15:12 | 32.9941 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.4391 | μmol/L | 18.5526 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.056 | 114639.6816 | 288418.2788 | 59.9307 | 49.4
6285 | 2022-05-17 15:12 | 33.3281 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.3143 | μmol/L | 18.5526 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.061 | 114633.2229 | 288401.1306 | 59.9307 | 49.4
6295 | 2022-05-17 15:12 | 33.6613 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.3442 | μmol/L | 18.5464 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.062 | 114640.1049 | 288390.6422 | 59.9307 | 49.4
6305 | 2022-05-17 15:13 | 33.9946 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.374 | μmol/L | 18.5403 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.063 | 114636.0885 | 288393.2845 | 59.9307 | 49.4
6315 | 2022-05-17 15:13 | 34.3275 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.3192 | μmol/L | 18.5464 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.063 | 114633.5992 | 288382.2748 | 59.9307 | 49.4
6325 | 2022-05-17 15:13 | 34.661 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.4288 | μmol/L | 18.5341 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.063 | 114635.1988 | 288372.4585 | 59.9307 | 49.4
6335 | 2022-05-17 15:14 | 34.9948 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.2244 | μmol/L | 18.5403 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.069 | 114643.0955 | 288387.3184 | 59.9307 | 49.4
6345 | 2022-05-17 15:14 | 35.3281 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.4337 | μmol/L | 18.5279 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.065 | 114639.8384 | 288376.06 | 59.9307 | 49.4
6355 | 2022-05-17 15:14 | 35.6613 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.3589 | μmol/L | 18.5279 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.068 | 114643.9613 | 288360.0299 | 59.9307 | 49.4
6365 | 2022-05-17 15:15 | 35.9941 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.3887 | μmol/L | 18.5217 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.069 | 114648.7374 | 288359.9593 | 59.9307 | 49.4
6375 | 2022-05-17 15:15 | 36.3276 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.3139 | μmol/L | 18.5217 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.072 | 114650.1884 | 288358.4092 | 59.9307 | 49.4
6385 | 2022-05-17 15:15 | 36.6609 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.3638 | μmol/L | 18.5217 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.07 | 114652.765 | 288346.5801 | 59.9307 | 49.4
6395 | 2022-05-17 15:16 | 36.9947 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.289 | μmol/L | 18.5217 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.073 | 114659.3603 | 288372.193 | 59.9307 | 49.4
6405 | 2022-05-17 15:16 | 37.3273 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.289 | μmol/L | 18.5217 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.073 | 114657.0801 | 288351.1689 | 59.9307 | 49.4
6415 | 2022-05-17 15:16 | 37.6613 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.3487 | μmol/L | 18.5094 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.075 | 114653.7781 | 288349.0722 | 59.9307 | 49.4
6425 | 2022-05-17 15:17 | 37.9945 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.2739 | μmol/L | 18.5094 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.078 | 114649.0481 | 288331.4343 | 59.9307 | 49.4
6435 | 2022-05-17 15:17 | 38.3277 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.2739 | μmol/L | 18.5094 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.078 | 114663.5948 | 288341.6233 | 59.9307 | 49.4
6445 | 2022-05-17 15:17 | 38.6606 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.4334 | μmol/L | 18.4971 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.076 | 114667.2535 | 288356.9017 | 59.9307 | 49.4
6455 | 2022-05-17 15:18 | 38.9946 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.2539 | μmol/L | 18.5032 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.081 | 114663.9341 | 288326.2983 | 59.9307 | 49.4
6465 | 2022-05-17 15:18 | 39.3277 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.2838 | μmol/L | 18.4971 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.082 | 114659.1929 | 288343.3762 | 59.9307 | 49.4
6475 | 2022-05-17 15:18 | 39.6609 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.2838 | μmol/L | 18.4971 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.082 | 114655.3953 | 288358.0444 | 59.9307 | 49.4
6485 | 2022-05-17 15:19 | 39.9941 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.3685 | μmol/L | 18.4847 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.083 | 114645.1987 | 288356.2674 | 59.9307 | 49.4
6495 | 2022-05-17 15:19 | 40.3281 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.2888 | μmol/L | 18.4909 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.084 | 114654.183 | 288356.3417 | 59.9307 | 49.4
6505 | 2022-05-17 15:19 | 40.6612 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.2389 | μmol/L | 18.4909 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.086 | 114652.7481 | 288341.1866 | 59.9307 | 49.4
6515 | 2022-05-17 15:20 | 40.9944 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.1891 | μmol/L | 18.4909 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.088 | 114651.6278 | 288321.5902 | 59.9307 | 49.4
6525 | 2022-05-17 15:20 | 41.3275 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.3187 | μmol/L | 18.4847 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.085 | 114650.146 | 288305.878 | 59.9307 | 49.4
6535 | 2022-05-17 15:20 | 41.6607 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.219 | μmol/L | 18.4847 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.089 | 114637.757 | 288283.0084 | 59.9307 | 49.4
6545 | 2022-05-17 15:21 | 41.9946 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.2987 | μmol/L | 18.4786 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.088 | 114650.6733 | 288276.418 | 59.9307 | 49.4
6555 | 2022-05-17 15:21 | 42.3276 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.3037 | μmol/L | 18.4724 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.09 | 114664.7593 | 288282.4506 | 59.9307 | 49.4
6565 | 2022-05-17 15:21 | 42.6607 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.1392 | μmol/L | 18.4909 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.09 | 114653.9331 | 288288.4482 | 59.9307 | 49.4
6575 | 2022-05-17 15:22 | 42.9946 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.3336 | μmol/L | 18.4662 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.091 | 114665.7003 | 288286.8942 | 59.9307 | 49.4
6585 | 2022-05-17 15:22 | 43.3276 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.1492 | μmol/L | 18.4786 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.094 | 114669.3768 | 288268.542 | 59.9307 | 49.4
6595 | 2022-05-17 15:22 | 43.6615 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.1293 | μmol/L | 18.4724 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.097 | 114674.9773 | 288279.7592 | 59.9307 | 49.4
6605 | 2022-05-17 15:23 | 43.9946 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.2339 | μmol/L | 18.4662 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.095 | 114669.5164 | 288244.0885 | 59.9307 | 49.4
6615 | 2022-05-17 15:23 | 44.3276 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.1093 | μmol/L | 18.4662 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.1 | 114671.3825 | 288246.5826 | 59.9307 | 49.4
6625 | 2022-05-17 15:23 | 44.6607 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.214 | μmol/L | 18.46 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.098 | 114673.9831 | 288261.6079 | 59.9307 | 49.4
6635 | 2022-05-17 15:24 | 44.9948 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.1592 | μmol/L | 18.4662 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.098 | 114671.8084 | 288269.2921 | 59.9307 | 49.4
6645 | 2022-05-17 15:24 | 45.3278 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.1891 | μmol/L | 18.46 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.099 | 114676.4132 | 288259.5139 | 59.9307 | 49.4
6655 | 2022-05-17 15:24 | 45.6609 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.1642 | μmol/L | 18.46 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.1 | 114688.2608 | 288242.385 | 59.9307 | 49.4
6665 | 2022-05-17 15:25 | 45.9948 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.1941 | μmol/L | 18.4539 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.101 | 114683.0535 | 288210.5795 | 59.9307 | 49.4
6675 | 2022-05-17 15:25 | 46.3279 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.1143 | μmol/L | 18.46 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.102 | 114687.656 | 288243.8369 | 59.9307 | 49.4
6685 | 2022-05-17 15:25 | 46.661 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.0894 | μmol/L | 18.46 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.103 | 114693.4617 | 288245.4293 | 59.9307 | 49.4
6695 | 2022-05-17 15:26 | 46.9942 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.1692 | μmol/L | 18.4539 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.102 | 114692.3823 | 288238.8009 | 59.9307 | 49.4
6705 | 2022-05-17 15:26 | 47.3273 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.1193 | μmol/L | 18.4539 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.104 | 114677.8534 | 288251.6513 | 59.9307 | 49.4
6715 | 2022-05-17 15:26 | 47.6612 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.1792 | μmol/L | 18.4415 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.106 | 114682.557 | 288234.6491 | 59.9307 | 49.4
6725 | 2022-05-17 15:27 | 47.9943 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.0695 | μmol/L | 18.4539 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.106 | 114693.5288 | 288234.0234 | 59.9307 | 49.4
6735 | 2022-05-17 15:27 | 48.3273 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.1493 | μmol/L | 18.4477 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.105 | 114688.9859 | 288240.3362 | 59.9307 | 49.4
6745 | 2022-05-17 15:27 | 48.6612 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.1244 | μmol/L | 18.4477 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.106 | 114701.6032 | 288235.8754 | 59.9307 | 49.4
6755 | 2022-05-17 15:28 | 48.9944 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.0746 | μmol/L | 18.4477 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.108 | 114709.7357 | 288228.1826 | 59.9307 | 49.4
6765 | 2022-05-17 15:28 | 49.3277 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.0796 | μmol/L | 18.4415 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.11 | 114702.4817 | 288217.1833 | 59.9307 | 49.4
6775 | 2022-05-17 15:28 | 49.661 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 286.9999 | μmol/L | 18.4477 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.111 | 114701.0073 | 288214.6154 | 59.9307 | 49.4
6785 | 2022-05-17 15:29 | 49.994 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.0846 | μmol/L | 18.4354 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.112 | 114701.7546 | 288197.0308 | 59.9307 | 49.4
6795 | 2022-05-17 15:29 | 50.3275 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.0049 | μmol/L | 18.4415 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.113 | 114696.6794 | 288195.1703 | 59.9307 | 49.4
6805 | 2022-05-17 15:29 | 50.6608 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.1344 | μmol/L | 18.4354 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.11 | 114694.7904 | 288207.664 | 59.9307 | 49.4
6815 | 2022-05-17 15:30 | 50.994 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.0896 | μmol/L | 18.4292 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.114 | 114694.8104 | 288204.6188 | 59.9307 | 49.4
6825 | 2022-05-17 15:30 | 51.328 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.0896 | μmol/L | 18.4292 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.114 | 114696.5987 | 288196.9762 | 59.9307 | 49.4
6835 | 2022-05-17 15:30 | 51.6612 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 286.9602 | μmol/L | 18.4354 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.117 | 114694.7987 | 288204.0131 | 59.9307 | 49.4
6845 | 2022-05-17 15:31 | 51.9942 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.0647 | μmol/L | 18.4292 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.115 | 114699.6659 | 288201.7648 | 59.9307 | 49.4
6855 | 2022-05-17 15:31 | 52.3281 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.0698 | μmol/L | 18.423 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.117 | 114701.6866 | 288199.0643 | 59.9307 | 49.4
6865 | 2022-05-17 15:31 | 52.6613 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.0997 | μmol/L | 18.4169 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.118 | 114709.8368 | 288197.2192 | 59.9307 | 49.4
6875 | 2022-05-17 15:32 | 52.9943 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.1993 | μmol/L | 18.4169 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.114 | 114711.4329 | 288198.1426 | 59.9307 | 49.4
6885 | 2022-05-17 15:32 | 53.3273 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.0748 | μmol/L | 18.4169 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.119 | 114708.4707 | 288189.9519 | 59.9307 | 49.4
6895 | 2022-05-17 15:32 | 53.6613 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.0499 | μmol/L | 18.4169 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.12 | 114712.5066 | 288184.984 | 59.9307 | 49.4
6905 | 2022-05-17 15:33 | 53.9945 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.02 | μmol/L | 18.423 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.119 | 114711.437 | 288191.7985 | 59.9307 | 49.4
6915 | 2022-05-17 15:33 | 54.3276 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.0002 | μmol/L | 18.4169 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.122 | 114718.2963 | 288183.8816 | 59.9307 | 49.4
6925 | 2022-05-17 15:33 | 54.6607 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.0997 | μmol/L | 18.4169 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.118 | 114712.1331 | 288174.7921 | 59.9307 | 49.4
6935 | 2022-05-17 15:34 | 54.9948 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.0499 | μmol/L | 18.4169 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.12 | 114720.8734 | 288173.8109 | 59.9307 | 49.4
6945 | 2022-05-17 15:34 | 55.328 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.0002 | μmol/L | 18.4169 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.122 | 114710.6679 | 288173.7396 | 59.9307 | 49.4
6955 | 2022-05-17 15:34 | 55.6611 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.0799 | μmol/L | 18.4107 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.121 | 114725.7597 | 288166.9014 | 59.9307 | 49.4
6965 | 2022-05-17 15:35 | 55.9942 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 286.9504 | μmol/L | 18.4169 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.124 | 114723.0986 | 288163.0795 | 59.9307 | 49.4
6975 | 2022-05-17 15:35 | 56.3274 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.1098 | μmol/L | 18.4045 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.122 | 114727.0385 | 288173.8026 | 59.9307 | 49.4
6985 | 2022-05-17 15:35 | 56.6613 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.055 | μmol/L | 18.4107 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.122 | 114722.0168 | 288158.8708 | 59.9307 | 49.4
6995 | 2022-05-17 15:36 | 56.9941 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.0052 | μmol/L | 18.4107 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.124 | 114728.1743 | 288166.5243 | 59.9307 | 49.4
7005 | 2022-05-17 15:36 | 57.328 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 286.9854 | μmol/L | 18.4045 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.127 | 114743.0833 | 288180.2329 | 59.9307 | 49.4
7013 | 2022-05-17 15:36 | 57.6613 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 286.9804 | μmol/L | 18.4107 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.125 | 114731.41 | 288163.7064 | 59.9307 | 49.4