## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_10 | O2 | 200465988 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 10:01

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 15:38

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
5282 | 2022-05-17 14:39 | 0 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 287.7801 | μmol/L | 19.2416 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.857 | 104768.4066 | 266551.7828 | 32.55 | 27.7
5291 | 2022-05-17 14:39 | 0.32903 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 287.9128 | μmol/L | 19.2294 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.856 | 104727.3326 | 266540.2988 | 32.55 | 27.7
5301 | 2022-05-17 14:39 | 0.66292 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 287.9419 | μmol/L | 19.2233 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.857 | 104698.4357 | 266519.6188 | 32.55 | 27.7
5311 | 2022-05-17 14:40 | 0.99598 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.0706 | μmol/L | 19.2172 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.854 | 104666.9051 | 266485.4002 | 32.55 | 27.7
5321 | 2022-05-17 14:40 | 1.329 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.1246 | μmol/L | 19.211 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.854 | 104643.0774 | 266481.1732 | 32.55 | 27.7
5331 | 2022-05-17 14:40 | 1.6629 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.029 | μmol/L | 19.2049 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.86 | 104616.7179 | 266468.8216 | 32.55 | 27.7
5341 | 2022-05-17 14:41 | 1.996 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.083 | μmol/L | 19.1988 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.86 | 104599.0382 | 266459.354 | 32.55 | 27.7
5351 | 2022-05-17 14:41 | 2.329 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 287.9874 | μmol/L | 19.1927 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.866 | 104562.0653 | 266447.4267 | 32.55 | 27.7
5361 | 2022-05-17 14:41 | 2.663 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.1661 | μmol/L | 19.1866 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.861 | 104558.4038 | 266420.4685 | 32.55 | 27.7
5371 | 2022-05-17 14:42 | 2.9959 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.1494 | μmol/L | 19.1743 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.866 | 104553.8964 | 266428.7241 | 32.55 | 27.7
5381 | 2022-05-17 14:42 | 3.3291 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.2368 | μmol/L | 19.156 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.869 | 104540.6707 | 266402.2274 | 32.55 | 27.7
5391 | 2022-05-17 14:42 | 3.6623 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.2368 | μmol/L | 19.156 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.869 | 104543.7288 | 266382.9275 | 32.55 | 27.7
5401 | 2022-05-17 14:43 | 3.9964 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.1412 | μmol/L | 19.1499 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.875 | 104533.2407 | 266385.6468 | 32.55 | 27.7
5411 | 2022-05-17 14:43 | 4.3294 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.2451 | μmol/L | 19.1438 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.873 | 104529.7766 | 266387.256 | 32.55 | 27.7
5421 | 2022-05-17 14:43 | 4.6626 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.1995 | μmol/L | 19.1377 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.877 | 104540.4962 | 266372.922 | 32.55 | 27.7
5431 | 2022-05-17 14:44 | 4.9964 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.158 | μmol/L | 19.1254 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.883 | 104532.6866 | 266360.5838 | 32.55 | 27.7
5441 | 2022-05-17 14:44 | 5.3294 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.1082 | μmol/L | 19.1254 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.885 | 104538.092 | 266341.2035 | 32.55 | 27.7
5451 | 2022-05-17 14:44 | 5.6628 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.0461 | μmol/L | 19.1071 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.894 | 104547.5691 | 266337.0557 | 32.55 | 27.7
5461 | 2022-05-17 14:45 | 5.9958 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.1251 | μmol/L | 19.101 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.893 | 104547.3269 | 266334.849 | 32.55 | 27.7
5471 | 2022-05-17 14:45 | 6.3297 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.0589 | μmol/L | 19.0887 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.9 | 104566.2265 | 266309.5184 | 32.55 | 27.7
5481 | 2022-05-17 14:45 | 6.6627 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.1087 | μmol/L | 19.0887 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.898 | 104573.659 | 266317.4474 | 32.55 | 27.7
5491 | 2022-05-17 14:46 | 6.9959 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.192 | μmol/L | 19.0765 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.899 | 104561.3941 | 266321.7586 | 32.55 | 27.7
5501 | 2022-05-17 14:46 | 7.3291 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.0966 | μmol/L | 19.0704 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.905 | 104563.1021 | 266296.4559 | 32.55 | 27.7
5511 | 2022-05-17 14:46 | 7.663 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.1052 | μmol/L | 19.0581 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.909 | 104566.018 | 266300.6567 | 32.55 | 27.7
5521 | 2022-05-17 14:47 | 7.9964 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 287.9807 | μmol/L | 19.0581 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.914 | 104571.6627 | 266297.0147 | 32.55 | 27.7
5531 | 2022-05-17 14:47 | 8.3294 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.0348 | μmol/L | 19.052 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.914 | 104566.9265 | 266298.5091 | 32.55 | 27.7
5541 | 2022-05-17 14:47 | 8.6625 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.1182 | μmol/L | 19.0398 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.915 | 104552.8339 | 266285.9183 | 32.55 | 27.7
5551 | 2022-05-17 14:48 | 8.9956 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.1723 | μmol/L | 19.0337 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.915 | 104551.1083 | 266277.4052 | 32.55 | 27.7
5561 | 2022-05-17 14:48 | 9.3294 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.1723 | μmol/L | 19.0337 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.915 | 104572.112 | 266270.7148 | 32.55 | 27.7
5571 | 2022-05-17 14:48 | 9.6624 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.1561 | μmol/L | 19.0214 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.92 | 104565.5885 | 266261.5948 | 32.55 | 27.7
5581 | 2022-05-17 14:49 | 9.9962 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.1355 | μmol/L | 19.0153 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.923 | 104571.4343 | 266255.7873 | 32.55 | 27.7
5591 | 2022-05-17 14:49 | 10.3294 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.1648 | μmol/L | 19.0092 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.924 | 104568.2412 | 266249.4312 | 32.55 | 27.7
5601 | 2022-05-17 14:49 | 10.6624 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.153 | μmol/L | 18.9909 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.931 | 104572.7247 | 266237.1944 | 32.55 | 27.7
5611 | 2022-05-17 14:50 | 10.9957 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.0988 | μmol/L | 18.997 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.931 | 104569.5837 | 266224.638 | 32.55 | 27.7
5621 | 2022-05-17 14:50 | 11.3297 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.2365 | μmol/L | 18.9786 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.932 | 104556.224 | 266220.7767 | 32.55 | 27.7
5631 | 2022-05-17 14:50 | 11.6628 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.2248 | μmol/L | 18.9603 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.939 | 104574.9044 | 266219.7471 | 32.55 | 27.7
5641 | 2022-05-17 14:51 | 11.9959 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.159 | μmol/L | 18.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.946 | 104581.6142 | 266204.4473 | 32.55 | 27.7
5651 | 2022-05-17 14:51 | 12.329 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 287.9014 | μmol/L | 18.9603 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.952 | 104611.0657 | 266195.4403 | 32.55 | 27.7
5661 | 2022-05-17 14:51 | 12.6628 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 287.4339 | μmol/L | 18.9542 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.973 | 104705.67 | 266184.9743 | 32.55 | 27.7
5671 | 2022-05-17 14:52 | 12.9958 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.819 | μmol/L | 18.9481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22 | 104853.6223 | 266179.1495 | 32.55 | 27.7
5681 | 2022-05-17 14:52 | 13.3297 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.1117 | μmol/L | 18.9358 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.033 | 105028.251 | 266182.1309 | 32.55 | 27.7
5691 | 2022-05-17 14:52 | 13.6628 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.0828 | μmol/L | 18.9297 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.077 | 105246.3147 | 266172.0337 | 32.55 | 27.7
5701 | 2022-05-17 14:53 | 13.9958 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.1565 | μmol/L | 18.9236 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.117 | 105460.0487 | 266156.2084 | 32.55 | 27.7
5711 | 2022-05-17 14:53 | 14.3297 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.5996 | μmol/L | 18.9175 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.142 | 105594.5771 | 266154.6506 | 32.55 | 27.7
5721 | 2022-05-17 14:53 | 14.6627 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.6217 | μmol/L | 18.9236 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.18 | 105803.1537 | 266153.2638 | 32.55 | 27.7
5731 | 2022-05-17 14:54 | 14.9956 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.6861 | μmol/L | 18.9114 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.223 | 106030.9957 | 266166.0737 | 32.55 | 27.7
5741 | 2022-05-17 14:54 | 15.3295 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.015 | μmol/L | 18.9052 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.253 | 106159.1421 | 266131.3565 | 32.55 | 27.7
5751 | 2022-05-17 14:54 | 15.6627 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.1585 | μmol/L | 18.893 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.293 | 106373.7153 | 266126.2991 | 32.55 | 27.7
5761 | 2022-05-17 14:55 | 15.9957 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.8944 | μmol/L | 18.8869 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.39 | 106904.3635 | 266122.0083 | 32.55 | 27.7
5771 | 2022-05-17 14:55 | 16.3296 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.3403 | μmol/L | 18.8808 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.543 | 107726.8916 | 266113.4305 | 32.55 | 27.7
5781 | 2022-05-17 14:55 | 16.6626 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.3889 | μmol/L | 18.8686 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.718 | 108693.8252 | 266111.2966 | 32.55 | 27.7
5791 | 2022-05-17 14:56 | 16.9959 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.5374 | μmol/L | 18.8686 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.799 | 109100.7014 | 266108.5049 | 32.55 | 27.7
5801 | 2022-05-17 14:56 | 17.3296 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 267.4529 | μmol/L | 18.8624 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.849 | 109364.4105 | 266101.7322 | 32.55 | 27.7
5811 | 2022-05-17 14:56 | 17.6629 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 266.031 | μmol/L | 18.8624 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.912 | 109719.905 | 266092.1846 | 32.55 | 27.7
5821 | 2022-05-17 14:57 | 17.9962 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 265.1383 | μmol/L | 18.8563 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.954 | 109948.0678 | 266092.0811 | 32.55 | 27.7
5831 | 2022-05-17 14:57 | 18.3293 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 264.5895 | μmol/L | 18.8441 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.983 | 110079.8911 | 266078.5172 | 32.55 | 27.7
5841 | 2022-05-17 14:57 | 18.6624 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 263.9308 | μmol/L | 18.8319 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.017 | 110269.7354 | 266083.176 | 32.55 | 27.7
5851 | 2022-05-17 14:58 | 18.9961 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 263.3971 | μmol/L | 18.8319 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.041 | 110372.6211 | 266064.8399 | 32.55 | 27.7
5861 | 2022-05-17 14:58 | 19.3294 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 263.0747 | μmol/L | 18.8196 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.06 | 110453.4339 | 266057.0292 | 32.55 | 27.7
5871 | 2022-05-17 14:58 | 19.6625 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 263.2796 | μmol/L | 18.8135 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.053 | 110431.2319 | 266046.7249 | 32.55 | 27.7
5881 | 2022-05-17 14:59 | 19.9963 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 264.1248 | μmol/L | 18.8135 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.015 | 110176.9425 | 266042.1832 | 32.55 | 27.7
5891 | 2022-05-17 14:59 | 20.3295 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 266.2802 | μmol/L | 18.8074 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.921 | 109671.2693 | 266033.9851 | 32.55 | 27.7
5901 | 2022-05-17 14:59 | 20.6625 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.5762 | μmol/L | 18.7952 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.824 | 109139.3112 | 266045.5146 | 32.55 | 27.7
5911 | 2022-05-17 15:00 | 20.9964 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.2422 | μmol/L | 18.7891 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.797 | 108965.4862 | 266026.5847 | 32.55 | 27.7
5921 | 2022-05-17 15:00 | 21.3293 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.5184 | μmol/L | 18.7829 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.831 | 109132.6765 | 266021.2729 | 32.55 | 27.7
5931 | 2022-05-17 15:00 | 21.6624 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 267.4417 | μmol/L | 18.7952 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.874 | 109354.243 | 266013.2334 | 32.55 | 27.7
5941 | 2022-05-17 15:01 | 21.9964 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 266.724 | μmol/L | 18.7891 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.908 | 109542.6086 | 266020.1551 | 32.55 | 27.7
5951 | 2022-05-17 15:01 | 22.3295 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 266.1091 | μmol/L | 18.7707 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.942 | 109715.9099 | 266000.2954 | 32.55 | 27.7
5961 | 2022-05-17 15:01 | 22.6625 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 265.5253 | μmol/L | 18.7707 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.968 | 109846.1828 | 265999.3614 | 32.55 | 27.7
5971 | 2022-05-17 15:02 | 22.9957 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 265.1273 | μmol/L | 18.7646 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.988 | 109964.5938 | 265997.619 | 32.55 | 27.7
5981 | 2022-05-17 15:02 | 23.3289 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 264.8865 | μmol/L | 18.7585 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.001 | 109998.8593 | 265998.169 | 32.55 | 27.7
5991 | 2022-05-17 15:02 | 23.6623 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 266.0575 | μmol/L | 18.7524 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.951 | 109729.965 | 265982.8708 | 32.55 | 27.7
6001 | 2022-05-17 15:03 | 23.9962 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.0726 | μmol/L | 18.7462 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.864 | 109242.5073 | 265968.5696 | 32.55 | 27.7
6011 | 2022-05-17 15:03 | 24.3297 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.7633 | μmol/L | 18.7401 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.792 | 108848.6085 | 265966.384 | 32.55 | 27.7
6021 | 2022-05-17 15:03 | 24.6628 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.329 | μmol/L | 18.734 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.726 | 108474.5558 | 265968.985 | 32.55 | 27.7
6031 | 2022-05-17 15:04 | 24.9957 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.6921 | μmol/L | 18.734 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.667 | 108121.2633 | 265948.0126 | 32.55 | 27.7
6041 | 2022-05-17 15:04 | 25.3295 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.1621 | μmol/L | 18.7279 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.606 | 107772.2668 | 265941.5094 | 32.55 | 27.7
6051 | 2022-05-17 15:04 | 25.6628 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.1442 | μmol/L | 18.7279 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.564 | 107543.5715 | 265960.3752 | 32.55 | 27.7
6061 | 2022-05-17 15:05 | 25.9958 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.4542 | μmol/L | 18.7218 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.553 | 107491.3675 | 265945.2223 | 32.55 | 27.7
6071 | 2022-05-17 15:05 | 26.3297 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.0556 | μmol/L | 18.7218 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.57 | 107542.792 | 265953.7933 | 32.55 | 27.7
6081 | 2022-05-17 15:05 | 26.6631 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.546 | μmol/L | 18.7157 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.594 | 107669.2972 | 265946.2487 | 32.55 | 27.7
6091 | 2022-05-17 15:06 | 26.9961 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.6364 | μmol/L | 18.7157 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.633 | 107879.933 | 265943.4151 | 32.55 | 27.7
6101 | 2022-05-17 15:06 | 27.3292 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.8157 | μmol/L | 18.6973 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.675 | 108120.6796 | 265955.1025 | 32.55 | 27.7
6111 | 2022-05-17 15:06 | 27.6631 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.6188 | μmol/L | 18.6912 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.729 | 108398.9148 | 265951.0473 | 32.55 | 27.7
6121 | 2022-05-17 15:07 | 27.9961 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.5485 | μmol/L | 18.679 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.78 | 108672.2394 | 265936.0458 | 32.55 | 27.7
6131 | 2022-05-17 15:07 | 28.3294 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.6276 | μmol/L | 18.6851 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.818 | 108878.6016 | 265927.6247 | 32.55 | 27.7
6141 | 2022-05-17 15:07 | 28.6627 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.0118 | μmol/L | 18.6851 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.845 | 109028.571 | 265932.147 | 32.55 | 27.7
6151 | 2022-05-17 15:08 | 28.9959 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.5166 | μmol/L | 18.679 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.869 | 109125.7311 | 265938.3058 | 32.55 | 27.7
6161 | 2022-05-17 15:08 | 29.3289 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.1186 | μmol/L | 18.6667 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.891 | 109249.8447 | 265935.2623 | 32.55 | 27.7
6171 | 2022-05-17 15:08 | 29.6629 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 267.8013 | μmol/L | 18.6667 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.905 | 109340.316 | 265932.3106 | 32.55 | 27.7
6181 | 2022-05-17 15:09 | 29.9959 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 267.3036 | μmol/L | 18.6667 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.927 | 109446.9768 | 265921.954 | 32.55 | 27.7
6191 | 2022-05-17 15:09 | 30.3297 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 267.2294 | μmol/L | 18.6484 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.937 | 109509.5313 | 265910.1167 | 32.55 | 27.7
6201 | 2022-05-17 15:09 | 30.663 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 266.8683 | μmol/L | 18.6484 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.953 | 109581.849 | 265909.4538 | 32.55 | 27.7
6211 | 2022-05-17 15:10 | 30.9958 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 266.4629 | μmol/L | 18.6484 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.971 | 109667.6755 | 265915.8989 | 32.55 | 27.7
6221 | 2022-05-17 15:10 | 31.329 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 266.1032 | μmol/L | 18.6484 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.987 | 109756.6739 | 265899.972 | 32.55 | 27.7
6231 | 2022-05-17 15:10 | 31.6629 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 265.7719 | μmol/L | 18.6423 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.004 | 109860.6994 | 265899.8301 | 32.55 | 27.7
6241 | 2022-05-17 15:11 | 31.9959 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 265.4859 | μmol/L | 18.6362 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.019 | 109930.7459 | 265903.647 | 32.55 | 27.7
6251 | 2022-05-17 15:11 | 32.329 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 265.4187 | μmol/L | 18.6362 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.022 | 109943.8894 | 265906.9892 | 32.55 | 27.7
6261 | 2022-05-17 15:11 | 32.6629 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 265.469 | μmol/L | 18.6301 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.022 | 109934.4302 | 265898.1104 | 32.55 | 27.7
6271 | 2022-05-17 15:12 | 32.996 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 265.5246 | μmol/L | 18.6178 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.024 | 109938.841 | 265895.6965 | 32.55 | 27.7
6281 | 2022-05-17 15:12 | 33.3291 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 265.3346 | μmol/L | 18.6301 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.028 | 109967.7193 | 265884.5029 | 32.55 | 27.7
6291 | 2022-05-17 15:12 | 33.6628 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 265.2113 | μmol/L | 18.6178 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.038 | 110011.2228 | 265895.3752 | 32.55 | 27.7
6301 | 2022-05-17 15:13 | 33.9964 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 264.9708 | μmol/L | 18.6117 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.051 | 110061.8973 | 265868.1755 | 32.55 | 27.7
6311 | 2022-05-17 15:13 | 34.3292 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 264.759 | μmol/L | 18.6239 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.056 | 110093.9235 | 265877.6131 | 32.55 | 27.7
6321 | 2022-05-17 15:13 | 34.6623 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 264.6583 | μmol/L | 18.6117 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.065 | 110136.4791 | 265858.4056 | 32.55 | 27.7
6331 | 2022-05-17 15:14 | 34.996 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 264.6137 | μmol/L | 18.6117 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.067 | 110157.2811 | 265871.5095 | 32.55 | 27.7
6341 | 2022-05-17 15:14 | 35.3289 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 264.5969 | μmol/L | 18.6056 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.07 | 110168.2782 | 265863.5117 | 32.55 | 27.7
6351 | 2022-05-17 15:14 | 35.6628 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 264.5746 | μmol/L | 18.6056 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.071 | 110154.702 | 265864.6553 | 32.55 | 27.7
6361 | 2022-05-17 15:15 | 35.9957 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 264.6023 | μmol/L | 18.5995 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.072 | 110156.8867 | 265863.0334 | 32.55 | 27.7
6371 | 2022-05-17 15:15 | 36.3292 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 264.6469 | μmol/L | 18.5995 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.07 | 110155.9037 | 265854.919 | 32.55 | 27.7
6381 | 2022-05-17 15:15 | 36.6631 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 264.6356 | μmol/L | 18.5873 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.075 | 110166.804 | 265856.4567 | 32.55 | 27.7
6391 | 2022-05-17 15:16 | 36.9963 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 264.5965 | μmol/L | 18.5811 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.079 | 110181.8293 | 265838.8164 | 32.55 | 27.7
6401 | 2022-05-17 15:16 | 37.3297 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 264.5464 | μmol/L | 18.5873 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.079 | 110196.2754 | 265827.4351 | 32.55 | 27.7
6411 | 2022-05-17 15:16 | 37.6625 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 264.5073 | μmol/L | 18.5811 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.083 | 110205.3809 | 265824.4825 | 32.55 | 27.7
6421 | 2022-05-17 15:17 | 37.9963 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 264.3291 | μmol/L | 18.5811 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.091 | 110235.1644 | 265817.7405 | 32.55 | 27.7
6431 | 2022-05-17 15:17 | 38.3294 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 264.2901 | μmol/L | 18.575 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.095 | 110264.7871 | 265809.195 | 32.55 | 27.7
6441 | 2022-05-17 15:17 | 38.6625 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 264.0176 | μmol/L | 18.5811 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.105 | 110302.8988 | 265810.7642 | 32.55 | 27.7
6451 | 2022-05-17 15:18 | 38.9963 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 263.8009 | μmol/L | 18.575 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.117 | 110342.7937 | 265810.4378 | 32.55 | 27.7
6461 | 2022-05-17 15:18 | 39.3292 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 263.762 | μmol/L | 18.5689 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.121 | 110368.7549 | 265804.1233 | 32.55 | 27.7
6471 | 2022-05-17 15:18 | 39.6623 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 263.4015 | μmol/L | 18.575 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.135 | 110424.4141 | 265791.4416 | 32.55 | 27.7
6481 | 2022-05-17 15:19 | 39.9961 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 263.0692 | μmol/L | 18.575 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.15 | 110505.5599 | 265808.5185 | 32.55 | 27.7
6491 | 2022-05-17 15:19 | 40.3291 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 262.7485 | μmol/L | 18.5628 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.169 | 110592.7427 | 265796.1994 | 32.55 | 27.7
6501 | 2022-05-17 15:19 | 40.6624 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 262.5553 | μmol/L | 18.5567 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.18 | 110653.4782 | 265790.4255 | 32.55 | 27.7
6511 | 2022-05-17 15:20 | 40.9961 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 262.4505 | μmol/L | 18.5506 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.187 | 110714.0222 | 265787.1354 | 32.55 | 27.7
6521 | 2022-05-17 15:20 | 41.3292 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 262.1142 | μmol/L | 18.5567 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.2 | 110740.4545 | 265787.2913 | 32.55 | 27.7
6531 | 2022-05-17 15:20 | 41.6631 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 262.462 | μmol/L | 18.5139 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.2 | 110758.2841 | 265794.0474 | 32.55 | 27.7
6541 | 2022-05-17 15:21 | 41.9961 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 261.894 | μmol/L | 18.5567 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.21 | 110791.0228 | 265790.2291 | 32.55 | 27.7
6551 | 2022-05-17 15:21 | 42.329 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 261.4212 | μmol/L | 18.5689 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.227 | 110882.8915 | 265771.7109 | 32.55 | 27.7
6561 | 2022-05-17 15:21 | 42.6628 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 261.1414 | μmol/L | 18.5628 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.242 | 110961.722 | 265771.9864 | 32.55 | 27.7
6571 | 2022-05-17 15:22 | 42.9958 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 260.9609 | μmol/L | 18.5444 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.257 | 111047.4655 | 265770.5604 | 32.55 | 27.7
6581 | 2022-05-17 15:22 | 43.3295 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 260.8407 | μmol/L | 18.5322 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.267 | 111096.2746 | 265769.559 | 32.55 | 27.7
6591 | 2022-05-17 15:22 | 43.6626 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 260.8132 | μmol/L | 18.5383 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.266 | 111116.8344 | 265761.8232 | 32.55 | 27.7
6601 | 2022-05-17 15:23 | 43.9956 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 260.5944 | μmol/L | 18.5383 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.276 | 111132.8331 | 265754.8459 | 32.55 | 27.7
6611 | 2022-05-17 15:23 | 44.3297 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 260.6494 | μmol/L | 18.5261 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.278 | 111147.381 | 265750.0646 | 32.55 | 27.7
6621 | 2022-05-17 15:23 | 44.6628 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 260.4745 | μmol/L | 18.5261 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.286 | 111164.885 | 265757.5958 | 32.55 | 27.7
6631 | 2022-05-17 15:24 | 44.9958 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 260.2772 | μmol/L | 18.5506 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.286 | 111178.2643 | 265739.9254 | 32.55 | 27.7
6641 | 2022-05-17 15:24 | 45.3297 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 260.4202 | μmol/L | 18.5139 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.293 | 111209.7963 | 265757.1439 | 32.55 | 27.7
6651 | 2022-05-17 15:24 | 45.6626 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 260.0807 | μmol/L | 18.5506 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.295 | 111241.9792 | 265755.0759 | 32.55 | 27.7
6661 | 2022-05-17 15:25 | 45.9964 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 260.0378 | μmol/L | 18.5261 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.306 | 111277.5334 | 265738.7382 | 32.55 | 27.7
6671 | 2022-05-17 15:25 | 46.3297 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 259.869 | μmol/L | 18.52 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.316 | 111342.1012 | 265754.1928 | 32.55 | 27.7
6681 | 2022-05-17 15:25 | 46.6627 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 259.815 | μmol/L | 18.5078 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.323 | 111386.5439 | 265736.6708 | 32.55 | 27.7
6691 | 2022-05-17 15:26 | 46.9957 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 259.7061 | μmol/L | 18.5078 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.328 | 111391.8445 | 265732.6879 | 32.55 | 27.7
6701 | 2022-05-17 15:26 | 47.329 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 259.5433 | μmol/L | 18.4955 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.34 | 111447.1852 | 265734.8313 | 32.55 | 27.7
6711 | 2022-05-17 15:26 | 47.6628 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 259.5376 | μmol/L | 18.5016 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.338 | 111449.7894 | 265729.0206 | 32.55 | 27.7
6721 | 2022-05-17 15:27 | 47.9957 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 259.7553 | μmol/L | 18.5016 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.328 | 111372.5849 | 265723.8859 | 32.55 | 27.7
6731 | 2022-05-17 15:27 | 48.3296 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 260.3555 | μmol/L | 18.4894 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.305 | 111267.2704 | 265742.6473 | 32.55 | 27.7
6741 | 2022-05-17 15:27 | 48.6627 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 260.4429 | μmol/L | 18.4894 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.301 | 111210.885 | 265724.4955 | 32.55 | 27.7
6751 | 2022-05-17 15:28 | 48.9957 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 260.5465 | μmol/L | 18.4955 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.294 | 111179.0758 | 265727.6524 | 32.55 | 27.7
6761 | 2022-05-17 15:28 | 49.3296 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 260.5133 | μmol/L | 18.5078 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.291 | 111194.7954 | 265727.7478 | 32.55 | 27.7
6771 | 2022-05-17 15:28 | 49.6623 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 260.142 | μmol/L | 18.5078 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.308 | 111250.3118 | 265720.2355 | 32.55 | 27.7
6781 | 2022-05-17 15:29 | 49.9961 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 260.0604 | μmol/L | 18.5016 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.314 | 111293.8568 | 265719.3878 | 32.55 | 27.7
6791 | 2022-05-17 15:29 | 50.3297 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 259.8424 | μmol/L | 18.5016 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.324 | 111340.6423 | 265719.7808 | 32.55 | 27.7
6801 | 2022-05-17 15:29 | 50.6628 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 259.7449 | μmol/L | 18.4894 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.333 | 111379.7654 | 265720.6329 | 32.55 | 27.7
6811 | 2022-05-17 15:30 | 50.9959 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 259.4346 | μmol/L | 18.4955 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.345 | 111428.156 | 265703.8087 | 32.55 | 27.7
6821 | 2022-05-17 15:30 | 51.3291 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 259.2824 | μmol/L | 18.4955 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.352 | 111483.9617 | 265715.9765 | 32.55 | 27.7
6831 | 2022-05-17 15:30 | 51.6627 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 259.1955 | μmol/L | 18.4955 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.356 | 111505.6164 | 265704.1754 | 32.55 | 27.7
6841 | 2022-05-17 15:31 | 51.9959 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 258.9567 | μmol/L | 18.4955 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.367 | 111559.1758 | 265692.4431 | 32.55 | 27.7
6851 | 2022-05-17 15:31 | 52.329 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 258.87 | μmol/L | 18.4955 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.371 | 111570.8248 | 265704.7562 | 32.55 | 27.7
6861 | 2022-05-17 15:31 | 52.6631 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 258.7342 | μmol/L | 18.5016 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.375 | 111587.2767 | 265693.5083 | 32.55 | 27.7
6871 | 2022-05-17 15:32 | 52.9962 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 258.7125 | μmol/L | 18.5016 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.376 | 111625.3132 | 265683.9438 | 32.55 | 27.7
6881 | 2022-05-17 15:32 | 53.3291 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 258.4424 | μmol/L | 18.4894 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.393 | 111704.2897 | 265684.0535 | 32.55 | 27.7
6891 | 2022-05-17 15:32 | 53.6629 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 257.668 | μmol/L | 18.5322 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.413 | 111794.0644 | 265693.6077 | 32.55 | 27.7
6901 | 2022-05-17 15:33 | 53.9959 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 257.8361 | μmol/L | 18.5139 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.412 | 111810.3936 | 265691.128 | 32.55 | 27.7
6911 | 2022-05-17 15:33 | 54.3297 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 257.9237 | μmol/L | 18.4894 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.417 | 111801.1307 | 265671.6109 | 32.55 | 27.7
6921 | 2022-05-17 15:33 | 54.6629 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 257.8863 | μmol/L | 18.4833 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.421 | 111842.5658 | 265682.4075 | 32.55 | 27.7
6931 | 2022-05-17 15:34 | 54.9959 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 257.7022 | μmol/L | 18.4955 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.425 | 111845.7594 | 265685.8834 | 32.55 | 27.7
6941 | 2022-05-17 15:34 | 55.329 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 257.7784 | μmol/L | 18.4833 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.426 | 111858.7726 | 265682.0336 | 32.55 | 27.7
6951 | 2022-05-17 15:34 | 55.663 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 257.7841 | μmol/L | 18.4772 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.428 | 111866.0749 | 265656.9146 | 32.55 | 27.7
6961 | 2022-05-17 15:35 | 55.9959 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 257.7841 | μmol/L | 18.4772 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.428 | 111884.69 | 265667.685 | 32.55 | 27.7
6971 | 2022-05-17 15:35 | 56.3297 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 257.649 | μmol/L | 18.4833 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.432 | 111880.6934 | 265673.9462 | 32.55 | 27.7
6981 | 2022-05-17 15:35 | 56.6627 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 257.7683 | μmol/L | 18.4711 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.431 | 111899.4625 | 265684.9196 | 32.55 | 27.7
6991 | 2022-05-17 15:36 | 56.9963 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 257.6547 | μmol/L | 18.4772 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.434 | 111897.0212 | 265674.0158 | 32.55 | 27.7
7001 | 2022-05-17 15:36 | 57.3294 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 257.5743 | μmol/L | 18.4711 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.44 | 111894.7296 | 265675.4619 | 32.55 | 27.7
7010 | 2022-05-17 15:36 | 57.6628 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 257.7036 | μmol/L | 18.4711 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.434 | 111882.06 | 265655.6048 | 32.55 | 27.7